Annexure -B8

Undertaking / Self Certification by Owner under Regulation 43 of CEA (Measures relating to safety and electric supply) regulations 2010 for Anti Theft Charging

(*to be duly signed by Station In charge/Asset Owner/CE SLDC on a Letter Head*)

Ref. No: Date:

To,

The Executive Director,

\_ Regional Load Despatch Centre,

\_ ,

\_

**Sub:** Anti Theft Charging of [length] km length of [Transmission Line Name] from [Substation Name] end

Sir,

With reference to the anti theft charging proposal of [Transmission Line Name] transmission line, I hereby undertake that:

|  |  |  |
| --- | --- | --- |
| 1. The said [Transmission Line] is an under construction transmission line and is not terminated at both the ends. To prevent theft during construction, anti theft charging from [name of the substation] end is required.  or  The said [Transmission Line] has already been First time charged. Due to failure of towers in [details of transmission section] section of transmission line, the line has lost completeness. To prevent theft during repair and restoration activity anti theft charging from [name of the  substation] end is required. | | |
| 2. We have complied to all provisions of CEA Measures relating to Safety and Electric Supply Regulations 2010 (as amended). Approval of Electrical inspector statutory clearances shall be obtained by asset owner after completion and termination of the line at bays / substation at both  ends and shall be submitted prior to charging/energization of the complete line. | | |
| 3. All protection systems are in place. Necessary protection settings and protection coordination at  main and adjacent substations has been done. | | |
| 4. The length of anti-theft charged section is \_ | km. |  |
| 5. Anti-theft charged section of the said line will cover  to ( tower identification numbers) |  | Nos. of towers. From location |
| 6. All concerned parties, asset owners of both ends and Transmission line sections are already  informed in writing for anti-theft charging of the said line section. | | |
| 7. All the men and materials from the line are removed. All safety measures are taken for anti-theft  charging of the said line. | | |

May kindly allow the proposed anti theft charging. Thanking you,

Yours faithfully,

Signature and stamp of Station Incharge / Asset owner

with Station Name