## Power Status
POWER STATUS ON DT 30.03.2024
[9 empty] | 2024-03-30 | 2024-03-29
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 21:00
Demand -> | [8 empty] | 5242.0144 | 5845.7979
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level |  |  |  | Generation (MW)
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 18.625 | 0.447 | 630/590 ft | 616.02 | 618.17 | 618.04 | 0 | 75.2504
| Chiplima | 72(3x24) | 18.16 | 0.43584 | - |  |  |  | 13.565 | 20.2309
| Balimela | 510(6x60+2x75) | 84.45 | 2.0268 | 1516/1440 ft | 1461.7 | 1478.4 | 1478.2 | 116.7885 | 117.9498
| Rengali | 250(5x50) | 54.3 | 1.3032 | 123.5/109.75 mt | 117.73 | 119.3 | 119.25 | 0 | 145.9185
| Upper Kolab | 320(4x80) | 116.88 | 2.8051 | 858/844 mt | 851.52 | 852.89 | 852.83 | 119.1841 | 170.0786
| Upper Indravati | 600(4x150) | 198.22 | 4.7573 | 642/625 mt | 634.67 | 631.45 | 631.37 | 155.917 | 455.1397
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2729.4 | 2703.1 | 2703.05 | 0 | 0
| Total Hydro | 2099.5 | 490.635 | 11.7752 |  |  |  |  | 405.4546 | 984.5679
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1124.3055 | 26.9833 | RENEWABLE ENERGY (RE) |  |  |  | 1137.3536 | 1137.3394
[5 empty] | M.Hydl | 27.6812
| Total Thermal | 2200 | 1124.3055 | 26.9833 | Solar | 88.4353 |  |  | 1137.3536 | 1137.3394
IPP | VEDANTA #2 | 600 (1x600) | 467.8504 | 11.2284 | Total IPPs | Yesterday's Demand Profile |  |  | 0 | 480.5482
| GMR #3 | 350 (1x350) | 323.3456 | 7.7603 | 791.196 |  | MW | Hours | 325.5618 | 327.2177
| CGPs |  | 703.2408 | 16.8778 | IPPs, CGPs & RE | Maximum | 5845.7979 | 504:00 | 975.5774 | 1574.6867
| Central Sector(Drawl) |  | 2162.7265 | 51.9054 | 1610.5533 | Minimum | 4962.0565 | 144:00 | 2723.6288 | 2149.2039
| Central Sector(Sch) |  | 2177.5845 | 52.262 |  | Average | 5388.2203 |  | 2717.634 | 2175.9185
| Grand Total |  | 5388.2203 | 129.3173 | Instantaneous Peak demand |  | 6016 | 20:57 | 5242.0144 | 5845.7979
|  |  |  | YESTERDAY'S DISTCOM SCHEDULE AND DRAWL |  |  |  |  | TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | 1,2 |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1532 | 36.768 | 1524 | 36.576 | 1525 | 36.6
Balimela | 2,3 | TSTPP St-I | NIL | TPWODL | 2137 | 51.288 | 2163 | 51.912 | 1966 | 47.184
Rengali | 1 | TSTPP St-II | NIL | TPNODL | 1009 | 24.216 | 1026 | 24.624 | 1008 | 24.192
U.Kolab | NIL | KAHALGAON | NIL | TPSODL | 564 | 13.536 | 562 | 13.488 | 568 | 13.632
Indravati | 2 | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5242 | 125.808 | 5275 | 126.6 | 5067 | 121.608
Machhkund | 2,3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 9:00hrs.
IPPs: | VEDANTA #2 | 0 | GMR |  |  |  | 330.081
Mini Hydel: | MEENAKSHI | 10.3286 | OPCL |  |  |  | 9.6971
| BTPL | 5.426 | SAPTADHARA |  |  |  | 0
Solar: |  | 159.7043 | KAKATIYA |  |  |  | 5.6607
CGPs : | JSPL (Angul) | 87.2326 | JSL(Duburi) |  |  |  | -67.2341
| ICCL | 33.9873 | VISA |  |  |  | 1.3682
| NALCO | 20.6707 | VAL (CGP) |  |  |  | 278.824
| RSP | -30.229 | BSL(MMDL) |  |  |  | 32.4722
| INDAL | -3.33 | ADITYA ALUMINIUM |  |  |  | 0.88138
| NINL | -38.7966 | VAL CPP 400 kV |  |  |  | -926.6018
| NBVL | 84.9399 | Arati |  |  |  | 30
| BPSL(JSG) | -9.0455 | BPPL |  |  |  | 119.2375
Return Banking Avg -: (MW) |  | 0
HYDRO AVERAGE GENERATION IN MW:-
22.03.2024 | 23.03.2024 | 24.03.2024 | 25.03.2024 | 26.03.2024 | 27.03.2024 | 28.03.2024 | 29.03.2024
487.548 | 521.5299 | 464.554 | 441.384 | 495.632 | 593.942 | 607.63 | 490.635
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT:29.03.2024
(A) GNA |  | (C) TGNA
| RTC Avg (In MW) |  | RTC Avg (In MW)
FARIDABAD_SOLAR to GRIDCO | 0.84129 | NALCOAP to NACL_Odisha | 6.4
IND_BHARAT to GRIDCO | 0 | JITPL to GRIDCO | 58.02
RAJ_SOLAR to GRIDCO | 2.75 | NBVLIPP to APCPDCL | 7.7917
RAJ_SOLAR to GRIDCO | 2.33 | DCBL Rajgangpur to DCBLME | 2.2
NBVLIPP to APTRANSCO | 39.13 | NBVL OTCL to NAVABHARATVL | 23.4
HIRAKUD HEP to CSEB_Beneficiary | 1.82 | DCBL Rajgangpur to DALCEMKAR | 2.3438
GMRKEL (STU) to TNEB | 18 | TSTPP-1 to Odisha | 20.46
GMRKEL (STU) to TSSPDCL | 40
(B) REMC TRANSACTION
AP41PL_BHDL to GRIDCO | 60.4329
AP43PL_BKN to GRIDCO | 89.468
AWEK1L to GRIDCO | 7.87
AWEK1L to GRIDCO | 5.2467
DADRI_SOLAR to GRIDCO | 0.936
ENERSON_SOLAR_10MW to GRIDCO | 2.3211
GIWEL_SECI-II_RE to GRIDCO | 37.14
GPCL_SOLAR_10 to GRIDCO | 2.64
GSECL_SOLAR to GRIDCO | 2.59
IRON TRINGLE_10 MW_SOLAR to GRIDCO | 2.21
OKWPL_RE to GRIDCO | 19.85
RWE_AP2_SECI-III to GRIDCO | 15.754
Tuticorin_BETAMWIND to GRIDCO | 12.82

## IEX
DAM TRADING DETAILS FOR DT: 29.03.2024
Time Period | BRG_Iron_&_Steel_Co_(P)_Ltd | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | MGM_Minerals_Ltd | Maithan_Ispat_Limited_IPC | Narbheram_Power_and_Steel_Private_Limited | Nav_Bharat_ventures_Ltd | SMC_Power_Generation_Limited_Unit_II_PTC | The_Ramco_Cements_Limited_Odisha | Vedanta_Limited_SEZ_Unit_Jharsuguda | TOTAL
00:00 - 00:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 93.28 | 79.61
00:15 - 00:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 103.52 | 89.85
00:30 - 00:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 110.68 | 97.01
00:45 - 01:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 110.68 | 97.01
01:00 - 01:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 110.68 | 97.01
01:15 - 01:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 110.68 | 97.01
01:30 - 01:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 110.68 | 97.01
01:45 - 02:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 60.96 | 47.29
02:00 - 02:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 58.15 | 44.48
02:15 - 02:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.17
02:30 - 02:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.17
02:45 - 03:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.17
03:00 - 03:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.17
03:15 - 03:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.17
03:30 - 03:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.17
03:45 - 04:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.17
04:00 - 04:15 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.38
04:15 - 04:30 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.38
04:30 - 04:45 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.38
04:45 - 05:00 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.38
05:00 - 05:15 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.38
05:15 - 05:30 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.38
05:30 - 05:45 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.38
05:45 - 06:00 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 7.5 | -6.38
06:00 - 06:15 | 3.75 | -10.1 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 0 | -23.98
06:15 - 06:30 | 3.75 | -10.1 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 0 | -23.98
06:30 - 06:45 | 3.75 | -10.1 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 0 | -23.98
06:45 - 07:00 | 3.75 | -10.1 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | 0 | 0 | 0 | -23.98
07:00 - 07:15 | 3.75 | -22.16 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -56.66
07:15 - 07:30 | 3.75 | -22.16 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -56.66
07:30 - 07:45 | 3.75 | -22.16 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -56.66
07:45 - 08:00 | 3.75 | -22.16 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -56.66
08:00 - 08:15 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -34.5
08:15 - 08:30 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -34.5
08:30 - 08:45 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -34.5
08:45 - 09:00 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -34.5
09:00 - 09:15 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -34.5
09:15 - 09:30 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -20.62 | 0 | 0 | -34.5
09:30 - 09:45 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
09:45 - 10:00 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
10:00 - 10:15 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
10:15 - 10:30 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
10:30 - 10:45 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
10:45 - 11:00 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
11:00 - 11:15 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
11:15 - 11:30 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
11:30 - 11:45 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
11:45 - 12:00 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
12:00 - 12:15 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 1 | 0 | -14.94
12:15 - 12:30 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0.22 | 0 | -15.72
12:30 - 12:45 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 4.69 | 0 | -11.25
12:45 - 13:00 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 4.69 | 0 | -11.25
13:00 - 13:15 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 4.69 | 0 | -11.25
13:15 - 13:30 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 4.69 | 0 | -11.25
13:30 - 13:45 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 4.69 | 0 | -11.25
13:45 - 14:00 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 4.69 | 0 | -11.25
14:00 - 14:15 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
14:15 - 14:30 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
14:30 - 14:45 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
14:45 - 15:00 | 3.75 | 0 | 0 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | -15.94
15:00 - 15:15 | 3.75 | 0 | 96.7 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | 80.76
15:15 - 15:30 | 3.75 | 0 | 96.7 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | 80.76
15:30 - 15:45 | 3.75 | 0 | 96.7 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | 80.76
15:45 - 16:00 | 3.75 | 0 | 96.7 | -3.92 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | 80.76
16:00 - 16:15 | 3.75 | 0 | 96.7 | -3.71 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | 80.97
16:15 - 16:30 | 3.75 | 0 | 96.7 | -3.71 | -8.25 | -0.31 | -5.15 | -2.06 | 0 | 0 | 80.97
16:30 - 16:45 | 3.75 | 0 | 96.7 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 29.08 | 112.11
16:45 - 17:00 | 3.75 | 0 | 96.69 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 79.73 | 162.75
17:00 - 17:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 60.96 | 47.29
17:15 - 17:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 110.68 | 97.01
17:30 - 17:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 143.51 | 129.84
17:45 - 18:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -5.15 | 0 | 0 | 193.22 | 179.55
18:00 - 18:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 243.88 | 203.4
18:15 - 18:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 317.98 | 277.5
18:30 - 18:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 393.01 | 352.53
18:45 - 19:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 393.01 | 352.53
19:00 - 19:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 393.01 | 352.53
19:15 - 19:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 393.01 | 352.53
19:30 - 19:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 393.01 | 352.53
19:45 - 20:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 393.01 | 352.53
20:00 - 20:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 393.01 | 352.53
20:15 - 20:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 393.01 | 352.53
20:30 - 20:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 317.98 | 277.5
20:45 - 21:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 243.88 | 203.4
21:00 - 21:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 243.88 | 203.4
21:15 - 21:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 243.88 | 203.4
21:30 - 21:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 243.88 | 203.4
21:45 - 22:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 243.88 | 203.4
22:00 - 22:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 260.76 | 220.28
22:15 - 22:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 260.76 | 220.28
22:30 - 22:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 260.76 | 220.28
22:45 - 23:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 260.76 | 220.28
23:00 - 23:15 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 307.65 | 267.17
23:15 - 23:30 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 307.65 | 267.17
23:30 - 23:45 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 291.06 | 250.58
23:45 - 24:00 | 3.75 | 0 | 0 | -3.71 | -8.25 | -0.31 | -31.96 | 0 | 0 | 306.71 | 266.23
AVG | 3.75 | -1.3442 | 8.0582 | -3.815 | -8.25 | -0.31 | -11.8525 | -2.7488 | 0.30583 | 94.7752 | 78.5689

## RTM
RTM TRADING DETAILS FOR DT: 29.03.2024
Time Period | Aarti_Steels_Ltd_(CGP)_Odisha | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | KJS_Ahluwalia_(Steel_&_Power_Division) | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited | Total
00:00 - 00:15 | 0 | 0 | 0 | 206.24 | -41.24 | -7.22 | 0 | 0 | -4.12 | -10.31 | -0.52 | 0 | 0 | 46.01 | 0 | 188.84
00:15 - 00:30 | 0 | 0 | 0 | 213.94 | -41.24 | -7.22 | 0 | 0 | -4.12 | -10.31 | -0.52 | 0 | 0 | 40.12 | 0 | 190.65
00:30 - 00:45 | -7.22 | 0 | 0 | 357.07 | -30.93 | -7.22 | 0 | 0 | -4.12 | -12.37 | -0.52 | -36.08 | 0 | 34.64 | 0 | 293.25
00:45 - 01:00 | -10.31 | 0 | 0 | 404.52 | -30.93 | -7.22 | 0 | 0 | -4.12 | -12.37 | -0.52 | -36.08 | 0 | 39.24 | 0 | 342.21
01:00 - 01:15 | -9.28 | 0 | 0 | 410.94 | -30.93 | -7.22 | 0 | 0 | -4.12 | -12.37 | -0.52 | -36.08 | 0 | 46.9 | 0 | 357.32
01:15 - 01:30 | -9.28 | 0 | 0 | 410.97 | -30.93 | -7.22 | 0 | 0 | -4.12 | -12.37 | -0.52 | -36.08 | 0 | 46.9 | 0 | 357.35
01:30 - 01:45 | -9.28 | 0 | 0 | 326.36 | -30.93 | -7.22 | 0 | 0 | -4.12 | -12.37 | -0.52 | -20.62 | 0 | 46.9 | 0 | 288.2
01:45 - 02:00 | -9.28 | 0 | 0 | 338.45 | -30.93 | -7.22 | 0 | 0 | -4.12 | -12.37 | -0.52 | 0 | 0 | 46.9 | 0 | 320.91
02:00 - 02:15 | -9.28 | 0 | 0 | 386.8 | -30.93 | -7.22 | 0 | 0 | -4.12 | -12.37 | -0.52 | 0 | 0 | 0 | 0 | 322.36
02:15 - 02:30 | -9.28 | 0 | 0 | 435.15 | -30.93 | -7.22 | 0 | 0 | -4.12 | -12.37 | -0.52 | -20.62 | 0 | 0 | 0 | 350.09
02:30 - 02:45 | 3.75 | 0 | 0 | 435.15 | -30.93 | -7.22 | 0 | 0 | -4.12 | 0 | -0.52 | -36.08 | 0 | 0 | 0 | 360.03
02:45 - 03:00 | 3.75 | 0 | 0 | 435.15 | -30.93 | -7.22 | 0 | 0 | -4.12 | 0 | -0.52 | -20.62 | 0 | 0 | 0 | 375.49
03:00 - 03:15 | 2.81 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | -20.62 | 0 | 0 | 0 | 367.34
03:15 - 03:30 | -6.19 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 378.96
03:30 - 03:45 | 4.69 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 389.84
03:45 - 04:00 | 4.69 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 389.84
04:00 - 04:15 | 4.69 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 389.84
04:15 - 04:30 | 4.69 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | -30.93 | 0 | 0 | 0 | 358.91
04:30 - 04:45 | 4.69 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 389.84
04:45 - 05:00 | 4.69 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 389.84
05:00 - 05:15 | 0 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | -41.24 | 0 | 0 | 0 | 343.91
05:15 - 05:30 | -10.31 | 0 | 0 | 435.15 | -41.24 | -4.12 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 374.84
05:30 - 05:45 | 0 | 0 | 0 | 435.15 | -41.24 | -7.22 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 382.05
05:45 - 06:00 | 0 | 0 | 0 | 435.15 | -41.24 | -7.22 | 0 | 0 | -4.12 | 0 | -0.52 | -10.31 | 0 | 0 | 0 | 371.74
06:00 - 06:15 | 3.75 | 0 | 0 | 435.15 | -41.24 | -7.22 | 0 | 0 | -4.12 | 0 | -0.52 | -41.24 | 0 | 0 | 0 | 344.56
06:15 - 06:30 | 0 | 0 | 0 | 435.15 | -41.24 | -7.22 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 382.05
06:30 - 06:45 | 0 | 0 | 0 | 424.27 | -51.55 | -7.22 | -0.41 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 360.45
06:45 - 07:00 | 0 | 0 | 0 | 338.36 | -51.55 | -7.22 | -0.52 | 0 | -4.12 | 0 | -0.52 | -20.62 | 0 | 0 | 0 | 253.81
07:00 - 07:15 | 3.75 | 0 | 0 | 192.02 | -51.55 | -7.22 | -1.03 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 131.33
07:15 - 07:30 | -10.31 | 0 | 0 | 128.9 | -51.55 | -7.22 | -1.65 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 53.53
07:30 - 07:45 | 3.75 | 0 | 0 | 162.42 | -51.55 | -4.12 | -1.96 | 0 | -4.12 | 0 | -0.52 | -20.62 | 0 | 0 | 0 | 83.28
07:45 - 08:00 | 4.69 | 0 | 0 | 189.01 | 0 | -4.12 | -2.68 | 0 | -4.12 | 0 | -0.52 | -41.24 | 0 | 0 | 0 | 141.02
08:00 - 08:15 | 4.69 | 0 | -22.16 | 162.64 | 0 | -3.09 | -3.09 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 134.35
08:15 - 08:30 | 4.69 | 0 | -22.16 | 77.54 | -41.24 | -3.09 | -2.47 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 8.63
08:30 - 08:45 | 4.69 | 0 | 0 | 96.7 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | -0.52 | -20.62 | 18.76 | 0 | 0 | 91.8
08:45 - 09:00 | 4.69 | 0 | 0 | 96.7 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 18.76 | 0 | 0 | 112.42
09:00 - 09:15 | 4.69 | 0 | 0 | 73.04 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | -0.52 | -20.62 | 0 | 0 | 0 | 49.38
09:15 - 09:30 | -11.34 | 0 | 0 | 81.69 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | -0.52 | -41.24 | 0 | 0 | 0 | 21.38
09:30 - 09:45 | 3.75 | 0 | 0 | 128.99 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 125.01
09:45 - 10:00 | 4.69 | 0 | 0 | 135.44 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 132.4
10:00 - 10:15 | 3.75 | 0 | 0 | 96.74 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | -25.77 | 9.38 | 0 | 0 | 77.4
10:15 - 10:30 | 4.69 | 0 | 0 | 97.38 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 9.38 | 0 | 0 | 104.75
10:30 - 10:45 | 4.69 | 0 | 0 | 100.8 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 9.38 | 0 | 0 | 108.17
10:45 - 11:00 | 4.69 | 0 | 0 | 99.04 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 9.38 | 0 | 0 | 106.41
11:00 - 11:15 | 4.69 | 0 | 0 | 98.49 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | -30.93 | 9.38 | 0 | 0 | 74.93
11:15 - 11:30 | -10.31 | 0 | 0 | 98.15 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 9.38 | 0 | 0 | 90.52
11:30 - 11:45 | -6.19 | 0 | 0 | 38.44 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 25.55
11:45 - 12:00 | 4.69 | 0 | 0 | 38.48 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 36.47
12:00 - 12:15 | 4.69 | 0 | 0 | 57.61 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | -20.62 | 0 | 0 | 0 | 34.98
12:15 - 12:30 | 4.69 | 0 | 0 | 43.59 | -9.65 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 31.93
12:30 - 12:45 | 4.69 | 0 | 0 | 89.36 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | -30.93 | 0 | 0 | 0 | 56.42
12:45 - 13:00 | 4.69 | 0 | 0 | 105.35 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 9.38 | 0 | 0 | 112.72
13:00 - 13:15 | 4.69 | 0 | 0 | 120.87 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 9.38 | 0 | 0 | 128.24
13:15 - 13:30 | -8.25 | 0 | 0 | 120.88 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | -36.08 | 9.38 | 0 | 0 | 79.23
13:30 - 13:45 | -6.19 | 0 | 0 | 113.09 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | -46.39 | 9.38 | 0 | 0 | 63.19
13:45 - 14:00 | 4.69 | 0 | 0 | 106.32 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | -30.93 | 9.38 | 0 | 0 | 82.76
14:00 - 14:15 | 4.69 | 0 | 0 | 130.93 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 128.92
14:15 - 14:30 | 4.69 | 0 | 0 | 163.77 | 0 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | 0 | 161.76
14:30 - 14:45 | 4.69 | 0 | 0 | 212.7 | -41.24 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | -20.62 | 0 | 0 | -1.03 | 147.8
14:45 - 15:00 | 4.69 | 0 | 0 | 291.08 | -41.24 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | -1.03 | 246.8
15:00 - 15:15 | 4.69 | 0 | -22.16 | 253.85 | -41.24 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | -1.03 | 187.41
15:15 - 15:30 | 3.75 | 0 | -22.16 | 304.27 | -41.24 | -2.06 | 0 | 0 | -4.12 | 0 | -0.52 | -41.24 | 0 | 0 | -1.03 | 195.65
15:30 - 15:45 | -7.22 | 0 | -22.16 | 356.82 | -41.24 | -3.09 | 0 | 0 | -4.12 | 0 | -0.52 | -30.93 | 0 | 0 | -1.03 | 246.51
15:45 - 16:00 | 4.69 | 0 | -22.16 | 338.46 | -41.24 | -3.09 | 0 | 0 | -4.12 | 0 | -0.52 | 0 | 0 | 0 | -1.03 | 270.99
16:00 - 16:15 | 4.69 | 0 | -22.16 | 156.69 | -41.24 | -3.09 | 0 | -8.25 | -6.19 | 0 | -0.52 | 0 | 0 | 0 | -1.03 | 78.9
16:15 - 16:30 | 4.69 | 0 | -22.16 | 134.5 | -41.24 | -3.09 | 0 | -8.25 | -6.19 | 0 | -0.52 | -30.93 | 0 | 0 | -1.03 | 25.78
16:30 - 16:45 | 4.69 | 0 | -22.16 | 362.4 | -41.24 | -7.22 | 0 | -8.25 | -6.19 | 0 | -0.52 | 0 | 0 | 0 | -1.03 | 280.48
16:45 - 17:00 | 4.69 | 0 | -22.16 | 240.58 | -41.24 | -7.22 | 0 | -8.25 | -6.19 | 0 | -0.52 | -10.31 | 0 | 0 | -1.03 | 148.35
17:00 - 17:15 | 4.69 | 0 | 0 | 368.01 | -41.24 | -7.22 | 0 | -8.25 | -6.19 | -15.46 | -0.52 | -41.24 | 0 | 30.01 | -1.03 | 281.56
17:15 - 17:30 | 3.75 | 0 | 0 | 362.64 | -41.24 | -7.22 | 0 | -8.25 | -6.19 | -15.46 | -0.52 | -30.93 | 0 | 30.01 | -1.03 | 285.56
17:30 - 17:45 | -8.25 | 0 | 0 | 374.48 | -41.24 | -7.22 | 0 | -8.25 | -6.19 | 0 | -0.52 | 0 | 0 | 30.01 | -1.03 | 331.79
17:45 - 18:00 | 4.69 | 0 | 0 | 362.71 | -41.24 | -7.22 | 0 | -8.25 | -6.19 | 0 | -0.52 | -15.46 | 0 | 30.01 | -1.03 | 317.5
18:00 - 18:15 | 4.69 | 0 | 0 | 333.6 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | 0 | -0.52 | -20.62 | 0 | 30.01 | -1.03 | 286.33
18:15 - 18:30 | 4.69 | 0 | 0 | 323.47 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | 0 | -0.52 | 0 | 0 | 30.01 | -1.03 | 296.82
18:30 - 18:45 | 4.69 | 0 | 0 | 296.69 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | 0 | -0.52 | -30.93 | 0 | 13.13 | -1.03 | 222.23
18:45 - 19:00 | 0 | 0 | 0 | 0 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | 0 | -0.52 | -72.16 | 0 | 11.16 | -1.03 | -122.35
19:00 - 19:15 | 0 | 0 | 0 | 0 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | 0 | -0.52 | -51.55 | 0 | 8.2 | -1.03 | -104.7
19:15 - 19:30 | 0 | 0 | 0 | 0 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | 0 | -0.52 | 0 | 0 | 6.48 | -1.03 | -54.87
19:30 - 19:45 | -10.31 | 0 | 0 | 0 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | 0 | -1.03 | -10.31 | 0 | 8.3 | -1.03 | -74.18
19:45 - 20:00 | -6.19 | 0 | 0 | 0 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | 0 | -1.03 | -30.93 | 0 | 10.35 | -1.03 | -88.63
20:00 - 20:15 | 0 | 0 | 0 | 145.06 | -51.55 | -7.22 | 0 | -8.25 | -3.09 | 0 | -1.03 | -10.31 | 0 | 13.13 | -1.03 | 75.71
20:15 - 20:30 | -3.09 | 0 | 0 | 196.19 | -51.55 | -7.22 | 0 | -8.25 | -3.09 | 0 | -1.03 | -41.24 | 0 | 13.13 | -1.03 | 92.82
20:30 - 20:45 | 4.69 | 0 | 0 | 205.48 | -51.55 | -7.22 | 0 | -8.25 | -3.09 | 0 | -1.03 | -82.47 | 0 | 13.13 | -1.03 | 68.66
20:45 - 21:00 | 4.69 | 0 | 0 | 209.09 | -51.55 | -7.22 | 0 | -8.25 | -3.09 | 0 | -1.03 | -30.93 | 0 | 12.19 | -1.03 | 122.87
21:00 - 21:15 | 4.69 | 0 | 0 | 192.34 | -51.55 | -4.12 | 0 | -8.25 | -3.09 | 0 | -1.03 | -10.31 | 0 | 12.19 | -1.03 | 129.84
21:15 - 21:30 | 4.69 | 0 | 0 | 153.71 | -51.55 | -4.12 | 0 | -8.25 | -3.09 | 0 | -1.03 | -30.93 | 0 | 12.19 | -1.03 | 70.59
21:30 - 21:45 | -10.31 | 0 | 0 | 41.31 | -41.24 | -4.12 | 0 | -8.25 | -3.09 | 0 | -1.03 | 0 | 0 | 12.19 | -1.03 | -15.57
21:45 - 22:00 | -5.15 | 0 | 0 | 45.07 | -41.24 | -4.12 | 0 | -8.25 | -3.09 | 0 | -1.03 | -10.31 | 0 | 12.19 | -1.03 | -16.96
22:00 - 22:15 | 0 | 0 | 0 | 28.98 | -41.24 | -4.12 | 0 | -8.25 | -3.09 | -17.53 | -1.03 | -46.39 | 0 | 13.13 | -1.03 | -80.57
22:15 - 22:30 | 0 | 0 | 0 | 28.98 | -41.24 | -4.12 | 0 | -8.25 | -3.09 | -17.53 | -1.03 | -41.24 | 0 | 13.13 | -1.03 | -75.42
22:30 - 22:45 | 0 | 0 | 0 | 145.05 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | -17.53 | -1.03 | -10.31 | 0 | 13.13 | -1.03 | 68.48
22:45 - 23:00 | 0 | 0 | 0 | 145.05 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | -17.53 | -1.03 | -10.31 | 0 | 13.13 | -1.03 | 68.48
23:00 - 23:15 | 0 | -18.56 | 0 | 145.05 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | -17.53 | -1.03 | -20.62 | 0 | 0 | -1.03 | 26.48
23:15 - 23:30 | 4.69 | -18.56 | 0 | 145.05 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | -17.53 | -1.03 | -10.31 | 0 | 0 | -1.03 | 41.48
23:30 - 23:45 | -6.19 | -1.03 | 0 | 116.06 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | -17.53 | -1.03 | 0 | 0 | 0 | -1.03 | 29.45
23:45 - 24:00 | -3.09 | -17.53 | 0 | 87.09 | -41.24 | -7.22 | 0 | -8.25 | -3.09 | -17.53 | -1.03 | -46.39 | 0 | 0 | -1.03 | -59.31
AVG | 0.42521 | -0.58 | -2.3083 | 224.6079 | -30.2787 | -4.94 | -0.14385 | -2.75 | -4.035 | -3.0285 | -0.61563 | -16.8067 | 1.4656 | 7.6891 | -0.40771 | 168.2933

## GDAM
GDAM TRADING DETAILS FOR DT: 29.03.2024
Time Period | Tata_Steel_Limited_Kalinga_Nagar | TOTAL
00:00 - 00:15 | 0 | 0
00:15 - 00:30 | 0 | 0
00:30 - 00:45 | 0 | 0
00:45 - 01:00 | 0 | 0
01:00 - 01:15 | 0 | 0
01:15 - 01:30 | 0 | 0
01:30 - 01:45 | 0 | 0
01:45 - 02:00 | 0 | 0
02:00 - 02:15 | 0 | 0
02:15 - 02:30 | 0 | 0
02:30 - 02:45 | 0 | 0
02:45 - 03:00 | 0 | 0
03:00 - 03:15 | 0 | 0
03:15 - 03:30 | 0 | 0
03:30 - 03:45 | 0 | 0
03:45 - 04:00 | 0 | 0
04:00 - 04:15 | 0 | 0
04:15 - 04:30 | 0 | 0
04:30 - 04:45 | 0 | 0
04:45 - 05:00 | 0 | 0
05:00 - 05:15 | 0 | 0
05:15 - 05:30 | 0 | 0
05:30 - 05:45 | 0 | 0
05:45 - 06:00 | 0 | 0
06:00 - 06:15 | 0 | 0
06:15 - 06:30 | 0 | 0
06:30 - 06:45 | 0 | 0
06:45 - 07:00 | 0 | 0
07:00 - 07:15 | 0 | 0
07:15 - 07:30 | 0 | 0
07:30 - 07:45 | 0 | 0
07:45 - 08:00 | 0 | 0
08:00 - 08:15 | 0 | 0
08:15 - 08:30 | 0 | 0
08:30 - 08:45 | 0 | 0
08:45 - 09:00 | 4.76 | 4.76
09:00 - 09:15 | 10.64 | 10.64
09:15 - 09:30 | 10.64 | 10.64
09:30 - 09:45 | 6.01 | 6.01
09:45 - 10:00 | 8.43 | 8.43
10:00 - 10:15 | 10.64 | 10.64
10:15 - 10:30 | 10.64 | 10.64
10:30 - 10:45 | 10.64 | 10.64
10:45 - 11:00 | 10.64 | 10.64
11:00 - 11:15 | 10.64 | 10.64
11:15 - 11:30 | 10.64 | 10.64
11:30 - 11:45 | 10.64 | 10.64
11:45 - 12:00 | 10.64 | 10.64
12:00 - 12:15 | 10.64 | 10.64
12:15 - 12:30 | 10.64 | 10.64
12:30 - 12:45 | 10.64 | 10.64
12:45 - 13:00 | 10.64 | 10.64
13:00 - 13:15 | 10.64 | 10.64
13:15 - 13:30 | 10.64 | 10.64
13:30 - 13:45 | 10.64 | 10.64
13:45 - 14:00 | 10.64 | 10.64
14:00 - 14:15 | 10.64 | 10.64
14:15 - 14:30 | 10.64 | 10.64
14:30 - 14:45 | 10.64 | 10.64
14:45 - 15:00 | 10.64 | 10.64
15:00 - 15:15 | 10.64 | 10.64
15:15 - 15:30 | 3.61 | 3.61
15:30 - 15:45 | 0 | 0
15:45 - 16:00 | 0 | 0
16:00 - 16:15 | 0 | 0
16:15 - 16:30 | 0 | 0
16:30 - 16:45 | 0 | 0
16:45 - 17:00 | 0 | 0
17:00 - 17:15 | 0 | 0
17:15 - 17:30 | 0 | 0
17:30 - 17:45 | 0 | 0
17:45 - 18:00 | 0 | 0
18:00 - 18:15 | 0 | 0
18:15 - 18:30 | 0 | 0
18:30 - 18:45 | 0 | 0
18:45 - 19:00 | 0 | 0
19:00 - 19:15 | 0 | 0
19:15 - 19:30 | 0 | 0
19:30 - 19:45 | 0 | 0
19:45 - 20:00 | 0 | 0
20:00 - 20:15 | 0 | 0
20:15 - 20:30 | 0 | 0
20:30 - 20:45 | 0 | 0
20:45 - 21:00 | 0 | 0
21:00 - 21:15 | 0 | 0
21:15 - 21:30 | 0 | 0
21:30 - 21:45 | 0 | 0
21:45 - 22:00 | 0 | 0
22:00 - 22:15 | 0 | 0
22:15 - 22:30 | 0 | 0
22:30 - 22:45 | 0 | 0
22:45 - 23:00 | 0 | 0
23:00 - 23:15 | 0 | 0
23:15 - 23:30 | 0 | 0
23:30 - 23:45 | 0 | 0
23:45 - 24:00 | 0 | 0
AVG | 2.7868 | 2.7868