## POWER STATUS
POWER STATUS ON DT 27.09.2024
[9 empty] | 2024-09-27 | 2024-09-26
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 09:00 | 19:00
Demand -> | [8 empty] | 5044 | 5223
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level |  |  |  | Generation (MW)
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 276.25 | 6.63 | 630/590 ft | 628.95 | 630 | 630 | 285 | 284
| Chiplima | 72(3x24) | 42.125 | 1.011 | - |  |  |  | 43 | 44
| Balimela | 510(6x60+2x75) | 371.625 | 8.919 | 1516/1440 ft | 1487.2 | 1514.2 | 1514.2 | 371 | 373
| Rengali | 250(5x50) | 250.79 | 6.019 | 123.5/109.75 mt | 121.71 | 123.62 | 123.69 | 255 | 253
| Upper Kolab | 320(4x80) | 186.25 | 4.47 | 858/844 mt | 855.68 | 856.86 | 856.86 | 172 | 253
| Upper Indravati | 600(4x150) | 156.24 | 3.7498 | 642/625 mt | 637.49 | 637.08 | 637.11 | 52 | 407.8
| Machkund | 60(50% of(3x17+3x23)) | 25.16 | 0.60384 | 2750/2685 ft | 2732.35 | 2747.95 | 2747.95 | 27.59 | 31
| Total Hydro | 2099.5 | 1308.44 | 31.4026 |  |  |  |  | 1205.59 | 1645.8
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1506.24 | 36.1498 | RENEWABLE ENERGY (RE) |  |  |  | 1582 | 1368
[5 empty] | M.Hydl | 97.67
| Total Thermal | 2200 | 1506.24 | 36.1498 | Solar | 66.79 |  |  | 1582 | 1368
IPP | VEDANTA #2 | 600 (1x600) | 284.3 | 6.8232 | Total IPPs | Yesterday's Demand Profile |  |  | 263 | 272
| GMR #3 | 350 (1x350) | 294.92 | 7.0781 | 647.49 |  | MW | Hours | 264 | 327
| NBVL(IPP) | 60(1x60) | 43.95 | 1.0548 |  |  |  |  | 55 | 54
| MDTPC |  | 24.32 | 0.58368 |  |  |  |  | 22 | 26
| CGPs |  | 538.01 | 12.9122 | IPPs, CGPs & RE | Maximum | 5223 | 19:00 | 1293 | 1355
| Central Sector(Drawl) |  | 770.55 | 18.4932 | 1349.96 | Minimum | 4667 | 6:00 | 963 | 854
| Central Sector(Sch) |  | 868.1 | 20.8344 |  | Average | 4935.19 |  | 871 | 816
| Grand Total |  | 4935.19 | 118.4446 | Instantaneous Peak demand |  | 5485 | 20:36 | 5043.59 | 5222.8
|  |  |  | YESTERDAY'S DISTCOM SCHEDULE AND DRAWL |  |  |  |  | TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | NIL | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1357 | 32.568 | 1346 | 32.304 | 1318 | 31.632
Balimela | 1,2 | TSTPP St-I | 2 | TPWODL | 1944 | 46.656 | 1916 | 45.984 | 1722 | 41.328
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 978 | 23.472 | 982 | 23.568 | 962 | 23.088
U.Kolab | NIL | KAHALGAON | 6 | TPSODL | 513 | 12.312 | 514 | 12.336 | 513 | 12.312
Indravati | 3 | TEESTA-V | 1,2,3 | DISCOM TOTAL | 4792 | 115.008 | 4758 | 114.192 | 4515 | 108.36
Machhkund | 2,4,5 | Darlipali | NIL
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 263 | GMR |  |  |  | 264
| NBVL #3 | 55 | MDTPC |  |  |  | 22
Mini Hydel: | MEENAKSHI | 41 | OPCL |  |  |  | 15
| BTPL | 20 | SAPTADHARA |  |  |  | 12
Solar: |  | 171 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | -73 | JSL(Duburi) |  |  |  | -17
| ICCL | -18 | VISA |  |  |  | 16
| NALCO | -20 | VAL (CGP) |  |  |  | 233
| RSP | -37 | BSL(MMDL) |  |  |  | -36
| INDAL | -3 | ADITYA ALUMINIUM |  |  |  | 6
| NINL | -28 | VAL CPP 400 kV |  |  |  | -927
| NBVL | 17 | Arati |  |  |  | 0
| BPSL(JSG) | -76 | BPPL |  |  |  | 107
Return Banking Avg -: (MW) |  | 0
HYDRO AVERAGE GENERATION IN MW:-
19-09-2024 | 20-09-2024 | 21-09-2024 | 22-09-2024 | 23-09-2024 | 24-09-2024 | 25-09-2024 | 26-09-2024
1463.846 | 1470.8636 | 1444.696 | 1427.6878 | 1393.3236 | 1165.34 | 1224.97 | 1308.44
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT:26.09.2024
(A) GNA |  |  | (C) TGNA
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
GMRKEL_STU | TNEB | -18 | DCBL_Rajgangpur | KARNATAKA_STATE | -6.78
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | DCBL_Rajgangpur | Meghalaya_State | -2.5
MAADURGA_THERMAL | BRPL | -2.5 | DCBL_Rajgangpur | BIHAR_STATE | -2.17
MAADURGA_THERMAL | NPCL_UP | -15 | NBVL_OTCL | TELANGANA_State | -17
ODISHA | KSEB | -50 | NBVLIPP | HARYANA_STATE | -44.56
ODISHA | KSEB | -27.08 | ODISHA | CSEB_State | -29.17
VSL | UTTARAKHAND | -5 | ODISHA | TAMILNADU_State | -60.42
VSL | UTTARAKHAND | -5 | SMCPGL | UTTARPRADESH_STATE | -7.33
FARIDABAD_SOLAR | ODISHA | 0.78 | smcunit2 | UTTARPRADESH_STATE | -12.67
IND_BHARAT | ODISHA | 20.1 | VSL | UTTARPRADESH_STATE | -6.67
RAJ_SOLAR | ODISHA | 2.25 | JITPL | ODISHA_STATE | 116.12
RAJ_SOLAR | ODISHA | 1.96 | NALCOAP | ODISHA_STATE | 13.96
|  |  | TISCO | ODISHA_STATE | 4.84
(B) REMC TRANSACTION
FROM | TO | RTC Avg (In MW)
ULTRATECH_CLU_ODISHA | AAPL_BKN2 | 0.97
UTCL | AAPL_BKN2 | 0
SECI_Trader | AP41PL_BHDL | 57.34
SECI_Trader | AP43PL_BKN | 82.35
AEL | ASEJ2L | 1.61
AWEK1L | AWEK1L | 6.51
AWEK1L | AWEK1L | 9.77
AWEK4L_DEDYA_BHUJ2_W | AWEK4L_DEDYA_BHUJ2_W | 2.9
DADRI_SOLAR | DADRI_SOLAR | 0.58
SECI_Trader | ENERSON_SOLAR_10MW | 0.98
GIWEL_SECI_II_RE | GIWEL_SECI_II_RE | 30.25
SECI_Trader | GPCL_SOLAR_10 | 1.84
SECI_Trader | GSECL_SOLAR | 1.81
JSL_DUBURI | HIRIYUR_OSTROKANNADA | 21.02
SECI_Trader | IRON_TRINGLE_10_MW_SOLAR | 1.11
VLSEZ | KOPPAL_SRI1PL_S | 25.45
OKWPL_RE | OKWPL_RE | 15.13
RWE_AP2_SECI_III | RWE_AP2_SECI_III | 0
TPTCL | TPSL_BKN2 | 2.84
TPTCL | TPSL_BKN2 | 6.87
Tuticorin_BETAMWIND | Tuticorin_BETAMWIND | 32.97

## IEX
DAM TRADING DETAILS FOR DT: 26.09.2024
Time Period | Bhubaneshwar_Power_Private_Limited_Odisha | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | MGM_Minerals_Ltd | Maadurga_Thermal_Power_Company_Limited_1_GMR | Maithan_Ispat_Limited_IPC | Nav_Bharat_ventures_Ltd | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC
00:00 - 00:15 | -14.5 | 0 | -526 | -2.7 | 0 | -3 | -9.7 | 0 | 0
00:15 - 00:30 | -14.5 | 0 | -526 | -2.7 | 0 | -3 | -9.7 | 0 | 0
00:30 - 00:45 | -14.5 | 0 | -526 | -2.7 | 0 | -3 | -9.7 | 0 | 0
00:45 - 01:00 | -14.5 | 0 | -526 | -2.7 | 0 | -3 | -9.7 | 0 | 0
01:00 - 01:15 | -14.5 | 0 | -651 | -2.7 | 0 | -3 | -9.7 | 0 | 0
01:15 - 01:30 | -14.5 | 0 | -651 | -2.7 | 0 | -3 | -9.7 | 0 | 0
01:30 - 01:45 | -14.5 | 0 | -651 | -2.7 | 0 | -3 | -9.7 | 0 | 0
01:45 - 02:00 | -14.5 | 0 | -651 | -2.7 | 0 | -3 | -9.7 | 0 | 0
02:00 - 02:15 | -14.5 | 0 | -651 | -2.7 | 0 | -3 | 0 | 0 | 0
02:15 - 02:30 | -14.5 | 0 | -651 | -2.7 | 0 | -3 | 0 | 0 | 0
02:30 - 02:45 | -14.5 | 0 | -651 | -2.7 | 0 | -3 | 0 | 0 | 0
02:45 - 03:00 | -14.5 | 0 | -651 | -2.7 | 0 | -3 | 0 | 0 | 0
03:00 - 03:15 | -14.5 | 0 | -576 | -2.7 | -5.5 | -3 | 0 | -5 | -20
03:15 - 03:30 | -14.5 | -14 | -576 | -2.7 | -5.5 | -3 | 0 | -5 | -20
03:30 - 03:45 | -14.5 | -14 | -576 | -2.7 | -5.5 | -3 | 0 | -5 | -20
03:45 - 04:00 | 0 | -14 | -576 | -2.7 | -5.5 | -3 | 0 | -5 | -20
04:00 - 04:15 | 0 | -14 | -651 | -2.9 | -5.5 | -3 | 0 | -5 | -20
04:15 - 04:30 | 0 | -14 | -651 | -2.9 | -5.5 | -3 | 0 | -5 | -20
04:30 - 04:45 | 0 | -14 | -651 | -2.9 | -5.5 | -3 | 0 | -5 | -20
04:45 - 05:00 | 0 | -14 | -651 | -2.9 | -5.5 | -3 | 0 | -5 | -20
05:00 - 05:15 | 0 | -14 | -711 | -2.9 | 0 | -3 | 0 | -20 | -20
05:15 - 05:30 | 0 | -14 | -711 | -2.9 | -5.5 | -3 | 0 | -20 | -20
05:30 - 05:45 | 0 | -14 | -711 | -2.9 | -5.5 | -3 | 0 | -20 | -30
05:45 - 06:00 | -14.5 | -14 | -711 | -2.9 | -5.5 | -3 | 0 | -20 | -30
06:00 - 06:15 | -14.5 | -14 | -811 | -2.9 | -5.5 | -3 | 0 | -20 | -30
06:15 - 06:30 | -14.5 | -14 | -811 | -2.9 | -5.5 | -3 | 0 | -20 | -30
06:30 - 06:45 | -14.5 | -14 | -811 | -2.9 | -5.5 | -3 | 0 | -20 | -30
06:45 - 07:00 | -14.5 | -14 | -811 | -2.9 | -5.5 | -3 | 0 | -20 | -30
07:00 - 07:15 | -14.5 | 0 | -1011 | -2.9 | -5.5 | -3 | 0 | -20 | -30
07:15 - 07:30 | 0 | 0 | -1011 | -2.9 | -5.5 | -3 | 0 | -20 | -30
07:30 - 07:45 | 0 | 0 | -1011 | -2.9 | -5.5 | -3 | 0 | -20 | -5
07:45 - 08:00 | 0 | 0 | -1011 | -2.9 | 0 | -3 | 0 | -20 | -5
08:00 - 08:15 | 0 | 0 | -751.53 | -2.9 | 0 | -3 | 0 | 0 | -5
08:15 - 08:30 | 0 | 0 | -711.83 | -2.9 | 0 | -3 | 0 | 0 | -5
08:30 - 08:45 | 0 | 0 | -711 | -2.9 | 0 | -3 | 0 | 0 | -5
08:45 - 09:00 | 0 | 0 | -711 | -2.9 | 0 | -3 | 0 | 0 | -5
09:00 - 09:15 | 0 | 0 | -785 | -2.9 | 0 | -3 | 0 | 0 | -5
09:15 - 09:30 | 0 | 0 | -815.37 | -2.9 | 0 | -3 | 0 | 0 | -5
09:30 - 09:45 | 0 | 0 | -829.99 | -2.9 | 0 | -3 | 0 | 0 | -5
09:45 - 10:00 | 0 | 0 | -835 | -2.9 | 0 | -3 | 0 | 0 | -5
10:00 - 10:15 | 0 | 0 | -860 | -2.9 | 0 | -3 | 0 | 0 | -5
10:15 - 10:30 | 0 | 0 | -860 | -2.9 | 0 | -3 | 0 | 0 | -5
10:30 - 10:45 | 0 | 0 | -860 | -2.9 | 0 | -3 | 0 | 0 | -5
10:45 - 11:00 | 0 | 0 | -860 | -2.9 | 0 | -3 | 0 | 0 | -5
11:00 - 11:15 | 0 | 0 | -916.9 | -2.9 | 0 | -3 | 0 | 0 | -5
11:15 - 11:30 | 0 | 0 | -935.16 | -2.9 | 0 | -3 | 0 | 0 | -5
11:30 - 11:45 | 0 | 0 | -940.35 | -2.9 | 0 | -3 | 0 | 0 | -5
11:45 - 12:00 | 0 | 0 | -940.39 | -2.9 | 0 | -3 | 0 | 0 | -5
12:00 - 12:15 | 0 | 0 | -887.83 | -2.9 | 0 | -3 | 0 | 0 | -5
12:15 - 12:30 | 0 | 0 | -878.54 | -2.9 | 0 | -3 | 0 | 0 | -5
12:30 - 12:45 | 0 | 0 | -860 | -2.9 | 0 | -3 | 0 | 0 | -5
12:45 - 13:00 | 0 | 0 | -860 | -2.9 | 0 | -3 | 0 | 0 | -5
13:00 - 13:15 | 0 | 0 | -860 | -2.9 | 0 | -3 | 0 | 0 | -5
13:15 - 13:30 | 0 | 0 | -860 | -2.9 | 0 | -3 | 0 | 0 | -5
13:30 - 13:45 | 0 | 0 | -860 | -2.9 | 0 | -3 | 0 | 0 | -5
13:45 - 14:00 | 0 | 0 | -900.54 | -2.9 | 0 | -3 | 0 | 0 | -5
14:00 - 14:15 | 0 | 0 | -700 | -2.9 | 0 | -3 | 0 | 0 | -5
14:15 - 14:30 | 0 | 0 | -700 | -2.9 | 0 | -3 | 0 | 0 | -5
14:30 - 14:45 | 0 | 0 | -700 | -2.9 | 0 | -3 | 0 | 0 | -5
14:45 - 15:00 | 0 | 0 | -725 | -2.9 | 0 | -3 | 0 | 0 | -5
15:00 - 15:15 | 0 | 0 | -575 | -2.9 | -5.5 | -3 | 0 | 0 | -5
15:15 - 15:30 | 0 | 0 | -575 | -2.9 | -5.5 | -3 | 0 | 0 | -5
15:30 - 15:45 | 0 | 0 | -575 | -2.9 | -5.5 | -3 | 0 | 0 | -5
15:45 - 16:00 | 0 | 0 | -575 | -2.9 | -5.5 | -3 | 0 | 0 | -5
16:00 - 16:15 | 0 | 0 | -575 | -2.7 | -5.5 | -3 | 0 | 0 | -5
16:15 - 16:30 | 0 | 0 | -575 | -2.7 | -5.5 | -3 | 0 | 0 | -5
16:30 - 16:45 | 0 | -14 | -575 | -2.7 | -5.5 | -3 | 0 | 0 | -5
16:45 - 17:00 | 0 | -18 | -575 | -2.7 | -5.5 | -3 | 0 | 0 | -5
17:00 - 17:15 | -14.5 | 0 | -350 | -2.7 | 0 | -3 | 0 | -20 | 0
17:15 - 17:30 | -14.5 | 0 | -350 | -2.7 | 0 | -3 | 0 | -20 | 0
17:30 - 17:45 | -14.5 | 0 | -350 | -2.7 | 0 | -3 | -9.7 | -20 | 0
17:45 - 18:00 | -14.5 | 0 | -350 | -2.7 | 0 | -3 | -9.7 | -20 | 0
18:00 - 18:15 | -14.5 | 0 | -100 | -2.7 | 0 | -3 | -9.7 | -20 | 0
18:15 - 18:30 | -14.5 | 0 | -100 | -2.7 | 0 | -3 | -9.7 | -20 | 0
18:30 - 18:45 | -14.5 | 0 | -100 | -2.7 | 0 | -3 | -9.7 | -20 | 0
18:45 - 19:00 | -14.5 | 0 | -100 | -2.7 | 0 | -3 | -9.7 | -20 | 0
19:00 - 19:15 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
19:15 - 19:30 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
19:30 - 19:45 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
19:45 - 20:00 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
20:00 - 20:15 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
20:15 - 20:30 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
20:30 - 20:45 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
20:45 - 21:00 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
21:00 - 21:15 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
21:15 - 21:30 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
21:30 - 21:45 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
21:45 - 22:00 | -14.5 | 0 | 0 | -2.7 | 0 | -3 | -9.7 | 0 | 0
22:00 - 22:15 | -14.5 | 0 | -125 | -2.7 | 0 | -3 | -9.7 | 0 | 0
22:15 - 22:30 | -14.5 | 0 | -125 | -2.7 | 0 | -3 | -9.7 | 0 | 0
22:30 - 22:45 | -14.5 | 0 | -125 | -2.7 | 0 | -3 | -9.7 | 0 | 0
22:45 - 23:00 | -14.5 | 0 | -125 | -2.7 | 0 | -3 | -9.7 | 0 | 0
23:00 - 23:15 | -14.5 | 0 | -125 | -2.7 | 0 | -3 | -9.7 | 0 | 0
23:15 - 23:30 | -14.5 | 0 | -125 | -2.7 | 0 | -3 | -9.7 | 0 | 0
23:30 - 23:45 | -14.5 | 0 | -125 | -2.7 | 0 | -3 | -9.7 | 0 | 0
23:45 - 24:00 | -14.5 | 0 | -125 | -2.7 | 0 | -3 | -9.7 | 0 | 0
Average | -7.401 | -2.5208 | -550.7024 | -2.8 | -1.4896 | -3 | -3.4354 | -4.5833 | -6.5625

## RTM
RTM TRADING DETAILS FOR DT: 26.09.2024
Time Period | Aarti_Steels_Ltd_(CGP)_Odisha | Aryan_Ispat_&_Power_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | KJS_Ahluwalia_(Steel_&_Power_Division) | Linde_India_Limited | MSP_Metallics_Limited | Maadurga_Thermal_Power_Company_Limited_1_GMR | Maithan_Ispat_Limited_IPC | Narbheram_Power_and_Steel_Private_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Ferro_Alloys_Division_Dhenkanall | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | 1.94 | -4.6 | 0 | 0 | -40.35 | 0 | 0 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -34 | 0 | 4.83 | 0 | -2
00:15 - 00:30 | 1.94 | -4.6 | 0 | 0 | -200.17 | 0 | 0 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -34 | 0 | 4.83 | 0 | -2
00:30 - 00:45 | 1.94 | -4.6 | 0 | 0 | -336.04 | 72.19 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -28 | 0 | 0 | 0 | -2
00:45 - 01:00 | 1.94 | -4.6 | 0 | 0 | -348.34 | 72.19 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -28 | 0 | 0 | 0 | -2
01:00 - 01:15 | -10 | -4.6 | 0 | 0 | -174.99 | 82.45 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | -2
01:15 - 01:30 | -8 | -4.6 | 0 | 0 | -175.87 | 82.45 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | -2
01:30 - 01:45 | -8 | -4.6 | 0 | 0 | -151.96 | 82.45 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | -2
01:45 - 02:00 | -8 | -4.6 | 0 | 0 | -147.99 | 82.45 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | -2
02:00 - 02:15 | -2 | -4.6 | 0 | 0 | -149.94 | 82.45 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2
02:15 - 02:30 | 1.45 | -4.6 | 0 | 0 | -149.95 | 82.45 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2
02:30 - 02:45 | 1.45 | -4.6 | 0 | 0 | -123.03 | 82.45 | -2 | 0 | -0.4 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2
02:45 - 03:00 | 1.45 | -4.6 | 0 | 0 | -116.72 | 82.45 | -2 | 0 | -0.4 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2
03:00 - 03:15 | 1.45 | -4.6 | 0 | 0 | -106.35 | 72.19 | -2 | 0 | -0.4 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -5
03:15 - 03:30 | 1.45 | -4.6 | 0 | 0 | -100.59 | 72.19 | -2 | 0 | -0.4 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -5
03:30 - 03:45 | 0 | -4.6 | 0 | 0 | -100.57 | 82.45 | -2 | 0 | -0.5 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -5
03:45 - 04:00 | -11 | -4.6 | 0 | 0 | -100.58 | 82.45 | -2 | 0 | -0.5 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -5
04:00 - 04:15 | -13 | -4.6 | 0 | 0 | -100.57 | 82.45 | -2 | 0 | -0.5 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -10 | 21.29 | 0 | 0 | -5
04:15 - 04:30 | 0 | -4.6 | 0 | 0 | -104.4 | 82.45 | -2 | 0 | -0.5 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | -5
04:30 - 04:45 | 0 | -4.6 | 0 | 0 | -100.59 | 82.45 | -2 | 0 | -0.5 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -5 | 21.29 | 0 | 0 | -5
04:45 - 05:00 | 0 | -4.6 | 0 | 0 | -106.36 | 82.45 | -2 | 0 | -0.5 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -5
05:00 - 05:15 | 0 | -4.6 | 0 | 0 | -35.4 | 72.18 | 0 | 0 | -0.5 | -5.5 | -2 | -0.3 | 0 | 0 | -3 | 1.94 | -6 | 21.29 | 4.84 | 0 | -5
05:15 - 05:30 | 0 | -4.6 | 0 | 0 | -68.02 | 72.19 | 0 | 0 | -0.5 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -6 | 21.29 | 4.84 | 0 | -5
05:30 - 05:45 | 0 | -4.6 | 0 | 0 | -69.25 | 72.19 | -2 | 0 | -0.5 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -7 | 21.29 | 4.84 | 0 | -5
05:45 - 06:00 | -6 | -4.6 | 0 | 0 | -69.26 | 72.19 | -2 | 0 | -0.5 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -7 | 21.29 | 4.84 | 0 | -5
06:00 - 06:15 | -15 | -4.6 | 0 | -61.9 | -136.69 | 72.19 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -8 | 0 | 0 | 0 | -5
06:15 - 06:30 | -14 | -4.6 | 0 | -61.9 | -166.4 | 72.19 | -2 | 0 | -0.6 | 0 | -2 | -0.3 | 0 | 0 | -3 | 0 | -8 | 0 | 0 | 0 | -5
06:30 - 06:45 | -14 | -4.6 | 0 | -61.9 | -200.6 | 72.19 | -2 | 0 | -0.8 | 0 | -2 | -0.3 | -0.2 | 0 | -3 | 0 | -8 | 0 | 0 | 0 | -5
06:45 - 07:00 | -14 | -4.6 | 0 | -61.9 | -199.96 | 72.19 | -2 | 0 | -0.8 | 0 | -2 | -0.3 | -0.3 | 0 | -3 | 0 | -8 | 0 | 0 | 0 | -5
07:00 - 07:15 | -3 | -4.6 | 0 | -61.9 | -109.14 | 72.58 | -2 | 0 | -0.8 | 0 | -2 | -0.3 | -0.5 | 0 | -3 | 0 | -8 | 0 | 0 | 0 | -5
07:15 - 07:30 | -1 | -4.6 | 0 | -61.9 | -100.99 | 72.58 | -2 | 0 | -0.8 | 0 | -2 | -0.3 | -0.8 | 0 | -3 | 0 | -8 | 0 | 0 | 0 | -5
07:30 - 07:45 | -1 | -4.6 | 0 | 0 | -95.2 | 72.58 | -2 | 0 | -0.8 | 0 | -2 | -0.3 | -0.9 | 0 | -3 | 0 | -8 | 0 | 0 | 0 | -5
07:45 - 08:00 | -1 | -4.6 | 0 | 0 | -67.42 | 72.58 | -2 | 0 | -0.8 | 0 | -2 | -0.3 | -1.3 | 0 | -3 | 0 | -8 | 0 | 0 | 0 | -5
08:00 - 08:15 | 1.45 | -4.6 | 0 | 0 | -100.06 | 72.19 | -2.2 | 0 | -1 | 0 | 0 | -0.3 | -1.4 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | -5
08:15 - 08:30 | 1.45 | -4.6 | 0 | 0 | -116.63 | 72.19 | -2.2 | 0 | -1 | 0 | 0 | -0.3 | -1.7 | 0 | -3 | 0 | -10 | 0 | 0 | 3.87 | -5
08:30 - 08:45 | 1.45 | -4.6 | 0 | 0 | -120.97 | 72.19 | -2.2 | 0 | -1.2 | -5.5 | 0 | -0.3 | -1.9 | 0 | -3 | 0 | -10 | 0 | 0 | 20.32 | -5
08:45 - 09:00 | -15 | -4.6 | 0 | 0 | -120.97 | 72.19 | -2.2 | 0 | -1.2 | -5.5 | 0 | -0.3 | -2 | 0 | -3 | 0 | -10 | 0 | 0 | 21.29 | -5
09:00 - 09:15 | -13 | -4.6 | 0 | 0 | -79.15 | 41.22 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | -2.2 | 0 | -3 | 0 | -10 | 0 | 0 | 14.52 | -5
09:15 - 09:30 | -13 | -4.6 | 0 | 0 | -90.7 | 41.22 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | -0.5 | 0 | -3 | 0 | -10 | 0 | 0 | 14.52 | -5
09:30 - 09:45 | -13 | -4.6 | 0 | 0 | -200.26 | 41.22 | -2.2 | 0 | -1 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 16.45 | -5
09:45 - 10:00 | -13 | -4.6 | 0 | 0 | -249.86 | 41.22 | -2.2 | 0 | -1 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | 0 | 0 | 4.84 | 14.52 | -5
10:00 - 10:15 | -2 | -4.6 | 0 | 0 | -180.75 | 41.22 | -2.2 | 0 | -1 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -10 | 0 | 4.84 | 12.58 | -5
10:15 - 10:30 | 0 | -4.6 | 0 | 0 | -180.76 | 41.22 | -2.2 | 0 | -1 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -10 | 0 | 4.84 | 4.84 | -5
10:30 - 10:45 | -2 | -4.6 | 0 | 0 | -237.49 | 41.22 | -2.2 | 0 | -0.5 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -10 | 0 | 4.84 | 27.1 | -5
10:45 - 11:00 | 0 | -4.6 | 0 | 0 | -237.5 | 41.22 | -2.2 | 0 | -0.5 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -10 | 0 | 4.84 | 22.26 | -5
11:00 - 11:15 | 0 | -4.6 | 0 | 0 | -237.64 | 0 | -2.2 | 0 | -0.5 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 17.42 | -5
11:15 - 11:30 | 0 | -4.6 | 0 | 0 | -237.5 | 0 | -2.2 | 0 | -0.5 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -20 | 0 | 3.93 | 15.48 | -5
11:30 - 11:45 | 0 | -4.6 | 0 | 0 | -303.08 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | 4.35 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 8.71 | -5
11:45 - 12:00 | -15 | -4.6 | 0 | 0 | -292.99 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | 4.35 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 8.71 | -5
12:00 - 12:15 | -3 | -4.6 | 0 | 0 | -385.33 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | 4.45 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 8.71 | -5
12:15 - 12:30 | 0 | -4.6 | 0 | 0 | -388.3 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | 4.45 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 8.71 | -5
12:30 - 12:45 | -3 | -4.6 | 0 | 0 | -501.41 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | 0 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 21.29 | -5
12:45 - 13:00 | 0 | -4.6 | 0 | 0 | -501.38 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | -2.3 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 19.35 | -5
13:00 - 13:15 | 0 | -4.6 | 0 | 0 | -519.04 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | -2.3 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 18.39 | -5
13:15 - 13:30 | 0 | -4.6 | 0 | 0 | -522.09 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | -2.2 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 17.42 | -5
13:30 - 13:45 | 0 | -4.6 | 0 | 0 | -469.48 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | -2.1 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 19.35 | -5
13:45 - 14:00 | -15 | -4.6 | 0 | 0 | -433.45 | 0 | 0 | 38.7 | -0.5 | 0 | 0 | -0.3 | -1.6 | 9.68 | -3 | 1.94 | -20 | 0 | 4.84 | 18.39 | -5
14:00 - 14:15 | -13 | -4.6 | 0 | 0 | -600 | 0 | 0 | 0 | -1.2 | 0 | 0 | -0.3 | -1.5 | 0 | -3 | 1.94 | -20 | 0 | 4.84 | 16.44 | -5
14:15 - 14:30 | -13 | -4.6 | 0 | 0 | -600 | 0 | 0 | 0 | -1.2 | 0 | 0 | -0.3 | -1.3 | 0 | -3 | 0 | -20 | 0 | 4.84 | 17.42 | -5
14:30 - 14:45 | -6 | -4.6 | 0 | 0 | -465.06 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | -1 | 0 | -3 | 1.94 | -15 | 0 | 4.84 | 17.41 | -5
14:45 - 15:00 | -6 | -4.6 | 0 | 0 | -351.27 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | -0.8 | 3.16 | -3 | 1.94 | -15 | 0 | 4.84 | 15.48 | -5
15:00 - 15:15 | -6 | -4.6 | 0 | 0 | -512.17 | 0 | 0 | 38.7 | -1.2 | 0 | 0 | -0.3 | 0 | 9.68 | -3 | 1.94 | -15 | 0 | 4.84 | 11.61 | -5
15:15 - 15:30 | 0.97 | -4.6 | 0 | 0 | -516.23 | 0 | 0 | 38.69 | -1.2 | 0 | 0 | -0.3 | 0 | 9.68 | -3 | 1.94 | -15 | 0 | 4.84 | 13.55 | -5
15:30 - 15:45 | 1.94 | -4.6 | 0 | 0 | -489.42 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 1.94 | -12 | 0 | 4.84 | 19.34 | -5
15:45 - 16:00 | 0 | -4.6 | 0 | 0 | -500 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -12 | 0 | 0.81 | 26.13 | -5
16:00 - 16:15 | 3.87 | -4.6 | 0 | 0 | -471.03 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 9.68 | -3 | 1.94 | -10 | 0 | 4.84 | 28.06 | -5
16:15 - 16:30 | 3.87 | -4.6 | 0 | 0 | -499.04 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -10 | 0 | 4.84 | 29.03 | -5
16:30 - 16:45 | 3.87 | -4.6 | 0 | 0 | -501.43 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 29.03 | -5
16:45 - 17:00 | -2 | -4.6 | 0 | 0 | -502.22 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 30.97 | -5
17:00 - 17:15 | -11 | -4.6 | 0 | 0 | -315.31 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 18.39 | -5
17:15 - 17:30 | 3.87 | -4.6 | 0 | 0 | -309.32 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 14.52 | -5
17:30 - 17:45 | 3.87 | -4.6 | 0 | 0 | -217.25 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -22 | 0 | 0 | 6.77 | -5
17:45 - 18:00 | -3 | -4.6 | 0 | 0 | -180.01 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -22 | 0 | 0 | 2.9 | -5
18:00 - 18:15 | 3.87 | -4.6 | 0 | 0 | -190.03 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -22 | 0 | 0 | 0 | -22
18:15 - 18:30 | 0 | -4.6 | 0 | 0 | -205.01 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -22 | 0 | 0 | 0 | -22
18:30 - 18:45 | -0.5 | -4.6 | -9 | 0 | -327.5 | 0 | -8 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -22 | 0 | 0 | 0 | -22
18:45 - 19:00 | -3 | -4.6 | -9 | 0 | -327.5 | 0 | -8 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -22 | 0 | 0 | 0 | -22
19:00 - 19:15 | -12 | -4.6 | -9 | 0 | -250 | 0 | -8 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -14 | 0 | 0 | 0 | -2
19:15 - 19:30 | -10 | -4.6 | -9 | 0 | -249.99 | 0 | -8 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -14 | 0 | 0 | 0 | -2
19:30 - 19:45 | -10 | -4.6 | -9 | 0 | -446.01 | 0 | -11.5 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -14 | 0 | 0 | 0 | -2
19:45 - 20:00 | -10 | -4.6 | -9 | 0 | -425 | 0 | -11.5 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -14 | 0 | 0 | 0 | -2
20:00 - 20:15 | -0.5 | -4.6 | 0 | 0 | -305.01 | 0 | -8 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | -2
20:15 - 20:30 | -0.5 | -4.6 | 0 | 0 | -280.01 | 0 | -8 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | -2
20:30 - 20:45 | -10 | -4.6 | 0 | 0 | -320.01 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | 0
20:45 - 21:00 | -10 | -4.6 | 0 | 0 | -239.71 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | 0
21:00 - 21:15 | -12 | -4.6 | 0 | 0 | -412.7 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | 0
21:15 - 21:30 | -12 | -4.6 | 0 | 0 | -400.03 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | 0
21:30 - 21:45 | -0.5 | -4.6 | 0 | 0 | -424.97 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -16 | 0 | 0 | 0 | 0
21:45 - 22:00 | -1.5 | -4.6 | 0 | 0 | -417.47 | 0 | -4 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -16 | 0 | 0 | 0 | 0
22:00 - 22:15 | -1.5 | -4.6 | 0 | 0 | -502.51 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 3.47 | 0 | 0
22:15 - 22:30 | -1.5 | -4.6 | 0 | 0 | -502.54 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0.61 | 0 | 0
22:30 - 22:45 | -1.5 | -4.6 | 0 | 0 | 0 | 0 | -2.2 | 38.7 | -1.2 | 0 | 0 | -0.3 | 0 | 9.68 | -3 | 1.94 | -15 | 0 | 4.84 | 0 | 0
22:45 - 23:00 | -1.5 | -4.6 | 0 | 0 | -201.7 | 0 | -2.2 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | -3 | 1.94 | -15 | 0 | 4.83 | 0 | 0
23:00 - 23:15 | -5 | -4.6 | 0 | 0 | -667.49 | 0 | -2.2 | 0 | -1.4 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | 0
23:15 - 23:30 | -14 | -4.6 | 0 | 0 | -675.02 | 0 | -2.2 | 0 | -1.4 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | 0
23:30 - 23:45 | -1.5 | -4.6 | 0 | 0 | -660 | 0 | -2.2 | 0 | -1.4 | 0 | 0 | -0.3 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | 0
23:45 - 24:00 | -1.5 | -4.6 | 0 | 0 | -533.11 | 0 | -2.2 | 0 | -1.4 | 0 | 0 | -0.3 | 0 | 0 | -3 | 1.94 | -15 | 0 | 4.83 | 0 | 0
Average | -3.8647 | -4.6 | -0.5625 | -3.8687 | -280.7662 | 30.5147 | -2.4729 | 5.2405 | -0.8875 | -0.17188 | -0.66667 | -0.3 | -0.11667 | 1.4446 | -3 | 0.42437 | -13.7292 | 1.3306 | 1.7552 | 6.7839 | -4.4167