## POWER STATUS
POWER STATUS ON DT 19.02.2025
[9 empty] | 2025-02-19 | 2025-02-18
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 08:00 | 19:00
Demand -> | [8 empty] | 5148.4561 | 5264.7623
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level |  |  |  | Generation (MW)
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 26.375 | 0.633 | 630/590 ft | 622.19 | 621.35 | 621.23 | 99.5814 | 100.9775
| Chiplima | 72(3x24) | 20.792 | 0.49901 | - |  |  |  | 13.5686 | 14.6805
| Balimela | 510(6x60+2x75) | 135.125 | 3.243 | 1516/1440 ft | 1481 | 1491.1 | 1490.7 | 352.8546 | 355.1144
| Rengali | 250(5x50) | 33.7083 | 0.809 | 123.5/109.75 mt | 120.56 | 117.36 | 117.3 | 185.4184 | 170.4435
| Upper Kolab | 320(4x80) | 92.71 | 2.225 | 858/844 mt | 854.68 | 852.48 | 852.42 | 216.1499 | 170.7709
| Upper Indravati | 600(4x150) | 211.604 | 5.0785 | 642/625 mt | 633.99 | 633.26 | 633.19 | 450 | 450
| Machkund | 60(50% of(3x17+3x23)) | 27.29 | 0.65496 | 2750/2685 ft | 2709.1 | 2741.55 | 2741.45 | 29.3404 | -1.9082e-17
| Total Hydro | 2099.5 | 547.6043 | 13.1425 |  |  |  |  | 1346.9133 | 1261.9868
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1389.0638 | 33.3375 | RENEWABLE ENERGY (RE) |  |  |  | 1409.1039 | 1393.9113
[5 empty] | M.Hydl | 26.11
| Total Thermal | 2200 | 1389.0638 | 33.3375 | Solar | 90.78 |  |  | 1409.1039 | 1393.9113
IPP | VEDANTA #2 | 600 (1x600) | 0 | 0 | Total IPPs | Yesterday's Demand Profile |  |  | 0 | 0
| GMR #3 | 350 (1x350) | 317.48 | 7.6195 | 408.47 |  | MW | HRS | 327.9213 | 332.2076
| NBVL(IPP) | 60(1x60) | 43.7 | 1.0488 |  |  |  |  | 53.25 | 53.9599
| MDTPC |  | 47.29 | 1.135 |  |  |  |  | 60.2185 | 61.1282
| CGPs |  | 408.47 | 9.8033 | IPPs, CGPs & RE | Maximum | 5265 | 19:00 | 1161.2647 | 1129.9304
| Central Sector(Drawl) |  | 1431.59 | 34.3582 | 933.83 | Minimum | 3929 | 14:00 | 1231.1741 | 1478.9338
| Central Sector(Sch) |  | 1460.59 | 35.0542 |  | Average | 4302.0881 |  | 1000.3026 | 1258.4304
| Grand Total |  | 4302.0881 | 103.2501 | Instantaneous Peak demand |  | 5158 | 19:04 | 5148.4561 | 5264.7623
|  |  |  | YESTERDAY'S DISTCOM SCHEDULE AND DRAWL |  |  |  |  | TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | NIL | IbTPS / OPGC | 2 |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1267.111 | 30.4107 | 1267.9045 | 30.4297 | 1223.9723 | 29.3753
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1511.4157 | 36.274 | 1531.8031 | 36.7633 | 1433.1713 | 34.3961
Rengali | 4 | TSTPP St-II | 5 | TPNODL | 1000.4502 | 24.0108 | 994.8917 | 23.8774 | 1011.2616 | 24.2703
U.Kolab | 1 | KAHALGAON | NIL | TPSODL | 518.0373 | 12.4329 | 525.4229 | 12.6102 | 522.9482 | 12.5508
Indravati | 3 | TEESTA-V | 1,2,3 | DISCOM TOTAL | 4297.0142 | 103.1283 | 4320.0222 | 103.6805 | 4191.3534 | 100.5925
Machhkund | 2,4,5 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 0 | GMR |  |  |  | 328
| NBVL #3 | 53 | MDTPC |  |  |  | 61
Mini Hydel: | MEENAKSHI | 8 | OPCL |  |  |  | 8
| BTPL | 0 | SAPTADHARA |  |  |  | 0
Solar: |  | 207 | KAKATIYA |  |  |  | 6
CGPs : | JSPL (Angul) | -68.1284 | JSL(Duburi) |  |  |  | -50.6517
| ICCL | 21.3676 | VISA |  |  |  | 24.5946
| NALCO | 22.4586 | VAL (CGP) |  |  |  | 257.4818
| RSP | -21.2294 | BSL(MMDL) |  |  |  | 107.546
| INDAL | 4.7581 | ADITYA ALUMINIUM |  |  |  | 0.85154
| NINL | -31.1589 | VAL CPP 400 kV |  |  |  | -375.6304
| NBVL | 28.2499 | Arati |  |  |  | 44.5055
| BPSL(JSG) | -16.2183 | BPPL |  |  |  | 106.8047
Return Banking Avg -: (MW) |  | 161
HYDRO AVERAGE GENERATION IN MW:-
2025-02-11 | 2025-02-12 | 2025-02-13 | 2025-02-14 | 2025-02-15 | 2025-02-16 | 2025-02-17 | 2025-02-18
579.9237 | 550.12 | 547.16 | 511.6617 | 460.1528 | 493.5362 | 560.199 | 547.6043
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT. 18.02.2025
(A) GNA |  |  | (C) TGNA
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
GMRKEL_STU | RUVITSL | -19.38 | ODISHA | MPSEB_Beneficiary | -14.58
GMRKEL_STU | RUVITSL | -18.75 | VL_CPP_1215 | JBVNL | -6.25
GMRKEL_STU | TNEB | -18 | AIPL_UP | LINDEINDIA | 3.24
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JIPL | ODISHA | 115.34
MAADURGA_THERMAL | RUVITSL | -27.79 | NALCOAP | NACL_Odisha | 4.97
NBVLIPP | TANGEDCO | -25.9
NBVLIPP | TANGEDCO | -5.18
ODISHA | MPPMCL | -146.56
SMCPGL | HP | -3.75
VL_CPP_1215 | NPCL_UP | -2.86
smcunit2 | HP | -7.5
FARIDABAD_SOLAR | ODISHA | 0.7
IND_BHARAT | ODISHA | 37.84
RAJ_SOLAR | ODISHA | 2.26
RAJ_SOLAR | ODISHA | 2.23
(B) REMC TRANSACTION
FROM | TO | RTC Avg (In MW)
AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.9
ACL_PSS3_KPS1_S | ACCB | 2
AP41PL_BHDL | ODISHA | 54.75
AP43PL_BKN | ODISHA | 75.85
ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.83
ARE55L_PSS3_KPS1_HW | DHAMRAPORT | 1.16
AWEK1L | ODISHA | 6.29
AWEK1L | ODISHA | 4.19
DADRI_SOLAR | ODISHA | 1
GADAG_GreenInfra_W | ODISHA | 0.09
GIWEL_SECI_II_RE | ODISHA | 31.79
GSECL_SOLAR | ODISHA | 2.25
HIRIYUR_OSTROKANNADA | JSL_DUBURI | 14.46
OKWPL_RE | ODISHA | 4.92
RWE_AP2_SECI_III | ODISHA | 0
TPSL_BKN2 | NEELACHAL_ISPAT | 2.45
TPSL_BKN2 | TSKPO | 6.03
Tuticorin_BETAMWIND | ODISHA | 14.23

## IEX
DAM TRADING DETAILS FOR DT: :18.02.2025
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | JSW_Cement_Ltd | MGM_Minerals_Ltd | Maadurga_Thermal_Power_Company_Limited_1_GMR | Nav_Bharat_ventures_Ltd | Nava_Bharat_Ventures_Ltd_Odisha_IPP | Rungta_Mines_Ltd_Karakolha_SID | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Tata_Steel_Power_Plant_Athagarh | Vedanta_Ltd_CPP_(9_X_135_MW)_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
00:15 - 00:30 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
00:30 - 00:45 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
00:45 - 01:00 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
01:00 - 01:15 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
01:15 - 01:30 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
01:30 - 01:45 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
01:45 - 02:00 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
02:00 - 02:15 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
02:15 - 02:30 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
02:30 - 02:45 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
02:45 - 03:00 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
03:00 - 03:15 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
03:15 - 03:30 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
03:30 - 03:45 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
03:45 - 04:00 | -8.8 | 0 | 0 | 0 | 2.69 | -3.2 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
04:00 - 04:15 | -8.8 | 0 | 0 | 0 | 2.69 | -3.3 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
04:15 - 04:30 | -8.8 | 0 | 0 | 0 | 2.69 | -3.3 | -11 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
04:30 - 04:45 | -8.8 | 0 | 0 | 0 | 2.69 | -3.3 | -16 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
04:45 - 05:00 | -8.8 | 0 | 0 | 0 | 2.69 | -3.3 | -21 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
05:00 - 05:15 | -8.8 | 0 | 0 | 0 | 0 | -3.3 | -26 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
05:15 - 05:30 | -8.8 | 0 | 0 | 0 | 0 | -3.3 | -31 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
05:30 - 05:45 | -8.8 | 0 | 0 | 0 | 0 | -3.3 | 0 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
05:45 - 06:00 | -8.8 | 0 | 0 | -17.49 | 0 | -3.3 | 0 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
06:00 - 06:15 | -8.8 | 0 | -0.9 | -50 | 0 | -3.3 | 0 | -8 | -20 | 4.81 | -10 | -15 | 0 | 0 | -10
06:15 - 06:30 | -8.8 | 0 | -0.9 | -50 | 0 | -3.3 | 0 | -8 | -20 | 4.81 | -10 | -15 | 0 | 0 | -10
06:30 - 06:45 | -8.8 | -30 | -0.9 | -50 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -15 | -3.16 | -11.9 | -10
06:45 - 07:00 | -8.8 | -30 | -0.9 | -50 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -15 | -19.4 | -73 | -10
07:00 - 07:15 | -8.8 | -30 | -0.9 | -25 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -21 | -19.4 | -23 | -10
07:15 - 07:30 | -8.8 | -30 | -0.9 | -25 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -21 | -19.4 | -23 | -10
07:30 - 07:45 | -8.8 | -30 | -0.9 | -25 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -21 | -19.4 | -23 | -10
07:45 - 08:00 | -8.8 | -2 | -0.9 | -25 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -21 | -19.4 | -23 | -10
08:00 - 08:15 | -8.8 | -2 | -0.9 | -225 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -21 | -19.4 | -73 | -10
08:15 - 08:30 | -8.8 | -2 | -0.9 | -375 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -21 | 0 | 0 | -10
08:30 - 08:45 | -8.8 | -2 | -0.9 | -450 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -21 | 0 | 0 | -10
08:45 - 09:00 | -8.8 | -2 | -0.9 | -525 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -22 | -21 | 0 | 0 | -10
09:00 - 09:15 | -8.8 | -2 | -0.9 | -750 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -10 | 0 | 0 | 0 | -10
09:15 - 09:30 | -8.8 | -2 | -0.9 | -825 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -10 | 0 | 0 | 0 | -10
09:30 - 09:45 | -8.8 | -2 | -0.9 | -875 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -10 | 0 | 0 | 0 | -10
09:45 - 10:00 | -8.8 | -2 | -0.9 | -875 | 0 | -3.3 | 0 | -27 | -20 | 4.81 | -10 | 0 | 0 | 0 | -10
10:00 - 10:15 | -8.8 | -2 | -0.9 | -625 | 0 | -3.3 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
10:15 - 10:30 | -8.8 | -2 | -0.9 | -625 | 0 | -3.3 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
10:30 - 10:45 | -8.8 | -2 | -0.9 | -625 | 0 | -3.3 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
10:45 - 11:00 | -8.8 | -2 | -0.9 | -575 | 0 | -3.3 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
11:00 - 11:15 | -8.8 | -2 | -0.9 | -393.37 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
11:15 - 11:30 | -8.8 | -2 | -0.9 | -386.96 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
11:30 - 11:45 | -8.8 | -2 | -0.9 | -325 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
11:45 - 12:00 | -8.8 | -2 | -0.9 | -325 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
12:00 - 12:15 | -8.8 | -2 | 0 | -400 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
12:15 - 12:30 | -8.8 | -2 | 0 | -360.83 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
12:30 - 12:45 | -8.8 | -2 | 0 | -300.28 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
12:45 - 13:00 | -8.8 | -2 | 0 | -218.5 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
13:00 - 13:15 | -8.8 | -2 | 0 | -375.22 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
13:15 - 13:30 | -8.8 | -2 | 0 | -353.2 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
13:30 - 13:45 | -8.8 | -2 | 0 | -315 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
13:45 - 14:00 | -8.8 | -2 | 0 | -315 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
14:00 - 14:15 | -8.8 | -2 | 0 | -250 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
14:15 - 14:30 | -8.8 | -2 | 0 | -250 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
14:30 - 14:45 | -8.8 | -2 | 0 | -310.38 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
14:45 - 15:00 | -8.8 | -2 | 0 | -310.44 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
15:00 - 15:15 | -8.8 | -2 | 0 | -50 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
15:15 - 15:30 | -8.8 | -2 | 0 | -50 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
15:30 - 15:45 | -8.8 | -2 | 0 | -210.18 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
15:45 - 16:00 | -8.8 | -2 | 0 | -250 | 0 | 0 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
16:00 - 16:15 | -8.8 | -2 | -0.9 | -50 | 0 | -3.1 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
16:15 - 16:30 | -8.8 | -2 | -0.9 | -50 | 0 | -3.1 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
16:30 - 16:45 | -8.8 | -2 | -0.9 | -50 | 0 | -3.1 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
16:45 - 17:00 | -8.8 | -2 | -0.9 | -50 | 0 | -3.1 | 0 | -8 | 0 | 4.81 | 0 | 0 | 0 | 0 | -4
17:00 - 17:15 | -8.8 | -2 | -0.9 | -50 | 0 | -3.1 | 0 | -8 | -20 | 4.81 | -10 | 0 | 0 | 0 | -10
17:15 - 17:30 | -8.8 | -2 | -0.9 | -50 | 0 | -3.1 | 0 | -8 | -20 | 4.81 | -10 | 0 | 0 | 0 | -10
17:30 - 17:45 | -8.8 | -2 | -0.9 | -50 | 0 | -3.1 | 0 | -27 | -20 | 4.81 | -10 | 0 | 0 | 0 | -10
17:45 - 18:00 | -8.8 | -2 | -0.9 | -50 | 0 | -3.1 | 0 | -27 | -20 | 4.81 | -10 | 0 | 0 | 0 | -10
18:00 - 18:15 | -8.8 | -2 | -0.9 | -25 | 0 | -3.1 | 0 | -27 | 0 | 4.81 | -22 | -21 | 0 | 0 | -10
18:15 - 18:30 | -8.8 | -2 | -0.9 | -25 | 0 | -3.1 | 0 | -27 | 0 | 4.81 | -22 | -21 | -19.4 | 0 | -10
18:30 - 18:45 | -8.8 | -2 | -0.9 | -25 | 0 | -3.1 | 0 | -27 | 0 | 4.81 | -22 | -21 | -19.4 | 0 | -10
18:45 - 19:00 | -8.8 | -2 | -0.9 | -25 | 0 | -3.1 | 0 | -27 | 0 | 4.81 | -22 | -21 | -19.4 | 0 | -10
19:00 - 19:15 | -8.8 | -2 | -0.9 | -75 | 0 | -3.1 | 0 | -27 | 0 | 4.81 | -22 | -21 | -19.4 | 0 | -10
19:15 - 19:30 | -8.8 | -2 | -0.9 | -75 | 0 | -3.1 | 0 | -27 | 0 | 4.81 | -22 | -21 | -19.4 | 0 | -10
19:30 - 19:45 | -8.8 | -2 | -0.9 | -75 | 0 | -3.1 | 0 | -27 | 0 | 4.81 | -10 | -21 | 0 | 0 | -10
19:45 - 20:00 | -8.8 | -2 | -0.9 | -75 | 0 | -3.1 | 0 | -27 | 0 | 4.81 | -10 | -21 | 0 | 0 | -10
20:00 - 20:15 | -8.8 | -2 | -0.9 | -75 | 0 | -3.1 | -27 | -8 | 0 | 4.81 | -10 | -1 | 0 | 0 | -10
20:15 - 20:30 | -8.8 | -2 | -0.9 | -75 | 0 | -3.1 | -17 | -8 | 0 | 4.81 | -10 | -1 | 0 | 0 | -10
20:30 - 20:45 | -8.8 | -2 | -0.9 | -75 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | -5 | -1 | 0 | 0 | -10
20:45 - 21:00 | -8.8 | -2 | -0.9 | -75 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | -5 | -1 | 0 | 0 | -10
21:00 - 21:15 | -8.8 | 0 | -61.9 | -25 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | -5 | -1 | 0 | 0 | -4
21:15 - 21:30 | -8.8 | 0 | -61.9 | -25 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | -5 | -1 | 0 | 0 | -4
21:30 - 21:45 | -8.8 | 0 | -61.9 | -25 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
21:45 - 22:00 | -8.8 | 0 | -61.9 | -25 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
22:00 - 22:15 | -8.8 | 0 | 0 | 0 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
22:15 - 22:30 | -8.8 | 0 | 0 | 0 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
22:30 - 22:45 | -8.8 | 0 | 0 | 0 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
22:45 - 23:00 | -8.8 | 0 | 0 | 0 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
23:00 - 23:15 | -8.8 | 0 | 0 | 0 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
23:15 - 23:30 | -8.8 | 0 | 0 | 0 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
23:30 - 23:45 | -8.8 | 0 | 0 | 0 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
23:45 - 24:00 | -8.8 | 0 | 0 | 0 | 0 | -3.1 | -6 | -8 | 0 | 4.81 | 0 | -1 | 0 | 0 | -4
Average | -8.8 | -2.6667 | -2.9917 | -152.2589 | 0.56042 | -2.5292 | -3.4896 | -12.75 | -4.1667 | 4.81 | -5.3333 | -4.5417 | -2.2558 | -2.6031 | -6

## RTM
RTM TRADING DETAILS FOR DT: :18.02.2025
Time Period | Aarti_Steel_Ltd_NPT | Beekay_Steel_Industries_Ltd | Ferro_Alloys_Corporation_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | KJS_Ahluwalia_(Steel_&_Power_Division) | MSP_Metallics_Limited_IPC | Narbheram_Power_and_Steel_Private_Limited | OCL_Iron_and_Steel_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Ltd_CPP_(9_X_135_MW)_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -8 | -3.8 | 0 | 0 | -61.9 | -100 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.14 | 0 | 0 | 0 | 0 | -1.9 | 0
00:15 - 00:30 | -22 | -3.8 | 0 | 0 | -61.9 | -100.01 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.14 | 0 | 0 | 0 | 0 | -1.9 | 0
00:30 - 00:45 | -26 | -3.8 | 0 | 0 | -61.9 | -100.91 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.14 | 0 | 0 | 0 | 0 | -1.9 | 0
00:45 - 01:00 | -26 | -3.8 | 0 | 0 | -61.9 | -100.91 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.14 | 0 | 0 | 0 | 0 | -1.9 | 0
01:00 - 01:15 | -26 | -3.8 | 0 | 0 | -61.9 | -100.8 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.14 | 0 | 0 | 0 | 0 | -1.9 | 0
01:15 - 01:30 | -14 | -3.8 | 0 | 0 | -61.9 | -94.1 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.14 | -40 | 0 | 0 | 0 | -1.9 | 0
01:30 - 01:45 | -8 | -3.8 | 0 | 0 | 0 | -66.91 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.16 | 3.84 | 3.84 | 0 | 4.13 | -45 | 0 | 0 | 0 | -1.9 | 0
01:45 - 02:00 | -8 | -3.8 | 0 | 0 | 0 | -61.93 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.16 | 3.84 | 3.84 | 0 | 4.13 | 0 | 0 | 0 | 0 | -1.9 | 0
02:00 - 02:15 | -8 | -3.8 | 0 | 0 | 0 | -13.95 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.16 | 3.84 | 3.84 | 0 | 4.13 | 0 | 0 | 0 | 0 | -1.9 | 0
02:15 - 02:30 | -8 | -3.8 | 0 | 0 | 0 | -13.95 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.16 | 3.84 | 3.84 | 0 | 4.13 | -10 | 0 | 0 | 0 | -1.9 | 0
02:30 - 02:45 | -8 | -3.8 | 0 | 0 | 0 | -24.42 | 0 | -2.5 | 5.78 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.13 | 0 | 0 | 0 | 0 | -1.9 | 0
02:45 - 03:00 | -16 | -3.8 | 0 | 0 | 0 | -24.42 | 0 | -2.5 | 5.78 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.13 | 0 | 0 | 0 | 0 | -1.9 | 0
03:00 - 03:15 | -26 | -3.8 | 0 | 0 | 0 | -17.57 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.16 | 3.84 | 3.84 | 0 | 4.13 | -40 | 0 | 0 | 0 | -1.9 | 0
03:15 - 03:30 | -9 | -3.8 | 0 | 0 | 0 | -19.54 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.16 | 3.84 | 3.84 | 0 | 4.13 | 0 | 0 | 0 | 0 | -1.9 | 0
03:30 - 03:45 | -8 | -3.8 | 0 | 0 | 0 | -113.92 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.16 | 3.84 | 3.84 | 0 | 4.13 | 0 | 0 | 0 | 0 | -1.9 | 0
03:45 - 04:00 | -11 | -3.8 | 0 | 0 | 0 | -113.81 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.16 | 3.84 | 3.84 | 0 | 4.13 | 0 | 0 | 0 | 0 | -1.9 | 0
04:00 - 04:15 | -14 | -3.8 | 0 | 0 | 0 | -117.56 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.16 | 3.84 | 3.84 | 0 | 4.13 | 0 | 0 | 0 | 0 | -1.9 | 0
04:15 - 04:30 | -11 | -3.8 | 0 | 0 | 0 | -90.09 | 0 | -2.5 | 5.78 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.13 | 0 | 0 | 0 | 0 | -1.9 | 0
04:30 - 04:45 | -8 | -3.8 | 0 | 0 | -61.9 | -156.41 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.14 | -40 | 0 | 0 | 0 | -1.9 | 0
04:45 - 05:00 | -24 | -3.8 | 0 | 0 | -61.9 | -100 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.14 | 0 | 0 | 0 | 0 | -1.9 | 0
05:00 - 05:15 | -28 | -3.8 | 0 | 0 | -61.9 | -201.32 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 4.14 | 0 | 0 | 0 | 0 | -1.9 | 0
05:15 - 05:30 | -12 | -3.8 | 0 | 0 | -61.9 | -207.13 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 4.14 | -32 | 0 | 0 | 0 | -1.9 | 0
05:30 - 05:45 | -12 | -3.8 | 0 | 0 | -61.9 | -215.01 | 0 | -5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 4.14 | -10 | 0 | 0 | -55 | -1.9 | 0
05:45 - 06:00 | -12 | -3.8 | 0 | 0 | -61.9 | -220.66 | 0 | -5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 4.14 | 0 | 0 | 0 | -110 | -1.9 | 0
06:00 - 06:15 | -12 | -3.8 | 0 | 0 | 0 | -8.24 | 0 | -8.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | -40 | 0 | 0 | -129 | -1.9 | -14
06:15 - 06:30 | -14 | -3.8 | 0 | 0 | 0 | -70 | 0 | -8.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | -15 | 0 | 0 | -129 | -1.9 | -14
06:30 - 06:45 | -14 | -3.8 | 10.01 | 0 | 0 | -100 | 0 | -10.6 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 2.51 | 0 | 0 | 0 | 0 | 0 | -117 | -1.9 | -14
06:45 - 07:00 | -24 | -3.8 | 7.88 | 0 | 0 | -99.99 | 0 | -10.6 | 0 | -0.8 | -8 | -0.1 | -8.2 | 0 | 0 | 0 | 1.97 | 0 | 0 | 0 | 0 | 0 | -56 | -1.9 | -14
07:00 - 07:15 | -28 | -3.8 | 2.45 | 0 | 0 | -100 | 0 | -10.8 | 0 | -0.8 | -8 | -0.5 | -8.2 | 0 | 0 | 0 | 0.62 | 0 | 0 | -35 | 0 | 0 | -56 | -1.9 | -14
07:15 - 07:30 | -21 | -3.8 | 2.06 | 0 | 0 | -100 | 0 | -10.8 | 0 | -0.8 | -8 | -1.1 | -8.2 | 0 | 0 | 0 | 0.52 | 0 | 0 | -10 | 0 | 0 | -56 | -1.9 | -14
07:30 - 07:45 | -15 | -3.8 | 1.41 | 0 | 0 | -100 | 0 | -10.8 | 0 | -0.8 | -8 | -1.5 | -8.2 | 0 | 0 | 0 | 0.36 | 0 | 0 | 0 | 0 | 0 | -56 | -1.9 | -14
07:45 - 08:00 | -15 | -3.8 | 0 | 0 | 0 | -100 | 0 | -10.8 | 0 | -0.8 | -8 | -1.9 | -8.2 | 0 | 0 | 0 | 0.45 | 0 | 0 | 0 | 0 | 0 | -56 | -1.9 | -14
08:00 - 08:15 | -15 | -4.2 | 0 | 0 | 0 | -99.99 | 0 | -10.8 | 0 | -0.8 | -8 | -2.7 | -8.2 | 0 | 0 | 0 | 1.46 | 0 | 0 | -15 | 0 | 0 | -56 | -1.9 | -14
08:15 - 08:30 | -15 | -4.2 | 0 | 0 | 0 | -100 | 0 | -10.8 | 0 | -0.8 | -8 | -3.1 | -8.2 | 0 | 0 | 0 | 1.94 | 0 | 0 | 0 | 0 | 0 | -129 | -1.9 | -14
08:30 - 08:45 | -13 | -4.2 | 0 | 0 | 0 | -32.85 | 0 | -10.8 | 0 | -0.8 | -8 | -3.4 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | -10 | -7.7 | 0 | -202 | -1.9 | -14
08:45 - 09:00 | -21 | -4.2 | 0 | 0 | 0 | -14.1 | 0 | -10.8 | 0 | -0.8 | -8 | -4 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | -10 | -7.7 | 0 | -202 | -1.9 | -14
09:00 - 09:15 | -26 | -4.2 | 0 | 0 | 0 | -19.29 | 0 | -4.5 | 0 | -0.8 | -8 | -4.2 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | -17.4 | 0 | -73 | -1.9 | -12
09:15 - 09:30 | -12 | -4.2 | 0 | 0 | 0 | -21.43 | 0 | -4.5 | 0 | -0.8 | -8 | -2 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | -17.4 | 0 | -73 | -1.9 | -12
09:30 - 09:45 | -13 | -4.2 | 0 | 0 | 0 | -42.86 | 0 | -4.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | -3 | 0 | -10 | -17.4 | 0 | -73 | -1.9 | -12
09:45 - 10:00 | -12 | -4.2 | 0 | 0 | 0 | -114.3 | 0 | -4.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | -3 | 0 | 0 | -17.4 | 0 | -73 | -1.9 | -12
10:00 - 10:15 | -12 | -4.2 | 0 | 0 | 0 | -107.39 | 0 | -4.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | -3 | 0 | -35 | -10.6 | 0 | -73 | -1.9 | 0
10:15 - 10:30 | -12 | -4.2 | 0 | 0 | 0 | -107.14 | 0 | -4.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | -3 | 0 | -45 | -10.6 | 0 | -73 | -1.9 | 0
10:30 - 10:45 | -12 | -4.2 | 0 | 0 | 0 | -6.22 | 0 | -3.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | -3 | 0 | 0 | 0 | 0 | -24.3 | -1.9 | 0
10:45 - 11:00 | -23.96 | -4.2 | 0 | 0 | 0 | -99.92 | 0 | -3.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0
11:00 - 11:15 | -19 | -4.2 | 0 | 0 | 0 | -112.83 | 0 | -3 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
11:15 - 11:30 | -8 | -4.2 | 0 | 0 | 0 | -108.22 | 0 | -3 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
11:30 - 11:45 | -8 | -4.2 | 0 | 0 | 0 | -307.84 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
11:45 - 12:00 | -13 | -4.2 | 0 | 0 | 0 | -309.22 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
12:00 - 12:15 | -8 | -4.2 | 0 | 0 | -0.9 | -109.56 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0
12:15 - 12:30 | -8 | -4.2 | 0 | 0 | -0.9 | -111.9 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0
12:30 - 12:45 | -17 | -4.2 | 0 | 0 | -0.9 | -209.56 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -15 | 0 | 0 | 0 | -1.9 | 0
12:45 - 13:00 | -28 | -4.2 | 0 | 0 | -0.9 | -307.89 | 0 | -2.5 | 0 | -0.8 | -8 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
13:00 - 13:15 | -8 | -4.2 | 0 | 0 | 0 | -201.86 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.15 | 3.84 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
13:15 - 13:30 | -8 | -4.2 | 0 | 0 | 0 | -199.98 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 2.88 | 21.15 | 3.84 | 3.84 | -3 | 0 | -45 | 0 | 4.81 | 0 | -1.9 | 0
13:30 - 13:45 | -8 | -4.2 | 0 | 0 | 0 | -301.86 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.15 | 3.84 | 3.84 | -3 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0
13:45 - 14:00 | -8 | -4.2 | 0 | 0 | 0 | -302.31 | 0 | -2.5 | 5.77 | -0.8 | -8 | 0 | -8.2 | 0 | 21.15 | 3.84 | 3.84 | -3 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0
14:00 - 14:15 | -8 | -4.2 | 0 | 0 | 0 | -302.93 | 0 | 0 | 5.77 | -0.8 | -9 | 0 | -8.2 | 0 | 21.15 | 3.84 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
14:15 - 14:30 | -8 | -4.2 | 0 | 0 | 0 | -202.33 | 0 | 0 | 5.77 | -0.8 | -9 | 0 | -8.2 | 0 | 21.15 | 3.84 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
14:30 - 14:45 | -26 | -4.2 | 0 | 0 | 0 | -102.32 | 0 | 0 | 5.77 | -0.8 | -9 | 0 | -8.2 | 0 | 21.15 | 3.84 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
14:45 - 15:00 | -12 | -4.2 | 0 | 0 | 0 | -2.92 | 0 | 0 | 5.77 | -0.8 | -9 | 0 | -8.2 | 0 | 21.15 | 3.84 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
15:00 - 15:15 | -8 | -4.2 | 0 | 0 | -0.9 | -207.88 | 0 | 0 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0
15:15 - 15:30 | -8 | -4.2 | 0 | 0 | -0.9 | -111.91 | 0 | 0 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0
15:30 - 15:45 | -8 | -4.2 | 0 | 0 | -0.9 | -368.01 | 0 | -2.5 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
15:45 - 16:00 | -8 | -4.2 | 0 | 0 | -0.9 | -268.02 | 0 | -2.5 | 0 | -0.8 | -9 | -1.9 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
16:00 - 16:15 | -8 | -4.5 | 0 | 0 | 0 | -164.33 | 0 | -2.5 | 0 | -0.8 | -9 | -1.1 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | 0
16:15 - 16:30 | -11.81 | -4.5 | 0 | 0 | 0 | -175 | 0 | -2.5 | 0 | -0.8 | -9 | -0.7 | -8.2 | 0 | 0 | 3.85 | 3.84 | -3 | 0 | -35 | 0 | 0 | 0 | -1.9 | 0
16:30 - 16:45 | -18 | -4.5 | 0 | -10 | 0 | -113.52 | 0 | -4 | 0 | -0.8 | -9 | -0.5 | -8.2 | 0 | 0 | 0 | 3.84 | -3 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0
16:45 - 17:00 | -26 | -4.5 | 0 | -10 | 0 | -163.51 | 0 | -4 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | -3 | 0 | -10 | 0 | 0 | 0 | -1.9 | 0
17:00 - 17:15 | -12 | -4.5 | 0 | -10 | 0 | -205.01 | 0 | -4 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 1.68 | 3.85 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | -12
17:15 - 17:30 | -12 | -4.5 | 0 | -10 | 0 | -118.38 | 0 | -4 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | -12
17:30 - 17:45 | -12 | -4.5 | 0 | -10 | 0 | 0 | 0 | -4 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | -3 | 0 | -45 | 0 | 0 | 0 | -1.9 | -12
17:45 - 18:00 | -16 | -4.5 | 0 | -10 | 0 | -50 | 0 | -4 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 3.66 | -3 | 0 | -30 | 0 | 0 | -54.5 | -1.9 | -12
18:00 - 18:15 | -16 | -4.5 | 0 | -10 | 0 | -150 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 1.9 | -2 | 0 | 0 | 0 | 0 | -54.5 | -1.9 | -12
18:15 - 18:30 | -16 | -4.5 | 0 | -5 | 0 | -100 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 0.51 | -2 | 0 | -20 | 0 | 0 | -39.5 | -1.9 | -12
18:30 - 18:45 | -20 | -3.8 | 0 | -5 | 0 | -50 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 0.26 | -2 | 0 | -45 | 0 | 0 | -39.5 | -1.9 | -12
18:45 - 19:00 | -20 | -3.8 | 0 | -5 | 0 | -50 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 0.28 | -2 | 0 | -45 | 0 | 0 | -39.5 | -1.9 | -12
19:00 - 19:15 | -28 | -3.8 | 0 | 0 | 0 | 0 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 0.24 | -2 | 0 | -45 | 0 | 0 | -39.5 | -4.8 | -12
19:15 - 19:30 | -28 | -3.8 | 0 | 0 | 0 | 0 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 0.34 | -2 | 0 | -45 | 0 | 0 | -39.5 | -4.8 | -12
19:30 - 19:45 | -20 | -3.8 | 0 | 0 | 0 | -50 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 1.2 | -2 | 0 | 0 | 0 | 0 | -54.5 | -4.8 | -12
19:45 - 20:00 | -20 | -3.8 | 0 | 0 | 0 | -50 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 2.46 | -2 | 0 | 0 | 0 | 0 | -54.5 | -4.8 | -12
20:00 - 20:15 | -12 | -3.8 | 0 | 0 | 0 | 0 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 0 | -114.5 | -4.8 | -12
20:15 - 20:30 | -12 | -3.8 | 0 | 0 | 0 | 0 | 0 | -10.8 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 0 | -114.5 | -4.8 | -12
20:30 - 20:45 | -14 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | -5 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 0 | -80.5 | -4.8 | -12
20:45 - 21:00 | -14 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | -5 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 0 | -32 | -4.8 | -12
21:00 - 21:15 | -21 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | -3.5 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8 | 0
21:15 - 21:30 | -20 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | -3.5 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8 | 0
21:30 - 21:45 | -8 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | -3.5 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8 | 0
21:45 - 22:00 | -8 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | -3.5 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | -10 | 0 | 0 | 0 | -4.8 | 0
22:00 - 22:15 | -8 | -3.8 | 0 | 0 | -61.9 | 0 | 61.14 | -2.5 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | -30 | 0 | 0 | 0 | -4.8 | 0
22:15 - 22:30 | -8 | -3.8 | 0 | 0 | -61.9 | 0 | 61.14 | -2.5 | 0 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8 | 0
22:30 - 22:45 | -8 | -3.8 | 0 | 0 | -61.9 | 0 | 61.14 | -2.5 | 5.77 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8 | 0
22:45 - 23:00 | -8 | -3.8 | 0 | 0 | -61.9 | 0 | 61.14 | -2.5 | 5.77 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8 | 0
23:00 - 23:15 | -21 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | 0 | 5.77 | -0.8 | -9 | 0 | -8.2 | 2.88 | 21.15 | 3.84 | 3.84 | 0 | 0 | 0 | 0 | 4.81 | 0 | -4.8 | 0
23:15 - 23:30 | -22 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | 0 | 5.77 | -0.8 | -9 | 0 | -8.2 | 2.88 | 21.15 | 3.84 | 3.84 | 0 | 0 | 0 | 0 | 4.81 | 0 | -4.8 | 0
23:30 - 23:45 | -24 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | -2.5 | 5.77 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | -45 | 0 | 0 | 0 | -4.8 | 0
23:45 - 24:00 | -24 | -3.8 | 0 | 0 | 0 | 0 | 61.14 | -2.5 | 5.77 | -0.8 | -9 | 0 | -8.2 | 0 | 0 | 3.84 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8 | 0
Average | -14.8518 | -4.0062 | 0.24802 | -0.88542 | -10.3917 | -98.0016 | 8.9162 | -4.5375 | 1.563 | -0.8 | -8.4167 | -0.29896 | -8.2 | 0.09 | 4.1869 | 2.2591 | 3.3755 | -1.2292 | 1.0338 | -16.4792 | -1.1062 | 0.15031 | -27.3781 | -2.5042 | -4.25

## GDAM
GDAM TRADING DETAILS FOR DT: :18.02.2025
Time Period | NIL
00:00 - 00:15 | 0
00:15 - 00:30 | 0
00:30 - 00:45 | 0
00:45 - 01:00 | 0
01:00 - 01:15 | 0
01:15 - 01:30 | 0
01:30 - 01:45 | 0
01:45 - 02:00 | 0
02:00 - 02:15 | 0
02:15 - 02:30 | 0
02:30 - 02:45 | 0
02:45 - 03:00 | 0
03:00 - 03:15 | 0
03:15 - 03:30 | 0
03:30 - 03:45 | 0
03:45 - 04:00 | 0
04:00 - 04:15 | 0
04:15 - 04:30 | 0
04:30 - 04:45 | 0
04:45 - 05:00 | 0
05:00 - 05:15 | 0
05:15 - 05:30 | 0
05:30 - 05:45 | 0
05:45 - 06:00 | 0
06:00 - 06:15 | 0
06:15 - 06:30 | 0
06:30 - 06:45 | 0
06:45 - 07:00 | 0
07:00 - 07:15 | 0
07:15 - 07:30 | 0
07:30 - 07:45 | 0
07:45 - 08:00 | 0
08:00 - 08:15 | 0
08:15 - 08:30 | 0
08:30 - 08:45 | 0
08:45 - 09:00 | 0
09:00 - 09:15 | 0
09:15 - 09:30 | 0
09:30 - 09:45 | 0
09:45 - 10:00 | 0
10:00 - 10:15 | 0
10:15 - 10:30 | 0
10:30 - 10:45 | 0
10:45 - 11:00 | 0
11:00 - 11:15 | 0
11:15 - 11:30 | 0
11:30 - 11:45 | 0
11:45 - 12:00 | 0
12:00 - 12:15 | 0
12:15 - 12:30 | 0
12:30 - 12:45 | 0
12:45 - 13:00 | 0
13:00 - 13:15 | 0
13:15 - 13:30 | 0
13:30 - 13:45 | 0
13:45 - 14:00 | 0
14:00 - 14:15 | 0
14:15 - 14:30 | 0
14:30 - 14:45 | 0
14:45 - 15:00 | 0
15:00 - 15:15 | 0
15:15 - 15:30 | 0
15:30 - 15:45 | 0
15:45 - 16:00 | 0
16:00 - 16:15 | 0
16:15 - 16:30 | 0
16:30 - 16:45 | 0
16:45 - 17:00 | 0
17:00 - 17:15 | 0
17:15 - 17:30 | 0
17:30 - 17:45 | 0
17:45 - 18:00 | 0
18:00 - 18:15 | 0
18:15 - 18:30 | 0
18:30 - 18:45 | 0
18:45 - 19:00 | 0
19:00 - 19:15 | 0
19:15 - 19:30 | 0
19:30 - 19:45 | 0
19:45 - 20:00 | 0
20:00 - 20:15 | 0
20:15 - 20:30 | 0
20:30 - 20:45 | 0
20:45 - 21:00 | 0
21:00 - 21:15 | 0
21:15 - 21:30 | 0
21:30 - 21:45 | 0
21:45 - 22:00 | 0
22:00 - 22:15 | 0
22:15 - 22:30 | 0
22:30 - 22:45 | 0
22:45 - 23:00 | 0
23:00 - 23:15 | 0
23:15 - 23:30 | 0
23:30 - 23:45 | 0
23:45 - 24:00 | 0
Average | 0