## POWER STATUS
POWER STATUS ON DT 10.09.2025
[9 empty] | 2025-09-10 | 2025-09-09
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 09:00 | 23:00
Demand -> | [8 empty] | 5158.5766 | 5758.6369
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 233 | 5.592 | 630/590 ft | 624.21 | 627.54 | 628.08 | 241 | 241.417
| Chiplima | 72(3x24) | 41.04 | 0.98496 | - |  |  |  | 35 | 34.8072
| Balimela | 510(6x60+2x75) | 234.21 | 5.621 | 1516/1440 ft | 1508.4 | 1487.4 | 1488 | 118.3428 | 281.0322
| Rengali | 250(5x50) | 252.11 | 6.0506 | 123.5/109.75 mt | 121.26 | 122.6 | 122.64 | 251.7664 | 251.33
| Upper Kolab | 320(4x80) | 195.08 | 4.6819 | 858/844 mt | 856.78 | 855.69 | 855.79 | 154.17 | 295.4823
| Upper Indravati | 600(4x150) | 283.82 | 6.8117 | 642/625 mt | 635.98 | 637.53 | 637.66 | 0.29744 | 589.5682
| Machkund | 60(50% of(3x17+3x23)) | 31.041 | 0.74498 | 2750/2685 ft | 2748 | 2748.25 | 2748.25 | 0 | 0
| Total Hydro | 2099.5 | 1270.301 | 30.4872 |  |  |  |  | 800.5766 | 1693.6369
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 344.05 | 8.2572 | RENEWABLE ENERGY (RE) |  |  |  | 346 | 348
[5 empty] | M.Hydl | 129.84
| Total Thermal | 2200 | 344.05 | 8.2572 | Solar | 87.93 |  |  | 346 | 348
IPP | VEDANTA #2 | 600 (1x600) | 352.89 | 8.4694 | Total IPPs | Yesterday's Demand Profile |  |  | 273.2223 | 489.0625
| GMR #3 | 350 (1x350) | 303.69 | 7.2886 | 656.58 |  | MW | HRS | 264.0901 | 318.6186
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 0 | 0 |  |  |  |  | 0 | 0
| CGPs |  | 519.16 | 12.4598 | IPPs, CGPs & RE | Maximum | 5759 | 23:00 | 1311 | 1501
| Central Sector(Drawl) |  | 2357.4345 | 56.5784 | 1393.51 | Minimum | 4883 | 10:00 | 2701 | 2216
| Central Sector(Sch) |  | 2286.5148 | 54.8764 |  | Average | 5365.2955 |  | 2664 | 1957
| Grand Total |  | 5365.2955 | 128.7671 | Instantaneous Peak demand |  | 6027 | 18:42 | 5158.5766 | 5758.6369
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | NIL | IbTPS / OPGC | 3,4 |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1587 | 38.088 | 1666 | 39.984 | 1627 | 39.048
Balimela | 5,6,8 | TSTPP St-I | 1 | TPWODL | 1696 | 40.704 | 1678 | 40.272 | 1529 | 36.696
Rengali | NIL | TSTPP St-II | 4 | TPNODL | 1239 | 29.736 | 1275 | 30.6 | 1237 | 29.688
U.Kolab | NIL | KAHALGAON | NIL | TPSODL | 577 | 13.848 | 574 | 13.776 | 584 | 14.016
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5099 | 122.376 | 5193 | 124.632 | 4977 | 119.448
Machhkund | ALL | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs: | VEDANTA #2 | 273 | GMR |  |  |  | 264
| NBVL #3 | 0 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 37 | OPCL |  |  |  | 28
| BTPL | 14 | SAPTADHARA |  |  |  | 20
Solar: |  | 218 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | -56.568 | JSL(Duburi) |  |  |  | -94.7788
| ICCL | 22.267 | visa |  |  |  | -9.876
| NALCO | 17.6148 | VAL (CGP) |  |  |  | 108.1465
| RSP | -28.614 | BSL(MMDL) |  |  |  | 27.7242
| INDAL | -6.5357 | ADITYA ALUMINIUM |  |  |  | 39.0759
| NINL | -36.1352 | VAL CPP 400 kV |  |  |  | -448.3058
| NBVL | 51.5555 | Arati |  |  |  | 30.9694
| BPSL(JSG) | -46.7022 | BPPL |  |  |  | 98.1033
Return Banking Avg -: (MW) |  | 0
HYDRO AVERAGE GENERATION IN MW:-
2025-09-02 | 2025-09-03 | 2025-09-04 | 2025-09-05 | 2025-09-06 | 2025-09-07 | 2025-09-08 | 2025-09-09
974.976 | 1061.5196 | 1101.403 | 1191.1923 | 1181.6391 | 1245.4613 | 1320.846 | 1270.301
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT. 09.09.2025
(A) GNA |  |  | (C) TGNA
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | 0 | ENVIROCARE_INFRA | WBSEDCL | -3.54
AMNSIL_Pdeep | AMNSIL | 0 | GMRKEL_STU | TANGEDCO | -17.79
GMRKEL_STU | TNEB | -18 | OCL_IRON_STEEL | RUVITSL | -10.42
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ORSISL | MES_Delhi | -2.08
JPIPL | DVC | -14 | SMCPGL | NPCL_UP | -6.67
MAADURGA_THERMAL | NPCL_UP | 0 | TSBSLA | BYPL | -5
NBVL_OTCL | MSEB_Beneficiary | -43.94 | smcunit2 | NPCL_UP | -3.25
OCL_IRON_STEEL | RUVITSL | -39.58 | AIPL_UP | LINDEINDIA | 3.02
TIMES_STEEL | DVC | -6 | JIPL | ODISHA | 116.08
FARIDABAD_SOLAR | ODISHA | 0.78 | NALCOAP | NACL_Odisha | 3.84
IND_BHARAT | ODISHA | 34.26
JPNIGRIE_JNSTPP | ODISHA | 7.05
JPNIGRIE_JNSTPP | ODISHA | 14.1
MPPMCL | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.26
RAJ_SOLAR | ODISHA | 2.36
RUVITSL | ODISHA | 52.4
(B) REMC
FROM | TO | RTC Avg (In MW)
ACL_PSS4_KPS1_W | ACCB | 2.42
AP41PL_BHDL | ODISHA | 53.79
AP43PL_BKN | ODISHA | 70.61
ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.43
ARE55L_PSS3_KPS1_HW | DHAMRAPORT | 2.67
AWEK1L | ODISHA | 12.37
AWEK1L | ODISHA | 8.24
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 31.7
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 0
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 4.19
DADRI_SOLAR | ODISHA | 0.78
ENERSON_SOLAR_10MW | ODISHA | 0.85
GADAG_GreenInfra_W | ODISHA | 0.14
GADAG_Serentica3_S | VLSEZ | 21.28
GIWEL_SECI_II_RE | ODISHA | 56.6
GPCL_SOLAR_10 | ODISHA | 1.71
GSECL_SOLAR | ODISHA | 1.49
IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.05
OKWPL_RE | ODISHA | 28.18
RWE_AP2_SECI_III | ODISHA | 13.72
RenewGreen_SLPR_HS | JSL_DUBURI | 9.71
TPSL_BKN2 | TSKPO | 9.99
TPSL_BKN2 | TSKPO | 9.99
Tuticorin_BETAMWIND | ODISHA | 12.67
XXPPL_FTG3 | ODISHA | 60.13

## IEX
DAM TRADING DETAILS FOR DT: :09.09.2025
Time Period | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | JSW_Cement_Ltd | Linde_India_Limited | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | SMC_Power_Generation_Limited_Jharsuguda | Tata_Steel_Power_Plant_Athagarh | Vedanta_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -61.9 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 154.77
00:15 - 00:30 | -61.9 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 154.77
00:30 - 00:45 | -61.9 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 154.77
00:45 - 01:00 | -61.9 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 154.77
01:00 - 01:15 | 0 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 154.77
01:15 - 01:30 | 0 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 154.77
01:30 - 01:45 | 0 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 154.77
01:45 - 02:00 | 0 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 154.77
02:00 - 02:15 | 0 | 0 | 0 | 0 | -2.1 | 0 | -20 | 0 | 154.77
02:15 - 02:30 | 0 | 0 | 0 | 0 | -2.1 | 0 | -20 | 0 | 154.77
02:30 - 02:45 | 0 | 0 | 0 | 0 | -2.1 | 0 | -20 | 0 | 154.77
02:45 - 03:00 | 0 | 0 | 0 | 0 | -2.1 | 0 | -20 | 0 | 154.77
03:00 - 03:15 | 0 | 0 | 0 | 0 | -2.1 | 0 | -20 | 0 | 154.77
03:15 - 03:30 | 0 | 0 | 0 | 0 | -2.1 | 0 | -20 | 0 | 154.77
03:30 - 03:45 | 0 | 0 | 0 | 0 | -2.1 | 0 | -20 | 0 | 154.77
03:45 - 04:00 | 0 | 0 | 0 | 0 | -2.1 | 0 | -20 | 0 | 154.77
04:00 - 04:15 | 0 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 154.77
04:15 - 04:30 | 0 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 154.77
04:30 - 04:45 | 0 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 154.77
04:45 - 05:00 | 0 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 154.77
05:00 - 05:15 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 135.42
05:15 - 05:30 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 117.04
05:30 - 05:45 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 97.7
05:45 - 06:00 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 79.32
06:00 - 06:15 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 59.01
06:15 - 06:30 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 40.63
06:30 - 06:45 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 18.38
06:45 - 07:00 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -20 | 0 | 0
07:00 - 07:15 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -10 | 0 | 117.04
07:15 - 07:30 | -61.9 | 0 | 0 | 0 | -2.2 | 0 | -10 | 0 | 91.89
07:30 - 07:45 | -61.9 | 48.61 | 0 | 0 | -2.2 | 0 | 0 | 0 | 68.68
07:45 - 08:00 | -61.9 | 122.17 | 0 | 0 | -2.2 | 0 | 0 | 0 | 44.5
08:00 - 08:15 | 0 | 290.19 | 0 | 0 | -2.2 | 0 | 0 | 0 | 39.66
08:15 - 08:30 | 0 | 290.19 | 0 | 0 | -2.2 | 0 | 0 | 0 | 34.82
08:30 - 08:45 | 0 | 203.04 | 0 | 0 | -2.2 | 0 | 0 | 0 | 30.95
08:45 - 09:00 | 0 | 290.19 | 0 | 0 | -2.2 | 0 | 0 | 0 | 204.78
09:00 - 09:15 | 0 | 290.19 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 22.25
09:15 - 09:30 | 0 | 203.13 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 18.38
09:30 - 09:45 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 14.51
09:45 - 10:00 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 11.61
10:00 - 10:15 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 9.67
10:15 - 10:30 | 0 | 0 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
10:30 - 10:45 | 0 | 0 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
10:45 - 11:00 | 0 | 9.47 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
11:00 - 11:15 | 0 | 0 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
11:15 - 11:30 | 0 | 43.73 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
11:30 - 11:45 | 0 | 66.82 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
11:45 - 12:00 | 0 | 8.13 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
12:00 - 12:15 | 0 | 47.16 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
12:15 - 12:30 | 0 | 195.3 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
12:30 - 12:45 | 0 | 196.25 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
12:45 - 13:00 | 0 | 198.05 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
13:00 - 13:15 | 0 | 198.1 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
13:15 - 13:30 | 0 | 198.11 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 9.67
13:30 - 13:45 | 0 | 198.1 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 9.67
13:45 - 14:00 | 0 | 198.06 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
14:00 - 14:15 | 0 | 86.76 | 2.9 | 28.25 | -2.2 | 0 | 0 | 0 | 9.67
14:15 - 14:30 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 9.67
14:30 - 14:45 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 9.67
14:45 - 15:00 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 9.67
15:00 - 15:15 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 9.67
15:15 - 15:30 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 12.58
15:30 - 15:45 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 16.45
15:45 - 16:00 | 0 | 0 | 2.9 | 0 | -2.2 | 0 | 0 | 0 | 20.32
16:00 - 16:15 | 0 | 94.32 | 2.9 | 0 | -2 | 0 | 0 | 0 | 24.18
16:15 - 16:30 | 0 | 203.04 | 2.9 | 0 | -2 | 0 | 0 | 0 | 29.02
16:30 - 16:45 | 0 | 228.55 | 2.9 | 0 | -2 | 0 | 0 | 0 | 32.89
16:45 - 17:00 | 0 | 230.23 | 2.9 | 0 | -2 | 0 | 0 | 0 | 37.72
17:00 - 17:15 | 0 | 51.22 | 0 | 0 | -2 | 0 | 0 | 0 | 3.87
17:15 - 17:30 | 0 | 50.91 | 0 | 0 | -2 | 0 | 0 | 0 | 8.71
17:30 - 17:45 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 13.54
17:45 - 18:00 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 18.38
18:00 - 18:15 | -0.9 | 0 | 0 | 0 | -2 | -13 | 0 | 0 | 7.74
18:15 - 18:30 | -0.9 | 0 | 0 | 0 | -2 | -13 | 0 | 0 | 11.61
18:30 - 18:45 | -0.9 | 0 | 0 | 0 | -2 | -13 | 0 | -11.6 | 7.9
18:45 - 19:00 | -0.9 | 0 | 0 | 0 | -2 | -13 | 0 | -11.6 | 6.69
19:00 - 19:15 | -0.9 | 0.22 | 0 | 0 | -2 | -13 | 0 | -11.59 | 0.08
19:15 - 19:30 | -0.9 | 0.01 | 0 | 0 | -2 | -13 | 0 | -11.6 | 0
19:30 - 19:45 | -0.9 | 0.45 | 0 | 0 | -2 | -13 | 0 | -11.6 | 0.16
19:45 - 20:00 | -0.9 | 1.8 | 0 | 0 | -2 | -13 | 0 | -11.6 | 0.65
20:00 - 20:15 | -0.9 | 1.63 | 0 | 0 | -2 | -13 | 0 | -11.6 | 0.58
20:15 - 20:30 | -0.9 | 3.2 | 0 | 0 | -2 | -13 | 0 | -11.6 | 1.15
20:30 - 20:45 | -0.9 | 4.97 | 0 | 0 | -2 | -13 | 0 | -11.6 | 1.79
20:45 - 21:00 | -0.9 | 5.52 | 0 | 0 | -2 | -13 | 0 | -11.6 | 1.98
21:00 - 21:15 | -0.9 | 6.26 | 0 | 0 | -2 | -13 | 0 | -11.6 | 2.25
21:15 - 21:30 | -0.9 | 6.3 | 0 | 0 | -2 | -13 | 0 | -11.6 | 2.26
21:30 - 21:45 | -0.9 | 7.29 | 0 | 0 | -2 | -13 | 0 | -11.6 | 2.63
21:45 - 22:00 | -0.9 | 7.96 | 0 | 0 | -2 | -13 | 0 | -11.6 | 2.86
22:00 - 22:15 | -0.9 | 7.76 | 0 | 0 | -2 | -13 | 0 | -11.6 | 2.8
22:15 - 22:30 | -0.9 | 8.97 | 0 | 0 | -2 | -13 | 0 | -11.6 | 3.23
22:30 - 22:45 | -0.9 | 10.21 | 0 | 0 | -2 | -13 | 0 | -11.6 | 3.68
22:45 - 23:00 | -0.9 | 13.33 | 0 | 0 | -2 | -13 | 0 | -11.6 | 4.8
23:00 - 23:15 | -0.9 | 0 | 0 | 0 | -2 | -13 | 0 | -11.6 | 10.3
23:15 - 23:30 | -0.9 | 0 | 0 | 0 | -2 | -13 | 0 | -11.6 | 12.42
23:30 - 23:45 | -0.9 | 0 | 0 | 0 | -2 | -13 | 0 | -11.6 | 16.94
23:45 - 24:00 | -0.9 | 0 | 0 | 0 | -2 | -13 | 0 | -11.6 | 40.92
Average | -10.5417 | 45.0615 | 0.96667 | 4.1198 | -2.1167 | -3.25 | -4.375 | -2.6582 | 51.1262

## RTM
RTM TRADING DETAILS FOR DT: 09.09.2025
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Linde_India_Limited | MSP_Metallics_Limited_IPC | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Thakur_Prasad_Sao_And_Sons_Private_Limited_Unit_IV | The_Ramco_Cements_Limited_Odisha | Vedanta_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -0.2 | 0 | 0 | 0 | 186.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.91 | -4.1 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
00:15 - 00:30 | -0.2 | 0 | 0 | 0 | 206.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.51 | -4.1 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
00:30 - 00:45 | -0.2 | 0 | 0 | 0 | 193.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.22 | -4.1 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
00:45 - 01:00 | -0.2 | 0 | 0 | 0 | 193.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.22 | -5.7 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
01:00 - 01:15 | -0.2 | -4 | 0 | -61.9 | 190.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.22 | -5.7 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
01:15 - 01:30 | -0.2 | 0 | 0 | -61.9 | 201.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.22 | -5.7 | -50 | 0 | -0.8 | 0 | 0 | -7.6 | 0
01:30 - 01:45 | -0.2 | 1.93 | 0 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.22 | -8.5 | -50 | 0 | -0.8 | 0 | 0 | -7.6 | 0
01:45 - 02:00 | -0.2 | 0 | 0 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.22 | -7 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
02:00 - 02:15 | -0.2 | 1.93 | 0 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 23.22 | -7 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
02:15 - 02:30 | -0.2 | 1.93 | 0 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 23.22 | -6 | -50 | 0 | -0.8 | 0 | 0 | -7.6 | 0
02:30 - 02:45 | -0.2 | 0 | 0 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 23.22 | -5 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
02:45 - 03:00 | -0.2 | -13 | 0 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 23.22 | -4 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
03:00 - 03:15 | -0.2 | -1 | 0 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 23.22 | -3 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
03:15 - 03:30 | -0.2 | 1.93 | 0 | -61.9 | 21.04 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 23.22 | -2.2 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
03:30 - 03:45 | -0.2 | 1.93 | 0 | 0 | 88.48 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 17.41 | -2.2 | -50 | 0 | -0.8 | 0 | 0 | -7.6 | 0
03:45 - 04:00 | -0.2 | 1.93 | 0 | 0 | 8.74 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 17.42 | -2.2 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
04:00 - 04:15 | -0.2 | 1.93 | 0 | -61.9 | 216.56 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 17.41 | -2.2 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
04:15 - 04:30 | -0.2 | 0 | 0 | -61.9 | 208.14 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 17.41 | -4.1 | -50 | 0 | -0.8 | 0 | 0 | -7.6 | 0
04:30 - 04:45 | -0.2 | -8 | 0 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 17.41 | -4.1 | -20 | 0 | -0.8 | 0 | 0 | -7.6 | 0
04:45 - 05:00 | -0.2 | -5 | 0 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 17.41 | -4.1 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
05:00 - 05:15 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 17.41 | -5.7 | -50 | 0 | -0.8 | 0 | 0 | -7.6 | 0
05:15 - 05:30 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 17.41 | -5.7 | -50 | 0 | -0.8 | 0 | 0 | -7.6 | 0
05:30 - 05:45 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.41 | -5.7 | -50 | 0 | -0.8 | 0 | 0 | -7.6 | 0
05:45 - 06:00 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.41 | -8.5 | -50 | 0 | -0.8 | 0 | 0 | -7.6 | 0
06:00 - 06:15 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.22 | -7 | -20 | 0 | -0.8 | 0 | 0 | -7.6 | 0
06:15 - 06:30 | -0.2 | -13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 20.88 | -7 | -20 | 0 | -0.8 | 0 | 0 | -7.6 | 0
06:30 - 06:45 | -0.2 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 19.73 | -6 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
06:45 - 07:00 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 19.83 | -5 | -10 | 0 | -0.8 | 0 | 0 | -7.6 | 0
07:00 - 07:15 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 23.22 | -4 | 0 | 0 | -0.8 | 0 | 0 | -7.6 | 0
07:15 - 07:30 | -0.2 | 1.93 | 0 | 0 | 47.71 | 0 | 0 | 0 | 0 | -1.9 | 0 | 0 | 0 | 23.22 | -3 | -10 | 0 | -0.8 | 0 | 0 | -7.6 | 0
07:30 - 07:45 | -0.2 | 1.93 | 0 | 0 | 488.65 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 23.22 | -8.5 | -30 | 0 | -0.8 | 0 | 0 | -7.7 | 0
07:45 - 08:00 | -0.2 | 1.93 | 0 | 0 | 302.71 | 0 | 0 | 0 | 0 | -2.7 | 11.61 | 0 | 0 | 23.22 | -8.5 | 0 | 19.35 | -0.8 | 0 | 0 | -7.7 | 6.29
08:00 - 08:15 | -0.2 | 1.45 | 0 | 0 | 82.4 | 0 | 0 | 3.87 | 0 | -3.2 | 11.61 | 0 | 0 | 23.22 | -7.5 | 0 | 48.37 | -0.8 | 0 | 0 | -7.7 | 6.29
08:15 - 08:30 | -0.2 | 1.45 | 0 | 0 | 106.43 | 0 | 0 | 3.87 | 0 | -3.6 | 11.61 | 0 | 0 | 23.22 | -7.5 | -15 | 48.37 | -0.8 | 4.84 | 0 | -7.7 | 6.29
08:30 - 08:45 | -0.2 | -16 | 0 | 0 | -97.52 | 0 | 0 | 3.87 | 0 | -4 | 15.48 | 0 | 19.35 | 23.22 | -7 | -10 | 38.67 | -0.8 | 4.84 | 6.77 | -7.7 | 6.29
08:45 - 09:00 | -0.2 | 0 | 0 | 0 | -150 | 0 | 28.25 | 3.87 | 0 | -4.3 | 15.48 | 0 | 19.35 | 23.22 | -7 | 0 | 38.66 | -0.8 | 4.84 | 8.71 | -7.7 | 6.29
09:00 - 09:15 | -0.2 | 1.93 | 0 | 0 | -141.3 | 0 | 0 | 3.87 | 0 | -4.7 | 15.48 | 0 | 19.35 | 23.22 | -7 | -60 | 24.17 | -0.8 | 4.84 | 9.67 | -7.7 | 6.29
09:15 - 09:30 | -0.2 | 1.93 | 0 | 0 | -143.41 | 0 | 0 | 3.87 | 0 | -4.9 | 15.48 | 0 | 19.35 | 23.22 | -9.5 | -40 | 24.17 | -0.8 | 4.84 | 10.64 | -7.7 | 6.29
09:30 - 09:45 | -0.2 | 1.93 | 0 | 0 | -261.62 | 0 | 28.23 | 3.87 | 0 | -5.2 | 15.48 | 0 | 19.35 | 23.22 | -8.5 | 0 | 24.18 | -0.8 | 4.84 | 21.28 | -7.7 | 6.29
09:45 - 10:00 | -0.2 | 1.93 | 0 | 0 | -249.99 | 0 | 28.23 | 3.87 | 0 | -5.4 | 15.48 | 0 | 19.35 | 23.22 | -8.5 | -12 | 24.18 | -0.8 | 4.84 | 21.28 | -7.7 | 6.29
10:00 - 10:15 | -0.2 | 1.45 | 0 | 0 | -249.99 | 0 | 28.23 | 3.87 | 0 | -5.5 | 15.48 | 0 | 19.35 | 23.22 | -9.5 | -15 | 19.35 | -0.8 | 4.84 | 22.25 | -7.7 | 7.25
10:15 - 10:30 | -0.2 | -12 | 0 | 0 | -73.55 | 0 | 0 | 3.87 | 0 | -5.6 | 10.64 | 0 | 19.35 | 23.21 | -9 | -15 | 19.35 | -0.8 | 4.84 | 20.31 | -7.7 | 7.25
10:30 - 10:45 | -0.2 | -11 | 0 | 0 | 0 | 0 | 0 | 3.87 | 0 | -5.7 | 6.77 | 0 | 19.35 | 23.22 | -9 | -45 | 30.95 | -0.8 | 4.84 | 18.38 | 0 | 7.25
10:45 - 11:00 | -0.2 | 0.97 | 0 | 0 | -100.99 | 0 | 0 | 3.87 | 0 | -5.7 | 6.77 | 0 | 19.35 | 23.22 | -8 | -60 | 30.95 | -0.8 | 4.84 | 16.44 | 0 | 7.25
11:00 - 11:15 | -0.2 | 1.93 | 0 | 0 | -185.54 | 0 | 0 | 3.87 | 0 | -5.8 | 10.64 | 0 | 19.35 | 23.22 | -8 | 0 | 40.62 | -0.8 | 4.84 | 15.48 | 0 | 8.22
11:15 - 11:30 | -0.2 | 1.93 | 0 | 0 | -185.51 | 0 | 0 | 3.87 | 0 | -6 | 10.64 | 0 | 19.35 | 23.22 | -8 | 0 | 40.62 | -0.8 | 4.84 | 18.38 | 0 | 8.22
11:30 - 11:45 | -0.2 | 1.93 | 0 | 0 | -354.08 | 0 | 0 | 2.9 | 3.87 | -6.2 | 10.64 | 0 | 19.35 | 23.22 | -7 | -35 | 40.63 | -0.8 | 0 | 0 | 0 | 8.22
11:45 - 12:00 | -0.2 | 1.93 | 0 | 0 | -304.08 | 0 | 0 | 2.9 | 3.87 | -6.4 | 10.64 | 0 | 19.35 | 23.22 | -7 | 0 | 40.63 | -0.8 | 0 | 0 | 0 | 8.22
12:00 - 12:15 | -0.2 | 1.45 | 0 | 0 | -102.47 | 0 | 0 | 2.9 | 3.87 | -6.5 | 4.84 | 0 | 19.35 | 23.22 | -5 | 0 | 40.62 | -0.8 | 0 | 0 | 0 | 8.22
12:15 - 12:30 | -0.2 | -12 | 0 | 0 | -250.53 | 0 | 0 | 2.9 | 3.87 | -6.3 | 4.84 | 0 | 19.35 | 23.22 | -5 | -35 | 40.62 | -0.8 | 0 | 0 | 0 | 8.22
12:30 - 12:45 | -0.2 | 1.45 | 0 | 0 | -86.54 | 0 | 0 | 2.9 | 3.87 | -6.1 | 2.9 | 0 | 19.35 | 23.22 | -4 | -5 | 50.3 | -0.8 | 0 | 0 | -4.3 | 8.22
12:45 - 13:00 | -0.2 | 1.45 | 0 | 0 | -100.04 | 0 | 0 | 2.9 | 3.87 | -5.9 | 2.9 | 0 | 19.35 | 23.22 | -4 | 0 | 50.3 | -0.8 | 0 | 0 | -4.3 | 8.22
13:00 - 13:15 | -0.2 | 0 | 0 | 0 | -350.54 | 0 | 0 | 2.9 | 3.87 | -5.7 | 2.9 | 3.87 | 19.35 | 23.22 | -5 | 0 | 50.3 | -0.8 | 0 | 0 | 0 | 8.22
13:15 - 13:30 | -0.2 | 0 | 0 | 0 | -324.96 | 0 | 0 | 2.9 | 3.87 | -5.4 | 2.9 | 3.87 | 19.35 | 23.22 | -5 | -10 | 50.3 | -0.8 | 0 | 0 | 0 | 8.22
13:30 - 13:45 | -0.2 | 0 | 0 | 0 | -338.42 | 0 | 0 | 2.9 | 3.87 | -5.1 | 2.9 | 3.87 | 19.35 | 23.22 | -5 | 0 | 50.29 | -0.8 | 0 | 0 | 0 | 9.19
13:45 - 14:00 | -0.2 | -16 | 0 | 0 | -339.76 | 0 | 0 | 2.9 | 3.87 | -4.8 | 2.9 | 3.87 | 19.35 | 23.22 | -7 | -25 | 50.29 | -0.8 | 0 | 0 | 0 | 9.19
14:00 - 14:15 | -0.2 | -5 | 0 | 0 | -253.03 | 0 | 0 | 2.9 | 3.87 | -4.5 | 2.9 | 0 | 19.35 | 23.22 | -8 | -40 | 50.29 | -0.8 | 0 | 0 | 0 | 9.19
14:15 - 14:30 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9 | 3.87 | -4.3 | 2.9 | 0 | 19.35 | 23.22 | -8 | -10 | 50.29 | -0.8 | 0 | 0 | 0 | 9.19
14:30 - 14:45 | -0.2 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 23.21 | -9 | 0 | 0 | -0.8 | 0 | 0 | 0 | 9.19
14:45 - 15:00 | -0.2 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -3.8 | 0 | 0 | 0 | 23.21 | -9 | 0 | 0 | -0.8 | 0 | 0 | 0 | 9.19
15:00 - 15:15 | -0.2 | 0 | 0 | 0 | -151.43 | -3 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 23.21 | -9 | 0 | 0 | -0.8 | 0 | 0 | 0 | 9.19
15:15 - 15:30 | -0.2 | 0 | 0 | 0 | -151.44 | -3 | 0 | 0 | 0 | -3.1 | 0 | 0 | 0 | 23.21 | -8 | -15 | 0 | -0.8 | 0 | 0 | 0 | 9.19
15:30 - 15:45 | -0.2 | -6 | 0 | -61.9 | 0 | -2 | 0 | 0 | 0 | -2.7 | 0 | 0 | 0 | 23.21 | -7 | 0 | 0 | -0.8 | 0 | 0 | 0 | 9.19
15:45 - 16:00 | -0.2 | -11 | 0 | -61.9 | 0 | -2 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 23.21 | -7 | -20 | 0 | -0.8 | 0 | 0 | 0 | 9.19
16:00 - 16:15 | -0.2 | 0.97 | 0 | -61.9 | -190.91 | -2 | 0 | 0 | 0 | -1.9 | 0 | 0 | 0 | 23.21 | -6 | 0 | 0 | -0.8 | 0 | 0 | 0 | 9.19
16:15 - 16:30 | -0.2 | 1.93 | 0 | -61.9 | -201.53 | -2 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 23.22 | -6 | -20 | 0 | -0.8 | 0 | 0 | 0 | 9.19
16:30 - 16:45 | -0.2 | 0 | 0 | -61.9 | -216.76 | -2 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 23.22 | -6 | -20 | 0 | -0.8 | 0 | 0 | 0 | 0
16:45 - 17:00 | -0.2 | 0 | 0 | -61.9 | -210.52 | -2 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 23.21 | -6 | 0 | 0 | -0.8 | 0 | 0 | 0 | 9.19
17:00 - 17:15 | -0.2 | 0 | 0 | -0.9 | 141.25 | -2 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 23.22 | -5 | -10 | 0 | -0.8 | 0 | 0 | 0 | 9.19
17:15 - 17:30 | -0.2 | 0.97 | 0 | -0.9 | 221.55 | -2 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 23.22 | -5 | -30 | 0 | -0.8 | 0 | 0 | 0 | 0
17:30 - 17:45 | -0.2 | 0 | 0 | -0.9 | 154.59 | -2 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 23.22 | -2.5 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
17:45 - 18:00 | -0.2 | 0 | 0 | -0.9 | 138.55 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.22 | -2.5 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
18:00 - 18:15 | -0.2 | 1.93 | 0 | 0 | 262.07 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | -0.8 | 0 | 0 | 0 | 0
18:15 - 18:30 | -0.2 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | -11 | 0 | 0 | 194.77 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 122.73 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 100.9 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 90.29 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | -4 | -0.3 | 0 | 105.44 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -30 | 0 | -0.8 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | -9 | -0.3 | 0 | 105.78 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -30 | 0 | -0.8 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | -5 | -0.3 | 0 | 59.57 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | -5 | -0.3 | 0 | 60.33 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | -10 | -0.3 | 0 | 61.16 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -40 | 0 | -0.8 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | -10 | -0.3 | 0 | 60.2 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7 | -40 | 0 | -0.8 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | -15 | -0.3 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | -25 | -0.3 | 0 | 67.01 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | -30 | -0.3 | 0 | 73.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | -15 | -0.3 | 0 | 71.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | -15 | -0.3 | 0 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | -30 | 0 | -0.8 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | -15 | -0.3 | 0 | 56.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | -30 | 0 | -0.8 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | -15 | -0.3 | 0 | 55.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | -15 | -0.3 | 0 | 63.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | -27 | -0.3 | 0 | 68.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | -32 | -0.3 | 0 | 81.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.3 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | -17 | -0.3 | 0 | 124.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.3 | -35 | 0 | -0.8 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | -17 | -0.3 | 0 | 159.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.3 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0
Average | -0.15417 | -3.9666 | -0.05625 | -12.9333 | -2.7757 | -0.625 | 1.1765 | 0.92688 | 0.48375 | -1.8031 | 2.5293 | -0.13042 | 4.8375 | 16.5565 | -5.2323 | -14.2917 | 10.8002 | -0.8 | 0.65542 | 1.9749 | -3.4271 | 3.0882

## GDAM
GDAM TRADING DETAILS FOR DT: 09.09.2025
Time Period | Emami_Paper_Mills_Ltd_Balasore_Odisha | GRIDCO | Jindal_Stainless_Limited_Duburi_Odisha | Linde_India_Limited | MGM_Green_Energy_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 398.53
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 398.53
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 398.53
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 398.53
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 398.53
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 398.53
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 398.53
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 398.53
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 398.53
02:15 - 02:30 | 1.55 | 0 | 48.37 | 0 | 0 | 0 | 398.52
02:30 - 02:45 | 1.55 | 0 | 48.37 | 0 | 0 | 0 | 398.52
02:45 - 03:00 | 1.55 | 0 | 48.37 | 0 | 0 | 0 | 398.52
03:00 - 03:15 | 1.55 | 0 | 48.37 | 0 | 0 | 0 | 398.52
03:15 - 03:30 | 1.55 | 0 | 48.37 | 0 | 0 | 0 | 398.52
03:30 - 03:45 | 1.55 | 0 | 48.37 | 0 | 0 | 0 | 398.52
03:45 - 04:00 | 0.73 | 0 | 48.37 | 0 | 0 | 0 | 398.52
04:00 - 04:15 | 0 | 0 | 34.85 | 0 | 0 | 0 | 398.53
04:15 - 04:30 | 0 | 0 | 30.23 | 0 | 0 | 0 | 398.53
04:30 - 04:45 | 0 | 0 | 25.29 | 0 | 0 | 0 | 398.52
04:45 - 05:00 | 0 | 0 | 18.71 | 0 | 0 | 0 | 398.53
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 397.56
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 397.56
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 397.56
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 397.56
06:00 - 06:15 | 0 | 0 | 0 | 0 | -0.3 | 0 | 145.1
06:15 - 06:30 | 0 | 0 | 0 | 0 | -0.3 | 0 | 145.1
06:30 - 06:45 | 0 | 0 | 0 | 0 | -0.3 | 0 | 145.1
06:45 - 07:00 | 0 | 0 | 0 | 0 | -0.4 | 0 | 145.1
07:00 - 07:15 | 0 | 0 | 0 | 0 | -0.8 | 0 | 84.22
07:15 - 07:30 | 0 | 0 | 0 | 0 | -0.5 | 0 | 252.47
07:30 - 07:45 | 0 | 0 | 0 | 0 | -1.1 | 0 | 252.47
07:45 - 08:00 | 0 | 0 | 0 | 0 | -1.2 | 0 | 252.47
08:00 - 08:15 | 0 | 0 | 0 | 0 | -1.4 | 0 | 197.64
08:15 - 08:30 | 0 | 0 | 0 | 0 | -1.3 | 0 | 41.21
08:30 - 08:45 | 1.55 | 87.13 | 10.64 | 0 | -1.7 | 0 | 252.47
08:45 - 09:00 | 0 | 0 | 0 | 0 | -2 | 0 | 73.8
09:00 - 09:15 | 0 | 0 | 0 | 0 | -2.3 | 0 | 252.47
09:15 - 09:30 | 0.92 | 86.98 | 6.77 | 0 | -2.5 | 0 | 252.46
09:30 - 09:45 | 1.55 | 290.19 | 4.84 | 0 | -2.7 | 0 | 253.43
09:45 - 10:00 | 1.55 | 290.18 | 0 | 0 | -2.8 | 0 | 252.47
10:00 - 10:15 | 1.55 | 290.18 | 0 | 0 | -2.4 | 0 | 252.47
10:15 - 10:30 | 1.55 | 290.18 | 0 | 0 | -3.1 | 4.84 | 252.47
10:30 - 10:45 | 1.55 | 290.18 | 0 | 0 | -3.2 | 4.84 | 252.47
10:45 - 11:00 | 1.55 | 290.18 | 0 | 0 | -3.3 | 4.84 | 252.47
11:00 - 11:15 | 1.55 | 290.18 | 0 | 0 | -3.3 | 4.84 | 252.47
11:15 - 11:30 | 1.55 | 290.18 | 0 | 0 | -3.1 | 4.84 | 252.47
11:30 - 11:45 | 1.55 | 290.18 | 0 | 0 | -3.2 | 4.84 | 252.47
11:45 - 12:00 | 1.55 | 290.18 | 0 | 0 | -3.2 | 4.84 | 252.47
12:00 - 12:15 | 1.55 | 290.18 | 0 | 0 | -3.2 | 4.84 | 252.47
12:15 - 12:30 | 1.55 | 290.18 | 0 | 0 | -3 | 4.84 | 252.47
12:30 - 12:45 | 1.55 | 290.18 | 0 | 0 | -3.2 | 4.84 | 252.47
12:45 - 13:00 | 1.55 | 290.18 | 0 | 0 | -3.2 | 4.84 | 252.47
13:00 - 13:15 | 1.55 | 290.18 | 0 | 0 | -3.2 | 4.84 | 252.47
13:15 - 13:30 | 1.55 | 290.17 | 0 | 28.25 | -3.1 | 4.84 | 252.47
13:30 - 13:45 | 1.55 | 290.17 | 0 | 28.25 | -3.1 | 4.84 | 252.47
13:45 - 14:00 | 1.55 | 290.18 | 0 | 0 | -2.9 | 4.84 | 252.47
14:00 - 14:15 | 1.55 | 290.18 | 0 | 0 | -2.8 | 4.84 | 252.47
14:15 - 14:30 | 1.55 | 290.18 | 0 | 0 | -2.8 | 4.84 | 252.47
14:30 - 14:45 | 1.55 | 290.18 | 0 | 0 | -2.5 | 4.84 | 252.47
14:45 - 15:00 | 1.55 | 290.18 | 0 | 0 | -2.3 | 4.84 | 252.47
15:00 - 15:15 | 1.55 | 290.18 | 4.84 | 0 | -2.1 | 0 | 252.47
15:15 - 15:30 | 1.55 | 290.18 | 7.74 | 0 | -1.9 | 0 | 252.47
15:30 - 15:45 | 1.55 | 290.19 | 9.67 | 0 | -1.8 | 0 | 252.47
15:45 - 16:00 | 1.55 | 290.18 | 11.61 | 0 | -1.4 | 0 | 252.47
16:00 - 16:15 | 1.55 | 195.87 | 13.54 | 0 | -1.2 | 0 | 253.43
16:15 - 16:30 | 1.55 | 87.08 | 14.51 | 0 | -0.7 | 0 | 252.46
16:30 - 16:45 | 0 | 29.12 | 0 | 0 | -0.1 | 0 | 252.46
16:45 - 17:00 | 0 | 28.65 | 0 | 0 | -0.1 | 0 | 252.47
17:00 - 17:15 | 0 | 0 | 0 | 0 | -0.1 | 0 | 252.47
17:15 - 17:30 | 0 | 0 | 0 | 0 | -0.1 | 0 | 252.47
17:30 - 17:45 | 0 | 0 | 0 | 0 | -0.1 | 0 | 252.47
17:45 - 18:00 | 0 | 0 | 0 | 0 | -0.1 | 0 | 38.69
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 38.69
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 38.69
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 11.52
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 5.16
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.34
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.24
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 2.01
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 3.17
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.75
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 3.69
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 4.51
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 6.27
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 13.09
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 13.93
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 15.18
Average | 0.58229 | 83.9532 | 5.5399 | 0.58854 | -0.95208 | 0.95792 | 214.5287