## POWER STATUS
POWER STATUS ON DT 12.09.2025
[9 empty] | 2025-09-12 | 2025-09-11
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 05:00 | 21:00
Demand -> | [8 empty] | 5189.6633 | 5860.1492
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 248.25 | 5.958 | 630/590 ft | 627.21 | 628.08 | 628.95 | 271.1932 | 168.6225
| Chiplima | 72(3x24) | 42.666 | 1.024 | - |  |  |  | 39.703 | 43.5629
| Balimela | 510(6x60+2x75) | 217.625 | 5.223 | 1516/1440 ft | 1512.5 | 1488 | 1489.4 | 237.0065 | 312.1964
| Rengali | 250(5x50) | 251.95 | 6.0468 | 123.5/109.75 mt | 121.17 | 122.64 | 122.78 | 252.5879 | 252.0408
| Upper Kolab | 320(4x80) | 133.71 | 3.209 | 858/844 mt | 857.08 | 855.79 | 855.85 | 231.5186 | 191.0773
| Upper Indravati | 600(4x150) | 202 | 4.848 | 642/625 mt | 636.4 | 637.66 | 637.82 | 299.6515 | 594
| Machkund | 60(50% of(3x17+3x23)) | 3.75 | 0.09 | 2750/2685 ft | 2746.9 | 2748.25 | 2748.15 | 28.8477 | 25.3524
| Total Hydro | 2099.5 | 1099.951 | 26.3988 |  |  |  |  | 1360.5084 | 1586.8523
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 827.7143 | 19.8651 | RENEWABLE ENERGY (RE) |  |  |  | 984.3401 | 964.7362
[5 empty] | M.Hydl | 133.0305
| Total Thermal | 2200 | 827.7143 | 19.8651 | Solar | 83.8744 |  |  | 984.3401 | 964.7362
IPP | VEDANTA #2 | 600 (1x600) | 280.7479 | 6.738 | Total IPPs | Yesterday's Demand Profile |  |  | 267.4405 | 389
| GMR #3 | 350 (1x350) | 291.9321 | 7.0064 | 572.68 |  | MW | HRS | 285.8011 | 306
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 0 | 0 |  |  |  |  | 0 | 0
| CGPs |  | 535.9049 | 12.8617 | IPPs, CGPs & RE | Maximum | 5891 | 15:00 | 1020.8822 | 1355.5255
| Central Sector(Drawl) |  | 2230.6396 | 53.5354 | 1325.4898 | Minimum | 5047 | 06:00 | 1823.9327 | 1953.0352
| Central Sector(Sch) |  | 2308.6448 | 55.4075 |  | Average | 5483.7947 |  | 1713.1671 | 2018.24
| Grand Total |  | 5483.7947 | 131.6111 | Instantaneous Peak demand |  | 6088 | 15:44 | 5189.6633 | 5860.1492
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | NIL | IbTPS / OPGC | 3 |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1772.8177 | 42.5476 | 1747.5838 | 41.942 | 1743.294 | 41.8391
Balimela | 5,6 | TSTPP St-I | 1 | TPWODL | 1611.3344 | 38.672 | 1573.4351 | 37.7624 | 1492.6754 | 35.8242
Rengali | NIL | TSTPP St-II | 4 | TPNODL | 1321.2313 | 31.7096 | 1336.2369 | 32.0697 | 1318.9296 | 31.6543
U.Kolab | 3 | KAHALGAON | NIL | TPSODL | 602.2411 | 14.4538 | 599.278 | 14.3827 | 595.5371 | 14.2929
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5307.6245 | 127.383 | 5256.5338 | 126.1568 | 5150.4361 | 123.6105
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs: | VEDANTA #2 | 273 | GMR |  |  |  | 264
| NBVL #3 | 0 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 37 | OPCL |  |  |  | 28
| BTPL | 14 | SAPTADHARA |  |  |  | 20
Solar: |  | 218 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | -56.568 | JSL(Duburi) |  |  |  | -94.7788
| ICCL | 22.267 | visa |  |  |  | -9.876
| NALCO | 17.6148 | VAL (CGP) |  |  |  | 108.1465
| RSP | -28.614 | BSL(MMDL) |  |  |  | 27.7242
| INDAL | -6.5357 | ADITYA ALUMINIUM |  |  |  | 39.0759
| NINL | -36.1352 | VAL CPP 400 kV |  |  |  | -448.3058
| NBVL | 51.5555 | Arati |  |  |  | 30.9694
| BPSL(JSG) | -46.7022 | BPPL |  |  |  | 98.1033
Return Banking Avg -: (MW) |  | 0
HYDRO AVERAGE GENERATION IN MW:-
2025-09-04 | 2025-09-05 | 2025-09-06 | 2025-09-07 | 2025-09-08 | 2025-09-09 | 2025-09-10 | 2025-09-11
1101.403 | 1191.1923 | 1181.6391 | 1245.4613 | 1320.846 | 1270.301 | 1225.883 | 1099.951
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT. 11.09.2025
(A) GNA |  |  | (C) TGNA
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -20 | ENVIROCARE_INFRA | WBSEDCL | -3.54
AMNSIL_Pdeep | AMNSIL | 0 | GMRKEL_STU | TANGEDCO | -17.79
AMNSIL_Pdeep | AMNSIL | 0 | OCL_IRON_STEEL | RUVITSL | -10.42
GMRKEL_STU | TNEB | -18 | ORSISL | MES_Delhi | -2.08
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | SMCPGL | NPCL_UP | -7.17
JPIPL | DVC | -14 | smcunit2 | NPCL_UP | -4.33
MAADURGA_THERMAL | NPCL_UP | 0 | AIPL_UP | LINDEINDIA | 3.02
NBVL_OTCL | MSEB_Beneficiary | -51.69 | JIPL | ODISHA | 116.08
OCL_IRON_STEEL | RUVITSL | -39.58 | NALCOAP | NACL_Odisha | 6.24
TIMES_STEEL | DVC | -6
FARIDABAD_SOLAR | ODISHA | 0.83
IND_BHARAT | ODISHA | 27.9
JPL | ODISHA | 32.24
MPPMCL | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.5
RAJ_SOLAR | ODISHA | 2.18
VEDANTA_LIMITED_CG | ODISHA | 16.12
(B) REMC
FROM | TO | RTC Avg (In MW)
ACL_PSS4_KPS1_W | ACCB | 2.42
AP41PL_BHDL | ODISHA | 53.79
AP43PL_BKN | ODISHA | 70.61
ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.43
ARE55L_PSS3_KPS1_HW | DHAMRAPORT | 2.67
AWEK1L | ODISHA | 12.37
AWEK1L | ODISHA | 8.24
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 31.7
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 0
DADRI_SOLAR | ODISHA | 4.19
ENERSON_SOLAR_10MW | ODISHA | 0.78
GADAG_GreenInfra_W | ODISHA | 0.85
GADAG_Serentica3_S | VLSEZ | 0.14
GIWEL_SECI_II_RE | ODISHA | 21.28
GPCL_SOLAR_10 | ODISHA | 56.6
GSECL_SOLAR | ODISHA | 1.71
HIRIYUR_OSTROKANNADA | JSL_DUBURI | 1.49
IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.05
OKWPL_RE | ODISHA | 28.18
RWE_AP2_SECI_III | ODISHA | 13.72
RenewGreen_SLPR_HS | JSL_DUBURI | 9.71
TPSL_BKN2 | TSKPO | 9.99
TPSL_BKN2 | TSKPO | 9.99
Tuticorin_BETAMWIND | ODISHA | 12.67
XXPPL_FTG3 | ODISHA | 60.13

## IEX
DAM TRADING DETAILS FOR DT: :11.09.2025
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | JSW_Cement_Ltd | Jabamayee_Ferro_Alloys_Limited | Linde_India_Limited | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Tata_Steel_Power_Plant_Athagarh | Vedanta_Limited_SEZ_Unit_Jharsuguda | Vedanta_Ltd_CPP_(9_X_135_MW)_Jharsuguda
00:00 - 00:15 | -4.4 | -61.9 | 48.37 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | -11.6 | 0 | -42.7
00:15 - 00:30 | -4.4 | -61.9 | 48.37 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -4.4 | -61.9 | 48.37 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -4.4 | -61.9 | 48.37 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -4.4 | -61.9 | 48.37 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | 0 | 12.57 | 0
01:15 - 01:30 | -4.4 | -61.9 | 48.37 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | 0 | 12.57 | 0
01:30 - 01:45 | -4.4 | -61.9 | 48.37 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | 0 | 12.57 | 0
01:45 - 02:00 | -4.4 | -61.9 | 48.37 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | 0 | 12.57 | 0
02:00 - 02:15 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.1 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
02:15 - 02:30 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.1 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
02:30 - 02:45 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.1 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
02:45 - 03:00 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.1 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
03:00 - 03:15 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.1 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
03:15 - 03:30 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.1 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
03:30 - 03:45 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.1 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
03:45 - 04:00 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.1 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
04:00 - 04:15 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
04:15 - 04:30 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
04:30 - 04:45 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
04:45 - 05:00 | -4.4 | 0 | 72.55 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 10.64 | 0 | 12.57 | 0
05:00 - 05:15 | -4.4 | -61.9 | -75 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 19.35 | 0 | 12.57 | 0
05:15 - 05:30 | -4.4 | -61.9 | -75 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 19.35 | 0 | 12.57 | 0
05:30 - 05:45 | -4.4 | -61.9 | -75 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 19.35 | 0 | 12.57 | 0
05:45 - 06:00 | -4.4 | -61.9 | -75 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 19.34 | 0 | 8.71 | 0
06:00 - 06:15 | -4.4 | -61.9 | -100 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 23.21 | 0 | 3.87 | 0
06:15 - 06:30 | -4.4 | -61.9 | -100 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 23.22 | 0 | 0 | 0
06:30 - 06:45 | -4.4 | -61.9 | -100 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 23.22 | 0 | 0 | 0
06:45 - 07:00 | -4.4 | -61.9 | -100 | 0 | 0 | 0 | -2.2 | 0 | 0 | -22 | 23.22 | 0 | 0 | 0
07:00 - 07:15 | -4.4 | 0 | -100 | 0 | 0 | 0 | -2.2 | 0 | 0 | -10 | 23.22 | 0 | 0 | 0
07:15 - 07:30 | -4.4 | 0 | -75.73 | 0 | 0 | 0 | -2.2 | 0 | 0 | -10 | 23.22 | 0 | 0 | 0
07:30 - 07:45 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
07:45 - 08:00 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
08:00 - 08:15 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
08:15 - 08:30 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2.2 | 4.84 | 0 | 0 | 23.21 | 0 | 0 | 0
08:30 - 08:45 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2.2 | 4.84 | 0 | 0 | 23.21 | 0 | 0 | 0
08:45 - 09:00 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2.2 | 4.84 | 0 | 0 | 23.21 | 0 | 0 | 0
09:00 - 09:15 | -4.4 | 0 | -325 | 3.1 | 0 | 0 | -2.2 | 4.84 | 0 | 0 | 23.21 | 0 | 0 | 0
09:15 - 09:30 | -4.4 | 0 | -271.25 | 3.1 | 0 | 28.23 | -2.2 | 4.84 | 0 | 0 | 23.22 | 0 | 0 | 0
09:30 - 09:45 | -4.4 | 0 | -249.02 | 3.1 | 0 | 28.23 | -2.2 | 4.84 | 0 | 0 | 23.22 | 0 | 0 | 0
09:45 - 10:00 | -4.4 | 0 | -232.91 | 3.1 | 0 | 28.23 | -2.2 | 4.84 | 0 | 0 | 23.22 | 0 | 0 | 0
10:00 - 10:15 | -4.4 | 0 | -203.26 | 3.1 | 6.77 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
10:15 - 10:30 | -4.4 | 0 | -203.44 | 3.1 | 6.77 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
10:30 - 10:45 | -4.4 | 0 | -203.76 | 3.1 | 6.77 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
10:45 - 11:00 | -4.4 | 0 | -203.61 | 3.1 | 6.77 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
11:00 - 11:15 | -4.4 | 0 | 0 | 3.1 | 6.77 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
11:15 - 11:30 | -4.4 | 0 | 0 | 3.1 | 6.77 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
11:30 - 11:45 | -4.4 | 0 | 0 | 3.1 | 6.77 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
11:45 - 12:00 | -4.4 | 0 | -157.6 | 3.1 | 6.77 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
12:00 - 12:15 | -4.4 | 0 | -189.18 | 3.1 | 6.77 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
12:15 - 12:30 | -4.4 | 0 | -179.46 | 3.1 | 6.77 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
12:30 - 12:45 | -4.4 | 0 | -192.21 | 3.1 | 6.77 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
12:45 - 13:00 | -4.4 | 0 | -192.19 | 3.1 | 6.77 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
13:00 - 13:15 | -4.4 | 0 | 0 | 3.1 | 6.77 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
13:15 - 13:30 | -4.4 | 0 | 0 | 3.1 | 6.77 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
13:30 - 13:45 | -4.4 | 0 | 0 | 3.1 | 6.77 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
13:45 - 14:00 | -4.4 | 0 | -181.1 | 3.1 | 6.77 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
14:00 - 14:15 | -4.4 | 0 | -60.08 | 3.1 | 3.02 | 28.23 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
14:15 - 14:30 | -4.4 | 0 | -74.85 | 3.1 | 0 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
14:30 - 14:45 | -4.4 | 0 | -74.87 | 3.1 | 0 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
14:45 - 15:00 | -4.4 | 0 | -71.7 | 3.1 | 0 | 28.24 | -2.2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
15:00 - 15:15 | -4.4 | 0 | 0 | 3.1 | 0 | 0 | -2.2 | 4.84 | 0 | 0 | 23.21 | 0 | 0 | 0
15:15 - 15:30 | -4.4 | 0 | 0 | 3.1 | 0 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
15:30 - 15:45 | -4.4 | 0 | 0 | 3.1 | 0 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
15:45 - 16:00 | -4.4 | 0 | 0 | 3.1 | 0 | 0 | -2.2 | 0 | 0 | 0 | 23.21 | 0 | 0 | 0
16:00 - 16:15 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
16:15 - 16:30 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
16:30 - 16:45 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
16:45 - 17:00 | -4.4 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
17:00 - 17:15 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
17:15 - 17:30 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
17:30 - 17:45 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
17:45 - 18:00 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 23.22 | 0 | 0 | 0
18:00 - 18:15 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -48.5
18:30 - 18:45 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -44.6
18:45 - 19:00 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
19:00 - 19:15 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
19:15 - 19:30 | -4.4 | -0.9 | 0.47 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
19:30 - 19:45 | -4.4 | -0.9 | 2.01 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
19:45 - 20:00 | -4.4 | -0.9 | 3.9 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
20:00 - 20:15 | -4.4 | -0.9 | 9.28 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
20:15 - 20:30 | -4.4 | -0.9 | 10.64 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
20:30 - 20:45 | -4.4 | -0.9 | 12.67 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
20:45 - 21:00 | -4.4 | -0.9 | 12.72 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
21:00 - 21:15 | -4.4 | -0.9 | 15.11 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
21:15 - 21:30 | -4.4 | -0.9 | 16.25 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
21:30 - 21:45 | -4.4 | -0.9 | 17.9 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
21:45 - 22:00 | -4.4 | -0.9 | 18.49 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
22:00 - 22:15 | -4.4 | -0.9 | 20.31 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
22:15 - 22:30 | -4.4 | -0.9 | 20.07 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
22:30 - 22:45 | -4.4 | -0.9 | 21.55 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
22:45 - 23:00 | -4.4 | -0.9 | 26.69 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
23:00 - 23:15 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
23:15 - 23:30 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
23:30 - 23:45 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
23:45 - 24:00 | -4.4 | -0.9 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | -11.6 | 0 | -42.7
Average | -4.4 | -10.5792 | -27.8708 | 0.90417 | 1.1598 | 4.7063 | -2.1167 | 0.40333 | -1.25 | -4.7917 | 13.7445 | -2.9 | 2.6189 | -10.7552

## RTM
RTM TRADING DETAILS FOR DT: 11.09.2025
Time Period | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Fap_Jajpur_M/S_Tata_Steel_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Linde_India_Limited | MGM_Green_Energy_Ltd | MSP_Metallics_Limited_IPC | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Thakur_Prasad_Sao_And_Sons_Private_Limited_Unit_IV | The_Ramco_Cements_Limited_Odisha | Vedanta_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 110.27 | -4.3 | -8
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 107.37 | -4.3 | -8
00:30 - 00:45 | 0 | 0 | 0 | 232.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 100.6 | -4.3 | -8
00:45 - 01:00 | 0 | 0 | 0 | 270.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 96.73 | -4.3 | -8
01:00 - 01:15 | 0 | 0 | 0 | 352.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 53.2 | -0.8 | 0 | 96.73 | -4.3 | -8
01:15 - 01:30 | -12 | 0 | 0 | 352.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -35 | 53.2 | -0.8 | 0 | 96.73 | -4.3 | -8
01:30 - 01:45 | -5 | 0 | 0 | 444.9 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 4.84 | 0 | -1 | 0 | 53.2 | -0.8 | 0 | 113.15 | -4.3 | -8
01:45 - 02:00 | 0 | 0 | 0 | 429.38 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 53.2 | -0.8 | 0 | 96.73 | -4.3 | -8
02:00 - 02:15 | 0 | 0 | 0 | 494.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 20.68 | -0.8 | 0 | 96.73 | -6.7 | -8
02:15 - 02:30 | 0 | 0 | 0 | 484.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.8 | 0 | 96.73 | -6.7 | -8
02:30 - 02:45 | 0 | 0 | 0 | 468.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | -20 | 0 | -0.8 | 0 | 96.73 | -6.7 | -8
02:45 - 03:00 | 0 | 0 | 0 | 468.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | -0.8 | 0 | 96.73 | -6.7 | -8
03:00 - 03:15 | -12 | 0 | 0 | 448.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.84 | -3 | 0 | 53.2 | -0.8 | 0 | 96.73 | -6.7 | -8
03:15 - 03:30 | -5 | 0 | 0 | 448.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.84 | -3 | -8 | 53.2 | -0.8 | 0 | 96.73 | -6.7 | -8
03:30 - 03:45 | 0 | 0 | 0 | 430.34 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 4.84 | 4.84 | -2 | -10 | 53.2 | -0.8 | 0 | 76.42 | -6.7 | -8
03:45 - 04:00 | 0 | 0 | 0 | 435.28 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 4.84 | 4.84 | -1 | 0 | 53.2 | -0.8 | 8.93 | 57.07 | -6.7 | -8
04:00 - 04:15 | 0 | 0 | 0 | 362.78 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 4.84 | 4.84 | -0.5 | -45 | 53.2 | -0.8 | 9.67 | 46.43 | -6.7 | -8
04:15 - 04:30 | 0 | 0 | 0 | 362.76 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 4.84 | 4.84 | 0 | -10 | 53.2 | -0.8 | 9.67 | 26.12 | -6.7 | -8
04:30 - 04:45 | 0 | 0 | 0 | 357.4 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 0 | 4.84 | 0 | 0 | 53.2 | -0.8 | 0 | 0 | -6.7 | -8
04:45 - 05:00 | -12 | 0 | 0 | 362.67 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 4.84 | 4.84 | 0 | -10 | 53.2 | -0.8 | 0.56 | 0 | -6.7 | -8
05:00 - 05:15 | -6 | 0 | 0 | 386.29 | 0 | 0 | 0 | 3.87 | 4.84 | 0 | 0 | 0.19 | 4.84 | 4.84 | 0 | 0 | 53.2 | -0.8 | 9.67 | 234.09 | -6.7 | -8
05:15 - 05:30 | 0 | 0 | 0 | 377.19 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 4.84 | 4.84 | 0 | 0 | 53.2 | -0.8 | 9.67 | 234.09 | -6.7 | -8
05:30 - 05:45 | 0 | -0.4 | 0 | -90.06 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 5.8 | 4.84 | -1 | -10 | 53.2 | -0.8 | 9.67 | 17.86 | -6.7 | -8
05:45 - 06:00 | 0 | -0.4 | 0 | -224.98 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 5.8 | 4.84 | -1 | -42 | 53.2 | -0.8 | 9.67 | 0 | -6.7 | -8
06:00 - 06:15 | 0 | -0.4 | 0 | -265.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.84 | -1 | -40 | 0 | -0.8 | 0 | 0 | -7.1 | -8
06:15 - 06:30 | 0 | -0.4 | 0 | -275.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 4.84 | -1.5 | -5 | 0 | -0.8 | 0 | 0 | -7.1 | -8
06:30 - 06:45 | -12 | -0.4 | 0 | -319.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 4.84 | -1.5 | 0 | 0 | -0.8 | 0 | 0 | -7.1 | -6
06:45 - 07:00 | -6 | -0.4 | 0 | -307.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | 4.84 | -1.5 | 0 | 0 | -0.8 | 0 | 0 | -7.1 | -6
07:00 - 07:15 | 0 | 0 | 0 | -334.95 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | -1.6 | 5.8 | 4.84 | -5 | 0 | 33.85 | -0.8 | 4.84 | 0 | -7.1 | -6
07:15 - 07:30 | 0 | 0 | 0 | -325.06 | 0 | 0 | 0 | 3.87 | 0 | 0 | 0 | -2.1 | 5.8 | 4.84 | -3 | 0 | 33.86 | -0.8 | 4.84 | 234.08 | -7.1 | -6
07:30 - 07:45 | 0 | 0 | 0 | -500.02 | 0 | 0 | 0 | 3.87 | 4.84 | 0 | 0 | -2.5 | 5.8 | 4.84 | -3 | -20 | 33.86 | -0.8 | 4.84 | 38.68 | -7.1 | -6
07:45 - 08:00 | 0 | 0 | 0 | -401.54 | 0 | 38.68 | 0 | 3.87 | 4.84 | 0 | 0 | -3 | 5.8 | 4.84 | -2 | -20 | 33.86 | -0.8 | 4.84 | 38.69 | -7.1 | -6
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 28.25 | 0 | 0.97 | 4.84 | 0 | 0 | -3.4 | 5.8 | 4.84 | -1.2 | -40 | 33.84 | -0.8 | 4.84 | 0 | -7.1 | -4
08:15 - 08:30 | -12 | 0 | 0 | 0 | 0 | 28.25 | 0 | 0.97 | 4.84 | 0 | 0 | -3.8 | 5.8 | 4.84 | -0.5 | -20 | 33.84 | -0.8 | 4.84 | 0 | -7.1 | -4
08:30 - 08:45 | -6 | 0 | 0 | -354.08 | 0 | 28.24 | 0 | 0 | 4.84 | 0 | 0 | -4.2 | 5.8 | 4.84 | 0 | 0 | 24.18 | -0.8 | 4.84 | 0 | -7.1 | -4
08:45 - 09:00 | 0 | 0 | 0 | -354.07 | 0 | 28.24 | 0 | 0 | 4.84 | 0 | 0 | -4.6 | 5.8 | 4.84 | 0 | 0 | 24.18 | -0.8 | 4.84 | 0 | -7.1 | -4
09:00 - 09:15 | 0 | 0 | 0 | -654.09 | 0 | 28.23 | 0 | 0 | 4.84 | 0 | 0 | -5 | 5.8 | 4.84 | 0 | 0 | 19.35 | -0.8 | 4.84 | 0 | -7.1 | -4
09:15 - 09:30 | 0 | 0 | 0 | -650.51 | 0 | 28.23 | 0 | 0 | 4.84 | 0 | 0 | -2.5 | 5.8 | 4.84 | 0 | 0 | 19.35 | -0.8 | 4.84 | 0 | -7.1 | -4
09:30 - 09:45 | 0 | 0 | 0 | -804.05 | 0 | 28.23 | 0 | 0 | 4.84 | 0 | 0 | 3 | 5.8 | 4.84 | 0 | -10 | 19.35 | -0.8 | 4.84 | 0 | -7.1 | -3
09:45 - 10:00 | 0 | 0 | 0 | -1077.11 | 0 | 0 | 0 | 0 | 4.84 | 0 | 0 | 2.71 | 5.8 | 4.84 | 0 | -40 | 19.34 | -0.8 | 4.84 | 0 | -7.1 | -3
10:00 - 10:15 | -10 | 0 | 0 | -912.55 | 0 | 0 | 0 | 0 | 4.84 | 0 | 0 | 2.51 | 1.93 | 4.84 | 0 | -40 | 19.35 | -0.8 | 4.84 | 0 | -7.1 | -3
10:15 - 10:30 | -4 | 0 | 0 | -964.59 | 0 | 0 | 0 | 0 | 4.84 | 0 | 0 | 2.32 | 1.93 | 4.84 | 0 | 0 | 29.01 | -0.8 | 4.84 | 0 | -7.1 | -3
10:30 - 10:45 | 0 | 0 | 0 | -858.12 | 0 | 0 | -2 | 0 | 4.84 | 0 | 0 | 2.13 | 1.93 | 4.84 | 0 | -20 | 29.02 | -0.8 | 4.84 | 32.88 | -7.1 | -2
10:45 - 11:00 | 0 | 0 | 0 | -658.17 | 0 | 0 | -1.3 | 0 | 4.84 | 0 | 0 | 2.03 | 1.93 | 4.84 | 0 | 0 | 29.02 | -0.8 | 4.84 | 36.75 | -7.1 | -2
11:00 - 11:15 | 0 | 0 | 0 | -704.08 | 0 | 0 | -2 | 0 | 4.84 | 0 | 4.84 | 1.84 | 1.93 | 4.84 | 0 | 0 | 29.02 | -0.8 | 4.84 | 33.84 | 0 | -2
11:15 - 11:30 | 0 | 0 | 0 | -754.05 | 0 | 0 | -0.8 | 0 | 4.84 | 0 | 4.84 | 1.84 | 1.93 | 4.84 | 0 | -20 | 29.02 | -0.8 | 4.84 | 32.88 | 0 | -2
11:30 - 11:45 | 0 | 0 | 0 | -777.1 | 0 | 0 | -0.9 | 0 | 4.84 | 0 | 4.84 | 1.93 | 1.93 | 4.84 | 0 | 0 | 29.02 | -0.8 | 4.84 | 39.65 | 0 | -2
11:45 - 12:00 | -14 | 0 | 0 | -1020.09 | 0 | 0 | -0.7 | 0 | 4.84 | 0 | 4.84 | 1.93 | 1.93 | 4.84 | 0 | 0 | 29.02 | -0.8 | 4.84 | 40.62 | 0 | -2
12:00 - 12:15 | 0 | 0 | 0 | -938.57 | 0 | 0 | -0.7 | 1.93 | 4.84 | 0 | 4.84 | 2.03 | 1.93 | 4.84 | 0 | -20 | 29.02 | -0.8 | 4.84 | 42.56 | 0 | -2
12:15 - 12:30 | 0 | 0 | 0 | -790.01 | 0 | 0 | -0.7 | 1.93 | 4.84 | 0 | 4.84 | 2.42 | 1.93 | 4.84 | 0 | 0 | 29.02 | -0.8 | 4.84 | 40.62 | 0 | -2
12:30 - 12:45 | 0 | 0 | 0 | -180.4 | 9.48 | 0 | -1.1 | 1.93 | 4.84 | 0 | 4.84 | 2.81 | 1.93 | 4.84 | 0 | 0 | 29.02 | 0 | 4.84 | 41.58 | 0 | -2
12:45 - 13:00 | 0 | 0 | 0 | -62.48 | 7.25 | 0 | -1.9 | 1.93 | 4.84 | 0 | 4.84 | 3.19 | 1.93 | 4.84 | 0 | 0 | 29.02 | 0 | 4.84 | 37.73 | 0 | -2
13:00 - 13:15 | 0 | -0.4 | 0 | 0 | 6.58 | 0 | -1 | 1.93 | 4.84 | 0 | 4.84 | 3.58 | 1.93 | 4.84 | 0 | 0 | 29.02 | 0 | 4.84 | 36.75 | 0 | -2
13:15 - 13:30 | 0 | -0.4 | 0 | 0 | 7.25 | 0 | -1 | 1.93 | 4.84 | 0 | 4.84 | 3.58 | 1.93 | 4.84 | 0 | -20 | 29.02 | 0 | 4.84 | 36.76 | 0 | -2
13:30 - 13:45 | 0 | -0.4 | 0 | 0 | 0 | 0 | -1.9 | 1.93 | 4.84 | 0 | 4.84 | 3.58 | 1.93 | 4.84 | 0 | 0 | 30.95 | -1.1 | 4.84 | 33.85 | 0 | -2
13:45 - 14:00 | -14 | -0.4 | 0 | 0 | 0 | 0 | -0.5 | 1.93 | 4.84 | 0 | 4.84 | 3.58 | 1.93 | 4.84 | 0 | -20 | 30.95 | -1.1 | 4.84 | 33.85 | 0 | -2
14:00 - 14:15 | 0 | -0.4 | 0 | -169 | 0 | 0 | -0.5 | 1.93 | 4.84 | 0 | 4.84 | 3.58 | 1.93 | 4.84 | 0 | -40 | 30.95 | -1.1 | 4.84 | 29.02 | 0 | -2
14:15 - 14:30 | 0 | -0.4 | 0 | -279.08 | 0 | 0 | -0.3 | 1.93 | 4.84 | 0 | 4.84 | 3.77 | 1.93 | 4.84 | 0 | -20 | 30.95 | -1.1 | 4.84 | 29.99 | 0 | -2
14:30 - 14:45 | 0 | -0.4 | 0 | -332.3 | 0 | 0 | -0.2 | 1.93 | 4.84 | 0 | 4.84 | -1.7 | 1.93 | 4.84 | 0 | 0 | 30.95 | -1.1 | 4.84 | 27.08 | 0 | -2
14:45 - 15:00 | 0 | -0.4 | 0 | -367.79 | 0 | 0 | -0.2 | 1.93 | 4.84 | 0 | 4.84 | -4.2 | 1.93 | 4.84 | 0 | 0 | 0 | -1.1 | 4.84 | 23.21 | 0 | -2
15:00 - 15:15 | 0 | -0.4 | 9.67 | -294.76 | 0 | 0 | -0.2 | 1.93 | 4.84 | 0 | 4.84 | -3.9 | 5.8 | 4.84 | 0 | 0 | 0 | -1.1 | 4.84 | 0 | 0 | -2
15:15 - 15:30 | 0 | -0.4 | 9.02 | -250 | 0 | 0 | -0.2 | 1.93 | 4.84 | 0 | 4.84 | -3.4 | 5.8 | 4.84 | 0 | 0 | 0 | -1.1 | 4.84 | 0 | 0 | -2
15:30 - 15:45 | -15 | -0.4 | 0 | -278.7 | 0 | 0 | -0.1 | 1.93 | 0 | 0 | 0 | -3 | 5.8 | 4.84 | 0 | -10 | 14.51 | -1.1 | 0 | 0 | 0 | -2
15:45 - 16:00 | 0 | -0.4 | 0 | -271.3 | 0 | 0 | -0.1 | 4.84 | 0 | 0 | 0 | -2.6 | 5.8 | 4.84 | 0 | -40 | 14.5 | -1.1 | 4.84 | 0 | 0 | -2
16:00 - 16:15 | 0 | -0.4 | 9.67 | -447.17 | 0 | 0 | -0.1 | 4.84 | 4.84 | 0 | 4.84 | -2.1 | 6.77 | 4.84 | 0 | 0 | 29.01 | -1.1 | 4.84 | 0 | 0 | -2
16:15 - 16:30 | 0 | -0.4 | 9.67 | -449.92 | 0 | 0 | -0.1 | 4.84 | 4.84 | 0 | 4.84 | -1.7 | 6.77 | 4.84 | 0 | 0 | 29.01 | -1.1 | 4.84 | 0 | 0 | -2
16:30 - 16:45 | 0 | -0.4 | 0 | -409.85 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -1.3 | 0 | 4.84 | 0 | 0 | 38.69 | -1.1 | 0 | 0 | 0 | -2
16:45 - 17:00 | 0 | -0.4 | 0 | -403.07 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -1 | 6.77 | 4.84 | 0 | 0 | 43.53 | -1.1 | 0 | 0 | 0 | -2
17:00 - 17:15 | -6 | 0 | 9.67 | -221.08 | 0 | 6.89 | -0.1 | 4.84 | 4.84 | 0 | 4.84 | -0.6 | 6.77 | 4.84 | 0 | 0 | 36.74 | -1.1 | 4.84 | 0 | 0 | -2
17:15 - 17:30 | -15 | 0 | 0 | -252.04 | 0 | 0 | -0.1 | 4.84 | 4.84 | 0 | 4.84 | -0.3 | 6.77 | 4.84 | 0 | -30 | 36.74 | -1.1 | 4.84 | 0 | 0 | -2
17:30 - 17:45 | 0 | 0 | 0 | -275.9 | 0 | 0 | -0.1 | 4.84 | 0 | 0 | 4.84 | -0.1 | 6.77 | 4.84 | 0 | -20 | 43.52 | -1.1 | 4.84 | 0 | 0 | -2
17:45 - 18:00 | 0 | 0 | 0 | -260.01 | 0 | 0 | -0.1 | -5.3 | 0 | 0 | 4.84 | 0 | 6.77 | 4.84 | 0 | 0 | 43.52 | -1.1 | 4.84 | 0 | 0 | -2
18:00 - 18:15 | 0 | 0 | 9.67 | -296.9 | 0 | 0 | 0 | -5.3 | 4.84 | 0 | 4.84 | 0 | 6.77 | 4.84 | 0 | 0 | 53.19 | -1.1 | 4.84 | 0 | 0 | -2
18:15 - 18:30 | 0 | 0 | 0 | -109.86 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 4.84 | 0 | -20 | 0 | -1.1 | 0 | 0 | 0 | -2
18:30 - 18:45 | 0 | 0 | 0 | -113.89 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
18:45 - 19:00 | -6 | 0 | 0 | -118.89 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
19:00 - 19:15 | -9 | 0 | 0 | -150 | 0 | 0 | 0 | -5.3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
19:15 - 19:30 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -5.3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | -1.1 | 0 | 0 | 0 | -2
19:30 - 19:45 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -1.1 | 0 | 0 | 0 | -2
19:45 - 20:00 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -1.1 | 0 | 0 | 0 | -2
20:00 - 20:15 | 0 | 0 | 0 | -200 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | -1.1 | 0 | 0 | 0 | -2
20:15 - 20:30 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
20:30 - 20:45 | -12 | 0 | 0 | -150 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
20:45 - 21:00 | -6 | 0 | 0 | -200 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | -1.1 | 0 | 0 | 0 | -2
21:00 - 21:15 | 0 | 0 | 0 | -300 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
21:15 - 21:30 | 0 | 0 | 0 | -200 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -1.1 | 0 | 0 | 0 | -2
21:30 - 21:45 | 0 | -0.4 | 0 | -200 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
21:45 - 22:00 | 0 | -0.4 | 0 | -200 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
22:00 - 22:15 | 0 | -0.4 | 0 | -150 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | -1.1 | 0 | 0 | 0 | -2
22:15 - 22:30 | -15 | -0.4 | 0 | -150 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
22:30 - 22:45 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
22:45 - 23:00 | 0 | 0 | 0 | -199.98 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
23:00 - 23:15 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
23:15 - 23:30 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 4.84 | 0 | 0 | 16.49 | -1.1 | 0 | 0 | 0 | -2
23:30 - 23:45 | 0 | 0 | 0 | -260.12 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 4.84 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2
23:45 - 24:00 | 0 | 0 | 0 | -357.21 | 0 | 0 | 0 | -5.3 | 0 | 0 | 0 | 0 | 0 | 4.84 | 0 | -25 | 0 | -1.1 | 0 | 0 | 0 | -2
Average | -2.2292 | -0.10833 | 0.5976 | -177.6993 | 0.31833 | 2.5337 | -0.19896 | -0.11094 | 1.9158 | -0.10417 | 1.2604 | -0.067187 | 2.4571 | 3.2771 | -0.46042 | -9.6667 | 22.4119 | -0.89792 | 2.8207 | 31.5817 | -2.9542 | -4.0417

## GDAM
GDAM TRADING DETAILS FOR DT: 11.09.2025
Time Period | Fap_Jajpur_M/S_Tata_Steel_Limited | GRIDCO | Jindal_Stainless_Limited_Duburi_Odisha | Linde_India_Limited | MGM_Green_Energy_Ltd | MSP_Metallics_Limited_IPC | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0
07:30 - 07:45 | 0 | 24.18 | 0 | 0 | -0.8 | 0 | 0 | 253.44
07:45 - 08:00 | 0 | 145.1 | 38.69 | 0 | -1.1 | 0 | 0 | 253.43
08:00 - 08:15 | 0 | 290.2 | 38.69 | 0 | -1 | 2.9 | 0 | 266.97
08:15 - 08:30 | 0 | 290.2 | 38.69 | 0 | -1.1 | 2.9 | 0 | 266.97
08:30 - 08:45 | 0 | 290.19 | 29.02 | 0 | -1 | 2.9 | 0 | 267.94
08:45 - 09:00 | 0 | 290.2 | 29.02 | 0 | -1 | 2.9 | 0 | 266.97
09:00 - 09:15 | 0 | 290.2 | 29.02 | 0 | -1.1 | 2.9 | 0 | 266.97
09:15 - 09:30 | 0 | 290.2 | 29.02 | 0 | -1.6 | 2.9 | 0 | 266.97
09:30 - 09:45 | 0 | 290.2 | 29.02 | 0 | -1.6 | 2.9 | 0 | 266.97
09:45 - 10:00 | 0 | 290.2 | 29.02 | 0 | -1.8 | 2.9 | 0 | 266.97
10:00 - 10:15 | 9.67 | 290.2 | 29.02 | 0 | -1.7 | 2.9 | 3.87 | 266.97
10:15 - 10:30 | 9.67 | 290.2 | 29.02 | 0 | -1.9 | 2.9 | 3.87 | 266.97
10:30 - 10:45 | 9.67 | 290.2 | 29.02 | 0 | -1.6 | 2.9 | 3.87 | 266.97
10:45 - 11:00 | 9.67 | 290.2 | 29.02 | 0 | -2.7 | 2.9 | 3.87 | 266.97
11:00 - 11:15 | 9.67 | 386.92 | 29.02 | 28.25 | -2 | 2.9 | 3.87 | 266.97
11:15 - 11:30 | 9.67 | 386.92 | 29.02 | 28.25 | -3.2 | 2.9 | 3.87 | 266.97
11:30 - 11:45 | 9.67 | 386.92 | 29.02 | 28.25 | -3.1 | 2.9 | 3.87 | 266.97
11:45 - 12:00 | 9.67 | 386.92 | 29.02 | 28.25 | -3.4 | 2.9 | 3.87 | 266.97
12:00 - 12:15 | 9.67 | 386.92 | 29.02 | 28.25 | -3.4 | 2.9 | 3.87 | 266.97
12:15 - 12:30 | 9.67 | 386.92 | 29.02 | 28.25 | -3.4 | 2.9 | 3.87 | 266.97
12:30 - 12:45 | 9.67 | 386.93 | 29.02 | 0 | -3.1 | 2.9 | 3.87 | 266.97
12:45 - 13:00 | 9.67 | 386.93 | 29.02 | 0 | -2.2 | 2.9 | 3.87 | 266.97
13:00 - 13:15 | 9.67 | 386.92 | 29.02 | 28.25 | -2 | 2.9 | 3.87 | 266.97
13:15 - 13:30 | 9.67 | 386.92 | 29.02 | 28.25 | -2 | 2.9 | 3.87 | 266.97
13:30 - 13:45 | 9.67 | 386.93 | 29.02 | 0 | -1.1 | 2.9 | 3.87 | 266.97
13:45 - 14:00 | 9.67 | 386.93 | 29.02 | 0 | -1.7 | 2.9 | 3.87 | 266.97
14:00 - 14:15 | 9.67 | 386.93 | 29.02 | 0 | -1.5 | 2.9 | 3.87 | 266.97
14:15 - 14:30 | 9.67 | 386.93 | 29.02 | 0 | -1.7 | 2.9 | 3.87 | 266.97
14:30 - 14:45 | 9.67 | 386.93 | 29.02 | 0 | -1.8 | 2.9 | 3.87 | 266.97
14:45 - 15:00 | 9.67 | 386.93 | 29.02 | 0 | -1.5 | 2.9 | 3.87 | 266.97
15:00 - 15:15 | 0 | 386.93 | 29.02 | 0 | -1.4 | 2.9 | 0 | 266.97
15:15 - 15:30 | 0 | 386.93 | 29.02 | 0 | -0.8 | 2.9 | 0 | 266.97
15:30 - 15:45 | 0 | 386.93 | 29.02 | 0 | -0.4 | 2.9 | 0 | 266.97
15:45 - 16:00 | 0 | 331.15 | 29.02 | 0 | -0.3 | 0 | 0 | 266.97
16:00 - 16:15 | 0 | 162.55 | 38.69 | 0 | -0.3 | 0 | 0 | 266.96
16:15 - 16:30 | 0 | 145.89 | 0 | 0 | -0.2 | 0 | 0 | 266.97
16:30 - 16:45 | 0 | 137.23 | 0 | 0 | -0.1 | 0 | 0 | 266.98
16:45 - 17:00 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 266.97
17:00 - 17:15 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 177.15
17:15 - 17:30 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 14.51
17:30 - 17:45 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 14.51
17:45 - 18:00 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 14.51
18:00 - 18:15 | 0 | 328.87 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 103.68 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 13.51 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 1.04 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0.61 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0.35 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0.22 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0.89 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0.64 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0.55 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0.35 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0.84 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 2.37 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 2.53 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 2.62 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 2.51 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 3.09 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 3.92 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 4.04 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 3.88 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 3.48 | 0 | 0 | 0 | 0 | 0 | 0
Average | 2.0146 | 127.7103 | 10.6808 | 2.3542 | -0.65833 | 0.93646 | 0.80625 | 107.7025