## POWER STATUS
POWER STATUS ON DT 17.09.2025
[9 empty] | 2025-09-17 | 2025-09-16
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 09:00 | 19:00
Demand -> | [8 empty] | 5294.5811 | 5781.006
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 263.71 | 6.329 | 630/590 ft | 628.41 | 629.31 | 629.1 | 261 | 264
| Chiplima | 72(3x24) | 39.58 | 0.94992 | - |  |  |  | 42 | 41
| Balimela | 510(6x60+2x75) | 116.86 | 2.8046 | 1516/1440 ft | 1512 | 1490.7 | 1491 | 29.3552 | 273.5538
| Rengali | 250(5x50) | 251.95 | 6.0468 | 123.5/109.75 mt | 121.16 | 123.32 | 123.51 | 232.2992 | 254.3895
| Upper Kolab | 320(4x80) | 184.5 | 4.428 | 858/844 mt | 856.97 | 856.12 | 856.11 | 42.8079 | 278.3915
| Upper Indravati | 600(4x150) | 314.4 | 7.5456 | 642/625 mt | 636.88 | 638.1 | 638.12 | 49.4048 | 594.2346
| Machkund | 60(50% of(3x17+3x23)) | 52.17 | 1.2521 | 2750/2685 ft | 2747.5 | 2748.25 | 2748.25 | 58.7141 | 58.4365
| Total Hydro | 2099.5 | 1223.17 | 29.3561 |  |  |  |  | 715.5811 | 1764.006
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 347.84 | 8.3482 | RENEWABLE ENERGY (RE) |  |  |  | 350 | 348
[5 empty] | M.Hydl | 137.81
| Total Thermal | 2200 | 347.84 | 8.3482 | Solar | 70.8 |  |  | 350 | 348
IPP | VEDANTA #2 | 600 (1x600) | 283.86 | 6.8126 | Total IPPs | Yesterday's Demand Profile |  |  | 267.637 | 351.25
| GMR #3 | 350 (1x350) | 289.43 | 6.9463 | 639.06 |  | MW | HRS | 265.3146 | 323.8372
| NBVL(IPP) | 60(1x60) | 40.82 | 0.97968 |  |  |  |  | 33.9463 | 54
| MDTPC |  | 24.95 | 0.5988 |  |  |  |  | 58.9223 | 21
| CGPs |  | 426.85 | 10.2444 | IPPs, CGPs & RE | Maximum | 5873 | 13:00 | 1328 | 1377
| Central Sector(Drawl) |  | 2536.753 | 60.8821 | 1274.52 | Minimum | 4874 | 03:00 | 2901 | 2292
| Central Sector(Sch) |  | 2557.5151 | 61.3804 |  | Average | 5382.283 |  | 3111 | 2186
| Grand Total |  | 5382.283 | 129.1748 | Instantaneous Peak demand |  | 6128 | 13:04 | 5294.5811 | 5781.006
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | NIL | IbTPS / OPGC | 3,4 |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1673 | 40.152 | 1621 | 38.904 | 1550 | 37.2
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1747 | 41.928 | 1743 | 41.832 | 1628 | 39.072
Rengali | NIL | TSTPP St-II | 4 | TPNODL | 1374 | 32.976 | 1336 | 32.064 | 1221 | 29.304
U.Kolab | NIL | KAHALGAON | NIL | TPSODL | 569 | 13.656 | 567 | 13.608 | 580 | 13.92
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5363 | 128.712 | 5267 | 126.408 | 4979 | 119.496
Machhkund | NIL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs: | VEDANTA #2 | 268 | GMR |  |  |  | 263
| NBVL #3 | 34 | MDTPC |  |  |  | 59
Mini Hydel: | MEENAKSHI | 41 | OPCL |  |  |  | 14
| BTPL | 27 | SAPTADHARA |  |  |  | 17
Solar: |  | 227.5781 | KAKATIYA |  |  |  | 6
CGPs : | JSPL (Angul) | -90.4812 | JSL(Duburi) |  |  |  | -128.5021
| ICCL | 11.9233 | visa |  |  |  | 2.3564
| NALCO | 16.7366 | VAL (CGP) |  |  |  | -150.7681
| RSP | -56.161 | BSL(MMDL) |  |  |  | 57.7527
| INDAL | 6.4805 | ADITYA ALUMINIUM |  |  |  | 30.6536
| NINL | -15.7918 | VAL CPP 400 kV |  |  |  | -642.6466
| NBVL | 52.4844 | Arati |  |  |  | 19.8276
| BPSL(JSG) | 0.35089 | BPPL |  |  |  | 110.9106
Return Banking Avg -: (MW) |  | 0
HYDRO AVERAGE GENERATION IN MW:-
2025-09-09 | 2025-09-10 | 2025-09-11 | 2025-09-12 | 2025-09-13 | 2025-09-14 | 2025-09-15 | 2025-09-16
1270.301 | 1225.883 | 1099.95 | 1210.127 | 1136.37 | 1210.0525 | 1096.8965 | 1223.17
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT. 16.09.2025
(A) GNA |  |  | (C) TGNA
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -20 | ENVIROCARE_INFRA | WBSEDCL | -3.54
AMNSIL_Pdeep | AMNSIL | 0 | FACORPOWER | CSEB_Beneficiary | -11.67
AMNSIL_Pdeep | AMNSIL | 0 | GMRKEL_STU | TANGEDCO | -17.79
GMRKEL_STU | TNEB | -18 | OCL_IRON_STEEL | RUVITSL | -10.42
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ORSISL | MES_Delhi | -2.08
JPIPL | DVC | -14 | SMCPGL | NPCL_UP | -7.33
MAADURGA_THERMAL | NPCL_UP | 0 | smcunit2 | NPCL_UP | -5
NBVL_OTCL | MSEB_Beneficiary | -51.81 | AIPL_UP | LINDEINDIA | 3.01
OCL_IRON_STEEL | RUVITSL | -34.58 | JIPL | ODISHA | 115.8
TIMES_STEEL | DVC | -4.75 | JSPL_DCPP | JSPLANGUL | 65.72
VL_CPP_1215 | KPTCL | -3.75 | NALCOAP | NACL_Odisha | 6.22
FARIDABAD_SOLAR | ODISHA | 0.83 | VEDANTA_LIMITED_CG | VLSEZ | 96.5
IND_BHARAT | ODISHA | 32.21
MPPMCL | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.59
RAJ_SOLAR | ODISHA | 2.55
(B) REMC
FROM | TO | RTC Avg (In MW)
ACL_PSS4_KPS1_W | ACCB | 1.54
AGE24L_PSS4_KPS1_W | JSL_DUBURI | 14.48
AGE25BL_PSS9_KPS1_HW | JSL_DUBURI | 14.48
AP41PL_BHDL | ODISHA | 59.39
AP43PL_BKN | ODISHA | 76.18
ARE41L_PSS13_KPS1_W | JSL_DUBURI | 19.3
ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.27
ARE55L_PSS3_KPS1_HW | DHAMRAPORT | 0.33
AWEK1L | ODISHA | 9.83
AWEK1L | ODISHA | 6.56
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 16.19
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 8.7
DADRI_SOLAR | ODISHA | 0.88
ENERSON_SOLAR_10MW | ODISHA | 1.33
GADAG_GreenInfra_W | ODISHA | 0.19
GADAG_Serentica3_S | VLSEZ | 20.98
GIWEL_SECI_II_RE | ODISHA | 29.94
GPCL_SOLAR_10 | ODISHA | 0.71
GSECL_SOLAR | ODISHA | 0.97
HIRIYUR_OSTROKANNADA | JSL_DUBURI | 23.01
IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.92
Kurnool_Greenko_H_Inj_I | ADITYAAL | 0
OKWPL_RE | ODISHA | 11.28
RGMHP1_Patoda_klm_W | JSL_DUBURI | 4.63
RWE_AP2_SECI_III | ODISHA | 10.05
RenewGreen_SLPR_HS | JSL_DUBURI | 10.96
TPSL_BKN2 | TSKPO | 7.83
TPSL_BKN2 | TSKPO | 7.92
Tuticorin_BETAMWIND | ODISHA | 36.89
XXPPL_FTG3 | ODISHA | 45.05

## IEX
DAM TRADING DETAILS FOR DT: :16.09.2025
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Cement_Ltd | Linde_India_Limited | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Bharat_Ventures_Ltd_Odisha_IPP | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Vedanta_Limited_SEZ_Unit_Jharsuguda | Vedanta_Ltd_CPP_(9_X_135_MW)_Jharsuguda | Total
00:00 - 00:15 | -8.5 | -61.9 | 96.5 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | -2.9
00:15 - 00:30 | -8.5 | -61.9 | 96.5 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | -2.9
00:30 - 00:45 | -8.5 | -61.9 | 96.5 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | -2.9
00:45 - 01:00 | -8.5 | -61.9 | 96.5 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | -2.9
01:00 - 01:15 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | -37.5
01:15 - 01:30 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | -37.5
01:30 - 01:45 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | -37.5
01:45 - 02:00 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | -37.5
02:00 - 02:15 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | -48.88
02:15 - 02:30 | -8.5 | 0 | 24.12 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | -24.76
02:30 - 02:45 | -8.5 | 0 | 49.17 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 0.29
02:45 - 03:00 | -8.5 | 0 | 51.74 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 2.86
03:00 - 03:15 | -8.5 | 0 | 130.05 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 81.17
03:15 - 03:30 | -8.5 | 0 | 139.68 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 90.8
03:30 - 03:45 | -8.5 | 0 | 144.75 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 95.87
03:45 - 04:00 | -8.5 | 0 | 144.75 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 95.87
04:00 - 04:15 | -8.5 | 0 | 144.75 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 95.87
04:15 - 04:30 | -8.5 | 0 | 144.75 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 95.87
04:30 - 04:45 | -8.5 | 0 | 144.75 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 95.87
04:45 - 05:00 | -8.5 | 0 | 144.75 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 10.62 | 0 | 0 | 95.87
05:00 - 05:15 | -8.5 | 0 | 72.38 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 19.3 | 0 | 0 | 32.18
05:15 - 05:30 | -8.5 | 0 | 48.25 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 19.3 | 0 | 0 | 8.05
05:30 - 05:45 | -8.5 | 0 | 48.25 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 19.3 | 0 | 0 | 8.05
05:45 - 06:00 | -8.5 | 0 | 48.25 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 19.3 | 0 | 0 | 8.05
06:00 - 06:15 | -8.5 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 23.16 | 0 | 0 | -98.24
06:15 - 06:30 | -8.5 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 23.16 | 0 | 0 | -98.24
06:30 - 06:45 | -8.5 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 23.16 | 0 | 0 | -98.24
06:45 - 07:00 | -8.5 | -61.9 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | -22 | 23.16 | 0 | 0 | -98.24
07:00 - 07:15 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | -10 | 23.16 | 0 | 0 | -24.34
07:15 - 07:30 | -8.5 | 0 | 24.13 | 0 | 0 | 0 | 0 | 0 | -29 | -10 | 23.16 | 0 | 0 | -0.21
07:30 - 07:45 | -8.5 | 0 | 144.75 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 23.16 | 0 | 0 | 130.41
07:45 - 08:00 | -8.5 | 0 | 144.75 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 23.16 | 0 | 0 | 130.41
08:00 - 08:15 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -33 | 0 | 23.16 | 116.77 | 0 | 98.43
08:15 - 08:30 | -8.5 | 0 | 0 | 0 | 0 | 28.18 | 4.83 | 0 | -33 | 0 | 23.16 | 230.63 | 0 | 245.3
08:30 - 08:45 | -8.5 | 0 | 385.98 | 0 | 0 | 28.18 | 4.83 | 0 | -33 | 0 | 23.16 | 288.54 | 51.15 | 740.34
08:45 - 09:00 | -8.5 | 0 | 385.98 | 0 | 0 | 28.18 | 4.83 | 0 | -33 | 0 | 23.16 | 346.44 | 103.26 | 850.35
09:00 - 09:15 | -8.5 | 0 | 482.49 | 4.92 | 3.09 | 28.18 | 4.83 | 0 | -33 | 0 | 23.16 | 404.34 | 154.4 | 1063.91
09:15 - 09:30 | -8.5 | 0 | 482.49 | 4.63 | 3.09 | 28.18 | 4.83 | 0 | -33 | 0 | 23.16 | 462.24 | 154.4 | 1121.52
09:30 - 09:45 | -8.5 | 0 | 482.5 | 4.54 | 3.09 | 28.18 | 4.83 | 0 | -33 | 0 | 23.16 | 520.12 | 154.4 | 1179.32
09:45 - 10:00 | -8.5 | 0 | 482.5 | 5.69 | 3.09 | 28.18 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1233.55
10:00 - 10:15 | -8.5 | 0 | 444.31 | 6.27 | 3.09 | 28.18 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1195.94
10:15 - 10:30 | -8.5 | 0 | 386 | 6.76 | 3.09 | 28.18 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1138.12
10:30 - 10:45 | -8.5 | 0 | 386 | 6.18 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1109.36
10:45 - 11:00 | -8.5 | 0 | 386 | 7.82 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1111
11:00 - 11:15 | -8.5 | 0 | 386 | 7.72 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1110.9
11:15 - 11:30 | -8.5 | 0 | 386 | 7.24 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1110.42
11:30 - 11:45 | -8.5 | 0 | 386 | 5.98 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.04 | 154.4 | 1109.17
11:45 - 12:00 | -8.5 | 0 | 386 | 7.62 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.04 | 154.4 | 1110.81
12:00 - 12:15 | -8.5 | 0 | 386 | 6.85 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1110.03
12:15 - 12:30 | -8.5 | 0 | 386 | 7.43 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1110.61
12:30 - 12:45 | -8.5 | 0 | 386 | 4.44 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1107.62
12:45 - 13:00 | -8.5 | 0 | 386 | 6.37 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1109.55
13:00 - 13:15 | -8.5 | 0 | 420.16 | 5.89 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 578.03 | 154.4 | 1143.23
13:15 - 13:30 | -8.5 | 0 | 530.07 | 6.08 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 520.14 | 154.4 | 1195.44
13:30 - 13:45 | -8.5 | 0 | 555.64 | 8.11 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 462.24 | 154.4 | 1165.14
13:45 - 14:00 | -8.5 | 0 | 567.99 | 6.18 | 3.09 | 0 | 0 | 0 | -33 | 0 | 23.16 | 404.34 | 154.4 | 1117.66
14:00 - 14:15 | -8.5 | 0 | 578.99 | 5.6 | 3.09 | 0 | 0 | 0 | -29 | 0 | 23.16 | 346.44 | 103.26 | 1023.04
14:15 - 14:30 | -8.5 | 0 | 482.48 | 6.18 | 3.09 | 0 | 0 | 0 | -29 | 0 | 23.16 | 288.54 | 51.15 | 817.1
14:30 - 14:45 | -8.5 | 0 | 578.99 | 8.01 | 3.09 | 0 | 0 | 0 | -29 | 0 | 23.16 | 230.64 | 0 | 806.39
14:45 - 15:00 | -8.5 | 0 | 578.99 | 8.11 | 3.09 | 28.18 | 0 | 0 | -29 | 0 | 23.16 | 116.77 | 0 | 720.8
15:00 - 15:15 | -8.5 | 0 | 482.49 | 10.33 | 3.09 | 28.18 | 4.83 | 0 | -29 | 0 | 23.16 | 0 | 0 | 514.58
15:15 - 15:30 | -8.5 | 0 | 482.49 | 11.29 | 3.09 | 28.18 | 4.83 | 0 | -29 | 0 | 23.16 | 0 | 0 | 515.54
15:30 - 15:45 | -8.5 | 0 | 385.99 | 0 | 3.09 | 28.18 | 4.83 | 0 | -29 | 0 | 23.16 | 0 | 0 | 407.75
15:45 - 16:00 | -8.5 | 0 | 362.45 | 0 | 3.09 | 28.18 | 4.83 | 0 | -29 | 0 | 23.16 | 0 | 0 | 384.21
16:00 - 16:15 | -8.5 | 0 | 72.37 | 0 | 0 | 28.18 | 4.83 | 0 | -29 | 0 | 23.16 | 0 | 0 | 91.04
16:15 - 16:30 | -8.5 | 0 | 72.37 | 0 | 0 | 28.18 | 4.83 | 0 | -29 | 0 | 23.16 | 0 | 0 | 91.04
16:30 - 16:45 | -8.5 | 0 | 72.38 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 23.16 | 0 | 0 | 58.04
16:45 - 17:00 | -8.5 | 0 | 72.38 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 23.16 | 0 | 0 | 58.04
17:00 - 17:15 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 23.16 | 0 | 0 | -14.34
17:15 - 17:30 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 23.16 | 0 | 0 | -14.34
17:30 - 17:45 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -37 | 0 | 23.16 | 0 | 0 | -22.34
17:45 - 18:00 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -37 | 0 | 23.16 | 0 | 0 | -22.34
18:00 - 18:15 | -8.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -60.4
18:15 - 18:30 | -8.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -60.4
18:30 - 18:45 | -8.5 | -0.9 | 109.45 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 49.05
18:45 - 19:00 | -8.5 | -0.9 | 44.33 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -16.07
19:00 - 19:15 | -8.5 | -0.9 | 0.01 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -60.39
19:15 - 19:30 | -8.5 | -0.9 | 3.66 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -56.74
19:30 - 19:45 | -8.5 | -0.9 | 12.13 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -48.27
19:45 - 20:00 | -8.5 | -0.9 | 18 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -42.4
20:00 - 20:15 | -8.5 | -0.9 | 27.35 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -33.05
20:15 - 20:30 | -8.5 | -0.9 | 33.97 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -26.43
20:30 - 20:45 | -8.5 | -0.9 | 49.57 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -10.83
20:45 - 21:00 | -8.5 | -0.9 | 54.73 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | -5.67
21:00 - 21:15 | -8.5 | -0.9 | 80.37 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 19.97
21:15 - 21:30 | -8.5 | -0.9 | 85.38 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 24.98
21:30 - 21:45 | -8.5 | -0.9 | 92.92 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 32.52
21:45 - 22:00 | -8.5 | -0.9 | 96.14 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 35.74
22:00 - 22:15 | -8.5 | -0.9 | 106.23 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 45.83
22:15 - 22:30 | -8.5 | -0.9 | 103.81 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 43.41
22:30 - 22:45 | -8.5 | -0.9 | 116.52 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 56.12
22:45 - 23:00 | -8.5 | -0.9 | 143.79 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 83.39
23:00 - 23:15 | -8.5 | -0.9 | 88.29 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 27.89
23:15 - 23:30 | -8.5 | -0.9 | 131.98 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 71.58
23:30 - 23:45 | -8.5 | -0.9 | 174.52 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 114.12
23:45 - 24:00 | -8.5 | -0.9 | 182.33 | 0 | 0 | 0 | 0 | -5 | -46 | 0 | 0 | 0 | 0 | 121.93
Average | -8.5 | -5.3833 | 183.5831 | 1.8358 | 0.90125 | 4.6967 | 0.60375 | -1.25 | -34.4167 | -4.7917 | 13.7117 | 133.6524 | 35.3835 | 320.0266

## RTM
RTM TRADING DETAILS FOR DT: 16.09.2025
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Fap_Jajpur_M/S_Tata_Steel_Limited | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Minerals_Ltd | MSP_Metallics_Limited_IPC | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_IPC | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Thakur_Prasad_Sao_And_Sons_Private_Limited_Unit_IV | The_Ramco_Cements_Limited_Odisha | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited | Total
00:00 - 00:15 | 0 | 0 | -0.2 | 0 | 0 | -200 | 0 | 82.59 | 0 | 7.72 | 0 | 0 | 7.72 | 0 | 0 | -1 | 11.58 | 5.79 | 0 | -2 | 0 | 62.73 | -1 | 4.83 | -7.2 | 0 | -28.44
00:15 - 00:30 | 0 | 0 | -0.2 | 0 | 0 | -200 | 0 | 82.6 | 0 | 7.72 | 0 | 0 | 7.72 | 0 | 0 | -1 | 11.58 | 5.79 | 0 | -2 | 0 | 62.73 | -1 | 0 | -7.2 | 0 | -33.26
00:30 - 00:45 | 0 | 0 | -0.2 | 0 | 0 | -200 | 0 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | 0 | 0 | -1 | 0 | -7.2 | 0 | -123.01
00:45 - 01:00 | 0 | 0 | -0.2 | 0 | 0 | -300 | 0 | 82.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | 0 | 52.88 | -1 | 0 | -7.2 | 0 | -170.12
01:00 - 01:15 | 0 | -4 | 0 | 0 | 0 | -108.05 | -1 | 82.6 | 0 | 0 | 0 | 0 | 7.72 | 0 | 0 | -1 | 11.58 | 5.79 | 0 | -2 | 0 | 62.73 | -1 | 0 | -7.2 | 0 | 46.17
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | -119.95 | -1 | 82.6 | 0 | 0 | 0 | 0 | 7.72 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | -50 | 62.73 | -1 | 0 | -7.2 | 0 | -23.31
01:30 - 01:45 | 0 | -11 | 0 | 0 | 0 | -111.7 | -1 | 82.6 | 0 | 7.72 | 0 | 0 | 7.72 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | -60 | 62.73 | -1 | 0 | -7.2 | 0 | -28.34
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | -97.08 | -1 | 82.59 | 0 | 7.72 | 0 | 0 | 7.72 | 0 | 0 | -1 | 11.58 | 5.79 | 0 | -2 | 0 | 62.73 | -1 | 4.83 | -7.2 | 0 | 73.68
02:00 - 02:15 | -0.5 | 0 | 0 | 0 | 0 | -40.02 | -1 | 82.59 | 0 | 7.72 | 4.83 | 0 | 7.72 | 0 | 0.19 | -2 | 15.44 | 5.79 | 0 | -2 | 0 | 62.73 | -1 | 4.83 | -7.2 | 0 | 138.12
02:15 - 02:30 | -0.5 | 0 | 0 | 0 | 0 | -40.1 | -1 | 82.59 | 0 | 7.72 | 4.83 | 0 | 7.72 | 0 | 0.19 | -2 | 15.44 | 5.79 | 0 | -2 | -40 | 62.73 | -1 | 4.83 | -7.2 | 0 | 98.04
02:30 - 02:45 | -0.5 | 0 | 0 | 0 | -61.9 | -135.07 | -1 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 5.79 | 0 | -2 | -20 | 0 | -1 | 0 | -7.2 | 0 | -142.28
02:45 - 03:00 | -0.5 | 0 | 0 | 0 | -61.9 | -151 | -1 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 5.79 | 0 | -2 | 0 | 0 | -1 | 0 | -7.2 | 0 | -138.21
03:00 - 03:15 | -0.5 | 0 | 0 | 0 | 0 | -125.5 | -1 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | 0 | 62.73 | -1 | 0 | -7.2 | 0 | 12.92
03:15 - 03:30 | -0.5 | 0 | 0 | 0 | 0 | -120.91 | -1 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | 0 | 62.73 | -1 | 0 | -7.2 | 0 | 17.51
03:30 - 03:45 | -0.5 | -15 | 0 | 0 | 0 | -119.66 | -1 | 82.6 | 0 | 0 | 0 | 0 | 7.72 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | 0 | 62.73 | -1 | 0 | -7.2 | 0 | 11.48
03:45 - 04:00 | -0.5 | -11 | 0 | 0 | 0 | -116.04 | -1 | 82.6 | 0 | 0 | 0 | 0 | 7.72 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | -10 | 62.73 | -1 | 0 | -7.2 | 0 | 9.1
04:00 - 04:15 | -0.5 | 0 | 0 | 0 | 0 | -88 | 0 | 82.59 | 0 | 7.72 | 0 | 0 | 7.72 | 0 | 0 | -1 | 11.58 | 5.79 | 0 | -2 | -60 | 62.73 | -1 | 4.83 | -7.2 | 0 | 23.26
04:15 - 04:30 | -0.5 | 0 | 0 | 0 | 0 | -121.04 | 0 | 82.6 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | -60 | 62.73 | -1 | 0 | -7.2 | 0 | -33.9
04:30 - 04:45 | -0.5 | 0 | 0 | 0 | 0 | -123.25 | 0 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | 0 | 62.73 | -1 | 0 | -7.2 | 0 | 16.17
04:45 - 05:00 | -0.5 | 0 | 0 | 0 | 0 | -130.37 | 0 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 5.79 | 0 | -2 | 0 | 0 | -1 | 0 | -7.2 | 0 | -53.68
05:00 - 05:15 | -0.5 | 0 | 0 | 0 | 0 | -131.08 | 0 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 5.79 | 0 | -2 | 0 | 0 | -1 | 0 | -7.2 | 0 | -59.39
05:15 - 05:30 | -0.5 | -4 | 0 | 0 | 0 | -150.81 | 0 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 5.79 | 0 | -2 | 0 | 0 | -1 | 0 | -7.2 | 0 | -83.12
05:30 - 05:45 | -0.5 | -11 | -0.4 | 0 | -61.9 | -150.97 | -1 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 5.79 | 0 | -2 | -50 | 0 | -1 | 0 | -7.2 | 0 | -203.58
05:45 - 06:00 | -0.5 | 0 | -0.4 | 0 | -61.9 | -251.3 | -1 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 5.79 | 0 | -2 | -60 | 0 | -1 | 0 | -7.2 | 0 | -302.91
06:00 - 06:15 | -0.5 | 0 | -0.4 | 0 | 0 | -153.08 | -1 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 5.79 | 0 | -2 | -50 | 0 | -1 | 0 | -7.2 | 0 | -132.79
06:15 - 06:30 | -0.5 | 0 | -0.4 | 0 | 0 | -253.08 | -1 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1 | -6 | 0 | 5.79 | 0 | -2 | -50 | 0 | -1 | 0 | -7.2 | 0 | -232.89
06:30 - 06:45 | -0.5 | 0 | -0.4 | 0 | 0 | -253.89 | 0 | 82.61 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | -6 | 0 | 5.79 | 2.41 | -2 | 0 | 0 | -1 | 0 | -7.2 | 0 | -180.58
06:45 - 07:00 | -0.5 | 0 | -0.4 | 0 | 0 | -253.17 | 0 | 82.61 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | -6 | 0 | 5.79 | 2.41 | -2 | 0 | 0 | -1 | 0 | -7.2 | 0 | -180.16
07:00 - 07:15 | -0.5 | -10 | 0 | 0 | 0 | -225.93 | 0 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -6 | 0 | 5.79 | 2.41 | -2 | 0 | 70.45 | -1 | 0 | -7.2 | 0 | -92.38
07:15 - 07:30 | -0.5 | 0 | 0 | 0 | 0 | -323.31 | 0 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | -6 | 0 | 5.79 | 2.41 | -2 | 0 | 70.45 | -1 | 0 | -7.2 | 0 | -180.16
07:30 - 07:45 | -1 | 0 | 0 | 0 | 0 | -123.31 | 0 | 82.6 | 0 | 7.72 | 0 | 0 | 0 | 0 | -1.8 | -6 | 0 | 5.79 | 2.41 | -2 | -30 | 58.87 | -1 | 0 | -7.2 | 0 | -14.92
07:45 - 08:00 | -1 | 0 | 0 | 0 | 0 | -69.91 | 0 | 82.6 | 0 | 7.72 | 0 | 0 | 7.72 | 0 | -2.2 | -6 | 11.58 | 5.79 | 2.41 | -2 | 0 | 58.87 | -1 | 4.83 | -7.2 | 0 | 92.21
08:00 - 08:15 | -1 | 0 | 0 | 0 | 0 | -46.07 | -1 | 82.6 | 0 | 7.72 | 4.83 | 0 | 7.72 | 0 | -2.5 | -6 | 15.44 | 5.79 | 2.41 | -2 | 0 | 48.25 | -1 | 4.83 | -7.2 | 0 | 112.82
08:15 - 08:30 | -1 | 0 | 0 | 0 | 0 | -56.93 | -1 | 82.6 | 0 | 7.72 | 0 | 0 | 7.72 | 0 | -2.9 | -6 | 11.58 | 5.79 | 2.41 | -2 | 0 | 48.25 | -1 | 4.83 | -7.2 | 0 | 92.87
08:30 - 08:45 | -1 | 0 | 0 | 0 | 0 | -484.94 | 0 | 82.6 | 0 | 7.72 | 0 | 0 | 7.72 | 0 | -3.2 | -6 | 11.58 | 5.79 | 2.41 | -2 | 0 | 42.46 | -1 | 4.83 | -7.2 | 0 | -340.23
08:45 - 09:00 | -1 | 0 | 0 | 0 | 0 | -170.08 | 0 | 82.6 | 0 | 7.72 | 0 | 0 | 7.72 | 0 | -3.5 | -6 | 11.58 | 5.79 | 2.41 | -2 | 0 | 35.71 | -1 | 4.83 | -7.2 | 0 | -32.42
09:00 - 09:15 | -1 | -11 | 0 | 0 | 0 | 117.67 | -1 | 82.6 | 0 | 4.83 | 0 | 0 | 7.72 | 0 | -3.9 | -6 | 11.58 | 5.79 | 2.41 | -2 | -35 | 24.13 | -1 | 4.83 | -7.2 | 0 | 193.46
09:15 - 09:30 | -1 | 0 | 0 | 0 | 0 | 104.27 | -1 | 82.6 | 0 | 0 | 0 | 0 | 7.72 | 0 | -1.4 | -6 | 11.58 | 5.79 | 2.41 | -2 | 0 | 24.13 | -1 | 4.83 | -7.2 | 0 | 223.73
09:30 - 09:45 | -1 | 0 | 0 | 0 | 0 | 0 | -1 | 82.6 | 0 | 0 | 0 | 0 | 7.72 | 0 | 0 | -6 | 11.58 | 5.79 | 2.41 | -3 | 0 | 17.37 | -1 | 4.83 | -7.2 | 0 | 113.1
09:45 - 10:00 | -1 | 0 | 0 | 0 | 0 | 0 | -1 | 82.6 | 0 | 0 | 0 | 0 | 7.72 | 0 | 0 | -6 | 6.76 | 5.79 | 2.41 | -3 | 0 | 17.37 | -1 | 4.83 | -7.2 | 0 | 108.28
10:00 - 10:15 | -1 | 0 | 0 | 0 | 0 | -225.99 | -1 | 82.6 | 0 | 1.93 | 0 | 0 | 7.72 | 0 | 0 | -6 | 6.76 | 5.79 | 2.41 | -3 | 0 | 25.09 | -1 | 4.83 | -7.2 | 0 | -108.06
10:15 - 10:30 | -1 | 0 | 0 | 0 | 0 | -294.76 | -1 | 82.59 | 0 | 1.93 | 0 | 0 | 7.72 | 0 | 3.86 | -6 | 10.62 | 5.79 | 2.41 | -3 | 0 | 33.78 | -1 | 4.83 | -7.2 | 0 | -160.43
10:30 - 10:45 | -1 | 0 | 0 | 0 | 0 | -712.52 | -3 | 82.6 | 0 | 1.93 | 0 | 0 | 7.72 | 9.65 | 4.05 | -6 | 10.62 | 3.86 | 2.41 | -3 | 0 | 40.53 | -1 | 4.83 | -7.2 | 0 | -565.52
10:45 - 11:00 | -1 | -15 | 0 | 0 | 0 | -885 | -3 | 82.6 | 0 | 1.93 | 0 | 0 | 7.72 | 9.65 | 4.15 | -6 | 10.62 | 3.86 | 2.41 | -3 | -35 | 40.53 | -1 | 4.83 | -7.2 | 0 | -787.9
11:00 - 11:15 | -1 | 0 | 0 | 9.65 | 0 | -1050.01 | -3 | 82.6 | 0 | 1.93 | 0 | -1 | 7.72 | 9.65 | 4.34 | -6 | 16.41 | 3.86 | 2.41 | -3 | 0 | 40.53 | -1 | 4.83 | -7.2 | 0 | -888.28
11:15 - 11:30 | -1 | 0 | 0 | 9.65 | 0 | -1040.95 | -3 | 82.6 | 0 | 1.93 | 0 | -1 | 7.72 | 9.65 | 4.44 | -6 | 16.41 | 3.86 | 2.41 | -3 | 0 | 40.53 | -1 | 4.83 | -7.2 | 0 | -879.12
11:30 - 11:45 | -1 | 0 | 0 | 9.65 | 0 | -580.96 | 0 | 82.6 | 0 | 1.93 | 0 | -1 | 7.72 | 9.65 | 4.63 | -3 | 10.62 | 3.86 | 2.41 | -3 | 0 | 40.53 | 0 | 4.83 | -7.2 | 0 | -417.73
11:45 - 12:00 | -1 | 0 | 0 | 9.65 | 0 | -288.46 | 0 | 82.59 | 0 | 1.93 | 0 | -1 | 7.72 | 9.65 | 4.83 | -3 | 10.62 | 3.86 | 2.41 | -3 | 0 | 40.53 | 0 | 4.83 | -7.2 | 0 | -125.04
12:00 - 12:15 | -1 | 0 | 0 | 9.65 | 0 | -491.01 | 0 | 82.6 | 0 | 1.93 | 0 | -1 | 0 | 9.65 | 4.92 | -3 | 10.62 | 3.86 | 2.41 | -3 | 0 | 40.53 | 0 | 4.83 | -7.2 | 0 | -335.21
12:15 - 12:30 | -1 | 0 | 0 | 9.65 | 0 | -589.79 | 0 | 82.6 | 0 | 1.93 | 0 | -1 | 0 | 9.65 | 5.11 | -3 | 10.62 | 3.86 | 2.41 | -3 | -30 | 40.53 | 0 | 4.83 | -7.2 | 0 | -463.8
12:30 - 12:45 | -1 | -12 | 0 | 9.65 | 0 | -890.03 | 0 | 82.6 | 0 | 1.93 | 0 | -1 | 0 | 9.65 | 5.21 | -3 | 10.62 | 3.86 | 2.41 | -3 | -10 | 40.53 | -1.2 | 4.83 | -7.2 | 0 | -757.14
12:45 - 13:00 | -1 | 0 | 0 | 9.65 | 0 | -890.96 | 0 | 82.6 | 0 | 1.93 | 0 | -1 | 0 | 9.65 | 5.4 | -3 | 10.62 | 3.86 | 2.41 | -3 | 0 | 40.53 | -1.2 | 4.83 | -7.2 | 0 | -735.88
13:00 - 13:15 | -1 | 0 | -0.4 | 9.65 | 0 | -994.98 | -3 | 82.6 | -1.2 | 1.93 | 0 | -1 | 0 | 9.65 | 5.5 | -5 | 16.41 | 3.86 | 2.41 | -3 | 0 | 40.53 | -1.2 | 4.83 | -7.2 | 0 | -840.61
13:15 - 13:30 | -1 | 0 | -0.4 | 9.65 | 0 | -999.97 | -3 | 82.6 | -1.2 | 1.93 | 0 | -1 | 0 | 9.65 | 5.79 | -5 | 16.41 | 3.86 | 2.41 | -3 | 0 | 40.53 | -1.2 | 4.83 | -7.2 | 0 | -845.31
13:30 - 13:45 | -1 | 0 | -0.4 | 9.65 | 0 | -1048.57 | -3 | 82.6 | -1.2 | 1.93 | 0 | -1 | 0 | 9.65 | 5.98 | -5 | 10.62 | 3.86 | 2.41 | -3 | 0 | 40.53 | -1.2 | 4.83 | -7.2 | 0 | -899.51
13:45 - 14:00 | -1 | 0 | -0.4 | 0 | 0 | -1135.96 | -3 | 82.6 | -1.2 | 1.93 | 0 | -1 | 0 | 9.65 | 0 | -5 | 6.76 | 3.86 | 2.41 | -3 | -20 | 40.53 | -1.2 | 4.83 | -7.2 | 0 | -1026.39
14:00 - 14:15 | -1 | 0 | -0.4 | 0 | 0 | -1023.9 | -4 | 82.6 | -1.2 | 1.93 | 0 | -1 | 0 | 0 | 0 | -5 | 6.76 | 3.86 | 2.41 | -5 | -25 | 40.53 | -1.2 | 4.83 | -7.2 | 0 | -931.98
14:15 - 14:30 | -1 | -11 | -0.4 | 0 | 0 | -751.36 | -4 | 82.61 | -1.2 | 1.93 | 0 | -1 | 0 | 0 | 0 | -5 | 0 | 3.86 | 2.41 | -5 | 0 | 0 | -1.2 | 0 | -7.2 | 0 | -697.55
14:30 - 14:45 | -1 | 0 | -0.4 | 9.65 | 0 | -868.4 | -4 | 82.59 | -1.2 | 1.93 | 0 | -1 | 0 | 9.65 | 0.87 | -5 | 10.62 | 3.86 | 2.41 | -5 | 0 | 33.78 | -1.2 | 4.83 | -7.2 | 4.34 | -729.87
14:45 - 15:00 | -1 | 0 | -0.4 | 9.65 | 0 | -854.09 | -4 | 82.59 | -1.2 | 1.93 | 0 | -1 | 0 | 9.65 | -1.8 | -5 | 10.62 | 3.86 | 2.41 | -5 | 0 | 24.13 | -1.2 | 4.83 | -7.2 | 4.34 | -727.88
15:00 - 15:15 | -1 | 0 | -0.4 | 9.65 | 0 | -744.98 | -4 | 82.6 | -1.2 | 1.93 | 0 | 0 | 0 | 9.65 | -1.8 | -5 | 21.23 | 3.86 | 2.41 | -2 | 0 | 19.3 | -1.2 | 4.83 | -7.2 | 4.34 | -608.98
15:15 - 15:30 | -1 | 0 | -0.4 | 9.65 | 0 | -750.36 | -4 | 82.6 | -1.2 | 1.93 | 0 | 0 | 0 | 9.65 | -1.6 | -5 | 21.23 | 3.86 | 2.41 | -2 | 0 | 19.3 | -1.2 | 4.83 | -7.2 | 4.34 | -614.16
15:30 - 15:45 | -1 | 0 | -0.4 | 9.65 | 0 | -648.02 | -4 | 82.6 | -1.2 | 1.93 | 0 | 0 | 0 | 9.65 | -1.3 | -5 | 15.44 | 3.86 | 2.41 | -2 | -30 | 24.13 | -1.2 | 4.83 | -7.2 | 4.34 | -542.48
15:45 - 16:00 | -1 | 0 | -0.4 | 0 | 0 | -701.8 | -4 | 82.6 | -1.2 | 1.93 | 0 | 0 | 0 | 9.65 | -1.1 | -5 | 11.58 | 3.86 | 2.41 | -2 | -30 | 24.13 | -1.2 | 4.83 | -7.2 | 4.34 | -609.57
16:00 - 16:15 | -1 | 0 | -0.4 | 0 | 0 | -348.89 | -4 | 82.6 | -1.2 | 7.72 | 0 | 0 | 0 | 9.65 | -0.8 | -5 | 11.58 | 3.86 | 2.41 | -2 | 0 | 36.67 | 0 | 4.83 | -7.2 | 4.34 | -206.83
16:15 - 16:30 | -1 | 0 | -0.4 | 0 | 0 | -254.9 | -4 | 82.61 | -1.2 | 7.72 | 0 | 0 | 0 | 0 | -0.7 | -5 | 0 | 3.86 | 2.41 | -2 | 0 | 42.46 | 0 | 0 | -7.2 | 4.34 | -133
16:30 - 16:45 | -1 | 0 | -0.4 | 0 | 0 | -339.04 | -4 | 82.6 | -1.2 | 7.72 | 0 | 0 | 0 | 9.65 | -0.5 | -5 | 11.58 | 3.86 | 2.41 | 0 | 0 | 48.25 | 0 | 4.83 | -7.2 | 4.34 | -183.1
16:45 - 17:00 | -1 | 0 | -0.4 | 0 | 0 | -328.44 | -4 | 82.6 | -1.2 | 7.72 | 0 | 0 | 0 | 9.65 | -0.3 | -5 | 11.58 | 3.86 | 2.41 | 0 | 0 | 53.08 | 0 | 4.83 | -7.2 | 4.34 | -167.47
17:00 - 17:15 | -1 | -11 | 0 | 0 | 0 | -318.52 | -5 | 61.85 | -1.2 | 7.72 | 0 | 0 | 0 | 9.65 | -0.2 | -5 | 11.58 | 3.86 | 2.41 | 0 | -10 | 39.57 | 0 | 4.83 | -7.2 | 4.34 | -213.31
17:15 - 17:30 | -1 | 0 | 0 | 0 | 0 | -255.81 | -5 | 61.85 | -1.2 | 7.72 | 0 | 0 | 0 | 0 | -0.1 | -5 | 0 | 3.86 | 2.41 | 0 | -30 | 45.36 | 0 | 0 | -7.2 | 0 | -184.11
17:30 - 17:45 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 41.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 5.79 | 2.41 | 0 | 0 | 50.18 | 0 | 0 | -7.2 | 4.34 | 84.82
17:45 - 18:00 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 41.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 5.79 | 2.41 | 0 | 0 | 0 | 0 | 0 | -7.2 | 0 | 30.3
18:00 - 18:15 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 20.65 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 11.58 | 5.79 | 2.41 | 0 | 0 | 55.97 | 0 | 0 | -7.2 | 0 | 77
18:15 - 18:30 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 20.65 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 5.79 | 2.41 | 0 | 0 | 0 | 0 | 0 | -7.2 | 0 | 9.45
18:30 - 18:45 | -1 | -11 | 0 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 2.41 | 0 | 0 | 0 | 0 | 0 | -7.2 | 0 | -27.99
18:45 - 19:00 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 2.41 | 0 | -10 | 0 | 0 | 0 | -7.2 | 0 | -26.99
19:00 - 19:15 | -1.3 | 0 | 0 | 0 | 0 | -50 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 1.72 | 0 | 0 | 0 | 0 | 0 | -7.2 | 0 | -63.98
19:15 - 19:30 | -1.3 | 0 | 0 | 0 | 0 | -50 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 1.51 | 0 | 0 | 0 | 0 | 0 | -7.2 | 0 | -64.19
19:30 - 19:45 | -1.3 | 0 | 0 | 0 | 0 | -50 | -5 | 20.31 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0.94 | 0 | 0 | 0 | 0 | 0 | -7.2 | 0 | -45.95
19:45 - 20:00 | -1.3 | 0 | 0 | 0 | 0 | -50 | -5 | 21.34 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0.98 | 0 | 0 | 0 | 0 | 0 | -7.2 | 0 | -44.88
20:00 - 20:15 | -1.3 | -5 | 0 | 0 | 0 | -50 | -5 | 101.52 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 1.58 | -4 | 0 | 0 | 0 | 0 | -7.2 | 0 | 26.9
20:15 - 20:30 | -1.3 | -11 | 0 | 0 | 0 | -50 | -5 | 105.3 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 1.64 | -4 | 0 | 0 | 0 | 0 | -7.2 | 0 | 24.74
20:30 - 20:45 | -1.3 | 0 | 0 | 0 | 0 | -80.25 | -5 | 154.6 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 2.41 | -4 | -25 | 0 | 0 | 0 | -7.2 | 0 | 30.56
20:45 - 21:00 | -1.3 | 0 | 0 | 0 | 0 | -80.25 | -5 | 154.6 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 2.41 | -4 | -25 | 0 | 0 | 0 | -7.2 | 0 | 30.56
21:00 - 21:15 | -1.3 | 0 | 0 | 0 | 0 | -170.17 | -5 | 154.6 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 2.41 | -4 | 0 | 0 | 0 | 0 | -7.2 | 0 | -34.36
21:15 - 21:30 | -1.3 | 0 | 0 | 0 | 0 | -170.17 | -5 | 154.6 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 2.41 | -4 | 0 | 0 | 0 | 0 | -7.2 | 0 | -34.36
21:30 - 21:45 | -1.3 | 0 | -0.4 | 0 | 0 | -208.3 | -5 | 123.72 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 2.41 | -4 | 0 | 0 | 0 | 0 | -7.2 | 0 | -103.77
21:45 - 22:00 | -1.3 | 0 | -0.4 | 0 | 0 | -205.42 | -5 | 123.72 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 2.41 | -4 | 0 | 0 | 0 | 0 | -7.2 | 0 | -100.89
22:00 - 22:15 | -1.3 | 0 | -0.4 | 0 | 0 | -257.51 | -5 | 103.06 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 2.41 | -4 | -30 | 0 | 0 | 0 | -7.2 | 0 | -203.64
22:15 - 22:30 | -1.3 | -11 | -0.4 | 0 | 0 | -258.33 | -5 | 103.06 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 2.41 | -4 | -30 | 0 | 0 | 0 | -7.2 | 0 | -215.46
22:30 - 22:45 | -1.3 | 0 | 0 | 0 | 0 | -254.59 | -5 | 61.86 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 2.41 | -2 | 0 | 0 | 0 | 0 | -7.2 | 0 | -209.52
22:45 - 23:00 | -1.3 | 0 | 0 | 0 | 0 | -251.66 | -5 | 61.86 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 5.59 | 2.41 | -2 | 0 | 0 | 0 | 0 | -7.2 | 0 | -201
23:00 - 23:15 | -1.3 | 0 | 0 | 0 | 0 | -227.51 | 0 | 61.86 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 5.79 | 2.41 | -2 | 0 | 66.58 | 0 | 0 | -7.2 | 0 | -105.07
23:15 - 23:30 | -1.3 | 0 | 0 | 0 | 0 | -112.67 | 0 | 61.86 | -1.2 | 0 | 0 | 0 | 0 | 9.65 | 0 | -2.5 | 11.58 | 5.79 | 2.41 | -2 | 0 | 66.59 | 0 | 1.25 | -7.2 | 4.34 | 36.6
23:30 - 23:45 | -1.3 | 0 | 0 | 0 | 0 | -325.63 | 0 | 61.86 | -1.2 | 7.72 | 0 | 0 | 0 | 9.65 | 0 | -2.5 | 11.58 | 5.79 | 2.41 | -2 | 0 | 66.58 | 0 | 4.83 | -7.2 | 4.34 | -165.07
23:45 - 24:00 | -1.3 | 0 | 0 | 0 | 0 | -317.77 | 0 | 61.86 | -1.2 | 7.72 | 0 | 0 | 0 | 9.65 | 0 | -2.5 | 11.58 | 5.79 | 2.41 | -2 | -30 | 66.58 | 0 | 4.83 | -7.2 | 4.34 | -187.21
Average | -0.86458 | -1.7083 | -0.11667 | 1.6083 | -2.5792 | -302.6283 | -2.25 | 78.712 | -0.55 | 2.302 | 0.15094 | -0.16667 | 2.2517 | 2.7141 | 0.35688 | -3.8021 | 5.9117 | 4.1997 | 1.6939 | -2.2292 | -9.8438 | 30.8292 | -0.65417 | 2.1765 | -7.2 | 0.67813 | -201.0081

## GDAM
GDAM TRADING DETAILS FOR DT: 16.09.2025
Time Period | GRIDCO | Linde_India_Limited | MGM_Green_Energy_Ltd | MSP_Metallics_Limited_IPC | MSP_Sponge_Iron_Limited_Odisha | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Limited_SEZ_Unit_Jharsuguda | Total
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
02:30 - 02:45 | 0.77 | 0 | 0 | 0 | 0 | 0 | 227.74 | 228.51
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
03:00 - 03:15 | 5.74 | 0 | 0 | 0 | 0 | 0 | 227.74 | 233.48
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 227.74 | 227.74
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 191.47 | 191.47
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 172.32 | 172.32
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 153.57 | 153.57
06:00 - 06:15 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -0.1
06:15 - 06:30 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -0.1
06:30 - 06:45 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | -0.2
06:45 - 07:00 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | -0.2
07:00 - 07:15 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | -0.2
07:15 - 07:30 | 0 | 0 | -0.3 | 0 | 0 | 0 | 193.97 | 193.67
07:30 - 07:45 | 0 | 0 | -0.4 | 0 | 0 | 0 | 189.14 | 188.74
07:45 - 08:00 | 0 | 0 | -0.4 | 0 | 0 | 0 | 184.32 | 183.92
08:00 - 08:15 | 0 | 0 | -0.4 | 0 | 0 | 0 | 179.49 | 179.09
08:15 - 08:30 | 0 | 0 | -0.5 | 0 | 0 | 0 | 175.63 | 175.13
08:30 - 08:45 | 0 | 0 | -1.6 | 0 | 0 | 0 | 170.81 | 169.21
08:45 - 09:00 | 0 | 0 | -1.7 | 0 | 0 | 0 | 165.98 | 164.28
09:00 - 09:15 | 0 | 0 | -1.8 | 0 | 0 | 0 | 165.98 | 164.18
09:15 - 09:30 | 0 | 0 | -1.9 | 4.83 | 0 | 0 | 165.98 | 168.91
09:30 - 09:45 | 0 | 0 | -2 | 4.83 | 0 | 0 | 165.98 | 168.81
09:45 - 10:00 | 0 | 0 | -2 | 4.83 | 4.83 | 4.83 | 165.97 | 178.46
10:00 - 10:15 | 0 | 0 | -2.1 | 4.83 | 4.83 | 4.83 | 165.97 | 178.36
10:15 - 10:30 | 0 | 0 | -2.1 | 4.83 | 4.83 | 4.83 | 165.97 | 178.36
10:30 - 10:45 | 0 | 28.18 | -2.2 | 4.83 | 4.83 | 4.83 | 165.96 | 206.43
10:45 - 11:00 | 0 | 28.18 | -2.2 | 4.83 | 4.83 | 4.83 | 165.96 | 206.43
11:00 - 11:15 | 0 | 28.18 | -2.3 | 4.83 | 4.83 | 4.83 | 165.96 | 206.33
11:15 - 11:30 | 0 | 28.18 | -2.3 | 4.83 | 4.83 | 4.83 | 165.96 | 206.33
11:30 - 11:45 | 0 | 28.18 | -2.4 | 4.83 | 4.83 | 4.83 | 165.96 | 206.23
11:45 - 12:00 | 0 | 28.18 | -2.4 | 4.83 | 4.83 | 4.83 | 165.96 | 206.23
12:00 - 12:15 | 0 | 28.18 | -2.4 | 4.83 | 4.83 | 4.83 | 165.96 | 206.23
12:15 - 12:30 | 0 | 28.18 | -2.4 | 4.83 | 4.83 | 4.83 | 165.96 | 206.23
12:30 - 12:45 | 0 | 28.18 | -2.3 | 4.83 | 4.83 | 4.83 | 165.96 | 206.33
12:45 - 13:00 | 0 | 28.18 | -2.2 | 4.83 | 4.83 | 4.83 | 165.96 | 206.43
13:00 - 13:15 | 0 | 28.18 | -2.2 | 4.83 | 4.83 | 4.83 | 165.96 | 206.43
13:15 - 13:30 | 0 | 28.18 | -2.1 | 4.83 | 4.83 | 4.83 | 165.96 | 206.53
13:30 - 13:45 | 0 | 28.18 | -2 | 4.83 | 4.83 | 4.83 | 165.96 | 206.63
13:45 - 14:00 | 0 | 28.18 | -2 | 4.83 | 4.83 | 4.83 | 165.96 | 206.63
14:00 - 14:15 | 0 | 28.18 | -1.9 | 4.83 | 4.83 | 4.83 | 165.96 | 206.73
14:15 - 14:30 | 0 | 28.18 | -1.7 | 4.83 | 4.83 | 4.83 | 165.96 | 206.93
14:30 - 14:45 | 0 | 28.18 | -2 | 4.83 | 4.83 | 4.83 | 165.96 | 206.63
14:45 - 15:00 | 0 | 0 | -2 | 4.83 | 4.83 | 4.83 | 165.97 | 178.46
15:00 - 15:15 | 0 | 0 | -1.7 | 4.83 | 0 | 0 | 165.98 | 169.11
15:15 - 15:30 | 0 | 0 | -1.5 | 4.83 | 0 | 0 | 168.87 | 172.2
15:30 - 15:45 | 0 | 0 | -1.3 | 4.83 | 0 | 0 | 172.73 | 176.26
15:45 - 16:00 | 0 | 0 | -1.2 | 4.83 | 0 | 0 | 176.59 | 180.22
16:00 - 16:15 | 0 | 0 | -0.9 | 0 | 0 | 0 | 180.46 | 179.56
16:15 - 16:30 | 0 | 0 | -0.7 | 0 | 0 | 0 | 184.32 | 183.62
16:30 - 16:45 | 0 | 0 | -0.5 | 0 | 0 | 0 | 188.18 | 187.68
16:45 - 17:00 | 0 | 0 | -0.3 | 0 | 0 | 0 | 193 | 192.7
17:00 - 17:15 | 0 | 0 | -0.1 | 0 | 0 | 0 | 197.83 | 197.73
17:15 - 17:30 | 0 | 0 | -0.2 | 0 | 0 | 0 | 202.65 | 202.45
17:30 - 17:45 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -0.1
17:45 - 18:00 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -0.1
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29
19:15 - 19:30 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03
19:30 - 19:45 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01
19:45 - 20:00 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02
20:00 - 20:15 | 0.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41
20:15 - 20:30 | 0.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0.49
20:30 - 20:45 | 0.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71
20:45 - 21:00 | 0.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0.49
21:00 - 21:15 | 0.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0.24
21:15 - 21:30 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25
21:30 - 21:45 | 1.09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.09
21:45 - 22:00 | 0.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 0.11802 | 4.9902 | -0.68333 | 1.3584 | 1.0566 | 1.0566 | 124.1407 | 132.0372