## POWER STATUS
POWER STATUS ON DT 16.12.2025
[9 empty] | 2025-12-16 | 2025-12-15
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 08:00 | 18:00
Demand -> | [8 empty] | 4595.6018 | 4650.1515
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 39.208 | 0.94099 | 630/590 ft | 626.67 | 628.83 | 628.75 | 81.8587 | 172.2133
| Chiplima | 72(3x24) | 23.5 | 0.564 | - |  |  |  | 26.7915 | 21.5445
| Balimela | 510(6x60+2x75) | 163.7083 | 3.929 | 1516/1440 ft | 1502.3 | 1507.7 | 1507.6 | 219.179 | 313.847
| Rengali | 250(5x50) | 47.85 | 1.1484 | 123.5/109.75 mt | 119.78 | 121.48 | 121.45 | 147.0197 | 196.287
| Upper Kolab | 320(4x80) | 54.29 | 1.303 | 858/844 mt | 854.54 | 855.68 | 855.67 | 121.9659 | 191.9715
| Upper Indravati | 600(4x150) | 47.25 | 1.134 | 642/625 mt | 634.78 | 640.79 | 640.8 | 144.8108 | 250.2376
| Machkund | 60(50% of(3x17+3x23)) | 45.85 | 1.1004 | 2750/2685 ft | 2745.55 | 2745.8 | 2745.65 | 65.4732 | 58.8162
| Total Hydro | 2099.5 | 421.6563 | 10.1198 |  |  |  |  | 807.0988 | 1204.9171
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1597.9166 | 38.35 | RENEWABLE ENERGY (RE) |  |  |  | 1642.5564 | 1594.0781
[5 empty] | M.Hydl | 56.5783
| Total Thermal | 2200 | 1597.9166 | 38.35 | Solar | 81.5254 |  |  | 1642.5564 | 1594.0781
IPP | VEDANTA #2 | 600 (1x600) | 489.7875 | 11.7549 | Total IPPs | Yesterday's Demand Profile |  |  | 568.4761 | 570.6255
| GMR #3 | 350 (1x350) | 294.3376 | 7.0641 | 881.7603 |  | MW | HRS | 328.925 | 334.6612
| NBVL(IPP) | 60(1x60) | 47.15 | 1.1316 |  |  |  |  | 54.4639 | 54.9885
| MDTPC |  | 50.4852 | 1.2116 |  |  |  |  | 60.428 | 57.339
| CGPs |  | 621.7884 | 14.9229 | IPPs, CGPs & RE | Maximum | 4701 | 07:00 | 1763.4482 | 1766.2803
| Central Sector(Drawl) |  | 321.6438 | 7.7195 | 1641.6525 | Minimum | 3281 | 03:00 | 382.4983 | 84.876
| Central Sector(Sch) |  | 469.1373 | 11.2593 |  | Average | 3982.8692 |  | 492.9653 | 266.77
| Grand Total |  | 3982.8692 | 95.5889 | Instantaneous Peak demand |  | 4883 | 17:53 | 4595.6018 | 4650.1515
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1041.0713 | 24.9857 | 1032.1893 | 24.7725 | 996.9177 | 23.926
Balimela | 4,5,6 | TSTPP St-I | 1 | TPWODL | 1314.4754 | 31.5474 | 1341.3208 | 32.1917 | 1136.3082 | 27.2714
Rengali | 5 | TSTPP St-II | NIL | TPNODL | 1047.5154 | 25.1404 | 1070.778 | 25.6987 | 950.6054 | 22.8145
U.Kolab | NIL | KAHALGAON | NIL | TPSODL | 438.6293 | 10.5271 | 461.9186 | 11.086 | 451.406 | 10.8337
Indravati | 4 | TEESTA-V | 1,2,3 | DISCOM TOTAL | 3841.6915 | 92.2006 | 3906.2066 | 93.749 | 3535.2373 | 84.8457
Machhkund | NIL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 571.2697 | GMR |  |  |  | 330
| NBVL #3 | 53 | MDTPC |  |  |  | 60
Mini Hydel: | MEENAKSHI | 16 | OPCL |  |  |  | 12
| BTPL | 5 | SAPTADHARA |  |  |  | 0
Solar: |  | 138 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 132.7928 | JSL(Duburi) |  |  |  | 13.0667
| ICCL | -4.8572e-17 | visa |  |  |  | 3.8315
| NALCO | 25.3906 | VAL (CGP) |  |  |  | 236.2294
| RSP | -69.222 | BSL(MMDL) |  |  |  | -18.5807
| INDAL | -6.4986 | ADITYA ALUMINIUM |  |  |  | 6.9389e-17
| NINL | -23.9239 | VAL CPP 400 kV |  |  |  | -415.8276
| NBVL | 54.2129 | Arati |  |  |  | -1.3878e-17
| BPSL(JSG) | -82.3176 | BPPL |  |  |  | 59.8318
Return Banking Avg -: (MW) |  | 168
HYDRO AVERAGE GENERATION IN MW:-
2025-12-08 | 2025-12-09 | 2025-12-10 | 2025-12-11 | 2025-12-12 | 2025-12-13 | 2025-12-14 | 2025-12-15
461.738 | 470.39 | 508.075 | 433.264 | 464.9383 | 436.85 | 418.256 | 421.6563
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT. 15.12.2025
(A) GNA |  |  | (C) TGNA
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | GMRKEL_STU | TANGEDCO | -18.05
ENVIROCARE_INFRA | TANGEDCO | -3.75 | NBVLIPP | JK_LADAKH | -50
GMRKEL_STU | TNEB | -18 | NBVLIPP | TANGEDCO | -14.67
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ODISHA | JK_LADAKH | -150
JPIPL | DVC | -14 | ODISHA | MPSEB_Beneficiary | -13.62
MAADURGA_THERMAL | NPCL_UP | -23.12 | ODISHA | TANGEDCO | -65.1
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -35 | VL_CPP_1215 | TANGEDCO | -10.42
OCL_IRON_STEEL | UTTARAKHAND | -17.44 | VSL | TANGEDCO | -3.75
ODISHA | CESC | -14.06 | AIPL_UP | LINDEINDIA | 2.16
ODISHA | CESC | -1.35 | JIPL | ODISHA | 57.59
ODISHA | KPTCL | -23.96 | NALCOAP | NACL_Odisha | 2.67
ODISHA | MPPMCL | -154.38
ODISHA | NPCL_UP | -2.92
TIMES_STEEL | DVC | 0
FARIDABAD_SOLAR | ODISHA | 0.28
JSWEL_UTKAL | ODISHA | 68.23
RAJ_SOLAR | ODISHA | 1.92
RAJ_SOLAR | ODISHA | 2.01
(B) REMC
FROM | TO | RTC Avg (In MW)
AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.07
AP41PL_BHDL | ODISHA | 42.14
AP43PL_BKN | ODISHA | 53.23
ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.35
ARE55L_PSS3_KPS1_HW | DHAMRAPORT | 0
AWEK1L | ODISHA | 2.76
AWEK1L | ODISHA | 1.84
AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.7
AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 0
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 0
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 0
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 8.96
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 0
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 5.17
DADRI_SOLAR | ODISHA | 0.37
ENERSON_SOLAR_10MW | ODISHA | 1.46
GADAG_GreenInfra_W | ODISHA | 0.21
GADAG_Serentica3_S | VLSEZ | 25.97
GADAG_Serentica3_W | VLSEZ | 17.6
GIWEL_SECI_II_RE | ODISHA | 26.28
GPCL_SOLAR_10 | ODISHA | 1.12
GSECL_SOLAR | ODISHA | 1.95
HIRIYUR_ZREPL_W | LINDEINDIA | 8.58
IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.6
KARUR_TPVARDHAMAN_W | TSKPO | 25.04
KARUR_TPVARDHAMAN_W | TSKPO | 0
Kurnool_Greenko_H_Inj_I | ADITYAAL | 0
OKWPL_RE | ODISHA | 15.23
RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 0.44
RWE_AP2_SECI_III | ODISHA | 12.97
RenewGreen_SLPR_HS | JSL_DUBURI | 1.06
TPSL_BKN2 | TSKPO | 3.47
TPSL_BKN2 | TSKPO | 3.76
TSESOPL_BKN2 | OBPL_CUTTAK | 0.08
TSESOPL_BKN2 | OPL_CUTTAK | 0.1
Tuticorin_BETAMWIND | ODISHA | 22.98
XXPPL_FTG3 | ODISHA | 17.73

## IEX
DAM TRADING DETAILS FOR DT: :15.12.2025
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | JSW_Cement_Ltd | Linde_India_Limited | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Bharat_Ventures_Ltd_Odisha_IPP | Vedanta_Limited_SEZ_Unit_Jharsuguda | Vedanta_Ltd_CPP_(9_X_135_MW)_Jharsuguda
00:00 - 00:15 | -9.5 | 0 | 22.07 | 0 | -600 | 5.28 | 0 | -3.8 | 1.24 | -4 | -1 | -11.5 | 0 | 0
00:15 - 00:30 | -9.5 | 0 | 22.08 | 0 | -600 | 5.28 | 0 | -3.8 | 0.4 | -4 | -1 | -11.5 | 0 | 0
00:30 - 00:45 | -9.5 | 0 | 22.07 | 0 | -600 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
00:45 - 01:00 | -9.5 | 0 | 22.07 | 0 | -600 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
01:00 - 01:15 | -9.5 | 0 | 22.07 | 0 | -700 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
01:15 - 01:30 | -9.5 | 0 | 22.07 | 0 | -700 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
01:30 - 01:45 | -9.5 | 0 | 22.07 | 0 | -700 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
01:45 - 02:00 | -9.5 | 0 | 22.07 | 0 | -700 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
02:00 - 02:15 | -9.5 | 0 | 22.07 | 0 | -700 | 5.28 | 0 | -3.8 | 0.07 | -4 | -1 | -11.5 | 0 | 0
02:15 - 02:30 | -9.5 | 0 | 22.07 | 0 | -700 | 5.28 | 0 | -3.8 | 1.97 | -4 | -1 | -11.5 | 0 | 0
02:30 - 02:45 | -9.5 | 0 | 22.07 | 0 | -700 | 5.28 | 0 | -3.8 | 3.44 | -4 | -1 | -11.5 | 0 | 0
02:45 - 03:00 | -9.5 | 0 | 22.07 | 0 | -699.99 | 5.28 | 0 | -3.8 | 2.67 | -4 | -1 | -11.5 | 0 | 0
03:00 - 03:15 | -9.5 | 0 | 22.07 | 0 | -750 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
03:15 - 03:30 | -9.5 | 0 | 22.07 | 0 | -750 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
03:30 - 03:45 | -9.5 | 0 | 22.07 | 0 | -750 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
03:45 - 04:00 | -9.5 | 0 | 22.07 | 0 | -750 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 0 | 0
04:00 - 04:15 | -9.5 | 0 | 22.08 | 0 | -825 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 42.03 | 0
04:15 - 04:30 | -9.5 | 0 | 22.08 | 0 | -825 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 47.5 | 0
04:30 - 04:45 | -9.5 | 0 | 22.08 | 0 | -825 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 49.04 | 0
04:45 - 05:00 | -9.5 | 0 | 22.08 | 0 | -825 | 5.28 | 0 | -3.8 | 0 | -4 | -1 | -11.5 | 66.32 | 0
05:00 - 05:15 | -9.5 | 0 | 22.08 | 0 | -900 | 5.28 | 0 | -3.9 | 0 | -4 | -1 | -11.5 | 71.69 | 0
05:15 - 05:30 | -9.5 | 0 | 22.08 | 0 | -900 | 5.28 | 0 | -3.9 | 0 | -4 | -1 | -11.5 | 78.51 | 0
05:30 - 05:45 | -9.5 | 0 | 22.08 | 0 | -852.56 | 5.28 | 0 | -3.9 | 0 | -4 | -1 | -11.5 | 87.62 | 0
05:45 - 06:00 | -9.5 | 0 | 22.07 | 0 | -875 | 5.28 | 0 | -3.9 | 0 | -4 | -1 | -11.5 | 0 | 0
06:00 - 06:15 | -9.5 | 0 | 22.08 | -61.9 | -609.4 | 0 | 0 | -3.9 | 0 | -4 | -1 | 0 | 0 | 0
06:15 - 06:30 | -9.5 | 0 | 22.08 | -61.9 | -500 | 0 | 0 | -3.9 | 0 | -4 | -1 | 0 | 0 | 0
06:30 - 06:45 | -9.5 | 0 | 22.08 | -61.9 | -150 | 0 | 0 | -3.9 | 0 | -4 | -1 | 0 | 0 | 0
06:45 - 07:00 | -9.5 | 0 | 22.08 | -61.9 | -150 | 0 | 0 | -3.9 | 0 | -4 | -1 | 0 | 0 | 0
07:00 - 07:15 | -9.5 | 0 | 22.08 | -61.9 | 0 | 0 | 0 | -3.9 | 0 | -8 | -1 | 0 | 0 | 0
07:15 - 07:30 | -9.5 | 0 | 22.08 | -61.9 | 0 | 0 | 0 | -3.9 | 0 | -8 | -1 | 0 | 0 | 0
07:30 - 07:45 | -9.5 | 0 | 22.08 | -61.9 | 0 | 0 | 0 | -3.9 | 0 | -8 | -1 | 0 | 0 | -123.2
07:45 - 08:00 | -9.5 | 0 | 22.08 | -61.9 | 0 | 0 | 0 | -3.9 | 0 | -8 | -1 | 0 | 0 | 0
08:00 - 08:15 | -9.5 | 1.92 | 22.08 | -61.9 | -225 | 0 | 0 | -3.9 | 0 | -8 | -1 | -42.1 | 0 | 0
08:15 - 08:30 | -9.5 | 1.92 | 22.08 | -61.9 | -225 | 0 | 0 | -3.9 | 0 | -8 | -1 | -42.1 | 0 | 0
08:30 - 08:45 | -9.5 | 1.92 | 22.08 | -61.9 | -225 | 0 | 0 | -3.9 | 0 | -8 | -1 | -42.1 | 0 | 0
08:45 - 09:00 | -9.5 | 1.92 | 22.08 | -61.9 | -175 | 0 | 0 | -3.9 | 0 | -8 | -1 | -42.1 | 0 | 0
09:00 - 09:15 | -9.5 | 1.92 | 22.08 | 0 | -400 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
09:15 - 09:30 | -9.5 | 1.92 | 22.08 | 0 | -397.76 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
09:30 - 09:45 | -9.5 | 1.92 | 22.08 | 0 | -325 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
09:45 - 10:00 | -9.5 | 1.92 | 22.08 | 0 | -325 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
10:00 - 10:15 | -9.5 | 1.92 | 22.08 | 0 | -350 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
10:15 - 10:30 | -9.5 | 1.92 | 22.08 | 0 | -395.44 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
10:30 - 10:45 | -9.5 | 1.92 | 22.08 | 0 | -350 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
10:45 - 11:00 | -9.5 | 1.92 | 22.08 | 0 | -350 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
11:00 - 11:15 | -9.5 | 1.92 | 22.08 | 0 | -400 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
11:15 - 11:30 | -9.5 | 1.92 | 22.08 | 0 | -466.51 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
11:30 - 11:45 | -9.5 | 1.92 | 22.08 | 0 | -400 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
11:45 - 12:00 | -9.5 | 1.92 | 22.08 | 0 | -400 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
12:00 - 12:15 | -9.5 | 1.92 | 22.08 | 0 | -450 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
12:15 - 12:30 | -9.5 | 1.92 | 22.08 | 0 | -450 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
12:30 - 12:45 | -9.5 | 1.92 | 22.08 | 0 | -450 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
12:45 - 13:00 | -9.5 | 1.92 | 22.08 | 0 | -450 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
13:00 - 13:15 | -9.5 | 1.92 | 22.08 | 0 | -625 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
13:15 - 13:30 | -9.5 | 1.92 | 22.08 | 0 | -625 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
13:30 - 13:45 | -9.5 | 1.92 | 22.08 | 0 | -625 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
13:45 - 14:00 | -9.5 | 1.92 | 22.08 | 0 | -625 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
14:00 - 14:15 | -9.5 | 1.92 | 22.08 | 0 | -725 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
14:15 - 14:30 | -9.5 | 1.92 | 22.08 | 0 | -725 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
14:30 - 14:45 | -9.5 | 1.92 | 22.08 | 0 | -725 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
14:45 - 15:00 | -9.5 | 1.92 | 22.08 | 0 | -725 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -11.5 | 0 | 0
15:00 - 15:15 | -9.5 | 1.92 | 22.08 | 0 | -700 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
15:15 - 15:30 | -9.5 | 1.92 | 22.08 | 0 | -745.54 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
15:30 - 15:45 | -9.5 | 1.92 | 22.08 | 0 | -775 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
15:45 - 16:00 | -9.5 | 1.92 | 22.08 | 0 | -775 | 3.07 | 0 | -3.9 | 0 | -5 | -1 | -42.1 | 0 | 0
16:00 - 16:15 | -9.5 | 0 | 0 | -61.9 | -675 | 0 | 0 | -3.7 | 0 | -5 | -1 | -42.1 | 0 | 0
16:15 - 16:30 | -9.5 | 0 | 0 | -61.9 | -825 | 0 | 0 | -3.7 | 0 | -5 | -1 | -42.1 | 0 | 0
16:30 - 16:45 | -9.5 | 0 | 0 | -61.9 | -875 | 0 | 0 | -3.7 | 0 | -5 | -1 | -42.1 | 0 | 0
16:45 - 17:00 | -9.5 | 0 | 0 | -61.9 | -625 | 0 | 0 | -3.7 | 0 | -5 | -1 | -42.1 | 0 | 0
17:00 - 17:15 | -9.5 | 0 | 0 | 0 | -350 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | 0
17:15 - 17:30 | -9.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | 0
17:30 - 17:45 | -9.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | -15.5
17:45 - 18:00 | -9.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | -13.6
18:00 - 18:15 | -9.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | -13.6
18:15 - 18:30 | -9.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | -14.6
18:30 - 18:45 | -9.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | -16.5
18:45 - 19:00 | -9.5 | 0 | 0 | 0 | -50 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | -16.5
19:00 - 19:15 | -9.5 | 0 | 0 | 0 | -50 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | 0
19:15 - 19:30 | -9.5 | 0 | 0 | 0 | -100 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | 0
19:30 - 19:45 | -9.5 | 0 | 0 | 0 | -300 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | 0
19:45 - 20:00 | -9.5 | 0 | 0 | 0 | -300 | 0 | 0 | -3.7 | 0 | -8 | -1 | 0 | 0 | 0
20:00 - 20:15 | -9.5 | 0 | 0 | 0 | -300 | 0 | 0 | -3.7 | 0 | -4 | -1 | 0 | 0 | 0
20:15 - 20:30 | -9.5 | 0 | 0 | 0 | -400 | 0 | 0 | -3.7 | 0 | -4 | -1 | 0 | 0 | 0
20:30 - 20:45 | -9.5 | 0 | 0 | 0 | -400 | 0 | 0 | -3.7 | 0 | -4 | -1 | 0 | 0 | 0
20:45 - 21:00 | -9.5 | 0 | 0 | 0 | -400 | 0 | 0 | -3.7 | 0 | -4 | -1 | 0 | 0 | 0
21:00 - 21:15 | -9.5 | 0 | 0 | 0 | -275 | 0 | 0 | -3.7 | 0 | -4 | -1 | 0 | 0 | 0
21:15 - 21:30 | -9.5 | 0 | 0 | 0 | -275 | 0 | 0 | -3.7 | 0 | -4 | -1 | 0 | 0 | 0
21:30 - 21:45 | -9.5 | 0 | 0 | 0 | -248.62 | 0 | 0 | -3.7 | 0 | -4 | -1 | 0 | 0 | 0
21:45 - 22:00 | -9.5 | 0 | 0 | 0 | -175 | 0 | 0 | -3.7 | 0 | -4 | -1 | 0 | 0 | 0
22:00 - 22:15 | -9.5 | 0 | 0 | 0 | -350 | 5.28 | 0 | -3.7 | 0 | -4 | -1 | 0 | 102.7 | 0
22:15 - 22:30 | -9.5 | 0 | 0 | 0 | -350 | 5.28 | 0 | -3.7 | 0 | -4 | -1 | 0 | 103.66 | 0
22:30 - 22:45 | -9.5 | 0 | 0 | 0 | -350 | 5.28 | 0 | -3.7 | 0 | -4 | -1 | 0 | 102.7 | 0
22:45 - 23:00 | -9.5 | 0 | 0 | 0 | -350 | 5.28 | 0 | -3.7 | 0 | -4 | -1 | 0 | 103.66 | 0
23:00 - 23:15 | -9.5 | 0 | 0 | 0 | -500 | 5.28 | 0 | -3.7 | 0 | -4 | -1 | -11.5 | 0 | 0
23:15 - 23:30 | -9.5 | 0 | 0 | 0 | -500 | 5.28 | 0 | -3.7 | 0 | -4 | -1 | -11.5 | 0 | 0
23:30 - 23:45 | -9.5 | 0 | 0 | 0 | -500 | 5.28 | 0 | -3.7 | 0 | -4 | -1 | -11.5 | 0 | 0
23:45 - 24:00 | -9.5 | 0 | 0 | 0 | -500 | 5.28 | 16.22 | -3.7 | 0 | -4 | -1 | -11.5 | 0 | 0
Average | -9.5 | 0.64 | 14.7183 | -10.3167 | -467.3523 | 2.6554 | 0.16896 | -3.8125 | 0.10198 | -5.1667 | -1 | -14.0417 | 8.9107 | -2.224

## RTM
RTM TRADING DETAILS FOR DT: 15.12.2025
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Beekay_Steel_Industries_Ltd | Crackers_India_Alloys_Limited | Fap_Jajpur_M/S_Tata_Steel_Limited | Ferro_Alloys_Corporation_Limited | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | KJS_Ahluwalia_(Steel_&_Power_Division) | Linde_India_Limited | MGM_Green_Energy_Ltd | MSP_Metallics_Limited_IPC | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Bharat_Ventures_Ltd_Odisha_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Thakur_Prasad_Sao_And_Sons_Private_Limited_Unit_IV | The_Ramco_Cements_Limited_Odisha | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | 0 | 6.72 | 0 | 3.84 | 0 | 23.98 | 0 | 0 | -197.27 | 5.76 | 0 | 0 | 22.08 | 0 | 4.8 | 0 | 0 | -0.7 | -15.5 | 9.6 | 0.38 | 2.88 | 0 | 0 | 17.28 | -4 | -30 | 0 | 0 | 9.6 | 0
00:15 - 00:30 | 0 | 6.72 | 0 | 3.84 | 0 | 23.98 | 0 | 0 | -317.45 | 5.76 | 0 | 0 | 22.08 | 0 | 4.8 | 0 | 0 | -0.7 | 0 | 9.6 | 0.38 | 2.88 | 0 | 0 | 17.28 | -4 | 0 | 0 | 0 | 9.6 | 0
00:30 - 00:45 | 0 | 4.32 | 0 | 3.84 | 0 | 23.98 | 0 | 0 | -447.77 | 5.76 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | -0.7 | 0 | 9.6 | 0.38 | 2.88 | 0 | 0 | 17.28 | -4 | 0 | 0 | -5.3 | 9.6 | 0
00:45 - 01:00 | 0 | 6.72 | 0 | 3.84 | -1.3 | 23.98 | 0 | 0 | -453.49 | 5.76 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | -0.7 | 0 | 9.6 | 0.38 | 2.88 | 0 | 0 | 17.28 | -4 | -30 | 0 | -5.3 | 9.6 | 0
01:00 - 01:15 | 0 | 6.72 | 0 | 3.84 | 0 | 23.98 | 0 | 0 | -362.36 | 5.76 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | -0.7 | 0 | 9.6 | 0.38 | 2.88 | 0 | 0 | 17.28 | -4 | -30 | 9.6 | -5.3 | 9.6 | -7
01:15 - 01:30 | 0 | 6.72 | 0 | 3.84 | 0 | 23.98 | 0 | 0 | -345.04 | 5.76 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | -0.7 | 0 | 9.6 | 0.38 | 2.88 | 0 | 0 | 17.28 | -4 | -30 | 9.6 | -5.3 | 9.6 | -7
01:30 - 01:45 | 0 | -10 | 0 | 3.84 | 0 | 24 | 0 | 0 | -410.73 | 5.76 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.38 | 2.88 | 0 | 0 | 17.28 | -2 | -20 | 55.65 | -5.3 | 9.6 | -7
01:45 - 02:00 | 0 | 4.32 | 0 | 3.84 | 0 | 24 | 0 | 0 | -359.95 | 5.76 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.38 | 2.88 | 0 | 0 | 17.28 | -2 | 0 | 55.65 | -5.3 | 9.6 | -7
02:00 - 02:15 | 0 | 6.72 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -338.65 | 4.8 | 0 | 0 | 22.08 | 0 | 4.8 | 0 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 17.28 | -2 | -10 | 55.65 | -5.3 | 9.6 | -7
02:15 - 02:30 | 0 | 6.72 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -338.61 | 4.8 | 0 | 0 | 22.08 | 0 | 4.8 | 0 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 17.28 | -2 | -35 | 55.65 | -5.3 | 9.6 | -7
02:30 - 02:45 | 0 | 4.32 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -402.18 | 4.8 | 0 | 0 | 22.08 | 0 | 4.8 | 0 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 11.52 | -2 | -35 | 55.65 | -5.3 | 9.6 | -7
02:45 - 03:00 | 0 | 6.72 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -402.28 | 4.8 | 0 | 0 | 22.08 | 0 | 4.8 | 0 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 11.52 | -2 | -35 | 55.65 | -5.3 | 9.6 | -7
03:00 - 03:15 | 0 | 6.72 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -317.56 | 4.8 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 11.52 | -2 | -35 | 62.37 | -5.3 | 9.6 | -7
03:15 - 03:30 | 0 | -5 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -317.58 | 4.8 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 11.52 | -2 | -10 | 62.37 | -5.3 | 9.6 | -7
03:30 - 03:45 | 0 | 4.8 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -413.23 | 4.8 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 11.52 | 0 | 0 | 62.37 | -5.3 | 9.6 | -7
03:45 - 04:00 | 0 | 7.68 | -0.4 | 3.84 | -1.4 | 24 | 0 | 0 | -427.52 | 4.8 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 11.52 | 0 | -10 | 62.37 | -5.3 | 9.6 | -7
04:00 - 04:15 | 0 | 7.68 | -0.4 | 3.84 | -1.4 | 24 | 0 | 0 | -437.55 | 3.84 | 0 | 0 | 0 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 11.52 | 0 | -35 | 71.97 | -5.3 | 9.6 | -7
04:15 - 04:30 | 0 | 5.28 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -413.26 | 3.84 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | -2 | 11.52 | 0 | -35 | 71.97 | -5.3 | 9.6 | -7
04:30 - 04:45 | 0 | 7.68 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -241.9 | 3.84 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | 0 | 11.52 | 0 | -30 | 71.97 | -5.3 | 9.6 | -7
04:45 - 05:00 | 0 | 7.68 | -0.4 | 3.84 | 0 | 24 | 0 | 0 | -243.06 | 3.84 | 0 | 0 | 22.08 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0.19 | 2.88 | 0 | 0 | 11.52 | 0 | -30 | 78.68 | -5.3 | 9.6 | -7
05:00 - 05:15 | 0 | 7.68 | -0.4 | 3.84 | -1.4 | 24 | 0 | 0 | -180.34 | 3.84 | 0 | 0 | 0 | 0 | 4.8 | 4.8 | 0 | 0 | 0 | 9.6 | 0 | 2.88 | 0 | 0 | 11.52 | 0 | 0 | 78.69 | -5.3 | 9.6 | -7
05:15 - 05:30 | 0 | 7.68 | -0.4 | 3.84 | -1.4 | 24 | 0 | 0 | -212.51 | 3.84 | 0 | 0 | 0 | 0 | 4.8 | 0 | 0 | 0 | 0 | 9.6 | 0 | 2.88 | 0 | 0 | 11.52 | 0 | 0 | 78.69 | -5.3 | 9.6 | -7
05:30 - 05:45 | 0 | 6.72 | -0.8 | 3.84 | -1.4 | 24 | 0 | 0 | -220.77 | 3.84 | 0 | 0 | 0 | 0 | 4.8 | 0 | 0 | 0 | 0 | 9.6 | 0 | 3.36 | 0 | 0 | 11.52 | 0 | -30 | 78.69 | -5.3 | 9.6 | -7
05:45 - 06:00 | 0 | -10 | -0.8 | 0 | -1.4 | 24 | 0 | 0 | -223.03 | 3.84 | 0 | 0 | 0 | 0 | 4.8 | 0 | 0 | 0 | -15.5 | 9.6 | 0 | 3.36 | 0 | 0 | 0 | 0 | -35 | 86.37 | -5.3 | 9.6 | -7
06:00 - 06:15 | 0 | 7.68 | -0.8 | 0 | -1.4 | 24 | 0 | 0 | -301.25 | 3.84 | 0 | 0 | 0 | 0 | 4.8 | 0 | -2 | 0 | 0 | 0 | 0 | 3.36 | 0 | 0 | 0 | 0 | -40 | 86.37 | -5.3 | 0 | -7
06:15 - 06:30 | 0 | 7.68 | -0.8 | 0 | -1.4 | 15.33 | 0 | 0 | -320.03 | 3.84 | 0 | 0 | 0 | 0 | 3.06 | 0 | -2 | 0 | 0 | 0 | 0 | 3.36 | 0 | 0 | 0 | 0 | -35 | 86.38 | -5.3 | 0 | -7
06:30 - 06:45 | 0 | 7.68 | -0.8 | 0 | -1.4 | 0 | 0 | 0 | -277.85 | 3.84 | 0 | 0 | 0 | -0.1 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 86.38 | -5.3 | 0 | -7
06:45 - 07:00 | 0 | 7.68 | -0.8 | 0 | -1.4 | 0 | 0 | 0 | -302.3 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -2 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3 | 0 | -7
07:00 - 07:15 | 0 | 7.68 | -0.4 | 0 | -1.4 | 0 | 0 | 0 | -303.84 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -6 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3 | 0 | -7
07:15 - 07:30 | 0 | 7.68 | -0.4 | 0 | -1.4 | 0 | 0 | 0 | -306.25 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | -6 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | -5.3 | 0 | -7
07:30 - 07:45 | 0 | -10 | -0.4 | 0 | -1.4 | 0 | 0 | 0 | -254.77 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -6 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | -2 | -42 | 0 | -5.3 | 0 | -7
07:45 - 08:00 | 0 | 4.8 | -0.4 | 0 | -1.4 | 0 | 0 | 0 | -336.1 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | -6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | -42 | 0 | -5.3 | 0 | -7
08:00 - 08:15 | 0 | 7.2 | -0.4 | 0 | -1.2 | 0 | 0 | 0 | -376.03 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | -45 | 0 | -5.3 | 0 | -7
08:15 - 08:30 | 0 | 7.2 | -0.4 | 0 | -1.2 | 0 | 0 | 0 | -330.03 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -45 | 0 | -5.3 | 0 | -7
08:30 - 08:45 | 0 | 5.28 | -0.4 | 0 | -1.2 | 0 | 0 | 0 | -492.85 | 0 | 0 | 0 | 0 | -1.7 | 0 | 0 | -6 | 0 | 0 | 0 | -3.4 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -5.3 | 0 | -7
08:45 - 09:00 | 0 | 7.2 | -0.4 | 0 | -1.2 | 0 | 0 | 0 | -660.11 | 2.88 | 0 | 0 | 0 | -2 | 0 | 0 | -6 | 0 | 0 | 0 | -3.8 | 0 | 0 | 0 | 0 | -2 | 0 | 47.99 | -5.3 | 0 | -7
09:00 - 09:15 | 0 | 7.2 | -0.4 | 0 | -1.3 | 0 | 0 | -61.9 | -429.55 | 0 | 0 | 0 | 0 | -2.1 | 0 | 0 | -2 | 0 | 0 | 0 | -4.1 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | -5.3 | 0 | -7
09:15 - 09:30 | 0 | -7 | -0.4 | 0 | -1.3 | 0 | 0 | -61.9 | -425.01 | 1.79 | 0 | 0 | 0 | -2.3 | 0 | 0 | -2 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | -2 | -42 | 0 | -5.3 | 0 | -7
09:30 - 09:45 | 0 | 4.8 | -0.4 | 0 | -1.3 | 0 | 0 | -61.9 | -527.07 | 0 | 0 | 0 | 0 | -2.6 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -42 | 0 | -5.3 | 0 | -7
09:45 - 10:00 | 0 | 7.2 | -0.4 | 0 | -1.3 | 0 | 0 | -61.9 | -529.42 | 0 | 0 | 0 | 0 | -3.1 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -42 | 0 | -5.3 | 0 | -7
10:00 - 10:15 | 0 | 7.2 | -0.4 | 0 | -1.4 | 0 | 0 | -61.9 | -500.7 | 0 | 0 | 0 | 0 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -15 | 0 | -5.3 | 0 | 0
10:15 - 10:30 | 0 | 7.2 | -0.4 | 0 | -1.4 | 0 | 0 | -61.9 | -500.7 | 0 | 0 | 0 | 0 | -3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -5.3 | 0 | 0
10:30 - 10:45 | 0 | 7.2 | -0.4 | 0 | -1.4 | 0 | 0 | 0 | -749.53 | 2.4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3 | 0 | 0
10:45 - 11:00 | 0 | 7.2 | -0.4 | 0 | -1.4 | 0 | 0 | 0 | -786.02 | 2.4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.59 | -5.3 | 0 | 0
11:00 - 11:15 | 0 | -7 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -835.51 | 0.96 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15.5 | 0 | 0 | 3.36 | 0 | 0 | 17.28 | -4 | -42 | 57.58 | -5.3 | 9.6 | 0
11:15 - 11:30 | 0 | 7.2 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -830.02 | 0.96 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.36 | 0 | 0 | 17.28 | -4 | -42 | 57.58 | -5.3 | 9.6 | 0
11:30 - 11:45 | 0 | 7.2 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -853.27 | 0.96 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.36 | 0 | 6.72 | 17.28 | -4 | -45 | 57.58 | -5.2 | 9.6 | 0
11:45 - 12:00 | 0 | 7.2 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -905.25 | 0.96 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.36 | 0 | 6.72 | 17.28 | -4 | -10 | 57.58 | -5.2 | 9.6 | 0
12:00 - 12:15 | 0 | 7.68 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -748.32 | 0.96 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.36 | 0 | 6.72 | 17.28 | -6 | 0 | 57.58 | -5 | 9.6 | 0
12:15 - 12:30 | 0 | 7.68 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -775.25 | 0.96 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.36 | 0 | 6.72 | 17.28 | -6 | -40 | 57.58 | -5 | 9.6 | 0
12:30 - 12:45 | 0 | 7.68 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -850 | 0.96 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.36 | 0 | 6.72 | 11.52 | -16 | 67.17 | 57.59 | -5.3 | 4.8 | 0
12:45 - 13:00 | 0 | -7 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -877.51 | 0.96 | 0 | 0 | 0 | -2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.36 | 0 | 6.72 | 11.52 | -16 | 67.18 | 57.59 | -5.3 | 4.8 | 0
13:00 - 13:15 | 0 | 7.68 | -0.4 | 3.84 | 0 | 4.8 | 0 | 0 | -674.07 | 0.96 | 0 | 0 | 11.71 | -2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3 | 3.36 | 0 | 6.72 | 11.52 | -16 | -30 | 28.79 | -5.3 | 4.8 | 0
13:15 - 13:30 | 0 | 7.68 | -0.4 | 3.84 | 0 | 4.8 | 0 | 0 | -571.78 | 0.96 | 0 | 0 | 11.71 | -2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5 | 3.36 | 0 | 6.72 | 11.52 | -16 | -20 | 28.78 | -5.3 | 4.8 | 0
13:30 - 13:45 | 0 | 7.68 | -0.4 | 3.84 | 0 | 4.8 | 0 | 0 | -718.29 | 0.96 | 0 | 0 | 11.71 | -2.7 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6 | 3.36 | 0 | 6.72 | 11.52 | -16 | -30 | 28.78 | -5.3 | 4.8 | 0
13:45 - 14:00 | 0 | 7.68 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -836.72 | 0.96 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8 | 3.36 | 0 | 6.72 | 11.52 | -16 | -15 | 28.78 | -5.3 | 4.8 | 0
14:00 - 14:15 | 0 | 7.68 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -748.33 | 0.96 | 0 | 0 | 0 | -2.1 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6 | 3.36 | -5 | 6.72 | 11.52 | -16 | -40 | 19.19 | -5.3 | 4.8 | 0
14:15 - 14:30 | 0 | 7.68 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -680.25 | 0.96 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -4.3 | 3.36 | -5 | 6.72 | 11.52 | -16 | -40 | 19.19 | -5.3 | 4.8 | 0
14:30 - 14:45 | 0 | 5.76 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -756.3 | 0.96 | 0 | 0 | 0 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | -3.9 | 3.36 | -5 | 6.72 | 11.52 | -16 | -40 | 33.59 | -5.3 | 0.48 | 0
14:45 - 15:00 | 0 | -7 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -819.83 | 0.96 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -15.5 | 0 | -3.6 | 3.36 | -5 | 6.72 | 11.52 | -16 | -40 | 33.59 | -5.3 | 0.48 | 0
15:00 - 15:15 | -0.2 | 7.68 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -740 | 1.92 | 0 | 0 | 0 | -1.1 | 0 | 4.8 | 0 | 0 | 0 | 0 | -3.1 | 3.36 | -5 | 6.72 | 11.52 | -2 | -10 | 23.99 | -5.3 | 0.48 | 0
15:15 - 15:30 | -0.2 | 7.68 | -0.4 | 3.84 | -1.5 | 4.8 | 0 | 0 | -746.55 | 1.92 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7 | 3.36 | -5 | 6.72 | 11.52 | -2 | 0 | 14.39 | -5.3 | 0.48 | 0
15:30 - 15:45 | -0.2 | 5.76 | -0.4 | 3.84 | -1.6 | 0 | 0 | 0 | -763.72 | 1.92 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2 | 3.36 | -5 | 6.72 | 11.52 | -2 | -20 | 14.39 | -5.3 | 0.48 | 0
15:45 - 16:00 | -0.2 | 7.68 | -0.4 | 0 | -1.6 | 0 | 0 | 0 | -780.88 | 1.92 | -30 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3 | 0 | -5 | 6.72 | 0 | -2 | -55 | 14.39 | -5.3 | 0 | 0
16:00 - 16:15 | -0.2 | 7.68 | -0.7 | 0 | -1.6 | 0 | 19.19 | 0 | -599.8 | 1.92 | 0 | 0 | 0 | -0.1 | 0 | 0 | -2 | 0 | 0 | 0 | -0.9 | 3.36 | -5 | 6.72 | 0 | -2 | -70 | 0 | -5.3 | 0.48 | 0
16:15 - 16:30 | -0.2 | 4.32 | -0.7 | 0 | -1.6 | 0 | 19.19 | 0 | -620.5 | 1.92 | -30 | 0 | 0 | -0.1 | 0 | 0 | -2 | 0 | 0 | 0 | -0.5 | 0 | -5 | 6.72 | 0 | -2 | -70 | 19.2 | -5.3 | 0 | 0
16:30 - 16:45 | -0.2 | -7 | -0.7 | 0 | -1.6 | 0 | 19.2 | 0 | -486.08 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -0.1 | 0 | -5 | 0 | 0 | -2 | -40 | 0 | -5.3 | 0 | 0
16:45 - 17:00 | -0.2 | 7.68 | -0.7 | 0 | -1.6 | 0 | 19.19 | 0 | -594.12 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | -5.3 | 0 | 0
17:00 - 17:15 | -0.2 | -9 | -0.7 | 0 | -1.7 | 0 | 19.2 | 0 | -405.01 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -40 | 0 | -5.4 | 0 | 0
17:15 - 17:30 | -0.2 | -9 | -0.7 | 0 | -1.7 | 0 | 19.2 | 0 | -425.01 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -60 | 0 | -5.4 | 0 | 0
17:30 - 17:45 | -0.2 | -9 | -0.7 | 0 | -1.7 | 0 | 10.5 | 0 | -200 | 0 | -70 | -8 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -5.4 | 0 | 0
17:45 - 18:00 | -0.2 | -9 | -0.7 | 0 | -1.7 | 0 | 5.52 | 0 | -200 | 0 | -70 | -8 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -5.4 | 0 | 0
18:00 - 18:15 | -0.2 | -9 | -0.7 | 0 | -1.7 | 0 | 3.32 | 0 | -300 | 0 | -70 | -8 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -5.4 | 0 | 0
18:15 - 18:30 | -0.2 | -9 | -0.7 | 0 | -1.7 | 0 | 3.52 | 0 | -300 | 0 | -70 | -8 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -5.4 | 0 | 0
18:30 - 18:45 | -0.2 | -9 | -0.7 | 0 | -1.7 | 0 | 7.8 | 0 | -500 | 0 | -70 | -8 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -50 | 0 | -5.4 | 0 | 0
18:45 - 19:00 | -0.2 | -9 | -0.7 | 0 | -1.7 | 0 | 17.31 | 0 | -575 | 0 | -70 | -8 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -50 | 0 | -5.4 | 0 | 0
19:00 - 19:15 | -0.2 | -11 | -0.7 | 0 | -1.7 | 0 | 19.2 | 0 | -653.35 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | -5.4 | 0 | 0
19:15 - 19:30 | -0.2 | -11 | -0.7 | 0 | -1.7 | 0 | 19.2 | 0 | -658.34 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | -5.4 | 0 | 0
19:30 - 19:45 | -0.2 | 3.84 | -0.7 | 0 | -1.6 | 0 | 19.2 | 0 | -499.51 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3 | 0 | 0
19:45 - 20:00 | -0.2 | 3.84 | -0.7 | 0 | -1.6 | 0 | 19.2 | 0 | -475.39 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.78 | -5.3 | 0 | 0
20:00 - 20:15 | -0.2 | 3.84 | -0.4 | 0 | -1.6 | 0 | 6.72 | 0 | -548.75 | 3.84 | -70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | -60 | 67.18 | -5.3 | 0 | 0
20:15 - 20:30 | -0.2 | 3.84 | -0.4 | 0 | -1.6 | 0 | 6.72 | 0 | -550.06 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 67.18 | -5.3 | 0 | 0
20:30 - 20:45 | -0.2 | 7.68 | -0.4 | 0 | -1.6 | 0 | 6.72 | 0 | -600 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 67.18 | -5.3 | 0 | 0
20:45 - 21:00 | -0.2 | 7.68 | -0.4 | 0 | -1.6 | 0 | 6.72 | 0 | -594.27 | 3.84 | -70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | -60 | 67.18 | -5.3 | 0 | 0
21:00 - 21:15 | -0.2 | -7 | -0.4 | 0 | -1.6 | 24 | 6.72 | 0 | -524.84 | 3.84 | 0 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 9.6 | 0 | 3.84 | 0 | 0 | 0 | 0 | 0 | 67.18 | -5.3 | 0.48 | 0
21:15 - 21:30 | -0.2 | 3.84 | -0.4 | 3.84 | -1.6 | 24 | 6.72 | 0 | -517.5 | 3.84 | 0 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 9.6 | 0 | 3.84 | 0 | 0 | 11.52 | 0 | 0 | 67.17 | -5.3 | 0.48 | 0
21:30 - 21:45 | -0.2 | 7.68 | -0.8 | 3.84 | -1.7 | 24 | 6.72 | 0 | -505.04 | 3.84 | 0 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 9.6 | 0 | 3.84 | 0 | 0 | 11.52 | 0 | -60 | 67.17 | -5.3 | 0.48 | 0
21:45 - 22:00 | -0.2 | 7.68 | -0.8 | 3.84 | -1.7 | 24 | 6.72 | 0 | -491.22 | 3.84 | 0 | 0 | 22.08 | 0 | 3.84 | 4.8 | 0 | 0 | 0 | 9.6 | 0 | 3.84 | 0 | 0 | 11.52 | 0 | -60 | 67.16 | -5.3 | 0.48 | 0
22:00 - 22:15 | -0.2 | 4.8 | -0.8 | 3.84 | -1.7 | 24 | 6.72 | 0 | -589.04 | 5.76 | 0 | 0 | 22.08 | 0 | 3.84 | 4.8 | 0 | 0 | 0 | 9.6 | 0.38 | 3.84 | 0 | 0 | 11.52 | -2 | -60 | 52.77 | -5.3 | 4.8 | -3
22:15 - 22:30 | -0.2 | 7.68 | -0.8 | 3.84 | -1.7 | 24 | 6.72 | 0 | -590.16 | 5.76 | 0 | 0 | 22.08 | 0 | 3.84 | 4.8 | 0 | 0 | 0 | 9.6 | 0 | 3.84 | 0 | 0 | 11.52 | -2 | -60 | 67.16 | -5.3 | 4.8 | -3
22:30 - 22:45 | -0.2 | 7.68 | -0.4 | 3.84 | -1.7 | 24 | 6.72 | 0 | -624.78 | 6.72 | 0 | 0 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 9.6 | 0 | 2.88 | 0 | 0 | 11.52 | -2 | 0 | 38.38 | -5.3 | 4.8 | -5
22:45 - 23:00 | -0.2 | -7 | -0.4 | 3.84 | -1.7 | 24 | 6.72 | 0 | -619.84 | 6.72 | 0 | 0 | 0 | 0 | 3.84 | 4.8 | 0 | 0 | 0 | 9.6 | 0 | 2.88 | 0 | 0 | 11.52 | -2 | 0 | 52.77 | -5.3 | 4.8 | -5
23:00 - 23:15 | -0.2 | 4.8 | -0.4 | 3.84 | -1.7 | 24 | 6.72 | 0 | -600.63 | 6.72 | 0 | 0 | 22.08 | 0 | 3.84 | 4.8 | 0 | 0 | -15.5 | 9.6 | 0.38 | 2.88 | 0 | 0 | 11.52 | -2 | -60 | 38.37 | -5.3 | 4.8 | -5
23:15 - 23:30 | -0.2 | 7.68 | -0.4 | 3.84 | -1.7 | 24 | 6.72 | 0 | -602.48 | 6.72 | 0 | 0 | 22.08 | 0 | 3.84 | 4.8 | 0 | 0 | 0 | 9.6 | 0.38 | 2.88 | 0 | 0 | 11.52 | -2 | -60 | 38.37 | -5.3 | 4.8 | -5
23:30 - 23:45 | -0.2 | 7.68 | -0.4 | 3.84 | 0 | 24 | 6.72 | 0 | -598.49 | 6.72 | 0 | 0 | 22.08 | 0 | 3.84 | 4.8 | 0 | 0 | 0 | 9.6 | 0.38 | 2.88 | 0 | -3 | 11.52 | -2 | -60 | 38.37 | -5.3 | 4.8 | -3.5
23:45 - 24:00 | -0.2 | 4.8 | -0.4 | 3.84 | 0 | 24 | 6.72 | 0 | -590.38 | 6.72 | 0 | 0 | 5.85 | 0 | 3.84 | 4.8 | 0 | 0 | 0 | 9.6 | 0.38 | 2.88 | 0 | -3 | 11.52 | -2 | -60 | 38.38 | -5.3 | 4.8 | -3.5
Average | -0.075 | 3.3758 | -0.45833 | 2.12 | -1.1667 | 10.3084 | 3.6194 | -3.8687 | -509.2181 | 2.4786 | -13.5417 | -0.5 | 6.1769 | -0.79792 | 1.7619 | 1.2 | -1.3333 | -0.04375 | -0.80729 | 3.6 | -0.47167 | 2 | -1.0417 | 1.1292 | 7.32 | -2.9583 | -26.6109 | 34.4456 | -5.1917 | 3.85 | -2.9688

## GDAM
GDAM TRADING DETAILS FOR DT: 15.12.2025
Time Period | Emami_Paper_Mills_Ltd_Balasore_Odisha | Fap_Jajpur_M/S_Tata_Steel_Limited | Linde_India_Limited | MSP_Metallics_Limited_IPC | MSP_Sponge_Iron_Limited_Odisha | Neelachal_Ispat_Nigam_Limited | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 105.58
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 105.58
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 105.58
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 109.42
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 109.42
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 17.73 | 67.37
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 16.27 | 61.82
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 15.87 | 60.28
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 11.32 | 43.01
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 9.91 | 37.68
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 8.11 | 30.83
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 5.72 | 21.72
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.29
09:00 - 09:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.15
09:15 - 09:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.39
09:30 - 09:45 | 1.54 | 19.2 | 0 | 4.8 | 0 | 3.2 | 0 | 35.5
09:45 - 10:00 | 1.54 | 19.2 | 0 | 4.8 | 0 | 0 | 0 | 31.66
10:00 - 10:15 | 1.54 | 19.2 | 0 | 4.8 | 0 | 7.8 | 0 | 27.83
10:15 - 10:30 | 1.54 | 19.2 | 0 | 4.8 | 0 | 6.02 | 0 | 25.9
10:30 - 10:45 | 1.54 | 19.2 | 0 | 4.8 | 0 | 6.21 | 28.78 | 24
10:45 - 11:00 | 1.54 | 19.2 | 0 | 4.8 | 0 | 8.05 | 28.78 | 21.12
11:00 - 11:15 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 28.78 | 19.2
11:15 - 11:30 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 28.78 | 18.24
11:30 - 11:45 | 1.54 | 19.2 | 0 | 4.8 | 0 | 6.54 | 28.78 | 16.32
11:45 - 12:00 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 28.78 | 17.28
12:00 - 12:15 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 28.78 | 17.28
12:15 - 12:30 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 28.78 | 17.28
12:30 - 12:45 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 28.78 | 16.32
12:45 - 13:00 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 28.78 | 16.32
13:00 - 13:15 | 1.54 | 19.2 | 0 | 4.8 | 4.8 | 9.6 | 28.78 | 16.32
13:15 - 13:30 | 1.54 | 19.2 | 0 | 4.8 | 4.8 | 9.6 | 28.78 | 18.24
13:30 - 13:45 | 1.54 | 19.2 | 0 | 4.8 | 4.8 | 9.6 | 28.78 | 19.2
13:45 - 14:00 | 1.54 | 19.2 | 0 | 4.8 | 4.8 | 9.6 | 28.78 | 17.28
14:00 - 14:15 | 1.54 | 19.2 | 11.71 | 4.8 | 4.8 | 9.6 | 28.78 | 22.08
14:15 - 14:30 | 1.54 | 19.2 | 11.71 | 4.8 | 4.8 | 9.6 | 28.79 | 24.95
14:30 - 14:45 | 1.54 | 19.2 | 0 | 4.8 | 4.8 | 9.6 | 0 | 27.82
14:45 - 15:00 | 1.54 | 19.2 | 0 | 4.8 | 4.8 | 9.6 | 0 | 30.7
15:00 - 15:15 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 0 | 36.46
15:15 - 15:30 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 0 | 38.38
15:30 - 15:45 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 0 | 44.14
15:45 - 16:00 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 0 | 51.82
16:00 - 16:15 | 1.54 | 19.2 | 0 | 4.8 | 0 | 9.6 | 28.79 | 60.46
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 12.48 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 27.64 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 12.29 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 102.7
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 103.66
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 28.79 | 104.62
Average | 0.43312 | 5.4 | 0.24396 | 1.35 | 0.4 | 2.394 | 12.5252 | 33.7096