## POWER STATUS
POWER STATUS ON DT 23.03.2026
[9 empty] | 2026-03-23 | 2026-03-22
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 4741.4592 | 5208.7365
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 35.75 | 0.858 | 630/590 ft | 616.87 | 617.31 | 617.15 | -2.7756e-15 | 149.942
| Chiplima | 72(3x24) | 5.583 | 0.13399 | - |  |  |  | 26.1849 | 0
| Balimela | 510(6x60+2x75) | 152.792 | 3.667 | 1516/1440 ft | 1476.6 | 1492.8 | 1492.5 | 59.5085 | 379.5302
| Rengali | 250(5x50) | 69.9417 | 1.6786 | 123.5/109.75 mt | 115.66 | 117.29 | 117.22 | -5.6621e-15 | 182.1652
| Upper Kolab | 320(4x80) | 99.46 | 2.387 | 858/844 mt | 850.55 | 852.04 | 852 | 79.6375 | 230.8117
| Upper Indravati | 600(4x150) | 254.125 | 6.099 | 642/625 mt | 631.3 | 636.12 | 636.05 | 146.7685 | 97.125
| Machkund | 60(50% of(3x17+3x23)) | 55.208 | 1.325 | 2750/2685 ft | 2736.95 | 2727.95 | 2727.7 | 54.7451 | 55.3723
| Total Hydro | 2099.5 | 672.8597 | 16.1486 |  |  |  |  | 366.8445 | 1094.9463
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1253.381 | 30.0811 | RENEWABLE ENERGY (RE) |  |  |  | 1329.7845 | 1336.0109
|  |  | 1441.2 |  | M.Hydl | 46.9743
| Total Thermal | 2200 | 1253.381 | 30.0811 | Solar | 112.2001 |  |  | 1329.7845 | 1336.0109
IPP | VEDANTA #2 | 600 (1x600) | 305.542 | 7.333 | Total IPPs | Yesterday's Demand Profile |  |  | 326.0938 | 327.6758
| GMR #3 | 350 (1x350) | 277.8183 | 6.6676 | 683.3312 |  | MW | HRS | 232.5735 | 331.7039
| NBVL(IPP) | 60(1x60) | 52.1213 | 1.2509 |  |  |  |  | 54.4232 | 54.9782
| MDTPC |  | 47.8496 | 1.1484 |  |  |  |  | 46.1672 | 60.0615
| CGPs |  | 709.7243 | 17.0334 | IPPs, CGPs & RE | Maximum | 5209 | 21:00 | 1596.2616 | 1661.4711
| Central Sector(Drawl) |  | 1180.7099 | 28.337 | 1552.2298 | Minimum | 4239 | 14:00 | 1448.5686 | 1116.3082
| Central Sector(Sch) |  | 1200.9814 | 28.8236 |  | Average | 4659.1804 |  | 1405.2098 | 1048.46
| Grand Total |  | 4659.1804 | 111.8203 | Instantaneous Peak demand |  | 5453 | 20:41 | 4741.4592 | 5208.7365
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7,3 | IbTPS / OPGC | 1,2 |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | 6 | TPCODL | 1403.7299 | 33.6895 | 1338.9285 | 32.1343 | 1438.9929 | 34.5358
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1513.6417 | 36.3274 | 1513.4909 | 36.3238 | 1514.8394 | 36.3561
Rengali | 3 | TSTPP St-II | NIL | TPNODL | 1115.9161 | 26.782 | 1102.981 | 26.4715 | 1034.3754 | 24.825
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 563.1871 | 13.5165 | 563.8945 | 13.5335 | 572.6166 | 13.7428
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 4596.4749 | 110.3154 | 4519.295 | 108.4631 | 4560.8243 | 109.4598
Machhkund | NIL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 203.927 | GMR |  |  |  | 326.0938
| NBVL #3 | 54 | MDTPC |  |  |  | 40
Mini Hydel: | MEENAKSHI | 18 | OPCL |  |  |  | 8.8178
| BTPL | -0.046488 | SAPTADHARA |  |  |  | 0
Solar: |  | 233 | KAKATIYA |  |  |  | 5.4238
CGPs : | JSPL (Angul) | 272.3963 | JSL(Duburi) |  |  |  | -110.5827
| ICCL | 32.103 | visa |  |  |  | -0.10299
| NALCO | 25.9692 | VAL (CGP) |  |  |  | 79.723
| RSP | -68.5018 | BSL(MMDL) |  |  |  | 43.298
| INDAL | 3.6368 | ADITYA ALUMINIUM |  |  |  | 58.4365
| NINL | -42.8744 | VAL CPP 400 kV |  |  |  | -337.8723
| NBVL | 54.2451 | Arati |  |  |  | 19.2383
| BPSL(JSG) | 0.6951 | BPPL |  |  |  | 58.4217
Return Banking Avg -: (MW) |  | 0
HYDRO AVERAGE GENERATION IN MW:-
2026-03-15 | 2026-03-16 | 2026-03-17 | 2026-03-18 | 2026-03-19 | 2026-03-20 | 2026-03-21 | 2026-03-22
594.463 | 651.76 | 736.038 | 714.75 | 749.832 | 624.37 | 693.084 | 672.8597
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.22.03.2026
(A) GNA |  |  | (C) TGNA
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | AEML | -16.42
ENVIROCARE_INFRA | DVC | -3.75 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3
FACORPOWER | CESC | -3 | DCBL_Rajgangpur | DALCEMKAR | -2.75
GMRKEL_STU | TNEB | -18 | DCBL_Rajgangpur | DCBLME | -10
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | DCBL_Rajgangpur | DCL_RCW | -3.75
MAADURGA_THERMAL | NPCL_UP | -19.36 | DCBL_Rajgangpur | Dalmia_Cem_Lanka | -0.83
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | Dalmia_Cem_Umrangshu | -1.12
FARIDABAD_SOLAR | ODISHA | 0 | GMRKEL_STU | TANGEDCO | -61
JSWEL_UTKAL | ODISHA | 51.62 | JPIPL | GOA_Beneficiary | -14
RAJ_SOLAR | ODISHA | 2.35 | NBVLIPP | TANGEDCO | -43
RAJ_SOLAR | ODISHA | 2.43 | OCL_IRON_STEEL | TANGEDCO | -54.29
|  |  | ORSISL | AEML | -3
(B) REMC |  |  | TIMES_STEEL | GOA_Beneficiary | -1.88
FROM | TO | RTC Avg (In MW) | VIRAJ_SEPL | TANGEDCO | -2.08
ACL_PSS4_KPS1_HS | ACCB | 1.89 | VIRAJ_SEPL | TANGEDCO | -7.92
AGE26AL_PSS6_KPS1_S | ODISHA | 35.72 | AIPL_UP | LINDEINDIA | 3.87
AP41PL_BHDL | ODISHA | 55.23 | JIPL | ODISHA | 114.62
AP43PL_BKN | ODISHA | 58.78 | NALCOAP | NACL_Odisha | 4.71
APSEZ_PSS3_KPS1_S | DHAMRAPORT | 0
ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.77
ARE55L_PSS3_KPS1_HW | DHAMRAPORT | 0.74
AWEK1L | ODISHA | 6.31
AWEK1L | ODISHA | 9.47
AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 8.87
AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 0
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 0
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 10.65
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 0
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 0
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 0
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 8.02
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 0
DADRI_SOLAR | ODISHA | 0.72
ENERSON_SOLAR_10MW | ODISHA | 1.79
GADAG_GreenInfra_W | ODISHA | 0.09
GADAG_Serentica3_S | VLSEZ | 26.79
GADAG_Serentica3_W | VLSEZ | 12.05
GIWEL_SECI_II_RE | ODISHA | 17.58
GPCL_SOLAR_10 | ODISHA | 2.1
GSECL_SOLAR | ODISHA | 2.42
IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.04
KARUR_TPVARDHAMAN_W | TSKPO | 37.18
Kurnool_Greenko_H_Inj | ADITYAAL | 0
Kurnool_Greenko_H_Inj | ADITYAAL | 0
Kurnool_Greenko_H_Inj | ADITYAAL | 0
NTPCRE1_SMND_BHJ2_W | ODISHA | 2.33
OKWPL_RE | ODISHA | 11.1
RWE_AP2_SECI_III | ODISHA | 9.01
RenewGreen_SLPR_HS | JSL_DUBURI | 1.6
TPSL_BKN2 | TSKPO | 0
TPSL_BKN2 | TSKPO | 0
Tuticorin_BETAMWIND | ODISHA | 7.89
XXPPL_FTG3 | ODISHA | 17.87
XXPPL_FTG3 | ODISHA | 0

## IEX
DAM TRADING DETAILS FOR DT :22.03.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Emami_Paper_Mills_Ltd_Balasore_Odisha | Envirocare_Infrasolution_Pvt_Ltd | GMR_Kamalanga_Energy_Ltd_(STU) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Cement_Ltd | Jindal_Steel_&_Power_Limited_Angul_Odisha | Linde_India_Limited | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited | Vedanta_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -8.2 | 0 | 0 | -0.9 | -600 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
00:15 - 00:30 | -8.2 | 0 | 0 | -0.9 | -600 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
00:30 - 00:45 | -8.2 | 0 | 0 | -0.9 | -600 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
00:45 - 01:00 | -8.2 | 0 | 0 | -0.9 | -600 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
01:00 - 01:15 | -8.2 | 0 | 0 | -0.9 | -775 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
01:15 - 01:30 | -8.2 | 0 | 0 | -0.9 | -775 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
01:30 - 01:45 | -8.2 | 0 | 0 | -0.9 | -775 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
01:45 - 02:00 | -8.2 | 0 | 0 | -0.9 | -775 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
02:00 - 02:15 | -8.2 | 0 | 0 | -0.9 | -775 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
02:15 - 02:30 | -8.2 | 0 | 0 | -0.9 | -775 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
02:30 - 02:45 | -8.2 | 0 | 0 | -0.9 | -775 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
02:45 - 03:00 | -8.2 | 0 | 0 | -0.9 | -775 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
03:00 - 03:15 | -8.2 | 0 | 0 | -0.9 | -825 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
03:15 - 03:30 | -8.2 | 0 | 0 | -0.9 | -825 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
03:30 - 03:45 | -8.2 | 0 | 0 | -0.9 | -825 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
03:45 - 04:00 | -8.2 | 0 | 0 | -0.9 | -825 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
04:00 - 04:15 | -8.2 | 0 | 0 | -0.9 | -825 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
04:15 - 04:30 | -8.2 | 0 | 0 | -0.9 | -825 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
04:30 - 04:45 | -8.2 | 0 | 0 | -0.9 | -825 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
04:45 - 05:00 | -8.2 | 0 | 0 | -0.9 | -825 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
05:00 - 05:15 | -8.2 | 0 | 0 | -0.9 | -950 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
05:15 - 05:30 | -8.2 | 0 | 0 | -0.9 | -950 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
05:30 - 05:45 | -8.2 | 0 | 0 | -0.9 | -950 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
05:45 - 06:00 | -8.2 | 0 | 0 | -0.9 | -950 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
06:00 - 06:15 | -8.2 | 0 | 0 | -0.9 | -1025 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
06:15 - 06:30 | -8.2 | 0 | 0 | -0.9 | -1025 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
06:30 - 06:45 | -8.2 | 0 | 0 | -0.9 | -1025 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
06:45 - 07:00 | -8.2 | 0 | 0 | -0.9 | -1025 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
07:00 - 07:15 | -8.2 | 0 | 0 | -0.9 | -1100 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
07:15 - 07:30 | -8.2 | 0 | 0 | -0.9 | -1100 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
07:30 - 07:45 | -8.2 | 0 | 0 | -0.9 | -1100 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
07:45 - 08:00 | -8.2 | 0 | 0 | -0.9 | -1100 | 0 | 0 | -120 | 0 | -2.1 | 0 | -1 | 6.69 | -6 | 0
08:00 - 08:15 | -8.2 | 3.82 | 9.55 | -0.9 | -755.5 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 6.69 | -6 | 171.94
08:15 - 08:30 | -8.2 | 3.82 | 9.55 | -0.9 | -625 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 6.69 | -6 | 0
08:30 - 08:45 | -8.2 | 3.82 | 9.55 | 0 | -625 | 0 | 5.25 | -120 | 25.98 | -2.1 | 0 | -1 | 6.69 | -6 | 0
08:45 - 09:00 | -8.2 | 3.82 | 9.56 | 0 | -625 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
09:00 - 09:15 | -8.2 | 3.82 | 9.56 | 0 | -375 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
09:15 - 09:30 | -8.2 | 3.82 | 9.56 | 0 | -375 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
09:30 - 09:45 | -8.2 | 3.82 | 9.56 | 0 | -375 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
09:45 - 10:00 | -8.2 | 3.82 | 9.56 | 0 | -333.89 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
10:00 - 10:15 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
10:15 - 10:30 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
10:30 - 10:45 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
10:45 - 11:00 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
11:00 - 11:15 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
11:15 - 11:30 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
11:30 - 11:45 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
11:45 - 12:00 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
12:00 - 12:15 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
12:15 - 12:30 | -8.2 | 3.82 | 9.55 | 0 | -125 | 12.33 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
12:30 - 12:45 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
12:45 - 13:00 | -8.2 | 3.82 | 9.55 | 0 | -125 | 12.33 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
13:00 - 13:15 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
13:15 - 13:30 | -8.2 | 3.82 | 9.55 | 0 | -125 | 12.42 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
13:30 - 13:45 | -8.2 | 3.82 | 9.55 | 0 | -125 | 14.91 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
13:45 - 14:00 | -8.2 | 3.82 | 9.55 | 0 | -125 | 12.52 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
14:00 - 14:15 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
14:15 - 14:30 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
14:30 - 14:45 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
14:45 - 15:00 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -2.1 | 0 | -1 | 0 | -6 | 0
15:00 - 15:15 | -8.2 | 3.82 | 9.56 | 0 | -125 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
15:15 - 15:30 | -8.2 | 3.82 | 9.56 | 0 | -193.23 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
15:30 - 15:45 | -8.2 | 3.82 | 9.56 | 0 | -275 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
15:45 - 16:00 | -8.2 | 3.82 | 9.56 | 0 | -431.71 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 0 | -6 | 0
16:00 - 16:15 | -8.2 | 3.82 | 9.56 | 0 | -625 | 0 | 5.25 | -120 | 0 | -1.9 | 9.55 | -1 | 0 | -6 | 0
16:15 - 16:30 | -8.2 | 3.82 | 9.55 | 0 | -625 | 0 | 5.25 | -120 | 16.44 | -1.9 | 9.55 | -1 | 0 | -6 | 0
16:30 - 16:45 | -8.2 | 3.82 | 9.55 | 0 | -625 | 0 | 5.25 | -120 | 16.44 | -1.9 | 9.55 | -1 | 0 | -6 | 0
16:45 - 17:00 | -8.2 | 3.82 | 9.55 | 0 | -625 | 0 | 5.25 | -120 | 16.44 | -1.9 | 0 | -1 | 0 | -6 | 0
17:00 - 17:15 | -8.2 | 3.82 | 0 | 0 | -625 | 0 | 5.25 | -120 | 36.3 | -1.9 | 9.55 | -1 | 6.69 | -1 | 0
17:15 - 17:30 | -8.2 | 3.82 | 0 | 0 | -625 | 0 | 5.25 | -120 | 36.3 | -1.9 | 9.55 | -1 | 6.69 | -1 | 174.42
17:30 - 17:45 | -8.2 | 3.82 | 0 | -0.9 | -625 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 201.55
17:45 - 18:00 | -8.2 | 3.82 | 0 | -0.9 | -700 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 205.37
18:00 - 18:15 | -8.2 | 3.82 | 0 | -0.9 | -525 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
18:15 - 18:30 | -8.2 | 0 | 0 | -0.9 | -350 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
18:30 - 18:45 | -8.2 | 0 | 0 | -0.9 | -275 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
18:45 - 19:00 | -8.2 | 0 | 0 | -0.9 | -275 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
19:00 - 19:15 | -8.2 | 0 | 0 | -0.9 | -275 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
19:15 - 19:30 | -8.2 | 0 | 0 | -0.9 | -275 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
19:30 - 19:45 | -8.2 | 0 | 0 | -0.9 | -275 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
19:45 - 20:00 | -8.2 | 0 | 0 | -0.9 | -275 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 0 | -1 | 0
20:00 - 20:15 | -8.2 | 3.82 | 0 | -0.9 | -400 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
20:15 - 20:30 | -8.2 | 3.82 | 0 | -0.9 | -400 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
20:30 - 20:45 | -8.2 | 3.82 | 0 | -0.9 | -400 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
20:45 - 21:00 | -8.2 | 0 | 0 | -0.9 | -400 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
21:00 - 21:15 | -8.2 | 0 | 0 | -0.9 | -400 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
21:15 - 21:30 | -8.2 | 0 | 0 | -0.9 | -400 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
21:30 - 21:45 | -8.2 | 0 | 0 | -0.9 | -400 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
21:45 - 22:00 | -8.2 | 0 | 0 | -0.9 | -400 | 0 | 0 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
22:00 - 22:15 | -8.2 | 3.82 | 0 | -0.9 | -450 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 175.76
22:15 - 22:30 | -8.2 | 3.82 | 0 | -0.9 | -450 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 0
22:30 - 22:45 | -8.2 | 3.82 | 0 | -0.9 | -450 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 115.87
22:45 - 23:00 | -8.2 | 3.82 | 0 | -0.9 | -450 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 175.76
23:00 - 23:15 | -8.2 | 3.82 | 0 | -0.9 | -450 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 175.76
23:15 - 23:30 | -8.2 | 3.82 | 0 | -0.9 | -450 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 175.76
23:30 - 23:45 | -8.2 | 3.82 | 0 | -0.9 | -450 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 175.76
23:45 - 24:00 | -8.2 | 3.82 | 0 | -0.9 | -450 | 0 | 5.25 | -120 | 0 | -1.9 | 0 | -1 | 6.69 | -1 | 175.76
Average | -8.2 | 2.0692 | 3.5839 | -0.5625 | -515.7743 | 0.67198 | 2.625 | -120 | 1.5406 | -1.9833 | 0.4974 | -1 | 1.8119 | -4.125 | 20.0386

## RTM
RTM TRADING DETAILS FOR DT: 22.03.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Beekay_Steel_Industries_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | Linde_India_Limited | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Neelachal_Ispat_Nigam_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -2.6 | 0 | 0 | 4.78 | 0 | -380 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -0.3 | 12.42 | -6 | -4 | 0 | 0 | 0 | -40 | 19.1 | 0 | -0.5
00:15 - 00:30 | -2.6 | 0 | 0 | 4.78 | 0 | -377.46 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -0.3 | 12.42 | -6 | -4 | 0 | 0 | 0 | 0 | 19.1 | 0 | -0.5
00:30 - 00:45 | -2.6 | 0 | 0 | 4.78 | 0 | -445.27 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -0.3 | 12.42 | -6 | -4 | 0 | 0 | 0 | -15 | 28.65 | 10.51 | -0.5
00:45 - 01:00 | -2.6 | -11 | 0 | 4.78 | 0 | -443.67 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -0.3 | 12.42 | -6 | -4 | 0 | 0 | 0 | -25 | 28.65 | 10.51 | -0.5
01:00 - 01:15 | -2.6 | 0 | 0 | 4.78 | 0 | -289.6 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 12.42 | -6 | -4 | 0 | 0 | 0 | -10 | 33.42 | 10.51 | -0.5
01:15 - 01:30 | -2.6 | 0 | 0 | 4.78 | 0 | -289.5 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 12.42 | -6 | -4 | 0 | 0 | -2 | -50 | 33.42 | 10.51 | -0.5
01:30 - 01:45 | -2.6 | -5 | 0 | 4.78 | 0 | -309.95 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 12.42 | -6 | -4 | 0 | 0 | 0 | -78 | 38.2 | 10.51 | -0.5
01:45 - 02:00 | -2.6 | 0 | 0 | 4.78 | 0 | -309.95 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 12.42 | -6 | -4 | 0 | 0 | 0 | -65 | 38.2 | 10.51 | -0.5
02:00 - 02:15 | -2.6 | 0 | 0 | 4.78 | 0 | -314.46 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 10.51 | -6 | -4 | 0 | 0 | -3 | 0 | 42.97 | 10.51 | -0.5
02:15 - 02:30 | -2.6 | 0 | 0 | 4.78 | 0 | -314.6 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 10.51 | -6 | -4 | 0 | 0 | 0 | -40 | 42.97 | 10.51 | -0.5
02:30 - 02:45 | -2.6 | -11 | 0 | 4.78 | 0 | -314.48 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 10.51 | -6 | -4 | 0 | 0 | 0 | -20 | 42.97 | 10.51 | -0.5
02:45 - 03:00 | -2.6 | -5 | 0 | 4.78 | 0 | -314.6 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 10.51 | -6 | -4 | 0 | 0 | -1 | 0 | 42.97 | 10.51 | -0.5
03:00 - 03:15 | -2.6 | 0 | 0 | 4.78 | 0 | -314.62 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 10.51 | -6 | -4 | 0 | 0 | -1 | -50 | 42.97 | 10.51 | -0.5
03:15 - 03:30 | -2.6 | 0 | 0 | 4.78 | 0 | -314.61 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 10.51 | -6 | -4 | 0 | 0 | -1 | -50 | 42.97 | 10.51 | -0.5
03:30 - 03:45 | -2.6 | -4 | 0 | 4.78 | 0 | -314.45 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 10.51 | -6 | -4 | 0 | 0 | -1 | 0 | 42.97 | 10.51 | -0.5
03:45 - 04:00 | -2.6 | 0 | 0 | 4.78 | 0 | -312.79 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 10.51 | -6 | -4 | 0 | 0 | 0 | -40 | 42.97 | 10.51 | -0.5
04:00 - 04:15 | -2.6 | 0 | 0 | 4.78 | 0 | -305.51 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 9.55 | -6 | -4 | 0 | 0 | 0 | 0 | 42.98 | 10.51 | -0.5
04:15 - 04:30 | -2.6 | -5 | 0 | 4.78 | 0 | -314.48 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 9.55 | -6 | -4 | 0 | 0 | 0 | -20 | 42.98 | 10.51 | -0.5
04:30 - 04:45 | -2.6 | -10 | 0 | 4.78 | 0 | -309.97 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 9.55 | -6 | -4 | 0 | 0 | 0 | -68 | 42.98 | 10.51 | -0.5
04:45 - 05:00 | -2.6 | 0 | 0 | 4.78 | 0 | -313.31 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 9.55 | -6 | -4 | 0 | 0 | 0 | -40 | 42.98 | 10.51 | -0.5
05:00 - 05:15 | -2.6 | 0 | 0 | 4.78 | 0 | -315.03 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 9.55 | -6 | -4 | 0 | 0 | 0 | 0 | 42.98 | 10.51 | -0.5
05:15 - 05:30 | -2.6 | -5 | 0 | 4.78 | 0 | -315.04 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 9.55 | -6 | -4 | 0 | 0 | 0 | 0 | 42.98 | 10.51 | -0.5
05:30 - 05:45 | -2.6 | 0 | 0 | 4.78 | 0 | -409.97 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | -1.5 | 9.55 | -6 | -4 | 0 | 0 | 0 | 0 | 42.98 | 10.51 | -0.5
05:45 - 06:00 | -2.6 | 0 | 0 | 4.78 | 0 | -540.02 | 0 | 4.78 | -50 | 36.3 | 0 | 8.04 | 7.64 | 9.55 | -1.5 | 9.55 | -6 | -4 | 0 | 0 | 0 | 0 | 42.98 | 10.51 | -0.5
06:00 - 06:15 | -2.6 | -5 | -0.4 | 4.78 | 0 | -524.99 | 0 | 4.78 | -50 | 0 | 0 | 0 | 0 | 9.55 | -1.5 | 9.55 | -6 | -7.5 | 0 | -1 | 0 | -68 | 42.98 | 10.51 | -0.5
06:15 - 06:30 | -2.6 | -10 | -0.4 | 4.78 | 0 | -535.05 | 0 | 4.78 | -50 | 0 | -0.1 | 0 | 0 | 9.55 | -1.5 | 9.55 | -6 | -7.5 | 0 | -1 | 0 | -20 | 42.98 | 0 | -0.5
06:30 - 06:45 | -2.6 | 0 | -0.4 | 4.78 | 0 | -535.01 | 0 | 4.78 | -50 | 0 | -0.2 | 0 | 0 | 9.55 | -1.5 | 10.51 | -6 | -7.5 | 0 | -1 | 0 | -10 | 42.98 | 0 | -0.5
06:45 - 07:00 | -2.6 | 0 | -0.4 | 4.78 | 0 | -562.44 | 0 | 0 | -50 | 0 | -0.5 | 0 | 0 | 0 | -1.5 | 0 | -6 | -7.5 | 0 | -1 | 0 | -20 | 0 | 0 | -0.5
07:00 - 07:15 | -2.6 | -5 | 0 | 4.78 | 0 | -435.04 | 0 | 4.78 | -50 | 0 | -0.7 | 0 | 0 | 9.55 | -1.5 | 10.51 | -6 | -7.5 | 0 | -1 | 0 | 0 | 42.98 | 0 | -0.5
07:15 - 07:30 | -2.6 | 0 | 0 | 4.78 | 0 | -421.95 | 0 | 4.78 | -50 | 0 | -1 | 0 | 0 | 9.55 | -1.5 | 10.51 | -6 | -7.5 | 0 | -1 | 0 | -20 | 42.97 | 10.51 | -0.5
07:30 - 07:45 | -2.6 | 0 | 0 | 4.78 | 0 | -438.47 | 0 | 4.78 | -50 | 0 | -1.3 | 0 | 0 | 9.55 | -1.5 | 0 | -6 | -7.5 | 0 | -1 | 0 | -70 | 62.08 | 0 | -0.5
07:45 - 08:00 | -2.6 | 0 | 0 | 4.78 | 0 | -395.9 | 0 | 4.78 | -50 | 36.3 | -1.5 | 0 | 7.64 | 9.55 | -1.5 | 3.82 | -6 | -7.5 | 0 | -1 | 0 | -55 | 62.08 | 10.51 | -0.5
08:00 - 08:15 | -2.6 | 0 | 0 | 3.82 | 0 | -31.91 | 0 | 4.3 | -50 | 25.98 | -1.8 | 9.55 | 7.64 | 9.55 | -0.5 | 3.82 | -6 | -7.5 | 0 | -1 | 0 | 0 | 47.76 | 10.51 | -0.5
08:15 - 08:30 | -2.6 | -16 | 0 | 3.82 | 0 | -49.97 | 15.19 | 4.3 | -50 | 25.98 | -2 | 9.55 | 7.64 | 9.55 | -0.5 | 3.82 | -6 | -3.04 | 0 | -1 | 0 | -20 | 47.76 | 10.51 | -0.5
08:30 - 08:45 | -2.6 | 0 | -0.4 | 3.82 | 0 | -171.91 | 0 | 4.3 | -50 | 0 | -2.5 | 9.55 | 7.64 | 0 | -0.5 | 3.82 | -6 | -7.5 | 0 | -1 | 0 | 0 | 47.76 | 10.51 | -0.5
08:45 - 09:00 | -2.6 | 0 | -0.4 | 3.82 | 0 | -95.89 | 0 | 4.3 | -50 | 0 | -2.8 | 0 | 7.64 | 0 | -0.5 | 3.82 | -6 | -7.5 | 0 | -1 | 0 | -10 | 47.76 | 10.51 | -0.5
09:00 - 09:15 | -2.6 | -5 | 0 | 3.82 | 0 | -149.81 | 12.8 | 4.3 | -50 | 0 | -3 | 0 | 7.64 | 0 | 0 | 3.82 | -6 | 0 | 0 | -1 | 0 | -50 | 59.22 | 10.51 | -0.5
09:15 - 09:30 | -2.6 | 0 | 0 | 3.82 | 0 | -24.96 | 12.23 | 4.3 | -50 | 0 | -3.3 | 0 | 7.64 | 0 | 0 | 3.82 | -6 | 0 | 0 | -1 | 0 | -40 | 59.22 | 10.51 | -0.5
09:30 - 09:45 | -2.05 | 0 | 0 | 3.82 | 0 | 90.75 | 13.66 | 4.3 | -30 | 0 | -2.69 | 0 | 7.64 | 0 | 0 | 3.82 | -4.74 | 0 | 0 | -0.79 | 0 | 0 | 59.22 | 10.51 | -0.5
09:45 - 10:00 | -1.33 | 0 | 0 | 3.82 | 0 | 90.77 | 11.84 | 4.3 | -30 | 0 | -1.79 | 0 | 7.64 | 0 | 0 | 3.82 | -3.07 | 0 | 0 | -0.51 | 0 | 0 | 59.22 | 10.51 | -0.5
10:00 - 10:15 | 0 | 0 | 0 | 3.82 | 0 | 0 | 10.51 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | -30 | 85.96 | 10.51 | -0.5
10:15 - 10:30 | 0 | 0 | 0 | 3.82 | 0 | 0 | 11.94 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | 0 | 85.97 | 10.51 | -0.5
10:30 - 10:45 | 0 | 0 | 0 | 3.82 | 0 | 331.96 | 15.09 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | -30 | 85.97 | 10.51 | -0.5
10:45 - 11:00 | 0 | 0 | 0 | 3.82 | 0 | 331.96 | 14.81 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | -55 | 85.97 | 10.51 | -0.5
11:00 - 11:15 | 0 | 0 | 0 | 4.78 | 0 | 333.84 | 10.03 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | -5.94 | 76.42 | 10.51 | -0.5
11:15 - 11:30 | 0 | 0 | 0 | 4.78 | 0 | 333.88 | 9.36 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | 0 | 76.42 | 10.51 | -0.5
11:30 - 11:45 | 0 | 0 | 0 | 4.78 | 0 | 334.27 | 9.17 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | 0 | 81.19 | 10.51 | -0.47
11:45 - 12:00 | 0 | 0 | 0 | 4.78 | 0 | 334.27 | 12.42 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | 0 | 81.19 | 10.51 | -0.39
12:00 - 12:15 | 0 | 0 | 0 | 4.78 | 0 | 668.59 | 11.94 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 76.42 | 10.51 | -0.43
12:15 - 12:30 | 0 | 0 | 0 | 4.78 | 0 | 811.87 | 0 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 76.42 | 10.51 | -0.45
12:30 - 12:45 | 0 | 0 | 0 | 4.78 | 0 | 1050.67 | 0 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 66.86 | 10.51 | -0.34
12:45 - 13:00 | 0 | 0 | 0 | 4.78 | 0 | 1050.67 | 0 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 66.86 | 10.51 | -0.29
13:00 - 13:15 | 0 | 0 | 0 | 4.78 | 0 | 1002.94 | 0 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 47.76 | 10.51 | -0.12
13:15 - 13:30 | 0 | 0 | 0 | 4.78 | 0 | 1002.94 | 0 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 47.76 | 10.51 | -0.1
13:30 - 13:45 | 0 | 0 | 0 | 4.78 | 0 | 979.05 | 0 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 57.31 | 10.51 | -0.24
13:45 - 14:00 | 0 | 0 | 0 | 4.78 | 0 | 979.04 | 0 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 57.31 | 10.51 | -0.28
14:00 - 14:15 | 0 | 0 | 0 | 4.78 | 0 | 979.05 | 13.37 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 57.31 | 10.51 | -0.22
14:15 - 14:30 | 0 | 0 | 0 | 4.78 | 0 | 835.77 | 13.85 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 57.31 | 10.51 | -0.23
14:30 - 14:45 | 0 | 0 | 0 | 4.78 | 0 | 668.59 | 14.33 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 2.87 | 0 | 0 | 0 | 0 | 0 | 0 | 62.09 | 10.51 | -0.38
14:45 - 15:00 | 0 | 0 | 0 | 4.78 | 0 | 764.09 | 14.9 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 2.87 | 0 | 0 | 0 | 0 | 0 | 0 | 62.09 | 10.51 | -0.47
15:00 - 15:15 | 0 | 0 | 0 | 4.78 | 0 | 571.69 | 16.91 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 2.87 | 0 | 0 | 0 | 0 | 0 | 0 | 66.86 | 10.51 | -0.5
15:15 - 15:30 | 0 | 0 | 0 | 4.78 | 0 | 523 | 18.63 | 4.3 | -30 | 0 | 0 | 0 | 7.64 | 0 | 0 | 2.87 | 0 | 0 | 0 | 0 | 0 | -20 | 66.86 | 10.51 | -0.5
15:30 - 15:45 | -2.6 | 0 | -0.4 | 4.78 | 0 | 620.9 | 19.49 | 4.78 | -30 | 0 | -1.5 | 0 | 7.64 | 0 | 0 | 2.87 | 0 | -1.36 | 0 | 0 | 0 | -10 | 62.09 | 10.51 | -0.5
15:45 - 16:00 | -2.6 | 0 | -0.4 | 4.78 | 0 | 668.49 | 20.25 | 4.78 | -30 | 0 | -1.4 | 0 | 7.64 | 0 | 0 | 2.87 | 0 | -7.5 | 0 | 0 | 0 | -10 | 62.09 | 10.51 | -0.5
16:00 - 16:15 | -2.6 | -15 | -0.4 | 4.78 | 0 | 610.33 | 21.11 | 4.78 | -30 | 0 | -1.1 | 0 | 0 | 0 | 0 | 4.78 | 0 | -7.5 | 0 | 0 | 0 | -20 | 66.86 | 10.51 | -0.5
16:15 - 16:30 | -2.6 | 0 | -0.4 | 4.78 | 0 | 588.8 | 0 | 4.78 | -30 | 0 | -0.9 | 0 | 0 | 0 | 0 | 4.78 | 0 | -7.5 | 0 | 0 | 0 | -20 | 66.86 | 10.51 | -0.5
16:30 - 16:45 | -2.6 | 0 | -0.4 | 4.78 | 0 | 456.53 | 0 | 4.78 | -30 | 0 | -0.7 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | -7.5 | 0 | 0 | 0 | 0 | 47.76 | 10.51 | -0.5
16:45 - 17:00 | -2.6 | -5 | -0.4 | 4.78 | 0 | 216.44 | 0 | 4.78 | -30 | 0 | -0.5 | 9.55 | 7.64 | 0 | 0 | 4.78 | 0 | -7.5 | 0 | 0 | 0 | -20 | 38.21 | 10.51 | -0.5
17:00 - 17:15 | -2.6 | 0 | 0 | 3.82 | -2.1 | -58.54 | 0 | 4.78 | -30 | 0 | -0.2 | 0 | 7.64 | 0 | 0 | 4.78 | 0 | -9 | 0 | 0 | 0 | -10 | 11.45 | 10.51 | -0.5
17:15 - 17:30 | -2.6 | 0 | 0 | 3.82 | -2.1 | -100 | 0 | 4.78 | -30 | 0 | -0.1 | 0 | 7.64 | 9.55 | 0 | 4.78 | 0 | -9 | 0 | 0 | 0 | 0 | 19.1 | 10.51 | -0.5
17:30 - 17:45 | -2.6 | 0 | 0 | 3.82 | -2.1 | -205.59 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | 0 | 4.78 | 0 | -9 | 0 | 0 | 0 | -30 | 23.87 | 10.51 | -0.5
17:45 - 18:00 | -2.6 | -15 | 0 | 3.82 | -2.1 | -124.28 | 0 | 4.78 | -50 | 0 | 0 | 0 | 7.64 | 9.55 | 0 | 4.78 | 0 | -9 | 0 | 0 | 0 | -40 | 19.1 | 10.51 | -0.5
18:00 - 18:15 | -2.6 | 0 | 0 | 3.82 | -1.02 | -99.9 | 0 | 0 | -100 | 18.15 | 0 | 9.55 | 7.64 | 9.55 | 0 | 4.78 | 0 | -9 | -4 | 0 | 0 | -10 | 9.55 | 10.51 | -0.5
18:15 - 18:30 | -2.6 | 0 | 0 | 3.82 | -2.1 | -110 | 0 | 0 | -100 | 18.15 | 0 | 9.55 | 7.64 | 9.55 | 0 | 4.78 | 0 | -9 | -4 | 0 | 0 | 0 | 0 | 10.51 | -0.5
18:30 - 18:45 | -2.6 | -4 | 0 | 3.82 | -2.1 | -130.26 | 0 | 5.25 | -100 | 18.15 | 0 | 9.55 | 0 | 9.55 | 0 | 11.46 | 0 | -9 | -4 | 0 | 0 | -20 | 42.99 | 10.51 | -0.5
18:45 - 19:00 | -2.6 | 0 | 0 | 3.82 | -2.1 | -221.05 | 0 | 5.25 | -100 | 0 | 0 | 0 | 0 | 9.55 | 0 | 11.46 | 0 | -9 | -4 | 0 | 0 | 0 | 42.99 | 0 | -0.5
19:00 - 19:15 | -2.6 | 0 | 0 | 3.82 | -2.1 | -221.01 | 0 | 5.25 | -120 | 0 | 0 | 0 | 0 | 9.55 | 0 | 11.46 | 0 | -9 | -4 | 0 | 0 | 0 | 42.99 | 0 | -0.5
19:15 - 19:30 | -2.6 | -5 | 0 | 3.82 | -2.1 | -190.51 | 0 | 5.25 | -120 | 0 | 0 | 0 | 0 | 9.55 | 0 | 11.46 | 0 | -9 | -4 | 0 | 0 | 0 | 42.99 | 10.51 | -0.5
19:30 - 19:45 | -2.6 | -5 | 0 | 3.82 | -2.1 | -185.09 | 0 | 5.25 | -120 | 0 | 0 | 0 | 0 | 9.55 | 0 | 11.46 | 0 | -9 | -4 | 0 | 0 | 0 | 42.99 | 10.51 | -0.5
19:45 - 20:00 | -2.6 | 0 | 0 | 3.82 | -2.1 | -213.31 | 0 | 5.25 | -120 | 18.15 | 0 | 9.55 | 0 | 9.55 | 0 | 11.46 | 0 | -9 | -4 | 0 | -1 | 0 | 42.99 | 10.51 | -0.5
20:00 - 20:15 | -2.6 | -5 | 0 | 3.82 | -2.3 | -373.53 | 0 | 5.25 | -80 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | 0 | -9 | -4 | 0 | 0 | 0 | 42.98 | 10.51 | -0.5
20:15 - 20:30 | -2.6 | 0 | 0 | 3.82 | -2.3 | -373.55 | 0 | 5.25 | -80 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | 0 | -9 | -4 | 0 | 0 | 0 | 42.98 | 10.51 | -0.5
20:30 - 20:45 | -2.6 | 0 | 0 | 3.82 | -2.3 | -128.19 | 0 | 5.25 | -100 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | 0 | -9 | -4 | 0 | -1.5 | -10 | 28.66 | 0 | -0.5
20:45 - 21:00 | -2.6 | 0 | 0 | 3.82 | -2.3 | -248.4 | 0 | 5.25 | -100 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | 0 | -9 | -4 | 0 | 0 | -10 | 28.66 | 0 | -0.5
21:00 - 21:15 | -2.6 | -11 | 0 | 3.82 | -2.3 | -139.04 | 0 | 5.25 | -120 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | 0 | -4 | -4 | 0 | 0 | -20 | 9.55 | 0 | -0.5
21:15 - 21:30 | -2.6 | 0 | 0 | 3.82 | -2.3 | -139.08 | 0 | 5.25 | -120 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | 0 | -4 | -4 | 0 | 0 | 0 | 9.55 | 0 | -0.5
21:30 - 21:45 | -2.6 | 0 | -0.4 | 3.82 | -2.3 | -48.49 | 0 | 5.25 | -120 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | 0 | -4 | -4 | 0 | 0 | 0 | 9.55 | 0 | -0.5
21:45 - 22:00 | -2.6 | -5 | -0.4 | 3.82 | -2.3 | -48.49 | 0 | 5.25 | -120 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | 0 | -4 | -4 | 0 | 0 | -25 | 9.55 | 0 | -0.5
22:00 - 22:15 | -2.6 | 0 | -0.4 | 3.82 | -2.3 | -0.19 | 0 | 0 | -140 | 0 | 0 | 0 | 0 | 9.55 | 0 | 0 | 0 | -4 | -4 | 0 | 0 | -45 | 9.55 | 0 | -0.5
22:15 - 22:30 | -2.6 | 0 | -0.4 | 3.82 | -2.3 | -0.15 | 0 | 0 | -140 | 0 | 0 | 0 | 0 | 9.55 | 0 | 0 | 0 | -4 | -4 | 0 | 0 | -10 | 14.33 | 0 | -0.5
22:30 - 22:45 | -2.6 | -5 | 0 | 3.82 | -2.3 | -90.95 | 0 | 5.25 | -140 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | -6 | -4 | -4 | 0 | 0 | 0 | 0 | 0 | -0.5
22:45 - 23:00 | -2.6 | -5 | 0 | 3.82 | -2.3 | -90.92 | 0 | 5.25 | -140 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | -6 | -4 | -4 | 0 | 0 | 0 | 14.33 | 0 | -0.5
23:00 - 23:15 | -2.6 | 0 | 0 | 3.82 | -2.3 | -87.98 | 0 | 5.25 | -140 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | -6 | -4 | -4 | 0 | 0 | 0 | 19.1 | 10.51 | -0.5
23:15 - 23:30 | -2.6 | 0 | 0 | 3.82 | -2.3 | -72.24 | 0 | 5.25 | -140 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | -6 | -4 | -4 | 0 | 0 | -30 | 19.1 | 10.51 | -0.5
23:30 - 23:45 | -2.6 | 0 | 0 | 3.82 | -2.3 | -74.65 | 0 | 5.25 | -80 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | -6 | -4 | -4 | 0 | 0 | -50 | 28.66 | 10.51 | -0.5
23:45 - 24:00 | -2.6 | 0 | 0 | 3.82 | -2.3 | -74.75 | 0 | 5.25 | -80 | 0 | 0 | 0 | 0 | 9.55 | 0 | 4.78 | -6 | -4 | -4 | 0 | 0 | -20 | 28.66 | 10.51 | -0.5
Average | -1.9852 | -1.8438 | -0.066667 | 4.38 | -0.63458 | 8.5872 | 3.3732 | 4.479 | -59.1667 | 2.0538 | -0.32896 | 0.87958 | 5.1729 | 5.9688 | -0.47083 | 6.4991 | -2.8314 | -4.2958 | -1 | -0.15937 | -0.11979 | -16.0931 | 43.9761 | 8.4299 | -0.47302

## GDAM
GDAM TRADING DETAILS FOR DT: 22.03.2026
Time Period | Bhushan_Power_and_Steel_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Linde_India_Limited | MSP_Metallics_Limited_IPC | MSP_Sponge_Iron_Limited_Odisha | Neelachal_Ispat_Nigam_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 7.64 | 0 | 0 | 0 | 5.73 | 0 | 0 | 0 | 160.48
08:30 - 08:45 | 7.64 | 0 | 0 | 0 | 5.73 | 0 | 9.55 | 0 | 151.88
08:45 - 09:00 | 7.64 | 0 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 142.33
09:00 - 09:15 | 7.64 | 0 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 135.64
09:15 - 09:30 | 7.64 | 0 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 131.82
09:30 - 09:45 | 7.64 | 0 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128.96
09:45 - 10:00 | 7.64 | 0 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128
10:00 - 10:15 | 7.64 | 0 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128
10:15 - 10:30 | 7.64 | 0 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128
10:30 - 10:45 | 7.64 | 0 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128
10:45 - 11:00 | 7.64 | 0 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128
11:00 - 11:15 | 7.64 | 87.72 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128
11:15 - 11:30 | 7.64 | 107.23 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128
11:30 - 11:45 | 7.64 | 48.75 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128
11:45 - 12:00 | 7.64 | 119.19 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128
12:00 - 12:15 | 7.64 | 140.89 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128.95
12:15 - 12:30 | 7.64 | 146.79 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 128.95
12:30 - 12:45 | 7.64 | 147.26 | 11.18 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 130.86
12:45 - 13:00 | 7.64 | 144.51 | 0 | 25.98 | 5.73 | 9.55 | 9.55 | 6.69 | 131.82
13:00 - 13:15 | 7.64 | 147.38 | 13.18 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 131.82
13:15 - 13:30 | 7.64 | 145.27 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 134.68
13:30 - 13:45 | 7.64 | 107.57 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 136.59
13:45 - 14:00 | 7.64 | 107.33 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 137.55
14:00 - 14:15 | 7.64 | 0 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 139.46
14:15 - 14:30 | 7.64 | 0 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 141.37
14:30 - 14:45 | 7.64 | 0 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 145.19
14:45 - 15:00 | 7.64 | 0 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 146.15
15:00 - 15:15 | 7.64 | 0 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 149.01
15:15 - 15:30 | 7.64 | 0 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 151.88
15:30 - 15:45 | 7.64 | 0 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 155.7
15:45 - 16:00 | 7.64 | 0 | 0 | 16.43 | 5.73 | 9.55 | 9.55 | 6.69 | 159.52
16:00 - 16:15 | 7.64 | 0 | 0 | 16.43 | 5.73 | 0 | 9.55 | 6.69 | 163.34
16:15 - 16:30 | 7.64 | 0 | 0 | 0 | 5.73 | 0 | 9.55 | 6.69 | 166.21
16:30 - 16:45 | 7.64 | 0 | 0 | 0 | 5.73 | 0 | 9.55 | 6.69 | 170.03
16:45 - 17:00 | 7.64 | 0 | 0 | 0 | 5.73 | 0 | 9.55 | 6.69 | 177.67
17:00 - 17:15 | 7.64 | 0 | 0 | 0 | 5.73 | 0 | 9.55 | 0 | 185.31
17:15 - 17:30 | 7.64 | 0 | 0 | 0 | 5.73 | 0 | 0 | 0 | 19.42
17:30 - 17:45 | 7.64 | 0 | 0 | 0 | 5.73 | 0 | 0 | 0 | 0
17:45 - 18:00 | 7.64 | 0 | 0 | 0 | 5.73 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 7.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 5.8096 | 15.103 | 0.25375 | 6.8255 | 2.3278 | 2.8849 | 3.4818 | 2.2997 | 53.4853