## POWER STATUS
POWER STATUS ON DT 18.04.2026
[9 empty] | 2026-04-18 | 2026-04-17
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 6179.2366 | 7407.1965
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 33.37 | 0.80088 | 630/590 ft | 612.31 | 612.41 | 612.19 | 0 | 105.2821
| Chiplima | 72(3x24) | 25.46 | 0.61104 | - |  |  |  | 27.9193 | 21.2801
| Balimela | 510(6x60+2x75) | 195.71 | 4.697 | 1516/1440 ft | 1465.6 | 1484.4 | 1484.1 | 122.8429 | 363.69
| Rengali | 250(5x50) | 60.62 | 1.4549 | 123.5/109.75 mt | 114.07 | 115.32 | 115.24 | 0 | 208.0369
| Upper Kolab | 320(4x80) | 107.04 | 2.569 | 858/844 mt | 848.94 | 850.77 | 850.71 | 154.9394 | 154.4946
| Upper Indravati | 600(4x150) | 286.81 | 6.8834 | 642/625 mt | 629.23 | 634.22 | 634.14 | 307.0852 | 598.1063
| Machkund | 60(50% of(3x17+3x23)) | 46.41 | 1.1138 | 2750/2685 ft | 2733.65 | 2719.9 | 2719.65 | 43.4497 | 51.6788
| Total Hydro | 2099.5 | 755.42 | 18.1301 |  |  |  |  | 656.2366 | 1502.5688
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1498.0993 | 35.9544 | RENEWABLE ENERGY (RE) |  |  |  | 1503 | 1501.6785
[5 empty] | M.Hydl | 15.5368
| Total Thermal | 2200 | 1498.0993 | 35.9544 | Solar | 104.811 |  |  | 1503 | 1501.6785
IPP | VEDANTA #2 | 600 (1x600) | 274.6509 | 6.5916 | Total IPPs | Yesterday's Demand Profile |  |  | 269.5703 | 285.7422
| GMR #3 | 350 (1x350) | 330.432 | 7.9304 | 707.2493 |  | MW | HRS | 330.6744 | 329.7215
| NBVL(IPP) | 60(1x60) | 54.2398 | 1.3018 |  |  |  |  | 54 | 54
| MDTPC |  | 47.9266 | 1.1502 |  |  |  |  | 56 | 56
| CGPs |  | 678.1733 | 16.2762 | IPPs, CGPs & RE | Maximum | 7407.1965 | 23:00 | 1607 | 1331.0795
| Central Sector(Drawl) |  | 2880.4131 | 69.1299 | 1505.7703 | Minimum | 5867 | 08:00 | 2413 | 3071.8697
| Central Sector(Sch) |  | 2874.997 | 68.9999 |  | Average | 6639.7028 |  | 2552 | 2836.449
| Grand Total |  | 6639.7028 | 159.3529 | Instantaneous Peak demand |  | 7594.2754 | 46129.6229 | 6179.2366 | 7407.1965
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7 | IbTPS / OPGC | 1 |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1810.7725 | 43.4585 | 1909.4601 | 45.827 | 1756.1076 | 42.1466
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2263.6062 | 54.3265 | 2366.8917 | 56.8054 | 1785.0584 | 42.8414
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1352.8944 | 32.4695 | 1373.2383 | 32.9577 | 1245.0837 | 29.882
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 717.1062 | 17.2105 | 713.6772 | 17.1283 | 715.7636 | 17.1783
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 6144.3794 | 147.4651 | 6363.2673 | 152.7184 | 5502.0133 | 132.0483
Machhkund | NIL | Darlipali | NIL
|  | N. KARANPURA-I | 2
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 269 | GMR |  |  |  | 330
| NBVL #3 | 54 | MDTPC |  |  |  | 31
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 9
| BTPL | 0 | SAPTADHARA |  |  |  | 0
Solar: |  | 183 | KAKATIYA |  |  |  | 3
CGPs : | JSPL (Angul) | 119.6311 | JSL(Duburi) |  |  |  | -48.721
| ICCL | 45.9241 | visa |  |  |  | 11.2326
| NALCO | -12.1467 | VAL (CGP) |  |  |  | 197.2943
| RSP | -0.55766 | BSL(MMDL) |  |  |  | 72.4306
| INDAL | -4.6217 | ADITYA ALUMINIUM |  |  |  | 61.7389
| NINL | -45.8932 | VAL CPP 400 kV |  |  |  | -613.8898
| NBVL | 48.2714 | Arati |  |  |  | 31.6862
| BPSL(JSG) | -85.5059 | BPPL |  |  |  | 94.3947
Banking Avg -: (MW) |  | 333.06
HYDRO AVERAGE GENERATION IN MW:-
2026-04-10 | 2026-04-11 | 2026-04-12 | 2026-04-13 | 2026-04-14 | 2026-04-15 | 2026-04-16 | 2026-04-17
845.2344 | 793.1691 | 697.9895 | 723.9446 | 725.198 | 780.2332 | 759.96 | 755.42
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.17.04.2026
(A) GNA |  |  | (C) TGNA
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | WBSEDCL | -15
ARYAN_ISPAT | BRPL | -1.88 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.9
GMRKEL_STU | TNEB | -18 | DCBL_Rajgangpur | DCBLME | -6
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | DCBL_Rajgangpur | DCL_RCW | -1.08
MAADURGA_THERMAL | NPCL_UP | -17.5 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -8.54
NBVLIPP | GEB_Beneficiary | -43 | DCBL_Rajgangpur | Dalmia_Cem_Umrangshu | -1.24
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | WBSEDCL | -5
NBVL_OTCL | GEB_Beneficiary | -27 | FACORPOWER | BYPL | -8
OCL_IRON_STEEL | BRPL | -30 | FACORPOWER | GOA_Beneficiary | -7.29
OCL_IRON_STEEL | CESC | -21 | FACORPOWER | TANGEDCO | -10
TSBSLA | KPTCL | -20 | FACORPOWER | WBSEDCL | -10
VSL | CSEB_Beneficiary | -5.83 | GMRKEL_STU | TANGEDCO | -61.9
FARIDABAD_SOLAR | ODISHA | 0.94 | JPIPL | TANGEDCO | -14
JSWEL_UTKAL | ODISHA | 52.83 | JSPLANGUL | TANGEDCO | -28.12
MPPMCL | ODISHA | 173.51 | OCL_IRON_STEEL | TANGEDCO | -10
MPPMCL | ODISHA | 159.55 | ORSISL | NDPL_UP | -3
RAJ_SOLAR | ODISHA | 2.98 | ORSISL | TPL_DIS_DHOLERA | -6
RAJ_SOLAR | ODISHA | 2.51 | TIMES_STEEL | WBSEDCL | -5
|  |  | VIRAJ_SEPL | TANGEDCO | -9
(B) REMC |  |  | VSL | TANGEDCO | -10
FROM | TO | RTC Avg (In MW) | AIPL_UP | LINDEINDIA | 3.02
ACL_PSS3_KPS1_S | ACCB | 2.1 | GBHHPL | VLSEZ | 14.36
AGE26AL_PSS6_KPS1_S | ODISHA | 0 | JIPL | ODISHA | 114.88
AGE26AL_PSS6_KPS1_S | ODISHA | 62.3 | JPL | JSPLANGUL | 9.97
AP41PL_BHDL | ODISHA | 65.8 | JPL | JSPLANGUL | 16.75
AP43PL_BKN | ODISHA | 60.32 | JSPL_RAIGARH | JSPLANGUL | 13.96
ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.78 | MPSEB_Beneficiary | ODISHA | 7.98
AWEK1L | ODISHA | 7.34 | MPSEB_Beneficiary | ODISHA | 27.92
AWEK1L | ODISHA | 11.01 | MPSEB_Beneficiary | ODISHA | 9.97
AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 7.68 | NALCOAP | NACL_Odisha | 3.65
AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 30.72
AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.42
DADRI_SOLAR | ODISHA | 0.61
ENERSON_SOLAR_10MW | ODISHA | 1.63
GADAG_GreenInfra_W | ODISHA | 0.1
GADAG_Serentica3_S | VLSEZ | 39.01
GADAG_Serentica3_W | VLSEZ | 10.01
GADAG_Serentica3_W | VLSEZ | 1.32
GIWEL_SECI_II_RE | ODISHA | 33.4
GPCL_SOLAR_10 | ODISHA | 2.03
GSECL_SOLAR | ODISHA | 2.17
HIRIYUR_OSTROKANNADA | VLSEZ | 1.2
IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.08
KARUR_TPVARDHAMAN_W | TSKPO | 16.58
Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
Kurnool_Greenko_H_Inj | ADITYAAL | 0.2
Kurnool_Greenko_H_Inj | ADITYAAL | 6.68
NTPCRE1_SMND_BHJ2_W | ODISHA | 3.14
OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 3.78
OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 5.57
OKWPL_RE | ODISHA | 17.19
RWE_AP2_SECI_III | ODISHA | 13.86
TPSL_BKN2 | TSKPO | 7.18
TPSL_BKN2 | TSKPO | 3.75
TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
TSESOPL_BKN2 | OPL_CUTTAK | 0.1
Tuticorin_BETAMWIND | ODISHA | 10.49
XXPPL_FTG3 | ODISHA | 42.68

## IEX
DAM TRADING DETAILS FOR DT :17.04.2026
Time Period | Emami_Paper_Mills_Ltd_Balasore_Odisha | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Linde_India_Limited | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh | Times_Steel_&_Power_Private_limited | Vedanta_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 2.23 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.79 | -1 | 22.74
00:15 - 00:30 | 0 | 0 | 2.75 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 28.03
00:30 - 00:45 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 24.48
00:45 - 01:00 | 0 | 0 | 2.71 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 27.66
01:00 - 01:15 | 0 | 0 | 4.75 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 48.57
01:15 - 01:30 | 0 | 0 | 3.71 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 38.03
01:30 - 01:45 | 0 | 0 | 6.59 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 72.41
01:45 - 02:00 | 0 | 0 | 9.85 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 109.2
02:00 - 02:15 | 0 | 0 | 10.73 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 119.23
02:15 - 02:30 | 0 | 0 | 13.51 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 150.57
02:30 - 02:45 | 0 | 0 | 16.73 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 178.59
02:45 - 03:00 | 0 | 0 | 17.57 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 184.56
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 122.72
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 168.57
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 168.96
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 178.49
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 182.57
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 142.35
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 132.57
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 116.48
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -5 | 0 | -38.8 | -1 | 195.45
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -5 | 0 | -38.8 | -1 | 194.13
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -5 | 0 | -38.8 | -1 | 140.88
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -5 | 0 | -38.8 | -1 | 192.56
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -5 | 0 | -38.8 | -1 | 240.46
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -5 | 0 | -38.8 | -1 | 254.99
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -5 | 0 | -38.8 | -1 | 310.57
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -5 | 0 | -38.8 | -1 | 382.25
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -1 | 448.97
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -1 | 441.32
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -1 | 434.61
07:45 - 08:00 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -1 | 419.3
08:00 - 08:15 | 0 | 12.44 | 0 | 0 | 0 | 5.27 | 8.29 | -2.5 | 0 | 0 | 7.66 | 0 | -1 | 413.55
08:15 - 08:30 | 0 | 12.44 | 0 | 0 | 0 | 5.27 | 27.95 | -2.5 | 0 | 0 | 0 | 0 | -1 | 403.03
08:30 - 08:45 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | -1 | 392.5
08:45 - 09:00 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | -1 | 381.97
09:00 - 09:15 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 374.31
09:15 - 09:30 | 0 | 12.44 | 0 | 7.56 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 370.48
09:30 - 09:45 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 3.83
09:45 - 10:00 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
10:00 - 10:15 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 3.83
10:15 - 10:30 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
10:30 - 10:45 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 3.83
10:45 - 11:00 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 3.83
11:00 - 11:15 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 3.83
11:15 - 11:30 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
11:30 - 11:45 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
11:45 - 12:00 | 0 | 12.44 | 0 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
12:00 - 12:15 | 0 | 12.44 | 0 | 6.03 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
12:15 - 12:30 | 0 | 12.44 | 0 | 7.28 | 23.92 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
12:30 - 12:45 | 0 | 12.44 | 0 | 8.23 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
12:45 - 13:00 | 0 | 12.44 | 0 | 8.33 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
13:00 - 13:15 | 0 | 12.44 | 0 | 8.62 | 23.92 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
13:15 - 13:30 | 0 | 12.44 | 0 | 8.23 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
13:30 - 13:45 | 0 | 12.44 | 0 | 8.62 | 23.92 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 4.79
13:45 - 14:00 | 0 | 12.44 | 0 | 8.71 | 23.94 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 5.74
14:00 - 14:15 | 0 | 12.44 | 47.87 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 5.74
14:15 - 14:30 | 0 | 12.44 | 47.87 | 0 | 23.93 | 5.27 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 6.7
14:30 - 14:45 | 0 | 12.44 | 47.87 | 0 | 23.93 | 5.27 | 27.95 | -2.5 | 9.57 | 0 | 0 | 0 | -1 | 7.66
14:45 - 15:00 | 0 | 12.44 | 47.87 | 0 | 23.93 | 5.27 | 27.95 | -2.5 | 9.57 | 0 | 0 | 0 | -1 | 8.62
15:00 - 15:15 | 0 | 12.44 | 95.73 | 0 | 0 | 5.27 | 0 | -2.3 | 0 | 0 | 7.66 | 0 | -1 | 21.44
15:15 - 15:30 | 0 | 12.44 | 95.73 | 0 | 0 | 5.27 | 0 | -2.3 | 0 | 0 | 7.66 | 0 | -1 | 14.36
15:30 - 15:45 | 0 | 12.44 | 95.72 | 0 | 0 | 5.27 | 0 | -2.3 | 0 | 0 | 7.66 | 0 | -1 | 36.86
15:45 - 16:00 | 0 | 12.44 | 95.73 | 0 | 0 | 5.27 | 0 | -2.3 | 0 | 0 | 7.66 | 0 | -1 | 22.02
16:00 - 16:15 | 2.39 | 12.44 | 47.87 | 0 | 0 | 0 | 1.18 | -2.3 | 0 | 0 | 0 | 0 | -1 | 391.54
16:15 - 16:30 | 2.39 | 12.44 | 47.87 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | -1 | 396.33
16:30 - 16:45 | 2.39 | 12.44 | 47.87 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | -1 | 406.86
16:45 - 17:00 | 2.39 | 12.44 | 47.87 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | -1 | 417.39
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | -1 | 428.87
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | -1 | 440.36
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | -1 | 450.89
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | -1 | 458.55
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 466.21
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 199
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 36.87
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 6.92
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 0.01
19:15 - 19:30 | 0 | 0 | 0.69 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 3.52
19:30 - 19:45 | 0 | 0 | 0.96 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 4.94
19:45 - 20:00 | 0 | 0 | 3.42 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 17.59
20:00 - 20:15 | 0 | 0 | 4.5 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 22.97
20:15 - 20:30 | 0 | 0 | 4.91 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 24.93
20:30 - 20:45 | 0 | 0 | 6.61 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 33.29
20:45 - 21:00 | 0 | 0 | 5.97 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 29.95
21:00 - 21:15 | 0 | 0 | 10.57 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 26.15
21:15 - 21:30 | 0 | 0 | 10.52 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 26.16
21:30 - 21:45 | 0 | 0 | 11.83 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 29.59
21:45 - 22:00 | 0 | 0 | 12.07 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 30.27
22:00 - 22:15 | 0 | 0 | 9.43 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 23.72
22:15 - 22:30 | 0 | 0 | 8.48 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 21.37
22:30 - 22:45 | 0 | 0 | 6.02 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 15.2
22:45 - 23:00 | 0 | 0 | 4.33 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -58.2 | -1 | 10.95
23:00 - 23:15 | 0 | 0 | 3.2 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 8.11
23:15 - 23:30 | 0 | 0 | 3.59 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 9.09
23:30 - 23:45 | 0 | 0 | 4.23 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 10.73
23:45 - 24:00 | 0 | 0 | 3.88 | 0 | 0 | 0 | 0 | -2.3 | 0 | -5 | 0 | -38.8 | -1 | 9.82
Average | 0.12448 | 4.665 | 10.1521 | 0.74594 | 6.4808 | 1.7567 | 0.97208 | -2.3833 | 0.19937 | -2.7083 | 0.39896 | -25.0582 | -0.77083 | 134.0836

## RTM
RTM TRADING DETAILS FOR DT: 17.04.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | Linde_India_Limited | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -10 | 0 | 0 | 29.71 | 0 | -1
00:15 - 00:30 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 33.36 | 0 | -1
00:30 - 00:45 | -1.3 | -16 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 38.79 | 0 | -1
00:45 - 01:00 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -50 | 0 | 0 | 47.03 | 0 | -1
01:00 - 01:15 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -35 | 0 | 0 | 0 | 0 | -1
01:15 - 01:30 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 0 | 0 | -1
01:30 - 01:45 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 71.37 | 0 | -1
01:45 - 02:00 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 80.21 | 0 | -1
02:00 - 02:15 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 92.8 | 0 | -1
02:15 - 02:30 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -30 | 0 | 0 | 98.6 | 0 | -1
02:30 - 02:45 | -1.3 | 0 | -1.4 | 0 | 0 | -150 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -40 | 0 | 0 | 122.89 | 0 | -1
02:45 - 03:00 | -1.3 | -6 | -1.4 | 0 | 0 | -150 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 126.11 | 0 | -1
03:00 - 03:15 | -1.3 | -3 | -1.4 | 0 | 0 | -150 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -30 | 0 | 0 | 131.74 | 0 | -1
03:15 - 03:30 | -1.3 | 0 | -1.4 | 0 | 0 | -150 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -45 | 0 | 0 | 137.45 | 0 | -1
03:30 - 03:45 | -1.3 | 0 | -1.4 | 0 | 0 | -150 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -40 | 0 | 0 | 164.58 | 0 | -1
03:45 - 04:00 | -1.3 | -6 | -1.4 | 0 | 0 | -150 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 170.5 | 0 | -1
04:00 - 04:15 | -1.3 | 0 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -3 | -10 | -10 | 0 | 0 | 164.17 | 0 | -1
04:15 - 04:30 | -1.3 | 0 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -3 | -10 | -30 | 0 | 0 | 174.16 | 0 | -1
04:30 - 04:45 | -1.3 | -6 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -3 | -10 | 0 | 0 | 0 | 179.89 | 0 | -1
04:45 - 05:00 | -1.3 | -16 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -3 | -10 | -20 | 0 | 0 | 178.6 | 0 | -1
05:00 - 05:15 | -1.3 | 0 | -1.4 | -100 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -45 | 0 | 0 | 150.53 | 0 | -1
05:15 - 05:30 | -1.3 | 0 | -1.4 | -100 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -15 | 0 | 0 | 173.97 | 0 | -1
05:30 - 05:45 | -1.3 | -6 | -1.3 | -150 | 0 | -20 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 193.55 | 0 | -1
05:45 - 06:00 | -1.3 | -15 | -1.3 | -200 | 0 | -20 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -10 | 0 | 0 | 200.13 | 0 | -1
06:00 - 06:15 | -1.3 | -14 | -1.3 | -250 | 0 | -20 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | -5 | -10 | -20 | 0 | 0 | 159.43 | 0 | -1
06:15 - 06:30 | -1.3 | 0 | -1.3 | -250 | 0 | -20 | 0 | -0.1 | 0 | -3 | 0 | -0.2 | 0 | 0 | 0 | -11 | -5 | -10 | 0 | 0 | 0 | 158.96 | 0 | -1
06:30 - 06:45 | -1.3 | 0 | -1.3 | -250 | 0 | 0 | 0 | -0.2 | 0 | -3 | 0 | -0.5 | 0 | 0 | 0 | -11 | -5 | -10 | -30 | 0 | 0 | 92.12 | 0 | -1
06:45 - 07:00 | -1.3 | 0 | -1.3 | -250 | 0 | 0 | 0 | -0.2 | 0 | -3 | 0 | -0.9 | 0 | 0 | 0 | -11 | -5 | -10 | -35 | 0 | 0 | 82.49 | 0 | -1
07:00 - 07:15 | -1.3 | 0 | -1.3 | -400 | 0 | 0 | 0 | -0.3 | 0 | -3 | 0 | -1.2 | 0 | 0 | 0 | -11 | -6 | 0 | 0 | 0 | 0 | 36.72 | 0 | -1
07:15 - 07:30 | -1.3 | 0 | -1.3 | -364.93 | 0 | 0 | 0 | -0.5 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | -11 | -6 | 0 | -10 | 0 | 0 | 47.87 | 0 | -1
07:30 - 07:45 | -1.3 | -12 | -1.3 | -370.52 | 10.53 | 0 | 0 | -0.7 | 0 | -3 | 0 | -1.8 | 0 | 0 | 0 | -11 | -8 | 0 | 0 | 35.42 | 0 | 47.87 | 0 | -1
07:45 - 08:00 | -1.3 | 0 | -1.3 | -285.95 | 10.53 | 0 | 38.29 | -0.9 | 0 | -3 | 0 | -2.2 | 3.83 | 0 | 0 | -11 | -8 | 0 | 0 | 28.72 | 5.36 | 47.87 | 0 | -1
08:00 - 08:15 | -1.3 | 0 | -1.3 | -468.88 | 10.53 | 0 | 19.62 | -1.5 | 9.57 | 0 | 9.57 | -2.5 | 3.83 | 0 | 0 | -14 | -8 | 0 | 0 | 38.3 | 5.36 | 0 | 0 | -9
08:15 - 08:30 | -1.3 | -5 | -1.3 | -480.46 | 10.53 | 0 | 0 | -1.7 | 0 | 0 | 0 | -2.9 | 3.83 | 0 | 0 | -14 | -8 | 0 | 0 | 33.51 | 5.36 | 0 | 0 | -9
08:30 - 08:45 | -1.3 | 0 | -1.3 | -503.75 | 10.53 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3.4 | 0 | 0 | 0 | -14 | -8 | 0 | 0 | 28.72 | 0 | 0 | 0 | -9
08:45 - 09:00 | -1.3 | 0 | -1.3 | -500 | 10.53 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3.6 | 3.83 | 0 | 0 | -14 | -8 | 0 | 0 | 23.93 | 5.36 | 0 | 0 | -9
09:00 - 09:15 | -1.3 | 0 | -1.3 | -733.62 | 10.53 | 0 | 0 | -1.5 | 0 | 0 | 0 | -4.1 | 0 | 0 | 0 | -14 | -8 | 0 | 0 | 33.51 | 0 | 0 | 0 | -9
09:15 - 09:30 | -1.3 | -15 | -1.3 | -733.63 | 10.53 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -14 | -8 | 0 | -40 | 33.51 | 0 | 0 | 0 | -9
09:30 - 09:45 | -1.3 | 0 | -1.3 | -843.96 | 10.53 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | -14 | -8 | 0 | -20 | 33.5 | 5.36 | 0 | 0 | -9
09:45 - 10:00 | -1.3 | 0 | -1.3 | -836 | 10.53 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | -14 | -8 | 0 | 0 | 38.29 | 5.36 | 0 | 0 | -9
10:00 - 10:15 | -1.3 | -5 | -1.2 | -623.13 | 10.53 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | -11 | -7 | 0 | -50 | 38.29 | 5.36 | 0 | 0 | -9
10:15 - 10:30 | -1.3 | 0 | -1.2 | -618.86 | 10.53 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | -11 | -7 | 0 | -20 | 43.08 | 5.36 | 0 | 0 | -9
10:30 - 10:45 | -1.3 | 0 | -1.2 | -433.05 | 10.53 | 0 | 0 | -2.7 | 0 | 0 | 0 | 2.58 | 3.83 | 4.79 | 0 | -11 | -7 | 0 | 0 | 36.38 | 5.36 | 0 | 0 | -9
10:45 - 11:00 | -1.3 | 0 | -1.2 | -431.27 | 10.53 | 0 | 0 | -3.3 | 0 | 0 | 0 | 2.49 | 3.83 | 4.79 | 0 | -11 | -7 | 0 | -35 | 36.37 | 5.36 | 0 | 0 | -9
11:00 - 11:15 | -1.3 | -11 | -1.2 | -243.88 | 10.53 | 0 | 0 | -3.9 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | -11 | -5 | 0 | -10 | 23.93 | 5.36 | 0 | 0 | -9
11:15 - 11:30 | -1.3 | 0 | -1.2 | -243.9 | 10.53 | 0 | 0 | -3.9 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | -11 | -5 | 0 | 0 | 23.93 | 5.36 | 0 | 0 | -9
11:30 - 11:45 | -1.3 | 0 | -1.2 | -137.78 | 10.53 | 191.45 | 0 | -3.9 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | -11 | 0 | 0 | -70 | 19.15 | 5.36 | 0 | 0 | -9
11:45 - 12:00 | -1.3 | -5 | -1.2 | -144.06 | 10.53 | 191.45 | 0 | -3.9 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | -11 | 0 | 0 | -20 | 19.15 | 5.36 | 0 | 0 | -9
12:00 - 12:15 | -1.3 | 0 | -1.2 | 0 | 10.53 | 191.45 | 0 | -3.5 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | -5 | 0 | 0 | 0 | 25.85 | 5.36 | 0 | 0 | -9
12:15 - 12:30 | -1.3 | 0 | -1.2 | 0 | 10.53 | 191.45 | 0 | -3.6 | 0 | 0 | 0 | 0 | 3.83 | 4.79 | 0 | 0 | 0 | 0 | -10 | 25.85 | 5.36 | 0 | 0 | -9
12:30 - 12:45 | -1.3 | -5 | 0 | 215.78 | 10.53 | 191.46 | 0 | -3.5 | 0 | 0 | 0 | 2.97 | 3.83 | 4.79 | 0 | 0 | 0 | 0 | -70 | 28.72 | 5.36 | 0 | 0 | -9
12:45 - 13:00 | -1.3 | -5 | 0 | 215.77 | 10.53 | 191.46 | 0 | -3.5 | 0 | 0 | 0 | 2.78 | 3.83 | 4.79 | 0 | 0 | 0 | 0 | -10 | 28.72 | 5.36 | 0 | 0 | -9
13:00 - 13:15 | -1.3 | 0 | 0 | 217.19 | 10.53 | 191.46 | 0 | -3.2 | 0 | 0 | 0 | 2.68 | 3.83 | 0 | 0 | 0 | -5 | 0 | 0 | 28.72 | 5.36 | 0 | 0 | -9
13:15 - 13:30 | -1.3 | 0 | 0 | 407.52 | 10.53 | 191.46 | 0 | -3.4 | 0 | 0 | 0 | 3.35 | 3.83 | 0 | 0 | 0 | -5 | 0 | -65 | 28.72 | 5.36 | 0 | 0 | -9
13:30 - 13:45 | -1.3 | -5 | -1.2 | 389.73 | 10.53 | 191.46 | 0 | -2.5 | 0 | 0 | 0 | 0 | 3.83 | 0 | 0 | 0 | -5 | 0 | 0 | 28.72 | 5.36 | 0 | 0 | 0
13:45 - 14:00 | -1.3 | 0 | -1.2 | 386.07 | 10.53 | 191.46 | 0 | -2.5 | 0 | 0 | 0 | 0 | 3.83 | 0 | 0 | 0 | -5 | 0 | -48 | 28.72 | 5.36 | 0 | 0 | 0
14:00 - 14:15 | -1.3 | 0 | -1.2 | 432.53 | 10.53 | 191.46 | 0 | -2.2 | 0 | 0 | 0 | 0 | 3.83 | 0 | 0 | 0 | -5 | 0 | -77 | 28.72 | 5.36 | 0 | 0 | 0
14:15 - 14:30 | -1.3 | -11 | -1.2 | 421.18 | 10.53 | 191.46 | 0 | -2.2 | 0 | 0 | 0 | 0 | 3.83 | 0 | 0 | 0 | -5 | 0 | -50 | 28.72 | 5.36 | 0 | 0 | 0
14:30 - 14:45 | -1.3 | -11 | -1.2 | 423.63 | 10.53 | 191.46 | 0 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 28.72 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.3 | 0 | -1.2 | 403.04 | 10.53 | 191.46 | 0 | -2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 28.72 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.3 | 0 | -1.2 | 422.53 | 10.53 | 191.46 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 38.29 | 0 | 0 | 0 | 0
15:15 - 15:30 | -1.3 | -5 | -1.2 | 422.17 | 10.53 | 191.46 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 38.29 | 0 | 0 | 0 | 0
15:30 - 15:45 | -1.3 | 0 | -1.2 | 301.52 | 10.53 | 172.31 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -70 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -1.3 | 0 | -1.2 | 297.94 | 0 | 172.31 | 0 | -0.1 | 0 | 0 | 0 | -1.9 | 0 | 0 | 0 | 0 | -5 | 0 | -75 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -1.3 | 0 | -1.2 | 300.84 | 9.57 | 172.31 | 0 | -0.1 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 14.36 | 0 | 4.79 | 0 | 0
16:15 - 16:30 | -1.3 | -11 | -1.2 | 299.77 | 9.57 | 172.31 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 14.36 | 0 | 8.62 | 0 | 0
16:30 - 16:45 | -1.3 | 0 | -1.2 | 191.43 | 0 | 172.31 | 0 | -0.1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 3.83 | 0 | 0
16:45 - 17:00 | -1.3 | 0 | -1.2 | 159.55 | 0 | 172.32 | 0 | -0.1 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -1.3 | 0 | -1.2 | 0 | 9.57 | 172.32 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 28.72 | 0 | 0 | 0 | 0
17:15 - 17:30 | -1.3 | 0 | -1.2 | 0 | 9.57 | 172.32 | 0 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | -5 | 0 | -15 | 28.72 | 0 | 0 | 0 | 0
17:30 - 17:45 | -1.3 | 0 | -1.3 | -204.16 | 0 | 172.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -1.3 | 0 | -1.3 | -319.26 | 0 | 172.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1.3 | 0 | -1.3 | -505.17 | 0 | 172.31 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0.96 | 0 | 0
18:15 - 18:30 | -1.3 | -12 | -1.3 | -450 | 0 | 154.55 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 274.74 | 0 | 0
18:30 - 18:45 | -1.3 | 0 | -1.3 | -150 | 0 | 19.13 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | 0 | 191.24 | 0 | -1
18:45 - 19:00 | -1.3 | 0 | -1.3 | -50 | 0 | 11.28 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -30 | 0 | 0 | 135.35 | 0 | -1
19:00 - 19:15 | -1.3 | -6 | -1.3 | 0 | 0 | 6.23 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 99.75 | 0 | -1
19:15 - 19:30 | -1.3 | 0 | -1.3 | 0 | 0 | 5.25 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 83.89 | 0 | -1
19:30 - 19:45 | -1.3 | 0 | -1.4 | 5.63 | 0 | 5.63 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -25 | 0 | 0 | 90.07 | 0 | -1
19:45 - 20:00 | -1.3 | 0 | -1.4 | 6.34 | 0 | 6.34 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 100.05 | 0 | -1
20:00 - 20:15 | -1.6 | -12 | -1.4 | 0 | 0 | 6.36 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95.37 | 0 | -1
20:15 - 20:30 | -1.6 | 0 | -1.4 | 0 | 0 | 6.81 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 102.07 | 0 | -1
20:30 - 20:45 | -1.6 | 0 | -1.3 | 0 | 0 | 4.19 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1 | 0 | -1
20:45 - 21:00 | -1.6 | -5 | -1.3 | 5.47 | 0 | 3.65 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.82 | 0 | -1
21:00 - 21:15 | -1.6 | 0 | -1.3 | 15.42 | 0 | 3.86 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 1.92 | 0 | -1
21:15 - 21:30 | -1.6 | 0 | -1.3 | 13.3 | 0 | 3.33 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 1.67 | 0 | -1
21:30 - 21:45 | -1.6 | 0 | -1.3 | 10.08 | 0 | 5.04 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 2.53 | -0.3 | -1
21:45 - 22:00 | -1.6 | -11 | -1.3 | 10.12 | 0 | 5.05 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -10 | 0 | 0 | 2.53 | -0.3 | -1
22:00 - 22:15 | -1.6 | 0 | -1.3 | 7.7 | 0 | 3.85 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.92 | -0.3 | -1
22:15 - 22:30 | -1.6 | 0 | -1.3 | 6.58 | 0 | 3.29 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.65 | -0.3 | -1
22:30 - 22:45 | -1.6 | -5 | -1.3 | 34.75 | 0 | 3.47 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | -4.5 | 0 | 0 | 0 | 0 | 52.14 | -0.3 | -1
22:45 - 23:00 | -1.6 | 0 | -1.3 | 37.05 | 0 | 3.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | -4.5 | 0 | 0 | 0 | 0 | 55.57 | -0.3 | -1
23:00 - 23:15 | -1.6 | 0 | -1.3 | 39.04 | 0 | 3.91 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | -4.5 | 0 | 0 | 0 | 0 | 58.54 | -0.3 | -1
23:15 - 23:30 | -1.6 | 0 | -1.3 | 33.29 | 0 | 3.33 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | -4.5 | 0 | -10 | 0 | 0 | 49.92 | -0.3 | -1
23:30 - 23:45 | -1.6 | -11 | -1.3 | 55.23 | 0 | 5.52 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | -4.5 | 0 | 0 | 0 | 0 | 2.76 | -0.3 | -1
23:45 - 24:00 | -1.6 | -6 | -1.3 | 55.97 | 0 | 5.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | -4.5 | 0 | 0 | 0 | 0 | 2.8 | -0.3 | -1
Average | -1.35 | -2.7292 | -1.2458 | -68.5631 | 4.0184 | 44.3555 | 0.60323 | -0.7625 | 0.099687 | -1.75 | 0.099687 | -0.18698 | 0.9575 | 0.69854 | -1.5625 | -5.8021 | -4.2812 | -2.9167 | -14.375 | 11.1389 | 1.34 | 50.6466 | -0.03125 | -2.625

## GDAM
GDAM TRADING DETAILS FOR DT: 17.04.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | Linde_India_Limited | MSP_Metallics_Limited_IPC | MSP_Sponge_Iron_Limited_Odisha | Neelachal_Ispat_Nigam_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.49
00:15 - 00:30 | 0 | 0 | 4.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.58
00:30 - 00:45 | 0 | 0 | 4.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.1
00:45 - 01:00 | 0 | 0 | 4.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.59
01:00 - 01:15 | 0 | 0 | 4.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.4
01:15 - 01:30 | 0 | 0 | 4.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.54
01:30 - 01:45 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.99
01:45 - 02:00 | 0 | 0 | 13.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.17
02:00 - 02:15 | 0 | 0 | 13.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.38
02:15 - 02:30 | 0 | 0 | 13.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.99
02:30 - 02:45 | 0 | 0 | 8.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.37
02:45 - 03:00 | 0 | 0 | 5.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.75
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 5.74 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 5.74 | 0 | 9.58 | 7.66 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 5.74 | 0 | 0 | 0 | 0 | 222.1
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | 5.74 | 9.57 | 9.57 | 7.66 | 0 | 221.14
08:30 - 08:45 | -0.8 | -0.3 | 0 | 17.23 | 4.79 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 0 | 221.15
08:45 - 09:00 | -1.8 | -1.5 | 0 | 17.23 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 222.11
09:00 - 09:15 | -2.8 | -3.1 | 0 | 17.23 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 221.15
09:15 - 09:30 | -3.7 | -4.5 | 0 | 9.57 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 221.15
09:30 - 09:45 | -4.6 | -5.6 | 0 | 9.57 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 0 | 584.92
09:45 - 10:00 | -5.4 | -6.5 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 0 | 584.92
10:00 - 10:15 | -6.1 | -7.4 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 584.92
10:15 - 10:30 | -6.4 | -8.2 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 584.92
10:30 - 10:45 | -6.7 | -8.7 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
10:45 - 11:00 | -7.3 | -9.5 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 584.92
11:00 - 11:15 | -7.5 | -9.9 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 584.92
11:15 - 11:30 | -7.8 | -10.4 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
11:30 - 11:45 | -8.1 | -10.5 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
11:45 - 12:00 | -8.5 | -10.6 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
12:00 - 12:15 | -8.5 | -10.5 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
12:15 - 12:30 | -8.5 | -10.6 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
12:30 - 12:45 | -8.4 | -10.5 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
12:45 - 13:00 | -8.2 | -10.3 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
13:00 - 13:15 | -8.1 | -9.7 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
13:15 - 13:30 | -7.5 | -9.4 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
13:30 - 13:45 | -7.1 | -8.5 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 585.88
13:45 - 14:00 | -6.5 | -8.2 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 3.83 | 584.92
14:00 - 14:15 | -6.1 | -7 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 0 | 585.88
14:15 - 14:30 | -5.6 | -6.1 | 0 | 0 | 0 | 27.95 | 5.74 | 9.57 | 9.57 | 7.66 | 0 | 584.92
14:30 - 14:45 | -4 | -4.1 | 0 | 0 | 0 | 0 | 5.74 | 0 | 9.57 | 7.66 | 0 | 584.92
14:45 - 15:00 | -3.9 | -1.6 | 0 | 0 | 0 | 0 | 5.74 | 0 | 9.57 | 7.66 | 0 | 584.92
15:00 - 15:15 | -3.1 | -2.6 | 0 | 0 | 0 | 0 | 5.74 | 0 | 0 | 0 | 0 | 572.09
15:15 - 15:30 | -2.3 | 0 | 0 | 0 | 0 | 0 | 5.74 | 0 | 0 | 0 | 0 | 585.87
15:30 - 15:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 5.74 | 0 | 0 | 0 | 0 | 568.16
15:45 - 16:00 | -0.4 | 0 | 0 | 0 | 0 | 0 | 5.74 | 0 | 0 | 0 | 0 | 585.87
16:00 - 16:15 | 0 | 0 | 0 | 17.24 | 9.57 | 0 | 5.74 | 0 | 9.57 | 7.66 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 17.24 | 9.57 | 0 | 5.74 | 0 | 9.57 | 7.66 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 17.23 | 19.15 | 0 | 5.74 | 0 | 9.57 | 7.66 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 5.74 | 0 | 9.58 | 7.66 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 5.74 | 0 | 9.58 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 5.74 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43
19:15 - 19:30 | 0 | 0 | 1.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.96
19:30 - 19:45 | 0 | 0 | 4.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.11
19:45 - 20:00 | 0 | 0 | 5.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.81
20:00 - 20:15 | 0 | 0 | 5.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6
20:15 - 20:30 | 0 | 0 | 5.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.98
20:30 - 20:45 | 0 | 0 | 6.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.35
20:45 - 21:00 | 0 | 0 | 6.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.28
21:00 - 21:15 | 0 | 0 | 8.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.19
21:15 - 21:30 | 0 | 0 | 8.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.43
21:30 - 21:45 | 0 | 0 | 8.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.65
21:45 - 22:00 | 0 | 0 | 9.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.08
22:00 - 22:15 | 0 | 0 | 9.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3
22:15 - 22:30 | 0 | 0 | 9.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.26
22:30 - 22:45 | 0 | 0 | 9.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.05
22:45 - 23:00 | 0 | 0 | 8.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.55
23:00 - 23:15 | 0 | 0 | 8.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.09
23:15 - 23:30 | 0 | 0 | 8.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.03
23:30 - 23:45 | 0 | 0 | 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.17
23:45 - 24:00 | 0 | 0 | 8.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.56
Average | -1.7427 | -2.0396 | 2.4717 | 1.2765 | 0.44875 | 6.9875 | 2.3917 | 2.4922 | 3.29 | 2.5533 | 0.75802 | 176.456