## POWER STATUS
POWER STATUS ON DT 16.06.2026
[9 empty] | 2026-06-16 | 2026-06-15
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 5667.9281 | 6734.1035
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 36.875 | 0.885 | 630/590 ft | 602.06 | 601.87 | 601.69 | 0 | 110.0418
| Chiplima | 72(3x24) | 23.042 | 0.55301 | - |  |  |  | 25.5346 | 22.6168
| Balimela | 510(6x60+2x75) | 202.67 | 4.8641 | 1516/1440 ft | 1456.4 | 1466.8 | 1466.4 | 337.9169 | 339.8081
| Rengali | 250(5x50) | 27.5083 | 0.6602 | 123.5/109.75 mt | 110.07 | 110.2 | 110.11 | 0 | 152.3753
| Upper Kolab | 320(4x80) | 38.88 | 0.93312 | 858/844 mt | 847.15 | 847.05 | 847.06 | 0 | 76.2051
| Upper Indravati | 600(4x150) | 190.792 | 4.579 | 642/625 mt | 628.01 | 629.31 | 629.24 | 493.6383 | 585.1736
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2726.8 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 519.7673 | 12.4744 |  |  |  |  | 857.0899 | 1286.2207
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1591.4983 | 38.196 | RENEWABLE ENERGY (RE) |  |  |  | 1676.0504 | 1684.1831
[5 empty] | M.Hydl | 29.84
| Total Thermal | 2200 | 1591.4983 | 38.196 | Solar | 86.23 |  |  | 1676.0504 | 1684.1831
IPP | VEDANTA #2 | 600 (1x600) | 337.5765 | 289.4964 | Total IPPs | Yesterday's Demand Profile |  |  | 294.7071 | 501.6992
| GMR #3 | 350 (1x350) | 291.6654 | 7 | 727.1313 |  | MW | HRS | 329.5563 | 328.3809
| NBVL(IPP) | 60(1x60) | 52.0271 | 1.2487 |  |  |  |  | 54.4926 | 54.5124
| MDTPC |  | 45.8623 | 1.1007 |  |  |  |  | 56.4892 | 56.2309
| CGPs |  | 587.7662 | 14.1064 | IPPs, CGPs & RE | Maximum | 6734 | 23:00 | 1531.7659 | 1778.2526
| Central Sector(Drawl) |  | 2170.2822 | 52.0868 | 1430.9675 | Minimum | 4922 | 06:00 | 1603.0218 | 1985.4471
| Central Sector(Sch) |  | 2245.1512 | 53.8836 |  | Average | 5712.5153 |  | 1664.926 | 2017.1937
| Grand Total |  | 5712.5153 | 137.1004 | Instantaneous Peak demand |  | 6984.12 | 23:37 | 5667.9281 | 6734.1035
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1847 | 44.328 | 1680 | 40.32 | 1880 | 45.12
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1855 | 44.52 | 1805 | 43.32 | 1751 | 42.024
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1359 | 32.616 | 1370 | 32.88 | 1380 | 33.12
U.Kolab | 1,2,4 | KAHALGAON | NIL | TPSODL | 641 | 15.384 | 634 | 15.216 | 650 | 15.6
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5702 | 136.848 | 5489 | 131.736 | 5661 | 135.864
Machhkund | ALL | Darlipali | 1
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 305.625 | GMR |  |  |  | 263.6954
| NBVL #3 | 48.7771 | MDTPC |  |  |  | 31.2714
Mini Hydel: | MEENAKSHI | 10.0504 | OPCL |  |  |  | 0
| BTPL | 5.105 | SAPTADHARA |  |  |  | 0
Solar: |  | 235.8235 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | -134.4156 | JSL(Duburi) |  |  |  | -95.1941
| ICCL | 50.7446 | visa |  |  |  | 12.3519
| NALCO | 6.3215 | VAL (CGP) |  |  |  | -17.733
| RSP | -62.3631 | BSL(MMDL) |  |  |  | 29.4898
| INDAL | 6.8909 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -47.7736 | VAL CPP 400 kV |  |  |  | -434.6951
| NBVL | 48.0023 | Arati |  |  |  | 13.8183
| BPSL(JSG) | -17.0275 | BPPL |  |  |  | 77.9034
Banking Avg -: (MW) |  | 144.6
HYDRO AVERAGE GENERATION IN MW:-
2026-06-08 | 2026-06-09 | 2026-06-10 | 2026-06-11 | 2026-06-12 | 2026-06-13 | 2026-06-14 | 2026-06-15
625.383 | 616.2465 | 581.4024 | 563.6166 | 591.19 | 562.376 | 421.679 | 519.7673
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.15.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 136.74
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 62.55
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 78.64
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.25
JPIPL | NPCL_UP | -14 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | ARE55L_PSS3_KPS1_HW | DHAMRAPORT | 1.19
MAADURGA_THERMAL | NPCL_UP | -16.06 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 19.12
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AWEK1L | ODISHA | 12.75
OCL_IRON_STEEL | BRPL | -35 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -11.33 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.23
RSPL_JHARSUGUDA | CSEB_Beneficiary | -2.5 | ENVIROCARE_INFRA | BRPL | -6 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 37.8
RSPL_JHARSUGUDA | UTTARAKHAND | -3 | ENVIROCARE_INFRA | TANGEDCO | -3 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.59
TSBSLA | CSEB_Beneficiary | -10 | ENVIROCARE_INFRA | TANGEDCO | -3 | DADRI_SOLAR | ODISHA | 0.72
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -12.75 | ENERSON_SOLAR_10MW | ODISHA | 1.72
FARIDABAD_SOLAR | ODISHA | 0.83 | FACORPOWER | PSPCL | -1.67 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 58.03 | FACORPOWER | PSPCL | -5.25 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 144.66 | FACORPOWER | PSPCL | -14.17 | GADAG_Serentica3_S | VLSEZ | 35.68
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | -4.17 | GADAG_Serentica3_W | VLSEZ | 80.9
Manipur_Ben | ODISHA | 32.91 | GMRKEL_STU | PSPCL | -61.9 | GADAG_Serentica3_W | VLSEZ | 6.14
RAJ_SOLAR | ODISHA | 2.48 | KCMW_od | DALCEMAP | -1.25 | GIWEL_SECI_II_RE | ODISHA | 74.02
RAJ_SOLAR | ODISHA | 2.29 | KCMW_od | DCL_RCW | -1 | GPCL_SOLAR_10 | ODISHA | 1.38
|  |  | NBVLIPP | BRPL | -13.12 | GSECL_SOLAR | ODISHA | 1.6
|  |  | NBVLIPP | BRPL | -31.88 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.03
|  |  | NBVL_OTCL | PSPCL | -2.17 | KARUR_TPVARDHAMAN_W | TSKPO | 42.43
|  |  | NBVL_OTCL | PSPCL | -18.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NBVL_OTCL | PSPCL | -5.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.33
|  |  | OCL_IRON_STEEL | BYPL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | OCL_IRON_STEEL | BYPL | -17.71 | NTPCRE1_SMND_BHJ2_W | ODISHA | 10.7
|  |  | ODISHA | JBVNL | -71.88 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 2.41
|  |  | ODISHA | TANGEDCO | -12.19 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 1.72
|  |  | ORSISL | PSPCL | -1.46 | OKWPL_RE | ODISHA | 38.82
|  |  | ORSISL | PSPCL | -3.54 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 17.98
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -0.58 | RWE_AP2_SECI_III | ODISHA | 29.81
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -4.42 | RenewGreen_SLPR_HS | JSL_DUBURI | 1.9
|  |  | SGML | UPPCL | -4.17 | SRI9PL_FTG3 | VLSEZ | 27.99
|  |  | TIMES_STEEL | PONDY | -6 | TPSL_BKN2 | TSKPO | 4.23
|  |  | TSBSLA | TANGEDCO | -5 | TPSL_BKN2 | TSKPO | 7.6
|  |  | VIRAJ_SEPL | WBSEDCL | -10 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
|  |  | VSL | UPPCL | -4.17 | TSESOPL_BKN2 | OPL_CUTTAK | 0.09
|  |  | JIPL | ODISHA | 115.73 | Tuticorin_BETAMWIND | ODISHA | 33.33
|  |  | JSPL_DCPP | JSPLANGUL | 18.83 | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 2.23
|  |  | NALCOAP | NACL_Odisha | 12.98 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0.4
|  |  | TSTPP_I | ODISHA | 24.96 | XXPPL_FTG3 | ODISHA | 34.84
[6 empty] | XXPPL_FTG3 | ODISHA | 35.99

## DAM
DAM TRADING DETAILS FOR DT :15.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Minerals_Ltd | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2 | 0 | 0 | -225 | 0 | 0 | -50 | -2.8 | 0 | -35.68 | 0
00:15 - 00:30 | -2 | 0 | 0 | -225 | 0 | 0 | -50 | -2.8 | 0 | 0 | 0
00:30 - 00:45 | -2 | 0 | 0 | -225 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
00:45 - 01:00 | -2 | 0 | 0 | -225 | 0 | 0 | -50 | -2.8 | 0 | 0 | 0
01:00 - 01:15 | -2 | 0 | 0 | -225 | 0 | 0 | -50 | -2.8 | 0 | 0 | 0
01:15 - 01:30 | -2 | 0 | 0 | -225 | 0 | 0 | -9.26 | -2.8 | 0 | 0 | 0
01:30 - 01:45 | -2 | 0 | 0 | -225 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
01:45 - 02:00 | -2 | 0 | 0 | -225 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
02:00 - 02:15 | -2 | 0 | 0 | -100 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
02:15 - 02:30 | -2 | 0 | 0 | -100 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
02:30 - 02:45 | -2 | 0 | 0 | -100 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
02:45 - 03:00 | -2 | 0 | 0 | -100 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
03:00 - 03:15 | -7 | 0 | 0 | -50 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
03:15 - 03:30 | -7 | 0 | 0 | -50 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
03:30 - 03:45 | -7 | 0 | 0 | -50 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
03:45 - 04:00 | -7 | 0 | 0 | -50 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
04:00 - 04:15 | -7 | 0 | 0 | -50 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
04:15 - 04:30 | -7 | 0 | 0 | -50 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
04:30 - 04:45 | -7 | 0 | 0 | -50 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
04:45 - 05:00 | -7 | 0 | 0 | -50 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
05:00 - 05:15 | -7 | 0 | 0 | -250 | 0 | 0 | 0 | -3 | 0 | 0 | 0
05:15 - 05:30 | -7 | 0 | 0 | -250 | 0 | 0 | 0 | -3 | 0 | 0 | 0
05:30 - 05:45 | -7 | 0 | 0 | -250 | 0 | 0 | 0 | -3 | 0 | 0 | 0
05:45 - 06:00 | -7 | 0 | 0 | -250 | 0 | 0 | 0 | -3 | 0 | 0 | 0
06:00 - 06:15 | -7 | 0 | 0 | -550 | 0 | 0 | 0 | -3 | 0 | 0 | 0
06:15 - 06:30 | -7 | 0 | 0 | -550 | 0 | 0 | 0 | -3 | 0 | 0 | 0
06:30 - 06:45 | -7 | 0 | 0 | -549.99 | 0 | 0 | 0 | -3 | 0 | 0 | 28.95
06:45 - 07:00 | -7 | 0 | 0 | -368.23 | 0 | 0 | 0 | -3 | 0 | 0 | 32.79
07:00 - 07:15 | -7 | 0 | 6.75 | -400 | 0 | 0 | 0 | -3 | 4.82 | 0 | 0
07:15 - 07:30 | -7 | 0 | 6.75 | -400 | 0 | 0 | 0 | -3 | 4.82 | 0 | 0
07:30 - 07:45 | -7 | 0 | 6.75 | -400 | 0 | 0 | 0 | -3 | 4.82 | 0 | 0
07:45 - 08:00 | -7 | 0 | 6.75 | -400 | 0 | 0 | 0 | -3 | 4.82 | 0 | 0
08:00 - 08:15 | -7 | 0 | 6.75 | -357.03 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
08:15 - 08:30 | -7 | 0 | 6.75 | -143.3 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
08:30 - 08:45 | -7 | 0 | 6.75 | 261.55 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
08:45 - 09:00 | -7 | 0 | 6.75 | 42.56 | 7.72 | 28.93 | 0 | -3 | 4.82 | 0 | 0
09:00 - 09:15 | -7 | 0 | 6.75 | 5.34 | 0 | 28.94 | 0 | -3 | 4.82 | 0 | 0
09:15 - 09:30 | -7 | 0 | 6.75 | 0 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
09:30 - 09:45 | -7 | 0 | 6.75 | 0 | 6.75 | 28.94 | 0 | -3 | 4.82 | 0 | 0
09:45 - 10:00 | -7 | 0 | 6.75 | 0 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
10:00 - 10:15 | -7 | 0 | 6.75 | 18.7 | 0 | 28.92 | 0 | -3 | 4.82 | 0 | 0
10:15 - 10:30 | -7 | 0 | 6.75 | 18.69 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
10:30 - 10:45 | -7 | 0 | 6.75 | 0 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
10:45 - 11:00 | -7 | 0 | 6.75 | 0 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
11:00 - 11:15 | -7 | 0 | 6.75 | 0 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
11:15 - 11:30 | -7 | 0 | 6.75 | 0 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
11:30 - 11:45 | -7 | 0 | 6.75 | 0 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
11:45 - 12:00 | -7 | 0 | 6.75 | 0 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
12:00 - 12:15 | -7 | 0 | 6.75 | 3.11 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
12:15 - 12:30 | -7 | 0 | 6.75 | 12.52 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
12:30 - 12:45 | -7 | 0 | 6.75 | 12.51 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
12:45 - 13:00 | -7 | 0 | 6.75 | 12.52 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
13:00 - 13:15 | -7 | 0 | 6.75 | 12.52 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
13:15 - 13:30 | -7 | 0 | 6.75 | 12.51 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
13:30 - 13:45 | -7 | 0 | 6.75 | 0 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
13:45 - 14:00 | -7 | 0 | 6.75 | 8.74 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
14:00 - 14:15 | -7 | 0 | 6.75 | -200 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
14:15 - 14:30 | -7 | 0 | 6.75 | -200 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
14:30 - 14:45 | -7 | 0 | 6.75 | -475.44 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
14:45 - 15:00 | -7 | 0 | 6.75 | -569.81 | 0 | 28.93 | 0 | -3 | 4.82 | 0 | 0
15:00 - 15:15 | -7 | 0 | 6.75 | -550 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
15:15 - 15:30 | -7 | 0 | 6.75 | -550 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
15:30 - 15:45 | -7 | 0 | 6.75 | -550 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
15:45 - 16:00 | -7 | 0 | 6.75 | -550 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
16:00 - 16:15 | -7 | 0 | 6.75 | -425 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
16:15 - 16:30 | -7 | 0 | 6.75 | -425 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
16:30 - 16:45 | -7 | 0 | 6.75 | -588.63 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
16:45 - 17:00 | -7 | 0 | 6.75 | -725 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
17:00 - 17:15 | -7 | -12 | 0 | -825 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
17:15 - 17:30 | -7 | -12 | 0 | -825 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
17:30 - 17:45 | -7 | -12 | 0 | -825 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
17:45 - 18:00 | -7 | -12 | 0 | -825 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
18:00 - 18:15 | -2 | 0 | 0 | -775 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
18:15 - 18:30 | -2 | 0 | 0 | -826.66 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
18:30 - 18:45 | -2 | 0 | 0 | -875 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
18:45 - 19:00 | -2 | 0 | 0 | -875 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
19:00 - 19:15 | -2 | 0 | 0 | -450 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
19:15 - 19:30 | -2 | 0 | 0 | -450 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
19:30 - 19:45 | -2 | 0 | 0 | -450 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
19:45 - 20:00 | -2 | 0 | 0 | -450 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
20:00 - 20:15 | -2 | 0 | 0 | -300 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0
20:15 - 20:30 | -2 | 0 | 0 | -300 | 0 | 0 | -31.54 | -2.8 | 0 | 0 | 0
20:30 - 20:45 | -2 | 0 | 0 | -300 | 0 | 0 | -50 | -2.8 | 0 | 0 | 0
20:45 - 21:00 | -2 | 0 | 0 | -300 | 0 | 0 | -50 | -2.8 | 0 | -58.2 | 0
21:00 - 21:15 | -2 | 0 | 0 | -212.49 | 0 | 0 | -50 | -2.8 | 0 | -58.2 | 0
21:15 - 21:30 | -2 | 0 | 0 | -250 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
21:30 - 21:45 | -2 | 0 | 0 | -250 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
21:45 - 22:00 | -2 | 0 | 0 | -250 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
22:00 - 22:15 | -2 | 0 | 0 | -50 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
22:15 - 22:30 | -2 | 0 | 0 | -50 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
22:30 - 22:45 | -2 | 0 | 0 | -50 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
22:45 - 23:00 | -2 | 0 | 0 | -50 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
23:00 - 23:15 | -2 | 0 | 0 | -50 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
23:15 - 23:30 | -2 | 0 | 0 | -50 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
23:30 - 23:45 | -2 | 0 | 0 | -50 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
23:45 - 24:00 | -2 | 0 | 0 | -50 | 0 | 0 | -160 | -2.8 | 0 | -58.2 | 0
Average | -5.125 | -0.5 | 2.8125 | -251.2532 | 0.15073 | 8.438 | -22.4042 | -2.8833 | 1.6067 | -8.2529 | 0.64312

## RTM
RTM TRADING DETAILS FOR DT: 15.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maadurga_Thermal_Power_Company_Limited_1 | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | -3 | 0 | 0 | 0 | -250.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -3 | 0 | 0 | 0 | -251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -3 | 0 | 0 | 0 | -253.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -3 | 0 | 0 | 0 | -351.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -3 | 0 | 0 | 0 | -151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -3 | 0 | 0 | 0 | -150.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -3 | 0 | 0 | 0 | -74.94 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 19.28 | 0 | 0 | 0 | 5.79 | 0 | 0 | 7.72 | 1.93 | 0 | 4.82 | 0 | 0.48 | 0 | 0
01:45 - 02:00 | -3 | 0 | 0 | 0 | 0 | 0 | 10.61 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | -0.4 | 19.28 | 0.39 | 5.79 | 0 | 5.79 | 0 | 0 | 7.72 | 1.93 | 0 | 4.82 | 0 | 0.48 | 0 | 0
02:00 - 02:15 | -3 | 0 | 0 | 0 | -10.11 | 0 | 10.61 | 0 | 0 | 0 | 9.64 | 0 | 0 | 7.72 | -0.4 | 19.28 | 0.19 | 5.79 | 0 | 5.79 | 0 | 0 | 7.72 | 1.93 | -20 | 4.82 | 0 | 0.48 | 0 | 0
02:15 - 02:30 | -3 | 0 | 0 | 0 | -100.05 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 19.28 | 0 | 0 | 0 | 5.79 | 0 | 0 | 0 | 1.93 | 0 | 4.82 | 0 | 0.24 | 0 | 0
02:30 - 02:45 | -3 | 0 | 0 | 0 | -127.01 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 4.82 | 28.93 | 0 | 0 | 0
02:45 - 03:00 | -3 | 0 | 0 | 0 | -100.06 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 19.29 | 0 | 0 | 0 | 5.79 | 0 | 0 | 0 | 1.93 | 0 | 4.82 | 28.92 | 0.18 | 0 | 0
03:00 - 03:15 | -3 | 0 | 0 | 0 | -120.95 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 19.29 | 0 | 0 | 0 | 5.79 | 0 | 0 | 0 | 1.93 | 0 | 4.82 | 28.93 | 0 | 0 | 0
03:15 - 03:30 | -3 | 0 | 0 | 0 | -100.08 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 19.29 | 0 | 0 | 0 | 5.79 | 0 | 0.81 | 0 | 1.93 | -15 | 4.82 | 28.92 | 0.11 | 0 | 0
03:30 - 03:45 | -3 | 0 | 0 | 0 | -100.18 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 19.29 | 0 | 0 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 4.82 | 33.74 | 0 | 0 | 0
03:45 - 04:00 | -3 | 0 | 0 | 0 | -100.13 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 19.29 | 0 | 0 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 4.82 | 33.74 | 0 | 0 | 0
04:00 - 04:15 | -3 | 0 | 0 | 0 | -149.28 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.75 | 0 | 0 | 0
04:15 - 04:30 | -3 | 0 | 0 | 0 | -139.98 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.75 | 0 | 0 | 0
04:30 - 04:45 | -3 | 0 | 0 | 0 | -150.09 | 0 | 0 | 134.05 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -3 | 0 | 0 | 0 | -150.31 | 0 | 0 | 134.05 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -3 | 0 | 0 | 0 | -80.95 | 0 | 10.61 | 134.04 | 0 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 19.29 | 0 | 0 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | -20 | 4.82 | 33.75 | 0.48 | 0 | 0
05:15 - 05:30 | -3 | 0 | 0 | 0 | -136.08 | 0 | 10.61 | 134.05 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 3.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.75 | 0 | 0 | 0
05:30 - 05:45 | -3 | 0 | -0.4 | 0 | -146.44 | 0 | 10.61 | 134.05 | 0 | 0 | 0 | -4.8 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.75 | 0 | 0 | 0
05:45 - 06:00 | -3 | 0 | -0.4 | 0 | -139.92 | 0 | 10.61 | 134.05 | 0 | 0 | 0 | -10.5 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 33.75 | 0 | 0 | 0
06:00 - 06:15 | -3 | 0 | -0.4 | 0 | -140 | 0 | 10.61 | 134.05 | -0.1 | -0.1 | 0 | -10.4 | 0 | 0 | -0.4 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 33.75 | 0 | 0 | 0
06:15 - 06:30 | -3 | -12 | -0.4 | 0 | -138.98 | 0 | 10.61 | 134.05 | -0.2 | -0.1 | 0 | -10.4 | 0 | 0 | -0.4 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.75 | 0 | 0 | 0
06:30 - 06:45 | -3 | 0 | 0 | 0 | -118.92 | 0 | 10.61 | 134.05 | -0.4 | -0.2 | 0 | -10.4 | 0 | 7.72 | -0.4 | 19.29 | -0.9 | 0 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 4.82 | 33.75 | 0 | 0 | 0
06:45 - 07:00 | -3 | 0 | 0 | 0 | -42.09 | 0 | 10.61 | 134.04 | -0.5 | -0.5 | 0 | 0 | 0 | 7.72 | -0.4 | 19.29 | -1.2 | 5.79 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | -10 | 4.82 | 33.75 | 0.48 | 0 | 0
07:00 - 07:15 | -3 | 0 | 0 | 0 | -55.03 | 0 | 10.61 | 134.04 | -0.7 | -0.7 | 0 | 0 | 0 | 7.72 | -0.4 | 19.29 | -1.5 | 2.6 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | 0 | 4.82 | 43.4 | 0.48 | 0 | 0
07:15 - 07:30 | -3 | 0 | 0 | 0 | -36.35 | 0 | 10.61 | 134.04 | -0.9 | -0.9 | 9.64 | 0 | 0 | 7.72 | -0.4 | 19.29 | -1.6 | 0.96 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | 0 | 4.82 | 38.58 | 0.48 | 0 | 0
07:30 - 07:45 | -3 | 0 | 0 | 0 | -55.3 | 0 | 10.61 | 134.04 | -1 | -1.3 | 0 | 0 | 0 | 7.72 | -0.4 | 19.29 | -1.9 | 0.96 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | -10 | 4.82 | 38.58 | 0.48 | 0 | 0
07:45 - 08:00 | -3 | 0 | 0 | 0 | -223.45 | 0 | 10.61 | 134.04 | -1.3 | -1.5 | 9.64 | 0 | 0 | 7.72 | -0.4 | 19.29 | -2.4 | 0.96 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | -20 | 4.82 | 38.58 | 0.48 | 0 | 0
08:00 - 08:15 | -3 | -6 | 0 | 0 | -494.9 | 0 | 10.61 | 52.06 | -1.5 | -1.7 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | -2.7 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 19.29 | 0.48 | 0 | 0
08:15 - 08:30 | -3 | 0 | 0 | 0 | -697.91 | 0 | 10.61 | 52.06 | -1.8 | -1.9 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | -3 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 19.29 | 0.48 | 0 | 0
08:30 - 08:45 | -3 | 0 | 0 | 0 | -1074.96 | 0 | 10.61 | 32.77 | -1.9 | -0.9 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | -3.4 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 19.29 | 0.48 | 0 | 0
08:45 - 09:00 | -3 | 0 | 0 | 0 | -653.69 | 0 | 10.61 | 32.77 | -2 | -1 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | -3.7 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 19.29 | 0.48 | 0 | 0
09:00 - 09:15 | -3 | 0 | 0 | 0 | -268.64 | 0 | 10.61 | 32.78 | -2.2 | -1 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | -3.9 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 9.64 | 0.48 | 0 | 0
09:15 - 09:30 | -3 | 0 | 0 | 0 | -150 | 0 | 10.61 | 32.78 | -2.3 | -1.2 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | -1.6 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 9.64 | 0.48 | 0 | 0
09:30 - 09:45 | -3 | -12 | 0 | 0 | 288.41 | 0 | 10.61 | 32.79 | -2.5 | -1.2 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 3.86 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 9.64 | 0.48 | 0 | 0
09:45 - 10:00 | -3 | 0 | 0 | 0 | 288.07 | 6.27 | 10.61 | 32.79 | -2.7 | -1.3 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 3.66 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 9.64 | 0.48 | 0 | 0
10:00 - 10:15 | -3 | 0 | 0 | 0 | 443.64 | 0 | 10.61 | 56.9 | -2.7 | -1.3 | 0 | 0 | 0 | 0 | -0.4 | 0 | 3.47 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -25 | 4.82 | 9.64 | 0.48 | 48.22 | 0
10:15 - 10:30 | -3 | 0 | 0 | 0 | 540.08 | 0 | 10.61 | 56.9 | -2.7 | -1.4 | 0 | 0 | 0 | 0 | -0.4 | 0 | 3.47 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -15 | 4.82 | 9.64 | 0.48 | 96.44 | 0
10:30 - 10:45 | -3 | 0 | 0 | 0 | 540.08 | 0 | 10.61 | 56.9 | -2.7 | -1.5 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 3.38 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 9.64 | 0.48 | 150.45 | 56.9
10:45 - 11:00 | -3 | 0 | 0 | 0 | 540.09 | 0 | 10.61 | 56.9 | -2.7 | -1.5 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 3.28 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -15 | 4.82 | 9.64 | 0.48 | 150.45 | 56.9
11:00 - 11:15 | -3 | -12 | 0 | 0 | 540.08 | 0 | 10.61 | 56.9 | -2.7 | -1.2 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 3.38 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -15 | 4.82 | 0 | 0.48 | 150.45 | 56.9
11:15 - 11:30 | -3 | 0 | 0 | 0 | 636.52 | 0 | 10.61 | 56.9 | -2.7 | -1.2 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 3.38 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 150.45 | 56.9
11:30 - 11:45 | -3 | 0 | 0 | 0 | 684.73 | 0 | 10.61 | 19.29 | -2.7 | -1.5 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 3.28 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 150.45 | 56.9
11:45 - 12:00 | -3 | 0 | 0 | 0 | 684.74 | 0 | 10.61 | 19.29 | -2.7 | -1.6 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 3.66 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -20 | 4.82 | 0 | 0.48 | 150.45 | 56.9
12:00 - 12:15 | -3 | 0 | 0 | 0 | 829.41 | 6.17 | 10.61 | 19.29 | -2.7 | -3 | 0 | 0 | 0 | 0 | -0.4 | 0 | 3.38 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -20 | 4.82 | 0 | 0.48 | 150.45 | 56.9
12:15 - 12:30 | -3 | 0 | 0 | 0 | 925.84 | 7.14 | 10.61 | 19.29 | -2.1 | -2.7 | 0 | 0 | 0 | 0 | -0.4 | 0 | 4.05 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 150.45 | 56.9
12:30 - 12:45 | -3 | -6 | 0 | 0 | 1070.49 | 6.56 | 10.61 | 19.29 | -1.5 | -2.7 | 0 | 0 | 0 | 0 | -1.5 | 0 | 4.05 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 150.45 | 56.9
12:45 - 13:00 | -3 | -6 | 0 | 0 | 1118.7 | 7.81 | 10.61 | 19.29 | -1.5 | -2.3 | 0 | 0 | 0 | 0 | -1.5 | 0 | 4.15 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 150.45 | 56.9
13:00 - 13:15 | -3 | 0 | -0.4 | 0 | 1215.15 | 5.98 | 10.61 | 19.29 | -1.5 | -2.3 | 0 | 0 | 0 | 0 | -1.5 | 0 | 4.34 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 150.45 | 56.9
13:15 - 13:30 | -3 | 0 | -0.4 | 0 | 1311.58 | 8.58 | 10.61 | 19.29 | -0.9 | -2 | 0 | 0 | 0 | 0 | -1.5 | 0 | 4.53 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 150.45 | 56.9
13:30 - 13:45 | -3 | 0 | -0.4 | 0 | 1315.88 | 0 | 10.61 | 0 | -0.7 | -2 | 0 | 0 | 0 | 0 | -1.5 | 0 | 4.73 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -20 | 4.82 | 0 | 0.48 | 48.22 | 0
13:45 - 14:00 | -3 | 0 | -0.4 | 0 | 1311.57 | 0 | 10.61 | 0 | -0.5 | -2 | 0 | 0 | 0 | 0 | -1.5 | 0 | 5.01 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -30 | 4.82 | 0 | 0.48 | 48.22 | 0
14:00 - 14:15 | -3 | 0 | -0.4 | 0 | 1248.33 | 0 | 10.61 | 0 | -2 | -2 | 0 | 0 | 0 | 0 | -1.5 | 0 | 5.21 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -25 | 4.82 | 0 | 0.48 | 0 | 0
14:15 - 14:30 | -3 | -12 | -0.4 | 0 | 1021.26 | 0 | 10.61 | 0 | -2 | -2 | 0 | 0 | 0 | 0 | -1.5 | 0 | 5.3 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -10 | 4.82 | 0 | 0.48 | 0 | 0
14:30 - 14:45 | -3 | 0 | -0.4 | 0 | 867.94 | 0 | 10.61 | 0 | -1.5 | -1.5 | 0 | 0 | 0 | 0 | -1.5 | 0 | 5.59 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 0 | 0
14:45 - 15:00 | -3 | 0 | -0.4 | 0 | 688.23 | 0 | 10.61 | 15.43 | -1 | -1.2 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -10 | 4.82 | 0 | 0.48 | 0 | 0
15:00 - 15:15 | -3 | 0 | -0.4 | 0 | 374.2 | 0 | 10.61 | 15.43 | -1 | -0.9 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0.96 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 0 | 0
15:15 - 15:30 | -3 | 0 | -0.4 | 0 | 261.41 | 0 | 10.61 | 15.43 | -0.6 | -0.9 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | -10 | 4.82 | 0 | 0.48 | 0 | 0
15:30 - 15:45 | -3 | 0 | -0.8 | 0 | 0 | 0 | 10.61 | 30.86 | -0.5 | -0.5 | 9.64 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -25 | 4.82 | 0 | 0.48 | 0 | 0
15:45 - 16:00 | -3 | 0 | -0.8 | 0 | 0 | 0 | 10.61 | 30.86 | -0.2 | -0.5 | 9.64 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | -10 | 4.82 | 0 | 0.48 | 0 | 0
16:00 - 16:15 | -3 | -9 | -0.8 | 0 | -98.98 | 0 | 10.61 | 30.86 | -0.1 | -0.5 | 9.64 | 0 | 0 | 0 | 0 | 19.29 | 6.94 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 0 | 0
16:15 - 16:30 | -3 | 0 | -0.8 | 0 | -116.76 | 0 | 10.61 | 30.85 | -0.1 | -0.3 | 9.64 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 0 | 0
16:30 - 16:45 | -3 | 0 | -0.8 | 0 | 0 | 0 | 10.61 | 30.86 | -0.1 | -0.2 | 9.64 | 0 | 0 | 0 | 0 | 19.29 | 1.54 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 0 | 0
16:45 - 17:00 | -3 | 0 | -0.8 | 0 | 0 | 0 | 10.61 | 30.85 | 0 | -0.1 | 9.64 | 0 | 0 | 0 | 0 | 19.29 | -0.6 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 0 | 0
17:00 - 17:15 | -3 | 0 | -0.4 | 0 | 0 | 0 | 10.61 | 30.85 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0 | 19.29 | -0.5 | 0.96 | 0 | 5.79 | 7.72 | 3.86 | 7.72 | 0 | 0 | 4.82 | 0 | 0.48 | 0 | 0
17:15 - 17:30 | -3 | 0 | -0.4 | 0 | 0 | 0 | 10.61 | 30.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.29 | -0.3 | 0.96 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | -25 | 4.82 | 0 | 0.48 | 0 | 0
17:30 - 17:45 | -2.8 | -9 | -0.4 | 0 | 0 | 0 | 10.61 | 30.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0.96 | 0 | 5.79 | 0 | 3.86 | 7.72 | 0 | -40 | 4.82 | 0 | 0.48 | 0 | 0
17:45 - 18:00 | -2.8 | 0 | -0.4 | 0 | -99.52 | 0 | 10.61 | 30.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 5.79 | 0 | 3.86 | 0 | 0 | -20 | 4.82 | 0 | 0.48 | 0 | 0
18:00 - 18:15 | -2.8 | 0 | -0.4 | 0 | 0 | 0 | 10.61 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0 | 19.28 | 0.39 | 5.79 | 0 | 5.79 | 7.72 | 3.86 | 16.39 | 0 | 0 | 4.82 | 0 | 0.48 | 0 | 0
18:15 - 18:30 | -2.8 | 0 | -0.4 | 0 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.29 | 0 | 5.79 | 0 | 5.79 | 0 | 3.86 | 16.39 | 0 | -20 | 4.82 | 0 | 0.48 | 0 | 0
18:30 - 18:45 | -2.8 | 0 | -0.4 | 0 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.29 | 0 | 5.79 | 0 | 5.79 | 0 | 3.86 | 16.39 | 0 | 0 | 4.82 | 0 | 0.48 | 0 | 0
18:45 - 19:00 | -2.8 | 0 | -0.4 | 0 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2.8 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.8 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.8 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.8 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.8 | 0 | -0.9 | 0 | 96.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.8 | 0 | -0.9 | 0 | 91.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.8 | 0 | -0.9 | -2 | 139.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.8 | 0 | -0.9 | -2 | 120.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.8 | 0 | -0.9 | -2 | 186.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.8 | 0 | -0.9 | -2 | 94.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.8 | 0 | -1.3 | -2 | 138.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.8 | 0 | -1.3 | -2 | 182.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.8 | 0 | -1.3 | -2 | 142.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.8 | 0 | -1.3 | -2 | 117.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.8 | 0 | -0.9 | -2 | 220.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.8 | 0 | -0.9 | -2 | 224.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.8 | 0 | -0.9 | -2 | 219.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.8 | 0 | -0.9 | -2 | 232.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.8 | 0 | -0.9 | -2 | 200.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.8 | 0 | -0.9 | -2 | 156.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
Average | -2.9458 | -0.875 | -0.34583 | -0.29167 | 140.7209 | 0.50531 | 7.5154 | 31.5419 | -0.66771 | -0.58646 | 1.205 | -0.48438 | -1.1667 | 2.1713 | -0.42708 | 5.8602 | 0.6699 | 0.79896 | -0.5625 | 3.6188 | 2.895 | 1.9786 | 4.3722 | 0.16083 | -6.9271 | 3.0125 | 8.6885 | 0.26552 | 21.3177 | 7.1125

## GDAM
GDAM TRADING DETAILS FOR DT:15.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 3.18 | 16.4 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 20.25 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 0
08:45 - 09:00 | 0 | -0.7 | 253.08 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 63.65
09:00 - 09:15 | 0 | -0.3 | 297.33 | 7.52 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 128.27
09:15 - 09:30 | 0 | -0.6 | 297.34 | 6.94 | 11.57 | 23.15 | 9.64 | 5.79 | 115.73 | 128.27
09:30 - 09:45 | -1.2 | -1.9 | 289.27 | 0 | 11.57 | 15.43 | 9.64 | 5.79 | 115.73 | 128.27
09:45 - 10:00 | -1.9 | -2.5 | 289.35 | 0 | 11.57 | 9.64 | 9.64 | 5.79 | 115.73 | 128.27
10:00 - 10:15 | -3 | -1.8 | 295.45 | 6.56 | 11.57 | 3.86 | 9.64 | 5.79 | 115.73 | 128.27
10:15 - 10:30 | -4.7 | -2.1 | 295.45 | 6.27 | 11.57 | 0 | 9.64 | 5.79 | 115.73 | 128.27
10:30 - 10:45 | -6.2 | -4.4 | 295.43 | 6.56 | 11.57 | 0 | 9.64 | 5.79 | 115.73 | 128.27
10:45 - 11:00 | -8.6 | -5.1 | 295.43 | 6.17 | 11.57 | 0.96 | 9.64 | 5.79 | 115.73 | 128.27
11:00 - 11:15 | -8.2 | -6.2 | 294.53 | 6.94 | 11.57 | 2.89 | 9.64 | 5.79 | 115.73 | 128.27
11:15 - 11:30 | -8.4 | -6 | 295.44 | 5.98 | 11.57 | 3.86 | 9.64 | 5.79 | 115.73 | 128.27
11:30 - 11:45 | -9 | -4.5 | 295.45 | 5.88 | 11.57 | 4.82 | 9.64 | 5.79 | 115.73 | 128.27
11:45 - 12:00 | -6 | -6.7 | 295.43 | 6.08 | 11.57 | 4.82 | 9.64 | 5.79 | 115.73 | 128.27
12:00 - 12:15 | -5.4 | -6.6 | 283.29 | 0 | 11.57 | 5.79 | 9.64 | 5.79 | 115.73 | 128.27
12:15 - 12:30 | -9.9 | -5.3 | 265.13 | 0 | 11.57 | 6.75 | 9.64 | 5.79 | 115.73 | 128.27
12:30 - 12:45 | -6.5 | -5 | 265.12 | 0 | 11.57 | 7.72 | 9.64 | 5.79 | 115.73 | 128.27
12:45 - 13:00 | -7.8 | -5.5 | 265.16 | 0 | 11.57 | 9.64 | 9.64 | 5.79 | 115.73 | 128.27
13:00 - 13:15 | -4.9 | -3.5 | 265.18 | 0 | 11.57 | 10.61 | 9.64 | 5.79 | 115.73 | 128.27
13:15 - 13:30 | -3.5 | -0.5 | 265.2 | 0 | 11.57 | 11.57 | 9.64 | 5.79 | 115.73 | 128.27
13:30 - 13:45 | -2.7 | -2.1 | 295.38 | 8 | 11.57 | 12.54 | 9.64 | 5.79 | 115.73 | 128.27
13:45 - 14:00 | -0.3 | 0 | 272.35 | 0 | 11.57 | 13.5 | 9.64 | 5.79 | 115.73 | 128.27
14:00 - 14:15 | -1.3 | 0 | 0 | 0 | 11.57 | 13.5 | 9.64 | 5.79 | 115.73 | 128.27
14:15 - 14:30 | -0.5 | 0 | 0 | 0 | 11.57 | 14.47 | 9.64 | 5.79 | 115.73 | 128.26
14:30 - 14:45 | 0 | 0 | 0 | 0 | 11.57 | 17.36 | 9.64 | 5.79 | 115.73 | 128.27
14:45 - 15:00 | 0 | 0 | 0 | 0 | 11.57 | 22.18 | 9.64 | 5.79 | 115.73 | 128.27
15:00 - 15:15 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 115.73 | 128.26
15:15 - 15:30 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 115.73 | 63.65
15:30 - 15:45 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 115.73 | 0
15:45 - 16:00 | 0 | -1.1 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 115.73 | 0
16:00 - 16:15 | 0 | -2.1 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
16:15 - 16:30 | 0 | -1.2 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.0417 | -0.78854 | 62.1436 | 0.75938 | 5.9055 | 7.0621 | 2.8117 | 2.6266