## POWER STATUS
POWER STATUS ON DT 17.06.2026
[9 empty] | 2026-06-17 | 2026-06-16
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5608 | 6180
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 25.375 | 0.609 | 630/590 ft | 601.69 | 601.69 | 601.54 | 0 | 86
| Chiplima | 72(3x24) | 26.375 | 0.633 | - |  |  |  | 0 | 28
| Balimela | 510(6x60+2x75) | 242 | 5.808 | 1516/1440 ft | 1456.1 | 1466.4 | 1465.9 | 274 | 364
| Rengali | 250(5x50) | 26.083 | 0.62599 | 123.5/109.75 mt | 110.03 | 110.11 | 110.02 | 0 | 151
| Upper Kolab | 320(4x80) | 25.83 | 0.61992 | 858/844 mt | 847.13 | 847.06 | 847.07 | 0 | 148
| Upper Indravati | 600(4x150) | 282.187 | 6.7725 | 642/625 mt | 627.98 | 629.24 | 629.14 | 0 | 586
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2726.65 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 627.85 | 15.0684 |  |  |  |  | 274 | 1363
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1655.16 | 39.7238 | RENEWABLE ENERGY (RE) |  |  |  | 1647 | 1683
[5 empty] | M.Hydl | 27.03
| Total Thermal | 2200 | 1655.16 | 39.7238 | Solar | 100.93 |  |  | 1647 | 1683
IPP | VEDANTA #2 | 600 (1x600) | 334.24 | 289.4964 | Total IPPs | Yesterday's Demand Profile |  |  | 307 | 501.6992
| GMR #3 | 350 (1x350) | 313.23 | 7.5175 | 747.68 |  | MW | HRS | 329.5563 | 330
| NBVL(IPP) | 60(1x60) | 52.42 | 1.2581 |  |  |  |  | 54.4926 | 54
| MDTPC |  | 47.79 | 1.147 |  |  |  |  | 40 | 57
| CGPs |  | 610.91 | 14.6618 | IPPs, CGPs & RE | Maximum | 6525 | 14:00 | 1370 | 1733
| Central Sector(Drawl) |  | 2015.57 | 48.3737 | 1486.55 | Minimum | 4769 | 18:00 | 2317 | 1401
| Central Sector(Sch) |  | 2064.32 | 49.5437 |  | Average | 5785.13 |  | 2215 | 1437
| Grand Total |  | 5785.13 | 138.8431 | Instantaneous Peak demand |  | 6892.41 | 13:31 | 5608 | 6180
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1898.33 | 45.5599 | 1789.62 | 42.9509 | 1830.71 | 43.937
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1833.09 | 43.9942 | 1774.04 | 42.577 | 1636.59 | 39.2782
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1393.12 | 33.4349 | 1351.81 | 32.4434 | 1345.43 | 32.2903
U.Kolab | 1,2,4 | KAHALGAON | NIL | TPSODL | 650.04 | 15.601 | 653.16 | 15.6758 | 649.23 | 15.5815
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5774.58 | 138.5899 | 5568.63 | 133.6471 | 5461.96 | 131.087
Machhkund | ALL | Darlipali | 1
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 307 | GMR |  |  |  | 330
| NBVL #3 | 54 | MDTPC |  |  |  | 40
Mini Hydel: | MEENAKSHI | 10.0504 | OPCL |  |  |  | 0
| BTPL | 4 | SAPTADHARA |  |  |  | 0
Solar: |  | 199 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | -69.3387 | JSL(Duburi) |  |  |  | -91.4428
| ICCL | 43.5853 | visa |  |  |  | 21.5323
| NALCO | 24.4818 | VAL (CGP) |  |  |  | 0.475
| RSP | -108.3679 | BSL(MMDL) |  |  |  | -28.4528
| INDAL | 2.8962 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -35.6473 | VAL CPP 400 kV |  |  |  | -552.1358
| NBVL | 54.7147 | Arati |  |  |  | 14.045
| BPSL(JSG) | -166.251 | BPPL |  |  |  | 124.0654
Banking Avg -: (MW) |  | 144.6
HYDRO AVERAGE GENERATION IN MW:-
2026-06-09 | 2026-06-10 | 2026-06-11 | 2026-06-12 | 2026-06-13 | 2026-06-14 | 2026-06-15 | 2026-06-16
616.2465 | 581.4024 | 563.6166 | 591.19 | 562.376 | 421.679 | 519.7673 | 627.85
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.16.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 133.35
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 59.36
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 69.45
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.63
JPIPL | NPCL_UP | -14 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 11.23
MAADURGA_THERMAL | NPCL_UP | -17.16 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 16.84
NBVLIPP | TANGEDCO | -50 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.3
OCL_IRON_STEEL | BRPL | -24.5 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -10 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 30.11
RSPL_JHARSUGUDA | CSEB_Beneficiary | -5 | ENVIROCARE_INFRA | BRPL | -6 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.46
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | ENVIROCARE_INFRA | TANGEDCO | -3 | DADRI_SOLAR | ODISHA | 0.43
TSBSLA | CSEB_Beneficiary | -20 | ENVIROCARE_INFRA | TANGEDCO | -3 | ENERSON_SOLAR_10MW | ODISHA | 1.45
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.83 | FACORPOWER | PSPCL | -14.17 | GADAG_Serentica3_S | VLSEZ | 39.74
JSWEL_UTKAL | ODISHA | 68.95 | FACORPOWER | PSPCL | 0 | GADAG_Serentica3_W | VLSEZ | 74.65
MPPMCL | ODISHA | 192.88 | FACORPOWER | PSPCL | -12.75 | GIWEL_SECI_II_RE | ODISHA | 58.88
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | -5.25 | GPCL_SOLAR_10 | ODISHA | 1.07
Manipur_Ben | ODISHA | 32.91 | GMRKEL_STU | PSPCL | -61.9 | GSECL_SOLAR | ODISHA | 1.01
RAJ_SOLAR | ODISHA | 2.4 | KCMW_od | DALCEMAP | -1.08 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.76
RAJ_SOLAR | ODISHA | 2.27 | KCMW_od | DCL_RCW | -1 | KARUR_TPVARDHAMAN_W | TSKPO | 28.17
|  |  | NBVLIPP | BRPL | -10.21 | KARUR_TPVARDHAMAN_W | TSLFAPG | 10
|  |  | NBVLIPP | BRPL | -24.79 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NBVL_OTCL | PSPCL | -7.58 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NBVL_OTCL | PSPCL | -18.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.59
|  |  | NBVL_OTCL | PSPCL | 0 | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.69
|  |  | OCL_IRON_STEEL | NPCL_UP | -0.75 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 1.88
|  |  | OCL_IRON_STEEL | TPDDL | -7.29 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 2.19
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | OKWPL_RE | ODISHA | 31.65
|  |  | ODISHA | BSPHCL | -7.81 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 19.69
|  |  | ODISHA | JBVNL | -33.33 | RWE_AP2_SECI_III | ODISHA | 25.7
|  |  | ODISHA | TANGEDCO | -64.58 | RenewGreen_SLPR_HS | JSL_DUBURI | 1.58
|  |  | ORSISL | PSPCL | -1.46 | SRI9PL_FTG3 | VLSEZ | 25.15
|  |  | ORSISL | PSPCL | -3.54 | TPSL_BKN2 | TSKPO | 5.68
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | TPSL_BKN2 | TSKPO | 3.2
|  |  | SGML | UPPCL | -4.17 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.07
|  |  | TIMES_STEEL | PONDY | -6 | TSESOPL_BKN2 | OPL_CUTTAK | 0.09
|  |  | VIRAJ_SEPL | WBSEDCL | -10 | Tuticorin_BETAMWIND | ODISHA | 32.06
|  |  | VSL | UPPCL | -4.17 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.36
|  |  | JIPL | ODISHA | 85.99 | XXPPL_FTG3 | ODISHA | 34.92
|  |  | JSPL_DCPP | JSPLANGUL | 48.22
|  |  | JSPL_DCPP | JSPLBarbil | 39.15
|  |  | NALCOAP | NACL_Odisha | 12.08
|  |  | North_Karanpura_STPS | ODISHA | 32.65

## DAM
DAM TRADING DETAILS FOR DT :16.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2 | 0 | 0 | -375 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
00:15 - 00:30 | -2 | 0 | 0 | -375 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
00:30 - 00:45 | -2 | 0 | 0 | -375 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
00:45 - 01:00 | -2 | 0 | 0 | -375 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
01:00 - 01:15 | -2 | 0 | 0 | -425 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
01:15 - 01:30 | -2 | 0 | 0 | -425 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
01:30 - 01:45 | -2 | 0 | 0 | -425 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
01:45 - 02:00 | -2 | 0 | 0 | -425 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
02:00 - 02:15 | -2 | 0 | 0 | -500 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
02:15 - 02:30 | -2 | 0 | 0 | -500 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
02:30 - 02:45 | -2 | 0 | 0 | -500 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
02:45 - 03:00 | -2 | 0 | 0 | -500 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
03:00 - 03:15 | -7 | 0 | 0 | -575 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
03:15 - 03:30 | -7 | 0 | 0 | -575 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
03:30 - 03:45 | -7 | 0 | 0 | -575 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
03:45 - 04:00 | -7 | 0 | 0 | -575 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
04:00 - 04:15 | -7 | 0 | 0 | -475 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
04:15 - 04:30 | -7 | 0 | 0 | -475 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
04:30 - 04:45 | -7 | 0 | 0 | -475 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
04:45 - 05:00 | -7 | 0 | 0 | -475 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
05:00 - 05:15 | -7 | 0 | 0 | -375 | 0 | -3.1 | -8 | 0 | 0 | 0 | 0
05:15 - 05:30 | -7 | 0 | 0 | -375 | 0 | -3.1 | -8 | 0 | 0 | 0 | 0
05:30 - 05:45 | -7 | 0 | 0 | -375 | 0 | -3.1 | -8 | 0 | 0 | 0 | 0
05:45 - 06:00 | -7 | 0 | 0 | -250 | 0 | -3.1 | -8 | 0 | 0 | 0 | 0
06:00 - 06:15 | -7 | 0 | 0 | -575 | 0 | -3.1 | -8 | 0 | 0 | 0 | 0
06:15 - 06:30 | -7 | 0 | 0 | -575 | 0 | -3.1 | -8 | 0 | 0 | 0 | 0
06:30 - 06:45 | -7 | 0 | 0 | -575 | 0 | -3.1 | -8 | 3.86 | 0 | 0 | 39.01
06:45 - 07:00 | -7 | 0 | 0 | -450.24 | 0 | -3.1 | -8 | 3.86 | 0 | 0 | 47.25
07:00 - 07:15 | -7 | 0 | 6.75 | -350 | 0 | -3.1 | -8 | 3.86 | 0 | 0 | 0
07:15 - 07:30 | -7 | 0 | 6.75 | -350 | 0 | -3.1 | -8 | 3.86 | 0 | 0 | 0
07:30 - 07:45 | -7 | 0 | 6.75 | -350 | 0 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
07:45 - 08:00 | -7 | 0 | 6.75 | -350 | 0 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
08:00 - 08:15 | -7 | 0 | 6.75 | -362.81 | 28.02 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
08:15 - 08:30 | -7 | 0 | 6.75 | -262.3 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
08:30 - 08:45 | -7 | 0 | 6.75 | -150 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
08:45 - 09:00 | -7 | 0 | 6.75 | -150 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
09:00 - 09:15 | -7 | 0 | 6.75 | 0.02 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
09:15 - 09:30 | -7 | 0 | 6.75 | 1.47 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
09:30 - 09:45 | -7 | 0 | 6.75 | 1.49 | 28.94 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
09:45 - 10:00 | -7 | 0 | 6.75 | 6.31 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
10:00 - 10:15 | -7 | 0 | 6.75 | 0 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
10:15 - 10:30 | -7 | 0 | 6.75 | 0 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
10:30 - 10:45 | -7 | 0 | 6.75 | 1.47 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
10:45 - 11:00 | -7 | 0 | 6.75 | 1.49 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
11:00 - 11:15 | -7 | 0 | 6.75 | 1.49 | 28.94 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
11:15 - 11:30 | -7 | 0 | 6.75 | 3.05 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
11:30 - 11:45 | -7 | 0 | 6.75 | 3.05 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
11:45 - 12:00 | -7 | 0 | 6.75 | 3.05 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
12:00 - 12:15 | -7 | 0 | 6.75 | 3.1 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
12:15 - 12:30 | -7 | 0 | 6.75 | 40.2 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
12:30 - 12:45 | -7 | 0 | 6.75 | 12.3 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
12:45 - 13:00 | -7 | 0 | 6.75 | 0 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
13:00 - 13:15 | -7 | 0 | 6.75 | -84.91 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
13:15 - 13:30 | -7 | 0 | 6.75 | -150 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
13:30 - 13:45 | -7 | 0 | 6.75 | -150 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
13:45 - 14:00 | -7 | 0 | 6.75 | -150 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
14:00 - 14:15 | -7 | 0 | 6.75 | -159.5 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
14:15 - 14:30 | -7 | 0 | 6.75 | -318.14 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
14:30 - 14:45 | -7 | 0 | 6.75 | -442.54 | 28.93 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
14:45 - 15:00 | -7 | 0 | 6.75 | -466.91 | 0 | -3.1 | -8 | 3.86 | 4.82 | 0 | 0
15:00 - 15:15 | -7 | 0 | 6.75 | -575 | 0 | -2.9 | -8 | 3.86 | 0 | 0 | 0
15:15 - 15:30 | -7 | 0 | 6.75 | -575 | 0 | -2.9 | -8 | 3.86 | 0 | 0 | 0
15:30 - 15:45 | -7 | 0 | 6.75 | -575 | 0 | -2.9 | -8 | 3.86 | 0 | 0 | 0
15:45 - 16:00 | -7 | 0 | 6.75 | -575 | 0 | -2.9 | -8 | 3.86 | 0 | 0 | 0
16:00 - 16:15 | -7 | 0 | 6.75 | -425 | 0 | -2.9 | -8 | 3.86 | 4.82 | 0 | 0
16:15 - 16:30 | -7 | 0 | 6.75 | -425 | 0 | -2.9 | -8 | 3.86 | 0 | 0 | 0
16:30 - 16:45 | -7 | 0 | 6.75 | -465.26 | 0 | -2.9 | -8 | 3.86 | 0 | 0 | 0
16:45 - 17:00 | -7 | 0 | 6.75 | -500 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
17:00 - 17:15 | -7 | -12 | 0 | -275 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
17:15 - 17:30 | -7 | -12 | 0 | -275 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
17:30 - 17:45 | -7 | -12 | 0 | -275 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
17:45 - 18:00 | -7 | -12 | 0 | -275 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2 | 0 | 0 | -575 | 0 | -2.9 | -8 | 3.86 | 0 | 0 | 0
18:15 - 18:30 | -2 | 0 | 0 | -375 | 0 | -2.9 | -8 | 3.86 | 0 | 0 | 0
18:30 - 18:45 | -2 | 0 | 0 | -375 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
18:45 - 19:00 | -2 | 0 | 0 | -375 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2 | 0 | 0 | -250 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2 | 0 | 0 | -250 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2 | 0 | 0 | -250 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2 | 0 | 0 | -250 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2 | 0 | 0 | -300 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2 | 0 | 0 | -300 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2 | 0 | 0 | -300 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2 | 0 | 0 | -300 | 0 | -2.9 | -8 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2 | 0 | 0 | -200 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
21:15 - 21:30 | -2 | 0 | 0 | -200 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
21:30 - 21:45 | -2 | 0 | 0 | -200 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
21:45 - 22:00 | -2 | 0 | 0 | -200 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
22:00 - 22:15 | -2 | 0 | 0 | -50 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
22:15 - 22:30 | -2 | 0 | 0 | -50 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
22:30 - 22:45 | -2 | 0 | 0 | -50 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
22:45 - 23:00 | -2 | 0 | 0 | -50 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
23:00 - 23:15 | -2 | 0 | 0 | -50 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
23:15 - 23:30 | -2 | 0 | 0 | -50 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
23:30 - 23:45 | -2 | 0 | 0 | -50 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
23:45 - 24:00 | -2 | 0 | 0 | -50 | 0 | -2.9 | -8 | 0 | 0 | -58.2 | 0
Average | -5.125 | -0.5 | 2.8125 | -285.7721 | 8.1273 | -2.9833 | -8 | 1.729 | 1.5565 | -7.275 | 0.89854

## RTM
RTM TRADING DETAILS FOR DT: 16.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -3 | 0 | -0.9 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0 | 0
00:15 - 00:30 | -3 | 0 | -0.9 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0 | 0
00:30 - 00:45 | -3 | 0 | -0.9 | 0 | -2 | 94.58 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -3 | 0 | -0.9 | 0 | -2 | 192.89 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -3 | 0 | -0.9 | 0 | -2 | 99.98 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -3 | 0 | -0.9 | 0 | -2 | 112.5 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -3 | 0 | -0.9 | 0 | -2 | 289.31 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -3 | 0 | -0.9 | 0 | -2 | 289.06 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -3 | 0 | -0.9 | 0 | -2 | 289.32 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -3 | 0 | -0.9 | 0 | -2 | 289.32 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -3 | 0 | -0.9 | 0 | 0 | 361.57 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -3 | 0 | -0.9 | 0 | 0 | 361.63 | 0 | 0 | 0 | 0 | -8 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -3 | 0 | -0.9 | 0 | 0 | 336.78 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -3 | 0 | -0.9 | 0 | 0 | 337.33 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -3 | 0 | -0.9 | 0 | 0 | 336.86 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -3 | 0 | -0.9 | 0 | 0 | 366.4 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -3 | 0 | -0.9 | 0 | 0 | 159.74 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -3 | 0 | -0.9 | 0 | 0 | 204.62 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -3 | 0 | -0.9 | 0 | 0 | 214.12 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -3 | 0 | -0.9 | 0 | 0 | 212.12 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -3 | 0 | -0.9 | 0 | 0 | 115.51 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -3 | 0 | -0.9 | 0 | 0 | 7.84 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -3 | 0 | -1.3 | 0 | 0 | -197.07 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -3 | 0 | -1.3 | 0 | 0 | -177.94 | 0 | 0 | 0 | 0 | -7 | 0 | -10.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -3 | 0 | -1.3 | 0 | 0 | -31.67 | 0 | 0 | -0.1 | -0.1 | -7 | 0 | -10.5 | -0.4 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -3 | -9 | -1.3 | 0 | 0 | -26.94 | 0 | 0 | -0.2 | -0.2 | -7 | 0 | -10.5 | -0.7 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -3 | 0 | -0.9 | 0 | 0 | -19.38 | 0 | 0 | -0.3 | -0.2 | -7 | 0 | -10.5 | -1 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -3 | 0 | -0.9 | 0 | 0 | 0 | 0 | 10.61 | -0.4 | -0.3 | -7 | 0 | -10.5 | -1.3 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -3 | 0 | -0.9 | 0 | 0 | -93.33 | 0 | 10.61 | -0.5 | -0.4 | -7 | 19.29 | -10.5 | -1.6 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -3 | 0 | -0.9 | 0 | 0 | -176.68 | 0 | 10.61 | -0.6 | -0.5 | -7 | 19.29 | -10.5 | -1.7 | 0 | 0 | 2.89 | 4.82 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -3 | 0 | -0.9 | 0 | 0 | 133.03 | 0 | 10.61 | -0.6 | -0.6 | -7 | 19.29 | -10.5 | -2.1 | 0 | 0 | 2.89 | 4.82 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | -3 | 0 | -0.9 | 0 | 0 | 96.36 | 0 | 10.61 | -0.7 | -0.6 | -7 | 19.29 | -10.5 | -2.4 | 0.96 | 0 | 2.89 | 4.82 | 3.86 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | -3 | -10 | -0.9 | 0 | 0 | 283.65 | 0 | 10.61 | -0.7 | -0.7 | -2 | 0 | -10.5 | -2.8 | 0.96 | 0 | 2.89 | 4.82 | 3.86 | 0 | 1.93 | -30 | 14.47 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | -3 | 0 | -0.9 | 0 | 0 | 267.08 | 0 | 10.61 | -0.9 | -1.4 | -2 | 0 | -10.5 | -3.1 | 0.96 | 0 | 2.89 | 4.82 | 3.86 | 0 | 1.93 | -15 | 14.47 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -2.8 | 0 | -0.9 | 0 | 0 | -151.79 | 0 | 10.61 | -1.1 | -1.3 | -2 | 0 | -10.5 | -3.4 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -2.8 | 0 | -0.9 | 0 | 0 | -125 | 0 | 10.61 | -1.3 | -1.7 | -2 | 0 | -10.5 | -3.6 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | -10 | 9.64 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -2.8 | 0 | -0.9 | 0 | 0 | -279.85 | 0 | 10.61 | -1.3 | -1.7 | -2 | 0 | -10.5 | -3.9 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | -2.8 | 0 | -0.9 | 0 | 0 | -299.95 | 0 | 10.61 | -1.5 | -2.5 | -2 | 0 | -10.5 | -1.5 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -2.8 | -10 | -0.9 | 0 | 0 | 0 | 0 | 10.61 | -1.8 | -2.4 | -2 | 0 | -10.5 | 3.86 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | -20 | 11.57 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | -2.8 | 0 | -0.9 | 0 | 0 | 0 | 6.27 | 10.61 | -1.9 | -2 | -2 | 0 | -10.5 | 3.66 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | -40 | 17.36 | 0 | 0 | 0 | 0 | 0
10:00 - 10:15 | -2.8 | 0 | -0.9 | 0 | 0 | 179.65 | 0 | 10.61 | -1.9 | -2.1 | -2 | 0 | -10.5 | 3.47 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | -25 | 0 | 0 | 0 | 0 | 0 | 0
10:15 - 10:30 | -2.8 | 0 | -0.9 | 0 | 0 | 243.08 | 0 | 10.61 | -2 | -3.5 | -2 | 0 | -10.5 | 3.38 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | 0 | 9.64 | 0 | 0 | 0 | 0 | 0
10:30 - 10:45 | -2.8 | 0 | -0.9 | -1 | 0 | 0 | 0 | 10.61 | -2.8 | -3.6 | -2 | 0 | -10.5 | 3.28 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | 0 | 19.28 | 0 | 0.68 | 0 | 0 | 0
10:45 - 11:00 | -2.8 | 0 | -0.9 | -1 | 0 | 0 | 0 | 10.61 | -2.8 | -3.5 | -2 | 0 | -10.5 | 3.18 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | 0 | 19.28 | 0 | 0.68 | 0 | 0 | 0
11:00 - 11:15 | -2.8 | -5 | -0.9 | -1 | 0 | -126.01 | 0 | 10.61 | -2.8 | -3.2 | -2 | 0 | -10.5 | 3.09 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | 0 | 11.56 | 0 | 0.68 | 0 | 0 | 0
11:15 - 11:30 | -2.8 | -5 | -0.9 | -1 | 0 | -125.85 | 0 | 10.61 | -2.6 | -3.6 | -2 | 0 | -10.5 | 3.09 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | -30 | 11.56 | 0 | 0.68 | 0 | 0 | 0
11:30 - 11:45 | -2.8 | 0 | -0.9 | -1 | 0 | -110.27 | 0 | 10.61 | -2.8 | -3.2 | -2 | 0 | -10.5 | 3.09 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | -25 | 11.56 | 0 | 0.68 | 0 | 0 | 0
11:45 - 12:00 | -2.8 | 0 | -0.9 | -1 | 0 | 0 | 0 | 10.61 | -2.8 | -3.5 | -2 | 0 | -10.5 | 3.09 | 0.96 | 0 | 3.86 | 4.82 | 3.86 | 0 | 1.93 | 0 | 11.56 | 0 | 0.68 | 0 | 0 | 0
12:00 - 12:15 | -2.8 | 0 | -0.9 | 0 | 0 | 0 | 5.79 | 10.61 | -2.8 | -3.4 | 0 | 0 | -10.5 | 3.18 | 0.96 | 0 | 4.82 | 4.82 | 3.86 | 0 | 1.93 | -20 | 11.57 | 0 | 0.68 | 0 | 0 | 0
12:15 - 12:30 | -2.8 | 0 | -0.9 | 0 | 0 | 0 | 7.23 | 10.61 | -3 | -2.9 | 0 | 0 | -10.5 | 3.57 | 0.96 | 0 | 4.82 | 4.82 | 3.86 | 0 | 1.93 | -20 | 11.57 | 0 | 0.68 | 0 | 0 | 0
12:30 - 12:45 | -2.8 | 0 | -0.9 | 0 | 0 | 157.14 | 0 | 10.61 | -2.9 | -3.2 | -3 | 0 | -9.5 | 3.76 | 0.96 | 0 | 4.82 | 4.82 | 3.86 | 0 | 1.93 | 0 | 11.57 | 0 | 0.68 | 0 | 0 | 0
12:45 - 13:00 | -2.8 | -10 | -0.9 | 0 | 0 | 313.39 | 0 | 10.61 | -3 | -3.2 | -3 | 0 | -9.5 | 4.05 | 0.96 | 0 | 4.82 | 4.82 | 3.86 | 0 | 1.93 | 0 | 11.57 | 0 | 0.68 | 0 | 0 | 0
13:00 - 13:15 | -2.8 | 0 | -1.3 | 0 | 0 | 462.95 | 7.23 | 10.61 | -2.8 | -2.8 | 0 | 0 | -9.5 | 4.05 | 0.96 | 0 | 4.82 | 4.82 | 3.86 | 0 | 1.93 | -30 | 11.57 | 0 | 0.68 | 149.48 | 56.9 | 0
13:15 - 13:30 | -2.8 | 0 | -1.3 | 0 | 0 | 559.37 | 7.04 | 10.61 | -2.8 | -2.5 | 0 | 0 | -9.5 | 4.53 | 0.96 | 0 | 4.82 | 4.82 | 3.86 | 0 | 1.93 | 0 | 11.57 | 0 | 0.68 | 149.48 | 56.9 | 0
13:30 - 13:45 | -2.8 | 0 | -1.3 | 0 | 0 | 457.99 | 0 | 10.61 | -2.8 | 0 | -3 | 0 | -9.5 | 4.44 | 0.96 | 0 | 4.82 | 4.82 | 3.86 | 0 | 1.93 | 0 | 11.57 | 0 | 0.68 | 149.48 | 0 | 0
13:45 - 14:00 | -2.8 | 0 | -1.3 | -1.2 | 0 | 411.79 | 0 | 10.61 | -2.5 | 0 | -3 | 0 | -9.5 | 0 | 0.96 | 0 | 4.82 | 4.82 | 3.86 | 0 | 1.93 | -20 | 11.57 | 0 | 0.68 | 149.48 | 0 | 0
14:00 - 14:15 | -2.8 | 0 | -1.3 | -1.2 | 0 | 639.23 | 0 | 10.61 | -2.3 | 0 | -3 | 0 | -9.5 | 0 | 0 | 0 | 4.82 | 4.82 | 3.86 | 0 | 0 | -20 | 11.57 | 0 | 0.68 | 0 | 0 | 0
14:15 - 14:30 | -2.8 | 0 | -1.3 | -1.2 | 0 | 818.43 | 0 | 10.61 | -2 | 0 | -3 | 0 | -9.5 | 0 | 0 | 0 | 4.82 | 4.82 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0
14:30 - 14:45 | -2.8 | -10 | -1.3 | 0 | 0 | 779.5 | 0 | 10.61 | -0.5 | 0 | -3 | 0 | -9.5 | -0.6 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -2.8 | 0 | -1.3 | 0 | 0 | 765.77 | 0 | 10.61 | -0.5 | 0 | -3 | 0 | -9.5 | -2.6 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | -2.8 | 0 | -1.3 | 0 | 0 | 869.67 | 0 | 10.61 | 0 | -1.4 | -3 | 0 | -9.5 | -2.6 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -2.8 | 0 | -1.3 | 0 | 0 | 871.65 | 0 | 10.61 | 0 | -1.2 | -3 | 0 | -9.5 | -2.4 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -2.8 | 0 | -1.3 | 0 | 0 | 869.67 | 0 | 10.61 | -0.1 | -1 | -3 | 0 | -9.5 | -2.1 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -2.8 | 0 | -1.3 | 0 | 0 | 773.23 | 0 | 10.61 | -0.1 | -0.9 | -3 | 0 | -9.5 | -1.8 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -2.8 | 0 | -1.3 | 0 | 0 | 417.31 | 0 | 10.61 | -0.1 | -0.6 | -3 | 19.29 | -9.5 | -1.6 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | -9
16:15 - 16:30 | -2.8 | -6 | -1.3 | 0 | 0 | 417.32 | 0 | 10.61 | 0 | -0.4 | -3 | 19.29 | -9.5 | -1.3 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | -9
16:30 - 16:45 | -2.8 | -5 | -1.3 | -1.2 | 0 | 413.58 | 0 | 10.61 | 0 | -0.3 | -3 | 0 | -9.5 | -1.4 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | -9
16:45 - 17:00 | -2.8 | 0 | -1.3 | -1.2 | 0 | 406.19 | 0 | 0 | 0 | -0.2 | -3 | 0 | -9.5 | -1.1 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9
17:00 - 17:15 | -2.8 | 0 | -0.9 | -1.2 | 0 | 294.09 | 0 | 0 | 0 | -0.2 | -3 | 0 | -9.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -2.8 | 0 | -0.9 | -1.2 | 0 | 288.32 | 0 | 0 | 0 | -0.1 | -3 | 0 | -9.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -2.8 | 0 | -0.9 | -1.2 | 0 | -150.17 | 0 | 0 | 0 | -0.1 | -3 | 0 | -9.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | -42 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -2.8 | -6 | -0.9 | -1.2 | 0 | -152.33 | 0 | 0 | 0 | -0.1 | -3 | 0 | -9.5 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | 0 | -42 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.5 | -5 | -0.9 | -1.2 | 0 | 0 | 0 | 10.61 | 0 | 0 | -4 | 19.29 | -6.5 | 0 | 0 | 0 | 4.82 | 4.82 | 0 | 0 | 0 | -25 | 19.29 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -2.5 | 0 | -0.9 | -1.2 | 0 | 0 | 0 | 10.61 | 0 | 0 | -4 | 19.29 | -6.5 | 0 | 0 | 0 | 4.82 | 4.82 | 0 | 0 | 0 | -10 | 19.29 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -2.5 | 0 | -0.9 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -2.5 | 0 | -0.9 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2.5 | 0 | -0.9 | -1.2 | 0 | 55.19 | 0 | 0 | 0 | 0 | -4 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | -9
19:15 - 19:30 | -2.5 | 0 | -0.9 | -1.2 | 0 | 84.12 | 0 | 0 | 0 | 0 | -4 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | -9
19:30 - 19:45 | -2.5 | 0 | -0.9 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | -9
19:45 - 20:00 | -2.5 | 0 | -0.9 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | -9
20:00 - 20:15 | -2.5 | 0 | -0.9 | -1.2 | 0 | 223.21 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | -14.5 | 0 | 0 | 0 | -9
20:15 - 20:30 | -2.5 | 0 | -0.9 | -1.2 | 0 | 203.4 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | -14.5 | 0 | 0 | 0 | -9
20:30 - 20:45 | -2.5 | 0 | -0.9 | -1.2 | -2 | 214.72 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -18 | 0 | -14.5 | 0 | 0 | 0 | -9
20:45 - 21:00 | -2.5 | 0 | -0.9 | -1.2 | -2 | 191.23 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -18 | 0 | -14.5 | 0 | 0 | 0 | -9
21:00 - 21:15 | -2.9 | 0 | -0.9 | -1.2 | -2 | 76.05 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | 0 | -9
21:15 - 21:30 | -2.9 | 0 | -0.9 | -1.2 | -2 | 62.29 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -29 | 0 | 0 | 0 | 0 | 0 | -9
21:30 - 21:45 | -2.9 | 0 | -1.3 | -1.2 | -2 | 67.76 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -35 | 0 | 0 | 0 | 0 | 0 | -9
21:45 - 22:00 | -2.9 | 0 | -1.3 | -1.2 | -2 | 70.3 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -35 | 0 | 0 | 0 | 0 | 0 | -9
22:00 - 22:15 | -2.9 | 0 | -1.3 | -1.2 | -2 | 57.73 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -38 | 0 | 0 | 0 | 0 | 0 | -9
22:15 - 22:30 | -2.9 | 0 | -1.3 | -1.2 | -2 | 56.18 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -38 | 0 | 0 | 0 | 0 | 0 | -9
22:30 - 22:45 | -2.9 | 0 | -0.9 | -1.3 | -2 | 57.22 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | -10
22:45 - 23:00 | -2.9 | 0 | -0.9 | -1.3 | -2 | 56.52 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | -10
23:00 - 23:15 | -2.9 | 0 | -0.9 | -1.3 | -2 | 53.78 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -38 | 0 | 0 | 0 | 0 | 0 | -10
23:15 - 23:30 | -2.9 | 0 | -0.9 | -1.3 | -2 | 49.93 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -38 | 0 | 0 | 0 | 0 | 0 | -10
23:30 - 23:45 | -2.9 | 0 | -0.9 | -1.3 | -2 | 10.32 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | -10
23:45 - 24:00 | -2.9 | 0 | -0.9 | -1.3 | -2 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -7.5 | 0 | 0 | -6 | 0 | 0 | 0 | -4 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | -10
Average | -2.8458 | -0.84375 | -1 | -0.48125 | -0.5 | 168.8192 | 0.34958 | 4.6419 | -0.65208 | -0.70104 | -5.0833 | 1.6075 | -9.5 | 0.14344 | 0.25 | -1.125 | 1.3159 | 3.5146 | 1.1258 | -0.41667 | 0.4825 | -12.7812 | 4.0475 | -0.90625 | 0.10625 | 6.2283 | 1.1854 | -2.3125

## GDAM
GDAM TRADING DETAILS FOR DT:16.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 33.76 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 16.39 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 0
08:15 - 08:30 | 0 | -0.3 | 0 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 0
08:30 - 08:45 | 0 | -0.2 | 0 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 0
08:45 - 09:00 | 0 | -0.5 | 253.12 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 0
09:00 - 09:15 | 0 | -1.1 | 289.23 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 63.65
09:15 - 09:30 | -0.7 | -0.6 | 283.41 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 128.27
09:30 - 09:45 | -1.4 | -0.8 | 283.33 | 0 | 11.57 | 27.97 | 9.64 | 5.79 | 115.73 | 128.27
09:45 - 10:00 | -2.3 | -1.9 | 263.97 | 0 | 11.57 | 24.11 | 9.64 | 5.79 | 115.73 | 128.27
10:00 - 10:15 | -2.1 | -2.8 | 295.47 | 7.14 | 11.57 | 20.25 | 9.64 | 5.79 | 115.73 | 128.27
10:15 - 10:30 | -3.4 | -3.7 | 295.47 | 6.75 | 11.57 | 16.39 | 9.64 | 5.79 | 115.73 | 128.27
10:30 - 10:45 | -4.3 | -3.5 | 283.36 | 0 | 11.57 | 17.36 | 9.64 | 5.79 | 115.73 | 128.27
10:45 - 11:00 | -4.9 | -4 | 283.32 | 0 | 11.57 | 18.32 | 9.64 | 5.79 | 115.73 | 128.27
11:00 - 11:15 | -5.8 | -4.4 | 283.34 | 0 | 11.57 | 18.32 | 9.64 | 5.79 | 115.73 | 128.27
11:15 - 11:30 | -6.5 | -5.3 | 283.35 | 0 | 11.57 | 20.25 | 9.64 | 5.79 | 115.73 | 128.27
11:30 - 11:45 | -7 | -5 | 283.35 | 0 | 11.57 | 21.22 | 9.64 | 5.79 | 115.73 | 128.27
11:45 - 12:00 | -8 | -5.5 | 283.35 | 0 | 11.57 | 22.18 | 9.64 | 5.79 | 115.73 | 128.27
12:00 - 12:15 | -8 | -5.7 | 283.29 | 0 | 11.57 | 22.18 | 9.64 | 5.79 | 115.73 | 128.27
12:15 - 12:30 | -7.9 | -4.8 | 225.83 | 0 | 11.57 | 22.18 | 9.64 | 5.79 | 115.73 | 128.27
12:30 - 12:45 | -6.8 | -5.9 | 228.94 | 0 | 11.57 | 23.15 | 9.64 | 5.79 | 115.73 | 128.27
12:45 - 13:00 | -7.2 | -6.4 | 219.34 | 0 | 11.57 | 23.15 | 9.64 | 5.79 | 115.73 | 128.27
13:00 - 13:15 | -6 | -2.9 | 200.01 | 0 | 11.57 | 23.15 | 9.64 | 5.79 | 115.73 | 128.27
13:15 - 13:30 | -5.6 | -0.4 | 214.86 | 0 | 11.57 | 23.15 | 9.64 | 5.79 | 115.73 | 128.27
13:30 - 13:45 | -4.6 | -0.3 | 154.4 | 0 | 11.57 | 24.11 | 9.64 | 5.79 | 115.73 | 128.27
13:45 - 14:00 | -2.1 | 0 | 196.02 | 0 | 11.57 | 24.11 | 9.64 | 5.79 | 115.73 | 128.27
14:00 - 14:15 | 0 | 0 | 0 | 0 | 11.57 | 25.07 | 9.64 | 5.79 | 115.73 | 128.27
14:15 - 14:30 | -0.6 | 0 | 0 | 0 | 11.57 | 25.07 | 9.64 | 5.79 | 115.73 | 128.27
14:30 - 14:45 | 0 | 0 | 0 | 0 | 11.57 | 27.97 | 9.64 | 5.79 | 115.73 | 128.26
14:45 - 15:00 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 9.64 | 5.79 | 115.73 | 128.27
15:00 - 15:15 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 115.73 | 128.26
15:15 - 15:30 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 115.73 | 63.65
15:30 - 15:45 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 115.73 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 115.73 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 11.57 | 30.86 | 0 | 5.79 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 11.57 | 11.88 | 0 | 5.79 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 2.49 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.99167 | -0.6875 | 56.1121 | 0.14469 | 5.6904 | 8.8735 | 2.8117 | 2.5934 | 39.0991 | 33.3933