## POWER STATUS
POWER STATUS ON DT 18.06.2026
[9 empty] | 2026-06-18 | 2026-06-17
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5833.5937 | 6983.7436
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 13.292 | 0.339 | 630/590 ft | 601.65 | 601.54 | 601.43 | 0 | 111.3684
| Chiplima | 72(3x24) | 20.792 | 0.4716 | - |  |  |  | 17.2934 | 15.3631
| Balimela | 510(6x60+2x75) | 274.125 | 6.6407 | 1516/1440 ft | 1456 | 1465.9 | 1465.4 | 372.9854 | 373.0328
| Rengali | 250(5x50) | 33.93 | 0.82532 | 123.5/109.75 mt | 110.04 | 110.02 | 109.87 | 0 | 164.8427
| Upper Kolab | 320(4x80) | 21.5 | 0.53698 | 858/844 mt | 847.09 | 847.07 | 847.08 | 0 | 152.989
| Upper Indravati | 600(4x150) | 288.354 | 6.8926 | 642/625 mt | 627.99 | 629.14 | 629.03 | 491.0471 | 578.6935
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2726..55 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 651.993 | 15.7062 |  |  |  |  | 881.326 | 1396.2895
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1663.4193 | 39.9221 | RENEWABLE ENERGY (RE) |  |  |  | 1664.9964 | 1661.4541
[5 empty] | M.Hydl | 24.9698
| Total Thermal | 2200 | 1663.4193 | 39.9221 | Solar | 102.344 |  |  | 1664.9964 | 1661.4541
IPP | VEDANTA #2 | 600 (1x600) | 364.9854 | 8.7596 | Total IPPs | Yesterday's Demand Profile |  |  | 300.3516 | 496
| GMR #3 | 350 (1x350) | 328.9499 | 7.8948 | 796.5358 |  | MW | HRS | 329.6884 | 331
| NBVL(IPP) | 60(1x60) | 54.3805 | 1.3051 |  |  |  |  | 54.6443 | 55
| MDTPC |  | 48.2199 | 1.1573 |  |  |  |  | 56.576 | 56
| CGPs |  | 628.6427 | 37.263 | IPPs, CGPs & RE | Maximum | 6983.6659 | 23:00 | 1583.2714 | 1951
| Central Sector(Drawl) |  | 2165.9846 | 51.9836 | 1552.4922 | Minimum | 5173.2315 | 07:00 | 1704 | 1975
| Central Sector(Sch) |  | 2141.937 | 51.4065 |  | Average | 6033.8891 |  | 1850 | 1731
| Grand Total |  | 6033.8891 | 144.8133 | Instantaneous Peak demand |  | 7101 | 22:54 | 5833.5937 | 6983.7436
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1802.7446 | 43.2659 | 1867.7946 | 44.8271 | 1749.86 | 41.9966
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1822.6973 | 43.7447 | 1846.995 | 44.3279 | 1793.258 | 43.0382
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1374.4363 | 32.9865 | 1417.7243 | 34.0254 | 1327.827 | 31.8678
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 668.2068 | 16.037 | 652.2342 | 15.6536 | 655.649 | 15.7356
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5668.085 | 136.034 | 5784.7481 | 138.834 | 5526.594 | 132.6383
Machhkund | ALL | Darlipali | 1
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 303 | GMR |  |  |  | 330
| NBVL #3 | 55 | MDTPC |  |  |  | 56
Mini Hydel: | MEENAKSHI | 8.4203 | OPCL |  |  |  | 0
| BTPL | 4 | SAPTADHARA |  |  |  | 0
Solar: |  | 181 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | -34.8019 | JSL(Duburi) |  |  |  | -96.7356
| ICCL | -1.2224 | visa |  |  |  | 9.0279
| NALCO | 8.275 | VAL (CGP) |  |  |  | -7.52
| RSP | -235.9281 | BSL(MMDL) |  |  |  | 18.9724
| INDAL | -2.1534 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -47.1498 | VAL CPP 400 kV |  |  |  | -475.2704
| NBVL | 54.3519 | Arati |  |  |  | 29.8633
| BPSL(JSG) | -67.983 | BPPL |  |  |  | 124.0654
Banking Avg -: (MW) |  | 144.6
HYDRO AVERAGE GENERATION IN MW:-
2026-06-10 | 2026-06-11 | 2026-06-12 | 2026-06-13 | 2026-06-14 | 2026-06-15 | 2026-06-16 | 2026-06-17
581.4024 | 563.6166 | 591.19 | 562.376 | 421.679 | 519.7673 | 627.85 | 651.993
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.17.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 135.15
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 55.76
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 84.58
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.15
JPIPL | NPCL_UP | -14 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 14.51
MAADURGA_THERMAL | NPCL_UP | -20.58 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 9.67
NBVLIPP | TANGEDCO | -50 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.01
OCL_IRON_STEEL | BRPL | -24.5 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -5 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 29.06
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | ENVIROCARE_INFRA | BRPL | -6 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.1
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | TANGEDCO | -3 | DADRI_SOLAR | ODISHA | 0.81
FARIDABAD_SOLAR | ODISHA | 0.83 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 75.25 | FACORPOWER | PSPCL | -11.67 | GADAG_Serentica3_S | VLSEZ | 43.53
MPPMCL | ODISHA | 192.88 | FACORPOWER | PSPCL | -5.25 | GADAG_Serentica3_W | VLSEZ | 64.93
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | -5.83 | GIWEL_SECI_II_RE | ODISHA | 48.47
Manipur_Ben | ODISHA | 32.91 | FACORPOWER | PSPCL | -12.75 | KARUR_TPVARDHAMAN_W | TSKPO | 32.02
RAJ_SOLAR | ODISHA | 1.33 | FACORPOWER | PSPCL | 0 | KARUR_TPVARDHAMAN_W | TSLFAPG | 10
RAJ_SOLAR | ODISHA | 2.3 | GMRKEL_STU | PSPCL | -61.9 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.81
|  |  | KCMW_od | DALCEMAP | -2.33 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | NBVLIPP | BRPL | -10.21 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NBVLIPP | BRPL | -24.79 | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.71
|  |  | NBVL_OTCL | PSPCL | 0 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 1.97
|  |  | NBVL_OTCL | PSPCL | -7.58 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 3.46
|  |  | NBVL_OTCL | PSPCL | -18.42 | OKWPL_RE | ODISHA | 27.75
|  |  | OCL_IRON_STEEL | NPCL_UP | -0.75 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 18.75
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | RWE_AP2_SECI_III | ODISHA | 22.97
|  |  | OCL_IRON_STEEL | TPDDL | -7.29 | RenewGreen_SLPR_HS | JSL_DUBURI | 2.97
|  |  | ORSISL | PSPCL | -3.54 | SRI9PL_FTG3 | VLSEZ | 27.22
|  |  | ORSISL | PSPCL | -1.46 | TPSL_BKN2 | TSKPO | 4.23
|  |  | RSPL_JHARSUGUDA | CSEB_Beneficiary | -5 | TPSL_BKN2 | TSKPO | 7.48
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.08
|  |  | SGML | UPPCL | -4.17 | TSESOPL_BKN2 | OPL_CUTTAK | 0.1
|  |  | TIMES_STEEL | PONDY | -6 | Tuticorin_BETAMWIND | ODISHA | 44.64
|  |  | TSBSLA | CSEB_Beneficiary | -25 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.61
|  |  | VIRAJ_SEPL | WBSEDCL | -8.88 | XXPPL_FTG3 | ODISHA | 35.87
|  |  | VSL | UPPCL | -4.17
|  |  | JIPL | ODISHA | 115.73
|  |  | JSPL_DCPP | JSPLANGUL | 57.29
|  |  | JSPL_DCPP | JSPLBarbil | 39.15
|  |  | NALCOAP | NACL_Odisha | 10.68

## DAM
DAM TRADING DETAILS FOR DT :17.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh | Visa_Steel_Limited
00:00 - 00:15 | -2.9 | 0 | 0 | -2 | 4.26 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
00:15 - 00:30 | -2.9 | 0 | 0 | -2 | 5.59 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
00:30 - 00:45 | -2.9 | 0 | 0 | -2 | 8.16 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
00:45 - 01:00 | -2.9 | 0 | 0 | -2 | 9.07 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
01:00 - 01:15 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
01:15 - 01:30 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
01:30 - 01:45 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
01:45 - 02:00 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
02:00 - 02:15 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
02:15 - 02:30 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
02:30 - 02:45 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
02:45 - 03:00 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
03:00 - 03:15 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
03:15 - 03:30 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
03:30 - 03:45 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
03:45 - 04:00 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
04:00 - 04:15 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -8 | -8 | 0 | 0 | 0 | -9
04:15 - 04:30 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -8 | -8 | 0 | 0 | 0 | -9
04:30 - 04:45 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -8 | -8 | 0 | 0 | 0 | -9
04:45 - 05:00 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -8 | -8 | 0 | 0 | 0 | -9
05:00 - 05:15 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
05:15 - 05:30 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
05:30 - 05:45 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
05:45 - 06:00 | -7.9 | 0 | 0 | 0 | 0 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
06:00 - 06:15 | -7.9 | 0 | 0 | 0 | -150 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
06:15 - 06:30 | -7.9 | 0 | 0 | 0 | -150 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
06:30 - 06:45 | -7.9 | 0 | 0 | 0 | -150 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
06:45 - 07:00 | -7.9 | 0 | 0 | 0 | -150 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
07:00 - 07:15 | -7.9 | 0 | 0 | 0 | -250 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
07:15 - 07:30 | -7.9 | 0 | 0 | 0 | -250 | 0 | -3.3 | -8 | -8 | 0 | 0 | 0 | -9
07:30 - 07:45 | -7.9 | 0 | 0 | 0 | -167.8 | 0 | -3.3 | -8 | -8 | 5.79 | 0 | 0 | -9
07:45 - 08:00 | -7.9 | 0 | 0 | 0 | -135.33 | 0 | -3.3 | -8 | -8 | 5.79 | 0 | 0 | -9
08:00 - 08:15 | -7.9 | 0 | 7.71 | 0 | -334.25 | 0 | -3.3 | -3 | -8 | 5.79 | 0 | 0 | -9
08:15 - 08:30 | -7.9 | 0 | 7.71 | 0 | -300 | 0 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
08:30 - 08:45 | -7.9 | 0 | 7.71 | 0 | -300 | 0 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
08:45 - 09:00 | -7.9 | 0 | 7.72 | 0 | -213.45 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
09:00 - 09:15 | -7.9 | 0 | 7.72 | 0 | -100 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
09:15 - 09:30 | -7.9 | 0 | 7.72 | 0 | -51.78 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
09:30 - 09:45 | -7.9 | 0 | 7.72 | 0 | 3.1 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
09:45 - 10:00 | -7.9 | 0 | 7.72 | 0 | 13.09 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
10:00 - 10:15 | -7.9 | 0 | 7.72 | 0 | 0.9 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
10:15 - 10:30 | -7.9 | 0 | 7.72 | 0 | 3.05 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
10:30 - 10:45 | -7.9 | 0 | 7.72 | 0 | 3.1 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
10:45 - 11:00 | -7.9 | 0 | 7.72 | 0 | 3.1 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
11:00 - 11:15 | -7.9 | 0 | 7.72 | 0 | 3.1 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
11:15 - 11:30 | -7.9 | 0 | 7.72 | 0 | 3.1 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
11:30 - 11:45 | -7.9 | 0 | 7.72 | 0 | 3.05 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
11:45 - 12:00 | -7.9 | 0 | 7.72 | 0 | 3.05 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
12:00 - 12:15 | -7.9 | 0 | 7.72 | 0 | 3.1 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
12:15 - 12:30 | -7.9 | 0 | 7.72 | 0 | 24.95 | 28.92 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
12:30 - 12:45 | -7.9 | 0 | 7.72 | 0 | 152.38 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
12:45 - 13:00 | -7.9 | 0 | 7.72 | 0 | 205.81 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
13:00 - 13:15 | -7.9 | 0 | 7.72 | 0 | 206.68 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
13:15 - 13:30 | -7.9 | 0 | 7.72 | 0 | 181.88 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
13:30 - 13:45 | -7.9 | 0 | 7.72 | 0 | 163.55 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
13:45 - 14:00 | -7.9 | 0 | 7.72 | 0 | -100 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
14:00 - 14:15 | -7.9 | 0 | 7.72 | 0 | -100 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
14:15 - 14:30 | -7.9 | 0 | 7.72 | 0 | -126.44 | 28.93 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
14:30 - 14:45 | -7.9 | 0 | 7.71 | 0 | -144.6 | 0 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
14:45 - 15:00 | -7.9 | 0 | 7.71 | 0 | -150 | 0 | -3.3 | -3 | -8 | 5.79 | 4.82 | 0 | -9
15:00 - 15:15 | -7.9 | 0 | 7.71 | 0 | -100 | 0 | -3.1 | -3 | -8 | 5.79 | 0 | 0 | -9
15:15 - 15:30 | -7.9 | 0 | 7.71 | 0 | -100 | 0 | -3.1 | -3 | -8 | 5.79 | 0 | 0 | -9
15:30 - 15:45 | -7.9 | 0 | 7.71 | 0 | -100 | 0 | -3.1 | -3 | -8 | 5.79 | 0 | 0 | -9
15:45 - 16:00 | -7.9 | 0 | 7.71 | 0 | -100 | 0 | -3.1 | -3 | -8 | 5.79 | 0 | 0 | -9
16:00 - 16:15 | -7.9 | 0 | 0 | 0 | -196.1 | 0 | -3.1 | -3 | -8 | 5.79 | 0 | 0 | -9
16:15 - 16:30 | -7.9 | 0 | 0 | 0 | -200.28 | 0 | -3.1 | -3 | -8 | 5.79 | 0 | 0 | -9
16:30 - 16:45 | -7.9 | 0 | 0 | 0 | -250 | 0 | -3.1 | -3 | -8 | 5.79 | 0 | 0 | -9
16:45 - 17:00 | -7.9 | 0 | 0 | 0 | -250 | 0 | -3.1 | -3 | -8 | 0 | 0 | 0 | -9
17:00 - 17:15 | -7.9 | -12 | 0 | 0 | -150 | 0 | -3.1 | -4 | -8 | 0 | 0 | 0 | -9
17:15 - 17:30 | -7.9 | -12 | 0 | 0 | -150 | 0 | -3.1 | -4 | -8 | 0 | 0 | 0 | -9
17:30 - 17:45 | -7.9 | -12 | 0 | 0 | -150 | 0 | -3.1 | -4 | -8 | 0 | 0 | 0 | -9
17:45 - 18:00 | -7.9 | -12 | 0 | 0 | -150 | 0 | -3.1 | -4 | -8 | 0 | 0 | 0 | -9
18:00 - 18:15 | -2.9 | 0 | 0 | 0 | -300 | 0 | -3.1 | -4 | -8 | 5.79 | 0 | 0 | -9
18:15 - 18:30 | -2.9 | 0 | 0 | 0 | -300 | 0 | -3.1 | -4 | -8 | 0 | 0 | 0 | -9
18:30 - 18:45 | -2.9 | 0 | 0 | 0 | -300 | 0 | -3.1 | -4 | -8 | 0 | 0 | 0 | -9
18:45 - 19:00 | -2.9 | 0 | 0 | 0 | -300 | 0 | -3.1 | -4 | -8 | 0 | 0 | 0 | -9
19:00 - 19:15 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
19:15 - 19:30 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | 0 | -9
19:30 - 19:45 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -10.7 | -9
19:45 - 20:00 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
20:00 - 20:15 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
20:15 - 20:30 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
20:30 - 20:45 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
20:45 - 21:00 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
21:00 - 21:15 | -2.9 | 0 | 0 | -2 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
21:15 - 21:30 | -2.9 | 0 | 0 | -2 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
21:30 - 21:45 | -2.9 | 0 | 0 | -2 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
21:45 - 22:00 | -2.9 | 0 | 0 | -2 | 0 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
22:00 - 22:15 | -2.9 | 0 | 0 | -2 | 6.71 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.39 | -9
22:15 - 22:30 | -2.9 | 0 | 0 | -2 | 4.68 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
22:30 - 22:45 | -2.9 | 0 | 0 | -2 | 1.83 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
22:45 - 23:00 | -2.9 | 0 | 0 | -2 | 0.42 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
23:00 - 23:15 | -2.9 | 0 | 0 | -2 | 0.09 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
23:15 - 23:30 | -2.9 | 0 | 0 | -2 | 0.06 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
23:30 - 23:45 | -2.9 | 0 | 0 | -2 | 0.95 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
23:45 - 24:00 | -2.9 | 0 | 0 | -2 | 0.78 | 0 | -3.1 | -9 | -8 | 0 | 0 | -19.4 | -9
Average | -6.025 | -0.5 | 2.5724 | -0.33333 | -56.2546 | 6.9299 | -3.1833 | -6.1667 | -8 | 2.2919 | 1.3556

## RTM
RTM TRADING DETAILS FOR DT: 16.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Visa_Steel_Limited
00:00 - 00:15 | -2.9 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | -1
00:15 - 00:30 | -2.9 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | -1
00:30 - 00:45 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | -1
00:45 - 01:00 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | -1
01:00 - 01:15 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | -6 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | -6 | 0 | 0 | -4 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | -6 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | -6 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -2.9 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -2.9 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -2.9 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -2.9 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -2.9 | 0 | -0.6 | -1.3 | 5.16 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -2.9 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -2.9 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -2.9 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -2.9 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -2.9 | 0 | -0.6 | -1.3 | -122.25 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -2.9 | 0 | -0.6 | -1.3 | -133.34 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -2.9 | 0 | -0.6 | -1.4 | -200 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -2.9 | 0 | -0.6 | -1.4 | -200 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -2.9 | 0 | -0.6 | -1.4 | -260.71 | 0 | 0 | -0.1 | -0.1 | -1 | 0 | -10.5 | -0.4 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -2.9 | -10 | -0.6 | -1.4 | -258.7 | 0 | 0 | -0.2 | -0.2 | -1 | 0 | -10.5 | -0.7 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -2.9 | 0 | -0.2 | -1.4 | -254.83 | 0 | 0 | -0.3 | -0.3 | -1 | 0 | -10.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -2.9 | 0 | -0.2 | -1.4 | -231.51 | 0 | 0 | -0.4 | -0.3 | -1 | 0 | -10.5 | -1.1 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -2.9 | 0 | -0.2 | -1.4 | 0 | 0 | 0 | -0.5 | -0.4 | -1 | 0 | -10.5 | -1.3 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -2.9 | 0 | -0.2 | -1.4 | 0 | 1.92 | 0 | -0.6 | -0.5 | -1 | 0 | -10.5 | -1.5 | 0 | 0 | 0 | 0 | 0 | -10 | -20 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -2.9 | 0 | -0.2 | -1.4 | 0 | 0 | 0 | -0.6 | -0.6 | -1 | 0 | -10.5 | -2 | 0 | 0 | 0 | 0 | 0 | -10 | -20 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | -2.9 | 0 | -0.2 | -1.4 | 0 | 10.61 | 0 | -0.7 | -0.6 | -1 | 19.29 | -10.5 | -2.4 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 4.82 | 0 | 0 | 0 | 0
08:00 - 08:15 | -2.9 | -9 | -0.6 | -1.4 | 0 | 10.61 | 0 | -0.7 | -0.7 | -1 | 0 | -10.5 | -2.8 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 4.82 | 0 | 0 | 0 | 0
08:15 - 08:30 | -2.9 | 0 | -0.6 | -1.4 | 0 | 10.61 | 0 | -0.9 | -1 | -1 | 0 | -10.5 | -3.1 | 0 | 2.89 | 0 | 0 | 0 | -10 | 0 | 4.82 | 0 | 0 | 0 | 0
08:30 - 08:45 | -2.9 | 0 | -0.6 | -1.4 | 102.2 | 10.61 | 0 | -1.1 | -1.8 | -1 | 0 | -10.5 | -3.4 | 0 | 2.89 | 4.82 | 0 | 0 | -3 | 0 | 4.82 | 0 | 0 | 0 | 0
08:45 - 09:00 | -2.9 | 0 | -0.6 | -1.4 | 106.37 | 10.61 | 0 | -1.3 | -2 | -1 | 0 | -10.5 | -3.6 | 0 | 2.89 | 4.82 | 0 | 0 | -3 | 0 | 4.82 | 0 | 0 | 0 | 0
09:00 - 09:15 | -2.9 | 0 | -0.6 | -1.2 | -156.42 | 10.62 | 0 | -1.5 | -2.2 | -1 | 0 | -10.5 | -3.9 | 0 | 2.89 | 4.82 | 0 | 0.96 | -3 | 0 | 4.82 | 0 | 0 | 5.79 | 0
09:15 - 09:30 | -2.9 | 0 | -0.6 | -1.2 | -105.04 | 10.62 | 0 | -1.8 | -2.4 | -1 | 0 | -10.5 | -4.2 | 0 | 2.89 | 4.82 | 0 | 0.96 | -3 | -30 | 4.82 | 0 | 0 | 5.79 | 0
09:30 - 09:45 | -2.9 | -9 | -0.6 | -1.2 | -289.75 | 10.62 | 0 | -2 | -2.2 | -1 | 0 | -3 | -4.4 | 0 | 2.89 | 4.82 | 0 | 0.96 | -3 | -20 | 4.82 | 0 | 0 | 1.93 | 0
09:45 - 10:00 | -2.9 | 0 | -0.6 | -1.2 | -382.1 | 10.62 | 0 | -1.9 | -2.5 | -1 | 0 | -3 | -4.6 | 0 | 2.89 | 4.82 | 0 | 0.96 | -3 | 0 | 4.82 | 0 | 0 | 1.93 | 0
10:00 - 10:15 | -2.9 | 0 | -0.6 | -1.2 | -272.5 | 10.61 | 0 | -2.5 | -2.7 | -1 | 0 | -3 | -4.7 | 0 | 2.89 | 0 | 0 | 0 | -3 | 0 | 8.68 | 0 | 0 | 1.93 | 0
10:15 - 10:30 | -2.9 | 0 | -0.6 | -1.2 | -174.68 | 10.61 | 0 | -2.5 | -3 | -1 | 0 | -3 | -4.8 | 0 | 2.89 | 0 | 0 | 0 | -3 | 0 | 8.68 | 0 | 0 | 1.93 | 0
10:30 - 10:45 | -2.9 | 0 | -0.6 | -1.3 | -89.74 | 10.61 | 0 | -2.8 | -3.2 | -1 | 0 | -10.5 | -4.9 | 0 | 3.86 | 4.82 | 0 | 0.96 | -3 | 0 | 8.68 | 0 | 0 | 5.79 | 0
10:45 - 11:00 | -2.9 | 0 | -0.6 | -1.3 | -90.03 | 10.61 | 0 | -2.8 | -3.5 | -1 | 0 | -10.5 | -5 | 0 | 3.86 | 4.82 | 0 | 0.96 | -3 | -10 | 8.68 | 0 | 0 | 5.79 | 0
11:00 - 11:15 | -2.9 | 0 | -0.6 | -1.3 | 92.51 | 10.61 | 0 | -2.8 | -3.1 | -1 | 0 | -10.5 | -5 | 0 | 3.86 | 4.82 | 0 | 0.96 | -10 | -30 | 8.68 | 0 | 0 | 10.61 | 0
11:15 - 11:30 | -2.9 | -10 | -0.6 | -1.3 | 188.96 | 10.61 | 0 | -2.6 | -3.2 | -1 | 0 | -10.5 | -5 | 0 | 3.86 | 4.82 | 0 | 0.96 | -10 | 0 | 8.68 | 0 | 0 | 10.61 | 0
11:30 - 11:45 | -2.9 | 0 | -0.6 | -1.3 | 77.12 | 10.61 | 0 | -2.8 | -2.1 | -1 | 0 | -10.5 | -4.9 | 0 | 3.86 | 4.82 | 0 | 0.96 | -10 | 0 | 8.68 | 0 | 0 | 10.61 | 0
11:45 - 12:00 | -2.9 | 0 | -0.6 | -1.3 | 144.64 | 10.61 | 0 | -2.8 | -2.2 | -1 | 0 | -10.5 | -4.6 | 0 | 3.86 | 4.82 | 0 | 0.96 | -10 | -35 | 8.68 | 0 | 0 | 10.61 | 0
12:00 - 12:15 | -2.9 | 0 | -0.6 | -1.3 | 146.25 | 10.61 | 0 | -2.8 | -2 | -1 | 0 | -10.5 | -4.6 | 0 | 3.86 | 4.82 | 0 | 0.96 | -10 | 0 | 4.82 | 0 | 0 | 10.61 | 0
12:15 - 12:30 | -2.9 | 0 | -0.6 | -1.3 | 237.8 | 10.61 | 0 | -2.8 | -2 | -1 | 0 | -10.5 | -4.2 | 0 | 3.86 | 4.82 | 0 | 0.96 | -10 | 0 | 4.82 | 0 | 0 | 10.61 | 0
12:30 - 12:45 | -2.9 | 0 | -0.6 | -1.3 | 238.53 | 10.61 | 0 | -2.8 | -1.4 | -1 | 0 | -10.5 | -4.1 | 0 | 3.86 | 4.82 | 0 | 0.96 | -5 | -35 | 4.82 | 0 | 0 | 10.61 | 0
12:45 - 13:00 | -2.9 | 0 | -0.6 | -1.3 | 240.58 | 10.61 | 0 | -2.8 | -1.3 | -1 | 0 | -10.5 | -2.2 | 0 | 3.86 | 4.82 | 0 | 0.96 | -5 | 0 | 4.82 | 0 | 0 | 10.61 | 0
13:00 - 13:15 | -2.9 | -10 | -0.6 | -1.5 | 265.17 | 10.61 | 0 | -2.8 | -1.6 | -1 | 0 | -10.5 | -2.3 | 0 | 3.86 | 4.82 | 0 | 0.96 | -5 | 0 | 4.82 | 0 | 0 | 5.79 | 0
13:15 - 13:30 | -2.9 | 0 | -0.6 | -1.5 | 259.46 | 10.61 | 0 | -2.8 | -1.6 | -1 | 0 | -10.5 | -2 | 0 | 3.86 | 4.82 | 0 | 0.96 | -5 | 0 | 4.82 | 0 | 0 | 5.79 | 0
13:30 - 13:45 | -2.9 | 0 | -0.6 | -1.5 | 247.31 | 10.61 | 0 | -2.8 | -2 | -1 | 0 | -10.5 | -2 | 0 | 3.86 | 4.82 | 0 | 0.96 | -5 | 0 | 4.82 | 0 | 0 | 5.79 | 0
13:45 - 14:00 | -2.9 | 0 | -0.6 | -1.5 | 361.62 | 10.61 | 0 | -2.5 | -1.7 | -1 | 0 | -10.5 | -1.7 | 0 | 3.86 | 0 | 0 | 0 | -5 | 0 | 4.82 | 0 | 0 | 2.61 | 0
14:00 - 14:15 | -2.9 | 0 | -0.6 | -1.4 | 448.97 | 10.61 | 0 | -2.3 | -1.6 | -1 | 0 | -10.5 | -1.6 | 0 | 0 | 0 | 0 | 0 | -5 | -20 | 4.82 | 19.29 | 0 | 0 | 0
14:15 - 14:30 | -2.9 | 0 | -0.6 | -1.4 | 493.76 | 10.61 | 0 | -0.4 | -1.6 | -1 | 0 | -10.5 | -1.5 | 0 | 0 | 0 | 0 | 0 | -5 | -35 | 4.82 | 19.29 | 0 | 0 | 0
14:30 - 14:45 | -2.9 | -10 | -0.6 | -1.3 | 420.69 | 10.61 | 0 | -1 | -1.5 | -1 | 0 | -10.5 | -1.4 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 4.82 | 19.29 | 0 | 0 | 0
14:45 - 15:00 | -2.9 | 0 | -0.6 | -1.3 | 371.34 | 10.61 | 0 | -0.5 | -1.3 | -1 | 0 | -10.5 | -1.3 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 4.82 | 19.29 | 0 | 0 | 0
15:00 - 15:15 | -2.9 | 0 | -0.6 | -1.3 | 409.23 | 0 | 0 | -0.3 | -1 | -1 | 0 | -10.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -2.9 | 0 | -0.6 | -1.3 | 405.17 | 0 | 0 | -0.3 | -0.7 | -1 | 0 | -10.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -2.9 | 0 | -0.6 | -1.3 | 361.04 | 0 | 0 | -0.2 | -0.5 | -1 | 0 | -10.5 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -2.9 | 0 | -0.6 | -1.3 | 264.73 | 0 | 0 | -0.2 | -0.5 | -1 | 0 | -10.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | -5 | -35 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -2.9 | -10 | -0.6 | -1.2 | 178.69 | 10.61 | 0 | -0.1 | -0.2 | -1 | 19.29 | -10.5 | -0.8 | 0 | 3.86 | 4.82 | 0 | 0.96 | -5 | -30 | 4.82 | 0 | 0 | 0.68 | 0
16:15 - 16:30 | -2.9 | 0 | -0.6 | -1.2 | 154.33 | 10.61 | 0 | -0.1 | -0.2 | -1 | 19.29 | -10.5 | -0.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 4.82 | 0 | 0 | 0 | 0
16:30 - 16:45 | -2.9 | 0 | -0.6 | -1.2 | 149.47 | 10.61 | 0 | 0 | -0.1 | -1 | 19.29 | -10.5 | -0.7 | 0 | 3.86 | 0 | 0 | 0 | -5 | 0 | 4.82 | 0 | 0 | 0 | 0
16:45 - 17:00 | -2.9 | 0 | -0.6 | -1.2 | 95.67 | 0 | 0 | 0 | -0.1 | -1 | 0 | -10.5 | -0.6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -2.9 | 0 | -0.6 | -1.3 | 106.13 | 10.61 | 0 | 0 | -0.1 | -1 | 0 | -10.5 | -0.4 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -2.9 | 0 | -0.6 | -1.3 | 143.48 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | -0.3 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -2.9 | 0 | -0.6 | -1.3 | 120.37 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | -0.2 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -2.9 | 0 | -0.6 | -1.3 | 110.97 | 0 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.9 | 0 | -0.6 | -1.3 | 278.66 | 0 | 0 | 0 | 0 | -1 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -2.9 | -10 | -0.6 | -1.3 | 291.87 | 0 | 0 | 0 | 0 | -1 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -2.9 | -15 | -0.6 | 0 | 248.54 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -2.9 | -15 | -0.6 | 0 | 77.22 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2.9 | 0 | -0.6 | 0 | 137.61 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.9 | 0 | -0.6 | 0 | 83.88 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.9 | 0 | -0.6 | 0 | 49.31 | 0 | -150 | 0 | 0 | -1 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.9 | 0 | -0.6 | 0 | 41.27 | 0 | -150 | 0 | 0 | -1 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.9 | 0 | -0.6 | -1.3 | 77.48 | 0 | -150 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.9 | 0 | -0.6 | -1.3 | 72.16 | 0 | -150 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.9 | 0 | -0.6 | -1.3 | 121.73 | 0 | -150 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.9 | 0 | -0.6 | -1.3 | 114.47 | 0 | -150 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.9 | 0 | -0.6 | -1.3 | 118.27 | 0 | -200 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.9 | 0 | -0.6 | -1.3 | 111.52 | 0 | -200 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.9 | 0 | -0.6 | -1.3 | 103.42 | 0 | -200 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.9 | 0 | -0.6 | -1.3 | 97.12 | 0 | -200 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.9 | 0 | -0.6 | -1.3 | 70.37 | 0 | -230 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.9 | 0 | -0.6 | -1.3 | 59.67 | 0 | -230 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.9 | 0 | -0.6 | -1.3 | 51.29 | 0 | -230 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.9 | 0 | -0.6 | -1.3 | 47.55 | 0 | -230 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.9 | 0 | -0.6 | -1.3 | 35.73 | 0 | -230 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.9 | 0 | -0.6 | -1.3 | 38.5 | 0 | -230 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.9 | 0 | -0.6 | -1.3 | 40.21 | 0 | -230 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.9 | 0 | -0.6 | -1.3 | 38.22 | 0 | -230 | 0 | 0 | -1 | 0 | -7.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
Average | -2.9 | -1.125 | -0.52083 | -1.2333 | 63.877 | 3.6676 | -38.9583 | -0.66354 | -0.66458 | -1 | 0.80375 | -9.125 | -1.2094 | -1.5 | 0.91427 | 1.0042 | -0.25 | 0.18 | -3.75 | -5.1667 | 1.9283 | 0.80375 | -0.60417 | 1.421 | -0.041667

## GDAM
GDAM TRADING DETAILS FOR DT:17.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 20.03 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 21.97 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 26.51 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 26.72 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -0.3 | 0 | 11.57 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -1.8 | 0 | 11.57 | 33.75 | 0 | 5.79 | 1.93
07:45 - 08:00 | 0 | -3.5 | 0 | 11.57 | 33.75 | 0 | 5.79 | 0
08:00 - 08:15 | 0 | -3.7 | 0 | 11.57 | 33.76 | 9.64 | 5.79 | 0
08:15 - 08:30 | 0 | -3.6 | 0 | 11.57 | 33.76 | 9.64 | 5.79 | 0
08:30 - 08:45 | 0 | -3.7 | 0 | 11.57 | 33.76 | 9.64 | 5.79 | 0
08:45 - 09:00 | 0 | -4.5 | 0 | 11.57 | 33.76 | 9.64 | 5.79 | 0
09:00 - 09:15 | -0.1 | -4.3 | 289.24 | 11.57 | 33.75 | 9.64 | 5.79 | 0
09:15 - 09:30 | -1.3 | -4.5 | 283.48 | 11.57 | 33.75 | 9.64 | 5.79 | 0
09:30 - 09:45 | 0 | -5.6 | 283.34 | 11.57 | 33.75 | 9.64 | 5.79 | 0
09:45 - 10:00 | -2.9 | -6.8 | 264.06 | 11.57 | 30.86 | 9.64 | 5.79 | 0
10:00 - 10:15 | -4.1 | -7.1 | 287.59 | 11.57 | 26.04 | 9.64 | 5.79 | 0
10:15 - 10:30 | -6.7 | -4.3 | 283.36 | 11.57 | 22.18 | 9.64 | 5.79 | 0
10:30 - 10:45 | -8.2 | -7.3 | 283.35 | 11.57 | 22.18 | 9.64 | 5.79 | 0
10:45 - 11:00 | -9.5 | -7.6 | 283.3 | 11.57 | 21.22 | 9.64 | 5.79 | 0
11:00 - 11:15 | -6.3 | -9.9 | 283.31 | 11.57 | 22.18 | 9.64 | 5.79 | 0
11:15 - 11:30 | -3.7 | -9.3 | 283.33 | 11.57 | 22.18 | 9.64 | 5.79 | 0
11:30 - 11:45 | -5.2 | -3.6 | 283.41 | 11.57 | 22.18 | 9.64 | 5.79 | 0
11:45 - 12:00 | -2.7 | -8.5 | 283.41 | 11.57 | 23.15 | 9.64 | 5.79 | 0
12:00 - 12:15 | -2.8 | -10 | 283.3 | 11.57 | 23.15 | 9.64 | 5.79 | 0
12:15 - 12:30 | -6.3 | -7.1 | 241.14 | 11.57 | 24.11 | 9.64 | 5.79 | 0
12:30 - 12:45 | -1.8 | -5.5 | 113.64 | 11.57 | 24.11 | 9.64 | 5.79 | 0
12:45 - 13:00 | -1 | -5.3 | 60.21 | 11.57 | 24.11 | 9.64 | 5.79 | 0
13:00 - 13:15 | 0 | -4.7 | 59.33 | 11.57 | 24.11 | 9.64 | 5.79 | 0
13:15 - 13:30 | 0 | -2.9 | 84.15 | 11.57 | 24.11 | 9.64 | 5.79 | 0
13:30 - 13:45 | 0 | -3.5 | 78.11 | 11.57 | 25.07 | 9.64 | 5.79 | 0
13:45 - 14:00 | 0 | -1.1 | 0 | 11.57 | 25.08 | 9.64 | 5.79 | 0
14:00 - 14:15 | -1.7 | -0.3 | 0 | 11.57 | 25.08 | 9.64 | 5.79 | 0
14:15 - 14:30 | -2.4 | -2.3 | 0 | 11.57 | 26.04 | 9.64 | 5.79 | 0
14:30 - 14:45 | -3.1 | 0 | 0 | 11.57 | 28.94 | 9.64 | 5.79 | 0
14:45 - 15:00 | -1.8 | 0 | 0 | 11.57 | 32.79 | 9.64 | 5.79 | 0
15:00 - 15:15 | -1.1 | -0.9 | 0 | 11.57 | 0 | 0 | 5.79 | 0
15:15 - 15:30 | -1.4 | -3.9 | 0 | 11.57 | 0 | 0 | 5.79 | 0
15:30 - 15:45 | -0.6 | -4.7 | 0 | 11.57 | 0 | 0 | 5.79 | 0
15:45 - 16:00 | 0 | -5.4 | 0 | 11.57 | 0 | 0 | 5.79 | 0
16:00 - 16:15 | 0 | -6.1 | 0 | 11.57 | 33.75 | 0 | 5.79 | 0
16:15 - 16:30 | 0 | -5.2 | 0 | 11.57 | 33.75 | 0 | 5.79 | 0
16:30 - 16:45 | 0 | -3.1 | 0 | 11.57 | 33.75 | 0 | 5.79 | 0
16:45 - 17:00 | 0 | -1.6 | 0 | 11.57 | 0 | 0 | 5.79 | 0
17:00 - 17:15 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 0
17:15 - 17:30 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 0
17:30 - 17:45 | 0 | 0 | 0 | 11.57 | 0 | 0 | 5.79 | 0
17:45 - 18:00 | 0 | 0 | 0 | 11.57 | 0 | 0 | 4.19 | 0
18:00 - 18:15 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 8.45 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 8.83 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 9.7 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 5.44 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 5.36 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 5.49 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 5.31 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 1.52 | 0 | 0 | 0 | 0 | 0
Average | -0.77812 | -1.8073 | 46.4207 | 5.544 | 9.6241 | 2.8117 | 2.5165 | 0.020104