## POWER STATUS
POWER STATUS ON DT 20.06.2026
[9 empty] | 2026-06-20 | 2026-06-19
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 5860 | 6430.8
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 40.667 | 0.97601 | 630/590 ft | 601.65 | 601.39 | 601.12 | 0 | 72
| Chiplima | 72(3x24) | 12.417 | 0.29801 | - |  |  |  | 14 | 10
| Balimela | 510(6x60+2x75) | 200.833 | 4.82 | 1516/1440 ft | 1456 | 1464.8 | 1464.2 | 365 | 367
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 110.38 | 109.87 | 109.86 | 0 | 0
| Upper Kolab | 320(4x80) | 19.83 | 0.47592 | 858/844 mt | 847.06 | 847.09 | 847.09 | 0 | 152
| Upper Indravati | 600(4x150) | 228.875 | 5.493 | 642/625 mt | 627.97 | 628.92 | 628.84 | 352 | 585
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2726.2 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 502.622 | 12.0629 |  |  |  |  | 731 | 1186
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1613.92 | 38.7341 | RENEWABLE ENERGY (RE) |  |  |  | 1632 | 1643.4
[5 empty] | M.Hydl | 15.19
| Total Thermal | 2200 | 1613.92 | 38.7341 | Solar | 109.71 |  |  | 1632 | 1643.4
IPP | VEDANTA #2 | 600 (1x600) | 309.74 | 7.4338 | Total IPPs | Yesterday's Demand Profile |  |  | 311 | 311
| GMR #3 | 350 (1x350) | 320.01 | 7.6802 | 732.77 |  | MW | HRS | 328 | 330
| NBVL(IPP) | 60(1x60) | 53.41 | 1.2818 |  |  |  |  | 54 | 54
| MDTPC |  | 49.61 | 1.1906 |  |  |  |  | 55 | 56
| CGPs |  | 710.82 | 17.0597 | IPPs, CGPs & RE | Maximum | 6579 | 01:00 | 1495 | 1534
| Central Sector(Drawl) |  | 2238.82 | 53.7317 | 1568.49 | Minimum | 4998 | 18:00 | 2002 | 2067.4
| Central Sector(Sch) |  | 2396.14 | 57.5074 |  | Average | 5923.852 |  | 1908 | 2112
| Grand Total |  | 5923.852 | 142.1724 | Instantaneous Peak demand |  | 7235 | 23:15 | 5860 | 6430.8
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1777 | 42.648 | 1681 | 40.344 | 1868 | 44.832
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2216 | 53.184 | 2922 | 70.128 | 2095 | 50.28
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1342 | 32.208 | 1354 | 32.496 | 1381 | 33.144
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 649 | 15.576 | 637 | 15.288 | 644 | 15.456
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5984 | 143.616 | 6594 | 158.256 | 5988 | 143.712
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 311 | GMR |  |  |  | 329
| NBVL #3 | 54 | MDTPC |  |  |  | 42
Mini Hydel: | MEENAKSHI | 18 | OPCL |  |  |  | 0
| BTPL | 13 | SAPTADHARA |  |  |  | 0
Solar: |  | 158 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 33 | JSL(Duburi) |  |  |  | -120
| ICCL | 7 | visa |  |  |  | 12
| NALCO | -1 | VAL (CGP) |  |  |  | -11
| RSP | -52 | BSL(MMDL) |  |  |  | 70
| INDAL | -6 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -43 | VAL CPP 400 kV |  |  |  | -950
| NBVL | 55 | Arati |  |  |  | 21
| BPSL(JSG) | -165 | BPPL |  |  |  | 122
Banking Avg -: (MW) |  | 193
HYDRO AVERAGE GENERATION IN MW:-
2026-06-12 | 2026-06-13 | 2026-06-14 | 2026-06-15 | 2026-06-16 | 2026-06-17 | 2026-06-18 | 2026-06-19
591.19 | 562.376 | 421.679 | 519.7673 | 627.85 | 651.793 | 662.5902 | 502.622
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.19.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 135.15
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 55.76
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 84.58
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.15
JPIPL | NPCL_UP | -14 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 14.51
MAADURGA_THERMAL | NPCL_UP | -20.58 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 9.67
NBVLIPP | TANGEDCO | -50 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.01
OCL_IRON_STEEL | BRPL | -24.5 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -5 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 29.06
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | ENVIROCARE_INFRA | BRPL | -6 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.1
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | TANGEDCO | -3 | DADRI_SOLAR | ODISHA | 0.81
FARIDABAD_SOLAR | ODISHA | 0.83 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 75.25 | FACORPOWER | PSPCL | -11.67 | GADAG_Serentica3_S | VLSEZ | 43.53
MPPMCL | ODISHA | 192.88 | FACORPOWER | PSPCL | -5.25 | GADAG_Serentica3_W | VLSEZ | 64.93
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | -5.83 | GIWEL_SECI_II_RE | ODISHA | 48.47
Manipur_Ben | ODISHA | 32.91 | FACORPOWER | PSPCL | -12.75 | KARUR_TPVARDHAMAN_W | TSKPO | 32.02
RAJ_SOLAR | ODISHA | 1.33 | FACORPOWER | PSPCL | 0 | KARUR_TPVARDHAMAN_W | TSLFAPG | 10
RAJ_SOLAR | ODISHA | 2.3 | GMRKEL_STU | PSPCL | -61.9 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.81
|  |  | KCMW_od | DALCEMAP | -2.33 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | NBVLIPP | BRPL | -10.21 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NBVLIPP | BRPL | -24.79 | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.71
|  |  | NBVL_OTCL | PSPCL | 0 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 1.97
|  |  | NBVL_OTCL | PSPCL | -7.58 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 3.46
|  |  | NBVL_OTCL | PSPCL | -18.42 | OKWPL_RE | ODISHA | 27.75
|  |  | OCL_IRON_STEEL | NPCL_UP | -0.75 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 18.75
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | RWE_AP2_SECI_III | ODISHA | 22.97
|  |  | OCL_IRON_STEEL | TPDDL | -7.29 | RenewGreen_SLPR_HS | JSL_DUBURI | 2.97
|  |  | ORSISL | PSPCL | -3.54 | SRI9PL_FTG3 | VLSEZ | 27.22
|  |  | ORSISL | PSPCL | -1.46 | TPSL_BKN2 | TSKPO | 4.23
|  |  | RSPL_JHARSUGUDA | CSEB_Beneficiary | -5 | TPSL_BKN2 | TSKPO | 7.48
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.08
|  |  | SGML | UPPCL | -4.17 | TSESOPL_BKN2 | OPL_CUTTAK | 0.1
|  |  | TIMES_STEEL | PONDY | -6 | Tuticorin_BETAMWIND | ODISHA | 44.64
|  |  | TSBSLA | CSEB_Beneficiary | -25 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.61
|  |  | VIRAJ_SEPL | WBSEDCL | -8.88 | XXPPL_FTG3 | ODISHA | 35.87
|  |  | VSL | UPPCL | -4.17
|  |  | JIPL | ODISHA | 115.73
|  |  | JSPL_DCPP | JSPLANGUL | 57.29
|  |  | JSPL_DCPP | JSPLBarbil | 39.15
|  |  | NALCOAP | NACL_Odisha | 10.68

## DAM
DAM TRADING DETAILS FOR DT :19.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Minerals_Ltd | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela
00:00 - 00:15 | -3.1 | 0 | 0 | 0 | -180 | -3 | -9 | 0 | 0
00:15 - 00:30 | -3.1 | 0 | 0.16 | 0 | -180 | -3 | -9 | 0 | 0
00:30 - 00:45 | -3.1 | 0 | 1.06 | 0 | -180 | -3 | -9 | 0 | 0
00:45 - 01:00 | -3.1 | 0 | 2.05 | 0 | -180 | -3 | -9 | 0 | 0
01:00 - 01:15 | -3.1 | 0 | 2.15 | 0 | -180 | -3 | -9 | 0 | 0
01:15 - 01:30 | -3.1 | 0 | 5.2 | 0 | -180 | -3 | -9 | 0 | 0
01:30 - 01:45 | -3.1 | 0 | 10.01 | 0 | -180 | -3 | -9 | 0 | 0
01:45 - 02:00 | -3.1 | 0 | 12.33 | 0 | -180 | -3 | -9 | 0 | 0
02:00 - 02:15 | -3.1 | 0 | 10.8 | 0 | -180 | -3 | -9 | 0 | 0
02:15 - 02:30 | -3.1 | 0 | 15.96 | 0 | -180 | -3 | -9 | 0 | 0
02:30 - 02:45 | -3.1 | 0 | 20.18 | 0 | -180 | -3 | -9 | 0 | 0
02:45 - 03:00 | -3.1 | 0 | 25.87 | 0 | -180 | -3 | -9 | 0 | 0
03:00 - 03:15 | -8.1 | 0 | 44.7 | 0 | -60 | -3 | -9 | 0 | 0
03:15 - 03:30 | -8.1 | 0 | 45.22 | 0 | -60 | -3 | -9 | 0 | 0
03:30 - 03:45 | -8.1 | 0 | 54.74 | 0 | -60 | -3 | -9 | 0 | 0
03:45 - 04:00 | -8.1 | 0 | 64.66 | 0 | -60 | -3 | -9 | 0 | 0
04:00 - 04:15 | -8.1 | 0 | 56.73 | 0 | -60 | -3 | -8 | 0 | 0
04:15 - 04:30 | -8.1 | 0 | 60.87 | 0 | -60 | -3 | -8 | 0 | 0
04:30 - 04:45 | -8.1 | 0 | 60.08 | 0 | -60 | -3 | -8 | 0 | 0
04:45 - 05:00 | -8.1 | 0 | 53.23 | 0 | -60 | -3 | -8 | 0 | 0
05:00 - 05:15 | -8.1 | 0 | 46.71 | 0 | -60 | -3.2 | -8 | 0 | 0
05:15 - 05:30 | -8.1 | 0 | 41.22 | 0 | -60 | -3.2 | -8 | 0 | 0
05:30 - 05:45 | -8.1 | 0 | 31.33 | 0 | -60 | -3.2 | -8 | 0 | 0
05:45 - 06:00 | -8.1 | 0 | 33.37 | 0 | -60 | -3.2 | -8 | 0 | 0
06:00 - 06:15 | -8.1 | 0 | 0 | 0 | -60 | -3.2 | -8 | 0 | 0
06:15 - 06:30 | -8.1 | 0 | 0 | 0 | -60 | -3.2 | -8 | 0 | 0
06:30 - 06:45 | -8.1 | 0 | 0 | 0 | -60 | -3.2 | -8 | 0 | 0
06:45 - 07:00 | -8.1 | 0 | 0 | 0 | -60 | -3.2 | -8 | 0 | 0
07:00 - 07:15 | -8.1 | 0 | 0 | 0 | -60 | -3.2 | -8 | 0 | 0
07:15 - 07:30 | -8.1 | 0 | 0 | 0 | -60 | -3.2 | -8 | 0 | 0
07:30 - 07:45 | -8.1 | 0 | 0 | 0 | 0 | -3.2 | -8 | 0 | 0
07:45 - 08:00 | -8.1 | 0 | 0 | 0 | 0 | -3.2 | -8 | 0 | 0
08:00 - 08:15 | -8.1 | 0 | -100.84 | 0 | 0 | -3.2 | -3 | 5.79 | 0
08:15 - 08:30 | -8.1 | 0 | -80.36 | 0 | 0 | -3.2 | -3 | 5.79 | 0
08:30 - 08:45 | -8.1 | 0 | 0 | 0 | 0 | -3.2 | -3 | 5.79 | 0
08:45 - 09:00 | -8.1 | 0 | 0 | 0 | 0 | -3.2 | -3 | 5.79 | 0
09:00 - 09:15 | -8.1 | 0 | -299.95 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
09:15 - 09:30 | -8.1 | 0 | -213.79 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
09:30 - 09:45 | -8.1 | 0 | -182.7 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
09:45 - 10:00 | -8.1 | 0 | -111.3 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
10:00 - 10:15 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
10:15 - 10:30 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
10:30 - 10:45 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
10:45 - 11:00 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
11:00 - 11:15 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
11:15 - 11:30 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
11:30 - 11:45 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
11:45 - 12:00 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
12:00 - 12:15 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
12:15 - 12:30 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
12:30 - 12:45 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
12:45 - 13:00 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
13:00 - 13:15 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
13:15 - 13:30 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
13:30 - 13:45 | -8.1 | 0 | 0 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
13:45 - 14:00 | -8.1 | 0 | -26.78 | 28.93 | 0 | -3.2 | -3 | 5.79 | 0
14:00 - 14:15 | -8.1 | 0 | -90.31 | 0 | 0 | -3.2 | -3 | 5.79 | 0
14:15 - 14:30 | -8.1 | 0 | -100 | 0 | 0 | -3.2 | -3 | 5.79 | 0
14:30 - 14:45 | -8.1 | 0 | -100 | 0 | 0 | -3.2 | -3 | 5.79 | 0
14:45 - 15:00 | -8.1 | 0 | -100 | 0 | 0 | -3.2 | -3 | 5.79 | 0
15:00 - 15:15 | -8.1 | 0 | -20.95 | 0 | 0 | -3 | -3 | 5.79 | 0
15:15 - 15:30 | -8.1 | 0 | -28.93 | 0 | 0 | -3 | -3 | 5.79 | 0
15:30 - 15:45 | -8.1 | 0 | -32.96 | 0 | 0 | -3 | -3 | 5.79 | 0
15:45 - 16:00 | -8.1 | 0 | -38.41 | 0 | 0 | -3 | -3 | 0 | 6.08
16:00 - 16:15 | -8.1 | 0 | -50 | 0 | 0 | -3 | -3 | 5.79 | 0
16:15 - 16:30 | -8.1 | 0 | -50 | 0 | 0 | -3 | -3 | 5.79 | 0
16:30 - 16:45 | -8.1 | 0 | -50 | 0 | 0 | -3 | -3 | 0 | 31.44
16:45 - 17:00 | -8.1 | 0 | -50 | 0 | 0 | -3 | -3 | 0 | 0
17:00 - 17:15 | -8.1 | -12 | -50 | 0 | 0 | -3 | -3 | 0 | 0
17:15 - 17:30 | -8.1 | -12 | -50 | 0 | -60 | -3 | -3 | 0 | 0
17:30 - 17:45 | -8.1 | -12 | -50 | 0 | -60 | -3 | -3 | 0 | 0
17:45 - 18:00 | -8.1 | -12 | -50 | 0 | -60 | -3 | -3 | 0 | 0
18:00 - 18:15 | -3.1 | 0 | -150 | 0 | -60 | -3 | -5 | 0 | 0
18:15 - 18:30 | -3.1 | 0 | -150 | 0 | -60 | -3 | -5 | 0 | 0
18:30 - 18:45 | -3.1 | 0 | -150 | 0 | -60 | -3 | -5 | 0 | 0
18:45 - 19:00 | -3.1 | 0 | -150 | 0 | -120 | -3 | -5 | 0 | 0
19:00 - 19:15 | -3.1 | 0 | 3.81 | 0 | -180 | -3 | -9 | 0 | 0
19:15 - 19:30 | -3.1 | 0 | 3.92 | 0 | -180 | -3 | -9 | 0 | 0
19:30 - 19:45 | -3.1 | 0 | 2.83 | 0 | -180 | -3 | -9 | 0 | 0
19:45 - 20:00 | -3.1 | 0 | 2.49 | 0 | -180 | -3 | -9 | 0 | 0
20:00 - 20:15 | -3.1 | 0 | 1.04 | 0 | -180 | -3 | -9 | 0 | 0
20:15 - 20:30 | -3.1 | 0 | 0.89 | 0 | -180 | -3 | -9 | 0 | 0
20:30 - 20:45 | -3.1 | 0 | 0.66 | 0 | -180 | -3 | -9 | 0 | 0
20:45 - 21:00 | -3.1 | 0 | 0.57 | 0 | -180 | -3 | -9 | 0 | 0
21:00 - 21:15 | -3.1 | 0 | 0.41 | 0 | -180 | -3 | -9 | 0 | 0
21:15 - 21:30 | -3.1 | 0 | 0.3 | 0 | -180 | -3 | -9 | 0 | 0
21:30 - 21:45 | -3.1 | 0 | 0.12 | 0 | -180 | -3 | -9 | 0 | 0
21:45 - 22:00 | -3.1 | 0 | 0.09 | 0 | -180 | -3 | -9 | 0 | 0
22:00 - 22:15 | -3.1 | 0 | 4.7 | 0 | -180 | -3 | -9 | 0 | 0
22:15 - 22:30 | -3.1 | 0 | 3.17 | 0 | -180 | -3 | -9 | 0 | 0
22:30 - 22:45 | -3.1 | 0 | 1.83 | 0 | -180 | -3 | -9 | 0 | 0
22:45 - 23:00 | -3.1 | 0 | 0.67 | 0 | -180 | -3 | -9 | 0 | 0
23:00 - 23:15 | -3.1 | 0 | 1.37 | 0 | -180 | -3 | -9 | 0 | 0
23:15 - 23:30 | -3.1 | 0 | 0 | 0 | -179.99 | -3 | -9 | 0 | 0
23:30 - 23:45 | -3.1 | 0 | 1.49 | 0 | -180 | -3 | -9 | 0 | 0
23:45 - 24:00 | -3.1 | 0 | 1.08 | 0 | -180 | -3 | -9 | 0 | 0
Average | -6.225 | -0.5 | -18.7209 | 6.0271 | -76.2499 | -3.0833 | -6.1667 | 1.9903 | 0.39083

## GDAM
GDAM TRADING DETAILS FOR DT:19.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | SAIL_R_S_P_Rourkela
00:00 - 00:15 | 0 | 0 | 1.01 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 1.17 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 1.33 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 1.6 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 1.77 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 1.92 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 1.89 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 2.1 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.47 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 14.47 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 14.47 | 0 | 53.5
08:00 - 08:15 | 0 | 0 | 0 | 14.47 | 0 | 67.5
08:15 - 08:30 | 0 | 0 | 0 | 14.47 | 0 | 67.5
08:30 - 08:45 | 0 | 0 | 0 | 14.47 | 0 | 67.5
08:45 - 09:00 | 0 | 0 | 0 | 14.47 | 9.64 | 67.51
09:00 - 09:15 | 0 | 0 | 0 | 14.47 | 9.64 | 67.51
09:15 - 09:30 | -0.3 | 0 | 0 | 14.47 | 9.64 | 67.51
09:30 - 09:45 | 0 | 0 | 0 | 14.47 | 9.64 | 67.51
09:45 - 10:00 | -2.1 | 0 | 0 | 14.47 | 9.64 | 67.51
10:00 - 10:15 | -3.3 | 0 | 0 | 14.47 | 9.64 | 67.51
10:15 - 10:30 | -5.1 | -0.6 | 0 | 14.47 | 9.64 | 67.51
10:30 - 10:45 | -6.1 | -1.8 | 0 | 14.47 | 9.64 | 67.51
10:45 - 11:00 | -7.2 | -3.2 | 0 | 14.47 | 9.64 | 67.51
11:00 - 11:15 | -6.5 | -5.2 | 0 | 14.47 | 9.64 | 67.51
11:15 - 11:30 | -6 | -5.4 | 0 | 14.47 | 9.64 | 67.51
11:30 - 11:45 | -5.5 | -4.7 | 0 | 14.47 | 9.64 | 67.51
11:45 - 12:00 | -2.7 | -6.4 | 0 | 14.47 | 9.64 | 67.51
12:00 - 12:15 | 0 | -4.3 | 0 | 14.47 | 9.64 | 67.51
12:15 - 12:30 | -1.5 | -3.3 | 0 | 14.47 | 9.64 | 67.51
12:30 - 12:45 | -1.7 | -2.6 | 0 | 14.47 | 9.64 | 67.51
12:45 - 13:00 | -2.8 | -2.4 | 0 | 14.47 | 9.64 | 67.51
13:00 - 13:15 | -1.8 | -2.6 | 0 | 14.47 | 9.64 | 67.51
13:15 - 13:30 | -0.9 | -1.4 | 0 | 14.47 | 9.64 | 67.51
13:30 - 13:45 | -0.4 | -1.1 | 0 | 14.47 | 9.64 | 67.51
13:45 - 14:00 | -0.1 | 0 | 0 | 14.47 | 9.64 | 67.51
14:00 - 14:15 | -0.9 | 0 | 0 | 14.47 | 9.64 | 67.51
14:15 - 14:30 | -2.3 | 0 | 0 | 14.47 | 9.64 | 67.51
14:30 - 14:45 | 0 | 0 | 0 | 14.47 | 9.64 | 67.51
14:45 - 15:00 | -1.5 | 0 | 0 | 14.47 | 0 | 67.5
15:00 - 15:15 | -0.4 | 0 | 0 | 14.47 | 0 | 67.5
15:15 - 15:30 | -0.1 | 0 | 0 | 14.47 | 0 | 67.5
15:30 - 15:45 | 0 | -0.1 | 0 | 14.47 | 0 | 67.5
15:45 - 16:00 | 0 | 0 | 0 | 14.47 | 0 | 61.38
16:00 - 16:15 | 0 | -0.3 | 0 | 14.47 | 0 | 67.5
16:15 - 16:30 | 0 | 0 | 0 | 14.47 | 0 | 67.5
16:30 - 16:45 | 0 | 0 | 0 | 14.47 | 0 | 36.05
16:45 - 17:00 | 0 | 0 | 0 | 14.47 | 0 | 12.97
17:00 - 17:15 | 0 | 0 | 0 | 14.47 | 0 | 18.08
17:15 - 17:30 | 0 | 0 | 0 | 14.47 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 14.47 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 14.47 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 5.73 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 4.08 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 1.3 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0.68 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0.95 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 10.01 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 8.05 | 0 | 0 | 0
Average | -0.61667 | -0.47292 | 0.45406 | 6.4814 | 2.41 | 25.1012

## RTM
RTM TRADING DETAILS FOR DT: 19.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Sunglaze_Power_Private_Limited | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -2.9 | 0 | -0.4 | -1.4 | 0 | 54.05 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -2
00:15 - 00:30 | -2.9 | 0 | -0.4 | -1.4 | 0 | 61.53 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -2
00:30 - 00:45 | -2.9 | 0 | -0.4 | -1.3 | 0 | 118.33 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -2
00:45 - 01:00 | -2.9 | 0 | -0.4 | -1.3 | 0 | 131.9 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
01:00 - 01:15 | -2.9 | 0 | -0.4 | -1.3 | 0 | 219.81 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -2
01:15 - 01:30 | -2.9 | 0 | -0.4 | -1.3 | 0 | 253.43 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -2
01:30 - 01:45 | -2.9 | 0 | -0.4 | -1.4 | 0 | 645.24 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -2
01:45 - 02:00 | -2.9 | 0 | -0.4 | -1.4 | 0 | 739.26 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -2
02:00 - 02:15 | -2.9 | 0 | -0.4 | -1.4 | 0 | 566.59 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -2
02:15 - 02:30 | -2.9 | 0 | -0.4 | -1.4 | 0 | 498.27 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
02:30 - 02:45 | -2.9 | 0 | -0.4 | -1.4 | 0 | 554.53 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
02:45 - 03:00 | -2.9 | 0 | -0.4 | -1.4 | 0 | 566.6 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
03:00 - 03:15 | -2.9 | 0 | -0.4 | -1.5 | 0 | 458.08 | 0 | 0 | -110 | 0 | 0 | -1 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -2
03:15 - 03:30 | -2.9 | 0 | -0.4 | -1.5 | 0 | 477.61 | 0 | 0 | -110 | 0 | 0 | -1 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -2
03:30 - 03:45 | -2.9 | 0 | -0.4 | -1.5 | 0 | 495.45 | 0 | 0 | -110 | 0 | 0 | -1 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
03:45 - 04:00 | -2.9 | 0 | -0.4 | -1.5 | 0 | 501.15 | 0 | 0 | -110 | 0 | 0 | -1 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -2
04:00 - 04:15 | -2.9 | 0 | -0.4 | -1.5 | 0 | 458.07 | 0 | 0 | -110 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
04:15 - 04:30 | -2.9 | 0 | -0.4 | -1.5 | 0 | 373.47 | 0 | 0 | -110 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
04:30 - 04:45 | -2.9 | 0 | -0.4 | -1.5 | 0 | 279.24 | 0 | 0 | -100 | 0 | 0 | -1 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -2
04:45 - 05:00 | -2.9 | 0 | -0.4 | -1.5 | 0 | 331.5 | 0 | 0 | -100 | 0 | 0 | -1 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -2
05:00 - 05:15 | -2.9 | 0 | -0.4 | -1.5 | 0 | 310.31 | 0 | 10.61 | 0 | 0 | 0 | -1 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86.8 | 0 | -7 | 0 | -10 | 8.68 | 57.86 | 0 | 0 | 0 | 0
05:15 - 05:30 | -2.9 | 0 | -0.4 | -1.5 | 0 | 203.98 | 0 | 0 | -100 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -2.9 | 0 | -0.4 | -1.4 | 0 | 54.59 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -2.9 | 0 | -0.4 | -1.4 | 0 | 39.82 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -2.9 | 0 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | -50 | -0.1 | -0.1 | -1 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -2.9 | -10 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | -50 | -0.2 | -0.2 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -2.9 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -100 | -0.3 | -0.2 | -1 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -2.9 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -100 | -0.4 | -0.4 | -1 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -2.9 | 0 | -0.4 | -1.4 | 0 | -54.11 | 0 | 0 | -100 | -0.5 | -0.5 | -1 | 0 | -1.2 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -2.9 | 0 | -0.4 | -1.4 | 0 | -150.96 | 0 | 0 | 0 | -0.6 | -0.6 | -1 | 0 | -1.3 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -2.9 | 0 | -0.4 | -1.4 | 0 | -140.01 | 0 | 10.61 | 0 | -0.6 | -0.7 | -1 | 19.29 | -1.6 | 0 | 0 | 0 | 5.79 | 0 | 0 | 86.79 | 0 | -7 | 0 | -35 | 1.93 | 24.11 | 0 | 0 | 0 | 0
07:45 - 08:00 | -2.9 | -5 | -0.4 | -1.4 | 0 | -119.51 | 0 | 10.61 | 0 | -0.7 | -0.8 | -1 | 19.29 | -1.9 | 0 | 11.57 | 0 | 5.79 | 19.29 | 0 | 33.27 | 0 | -7 | 0 | -10 | 1.93 | 24.11 | 5.59 | 0 | 0 | 0
08:00 - 08:15 | -2.9 | -5 | -0.4 | -1.4 | 0 | -117.27 | 0 | 0 | 0 | -0.7 | -1.2 | -1 | 0 | -2.2 | 0 | 0 | 0 | 5.79 | 0 | 0 | 19.28 | 0 | -7 | -0.5 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | -2.9 | 0 | -0.4 | -1.4 | 0 | -65.01 | 0 | 0 | 0 | -0.7 | -1.5 | -1 | 0 | -2.4 | 0 | 0 | 0 | 5.79 | 0 | 0 | 19.28 | 0 | -7 | -1.1 | -10 | 1.93 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -2.9 | 0 | -0.4 | -1.4 | 0 | -20.37 | 0 | 0 | 0 | -0.7 | -0.6 | -1 | 0 | -2.7 | 0 | 0 | 0 | 5.79 | 0 | -5 | 19.28 | 0 | -7 | -1.7 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -2.9 | 0 | -0.4 | -1.4 | 0 | -174.1 | 0 | 0 | 0 | -0.9 | -0.7 | -1 | 0 | -2.9 | 0 | 7.72 | 0 | 5.79 | 0 | -5 | 19.28 | 3.86 | -7 | -2.5 | -10 | 6.75 | 0 | 5.59 | 0 | 0 | 0
09:00 - 09:15 | -2.9 | 0 | -0.4 | -1.4 | 0 | -179.1 | 0 | 0 | 0 | -1.5 | -0.5 | -1 | 0 | -3.1 | 0 | 7.72 | 0 | 5.79 | 19.28 | -5 | 19.29 | 3.86 | -3 | -3.6 | -35 | 7.52 | 0 | 5.59 | 0 | 0 | 0
09:15 - 09:30 | -2.9 | 0 | -0.4 | -1.4 | 0 | -330.01 | 0 | 0 | 0 | -1.8 | -0.5 | -1 | 0 | -1.2 | 0 | 7.72 | 0 | 5.79 | 19.28 | -5 | 19.29 | 3.86 | -3 | -4.3 | -30 | 7.52 | 0 | 5.59 | 0 | 0 | 0
09:30 - 09:45 | -2.9 | -10 | -0.4 | 0 | 0 | -81.51 | 10.03 | 0 | 0 | -2 | -0.5 | -1 | 0 | 3.38 | 0 | 7.72 | 0 | 5.79 | 19.28 | 0 | 19.29 | 3.86 | -3 | 0 | 0 | 7.52 | 9.64 | 5.59 | 0 | 0 | 0
09:45 - 10:00 | -2.9 | 0 | -0.4 | 0 | 0 | -130.12 | 7.43 | 0 | 0 | -1.9 | -0.5 | -1 | 0 | 3.18 | 0 | 7.72 | 0 | 5.79 | 19.28 | -5 | 19.29 | 3.86 | -3 | 0 | 0 | 7.52 | 9.64 | 5.59 | 0 | 0 | 0
10:00 - 10:15 | -2.9 | 0 | -0.4 | -1.4 | 0 | -210.01 | 0 | 10.61 | 0 | -2.1 | -0.8 | -1 | 0 | 3.18 | 0 | 7.72 | 0 | 5.79 | 19.28 | 0 | 19.29 | 3.86 | 0 | 0 | -8 | 8.49 | 0 | 5.59 | 0 | 0 | 0
10:15 - 10:30 | -2.9 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 10.61 | 0 | -2.1 | -0.8 | -1 | 0 | 0 | 0 | 7.72 | 0 | 5.79 | 19.27 | 0 | 19.29 | 3.86 | 0 | 0 | 0 | 8.49 | 0 | 5.59 | 0 | 0 | 0
10:30 - 10:45 | -2.9 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 10.61 | 0 | -2.1 | -0.9 | -1 | 0 | 0 | 0 | 7.72 | -3 | 5.79 | 19.27 | 0 | 19.29 | 3.86 | 0 | -4.1 | 0 | 8.49 | 0 | 11.09 | 0 | 0 | 0
10:45 - 11:00 | -2.9 | 0 | -0.4 | -1.4 | 0 | -139.04 | 0 | 10.61 | 0 | -2.1 | -1 | -1 | 0 | 2.99 | 0 | 7.72 | -3 | 5.79 | 19.27 | 0 | 19.29 | 3.86 | 0 | -3.4 | -30 | 8.49 | 0 | 11.09 | 0 | 0 | 0
11:00 - 11:15 | -2.9 | -5 | -0.4 | 0 | 0 | -285.52 | 0 | 10.61 | 0 | -2.1 | -0.8 | -1 | 0 | 2.99 | 0 | 7.72 | -3 | 5.79 | 19.27 | 0 | 19.29 | 3.86 | 0 | 0 | -50 | 8.49 | 0 | 11.09 | 0 | 0 | 0
11:15 - 11:30 | -2.9 | -5 | -0.4 | 0 | 0 | -149.95 | 0 | 10.61 | 0 | -2.6 | -0.9 | -1 | 0 | 3.28 | 0 | 7.72 | -3 | 5.79 | 19.27 | 0 | 19.29 | 3.86 | 0 | 0 | 0 | 8.49 | 0 | 11.09 | 0 | 0 | 0
11:30 - 11:45 | -2.9 | 0 | -0.4 | 0 | 0 | 0 | 5.4 | 10.61 | 0 | -2.8 | -0.9 | -1 | 0 | 3.18 | 0 | 7.72 | 0 | 5.79 | 19.28 | 0 | 19.29 | 3.86 | 0 | 0 | 0 | 8.49 | 9.64 | 11.09 | 0 | 0 | 0
11:45 - 12:00 | -2.9 | 0 | -0.4 | 0 | 0 | 0 | 6.37 | 10.61 | 0 | -2.8 | -0.8 | -1 | 0 | 3.28 | 0 | 7.72 | 0 | 5.79 | 19.27 | 0 | 19.29 | 3.86 | 0 | 0 | -60 | 8.49 | 9.64 | 11.09 | 0 | 0 | 0
12:00 - 12:15 | -2.9 | 0 | -0.4 | 0 | 0 | 77.18 | 7.62 | 10.61 | 0 | -2.8 | -0.8 | -1 | 0 | 3.38 | 0 | 15.43 | 0 | 5.79 | 19.29 | 0 | 19.29 | 3.86 | 0 | 0 | -10 | 7.23 | 9.64 | 11.09 | 48.22 | 48.22 | 0
12:15 - 12:30 | -2.9 | 0 | -0.4 | 0 | 0 | 245.95 | 7.52 | 10.61 | 0 | -2.8 | -0.9 | -1 | 0 | 3.66 | 0 | 15.43 | 0 | 5.79 | 19.29 | 0 | 19.29 | 3.86 | 0 | 0 | 0 | 7.23 | 9.64 | 11.09 | 48.22 | 48.22 | 0
12:30 - 12:45 | -2.9 | 0 | -0.4 | 0 | 0 | 358.15 | 0 | 10.61 | 0 | -2.8 | -1 | -1 | 0 | 3.66 | 0 | 15.43 | -3 | 5.79 | 19.29 | 0 | 19.29 | 3.86 | 0 | 0 | -50 | 7.23 | 0 | 11.09 | 51.11 | 51.11 | 0
12:45 - 13:00 | -2.9 | -10 | -0.4 | 0 | 0 | 496.11 | 0 | 10.61 | 0 | -2.8 | -1 | -1 | 0 | 3.57 | 0 | 15.43 | -3 | 5.79 | 19.29 | 0 | 19.29 | 3.86 | 0 | 0 | -70 | 7.23 | 0 | 11.09 | 51.11 | 51.11 | 0
13:00 - 13:15 | -2.9 | 0 | -0.4 | 0 | 0 | 371.33 | 0 | 10.61 | 0 | -2.8 | -0.9 | -1 | 0 | 4.05 | 0 | 15.43 | -3 | 5.79 | 19.29 | 0 | 19.29 | 3.86 | 0 | 0 | -50 | 7.23 | 0 | 11.09 | 0 | 0 | 0
13:15 - 13:30 | -2.9 | 0 | -0.4 | 0 | 0 | 354.35 | 0 | 10.61 | 0 | -2.8 | -0.9 | -1 | 0 | 3.57 | 0 | 15.43 | -3 | 5.79 | 19.29 | 0 | 19.29 | 3.86 | 0 | -2.1 | 0 | 7.23 | 0 | 11.09 | 0 | 0 | 0
13:30 - 13:45 | -2.9 | 0 | -0.4 | 0 | 0 | 341.35 | 0 | 10.61 | 0 | -2.8 | -1 | -1 | 0 | 3.66 | 0 | 15.43 | -3 | 5.79 | 19.29 | 0 | 19.29 | 3.86 | 0 | -2.9 | -30 | 7.23 | 0 | 11.09 | 0 | 0 | 0
13:45 - 14:00 | -2.9 | 0 | -0.4 | 0 | 0 | 337.53 | 0 | 10.61 | 0 | -2.5 | -1 | -1 | 0 | 3.95 | 0 | 15.43 | -3 | 5.79 | 19.29 | 0 | 19.29 | 3.86 | 0 | -3.5 | -65 | 7.23 | 0 | 11.09 | 0 | 0 | 0
14:00 - 14:15 | -2.9 | 0 | -0.4 | 0 | 0 | 394.42 | 0 | 10.61 | 0 | -0.1 | -1.1 | -1 | 0 | 0 | 0 | 15.43 | -3 | 5.79 | 12.54 | 0 | 19.29 | 3.86 | 0 | -3.6 | 0 | 7.23 | 0 | 11.09 | 0 | 0 | 0
14:15 - 14:30 | -2.9 | 0 | -0.4 | 0 | 0 | 373.99 | 0 | 10.61 | 0 | -0.1 | -1 | -1 | 0 | 0 | 0 | 15.43 | -3 | 5.79 | 12.54 | 0 | 19.29 | 3.86 | 0 | -3.5 | -10 | 7.23 | 0 | 11.09 | 0 | 0 | 0
14:30 - 14:45 | -2.9 | 0 | -0.4 | 0 | 0 | 377.42 | 0 | 10.61 | 0 | -0.1 | -1.3 | -1 | 0 | -0.1 | 0 | 15.43 | -3 | 5.79 | 12.54 | 0 | 19.29 | 3.86 | 0 | -2.1 | -70 | 7.23 | 0 | 11.09 | 0 | 0 | 0
14:45 - 15:00 | -2.9 | -10 | -0.4 | 0 | 0 | 378.19 | 0 | 10.61 | 0 | -0.1 | -1.2 | -1 | 0 | -1.6 | 0 | 11.57 | -3 | 5.79 | 12.54 | 0 | 19.29 | 3.86 | 0 | -1.6 | -10 | 7.23 | 0 | 11.09 | 0 | 0 | 0
15:00 - 15:15 | -2.9 | 0 | -0.4 | 0 | 0 | 264.79 | 0 | 10.61 | 0 | -0.1 | -1.1 | -1 | 0 | -1.6 | 0 | 11.57 | -3 | 0 | 0 | 0 | 19.29 | 0 | 0 | -1.4 | 0 | 7.23 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -2.9 | 0 | -0.4 | 0 | 0 | 264.78 | 0 | 10.61 | 0 | -0.1 | -1 | -1 | 0 | -1.6 | 0 | 11.57 | -3 | 0 | 0 | 0 | 19.29 | 0 | 0 | -0.7 | -20 | 7.23 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -2.9 | 0 | -0.4 | 0 | 0 | 0 | 0 | 10.61 | 0 | -0.1 | -0.9 | -1 | 0 | -1.6 | 0 | 0 | -3 | 0 | 0 | 0 | 19.29 | 0 | 0 | -0.3 | -20 | 7.23 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -2.9 | 0 | -0.4 | 0 | 0 | -125.34 | 0 | 10.61 | 0 | -0.1 | -0.7 | -1 | 0 | -1.3 | 0 | 0 | -3 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | 7.23 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -2.9 | 0 | -0.4 | 0 | 0 | -300.65 | 0 | 10.61 | 0 | 0 | -0.6 | -1 | 19.29 | -1.1 | 0 | 11.57 | -3 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | 7.23 | 9.64 | 0 | 53.05 | 0 | 0
16:15 - 16:30 | -2.9 | 0 | -0.4 | 0 | 0 | -352.15 | 0 | 10.61 | 0 | 0 | -0.4 | -1 | 19.29 | -1.2 | 0 | 0 | -3 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | -20 | 7.23 | 9.64 | 0 | 0 | 0 | 0
16:30 - 16:45 | -2.9 | -5 | -0.4 | 0 | 6.75 | -354.45 | 0 | 10.62 | 0 | 0 | -0.3 | -1 | 0 | -0.9 | 0 | 0 | -3 | 0 | 0 | 0 | 7.47 | 0 | 0 | 0 | -20 | 0 | 9.64 | 0 | 0 | 0 | 0
16:45 - 17:00 | -2.9 | -5 | -0.4 | 0 | 6.75 | -255.55 | 0 | 10.61 | 0 | 0 | -0.2 | -1 | 0 | -0.8 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 9.64 | 0 | 0 | 0 | 0
17:00 - 17:15 | -2.9 | 0 | -0.4 | 0 | 6.75 | -304.71 | 0 | 10.61 | 0 | 0 | -0.1 | -1 | 0 | -0.5 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 43.4 | 0 | 0 | 0 | 0
17:15 - 17:30 | -2.9 | 0 | -0.4 | 0 | 6.75 | -358.89 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.3 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -2.9 | 0 | -0.4 | 0 | 6.75 | -300 | 0 | 0 | -60 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -2.9 | 0 | -0.4 | 0 | 6.75 | -300 | 0 | 0 | -60 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.9 | 0 | -0.4 | 0 | 0 | -406.67 | 0 | 0 | 0 | 0 | 0 | -1 | 19.29 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 24.11 | 0 | 56.9 | 0 | 0
18:15 - 18:30 | -2.9 | -10 | -0.4 | 0 | 0 | -524.33 | 0 | 0 | -100 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 150.45 | 0 | 0
18:30 - 18:45 | -2.9 | -12.61 | -0.4 | 0 | 0 | -759.99 | 0 | 0 | -100 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 293.18 | 0 | -12
18:45 - 19:00 | -2.9 | -13 | -0.4 | 0 | 0 | -800 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 369.69 | 0 | -12
19:00 - 19:15 | -2.9 | 0 | -0.4 | 0 | 0 | -800 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 411.03 | 0 | -2
19:15 - 19:30 | -2.9 | 0 | -0.4 | 0 | 0 | -700 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 318.78 | 0 | -2
19:30 - 19:45 | -2.9 | 0 | -0.4 | 0 | 0 | -300 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.89 | 0 | -2
19:45 - 20:00 | -2.9 | 0 | -0.4 | 0 | 0 | -300 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.68 | 0 | -2
20:00 - 20:15 | -2.9 | 0 | -0.4 | 0 | 0 | -200 | 0 | 0 | -40 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 2.24 | 0 | -2
20:15 - 20:30 | -2.9 | 0 | -0.4 | 0 | 0 | -200 | 0 | 0 | -40 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 1.99 | 0 | -2
20:30 - 20:45 | -2.9 | 0 | -0.4 | 0 | 0 | -100 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 1.43 | 0 | -3
20:45 - 21:00 | -2.9 | 0 | -0.4 | 0 | 0 | -100 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.27 | 0 | -3
21:00 - 21:15 | -2.9 | 0 | -0.4 | -1.5 | 0 | -150 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68 | 0 | -3
21:15 - 21:30 | -2.9 | 0 | -0.4 | -1.5 | 0 | -150 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0.59 | 0 | -3
21:30 - 21:45 | -2.9 | 0 | -0.4 | -1.4 | 0 | -150 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0.61 | 0 | -3
21:45 - 22:00 | -2.9 | 0 | -0.4 | -1.4 | 0 | -150 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0.64 | 0 | -3
22:00 - 22:15 | -2.9 | 0 | -0.4 | -1.3 | 0 | -100 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0.74 | 0 | -3
22:15 - 22:30 | -2.9 | 0 | -0.4 | -1.3 | 0 | -50 | 0 | 0 | -10 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0.64 | 0 | -3
22:30 - 22:45 | -2.9 | 0 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.1 | 0 | -3
22:45 - 23:00 | -2.9 | 0 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 21.58 | 0 | -3
23:00 - 23:15 | -2.9 | -10 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -3
23:15 - 23:30 | -2.9 | -15 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
23:30 - 23:45 | -2.9 | -18 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 23.64 | 0 | -3
23:45 - 24:00 | -2.9 | -26 | -0.4 | -1.4 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 26.81 | 0 | -3
Average | -2.9 | -1.8189 | -0.4 | -0.79167 | 0.42188 | 18.1148 | 0.46219 | 3.5368 | -22.1875 | -0.575 | -0.35208 | -1.0312 | 1.2056 | 0.20375 | -2.3125 | 3.416 | -1.5625 | 1.8094 | 4.7403 | -0.30208 | 9.0641 | 1.0052 | -1.2917 | -0.44687 | -15.6562 | 2.6377 | 2.8124 | 2.5452