## POWER STATUS
POWER STATUS ON DT 21.06.2026
[9 empty] | 2026-06-21 | 2026-06-20
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 6112.3118 | 6977.6455
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 5.625 | 0.135 | 630/590 ft | 601.93 | 601.12 | 601.08 | 0 | 0
| Chiplima | 72(3x24) | 15.208 | 0.36499 | - |  |  |  | 15.2768 | 17
| Balimela | 510(6x60+2x75) | 304.04 | 7.297 | 1516/1440 ft | 1455.9 | 1464.2 | 1463.5 | 372.3042 | 371
| Rengali | 250(5x50) | 7.875 | 0.189 | 123.5/109.75 mt | 112.65 | 109.86 | 109.84 | 0 | 0
| Upper Kolab | 320(4x80) | 25.13 | 0.60312 | 858/844 mt | 847.04 | 847.09 | 847.08 | 0 | 152
| Upper Indravati | 600(4x150) | 269.29 | 6.463 | 642/625 mt | 627.97 | 628.84 | 628.75 | 352.7308 | 587
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2725.95 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 627.168 | 15.052 |  |  |  |  | 740.3118 | 1127
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1626.39 | 39.0334 | RENEWABLE ENERGY (RE) |  |  |  | 1550 | 1658
[5 empty] | M.Hydl | 28.3
| Total Thermal | 2200 | 1626.39 | 39.0334 | Solar | 78.77 |  |  | 1550 | 1658
IPP | VEDANTA #2 | 600 (1x600) | 346.86 | 8.3246 | Total IPPs | Yesterday's Demand Profile |  |  | 312.7539 | 548.4375
| GMR #3 | 350 (1x350) | 329.86 | 7.9166 | 779.02 |  | MW | HRS | 330.7466 | 329.5384
| NBVL(IPP) | 60(1x60) | 53 | 1.272 |  |  |  |  | 54.4474 | 54.2887
| MDTPC |  | 49.3 | 1.1832 |  |  |  |  | 56.4886 | 56.612
| CGPs |  | 711.34 | 17.0722 | IPPs, CGPs & RE | Maximum | 6977 | 23.00 | 1595 | 1824.7755
| Central Sector(Drawl) |  | 2298.8428 | 55.1722 | 1597.43 | Minimum | 5607 | 07.00 | 2227 | 2367.87
| Central Sector(Sch) |  | 2336.8619 | 56.0847 |  | Average | 6149.8308 |  | 2098 | 2125.6599
| Grand Total |  | 6149.8308 | 147.5959 | Instantaneous Peak demand |  | 7161 | 550:55 | 6112.3118 | 6977.6455
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1674 | 40.176 | 1639 | 39.336 | 1520 | 36.48
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2355 | 56.52 | 2407 | 57.768 | 1919 | 46.056
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1370 | 32.88 | 1394 | 33.456 | 1287 | 30.888
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 610 | 14.64 | 595 | 14.28 | 612 | 14.688
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 6009 | 144.216 | 6035 | 144.84 | 5338 | 128.112
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 296 | GMR |  |  |  | 332
| NBVL #3 | 31 | MDTPC |  |  |  | 7
Mini Hydel: | MEENAKSHI | 9 | OPCL |  |  |  | 0
| BTPL | 12 | SAPTADHARA |  |  |  | 0
Solar: |  | 219 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 90.8037 | JSL(Duburi) |  |  |  | -157.4723
| ICCL | 11.5053 | visa |  |  |  | 12.5099
| NALCO | -126.3969 | VAL (CGP) |  |  |  | 82.242
| RSP | -43.7084 | BSL(MMDL) |  |  |  | -5.2406
| INDAL | -20.7691 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -42.1111 | VAL CPP 400 kV |  |  |  | -892.5052
| NBVL | 54.1715 | Arati |  |  |  | 15.3013
| BPSL(JSG) | -56.7025 | BPPL |  |  |  | 124.4554
Banking Avg -: (MW) |  | 192.88
HYDRO AVERAGE GENERATION IN MW:-
2026-06-13 | 2026-06-14 | 2026-06-15 | 2026-06-16 | 2026-06-17 | 2026-06-18 | 2026-06-19 | 2026-06-20
562.376 | 421.679 | 519.7673 | 627.85 | 651.793 | 662.5902 | 502.622 | 627.168
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.20.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | ACL_PSS4_KPS1_W | VLSEZ | 10.73
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AGE26AL_PSS6_KPS1_S | ODISHA | 134.38
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP41PL_BHDL | ODISHA | 59.85
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | AP43PL_BKN | ODISHA | 84.91
JPIPL | NPCL_UP | -14 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | APSEZ_PSS4_KPS1_W | VLSEZ | 3.74
MAADURGA_THERMAL | NPCL_UP | -18.53 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.32
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | ARE55L_PSS3_KPS1_HW | VLSEZ | 2.17
OCL_IRON_STEEL | BRPL | -35 | DCBL_Rajgangpur | DCBLME | -1.38 | AWEK1L | ODISHA | 8.06
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -5.54 | AWEK1L | ODISHA | 12.08
TSBSLA | CSEB_Beneficiary | -17.5 | ENVIROCARE_INFRA | BRPL | -6 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.63
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | TANGEDCO | -3 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 23.03
FARIDABAD_SOLAR | ODISHA | 0.94 | ENVIROCARE_INFRA | TANGEDCO | -3 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.8
JSWEL_UTKAL | ODISHA | 75.25 | FACORPOWER | PSPCL | -5.83 | DADRI_SOLAR | ODISHA | 0.82
MPPMCL | ODISHA | 168.77 | FACORPOWER | PSPCL | -12.75 | ENERSON_SOLAR_10MW | ODISHA | 1.59
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | -5.25 | GADAG_GreenInfra_W | ODISHA | 0
Manipur_Ben | ODISHA | 32.91 | FACORPOWER | PSPCL | -14.17 | GADAG_Serentica3_S | VLSEZ | 37.77
RAJ_SOLAR | ODISHA | 2.35 | FACORPOWER | PSPCL | 0 | GADAG_Serentica3_W | VLSEZ | 27.4
RAJ_SOLAR | ODISHA | 2.51 | GMRKEL_STU | PSPCL | -61.9 | GADAG_Serentica3_W | VLSEZ | 3.01
|  |  | NBVLIPP | BRPL | -31.88 | GIWEL_SECI_II_RE | ODISHA | 44.63
|  |  | NBVLIPP | BRPL | -13.12 | GPCL_SOLAR_10 | ODISHA | 1.3
|  |  | NBVL_OTCL | PSPCL | -7.58 | GSECL_SOLAR | ODISHA | 0.87
|  |  | NBVL_OTCL | PSPCL | -18.42 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.87
|  |  | NBVL_OTCL | PSPCL | 0 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 4.95
|  |  | OCL_IRON_STEEL | TPDDL | 0 | KARUR_TPVARDHAMAN_W | TSKPO | 23.71
|  |  | OCL_IRON_STEEL | TPDDL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ORSISL | PSPCL | -3.54 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ORSISL | PSPCL | -1.46 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.81
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.35
|  |  | SGML | UPPCL | -4.17 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 6.16
|  |  | TIMES_STEEL | PONDY | -6 | OKWPL_RE | ODISHA | 25.8
|  |  | VIRAJ_SEPL | WBSEDCL | -1.68 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 13.69
|  |  | VSL | UPPCL | -4.17 | RWE_AP2_SECI_III | ODISHA | 20.53
|  |  | BALCO | VLSEZ | 13.26 | RenewGreen_SLPR_HS | JSL_DUBURI | 4.8
|  |  | JIPL | ODISHA | 115.73 | SRI9PL_FTG3 | VLSEZ | 36.7
|  |  | MPSEB_Beneficiary | ODISHA | 24.11 | TPSL_BKN2 | TSKPO | 0
|  |  | NALCOAP | NACL_Odisha | 14.19 | TPSL_BKN2 | TSKPO | 0
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.08
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.1
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 15.29
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 10.37
[6 empty] | XXPPL_FTG3 | ODISHA | 36.43

## DAM
DAM TRADING DETAILS FOR DT :20.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | -3.1 | 0 | 0.51 | 0 | -170 | -2.6 | 0 | -9 | 0
00:15 - 00:30 | -3.1 | 0 | 1.32 | 0 | -170 | -2.6 | 0 | -9 | 0
00:30 - 00:45 | -3.1 | 0 | 3.21 | 0 | -170 | -2.6 | 0 | -9 | 0
00:45 - 01:00 | -3.1 | 0 | 5.59 | 0 | -170 | -2.6 | 0 | -9 | 0
01:00 - 01:15 | -3.1 | 0 | 1.38 | 0 | -170 | -2.6 | 0 | -9 | 0
01:15 - 01:30 | -3.1 | 0 | 2.94 | 0 | -170 | -2.6 | 0 | -9 | 0
01:30 - 01:45 | -3.1 | 0 | 5.94 | 0 | -170 | -2.6 | 0 | -9 | 0
01:45 - 02:00 | -3.1 | 0 | 8.16 | 0 | -170 | -2.6 | 0 | -9 | 0
02:00 - 02:15 | -3.1 | 0 | 15.4 | 0 | -170 | -2.6 | 0 | -9 | 0
02:15 - 02:30 | -3.1 | 0 | 15.42 | 0 | -170 | -2.6 | 0 | -9 | 0
02:30 - 02:45 | -3.1 | 0 | 22.36 | 0 | -169.99 | -2.6 | 0 | -9 | 0
02:45 - 03:00 | -3.1 | 0 | 27.15 | 0 | -170 | -2.6 | 0 | -9 | 0
03:00 - 03:15 | -8.1 | 0 | 22.15 | 0 | -140 | -2.6 | 0 | -9 | 0
03:15 - 03:30 | -8.1 | 0 | 25.93 | 0 | -60 | -2.6 | 0 | -9 | 0
03:30 - 03:45 | -8.1 | 0 | 26.75 | 0 | -60 | -2.6 | 0 | -9 | 0
03:45 - 04:00 | -8.1 | 0 | 27.55 | 0 | -60 | -2.6 | 0 | -9 | 0
04:00 - 04:15 | -8.1 | 0 | 25.91 | 0 | -60 | -2.6 | 0 | -9 | 0
04:15 - 04:30 | -8.1 | 0 | 24.54 | 0 | -60 | -2.6 | 0 | -9 | 0
04:30 - 04:45 | -8.1 | 0 | 24.04 | 0 | -60 | -2.6 | 0 | -9 | 0
04:45 - 05:00 | -8.1 | 0 | 29.58 | 0 | -60 | -2.6 | 0 | -9 | 0
05:00 - 05:15 | -8.1 | 0 | 33.75 | 0 | -60 | -2.8 | 0 | -9 | 0
05:15 - 05:30 | -8.1 | 0 | 26.24 | 0 | -60 | -2.8 | 0 | -9 | 0
05:30 - 05:45 | -8.1 | 0 | 18.56 | 0 | -60 | -2.8 | 0 | -9 | 0
05:45 - 06:00 | -8.1 | 0 | 18.14 | 0 | -60 | -2.8 | 0 | -9 | 0
06:00 - 06:15 | -8.1 | 0 | -300 | 0 | -60 | -2.8 | 0 | -9 | 0
06:15 - 06:30 | -8.1 | 0 | -300 | 0 | -60 | -2.8 | 0 | -9 | 0
06:30 - 06:45 | -8.1 | 0 | -300 | 0 | -60 | -2.8 | 0 | -9 | 0
06:45 - 07:00 | -8.1 | 0 | -300 | 0 | -60 | -2.8 | 0 | -9 | 0
07:00 - 07:15 | -8.1 | 0 | -650 | 0 | -60 | -2.8 | 0 | -9 | 0
07:15 - 07:30 | -8.1 | 0 | -650 | 0 | 0 | -2.8 | 0 | -9 | 0
07:30 - 07:45 | -8.1 | 0 | -575.27 | 0 | 0 | -2.8 | 0 | -9 | 0
07:45 - 08:00 | -8.1 | 0 | -435.82 | 0 | 0 | -2.8 | 0 | -9 | 9.64
08:00 - 08:15 | -8.1 | 0 | -600 | 0 | 0 | -2.8 | 0 | -4 | 9.64
08:15 - 08:30 | -8.1 | 0 | -600 | 0 | 0 | -2.8 | 0 | -4 | 9.64
08:30 - 08:45 | -8.1 | 0 | -600 | 0 | 0 | -2.8 | 0 | -4 | 9.64
08:45 - 09:00 | -8.1 | 0 | -600 | 0 | 0 | -2.8 | 0 | -4 | 9.64
09:00 - 09:15 | -8.1 | 0 | -600 | 0 | 0 | -2.8 | 0 | -4 | 9.64
09:15 - 09:30 | -8.1 | 0 | -600 | 0 | 0 | -2.8 | 0 | -4 | 9.64
09:30 - 09:45 | -8.1 | 0 | -564.69 | 0 | 0 | -2.8 | 0 | -4 | 9.64
09:45 - 10:00 | -8.1 | 0 | -552.23 | 0 | 0 | -2.8 | 0 | -4 | 9.64
10:00 - 10:15 | -8.1 | 0 | -374.94 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
10:15 - 10:30 | -8.1 | 0 | -374.64 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
10:30 - 10:45 | -8.1 | 0 | -374.18 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
10:45 - 11:00 | -8.1 | 0 | -247.85 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
11:00 - 11:15 | -8.1 | 0 | -214.94 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
11:15 - 11:30 | -8.1 | 0 | -206.86 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
11:30 - 11:45 | -8.1 | 0 | -216.53 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
11:45 - 12:00 | -8.1 | 0 | -210.83 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
12:00 - 12:15 | -8.1 | 0 | -75.19 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
12:15 - 12:30 | -8.1 | 0 | -55.17 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
12:30 - 12:45 | -8.1 | 0 | -75.46 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
12:45 - 13:00 | -8.1 | 0 | -80.33 | 28.94 | 0 | -2.8 | 0 | -4 | 9.64
13:00 - 13:15 | -8.1 | 0 | 42.44 | 28.93 | 0 | -2.8 | 0 | -4 | 9.64
13:15 - 13:30 | -8.1 | 0 | 42.44 | 28.93 | 0 | -2.8 | 0 | -4 | 9.64
13:30 - 13:45 | -8.1 | 0 | 42.44 | 28.93 | 0 | -2.8 | 0 | -4 | 9.64
13:45 - 14:00 | -8.1 | 0 | 42.44 | 0 | 0 | -2.8 | 0 | -4 | 9.64
14:00 - 14:15 | -8.1 | 0 | 42.44 | 0 | 0 | -2.8 | 0 | -4 | 9.64
14:15 - 14:30 | -8.1 | 0 | 42.44 | 0 | 0 | -2.8 | 0.24 | -4 | 9.64
14:30 - 14:45 | -8.1 | 0 | 42.44 | 0 | 0 | -2.8 | 0 | -4 | 9.64
14:45 - 15:00 | -8.1 | 0 | 42.44 | 0 | 0 | -2.8 | 0 | -4 | 9.64
15:00 - 15:15 | -8.1 | 0 | 42.44 | 0 | 0 | -2.6 | 0 | -4 | 9.64
15:15 - 15:30 | -8.1 | 0 | 42.44 | 0 | 0 | -2.6 | 0 | -4 | 9.64
15:30 - 15:45 | -8.1 | 0 | 42.44 | 0 | 0 | -2.6 | 0 | -4 | 9.64
15:45 - 16:00 | -8.1 | 0 | 42.43 | 0 | 0 | -2.6 | 0 | -4 | 0
16:00 - 16:15 | -8.1 | 0 | -225 | 0 | 0 | -2.6 | 0 | -4 | 0
16:15 - 16:30 | -8.1 | 0 | -225 | 0 | 0 | -2.6 | 0 | -4 | 0
16:30 - 16:45 | -8.1 | 0 | -225 | 0 | 0 | -2.6 | 0 | -4 | 0
16:45 - 17:00 | -8.1 | 0 | -225 | 0 | 0 | -2.6 | 0 | -4 | 0
17:00 - 17:15 | -8.1 | -12 | -175 | 0 | 0 | -2.6 | 0 | -4 | 0
17:15 - 17:30 | -8.1 | -12 | -175 | 0 | 0 | -2.6 | 0 | -4 | 0
17:30 - 17:45 | -8.1 | -12 | -175 | 0 | 0 | -2.6 | 0 | -4 | 0
17:45 - 18:00 | -8.1 | -12 | -175 | 0 | -60 | -2.6 | 0 | -4 | 0
18:00 - 18:15 | -3.1 | 0 | -375 | 0 | 0 | -2.6 | 0 | -6 | 0
18:15 - 18:30 | -3.1 | 0 | -375 | 0 | -60 | -2.6 | 0 | -6 | 0
18:30 - 18:45 | -3.1 | 0 | -375 | 0 | -60 | -2.6 | 0 | -6 | 0
18:45 - 19:00 | -3.1 | 0 | -200 | 0 | -50 | -2.6 | 0 | -6 | 0
19:00 - 19:15 | -3.1 | 0 | 21.55 | 0 | -80 | -2.6 | 0 | -9 | 0
19:15 - 19:30 | -3.1 | 0 | 12.83 | 0 | -80 | -2.6 | 0 | -9 | 0
19:30 - 19:45 | -3.1 | 0 | 8.9 | 0 | -80 | -2.6 | 0 | -9 | 0
19:45 - 20:00 | -3.1 | 0 | 6.65 | 0 | -80 | -2.6 | 0 | -9 | 0
20:00 - 20:15 | -3.1 | 0 | 4.93 | 0 | -79.99 | -2.6 | 0 | -9 | 0
20:15 - 20:30 | -3.1 | 0 | 3.8 | 0 | -80 | -2.6 | 0 | -9 | 0
20:30 - 20:45 | -3.1 | 0 | 3.16 | 0 | -80 | -2.6 | 0 | -9 | 0
20:45 - 21:00 | -3.1 | 0 | 2.72 | 0 | -80 | -2.6 | 0 | -9 | 0
21:00 - 21:15 | -3.1 | 0 | 1.22 | 0 | -80 | -2.6 | 0 | -9 | 0
21:15 - 21:30 | -3.1 | 0 | 0.97 | 0 | -80 | -2.6 | 0 | -9 | 0
21:30 - 21:45 | -3.1 | 0 | 0.65 | 0 | -80 | -2.6 | 0 | -9 | 0
21:45 - 22:00 | -3.1 | 0 | 0.67 | 0 | -80 | -2.6 | 0 | -9 | 0
22:00 - 22:15 | -3.1 | 0 | 7.12 | 0 | -80 | -2.6 | 0 | -9 | 0
22:15 - 22:30 | -3.1 | 0 | 4.76 | 0 | -80 | -2.6 | 0 | -9 | 0
22:30 - 22:45 | -3.1 | 0 | 2.58 | 0 | -80 | -2.6 | 0 | -9 | 0
22:45 - 23:00 | -3.1 | 0 | 1.16 | 0 | -80 | -2.6 | 0 | -9 | 0
23:00 - 23:15 | -3.1 | 0 | 0.13 | 0 | -79.99 | -2.6 | 0 | -9 | 0
23:15 - 23:30 | -3.1 | 0 | 0 | 0 | -80 | -2.6 | 0 | -9 | 0
23:30 - 23:45 | -3.1 | 0 | 0.33 | 0 | -80 | -2.6 | 0 | -9 | 0
23:45 - 24:00 | -3.1 | 0 | 0.24 | 0 | -80 | -2.6 | 0 | -9 | 0
Average | -6.225 | -0.5 | -131.8101 | 4.5216 | -51.7705 | -2.6833 | 0.0025 | -6.7917 | 3.2133

## GDAM
GDAM TRADING DETAILS FOR DT:20.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Sunglaze_Power_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 17.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 17.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 18.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 20.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 23.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 27.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 26.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 27.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 5.01
07:15 - 07:30 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0 | 111.63
07:30 - 07:45 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 3.47 | 0 | 106.08
07:45 - 08:00 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 5.79 | 0 | 81.97
08:00 - 08:15 | 0 | 0 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | -0.5 | 0
08:30 - 08:45 | -0.1 | 0 | 0 | 19.29 | 26.04 | 32.79 | 9.64 | 5.79 | -1.2 | 0
08:45 - 09:00 | 0 | 0 | 0 | 19.29 | 26.04 | 24.11 | 9.64 | 5.79 | -2.6 | 0
09:00 - 09:15 | -1.1 | 0 | 0 | 19.29 | 26.04 | 16.39 | 9.64 | 5.79 | -3.4 | 0
09:15 - 09:30 | -2.1 | 0 | 0 | 19.29 | 26.04 | 8.68 | 9.64 | 5.79 | -4.1 | 0
09:30 - 09:45 | -1.1 | 0 | 0 | 19.29 | 26.04 | 1.93 | 9.64 | 5.79 | -4.6 | 0
09:45 - 10:00 | -3.9 | 0 | 0 | 19.29 | 26.04 | 0 | 9.64 | 5.79 | -4.2 | 0
10:00 - 10:15 | -4.1 | -1.3 | 0 | 19.29 | 26.04 | 0 | 9.64 | 5.79 | -4.2 | 0
10:15 - 10:30 | -5.4 | -2.4 | 0 | 19.29 | 26.04 | 0 | 9.64 | 5.79 | -4.6 | 0
10:30 - 10:45 | -7.5 | -4.8 | 0 | 19.29 | 26.04 | 0 | 9.64 | 5.79 | -4.7 | 0
10:45 - 11:00 | -8.4 | -4.1 | 0 | 19.29 | 26.04 | 0 | 9.64 | 5.79 | -5.2 | 0
11:00 - 11:15 | -7 | -3.5 | 35.8 | 19.29 | 26.04 | 2.89 | 9.64 | 5.79 | -5.2 | 0
11:15 - 11:30 | -5.9 | -4.5 | 51.54 | 19.29 | 26.04 | 4.82 | 9.64 | 5.79 | -4.5 | 0
11:30 - 11:45 | -6.8 | -4.1 | 57.89 | 19.29 | 26.04 | 4.82 | 9.64 | 5.79 | -3.9 | 0
11:45 - 12:00 | -5.5 | -4.5 | 70.45 | 19.29 | 26.04 | 4.82 | 9.64 | 5.79 | -2.6 | 0
12:00 - 12:15 | -4.8 | -5.7 | 0 | 19.29 | 26.04 | 4.82 | 9.64 | 5.79 | -2 | 0
12:15 - 12:30 | -6.5 | -1.4 | 0 | 19.29 | 26.04 | 4.82 | 9.64 | 5.79 | -2.2 | 0
12:30 - 12:45 | -4.4 | 0 | 0 | 19.29 | 26.04 | 4.82 | 9.64 | 5.79 | -2.3 | 0
12:45 - 13:00 | -4.2 | -1.9 | 0 | 19.29 | 26.04 | 4.82 | 9.64 | 5.79 | -3.1 | 0
13:00 - 13:15 | -2.7 | -1.8 | 0 | 19.29 | 26.03 | 3.86 | 9.64 | 5.79 | -3.7 | 0
13:15 - 13:30 | -1.8 | -0.1 | 0 | 19.29 | 26.04 | 1.93 | 9.64 | 5.79 | -5.3 | 0
13:30 - 13:45 | -1.6 | -0.7 | 0 | 19.29 | 26.04 | 0 | 9.64 | 5.79 | -5.2 | 0
13:45 - 14:00 | -0.3 | -0.7 | 0 | 19.29 | 26.04 | 0 | 9.64 | 5.79 | -4.4 | 0
14:00 - 14:15 | -1.9 | 0 | 0 | 19.29 | 26.04 | 0 | 9.64 | 5.79 | -3.7 | 0
14:15 - 14:30 | -2.9 | -1.5 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | -2.9 | 0
14:30 - 14:45 | 0 | 0 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | -0.9 | 0
14:45 - 15:00 | 0 | 0 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | -0.3 | 0
15:00 - 15:15 | 0 | 0 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | 0 | 0
15:15 - 15:30 | 0 | 0 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | 0 | 0
15:30 - 15:45 | 0 | -1.5 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | 0 | 0
15:45 - 16:00 | 0 | -1.2 | 0 | 19.28 | 0 | 0 | 0 | 5.79 | 0 | 0
16:00 - 16:15 | 0 | -1.4 | 0 | 14.47 | 26.04 | 40.5 | 0 | 5.79 | 0 | 48.22
16:15 - 16:30 | 0 | -0.8 | 0 | 14.47 | 26.04 | 49.18 | 0 | 5.79 | 0 | 0.96
16:30 - 16:45 | 0 | 0 | 0 | 14.46 | 0 | 0 | 0 | 5.79 | 0 | 1.93
16:45 - 17:00 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 5.79 | 0 | 21.21
17:00 - 17:15 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 5.79 | 0 | 50.14
17:15 - 17:30 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 1.18 | 0 | 76.18
17:30 - 17:45 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0 | 104.15
17:45 - 18:00 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 3.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 3.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 4.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 3.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 2.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 2.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 5.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 4.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.9375 | -0.49896 | 4.429 | 8.2376 | 6.7811 | 2.25

## RTM
RTM TRADING DETAILS FOR DT: 20.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Thakur_Prasad_Sao_And_Sons_Private_Limited_Unit_IV | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -2.9 | 0 | -0.5 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 22.52 | -3
00:15 - 00:30 | -2.9 | 0 | -0.5 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.02 | -3
00:30 - 00:45 | -2.9 | 0 | -0.5 | -1.4 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.99 | -3
00:45 - 01:00 | -2.9 | 0 | -0.5 | -1.4 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.25 | -3
01:00 - 01:15 | -2.9 | 0 | -0.5 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.38 | -3
01:15 - 01:30 | -2.9 | 0 | -0.5 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 1.61 | -3
01:30 - 01:45 | -2.9 | 0 | -0.5 | -1.4 | -100 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | -0.8 | 0 | 3.13 | -3
01:45 - 02:00 | -2.9 | 0 | -0.5 | -1.4 | -100 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -0.8 | 0 | 3.84 | -3
02:00 - 02:15 | -2.9 | 0 | -0.5 | -1.4 | -100 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 130.55 | -3
02:15 - 02:30 | -2.9 | 0 | -0.5 | -1.4 | -100 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 109.32 | -3
02:30 - 02:45 | -2.9 | 0 | -0.5 | -1.4 | -37.49 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 77.15 | -3
02:45 - 03:00 | -2.9 | 0 | -0.5 | -1.4 | -33.13 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 77.15 | -3
03:00 - 03:15 | -2.9 | 0 | -0.5 | -1.4 | -179.17 | 0 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -0.8 | 0 | 128.27 | -3
03:15 - 03:30 | -2.9 | 0 | -0.5 | -1.4 | -184.37 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -0.8 | 0 | 132.12 | -3
03:30 - 03:45 | -2.9 | 0 | -0.5 | -1.4 | -176.99 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -0.8 | 0 | 125.37 | -3
03:45 - 04:00 | -2.9 | 0 | -0.5 | -1.4 | -176.99 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 167.81 | -3
04:00 - 04:15 | -2.9 | 0 | -0.5 | -1.4 | -183.33 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 177.45 | -3
04:15 - 04:30 | -2.9 | 0 | -0.5 | -1.4 | -200 | 0 | 0 | -10 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 174.4 | -3
04:30 - 04:45 | -2.9 | 0 | -0.5 | -1.4 | -177.37 | 0 | 0 | -20 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -0.8 | 0 | 216.99 | -3
04:45 - 05:00 | -2.9 | 0 | -0.5 | -1.4 | -178.48 | 0 | 0 | -20 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -0.8 | 0 | 216.99 | -3
05:00 - 05:15 | -2.9 | 0 | -0.5 | -1.4 | -116.67 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 174.56 | 0
05:15 - 05:30 | -2.9 | 0 | -0.5 | -1.4 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 153.64 | 0
05:30 - 05:45 | -2.9 | 0 | -0.5 | -1.4 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 188.43 | 0
05:45 - 06:00 | -2.9 | 0 | -0.5 | -1.4 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 206.02 | 0
06:00 - 06:15 | -2.9 | 0 | -0.5 | -1.4 | -100 | 0 | 0 | -20 | -0.1 | -0.1 | 0 | -2.5 | 0 | -25 | -0.2 | -4 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 190.41 | 0
06:15 - 06:30 | -2.9 | -10 | -0.5 | -1.4 | -100 | 0 | 0 | -20 | -0.2 | -0.2 | 0 | -2.5 | 0 | -25 | -0.5 | -4 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 204.72 | 0
06:30 - 06:45 | -2.9 | 0 | -0.5 | -1.4 | -100 | 0 | 0 | -20 | -0.3 | -0.3 | 0 | -2.5 | 0 | -25 | -0.7 | -4 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 217.05 | 0
06:45 - 07:00 | -2.9 | 0 | -0.5 | -1.4 | -100 | 0 | 0 | -20 | -0.4 | -0.3 | 0 | -2.5 | 0 | -25 | -1 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 249.08 | 0
07:00 - 07:15 | -2.9 | 0 | -0.5 | -1.4 | 0 | 0 | 0 | -50 | -0.5 | -0.2 | 0 | -2.5 | 0 | -25 | -1.3 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.29 | 0
07:15 - 07:30 | -2.9 | 0 | -0.5 | -1.4 | -30.01 | 0 | 10.61 | 0 | -0.6 | -0.3 | 0 | -2.5 | 19.29 | -25 | -1.4 | -4 | 15.43 | 0 | 0 | 0 | 0 | 0 | 62.68 | 0 | 0 | 17.36 | 0
07:30 - 07:45 | -2.9 | 0 | -0.5 | -1.4 | -58.58 | 0 | 10.61 | 0 | -0.6 | -0.2 | 0 | -2.5 | 19.29 | -25 | -1.8 | 0 | 15.43 | 5.79 | 0 | 0 | 0 | 0 | 62.68 | 0 | 0 | 13.5 | 0
07:45 - 08:00 | -2.9 | 0 | -0.5 | -1.4 | -63.08 | 0 | 10.61 | 0 | -0.7 | -0.2 | 0 | -2.5 | 19.29 | -25 | -2.1 | 0 | 0 | 5.79 | 0 | 0 | 0 | -10 | 62.68 | 0 | 0 | 10.61 | 0
08:00 - 08:15 | -2.9 | -5 | -0.5 | -1.4 | 0 | 0 | 10.61 | 0 | -0.9 | -0.4 | 0 | -1 | 0 | -25 | -2.4 | 0 | 0 | 5.79 | 0 | 0 | 0 | -50 | 43.39 | 0 | 0 | 8.68 | 0
08:15 - 08:30 | -2.9 | -5 | -0.5 | -1.4 | 0 | 0 | 10.6 | 0 | -1.1 | -0.4 | 0 | -1 | 0 | -25 | -2.6 | 0 | 0 | 5.79 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 8.68 | 0
08:30 - 08:45 | -2.9 | 0 | -0.5 | -1.4 | 0 | 0 | 10.61 | 0 | -1.4 | -0.6 | 0 | -1 | 0 | -25 | -2.8 | 0 | 0 | 5.79 | 0 | 0 | 0 | -40 | 28.93 | 0 | 0 | 56.9 | 0
08:45 - 09:00 | -2.9 | 0 | -0.5 | -1.4 | 0 | 0 | 10.61 | 0 | -1.7 | -0.6 | 0 | -1 | 0 | -25 | -2.9 | 0 | 5.79 | 5.79 | 19.29 | 0 | 3.86 | -40 | 28.93 | 0 | 0.58 | 65.57 | 0
09:00 - 09:15 | -2.9 | 0 | -0.5 | 0 | 187.81 | 0 | 10.61 | 0 | -1.7 | -0.8 | 0 | -1 | 0 | -25 | -3.2 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | -10 | 4.82 | 0 | 0.58 | 294.13 | 0
09:15 - 09:30 | -2.9 | 0 | -0.5 | 0 | 208.98 | 6.46 | 10.61 | 0 | -1.5 | -0.9 | 0 | -1 | 0 | -25 | -0.9 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | 0 | 4.82 | 0 | 0.58 | 248.81 | 0
09:30 - 09:45 | -2.9 | 0 | -0.5 | 0 | 144.66 | 6.27 | 10.61 | 0 | -1.6 | -0.9 | 0 | -1 | 0 | -25 | 4.53 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | -70 | 4.82 | 0 | 0.58 | 253.63 | 0
09:45 - 10:00 | -2.9 | -9 | -0.5 | 0 | 125.33 | 0 | 10.61 | 0 | -1.9 | -0.9 | 0 | -1 | 0 | -25 | 4.44 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | -70 | 4.82 | 0 | 0.58 | 256.53 | 0
10:00 - 10:15 | -2.9 | 0 | -0.5 | 0 | 65.56 | 0 | 10.61 | 0 | -2.1 | -1 | 0 | -1 | 0 | -25 | 4.34 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | -42 | 4.82 | 0 | 0.58 | 253.63 | 0
10:15 - 10:30 | -2.9 | 0 | -0.5 | -1.2 | 156.71 | 0 | 10.61 | 0 | -2.1 | -1 | 0 | -1 | 0 | -25 | 4.05 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | -42 | 4.82 | 0 | 0.58 | 255.56 | 0
10:30 - 10:45 | -2.9 | 0 | -0.5 | -1.2 | 441.67 | 0 | 10.61 | 0 | -2.1 | -1.1 | 0 | -1 | 0 | -25 | 0 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | 0 | 14.47 | 0 | 0.58 | 253.64 | 0
10:45 - 11:00 | -2.9 | 0 | -0.5 | -1.2 | 260.19 | 0 | 10.61 | 0 | -2.1 | -1.1 | 0 | -1 | 0 | -25 | 0 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | 0 | 14.47 | 0 | 0.58 | 253.64 | 0
11:00 - 11:15 | -2.9 | 0 | -0.5 | -1.2 | 202.52 | 0 | 10.61 | 0 | -2.5 | -1.2 | 0 | -1 | 0 | -25 | 0 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | -10 | 14.47 | 0 | 0.58 | 248.81 | 0
11:15 - 11:30 | -2.9 | 0 | -0.5 | -1.2 | 96.41 | 0 | 10.61 | 0 | -2.6 | -1.4 | 0 | -1 | 0 | -25 | 0 | 0 | 9.64 | 5.79 | 19.29 | 0 | 3.86 | -55 | 28.93 | 0 | 0.58 | 178.85 | 0
11:30 - 11:45 | -2.9 | -9 | -0.5 | 0 | 0 | 0 | 10.61 | 0 | -2.8 | -1.3 | 0 | -1 | 0 | -25 | 4.15 | 0 | 11.57 | 5.79 | 19.29 | 0 | 3.86 | -20 | 9.64 | 0 | 0.58 | 244.95 | 0
11:45 - 12:00 | -2.9 | 0 | -0.5 | 0 | 0 | 0 | 10.61 | 0 | -2.8 | -1.3 | 0 | -1 | 0 | -25 | 4.44 | 0 | 11.57 | 5.79 | 19.29 | 0 | 3.86 | -20 | 9.64 | 0 | 0.58 | 244.95 | 0
12:00 - 12:15 | -2.9 | 0 | -0.5 | 0 | 0 | 0 | 10.61 | 0 | -1.5 | -1.3 | 0 | -1 | 0 | -25 | 4.73 | 0 | 11.57 | 5.79 | 12.54 | 0 | 3.86 | -30 | 19.29 | 0 | 0.58 | 235.3 | 0
12:15 - 12:30 | -2.9 | 0 | -0.5 | -1.2 | 0 | 0 | 10.61 | 0 | -1.5 | -1.2 | 0 | -1 | 0 | -25 | 5.21 | 0 | 11.57 | 5.79 | 12.54 | 0 | 3.86 | 0 | 19.29 | 0 | 0.58 | 233.37 | 0
12:30 - 12:45 | -2.9 | 0 | -0.5 | -1.2 | -36.48 | 0 | 10.61 | 0 | -0.6 | -1.2 | 0 | -1 | 0 | -25 | 4.92 | 0 | 11.57 | 5.79 | 12.54 | 0 | 3.86 | 0 | 9.64 | 0 | 0.58 | 233.38 | 0
12:45 - 13:00 | -2.9 | 0 | -0.5 | -1.2 | -39.02 | 0 | 10.61 | 0 | -0.3 | -1.1 | 0 | -1 | 0 | -25 | 4.73 | 0 | 11.57 | 5.79 | 12.54 | 0 | 3.86 | -30 | 9.64 | 0 | 0.58 | 233.38 | 0
13:00 - 13:15 | -2.9 | -9 | -0.5 | -1.4 | -57.68 | 0 | 10.61 | 0 | -0.4 | -1.4 | 0 | -1 | 0 | -25 | 0 | 0 | 11.57 | 5.79 | 12.54 | 0 | 3.86 | -35 | 14.45 | 0 | 0.58 | 5.79 | 0
13:15 - 13:30 | -2.9 | 0 | -0.5 | -1.4 | -161.9 | 0 | 10.61 | 0 | -0.7 | -1.3 | 0 | -1 | 0 | -25 | 0 | 0 | 11.57 | 5.79 | 12.54 | 0 | 3.86 | -35 | 14.45 | 0 | 0.58 | 5.79 | 0
13:30 - 13:45 | -2.9 | 0 | -0.5 | -1.4 | 0 | 0 | 10.61 | 0 | -0.7 | -1.2 | 0 | -1 | 0 | -25 | 0 | 0 | 7.72 | 5.79 | 12.54 | 0 | 3.86 | -40 | 28.91 | 0 | 0.58 | 5.79 | 0
13:45 - 14:00 | -2.9 | 0 | -0.5 | -1.4 | 0 | 0 | 10.61 | 0 | -0.7 | -1.2 | 0 | -1 | 0 | -25 | 0 | 0 | 7.72 | 5.79 | 0 | 0 | 0 | -40 | 28.92 | 0 | 0 | 5.79 | 0
14:00 - 14:15 | -2.9 | 0 | -0.5 | -1.4 | 310.22 | 0 | 10.61 | 0 | -0.7 | -2 | 0 | -1 | 0 | -25 | 0 | 0 | 0 | 5.79 | 0 | 0 | 0 | 0 | 28.93 | 0 | 0 | 4.82 | 0
14:15 - 14:30 | -2.9 | 0 | -0.5 | -1.4 | 403.66 | 0 | 10.61 | 0 | -0.3 | -2 | 0 | -1 | 0 | -25 | 0 | 0 | 0 | 5.79 | 0 | 0 | 0 | -10 | 28.93 | 0 | 0 | 4.82 | 0
14:30 - 14:45 | -2.9 | 0 | -0.5 | -1.3 | 411.59 | 0 | 10.61 | 0 | -0.3 | -1.2 | 0 | -1 | 0 | -25 | 0 | 0 | 0 | 5.79 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 4.82 | 0
14:45 - 15:00 | -2.9 | -9 | -0.5 | -1.3 | 502.47 | 0 | 0 | 0 | -0.3 | -1.2 | 0 | -1 | 0 | -25 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 6.75 | 0
15:00 - 15:15 | -2.9 | 0 | -0.5 | -1.2 | 142.23 | 0 | 0 | 0 | -0.2 | -1.1 | -6 | -1 | 0 | -25 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 8.68 | 0
15:15 - 15:30 | -2.9 | 0 | -0.5 | -1.2 | 133.48 | 0 | 0 | -50 | -0.2 | -1 | -6 | -1 | 0 | -25 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 7.72 | 0
15:30 - 15:45 | -2.9 | 0 | -0.5 | -1.2 | -42.15 | 0 | 0 | -50 | -0.1 | -0.9 | -6 | -1 | 0 | -25 | -2.1 | 0 | 0 | 5.79 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 7.71 | 0
15:45 - 16:00 | -2.9 | 0 | -0.5 | -1.2 | -100 | 0 | 0 | -50 | -0.1 | -0.8 | -6 | -1 | 0 | -25 | -1.7 | 0 | 0 | 5.78 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 5.79 | 0
16:00 - 16:15 | -2.9 | 0 | -0.5 | -1.2 | -449.98 | 0 | 0 | -50 | -0.1 | -0.8 | 0 | -1 | 0 | -25 | -1.3 | 0 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 346.22 | 0
16:15 - 16:30 | -2.9 | -8.54 | -0.5 | -1.2 | -449.98 | 0 | 0 | -50 | -0.1 | -0.6 | 0 | -1 | 0 | -25 | -1 | 0 | 0 | 5.79 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 300.89 | 0
16:30 - 16:45 | -2.9 | 0 | -0.7 | -1.2 | -149.99 | 0 | 0 | -50 | 0 | -0.5 | 0 | -1 | 0 | -25 | -0.8 | 0 | 0 | 5.79 | 0 | -2 | 0 | -40 | 0 | 0 | 0 | 108.97 | 0
16:45 - 17:00 | -2.9 | 0 | -0.7 | -1.2 | -55.01 | 0 | 0 | -50 | 0 | -0.2 | 0 | -1 | 0 | -25 | -0.6 | 0 | 0 | 0 | 0 | -2 | 0 | -40 | 0 | 0 | 0 | 118.62 | 0
17:00 - 17:15 | -1.7 | 0 | -0.7 | -1.4 | -56.92 | 0 | 0 | -50 | 0 | -0.2 | 0 | -1 | 0 | -25 | -0.6 | 0 | 0 | 0 | 0 | -2 | 0 | -40 | 0 | 0 | 0 | 126.34 | 0
17:15 - 17:30 | -1.7 | 0 | -0.7 | -1.4 | -60 | 0 | 0 | -50 | 0 | -0.1 | 0 | -1 | 0 | -25 | -0.3 | 0 | 0 | 0 | 0 | -2 | 0 | -40 | 0 | 0 | 0 | 118.62 | 0
17:30 - 17:45 | -1.7 | 0 | -0.7 | -1.3 | -58.03 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | 0 | 0 | 135.02 | -13
17:45 - 18:00 | -1.7 | 0 | -0.7 | -1.3 | -70 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 262.32 | -13
18:00 - 18:15 | -1.7 | -9 | -0.7 | -1.3 | -59.99 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | -25 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | -30 | 0 | 0 | 0 | 260.39 | -13
18:15 - 18:30 | -1.7 | 0 | -0.7 | -1.3 | -98 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | -25 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | -40 | 0 | 0 | 0 | 279.68 | -13
18:30 - 18:45 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | -40 | 0 | 0 | 0 | 238.92 | -13
18:45 - 19:00 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | -40 | 0 | 0 | 0 | 185.1 | -13
19:00 - 19:15 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | -10 | 0 | 0 | 0 | 223.95 | -3
19:15 - 19:30 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 210.41 | -3
19:30 - 19:45 | -1.7 | 0 | -0.3 | -1.4 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 109.13 | -3
19:45 - 20:00 | -1.7 | 0 | -0.3 | -1.4 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | -10 | 0 | 0 | 0 | 101.35 | -3
20:00 - 20:15 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | -45 | 0 | 0 | 0 | 47.7 | -3
20:15 - 20:30 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | -45 | 0 | 0 | 0 | 46.2 | -3
20:30 - 20:45 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 20.47 | -3
20:45 - 21:00 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 40.58 | -3
21:00 - 21:15 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | 0 | 0 | 18.4 | -3
21:15 - 21:30 | -1.7 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | -35 | 0 | 0 | 0 | 17.55 | -3
21:30 - 21:45 | -1.7 | 0 | -0.3 | -1.4 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | -35 | 0 | 0 | 0 | 7.48 | -3
21:45 - 22:00 | -1.7 | 0 | -0.3 | -1.4 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | -35 | 0 | 0 | 0 | 7.42 | -3
22:00 - 22:15 | -1.7 | 0 | -0.3 | -1.4 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 5.05 | -3
22:15 - 22:30 | -1.7 | 0 | -0.3 | -1.4 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 4.54 | -3
22:30 - 22:45 | -1.7 | 0 | -0.3 | -1.4 | 24.32 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.16 | -3
22:45 - 23:00 | -1.7 | 0 | -0.3 | -1.4 | 19.91 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 9.95 | -3
23:00 - 23:15 | -1.7 | 0 | -0.3 | -1.4 | 24.13 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.78 | -3
23:15 - 23:30 | -1.7 | 0 | -0.3 | -1.4 | 25.62 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 35.88 | -3
23:30 - 23:45 | -1.7 | 0 | -0.3 | -1.3 | 35.77 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 50.08 | -3
23:45 - 24:00 | -1.7 | 0 | -0.3 | -1.3 | 45.47 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 63.66 | -3
Average | -2.55 | -0.76604 | -0.47083 | -1.2313 | -15.855 | 0.1326 | 3.3155 | -18.5417 | -0.44896 | -0.40833 | -0.25 | -1.8125 | 0.60281 | -25 | 0.061875 | -2.7083 | 2.5109 | 2.0505 | 3.5266 | -0.375 | 0.80417 | -19.7812 | 6.3779 | -0.11667 | 0.12083 | 116.432 | -2.0625