## POWER STATUS
POWER STATUS ON DT 22.06.2026
[9 empty] | 2026-06-22 | 2026-06-21
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 5385.2651 | 6484.1628
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 6.708 | 0.16099 | 630/590 ft | 602.47 | 601.08 | 601.02 | 0 | 33.9532
| Chiplima | 72(3x24) | 12.75 | 0.306 | - |  |  |  | 13 | 0
| Balimela | 510(6x60+2x75) | 257.916 | 6.19 | 1516/1440 ft | 1455.8 | 1463.5 | 1462.8 | 311.8105 | 369.2391
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 114.84 | 109.84 | 109.84 | 0 | 0
| Upper Kolab | 320(4x80) | 17.79 | 0.42696 | 858/844 mt | 847.01 | 847.08 | 847.07 | 0 | 153.8892
| Upper Indravati | 600(4x150) | 208.2292 | 4.9975 | 642/625 mt | 627.96 | 628.75 | 628.68 | 294.4546 | 251.3339
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2725.8 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 503.3932 | 12.0814 |  |  |  |  | 619.2651 | 808.4155
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1160.8949 | 27.8615 | RENEWABLE ENERGY (RE) |  |  |  | 1042 | 1047.1635
[5 empty] | M.Hydl | 26.2111
| Total Thermal | 2200 | 1160.8949 | 27.8615 | Solar | 84.2783 |  |  | 1042 | 1047.1635
IPP | VEDANTA #2 | 600 (1x600) | 383.3025 | 9.1993 | Total IPPs | Yesterday's Demand Profile |  |  | 288.3008 | 550.078
| GMR #3 | 350 (1x350) | 317.3214 | 7.6157 | 797.3118 |  | MW | HRS | 327.9253 | 330.7549
| NBVL(IPP) | 60(1x60) | 50.6504 | 1.2156 |  |  |  |  | 54 | 53.797
| MDTPC |  | 46.0375 | 1.1049 |  |  |  |  | 32 | 56.0253
| CGPs |  | 611.5919 | 14.6782 | IPPs, CGPs & RE | Maximum | 6622.0506 | 01:00 | 1336 | 1690.4513
| Central Sector(Drawl) |  | 2970.9868 | 71.3037 | 1519.393 | Minimum | 5611.8683 | 18:00 | 2388 | 2938.1325
| Central Sector(Sch) |  | 2989.4117 | 71.7459 |  | Average | 6154.6679 |  | 2513 | 3126.96
| Grand Total |  | 6154.6679 | 147.712 | Instantaneous Peak demand |  | 6972 | 00:26 | 5385.2651 | 6484.1628
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1643.8062 | 39.4513 | 1653.8725 | 39.6929 | 1701.0972 | 40.8263
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2285.5378 | 54.8529 | 2303.351 | 55.2804 | 1718.352 | 41.2404
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1416.2561 | 33.9901 | 1422.1401 | 34.1314 | 1314.1512 | 31.5396
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 594.3249 | 14.2638 | 593.6493 | 14.2476 | 605.4525 | 14.5309
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5939.925 | 142.5582 | 5973.0128 | 143.3523 | 5339.053 | 128.1373
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 288 | GMR |  |  |  | 328
| NBVL #3 | 54 | MDTPC |  |  |  | 32
Mini Hydel: | MEENAKSHI | 1 | OPCL |  |  |  | 0
| BTPL | 6 | SAPTADHARA |  |  |  | 0
Solar: |  | 139 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 107.7343 | JSL(Duburi) |  |  |  | -70.4855
| ICCL | 0.72061 | visa |  |  |  | 9.7507
| NALCO | -134.8405 | VAL (CGP) |  |  |  | -9.667
| RSP | -49.5768 | BSL(MMDL) |  |  |  | -2.2506
| INDAL | 5.2304 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -42.3853 | VAL CPP 400 kV |  |  |  | -547.749
| NBVL | 54.1129 | Arati |  |  |  | 20.6065
| BPSL(JSG) | -46 | BPPL |  |  |  | 124.1649
Banking Avg -: (MW) |  | 192.88
HYDRO AVERAGE GENERATION IN MW:-
2026-06-14 | 2026-06-15 | 2026-06-16 | 2026-06-17 | 2026-06-18 | 2026-06-19 | 2026-06-20 | 2026-06-21
421.679 | 519.7673 | 627.85 | 651.793 | 662.5902 | 502.622 | 627.168 | 503.3932
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.21.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AEG10_W_FTG4 | VLSEZ | 9.26
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AGE26AL_PSS6_KPS1_S | ODISHA | 133.83
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP41PL_BHDL | ODISHA | 62.61
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | AP43PL_BKN | ODISHA | 86.92
JPIPL | NPCL_UP | -14 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.23
MAADURGA_THERMAL | NPCL_UP | -18.88 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 8.8
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AWEK1L | ODISHA | 13.2
OCL_IRON_STEEL | BRPL | -35 | DCBL_Rajgangpur | DCBLME | -2.75 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.89
ODISHA | BSPHCL | -25 | DCBL_Rajgangpur | DCL_RCW | -4.62 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 20.63
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.71 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.69
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | BRPL | -6 | CPTTNPL | VLSEZ | 12.13
Assam_Ben | ODISHA | 36.16 | ENVIROCARE_INFRA | TANGEDCO | -3 | DADRI_SOLAR | ODISHA | 0.46
FARIDABAD_SOLAR | ODISHA | 0.94 | ENVIROCARE_INFRA | TANGEDCO | -3 | ENERSON_SOLAR_10MW | ODISHA | 1.58
JBVNL | ODISHA | 24.11 | FACORPOWER | PSPCL | -10.42 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 58.56 | FACORPOWER | PSPCL | -12.75 | GADAG_Serentica3_S | VLSEZ | 35.41
MPPMCL | ODISHA | 156.72 | FACORPOWER | PSPCL | 0 | GADAG_Serentica3_W | VLSEZ | 37.34
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | -5.25 | GIWEL_SECI_II_RE | ODISHA | 44.95
Manipur_Ben | ODISHA | 32.91 | FACORPOWER | PSPCL | -5.83 | GPCL_SOLAR_10 | ODISHA | 1.25
RAJ_SOLAR | ODISHA | 2.57 | GMRKEL_STU | PSPCL | -61.9 | GSECL_SOLAR | ODISHA | 0.87
RAJ_SOLAR | ODISHA | 2.35 | NBVLIPP | BRPL | -31.88 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.02
|  |  | NBVLIPP | BRPL | -13.12 | JREPL_BKN2 | VLSEZ | 13.4
|  |  | NBVL_OTCL | PSPCL | -7.58 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | NBVL_OTCL | PSPCL | -18.42 | KARUR_TPVARDHAMAN_W | TSKPO | 31.67
|  |  | NBVL_OTCL | PSPCL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | OCL_IRON_STEEL | TPDDL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.71
|  |  | OCL_IRON_STEEL | TPDDL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ODISHA | KSEB | -41.67 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.65
|  |  | ORSISL | PSPCL | -1.46 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 12.16
|  |  | ORSISL | PSPCL | -3.54 | OKWPL_RE | ODISHA | 25.09
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 13.92
|  |  | SGML | UPPCL | -4.17 | RWE_AP2_SECI_III | ODISHA | 20.41
|  |  | TIMES_STEEL | PONDY | -5.62 | RenewGreen_SLPR_HS | JSL_DUBURI | 0
|  |  | VIRAJ_SEPL | WBSEDCL | -6.46 | SRI9PL_FTG3 | VLSEZ | 37.32
|  |  | VSL | UPPCL | -4.17 | TPSL_BKN2 | TSKPO | 0
|  |  | Assam_Ben | VLSEZ | 24.11 | TPSL_BKN2 | TSKPO | 0
|  |  | BALCO | VLSEZ | 4.02 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
|  |  | JIPL | ODISHA | 115.73 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
|  |  | MPSEB_Beneficiary | ODISHA | 36.16 | Tuticorin_BETAMWIND | ODISHA | 27.37
|  |  | NALCOAP | NACL_Odisha | 6.12 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 5.03
[6 empty] | XXPPL_FTG3 | ODISHA | 36.54

## DAM
DAM TRADING DETAILS FOR DT :21.06.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | -2 | 0.11 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 0.2
00:15 - 00:30 | 0 | -2 | 0.03 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 0.05
00:30 - 00:45 | 0 | -2 | 0.49 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 0.8
00:45 - 01:00 | 0 | -2 | 2.07 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 3.42
01:00 - 01:15 | 0 | -2 | 6.86 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 10.63
01:15 - 01:30 | 0 | -2 | 14.03 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 15.19
01:30 - 01:45 | 0 | -2 | 24.49 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 20.22
01:45 - 02:00 | 0 | -2 | 31.02 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 26.77
02:00 - 02:15 | 0 | -2 | 54.59 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 62.8
02:15 - 02:30 | 0 | -2 | 61.68 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 70.65
02:30 - 02:45 | 0 | -2 | 67.79 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 81.07
02:45 - 03:00 | 0 | -2 | 79.25 | 0 | 0 | 0 | -110 | 0 | -9 | 0 | 95.51
03:00 - 03:15 | 0 | -2 | 107.39 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 246.3
03:15 - 03:30 | 0 | -2 | 112.54 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 255.55
03:30 - 03:45 | 0 | -2 | 125.8 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 282.28
03:45 - 04:00 | 0 | -2 | 129.97 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 289.34
04:00 - 04:15 | 0 | -2 | 42.43 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 425.3
04:15 - 04:30 | 0 | -2 | 41.08 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 413.62
04:30 - 04:45 | 0 | -2 | 38.2 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 386.37
04:45 - 05:00 | 0 | -2 | 35.27 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 358.34
05:00 - 05:15 | 0 | 0 | 36.75 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 373.43
05:15 - 05:30 | 0 | 0 | 31.06 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 315.56
05:30 - 05:45 | 0 | 0 | 29.69 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 197.07
05:45 - 06:00 | 0 | 0 | 27.39 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 179.9
06:00 - 06:15 | 0 | 0 | 38.59 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 246.39
06:15 - 06:30 | 0 | 0 | 39.69 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 238.98
06:30 - 06:45 | 0 | 0 | 42.43 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 173.6
06:45 - 07:00 | 0 | 0 | 42.43 | 0 | 0 | 0 | -30 | 0 | -9 | 0 | 151.41
07:00 - 07:15 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0
07:15 - 07:30 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0.96
07:30 - 07:45 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | -9 | 9.65 | 0.96
07:45 - 08:00 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | -9 | 9.64 | 0
08:00 - 08:15 | 0 | 0 | -400 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
08:15 - 08:30 | 0 | 0 | -278.09 | 0 | 28.94 | 5.3 | 0 | 0 | -4 | 9.64 | 0.96
08:30 - 08:45 | 0 | 0 | -110.35 | 0 | 28.94 | 5.3 | 0 | 0 | -4 | 9.64 | 0
08:45 - 09:00 | 0 | 0 | 164.28 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
09:00 - 09:15 | 0 | 0 | 69.59 | 7.33 | 28.93 | 5.3 | 0 | 0 | -3.09 | 9.64 | 0
09:15 - 09:30 | 0 | 0 | 69.73 | 7.43 | 28.93 | 5.3 | 0 | 0 | -0.13 | 9.64 | 0.96
09:30 - 09:45 | 0 | 0 | 64.66 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
09:45 - 10:00 | 0 | 0 | 64.71 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0.96
10:00 - 10:15 | 0 | 0 | 74.48 | 6.75 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
10:15 - 10:30 | 0 | 0 | 61.2 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
10:30 - 10:45 | 0 | 0 | 61.18 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
10:45 - 11:00 | 0 | 0 | 61.28 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
11:00 - 11:15 | 0 | 0 | 55.02 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
11:15 - 11:30 | 0 | 0 | 55.02 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
11:30 - 11:45 | 0 | 0 | 55.02 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
11:45 - 12:00 | 0 | 0 | 55.02 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
12:00 - 12:15 | 0 | 0 | 61.19 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
12:15 - 12:30 | 0 | 0 | 61.18 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
12:30 - 12:45 | 0 | 0 | 308.58 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
12:45 - 13:00 | 0 | 0 | 308.58 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
13:00 - 13:15 | 0 | 0 | 61.16 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
13:15 - 13:30 | 0 | 0 | 61.15 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
13:30 - 13:45 | 0 | 0 | 61.23 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
13:45 - 14:00 | 0 | 0 | 308.5 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
14:00 - 14:15 | 0 | 0 | 42.44 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
14:15 - 14:30 | 0 | 0 | 42.44 | 0 | 28.93 | 5.3 | 0 | 0 | -4 | 9.64 | 0
14:30 - 14:45 | 0 | 0 | 0.26 | 0 | 28.94 | 5.3 | 0 | 9.64 | -4 | 9.64 | 0
14:45 - 15:00 | 0 | 0 | -38.97 | 0 | 28.94 | 5.3 | 0 | 0 | -4 | 9.64 | 0
15:00 - 15:15 | 0 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
15:15 - 15:30 | 0 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0.96
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
17:00 - 17:15 | -12 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
17:15 - 17:30 | -12 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.65 | 0
17:30 - 17:45 | -12 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 9.64 | 12.55
17:45 - 18:00 | -12 | 0 | 0 | 0 | 0 | 5.3 | 0 | 0 | -4 | 0 | 62.69
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 9.64 | 141.77
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 9.64 | 82.94
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 109.94
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 325.97
19:00 - 19:15 | 0 | -2 | 42.43 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 329.83
19:15 - 19:30 | 0 | -2 | 42.43 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 342.37
19:30 - 19:45 | 0 | -2 | 42.43 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 352.01
19:45 - 20:00 | 0 | -2 | 42.43 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 356.83
20:00 - 20:15 | 0 | -2 | 40.03 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 338.48
20:15 - 20:30 | 0 | -2 | 34.86 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 297.92
20:30 - 20:45 | 0 | -2 | 30.38 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 261
20:45 - 21:00 | 0 | -2 | 26.67 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 232.08
21:00 - 21:15 | 0 | -2 | 12.91 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 113.25
21:15 - 21:30 | 0 | -2 | 10.74 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 93.48
21:30 - 21:45 | 0 | -2 | 9.49 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 82.57
21:45 - 22:00 | 0 | -2 | 10.06 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 87.52
22:00 - 22:15 | 0 | -2 | 42.23 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 77.64
22:15 - 22:30 | 0 | -2 | 28.61 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 52.59
22:30 - 22:45 | 0 | -2 | 19.97 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 37.88
22:45 - 23:00 | 0 | -2 | 13.1 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 25.2
23:00 - 23:15 | 0 | -2 | 3.89 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 7.35
23:15 - 23:30 | 0 | -2 | 1.48 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 2.77
23:30 - 23:45 | 0 | -2 | 1.35 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 2.86
23:45 - 24:00 | 0 | -2 | 0.28 | 0 | 0 | 0 | -20 | 0 | -9 | 0 | 0.58
Average | -0.5 | -0.83333 | 22.0769 | 0.22406 | 8.137 | 2.2083 | -22.0833 | 0.10042 | -6.7419

## GDAM
GDAM TRADING DETAILS FOR DT:21.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 7.95 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 7.49 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 8.37 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 8.01 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 12.33 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 19.64 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 19.68 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 27.88 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 28.38 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 27.6 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 32.94 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 34.33 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 27.8 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 26.03 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 22.95 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 20.99 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.47 | 0 | 0 | 5.79 | 161.43
07:30 - 07:45 | 0 | 0 | 0 | 14.47 | 28.93 | 0 | 5.79 | 216.98
07:45 - 08:00 | 0 | 0 | 0 | 14.47 | 28.93 | 0 | 5.79 | 216.02
08:00 - 08:15 | 0 | 0 | 0 | 19.29 | 0 | 0 | 5.79 | 216.98
08:15 - 08:30 | 0 | 0 | 0 | 19.29 | 28.93 | 9.64 | 5.79 | 216.99
08:30 - 08:45 | 0 | 0 | 0 | 19.29 | 28.93 | 9.64 | 5.79 | 198.67
08:45 - 09:00 | 0 | 0 | 0 | 19.29 | 28.93 | 9.64 | 5.79 | 166.84
09:00 - 09:15 | 0 | 0 | 253.1 | 19.29 | 28.93 | 9.64 | 5.79 | 162.98
09:15 - 09:30 | -1.5 | 0 | 253.05 | 19.29 | 28.93 | 9.64 | 5.79 | 216.99
09:30 - 09:45 | -1.7 | 0 | 246.51 | 19.29 | 28.93 | 9.64 | 5.79 | 216.99
09:45 - 10:00 | -2.6 | 0 | 246.47 | 19.29 | 28.93 | 9.64 | 5.79 | 216.99
10:00 - 10:15 | -2.7 | 0 | 246.56 | 19.29 | 28.93 | 9.64 | 5.79 | 216.03
10:15 - 10:30 | -3.5 | -0.7 | 253.17 | 19.29 | 28.93 | 9.64 | 5.79 | 216.99
10:30 - 10:45 | -5.5 | -1.7 | 253.19 | 19.29 | 28.93 | 9.64 | 5.79 | 328.86
10:45 - 11:00 | -6.7 | -5.6 | 253.05 | 19.29 | 28.93 | 9.64 | 5.79 | 328.86
11:00 - 11:15 | -6.2 | -5.7 | 265.09 | 19.29 | 28.93 | 9.64 | 5.79 | 328.87
11:15 - 11:30 | -4.8 | -4.4 | 265.09 | 19.29 | 28.93 | 9.64 | 5.79 | 328.87
11:30 - 11:45 | -5.9 | -4.6 | 265.11 | 19.29 | 28.93 | 9.64 | 5.79 | 328.86
11:45 - 12:00 | -6 | -5.1 | 265.1 | 19.29 | 28.93 | 9.64 | 5.79 | 328.86
12:00 - 12:15 | -4.3 | -5 | 253.17 | 19.29 | 28.93 | 9.64 | 5.79 | 328.87
12:15 - 12:30 | -2 | -5.1 | 253.17 | 19.29 | 28.93 | 9.64 | 5.79 | 328.87
12:30 - 12:45 | -0.9 | -0.5 | 0 | 19.29 | 28.93 | 9.64 | 5.79 | 328.86
12:45 - 13:00 | -4.6 | -1.7 | 0 | 19.29 | 28.93 | 9.64 | 5.79 | 328.86
13:00 - 13:15 | -3.3 | -0.3 | 253.17 | 19.29 | 28.93 | 9.64 | 5.79 | 328.87
13:15 - 13:30 | -5.1 | -4.4 | 253.17 | 19.29 | 28.93 | 9.64 | 5.79 | 328.87
13:30 - 13:45 | -2.2 | -5.2 | 253.05 | 19.29 | 28.93 | 9.64 | 5.79 | 328.86
13:45 - 14:00 | -2.9 | -0.8 | 0 | 19.29 | 28.93 | 9.64 | 5.79 | 329.83
14:00 - 14:15 | -2.5 | -3 | 0 | 19.29 | 28.93 | 9.64 | 5.79 | 328.86
14:15 - 14:30 | -3.5 | -2.2 | 0 | 19.29 | 0 | 9.64 | 5.79 | 328.86
14:30 - 14:45 | -1.9 | 0 | 0 | 19.29 | 0 | 0 | 5.79 | 328.85
14:45 - 15:00 | -2.5 | 0 | 0 | 19.29 | 0 | 9.64 | 5.79 | 328.86
15:00 - 15:15 | -1.4 | 0 | 0 | 19.29 | 0 | 0 | 5.79 | 329.82
15:15 - 15:30 | -1.6 | 0 | 0 | 19.29 | 0 | 0 | 5.79 | 328.85
15:30 - 15:45 | -1.2 | 0 | 0 | 19.29 | 0 | 0 | 5.79 | 328.85
15:45 - 16:00 | 0 | 0 | 0 | 19.29 | 0 | 0 | 5.79 | 216.02
16:00 - 16:15 | 0 | 0 | 0 | 14.47 | 28.93 | 0 | 5.79 | 216.98
16:15 - 16:30 | 0 | 0 | 0 | 14.47 | 28.93 | 0 | 5.79 | 216.98
16:30 - 16:45 | 0 | 0 | 0 | 14.47 | 28.93 | 0 | 5.79 | 216.02
16:45 - 17:00 | 0 | 0 | 0 | 14.47 | 28.93 | 0 | 5.79 | 216.02
17:00 - 17:15 | 0 | 0 | 0 | 14.47 | 1.45 | 0 | 5.79 | 216.98
17:15 - 17:30 | 0 | 0 | 0 | 14.47 | 0 | 0 | 5.79 | 216.02
17:30 - 17:45 | 0 | 0 | 0 | 14.47 | 0 | 0 | 5.79 | 216.98
17:45 - 18:00 | 0 | 0 | 0 | 14.47 | 0 | 0 | 5.79 | 216.98
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 10.24 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 9.68 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 15.91 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 18.69 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 16.29 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 16.62 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 36.62 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 33.44 | 0 | 0 | 0 | 0 | 0
Average | -0.90625 | -0.58333 | 50.2196 | 8.088 | 9.0557 | 2.6108

## RTM
RTM TRADING DETAILS FOR DT: 21.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SMC_Power_Generation_Limited_Unit_II_PTC | Sunglaze_Power_Private_Limited | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.5 | 0 | -0.3 | -1.4 | 0 | 42.03 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 42.03 | -2
00:15 - 00:30 | -1.5 | 0 | -0.3 | -1.4 | 0 | 40.75 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 40.74 | -2
00:30 - 00:45 | -1.5 | 0 | -0.3 | -1.4 | 0 | 82.72 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.09 | -2
00:45 - 01:00 | -1.5 | 0 | -0.3 | -1.4 | 0 | 88.65 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 35.46 | -2
01:00 - 01:15 | -1.5 | 0 | -0.3 | -1.4 | 0 | 154.41 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 10.29 | -2
01:15 - 01:30 | -1.5 | 0 | -0.3 | -1.4 | 0 | 170.72 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 1.14 | -2
01:30 - 01:45 | -1.5 | 0 | -0.3 | -1.4 | 0 | 167.7 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 1.68 | -2
01:45 - 02:00 | -1.5 | 0 | -0.3 | -1.4 | 0 | 191.25 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 1.91 | -2
02:00 - 02:15 | -1.5 | 0 | -0.3 | -1.4 | 0 | 202.7 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 16.21 | -2
02:15 - 02:30 | -1.5 | 0 | -0.3 | -1.4 | 0 | 226.02 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91 | -2
02:30 - 02:45 | -1.5 | 0 | -0.3 | -1.4 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.88 | -2
02:45 - 03:00 | -1.5 | 0 | -0.3 | -1.4 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | -2
03:00 - 03:15 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 33.69 | -2
03:15 - 03:30 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 25.37 | -2
03:30 - 03:45 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | -2
03:45 - 04:00 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -2
04:00 - 04:15 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -2
04:15 - 04:30 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2
04:30 - 04:45 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -160 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
04:45 - 05:00 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -160 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
05:00 - 05:15 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -1.5 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.98 | 0
05:30 - 05:45 | -1.5 | 0 | -0.8 | -1.4 | 0 | -100 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55 | 0
05:45 - 06:00 | -1.5 | 0 | -0.8 | -1.4 | 0 | -100 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | -25 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55 | 0
06:00 - 06:15 | -1.5 | 0 | -0.8 | -1.4 | 0 | -100 | 0 | 0 | -160 | -0.1 | -0.1 | 0 | 0 | -2.5 | 0 | -25 | -0.1 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.06 | 0
06:15 - 06:30 | -1.5 | -10 | -0.8 | -1.4 | 0 | -100 | 0 | 0 | -160 | -0.1 | -0.2 | 0 | 0 | -2.5 | 0 | -25 | -0.3 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 68.47 | 0
06:30 - 06:45 | -1.5 | 0 | -0.4 | -1.4 | 0 | 256.36 | 0 | 0 | -160 | -0.3 | -0.3 | 0 | 0 | -2.5 | 0 | -25 | -0.4 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 51.28 | 0
06:45 - 07:00 | -1.5 | 0 | -0.4 | -1.4 | 0 | 348.95 | 0 | 0 | -160 | -0.4 | -0.3 | 0 | 0 | -2.5 | 0 | -25 | -0.5 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67.51 | 0
07:00 - 07:15 | -1.5 | 0 | -0.4 | -1.4 | 0 | 728.52 | 0 | 0 | 0 | -0.7 | -0.1 | 0 | 0 | -2.5 | 0 | -25 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.22 | 0
07:15 - 07:30 | -1.5 | 0 | -0.4 | -1.4 | 0 | 445.76 | 0 | 0 | 0 | -0.7 | -0.4 | 0 | 0 | -2.5 | 0 | -25 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -1.5 | 0 | -0.4 | -1.4 | 0 | 259.35 | 0 | 10.61 | 0 | -0.5 | -0.4 | 0 | 7.72 | -2.5 | 19.29 | -25 | -1.4 | 0 | 0 | 7.72 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 8.2 | 48.22 | 0 | 0 | 0
07:45 - 08:00 | -1.5 | -5 | -0.4 | 0 | 0 | 235.01 | 0 | 10.61 | 0 | -1.2 | -0.4 | 9.64 | 7.72 | -2.5 | 19.29 | -25 | -1.6 | 0.96 | 0 | 11.57 | 0 | 5.79 | 0 | 19.29 | 0 | 0 | 0 | 8.2 | 48.22 | 0 | 0 | 0
08:00 - 08:15 | -1.5 | -5 | -0.8 | -1.4 | 9.64 | 609.06 | 0 | 10.61 | 0 | -0.1 | -0.4 | 0 | 7.72 | 0 | 0 | -25 | -1.9 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 0 | 0 | 0 | 8.2 | 28.93 | 0 | 0 | 0
08:15 - 08:30 | -1.5 | 0 | -0.8 | 0 | 9.64 | 336.97 | 0 | 10.61 | 0 | -0.2 | -0.4 | 0 | 7.72 | 0 | 0 | -25 | -2 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 0 | 0 | -20 | 8.2 | 28.93 | 0 | 0 | 0
08:30 - 08:45 | -1.5 | 0 | -0.8 | 0 | 9.64 | 209.75 | 0 | 10.61 | 0 | -0.2 | -0.6 | 0 | 7.72 | 0 | 0 | -25 | -2.2 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | -10 | 8.2 | 28.93 | 0 | 0 | 0
08:45 - 09:00 | -1.5 | 0 | -0.8 | 0 | 9.64 | 155.91 | 7.72 | 10.61 | 0 | -0.2 | -0.6 | 0 | 7.72 | 0 | 0 | -25 | 0 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | 0 | 8.2 | 28.93 | 0 | 0 | 0
09:00 - 09:15 | -1.5 | 0 | -0.4 | 0 | 9.64 | 66.93 | 0 | 10.61 | 0 | -0.2 | -0.8 | 0 | 7.72 | 0 | 0 | -25 | -2.4 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | 0 | 8.2 | 33.75 | 0 | 0 | 0
09:15 - 09:30 | -1.5 | 0 | -0.4 | 0 | 9.64 | 281.68 | 0 | 10.61 | 0 | -0.2 | -0.9 | 0 | 7.72 | 0 | 0 | -25 | -2.6 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | -25 | 8.2 | 38.58 | 0 | 0 | 0
09:30 - 09:45 | -1.5 | -9 | -0.4 | -1.4 | 9.64 | 259.66 | 0 | 10.61 | 0 | -0.2 | -0.9 | 0 | 7.72 | 0 | 0 | -25 | -3 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | 0 | 8.2 | 43.4 | 5.79 | 0 | 0
09:45 - 10:00 | -1.5 | 0 | -0.4 | 0 | 9.64 | 175.49 | 0 | 10.61 | 0 | -0.2 | -0.9 | 0 | 7.72 | 0 | 0 | -25 | -3 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | -20 | 8.2 | 43.4 | 5.79 | 0 | 0
10:00 - 10:15 | -1.5 | 0 | -0.4 | 0 | 9.64 | 0 | 0 | 10.61 | 0 | -0.2 | -1 | 0 | 7.72 | 0 | 0 | -23 | -3.6 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | -4.2 | -30 | 8.2 | 43.39 | 5.79 | 0 | 0
10:15 - 10:30 | -1.5 | 0 | -0.4 | 0 | 9.64 | 0 | 0 | 10.61 | 0 | -0.2 | -1 | 0 | 7.72 | 0 | 0 | -23 | -3.6 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | -20 | 8.2 | 48.21 | 5.79 | 0 | 0
10:30 - 10:45 | -1.5 | 0 | -0.4 | 0 | 9.64 | 125.37 | 8.29 | 10.61 | 0 | -0.2 | -1.1 | 0 | 7.72 | 0 | 0 | -23 | 0 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | 0 | 8.2 | 43.4 | 5.79 | 0 | 0
10:45 - 11:00 | -1.5 | 0 | -0.4 | 0 | 9.64 | 376.1 | 8.49 | 10.61 | 0 | -0.2 | -1.1 | 0 | 7.72 | 0 | 0 | -23 | 0 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | -5 | 8.2 | 43.4 | 5.79 | 0 | 0
11:00 - 11:15 | -1.5 | -9 | -0.4 | 0 | 9.64 | 192.93 | 8.68 | 10.61 | 0 | -0.2 | -1.2 | 0 | 7.72 | 0 | 0 | -23 | -3.3 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | 0 | 8.2 | 43.4 | 5.79 | 0 | 0
11:15 - 11:30 | -1.5 | 0 | -0.4 | 0 | 9.64 | 435.77 | 0 | 10.61 | 0 | -0.2 | -1.4 | 0 | 7.72 | 0 | 0 | -23 | -3.4 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 4.82 | 0 | 0 | 8.2 | 43.4 | 5.79 | 0 | 0
11:30 - 11:45 | -1.5 | 0 | -0.4 | 0 | 9.64 | 669.69 | 0 | 10.61 | 0 | -0.2 | -2.3 | 0 | 7.72 | 0 | 0 | -23 | -3.8 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 6.75 | 0 | -20 | 8.2 | 48.22 | 5.79 | 0 | 0
11:45 - 12:00 | -1.5 | 0 | -0.4 | 0 | 9.64 | 857.77 | 0 | 10.61 | 0 | -0.2 | -2.3 | 0 | 7.72 | 0 | 0 | -23 | -3.9 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 6.75 | -5.4 | -20 | 8.2 | 48.22 | 5.79 | 0 | 0
12:00 - 12:15 | -1.5 | 0 | -0.4 | 0 | 9.64 | 1063.92 | 0 | 10.61 | 0 | -0.2 | -1.3 | 0 | 7.72 | 0 | 0 | -23 | -4.4 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 6.75 | 0 | -15 | 8.2 | 48.22 | 5.79 | 0 | 0
12:15 - 12:30 | -1.5 | 0 | -0.4 | 0 | 9.64 | 910.86 | 0 | 10.61 | 0 | -0.3 | -1.3 | 0 | 7.72 | 0 | 0 | -23 | -4.3 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 6.75 | 0 | 0 | 8.2 | 48.22 | 5.79 | 0 | 0
12:30 - 12:45 | -1.5 | 0 | -0.4 | 0 | 9.64 | 953.72 | 0 | 10.61 | 0 | -0.3 | -1.3 | 0 | 7.72 | 0 | 0 | -23 | -4.3 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 6.75 | 0 | 0 | 8.2 | 48.22 | 5.79 | 0 | 0
12:45 - 13:00 | -1.5 | 0 | -0.4 | 0 | 9.64 | 667.99 | 0 | 10.61 | 0 | -2.4 | -1.3 | 0 | 7.72 | 0 | 0 | -23 | -4.1 | 0.96 | 0 | 11.57 | -5 | 5.79 | 3.86 | 19.29 | 6.75 | 0 | 0 | 8.2 | 48.22 | 5.79 | 0 | 0
13:00 - 13:15 | -1.5 | -12 | -0.8 | 0 | 9.64 | 395.4 | 7.33 | 10.61 | 0 | -2.1 | -1.2 | 0 | 7.72 | 0 | 0 | -23 | 0 | 0.96 | 0 | 11.57 | 0 | 5.79 | 3.86 | 19.29 | 6.75 | 0 | 0 | 8.2 | 48.22 | 5.79 | 0 | 0
13:15 - 13:30 | -1.5 | -9 | -0.8 | 0 | 9.64 | 380.89 | 6.37 | 10.61 | 0 | -2.6 | -1.2 | 0 | 7.72 | 0 | 0 | -23 | -4 | 0.96 | 0 | 11.57 | 0 | 5.79 | 3.86 | 19.29 | 6.75 | 0 | -15 | 8.2 | 48.22 | 5.79 | 0 | 0
13:30 - 13:45 | -1.5 | 0 | -0.8 | 0 | 9.64 | 230.88 | 0 | 10.61 | 0 | -1 | -1.5 | 0 | 7.72 | 0 | 0 | -23 | -3.9 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | -5 | -20 | 8.2 | 48.22 | 5.79 | 0 | 0
13:45 - 14:00 | -1.5 | -9 | -0.8 | -1.4 | 9.64 | 221.78 | 0 | 10.61 | 0 | -1 | -1.5 | 0 | 7.72 | 0 | 0 | -23 | -3.7 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | -4.6 | -10 | 8.2 | 48.22 | 5.79 | 0 | 0
14:00 - 14:15 | -1.5 | 0 | -0.8 | 0 | 9.64 | 327.86 | 0 | 10.61 | 0 | -0.8 | -1.5 | 0 | 7.72 | -1 | 0 | -23 | -3.6 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | -4.1 | 0 | 8.2 | 38.58 | 5.79 | 0 | 0
14:15 - 14:30 | -1.5 | 0 | -0.8 | -1.5 | 9.64 | 495.31 | 0 | 10.61 | 0 | -0.7 | -1.4 | 0 | 7.72 | -1 | 0 | -23 | -3.3 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | -3.6 | -5 | 8.2 | 38.58 | 5.79 | 0 | 0
14:30 - 14:45 | -1.5 | -4 | -0.8 | -1.5 | 9.64 | 549.6 | 0 | 10.61 | 0 | -0.7 | -1.3 | 0 | 7.72 | -1 | 0 | -23 | -3.1 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | -1.4 | 0 | 8.2 | 43.4 | 5.79 | 0 | 0
14:45 - 15:00 | -1.5 | 0 | -0.8 | -1.5 | 9.64 | 304.18 | 0 | 10.61 | 0 | -0.6 | -1.3 | 0 | 7.72 | -1 | 0 | -23 | -3.1 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | -1 | 0 | 8.2 | 43.4 | 5.79 | 0 | 0
15:00 - 15:15 | -1.5 | -2 | -0.8 | 0 | 9.64 | 409.83 | 0 | 10.61 | 0 | -0.1 | -1.4 | 9.64 | 7.72 | -1 | 0 | -23 | -2.7 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | -20 | 8.2 | 38.58 | 5.79 | 0 | 0
15:15 - 15:30 | -1.5 | 0 | -0.8 | 0 | 9.64 | 459.25 | 0 | 10.61 | 0 | -0.1 | -1.4 | 9.64 | 7.72 | -1 | 0 | -23 | -2.3 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | -15 | 8.2 | 38.58 | 5.79 | 0 | 0
15:30 - 15:45 | -1.5 | 0 | -0.8 | -1.4 | 9.64 | 400.19 | 0 | 10.61 | 0 | -0.1 | -1.3 | 9.64 | 7.72 | -1 | 0 | -23 | -2.1 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | 0 | 8.2 | 38.58 | 5.79 | 0 | 0
15:45 - 16:00 | -1.5 | -9 | -0.8 | 0 | 9.64 | 312.61 | 0 | 10.61 | 0 | -0.1 | -1.2 | 9.64 | 7.72 | -1 | 0 | -23 | -1.9 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | 0 | 8.2 | 33.75 | 5.79 | 0 | 0
16:00 - 16:15 | -1.5 | 0 | -0.8 | 0 | 9.64 | 231.46 | 15.82 | 10.61 | 0 | -0.1 | -1 | 9.64 | 7.72 | -1 | 19.29 | -23 | 0 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | 0 | 8.2 | 48.22 | 5.79 | 0 | 0
16:15 - 16:30 | -1.5 | 0 | -0.8 | 0 | 9.64 | 279.68 | 16.01 | 10.61 | 0 | -0.1 | -0.8 | 9.64 | 7.72 | -1 | 19.29 | -23 | 0 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | 0 | 8.2 | 48.22 | 5.79 | 0 | 0
16:30 - 16:45 | -1.5 | 0 | -0.8 | 0 | 9.64 | 257.98 | 0 | 10.61 | 0 | -0.1 | -0.5 | 9.64 | 7.72 | -1 | 19.29 | -23 | -1.3 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | -10 | 8.2 | 43.4 | 5.79 | 0 | 0
16:45 - 17:00 | -1.5 | 0 | -0.8 | -1.4 | 9.64 | 240.49 | 0 | 10.61 | 0 | 0 | -0.2 | 0 | 7.72 | -1 | 19.29 | -23 | -1 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | -20 | 8.2 | 43.4 | 5.79 | 0 | 0
17:00 - 17:15 | -1.5 | 0 | -0.3 | -1.4 | 9.64 | 243.72 | 0 | 10.61 | 0 | 0 | -0.2 | 9.64 | 7.72 | -1 | 19.29 | -23 | -0.6 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | -15 | 8.2 | 43.4 | 5.79 | 0 | 0
17:15 - 17:30 | -1.5 | 0 | -0.3 | -1.4 | 9.64 | 239.62 | 0 | 10.61 | 0 | 0 | -0.1 | 0 | 7.72 | -1 | 19.29 | -23 | -0.4 | 0.96 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | 0 | 8.2 | 43.4 | 5.79 | 0 | 0
17:30 - 17:45 | -1.5 | -9 | -0.3 | -1.4 | 9.64 | 229.01 | 0 | 10.61 | 0 | 0 | 0 | 0 | 7.72 | -1 | 19.29 | -23 | -0.1 | 0 | 0 | 7.72 | 0 | 5.79 | 2.89 | 19.29 | 7.72 | 0 | -10 | 8.2 | 43.4 | 5.79 | 0 | 0
17:45 - 18:00 | -1.5 | 0 | -0.3 | -1.4 | 9.64 | 202.44 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1 | 19.29 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | 8.2 | 43.4 | 0 | 0 | 0
18:00 - 18:15 | -1.5 | 0 | -0.3 | -1.4 | 0 | 533.04 | 0 | 10.61 | 0 | 0 | 0 | 9.64 | 7.72 | -2.5 | 19.29 | -23 | 0 | 6.27 | 0 | 11.57 | 0 | 5.79 | 2.89 | 19.29 | 0 | 0 | 0 | 8.2 | 67.51 | 5.79 | 10.61 | 0
18:15 - 18:30 | -1.5 | 0 | -0.3 | -1.4 | 0 | 588.32 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.29 | -23 | 0 | 0 | 0 | 7.72 | 0 | 0 | 2.89 | 0 | 0 | 0 | -10 | 8.2 | 67.51 | 0 | 5.79 | 0
18:30 - 18:45 | -1.5 | 0 | -0.3 | -1.4 | 0 | 491.81 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.29 | -23 | 0 | 0 | 0 | 17.36 | 0 | 0 | 2.89 | 0 | 0 | 0 | -20 | 8.2 | 67.51 | 0 | 0 | 0
18:45 - 19:00 | -1.5 | 0 | -0.3 | -1.4 | 0 | 202.54 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.29 | -23 | 0 | 0 | 0 | 17.36 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | 8.2 | 67.51 | 0 | 0 | 0
19:00 - 19:15 | -1.5 | 0 | -0.3 | -1.4 | 0 | 135.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.47 | 0 | 0 | 0
19:15 - 19:30 | -1.5 | 0 | -0.3 | -1.4 | 0 | 170.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.5 | 0 | -0.3 | -1.4 | 0 | 136.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 24.11 | 0 | 0 | 0
19:45 - 20:00 | -1.5 | 0 | -0.3 | -1.4 | 0 | 129.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.5 | 0 | -0.3 | -1.4 | 0 | 144.62 | 0 | 1.48 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.29 | -23 | 0 | 0 | 0 | 17.36 | 0 | 0 | 0.41 | 0 | 0 | 0 | -15 | 0 | 24.11 | 0 | 0 | 0
20:15 - 20:30 | -1.5 | 0 | -0.3 | -1.4 | 0 | 138.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 24.11 | 0 | 0 | 0
20:30 - 20:45 | -1.5 | 0 | -0.3 | 0 | 0 | 164.03 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.29 | -23 | 0 | 0 | 0 | 17.36 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | 8.2 | 24.11 | 0 | 81.97 | 0
20:45 - 21:00 | -1.5 | 0 | -0.3 | 0 | 0 | 163.98 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.29 | -23 | 0 | 0 | 0 | 17.36 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | 8.2 | 24.11 | 0 | 115.73 | 0
21:00 - 21:15 | -1.5 | 0 | -0.3 | 0 | 0 | 221.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 103.19 | 0
21:15 - 21:30 | -1.5 | 0 | -0.3 | 0 | 0 | 208.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120.55 | 0
21:30 - 21:45 | -1.5 | 0 | -0.7 | 0 | 0 | 321.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111.87 | 0
21:45 - 22:00 | -1.5 | 0 | -0.7 | 0 | 0 | 429.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.29 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 33.75 | 0 | 83.9 | 0
22:00 - 22:15 | -1.5 | 0 | -0.7 | -1.4 | 0 | 239.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.29 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 53.04 | 0 | 69.44 | 0
22:15 - 22:30 | -1.5 | 0 | -0.7 | -1.4 | 0 | 329.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53.04 | 0 | 94.51 | 0
22:30 - 22:45 | -1.5 | 0 | -0.3 | -1.4 | 0 | 401.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.65 | 0
22:45 - 23:00 | -1.5 | 0 | -0.3 | -1.4 | 0 | 401.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103.19 | 0
23:00 - 23:15 | -1.5 | 0 | -0.3 | -1.4 | 0 | 283.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.08 | 0
23:15 - 23:30 | -1.5 | 0 | -0.3 | -1.4 | 0 | 283.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 54.97 | 0
23:30 - 23:45 | -1.5 | 0 | -0.3 | -1.4 | 0 | 311.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 57.86 | 0
23:45 - 24:00 | -1.5 | 0 | -0.3 | -1.4 | 0 | 321.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -23 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 60.76 | 0
Average | -1.5 | -0.95833 | -0.475 | -0.89271 | 4.0167 | 257.8854 | 0.8199 | 5.3204 | -28.75 | -0.21354 | -0.45104 | 1.0042 | 3.3775 | -1.625 | 3.8178 | -23.8333 | -1.0344 | 0.45531 | -1.4896 | 5.9662 | -1.1667 | 2.5331 | 1.6114 | 8.2384 | 2.5321 | -0.30521 | -9.0625