## POWER STATUS
POWER STATUS ON DT 23.06.2026
[9 empty] | 2026-06-23 | 2026-06-22
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5173.3692 | 5918.7626
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 7.083 | 0.16999 | 630/590 ft | 602.52 | 601.02 | 601 | 0 | 34.7166
| Chiplima | 72(3x24) | 3.291 | 0.078984 | - |  |  |  | 11.7111 | -6.9389e-17
| Balimela | 510(6x60+2x75) | 203.166 | 4.876 | 1516/1440 ft | 1455.8 | 1462.8 | 1462.4 | 67.3362 | 371.2137
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 115.66 | 109.84 | 109.83 | 0 | 0
| Upper Kolab | 320(4x80) | 18.17 | 0.43608 | 858/844 mt | 847.09 | 847.07 | 847.11 | 25.8748 | 153.7986
| Upper Indravati | 600(4x150) | 133.5417 | 3.205 | 642/625 mt | 627.96 | 628.68 | 628.8 | 0.29365 | 297.6949
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2725.7 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 365.2517 | 8.766 |  |  |  |  | 105.2157 | 857.4238
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1017.9996 | 24.432 | RENEWABLE ENERGY (RE) |  |  |  | 1061.8976 | 1024.1904
[5 empty] | M.Hydl | 16.4381
| Total Thermal | 2200 | 1017.9996 | 24.432 | Solar | 84.3907 |  |  | 1061.8976 | 1024.1904
IPP | VEDANTA #2 | 600 (1x600) | 378.8607 | 9.0927 | Total IPPs | Yesterday's Demand Profile |  |  | 274.3561 | 576.6607
| GMR #3 | 350 (1x350) | 305.8068 | 7.3394 | 782.2941 |  | MW | HRS | 178.8604 | 329.0936
| NBVL(IPP) | 60(1x60) | 51.9664 | 1.2472 |  |  |  |  | 48.0095 | 53.9009
| MDTPC |  | 45.6603 | 1.0958 |  |  |  |  | 31.8835 | 56.628
| CGPs |  | 671.9106 | 16.1259 | IPPs, CGPs & RE | Maximum | 6296.9239 | 01:00 | 1159.0783 | 1999.4416
| Central Sector(Drawl) |  | 2604.9849 | 62.5196 | 1555.0336 | Minimum | 5028.9505 | 07:00 | 2847.1776 | 2037.7067
| Central Sector(Sch) |  | 2719.6488 | 65.2716 |  | Average | 5543.2698 |  | 2773.4248 | 2266.29
| Grand Total |  | 5543.2698 | 133.0385 | Instantaneous Peak demand |  | 6660.8062 | 00:15 | 5173.3692 | 5918.7626
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1682.707 | 40.385 | 1642.9929 | 39.4318 | 1661.9155 | 39.886
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1860.9116 | 44.6619 | 1827.5659 | 43.8616 | 1719.6572 | 41.2718
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1381.1157 | 33.1468 | 1364.7423 | 32.7538 | 1434.4176 | 34.426
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 597.0224 | 14.3285 | 567.1217 | 13.6109 | 586.868 | 14.0848
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5521.7567 | 132.5222 | 5402.4227 | 129.6581 | 5402.8584 | 129.6686
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 274 | GMR |  |  |  | 179
| NBVL #3 | 48 | MDTPC |  |  |  | 32
Mini Hydel: | MEENAKSHI | 15 | OPCL |  |  |  | 0
| BTPL | 5 | SAPTADHARA |  |  |  | 0
Solar: |  | 164 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 82.0598 | JSL(Duburi) |  |  |  | -128.7674
| ICCL | 2.2689 | visa |  |  |  | 12.317
| NALCO | -159.6965 | VAL (CGP) |  |  |  | -5.6094
| RSP | -58.0877 | BSL(MMDL) |  |  |  | 35.072
| INDAL | -0.95741 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -40.2151 | VAL CPP 400 kV |  |  |  | -359.755
| NBVL | 47.3447 | Arati |  |  |  | 15.916
| BPSL(JSG) | -69.4329 | BPPL |  |  |  | 124.3498
Banking Avg -: (MW) |  | 192.88
HYDRO AVERAGE GENERATION IN MW:-
2026-06-15 | 2026-06-16 | 2026-06-17 | 2026-06-18 | 2026-06-19 | 2026-06-20 | 2026-06-21 | 2026-06-22
519.7673 | 627.85 | 651.793 | 662.5902 | 502.622 | 627.168 | 503.3932 | 365.2517
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.22.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 131.27
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 60.79
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 85.07
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.93
JPIPL | NPCL_UP | -14 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 8.6
MAADURGA_THERMAL | NPCL_UP | -15.97 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 12.9
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.56
OCL_IRON_STEEL | BRPL | -33 | DCBL_Rajgangpur | DALCEMAP | -6.25 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 25.31
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | DCBL_Rajgangpur | DCL_RCW | -3.88 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.07
TSBSLA | CSEB_Beneficiary | -9.38 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -2.88 | DADRI_SOLAR | ODISHA | 0.7
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | BRPL | -6 | ENERSON_SOLAR_10MW | ODISHA | 1.74
FARIDABAD_SOLAR | ODISHA | 0.94 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 65.48 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 152.54 | FACORPOWER | PSPCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 34.18
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | -5.25 | GADAG_Serentica3_W | VLSEZ | 68.17
Manipur_Ben | ODISHA | 32.87 | FACORPOWER | PSPCL | 0 | GADAG_Serentica3_W | VLSEZ | 1
Meghalaya_Ben | ODISHA | 22.87 | FACORPOWER | PSPCL | -12.75 | GIWEL_SECI_II_RE | ODISHA | 42.19
RAJ_SOLAR | ODISHA | 2.34 | FACORPOWER | PSPCL | -2.71 | GPCL_SOLAR_10 | ODISHA | 1.38
RAJ_SOLAR | ODISHA | 2.54 | GMRKEL_STU | PSPCL | -61.9 | GSECL_SOLAR | ODISHA | 1.13
RKM_POWER | ODISHA | 20.23 | JSPLANGUL | TANGEDCO | -25 | HIRIYUR_OSTROKANNADA | ODISHA | 7.56
TPDDL | ODISHA | 50.18 | NBVLIPP | BRPL | -31.88 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.11
|  |  | NBVLIPP | BRPL | -13.12 | KARUR_TPVARDHAMAN_W | TSKPO | 59.76
|  |  | NBVL_OTCL | PSPCL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.99
|  |  | NBVL_OTCL | PSPCL | -7.58 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.06
|  |  | NBVL_OTCL | PSPCL | -18.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.67
|  |  | OCL_IRON_STEEL | TPDDL | -7.29 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 5
|  |  | ORSISL | PSPCL | -1.46 | OKWPL_RE | ODISHA | 23.94
|  |  | ORSISL | PSPCL | -3.54 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 13.27
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | RWE_AP2_SECI_III | ODISHA | 20.07
|  |  | SGML | UPPCL | -4.17 | RenewGreen_SLPR_HS | JSL_DUBURI | 3.56
|  |  | TIMES_STEEL | PONDY | -5.75 | SRI9PL_FTG3 | VLSEZ | 41.53
|  |  | VIRAJ_SEPL | WBSEDCL | -10 | TPSL_BKN2 | TSKPO | 0
|  |  | VSL | UPPCL | -4.17 | TPSL_BKN2 | TSKPO | 0
|  |  | JIPL | ODISHA | 115.61 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
|  |  | MPSEB_Beneficiary | ODISHA | 40.14 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
|  |  | NALCOAP | NACL_Odisha | 6.76 | Tuticorin_BETAMWIND | ODISHA | 43.02
|  |  | North_Karanpura_STPS | ODISHA | 15.84 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 13.95
|  |  | TSTPP_I | ODISHA | 46.51 | XXPPL_FTG3 | ODISHA | 35.85

## DAM
DAM TRADING DETAILS FOR DT :22.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -3.4 | 0 | 0.03 | -110 | -9 | 0 | 0.04
00:15 - 00:30 | -3.4 | 0 | 0.25 | -110 | -9 | 0 | 0.24
00:30 - 00:45 | -3.4 | 0 | 2.32 | -110 | -9 | 0 | 2.24
00:45 - 01:00 | -3.4 | 0 | 4.51 | -110 | -9 | 0 | 4.36
01:00 - 01:15 | -3.4 | 0 | 4.91 | -110 | -9 | 0 | 15.36
01:15 - 01:30 | -3.4 | 0 | 8.3 | -110 | -9 | 0 | 25.96
01:30 - 01:45 | -3.4 | 0 | 10.46 | -110 | -9 | 0 | 33.73
01:45 - 02:00 | -3.4 | 0 | 13.03 | -110 | -9 | 0 | 43.34
02:00 - 02:15 | -3.4 | 0 | 22.06 | -110 | -9 | 0 | 75.56
02:15 - 02:30 | -3.4 | 0 | 22.89 | -110 | -9 | 0 | 78.41
02:30 - 02:45 | -3.4 | 0 | 23.37 | -110 | -9 | 0 | 80.06
02:45 - 03:00 | -3.4 | 0 | 25.8 | -110 | -9 | 0 | 90.95
03:00 - 03:15 | -8.4 | 0 | 23.1 | -60 | -9 | 0 | 81.44
03:15 - 03:30 | -8.4 | 0 | 25.71 | -30 | -9 | 0 | 90.65
03:30 - 03:45 | -8.4 | 0 | 28.4 | -30 | -9 | 0 | 100.13
03:45 - 04:00 | -8.4 | 0 | 29.09 | -30 | -9 | 0 | 102.58
04:00 - 04:15 | -8.4 | 0 | 28.31 | -30 | -9 | 0 | 85.67
04:15 - 04:30 | -8.4 | 0 | 28.2 | -30 | -9 | 0 | 71.19
04:30 - 04:45 | -8.4 | 0 | 28.82 | -30 | -9 | 0 | 58.34
04:45 - 05:00 | -8.4 | 0 | 38.54 | -30 | -9 | 0 | 58.76
05:00 - 05:15 | -8.4 | 0 | 38.54 | -30 | -9 | 0 | 39.5
05:15 - 05:30 | -8.4 | 0 | 33.26 | -30 | -9 | 0 | 18.29
05:30 - 05:45 | -8.4 | 0 | 23.73 | -30 | -9 | 0 | 1.18
05:45 - 06:00 | -8.4 | 0 | 18.59 | -30 | -9 | 0 | 0
06:00 - 06:15 | -8.4 | 0 | 35.08 | -30 | -9 | 0 | 0
06:15 - 06:30 | -8.4 | 0 | 34.89 | -30 | -9 | 0 | 0
06:30 - 06:45 | -8.4 | 0 | 36.26 | -30 | -9 | 0 | 0
06:45 - 07:00 | -8.4 | 0 | 42.39 | -30 | -9 | 0 | 0
07:00 - 07:15 | -8.4 | 0 | -300 | -50 | -9 | 0 | 0
07:15 - 07:30 | -8.4 | 0 | -300 | 0 | -9 | 0 | 0
07:30 - 07:45 | -8.4 | 0 | -244.47 | 0 | -9 | 0 | 0
07:45 - 08:00 | -8.4 | 0 | -200 | 0 | -9 | 9.63 | 0
08:00 - 08:15 | -8.4 | 0 | -150 | 0 | -4 | 9.63 | 0
08:15 - 08:30 | -8.4 | 0 | -150 | 0 | -4 | 9.63 | 0
08:30 - 08:45 | -8.4 | 0 | -150 | 0 | -4 | 9.63 | 0
08:45 - 09:00 | -8.4 | 0 | -150 | 0 | -4 | 9.63 | 0
09:00 - 09:15 | -8.4 | 0 | -150 | 0 | -4 | 9.63 | 0
09:15 - 09:30 | -8.4 | 0 | -150 | 0 | -4 | 9.63 | 0
09:30 - 09:45 | -8.4 | 0 | -150 | 0 | -4 | 9.63 | 0
09:45 - 10:00 | -8.4 | 0 | -150 | 0 | -4 | 9.63 | 0
10:00 - 10:15 | -8.4 | 0 | -31.8 | 0 | -4 | 9.63 | 0
10:15 - 10:30 | -8.4 | 0 | -50 | 0 | -4 | 9.63 | 0
10:30 - 10:45 | -8.4 | 0 | -50 | 0 | -4 | 9.63 | 0
10:45 - 11:00 | -8.4 | 0 | -50 | 0 | -4 | 9.63 | 0
11:00 - 11:15 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
11:15 - 11:30 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
11:30 - 11:45 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
11:45 - 12:00 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
12:00 - 12:15 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
12:15 - 12:30 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
12:30 - 12:45 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
12:45 - 13:00 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
13:00 - 13:15 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
13:15 - 13:30 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
13:30 - 13:45 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
13:45 - 14:00 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
14:00 - 14:15 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
14:15 - 14:30 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
14:30 - 14:45 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
14:45 - 15:00 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
15:00 - 15:15 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
15:15 - 15:30 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
15:30 - 15:45 | -8.4 | 0 | 42.39 | 0 | -4 | 9.63 | 0
15:45 - 16:00 | -8.4 | 0 | 42.39 | 0 | -4 | 0 | 0
16:00 - 16:15 | -8.4 | 0 | -150 | 0 | -4 | 0 | 0
16:15 - 16:30 | -8.4 | 0 | -150 | 0 | -4 | 0 | 0
16:30 - 16:45 | -8.4 | 0 | -150 | 0 | -4 | 0 | 0
16:45 - 17:00 | -8.4 | 0 | -150 | 0 | -4 | 0 | 0
17:00 - 17:15 | -8.4 | -12 | 42.39 | 0 | -4 | 0 | 0
17:15 - 17:30 | -8.4 | -12 | 42.39 | 0 | -4 | 0 | 0
17:30 - 17:45 | -8.4 | -12 | 42.39 | 0 | -4 | 0 | 0
17:45 - 18:00 | -8.4 | -12 | 42.39 | 0 | -4 | 0 | 0
18:00 - 18:15 | -3.4 | 0 | 42.39 | 0 | -6 | 0 | 0
18:15 - 18:30 | -3.4 | 0 | 42.39 | 0 | -6 | 0 | 0
18:30 - 18:45 | -3.4 | 0 | 42.39 | -50 | -6 | 0 | 0
18:45 - 19:00 | -3.4 | 0 | 42.39 | -50 | -6 | 0 | 0
19:00 - 19:15 | -3.4 | 0 | 21.16 | -170 | -9 | 0 | 0
19:15 - 19:30 | -3.4 | 0 | 16.15 | -170 | -9 | 0 | 0
19:30 - 19:45 | -3.4 | 0 | 10.53 | -170 | -9 | 0 | 0
19:45 - 20:00 | -3.4 | 0 | 9.49 | -170 | -9 | 0 | 0
20:00 - 20:15 | -3.4 | 0 | 7.56 | -170 | -9 | 0 | 0
20:15 - 20:30 | -3.4 | 0 | 6.15 | -170 | -9 | 0 | 0
20:30 - 20:45 | -3.4 | 0 | 5.51 | -170 | -9 | 0 | 0
20:45 - 21:00 | -3.4 | 0 | 4.13 | -170 | -9 | 0 | 0
21:00 - 21:15 | -3.4 | 0 | 14.27 | -170 | -9 | 0 | 0
21:15 - 21:30 | -3.4 | 0 | 11.75 | -170 | -9 | 0 | 0
21:30 - 21:45 | -3.4 | 0 | 8.93 | -170 | -9 | 0 | 0
21:45 - 22:00 | -3.4 | 0 | 8.57 | -170 | -9 | 0 | 0
22:00 - 22:15 | -3.4 | 0 | 10.59 | -170 | -9 | 0 | 0
22:15 - 22:30 | -3.4 | 0 | 7.45 | -170 | -9 | 0 | 0
22:30 - 22:45 | -3.4 | 0 | 4.87 | -170 | -9 | 0 | 0
22:45 - 23:00 | -3.4 | 0 | 1.41 | -170 | -9 | 0 | 0
23:00 - 23:15 | -3.4 | 0 | 0.62 | -170 | -9 | 0 | 0
23:15 - 23:30 | -3.4 | 0 | 0 | -170 | -9 | 0 | 0
23:30 - 23:45 | -3.4 | 0 | 0.32 | -170 | -9 | 0 | 0
23:45 - 24:00 | -3.4 | 0 | 3.56 | -170 | -9 | 0 | 0
Average | -6.525 | -0.5 | -10.9947 | -56.0417 | -6.7917 | 3.21 | 12.0623

## GDAM
GDAM TRADING DETAILS FOR DT:22.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Sunglaze_Power_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 11.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 10.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 10.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 10.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.3 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.3 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.3 | 0
07:00 - 07:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | -0.4 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | -0.7 | 0
07:30 - 07:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | -0.9 | 82.85
07:45 - 08:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | -1.1 | 60.7
08:00 - 08:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | -1.6 | 0
08:15 - 08:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | -1 | 0
08:30 - 08:45 | 0 | 0 | 0 | 14.46 | 0 | 0 | 9.63 | 5.78 | -1.7 | 0
08:45 - 09:00 | 0 | 0 | 0 | 14.45 | 28.9 | 24.09 | 9.63 | 5.78 | -2.3 | 0
09:00 - 09:15 | 0 | 0 | 142.08 | 14.45 | 28.9 | 21.19 | 9.63 | 5.78 | -1.27 | 0
09:15 - 09:30 | 0 | 0 | 0 | 14.45 | 28.91 | 15.41 | 9.63 | 5.78 | -4 | 0
09:30 - 09:45 | -0.6 | 0 | 0 | 14.45 | 28.9 | 7.71 | 9.63 | 5.78 | -4.5 | 0
09:45 - 10:00 | -2.8 | 0 | 0 | 14.45 | 28.9 | 7.71 | 9.63 | 5.78 | -3.9 | 0
10:00 - 10:15 | -4.8 | 0 | 0 | 14.45 | 28.91 | 6.74 | 9.63 | 5.78 | -4.9 | 0
10:15 - 10:30 | -6.7 | 0 | 0 | 14.45 | 28.91 | 8.67 | 9.63 | 5.78 | -5.2 | 0
10:30 - 10:45 | -7.5 | -1.2 | 0 | 14.45 | 28.91 | 16.38 | 9.63 | 5.78 | -5.4 | 0
10:45 - 11:00 | -1.9 | -1.8 | 0 | 14.45 | 28.91 | 21.19 | 9.63 | 5.78 | -4.7 | 0
11:00 - 11:15 | -2.1 | -2.2 | 0 | 14.45 | 28.9 | 24.09 | 9.63 | 5.78 | -5.2 | 0
11:15 - 11:30 | -5.9 | -2.2 | 0 | 14.45 | 28.91 | 23.12 | 9.63 | 5.78 | -4.9 | 0
11:30 - 11:45 | -1.7 | -2.1 | 0 | 14.45 | 28.91 | 23.12 | 9.63 | 5.78 | -5.3 | 0
11:45 - 12:00 | 0 | -1.6 | 0 | 14.45 | 28.91 | 23.12 | 9.63 | 5.78 | -5.2 | 0
12:00 - 12:15 | 0 | -0.6 | 96.35 | 14.45 | 28.9 | 18.3 | 9.63 | 5.78 | -4.2 | 0
12:15 - 12:30 | 0 | -0.1 | 96.35 | 14.45 | 28.9 | 18.3 | 9.63 | 5.78 | -4.5 | 0
12:30 - 12:45 | -1.5 | 0 | 96.35 | 14.45 | 28.9 | 18.3 | 9.63 | 5.78 | -3.9 | 0
12:45 - 13:00 | -1.6 | 0 | 96.35 | 14.45 | 28.9 | 19.27 | 9.63 | 5.78 | -2.9 | 0
13:00 - 13:15 | 0 | 0 | 361.28 | 14.45 | 28.9 | 14.45 | 9.63 | 5.78 | -2.7 | 0
13:15 - 13:30 | 0 | 0 | 361.28 | 14.45 | 28.9 | 8.67 | 9.63 | 5.78 | -4.2 | 0
13:30 - 13:45 | 0 | 0 | 361.28 | 14.45 | 28.9 | 14.45 | 9.63 | 5.78 | -4.9 | 0
13:45 - 14:00 | 0 | 0 | 361.28 | 14.45 | 28.9 | 14.45 | 9.63 | 5.78 | -4.1 | 0
14:00 - 14:15 | 0 | 0 | 216.77 | 14.45 | 28.9 | 19.27 | 9.63 | 5.78 | -2.2 | 0
14:15 - 14:30 | 0 | 0 | 216.77 | 14.45 | 0 | 0 | 0 | 5.78 | -3.5 | 0
14:30 - 14:45 | 0 | 0 | 216.77 | 14.45 | 0 | 0 | 0 | 5.78 | -1.3 | 0
14:45 - 15:00 | 0 | 0 | 216.77 | 14.45 | 0 | 0 | 0 | 5.78 | -1.1 | 0
15:00 - 15:15 | 0 | 0 | 216.77 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 0
15:15 - 15:30 | 0 | 0 | 216.77 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 0
15:30 - 15:45 | 0 | 0 | 216.77 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 0
15:45 - 16:00 | 0 | 0 | 216.77 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 17.34
16:15 - 16:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 0.96
16:45 - 17:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 13.49
17:30 - 17:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 37.57
17:45 - 18:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 1.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 1.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 1.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 2.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 2.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 2.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 2.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 2.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 2.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 1.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 6.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 3.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.38646 | -0.12292 | 39.3885 | 6.623 | 6.6237 | 3.8333 | 2.3072 | 2.5288 | -1.0945 | 2.2178

## RTM
RTM TRADING DETAILS FOR DT: 22.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.6 | 0 | 0 | -1.4 | 0 | 199.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 202.31 | 0
00:15 - 00:30 | -1.6 | 0 | 0 | -1.4 | 0 | 219.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 197.5 | 0
00:30 - 00:45 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 368.3 | 0
00:45 - 01:00 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 372.29 | 0
01:00 - 01:15 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 374.76 | 0
01:15 - 01:30 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 345.86 | 0
01:30 - 01:45 | -1.6 | 0 | 0 | -1.4 | 0 | 43.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 288.06 | 0
01:45 - 02:00 | -1.6 | 0 | 0 | -1.4 | 0 | 67.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.56 | 0
02:00 - 02:15 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 207.13 | 0
02:15 - 02:30 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 204.24 | 0
02:30 - 02:45 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 133.91 | 0
02:45 - 03:00 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99.23 | 0
03:00 - 03:15 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84.78 | 0
03:15 - 03:30 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51.06 | 0
03:30 - 03:45 | -1.6 | 0 | 0 | -1.4 | 0 | 0.02 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 48.16 | 0 | 0 | 13.49 | 0
03:45 - 04:00 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | -43.07 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 9.63 | 0
04:45 - 05:00 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0
05:00 - 05:15 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 37.57 | 0
05:15 - 05:30 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 58.77 | 0
05:30 - 05:45 | -1.6 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75.15 | 0
05:45 - 06:00 | -1.6 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 55.88 | 0
06:00 - 06:15 | -1.6 | 0 | -0.4 | -1.4 | 0 | -40.89 | 0 | 0 | -70 | -0.1 | -0.1 | 0 | 0 | -2.5 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 41.43 | 0
06:15 - 06:30 | -1.6 | -10 | -0.4 | -1.4 | 0 | -25.53 | 0 | 0 | -70 | -0.1 | -0.2 | 0 | 0 | -2.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 10.6 | 0
06:30 - 06:45 | -1.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | -70 | -0.3 | -0.1 | 0 | 0 | -2.5 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0
06:45 - 07:00 | -1.6 | 0 | 0 | -1.4 | 0 | -0.11 | 0 | 0 | 0 | -0.4 | -0.2 | 0 | 0 | -2.5 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.81 | 0 | 0 | 0 | 0
07:00 - 07:15 | -1.6 | 0 | 0 | -1.4 | 0 | 160.53 | 0 | 10.6 | 0 | -0.7 | -0.3 | 0 | 7.71 | -1 | 19.27 | -1.3 | 0 | 0 | 17.34 | 1.51 | 0.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.17 | 0 | 1.42 | 30.83 | 0
07:15 - 07:30 | -1.6 | 0 | 0 | -1.4 | 0 | 53.93 | 0 | 10.6 | 0 | -0.7 | -0.4 | 0 | 7.71 | -1 | 19.27 | -1.4 | 0.96 | 0 | 21.19 | 5.78 | 2.89 | 19.27 | 0 | 0 | 0 | 0 | 0 | 0 | 48.17 | 0 | 5.4 | 0 | 0
07:30 - 07:45 | -1.6 | 0 | 0 | -1.4 | 0 | -213.55 | 0 | 10.6 | 0 | -0.5 | -0.4 | 0 | 7.71 | -1 | 19.27 | -1.7 | 0 | 0 | 17.34 | 5.78 | 2.89 | 19.27 | 0 | 0 | 0 | 0 | -25 | 0 | 48.16 | 0 | 5.4 | 0 | 0
07:45 - 08:00 | -1.6 | -5 | 0 | -1.4 | 0 | -274.1 | 0 | 10.6 | 0 | -1.2 | -0.4 | 9.63 | 7.71 | -1 | 19.27 | -2.2 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | 0 | 0 | 0 | 0 | -25 | 0 | 48.16 | 4.82 | 5.4 | 0 | 0
08:00 - 08:15 | -1.6 | -5 | 0 | -1.3 | 0 | 183.09 | 0 | 10.6 | 0 | -1.5 | -0.2 | 0 | 7.71 | -1 | 0 | -2.6 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | 0 | 7.71 | 0 | -10 | 0 | 0 | 28.9 | 0 | 5.4 | 0 | 0
08:15 - 08:30 | -1.6 | 0 | 0 | -1.3 | 0 | 96.31 | 0 | 10.6 | 0 | -1.6 | -0.3 | 0 | 7.71 | -1 | 0 | -2.9 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | 0 | 7.71 | 0 | -10 | 0 | 0 | 28.9 | 0 | 5.4 | 16.85 | 0
08:30 - 08:45 | -1.6 | 0 | 0 | 0 | 0 | 133.88 | 0 | 10.6 | 0 | -1.8 | -0.4 | 0 | 7.71 | -1 | 0 | -3.2 | 0 | 0 | 7.71 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | -10 | -10 | 0 | 28.9 | 0 | 5.4 | 0 | 0
08:45 - 09:00 | -1.6 | 0 | 0 | 0 | 0 | 101.06 | 0 | 10.6 | 0 | -1.9 | -0.5 | 0 | 7.71 | -1 | 0 | -3.4 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | -10 | 0 | 0 | 28.9 | 0 | 5.4 | 34.68 | 0
09:00 - 09:15 | -1.6 | 0 | 0 | -1.2 | 0 | 0 | 0 | 10.6 | 0 | -2 | -0.2 | 0 | 7.71 | -1 | 0 | -3.7 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.26 | -5 | 7.71 | 0 | -10 | 0 | 0 | 0 | 0 | 5.4 | 0 | 0
09:15 - 09:30 | -1.6 | 0 | 0 | -1.2 | 0 | 45.25 | 0 | 10.6 | 0 | -2.3 | -0.2 | 0 | 7.71 | -1 | 0 | -1.3 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | -10 | -20 | 0 | 0 | 0 | 5.4 | 0 | 0
09:30 - 09:45 | -1.6 | -9 | 0 | 0 | 0 | 0 | 0 | 10.6 | 0 | -1.1 | -0.5 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.26 | -5 | 7.71 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4 | 0 | 0
09:45 - 10:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 10.6 | 0 | -1.2 | -0.6 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.26 | -5 | 7.71 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4 | 0 | 0
10:00 - 10:15 | -1.6 | 0 | 0 | 0 | 0 | -84.47 | 0 | 10.6 | 0 | -1.3 | -0.5 | 0 | 7.71 | -1 | 0 | 3.76 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.25 | -5 | 7.71 | 0 | 0 | -25 | 0 | 0 | 4.82 | 5.4 | 0 | 0
10:15 - 10:30 | -1.6 | 0 | 0 | 0 | 0 | -72.93 | 0 | 10.6 | 0 | -1.4 | -0.5 | 0 | 7.71 | -1 | 0 | 3.56 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.26 | -5 | 7.71 | 0 | 0 | -10 | 0 | 0 | 4.82 | 5.4 | 0 | 0
10:30 - 10:45 | -1.6 | 0 | 0 | 0 | 0 | -19.5 | 0 | 10.6 | 0 | -0.5 | -0.3 | 0 | 7.71 | -1 | 0 | 3.47 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.25 | -5 | 7.71 | 0 | 0 | 0 | 0 | 0 | 4.82 | 5.4 | 0 | 0
10:45 - 11:00 | -1.6 | 0 | 0 | 0 | 0 | -19.55 | 0 | 10.6 | 0 | -0.5 | -0.3 | 0 | 7.71 | -1 | 0 | 3.47 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.25 | -5 | 7.71 | 0 | 0 | -10 | 0 | 0 | 4.82 | 5.4 | 0 | 0
11:00 - 11:15 | -1.6 | -13 | 0 | 0 | 0 | 89.73 | 0 | 10.6 | 0 | -0.5 | -0.1 | 0 | 7.71 | -1 | 0 | 3.56 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -30 | 0 | 0 | 4.82 | 0.58 | 0 | 0
11:15 - 11:30 | -1.6 | -13 | 0 | 0 | 0 | 229.26 | 0 | 10.6 | 0 | -0.6 | -0.1 | 0 | 7.71 | -1 | 0 | 3.66 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -30 | 0 | 0 | 4.82 | 0.58 | 0 | 0
11:30 - 11:45 | -1.6 | -13 | 0 | 0 | 0 | 268.73 | 0 | 7.71 | -30 | -0.6 | -0.2 | 0 | 7.71 | -1 | 0 | 3.56 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -25 | 0 | 0 | 4.82 | 0.58 | 157.03 | 0
11:45 - 12:00 | -1.6 | 0 | 0 | 0 | 0 | 264.1 | 0 | 7.71 | -30 | -0.6 | -0.2 | 0 | 7.71 | -1 | 0 | 3.66 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -25 | 0 | 0 | 4.82 | 0.58 | 157.03 | 0
12:00 - 12:15 | -1.6 | 0 | 0 | 0 | 6.74 | 154.15 | 0 | 10.6 | -50 | -0.7 | -0.2 | 0 | 7.71 | -1 | 0 | 3.56 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -10 | 0 | 0 | 4.82 | 5.59 | 150.29 | 0
12:15 - 12:30 | -1.6 | -4 | 0 | 0 | 6.74 | 289 | 0 | 10.6 | -50 | -0.7 | -0.2 | 0 | 7.71 | -1 | 0 | 3.66 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | 0 | 0 | 0 | 4.82 | 5.59 | 118.5 | 0
12:30 - 12:45 | -1.6 | -9 | 0 | -1.3 | 6.74 | 293.82 | 0 | 10.6 | -80 | -0.7 | -0.3 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | 0 | 0 | 0 | 0 | 5.59 | 118.5 | 0
12:45 - 13:00 | -1.6 | 0 | 0 | -1.3 | 6.74 | 295.59 | 0 | 10.6 | -80 | -0.7 | -0.3 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -30 | 0 | 0 | 0 | 5.59 | 118.5 | 0
13:00 - 13:15 | -1.6 | 0 | -0.4 | 0 | 6.74 | 0 | 5.11 | 10.6 | 0 | -0.7 | -0.4 | 0 | 7.71 | -1 | 0 | 4.34 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | 0 | 7.71 | 0 | 0 | -30 | 4.82 | 0 | 4.82 | 5.59 | 114.63 | 0
13:15 - 13:30 | -1.6 | 0 | -0.4 | 0 | 6.74 | 0 | 14.84 | 10.6 | 0 | -0.9 | -0.5 | 0 | 7.71 | -1 | 0 | 4.14 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -30 | 4.82 | 0 | 4.82 | 5.59 | 111.74 | 0
13:30 - 13:45 | -1.6 | 0 | -0.4 | 0 | 6.74 | 0 | 0 | 10.6 | -50 | -0.4 | -1.2 | 0 | 7.71 | -1 | 0 | 4.34 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -32 | 0 | 0 | 4.82 | 5.59 | 78.02 | 0
13:45 - 14:00 | -1.6 | 0 | -0.4 | -1.4 | 6.74 | 0 | 0 | 10.6 | -50 | -0.2 | -1.2 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -25 | 0 | 0 | 0 | 5.59 | 77.07 | 0
14:00 - 14:15 | -1.6 | -5 | -0.4 | -1.4 | 6.74 | -218.19 | 0 | 10.6 | -50 | -0.4 | -1 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -10 | 0 | 0 | 0 | 5.59 | 56.84 | 0
14:15 - 14:30 | -1.6 | -5 | -0.4 | -1.4 | 6.74 | -230.52 | 0 | 10.6 | -50 | -0.2 | -1.2 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | 0 | 0 | 0 | 0 | 5.59 | 57.8 | 0
14:30 - 14:45 | -1.6 | 0 | -0.4 | -1.5 | 6.74 | -318.15 | 0 | 10.6 | -50 | -0.2 | -1.2 | 9.63 | 7.71 | -1 | 0 | -0.5 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -30 | 0 | 0 | 0 | 5.59 | 57.8 | 0
14:45 - 15:00 | -1.6 | 0 | -0.4 | -1.5 | 6.74 | -285.94 | 0 | 10.6 | -50 | -0.2 | -1 | 0 | 7.71 | -1 | 0 | -2.9 | 0 | 0 | 7.71 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -30 | 0 | 0 | 0 | 5.59 | 57.79 | 0
15:00 - 15:15 | -1.6 | 0 | -0.4 | -1.5 | 6.74 | -265.01 | 0 | 10.6 | -100 | -0.2 | -1 | 9.63 | 7.71 | -1 | 0 | -2.6 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -32 | 0 | 0 | 3.8 | 5.59 | 99.23 | 0
15:15 - 15:30 | -1.6 | 0 | -0.4 | 0 | 6.74 | -229.9 | 0 | 10.6 | -100 | -0.1 | -0.8 | 9.63 | 7.71 | -1 | 0 | -2.2 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -32 | 0 | 0 | 4.82 | 5.59 | 102.12 | 0
15:30 - 15:45 | -1.6 | 0 | -0.4 | -1.5 | 6.74 | -265.05 | 0 | 10.6 | -100 | -0.1 | -0.8 | 9.63 | 7.71 | -1 | 0 | -2 | 0.96 | 0 | 11.56 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | -20 | 0 | 0 | 0.13 | 5.59 | 84.78 | 0
15:45 - 16:00 | -1.6 | -10 | -0.4 | 0 | 6.74 | -329.96 | 0 | 10.6 | -100 | -0.1 | -0.5 | 9.63 | 7.71 | -1 | 0 | -1.8 | 0.96 | 0 | 21.19 | 5.78 | 2.89 | 19.27 | -5 | 7.71 | 0 | 0 | 0 | 0 | 0 | 4.82 | 5.59 | 160.89 | 0
16:00 - 16:15 | -1.6 | 0 | -0.4 | 0 | 6.74 | -264.9 | 16.09 | 10.6 | 0 | -0.1 | -0.3 | 9.63 | 7.71 | -1 | 19.27 | -1.5 | 0.96 | 0 | 21.19 | 5.78 | 2.89 | 19.27 | -5 | 0 | 0 | 0 | -10 | 4.82 | 0 | 4.82 | 5.59 | 307.32 | 0
16:15 - 16:30 | -1.6 | 0 | -0.4 | 0 | 6.74 | -444.1 | 16.09 | 10.6 | 0 | -0.1 | -0.2 | 9.63 | 7.71 | -1 | 19.27 | -1.2 | 0.96 | 0 | 21.19 | 5.78 | 2.89 | 19.27 | -5 | 0 | 0 | 0 | -20 | 4.82 | 0 | 4.82 | 5.59 | 314.07 | 0
16:30 - 16:45 | -1.6 | 0 | -0.4 | -1.5 | 6.74 | -814.48 | 0 | 10.6 | -100 | 0 | -0.1 | 0 | 7.71 | -1 | 19.27 | -1.2 | 0 | 0 | 17.34 | 5.78 | 1.93 | 19.27 | -5 | 0 | -3.2 | 0 | -20 | 0 | 20.23 | 0 | 5.59 | 83.81 | 0
16:45 - 17:00 | -1.6 | 0 | -0.4 | -1.5 | 6.74 | -1014.49 | 0 | 10.6 | -100 | 0 | -0.1 | 0 | 7.71 | -1 | 19.27 | -1 | 0 | 0 | 17.34 | 5.78 | 1.93 | 19.27 | -5 | 0 | -3.2 | 0 | -20 | 0 | 20.23 | 0 | 5.59 | 94.41 | 0
17:00 - 17:15 | -1.6 | 0 | 0 | 0 | 7.71 | -544.9 | 16.19 | 10.6 | 0 | 0 | 0 | 9.63 | 7.71 | -1 | 19.27 | -0.7 | 0.96 | 0 | 21.19 | 5.78 | 1.93 | 19.27 | -5 | 0 | -3.2 | 0 | 0 | 4.82 | 0 | 4.82 | 5.59 | 364.15 | 0
17:15 - 17:30 | -1.6 | 0 | 0 | 0 | 7.71 | -625.7 | 16.38 | 10.6 | 0 | 0 | 0 | 9.63 | 7.71 | -1 | 19.27 | -0.5 | 0.96 | 0 | 21.19 | 5.78 | 1.93 | 19.27 | -5 | 0 | -3.2 | 0 | -10 | 4.82 | 0 | 4.82 | 5.59 | 371.86 | 0
17:30 - 17:45 | -1.6 | -10 | 0 | 0 | 7.71 | -571.4 | 16.38 | 10.6 | 0 | 0 | 0 | 9.63 | 7.71 | -1 | 19.27 | -0.3 | 0.96 | 0 | 21.19 | 5.78 | 1.93 | 19.27 | -5 | 0 | -3.2 | 0 | -15 | 4.82 | 0 | 4.82 | 5.59 | 334.29 | 0
17:45 - 18:00 | -1.6 | 0 | 0 | 0 | 7.71 | -752.45 | 0 | 10.6 | 0 | 0 | 0 | 9.63 | 7.71 | -1 | 19.27 | 0 | 6.26 | 0 | 21.19 | 5.78 | 1.93 | 19.27 | -5 | 0 | -3.2 | 0 | 0 | 0 | 0 | 4.82 | 5.59 | 353.56 | 0
18:00 - 18:15 | -1.6 | 0 | 0 | -1.5 | 7.71 | -574.46 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 6.26 | 0 | 21.19 | 5.78 | 1.93 | 19.27 | -5 | 3.85 | -3.2 | 0 | 0 | 0 | 0 | 0 | 5.59 | 346.82 | 0
18:15 - 18:30 | -1.6 | 0 | 0 | -1.5 | 7.71 | -612.92 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 0 | 17.34 | 0 | 0 | 0 | -5 | 0 | -3.2 | 0 | -15 | 0 | 0 | 0 | 0 | 85.74 | 0
18:30 - 18:45 | -1.6 | 0 | 0 | -1.5 | 7.71 | -450.06 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 0 | 17.34 | 2.51 | 0.84 | 0 | -5 | 1.68 | -3.2 | 0 | -10 | 0 | 0 | 0 | 2.44 | 71.28 | 0
18:45 - 19:00 | -1.6 | -14 | 0 | -1.5 | 7.71 | -501.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 52.02 | 0
19:00 - 19:15 | -1.6 | 0 | 0 | -1.5 | 7.71 | -505.49 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -3.2 | -5 | 0 | 0 | 0 | 0 | 0 | 27.94 | 0
19:15 - 19:30 | -1.6 | 0 | 0 | -1.5 | 7.71 | -508.46 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -3.2 | -5 | 0 | 0 | 0 | 0 | 0 | 2.89 | 0
19:30 - 19:45 | -1.6 | 0 | 0 | -1.5 | 7.71 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -3.2 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.6 | 0 | 0 | -1.5 | 7.71 | -15.52 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -3.2 | -5 | -15 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.6 | 0 | 0 | -1.5 | 7.71 | -12.27 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -3.2 | -10 | -20 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1.6 | 0 | 0 | -1.5 | 7.71 | -21.25 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -3.2 | -10 | -10 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1.6 | 0 | 0 | -1.5 | 7.71 | -25.01 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -1.6 | 0 | 0 | -1.5 | 7.71 | -32.27 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -1.6 | 0 | 0 | -1.5 | 7.71 | -199.96 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -1.6 | 0 | 0 | -1.5 | 7.31 | -150 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -1.6 | 0 | -0.4 | -1.5 | 4.89 | -150 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -1.6 | 0 | -0.4 | -1.5 | 4.64 | -150 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -1.6 | 0 | -0.4 | -1.5 | 0 | -150 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -2
22:15 - 22:30 | -1.6 | 0 | -0.4 | -1.5 | 0 | -150 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -2
22:30 - 22:45 | -1.6 | 0 | 0 | -1.5 | 0 | -100 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
22:45 - 23:00 | -1.6 | 0 | 0 | -1.5 | 0 | -100 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:00 - 23:15 | -1.8 | 0 | 0 | -1.5 | 0 | -150 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:15 - 23:30 | -1.8 | 0 | 0 | -1.5 | 0 | -150 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:30 - 23:45 | -1.8 | 0 | 0 | -1.5 | 0 | -150 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:45 - 24:00 | -1.8 | 0 | 0 | -1.5 | 0 | -150 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -2
Average | -1.6083 | -1.3021 | -0.1 | -1.0583 | 2.9449 | -101.5274 | 1.0529 | 5.2398 | -31.4903 | -0.31354 | -0.20521 | 1.2037 | 3.5337 | -1.8125 | 3.2117 | 0.042083 | 0.50042 | -0.0625 | 6.8434 | 2.691 | 1.2713 | 8.831 | -3.1771 | 2.6276 | -1.3667 | -1.25 | -9.5938 | 0.35146 | 4.2989 | 1.1455 | 2.3639 | 86.1447 | -0.16667