## POWER STATUS
POWER STATUS ON DT 24.06.2026
[9 empty] | 2026-06-24 | 2026-06-23
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5339.2936 | 6213
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 2.708 | 0.064992 | 630/590 ft | 602.19 | 601 | 600.97 | 0 | 34
| Chiplima | 72(3x24) | 7.625 | 0.183 | - |  |  |  | 0 | 0
| Balimela | 510(6x60+2x75) | 193.5416 | 4.645 | 1516/1440 ft | 1455.6 | 1462.4 | 1461.8 | 28 | 373
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 115.97 | 109.83 | 109.84 | 0 | 0
| Upper Kolab | 320(4x80) | 37.75 | 0.906 | 858/844 mt | 847.17 | 847.11 | 847.1 | 0 | 76
| Upper Indravati | 600(4x150) | 99.9583 | 2.399 | 642/625 mt | 628 | 628.8 | 628.81 | 0.29365 | 442
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2725.65 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 341.5829 | 8.198 |  |  |  |  | 28.2936 | 925
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1337.8 | 32.1072 | RENEWABLE ENERGY (RE) |  |  |  | 1633 | 1653
[5 empty] | M.Hydl | 20.74
| Total Thermal | 2200 | 1337.8 | 32.1072 | Solar | 144.89 |  |  | 1633 | 1653
IPP | VEDANTA #2 | 600 (1x600) | 384.59 | 9.2302 | Total IPPs | Yesterday's Demand Profile |  |  | 282 | 562
| GMR #3 | 350 (1x350) | 284.97 | 6.8393 | 768.82 |  | MW | HRS | 329 | 328
| NBVL(IPP) | 60(1x60) | 52.32 | 1.2557 |  |  |  |  | 48.0095 | 55
| MDTPC |  | 46.94 | 1.1266 |  |  |  |  | 31.8835 | 56
| CGPs |  | 792.68 | 19.0243 | IPPs, CGPs & RE | Maximum | 6213 | 23:00 | 1612 | 2066
| Central Sector(Drawl) |  | 2068.9 | 49.6536 | 1727.13 | Minimum | 4922 | 07:00 | 2066 | 1569
| Central Sector(Sch) |  | 2105.67 | 50.5361 |  | Average | 5475.4129 |  | 2610 | 1575
| Grand Total |  | 5475.4129 | 131.4099 | Instantaneous Peak demand |  | 6399.15 | 22:55 | 5339.2936 | 6213
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1643.93 | 39.4543 | 1605.4 | 38.5296 | 1631.32 | 39.1517
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1711.42 | 41.0741 | 1760.89 | 42.2614 | 1652.75 | 39.666
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1444.44 | 34.6666 | 1397.88 | 33.5491 | 1426.27 | 34.2305
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 585.51 | 14.0522 | 584.85 | 14.0364 | 597.46 | 14.339
Indravati | 3 | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5385.3 | 129.2472 | 5349.02 | 128.3765 | 5307.8 | 127.3872
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 282 | GMR |  |  |  | 329
| NBVL #3 | 48 | MDTPC |  |  |  | 32
Mini Hydel: | MEENAKSHI | 6 | OPCL |  |  |  | 0
| BTPL | 5 | SAPTADHARA |  |  |  | 0
Solar: |  | 196 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 210.6328 | JSL(Duburi) |  |  |  | -102.3732
| ICCL | -0.39586 | visa |  |  |  | 9.9414
| NALCO | -162.8598 | VAL (CGP) |  |  |  | -5.8934
| RSP | -37.306 | BSL(MMDL) |  |  |  | 116.5577
| INDAL | -2.1723 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -40.3495 | VAL CPP 400 kV |  |  |  | -651.8257
| NBVL | 48.3534 | Arati |  |  |  | 29.6522
| BPSL(JSG) | 50.2923 | BPPL |  |  |  | 124.3007
Banking Avg -: (MW) |  | 192.68
HYDRO AVERAGE GENERATION IN MW:-
2026-06-16 | 2026-06-17 | 2026-06-18 | 2026-06-19 | 2026-06-20 | 2026-06-21 | 2026-06-22 | 2026-06-23
627.85 | 651.793 | 662.5902 | 502.622 | 627.168 | 503.3932 | 365.2517 | 341.5829
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.23.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 131.86
AMNSIL_Pdeep | AMNSIL | -1 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 63.24
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 87.99
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.34
JPIPL | NPCL_UP | -14 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 9.78
MAADURGA_THERMAL | NPCL_UP | -16.63 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 14.67
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.67
OCL_IRON_STEEL | BRPL | -33 | DCBL_Rajgangpur | DALCEMAP | -5.83 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 25.63
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | DCBL_Rajgangpur | DCBLME | -3.75 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.97
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCL_RCW | -3 | DADRI_SOLAR | ODISHA | 0.81
FARIDABAD_SOLAR | ODISHA | 0.94 | ENVIROCARE_INFRA | BRPL | -6 | ENERSON_SOLAR_10MW | ODISHA | 1.64
JSWEL_UTKAL | ODISHA | 59.47 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 192.68 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_S | VLSEZ | 33.83
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | 0 | GADAG_Serentica3_W | VLSEZ | 93.41
Manipur_Ben | ODISHA | 32.87 | FACORPOWER | PSPCL | -12.75 | GADAG_Serentica3_W | VLSEZ | 11.34
RAJ_SOLAR | ODISHA | 2.35 | FACORPOWER | PSPCL | 0 | GIWEL_SECI_II_RE | ODISHA | 47.78
RAJ_SOLAR | ODISHA | 2.57 | FACORPOWER | PSPCL | -5.25 | GPCL_SOLAR_10 | ODISHA | 1.25
|  |  | FACORPOWER | PSPCL | 0 | GSECL_SOLAR | ODISHA | 1.18
|  |  | GMRKEL_STU | PSPCL | -61.9 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.88
|  |  | NBVLIPP | BRPL | -13.12 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | NBVLIPP | BRPL | -31.88 | KARUR_TPVARDHAMAN_W | TSKPO | 70.84
|  |  | NBVL_OTCL | PSPCL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.42
|  |  | NBVL_OTCL | PSPCL | -7.58 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NBVL_OTCL | PSPCL | -18.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.74
|  |  | OCL_IRON_STEEL | TPDDL | -7.29 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 4.54
|  |  | ORSISL | PSPCL | -3.54 | OKWPL_RE | ODISHA | 25
|  |  | ORSISL | PSPCL | -1.46 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 12.44
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | RWE_AP2_SECI_III | ODISHA | 20.96
|  |  | SGML | UPPCL | -4.17 | RenewGreen_SLPR_HS | JSL_DUBURI | 2.2
|  |  | TIMES_STEEL | PONDY | -6 | SRI9PL_FTG3 | VLSEZ | 40.53
|  |  | TSBSLA | AEML | -7.5 | TPSL_BKN2 | TSKPO | 0
|  |  | TSBSLA | TANGEDCO | -10 | TPSL_BKN2 | TSKPO | 0
|  |  | VIRAJ_SEPL | WBSEDCL | -10 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | VSL | UPPCL | -4.17 | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
|  |  | JIPL | ODISHA | 115.61 | Tuticorin_BETAMWIND | ODISHA | 67.31
|  |  | NALCOAP | NACL_Odisha | 12.29 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 8.25
|  |  | North_Karanpura_STPS | ODISHA | 40.49 | XXPPL_FTG3 | ODISHA | 36.33
|  |  | TSTPP_I | ODISHA | 111.31

## DAM
DAM TRADING DETAILS FOR DT :23.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
00:15 - 00:30 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
00:30 - 00:45 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
00:45 - 01:00 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
01:00 - 01:15 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
01:15 - 01:30 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
01:30 - 01:45 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
01:45 - 02:00 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
02:00 - 02:15 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
02:15 - 02:30 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
02:30 - 02:45 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
02:45 - 03:00 | -3.3 | 0 | -50 | 0 | -250 | 0 | -9 | 0 | -19.4
03:00 - 03:15 | -8.3 | 0 | -50 | 0 | -170 | 0 | -9 | 0 | -19.4
03:15 - 03:30 | -8.3 | 0 | -50 | 0 | -120 | 0 | -9 | 0 | -19.4
03:30 - 03:45 | -8.3 | 0 | -50 | 0 | -120 | 0 | -9 | 0 | -19.4
03:45 - 04:00 | -8.3 | 0 | -50 | 0 | -120 | 0 | -9 | 0 | -19.4
04:00 - 04:15 | -8.3 | 0 | -50 | 0 | -120 | 0 | -9 | 0 | -19.4
04:15 - 04:30 | -8.3 | 0 | -50 | 0 | -120 | 0 | -9 | 0 | -19.4
04:30 - 04:45 | -8.3 | 0 | -50 | 0 | -120 | 0 | -9 | 0 | -19.4
04:45 - 05:00 | -8.3 | 0 | -50 | 0 | -59.98 | 0 | -9 | 0 | -19.4
05:00 - 05:15 | -8.3 | 0 | -50 | 0 | -50 | 0 | -9 | 0 | 0
05:15 - 05:30 | -8.3 | 0 | -50 | 0 | -50 | 0 | -9 | 0 | -19.4
05:30 - 05:45 | -8.3 | 0 | -50 | 0 | -120 | 0 | -9 | 0 | -19.4
05:45 - 06:00 | -8.3 | 0 | -50 | 0 | -120 | 0 | -9 | 0 | -19.4
06:00 - 06:15 | -8.3 | 0 | -200 | 0 | -50 | 0 | -9 | 0 | 0
06:15 - 06:30 | -8.3 | 0 | -200 | 0 | -50 | 0 | -9 | 0 | 0
06:30 - 06:45 | -8.3 | 0 | -200 | 0 | -50 | 0 | -9 | 0 | 0
06:45 - 07:00 | -8.3 | 0 | -200 | 0 | -50 | 0 | -9 | 0 | 0
07:00 - 07:15 | -8.3 | 0 | -375 | 0 | -50 | 0 | -9 | 0 | 0
07:15 - 07:30 | -8.3 | 0 | -300 | 0 | -50 | 0 | -9 | 0 | 0
07:30 - 07:45 | -8.3 | 0 | -300 | 0 | -50 | 0 | -9 | 9.63 | 0
07:45 - 08:00 | -8.3 | 0 | -300 | 0 | -50 | 0 | -9 | 9.63 | 0
08:00 - 08:15 | -8.3 | 0 | -375 | 0 | -50 | 0 | -4 | 9.63 | 0
08:15 - 08:30 | -8.3 | 0 | -375 | 0 | -50 | 0 | -4 | 9.63 | 0
08:30 - 08:45 | -8.3 | 0 | -375 | 0 | -50 | 0 | -4 | 9.63 | 0
08:45 - 09:00 | -8.3 | 0 | -344.02 | 0 | -50 | 0 | -4 | 9.63 | 0
09:00 - 09:15 | -8.3 | 0 | -75.22 | 28.91 | -50 | 0 | -4 | 9.63 | 0
09:15 - 09:30 | -8.3 | 0 | -52.06 | 28.91 | -50 | 0 | -4 | 9.63 | 0
09:30 - 09:45 | -8.3 | 0 | -52.49 | 28.91 | -50 | 0 | -4 | 9.63 | 0
09:45 - 10:00 | -8.3 | 0 | -52.23 | 28.91 | -50 | 0 | -4 | 9.63 | 0
10:00 - 10:15 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
10:15 - 10:30 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
10:30 - 10:45 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
10:45 - 11:00 | -8.3 | 0 | 217.5 | 28.9 | -50 | 0 | -4 | 9.63 | 0
11:00 - 11:15 | -8.3 | 0 | 31.6 | 28.9 | -50 | 0 | -4 | 9.63 | 0
11:15 - 11:30 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
11:30 - 11:45 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
11:45 - 12:00 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
12:00 - 12:15 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
12:15 - 12:30 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
12:30 - 12:45 | -8.3 | 0 | -63.93 | 28.91 | -50 | 0 | -4 | 9.63 | 0
12:45 - 13:00 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
13:00 - 13:15 | -8.3 | 0 | 265.81 | 28.9 | -50 | 0 | -4 | 9.63 | 0
13:15 - 13:30 | -8.3 | 0 | 199.35 | 28.9 | -50 | 0 | -4 | 9.63 | 0
13:30 - 13:45 | -8.3 | 0 | 0 | 28.91 | -50 | 0 | -4 | 9.63 | 0
13:45 - 14:00 | -8.3 | 0 | -76 | 28.91 | -50 | 0 | -4 | 9.63 | 0
14:00 - 14:15 | -8.3 | 0 | -100 | 28.91 | -50 | 0 | -4 | 9.63 | 0
14:15 - 14:30 | -8.3 | 0 | -100 | 28.91 | -50 | 9.63 | -4 | 9.63 | 0
14:30 - 14:45 | -8.3 | 0 | -166.3 | 0 | -50 | 9.63 | -4 | 9.64 | 0
14:45 - 15:00 | -8.3 | 0 | -169.7 | 0 | -50 | 9.63 | -4 | 9.64 | 0
15:00 - 15:15 | -8.3 | 0 | 41.43 | 0 | -50 | 0 | -4 | 9.63 | 0
15:15 - 15:30 | -8.3 | 0 | 41.43 | 0 | -50 | 0 | -4 | 9.63 | 0
15:30 - 15:45 | -8.3 | 0 | 41.43 | 0 | -50 | 0 | -4 | 9.63 | 0
15:45 - 16:00 | -8.3 | 0 | 41.43 | 0 | -50 | 0 | -4 | 9.63 | 0
16:00 - 16:15 | -8.3 | 0 | -105.75 | 0 | -50 | 0 | -4 | 9.63 | 0
16:15 - 16:30 | -8.3 | 0 | -96.9 | 0 | -50 | 0 | -4 | 9.63 | 0
16:30 - 16:45 | -8.3 | 0 | -126.53 | 0 | -150 | 0 | -4 | 9.63 | 0
16:45 - 17:00 | -8.3 | 0 | -141.48 | 0 | -150 | 0 | -4 | 9.63 | 0
17:00 - 17:15 | -8.3 | -12 | 0 | 0 | -150 | 0 | -4 | 0 | 0
17:15 - 17:30 | -8.3 | -12 | -53.31 | 0 | -150 | 0 | -4 | 0 | 0
17:30 - 17:45 | -8.3 | -12 | -57.06 | 0 | -150 | 0 | -4 | 0 | 0
17:45 - 18:00 | -8.3 | -12 | -82.26 | 0 | -150 | 0 | -4 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | -100 | 0 | -50 | 0 | -6 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | -100 | 0 | -50 | 0 | -6 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | -100 | 0 | -50 | 0 | -6 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | -100 | 0 | -50 | 0 | -6 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | 41.43 | 0 | -50 | 0 | -9 | 0 | -29.1
19:15 - 19:30 | -3.3 | 0 | 41.43 | 0 | -50 | 0 | -9 | 0 | -29.1
19:30 - 19:45 | -3.3 | 0 | 41.43 | 0 | -350 | 0 | -9 | 0 | -29.1
19:45 - 20:00 | -3.3 | 0 | 37.45 | 0 | -350 | 0 | -9 | 0 | -29.1
20:00 - 20:15 | -3.3 | 0 | 17.86 | 0 | -350 | 0 | -9 | 0 | -29.1
20:15 - 20:30 | -3.3 | 0 | 15.41 | 0 | -350 | 0 | -9 | 0 | -29.1
20:30 - 20:45 | -3.3 | 0 | 14.66 | 0 | -350 | 0 | -9 | 0 | -29.1
20:45 - 21:00 | -3.3 | 0 | 12.77 | 0 | -350 | 0 | -9 | 0 | -29.1
21:00 - 21:15 | -3.3 | 0 | 6.78 | 0 | -250 | 0 | -9 | 0 | -29.1
21:15 - 21:30 | -3.3 | 0 | 4.94 | 0 | -250 | 0 | -9 | 0 | -29.1
21:30 - 21:45 | -3.3 | 0 | 4.68 | 0 | -250 | 0 | -9 | 0 | -29.1
21:45 - 22:00 | -3.3 | 0 | 4.72 | 0 | -250 | 0 | -9 | 0 | -29.1
22:00 - 22:15 | -3.3 | 0 | 2.52 | 0 | -250 | 0 | -9 | 0 | -29.1
22:15 - 22:30 | -3.3 | 0 | 1.56 | 0 | -250 | 0 | -9 | 0 | -29.1
22:30 - 22:45 | -3.3 | 0 | 0.89 | 0 | -250 | 0 | -9 | 0 | -29.1
22:45 - 23:00 | -3.3 | 0 | 0.72 | 0 | -250 | 0 | -9 | 0 | -29.1
23:00 - 23:15 | -3.3 | 0 | 0.12 | 0 | -250 | 0 | -9 | 0 | -29.1
23:15 - 23:30 | -3.3 | 0 | 0 | 0 | -250 | 0 | -9 | 0 | -29.1
23:30 - 23:45 | -3.3 | 0 | 0.12 | 0 | -250 | 0 | -9 | 0 | -29.1
23:45 - 24:00 | -3.3 | 0 | 0.47 | 0 | -250 | 0 | -9 | 0 | -29.1
Average | -6.425 | -0.5 | -58.1802 | 6.6248 | -132.1873 | 0.30094 | -6.7917 | 3.8121 | -10.7104

## GDAM
GDAM TRADING DETAILS FOR DT:23.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 46.24
07:45 - 08:00 | 0 | 0 | 0 | 14.45 | 33.72 | 0 | 5.78 | 23.12
08:00 - 08:15 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
08:15 - 08:30 | 0 | -0.1 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
08:30 - 08:45 | 0 | 0 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
08:45 - 09:00 | 0 | 0 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
09:00 - 09:15 | 0 | 0 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
09:15 - 09:30 | -2.3 | -0.2 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
09:30 - 09:45 | -3.2 | 0 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
09:45 - 10:00 | -4.2 | -1.2 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
10:00 - 10:15 | -4.7 | -2 | 56.93 | 19.27 | 33.72 | 9.63 | 5.78 | 0
10:15 - 10:30 | -5.5 | -2.8 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
10:30 - 10:45 | -7 | -3.8 | 199.44 | 19.27 | 33.72 | 9.63 | 5.78 | 0
10:45 - 11:00 | -8.1 | -6 | 10.07 | 19.27 | 33.72 | 9.63 | 5.78 | 0
11:00 - 11:15 | -7.7 | -6.3 | 233.77 | 19.27 | 33.72 | 9.63 | 5.78 | 0
11:15 - 11:30 | -7.1 | -5.7 | 248.17 | 19.27 | 33.72 | 9.63 | 5.78 | 0
11:30 - 11:45 | -7.7 | -6.1 | 79.71 | 19.27 | 33.72 | 9.63 | 5.78 | 0
11:45 - 12:00 | -8 | -5.6 | 83.6 | 19.27 | 33.72 | 9.63 | 5.78 | 0
12:00 - 12:15 | -5.7 | -4.6 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
12:15 - 12:30 | -3.5 | -3.7 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
12:30 - 12:45 | -5.5 | 0 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
12:45 - 13:00 | -2.9 | 0 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
13:00 - 13:15 | -0.6 | 0 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
13:15 - 13:30 | -5.1 | 0 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
13:30 - 13:45 | 0 | -0.3 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
13:45 - 14:00 | 0 | 0 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
14:00 - 14:15 | 0 | -0.8 | 0 | 19.27 | 33.72 | 9.63 | 5.78 | 0
14:15 - 14:30 | 0 | -0.1 | 0 | 19.27 | 0 | 0 | 5.78 | 0
14:30 - 14:45 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
14:45 - 15:00 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
15:00 - 15:15 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
15:15 - 15:30 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
15:30 - 15:45 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
15:45 - 16:00 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 11.56
17:00 - 17:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 26.98
17:15 - 17:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 54.91
17:45 - 18:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.925 | -0.51354 | 9.4968 | 8.2296 | 8.7813 | 2.4075 | 2.3481 | 1.6959

## RTM
RTM TRADING DETAILS FOR DT: 23.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.8 | 0 | 0 | -1.5 | -100 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
00:15 - 00:30 | -1.8 | 0 | 0 | -1.5 | -100 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
00:30 - 00:45 | -1.8 | 0 | 0 | -1.5 | -200 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
00:45 - 01:00 | -1.8 | 0 | 0 | -1.5 | -200 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
01:00 - 01:15 | -1.8 | 0 | 0 | -1.5 | -50.73 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
01:15 - 01:30 | -1.8 | 0 | 0 | -1.5 | -50.72 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
01:30 - 01:45 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
01:45 - 02:00 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
02:00 - 02:15 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 3.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 8.19 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 1.88 | -2.5 | 19.26 | 0 | 0 | 17.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 8.19 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 3.64 | -2.5 | 19.27 | 0 | 0 | 17.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -30 | 8.19 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -30 | 8.19 | 9.63 | 0 | 0 | 0
03:15 - 03:30 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 6.74 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -30 | 8.19 | 9.63 | 0 | 0 | 0
03:30 - 03:45 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 7.71 | -2.5 | 19.27 | 0 | 0 | 17.34 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 8.19 | 9.63 | 0 | 0 | 0
03:45 - 04:00 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 7.71 | -2.5 | 19.27 | 0 | 0 | 17.34 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -20 | 8.19 | 9.63 | 0 | 0 | 0
04:00 - 04:15 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -42 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.8 | 0 | 0 | -1.5 | -5 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -1.8 | 0 | 0 | -1.5 | -97.1 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -1.8 | 0 | -0.4 | -1.5 | -71.34 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -1.8 | 0 | -0.4 | -1.5 | -10.05 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -1.8 | 0 | -0.4 | -1.5 | -135.05 | 0 | 0 | -100 | -0.1 | 0 | 0 | 0 | -2.5 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -72 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -1.8 | 0 | -0.4 | -1.5 | -150 | 0 | 0 | -100 | -0.3 | 0 | 0 | 0 | -2.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -72 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -1.8 | -10 | 0 | 0 | -13.01 | 0 | 0 | -100 | -0.5 | -0.1 | 0 | 0 | -2.5 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -1.8 | 0 | 0 | 0 | -13.07 | 0 | 0 | -100 | -0.5 | -0.1 | 0 | 0 | -2.5 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -1.8 | 0 | 0 | -1.5 | -17.54 | 0 | 0 | -100 | -0.9 | -0.2 | 0 | 0 | -1 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | -1 | -0.1 | 0 | 0 | -1 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 0 | 0
07:30 - 07:45 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | -0.9 | -0.3 | 0 | 7.71 | -1 | 19.27 | -1.4 | 0 | 7.71 | 0 | 0 | 2.89 | 0.77 | -10 | 0 | 0 | 0 | 0 | -20 | 8.67 | 9.63 | 0 | 0 | 0
07:45 - 08:00 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | -0.8 | -0.6 | 0 | 7.71 | -1 | 19.27 | -1.6 | 0.96 | 11.56 | 0 | 0 | 2.89 | 19.27 | -10 | 0 | 0 | 0 | 0 | -70 | 8.67 | 9.63 | 0 | 0 | 0
08:00 - 08:15 | -1.8 | -10 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | -1.2 | -0.5 | 0 | 7.71 | -1 | 0 | -1.8 | 0.96 | 11.56 | 0 | 0 | 2.89 | 19.27 | -10 | 0 | 0 | 0 | 0 | -50 | 8.67 | 0 | 5.49 | 0 | 0
08:15 - 08:30 | -1.8 | 0 | 0 | -1.5 | 0 | 0 | 10.6 | 0 | -1.5 | -0.7 | 0 | 7.71 | -1 | 0 | -1.8 | 0.96 | 11.56 | 0 | 0 | 2.89 | 19.27 | -10 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 5.49 | 0 | 0
08:30 - 08:45 | -1.8 | 0 | 0 | 0 | -49.97 | 10.69 | 10.6 | 0 | -1.2 | -0.9 | 0 | 7.71 | -1 | 0 | -1.9 | 0.96 | 11.56 | 0 | 0 | 2.89 | 19.27 | -10 | 7.71 | 0 | 0 | 0 | -30 | 8.67 | 0 | 5.49 | 0 | 0
08:45 - 09:00 | -1.8 | 0 | 0 | 0 | -19.96 | 10.98 | 10.6 | 0 | -0.8 | -0.3 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 11.56 | 0 | 0 | 2.89 | 19.27 | 0 | 7.71 | 0 | 0 | 0 | -10 | 8.67 | 0 | 5.49 | 0 | 0
09:00 - 09:15 | -1.8 | 0 | 0 | 0 | -20 | 9.63 | 10.6 | 0 | -0.5 | -0.4 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | 0 | 6.74 | 0 | 0 | 0 | -35 | 8.67 | 0 | 5.49 | 50.1 | 0
09:15 - 09:30 | -1.8 | 0 | 0 | 0 | -103.68 | 0 | 10.6 | 0 | -0.5 | -0.4 | 0 | 7.71 | -1 | 0 | -2 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | 0 | 6.74 | 0 | 0 | 0 | -75 | 8.67 | 0 | 5.49 | 0 | 0
09:30 - 09:45 | -1.8 | 0 | 0 | 0 | 131.24 | 0 | 10.6 | 0 | -0.5 | -0.3 | 0 | 7.71 | -1 | 0 | -1.9 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | 0 | 6.74 | 0 | 0 | 0 | -75 | 8.67 | 0 | 5.49 | 50.1 | 0
09:45 - 10:00 | -1.8 | -10 | 0 | 0 | 96.34 | 0 | 10.6 | 0 | -0.5 | -0.3 | 0 | 7.71 | -1 | 0 | -1.9 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | 0 | 6.74 | 0 | 0 | 0 | -10 | 8.67 | 0 | 5.49 | 50.1 | 0
10:00 - 10:15 | -1.6 | 0 | 0 | 0 | -102.78 | 0 | 10.6 | 0 | -0.5 | -0.4 | 0 | 7.71 | -1 | 0 | -1.9 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | 0 | 8.67 | 0 | 5.49 | 0 | 0
10:15 - 10:30 | -1.6 | 0 | 0 | 0 | -102.8 | 0 | 10.6 | 0 | -0.5 | -0.4 | 0 | 7.71 | -1 | 0 | -2 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | -20 | 8.67 | 0 | 5.49 | 0 | 0
10:30 - 10:45 | -1.6 | 0 | 0 | 0 | -78.24 | 0 | 10.6 | -50 | -1 | -0.4 | 0 | 7.71 | -1 | 0 | -2.4 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | 0 | 8.67 | 0 | 5.49 | 0 | 0
10:45 - 11:00 | -1.6 | 0 | 0 | 0 | -78.25 | 0 | 10.6 | -50 | -1 | -0.4 | 0 | 7.71 | -1 | 0 | -3.7 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | -15 | 8.67 | 0 | 5.49 | 0 | 0
11:00 - 11:15 | -1.6 | 0 | 0 | 0 | -153.24 | 0 | 10.6 | -50 | -1.3 | -0.4 | 0 | 7.71 | -1 | 0 | -3.8 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | -65 | 8.67 | 0 | 5.49 | 0 | 0
11:15 - 11:30 | -1.6 | -10 | 0 | 0 | -153.22 | 0 | 10.6 | -50 | -1.3 | -0.5 | 0 | 7.71 | -1 | 0 | -3.4 | 0.96 | 11.56 | 0 | 0 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | -80 | 8.67 | 0 | 5.49 | 0 | 0
11:30 - 11:45 | -1.6 | 0 | 0 | 0 | -177.79 | 0 | 10.6 | -50 | -1.3 | -0.5 | 0 | 7.71 | -1 | 0 | -4 | 0.96 | 11.56 | -3 | 0 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | -50 | 8.67 | 14.45 | 5.49 | 0 | 0
11:45 - 12:00 | -1.6 | 0 | 0 | 0 | -228.21 | 0 | 10.6 | -50 | -1.5 | -0.6 | 0 | 7.71 | -1 | 0 | -3.8 | 0.96 | 11.56 | -3 | 0 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | 0 | 8.67 | 14.45 | 5.49 | 0 | 0
12:00 - 12:15 | -1.6 | 0 | 0 | 0 | -323.17 | 0 | 10.6 | -50 | -1.4 | -1.1 | 0 | 7.71 | -1 | 0 | -4.1 | 0.96 | 11.56 | -3 | 7.71 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | -30 | 8.67 | 38.53 | 5.49 | 0 | 0
12:15 - 12:30 | -1.6 | 0 | 0 | 0 | -327.76 | 0 | 10.6 | -50 | -1 | -1.4 | 0 | 7.71 | -1 | 0 | -3.7 | 0.96 | 11.56 | -3 | 7.71 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | -10 | 8.67 | 38.53 | 5.49 | 0 | 0
12:30 - 12:45 | -1.6 | 0 | 0 | 0 | -339.73 | 4.91 | 10.6 | 0 | -1.2 | -1 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 13.49 | -3 | 7.71 | 2.89 | 4.82 | 0 | 6.74 | 0 | 0 | 0 | -70 | 8.67 | 38.54 | 5.49 | 0 | 0
12:45 - 13:00 | -1.6 | 0 | 0 | 0 | -519.8 | 8 | 10.6 | 0 | -1.4 | -0.9 | 0 | 7.71 | -1 | 0 | -3.7 | 0.96 | 13.49 | -3 | 7.71 | 2.89 | 4.82 | 0 | 6.74 | 0 | 0 | 0 | -85 | 8.67 | 38.53 | 5.49 | 0 | 0
13:00 - 13:15 | -1.6 | -10 | 0 | 0 | -419.61 | 9.06 | 10.6 | 0 | -2 | -1 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 13.48 | -3 | 7.71 | 2.89 | 4.82 | 0 | 6.74 | 0 | 0 | 0 | -30 | 8.67 | 0 | 5.49 | 0 | 0
13:15 - 13:30 | -1.6 | 0 | 0 | 0 | -239.87 | 7.51 | 10.6 | 0 | -2 | -1 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 13.49 | -3 | 7.71 | 2.89 | 4.82 | 0 | 6.74 | 0 | 0 | 0 | 0 | 8.67 | 0 | 5.49 | 0 | 0
13:30 - 13:45 | -1.6 | 0 | -0.4 | 0 | -35.52 | 0 | 10.6 | -50 | -1.8 | -0.3 | 0 | 7.71 | -1 | 0 | -3.5 | 0.96 | 13.49 | -3 | 7.71 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | -70 | 8.67 | 14.45 | 5.49 | 0 | 0
13:45 - 14:00 | -1.6 | 0 | -0.4 | 0 | -50.53 | 0 | 10.6 | -50 | -1.7 | -0.3 | 0 | 7.71 | -1 | 0 | -3.4 | 0.96 | 13.49 | -3 | 7.71 | 2.89 | 4.82 | -5 | 6.74 | 0 | 0 | 0 | -30 | 8.67 | 14.45 | 5.49 | 0 | 0
14:00 - 14:15 | -1.5 | 0 | -0.4 | 0 | -139.97 | 5.68 | 10.6 | 0 | -2 | -0.3 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 5.49 | 0 | 0
14:15 - 14:30 | -1.5 | 0 | -0.4 | 0 | -471.01 | 0 | 10.6 | -50 | -1.9 | -0.4 | 0 | 7.71 | -1 | 0 | -3.1 | 0.96 | 13.48 | 0 | 7.71 | 2.89 | 4.82 | -5 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 5.49 | 0 | 0
14:30 - 14:45 | -1.5 | -10 | -0.4 | 0 | -294.58 | 10.98 | 10.6 | 0 | -1.9 | -1.3 | 0 | 7.71 | -1 | 0 | 0 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 14.45 | 5.49 | 0 | 0
14:45 - 15:00 | -1.5 | 0 | -0.4 | 0 | -473.97 | 0 | 10.6 | -50 | -1.4 | -1.1 | 0 | 7.71 | -1 | 0 | -2.7 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | -5 | 0 | 0 | 0 | 0 | -30 | 8.67 | 14.44 | 5.49 | 0 | 0
15:00 - 15:15 | -1.5 | 0 | -0.4 | -1.4 | -847.67 | 0 | 10.6 | -50 | -1 | -0.9 | 0 | 7.71 | -1 | 0 | -2.2 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | -5 | 2.89 | 0 | 0 | 0 | -75 | 8.67 | 19.26 | 5.49 | 0 | 0
15:15 - 15:30 | -1.5 | 0 | -0.4 | -1.4 | -799.46 | 0 | 10.6 | -50 | -0.5 | -0.9 | 0 | 7.71 | -1 | 0 | -2 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | -5 | 2.89 | 0 | 0 | 0 | -30 | 8.67 | 19.26 | 5.49 | 0 | 0
15:30 - 15:45 | -1.5 | 0 | -0.4 | -1.4 | -917.56 | 0 | 10.6 | -150 | -0.3 | -0.8 | 9.63 | 7.71 | -1 | 0 | -1.8 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | -5 | 2.89 | 0 | 0 | 0 | -60 | 8.67 | 76.1 | 5.49 | 0 | 0
15:45 - 16:00 | -1.5 | 0 | -0.4 | -1.4 | -924.45 | 0 | 10.6 | -150 | -0.3 | -0.8 | 0 | 7.71 | -1 | 0 | -1.6 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | -5 | 2.89 | 0 | 0 | 0 | -40 | 8.67 | 76.1 | 5.49 | 0 | 0
16:00 - 16:15 | -1.5 | -5 | -0.4 | 0 | -701.51 | 0 | 10.6 | -150 | -0.4 | -0.8 | 9.63 | 0 | -1 | 19.27 | -1.4 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | -5 | 2.89 | 0 | 0 | 0 | 0 | 8.67 | 72.25 | 5.49 | 0 | 0
16:15 - 16:30 | -1.5 | -5 | -0.4 | 0 | -800.03 | 0 | 10.6 | -150 | -0.3 | -0.5 | 9.63 | 0 | -1 | 19.27 | -1.2 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | -5 | 2.89 | 0 | 0 | 0 | 0 | 8.67 | 72.25 | 5.49 | 0 | 0
16:30 - 16:45 | -1.5 | 0 | -0.4 | -1.5 | -990.01 | 0 | 10.6 | -50 | -0.3 | -0.5 | 9.63 | 0 | -1 | 19.27 | -1.2 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | -5 | 2.89 | 0 | 0 | 0 | 0 | 8.67 | 72.25 | 5.49 | 0 | 0
16:45 - 17:00 | -1.5 | 0 | -0.4 | -1.5 | -1100.03 | 0 | 10.6 | -50 | -0.2 | -0.2 | 0 | 0 | -1 | 19.27 | -1 | 0.96 | 13.49 | 0 | 7.71 | 2.89 | 4.82 | -5 | 2.89 | 0 | 0 | 0 | 0 | 8.67 | 72.25 | 5.49 | 0 | 0
17:00 - 17:15 | -1.5 | 0 | -0.4 | -1.5 | -1205 | 0 | 10.6 | -50 | -0.2 | -0.2 | 0 | 0 | -1 | 19.27 | -0.7 | 0.96 | 23.12 | 0 | 7.71 | 2.89 | 4.82 | -5 | 0 | 0 | 0 | 0 | -20 | 8.67 | 47.2 | 5.49 | 0 | 0
17:15 - 17:30 | -1.5 | 0 | -0.4 | -1.5 | -1105.03 | 0 | 10.6 | -50 | -0.1 | -0.1 | 0 | 0 | -1 | 19.27 | -0.5 | 6.26 | 23.12 | 0 | 7.71 | 2.89 | 4.82 | -5 | 0 | 0 | 0 | 0 | -50 | 8.67 | 47.2 | 5.49 | 0 | 0
17:30 - 17:45 | -1.5 | -6 | 0 | -1.5 | -1277.69 | 0 | 10.6 | -50 | 0 | 0 | 0 | 0 | -1 | 19.27 | -0.3 | 6.26 | 23.12 | 0 | 7.71 | 2.89 | 4.82 | -5 | 0 | -5 | 0 | 0 | 0 | 8.67 | 38.53 | 5.49 | 0 | 0
17:45 - 18:00 | -1.5 | -6 | 0 | -1.5 | -1185.54 | 0 | 10.6 | -50 | 0 | 0 | 0 | 0 | -1 | 19.27 | 0 | 0 | 23.12 | 0 | 7.71 | 2.89 | 4.82 | -5 | 0 | -5 | 0 | 0 | 0 | 8.67 | 38.53 | 5.49 | 0 | 0
18:00 - 18:15 | -1.5 | 0 | 0 | 0 | -756.48 | 16.38 | 10.6 | -80 | 0 | 0 | 9.63 | 0 | -2.5 | 19.27 | 0.19 | 6.26 | 23.12 | 0 | 7.71 | 2.89 | 4.82 | -5 | 0 | -5 | 0 | 0 | -50 | 8.67 | 38.54 | 5.49 | 0 | 0
18:15 - 18:30 | -1.5 | 0 | 0 | -1.5 | -600.35 | 0 | 10.6 | -80 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 19.27 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 8.67 | 38.53 | 0 | 0 | 0
18:30 - 18:45 | -1.5 | 0 | 0 | 0 | -725.01 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1.5 | 0 | 0 | 0 | -525.89 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.5 | 0 | 0 | 0 | -576.08 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1.5 | 0 | -40 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.5 | 0 | 0 | 0 | -567.5 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.5 | 0 | 0 | 0 | -476.08 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.5 | 0 | 0 | 0 | -476.26 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.5 | 0 | 0 | 0 | -524.98 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1.5 | 0 | 0 | 0 | -580.48 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1.5 | 0 | 0 | 0 | -585.83 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -6 | 0 | -40 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -1.5 | 0 | 0 | 0 | -600.01 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -6 | 0 | -40 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -1.5 | 0 | 0 | 0 | -700 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -1.5 | 0 | 0 | 0 | -700 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -1.5 | 0 | -0.4 | 0 | -700 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -1.5 | 0 | -0.4 | 0 | -700 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -1.5 | 0 | -0.4 | 0 | -650 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -8 | 0 | -40 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -1.5 | 0 | -0.4 | 0 | -650 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -8 | 0 | -40 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -1.5 | 0 | 0 | 0 | -550 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -8.5 | 0 | -40 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -1.5 | 0 | 0 | 0 | -550 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -8.5 | 0 | -40 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -1.5 | 0 | 0 | 0 | -528.73 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -8.5 | -5 | 0 | 0 | 0 | 0 | 0 | -2
23:15 - 23:30 | -1.5 | 0 | 0 | 0 | -562.74 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -8.5 | -5 | 0 | 0 | 0 | 0 | 0 | -2
23:30 - 23:45 | -1.5 | 0 | 0 | 0 | -568.75 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -8.5 | -5 | -45 | 0 | 0 | 0 | 0 | -2
23:45 - 24:00 | -1.5 | 0 | 0 | 0 | -568.74 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -8.5 | -5 | -50 | 0 | 0 | 0 | 0 | -2
Average | -1.6417 | -0.85417 | -0.1 | -0.66771 | -335.079 | 0.97729 | 5.7417 | -72.6042 | -0.45208 | -0.25625 | 0.50156 | 2.9488 | -1.8125 | 3.8137 | -0.85323 | 0.57563 | 7.127 | -0.3125 | 2.0078 | 1.2945 | 2.8694 | -4.7917 | 1.8056 | -0.3125 | -2.0208 | -0.20833 | -20.6875 | 4.5709 | 10.7967 | 2.3447 | 1.5656 | -0.33333