## POWER STATUS
POWER STATUS ON DT 25.06.2026
[9 empty] | 2026-06-25 | 2026-06-24
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 5520.7599 | 6602.1452
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 16.33 | 0.39192 | 630/590 ft | 601.73 | 600.97 | 600.95 | 0 | 114.1516
| Chiplima | 72(3x24) | 0 | 0 | - |  |  |  | 12.4938 | 0
| Balimela | 510(6x60+2x75) | 240.55 | 5.7732 | 1516/1440 ft | 1455.3 | 1461.8 | 1461.1 | 368.1649 | 368.3456
| Rengali | 250(5x50) | 17.83 | 0.42792 | 123.5/109.75 mt | 116.03 | 109.84 | 109.81 | 0 | 69.3054
| Upper Kolab | 320(4x80) | 33.5 | 0.804 | 858/844 mt | 847.23 | 847.1 | 847.09 | 0 | 152.415
| Upper Indravati | 600(4x150) | 208.31 | 4.9994 | 642/625 mt | 628.15 | 628.81 | 628.8 | 245.1011 | 578.9276
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2725.55 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 516.52 | 12.3965 |  |  |  |  | 625.7599 | 1283.1452
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1640.33 | 39.3679 | RENEWABLE ENERGY (RE) |  |  |  | 1626 | 1649
[5 empty] | M.Hydl | 16.79
| Total Thermal | 2200 | 1640.33 | 39.3679 | Solar | 125.76 |  |  | 1626 | 1649
IPP | VEDANTA #2 | 600 (1x600) | 299.27 | 7.1825 | Total IPPs | Yesterday's Demand Profile |  |  | 296.5037 | 276.6406
| GMR #3 | 350 (1x350) | 325.13 | 7.8031 | 724.78 |  | MW | HRS | 324.6726 | 325.5716
| NBVL(IPP) | 60(1x60) | 52.74 | 1.2658 |  |  |  |  | 54.6704 | 53.972
| MDTPC |  | 47.64 | 1.1434 |  |  |  |  | 56.4041 | 56.2151
| CGPs |  | 821.57 | 19.7177 | IPPs, CGPs & RE | Maximum | 6845 | 15:00 | 1533 | 1767
| Central Sector(Drawl) |  | 1997.9463 | 47.9507 | 1688.9 | Minimum | 4932 | 07:00 | 1736 | 1903
| Central Sector(Sch) |  | 2004.4788 | 48.1075 |  | Average | 5843.6963 |  | 1731 | 1540
| Grand Total |  | 5843.6963 | 140.2487 | Instantaneous Peak demand |  | 7067.1284 | 46197.6382 | 5520.7599 | 6602.1452
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1743.3178 | 41.8396 | 1795.7705 | 43.0985 | 1663.8551 | 39.9325
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1931.2013 | 46.3488 | 1898.6247 | 45.567 | 1688.1905 | 40.5166
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1409.0449 | 33.8171 | 1388.7601 | 33.3302 | 1432.6264 | 34.383
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 608.4204 | 14.6021 | 612.7528 | 14.7061 | 615.291 | 14.767
Indravati | 3 | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5691.9844 | 136.6076 | 5695.908 | 136.7018 | 5399.9629 | 129.5991
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 281 | GMR |  |  |  | 180
| NBVL #3 | 43 | MDTPC |  |  |  | 32
Mini Hydel: | MEENAKSHI | 7 | OPCL |  |  |  | 0
| BTPL | 4 | SAPTADHARA |  |  |  | 0
Solar: |  | 263 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 78.0199 | JSL(Duburi) |  |  |  | -72.0091
| ICCL | 2.058 | visa |  |  |  | 9.639
| NALCO | -145.0365 | VAL (CGP) |  |  |  | -11.2812
| RSP | -20.6929 | BSL(MMDL) |  |  |  | 153.8204
| INDAL | -9.1303 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -36.9024 | VAL CPP 400 kV |  |  |  | -410.1517
| NBVL | 47.8978 | Arati |  |  |  | 26.7717
| BPSL(JSG) | 32.4145 | BPPL |  |  |  | 123.1798
Banking Avg -: (MW) |  | 192.68
HYDRO AVERAGE GENERATION IN MW:-
2026-06-17 | 2026-06-18 | 2026-06-19 | 2026-06-20 | 2026-06-21 | 2026-06-22 | 2026-06-23 | 2026-06-24
651.793 | 662.5902 | 502.622 | 627.168 | 503.3932 | 365.2517 | 341.5829 | 516.52
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.24.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 137.43
AMNSIL_Pdeep | AMNSIL | -0.62 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 63.1
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 75.36
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.37
JPIPL | NPCL_UP | -9.33 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 12.8
MAADURGA_THERMAL | NPCL_UP | -16.87 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 19.2
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.08
OCL_IRON_STEEL | BRPL | -33 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.9 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 36.35
ODISHA | TPL_DIS_AHM_ISTS | -31.25 | DCBL_Rajgangpur | DALCEMAP | -0.92 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.26
RSPL_JHARSUGUDA | CSEB_Beneficiary | -5 | DCBL_Rajgangpur | DCBLME | -7.12 | DADRI_SOLAR | ODISHA | 0.71
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | DCBL_Rajgangpur | DCL_RCW | -3 | ENERSON_SOLAR_10MW | ODISHA | 1.46
TSBSLA | CSEB_Beneficiary | -15 | ENVIROCARE_INFRA | BRPL | -6 | GADAG_GreenInfra_W | ODISHA | 0
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_S | VLSEZ | 33.8
FARIDABAD_SOLAR | ODISHA | 0.94 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_W | VLSEZ | 73.48
JSWEL_UTKAL | ODISHA | 39.48 | FACORPOWER | PSPCL | -1.67 | GADAG_Serentica3_W | VLSEZ | 3.89
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | 0 | GADAG_Serentica3_W | VLSEZ | 4.67
MPPMCL | ODISHA | 192.68 | FACORPOWER | PSPCL | -12.75 | GIWEL_SECI_II_RE | ODISHA | 69.83
Manipur_Ben | ODISHA | 32.87 | FACORPOWER | PSPCL | -5.25 | GPCL_SOLAR_10 | ODISHA | 1.31
RAJ_SOLAR | ODISHA | 2.35 | FACORPOWER | PSPCL | -5.83 | GSECL_SOLAR | ODISHA | 0.88
RAJ_SOLAR | ODISHA | 2.61 | GMRKEL_STU | PSPCL | -61.9 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.79
|  |  | NBVLIPP | BRPL | -13.12 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | NBVLIPP | BRPL | -31.88 | KARUR_TPVARDHAMAN_W | TSKPO | 49.42
|  |  | NBVL_OTCL | PSPCL | -7.58 | KARUR_TPVARDHAMAN_W | TSLFAPG | 8.23
|  |  | NBVL_OTCL | PSPCL | -18.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NBVL_OTCL | PSPCL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.22
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | OCL_IRON_STEEL | TPDDL | -7.29 | NTPCRE1_SMND_BHJ2_W | ODISHA | 9.19
|  |  | ODISHA | TPL_DIS_AHM | -43.75 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 3.76
|  |  | ORSISL | PSPCL | -3.54 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 6.52
|  |  | ORSISL | PSPCL | -1.46 | OKWPL_RE | ODISHA | 34.19
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 24.97
|  |  | SGML | UPPCL | -4.17 | RWE_AP2_SECI_III | ODISHA | 29.7
|  |  | TIMES_STEEL | PONDY | -6 | RenewGreen_SLPR_HS | JSL_DUBURI | 0
|  |  | VIRAJ_SEPL | WBSEDCL | -10 | SRI9PL_FTG3 | VLSEZ | 38.71
|  |  | VSL | UPPCL | -4.17 | TPSL_BKN2 | TSKPO | 0
|  |  | ACBIL | KCMW_od | 1.73 | TPSL_BKN2 | TSKPO | 0
|  |  | Darlipali_NTPC | ODISHA | 9.15 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | JIPL | ODISHA | 115.61 | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
|  |  | NALCOAP | NACL_Odisha | 29.73 | Tuticorin_BETAMWIND | ODISHA | 55.08
|  |  | TSTPP_I | ODISHA | 104.02 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.83
[6 empty] | XXPPL_FTG3 | ODISHA | 36.07

## DAM
DAM TRADING DETAILS FOR DT :24.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | -3.3 | 0 | -600 | 0 | -280 | -9 | 0 | -38.8
00:15 - 00:30 | -3.3 | 0 | -600 | 0 | -280 | -9 | 0 | -38.8
00:30 - 00:45 | -3.3 | 0 | -600 | 0 | -280 | -9 | 0 | -38.8
00:45 - 01:00 | -3.3 | 0 | -600 | 0 | -280 | -9 | 0 | -38.8
01:00 - 01:15 | -3.3 | 0 | -775 | 0 | -280 | -9 | 0 | -38.8
01:15 - 01:30 | -3.3 | 0 | -775 | 0 | -280 | -9 | 0 | -38.8
01:30 - 01:45 | -3.3 | 0 | -775 | 0 | -280 | -9 | 0 | -38.8
01:45 - 02:00 | -3.3 | 0 | -775 | 0 | -154.81 | -9 | 0 | -38.8
02:00 - 02:15 | -3.3 | 0 | -775 | 0 | -140 | -9 | 0 | 0
02:15 - 02:30 | -3.3 | 0 | -775 | 0 | -140 | -9 | 0 | 0
02:30 - 02:45 | -3.3 | 0 | -775 | 0 | -140 | -9 | 0 | 0
02:45 - 03:00 | -3.3 | 0 | -775 | 0 | -140 | -9 | 0 | 0
03:00 - 03:15 | -8.3 | 0 | -775 | 0 | -140 | -9 | 0 | 0
03:15 - 03:30 | -8.3 | 0 | -775 | 0 | -140 | -9 | 0 | 0
03:30 - 03:45 | -8.3 | 0 | -775 | 0 | -140 | -9 | 0 | 0
03:45 - 04:00 | -8.3 | 0 | -775 | 0 | -140 | -9 | 0 | 0
04:00 - 04:15 | -8.3 | 0 | -725 | 0 | -140 | -9 | 0 | 0
04:15 - 04:30 | -8.3 | 0 | -725 | 0 | -140 | -9 | 0 | 0
04:30 - 04:45 | -8.3 | 0 | -725 | 0 | -140 | -9 | 0 | 0
04:45 - 05:00 | -8.3 | 0 | -725 | 0 | -140 | -9 | 0 | 0
05:00 - 05:15 | -8.3 | 0 | -600 | 0 | -140 | -9 | 0 | 0
05:15 - 05:30 | -8.3 | 0 | -600 | 0 | -140 | -9 | 0 | 0
05:30 - 05:45 | -8.3 | 0 | -600 | 0 | -140 | -9 | 0 | -38.8
05:45 - 06:00 | -8.3 | 0 | -600 | 0 | -162.51 | -9 | 0 | -38.8
06:00 - 06:15 | -8.3 | 0 | -675 | 0 | -140 | -9 | 0 | 0
06:15 - 06:30 | -8.3 | 0 | -675 | 0 | -140 | -9 | 0 | 0
06:30 - 06:45 | -8.3 | 0 | -675 | 0 | -140 | -9 | 0 | 0
06:45 - 07:00 | -8.3 | 0 | -675 | 0 | -140 | -9 | 0 | 0
07:00 - 07:15 | -8.3 | 0 | -875 | 0 | -140 | -9 | 0 | 0
07:15 - 07:30 | -8.3 | 0 | -875 | 0 | -140 | -9 | 0 | 0
07:30 - 07:45 | -8.3 | 0 | -750 | 0 | -140 | -9 | 11.56 | 0
07:45 - 08:00 | -8.3 | 0 | -750 | 0 | -140 | -9 | 11.56 | 0
08:00 - 08:15 | -8.3 | 0 | -775 | 0 | -140 | -4 | 11.56 | 0
08:15 - 08:30 | -8.3 | 0 | -731.74 | 0 | -140 | -4 | 11.56 | 0
08:30 - 08:45 | -8.3 | 0 | -275 | 28.9 | -140 | -4 | 11.56 | 0
08:45 - 09:00 | -8.3 | 0 | -211.35 | 28.9 | -140 | -4 | 11.56 | 0
09:00 - 09:15 | -8.3 | 0 | -60.8 | 28.9 | -140 | -4 | 11.56 | 0
09:15 - 09:30 | -8.3 | 0 | -100 | 28.9 | -140 | -4 | 11.56 | 0
09:30 - 09:45 | -8.3 | 0 | -100 | 28.9 | -140 | -4 | 11.56 | 0
09:45 - 10:00 | -8.3 | 0 | 7.75 | 28.9 | -140 | -4 | 11.56 | 0
10:00 - 10:15 | -8.3 | 0 | 18.46 | 28.9 | -140 | -4 | 11.56 | 0
10:15 - 10:30 | -8.3 | 0 | -60.81 | 28.9 | -140 | -4 | 11.56 | 0
10:30 - 10:45 | -8.3 | 0 | -100 | 28.9 | -140 | -4 | 11.56 | 0
10:45 - 11:00 | -8.3 | 0 | 18.98 | 28.9 | -140 | -4 | 11.56 | 0
11:00 - 11:15 | -8.3 | 0 | 12.24 | 28.9 | -140 | -4 | 11.56 | 0
11:15 - 11:30 | -8.3 | 0 | 21.84 | 28.9 | -140 | -4 | 11.56 | 0
11:30 - 11:45 | -8.3 | 0 | 21.84 | 28.9 | -140 | -4 | 11.56 | 0
11:45 - 12:00 | -8.3 | 0 | 21.84 | 28.9 | -140 | -4 | 11.56 | 0
12:00 - 12:15 | -8.3 | 0 | 18.39 | 28.9 | -140 | -4 | 11.56 | 0
12:15 - 12:30 | -8.3 | 0 | 18.02 | 28.9 | -140 | -4 | 11.56 | 0
12:30 - 12:45 | -8.3 | 0 | 9.59 | 28.9 | -140 | -4 | 11.56 | 0
12:45 - 13:00 | -8.3 | 0 | 7.65 | 28.9 | -140 | -4 | 11.56 | 0
13:00 - 13:15 | -8.3 | 0 | 0 | 28.9 | -140 | -4 | 11.56 | 0
13:15 - 13:30 | -8.3 | 0 | 6.19 | 28.9 | -140 | -4 | 11.56 | 0
13:30 - 13:45 | -8.3 | 0 | 0 | 28.9 | -140 | -4 | 11.56 | 0
13:45 - 14:00 | -8.3 | 0 | 0 | 28.9 | -140 | -4 | 11.56 | 0
14:00 - 14:15 | -8.3 | 0 | -400 | 28.9 | -140 | -4 | 11.56 | 0
14:15 - 14:30 | -8.3 | 0 | -400 | 28.9 | -140 | -4 | 11.56 | 0
14:30 - 14:45 | -8.3 | 0 | -638.7 | 28.9 | -140 | -4 | 11.56 | 0
14:45 - 15:00 | -8.3 | 0 | -666.7 | 28.9 | -140 | -4 | 11.56 | 0
15:00 - 15:15 | -8.3 | 0 | -812.63 | 0 | -140 | -4 | 11.56 | 0
15:15 - 15:30 | -8.3 | 0 | -850 | 0 | -140 | -4 | 11.56 | 0
15:30 - 15:45 | -8.3 | 0 | -850 | 0 | -140 | -4 | 11.56 | 0
15:45 - 16:00 | -8.3 | 0 | -850 | 0 | -140 | -4 | 11.56 | 0
16:00 - 16:15 | -8.3 | 0 | -1000 | 0 | -140 | -4 | 11.56 | 0
16:15 - 16:30 | -8.3 | 0 | -1000 | 0 | -140 | -4 | 11.56 | 0
16:30 - 16:45 | -8.3 | 0 | -1000 | 0 | -140 | -4 | 11.56 | 0
16:45 - 17:00 | -8.3 | 0 | -1000 | 0 | -140 | -4 | 11.56 | 0
17:00 - 17:15 | -8.3 | -12 | -600 | 0 | -140 | -4 | 11.56 | 0
17:15 - 17:30 | -8.3 | -12 | -600 | 0 | -140 | -4 | 0 | 0
17:30 - 17:45 | -8.3 | -12 | -600 | 0 | -140 | -4 | 0 | 0
17:45 - 18:00 | -8.3 | -12 | -600 | 0 | -140 | -4 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | -600 | 0 | -140 | -6 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | -600 | 0 | -140 | -6 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | -600 | 0 | -140 | -6 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | -600 | 0 | -140 | -6 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | -450 | 0 | -140 | -9 | 0 | 0
19:15 - 19:30 | -3.3 | 0 | -450 | 0 | -140 | -9 | 0 | 0
19:30 - 19:45 | -3.3 | 0 | -450 | 0 | -140 | -9 | 0 | -38.8
19:45 - 20:00 | -3.3 | 0 | -450 | 0 | -140 | -9 | 0 | -38.8
20:00 - 20:15 | -3.3 | 0 | -500 | 0 | -280 | -9 | 0 | -38.8
20:15 - 20:30 | -3.3 | 0 | -500 | 0 | -280 | -9 | 0 | -38.8
20:30 - 20:45 | -3.3 | 0 | -500 | 0 | -280 | -9 | 0 | -38.8
20:45 - 21:00 | -3.3 | 0 | -500 | 0 | -280 | -9 | 0 | -38.8
21:00 - 21:15 | -3.3 | 0 | -400 | 0 | -280 | -9 | 0 | -38.8
21:15 - 21:30 | -3.3 | 0 | -400 | 0 | -280 | -9 | 0 | -38.8
21:30 - 21:45 | -3.3 | 0 | -400 | 0 | -280 | -9 | 0 | -38.8
21:45 - 22:00 | -3.3 | 0 | -400 | 0 | -280 | -9 | 0 | -38.8
22:00 - 22:15 | -3.3 | 0 | -450 | 0 | -280 | -9 | 0 | -38.8
22:15 - 22:30 | -3.3 | 0 | -450 | 0 | -280 | -9 | 0 | -38.8
22:30 - 22:45 | -3.3 | 0 | -450 | 0 | -280 | -9 | 0 | -38.8
22:45 - 23:00 | -3.3 | 0 | -450 | 0 | -280 | -9 | 0 | -38.8
23:00 - 23:15 | -3.3 | 0 | -350 | 0 | -280 | -9 | 0 | -38.8
23:15 - 23:30 | -3.3 | 0 | -350 | 0 | -280 | -9 | 0 | -38.8
23:30 - 23:45 | -3.3 | 0 | -350 | 0 | -280 | -9 | 0 | -38.8
23:45 - 24:00 | -3.3 | 0 | -350 | 0 | -280 | -9 | 0 | -38.8
Average | -6.425 | -0.5 | -500.5202 | 7.8271 | -173.9304 | -6.7917 | 4.6963 | -11.3167

## GDAM
GDAM TRADING DETAILS FOR DT:24.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 14.45 | 18.86 | 0 | 5.78 | 53.96
07:45 - 08:00 | 0 | 0 | 0 | 14.45 | 36.61 | 0 | 5.78 | 25.05
08:00 - 08:15 | 0 | 0 | 0 | 19.27 | 36.61 | 9.63 | 5.78 | 0
08:15 - 08:30 | 0 | 0 | 0 | 19.27 | 31.79 | 9.63 | 5.78 | 0
08:30 - 08:45 | 0 | 0 | 0 | 19.27 | 31.79 | 9.63 | 5.78 | 0
08:45 - 09:00 | 0 | 0 | 0 | 19.27 | 31.79 | 9.63 | 5.78 | 0
09:00 - 09:15 | 0 | 0 | 216.08 | 19.27 | 30.83 | 9.63 | 5.78 | 0
09:15 - 09:30 | 0 | 0 | 219.42 | 19.27 | 25.05 | 9.63 | 5.78 | 0
09:30 - 09:45 | 0 | 0 | 204.82 | 19.27 | 21.19 | 9.63 | 5.78 | 0
09:45 - 10:00 | 0 | 0 | 149.26 | 19.27 | 18.3 | 9.63 | 5.78 | 0
10:00 - 10:15 | -1.2 | 0 | 204.62 | 19.27 | 17.34 | 9.63 | 5.78 | 0
10:15 - 10:30 | -5.7 | 0 | 216.65 | 19.27 | 19.27 | 9.63 | 5.78 | 0
10:30 - 10:45 | -7.9 | -0.7 | 203.42 | 19.27 | 20.23 | 9.63 | 5.78 | 0
10:45 - 11:00 | -5.6 | -1.8 | 203.42 | 19.27 | 22.16 | 9.63 | 5.78 | 0
11:00 - 11:15 | -5.2 | -2.3 | 216.74 | 19.27 | 23.12 | 9.63 | 5.78 | 0
11:15 - 11:30 | -8 | -2.7 | 198.6 | 19.27 | 23.12 | 9.63 | 5.78 | 0
11:30 - 11:45 | -3.8 | -3.2 | 198.6 | 19.27 | 23.12 | 9.63 | 5.78 | 0
11:45 - 12:00 | -1.9 | -3.2 | 198.6 | 19.27 | 23.12 | 9.63 | 5.78 | 0
12:00 - 12:15 | -1.1 | -2.8 | 204.7 | 19.27 | 23.12 | 9.63 | 5.78 | 0
12:15 - 12:30 | -0.7 | -2.5 | 204.7 | 19.27 | 23.12 | 9.63 | 5.78 | 0
12:30 - 12:45 | -1.1 | -0.5 | 204.73 | 19.27 | 23.12 | 9.63 | 5.78 | 0
12:45 - 13:00 | -1 | 0 | 204.72 | 19.27 | 23.12 | 9.63 | 5.78 | 0
13:00 - 13:15 | 0 | 0 | 244.85 | 19.27 | 23.12 | 9.63 | 5.78 | 0
13:15 - 13:30 | 0 | 0 | 228.83 | 19.27 | 23.12 | 9.63 | 5.78 | 0
13:30 - 13:45 | 0 | 0 | 204.77 | 19.27 | 23.12 | 9.63 | 5.78 | 0
13:45 - 14:00 | 0 | 0 | 204.75 | 19.27 | 23.12 | 9.63 | 5.78 | 0
14:00 - 14:15 | 0 | 0 | 0 | 19.27 | 23.12 | 9.63 | 5.78 | 0
14:15 - 14:30 | 0 | 0 | 0 | 19.27 | 23.12 | 9.63 | 5.78 | 0
14:30 - 14:45 | 0 | 0 | 0 | 19.27 | 26.01 | 9.63 | 5.78 | 0
14:45 - 15:00 | 0 | 0 | 0 | 19.27 | 30.83 | 9.63 | 5.78 | 0
15:00 - 15:15 | 0 | 0 | 0 | 19.27 | 31.79 | 9.63 | 5.78 | 0
15:15 - 15:30 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
15:30 - 15:45 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
15:45 - 16:00 | 0 | 0 | 0 | 19.27 | 0 | 0 | 5.78 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.45 | 31.79 | 0 | 5.78 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.45 | 31.79 | 0 | 5.78 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.45 | 35.65 | 0 | 5.78 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.45 | 36.61 | 0 | 5.78 | 6.74
17:00 - 17:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 36.61
17:15 - 17:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 65.51
17:30 - 17:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 81.89
17:45 - 18:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 103.09
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.45 | -0.20521 | 43.0446 | 8.2296 | 9.4789 | 2.9091 | 2.5288 | 3.8839

## RTM
RTM TRADING DETAILS FOR DT: 24.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | KJS_Ahluwalia_(Steel_&_Power_Division) | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.5 | 0 | -10 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -1.6 | 0 | 0 | 0 | 0 | 1.82 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -20 | 0 | 48.17 | 0 | 0 | 0
01:15 - 01:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -40 | 0 | 3.51 | 0 | 0 | 0
01:30 - 01:45 | -1.6 | 0 | 0 | 0 | 0 | 325.81 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 0 | 19.27 | 0 | 0 | 16.38 | 0 | 0 | -4 | 0 | -40 | 6.94 | 48.17 | 0 | 0 | 0
01:45 - 02:00 | -1.6 | 0 | 0 | 0 | 0 | 136.65 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 0 | 19.27 | 0 | 0 | 16.38 | 0 | 0 | -4 | 0 | -20 | 6.94 | 48.17 | 0 | 0 | 0
02:00 - 02:15 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 6.86 | 0 | 0 | 0
02:15 - 02:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.6 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -1.6 | 0 | 0 | 0 | 0 | -51.63 | 0 | 0 | -109.99 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -1.6 | 0 | -0.4 | 0 | 0 | -89.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -1.6 | 0 | -0.4 | 0 | 0 | -180.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -1.6 | 0 | -0.4 | 0 | 0 | -200.03 | 0 | 0 | -110 | 0 | -0.1 | -0.1 | 0 | -2.5 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -1.6 | -9 | -0.4 | 0 | 0 | -253.61 | 0 | 0 | -110 | 0 | -0.3 | -0.2 | 0 | -2.5 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -1.6 | 0 | 0 | 0 | 0 | -124.94 | 0 | 0 | -110 | 0 | -0.5 | -0.3 | 0 | -2.5 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -60 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -1.6 | 0 | 0 | 0 | 0 | -80.16 | 0 | 0 | 0 | 0 | -0.5 | -0.5 | 0 | -2.5 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -40 | 0 | 13.62 | 0 | 0 | 0
07:00 - 07:15 | -1.6 | 0 | 0 | 0 | 0 | -92.29 | 0 | 0 | 0 | 0 | -0.4 | -0.6 | 0 | -1 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -1.6 | 0 | 0 | 0 | 0 | -80.48 | 0 | 0 | 0 | 0 | -0.2 | -0.5 | 0 | -1 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -1.6 | 0 | 0 | 0 | 0 | -73.8 | 0 | 10.6 | 0 | 0 | -0.2 | -1.4 | 0 | -1 | 19.27 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.94 | 24.08 | 0 | 0 | 0
07:45 - 08:00 | -1.6 | -5 | 0 | 0 | 0 | -52.03 | 0 | 10.6 | 0 | 0 | -0.3 | -1.6 | 0 | -1 | 19.27 | -1.9 | 0 | 0 | 7.71 | 0 | 2.89 | 6.74 | 0 | 0 | 0 | 0 | 0 | 6.94 | 24.08 | 5.49 | 0 | 0
08:00 - 08:15 | -1.6 | -5 | -0.3 | 0 | 0 | 0 | 0 | 10.6 | 0 | 0 | -0.5 | -1.8 | 0 | -1 | 0 | -2.2 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | -2 | 0 | 0 | 0 | 0 | 6.94 | 32.76 | 5.49 | 0 | 0
08:15 - 08:30 | -1.6 | 0 | -0.3 | 0 | 0 | -6.01 | 0 | 10.6 | 0 | 0 | -0.8 | -2 | 0 | -1 | 0 | -2.4 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | -2 | 0 | 0 | 0 | 0 | 6.94 | 32.76 | 5.49 | 0 | 0
08:30 - 08:45 | -1.6 | 0 | -0.3 | 0 | 6.74 | -375.03 | 0 | 10.6 | 0 | 0 | -1.2 | -1.8 | 0 | -1 | 0 | -2.7 | 0 | 0 | 7.71 | 7.71 | 2.89 | 6.74 | -2 | 0.96 | 0 | 0 | -60 | 6.94 | 32.76 | 5.49 | 110.79 | 0
08:45 - 09:00 | -1.6 | 0 | -0.3 | 0 | 6.74 | -361.96 | 0 | 10.6 | 0 | 0 | -1.5 | -1.9 | 0 | -1 | 0 | -2.8 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | -2 | 0.96 | 0 | 0 | -20 | 6.94 | 32.76 | 5.49 | 221.59 | 0
09:00 - 09:15 | -1.6 | 0 | -0.3 | 0 | 6.74 | -1074.01 | 0 | 10.6 | 0 | -3 | -1.5 | -2.8 | 0 | -1 | 0 | -3.1 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | -2 | 0.96 | 0 | -6 | 0 | 6.94 | 43.35 | 5.49 | 320.82 | 0
09:15 - 09:30 | -1.6 | 0 | -0.3 | 0 | 6.74 | -1359.04 | 0 | 10.6 | 0 | -3 | -1.5 | -3 | 0 | -1 | 0 | -0.6 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | -2 | 0.96 | 0 | -6 | 0 | 6.94 | 43.35 | 5.49 | 427.76 | 0
09:30 - 09:45 | -1.6 | -9 | -0.3 | 0 | 6.74 | -1100 | 0 | 10.6 | 0 | -3 | -1.8 | -3.1 | 0 | -1 | 0 | 0 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | -2 | 0.96 | 0 | -6 | 0 | 6.94 | 43.35 | 5.49 | 605.99 | 0
09:45 - 10:00 | -1.6 | 0 | -0.3 | 0 | 6.74 | -900 | 0 | 10.6 | 0 | -3 | -2 | -3.3 | 0 | -1 | 0 | 0 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | -2 | 0.96 | 0 | -6 | 0 | 6.94 | 43.35 | 5.49 | 636.82 | 0
10:00 - 10:15 | -1.6 | 0 | -0.3 | 0 | 6.74 | -1497.92 | 0 | 10.6 | 0 | 0 | -1.7 | -3.5 | 0 | -1 | 0 | 4.34 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | 0 | -6 | 0 | 6.94 | 49.13 | 5.49 | 636.81 | 0
10:15 - 10:30 | -1.6 | 0 | -0.3 | 0 | 6.74 | -1301.79 | 0 | 10.6 | 0 | 0 | -1.6 | -3.6 | 0 | -1 | 0 | 4.14 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | 0 | -6 | -60 | 6.94 | 49.13 | 5.49 | 637.78 | 0
10:30 - 10:45 | -1.6 | 0 | -0.3 | 0 | 6.74 | -1154.99 | 0 | 10.6 | 0 | 0 | -3 | -3.5 | 0 | -1 | 0 | 4.05 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | 0 | -10 | -40 | 6.94 | 0 | 5.49 | 636.81 | 0
10:45 - 11:00 | -1.6 | 0 | -0.3 | 0 | 6.74 | -1061.45 | 0 | 10.6 | 0 | 0 | -3 | -3.5 | 0 | -1 | 0 | 3.66 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | 0 | -10 | 0 | 6.94 | 0 | 5.49 | 636.82 | 0
11:00 - 11:15 | -1.6 | -9 | -0.3 | 0 | 6.74 | -954.95 | 0 | 10.6 | 0 | 0 | -3 | -3.5 | 0 | -1 | 0 | 3.56 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -1.6 | -10 | -40 | 6.94 | 0 | 5.49 | 636.82 | 0
11:15 - 11:30 | -1.6 | -12 | -0.3 | 0 | 6.74 | -893.46 | 0 | 10.6 | 0 | 0 | -3 | -3.5 | 0 | -1 | 0 | 3.66 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -1.6 | -10 | 0 | 6.94 | 0 | 5.49 | 636.82 | 0
11:30 - 11:45 | -1.6 | -12 | -0.3 | 0 | 6.74 | -1074.13 | 0 | 10.6 | 0 | 0 | -3 | -3.5 | 0 | -1 | 0 | 3.56 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -2 | -10 | 0 | 6.94 | 0 | 5.49 | 636.82 | 0
11:45 - 12:00 | -1.6 | -12 | -0.3 | 0 | 6.74 | -1124.1 | 0 | 10.6 | 0 | 0 | -3 | -3 | 0 | -1 | 0 | 3.56 | 0.96 | 0 | 11.56 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -2 | -10 | 0 | 6.94 | 0 | 5.49 | 636.82 | 0
12:00 - 12:15 | -1.6 | -12 | -0.3 | 0 | 6.74 | -1160.48 | 0 | 10.6 | 0 | 0 | -1.5 | -3 | 0 | -1 | 0 | 3.18 | 0.96 | 0 | 13.49 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -2 | -5 | -60 | 6.94 | 0 | 5.49 | 612.73 | 0
12:15 - 12:30 | -1.6 | -12 | -0.3 | 0 | 6.74 | -1178.34 | 0 | 10.6 | 0 | 0 | -1.5 | -3 | 0 | -1 | 0 | 3.18 | 0.96 | 0 | 13.49 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -4 | -5 | 0 | 6.94 | 0 | 5.49 | 612.73 | 0
12:30 - 12:45 | -1.5 | -12 | -0.3 | 0 | 6.74 | -1151.05 | 0 | 10.6 | 0 | 0 | -1.5 | -3.1 | 0 | -1 | 0 | 3.18 | 0.96 | 0 | 13.49 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -4 | 0 | 0 | 6.94 | 0 | 5.49 | 612.73 | 0
12:45 - 13:00 | -1.5 | -12 | -0.3 | 0 | 6.74 | -1151.02 | 0 | 10.6 | 0 | 0 | -1.5 | -3 | 0 | -1 | 0 | 3.18 | 0.96 | 0 | 13.49 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -2.5 | 0 | -40 | 6.94 | 0 | 5.49 | 612.73 | 0
13:00 - 13:15 | -1.5 | 0 | -0.4 | 0 | 6.74 | -980.66 | 0 | 10.6 | 0 | 0 | -1 | -1.6 | 0 | -1 | 0 | 3.28 | 0.96 | 0 | 13.49 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -2.5 | 0 | -60 | 6.94 | 0 | 5.49 | 612.72 | 0
13:15 - 13:30 | -1.5 | 0 | -0.4 | 0 | 6.74 | -980.7 | 0 | 10.6 | 0 | 0 | -1 | -1.7 | 0 | -1 | 0 | 3.37 | 0.96 | 0 | 13.49 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | -1 | 0 | 0 | 6.94 | 0 | 5.49 | 612.73 | 0
13:30 - 13:45 | -1.5 | 0 | -0.4 | 0 | 6.74 | -933.35 | 0 | 10.6 | 0 | 0 | -1 | -1.9 | 0 | -1 | 0 | 3.37 | 0 | 0 | 13.49 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | 0 | 0 | 0 | 6.94 | 0 | 5.49 | 581.9 | 0
13:45 - 14:00 | -1.5 | 0 | -0.4 | 0 | 6.74 | -884.71 | 0 | 10.6 | 0 | 0 | -1 | -1.9 | 0 | -1 | 0 | 3.56 | 0 | 0 | 13.49 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | 0 | 0 | -60 | 6.94 | 0 | 5.49 | 582.86 | 0
14:00 - 14:15 | -1.5 | 0 | -0.4 | 0 | 6.74 | 0 | 0 | 10.6 | 0 | 0 | -1 | -2.5 | 0 | -1 | 0 | 0 | 0 | 0 | 15.41 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | 0 | 0 | -60 | 6.94 | 0 | 5.49 | 583.83 | 0
14:15 - 14:30 | -1.5 | 0 | -0.4 | 0 | 6.74 | 0 | 0 | 10.6 | 0 | 0 | -1.2 | -2.3 | 0 | -1 | 0 | 0 | 0 | 0 | 15.41 | 7.71 | 2.89 | 6.74 | 0 | 0.96 | 0 | 0 | -20 | 6.94 | 0 | 5.49 | 591.54 | 0
14:30 - 14:45 | -0.5 | 0 | -0.4 | 0 | 6.74 | 162.82 | 0 | 10.6 | 0 | 0 | -1.2 | -2.1 | 0 | -1 | 0 | 0 | 0 | 0 | 9.63 | 7.71 | 2.89 | 6.74 | -3 | 0.96 | -1.5 | 0 | 0 | 6.94 | 0 | 5.49 | 607.92 | 0
14:45 - 15:00 | -0.5 | 0 | -0.4 | 0 | 6.74 | 0 | 0 | 10.6 | 0 | 0 | -1.2 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 9.63 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 6.94 | 0 | 0 | 607.91 | 0
15:00 - 15:15 | -0.5 | -9 | -0.4 | 0 | 6.74 | 200.19 | 0 | 10.6 | 0 | 0 | -1.2 | -1.6 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | -60 | 6.94 | 0 | 0 | 607.91 | 0
15:15 - 15:30 | -0.5 | 0 | -0.4 | 0 | 6.74 | 248.35 | 0 | 10.6 | 0 | 0 | -1 | -1.4 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 6.94 | 0 | 0 | 607.91 | 0
15:30 - 15:45 | -1.5 | 0 | -0.4 | 0 | 6.74 | 248.6 | 0 | 10.6 | 0 | 0 | -1 | -0.5 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 6.94 | 0 | 0 | 237 | 0
15:45 - 16:00 | -1.5 | 0 | -0.4 | 0 | 6.74 | 152.3 | 0 | 10.6 | 0 | 0 | -1.2 | -0.3 | 0 | -1 | 0 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | -10 | 6.94 | 0 | 0 | 113.68 | 0
16:00 - 16:15 | -1.5 | 0 | -0.4 | -1 | 11.56 | 286.45 | 0 | 10.6 | 0 | 0 | -0.9 | -0.6 | 0 | -1 | 19.27 | -1.6 | 0.96 | 0 | 15.41 | 7.71 | 2.89 | 6.74 | -3 | 0.96 | -1.5 | 0 | -50 | 6.94 | 0 | 5.49 | 169.56 | 0
16:15 - 16:30 | -1.5 | 0 | -0.4 | 0 | 11.56 | 318.95 | 0 | 10.6 | 0 | 0 | -0.9 | -0.4 | 9.63 | -1 | 19.27 | -1.4 | 0.96 | 0 | 15.41 | 7.71 | 2.89 | 6.74 | -3 | 0.96 | -1.5 | 0 | 0 | 6.94 | 0 | 5.49 | 38.54 | 0
16:30 - 16:45 | -1.5 | -10 | -0.4 | 0 | 11.56 | 366.82 | 16.76 | 10.6 | 0 | 0 | 0 | -0.2 | 9.63 | -1 | 19.27 | -1.4 | 0.96 | 0 | 15.41 | 7.71 | 2.89 | 6.74 | -3 | 0.96 | -1.5 | 0 | 0 | 6.94 | 0 | 5.49 | 0 | 0
16:45 - 17:00 | -1.5 | 0 | -0.4 | -1.3 | 11.56 | 285.33 | 0 | 10.6 | 0 | 0 | 0 | -0.1 | 0 | -1 | 19.27 | -1.1 | 0.96 | 0 | 15.41 | 7.71 | 2.89 | 6.74 | -3 | 0 | 0 | 0 | -30 | 6.94 | 0 | 5.49 | 0 | 0
17:00 - 17:15 | -1.5 | 0 | 0 | -1.5 | 11.56 | 212.6 | 0 | 10.6 | 0 | 0 | 0 | -0.1 | 0 | -1 | 19.27 | -0.9 | 0.96 | 0 | 15.41 | 7.71 | 2.89 | 6.74 | 0 | 0 | 0 | 0 | 0 | 6.94 | 28.9 | 5.49 | 0 | 0
17:15 - 17:30 | -1.5 | 0 | 0 | -1.5 | 11.56 | 192.58 | 0 | 10.6 | 0 | 0 | 0 | -0.1 | 0 | -1 | 19.27 | -0.6 | 0 | 0 | 21.19 | 0.28 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0 | 6.94 | 28.9 | 0.2 | 0 | 0
17:30 - 17:45 | -1.5 | 0 | 0 | -1.5 | 11.56 | 115.62 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -1 | 19.27 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -10 | 6.94 | 33.72 | 0 | 0 | 0
17:45 - 18:00 | -1.5 | 0 | 0 | -1.5 | 11.56 | 121.25 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -1 | 19.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1.5 | 0 | -40 | 6.94 | 33.72 | 0 | 0 | 0
18:00 - 18:15 | -1.5 | -10 | 0 | -1.5 | 0 | 139.68 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 0 | 21.19 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 6.94 | 19.27 | 0 | 0 | 0
18:15 - 18:30 | -1.5 | 0 | 0 | -1.5 | 0 | 120.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 0 | 21.19 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0
18:30 - 18:45 | -1.5 | 0 | -0.4 | -1.5 | 0 | 79.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 19.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | -20 | 0 | 19.27 | 0 | 0 | 0
18:45 - 19:00 | -1.5 | 0 | -0.4 | -1.5 | 0 | 31.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1.5 | 0 | -45 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.5 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.5 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.5 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | -100 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -6 | 0 | -35 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.5 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | -100 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -6 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.5 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | -120 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -2
20:15 - 20:30 | -1.5 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | -120 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -2
20:30 - 20:45 | -1.5 | 0 | -0.4 | -1.5 | 0 | 126.44 | 0 | 0 | -120 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | -40 | 0 | 0 | 0 | 0 | -2
20:45 - 21:00 | -1.5 | 0 | -0.4 | -1.5 | 0 | 69.35 | 0 | 0 | -120 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2
21:00 - 21:15 | -1.5 | 0 | -0.4 | -1.5 | 0 | 153.45 | 0 | 0 | -140 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2
21:15 - 21:30 | -1.5 | 0 | -0.4 | -1.5 | 0 | 128.79 | 0 | 0 | -140 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | -10 | 0 | 0 | 0 | 0 | -2
21:30 - 21:45 | -1.5 | 0 | -0.4 | -1.5 | 0 | 146.53 | 0 | 0 | -140 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2
21:45 - 22:00 | -1.5 | 0 | -0.4 | -1.5 | 0 | 149.59 | 0 | 0 | -140 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | -35 | 0 | 0 | 0 | 0 | -2
22:00 - 22:15 | -1.5 | 0 | -0.4 | -1.5 | 0 | 219.17 | 0 | 0 | -140 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | -35 | 0 | 0 | 0 | 0 | -2
22:15 - 22:30 | -1.5 | 0 | -0.4 | -1.5 | 0 | 197.55 | 0 | 0 | -140 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2
22:30 - 22:45 | -1.5 | 0 | -0.4 | -1.5 | 0 | 280.45 | 0 | 0 | -160 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 10.02 | -2
22:45 - 23:00 | -1.5 | 0 | -0.4 | -1.5 | 0 | 283.04 | 0 | 0 | -160 | -4.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 10.11 | -2
23:00 - 23:15 | -0.8 | 0 | -0.4 | -1.6 | 0 | 231.1 | 0 | 0 | -160 | -5.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 7.23 | -2
23:15 - 23:30 | -0.8 | 0 | -0.4 | -1.6 | 0 | 223.11 | 0 | 0 | -160 | -5.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | 0 | 0 | 0 | 0 | 6.98 | -2
23:30 - 23:45 | -0.8 | 0 | -0.4 | -1.5 | 0 | 256.94 | 0 | 0 | -160 | -5.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | -45 | 0 | 0 | 0 | 0 | -2
23:45 - 24:00 | -0.8 | 0 | -0.4 | -1.5 | 0 | 282.3 | 0 | 0 | -160 | -5.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -3 | 0 | -8.5 | 0 | -10 | 0 | 0 | 0 | 0 | -2
Average | -1.4813 | -1.5625 | -0.2375 | -0.46354 | 3.0696 | -182.2198 | 0.17458 | 5.0792 | -48.1249 | -1.0104 | -0.57708 | -0.89479 | 0.20063 | -1.8125 | 3.0109 | 0.25656 | 0.26 | -0.8125 | 5.479 | 2.5729 | 0.99458 | 2.6581 | -1.1667 | 0.28 | -2.5646 | -1.625 | -13.9583 | 3.2531 | 8.3584 | 1.8893 | 171.464 | -0.33333