## POWER STATUS
POWER STATUS ON DT 26.06.2026
[9 empty] | 2026-06-26 | 2026-06-25
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 5666.1816 | 6957.1167
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 0.625 | 0.015 | 630/590 ft | 601.27 | 600.95 | 600.93 | 0 | 0
| Chiplima | 72(3x24) | 13 | 0.312 | - |  |  |  | 10.0342 | 10.0228
| Balimela | 510(6x60+2x75) | 238.625 | 5.727 | 1516/1440 ft | 1455.1 | 1461.1 | 1460.4 | 368.4205 | 368.1893
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 116.05 | 109.81 | 109.81 | 0 | 0
| Upper Kolab | 320(4x80) | 35.42 | 0.85008 | 858/844 mt | 847.34 | 847.09 | 847.06 | 0 | 148.7704
| Upper Indravati | 600(4x150) | 255.39 | 6.1294 | 642/625 mt | 628.25 | 628.8 | 628.73 | 194.95 | 582.151
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2725.55 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 543.06 | 13.0334 |  |  |  |  | 573.4047 | 1109.1335
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1634.6172 | 39.2308 | RENEWABLE ENERGY (RE) |  |  |  | 1682.1602 | 1693.4765
[5 empty] | M.Hydl | 19.76
| Total Thermal | 2200 | 1634.6172 | 39.2308 | Solar | 132.41 |  |  | 1682.1602 | 1693.4765
IPP | VEDANTA #2 | 600 (1x600) | 326.0547 | 7.8253 | Total IPPs | Yesterday's Demand Profile |  |  | 389.3746 | 506.9723
| GMR #3 | 350 (1x350) | 301.8669 | 7.2448 | 725.6883 |  | MW | HRS | 323.1909 | 326.3976
| NBVL(IPP) | 60(1x60) | 52.4134 | 1.2579 |  |  |  |  | 54.7414 | 54.6579
| MDTPC |  | 45.3533 | 1.0885 |  |  |  |  | 53.8882 | 56.7378
| CGPs |  | 802.0019 | 19.248 | IPPs, CGPs & RE | Maximum | 6957 | 23:00 | 1619.0292 | 1987.2455
| Central Sector(Drawl) |  | 2156.3837 | 51.7532 | 1679.8602 | Minimum | 5098 | 08:00 | 1791.5875 | 2167.2613
| Central Sector(Sch) |  | 2240.5072 | 53.7722 |  | Average | 6013.9211 |  | 1893.8405 | 1704.95
| Grand Total |  | 6013.9211 | 144.3341 | Instantaneous Peak demand |  | 7156.52 | 22:49 | 5666.1816 | 6957.1167
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1790.9258 | 42.9822 | 1864.1883 | 44.7405 | 1842.9156 | 44.23
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1860.6196 | 44.6549 | 1920.2633 | 46.0863 | 1715.0238 | 41.1606
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1390.8734 | 33.381 | 1414.6112 | 33.9507 | 1390.884 | 33.3812
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 638.573 | 15.3258 | 647 | 15.528 | 618.2672 | 14.8384
Indravati | 3 | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5680.9918 | 136.3438 | 5846.0628 | 140.3055 | 5567.0906 | 133.6102
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 387.1477 | GMR |  |  |  | 321.986
| NBVL #3 | 48.2585 | MDTPC |  |  |  | 39.8437
Mini Hydel: | MEENAKSHI | 7.4743 | OPCL |  |  |  | 0
| BTPL | 3.98 | SAPTADHARA |  |  |  | 0
Solar: |  | 235.2296 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 29.0365 | JSL(Duburi) |  |  |  | -58.2456
| ICCL | 6.067 | visa |  |  |  | 8.6783
| NALCO | -143.2861 | VAL (CGP) |  |  |  | -17.0346
| RSP | -66.3864 | BSL(MMDL) |  |  |  | 78.9409
| INDAL | 5.1615 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -55.5427 | VAL CPP 400 kV |  |  |  | -368.0423
| NBVL | 48.2151 | Arati |  |  |  | 22.746
| BPSL(JSG) | -37.0138 | BPPL |  |  |  | 91.9232
Banking Avg -: (MW) |  | 192.68
HYDRO AVERAGE GENERATION IN MW:-
2026-06-18 | 2026-06-19 | 2026-06-20 | 2026-06-21 | 2026-06-22 | 2026-06-23 | 2026-06-24 | 2026-06-25
662.5902 | 502.622 | 627.168 | 503.3932 | 365.2517 | 341.5829 | 516.52 | 543.06
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.25.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 124.2
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 61.56
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 74.19
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.89
JPIPL | NPCL_UP | 0 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 12.17
MAADURGA_THERMAL | NPCL_UP | -16.91 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 18.25
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.31
OCL_IRON_STEEL | BRPL | -34 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.7 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 27.82
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | DCBL_Rajgangpur | DALCEMAP | -2.12 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 9.09
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCBLME | -3.96 | DADRI_SOLAR | ODISHA | 0.76
FARIDABAD_SOLAR | ODISHA | 0.94 | DCBL_Rajgangpur | DCL_RCW | -1.88 | ENERSON_SOLAR_10MW | ODISHA | 1.37
JSWEL_UTKAL | ODISHA | 33.05 | ENVIROCARE_INFRA | BRPL | -6 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 192.68 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_S | VLSEZ | 22.14
MPPMCL | ODISHA | 0 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_W | VLSEZ | 2.01
Manipur_Ben | ODISHA | 32.87 | FACORPOWER | PSPCL | 0 | GADAG_Serentica3_W | VLSEZ | 100.3
RAJ_SOLAR | ODISHA | 2.35 | FACORPOWER | PSPCL | -6.67 | GIWEL_SECI_II_RE | ODISHA | 61.61
RAJ_SOLAR | ODISHA | 2.54 | FACORPOWER | PSPCL | -5.83 | GPCL_SOLAR_10 | ODISHA | 1.05
|  |  | FACORPOWER | PSPCL | -5.25 | GSECL_SOLAR | ODISHA | 0.99
|  |  | FACORPOWER | PSPCL | -12.75 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.81
|  |  | GMRKEL_STU | PSPCL | -61.9 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | NBVLIPP | BRPL | -31.88 | KARUR_TPVARDHAMAN_W | TSKPO | 43.45
|  |  | NBVLIPP | BRPL | -13.12 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.63
|  |  | NBVL_OTCL | PSPCL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.04
|  |  | NBVL_OTCL | PSPCL | -7.58 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NBVL_OTCL | PSPCL | -18.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.99
|  |  | OCL_IRON_STEEL | TPDDL | -7.29 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 1.55
|  |  | ODISHA | CSEB_Beneficiary | -87.5 | OKWPL_RE | ODISHA | 29.65
|  |  | ODISHA | TANGEDCO | -37.76 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 9.43
|  |  | ORSISL | PSPCL | -3.54 | RWE_AP2_SECI_III | ODISHA | 27.17
|  |  | ORSISL | PSPCL | -1.46 | RenewGreen_SLPR_HS | JSL_DUBURI | 0
|  |  | RSPL_JHARSUGUDA | HARYANA | -0.42 | SRI9PL_FTG3 | VLSEZ | 37.83
|  |  | RSPL_JHARSUGUDA | TANGEDCO | -3.12 | TPSL_BKN2 | TSKPO | 0
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | TPSL_BKN2 | TSKPO | 0
|  |  | SGML | UPPCL | -4.17 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
|  |  | TIMES_STEEL | PONDY | -6 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
|  |  | TSBSLA | CSEB_Beneficiary | -10.42 | Tuticorin_BETAMWIND | ODISHA | 69.38
|  |  | TSBSLA | HARYANA | -1.61 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.31
|  |  | TSBSLA | TANGEDCO | -12.5 | XXPPL_FTG3 | ODISHA | 37.39
|  |  | VIRAJ_SEPL | WBSEDCL | -10
|  |  | VSL | UPPCL | -4.17
|  |  | ACBIL | KCMW_od | 1.6
|  |  | Darlipali_NTPC | ODISHA | 32.7
|  |  | JIPL | ODISHA | 115.61
|  |  | NALCOAP | NACL_Odisha | 19.74

## DAM
DAM TRADING DETAILS FOR DT :25.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -3.3 | 2.77 | 0 | -300 | -9 | 0 | -38.8 | 0
00:15 - 00:30 | -3.3 | 2.91 | 0 | -300 | -9 | 0 | -38.8 | 0
00:30 - 00:45 | -3.3 | 4.23 | 0 | -300 | -9 | 0 | -38.8 | 0
00:45 - 01:00 | -3.3 | 5.72 | 0 | -300 | -9 | 0 | -38.8 | 0
01:00 - 01:15 | -3.3 | 4.63 | 0 | -299.99 | -9 | 0 | -38.8 | 0
01:15 - 01:30 | -3.3 | 5.29 | 0 | -300 | -9 | 0 | -38.8 | 0
01:30 - 01:45 | -3.3 | 6.86 | 0 | -300 | -9 | 0 | -38.8 | 0
01:45 - 02:00 | -3.3 | 9.38 | 0 | -300 | -9 | 0 | -38.8 | 0
02:00 - 02:15 | -3.3 | -25 | 0 | -300 | -9 | 0 | -38.8 | 0
02:15 - 02:30 | -3.3 | -25 | 0 | -300 | -9 | 0 | -38.8 | 0
02:30 - 02:45 | -3.3 | -25 | 0 | -300 | -9 | 0 | -38.8 | 0
02:45 - 03:00 | -3.3 | -25 | 0 | -212.93 | -9 | 0 | -38.8 | 0
03:00 - 03:15 | -8.3 | -125 | 0 | -300 | -8 | 0 | -38.8 | 0
03:15 - 03:30 | -8.3 | -125 | 0 | -300 | -8 | 0 | -38.8 | 0
03:30 - 03:45 | -8.3 | -125 | 0 | -300 | -8 | 0 | -38.8 | 0
03:45 - 04:00 | -8.3 | -125 | 0 | -295.4 | -8 | 0 | -38.8 | 0
04:00 - 04:15 | -8.3 | -25 | 0 | -300 | -8 | 0 | -38.8 | 0
04:15 - 04:30 | -8.3 | -25 | 0 | -300 | -8 | 0 | -38.8 | 0
04:30 - 04:45 | -8.3 | -25 | 0 | -300 | -8 | 0 | -38.8 | 0
04:45 - 05:00 | -8.3 | -25 | 0 | -207.69 | -8 | 0 | -38.8 | 0
05:00 - 05:15 | -8.3 | -25 | 0 | -200 | -8 | 0 | 0 | 0
05:15 - 05:30 | -8.3 | -25 | 0 | -200 | -8 | 0 | 0 | 0
05:30 - 05:45 | -8.3 | -25 | 0 | -226.44 | -8 | 0 | -38.8 | 0
05:45 - 06:00 | -8.3 | -25 | 0 | -299.1 | -8 | 0 | -38.8 | 0
06:00 - 06:15 | -8.3 | -125 | 0 | -200 | -8 | 0 | 0 | 0
06:15 - 06:30 | -8.3 | -125 | 0 | -300 | -8 | 0 | 0 | 0
06:30 - 06:45 | -8.3 | -125 | 0 | -300 | -8 | 0 | 0 | 0
06:45 - 07:00 | -8.3 | -125 | 0 | -200 | -8 | 0 | 0 | 0
07:00 - 07:15 | -8.3 | -750 | 0 | -200 | -8 | 0 | 0 | 0
07:15 - 07:30 | -8.3 | -749.75 | 0 | -99.88 | -8 | 0 | 0 | 0
07:30 - 07:45 | -8.3 | -629.53 | 0 | 0 | -8 | 11.56 | 0 | 0
07:45 - 08:00 | -8.3 | -450 | 0 | 0 | -8 | 11.56 | 0 | 0
08:00 - 08:15 | -8.3 | -600 | 0 | 0 | -4 | 11.56 | 0 | 0
08:15 - 08:30 | -8.3 | -600 | 0 | 0 | -4 | 11.56 | 0 | 0
08:30 - 08:45 | -8.3 | -468.94 | 28.9 | 0 | -4 | 11.56 | 0 | 0
08:45 - 09:00 | -8.3 | -273.1 | 28.9 | 0 | -4 | 11.56 | 0 | 0
09:00 - 09:15 | -8.3 | -187.9 | 28.9 | 0 | -4 | 11.56 | 0 | 0
09:15 - 09:30 | -8.3 | -111.82 | 28.9 | 0 | -4 | 11.56 | 0 | 0
09:30 - 09:45 | -8.3 | -156.64 | 28.9 | 0 | -4 | 11.56 | 0 | 0
09:45 - 10:00 | -8.3 | 18.47 | 28.9 | 0 | -4 | 11.56 | 0 | 0
10:00 - 10:15 | -8.3 | 18.71 | 28.9 | 0 | -4 | 11.56 | 0 | 0
10:15 - 10:30 | -8.3 | 100.68 | 28.9 | 0 | -4 | 11.56 | 0 | 0
10:30 - 10:45 | -8.3 | 70.76 | 28.9 | 0 | -4 | 11.56 | 0 | 0
10:45 - 11:00 | -8.3 | 19.4 | 28.91 | 0 | -4 | 11.56 | 0 | 0
11:00 - 11:15 | -8.3 | 19.42 | 28.9 | 0 | -4 | 11.56 | 0 | 0
11:15 - 11:30 | -8.3 | 18.77 | 28.9 | 0 | -4 | 11.56 | 0 | 0
11:30 - 11:45 | -8.3 | 18.76 | 28.9 | 0 | -4 | 11.56 | 0 | 0
11:45 - 12:00 | -8.3 | 18.76 | 28.9 | 0 | -4 | 11.56 | 0 | 0
12:00 - 12:15 | -8.3 | 18.75 | 28.9 | 0 | -4 | 11.56 | 0 | 0
12:15 - 12:30 | -8.3 | 19.39 | 28.91 | 0 | -4 | 11.56 | 0 | 0
12:30 - 12:45 | -8.3 | 6.9 | 28.9 | 0 | -4 | 11.56 | 0 | 0
12:45 - 13:00 | -8.3 | 6.9 | 28.9 | 0 | -4 | 11.56 | 0 | 0
13:00 - 13:15 | -8.3 | 6.9 | 28.9 | 0 | -4 | 11.56 | 0 | 0
13:15 - 13:30 | -8.3 | 6.9 | 28.9 | 0 | -4 | 11.56 | 0 | 0
13:30 - 13:45 | -8.3 | 12.48 | 28.9 | 0 | -4 | 11.56 | 0 | 0
13:45 - 14:00 | -8.3 | 21.79 | 28.9 | 0 | -4 | 11.56 | 0 | 0
14:00 - 14:15 | -8.3 | 0 | 28.9 | 0 | -4 | 11.56 | 0 | 0
14:15 - 14:30 | -8.3 | 0 | 28.9 | 0 | -4 | 11.56 | 0 | 0
14:30 - 14:45 | -8.3 | -206.06 | 28.9 | 0 | -4 | 11.56 | 0 | 0
14:45 - 15:00 | -8.3 | -233.67 | 21.26 | 0 | -4 | 11.56 | 0 | 0
15:00 - 15:15 | -8.3 | 0 | 0 | 0 | -4 | 11.56 | 0 | 0
15:15 - 15:30 | -8.3 | 0 | 0 | 0 | -4 | 11.56 | 0 | 0
15:30 - 15:45 | -8.3 | 0 | 0 | 0 | -4 | 11.56 | 0 | 0
15:45 - 16:00 | -8.3 | 0 | 0 | 0 | -4 | 11.56 | 0 | 0
16:00 - 16:15 | -8.3 | -250 | 0 | 0 | -4 | 11.56 | 0 | 0
16:15 - 16:30 | -8.3 | -250 | 0 | 0 | -4 | 11.56 | 0 | 0
16:30 - 16:45 | -8.3 | -250 | 0 | 0 | -4 | 11.56 | 0 | 0
16:45 - 17:00 | -8.3 | -250 | 0 | 0 | -4 | 11.56 | 0 | 0
17:00 - 17:15 | -8.3 | -50 | 0 | 0 | -4 | 11.56 | 0 | 0
17:15 - 17:30 | -8.3 | -50 | 0 | 0 | -4 | 11.56 | 0 | 0
17:30 - 17:45 | -8.3 | -50 | 0 | 0 | -4 | 0 | 0 | 0
17:45 - 18:00 | -8.3 | -50 | 0 | 0 | -4 | 0 | 0 | 0
18:00 - 18:15 | -3.3 | -50 | 0 | 0 | -6 | 11.56 | 0 | 128.13
18:15 - 18:30 | -3.3 | -50 | 0 | 0 | -6 | 11.56 | 0 | 0
18:30 - 18:45 | -3.3 | -50 | 0 | -200 | -6 | 0 | 0 | 0
18:45 - 19:00 | -3.3 | -50 | 0 | -200 | -6 | 0 | 0 | 0
19:00 - 19:15 | -3.3 | 19.27 | 0 | -200 | -9 | 0 | 0 | 0
19:15 - 19:30 | -3.3 | 19.27 | 0 | -200 | -9 | 0 | -38.8 | 0
19:30 - 19:45 | -3.3 | 19.27 | 0 | -450 | -9 | 0 | -38.8 | 0
19:45 - 20:00 | -3.3 | 13.07 | 0 | -450 | -9 | 0 | -38.8 | 0
20:00 - 20:15 | -3.3 | 8.19 | 0 | -450 | -9 | 0 | -38.8 | 0
20:15 - 20:30 | -3.3 | 5.92 | 0 | -450 | -9 | 0 | -38.8 | 0
20:30 - 20:45 | -3.3 | 5.45 | 0 | -450 | -9 | 0 | -38.8 | 0
20:45 - 21:00 | -3.3 | 3.88 | 0 | -450 | -9 | 0 | -38.8 | 0
21:00 - 21:15 | -3.3 | 3.03 | 0 | -450 | -9 | 0 | -38.8 | 0
21:15 - 21:30 | -3.3 | 2.38 | 0 | -450 | -9 | 0 | -38.8 | 0
21:30 - 21:45 | -3.3 | 1.48 | 0 | -450 | -9 | 0 | -38.8 | 0
21:45 - 22:00 | -3.3 | 1.2 | 0 | -450 | -9 | 0 | -38.8 | 0
22:00 - 22:15 | -3.3 | 0.85 | 0 | -450 | -9 | 0 | -38.8 | 0
22:15 - 22:30 | -3.3 | 0.34 | 0 | -450 | -9 | 0 | -38.8 | 0
22:30 - 22:45 | -3.3 | 0.18 | 0 | -450 | -9 | 0 | -38.8 | 0
22:45 - 23:00 | -3.3 | 0 | 0 | -450 | -9 | 0 | -38.8 | 0
23:00 - 23:15 | -3.3 | 0.08 | 0 | -450 | -9 | 0 | -38.8 | 0
23:15 - 23:30 | -3.3 | 0.12 | 0 | -450 | -9 | 0 | -38.8 | 0
23:30 - 23:45 | -3.3 | 0.52 | 0 | -450 | -9 | 0 | -38.8 | 0
23:45 - 24:00 | -3.3 | 0.64 | 0 | -450 | -9 | 0 | -38.8 | 0
Average | -6.425 | -78.8202 | 7.7477 | -176.4732 | -6.5833 | 5.0575 | -16.5708 | 1.3347

## GDAM
GDAM TRADING DETAILS FOR DT:25.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Sunglaze_Power_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0 | 82.08
07:30 - 07:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 93.45
07:45 - 08:00 | 0 | 0 | 0 | 14.45 | 28.9 | 9.63 | 0 | 5.78 | 0 | 60.7
08:00 - 08:15 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0 | 5.78 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 19.27 | 28.91 | 9.63 | 9.63 | 5.78 | -0.7 | 0
08:30 - 08:45 | -0.3 | 0 | 0 | 19.27 | 28.91 | 9.63 | 9.63 | 5.78 | -1.7 | 0
08:45 - 09:00 | -0.2 | 0 | 204.64 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
09:00 - 09:15 | -0.6 | 0 | 204.76 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
09:15 - 09:30 | -0.7 | 0 | 203.59 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
09:30 - 09:45 | -0.5 | 0 | 204.63 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
09:45 - 10:00 | -0.7 | 0 | 204.62 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
10:00 - 10:15 | -1.2 | 0 | 204.69 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
10:15 - 10:30 | -5.7 | 0 | 116.92 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | -1.93 | 0
10:30 - 10:45 | -7.9 | -1.6 | 146.89 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | -1.19 | 0
10:45 - 11:00 | -5.6 | -3.8 | 203.48 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
11:00 - 11:15 | -5.2 | -5 | 203.48 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
11:15 - 11:30 | -8 | -5.7 | 204.71 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
11:30 - 11:45 | -3.8 | -5.9 | 204.71 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
11:45 - 12:00 | -1.9 | -5.9 | 204.71 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
12:00 - 12:15 | -1.1 | -5.5 | 204.72 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
12:15 - 12:30 | -0.9 | -2.4 | 203.47 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
12:30 - 12:45 | -1.1 | -1.6 | 227.51 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
12:45 - 13:00 | -1 | 0 | 227.51 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
13:00 - 13:15 | -0.5 | 0 | 227.51 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
13:15 - 13:30 | -0.4 | -0.3 | 227.51 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
13:30 - 13:45 | -0.4 | -0.3 | 216.69 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
13:45 - 14:00 | 0 | 0 | 198.68 | 19.27 | 28.9 | 9.63 | 9.63 | 5.78 | 0 | 0
14:00 - 14:15 | 0 | -0.7 | 0 | 19.27 | 28.91 | 9.63 | 9.63 | 5.78 | -2.9 | 0
14:15 - 14:30 | 0 | -1.7 | 0 | 19.27 | 28.91 | 9.63 | 9.63 | 5.78 | -3.4 | 0
14:30 - 14:45 | 0 | 0 | 0 | 19.27 | 28.91 | 9.63 | 9.63 | 5.78 | -1.8 | 0
14:45 - 15:00 | 0 | 0 | 0 | 19.27 | 28.91 | 9.63 | 9.63 | 5.78 | -1 | 0
15:00 - 15:15 | 0 | 0 | 0 | 19.26 | 0 | 0 | 5.65 | 5.78 | -0.4 | 0
15:15 - 15:30 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0 | 5.78 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0 | 5.78 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0 | 5.78 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.45 | 28.91 | 9.63 | 0 | 5.78 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.45 | 28.91 | 9.63 | 0 | 5.78 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.45 | 28.91 | 9.63 | 0 | 5.78 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.45 | 28.91 | 9.63 | 0 | 5.78 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 14.45 | 28.91 | 9.63 | 0 | 5.78 | 0 | 25.05
17:15 - 17:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 54.92
17:30 - 17:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 74.18
17:45 - 18:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 0 | 97.3
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.49687 | -0.42083 | 44.2232 | 8.2295 | 9.9355 | 3.3103 | 2.7673 | 2.5288 | -0.15646 | 5.08

## RTM
RTM TRADING DETAILS FOR DT: 25.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | KJS_Ahluwalia_(Steel_&_Power_Division) | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -0.2 | 0 | 0 | -1.6 | 0 | 289.75 | 0 | 0 | -30 | -5.5 | 0 | 0 | -2.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0 | 0 | 0 | 0 | 0 | -2
00:15 - 00:30 | -0.2 | 0 | 0 | -1.6 | 0 | 320.65 | 0 | 0 | -30 | -5.5 | 0 | 0 | -2.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | -10 | 0 | 0 | 0 | 19.24 | -2
00:30 - 00:45 | -0.2 | 0 | 0 | -1.6 | 0 | 303.33 | 0 | 0 | -30 | -5.5 | 0 | 0 | -2.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0 | 0 | 0 | 0 | 30.34 | -2
00:45 - 01:00 | -0.2 | 0 | 0 | -1.6 | 0 | 397.89 | 0 | 0 | -30 | -5.5 | 0 | 0 | -2.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0 | 0 | 0 | 0 | 28.9 | -2
01:00 - 01:15 | -1.2 | 0 | 0 | -1.5 | 0 | 289.02 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | -40 | 0 | 0 | 0 | 0 | -2
01:15 - 01:30 | -1.2 | 0 | 0 | -1.5 | 0 | 289.02 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | -10 | 0 | 0 | 0 | 0 | -2
01:30 - 01:45 | -1.2 | 0 | 0 | -1.6 | 0 | 421.18 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0 | 0 | 0 | 0 | 0 | -2
01:45 - 02:00 | -1.2 | 0 | 0 | -1.6 | 0 | 326.92 | 0 | 10.6 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | -10 | 0 | 28.9 | 0 | 0 | -2
02:00 - 02:15 | -1.2 | 0 | 0 | -1.6 | 0 | 371.49 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -1.2 | 0 | 0 | -1.6 | 0 | 364.44 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.2 | 0 | 0 | -1.6 | 0 | 329.72 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -30 | 0 | 0 | 0 | 134.88 | 0
02:45 - 03:00 | -1.2 | 0 | 0 | -1.6 | 0 | 328.76 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -50 | 0 | 0 | 0 | 134.88 | 0
03:00 - 03:15 | -1.2 | 0 | 0 | -1.5 | 0 | 319.13 | 0 | 0 | -160 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 134.88 | 0
03:15 - 03:30 | -1.2 | 0 | 0 | -1.5 | 0 | 322.85 | 0 | 0 | -160 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -60 | 0 | 0 | 0 | 134.88 | 0
03:30 - 03:45 | -1.2 | 0 | 0 | -1.6 | 0 | 325.16 | 0 | 0 | -44.07 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -60 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -1.2 | 0 | 0 | -1.6 | 0 | 332.36 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -60 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -1.2 | 0 | 0 | -1.6 | 0 | 313.06 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -1.2 | 0 | 0 | -1.6 | 0 | 233.21 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -1.2 | 0 | 0 | -1.6 | 0 | 316.81 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.2 | 0 | 0 | -1.6 | 0 | 316.82 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.2 | 0 | 0 | -1.6 | 0 | 144.53 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.71 | 0
05:15 - 05:30 | -1.2 | 0 | 0 | -1.6 | 0 | 144.53 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 11.56 | 0
05:30 - 05:45 | -1.2 | 0 | -0.4 | -1.6 | 0 | 144.52 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.56 | 0
05:45 - 06:00 | -1.2 | 0 | -0.4 | -1.6 | 0 | 72.27 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 14.45 | 0
06:00 - 06:15 | -1.2 | 0 | -0.4 | -1.5 | 0 | 264.91 | 0 | 0 | -100 | 0 | -0.1 | 0 | -1 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 17.34 | 0
06:15 - 06:30 | -1.2 | -10 | -0.4 | -1.5 | 0 | 264.93 | 0 | 0 | -100 | 0 | -0.3 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 8.67 | 0
06:30 - 06:45 | -1.2 | 0 | 0 | -1.5 | 0 | 283.02 | 0 | 0 | 0 | 0 | -0.5 | 0 | -1 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -1.2 | 0 | 0 | -1.5 | 0 | 300.81 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -1.2 | 0 | 0 | -1.5 | 0 | 323.3 | 0 | 10.6 | 0 | 0 | -1 | 0 | -1 | 19.27 | -1.4 | 0 | 26.98 | 0 | 0 | 19.27 | 0 | 0 | 0 | -40 | 6.94 | 33.72 | 0 | 0 | 0
07:15 - 07:30 | -1.2 | 0 | 0 | -1.5 | 0 | 253.34 | 0 | 10.6 | 0 | 0 | -1 | 0 | -1 | 19.27 | -1.6 | 0 | 26.98 | 0 | 0 | 19.27 | 0 | 0 | 0 | 0 | 6.94 | 33.72 | 0 | 0 | 0
07:30 - 07:45 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 10.6 | 0 | 0 | -1.3 | 9.63 | -1 | 19.27 | -1.9 | 0 | 26.98 | 0 | 2.89 | 19.27 | 0 | 0 | 0 | 0 | 6.94 | 33.71 | 0 | 0 | 0
07:45 - 08:00 | -1.2 | 0 | 0 | 0 | 0 | 0 | 14.55 | 10.6 | 0 | 0 | -1.6 | 9.63 | -1 | 19.27 | -2.2 | 0 | 15.41 | 0 | 2.89 | 19.27 | 0 | 0 | 0 | 0 | 6.94 | 33.71 | 0 | 0 | 0
08:00 - 08:15 | -1.5 | -10 | 0 | 0 | 0 | 184.45 | 9.43 | 10.6 | 0 | 0 | -1.9 | 9.63 | -1 | 0 | -2.5 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0 | 0 | -60 | 6.94 | 38.54 | 10.6 | 0 | 0
08:15 - 08:30 | -1.5 | 0 | 0 | 0 | 0 | 19.29 | 0 | 10.6 | 0 | 0 | -2 | 0 | -1 | 0 | -2.8 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0 | 0 | -60 | 6.94 | 38.52 | 10.6 | 0 | 0
08:30 - 08:45 | -1.5 | 0 | 0 | 0 | 0 | -279.94 | 0 | 10.6 | 0 | 0 | -2.4 | 0 | -1 | 0 | -3 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | -2 | 0.96 | -4 | -60 | 6.94 | 43.35 | 10.6 | 0 | 0
08:45 - 09:00 | -1.5 | 0 | 0 | 0 | 0 | -159.81 | 12.14 | 10.6 | 0 | 0 | -2.6 | 0 | -1 | 0 | 0 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0.96 | -4 | -60 | 6.94 | 38.53 | 10.6 | 0 | 0
09:00 - 09:15 | -1.5 | 0 | 0 | 0 | 10.6 | -179.78 | 9.44 | 10.6 | 0 | 0 | -2.8 | 0 | -1 | 0 | 0 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0.96 | 0 | 0 | 6.94 | 48.16 | 10.6 | 0 | 0
09:15 - 09:30 | -1.5 | 0 | 0 | 0 | 10.6 | -239.63 | 10.02 | 10.6 | 0 | 0 | -3 | 0 | -1 | 0 | 0 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0.96 | 0 | 0 | 6.94 | 48.16 | 10.6 | 0 | 0
09:30 - 09:45 | -1.5 | -10 | 0 | 0 | 10.6 | -29.98 | 8.77 | 10.6 | 0 | 0 | -3.2 | 0 | -1 | 0 | 4.34 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0.96 | 0 | -60 | 6.94 | 48.17 | 10.6 | 51.04 | 0
09:45 - 10:00 | -1.5 | 0 | 0 | 0 | 10.6 | 0 | 9.44 | 10.6 | 0 | 0 | -3.3 | 0 | -1 | 0 | 4.05 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0.96 | 0 | -60 | 6.94 | 48.17 | 10.6 | 102.11 | 0
10:00 - 10:15 | -1.5 | 0 | 0 | 0 | 10.6 | 173.41 | 7.03 | 10.6 | 0 | 0 | -3.4 | 0 | -1 | 0 | 3.95 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0.96 | 0 | -70 | 0 | 52.99 | 10.6 | 103.08 | 0
10:15 - 10:30 | -1.5 | 0 | 0 | 0 | 10.6 | 125.24 | 7.03 | 10.6 | 0 | 0 | -3.5 | 0 | -1 | 0 | 3.85 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0.96 | 0 | -70 | 0 | 52.99 | 10.6 | 103.08 | 0
10:30 - 10:45 | -1.5 | 0 | 0 | 0 | 10.6 | 149.35 | 6.94 | 10.6 | 0 | 0 | -3.5 | 0 | -1 | 0 | 3.76 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0.96 | 0 | -70 | 0 | 57.8 | 10.6 | 192.67 | 0
10:45 - 11:00 | -1.5 | 0 | 0 | 0 | 10.6 | 149.34 | 5.49 | 10.6 | 0 | 0 | -3.5 | 0 | -1 | 0 | 3.76 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | 0 | 0.96 | 0 | -20 | 0 | 57.8 | 10.6 | 289.01 | 0
11:00 - 11:15 | -1.5 | 0 | 0 | 0 | 10.6 | 254.15 | 0 | 10.6 | 0 | 0 | -3.6 | 0 | -1 | 0 | 3.76 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -10 | 0 | 57.8 | 10.6 | 289.01 | 0
11:15 - 11:30 | -1.5 | -10 | 0 | 0 | 10.6 | 433.59 | 0 | 10.6 | 0 | 0 | -3.6 | 0 | -1 | 0 | 3.76 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -70 | 0 | 57.8 | 10.6 | 289.02 | 0
11:30 - 11:45 | -1.5 | 0 | 0 | 0 | 10.6 | 230.66 | 0 | 10.6 | 0 | 0 | -3.2 | 0 | -1 | 0 | 3.76 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -75 | 0 | 57.8 | 10.6 | 289.01 | 0
11:45 - 12:00 | -1.5 | 0 | 0 | 0 | 10.6 | 86.14 | 0 | 10.6 | 0 | 0 | -2.9 | 0 | -1 | 0 | 3.85 | 0 | 15.41 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -75 | 0 | 57.8 | 10.6 | 240.84 | 0
12:00 - 12:15 | -1.5 | 0 | 0 | 0 | 10.6 | -144.66 | 0 | 10.6 | 0 | 0 | -3 | 0 | -1 | 0 | 3.85 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -75 | 0 | 52.99 | 10.6 | 144.5 | 0
12:15 - 12:30 | -1.5 | 0 | 0 | 0 | 10.6 | -185.67 | 0 | 10.6 | 0 | 0 | -3.1 | 0 | -1 | 0 | 3.37 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -75 | 0 | 52.97 | 10.6 | 48.17 | 0
12:30 - 12:45 | -1.5 | 0 | 0 | 0 | 10.6 | -79.95 | 0 | 10.6 | 0 | 0 | -1.6 | 0 | -1 | 0 | 3.66 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | 0 | 1.93 | 0 | 0 | 0 | 52.97 | 10.6 | 0 | 0
12:45 - 13:00 | -1.5 | -10 | 0 | 0 | 10.6 | -95.01 | 0 | 10.6 | 0 | 0 | -1.5 | 0 | -1 | 0 | 3.95 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | 0 | 1.93 | 0 | 0 | 0 | 48.16 | 10.6 | 0 | 0
13:00 - 13:15 | -1.5 | 0 | -0.4 | 0 | 10.6 | -29.95 | 0 | 10.6 | 0 | 0 | -1.5 | 0 | -1 | 0 | 4.05 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | 0 | 1.93 | 0 | -75 | 6.94 | 38.51 | 10.6 | 0 | 0
13:15 - 13:30 | -1.5 | 0 | -0.4 | 0 | 10.6 | -45.04 | 0 | 10.6 | 0 | 0 | -1.5 | 0 | -1 | 0 | 4.43 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | 0 | 1.93 | 0 | -75 | 6.94 | 38.52 | 10.6 | 0 | 0
13:30 - 13:45 | -1.5 | 0 | -0.4 | 0 | 10.6 | 71.23 | 0 | 10.6 | 0 | 0 | -0.8 | 0 | -1 | 0 | 4.53 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | 0 | 1.93 | 0 | -80 | 6.94 | 38.54 | 10.6 | 0 | 0
13:45 - 14:00 | -1.5 | 0 | -0.4 | -1.5 | 10.6 | 158.65 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | -1 | 0 | 4.53 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | 0 | 1.93 | 0 | -80 | 6.94 | 38.54 | 10.6 | 0 | 0
14:00 - 14:15 | -1 | 0 | -0.4 | -1.5 | 10.6 | 0 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | -1 | 0 | 4.53 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -75 | 6.94 | 38.52 | 10.6 | 0 | 0
14:15 - 14:30 | -1 | 0 | -0.4 | -1.5 | 10.6 | 68.33 | 0 | 10.6 | 0 | 0 | -0.3 | 0 | -1 | 0 | 0 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -75 | 6.94 | 38.54 | 10.6 | 0 | 0
14:30 - 14:45 | -1 | -5 | -0.4 | -1.3 | 10.6 | 0 | 0 | 10.6 | 0 | 0 | -0.3 | 0 | -1 | 0 | -0.7 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -75 | 6.94 | 33.7 | 10.6 | 0 | 0
14:45 - 15:00 | -1 | -5 | -0.4 | -1.3 | 10.6 | 0 | 0 | 10.6 | 0 | 0 | -0.3 | 0 | -1 | 0 | -2.8 | 0 | 9.63 | 7.71 | 2.89 | 19.27 | -2 | 1.93 | 0 | -75 | 6.94 | 33.7 | 10.6 | 0 | 0
15:00 - 15:15 | -1 | 0 | -0.4 | -1.3 | 10.6 | 232.35 | 0 | 10.6 | 0 | 0 | -0.3 | 0 | -1 | 0 | -2.6 | 0 | 17.34 | 7.71 | 2.89 | 10.6 | -2 | 0 | 0 | -75 | 6.94 | 24.09 | 10.6 | 0 | 0
15:15 - 15:30 | -1 | 0 | -0.4 | -1.3 | 10.6 | 235.06 | 0 | 10.6 | 0 | 0 | -0.3 | 0 | -1 | 0 | -2.4 | 0 | 17.34 | 7.71 | 2.89 | 10.6 | -2 | 0 | 0 | -75 | 6.94 | 24.09 | 10.6 | 0 | 0
15:30 - 15:45 | -1 | -14 | -0.4 | 0 | 10.6 | 87.2 | 0 | 10.6 | 0 | 0 | -0.1 | 0 | -1 | 0 | -2.2 | 0 | 17.34 | 7.71 | 2.89 | 10.6 | -2 | 0 | 0 | -70 | 6.94 | 24.09 | 10.6 | 0 | 0
15:45 - 16:00 | -1 | -14 | -0.4 | 0 | 10.6 | 78.07 | 0 | 10.6 | 0 | 0 | -0.1 | 0 | -1 | 0 | -2 | 0 | 17.34 | 7.71 | 2.89 | 10.6 | -2 | 0 | 0 | -70 | 6.94 | 24.09 | 10.6 | 0 | 0
16:00 - 16:15 | -1 | -14 | -0.4 | -1.3 | 0 | 312.11 | 0 | 10.6 | 0 | 0 | -0.1 | 0 | -1 | 19.27 | -1.7 | 0 | 17.34 | 7.71 | 2.89 | 10.6 | -2 | 0 | 0 | -60 | 6.94 | 19.27 | 10.6 | 0 | 0
16:15 - 16:30 | -1 | -4 | -0.4 | -1.3 | 0 | 310.21 | 0 | 10.6 | 0 | 0 | -0.1 | 0 | -1 | 19.27 | -1.5 | 0 | 17.34 | 7.71 | 2.89 | 10.6 | -2 | 0 | 0 | -40 | 6.94 | 19.27 | 10.6 | 0 | 0
16:30 - 16:45 | -1 | 0 | -0.4 | -1.3 | 0 | 402.19 | 0 | 10.6 | 0 | 0 | -0.1 | 0 | -1 | 19.27 | -1.6 | 0 | 17.34 | 7.71 | 2.89 | 19.27 | 0 | 0 | 0 | -30 | 6.94 | 19.27 | 10.6 | 0 | 0
16:45 - 17:00 | -1 | 0 | -0.4 | -1.3 | 0 | 397.82 | 0 | 10.6 | 0 | 0 | -0.1 | 0 | -1 | 19.27 | -1.3 | 0 | 9.63 | 7.71 | 2.89 | 19.27 | 0 | 0 | 0 | -30 | 6.94 | 19.27 | 10.6 | 0 | 0
17:00 - 17:15 | -1 | -14 | -0.4 | 0 | 0 | 144.5 | 0 | 10.6 | 0 | 0 | 0 | 9.63 | -1 | 19.27 | -1.1 | 0 | 28.9 | 7.71 | 2.89 | 19.27 | 0 | 0 | 0 | -35 | 6.94 | 24.09 | 5.49 | 0 | 0
17:15 - 17:30 | -1 | -14 | -0.4 | 0 | 0 | 144.5 | 14.35 | 10.6 | 0 | 0 | 0 | 9.63 | -1 | 19.27 | -0.8 | 0 | 28.9 | 7.71 | 2.89 | 19.27 | 0 | 0 | 0 | -35 | 6.94 | 24.09 | 5.49 | 0 | 0
17:30 - 17:45 | -1 | 0 | 0 | -1.5 | 0 | -277.51 | 0 | 10.6 | 0 | 0 | 0 | 0 | -1 | 19.27 | -0.5 | 0 | 25.05 | 7.71 | 2.89 | 19.27 | 0 | 0 | 0 | -35 | 6.94 | 28.89 | 5.49 | 0 | 0
17:45 - 18:00 | -1 | 0 | 0 | -1.5 | 0 | -300 | 0 | 10.6 | -50 | 0 | 0 | 0 | -1 | 19.27 | -0.2 | 0 | 21.19 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 6.94 | 28.9 | 0 | 0 | 0
18:00 - 18:15 | -1 | 0 | 0 | -1.5 | 0 | -87.92 | 0 | 10.6 | -50 | 0 | 0 | 0 | -1 | 19.27 | 0 | 0 | 21.18 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 6.94 | 19.27 | 0 | 0 | 0
18:15 - 18:30 | -1 | 0 | 0 | -1.5 | 0 | -101.56 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 19.27 | 0 | 0 | 0
18:30 - 18:45 | -1 | -14 | 0 | -1.6 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1 | 0 | 0 | -1.6 | 0 | 61.07 | 0 | 0 | 0 | -4 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
19:15 - 19:30 | -1 | 0 | 0 | -1.6 | 0 | 51.61 | 0 | 0 | 0 | -4 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
19:30 - 19:45 | -0.5 | 0 | 0 | -1.6 | 0 | 160.17 | 0 | 0 | 0 | -4 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -2
19:45 - 20:00 | -0.5 | 0 | 0 | -1.6 | 0 | 149.06 | 0 | 0 | 0 | -4 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -2
20:00 - 20:15 | -0.5 | 0 | 0 | -1.6 | 0 | 317.91 | 0 | 0 | 0 | -4 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
20:15 - 20:30 | -0.5 | 0 | 0 | -1.6 | 0 | 282.73 | 0 | 0 | 0 | -4 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
20:30 - 20:45 | -1.2 | 0 | 0 | -1.6 | 0 | 414.71 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
20:45 - 21:00 | -1.2 | 0 | 0 | -1.6 | 0 | 384.99 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
21:00 - 21:15 | -1.2 | 0 | 0 | -1.6 | 0 | 102.34 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
21:15 - 21:30 | -1.2 | 0 | 0 | -1.6 | 0 | 138.49 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
21:30 - 21:45 | -1.2 | 0 | -0.4 | -1.5 | 0 | 117.88 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
21:45 - 22:00 | -1.2 | 0 | -0.4 | -1.5 | 0 | 106.26 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
22:00 - 22:15 | -1.2 | 0 | -0.4 | -1.4 | 0 | 66.4 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
22:15 - 22:30 | -1.2 | 0 | -0.4 | -1.4 | 0 | 54.91 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
22:30 - 22:45 | -1.2 | 0 | 0 | -1.5 | 0 | 76.25 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
22:45 - 23:00 | -1.2 | 0 | 0 | -1.5 | 0 | 73.73 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
23:00 - 23:15 | -1.2 | 0 | 0 | -1.5 | 0 | 96.67 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
23:15 - 23:30 | -1.2 | 0 | 0 | -1.5 | 0 | 96.58 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
23:30 - 23:45 | -1.2 | 0 | 0 | -1.5 | 0 | 107.27 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
23:45 - 24:00 | -1.2 | 0 | 0 | -1.5 | 0 | 131.84 | 0 | 0 | 0 | -4.5 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.8 | 0 | 0 | 0 | 0 | 0 | -2
Average | -1.1583 | -1.5417 | -0.10833 | -1.0615 | 3.0917 | 144.8961 | 1.1941 | 5.0792 | -18.0632 | -1.1354 | -0.74479 | 0.50156 | -1.375 | 2.6095 | 0.37437 | -0.375 | 8.3282 | 3.1322 | 1.2343 | 8.0895 | -0.35417 | 0.42167 | -2.9458 | -30.625 | 2.3856 | 18.6641 | 4.1466 | 29.4878 | -0.58333