## POWER STATUS
POWER STATUS ON DT 27.06.2026
[9 empty] | 2026-06-27 | 2026-06-26
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 5890.9285 | 6807.2298
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 13.333 | 0.31999 | 630/590 ft | 601 | 600.93 | 600.85 | 0 | 108.9236
| Chiplima | 72(3x24) | 3.875 | 0.093 | - |  |  |  | 0 | 0
| Balimela | 510(6x60+2x75) | 241.4166 | 5.794 | 1516/1440 ft | 1454.8 | 1460.4 | 1459.7 | 250.2219 | 366.0544
| Rengali | 250(5x50) | 6.658 | 0.15979 | 123.5/109.75 mt | 116.31 | 109.81 | 109.8 | 0 | 68.3144
| Upper Kolab | 320(4x80) | 30.13 | 0.72312 | 858/844 mt | 847.4 | 847.06 | 847.04 | 42.0689 | 152.7534
| Upper Indravati | 600(4x150) | 265.521 | 6.3725 | 642/625 mt | 628.38 | 628.73 | 628.62 | 298.1508 | 592.8951
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2725.55 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 560.9336 | 13.4624 |  |  |  |  | 590.4417 | 1288.9409
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1652.3024 | 39.6553 | RENEWABLE ENERGY (RE) |  |  |  | 1697.1842 | 1697.349
[5 empty] | M.Hydl | 16.7728
| Total Thermal | 2200 | 1652.3024 | 39.6553 | Solar | 92.2437 |  |  | 1697.1842 | 1697.349
IPP | VEDANTA #2 | 600 (1x600) | 417.7164 | 10.0252 | Total IPPs | Yesterday's Demand Profile |  |  | 391.6792 | 489.7844
| GMR #3 | 350 (1x350) | 322.8567 | 7.7486 | 842.4947 |  | MW | HRS | 330.1525 | 328.9967
| NBVL(IPP) | 60(1x60) | 52.7106 | 1.2651 |  |  |  |  | 54.9428 | 53.9521
| MDTPC |  | 49.211 | 1.1811 |  |  |  |  | 56.6051 | 55.8756
| CGPs |  | 694.091 | 16.6582 | IPPs, CGPs & RE | Maximum | 6807.2298 | 23:00 | 1547.5269 | 1777.1631
| Central Sector(Drawl) |  | 2179.1006 | 52.2984 | 1645.6022 | Minimum | 5464.957 | 07:00 | 2055.7758 | 2043.7768
| Central Sector(Sch) |  | 2202.1056 | 52.8505 |  | Average | 6037.9388 |  | 2015.78 | 1645.6899
| Grand Total |  | 6037.9388 | 144.9105 | Instantaneous Peak demand |  | 7043.34 | 23:28 | 5890.9285 | 6807.2298
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1923.0404 | 46.153 | 1921.0574 | 46.1054 | 1842.882 | 44.2292
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1884.1019 | 45.2184 | 1837.7635 | 44.1063 | 1773.3478 | 42.5603
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1431.8706 | 34.3649 | 1460.05 | 35.0412 | 1439.6378 | 34.5513
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 653.4912 | 15.6838 | 662.0228 | 15.8885 | 671.4953 | 16.1159
Indravati | 3 | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5892.504 | 141.4201 | 5880.8938 | 141.1415 | 5727.3629 | 137.4567
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 388.73 | GMR |  |  |  | 323.5654
| NBVL #3 | 54.6126 | MDTPC |  |  |  | 31.6754
Mini Hydel: | MEENAKSHI | 9.3828 | OPCL |  |  |  | 0
| BTPL | 0 | SAPTADHARA |  |  |  | 0
Solar: |  | 232.8464 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 134.2234 | JSL(Duburi) |  |  |  | -134.8085
| ICCL | -1.569 | visa |  |  |  | 10.0512
| NALCO | -144.5546 | VAL (CGP) |  |  |  | 1.958
| RSP | -79.5719 | BSL(MMDL) |  |  |  | 28.3391
| INDAL | 7.5077 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -49.925 | VAL CPP 400 kV |  |  |  | -390.5274
| NBVL | 54.3359 | Arati |  |  |  | 23.3993
| BPSL(JSG) | 47.264 | BPPL |  |  |  | 124.2766
Banking Avg -: (MW) |  | 192.68
HYDRO AVERAGE GENERATION IN MW:-
2026-06-19 | 2026-06-20 | 2026-06-21 | 2026-06-22 | 2026-06-23 | 2026-06-24 | 2026-06-25 | 2026-06-26
502.622 | 627.168 | 503.3932 | 365.2517 | 341.5829 | 516.52 | 543.06 | 560.9336
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.26.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 133.78
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 62.19
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 81.59
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.86
JPIPL | NPCL_UP | 0 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 13.14
MAADURGA_THERMAL | NPCL_UP | -20.49 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.56 | AWEK1L | ODISHA | 8.76
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.55
OCL_IRON_STEEL | BRPL | -22.34 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.7 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 29.41
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | DCBL_Rajgangpur | DALCEMAP | -2.17 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.11
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCBLME | -6.5 | DADRI_SOLAR | ODISHA | 0.78
FARIDABAD_SOLAR | ODISHA | 0.94 | DCBL_Rajgangpur | DCL_RCW | -2.75 | ENERSON_SOLAR_10MW | ODISHA | 1.37
JSWEL_UTKAL | ODISHA | 37.27 | ENVIROCARE_INFRA | BRPL | -6 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 0 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_S | VLSEZ | 20.61
MPPMCL | ODISHA | 192.68 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_W | VLSEZ | 86.62
Manipur_Ben | ODISHA | 32.87 | FACORPOWER | PSPCL | -7.5 | GADAG_Serentica3_W | VLSEZ | 3.19
RAJ_SOLAR | ODISHA | 2.35 | FACORPOWER | PSPCL | -12.75 | GIWEL_SECI_II_RE | ODISHA | 40.37
RAJ_SOLAR | ODISHA | 2.57 | FACORPOWER | PSPCL | 0 | GPCL_SOLAR_10 | ODISHA | 1.39
SUGEN_GUVNL | ODISHA | 3.21 | FACORPOWER | PSPCL | -5.25 | GSECL_SOLAR | ODISHA | 0.75
UNOSUGEN | ODISHA | 12.84 | FACORPOWER | PSPCL | -5.83 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.63
|  |  | GMRKEL_STU | PSPCL | -61.9 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | NBVLIPP | BRPL | -13.12 | KARUR_TPVARDHAMAN_W | TSKPO | 53.27
|  |  | NBVLIPP | BRPL | -31.88 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.63
|  |  | NBVL_OTCL | PSPCL | -7.58 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NBVL_OTCL | PSPCL | -18.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.06
|  |  | NBVL_OTCL | PSPCL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
|  |  | OCL_IRON_STEEL | TPDDL | -3.91 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.61
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.43
|  |  | ODISHA | CSEB_Beneficiary | -87.5 | OKWPL_RE | ODISHA | 21.8
|  |  | ORSISL | PSPCL | -3.54 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 5.48
|  |  | ORSISL | PSPCL | -1.46 | RWE_AP2_SECI_III | ODISHA | 19.05
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | RenewGreen_SLPR_HS | JSL_DUBURI | 0
|  |  | SGML | UPPCL | -4.17 | SRI9PL_FTG3 | VLSEZ | 38.71
|  |  | TIMES_STEEL | PONDY | -6 | TPSL_BKN2 | TSKPO | 0
|  |  | TSBSLA | CSEB_Beneficiary | -11.67 | TPSL_BKN2 | TSKPO | 0
|  |  | VIRAJ_SEPL | WBSEDCL | -10 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | VSL | UPPCL | -4.17 | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
|  |  | Darlipali_NTPC | ODISHA | 53.69 | Tuticorin_BETAMWIND | ODISHA | 55.82
|  |  | JIPL | ODISHA | 115.61 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 3.08
|  |  | NALCOAP | NACL_Odisha | 23.53 | XXPPL_FTG3 | ODISHA | 37.35

## DAM
DAM TRADING DETAILS FOR DT :26.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | -3.3 | 0 | 15.03 | 0 | -240 | -9 | 0 | -38.8
00:15 - 00:30 | -3.3 | 0 | 12.64 | 0 | -240 | -9 | 0 | -38.8
00:30 - 00:45 | -3.3 | 0 | 11.48 | 0 | -240 | -9 | 0 | -38.8
00:45 - 01:00 | -3.3 | 0 | 12.46 | 0 | -240 | -9 | 0 | -38.8
01:00 - 01:15 | -3.3 | 0 | 9.45 | 0 | -240 | -9 | 0 | -38.8
01:15 - 01:30 | -3.3 | 0 | 15.73 | 0 | -240 | -9 | 0 | -38.8
01:30 - 01:45 | -3.3 | 0 | 21.99 | 0 | -240 | -9 | 0 | -38.8
01:45 - 02:00 | -3.3 | 0 | 30.47 | 0 | -240 | -9 | 0 | -38.8
02:00 - 02:15 | -3.3 | 0 | 41.5 | 0 | -240 | -9 | 0 | -38.8
02:15 - 02:30 | -3.3 | 0 | 51.72 | 0 | -240 | -9 | 0 | -38.8
02:30 - 02:45 | -3.3 | 0 | 47.95 | 0 | -240 | -9 | 0 | -38.8
02:45 - 03:00 | -3.3 | 0 | 48.18 | 0 | -240 | -9 | 0 | -38.8
03:00 - 03:15 | -8.3 | 0 | 9.44 | 0 | -190 | -9 | 0 | -38.8
03:15 - 03:30 | -8.3 | 0 | 10.02 | 0 | -140 | -9 | 0 | -38.8
03:30 - 03:45 | -8.3 | 0 | 10.16 | 0 | -140 | -9 | 0 | -38.8
03:45 - 04:00 | -8.3 | 0 | 10.92 | 0 | -140 | -9 | 0 | -38.8
04:00 - 04:15 | -8.3 | 0 | 12.1 | 0 | -140 | -9 | 0 | -38.8
04:15 - 04:30 | -8.3 | 0 | 12.64 | 0 | -140 | -9 | 0 | -38.8
04:30 - 04:45 | -8.3 | 0 | 12.79 | 0 | -140 | -9 | 0 | -38.8
04:45 - 05:00 | -8.3 | 0 | 12.22 | 0 | -140 | -9 | 0 | -38.8
05:00 - 05:15 | -8.3 | 0 | 19.8 | 0 | -140 | -9 | 0 | -38.8
05:15 - 05:30 | -8.3 | 0 | 15.91 | 0 | -140 | -9 | 0 | -38.8
05:30 - 05:45 | -8.3 | 0 | 14.14 | 0 | -140 | -9 | 0 | -38.8
05:45 - 06:00 | -8.3 | 0 | 11.74 | 0 | -140 | -9 | 0 | -38.8
06:00 - 06:15 | -8.3 | 0 | -100 | 0 | -140 | -9 | 0 | 0
06:15 - 06:30 | -8.3 | 0 | -100 | 0 | -140 | -9 | 0 | 0
06:30 - 06:45 | -8.3 | 0 | -100 | 0 | -140 | -9 | 0 | 0
06:45 - 07:00 | -8.3 | 0 | -100 | 0 | -140 | -9 | 0 | 0
07:00 - 07:15 | -8.3 | 0 | -350 | 0 | -140 | -9 | 0 | 0
07:15 - 07:30 | -8.3 | 0 | -350 | 0 | -140 | -9 | 0 | 0
07:30 - 07:45 | -8.3 | 0 | -350 | 0 | -140 | -9 | 0 | 0
07:45 - 08:00 | -8.3 | 0 | -350 | 0 | -140 | -9 | 0 | 0
08:00 - 08:15 | -8.3 | 11.56 | -375 | 0 | -140 | 0 | 0 | 0
08:15 - 08:30 | -8.3 | 11.56 | -375 | 0 | 0 | 0 | 9.63 | 0
08:30 - 08:45 | -8.3 | 11.56 | -375 | 0 | 0 | 0 | 9.63 | 0
08:45 - 09:00 | -8.3 | 11.56 | -369.11 | 0 | 0 | 0 | 9.63 | 0
09:00 - 09:15 | -8.3 | 11.56 | -464.04 | 28.91 | 0 | 0 | 9.63 | 0
09:15 - 09:30 | -8.3 | 11.56 | -372.67 | 28.91 | 0 | 0 | 9.63 | 0
09:30 - 09:45 | -8.3 | 11.56 | -250.97 | 28.91 | 0 | 0 | 9.63 | 0
09:45 - 10:00 | -8.3 | 11.56 | -125 | 28.91 | 0 | 0 | 9.63 | 0
10:00 - 10:15 | -8.3 | 11.56 | -150 | 28.91 | 0 | 0 | 9.63 | 0
10:15 - 10:30 | -8.3 | 11.56 | -149.67 | 28.91 | 0 | 0 | 9.63 | 0
10:30 - 10:45 | -8.3 | 11.56 | 13.12 | 28.91 | 0 | 0 | 9.63 | 0
10:45 - 11:00 | -8.3 | 11.56 | 8.08 | 28.91 | 0 | 0 | 9.63 | 0
11:00 - 11:15 | -8.3 | 11.56 | 12.47 | 28.9 | 0 | 0 | 9.63 | 0
11:15 - 11:30 | -8.3 | 11.56 | 0 | 28.91 | 0 | 0 | 9.63 | 0
11:30 - 11:45 | -8.3 | 11.56 | 0 | 28.91 | 0 | 0 | 9.63 | 0
11:45 - 12:00 | -8.3 | 11.56 | -9.89 | 28.91 | 0 | 0 | 9.63 | 0
12:00 - 12:15 | -8.3 | 11.56 | -31.92 | 28.91 | 0 | 0 | 9.63 | 0
12:15 - 12:30 | -8.3 | 11.56 | -31.98 | 28.91 | 0 | 0 | 9.63 | 0
12:30 - 12:45 | -8.3 | 11.56 | -10.76 | 28.91 | 0 | 0 | 9.63 | 0
12:45 - 13:00 | -8.3 | 11.56 | 0 | 28.91 | 0 | 0 | 9.63 | 0
13:00 - 13:15 | -8.3 | 11.56 | 56.37 | 28.9 | 0 | 0 | 9.63 | 0
13:15 - 13:30 | -8.3 | 11.56 | 50.2 | 28.9 | 0 | 0 | 9.63 | 0
13:30 - 13:45 | -8.3 | 11.56 | -32.7 | 28.91 | 0 | 0 | 9.63 | 0
13:45 - 14:00 | -8.3 | 11.56 | -50 | 28.91 | 0 | 0 | 9.63 | 0
14:00 - 14:15 | -8.3 | 11.56 | -150 | 28.91 | 0 | 0 | 9.63 | 0
14:15 - 14:30 | -8.3 | 11.56 | -150 | 28.91 | 0 | 0 | 9.63 | 0
14:30 - 14:45 | -8.3 | 11.56 | -150 | 0 | 0 | 0 | 9.63 | 0
14:45 - 15:00 | -8.3 | 11.56 | -150 | 0 | 0 | 0 | 9.63 | 0
15:00 - 15:15 | -8.3 | 11.56 | -100 | 0 | 0 | 0 | 9.63 | 0
15:15 - 15:30 | -8.3 | 11.56 | -100 | 0 | 0 | 0 | 9.63 | 0
15:30 - 15:45 | -8.3 | 11.56 | -100 | 0 | 0 | 0 | 9.63 | 0
15:45 - 16:00 | -8.3 | 11.56 | -100 | 0 | 0 | 0 | 9.63 | 0
16:00 - 16:15 | -8.3 | 11.56 | -158.53 | 0 | 0 | 0 | 9.63 | 0
16:15 - 16:30 | -8.3 | 11.56 | -193.39 | 0 | -140 | 0 | 9.63 | 0
16:30 - 16:45 | -8.3 | 11.56 | -225 | 0 | -140 | 0 | 9.63 | 0
16:45 - 17:00 | -8.3 | 11.56 | -225 | 0 | -140 | 0 | 0 | 0
17:00 - 17:15 | -8.3 | 0 | -100 | 0 | -140 | 0 | 0 | 0
17:15 - 17:30 | -8.3 | 0 | -100 | 0 | -140 | 0 | 0 | 0
17:30 - 17:45 | -8.3 | 0 | -100 | 0 | -140 | 0 | 0 | 0
17:45 - 18:00 | -8.3 | 0 | -100 | 0 | -140 | 0 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | -225 | 0 | -140 | -5 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | -225 | 0 | -140 | -5 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | -225 | 0 | -140 | -5 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | -225 | 0 | -140 | -5 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | 0 | 0 | -240 | -9 | 0 | -38.8
19:15 - 19:30 | -3.3 | 0 | 0 | 0 | -240 | -9 | 0 | -38.8
19:30 - 19:45 | -3.3 | 0 | 0 | 0 | -240 | -9 | 0 | -38.8
19:45 - 20:00 | -3.3 | 0 | 0 | 0 | -240 | -9 | 0 | -38.8
20:00 - 20:15 | -3.3 | 0 | 13.81 | 0 | -240 | -9 | 0 | -38.8
20:15 - 20:30 | -3.3 | 0 | 5.37 | 0 | -240 | -9 | 0 | -38.8
20:30 - 20:45 | -3.3 | 0 | 7.43 | 0 | -240 | -9 | 0 | -38.8
20:45 - 21:00 | -3.3 | 0 | 4.08 | 0 | -240 | -9 | 0 | -38.8
21:00 - 21:15 | -3.3 | 0 | 8.83 | 0 | -240 | -9 | 0 | -38.8
21:15 - 21:30 | -3.3 | 0 | 9.11 | 0 | -240 | -9 | 0 | -38.8
21:30 - 21:45 | -3.3 | 0 | 8.42 | 0 | -240 | -9 | 0 | -38.8
21:45 - 22:00 | -3.3 | 0 | 7.51 | 0 | -240 | -9 | 0 | -38.8
22:00 - 22:15 | -3.3 | 0 | 7.99 | 0 | -240 | -9 | 0 | -38.8
22:15 - 22:30 | -3.3 | 0 | 5.61 | 0 | -240 | -9 | 0 | -38.8
22:30 - 22:45 | -3.3 | 0 | 2.94 | 0 | -240 | -9 | 0 | -38.8
22:45 - 23:00 | -3.3 | 0 | 0.07 | 0 | -240 | -9 | 0 | -38.8
23:00 - 23:15 | -3.3 | 0 | 0.36 | 0 | -240 | -9 | 0 | -38.8
23:15 - 23:30 | -3.3 | 0 | 0.39 | 0 | -240 | -9 | 0 | -38.8
23:30 - 23:45 | -3.3 | 0 | 0 | 0 | -240 | -9 | 0 | -38.8
23:45 - 24:00 | -3.3 | 0 | 2.1 | 0 | -240 | -9 | 0 | -38.8
Average | -6.425 | 4.335 | -76.8843 | 6.6249 | -127.1875 | -5.0833 | 3.4106 | -17.7833

## GDAM
GDAM TRADING DETAILS FOR DT:26.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 27.81 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 29.73 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 26.45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 27.8 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 42.09 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 47.1 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 50.15 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 49.57 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 94.41
07:45 - 08:00 | 0 | 0 | 0 | 14.45 | 33.72 | 14.45 | 0 | 5.78 | 69.37
08:00 - 08:15 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0 | 5.78 | 0
08:15 - 08:30 | -0.3 | 0 | 0 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
08:30 - 08:45 | -0.6 | 0 | 0 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
08:45 - 09:00 | -0.6 | 0 | 0 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
09:00 - 09:15 | -0.9 | 0 | 0.89 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
09:15 - 09:30 | -1.3 | 0 | 0 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
09:30 - 09:45 | -0.7 | 0 | 0 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
09:45 - 10:00 | -3.3 | 0 | 165.86 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
10:00 - 10:15 | -1.4 | -0.2 | 246.96 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
10:15 - 10:30 | -6.3 | -1.2 | 264.87 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
10:30 - 10:45 | -5.8 | -1.5 | 263.66 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
10:45 - 11:00 | -7.4 | -3.4 | 273.41 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
11:00 - 11:15 | -7.3 | -0.5 | 264.86 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
11:15 - 11:30 | -8.4 | -3.6 | 275.72 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
11:30 - 11:45 | -6.5 | -0.9 | 275.72 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
11:45 - 12:00 | -5 | -1.8 | 275.72 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
12:00 - 12:15 | -2.3 | -1.5 | 275.72 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
12:15 - 12:30 | -3.5 | -2.1 | 275.71 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
12:30 - 12:45 | -5.9 | 0 | 196.93 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
12:45 - 13:00 | -4.5 | 0 | 225.63 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
13:00 - 13:15 | -0.7 | 0 | 209.42 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
13:15 - 13:30 | -0.9 | 0 | 215.61 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
13:30 - 13:45 | -0.5 | 0 | 242.2 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
13:45 - 14:00 | -0.3 | 0 | 253.06 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
14:00 - 14:15 | -0.2 | 0 | 0 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
14:15 - 14:30 | -0.1 | -0.9 | 0 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
14:30 - 14:45 | 0 | 0 | 0 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
14:45 - 15:00 | 0 | 0 | 0 | 19.27 | 33.72 | 14.45 | 9.63 | 5.78 | 0
15:00 - 15:15 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0 | 5.78 | 0
15:15 - 15:30 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0 | 5.78 | 0
15:30 - 15:45 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0 | 5.78 | 0
15:45 - 16:00 | 0 | 0 | 0 | 19.27 | 0 | 0 | 0 | 5.78 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.45 | 33.72 | 14.45 | 0 | 5.78 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.45 | 33.72 | 14.45 | 0 | 5.78 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.45 | 33.72 | 14.45 | 0 | 5.78 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.45 | 33.73 | 14.45 | 0 | 5.78 | 12.52
17:00 - 17:15 | 0 | 0 | 0 | 14.45 | 33.72 | 14.45 | 0 | 5.78 | 47.21
17:15 - 17:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 75.15
17:30 - 17:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 93.45
17:45 - 18:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 4.92 | 97.73
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 7.58 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 7.21 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 6.43 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 6.05 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 8.07 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 7.12 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 4.45 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 2.17 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 8.86 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.77813 | -0.18333 | 47.6999 | 8.0791 | 11.5914 | 4.9672 | 2.7084 | 2.5198 | 5.1025

## RTM
RTM TRADING DETAILS FOR DT: 26.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | KJS_Ahluwalia_(Steel_&_Power_Division) | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant
00:00 - 00:15 | -1.2 | 0 | 0 | -1.5 | 0 | 70.14 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -1.2 | 0 | 0 | -1.5 | 0 | 78.78 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.5 | 0 | 0 | -1.5 | 0 | 56.61 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1.5 | 0 | 0 | -1.5 | 0 | 64.01 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -1.5 | 0 | 0 | -1.5 | 0 | 91.44 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -1.5 | 0 | 0 | -1.5 | 0 | 98.11 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -1.5 | 0 | 0 | -1.5 | 0 | 159.4 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -1.5 | 0 | 0 | -1.5 | 0 | 174.5 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -1.5 | 0 | 0 | -1.5 | 0 | 294.74 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -1.5 | 0 | 0 | -1.5 | 0 | 349.97 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.5 | 0 | 0 | -1.5 | 0 | 458.61 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.5 | 0 | 0 | -1.5 | 0 | 451.64 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.5 | 0 | 0 | -1.5 | 0 | 320.79 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -1.5 | 0 | 0 | -1.5 | 0 | 333.66 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -1.5 | 0 | 0 | -1.5 | 0 | 385.36 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -1.5 | 0 | 0 | -1.5 | 0 | 385.36 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -1.5 | 0 | 0 | -1.5 | 0 | 385.36 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -1.5 | 0 | 0 | -1.5 | 0 | 385.36 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -1.5 | 0 | 0 | -1.5 | 0 | 180.57 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.5 | 0 | 0 | -1.5 | 0 | 188.04 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.5 | -16 | 0 | -1.5 | 0 | 192.68 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -1.5 | -16 | 0 | -1.5 | 0 | 164.14 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -1.5 | -6 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -1.5 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -1.5 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | -4.5 | -0.1 | -0.1 | 0 | 0 | -0.7 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -1.5 | -10 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | -4.5 | -0.2 | -0.3 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -1.5 | 0 | 0 | -1.5 | 12.92 | 0 | 0 | 0 | -4.5 | -0.5 | -0.5 | 0 | 0 | -0.7 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -1.5 | 0 | 0 | -1.5 | 15.41 | 0 | 0 | 0 | -4.5 | -0.5 | -0.8 | 0 | 0 | -0.7 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -1.5 | 0 | 0 | -1.5 | 15.41 | 332.07 | 0 | 10.6 | 0 | -0.9 | -1 | 0 | 0 | -0.7 | 19.27 | -1.5 | 0 | 7.36 | -5 | 0 | 0 | 0 | 0
07:15 - 07:30 | -1.5 | 0 | 0 | 0 | 15.41 | 224.8 | 0 | 10.6 | 0 | -1 | -1.4 | 9.63 | 7.71 | -0.7 | 19.27 | -1.6 | 6.26 | 15.41 | -5 | 0 | 0 | 19.27 | 0
07:30 - 07:45 | -1.5 | 0 | 0 | 0 | 15.41 | 72.25 | 0 | 10.6 | 0 | -1.2 | -1.7 | 9.63 | 7.71 | -0.7 | 19.27 | -1.9 | 0.96 | 3.85 | -5 | 7.71 | 0 | 19.27 | 0
07:45 - 08:00 | -1.5 | 0 | 0 | 0 | 15.41 | 16.07 | 0 | 10.6 | 0 | -1.5 | -2 | 9.63 | 7.71 | -0.7 | 19.27 | -2.2 | 0.96 | 3.85 | -5 | 7.71 | 0 | 19.27 | 0
08:00 - 08:15 | -1.2 | -10 | 0 | -1.5 | 9.63 | 0 | 0 | 10.6 | 0 | -1.8 | -1.3 | 0 | 7.71 | -0.7 | 0 | -2.4 | 0 | 1.93 | -5 | 7.71 | 2.89 | 19.27 | 0
08:15 - 08:30 | -1.2 | 0 | 0 | -1.5 | 9.63 | 0 | 0 | 10.6 | 0 | -1.9 | -1.5 | 0 | 7.71 | -0.7 | 0 | -2.7 | 0 | 1.93 | -5 | 7.71 | 2.89 | 19.27 | 0
08:30 - 08:45 | -1.2 | 0 | 0 | -1.5 | 9.63 | -251.39 | 0 | 10.6 | 0 | -2.1 | -1.5 | 0 | 0 | -0.7 | 0 | -3 | 0 | 0 | -5 | 0 | 0 | 0 | -2
08:45 - 09:00 | -1.2 | 0 | 0 | -1.5 | 9.63 | -950.36 | 0 | 10.6 | 0 | -2.1 | -1.6 | 0 | 7.71 | -0.7 | 0 | -3.3 | 0 | 0 | -5 | 0 | 0 | 0 | -2
09:00 - 09:15 | -1.2 | 0 | 0 | -1.5 | 9.63 | -1002.38 | 0 | 10.6 | 0 | -2.2 | -1.4 | 0 | 7.71 | -0.7 | 0 | -3.5 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
09:15 - 09:30 | -1.2 | 0 | 0 | 0 | 9.63 | -1084.47 | 0 | 10.6 | 0 | -2.5 | -1.5 | 0 | 7.71 | -0.7 | 0 | -1.2 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
09:30 - 09:45 | -1.2 | -10 | 0 | -1.5 | 9.63 | -888.18 | 0 | 10.6 | 0 | -2.5 | -1.8 | 0 | 7.71 | -0.7 | 0 | 4.24 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
09:45 - 10:00 | -1.2 | 0 | 0 | 0 | 9.63 | -1075.01 | 0 | 10.6 | 0 | -2.5 | -2 | 0 | 7.71 | -0.7 | 0 | 4.14 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
10:00 - 10:15 | -1.2 | 0 | 0 | 0 | 9.63 | -956.09 | 0 | 10.6 | 0 | -2.8 | -3.2 | 0 | 7.71 | -0.7 | 0 | 3.95 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
10:15 - 10:30 | -1.2 | 0 | 0 | 0 | 9.63 | -972.95 | 0 | 10.6 | 0 | -2.8 | -3.4 | 0 | 7.71 | -0.7 | 0 | 3.76 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
10:30 - 10:45 | -1.2 | 0 | 0 | 0 | 9.63 | -500.53 | 0 | 10.6 | 0 | -2.8 | -3.5 | 0 | 7.71 | -0.7 | 0 | 3.76 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -4
10:45 - 11:00 | -1.2 | 0 | 0 | 0 | 9.63 | -550 | 0 | 10.6 | 0 | -2.8 | -3.5 | 0 | 7.71 | -0.7 | 0 | 3.66 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -4
11:00 - 11:15 | -1.2 | -10 | 0 | -1.3 | 9.63 | -485.02 | 0 | 10.6 | 0 | -2.8 | -3.5 | 0 | 7.71 | -0.7 | 0 | 3.66 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
11:15 - 11:30 | -1.2 | 0 | 0 | -1.3 | 9.63 | -435.02 | 0 | 10.6 | 0 | -2.8 | -3.5 | 0 | 7.71 | -0.7 | 0 | 3.56 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
11:30 - 11:45 | -1.2 | 0 | 0 | -1.3 | 9.63 | -311.45 | 0 | 10.6 | 0 | -2.8 | -2.2 | 0 | 7.71 | -0.7 | 0 | 3.66 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
11:45 - 12:00 | -1.2 | 0 | 0 | -1.3 | 9.63 | -335.51 | 0 | 10.6 | 0 | -2.8 | -2.3 | 0 | 7.71 | -0.7 | 0 | 3.66 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
12:00 - 12:15 | -1 | 0 | 0 | 0 | 9.63 | -297.95 | 0 | 10.6 | 0 | -3.2 | -2.2 | 0 | 7.71 | -0.7 | 0 | 3.76 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.26 | -2
12:15 - 12:30 | -1 | 0 | 0 | 0 | 9.63 | -297.93 | 0 | 10.6 | 0 | -3.2 | -1.1 | 0 | 7.71 | -0.7 | 0 | 3.56 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
12:30 - 12:45 | -1 | -10 | 0 | 0 | 9.63 | -323.95 | 0 | 10.6 | 0 | -3 | -1.1 | 0 | 7.71 | -0.7 | 0 | 3.66 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
12:45 - 13:00 | -1 | 0 | 0 | 0 | 9.63 | -325.04 | 0 | 10.6 | 0 | -2.9 | -1 | 0 | 7.71 | -0.7 | 0 | 3.66 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
13:00 - 13:15 | -1 | 0 | -0.4 | 0 | 9.63 | -199.96 | 12.24 | 10.6 | 0 | -2.5 | -1.5 | 0 | 7.71 | -0.7 | 0 | 3.76 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
13:15 - 13:30 | -1 | 0 | -0.4 | 0 | 9.63 | -211.06 | 0 | 10.6 | 0 | -0.5 | -1.4 | 0 | 7.71 | -0.7 | 0 | 4.05 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
13:30 - 13:45 | -1 | 0 | -0.4 | 0 | 9.63 | -75 | 0 | 10.6 | 0 | -0.2 | -2.5 | 0 | 7.71 | -0.7 | 0 | 0 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
13:45 - 14:00 | -1 | 0 | -0.4 | 0 | 9.63 | -75.03 | 0 | 10.6 | 0 | -0.2 | -2.5 | 0 | 7.71 | -0.7 | 0 | 0 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | -2
14:00 - 14:15 | -1 | -10 | -0.4 | 0 | 9.63 | 36.66 | 0 | 10.6 | 0 | -0.2 | -1.5 | 0 | 7.71 | -0.7 | 0 | 0 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | 0
14:15 - 14:30 | -1 | 0 | -0.4 | 0 | 9.63 | 59.15 | 0 | 10.6 | 0 | -0.2 | -1.5 | 0 | 7.71 | -0.7 | 0 | 0 | 0.96 | 3.85 | -5 | 7.71 | 2.89 | 19.27 | 0
14:30 - 14:45 | -1 | 0 | -0.4 | 0 | 9.63 | 366.11 | 0 | 10.6 | 0 | -0.2 | -1.3 | 0 | 7.71 | -0.7 | 0 | 4.53 | 0.96 | 3.85 | -8 | 7.71 | 2.89 | 19.27 | 0
14:45 - 15:00 | -1 | 0 | -0.4 | 0 | 9.63 | 475.89 | 0 | 10.6 | 0 | -0.2 | -1 | 0 | 7.71 | -0.7 | 0 | 0 | 0.96 | 3.85 | -8 | 7.71 | 2.89 | 19.27 | 0
15:00 - 15:15 | -1 | 0 | -0.4 | 0 | 9.63 | 168.04 | 0 | 10.6 | 0 | -0.2 | -1 | 0 | 7.71 | -0.7 | 0 | 0 | 0 | 1.93 | -8 | 0 | 0 | 0 | -2
15:15 - 15:30 | -1 | 0 | -0.4 | 0 | 9.63 | 168.04 | 0 | 10.6 | 0 | -0.5 | -0.7 | 0 | 7.71 | -0.7 | 0 | 0 | 0 | 1.93 | -8 | 0 | 0 | 0 | -2
15:30 - 15:45 | -1 | 0 | -0.4 | 0 | 9.63 | 91.6 | 0 | 0 | 0 | -0.3 | -0.8 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | -2
15:45 - 16:00 | -1 | -4 | -0.4 | 0 | 9.63 | -64.97 | 0 | 0 | 0 | -0.3 | -0.8 | 0 | 0 | -0.7 | 0 | -2.2 | 0 | 0 | -8 | 0 | 0 | 0 | -2
16:00 - 16:15 | -1 | -4 | -0.4 | -1.3 | 0 | -90.73 | 0 | 10.6 | 0 | -0.4 | -0.7 | 0 | 7.71 | -0.7 | 19.27 | -1.9 | 0 | 1.93 | -8 | 7.71 | 2.89 | 19.27 | -2
16:15 - 16:30 | -1 | 0 | -0.4 | -1.3 | 0 | -89.04 | 0 | 10.6 | 0 | -0.3 | -0.6 | 0 | 7.71 | -0.7 | 19.27 | -1.6 | 0 | 1.93 | -8 | 7.71 | 2.89 | 19.27 | -2
16:30 - 16:45 | -1.3 | 0 | -0.4 | -1.3 | 0 | -319.51 | 0 | 10.6 | 0 | -0.3 | -0.6 | 0 | 7.71 | -0.7 | 19.27 | -2 | 0 | 1.93 | -8 | 7.71 | 2.89 | 19.27 | -2
16:45 - 17:00 | -1.3 | 0 | -0.4 | -1.3 | 0 | -325.03 | 0 | 10.6 | 0 | -0.2 | -0.4 | 0 | 7.71 | -0.7 | 19.27 | -1.6 | 0 | 1.93 | -8 | 3.76 | 1.41 | 0 | -2
17:00 - 17:15 | -1.3 | 0 | 0 | -1.5 | 0 | -215.01 | 0 | 10.6 | 0 | -0.2 | -0.2 | 0 | 7.71 | -0.7 | 19.27 | -1.2 | 0 | 1.93 | -8 | 7.71 | 2.89 | 19.27 | -2
17:15 - 17:30 | -1.3 | 0 | 0 | -1.5 | 0 | -235.03 | 0 | 10.6 | 0 | -0.1 | -0.1 | 0 | 2.69 | -0.7 | 19.27 | -0.9 | 0 | 1.93 | -8 | 0 | 0 | 0 | -2
17:30 - 17:45 | -1.3 | -10 | 0 | -1.5 | 0 | -637.55 | 0 | 10.6 | 0 | 0 | -0.1 | 0 | 0 | -0.7 | 19.27 | -0.5 | 0 | 0 | -8 | 0 | 0 | 0 | -2
17:45 - 18:00 | -1.3 | 0 | 0 | -1.5 | 0 | -650.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.2 | 0 | 0 | -8 | 0 | 0 | 0 | -2
18:00 - 18:15 | -1.3 | 0 | 0 | 0 | 0 | -536.31 | 0 | 10.6 | 0 | 0 | 0 | 9.63 | 7.71 | -0.7 | 19.27 | 0 | 6.26 | 1.93 | -8 | 7.71 | 2.89 | 19.27 | -5
18:15 - 18:30 | -1.3 | 0 | 0 | 0 | 0 | -668.94 | 0 | 10.6 | 0 | 0 | 0 | 9.63 | 7.71 | -0.7 | 19.27 | 0.19 | 6.26 | 1.93 | -8 | 7.71 | 2.89 | 19.27 | -5
18:30 - 18:45 | -1.3 | 0 | 0 | -1.6 | 0 | -656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | -5
18:45 - 19:00 | -1.3 | 0 | 0 | -1.6 | 0 | -461.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | -5
19:00 - 19:15 | -1.3 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.3 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.3 | 0 | 0 | -1.5 | 0 | 134.87 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -5
19:45 - 20:00 | -1.3 | 0 | 0 | -1.5 | 0 | 127.77 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -5
20:00 - 20:15 | -1 | 0 | 0 | -1.5 | 0 | 65.61 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
20:15 - 20:30 | -1 | 0 | 0 | -1.5 | 0 | 54.75 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
20:30 - 20:45 | -1 | 0 | 0 | -1.5 | 0 | 42.31 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
20:45 - 21:00 | -1 | 0 | 0 | -1.5 | 0 | 38.83 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
21:00 - 21:15 | -1 | 0 | 0 | -1.5 | 0 | 59.08 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
21:15 - 21:30 | -1 | 0 | 0 | -1.5 | 0 | 54.76 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
21:30 - 21:45 | -1 | 0 | -0.4 | -1.6 | 0 | 49.97 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
21:45 - 22:00 | -1 | 0 | -0.4 | -1.6 | 0 | 46.32 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
22:00 - 22:15 | -1 | 0 | -0.4 | -1.6 | 0 | 40.21 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
22:15 - 22:30 | -1 | 0 | -0.4 | -1.6 | 0 | 39.35 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
22:30 - 22:45 | -1 | 0 | 0 | -1.6 | 0 | 34.52 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
22:45 - 23:00 | -1 | 0 | 0 | -1.6 | 0 | 33.16 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
23:00 - 23:15 | -1 | 0 | 0 | -1.5 | 0 | 27.42 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
23:15 - 23:30 | -1 | 0 | 0 | -1.5 | 0 | 25.26 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
23:30 - 23:45 | -1 | 0 | 0 | -1.5 | 0 | 35.49 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
23:45 - 24:00 | -1 | 0 | 0 | -1.5 | 0 | 39.37 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6
Average | -1.2375 | -1.2083 | -0.1 | -1.0719 | 4.1472 | -86.7242 | 0.1275 | 4.7479 | -2.1458 | -0.67917 | -0.73021 | 0.50156 | 3.1602 | -1.075 | 2.6095 | 0.28042 | 0.45563 | 1.5211 | -3.2708 | 2.7698 | 0.97802 | 7.0254 | -2.0208