## POWER STATUS
POWER STATUS ON DT 29.06.2026
[9 empty] | 2026-06-29 | 2026-06-28
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 5689 | 6888.144
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 6.5 | 0.156 | 630/590 ft | 600.93 | 600.81 | 600.71 | 0 | 87
| Chiplima | 72(3x24) | 8.167 | 0.19601 | - |  |  |  | 0 | 0
| Balimela | 510(6x60+2x75) | 208.87 | 5.0129 | 1516/1440 ft | 1454.5 | 1459 | 1458.4 | 67 | 369
| Rengali | 250(5x50) | 7.3 | 0.1752 | 123.5/109.75 mt | 116.57 | 109.81 | 109.79 | 0 | 92
| Upper Kolab | 320(4x80) | 37.96 | 0.91104 | 858/844 mt | 847.43 | 847.09 | 847.07 | 0 | 150
| Upper Indravati | 600(4x150) | 13.93 | 0.33432 | 642/625 mt | 628.49 | 628.52 | 628.52 | 0 | 0
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2725.55 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 282.727 | 6.7854 |  |  |  |  | 67 | 698
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1645.47 | 39.4913 | RENEWABLE ENERGY (RE) |  |  |  | 1698 | 1682
[5 empty] | M.Hydl | 25.94
| Total Thermal | 2200 | 1645.47 | 39.4913 | Solar | 122.05 |  |  | 1698 | 1682
IPP | VEDANTA #2 | 600 (1x600) | 395.43 | 9.4903 | Total IPPs | Yesterday's Demand Profile |  |  | 395 | 497.4023
| GMR #3 | 350 (1x350) | 283.9 | 6.8136 | 773.51 |  | MW | HRS | 252 | 321.0811
| NBVL(IPP) | 60(1x60) | 51.65 | 1.2396 |  |  |  |  | 48 | 54.5979
| MDTPC |  | 42.53 | 1.0207 |  |  |  |  | 29 | 36.4888
| CGPs |  | 860.4888 | 20.6517 | IPPs, CGPs & RE | Maximum | 6889 | 23.00 | 1549 | 2066.144
| Central Sector(Drawl) |  | 2324.5998 | 55.7904 | 1781.9888 | Minimum | 5296 | 06.00 | 2375 | 2442
| Central Sector(Sch) |  | 2373.3188 | 56.9597 |  | Average | 6034.7856 |  | 2552 | 2307
| Grand Total |  | 6034.7856 | 144.8349 | Instantaneous Peak demand |  | 7100 | 550:27 | 5689 | 6888.144
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1944 | 46.656 | 1950 | 46.8 | 1922 | 46.128
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1865 | 44.76 | 1879 | 45.096 | 1674 | 40.176
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1484 | 35.616 | 1434 | 34.416 | 1452 | 34.848
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 670 | 16.08 | 660 | 15.84 | 671 | 16.104
Indravati | ALL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5963 | 143.112 | 5923 | 142.152 | 5719 | 137.256
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 395.1366 | GMR |  |  |  | 251.5737
| NBVL #3 | 47.5705 | MDTPC |  |  |  | 29.0486
Mini Hydel: | MEENAKSHI | 18.3295 | OPCL |  |  |  | 0
| BTPL | 7.9052 | SAPTADHARA |  |  |  | 0
Solar: |  | 231.879 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 104.5572 | JSL(Duburi) |  |  |  | -119.3107
| ICCL | 38.219 | visa |  |  |  | 11.0814
| NALCO | -140.3277 | VAL (CGP) |  |  |  | -15.638
| RSP | -75.3195 | BSL(MMDL) |  |  |  | 84.4572
| INDAL | -0.57189 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -43.9745 | VAL CPP 400 kV |  |  |  | -381.3768
| NBVL | 47.0335 | Arati |  |  |  | 16.0659
| BPSL(JSG) | -57.1826 | BPPL |  |  |  | 124.0992
Banking Avg -: (MW) |  | 289.02
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-21 | 2026-06-22 | 2026-06-23 | 2026-06-24 | 2026-06-25 | 2026-06-26 | 2026-06-27 | 2026-06-28
503.3932 | 365.2517 | 341.5829 | 516.52 | 543.06 | 560.9336 | 521.0913 | 282.727
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.28.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -11.67 | AARTISTEEL | RUVITSL | -1.25 | AGE26AL_PSS6_KPS1_S | ODISHA | 135.46
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -4.17 | AP41PL_BHDL | ODISHA | 62.04
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -0.83 | AP43PL_BKN | ODISHA | 86.98
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.36
JPIPL | NPCL_UP | 0 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | ASRYD_BESS_FTG1 | ODISHA | 2.5
MAADURGA_THERMAL | NPCL_UP | -18.94 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.53 | ASURY_BESS_BKN2 | ODISHA | 4.17
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AWEK1L | ODISHA | 6.73
OCL_IRON_STEEL | BRPL | -34.42 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.9 | AWEK1L | ODISHA | 10.09
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | DCBL_Rajgangpur | DALCEMAP | -2.46 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.06
TSBSLA | PCKL | -9.38 | DCBL_Rajgangpur | DCBLME | -5.5 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 32.43
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | BRPL | -6 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.07
BRPL | ODISHA | 24.08 | ENVIROCARE_INFRA | TANGEDCO | -3 | DADRI_SOLAR | ODISHA | 0.74
FARIDABAD_SOLAR | ODISHA | 0.94 | ENVIROCARE_INFRA | TANGEDCO | -3 | ENERSON_SOLAR_10MW | ODISHA | 1.91
JSWEL_UTKAL | ODISHA | 27.2 | FACORPOWER | PSPCL | 0 | GADAG_GreenInfra_W | ODISHA | 0.01
JSW_MAHANADI | ODISHA | 4.82 | FACORPOWER | PSPCL | -6.67 | GADAG_Serentica3_S | VLSEZ | 24.62
MCCPL | ODISHA | 5.78 | FACORPOWER | PSPCL | -5.25 | GADAG_Serentica3_W | VLSEZ | 2.45
MPPMCL | ODISHA | 160.57 | FACORPOWER | PSPCL | -12.75 | GADAG_Serentica3_W | VLSEZ | 65.87
MPPMCL | ODISHA | 128.45 | FACORPOWER | PSPCL | -5.83 | GIWEL_SECI_II_RE | ODISHA | 34.78
Manipur_Ben | ODISHA | 32.87 | GMRKEL_STU | PSPCL | -61.9 | GPCL_SOLAR_10 | ODISHA | 2.01
Meghalaya_Ben | ODISHA | 7.9 | NBVLIPP | BRPL | -13.12 | GSECL_SOLAR | ODISHA | 1.13
PPGCL | ODISHA | 33.42 | NBVLIPP | BRPL | -31.88 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.22
RAJ_SOLAR | ODISHA | 2.4 | NBVL_OTCL | PSPCL | 0 | JGCPL_BESS_BKN2 | ODISHA | 3.33
RAJ_SOLAR | ODISHA | 2.65 | NBVL_OTCL | PSPCL | -7.58 | JGSPL_BESS_FTG4 | ODISHA | 7.08
SIMHAPURI | ODISHA | 25.29 | NBVL_OTCL | PSPCL | -18.42 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 4
TATA_POWER_HALDIA | ODISHA | 3.25 | OCL_IRON_STEEL | TPDDL | -17.71 | KARUR_TPVARDHAMAN_W | TSKPO | 93.41
TPGPL_HEP | ODISHA | 10.6 | OCL_IRON_STEEL | TPDDL | -7.29 | KARUR_TPVARDHAMAN_W | TSLFAPG | 7.38
|  |  | ORSISL | PSPCL | -1.46 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.58
|  |  | ORSISL | PSPCL | -3.54 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.05
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.14
|  |  | SGML | UPPCL | -4.17 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.5
|  |  | Shri_JSPL | CSEB_Beneficiary | -3.33 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.15
|  |  | TIMES_STEEL | PONDY | -6 | OKWPL_RE | ODISHA | 19.24
|  |  | TSBSLA | CSEB_Beneficiary | -26.67 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 7.1
|  |  | VIRAJ_SEPL | WBSEDCL | -10 | RWE_AP2_SECI_III | ODISHA | 17.33
|  |  | VSL | UPPCL | -4.17 | RenewGreen_SLPR_HS | JSL_DUBURI | 1.69
|  |  | JIPL | ODISHA | 115.61 | SRI9PL_FTG3 | VLSEZ | 38.91
|  |  | MPSEB_Beneficiary | ODISHA | 48.17 | TPSL_BKN2 | TSKPO | 0
|  |  | NALCOAP | NACL_Odisha | 12.97 | TPSL_BKN2 | TSKPO | 0
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 55.85
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.81
[6 empty] | XXPPL_FTG3 | ODISHA | 36.83

## DAM
DAM TRADING DETAILS FOR DT :28.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -3.3 | 0 | 0.9 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
00:15 - 00:30 | -3.3 | 0 | 2.48 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
00:30 - 00:45 | -3.3 | 0 | 1.34 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
00:45 - 01:00 | -3.3 | 0 | 0.3 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
01:00 - 01:15 | -3.3 | 0 | 9.31 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
01:15 - 01:30 | -3.3 | 0 | 11.24 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
01:30 - 01:45 | -3.3 | 0 | 15.05 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
01:45 - 02:00 | -3.3 | 0 | 21.03 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
02:00 - 02:15 | -3.3 | 0 | 59.16 | 0 | 0 | -499.99 | 0 | -9 | 0 | 0 | 0
02:15 - 02:30 | -3.3 | 0 | 50.03 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
02:30 - 02:45 | -3.3 | 0 | 57.2 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
02:45 - 03:00 | -3.3 | 0 | 55.02 | 0 | 0 | -500 | 0 | -9 | 0 | 0 | 0
03:00 - 03:15 | -8.3 | 0 | 46.08 | 0 | 0 | -450 | 0 | -9 | 0 | 0 | 0
03:15 - 03:30 | -8.3 | 0 | 47.13 | 0 | 0 | -399.99 | 0 | -9 | 0 | 0 | 0
03:30 - 03:45 | -8.3 | 0 | 54.86 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
03:45 - 04:00 | -8.3 | 0 | 63.34 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
04:00 - 04:15 | -8.3 | 0 | 23.89 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
04:15 - 04:30 | -8.3 | 0 | 25.84 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
04:30 - 04:45 | -8.3 | 0 | 27.49 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
04:45 - 05:00 | -8.3 | 0 | 27.92 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
05:00 - 05:15 | -8.3 | 0 | 0 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
05:15 - 05:30 | -8.3 | 0 | 0 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
05:30 - 05:45 | -8.3 | 0 | 0 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
05:45 - 06:00 | -8.3 | 0 | 0 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
06:00 - 06:15 | -8.3 | 0 | -75 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
06:15 - 06:30 | -8.3 | 0 | -75 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
06:30 - 06:45 | -8.3 | 0 | -75 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
06:45 - 07:00 | -8.3 | 0 | -75 | 0 | 0 | -400 | 0 | -9 | 0 | 0 | 0
07:00 - 07:15 | -8.3 | 0 | -500 | 0 | 0 | -200 | 0 | -9 | 0 | 0 | 0
07:15 - 07:30 | -8.3 | 0 | -500 | 0 | 0 | -200 | 0 | -9 | 0 | 0 | 0
07:30 - 07:45 | -8.3 | 0 | -500 | 0 | 0 | -200 | 0 | -9 | 0 | 0 | 0
07:45 - 08:00 | -8.3 | 0 | -500 | 0 | 0 | -200 | 0 | -9 | 0 | 0 | 0
08:00 - 08:15 | -8.3 | 7.71 | -700 | 0 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
08:15 - 08:30 | -8.3 | 7.71 | -700 | 0 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
08:30 - 08:45 | -8.3 | 7.71 | -700 | 0 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
08:45 - 09:00 | -8.3 | 7.71 | -665.78 | 0 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
09:00 - 09:15 | -8.3 | 7.71 | -549.46 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
09:15 - 09:30 | -8.3 | 7.71 | -466.75 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
09:30 - 09:45 | -8.3 | 7.71 | -125 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
09:45 - 10:00 | -8.3 | 7.71 | -125 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
10:00 - 10:15 | -8.3 | 7.71 | 21.75 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
10:15 - 10:30 | -8.3 | 7.71 | 12.5 | 28.9 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
10:30 - 10:45 | -8.3 | 7.71 | 0 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
10:45 - 11:00 | -8.3 | 7.71 | 0 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
11:00 - 11:15 | -8.3 | 7.71 | 0 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
11:15 - 11:30 | -8.3 | 7.71 | 6.19 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
11:30 - 11:45 | -8.3 | 7.71 | 6.24 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
11:45 - 12:00 | -8.3 | 7.71 | 6.19 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
12:00 - 12:15 | -8.3 | 7.71 | 6.2 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
12:15 - 12:30 | -8.3 | 7.71 | 6.19 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
12:30 - 12:45 | -8.3 | 7.71 | 6.2 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
12:45 - 13:00 | -8.3 | 7.71 | 6.19 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
13:00 - 13:15 | -8.3 | 7.71 | 0 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
13:15 - 13:30 | -8.3 | 7.71 | 0 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
13:30 - 13:45 | -8.3 | 7.71 | 12.5 | 28.9 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
13:45 - 14:00 | -8.3 | 7.71 | 30.28 | 28.9 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
14:00 - 14:15 | -8.3 | 7.71 | 197.21 | 28.9 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
14:15 - 14:30 | -8.3 | 7.71 | 0 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
14:30 - 14:45 | -8.3 | 7.71 | 0 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
14:45 - 15:00 | -8.3 | 7.71 | -145.23 | 28.91 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
15:00 - 15:15 | -8.3 | 7.71 | -411.24 | 0 | 3.08 | 0 | 9.63 | 0 | 9.64 | 0 | 0
15:15 - 15:30 | -8.3 | 7.71 | -425 | 0 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
15:30 - 15:45 | -8.3 | 7.71 | -425 | 0 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
15:45 - 16:00 | -8.3 | 7.71 | -425 | 0 | 3.08 | 0 | 0 | 0 | 9.63 | 0 | 0
16:00 - 16:15 | -8.3 | 0 | -650 | 0 | 3.08 | 0 | 0 | 0 | 9.64 | 0 | 0
16:15 - 16:30 | -8.3 | 0 | -650 | 0 | 3.08 | 0 | 0 | 0 | 9.64 | 0 | 0
16:30 - 16:45 | -8.3 | 0 | -650 | 0 | 3.08 | 0 | 0 | 0 | 9.64 | 0 | 0
16:45 - 17:00 | -8.3 | 0 | -674.56 | 0 | 3.08 | 0 | 0 | 0 | 9.64 | 0 | 0
17:00 - 17:15 | -8.3 | 0 | -491.72 | 0 | 3.08 | 0 | 0 | 0 | 9.64 | 0 | 0
17:15 - 17:30 | -8.3 | 0 | -550.38 | 0 | 3.08 | -200 | 0 | 0 | 9.64 | 0 | 0
17:30 - 17:45 | -8.3 | 0 | -550.48 | 0 | 3.08 | -200 | 0 | 0 | 9.64 | 0 | 0
17:45 - 18:00 | -8.3 | 0 | -575 | 0 | 3.08 | -200 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | 0 | 0 | -23.12 | 0 | -5 | 9.63 | 0 | 116.58
18:15 - 18:30 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 9.63 | 0 | 136.81
18:30 - 18:45 | -3.3 | 0 | 0 | 0 | 0 | -200 | 0 | -5 | 9.63 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | 0 | 0 | 0 | -200 | 0 | -5 | 0 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | 0 | 0 | 0 | -200 | 0 | -9 | 0 | 0 | 0
19:15 - 19:30 | -3.3 | 0 | 0 | 0 | 0 | -200 | 0 | -9 | 0 | -9.7 | 0
19:30 - 19:45 | -3.3 | 0 | 0 | 0 | 0 | -494.5 | 0 | -9 | 0 | -9.7 | 0
19:45 - 20:00 | -3.3 | 0 | 0 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
20:00 - 20:15 | -3.3 | 0 | 0 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
20:15 - 20:30 | -3.3 | 0 | 0 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
20:30 - 20:45 | -3.3 | 0 | 0 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
20:45 - 21:00 | -3.3 | 0 | 0 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
21:00 - 21:15 | -3.3 | 0 | 74.31 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
21:15 - 21:30 | -3.3 | 0 | 59.09 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
21:30 - 21:45 | -3.3 | 0 | 47.5 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
21:45 - 22:00 | -3.3 | 0 | 40.02 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
22:00 - 22:15 | -3.3 | 0 | 21.66 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
22:15 - 22:30 | -3.3 | 0 | 8.03 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
22:30 - 22:45 | -3.3 | 0 | 6.17 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
22:45 - 23:00 | -3.3 | 0 | 2.16 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
23:00 - 23:15 | -3.3 | 0 | 1.99 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
23:15 - 23:30 | -3.3 | 0 | 0 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
23:30 - 23:45 | -3.3 | 0 | 1.7 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
23:45 - 24:00 | -3.3 | 0 | 2.5 | 0 | 0 | -500 | 0 | -9 | 0 | -9.7 | 0
Average | -6.425 | 2.57 | -122.6377 | 7.2271 | 1.2833 | -246.5375 | 0.10031 | -5.0833 | 4.214 | -1.9198 | 2.6395

## GDAM
GDAM TRADING DETAILS FOR DT:28.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jagannath_Power_And_Infra_Private_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 23.45 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 24.09 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 26.93 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 28.45 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 29.72 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 30.93 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 33.98 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 35.33 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 11.45 | -14 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.45 | -14 | 0 | 0 | 0 | 0.17 | 0 | 3.55
07:30 - 07:45 | 0 | 0 | 0 | 14.45 | -14 | 0 | 0 | 0 | 5.78 | 0 | 94.41
07:45 - 08:00 | 0 | 0 | 0 | 14.45 | -14 | 36.61 | 19.27 | 0 | 5.78 | 0 | 69.36
08:00 - 08:15 | 0 | 0 | 0 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 0 | 31.79
08:15 - 08:30 | -0.2 | 0 | 0 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 0 | 0
08:30 - 08:45 | -0.4 | 0 | 0 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 0
08:45 - 09:00 | -0.2 | 0 | 240.89 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 7.71
09:00 - 09:15 | -0.6 | 0 | 213.17 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 0
09:15 - 09:30 | -1.8 | 0 | 129.09 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 0
09:30 - 09:45 | -1.8 | 0 | 0 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 11.56
09:45 - 10:00 | -1.7 | 0 | 223.78 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 57.8
10:00 - 10:15 | -0.8 | -1.6 | 247.08 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 43.35
10:15 - 10:30 | -7.2 | -1.6 | 264.89 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 43.35
10:30 - 10:45 | -8.8 | -3.9 | 293.32 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 64.55
10:45 - 11:00 | -5.2 | -5 | 293.32 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 75.15
11:00 - 11:15 | -6.9 | -5.9 | 292.22 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 75.15
11:15 - 11:30 | -9 | -5.4 | 277 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 74.18
11:30 - 11:45 | -4.7 | -5.6 | 276.98 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 71.29
11:45 - 12:00 | -4.4 | -4.7 | 276.99 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 67.44
12:00 - 12:15 | -8.3 | -2.6 | 277.01 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 63.58
12:15 - 12:30 | -5.7 | 0 | 276.99 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 60.69
12:30 - 12:45 | -6.3 | -2 | 277 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 56.84
12:45 - 13:00 | -5.2 | -2.1 | 276.99 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 53.95
13:00 - 13:15 | -4.2 | -1.7 | 293.06 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 51.06
13:15 - 13:30 | -4.2 | -2.1 | 293.05 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 48.17
13:30 - 13:45 | -7.7 | -0.6 | 264.93 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 47.21
13:45 - 14:00 | -2.3 | 0 | 235.46 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 47.21
14:00 - 14:15 | -1.1 | -1.6 | 0 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 49.14
14:15 - 14:30 | -1.8 | 0 | 0 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 51.06
14:30 - 14:45 | -0.8 | -1.1 | 0 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 3.85 | 53.95
14:45 - 15:00 | -1.7 | -0.8 | 0 | 19.27 | -14 | 36.61 | 19.27 | 9.63 | 5.78 | 0 | 56.84
15:00 - 15:15 | -1.2 | 0 | 0 | 19.27 | -14 | 0 | 0 | 0 | 5.78 | 0 | 54.91
15:15 - 15:30 | -0.7 | 0 | 0 | 19.27 | -14 | 0 | 0 | 0 | 5.78 | 0 | 43.35
15:30 - 15:45 | -0.3 | -0.3 | 0 | 19.27 | -14 | 0 | 0 | 0 | 5.78 | 0 | 22.16
15:45 - 16:00 | 0 | 0 | 0 | 19.27 | -14 | 0 | 0 | 0 | 5.78 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.45 | -14 | 36.61 | 19.27 | 0 | 5.78 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.45 | -14 | 36.61 | 19.27 | 0 | 5.78 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.45 | -14 | 36.61 | 19.27 | 0 | 5.78 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.45 | -14 | 36.61 | 19.27 | 0 | 5.78 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 14.45 | -14 | 36.61 | 19.27 | 0 | 5.78 | 0 | 18.3
17:15 - 17:30 | 0 | 0 | 0 | 14.45 | -14 | 36.61 | 19.27 | 0 | 5.78 | 0 | 48.17
17:30 - 17:45 | 0 | 0 | 0 | 14.45 | -14 | 36.61 | 19.27 | 0 | 5.78 | 0 | 67.44
17:45 - 18:00 | 0 | 0 | 0 | 14.45 | -14 | 0 | 0 | 0 | 5.78 | 0 | 89.6
18:00 - 18:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 6.25 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 4.94 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 4.09 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 3.56 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 3.23 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 2.1 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 10.41 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 25.64 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 28.03 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 27.62 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 39.56 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 40.15 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.0958 | -0.50625 | 58.8717 | 8.1983 | -14 | 13.7287 | 7.2262 | 2.8087 | 2.5305 | 1.0026 | 18.482

## RTM
RTM TRADING DETAILS FOR DT: 28.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -2.5 | 0 | 0 | -1.5 | 14.3 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.86 | -2
00:15 - 00:30 | -2.5 | 0 | 0 | -1.5 | 14.45 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.89 | -2
00:30 - 00:45 | -2.5 | 0 | 0 | -1.5 | 23.44 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54 | -2
00:45 - 01:00 | -2.5 | 0 | 0 | -1.5 | 26.59 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61 | -2
01:00 - 01:15 | -2.5 | 0 | 0 | -1.5 | 47.88 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.81 | -2
01:15 - 01:30 | -2.5 | 0 | 0 | -1.5 | 51.59 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.03 | -2
01:30 - 01:45 | -2.5 | 0 | 0 | -1.6 | 23.53 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.35 | -2
01:45 - 02:00 | -2.5 | 0 | 0 | -1.6 | 25.25 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.52 | -2
02:00 - 02:15 | -2.5 | 0 | 0 | -1.5 | 28.58 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.57 | -2
02:15 - 02:30 | -2.5 | 0 | 0 | -1.5 | 34.84 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.45 | -2
02:30 - 02:45 | -2.5 | 0 | 0 | -1.5 | 11.58 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.89 | -2
02:45 - 03:00 | -2.5 | 0 | 0 | -1.5 | 11.41 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.69 | -2
03:00 - 03:15 | -2.5 | 0 | 0 | -1.5 | 5.98 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 23.93 | -2
03:15 - 03:30 | -2.5 | 0 | 0 | -1.5 | 6.16 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 24.63 | -2
03:30 - 03:45 | -2.5 | 0 | 0 | -1.5 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.01 | -2
03:45 - 04:00 | -2.5 | 0 | 0 | -1.5 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.84 | -2
04:00 - 04:15 | -2.5 | 0 | 0 | -1.5 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.37 | -2
04:15 - 04:30 | -2.5 | 0 | 0 | -1.5 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.38 | -2
04:30 - 04:45 | -2.5 | 0 | 0 | -1.5 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 20.56 | -2
04:45 - 05:00 | -2.5 | 0 | 0 | -1.5 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 21.22 | -2
05:00 - 05:15 | -2.5 | 0 | 0 | -1.5 | -100 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 20.15 | -12
05:15 - 05:30 | -2.5 | 0 | 0 | -1.5 | -150 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 21.52 | -12
05:30 - 05:45 | -2.5 | 0 | -0.4 | -1.5 | -250 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 24.8 | -12
05:45 - 06:00 | -2.5 | 0 | -0.4 | -1.5 | -350 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 29.48 | -12
06:00 - 06:15 | -2.5 | 0 | -0.4 | -1.6 | -200 | 0 | 0 | -40 | -0.1 | -0.1 | 0 | 0 | -0.7 | 0 | -0.2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.02 | -12
06:15 - 06:30 | -2.5 | -10 | -0.4 | -1.6 | -200 | 0 | 0 | -40 | -0.2 | -0.2 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.73 | -12
06:30 - 06:45 | -2.5 | 0 | 0 | -1.6 | -150 | 0 | 0 | -40 | -0.3 | -0.3 | 0 | 0 | -0.7 | 0 | -0.7 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12
06:45 - 07:00 | -2.5 | 0 | 0 | -1.6 | -250 | 0 | 0 | -40 | -0.4 | -0.5 | 0 | 0 | -0.7 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12
07:00 - 07:15 | -2.5 | 0 | 0 | -1.5 | -250 | 0 | 0 | -200 | -0.5 | -0.8 | 0 | 0 | -0.7 | 0 | -1.3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12
07:15 - 07:30 | -2.5 | 0 | 0 | -1.5 | -283.31 | 0 | 10.6 | -74.4 | -0.6 | -0.9 | 0 | 0 | -0.7 | 19.27 | -1.5 | 14.45 | 7.71 | 0 | 0 | -5 | 0 | 0 | 0 | -30 | 8.86 | 52.99 | 0.67 | 0 | -12
07:30 - 07:45 | -2.5 | 0 | 0 | 0 | -352 | 0 | 10.6 | 0 | -0.6 | -1.1 | 9.63 | 0 | -0.7 | 19.27 | -1.7 | 14.45 | 7.71 | 0 | 4.82 | -5 | 0 | 0 | -5 | -40 | 8.86 | 52.99 | 0.67 | 0 | -12
07:45 - 08:00 | -2.5 | 0 | 0 | 0 | -373.89 | 0 | 10.6 | 0 | -0.7 | -1.2 | 9.63 | 0 | -0.7 | 19.27 | 0 | 14.45 | 7.71 | 0 | 4.82 | -5 | 0 | 0 | -5 | -50 | 8.86 | 52.99 | 0.67 | 0 | -12
08:00 - 08:15 | -2.5 | -9 | -0.4 | 0 | -40.01 | 0 | 10.6 | 0 | -0.2 | -1.3 | 0 | -1 | -0.7 | 0 | 0 | 4.82 | 7.71 | 0 | 4.82 | -2 | 0 | 0 | -5 | -70 | 8.86 | 0 | 0.67 | 0 | 0
08:15 - 08:30 | -2.5 | 0 | -0.4 | 0 | -34.96 | 0 | 10.59 | 0 | -0.2 | -1.5 | 0 | -1 | -0.7 | 0 | 5.4 | 4.82 | 7.71 | 0 | 4.82 | -2 | 0 | 0 | -5 | -18 | 8.86 | 0 | 0.67 | 0 | 0
08:30 - 08:45 | -2.5 | 0 | -0.4 | 0 | -9.96 | 8.67 | 10.59 | 0 | -0.3 | -2.4 | 0 | 0 | -0.7 | 0 | 5.11 | 4.82 | 7.71 | 0 | 4.82 | 0 | 0 | 0 | 0 | -50 | 8.86 | 0 | 0.67 | 0 | 0
08:45 - 09:00 | 0 | 0 | -0.4 | 0 | -2.48 | 8.09 | 10.6 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 4.91 | 4.82 | 7.71 | 0 | 4.82 | 0 | 0 | 0 | 0 | -16.39 | 8.86 | 0 | 0.67 | 0 | 0
09:00 - 09:15 | -2.5 | 0 | 0 | 0 | -85.3 | 6.55 | 10.6 | 0 | -0.7 | -2.8 | 0 | 0 | -0.7 | 0 | 4.72 | 4.82 | 7.71 | 0 | 4.82 | 0 | 0 | 0 | 0 | -20 | 8.86 | 0 | 0.67 | 0 | 0
09:15 - 09:30 | -2.5 | 0 | 0 | 0 | -19.94 | 6.65 | 10.6 | 0 | -0.7 | -2.09 | 0 | 0 | -0.7 | 0 | 4.43 | 4.82 | 7.71 | 0 | 4.82 | 0 | 0 | 0 | 0 | -90 | 8.86 | 0 | 0.67 | 0 | 0
09:30 - 09:45 | -2.5 | -9 | 0 | 0 | 0 | 6.45 | 10.6 | 0 | -0.9 | -3.2 | 0 | 0 | -0.7 | 0 | 4.24 | 4.82 | 7.71 | 1.93 | 4.82 | 0 | 0 | 0 | 0 | -80 | 8.86 | 14.45 | 0.67 | 0 | 0
09:45 - 10:00 | -2.5 | 0 | 0 | 0 | -39.93 | 6.07 | 10.6 | 0 | -0.9 | -3.3 | 0 | 0 | -0.7 | 0 | 4.14 | 4.82 | 7.71 | 1.93 | 4.82 | 0 | 0 | 0 | 0 | -22 | 8.86 | 14.45 | 0.67 | 0 | 0
10:00 - 10:15 | -2.5 | 0 | 0 | 0 | 278.52 | 0 | 10.6 | 0 | -1.1 | -3.6 | 0 | -1 | -0.7 | 0 | 3.85 | 4.82 | 7.71 | 1.93 | 4.82 | 0 | 0 | 0 | 0 | -45 | 8.86 | 14.45 | 0.67 | 0 | 0
10:15 - 10:30 | -2.5 | 0 | 0 | 0 | 568.26 | 0 | 10.6 | 0 | -1 | -3.5 | 0 | -1 | -0.7 | 0 | 3.85 | 4.82 | 7.71 | 1.93 | 4.82 | 0 | 0 | 0 | 0 | -30 | 8.86 | 14.45 | 0.67 | 0 | 0
10:30 - 10:45 | -2.5 | 0 | 0 | 0 | 640.67 | 0 | 10.6 | 0 | -1.2 | -3.7 | 0 | -1 | -0.7 | 0 | 3.76 | 4.82 | 7.71 | 1.93 | 4.82 | 0 | 0 | 0 | 0 | -30 | 8.86 | 14.45 | 5.49 | 0 | 0
10:45 - 11:00 | -2.5 | 0 | 0 | 0 | 643.68 | 0 | 10.6 | 0 | -1.2 | -3.8 | 0 | -1 | -0.7 | 0 | 3.76 | 4.82 | 7.71 | 1.93 | 4.82 | 0 | 0 | 0 | 0 | -100 | 8.86 | 14.45 | 5.49 | 0 | 0
11:00 - 11:15 | -2.5 | 0 | 0 | 0 | 420.28 | 0 | 10.6 | 0 | -1.3 | -3.8 | 0 | -1 | -0.7 | 0 | 3.76 | 4.82 | 7.71 | 1.93 | 15.41 | 0 | 0 | 0 | 0 | -90 | 8.86 | 14.45 | 5.49 | 0 | 0
11:15 - 11:30 | -2.5 | 0 | 0 | 0 | 180.63 | 0 | 10.6 | 0 | -1.3 | -3.8 | 0 | -1 | -0.7 | 0 | 3.76 | 4.82 | 7.71 | 1.93 | 15.41 | 0 | 0 | 0 | 0 | -30 | 8.86 | 14.45 | 5.49 | 0 | 0
11:30 - 11:45 | -2.5 | 0 | 0 | 0 | 62.61 | 6.74 | 10.6 | 0 | -1.3 | -3.8 | 0 | -1 | -0.7 | 0 | 3.95 | 4.82 | 7.71 | 1.93 | 15.41 | 0 | 0 | 0 | 0 | -60 | 8.86 | 0 | 5.49 | 0 | 0
11:45 - 12:00 | -2.5 | 0 | 0 | 0 | 0 | 0 | 10.6 | 0 | -1.3 | -3.8 | 0 | -1 | -0.7 | 0 | 4.24 | 4.82 | 7.71 | 1.93 | 15.41 | 0 | 0 | 0 | 0 | -70 | 8.86 | 0 | 5.49 | 0 | 0
12:00 - 12:15 | -2.5 | 0 | 0 | 0 | -205.56 | 0 | 10.6 | 0 | -1.3 | -3.4 | 0 | -1 | -0.7 | 0 | 4.43 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 0 | 0 | 0 | -30 | 8.86 | 0 | 5.49 | 0 | 0
12:15 - 12:30 | -2.5 | 0 | 0 | 0 | -160.54 | 0 | 10.6 | 0 | -1.3 | -3.4 | 0 | -1 | -0.7 | 0 | 4.62 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 0 | 0 | 0 | -85 | 8.86 | 0 | 5.49 | 0 | 0
12:30 - 12:45 | -2.5 | 0 | 0 | 0 | -210.55 | 0 | 10.6 | 0 | -2.1 | -3.3 | 0 | -1 | -0.7 | 0 | 4.24 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | 0 | 0 | -80 | 8.86 | 0 | 5.49 | 0 | 0
12:45 - 13:00 | -2.5 | 0 | 0 | 0 | -219.94 | 0 | 10.6 | 0 | -2.1 | -3.2 | 0 | -1 | -0.7 | 0 | 3.95 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | 0 | 0 | -25 | 8.86 | 0 | 5.49 | 0 | 0
13:00 - 13:15 | -2 | 0 | -0.4 | 0 | -155.52 | 0 | 10.6 | 0 | -2.1 | -2.5 | 0 | -1 | -0.7 | 0 | 3.66 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | 0 | 0 | -50 | 8.86 | 0 | 5.49 | 0 | 0
13:15 - 13:30 | -2 | 0 | -0.4 | 0 | -169.91 | 0 | 10.6 | 0 | -2.1 | -2.4 | 0 | -1 | -0.7 | 0 | 3.47 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | -1.5 | 0 | -25 | 8.86 | 0 | 5.49 | 0 | 0
13:30 - 13:45 | -2 | 0 | -0.4 | 0 | -245.98 | 0 | 10.6 | 0 | -1.3 | -2.2 | 0 | -1 | -0.7 | 0 | 3.66 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | 0 | 0 | -35 | 8.86 | 0 | 5.49 | 0 | 0
13:45 - 14:00 | -2 | 0 | -0.4 | 0 | -161.66 | 0 | 10.6 | 0 | -1.3 | -2.1 | 0 | -1 | -0.7 | 0 | 3.85 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | 0 | 0 | -95 | 8.86 | 0 | 5.49 | 0 | 0
14:00 - 14:15 | -2 | 0 | -0.4 | 0 | -192.05 | 0 | 10.6 | 0 | -1.3 | -1.4 | 0 | -1 | -0.7 | 0 | 0 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | -1.5 | 0 | -90 | 8.86 | 0 | 5.49 | 0 | 0
14:15 - 14:30 | -2 | 0 | -0.4 | 0 | 0 | 0 | 10.6 | 0 | -0.4 | -1.3 | 0 | -1 | -0.7 | 0 | 0 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | -1 | 0 | -30 | 8.86 | 0 | 5.49 | 0 | 0
14:30 - 14:45 | -2 | 0 | -0.4 | 0 | 0 | 0 | 10.6 | 0 | -1 | -1.2 | 0 | -1 | -0.7 | 0 | 0 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | -1 | 0 | -50 | 8.86 | 0 | 5.49 | 0 | 0
14:45 - 15:00 | -2 | 0 | -0.4 | 0 | 0 | 0 | 10.6 | 0 | -0.5 | -1.1 | 0 | -1 | -0.7 | 0 | 0 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | 0 | 0 | -60 | 8.86 | 0 | 5.49 | 0 | 0
15:00 - 15:15 | -2 | 0 | -0.4 | 0 | 0 | 0 | 10.6 | 0 | -0.8 | -1.1 | 0 | -1 | -0.7 | 0 | 0 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 0 | 0 | 0 | -30 | 8.86 | 0 | 5.49 | 0 | 0
15:15 - 15:30 | -2 | 0 | -0.4 | 0 | 0 | 0 | 10.59 | 0 | -0.8 | -1 | 0 | -1 | -0.7 | 0 | 0 | 4.82 | 7.71 | 1.93 | 0 | 0 | 0 | 0 | 0 | -85 | 8.86 | 0 | 5.49 | 0 | 0
15:30 - 15:45 | -2 | 0 | -0.4 | 0 | 0 | 0 | 10.6 | 0 | -0.5 | -0.5 | 9.63 | -1 | -0.7 | 0 | 5.59 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | 0 | 0 | -60 | 8.86 | 0 | 5.49 | 0 | 0
15:45 - 16:00 | -2 | 0 | -0.4 | 0 | 0 | 0 | 10.6 | 0 | -0.5 | -0.4 | 9.63 | -1 | -0.7 | 0 | 5.88 | 4.82 | 7.71 | 1.93 | 19.26 | 0 | 2.89 | 0 | 0 | -40 | 8.86 | 0 | 5.49 | 0 | 0
16:00 - 16:15 | -2 | 19.27 | -0.4 | 0 | 0 | 15.61 | 10.6 | 0 | 0 | 0 | 9.63 | 0 | -0.7 | 19.26 | 0.77 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 2.89 | 0 | 0 | 0 | 8.86 | 14.45 | 5.49 | 0 | 0
16:15 - 16:30 | -2 | 24.08 | -0.4 | 0 | -2.93 | 15.41 | 10.6 | 0 | 0 | 0 | 9.63 | 0 | -0.7 | 19.27 | 0 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 2.89 | 0 | 0 | -30 | 8.86 | 14.45 | 5.49 | 0 | 0
16:30 - 16:45 | -2 | 26.98 | -0.4 | 0 | -4.93 | 15.51 | 10.6 | 0 | -0.07 | 0 | 9.63 | 0 | -0.7 | 19.27 | 0 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 2.89 | 0 | 0 | -45 | 8.86 | 14.45 | 5.49 | 51.05 | 0
16:45 - 17:00 | -2 | 26.98 | -0.4 | 0 | -39.93 | 15.32 | 10.6 | 0 | -0.2 | -0.3 | 9.63 | 0 | -0.7 | 19.27 | 0 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 2.89 | 0 | 0 | -20 | 8.86 | 0 | 5.49 | 51.05 | 0
17:00 - 17:15 | -2 | 26.98 | 0 | 0 | -49.75 | 15.41 | 10.6 | 0 | -0.1 | -0.1 | 9.63 | 0 | -0.7 | 19.27 | 0 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 2.89 | 0 | 0 | 0 | 8.86 | 0 | 0.67 | 51.06 | 0
17:15 - 17:30 | -2 | 26.98 | 0 | 0 | -124.1 | 15.9 | 10.6 | 0 | 0 | -0.1 | 9.63 | 0 | -0.7 | 19.27 | 0 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 2.89 | 0 | 0 | -10 | 8.86 | 0 | 0.67 | 51.05 | 0
17:30 - 17:45 | -2 | 26.97 | 0 | 0 | -99.99 | 0 | 10.6 | 0 | 0 | -0.1 | 9.63 | -1 | -0.7 | 19.27 | -0.5 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 2.89 | 0 | 0 | -10 | 8.86 | 0 | 5.49 | 0 | 0
17:45 - 18:00 | -2 | 26.97 | 0 | 0 | -118.72 | 0 | 10.6 | 0 | 0 | 0 | 0 | -1 | -0.7 | 19.27 | -0.2 | 14.45 | 7.71 | 1.93 | 19.27 | 0 | 2.89 | 0 | 0 | 0 | 8.86 | 0 | 5.49 | 0 | 0
18:00 - 18:15 | -2 | 26.97 | 0 | 0 | -257.3 | 17.34 | 10.6 | 0 | 0 | 0 | 9.63 | 0 | -0.7 | 19.27 | 0 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 0 | 0 | 0 | 0 | 8.86 | 0 | 5.49 | 0 | 0
18:15 - 18:30 | -2 | 26.97 | 0 | 0 | -349.9 | 0 | 10.6 | 0 | 0 | 0 | 9.63 | 0 | -0.7 | 19.27 | 0.19 | 4.82 | 7.71 | 1.93 | 19.27 | 0 | 0 | 0 | 0 | -40 | 8.86 | 0 | 5.49 | 0 | 0
18:30 - 18:45 | -2 | 26.97 | 0 | 0 | -350 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -0.7 | 19.27 | 0 | 4.82 | 3.86 | 0.96 | 0 | 0 | 0 | 0 | 0 | -30 | 8.86 | 0 | 2.76 | 0 | 0
18:45 - 19:00 | -2 | 16.38 | 0 | 0 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 19.27 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2 | -7 | 0 | 0 | -250.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2 | -7 | 0 | 0 | -255.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2 | -11 | 0 | -1.5 | -251.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2 | -14 | 0 | -1.5 | -255.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.2 | -14 | 0 | -1.5 | -256.25 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.2 | -18 | 0 | -1.5 | -258.33 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.2 | -20 | 0 | -1.5 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.2 | -19 | 0 | -1.5 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.2 | -19 | 0 | -1.5 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.2 | -19 | 0 | -1.5 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.2 | -19 | -0.4 | -1.6 | 0 | 0 | 0 | -134 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.2 | -19 | -0.4 | -1.6 | 0 | 0 | 0 | -134 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.2 | -26 | -0.4 | -1.7 | 0 | 0 | 0 | -134 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.2 | -17 | -0.4 | -1.7 | 0 | 0 | 0 | -134 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.2 | -17 | 0 | -1.7 | 9.23 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.2 | -17 | 0 | -1.7 | 9.33 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.2 | -17 | 0 | -1.7 | 37.83 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
23:15 - 23:30 | -2.2 | -17 | 0 | -1.7 | 51.83 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -1
23:30 - 23:45 | -2.2 | -17 | 0 | -1.7 | 59.64 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1
23:45 - 24:00 | -2.2 | -17 | 0 | -1.7 | 77.23 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
Average | -2.2781 | -0.58854 | -0.11667 | -0.775 | -49.7085 | 1.6638 | 5.0789 | -27.2958 | -0.38302 | -0.86031 | 1.3041 | -0.29167 | -1.525 | 3.0108 | 1.0489 | 2.8614 | 3.6543 | 0.73375 | 6.3618 | -2.4792 | 0.60208 | -0.052083 | -0.20833 | -26.6811 | 4.2454 | 3.3117 | 1.8491 | 5.8965 | -1.9583