## POWER STATUS
POWER STATUS ON DT 30.06.2026
[9 empty] | 2026-06-30 | 2026-06-29
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 22:00
Demand -> | [8 empty] | 5333.9383 | 6416.6335
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 4.583 | 0.10999 | 630/590 ft | 600.65 | 600.71 | 600.69 | 0 | 0
| Chiplima | 72(3x24) | 6.083 | 0.14599 | - |  |  |  | 0 | 9.9905
| Balimela | 510(6x60+2x75) | 185.791 | 4.459 | 1516/1440 ft | 1454.3 | 1458.4 | 1458 | 95.862 | 276.2904
| Rengali | 250(5x50) | 3.7333 | 0.089599 | 123.5/109.75 mt | 117.45 | 109.79 | 109.8 | 0 | 0
| Upper Kolab | 320(4x80) | 20.29 | 0.48696 | 858/844 mt | 847.69 | 847.07 | 847.06 | 0 | 44.6977
| Upper Indravati | 600(4x150) | 48.7292 | 1.1695 | 642/625 mt | 628.87 | 628.52 | 628.5 | 0.29075 | 344.0948
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2725.9 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 269.2095 | 6.461 |  |  |  |  | 96.1527 | 675.0734
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1633.55 | 39.2052 | RENEWABLE ENERGY (RE) |  |  |  | 1662.586 | 1678.6045
[5 empty] | M.Hydl | 37.62
| Total Thermal | 2200 | 1633.55 | 39.2052 | Solar | 132.13 |  |  | 1662.586 | 1678.6045
IPP | VEDANTA #2 | 600 (1x600) | 372.98 | 8.9515 | Total IPPs | Yesterday's Demand Profile |  |  | 390.6448 | 501.9727
| GMR #3 | 350 (1x350) | 271.57 | 6.5177 | 716.51 |  | MW | HRS | 324.4417 | 329.2968
| NBVL(IPP) | 60(1x60) | 51.82 | 1.2437 |  |  |  |  | 54.8316 | 54.0918
| MDTPC |  | 20.14 | 0.48336 |  |  |  |  | 0 | 0
| CGPs |  | 953.81 | 22.8914 | IPPs, CGPs & RE | Maximum | 6489 | 15:00 | 1838.0348 | 2217.3491
| Central Sector(Drawl) |  | 2285.71 | 54.857 | 1840.07 | Minimum | 5415 | 06:00 | 1737.1647 | 1845.6066
| Central Sector(Sch) |  | 2386.7586 | 57.2822 |  | Average | 6028.5395 |  | 2053.0664 | 2084.4199
| Grand Total |  | 6028.5395 | 144.6849 | Instantaneous Peak demand |  | 6891 | 00:06 | 5333.9383 | 6416.6335
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1959.8896 | 47.0374 | 1944.4195 | 46.6661 | 1901.7003 | 45.6408
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1888.7733 | 45.3306 | 1895.4275 | 45.4903 | 1692.206 | 40.6129
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1468.1021 | 35.2344 | 1429.9252 | 34.3182 | 1308.2241 | 31.3974
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 681.87 | 16.3649 | 681.4831 | 16.3556 | 668.03 | 16.0327
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5998.6349 | 143.9672 | 5951.2552 | 142.8301 | 5570.1604 | 133.6838
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 267 | GMR |  |  |  | 180
| NBVL #3 | 48 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 4 | SAPTADHARA |  |  |  | 0
Solar: |  | 95 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 221.1814 | JSL(Duburi) |  |  |  | -88.9957
| ICCL | 36.3873 | visa |  |  |  | 15.4429
| NALCO | -148.5513 | VAL (CGP) |  |  |  | -11.3787
| RSP | -52.5464 | BSL(MMDL) |  |  |  | 11.7271
| INDAL | -0.96692 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -46.6361 | VAL CPP 400 kV |  |  |  | -420.8605
| NBVL | 48.9003 | Arati |  |  |  | 27.0823
| BPSL(JSG) | -37.3576 | BPPL |  |  |  | 123.5878
Banking Avg -: (MW) |  | 289.02
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-22 | 2026-06-23 | 2026-06-24 | 2026-06-25 | 2026-06-26 | 2026-06-27 | 2026-06-28 | 2026-06-29
365.2517 | 341.5829 | 516.52 | 543.06 | 560.9336 | 521.0913 | 282.727 | 269.2095
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.29.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 135.62
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 64.1
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 91.17
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.29
JPIPL | NPCL_UP | 0 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 8.97
MAADURGA_THERMAL | NPCL_UP | -5.2 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.53 | AWEK1L | ODISHA | 13.45
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.18
OCL_IRON_STEEL | BRPL | -34.42 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -0.5 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 31.78
ODISHA | PCKL | -30.21 | DCBL_Rajgangpur | DALCEMAP | -4.38 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.66
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | DCBL_Rajgangpur | DCBLME | -4.75 | DADRI_SOLAR | ODISHA | 0.73
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | BRPL | -6 | ENERSON_SOLAR_10MW | ODISHA | 1.65
FARIDABAD_SOLAR | ODISHA | 0.94 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_GreenInfra_W | ODISHA | 0.03
JBVNL | ODISHA | 72.22 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_S | VLSEZ | 26.87
JSWEL_UTKAL | ODISHA | 27.79 | FACORPOWER | PSPCL | -14.17 | GADAG_Serentica3_W | VLSEZ | 84.36
MPPMCL | ODISHA | 192.6 | FACORPOWER | PSPCL | -12.75 | GADAG_Serentica3_W | VLSEZ | 6.42
MPPMCL | ODISHA | 186.58 | FACORPOWER | PSPCL | 0 | GIWEL_SECI_II_RE | ODISHA | 40.39
Manipur_Ben | ODISHA | 32.86 | FACORPOWER | PSPCL | -5.25 | GPCL_SOLAR_10 | ODISHA | 1.95
Meghalaya_Ben | ODISHA | 7.91 | FACORPOWER | PSPCL | -5.83 | GSECL_SOLAR | ODISHA | 1.13
PPGCL | ODISHA | 46.61 | GMRKEL_STU | PSPCL | -61.9 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.97
RAJ_SOLAR | ODISHA | 2.31 | NBVLIPP | BRPL | -13.12 | KARUR_TPVARDHAMAN_W | TSKPO | 83.64
RAJ_SOLAR | ODISHA | 2.65 | NBVLIPP | BRPL | -31.88 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
TATA_POWER_HALDIA | ODISHA | 4.82 | NBVL_OTCL | PSPCL | -18.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
|  |  | NBVL_OTCL | PSPCL | -7.58 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.31
|  |  | NBVL_OTCL | PSPCL | 0 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.86
|  |  | OCL_IRON_STEEL | TPDDL | -7.29 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.15
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | OKWPL_RE | ODISHA | 22.95
|  |  | ORSISL | PSPCL | -3.54 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 17.57
|  |  | ORSISL | PSPCL | -1.46 | RWE_AP2_SECI_III | ODISHA | 21.89
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | RenewGreen_SLPR_HS | JSL_DUBURI | 2.24
|  |  | SGML | UPPCL | -4.17 | SRI9PL_FTG3 | VLSEZ | 42.47
|  |  | TIMES_STEEL | PONDY | -6 | TPSL_BKN2 | TSKPO | 0
|  |  | TSBSLA | DNHDDPDCL | -20 | TPSL_BKN2 | TSKPO | 0
|  |  | VIRAJ_SEPL | WBSEDCL | -10 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
|  |  | VSL | UPPCL | -4.17 | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
|  |  | JIPL | ODISHA | 115.56 | Tuticorin_BETAMWIND | ODISHA | 64.79
|  |  | NALCOAP | NACL_Odisha | 17.8 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 3.67
[6 empty] | XXPPL_FTG3 | ODISHA | 37.17

## DAM
DAM TRADING DETAILS FOR DT :29.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | -3.3 | 0 | 0.17 | 0 | -519.99 | -9 | 0 | 0
00:15 - 00:30 | -3.3 | 0 | 0.13 | 0 | -520 | -9 | 0 | 0
00:30 - 00:45 | -3.3 | 0 | 1.13 | 0 | -520 | -9 | 0 | 0
00:45 - 01:00 | -3.3 | 0 | 2.61 | 0 | -520 | -9 | 0 | 0
01:00 - 01:15 | -3.3 | 0 | 9.76 | 0 | -520 | -9 | 0 | 0
01:15 - 01:30 | -3.3 | 0 | 12.37 | 0 | -520 | -9 | 0 | 0
01:30 - 01:45 | -3.3 | 0 | 25.1 | 0 | -520 | -9 | 0 | 0
01:45 - 02:00 | -3.3 | 0 | 29 | 0 | -520 | -9 | 0 | 0
02:00 - 02:15 | -3.3 | 0 | 53.2 | 0 | -519.99 | -9 | 0 | 0
02:15 - 02:30 | -3.3 | 0 | 63.18 | 0 | -520 | -9 | 0 | 0
02:30 - 02:45 | -3.3 | 0 | 83.16 | 0 | -520 | -9 | 0 | 0
02:45 - 03:00 | -3.3 | 0 | 89.88 | 0 | -520 | -9 | 0 | 0
03:00 - 03:15 | -8.3 | 0 | 116.85 | 0 | -450 | -9 | 0 | 0
03:15 - 03:30 | -8.3 | 0 | 126.86 | 0 | -450 | -9 | 0 | 0
03:30 - 03:45 | -8.3 | 0 | 166.93 | 0 | -450 | -9 | 0 | 0
03:45 - 04:00 | -8.3 | 0 | 172.64 | 0 | -450 | -9 | 0 | 0
04:00 - 04:15 | -8.3 | 0 | 0 | 0 | -450 | -9 | 0 | 0
04:15 - 04:30 | -8.3 | 0 | 0 | 0 | -450 | -9 | 0 | 0
04:30 - 04:45 | -8.3 | 0 | 0 | 0 | -450 | -9 | 0 | 0
04:45 - 05:00 | -8.3 | 0 | 0 | 0 | -450 | -9 | 0 | 0
05:00 - 05:15 | -8.3 | 0 | -100 | 0 | -450 | -9 | 0 | 0
05:15 - 05:30 | -8.3 | 0 | -100 | 0 | -450 | -9 | 0 | 0
05:30 - 05:45 | -8.3 | 0 | -100 | 0 | -450 | -9 | 0 | 0
05:45 - 06:00 | -8.3 | 0 | -100 | 0 | -450 | -9 | 0 | 0
06:00 - 06:15 | -8.3 | 0 | -150 | 0 | -450 | -9 | 0 | 0
06:15 - 06:30 | -8.3 | 0 | -150 | 0 | -450 | -9 | 0 | 0
06:30 - 06:45 | -8.3 | 0 | -150 | 0 | -450 | -9 | 0 | 0
06:45 - 07:00 | -8.3 | 0 | -150 | 0 | -450 | -9 | 0 | 0
07:00 - 07:15 | -8.3 | 0 | -600 | 0 | -200 | -9 | 0 | 0
07:15 - 07:30 | -8.3 | 0 | -600 | 0 | -200 | -9 | 0 | 0
07:30 - 07:45 | -8.3 | 0 | -600 | 0 | -200 | -9 | 0 | 0
07:45 - 08:00 | -8.3 | 0 | -600 | 0 | -200 | -9 | 0 | 0
08:00 - 08:15 | -8.3 | 7.7 | -950 | 0 | -300 | -1 | 0 | 0
08:15 - 08:30 | -8.3 | 7.7 | -832.73 | 0 | -125.21 | -1 | 9.63 | 0
08:30 - 08:45 | -8.3 | 7.7 | -600 | 0 | 0 | -1 | 9.63 | 0
08:45 - 09:00 | -8.3 | 7.7 | -600 | 0 | 0 | -1 | 9.63 | 0
09:00 - 09:15 | -8.3 | 7.7 | -721.9 | 0 | 0 | -1 | 9.63 | 0
09:15 - 09:30 | -8.3 | 7.7 | -609.24 | 28.89 | 0 | -1 | 9.63 | 0
09:30 - 09:45 | -8.3 | 7.7 | -461.82 | 28.89 | 0 | -1 | 9.63 | 0
09:45 - 10:00 | -8.3 | 7.7 | -400.93 | 28.89 | 0 | -1 | 9.63 | 0
10:00 - 10:15 | -8.3 | 7.7 | 0 | 28.89 | 0 | -1 | 9.63 | 0
10:15 - 10:30 | -8.3 | 7.7 | 0 | 28.89 | 0 | -1 | 9.63 | 0
10:30 - 10:45 | -8.3 | 7.7 | 0 | 28.89 | 0 | -1 | 9.63 | 0
10:45 - 11:00 | -8.3 | 7.7 | 0 | 28.89 | 0 | -1 | 9.63 | 0
11:00 - 11:15 | -8.3 | 7.7 | 0 | 28.89 | 0 | -1 | 9.63 | 0
11:15 - 11:30 | -8.3 | 7.7 | 0 | 28.89 | 0 | -1 | 9.63 | 0
11:30 - 11:45 | -8.3 | 7.7 | 0 | 28.89 | 0 | -1 | 9.63 | 0
11:45 - 12:00 | -8.3 | 7.7 | -77.28 | 28.89 | 0 | -1 | 9.63 | 0
12:00 - 12:15 | -8.3 | 7.7 | -239.9 | 28.89 | 0 | -1 | 9.63 | 0
12:15 - 12:30 | -8.3 | 7.7 | -253.83 | 28.89 | 0 | -1 | 9.63 | 0
12:30 - 12:45 | -8.3 | 7.7 | -270.81 | 28.89 | 0 | -1 | 9.63 | 0
12:45 - 13:00 | -8.3 | 7.7 | -328.58 | 28.89 | 0 | -1 | 9.63 | 0
13:00 - 13:15 | -8.3 | 7.7 | -175.58 | 28.89 | 0 | -1 | 9.63 | 0
13:15 - 13:30 | -8.3 | 7.7 | -191.39 | 28.89 | 0 | -1 | 9.63 | 0
13:30 - 13:45 | -8.3 | 7.7 | -300.57 | 28.89 | 0 | -1 | 9.63 | 0
13:45 - 14:00 | -8.3 | 7.7 | -352.16 | 0 | 0 | -1 | 9.63 | 0
14:00 - 14:15 | -8.3 | 7.7 | -227.37 | 0 | 0 | -1 | 9.63 | 0
14:15 - 14:30 | -8.3 | 7.7 | -250 | 0 | 0 | -1 | 9.63 | 0
14:30 - 14:45 | -8.3 | 7.7 | -250 | 0 | 0 | -1 | 9.63 | 0
14:45 - 15:00 | -8.3 | 7.7 | -250 | 0 | 0 | -1 | 9.63 | 0
15:00 - 15:15 | -8.3 | 7.7 | -200 | 0 | -300 | -1 | 0 | 0
15:15 - 15:30 | -8.3 | 7.7 | -200 | 0 | -300 | -1 | 0 | 0
15:30 - 15:45 | -8.3 | 7.7 | -200 | 0 | -300 | -1 | 0 | 0
15:45 - 16:00 | -8.3 | 7.7 | -200 | 0 | -300 | -1 | 0 | 0
16:00 - 16:15 | -8.3 | 0 | -400 | 0 | -300 | -1 | 0 | 0
16:15 - 16:30 | -8.3 | 0 | -400 | 0 | -300 | -1 | 0 | 0
16:30 - 16:45 | -8.3 | 0 | -400 | 0 | -300 | -1 | 0 | 0
16:45 - 17:00 | -8.3 | 0 | -400 | 0 | -300 | -1 | 0 | 0
17:00 - 17:15 | -8.3 | 0 | -400 | 0 | -200 | -1 | 0 | 0
17:15 - 17:30 | -8.3 | 0 | -400 | 0 | -200 | -1 | 0 | 0
17:30 - 17:45 | -8.3 | 0 | -400 | 0 | -200 | -1 | 0 | 0
17:45 - 18:00 | -8.3 | 0 | -400 | 0 | -200 | -1 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | 0 | -200 | -5 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | 0 | 0 | -200 | -5 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | 0 | 0 | -200 | -5 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | 0 | 0 | -200 | -5 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | 173.71 | 0 | -520 | -9 | 0 | -19.4
19:15 - 19:30 | -3.3 | 0 | 123.63 | 0 | -520 | -9 | 0 | -19.4
19:30 - 19:45 | -3.3 | 0 | 90.23 | 0 | -520 | -9 | 0 | -19.4
19:45 - 20:00 | -3.3 | 0 | 96.62 | 0 | -520 | -9 | 0 | -19.4
20:00 - 20:15 | -3.3 | 0 | 59.16 | 0 | -520 | -9 | 0 | -19.4
20:15 - 20:30 | -3.3 | 0 | 57.83 | 0 | -520 | -9 | 0 | -19.4
20:30 - 20:45 | -3.3 | 0 | 54.77 | 0 | -520 | -9 | 0 | -19.4
20:45 - 21:00 | -3.3 | 0 | 51.75 | 0 | -520 | -9 | 0 | -19.4
21:00 - 21:15 | -3.3 | 0 | 42.78 | 0 | -520 | -9 | 0 | -19.4
21:15 - 21:30 | -3.3 | 0 | 39.71 | 0 | -520 | -9 | 0 | -19.4
21:30 - 21:45 | -3.3 | 0 | 28.36 | 0 | -519.99 | -9 | 0 | -19.4
21:45 - 22:00 | -3.3 | 0 | 24.05 | 0 | -520 | -9 | 0 | -19.4
22:00 - 22:15 | -3.3 | 0 | 18.85 | 0 | -520 | -9 | 0 | -19.4
22:15 - 22:30 | -3.3 | 0 | 14.45 | 0 | -520 | -9 | 0 | -19.4
22:30 - 22:45 | -3.3 | 0 | 2.41 | 0 | -520 | -9 | 0 | -19.4
22:45 - 23:00 | -3.3 | 0 | 0.3 | 0 | -520 | -9 | 0 | -19.4
23:00 - 23:15 | -3.3 | 0 | 0.01 | 0 | -520 | -9 | 0 | -19.4
23:15 - 23:30 | -3.3 | 0 | 0.48 | 0 | -520 | -9 | 0 | -19.4
23:30 - 23:45 | -3.3 | 0 | 7.69 | 0 | -520 | -9 | 0 | -19.4
23:45 - 24:00 | -3.3 | 0 | 12.3 | 0 | -520 | -9 | 0 | -19.4
Average | -6.425 | 2.57 | -122.6377 | 7.2271 | 1.2833 | -246.5375 | 0.10031 | -5.0833

## GDAM
GDAM TRADING DETAILS FOR DT:29.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 22.07 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 22.11 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 21.75 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 19.65 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 16.55 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 15.02 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 14.04 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 13.26 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | -0.1 | -0.9 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 40.44
08:00 - 08:15 | -0.4 | -0.7 | 0 | 19.26 | 0 | 0 | 0 | 5.78 | 0
08:15 - 08:30 | -0.6 | -0.4 | 0 | 19.26 | 0 | 0 | 0 | 5.78 | 0
08:30 - 08:45 | -0.9 | 0 | 0 | 19.26 | 0 | 0 | 0 | 5.78 | 0
08:45 - 09:00 | -1.7 | -1.3 | 0 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
09:00 - 09:15 | -3.8 | -1.2 | 0 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
09:15 - 09:30 | -4.9 | -1.4 | 0 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
09:30 - 09:45 | -4.2 | -2.3 | 0 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
09:45 - 10:00 | -7.5 | -3.9 | 0 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
10:00 - 10:15 | -7.1 | -5.1 | 130.17 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
10:15 - 10:30 | -10.4 | -6.3 | 240.82 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
10:30 - 10:45 | -10.5 | -6.9 | 264.78 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
10:45 - 11:00 | -8.4 | -8.2 | 252.84 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
11:00 - 11:15 | -10.9 | -6.9 | 264.78 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
11:15 - 11:30 | -12.2 | -8.8 | 252.85 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
11:30 - 11:45 | -12 | -7.4 | 252.85 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
11:45 - 12:00 | -9.4 | -7.9 | 252.85 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
12:00 - 12:15 | -8.3 | -7.8 | 239.89 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
12:15 - 12:30 | -10.4 | -8.1 | 244.22 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
12:30 - 12:45 | -10.9 | -6.7 | 241.04 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
12:45 - 13:00 | -10.3 | -6.9 | 241.04 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
13:00 - 13:15 | -7 | -6.3 | 219.16 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
13:15 - 13:30 | -8.2 | -4.8 | 181.25 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
13:30 - 13:45 | -6 | -4.5 | 212.19 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
13:45 - 14:00 | -3.3 | -3.4 | 0 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
14:00 - 14:15 | -3.8 | -3.7 | 0 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
14:15 - 14:30 | -2.3 | -6 | 0 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
14:30 - 14:45 | -0.9 | -4.7 | 0 | 19.26 | 36.59 | 19.26 | 9.63 | 5.78 | 0
14:45 - 15:00 | -0.9 | 0 | 0 | 19.26 | 0 | 0 | 9.63 | 5.78 | 0
15:00 - 15:15 | -0.9 | 0 | 0 | 19.26 | 0 | 0 | 0 | 5.78 | 0
15:15 - 15:30 | -0.4 | 0 | 0 | 19.26 | 0 | 0 | 0 | 5.78 | 0
15:30 - 15:45 | -0.3 | 0 | 0 | 19.26 | 0 | 0 | 0 | 5.78 | 0
15:45 - 16:00 | -0.6 | 0 | 0 | 19.26 | 0 | 0 | 0 | 5.78 | 0
16:00 - 16:15 | -0.6 | -1.4 | 0 | 14.45 | 36.59 | 19.26 | 0 | 5.78 | 0
16:15 - 16:30 | -0.3 | -0.6 | 0 | 14.45 | 36.59 | 19.26 | 0 | 5.78 | 0
16:30 - 16:45 | 0 | -0.9 | 0 | 14.45 | 36.59 | 19.26 | 0 | 5.78 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.45 | 36.59 | 19.26 | 0 | 5.78 | 0
17:00 - 17:15 | 0 | 0 | 0 | 14.45 | 36.59 | 19.26 | 0 | 5.78 | 0
17:15 - 17:30 | 0 | 0 | 0 | 14.45 | 36.59 | 19.26 | 0 | 5.78 | 7.7
17:30 - 17:45 | 0 | 0 | 0 | 14.45 | 36.59 | 19.26 | 0 | 5.78 | 32.74
17:45 - 18:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 5.78 | 55.85
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 25.38 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 23.18 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 4.68 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 4.27 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 2.04 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 1.77 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 1.65 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0.99 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 2.49 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 1.37 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 5.34 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 10.8 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 10.39 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 20.95 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 24.68 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.0958 | -0.50625 | 58.8717 | 8.1983 | -14 | 13.7287 | 7.2262 | 2.8087 | 2.5305

## RTM
RTM TRADING DETAILS FOR DT: 29.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -2.2 | 0 | 0 | -1.6 | 24.94 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
00:15 - 00:30 | -2.2 | 0 | 0 | -1.6 | 28.86 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
00:30 - 00:45 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | -2
00:45 - 01:00 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | -2
01:00 - 01:15 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1.7 | 0 | -30 | 0 | 0 | 0 | -2
01:15 - 01:30 | -2.2 | 0 | 0 | -1.6 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1.7 | 0 | -10 | 0 | 0 | 0 | -2
01:30 - 01:45 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
01:45 - 02:00 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -2
02:00 - 02:15 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 0
02:45 - 03:00 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 0
03:00 - 03:15 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 19.26 | 0
03:15 - 03:30 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 19.26 | 0
03:30 - 03:45 | -2.2 | 0 | 0 | -1.6 | -77.51 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | -20 | 0 | 0 | 15.41 | 0
03:45 - 04:00 | -2.2 | 0 | 0 | -1.6 | -77.51 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | -10 | 0 | 0 | 15.41 | 0
04:00 - 04:15 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 15.41 | 0
04:15 - 04:30 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | -30 | 0 | 0 | 15.41 | 0
04:30 - 04:45 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | -30 | 0 | 0 | 15.41 | 0
04:45 - 05:00 | -2.2 | 0 | 0 | -1.6 | 0 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 15.41 | 0
05:00 - 05:15 | -2.2 | -2 | 0 | -1.6 | -50.01 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 15.41 | 0
05:15 - 05:30 | -2.2 | 0 | 0 | -1.6 | -139.03 | 0 | 0 | -110 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 5.78 | 0
05:30 - 05:45 | -2.2 | 0 | -0.4 | -1.6 | -290.03 | 0 | 0 | -120 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | -30 | 0 | 0 | 14.45 | 0
05:45 - 06:00 | -2.2 | 0 | -0.4 | -1.6 | -410 | 0 | 0 | -120 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 13.48 | 0
06:00 - 06:15 | -2.2 | 0 | -0.4 | -1.6 | -383.35 | 0 | 0 | -120 | -0.1 | -0.1 | 0 | -2.5 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -30 | 0 | 0 | 12.52 | 0
06:15 - 06:30 | -2.2 | -10 | -0.4 | -1.6 | -355 | 0 | 0 | -120 | -0.1 | -0.2 | 0 | -2.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -30 | 0 | 0 | 5.78 | 0
06:30 - 06:45 | -2.2 | 0 | 0 | -1.6 | -410.8 | 0 | 0 | 0 | -0.3 | -0.3 | 0 | -2.5 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -2.2 | 0 | 0 | -1.6 | -484.04 | 0 | 10.59 | 0 | -0.4 | -0.3 | 0 | -2.5 | 19.26 | -1.1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 24.08 | 0 | 0 | 0
07:00 - 07:15 | -2.2 | 0 | 0 | -1.5 | -103.35 | 0 | 10.59 | 0 | -0.7 | -0.4 | 0 | -1 | 19.26 | -1.3 | 0 | 14.45 | 0 | 0 | 12.52 | -5 | 0 | 0 | 0 | -20 | 30.81 | 5.49 | 0 | 0
07:15 - 07:30 | -2.2 | 0 | 0 | 0 | -42.7 | 11.46 | 10.59 | 0 | -0.7 | -0.4 | 9.63 | -1 | 19.26 | -1.5 | 0 | 14.45 | 0 | 0 | 12.52 | -5 | 0 | 0 | 0 | -10 | 30.81 | 5.49 | 0 | 0
07:30 - 07:45 | -2.2 | 0 | 0 | 0 | -359.46 | 0 | 10.59 | 0 | -0.5 | -0.8 | 9.63 | -1 | 19.26 | -1.8 | 0 | 14.45 | 7.7 | 0 | 12.52 | -5 | 2.89 | -1.5 | 0 | -10 | 30.82 | 5.49 | 0 | 0
07:45 - 08:00 | -2.2 | 0 | 0 | 0 | -333.33 | 0 | 10.59 | 0 | -1.2 | -1 | 9.63 | -1 | 19.26 | 0 | 0 | 14.45 | 7.7 | 0 | 12.52 | -5 | 2.89 | -1.5 | 0 | -20 | 0 | 5.49 | 0 | 0
08:00 - 08:15 | -2.2 | 0 | 0 | 0 | -374.57 | 0 | 10.59 | 0 | -1.5 | -1.9 | 0 | -1 | 0 | 0 | 0 | 14.45 | 7.7 | 0 | 12.52 | 0 | 3.85 | -1.5 | 0 | -30 | 0 | 5.49 | 0 | 0
08:15 - 08:30 | -2.2 | 0 | 0 | 0 | -515.04 | 0 | 10.59 | -200 | -1.6 | -2.2 | 9.63 | -1 | 0 | 0 | 0 | 4.82 | 7.7 | 0 | 12.52 | 0 | 3.85 | -1.5 | 0 | 0 | 0 | 5.49 | 0 | 0
08:30 - 08:45 | -2.2 | -10 | 0 | 0 | -524.88 | 7.51 | 10.59 | -102.82 | -0.5 | -2.4 | 9.63 | -1 | 0 | 4.72 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | -2 | 3.85 | -1.5 | 0 | -10 | 0 | 5.49 | 0 | 0
08:45 - 09:00 | -2.2 | 0 | 0 | 0 | -419.43 | 7.03 | 10.59 | 0 | -0.5 | -2.6 | 0 | -1 | 0 | 4.62 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | 0 | 3.85 | -1 | 0 | -10 | 0 | 5.49 | 0 | 0
09:00 - 09:15 | -2.2 | 0 | 0 | 0 | 0 | 6.55 | 10.59 | -17.02 | -0.6 | -1.5 | 0 | -1 | 0 | 4.24 | 0 | 4.82 | 7.7 | 1.93 | 12.51 | -2 | 3.85 | -1 | 0 | 0 | 0 | 5.49 | 0 | 0
09:15 - 09:30 | -2.2 | 0 | 0 | 0 | 0 | 0 | 10.59 | -200 | -0.6 | -1.6 | 0 | -1 | 0 | 4.04 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | -2 | 3.85 | 0 | 0 | -40 | 0 | 5.49 | 0 | 0
09:30 - 09:45 | -2.2 | 0 | 0 | 0 | -61.66 | 6.84 | 10.59 | 0 | -0.7 | -2.8 | 0 | -1 | 0 | 3.85 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | -2 | 3.85 | 0 | 0 | -50 | 0 | 5.49 | 0 | 0
09:45 - 10:00 | -2.2 | 0 | 0 | 0 | -62.77 | 5.97 | 10.59 | 0 | -1.1 | -3 | 0 | -1 | 0 | 3.76 | 0 | 4.82 | 7.7 | 1.93 | 12.51 | 0 | 3.85 | 0 | 0 | 0 | 0 | 5.49 | 0 | 0
10:00 - 10:15 | -2.2 | -9 | 0 | 0 | -575.19 | 5.68 | 10.59 | 0 | -1.1 | -3.2 | 0 | -1 | 0 | 3.56 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | -2 | 3.85 | 0 | 0 | 0 | 0 | 5.49 | 0 | 0
10:15 - 10:30 | -2.2 | 0 | 0 | 0 | -490.49 | 5.59 | 10.59 | 0 | -1.5 | -3.4 | 0 | -1 | 0 | 4.04 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | -2 | 3.85 | 0 | 0 | -15 | 0 | 5.49 | 0 | 0
10:30 - 10:45 | -2.2 | 0 | 0 | 0 | 0 | 5.59 | 10.59 | 0 | -1.2 | -1.9 | 0 | -1 | 0 | 3.95 | 0 | 4.82 | 7.7 | 1.93 | 12.51 | -4 | 3.85 | 0 | 0 | 0 | 0 | 5.49 | 0 | 0
10:45 - 11:00 | -2.2 | 0 | 0 | 0 | 0 | 6.07 | 10.59 | 0 | -1.2 | -1.7 | 0 | -1 | 0 | 3.37 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | 0 | 3.85 | 0 | 0 | -20 | 0 | 5.49 | 0 | 0
11:00 - 11:15 | -2.2 | 0 | 0 | 0 | -56.22 | 6.64 | 10.59 | 0 | -1.3 | -1.7 | 0 | -1 | 0 | 3.47 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | -4 | 3.85 | 0 | 0 | -40 | 0 | 4.82 | 0 | 0
11:15 - 11:30 | -2.2 | 0 | 0 | 0 | -41.82 | 6.55 | 10.59 | 0 | -3 | -1.6 | 0 | -1 | 0 | 3.37 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | -4 | 3.85 | 0 | 0 | -40 | 0 | 0 | 0 | 0
11:30 - 11:45 | -2.2 | -5 | 0 | 0 | -75 | 6.26 | 10.59 | 0 | -3 | -1.5 | 0 | -1 | 0 | 3.47 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | 0 | 3.85 | 0 | 0 | -20 | 0 | 0.48 | 0 | 0
11:45 - 12:00 | -2.2 | -5 | 0 | 0 | -24.99 | 6.07 | 10.59 | 0 | -3 | -1.5 | 0 | -1 | 0 | 3.56 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0.67 | 0 | 0
12:00 - 12:15 | -2.2 | 0 | 0 | 0 | 59.8 | 0 | 10.59 | -50 | -3 | -1.7 | 0 | -1 | 0 | 3.47 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | -4 | 3.85 | 0 | 0 | -15 | 9.63 | 5.59 | 0 | 0
12:15 - 12:30 | -2.2 | 0 | 0 | 0 | 96.3 | 0 | 10.59 | -50 | -3 | -1.9 | 0 | -1 | 0 | 3.08 | 0 | 4.82 | 7.7 | 1.93 | 12.52 | -4 | 3.85 | 0 | 0 | 0 | 9.63 | 5.59 | 0 | 0
12:30 - 12:45 | -2.2 | -1 | 0 | 0 | 195.02 | 7.32 | 10.59 | 0 | -1.2 | -2.1 | 0 | -1 | 0 | 3.27 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | -10 | 0 | 5.59 | 0 | 0
12:45 - 13:00 | -2.2 | 0 | 0 | 0 | 192.62 | 7.99 | 10.59 | -34.54 | -1 | -2.2 | 0 | -1 | 0 | 3.27 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | -55 | 0 | 5.59 | 0 | 0
13:00 - 13:15 | -2.2 | -5 | -0.4 | 0 | 137.76 | 7.13 | 10.59 | 0 | -2.2 | -2.5 | 0 | -1 | 0 | 3.27 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | -20 | 0 | 5.59 | 0 | 0
13:15 - 13:30 | -2.2 | -9 | -0.4 | 0 | 165.13 | 7.61 | 10.59 | 0 | -2.5 | -2.5 | 0 | -1 | 0 | 3.47 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | 0 | 0 | 5.59 | 0 | 0
13:30 - 13:45 | -2.2 | 0 | -0.4 | 0 | 258.31 | 6.84 | 10.59 | 0 | -2.5 | -2.5 | 0 | -1 | 0 | 3.66 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | -20 | 0 | 5.59 | 0 | 0
13:45 - 14:00 | -2.2 | 0 | -0.4 | 0 | 355.42 | 5.68 | 10.59 | 0 | -2.8 | -2.3 | 0 | -1 | 0 | 3.85 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | 0 | 0 | 5.59 | 0 | 0
14:00 - 14:15 | -2.2 | 0 | -0.4 | 0 | 391.02 | 0 | 10.59 | -50 | -1 | -2.1 | 0 | -1 | 0 | 4.24 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | -10 | 0 | 5.59 | 0 | 0
14:15 - 14:30 | -2.2 | 0 | -0.4 | 0 | 428.03 | 0 | 10.59 | -50 | -0.9 | -2 | 0 | -1 | 0 | 4.33 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | -50 | 0 | 5.59 | 0 | 0
14:30 - 14:45 | -2.2 | 0 | -0.4 | 0 | 143.08 | 0 | 10.59 | -50 | -0.5 | -2 | 0 | -1 | 0 | 4.53 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | -20 | 0 | 5.59 | 0 | 0
14:45 - 15:00 | -2.2 | 0 | -0.4 | 0 | 128.16 | 0 | 10.59 | -50 | -0.8 | -1.9 | 0 | -1 | 0 | 5.1 | 0 | 4.82 | 7.7 | 1.93 | 19.26 | -4 | 3.85 | 0 | 0 | 0 | 0 | 5.59 | 0 | 0
15:00 - 15:15 | -2.2 | 0 | -0.4 | 0 | 144.41 | 0 | 10.59 | 0 | -0.5 | -1.3 | 9.63 | -1 | 0 | 5.3 | 0 | 14.45 | 7.7 | 1.93 | 19.26 | -2 | 3.85 | 0 | 0 | -20 | 0 | 5.59 | 0 | 0
15:15 - 15:30 | -2.2 | 0 | -0.4 | 0 | 127.83 | 0 | 10.59 | 0 | -0.6 | -1.1 | 9.63 | -1 | 0 | 0 | 0 | 14.45 | 7.7 | 1.93 | 19.26 | -2 | 3.85 | 0 | 0 | 0 | 0 | 5.59 | 0 | 0
15:30 - 15:45 | -2.2 | 0 | -0.4 | 0 | -411.91 | 0 | 10.59 | 0 | -0.8 | -0.9 | 0 | -1 | 0 | 0 | 0 | 14.45 | 7.7 | 1.93 | 19.26 | -2 | 3.85 | 0 | 0 | 0 | 0 | 5.59 | 0 | 0
15:45 - 16:00 | -2.2 | 0 | -0.4 | 0 | -412.1 | 0 | 10.59 | 0 | -0.5 | -0.8 | 0 | -1 | 0 | 0 | 0 | 14.45 | 7.7 | 1.93 | 19.26 | -2 | 3.85 | 0 | 0 | -30 | 0 | 5.59 | 0 | 0
16:00 - 16:15 | -2.2 | 0 | -0.4 | 0 | -124.99 | 15.7 | 10.59 | 0 | -0.5 | -0.2 | 9.63 | -1 | 19.25 | 0.77 | 0 | 14.45 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | -30 | 16.37 | 5.59 | 0 | 0
16:15 - 16:30 | -2.2 | -5 | -0.4 | 0 | -102.7 | 16.27 | 10.59 | 0 | -0.5 | -0.2 | 9.63 | -1 | 19.26 | 0 | 0 | 14.45 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | -30 | 16.37 | 5.59 | 0 | 0
16:30 - 16:45 | -1.6 | 0 | 0 | 0 | -81.51 | 16.18 | 10.59 | 0 | 0 | 0 | 9.63 | -1 | 19.26 | 0 | 0 | 14.45 | 7.7 | 0 | 19.26 | 0 | 3.85 | 0 | 0 | -20 | 19.26 | 5.59 | 0 | 0
16:45 - 17:00 | -1.6 | 0 | 0 | 0 | -347.31 | 16.18 | 10.59 | 0 | -0.1 | -0.02 | 9.63 | -1 | 19.26 | 0 | 0 | 14.45 | 7.7 | 0 | 19.26 | 0 | 3.85 | 0 | 0 | -30 | 19.26 | 5.59 | 0 | 0
17:00 - 17:15 | -1.6 | 0 | 0 | 0 | -346.66 | 16.08 | 10.59 | 0 | 0 | 0 | 9.63 | -1 | 19.26 | 0 | 0 | 14.45 | 7.7 | 0 | 19.26 | 0 | 3.85 | 0 | 0 | -25 | 19.26 | 5.59 | 0 | 0
17:15 - 17:30 | -1.6 | 0 | 0 | 0 | -406.41 | 0 | 10.59 | 0 | 0 | -0.1 | 9.63 | -1 | 19.26 | -0.7 | 0 | 14.45 | 7.7 | 0 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 19.26 | 5.59 | 0 | 0
17:30 - 17:45 | -1.6 | 0 | 0 | 0 | -550.04 | 0 | 10.59 | 0 | 0 | -0.1 | 9.63 | -1 | 19.26 | -0.4 | 0 | 14.45 | 7.7 | 0 | 19.26 | 0 | 3.85 | -1.5 | 0 | 0 | 19.26 | 5.59 | 0 | 0
17:45 - 18:00 | -1.6 | 0 | 0 | 0 | -600 | 0 | 10.59 | 0 | 0 | 0 | 0 | -1 | 19.26 | -0.2 | 0 | 14.45 | 7.7 | 0 | 19.26 | 0 | 3.85 | 0 | 0 | -25 | 19.26 | 5.59 | 0 | 0
18:00 - 18:15 | -1.6 | 0 | 0 | 0 | -525.8 | 16.37 | 10.59 | 0 | 0 | 0 | 9.63 | -1 | 19.26 | 0 | 0 | 14.45 | 7.7 | 0 | 19.26 | 0 | 3.85 | 0 | -7 | -25 | 19.26 | 5.59 | 0 | 0
18:15 - 18:30 | -1.6 | 0 | 0 | 0 | -600 | 0 | 10.59 | 0 | 0 | 0 | 0 | -1 | 19.26 | 0 | 0 | 14.45 | 7.7 | 0 | 19.26 | 0 | 3.85 | -2 | -7 | -25 | 19.26 | 5.59 | 0 | 0
18:30 - 18:45 | -1.6 | 0 | 0 | 0 | -455.72 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -7 | -30 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1.6 | 0 | 0 | 0 | -264.28 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -7 | -10 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.6 | 0 | 0 | -1.4 | -269.36 | 0 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | -7 | 0 | 0 | 0 | 0 | -11
19:15 - 19:30 | -1.6 | 0 | 0 | -1.4 | -200 | 0 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | -11
19:30 - 19:45 | -1.2 | 0 | 0 | -1.5 | -100 | 0 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -11
19:45 - 20:00 | -1.2 | 0 | 0 | -1.5 | -100 | 0 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4 | 0 | -2.5 | -4 | 0 | 0 | 0 | 0 | -11
20:00 - 20:15 | -1.2 | 0 | 0 | -1.5 | -100 | 0 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | -4 | 0 | -1.2 | -4 | -20 | 0 | 0 | 0 | -11
20:15 - 20:30 | -1.2 | 0 | 0 | -1.5 | -100 | 0 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | -4 | 0 | -1.2 | -4 | 0 | 0 | 0 | 0 | -11
20:30 - 20:45 | -1.2 | 0 | 0 | -1.2 | -300 | 0 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -8
20:45 - 21:00 | -1.2 | 0 | 0 | -1.2 | -300 | 0 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -8
21:00 - 21:15 | -1.2 | 0 | 0 | -1.2 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | -8
21:15 - 21:30 | -1.2 | 0 | 0 | -1.2 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -8
21:30 - 21:45 | -1.2 | 0 | -0.4 | -1.2 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -8
21:45 - 22:00 | -1.2 | 0 | -0.4 | -1.2 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -8
22:00 - 22:15 | -1.2 | 0 | -0.4 | -1.4 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | -30 | 0 | 0 | 0 | -8
22:15 - 22:30 | -1.2 | 0 | -0.4 | -1.4 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | -8
22:30 - 22:45 | -1.2 | 0 | 0 | -1.5 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -8
22:45 - 23:00 | -1.2 | 0 | 0 | -1.5 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | -8
23:00 - 23:15 | -1.2 | 0 | 0 | -1.5 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -8
23:15 - 23:30 | -1.2 | 0 | 0 | -1.5 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -8
23:30 - 23:45 | -1.2 | 0 | 0 | 0 | -150 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -8
23:45 - 24:00 | -1.2 | 0 | 0 | 0 | -150 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -7 | 0 | -30 | 0 | 0 | 0 | -8
Average | -2.2781 | -0.58854 | -0.11667 | -0.775 | -49.7085 | 1.6638 | 5.0789 | -27.2958 | -0.38302 | -0.86031 | 1.3041 | -0.29167 | -1.525 | 3.0108 | 1.0489 | 2.8614 | 3.6543 | 0.73375 | 6.3618 | -2.4792 | 0.60208 | -0.052083 | -0.20833 | -26.6811 | 4.2454 | 3.3117 | 1.8491 | 5.8965