## POWER STATUS
POWER STATUS ON DT 01.07.2026
[9 empty] | 2026-07-01 | 2026-06-30
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5046.6988 | 6132.9151
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 11 | 0.264 | 630/590 ft | 600.47 | 600.69 | 600.65 | 0 | 66.4035
| Chiplima | 72(3x24) | 0 | 0 | - |  |  |  | 10 | 0
| Balimela | 510(6x60+2x75) | 177.666 | 4.264 | 1516/1440 ft | 1455.1 | 1458 | 1457.5 | 66.8362 | 370.2349
| Rengali | 250(5x50) | 10.7 | 0.2568 | 123.5/109.75 mt | 118.08 | 109.8 | 109.8 | 0 | 0
| Upper Kolab | 320(4x80) | 29.46 | 0.70704 | 858/844 mt | 847.93 | 847.06 | 847.05 | 0 | 150.1273
| Upper Indravati | 600(4x150) | 43.187 | 1.0365 | 642/625 mt | 629.04 | 628.5 | 628.48 | 0.28719 | 296.8612
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2726.5 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 272.013 | 6.5283 |  |  |  |  | 77.1234 | 883.6269
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1491.098 | 35.7864 | RENEWABLE ENERGY (RE) |  |  |  | 1677.4224 | 1686.4721
[5 empty] | M.Hydl | 95.7515
| Total Thermal | 2200 | 1491.098 | 35.7864 | Solar | 101.9977 |  |  | 1677.4224 | 1686.4721
IPP | VEDANTA #2 | 600 (1x600) | 336.7729 | 8.0825 | Total IPPs | Yesterday's Demand Profile |  |  | 396.3473 | 499.9613
| GMR #3 | 350 (1x350) | 254.1882 | 6.1005 | 642.1851 |  | MW | HRS | 180.6876 | 329.7535
| NBVL(IPP) | 60(1x60) | 51.224 | 1.2294 |  |  |  |  | 35 | 54.287
| MDTPC |  | 0 | 0 |  |  |  |  | 0 | 0
| CGPs |  | 841.4652 | 20.1952 | IPPs, CGPs & RE | Maximum | 6170.8283 | 12:00 | 1296.4675 | 1857.8395
| Central Sector(Drawl) |  | 2157.6794 | 51.7843 | 1681.3995 | Minimum | 4890.0857 | 07:00 | 1995.6854 | 1704.9767
| Central Sector(Sch) |  | 2291.0515 | 54.9852 |  | Average | 5602.1899 |  | 2228.26 | 1778.6801
| Grand Total |  | 5602.1899 | 134.4526 | Instantaneous Peak demand |  | 6593.4175 | 46203.0007 | 5046.6988 | 6132.9151
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1770.99 | 42.5038 | 1692.732 | 40.6256 | 1631.225 | 39.1494
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1986.37 | 47.6729 | 1913.7384 | 45.9297 | 1792.622 | 43.0229
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1377.45 | 33.0588 | 1337.1498 | 32.0916 | 1314.532 | 31.5488
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 674.942 | 16.1986 | 651.8364 | 15.6441 | 650.426 | 15.6102
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5809.752 | 139.434 | 5595.4565 | 134.291 | 5388.805 | 129.3313
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 396 | GMR |  |  |  | 181
| NBVL #3 | 35 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 18 | OPCL |  |  |  | 0
| BTPL | 18 | SAPTADHARA |  |  |  | 0
Solar: |  | 82 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 203.0208 | JSL(Duburi) |  |  |  | -107.4818
| ICCL | 36.691 | visa |  |  |  | 10.8065
| NALCO | -172.4566 | VAL (CGP) |  |  |  | 0.82507
| RSP | 9.3959 | BSL(MMDL) |  |  |  | -106.6618
| INDAL | -12.7262 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -38.5549 | VAL CPP 400 kV |  |  |  | -427.3385
| NBVL | 34.7174 | Arati |  |  |  | 16.4646
| BPSL(JSG) | 6.4138 | BPPL |  |  |  | 117.1338
Banking Avg -: (MW) |  | 289.02
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-23 | 2026-06-24 | 2026-06-25 | 2026-06-26 | 2026-06-27 | 2026-06-28 | 2026-06-29 | 2026-06-30
341.5829 | 516.52 | 543.06 | 560.9336 | 521.0913 | 282.727 | 269.2095 | 272.013
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.30.06.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | RUVITSL | -14.17 | AARTISTEEL | RUVITSL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 138.3
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TPLD | -8.33 | AP41PL_BHDL | ODISHA | 62.85
GMRKEL_STU | TNEB | -18 | AARTISTEEL | TPL_DIS_DHOLERA | -1.67 | AP43PL_BKN | ODISHA | 92.1
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | ZYDUS_LIFESCI_GJ | -1.44 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.55
JPIPL | NPCL_UP | -5.8 | AECI11PL | Zydus_Ltd_Con18518 | -1.44 | AWEK1L | ODISHA | 11.34
MAADURGA_THERMAL | NPCL_UP | 0 | AMPIN_CI_THREE | Zydus_Lifesciences_Cons17836 | -0.53 | AWEK1L | ODISHA | 17
NBVLIPP | TANGEDCO | -48 | ARYAN_ISPAT | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.4
OCL_IRON_STEEL | BRPL | -34.42 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -0.7 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 39.46
ODISHA | CSEB_Beneficiary | -75 | DCBL_Rajgangpur | DALCEMAP | -3.38 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.38
ODISHA | PCKL | -36.46 | DCBL_Rajgangpur | DCBLME | -5 | DADRI_SOLAR | ODISHA | 0.39
RSPL_JHARSUGUDA | UTTARAKHAND | -6.42 | ENVIROCARE_INFRA | BRPL | -6 | GADAG_GreenInfra_W | ODISHA | 0.09
TSBSLA | CSEB_Beneficiary | -26.25 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_S | VLSEZ | 28.22
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | TANGEDCO | -3 | GADAG_Serentica3_W | VLSEZ | 4.3
FARIDABAD_SOLAR | ODISHA | 0.94 | FACORPOWER | PSPCL | -5.83 | GADAG_Serentica3_W | VLSEZ | 119.53
JSWEL_UTKAL | ODISHA | 41.89 | FACORPOWER | PSPCL | -14.17 | GIWEL_SECI_II_RE | ODISHA | 50.58
MPPMCL | ODISHA | 0 | FACORPOWER | PSPCL | 0 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 6
MPPMCL | ODISHA | 192.6 | FACORPOWER | PSPCL | -12.75 | KARUR_TPVARDHAMAN_W | TSKPO | 67.44
Manipur_Ben | ODISHA | 33 | FACORPOWER | PSPCL | -5.25 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.63
RAJ_SOLAR | ODISHA | 2.31 | GMRKEL_STU | PSPCL | -61.9 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
RAJ_SOLAR | ODISHA | 2.63 | NBVLIPP | BRPL | -13.12 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.28
|  |  | NBVLIPP | BRPL | -31.88 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.1
|  |  | NBVL_OTCL | PSPCL | -7.58 | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.75
|  |  | NBVL_OTCL | PSPCL | -18.42 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 2.84
|  |  | NBVL_OTCL | PSPCL | 0 | OKWPL_RE | ODISHA | 27.53
|  |  | OCL_IRON_STEEL | TPDDL | -17.71 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 30.35
|  |  | OCL_IRON_STEEL | TPDDL | -7.29 | RWE_AP2_SECI_III | ODISHA | 22.47
|  |  | ORSISL | PSPCL | -1.46 | RenewGreen_SLPR_HS | JSL_DUBURI | 0
|  |  | ORSISL | PSPCL | -3.54 | SRI9PL_FTG3 | VLSEZ | 42.47
|  |  | RSPL_JHARSUGUDA | CSEB_Beneficiary | -3.75 | TPSL_BKN2 | TSKPO | 0
|  |  | RSPL_JHARSUGUDA | UTTARAKHAND | -1.58 | TPSL_BKN2 | TSKPO | 0
|  |  | SGML | UPPCL | -4.17 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
|  |  | TIMES_STEEL | PONDY | -5.25 | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
|  |  | VIRAJ_SEPL | WBSEDCL | -9.38 | Tuticorin_BETAMWIND | ODISHA | 69.42
|  |  | VSL | UPPCL | -4.17 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 5.27
|  |  | JIPL | ODISHA | 115.56 | XXPPL_FTG3 | ODISHA | 38.61
|  |  | NALCOAP | NACL_Odisha | 22.86

## DAM
DAM TRADING DETAILS FOR DT :30.06.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | -3.3 | 0 | 0 | 0.11 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
00:15 - 00:30 | -3.3 | 0 | 0 | 1.43 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
00:30 - 00:45 | -3.3 | 0 | 0 | 3.3 | 0 | -519.99 | 0 | -9 | -0.5 | 0 | 0
00:45 - 01:00 | -3.3 | 0 | 0 | 6.46 | 0 | -519.99 | 0 | -9 | -0.5 | 0 | 0
01:00 - 01:15 | -3.3 | 0 | 0 | 9.59 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
01:15 - 01:30 | -3.3 | 0 | 0 | 12.04 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
01:30 - 01:45 | -3.3 | 0 | 0 | 23.03 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
01:45 - 02:00 | -3.3 | 0 | 0 | 34.2 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
02:00 - 02:15 | -3.3 | 0 | 0 | 0 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
02:15 - 02:30 | -3.3 | 0 | 0 | 0 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
02:30 - 02:45 | -3.3 | 0 | 0 | 0 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
02:45 - 03:00 | -3.3 | 0 | 0 | 0 | 0 | -520 | 0 | -9 | -0.5 | 0 | 0
03:00 - 03:15 | -8.3 | 0 | 0 | 0 | 0 | -450 | 0 | -9 | -0.5 | 0 | 0
03:15 - 03:30 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
03:30 - 03:45 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
03:45 - 04:00 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
04:00 - 04:15 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
04:15 - 04:30 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
04:30 - 04:45 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
04:45 - 05:00 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
05:00 - 05:15 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
05:15 - 05:30 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
05:30 - 05:45 | -8.3 | 0 | 0 | 0 | 0 | -350 | 0 | -9 | -0.5 | 0 | 0
05:45 - 06:00 | -8.3 | 0 | 0 | 0 | 0 | -330 | 0 | -9 | -0.5 | 0 | 0
06:00 - 06:15 | -8.3 | 0 | 0 | -75 | 0 | -180 | 0 | -9 | -0.5 | 0 | 0
06:15 - 06:30 | -8.3 | 0 | 0 | -75 | 0 | -180 | 0 | -9 | -0.5 | 0 | 0
06:30 - 06:45 | -8.3 | 0 | 0 | -75 | 0 | -180 | 0 | -9 | -0.5 | 0 | 0
06:45 - 07:00 | -8.3 | 0 | 0 | -75 | 0 | -180 | 0 | -9 | -0.5 | 0 | 0
07:00 - 07:15 | -8.3 | 0 | 0 | -525 | 0 | -180 | 0 | -9 | -0.5 | 0 | 0
07:15 - 07:30 | -8.3 | 0 | 0 | -525 | 0 | -180 | 0 | -9 | -0.5 | 0 | 0
07:30 - 07:45 | -8.3 | 0 | 0 | -525 | 0 | -180 | 0 | -9 | -0.5 | 0 | 0
07:45 - 08:00 | -8.3 | 0 | 0 | -525 | 0 | -180 | 0 | -9 | -0.5 | 0 | 0
08:00 - 08:15 | -8.3 | 4.82 | 0 | -600 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
08:15 - 08:30 | -8.3 | 4.82 | 0 | -600 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
08:30 - 08:45 | -8.3 | 4.82 | 0 | -600 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
08:45 - 09:00 | -8.3 | 4.82 | 0 | -600 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
09:00 - 09:15 | -8.3 | 4.82 | 7.7 | -539.03 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
09:15 - 09:30 | -8.3 | 4.82 | 7.7 | -463.52 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
09:30 - 09:45 | -8.3 | 4.82 | 7.7 | -293.29 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
09:45 - 10:00 | -8.3 | 4.82 | 7.7 | -50 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
10:00 - 10:15 | -8.3 | 4.82 | 7.7 | -31.84 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
10:15 - 10:30 | -8.3 | 4.82 | 7.7 | -31.94 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
10:30 - 10:45 | -8.3 | 4.82 | 7.7 | 264.24 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
10:45 - 11:00 | -8.3 | 4.82 | 7.7 | 264.27 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
11:00 - 11:15 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
11:15 - 11:30 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
11:30 - 11:45 | -8.3 | 4.82 | 7.7 | 149.39 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
11:45 - 12:00 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
12:00 - 12:15 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
12:15 - 12:30 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
12:30 - 12:45 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
12:45 - 13:00 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
13:00 - 13:15 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
13:15 - 13:30 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
13:30 - 13:45 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
13:45 - 14:00 | -8.3 | 4.82 | 7.7 | 0 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
14:00 - 14:15 | -8.3 | 4.82 | 7.7 | -56.76 | 28.89 | -50 | 0 | -1 | -0.5 | 9.63 | 0
14:15 - 14:30 | -8.3 | 4.82 | 7.7 | -83.51 | 28.89 | -50 | 9.63 | -1 | -0.5 | 9.63 | 0
14:30 - 14:45 | -8.3 | 4.82 | 7.7 | -100 | 0 | -50 | 9.39 | -1 | -0.5 | 9.63 | 0
14:45 - 15:00 | -8.3 | 4.82 | 7.7 | -100 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
15:00 - 15:15 | -8.3 | 4.82 | 7.7 | 0 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
15:15 - 15:30 | -8.3 | 4.82 | 7.7 | 0 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
15:30 - 15:45 | -8.3 | 4.82 | 7.7 | 0 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
15:45 - 16:00 | -8.3 | 4.82 | 7.7 | 0 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
16:00 - 16:15 | -8.3 | 4.82 | 0 | -425 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
16:15 - 16:30 | -8.3 | 4.82 | 0 | -459.46 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
16:30 - 16:45 | -8.3 | 4.82 | 0 | -478.76 | 0 | -50 | 0 | -1 | -0.5 | 9.63 | 0
16:45 - 17:00 | -8.3 | 4.82 | 0 | -515.59 | 0 | -180 | 0 | -1 | -0.5 | 9.63 | 0
17:00 - 17:15 | -8.3 | 0 | 0 | -475 | 0 | -180 | 0 | -1 | -0.5 | 0 | 0
17:15 - 17:30 | -8.3 | 0 | 0 | -475 | 0 | -180 | 0 | -1 | -0.5 | 0 | 0
17:30 - 17:45 | -8.3 | 0 | 0 | -475 | 0 | -180 | 0 | -1 | -0.5 | 0 | 0
17:45 - 18:00 | -8.3 | 0 | 0 | -475 | 0 | -180 | 0 | -1 | -0.5 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | -100 | 0 | -180 | 0 | -5 | -0.5 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | 0 | -100 | 0 | -180 | 0 | -5 | -0.5 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | 0 | 0 | 0 | -180 | 0 | -5 | -0.5 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | 0 | 0 | 0 | -180 | 0 | -5 | -0.5 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | 0 | 0 | 0 | -180 | 0 | -9 | -0.5 | 0 | 0
19:15 - 19:30 | -3.3 | 0 | 0 | 0 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
19:30 - 19:45 | -3.3 | 0 | 0 | 0 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
19:45 - 20:00 | -3.3 | 0 | 0 | 0 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
20:00 - 20:15 | -3.3 | 0 | 0 | 0 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
20:15 - 20:30 | -3.3 | 0 | 0 | 0 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
20:30 - 20:45 | -3.3 | 0 | 0 | 0 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
20:45 - 21:00 | -3.3 | 0 | 0 | 0 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
21:00 - 21:15 | -3.3 | 0 | 0 | 38.59 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
21:15 - 21:30 | -3.3 | 0 | 0 | 35.86 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
21:30 - 21:45 | -3.3 | 0 | 0 | 28.76 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
21:45 - 22:00 | -3.3 | 0 | 0 | 27.25 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
22:00 - 22:15 | -3.3 | 0 | 0 | 21.47 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
22:15 - 22:30 | -3.3 | 0 | 0 | 12.4 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
22:30 - 22:45 | -3.3 | 0 | 0 | 8.64 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
22:45 - 23:00 | -3.3 | 0 | 0 | 0.16 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
23:00 - 23:15 | -3.3 | 0 | 0 | 1.54 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
23:15 - 23:30 | -3.3 | 0 | 0 | 0.01 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
23:30 - 23:45 | -3.3 | 0 | 0 | 2.9 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
23:45 - 24:00 | -3.3 | 0 | 0 | 7.66 | 0 | -340 | 0 | -9 | -0.5 | 0 | -29.1
Average | -6.425 | 2.57 | -122.6377 | 7.2271 | 1.2833 | -246.5375 | 0.10031 | -5.0833 | -5.0833 | -5.0833 | -5.0833

## GDAM
GDAM TRADING DETAILS FOR DT:30.06.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0.65 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 1.15 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0.86 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0.53 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0.35 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 16.37
08:00 - 08:15 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 19.26 | 36.39 | 37.36 | 9.63 | 0
09:00 - 09:15 | 0 | 0 | 0 | 19.26 | 36.59 | 22.15 | 9.63 | 0
09:15 - 09:30 | 0 | 0 | 0 | 19.26 | 36.6 | 16.37 | 9.63 | 0
09:30 - 09:45 | 0 | 0 | 0 | 19.26 | 36.59 | 12.52 | 9.63 | 0
09:45 - 10:00 | -0.9 | 0 | 0 | 19.26 | 36.59 | 9.63 | 9.63 | 0
10:00 - 10:15 | -2.7 | -0.2 | 0 | 19.26 | 36.59 | 5.78 | 9.63 | 0
10:15 - 10:30 | -7.7 | -1.5 | 0 | 19.26 | 36.6 | 3.85 | 9.63 | 0
10:30 - 10:45 | -8.7 | 0 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
10:45 - 11:00 | -7 | -0.5 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
11:00 - 11:15 | -8.4 | -4 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
11:15 - 11:30 | -9.9 | -2.5 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
11:30 - 11:45 | -6.5 | -3.8 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
11:45 - 12:00 | -6.7 | -3.7 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
12:00 - 12:15 | -9.3 | -3 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
12:15 - 12:30 | -7.7 | 0 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
12:30 - 12:45 | -8.5 | -1.4 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
12:45 - 13:00 | -4.2 | -1.1 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
13:00 - 13:15 | -1.8 | -0.8 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
13:15 - 13:30 | -4 | -0.2 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
13:30 - 13:45 | -3.7 | 0 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
13:45 - 14:00 | -0.3 | 0 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
14:00 - 14:15 | 0 | 0 | 0 | 19.26 | 36.59 | 0 | 9.63 | 0
14:15 - 14:30 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
14:30 - 14:45 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
14:45 - 15:00 | -0.7 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
15:00 - 15:15 | -0.2 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | -0.3 | 0 | 19.26 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.44 | 0 | 0 | 0 | 5.78
17:00 - 17:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 14.44 | 0 | 0 | 0 | 2.89
17:45 - 18:00 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0.22 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0.26 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0.03 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 2.55 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 2.25 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 2.4 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 2.23 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 1.48 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 1.26 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 5.82 | 0 | 0 | 0 | 0 | 0
Average | -1.0958 | -0.50625 | 58.8717 | 8.1983 | -14 | 13.7287 | 7.2262 | 2.8087

## RTM
RTM TRADING DETAILS FOR DT: 30.06.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.2 | 0 | 0 | -1.4 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | -9.7 | 0 | 0 | -8
00:15 - 00:30 | -1.2 | 0 | 0 | -1.4 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | -8
00:30 - 00:45 | -1.2 | 0 | 0 | -1.4 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | -10 | 0 | 0 | -9.7 | 0 | 0 | -8
00:45 - 01:00 | -1.2 | 0 | 0 | -1.4 | -58.2 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | -20 | 0 | 0 | -9.7 | 0 | 0 | -8
01:00 - 01:15 | -1.2 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | -8
01:15 - 01:30 | -1.2 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | -9.7 | 0 | 0 | -8
01:30 - 01:45 | -1.2 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -2 | 19.26 | 0 | 14.45 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 19.26 | -9.7 | 5.49 | 0 | -8
01:45 - 02:00 | -1.2 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -2 | 19.26 | 0 | 14.45 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.26 | -9.7 | 5.49 | 0 | -8
02:00 - 02:15 | -1.2 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -2 | 19.26 | 0 | 14.45 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 19.26 | 0 | 5.49 | 0 | 0
02:15 - 02:30 | -1.2 | 0 | 0 | 0 | -11.97 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -2 | 19.26 | 0 | 14.45 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 19.26 | 0 | 5.49 | 0 | 0
02:30 - 02:45 | -1.2 | 0 | 0 | 0 | -62.38 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -2 | 19.26 | 0 | 14.45 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 28.89 | 0 | 5.49 | 0 | 0
02:45 - 03:00 | -1.2 | 0 | 0 | 0 | -74.97 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -2 | 19.26 | 0 | 14.45 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 28.89 | 0 | 5.49 | 0 | 0
03:00 - 03:15 | -1.2 | 0 | 0 | 0 | -199.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -1.2 | 0 | 0 | 0 | -200.02 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -1.2 | 0 | 0 | 0 | -198.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -1.2 | 0 | 0 | 0 | -164.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -1.2 | 0 | 0 | 0 | -57.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -1.2 | 0 | 0 | 0 | -64.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -1.2 | 0 | 0 | 0 | -64.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.2 | 0 | 0 | 0 | -60.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.2 | -2 | 0 | 0 | -200.04 | 0 | 2.93 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0
05:15 - 05:30 | -1.2 | 0 | 0 | 0 | -205.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -1.2 | 0 | -0.4 | 0 | -325.7 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
05:45 - 06:00 | -1.2 | 0 | -0.4 | 0 | -325.05 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
06:00 - 06:15 | -1.2 | 0 | -0.4 | 0 | -527.72 | 0 | 0 | 0 | -0.1 | -0.1 | 0 | 0 | -2 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
06:15 - 06:30 | -1.2 | -10 | -0.4 | 0 | -572.76 | 0 | 10.59 | 0 | -0.2 | -0.2 | 0 | 0 | -2 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | -2
06:30 - 06:45 | -1.2 | 0 | 0 | 0 | -599.95 | 0 | 10.59 | 0 | -0.3 | -0.2 | 0 | 0 | -2 | 19.25 | -0.5 | 14.45 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 14.45 | 0 | 5.49 | 0 | -2
06:45 - 07:00 | -1.2 | 0 | 0 | 0 | -366.19 | 13.48 | 10.59 | 0 | -0.3 | -0.6 | 9.63 | 0 | -2 | 19.25 | -0.7 | 14.45 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 14.45 | 0 | 5.49 | 0 | -2
07:00 - 07:15 | -1.2 | 0 | 0 | 0 | -123.79 | 12.52 | 10.59 | 0 | -0.3 | -0.2 | 9.63 | 0 | -0.5 | 19.25 | -1 | 14.45 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 14.45 | 0 | 5.49 | 0 | 0
07:15 - 07:30 | -1.2 | 0 | 0 | 0 | -262.86 | 0 | 10.59 | 0 | -0.3 | -0.2 | 9.63 | 0 | -0.5 | 19.25 | -1.2 | 14.45 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 14.45 | 0 | 5.49 | 0 | 0
07:30 - 07:45 | -1.2 | 0 | 0 | 0 | -92.52 | 0 | 10.59 | 0 | -0.4 | -0.3 | 0 | 0 | -0.5 | 19.26 | -1.3 | 14.45 | 0 | 7.7 | 0 | 19.26 | 0 | 2.89 | 0 | 0 | 0 | 0 | 14.45 | 0 | 5.49 | 0 | 0
07:45 - 08:00 | -1.2 | -5 | 0 | 0 | -140.3 | 0 | 10.59 | 0 | -0.5 | -0.3 | 0 | 0 | -0.5 | 19.26 | 0 | 14.45 | 0 | 7.7 | 0 | 19.26 | 0 | 2.89 | 0 | 0 | 0 | 0 | 14.45 | 0 | 5.49 | 0 | 0
08:00 - 08:15 | -1.2 | -5 | 0 | 0 | -104.48 | 0 | 10.59 | 0 | -0.8 | -0.1 | 9.63 | 0 | -0.5 | 0 | 5.78 | 4.82 | 0 | 7.7 | 1.93 | 19.26 | 0 | 2.89 | 0 | -4 | 0 | 0 | 21.18 | 0 | 5.49 | 0 | -5
08:15 - 08:30 | -1.2 | 0 | 0 | 0 | -353.15 | 0 | 10.59 | 0 | -0.9 | -0.1 | 9.63 | 0 | -0.5 | 0 | 5.49 | 4.82 | 0 | 7.7 | 1.93 | 19.26 | 0 | 2.89 | 0 | -4 | -5 | 0 | 21.18 | 0 | 5.49 | 0 | -5
08:30 - 08:45 | -1.2 | 0 | 0 | 0 | -374.91 | 7.51 | 10.59 | 0 | -0.1 | -0.1 | 9.63 | 0 | -0.5 | 0 | 5.2 | 4.82 | 0 | 7.7 | 1.93 | 19.26 | 0 | 2.89 | 0 | -4 | 0 | 0 | 21.18 | 0 | 5.49 | 0 | -5
08:45 - 09:00 | -1.2 | 0 | 0 | 0 | -49.54 | 7.03 | 10.59 | 0 | -0.1 | -0.01 | 0 | 0 | -0.5 | 0 | 4.91 | 4.82 | 0 | 7.7 | 1.93 | 19.26 | 0 | 2.89 | 0 | 0 | 0 | 0 | 21.18 | 0 | 5.49 | 0 | -0.44
09:00 - 09:15 | -1.2 | 0 | 0 | 0 | 0 | 6.55 | 10.59 | 0 | -0.1 | -0.03 | 0 | 0 | -0.5 | 0 | 4.62 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 2.89 | 0 | 0 | -10 | 0 | 19.26 | 0 | 5.49 | 0 | -0.88
09:15 - 09:30 | -1.2 | 0 | 0 | 0 | 0 | 6.36 | 10.59 | 0 | -0.1 | -0.02 | 0 | 0 | -0.5 | 0 | 4.43 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 2.89 | 0 | 0 | -30 | 0 | 19.25 | 0 | 5.49 | 0 | -0.48
09:30 - 09:45 | -1.2 | -10 | 0 | 0 | 0 | 6.84 | 10.59 | 0 | -0.1 | -0.1 | 0 | 0 | -0.5 | 0 | 4.24 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 2.89 | 0 | 0 | 0 | 6.93 | 30.82 | 0 | 5.49 | 51.03 | -3
09:45 - 10:00 | -1.2 | 0 | 0 | 0 | 0 | 5.97 | 10.59 | 0 | -0.1 | -0.1 | 0 | 0 | -0.5 | 0 | 4.04 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 2.89 | 0 | 0 | 0 | 6.93 | 30.82 | 0 | 5.49 | 102.08 | -3
10:00 - 10:15 | -1.2 | 0 | 0 | 0 | 0 | 5.68 | 10.59 | 0 | -0.07 | 0 | 0 | 0 | -0.5 | 0 | 3.85 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -30 | 6.93 | 30.82 | 0 | 5.49 | 96.3 | 0
10:15 - 10:30 | -1.2 | 0 | 0 | 0 | 0 | 5.59 | 10.59 | 0 | -0.08 | 0 | 0 | 0 | -0.5 | 0 | 3.95 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 30.82 | 0 | 5.49 | 96.29 | 0
10:30 - 10:45 | -1.2 | 0 | 0 | 0 | 143.03 | 5.59 | 10.59 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 4.04 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 30.82 | 0 | 5.49 | 213.79 | 0
10:45 - 11:00 | -1.2 | 0 | 0 | 0 | 358.8 | 6.07 | 10.59 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 3.56 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -20 | 6.93 | 30.82 | 0 | 5.49 | 338.01 | 0
11:00 - 11:15 | -1.2 | 0 | 0 | 0 | 239.6 | 6.64 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 3.47 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -25 | 6.93 | 25.04 | 0 | 5.49 | 462.25 | 0
11:15 - 11:30 | -1.2 | 0 | 0 | 0 | 238.29 | 6.55 | 10.59 | 0 | -0.2 | 0 | 0 | 7.7 | 0 | 0 | 3.47 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 25.04 | 0 | 5.49 | 585.51 | 0
11:30 - 11:45 | -1.2 | 0 | 0 | 0 | 204.65 | 6.26 | 10.59 | 0 | -0.3 | -0.2 | 0 | 7.7 | 0 | 0 | 3.18 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 677.95 | 0
11:45 - 12:00 | -1.2 | 0 | 0 | 0 | 211.89 | 6.07 | 10.59 | 0 | -0.3 | -0.08 | 0 | 7.7 | 0 | 0 | 3.47 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -15 | 6.93 | 19.26 | 0 | 5.49 | 677.95 | 0
12:00 - 12:15 | -1.2 | 0 | 0 | 0 | 191.44 | 6.26 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 3.66 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 677.96 | 0
12:15 - 12:30 | -1.2 | 0 | 0 | 0 | 191.46 | 6.16 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 3.27 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -10 | 6.93 | 19.26 | 0 | 5.49 | 678.93 | 0
12:30 - 12:45 | -1.2 | 0 | 0 | 0 | 311.83 | 7.32 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 3.27 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -30 | 6.93 | 19.26 | 0 | 5.49 | 678.92 | 0
12:45 - 13:00 | -1.2 | 0 | 0 | 0 | 359.99 | 7.99 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 3.27 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 657.74 | 0
13:00 - 13:15 | -1.2 | 0 | -0.4 | 0 | 263.42 | 7.13 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 3.37 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 678.92 | 0
13:15 - 13:30 | -1.2 | 0 | -0.4 | 0 | 149.31 | 7.61 | 10.59 | 0 | -0.5 | -0.9 | 0 | 7.7 | 0 | 0 | 3.37 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 657.74 | 0
13:30 - 13:45 | -1.2 | 0 | -0.4 | 0 | 149.28 | 6.84 | 10.59 | 0 | -0.6 | -0.5 | 0 | 7.7 | 0 | 0 | 3.56 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 554.7 | 0
13:45 - 14:00 | -1.2 | 0 | -0.4 | 0 | 152.15 | 0 | 10.59 | 0 | -0.6 | -0.5 | 0 | 7.7 | 0 | 0 | 3.85 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -25 | 6.93 | 19.26 | 0 | 5.49 | 451.66 | 0
14:00 - 14:15 | -1.2 | 0 | -0.4 | 0 | 221.51 | 6.16 | 10.59 | 0 | -0.7 | -0.5 | 0 | 7.7 | 0 | 0 | 4.24 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -45 | 6.93 | 19.26 | 0 | 5.49 | 347.65 | 0
14:15 - 14:30 | -1.2 | 0 | -0.4 | 0 | 181.75 | 0 | 10.59 | 0 | -0.7 | -0.5 | 0 | 7.7 | 0 | 0 | 4.33 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -40 | 6.93 | 19.26 | 0 | 5.49 | 245.57 | 0
14:30 - 14:45 | -1.2 | -5 | -0.4 | 0 | 270.74 | 0 | 10.59 | 0 | -0.7 | -0.5 | 0 | 7.7 | 0 | 0 | 4.43 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 142.52 | 0
14:45 - 15:00 | -1.2 | 0 | -0.4 | 0 | 210.04 | 0 | 10.59 | 0 | -0.7 | -0.5 | 9.63 | 7.7 | 0 | 0 | 4.82 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 39.48 | 0
15:00 - 15:15 | -1.2 | 0 | -0.4 | 0 | 186.01 | 0 | 10.59 | 0 | -0.7 | -0.5 | 9.63 | 7.7 | 0 | 0 | 5.1 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 0 | 0
15:15 - 15:30 | -1.2 | 0 | -0.4 | 0 | 132.89 | 0 | 10.59 | 0 | -0.7 | -0.4 | 9.63 | 7.7 | 0 | 0 | 5.39 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.26 | 0 | 5.49 | 0 | 0
15:30 - 15:45 | -1.2 | 0 | -0.4 | 0 | -422.04 | 0 | 10.59 | -50 | -0.5 | -0.5 | 0 | 7.7 | 0 | 0 | 0 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 19.27 | 0 | 5.49 | 0 | 0
15:45 - 16:00 | -1.2 | 0 | -0.4 | 0 | -480.97 | 0 | 10.59 | -50 | -0.5 | -0.4 | 0 | 7.7 | 0 | 0 | 0 | 4.82 | 0 | 7.7 | 1.93 | 6.74 | 0 | 3.85 | 0 | 0 | -20 | 6.93 | 19.27 | 0 | 5.49 | 0 | 0
16:00 - 16:15 | -1.2 | -10 | -0.4 | 0 | -279.99 | 0 | 10.59 | 0 | -0.4 | -0.4 | 9.63 | 7.7 | 0 | 19.26 | 0.48 | 4.82 | 0 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | -5 | 6.93 | 28.9 | 0 | 5.49 | 0 | 0
16:15 - 16:30 | -1.2 | 0 | -0.4 | 0 | -263.71 | 0 | 10.59 | 0 | -0.4 | -0.3 | 9.63 | 7.7 | 0 | 19.26 | -1.3 | 4.82 | 0 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 28.9 | 0 | 5.49 | 0 | 0
16:30 - 16:45 | -1.2 | 0 | 0 | 0 | -50.06 | 16.18 | 10.59 | 0 | -0.3 | -0.2 | 9.63 | 7.7 | 0 | 19.26 | 0 | 4.82 | 0 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 28.9 | 0 | 5.49 | 0 | 0
16:45 - 17:00 | -1.2 | 0 | 0 | 0 | -248.13 | 0 | 10.59 | 0 | -0.2 | -0.2 | 9.63 | 7.7 | 0 | 19.26 | -1.1 | 4.82 | 0 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 28.9 | 0 | 5.49 | 0 | 0
17:00 - 17:15 | -1.2 | 0 | 0 | 0 | -553.09 | 0 | 10.59 | 0 | -0.1 | -0.1 | 0 | 7.7 | 0 | 19.26 | -0.8 | 14.45 | 0 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 28.9 | 0 | 5.49 | 0 | 0
17:15 - 17:30 | -1.2 | 0 | 0 | 0 | -680.02 | 0 | 10.59 | 0 | 0 | -0.1 | 0 | 7.7 | 0 | 19.26 | -0.5 | 14.45 | 0 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 28.9 | 0 | 5.49 | 0 | 0
17:30 - 17:45 | -1.2 | -5 | 0 | 0 | -549.99 | 0 | 10.59 | 0 | 0 | -0.1 | 9.63 | 7.7 | 0 | 19.26 | -0.3 | 14.45 | 0 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | -15 | 6.93 | 28.9 | 0 | 5.49 | 0 | 0
17:45 - 18:00 | -1.2 | -5 | 0 | 0 | -568.94 | 0 | 10.59 | 0 | 0 | 0 | 9.63 | 7.7 | 0 | 19.26 | -0.1 | 14.45 | 0 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | -15 | 6.93 | 9.63 | 0 | 5.49 | 26.97 | 0
18:00 - 18:15 | -1.2 | 0 | 0 | 0 | -507.38 | 16.37 | 10.59 | 0 | 0 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0 | 14.45 | 0 | 7.7 | 1.93 | 19.26 | 0 | 3.85 | 0 | 0 | 0 | 6.93 | 9.63 | 0 | 5.49 | 48.16 | 0
18:15 - 18:30 | -1.2 | 0 | 0 | 0 | -321.75 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0 | 19.26 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.93 | 9.63 | 0 | 0 | 0 | 0
18:30 - 18:45 | -1 | 0 | -0.4 | -1.4 | -330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1 | 0 | -0.4 | -1.4 | -350.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1 | 0 | -0.4 | -1.5 | -22.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1 | 0 | -0.4 | -1.5 | -50.01 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1 | 0 | -0.4 | -1.5 | -50.01 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1 | 0 | -0.4 | -1.4 | -0.01 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1 | 0 | -0.4 | -1.4 | -5.17 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1 | 0 | -0.4 | -1.4 | -87.51 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -1 | 0 | -0.4 | -1.4 | -110.34 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -1 | 0 | -0.4 | -1.4 | -114.23 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -1 | 0 | -0.4 | -1.4 | -114.24 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -1 | 0 | -0.4 | -1.4 | -125.02 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -1 | 0 | -0.4 | -1.4 | -136.75 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -1 | 0 | -0.4 | -1.4 | -175.02 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -1 | 0 | -0.4 | -1.4 | -250 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -1 | 0 | 0 | -1.4 | -200 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -1 | 0 | 0 | -1.4 | -125.02 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -1 | 0 | 0 | -1.4 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -1 | 0 | 0 | -1.4 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | -1 | 0 | -0.4 | -1.4 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | -0.5 | 19.26 | 0 | 14.45 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.11 | 19.26 | 0 | 0 | 0 | 0
23:45 - 24:00 | -1 | 0 | -0.4 | -1.4 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -0.5 | 19.26 | 0 | 14.45 | -7 | 7.7 | 1.93 | 19.26 | 0 | 0 | -4.1 | 0 | -18 | 6.93 | 19.26 | 0 | 5.49 | 0 | 0
Average | -2.2781 | -0.58854 | -0.11667 | -0.775 | -49.7085 | 1.6638 | 5.0789 | -27.2958 | -0.38302 | -0.86031 | 1.3041 | -0.29167 | -1.525 | 3.0108 | 1.0489 | 2.8614 | 3.6543 | 0.73375 | 6.3618 | -2.4792 | 0.60208 | -0.052083 | -0.20833 | -26.6811 | 4.2454 | 3.3117 | 1.8491 | 5.8965