## POWER STATUS
POWER STATUS ON DT 02.07.2026
[9 empty] | 2026-07-02 | 2026-07-01
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5342 | 6006
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 12.542 | 0.30101 | 630/590 ft | 600.91 | 600.65 | 600.62 | 0 | 33
| Chiplima | 72(3x24) | 8.583 | 0.20599 | - |  |  |  | 10 | 10
| Balimela | 510(6x60+2x75) | 188.916 | 4.534 | 1516/1440 ft | 1455.7 | 1457.5 | 1457.2 | 67 | 372
| Rengali | 250(5x50) | 9.958 | 0.23899 | 123.5/109.75 mt | 119 | 109.8 | 109.83 | 0 | 0
| Upper Kolab | 320(4x80) | 18.46 | 0.44304 | 858/844 mt | 848.42 | 847.05 | 847.07 | 0 | 99
| Upper Indravati | 600(4x150) | 22.562 | 0.54149 | 642/625 mt | 629.52 | 628.48 | 628.47 | 0 | 51
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2727.2 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 261.021 | 6.2645 |  |  |  |  | 77 | 565
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1638.48 | 39.3235 | RENEWABLE ENERGY (RE) |  |  |  | 1499 | 1656
[5 empty] | M.Hydl | 39.54
| Total Thermal | 2200 | 1638.48 | 39.3235 | Solar | 95.75 |  |  | 1499 | 1656
IPP | VEDANTA #2 | 600 (1x600) | 385.16 | 9.2438 | Total IPPs | Yesterday's Demand Profile |  |  | 270 | 494
| GMR #3 | 350 (1x350) | 264.44 | 6.3466 | 696.44 |  | MW | HRS | 178 | 326
| NBVL(IPP) | 60(1x60) | 46.84 | 1.1242 |  |  |  |  | 35 | 54
| MDTPC |  | 0 | 0 |  |  |  |  | 0 | 0
| CGPs |  | 764.53 | 18.3487 | IPPs, CGPs & RE | Maximum | 6005.47 | 23:00 | 1225 | 1961
| Central Sector(Drawl) |  | 1851.25 | 44.43 | 1596.26 | Minimum | 4439.96 | 7:00 | 2541 | 1824
| Central Sector(Sch) |  | 2028.32 | 48.6797 |  | Average | 5347.011 |  | 2467 | 1733
| Grand Total |  | 5347.011 | 128.3283 | Instantaneous Peak demand |  | 6296.11 | 22:29 | 5342 | 6006
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1718.07 | 41.2337 | 1633.62 | 39.2069 | 1654.86 | 39.7166
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1826.43 | 43.8343 | 1710.02 | 41.0405 | 1984.35 | 47.6244
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1392.05 | 33.4092 | 1356.13 | 32.5471 | 1344.44 | 32.2666
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 629.29 | 15.103 | 617.66 | 14.8238 | 637.07 | 15.2897
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5565.84 | 133.5802 | 5317.43 | 127.6183 | 5620.72 | 134.8973
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 270 | GMR |  |  |  | 178
| NBVL #3 | 35 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 8 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 6
Solar: |  | 138 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 235.4626 | JSL(Duburi) |  |  |  | -80.5317
| ICCL | 40.5817 | visa |  |  |  | 11.9688
| NALCO | -154.5042 | VAL (CGP) |  |  |  | -8.6349
| RSP | -109.4788 | BSL(MMDL) |  |  |  | -87.8826
| INDAL | 1.3499 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -44.9584 | VAL CPP 400 kV |  |  |  | -474.8628
| NBVL | 35.971 | Arati |  |  |  | 15.605
| BPSL(JSG) | 6.7497 | BPPL |  |  |  | 109.4246
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-24 | 2026-06-25 | 2026-06-26 | 2026-06-27 | 2026-06-28 | 2026-06-29 | 2026-06-30 | 2026-07-01
516.52 | 543.06 | 560.9336 | 521.0913 | 282.727 | 269.2095 | 272.013 | 261.021
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.01.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 134.16
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 59.3
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 83.18
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ARYAN_ISPAT | WBSEDCL | -5 | AWEK1L | ODISHA | 10.78
JPIPL | NPCL_UP | -8.17 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 16.17
MAADURGA_THERMAL | NPCL_UP | 0 | DCBL_Rajgangpur | DALCEMAP | -3.25 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.46
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -5.5 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 35.14
NBVL_OTCL | GEB_Beneficiary | -26 | DCBL_Rajgangpur | DCL_RCW | -2.33 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.39
OCL_IRON_STEEL | NPCL_UP | -34.42 | ENVIROCARE_INFRA | TANGEDCO | -4 | DADRI_SOLAR | ODISHA | 0.38
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | ENVIROCARE_INFRA | TANGEDCO | -4 | ENERSON_SOLAR_10MW | ODISHA | 1.55
TIMES_STEEL | TPL_DIS_AHM_ISTS | -5.75 | FACORPOWER | TPL_DIS_AHM | -25 | GADAG_GreenInfra_W | ODISHA | 0.21
FARIDABAD_SOLAR | ODISHA | 0.94 | JSPLANGUL | CSEB_Beneficiary | -150 | GADAG_Serentica3_S | VLSEZ | 28.22
JSWEL_UTKAL | ODISHA | 50.75 | NBVLIPP | BSPHCL | -17.92 | GADAG_Serentica3_W | VLSEZ | 108.52
MPPMCL | ODISHA | 0 | OCL_IRON_STEEL | BRPL | -7.29 | GIWEL_SECI_II_RE | ODISHA | 53.34
RAJ_SOLAR | ODISHA | 2.45 | OCL_IRON_STEEL | BRPL | -17.71 | GPCL_SOLAR_10 | ODISHA | 1.44
RAJ_SOLAR | ODISHA | 2.31 | ORSISL | WBSEDCL | -5 | GSECL_SOLAR | ODISHA | 1.11
|  |  | RSPL_JHARSUGUDA | WBSEDCL | -10 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.78
|  |  | TSBSLA | TANGEDCO | -16.88 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | VSL | WBSEDCL | -10 | KARUR_TPVARDHAMAN_W | TSKPO | 70.43
|  |  | JIPL | ODISHA | 115.56 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | NALCOAP | NACL_Odisha | 38.7 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.51
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.6
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 2.37
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 3.76
[6 empty] | OKWPL_RE | ODISHA | 25.54
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 24.44
[6 empty] | RWE_AP2_SECI_III | ODISHA | 24.14
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 0
[6 empty] | SRI9PL_FTG3 | VLSEZ | 40.48
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 74.77
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 4.93
[6 empty] | XXPPL_FTG3 | ODISHA | 35.6

## DAM
DAM TRADING DETAILS FOR DT :01.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh | Visa_Steel_Limited
00:00 - 00:15 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
00:15 - 00:30 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
00:30 - 00:45 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
00:45 - 01:00 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
01:00 - 01:15 | -3.3 | -12 | -150 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
01:15 - 01:30 | -3.3 | -12 | -150 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
01:30 - 01:45 | -3.3 | -12 | -150 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
01:45 - 02:00 | -3.3 | -12 | -150 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
02:00 - 02:15 | -3.3 | -12 | -300 | 0 | -119.54 | -9 | 0 | 0 | -19.4 | -10
02:15 - 02:30 | -3.3 | -12 | -300 | 0 | -96.97 | -9 | 0 | 0 | -19.4 | -10
02:30 - 02:45 | -3.3 | -12 | -300 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
02:45 - 03:00 | -3.3 | -12 | -300 | 0 | -220 | -9 | 0 | 0 | -19.4 | -10
03:00 - 03:15 | -3.3 | -12 | -475 | 0 | -120 | -9 | 0 | 0 | -19.4 | -10
03:15 - 03:30 | -3.3 | -12 | -475 | 0 | -50 | -9 | 0 | 0 | -19.4 | -10
03:30 - 03:45 | -3.3 | -12 | -475 | 0 | -50 | -9 | 0 | 0 | -19.4 | -10
03:45 - 04:00 | -3.3 | -12 | -475 | 0 | -50 | -9 | 0 | 0 | -19.4 | -10
04:00 - 04:15 | -3.3 | -12 | -425 | 0 | -50 | -9 | 0 | 0 | -19.4 | -10
04:15 - 04:30 | -3.3 | -12 | -425 | 0 | -50 | -9 | 0 | 0 | -19.4 | -10
04:30 - 04:45 | -3.3 | -12 | -425 | 0 | -50 | -9 | 0 | 0 | -19.4 | -10
04:45 - 05:00 | -3.3 | -12 | -425 | 0 | -50 | -9 | 0 | 0 | -19.4 | -10
05:00 - 05:15 | -3.3 | -12 | -300 | 0 | -50 | -9 | -43 | 0 | -19.4 | -10
05:15 - 05:30 | -3.3 | -12 | -300 | 0 | -50 | -9 | -43 | 0 | -19.4 | -10
05:30 - 05:45 | -3.3 | -12 | -300 | 0 | -50 | -9 | -43 | 0 | -19.4 | -10
05:45 - 06:00 | -3.3 | -12 | -300 | 0 | -50 | -9 | -43 | 0 | -19.4 | -10
06:00 - 06:15 | -3.3 | -12 | -650 | 0 | -50 | -9 | -43 | 0 | -19.4 | -10
06:15 - 06:30 | -3.3 | -12 | -650 | 0 | -50 | -9 | -43 | 0 | -19.4 | -10
06:30 - 06:45 | -3.3 | -12 | -650 | 0 | -50 | -9 | -43 | 0 | 0 | -10
06:45 - 07:00 | -3.3 | -12 | -650 | 0 | -50 | -9 | -43 | 0 | 0 | -10
07:00 - 07:15 | -3.3 | 0 | -800 | 0 | -50 | -9 | -18 | 0 | 0 | 0
07:15 - 07:30 | -3.3 | 0 | -800 | 0 | -50 | -9 | -18 | 0 | 0 | 0
07:30 - 07:45 | -3.3 | 0 | -668.1 | 0 | 0 | -9 | -18 | 9.63 | 0 | 0
07:45 - 08:00 | -3.3 | 0 | -500 | 0 | 0 | -9 | -18 | 9.63 | 0 | 0
08:00 - 08:15 | -3.3 | 0 | -723.01 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
08:15 - 08:30 | -3.3 | 0 | -728.1 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
08:30 - 08:45 | -3.3 | 0 | -261.04 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
08:45 - 09:00 | -3.3 | 0 | -92.21 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
09:00 - 09:15 | -3.3 | 0 | 0 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
09:15 - 09:30 | -3.3 | 0 | 0 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
09:30 - 09:45 | -3.3 | 0 | -196 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
09:45 - 10:00 | -3.3 | 0 | -214.04 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
10:00 - 10:15 | -3.3 | 0 | 1.71 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
10:15 - 10:30 | -3.3 | 0 | 1.69 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
10:30 - 10:45 | -3.3 | 0 | 0 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
10:45 - 11:00 | -3.3 | 0 | 0 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
11:00 - 11:15 | -3.3 | 0 | 194.37 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
11:15 - 11:30 | -3.3 | 0 | 194.41 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
11:30 - 11:45 | -3.3 | 0 | 0.9 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
11:45 - 12:00 | -3.3 | 0 | 194.37 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
12:00 - 12:15 | -3.3 | 0 | 194.29 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
12:15 - 12:30 | -3.3 | 0 | 193.5 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
12:30 - 12:45 | -3.3 | 0 | 194.36 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
12:45 - 13:00 | -3.3 | 0 | 194.34 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
13:00 - 13:15 | -3.3 | 0 | 194.37 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
13:15 - 13:30 | -3.3 | 0 | 194.33 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
13:30 - 13:45 | -3.3 | 0 | 0 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
13:45 - 14:00 | -3.3 | 0 | 0 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
14:00 - 14:15 | -3.3 | 0 | 0 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
14:15 - 14:30 | -3.3 | 0 | 0 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
14:30 - 14:45 | -3.3 | 0 | -165.31 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
14:45 - 15:00 | -3.3 | 0 | -215.72 | 28.89 | 0 | -1 | -18 | 9.63 | 0 | 0
15:00 - 15:15 | -3.3 | 0 | -275.93 | 0 | 0 | -1 | -18 | 9.63 | 0 | 0
15:15 - 15:30 | -3.3 | 0 | -300 | 0 | 0 | -1 | -18 | 9.63 | 0 | 0
15:30 - 15:45 | -3.3 | 0 | -300 | 0 | 0 | -1 | -18 | 9.63 | 0 | 0
15:45 - 16:00 | -3.3 | 0 | -300 | 0 | 0 | -1 | -18 | 9.63 | 0 | 0
16:00 - 16:15 | -3.3 | 0 | -500 | 0 | 0 | -1 | -43 | 9.63 | 0 | 0
16:15 - 16:30 | -3.3 | 0 | -500 | 0 | 0 | -1 | -43 | 9.63 | 0 | 0
16:30 - 16:45 | -3.3 | 0 | -500 | 0 | 0 | -1 | -43 | 9.63 | 0 | 0
16:45 - 17:00 | -3.3 | 0 | -577.25 | 0 | 0 | -1 | -43 | 9.63 | 0 | 0
17:00 - 17:15 | -3.3 | 0 | -592.5 | 0 | -50 | -1 | -43 | 0 | 0 | 0
17:15 - 17:30 | -3.3 | 0 | -625 | 0 | -50 | -1 | -43 | 0 | 0 | 0
17:30 - 17:45 | -3.3 | 0 | -625 | 0 | -50 | -1 | -43 | 0 | 0 | 0
17:45 - 18:00 | -3.3 | 0 | -625 | 0 | -50 | -1 | -43 | 0 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | -550 | 0 | -50 | -5 | -43 | 0 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | -550 | 0 | -50 | -5 | -43 | 0 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | -350 | 0 | -50 | -5 | -43 | 0 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | -125 | 0 | -60 | -5 | -43 | 0 | -29.1 | 0
19:00 - 19:15 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
19:15 - 19:30 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
19:30 - 19:45 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
19:45 - 20:00 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
20:00 - 20:15 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
20:15 - 20:30 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
20:30 - 20:45 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
20:45 - 21:00 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
21:00 - 21:15 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
21:15 - 21:30 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
21:30 - 21:45 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
21:45 - 22:00 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
22:00 - 22:15 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
22:15 - 22:30 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
22:30 - 22:45 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
22:45 - 23:00 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
23:00 - 23:15 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
23:15 - 23:30 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
23:30 - 23:45 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
23:45 - 24:00 | -3.3 | -12 | 0 | 0 | -220 | -9 | 0 | 0 | -29.1 | -10
Average | -3.3 | -6 | -209.4434 | 8.4262 | -85.3803 | -5.5 | -15.7083 | 3.8119 | -11.6198 | -5

## GDAM
GDAM TRADING DETAILS FOR DT:01.07.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 14.45 | 0 | 5.78 | 72.23 | 94.36
07:15 - 07:30 | 0 | 14.45 | 0 | 5.78 | 72.22 | 61.63
07:30 - 07:45 | 0 | 14.45 | 0 | 5.78 | 72.22 | 41.41
07:45 - 08:00 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 14.45
08:00 - 08:15 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
08:15 - 08:30 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
08:30 - 08:45 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
08:45 - 09:00 | 0 | 14.45 | 32.74 | 5.78 | 72.22 | 0
09:00 - 09:15 | 26.31 | 14.45 | 27.93 | 5.78 | 72.21 | 0
09:15 - 09:30 | 0 | 14.45 | 24.08 | 5.78 | 72.21 | 0
09:30 - 09:45 | 0 | 14.45 | 22.15 | 5.78 | 72.22 | 0
09:45 - 10:00 | 0 | 14.45 | 21.19 | 5.78 | 72.21 | 0
10:00 - 10:15 | 193.73 | 14.45 | 20.22 | 5.78 | 72.23 | 0
10:15 - 10:30 | 193.47 | 14.45 | 18.3 | 5.78 | 72.23 | 0
10:30 - 10:45 | 244.57 | 14.45 | 16.37 | 5.78 | 72.23 | 0
10:45 - 11:00 | 244.57 | 14.45 | 16.37 | 5.78 | 72.23 | 0
11:00 - 11:15 | 0 | 14.45 | 17.33 | 5.78 | 72.22 | 0
11:15 - 11:30 | 0 | 14.45 | 19.26 | 5.78 | 72.22 | 0
11:30 - 11:45 | 216.83 | 14.45 | 22.15 | 5.78 | 72.23 | 0
11:45 - 12:00 | 0 | 14.45 | 24.08 | 5.78 | 72.21 | 0
12:00 - 12:15 | 0 | 14.45 | 24.08 | 5.78 | 72.21 | 0
12:15 - 12:30 | 0 | 14.45 | 24.08 | 5.78 | 72.21 | 0
12:30 - 12:45 | 0 | 14.45 | 24.08 | 5.78 | 72.21 | 0
12:45 - 13:00 | 0 | 14.45 | 24.08 | 5.78 | 72.21 | 0
13:00 - 13:15 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
13:15 - 13:30 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
13:30 - 13:45 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
13:45 - 14:00 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
14:00 - 14:15 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
14:15 - 14:30 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
14:30 - 14:45 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
14:45 - 15:00 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
15:00 - 15:15 | 0 | 14.45 | 0 | 5.78 | 72.22 | 0
15:15 - 15:30 | 0 | 14.45 | 0 | 5.78 | 72.22 | 0
15:30 - 15:45 | 0 | 14.45 | 0 | 5.78 | 72.22 | 0
15:45 - 16:00 | 0 | 14.45 | 0 | 5.78 | 72.22 | 0
16:00 - 16:15 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
16:15 - 16:30 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
16:30 - 16:45 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
16:45 - 17:00 | 0 | 14.45 | 36.59 | 5.78 | 72.22 | 0
17:00 - 17:15 | 0 | 14.45 | 0 | 5.78 | 72.22 | 0
17:15 - 17:30 | 0 | 14.45 | 0 | 5.78 | 72.22 | 0
17:30 - 17:45 | 0 | 14.45 | 0 | 5.78 | 72.22 | 0
17:45 - 18:00 | 0 | 14.45 | 0 | 5.78 | 0 | 20.22
18:00 - 18:15 | 0 | 14.45 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | 11.6612 | 6.7734 | 10.0409 | 2.6492 | 32.3483 | 2.4174

## RTM
RTM TRADING DETAILS FOR DT: 01.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | Thakur_Prasad_Sao_And_Sons_Private_Limited_Unit_IV | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -25 | 0 | -9.7 | 0 | 0 | 0 | 0
00:15 - 00:30 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -1.74 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
01:00 - 01:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
01:15 - 01:30 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
01:30 - 01:45 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
01:45 - 02:00 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
02:00 - 02:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -25 | 0 | -9.7 | 0 | 0 | 0 | 0
02:15 - 02:30 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -10 | 0 | -9.7 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.78 | -9.7 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 9.63 | 0 | 14.45 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.78 | -9.7 | 0 | 5.49 | 0 | 0
03:15 - 03:30 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 9.63 | 0 | 14.45 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.78 | -9.7 | 0 | 5.49 | 0 | 0
03:30 - 03:45 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.78 | -9.7 | 0 | 0 | 0 | 0
03:45 - 04:00 | -1.2 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 57.78 | -9.7 | 0 | 0 | 0 | 0
04:00 - 04:15 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
04:15 - 04:30 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
04:30 - 04:45 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.87 | -9.7 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | -250 | 0 | 0 | -20 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | -251.02 | 0 | 0 | -20 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | -251.92 | 0 | 0 | -20 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | -351.78 | 0 | 0 | -20 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | -215.07 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -0.1 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | -196.45 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | -0.4 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -1.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -175.83 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | -0.7 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -1.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -191.01 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | -0.9 | 14.45 | -5 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 0 | 19.26 | 0 | 0 | 5.49 | 0 | 0
07:00 - 07:15 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | -129.43 | 0 | 10.59 | 0 | 0 | 0 | -1 | -15 | 9.63 | -1.2 | 14.45 | -5 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 0 | 19.26 | 0 | 0 | 5.49 | 0 | 0
07:15 - 07:30 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | -186.34 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -1.4 | 14.45 | -5 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 0 | 19.26 | 0 | 0 | 5.49 | 0 | 0
07:30 - 07:45 | -1.3 | -5 | 0 | 0 | 0 | 0 | 0 | -286.3 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -1.5 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | 0 | 19.26 | 0 | 0 | 5.49 | 0 | 0
07:45 - 08:00 | -1.3 | -5 | 0 | 0 | 0 | 0 | 0 | -451.74 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -1.9 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | 0 | 19.26 | 0 | 0 | 5.49 | 0 | 0
08:00 - 08:15 | -1.3 | 0 | 0 | 0 | 0 | 0 | 14.45 | -54.94 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | -2.2 | 4.82 | -9 | 5.78 | 2.89 | 19.25 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 5.49 | 0 | 0
08:15 - 08:30 | -1.3 | 0 | 0 | -1.2 | 0 | 0 | 14.45 | -50.04 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | -2.5 | 4.82 | -9 | 5.78 | 2.89 | 19.25 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 5.49 | 0 | 0
08:30 - 08:45 | -1.3 | 0 | 0 | -2.2 | 0 | 0 | 14.45 | -451.74 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | -2.7 | 4.82 | -9 | 5.78 | 2.89 | 19.25 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 5.49 | 0 | 0
08:45 - 09:00 | -1.3 | 0 | 0 | -2 | 0 | 0 | 14.45 | -650.56 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | -2.9 | 4.82 | -9 | 5.78 | 2.89 | 19.25 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 5.49 | 0 | 0
09:00 - 09:15 | -1.3 | -1 | 0 | 0 | 0 | 0 | 14.45 | -720 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | -3.1 | 4.82 | -9 | 5.78 | 2.89 | 19.25 | 0 | 3.85 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.49 | 0 | 0
09:15 - 09:30 | -1.3 | -10 | -0.3 | 0 | 0 | 0 | 14.45 | -716.24 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | -0.7 | 4.82 | -9 | 5.78 | 2.89 | 19.25 | 0 | 3.85 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.49 | 0 | 0
09:30 - 09:45 | -1.3 | 0 | -2 | 0 | 0 | 0 | 14.45 | -354.94 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 4.24 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 28.88 | 0 | 0 | 5.49 | 0 | 0
09:45 - 10:00 | -1.3 | 0 | -3.3 | -0.1 | 0 | 0 | 14.45 | -247.46 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 3.95 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 28.88 | 0 | 0 | 5.49 | 0 | 0
10:00 - 10:15 | -1.3 | 0 | -5.4 | -3.1 | 0 | 0 | 14.45 | -601.85 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 3.76 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 21.17 | 0 | 0 | 5.49 | 0 | 0
10:15 - 10:30 | -1.3 | 0 | -6.8 | -5.5 | 0 | 0 | 14.45 | -701.84 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 3.56 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 21.18 | 0 | 0 | 5.49 | 0 | 0
10:30 - 10:45 | -1.3 | 0 | -6.2 | -6.1 | 0 | 0 | 14.45 | -674.97 | 5.2 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.56 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 21.18 | 0 | 0 | 5.49 | 0 | 0
10:45 - 11:00 | -1.3 | 0 | -4.9 | -6.4 | 0 | 0 | 14.45 | -359.88 | 5.01 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.47 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 21.17 | 0 | 0 | 5.49 | 0 | 0
11:00 - 11:15 | -1.3 | -10 | -7.2 | -6.7 | 0 | 0 | 14.45 | -328.21 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.56 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -15 | 21.19 | 0 | 0 | 5.49 | 34.66 | 0
11:15 - 11:30 | -1.3 | 0 | -7.9 | -6.8 | 0 | 0 | 14.45 | -128.23 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.56 | 4.82 | -9 | 5.78 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -15 | 21.19 | 0 | 0 | 5.49 | 34.66 | 0
11:30 - 11:45 | -1.3 | 0 | -5 | -7.2 | 0 | 0 | 14.45 | 123.41 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.47 | 4.82 | -9 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 21.19 | 0 | 0 | 5.49 | 34.67 | 0
11:45 - 12:00 | -1.3 | -1 | -6.3 | -7.2 | 0 | 0 | 14.45 | 214.92 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.37 | 4.82 | -9 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 21.19 | 0 | 0 | 5.49 | 34.67 | 0
12:00 - 12:15 | -1.3 | 0 | -5.9 | -7.1 | 0 | 0 | 14.45 | -10.01 | 8.28 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.76 | 4.82 | -9 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 28.89 | 0 | 0 | 5.49 | 34.66 | 0
12:15 - 12:30 | -1.3 | 0 | -7 | -7.1 | 0 | 0 | 14.45 | -50.05 | 7.7 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.47 | 4.82 | -9 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 28.89 | 0 | 0 | 5.49 | 34.66 | 0
12:30 - 12:45 | -1.3 | -5 | -3.4 | -7 | 0 | 0 | 14.45 | 187.8 | 8.09 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.76 | 4.82 | -9 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -15 | 28.89 | 0 | 0 | 5.49 | 34.67 | 0
12:45 - 13:00 | -1.3 | -5 | -6.6 | -6.9 | 0 | 0 | 14.45 | 433.37 | 5.97 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.56 | 4.82 | -2 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -15 | 28.89 | 0 | 0 | 5.49 | 34.67 | 0
13:00 - 13:15 | -1.3 | 0 | -4.7 | -6.5 | -0.4 | 0 | 14.45 | 744.8 | 8.57 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.66 | 4.82 | -2 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -20 | 28.89 | 0 | 0 | 5.49 | 34.67 | 0
13:15 - 13:30 | -1.3 | 0 | -1.5 | -6.2 | -0.4 | 0 | 14.45 | 789.61 | 10.69 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 3.66 | 4.82 | -2 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -20 | 28.89 | 0 | 0 | 5.49 | 34.67 | 0
13:30 - 13:45 | -1.3 | 0 | -4.3 | -5.9 | -0.4 | 0 | 14.45 | 905.25 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 0 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -20 | 14.45 | 0 | 0 | 5.49 | 34.67 | 0
13:45 - 14:00 | -1.3 | 0 | -2.9 | -5.4 | -0.4 | 0 | 14.45 | 824.36 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 0 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -20 | 14.45 | 0 | 0 | 5.49 | 34.67 | 0
14:00 - 14:15 | -1.1 | 0 | -3.1 | -4.7 | -0.4 | 0 | 14.45 | 615.8 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 5.01 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -20 | 14.45 | 0 | -3.6 | 10.59 | 34.67 | 0
14:15 - 14:30 | -1.1 | -12 | -1.4 | -4.3 | -0.4 | 0 | 14.45 | 602.19 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 5.3 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -20 | 14.45 | 0 | -3.6 | 10.59 | 34.67 | 0
14:30 - 14:45 | -1.1 | 0 | 0 | -3.6 | -0.4 | 0 | 14.45 | 639.89 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 5.39 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 14.45 | 0 | -3.6 | 10.59 | 34.67 | 0
14:45 - 15:00 | -1.1 | 0 | 0 | -3.2 | -0.4 | 0 | 14.45 | 402.08 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 5.59 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 14.45 | 0 | -3.6 | 10.59 | 34.67 | 0
15:00 - 15:15 | -1.1 | 0 | 0 | -2.5 | -0.4 | 0 | 14.45 | 241.72 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 5.68 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 14.45 | 0 | -3.6 | 10.59 | 34.67 | 0
15:15 - 15:30 | -1.1 | 0 | 0 | -1.3 | -0.4 | 0 | 14.45 | 94.31 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 5.68 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 14.45 | 0 | -3.6 | 10.59 | 34.67 | 0
15:30 - 15:45 | -1.1 | 0 | 0 | -0.5 | -0.4 | 0 | 14.45 | 73.22 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 6.74 | 5.87 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 14.45 | 0 | -3.6 | 10.59 | 26 | -2.8
15:45 - 16:00 | -1.1 | 0 | 0 | 0 | -0.4 | 0 | 14.45 | 0 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | -15 | 6.74 | 0 | 4.82 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 14.45 | 0 | -3.6 | 10.59 | 27.92 | -2.8
16:00 - 16:15 | -1.1 | -12 | 0 | 0 | -0.4 | 0 | 14.45 | -154.59 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 14.45 | 1.16 | 4.82 | 0 | 4.82 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 0 | 0 | -3.6 | 10.59 | 25.98 | -2.8
16:15 - 16:30 | -1.1 | 0 | 0 | 0 | -0.4 | 0 | 14.45 | -179.91 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 14.45 | -1 | 4.82 | 0 | 4.82 | 2.89 | 19.25 | 0 | 3.85 | 0 | 0 | -10 | 0 | 0 | -3.6 | 10.59 | 15.41 | -2.8
16:30 - 16:45 | -1.1 | 0 | 0 | 0 | 0 | 0 | 14.45 | 2.07 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 14.45 | 0 | 4.82 | 0 | 4.82 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 0 | 0 | -3.6 | 10.59 | 28.88 | -2.8
16:45 - 17:00 | -1.1 | 0 | 0 | 0 | 0 | 0 | 14.45 | 163.8 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 14.45 | -0.7 | 4.82 | 0 | 4.82 | 2.89 | 19.26 | 0 | 3.85 | 0 | 0 | -10 | 0 | 0 | -3.6 | 10.59 | 42.37 | -2.8
17:00 - 17:15 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 158.91 | 16.27 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 14.45 | -0.5 | 14.45 | 0 | 4.82 | 2.89 | 19.26 | 0 | 3.85 | 0 | -7 | -10 | 15.41 | 0 | -3.6 | 10.59 | 0 | -2.8
17:15 - 17:30 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 207.05 | 16.66 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 14.45 | -0.3 | 14.45 | 0 | 4.82 | 2.89 | 19.26 | 0 | 3.85 | 0 | -7 | -10 | 15.41 | 0 | -3.6 | 10.59 | 0 | -2.8
17:30 - 17:45 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 211.89 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 14.45 | -0.1 | 14.45 | 0 | 4.82 | 2.89 | 19.26 | 0 | 3.85 | 0 | -7 | -5 | 15.41 | 0 | 0 | 10.59 | 37.56 | -2.8
17:45 - 18:00 | -1.1 | -14 | 0 | 0 | 0 | 0 | 0 | 154.02 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 14.45 | 0 | 14.45 | 0 | 4.82 | 2.89 | 19.26 | 57.78 | 3.85 | 0 | -7 | -5 | 25.04 | 0 | 0 | 10.59 | 40.45 | -2.8
18:00 - 18:15 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 325.96 | 17.33 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 0 | 14.45 | 0 | 4.82 | 2.89 | 19.26 | 57.78 | 3.85 | 0 | -7 | -5 | 25.04 | 0 | 0 | 10.59 | 81.86 | -2.8
18:15 - 18:30 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 200.99 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 0.19 | 14.45 | 0 | 4.82 | 2.89 | 19.26 | 57.78 | 3.85 | 0 | -7 | -5 | 25.04 | 0 | 0 | 10.59 | 100.15 | -2.8
18:30 - 18:45 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 0.39 | 14.45 | 0 | 4.82 | 2.89 | 19.26 | 57.78 | 3.85 | 0 | -7 | -4 | 22.15 | 0 | 0 | 10.59 | 119.4 | -2.8
18:45 - 19:00 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -19.99 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 0.39 | 14.45 | 0 | 4.82 | 2.89 | 19.26 | 57.78 | 3.85 | 0 | -7 | -4 | 22.15 | 0 | 0 | 10.59 | 132.89 | -2.8
19:00 - 19:15 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -106.95 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -2.8
19:15 - 19:30 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -107.14 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -2.8
19:30 - 19:45 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -52.48 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -2.8
19:45 - 20:00 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -102.48 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -2.8
20:00 - 20:15 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -50.01 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -9.7 | 0 | 0 | 0 | -2.8
20:15 - 20:30 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -54.96 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -9.7 | 0 | 0 | 0 | -2.8
20:30 - 20:45 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -113.14 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -2.8
20:45 - 21:00 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -120.26 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -2.8
21:00 - 21:15 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -86.21 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -2.8
21:15 - 21:30 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -88.25 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -2.8
21:30 - 21:45 | -1.1 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | -36.27 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -9.7 | 0 | 0 | 0 | -2.8
21:45 - 22:00 | -1.1 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -9.7 | 0 | 0 | 0 | -2.8
22:00 - 22:15 | -1.1 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | -156.38 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -3.2
22:15 - 22:30 | -1.1 | 0 | 0 | 0 | -0.4 | -1.4 | 0 | -156.38 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -3.2
22:30 - 22:45 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -86.73 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -3.2
22:45 - 23:00 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -86.75 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -3.2
23:00 - 23:15 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -159.18 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -3.2
23:15 - 23:30 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -127.52 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | -3.2
23:30 - 23:45 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -170.25 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -9.7 | 0 | 0 | 0 | -6
23:45 - 24:00 | -1.1 | 0 | 0 | 0 | 0 | -1.4 | 0 | -165.56 | 0 | 0 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -9.7 | 0 | 0 | 0 | -6
Average | -1.1854 | -0.83333 | -1.001 | -1.3198 | -0.14167 | -0.69792 | 5.4187 | -32.8315 | 1.1434 | 6.1775 | -7.9348 | 4.7147 | 0.16042 | -1 | -0.3125 | 3.8522 | 0.77312 | 3.8647 | -4.3229 | 3.3715 | 1.3848 | 9.8299 | 3.0094 | 1.8448 | -0.25 | -0.58333 | -5.7604 | 12.2625 | -3.8396 | -0.525 | 3.9791 | 13.5718 | -1.0833