## POWER STATUS
POWER STATUS ON DT 03.07.2026
[9 empty] | 2026-07-03 | 2026-07-02
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5363 | 5672
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 14.833 | 0.35599 | 630/590 ft | 602.35 | 600.62 | 600.73 | 0 | 52
| Chiplima | 72(3x24) | 10.416 | 0.24998 | - |  |  |  | 15 | 13
| Balimela | 510(6x60+2x75) | 152.833 | 3.668 | 1516/1440 ft | 1457.1 | 1457.2 | 1457 | 124 | 371
| Rengali | 250(5x50) | 2.275 | 0.0546 | 123.5/109.75 mt | 119.93 | 109.83 | 109.9 | 0 | 20
| Upper Kolab | 320(4x80) | 17.79 | 0.42696 | 858/844 mt | 849.2 | 847.07 | 847.13 | 0 | 153
| Upper Indravati | 600(4x150) | 2.604 | 0.062496 | 642/625 mt | 630.1 | 628.47 | 628.49 | 0 | 0
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2728.5 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 200.751 | 4.818 |  |  |  |  | 139 | 609
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1590.04 | 38.161 | RENEWABLE ENERGY (RE) |  |  |  | 1612 | 1670
[5 empty] | M.Hydl | 43.38
| Total Thermal | 2200 | 1590.04 | 38.161 | Solar | 60.42 |  |  | 1612 | 1670
IPP | VEDANTA #2 | 600 (1x600) | 364.32 | 8.7437 | Total IPPs | Yesterday's Demand Profile |  |  | 254 | 440
| GMR #3 | 350 (1x350) | 269.56 | 6.4694 | 682.32 |  | MW | HRS | 325 | 323
| NBVL(IPP) | 60(1x60) | 48.44 | 1.1626 |  |  |  |  | 39 | 55
| MDTPC |  | 0 | 0 |  |  |  |  | 0 | 0
| CGPs |  | 856.17 | 20.5481 | IPPs, CGPs & RE | Maximum | 6000.96 | 12:00 | 1464 | 1930
| Central Sector(Drawl) |  | 1963.24 | 47.1178 | 1642.29 | Minimum | 4552.71 | 06:00 | 2148 | 1463
| Central Sector(Sch) |  | 2096.28 | 50.3107 |  | Average | 5396.321 |  | 2142 | 1542
| Grand Total |  | 5396.321 | 129.5117 | Instantaneous Peak demand |  | 6222.49 | 12:21 | 5363 | 5672
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1608.27 | 38.5985 | 1577.35 | 37.8564 | 1643.75 | 39.45
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1928.72 | 46.2893 | 1755.87 | 42.1409 | 1663.72 | 39.9293
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1336.79 | 32.083 | 1346.72 | 32.3213 | 1311.47 | 31.4753
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 616.07 | 14.7857 | 597.27 | 14.3345 | 604.32 | 14.5037
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5489.85 | 131.7564 | 5277.21 | 126.653 | 5223.26 | 125.3582
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 254 | GMR |  |  |  | 325
| NBVL #3 | 39 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 9 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 13
Solar: |  | 152 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 274.3418 | JSL(Duburi) |  |  |  | -118.8351
| ICCL | 42.7021 | visa |  |  |  | 11.704
| NALCO | -149.754 | VAL (CGP) |  |  |  | -13.2548
| RSP | -113.1972 | BSL(MMDL) |  |  |  | 25.4922
| INDAL | -3.0236 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -40.1994 | VAL CPP 400 kV |  |  |  | -428.2132
| NBVL | 39.9206 | Arati |  |  |  | 22.8611
| BPSL(JSG) | -36.8009 | BPPL |  |  |  | 98.5007
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-25 | 2026-06-26 | 2026-06-27 | 2026-06-28 | 2026-06-29 | 2026-06-30 | 2026-07-01 | 2026-07-02
543.06 | 560.9336 | 521.0913 | 282.727 | 269.2095 | 272.013 | 261.021 | 200.751
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.02.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 141.14
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 60.89
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 82.51
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ARYAN_ISPAT | WBSEDCL | -5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.55
JPIPL | NPCL_UP | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 9.51
MAADURGA_THERMAL | NPCL_UP | 0 | DCBL_Rajgangpur | DALCEMAP | -5 | AWEK1L | ODISHA | 14.27
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -2 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.3
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 30.49
OCL_IRON_STEEL | NPCL_UP | -34.42 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.36
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | FACORPOWER | TPL_DIS_AHM | -25 | DADRI_SOLAR | ODISHA | 0.6
TIMES_STEEL | TPL_DIS_AHM_ISTS | -5.25 | JSPLANGUL | CSEB_Beneficiary | -150 | ENERSON_SOLAR_10MW | ODISHA | 1.32
FARIDABAD_SOLAR | ODISHA | 0.94 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0.36
JSWEL_UTKAL | ODISHA | 47.61 | OCL_IRON_STEEL | BRPL | -7.29 | GADAG_Serentica3_S | VLSEZ | 25.92
MPPMCL | ODISHA | 0 | OCL_IRON_STEEL | BRPL | -17.71 | GADAG_Serentica3_W | VLSEZ | 122.19
RAJ_SOLAR | ODISHA | 2.31 | ORSISL | WBSEDCL | -5 | GIWEL_SECI_II_RE | ODISHA | 42.77
RAJ_SOLAR | ODISHA | 2.6 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GPCL_SOLAR_10 | ODISHA | 1.35
|  |  | Shri_JSPL | TANGEDCO | -1.67 | GSECL_SOLAR | ODISHA | 0.94
|  |  | TSBSLA | TANGEDCO | -10 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.63
|  |  | VSL | WBSEDCL | -10 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | Darlipali_NTPC | ODISHA | 23.2 | KARUR_TPVARDHAMAN_W | TSKPO | 79.16
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.18 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.63
|  |  | JIPL | ODISHA | 115.56 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
|  |  | NALCOAP | NACL_Odisha | 29.14 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.92
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.91
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 8.6
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 20.42
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 25.66
[6 empty] | RWE_AP2_SECI_III | ODISHA | 19.45
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 12.74
[6 empty] | SRI9PL_FTG3 | VLSEZ | 42.26
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 77.22
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 1.96
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 36.28

## DAM
DAM TRADING DETAILS FOR DT :02.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh | Visa_Steel_Limited
00:00 - 00:15 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -29.1 | -10
00:15 - 00:30 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -29.1 | -10
00:30 - 00:45 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -29.1 | -10
00:45 - 01:00 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -29.1 | -10
01:00 - 01:15 | -3.3 | 0 | -12 | -150 | 0 | 0 | -250 | -9 | 0 | 0 | -29.1 | -10
01:15 - 01:30 | -3.3 | 0 | -12 | -150 | 0 | 0 | -250 | -9 | 0 | 0 | -29.1 | -10
01:30 - 01:45 | -3.3 | 0 | -12 | -150 | 0 | 0 | -250 | -9 | 0 | 0 | -29.1 | -10
01:45 - 02:00 | -3.3 | 0 | -12 | -150 | 0 | 0 | -250 | -9 | 0 | 0 | -29.1 | -10
02:00 - 02:15 | -3.3 | 0 | -12 | -125 | 0 | 0 | -90 | -9 | 0 | 0 | 0 | -10
02:15 - 02:30 | -3.3 | 0 | -12 | -125 | 0 | 0 | -90 | -9 | 0 | 0 | 0 | -10
02:30 - 02:45 | -3.3 | 0 | -12 | -125 | 0 | 0 | -90 | -9 | 0 | 0 | 0 | -10
02:45 - 03:00 | -3.3 | 0 | -12 | -125 | 0 | 0 | -90 | -9 | 0 | 0 | 0 | -10
03:00 - 03:15 | -3.3 | 0 | -12 | -125 | 0 | 0 | -90 | -9 | 0 | 0 | 0 | -10
03:15 - 03:30 | -3.3 | 0 | -12 | -125 | 0 | 0 | -80 | -9 | 0 | 0 | -29.1 | -10
03:30 - 03:45 | -3.3 | 0 | -12 | -125 | 0 | 0 | -80 | -9 | 0 | 0 | -29.1 | -10
03:45 - 04:00 | -3.3 | 0 | -12 | -125 | 0 | 0 | -80 | -9 | 0 | 0 | -29.1 | -10
04:00 - 04:15 | -3.3 | 0 | -12 | -425 | 0 | 0 | -80 | -9 | 0 | 0 | 0 | -10
04:15 - 04:30 | -3.3 | 0 | -12 | -425 | 0 | 0 | -80 | -9 | 0 | 0 | 0 | -10
04:30 - 04:45 | -3.3 | 0 | -12 | -425 | 0 | 0 | -80 | -9 | 0 | 0 | 0 | -10
04:45 - 05:00 | -3.3 | 0 | -12 | -425 | 0 | 0 | -80 | -9 | 0 | 0 | 0 | -10
05:00 - 05:15 | -3.3 | 0 | -12 | -500 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | -10
05:15 - 05:30 | -3.3 | 0 | -12 | -500 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | -10
05:30 - 05:45 | -3.3 | 0 | -12 | -500 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | -10
05:45 - 06:00 | -3.3 | 0 | -12 | -500 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | -10
06:00 - 06:15 | -3.3 | 0 | -12 | -800 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | -10
06:15 - 06:30 | -3.3 | 0 | -12 | -800 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | -10
06:30 - 06:45 | -3.3 | 0 | 0 | -800 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | -10
06:45 - 07:00 | -3.3 | 0 | 0 | -800 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | -10
07:00 - 07:15 | -3.3 | 0 | 0 | -878.9 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | 0
07:15 - 07:30 | -3.3 | 0 | 0 | -825 | 0 | 0 | -80 | -9 | -43 | 0 | 0 | 0
07:30 - 07:45 | -3.3 | 0 | 0 | -741.77 | 0 | 0 | -45.31 | -9 | -43 | 7.7 | 0 | 0
07:45 - 08:00 | -3.3 | 0 | 0 | -575 | 0 | 0 | -30 | -9 | -43 | 7.7 | 0 | 0
08:00 - 08:15 | -3.3 | 17.34 | 0 | -875 | 0 | 0 | -30 | -1 | -18 | 7.7 | 0 | 0
08:15 - 08:30 | -3.3 | 17.34 | 0 | -875 | 0 | 0 | -30 | -1 | -18 | 7.7 | 0 | 0
08:30 - 08:45 | -3.3 | 17.34 | 0 | -824.94 | 0 | 0 | -30 | -1 | -18 | 7.7 | 0 | 0
08:45 - 09:00 | -3.3 | 17.33 | 0 | -584.59 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
09:00 - 09:15 | -3.3 | 17.33 | 0 | -300.9 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
09:15 - 09:30 | -3.3 | 17.33 | 0 | -281.74 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
09:30 - 09:45 | -3.3 | 17.33 | 0 | -283.72 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
09:45 - 10:00 | -3.3 | 17.33 | 0 | -282.18 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
10:00 - 10:15 | -3.3 | 17.33 | 0 | -69.27 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
10:15 - 10:30 | -3.3 | 17.33 | 0 | -100 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
10:30 - 10:45 | -3.3 | 17.33 | 0 | -100 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
10:45 - 11:00 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
11:00 - 11:15 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
11:15 - 11:30 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
11:30 - 11:45 | -3.3 | 17.33 | 0 | 0 | 10.21 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
11:45 - 12:00 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
12:00 - 12:15 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
12:15 - 12:30 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
12:30 - 12:45 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
12:45 - 13:00 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
13:00 - 13:15 | -3.3 | 17.33 | 0 | 0 | 9.82 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
13:15 - 13:30 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
13:30 - 13:45 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
13:45 - 14:00 | -3.3 | 17.33 | 0 | 0 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
14:00 - 14:15 | -3.3 | 17.33 | 0 | -100 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
14:15 - 14:30 | -3.3 | 17.33 | 0 | -100 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
14:30 - 14:45 | -3.3 | 17.33 | 0 | -100 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
14:45 - 15:00 | -3.3 | 17.33 | 0 | -138.31 | 0 | 28.9 | -30 | -1 | -18 | 7.7 | 0 | 0
15:00 - 15:15 | -3.3 | 17.33 | 0 | -164.13 | 0 | 28.9 | -30 | -1 | -43 | 7.7 | 0 | 0
15:15 - 15:30 | -3.3 | 17.34 | 0 | -194.3 | 0 | 0 | -30 | -1 | -43 | 7.7 | 0 | 0
15:30 - 15:45 | -3.3 | 17.34 | 0 | -200 | 0 | 0 | -30 | -1 | -43 | 7.7 | 0 | 0
15:45 - 16:00 | -3.3 | 17.34 | 0 | -200 | 0 | 0 | -30 | -1 | -43 | 7.7 | 0 | 0
16:00 - 16:15 | -3.3 | 17.34 | 0 | -600 | 0 | 0 | -30 | -1 | -43 | 7.7 | 0 | 0
16:15 - 16:30 | -3.3 | 17.34 | 0 | -600 | 0 | 0 | -30 | -1 | -43 | 7.7 | 0 | 0
16:30 - 16:45 | -3.3 | 17.34 | 0 | -600 | 0 | 0 | -30 | -1 | -43 | 7.7 | 0 | 0
16:45 - 17:00 | -3.3 | 17.34 | 0 | -600 | 0 | 0 | -30 | -1 | -43 | 7.7 | 0 | 0
17:00 - 17:15 | -3.3 | 0 | 0 | -350 | 0 | 0 | -30 | -1 | -43 | 7.7 | 0 | 0
17:15 - 17:30 | -3.3 | 0 | 0 | -366.97 | 0 | 0 | -47.89 | -1 | -43 | 7.7 | 0 | 0
17:30 - 17:45 | -3.3 | 0 | 0 | -358.7 | 0 | 0 | -30 | -1 | -43 | 7.7 | 0 | 0
17:45 - 18:00 | -3.3 | 0 | 0 | -375 | 0 | 0 | -210 | -1 | -43 | 7.7 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | 0 | 0 | 0 | -210 | -5 | -43 | 7.7 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | 0 | 0 | 0 | 0 | -210 | -5 | -43 | 0 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | 0 | 0 | 0 | 0 | -210 | -5 | -43 | 0 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | 0 | 0 | 0 | 0 | -210 | -5 | -43 | 0 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | -12 | 0 | 0 | 0 | -270 | -9 | 0 | 0 | -48.5 | -10
19:15 - 19:30 | -3.3 | 0 | -12 | 0 | 0 | 0 | -270 | -9 | 0 | 0 | -48.5 | -10
19:30 - 19:45 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
19:45 - 20:00 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
20:00 - 20:15 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
20:15 - 20:30 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
20:30 - 20:45 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
20:45 - 21:00 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
21:00 - 21:15 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
21:15 - 21:30 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
21:30 - 21:45 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
21:45 - 22:00 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
22:00 - 22:15 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
22:15 - 22:30 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
22:30 - 22:45 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
22:45 - 23:00 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
23:00 - 23:15 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
23:15 - 23:30 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
23:30 - 23:45 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
23:45 - 24:00 | -3.3 | 0 | -12 | 0 | 0 | 0 | -250 | -9 | 0 | 0 | -48.5 | -10
Average | -3.3 | 6.4998 | -5.75 | -220.2648 | 0.20865 | 7.8271 | -116.2833 | -5.5 | -17.7917 | 3.449 | -13.4385 | -5

## GDAM
GDAM TRADING DETAILS FOR DT:02.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.78 | 0 | 114.59
07:15 - 07:30 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.78 | 0 | 67.4
07:30 - 07:45 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 37.56
07:45 - 08:00 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
08:15 - 08:30 | 0 | -1.2 | 0 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
08:30 - 08:45 | 0 | -2.2 | 0 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
08:45 - 09:00 | 0 | -2 | 141.56 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
09:00 - 09:15 | 0 | -5.2 | 216.53 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
09:15 - 09:30 | -0.3 | -6.5 | 209.69 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
09:30 - 09:45 | -2 | -7.2 | 198.05 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
09:45 - 10:00 | -3.3 | -10 | 196.09 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
10:00 - 10:15 | -5.4 | -11.5 | 244.76 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
10:15 - 10:30 | -6.8 | -11.2 | 244.75 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
10:30 - 10:45 | -6.2 | -12.9 | 244.74 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
10:45 - 11:00 | -4.9 | -13 | 244.74 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
11:00 - 11:15 | -7.2 | -13.4 | 244.76 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
11:15 - 11:30 | -7.9 | -14.1 | 245.1 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
11:30 - 11:45 | -5 | -12.3 | 245.05 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
11:45 - 12:00 | -6.3 | -12.4 | 245.07 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
12:00 - 12:15 | -5.9 | -13.2 | 245.05 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
12:15 - 12:30 | -7 | -13.1 | 244.95 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
12:30 - 12:45 | -3.4 | -13.4 | 245.07 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
12:45 - 13:00 | -6.6 | -12.2 | 245.07 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
13:00 - 13:15 | -4.7 | -12.6 | 245.07 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
13:15 - 13:30 | -1.5 | -10.6 | 245.07 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
13:30 - 13:45 | -4.3 | -11.2 | 242.74 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
13:45 - 14:00 | -2.9 | -10.8 | 242.71 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
14:00 - 14:15 | -3.1 | -8.9 | 0 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
14:15 - 14:30 | -1.4 | -9.4 | 89.75 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
14:30 - 14:45 | 0 | -7.8 | 0 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
14:45 - 15:00 | 0 | -2.2 | 0 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
15:00 - 15:15 | 0 | -3.7 | 0 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
15:15 - 15:30 | 0 | -5.5 | 0 | 19.26 | 9.63 | 6.26 | 57.78 | 3.85 | 0
15:30 - 15:45 | 0 | -4.6 | 0 | 19.26 | 0 | 6.26 | 57.78 | 0 | 0
15:45 - 16:00 | 0 | -2.9 | 0 | 19.26 | 0 | 6.26 | 57.78 | 0 | 0
16:00 - 16:15 | 0 | -1.5 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 2.89
17:45 - 18:00 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 57.77 | 0 | 25.04
18:00 - 18:15 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.001 | -2.9031 | 51.733 | 8.3768 | 3.0094 | 2.8692 | 26.4815 | 1.2031 | 2.5779

## RTM
RTM TRADING DETAILS FOR DT: 02.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -1.2 | 0 | 0 | -1.4 | 0 | 0 | 0 | -20 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9
00:15 - 00:30 | -1.2 | 0 | 0 | -1.4 | 0 | 0 | 0 | -20 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9
00:30 - 00:45 | -1.2 | 0 | 0 | -1.4 | -151.99 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9
00:45 - 01:00 | -1.2 | 0 | 0 | -1.4 | -49.92 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | -2.9
01:00 - 01:15 | -1.2 | 0 | 0 | -1.4 | -52.7 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9
01:15 - 01:30 | -1.2 | 0 | 0 | -1.4 | -50.77 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9
01:30 - 01:45 | -1.2 | 0 | 0 | -1.4 | 0 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.59 | 0 | 0 | 0 | 14.45 | 10.59 | 0 | 0 | -2.9
01:45 - 02:00 | -1.2 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.39 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.59 | 0 | 0 | 0 | 14.45 | 10.59 | 0 | 0 | -2.9
02:00 - 02:15 | -1.2 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | 0 | 0 | 10.59 | 208.97 | 0 | -2.9
02:15 - 02:30 | -1.2 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | 0 | 0 | 10.59 | 208.97 | 0 | -2.9
02:30 - 02:45 | -1.2 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | -5 | 0 | 10.59 | 204.15 | 0 | -2.9
02:45 - 03:00 | -1.2 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | -5 | 0 | 10.59 | 204.15 | 0 | -2.9
03:00 - 03:15 | -1.2 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | -8 | 0 | 10.59 | 204.15 | 0 | -2.9
03:15 - 03:30 | -1.2 | 0 | 0 | 0 | -46.64 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | -8 | 0 | 10.59 | 204.15 | 0 | -2.9
03:30 - 03:45 | -1.2 | 0 | 0 | -1.4 | -153 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | -10 | 0 | 10.59 | 0 | 0 | -2.9
03:45 - 04:00 | -1.2 | 0 | 0 | -1.4 | -250.09 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | -10 | 0 | 10.59 | 26.5 | 0 | -2.9
04:00 - 04:15 | -1.2 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | 0 | 0 | 10.59 | 204.15 | 0 | -2.9
04:15 - 04:30 | -1.2 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | 0 | 0 | 10.59 | 204.15 | 0 | -2.9
04:30 - 04:45 | -1.2 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -2.72 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | 0 | 0 | 10.59 | 199.34 | 0 | -2.9
04:45 - 05:00 | -1.2 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.19 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | 0 | 0 | 10.59 | 199.34 | 0 | -2.9
05:00 - 05:15 | -1.2 | 0 | 0 | -1.5 | 0 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | 0 | 0 | 10.59 | 199.34 | 0 | -2.9
05:15 - 05:30 | -1.2 | 0 | 0 | -1.5 | 0 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | -12 | 0 | 10.59 | 0 | 0 | -2.9
05:30 - 05:45 | -1.2 | 0 | -0.4 | -1.5 | -62.01 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 5.78 | 14.45 | -5 | 0 | 0 | 12.52 | 62.59 | 2.89 | 0 | -15 | 0 | 10.59 | 0 | 0 | -2.9
05:45 - 06:00 | -1.2 | 0 | -0.4 | -1.5 | -61.83 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 5.78 | 14.45 | -5 | 0 | 0 | 12.52 | 62.59 | 2.89 | 0 | -10 | 0 | 10.59 | 0 | 0 | -2.9
06:00 - 06:15 | -1.2 | 0 | -0.4 | -1.5 | -77.56 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | -0.2 | 0 | 14.45 | -5 | 0 | 0 | 12.52 | 62.6 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | -2.9
06:15 - 06:30 | -1.2 | 0 | -0.4 | -1.5 | -60.43 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | -0.4 | 5.78 | 14.45 | -5 | 0 | 0 | 12.52 | 62.59 | 2.89 | 0 | 0 | 0 | 10.59 | 0 | 0 | -2.9
06:30 - 06:45 | -1.2 | -12 | 0 | -1.5 | -80.02 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | -0.7 | 0 | 14.45 | -5 | 0 | 2.89 | 12.52 | 62.59 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | -2.9
06:45 - 07:00 | -1.2 | -8 | 0 | -1.5 | -61.7 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 9.63 | -0.9 | 5.78 | 14.45 | -5 | 0 | 2.89 | 12.52 | 62.59 | 2.89 | 0 | 0 | 0 | 10.59 | 0 | 0 | -2.9
07:00 - 07:15 | -1.2 | -4 | 0 | 0 | -18.93 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -1.2 | 0.96 | 14.45 | -5 | 0 | 2.89 | 12.52 | 0 | 2.89 | 0 | 0 | 0 | 10.59 | 10.59 | 0 | -1
07:15 - 07:30 | -1.2 | -4 | 0 | 0 | -18.93 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -1.4 | 0.96 | 14.45 | -5 | 0 | 2.89 | 12.52 | 0 | 2.89 | 0 | -20 | 0 | 10.59 | 14.45 | 0 | -1
07:30 - 07:45 | -1.2 | -4 | 0 | 0 | -2.02 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -1.5 | 0.96 | 6.74 | -5 | 0 | 2.89 | 12.52 | 0 | 2.89 | 0 | -10 | 0 | 10.59 | 4.82 | 0 | -1
07:45 - 08:00 | -1.2 | -4 | 0 | 0 | -31.04 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -1.9 | 0.96 | 6.74 | -5 | 0 | 2.89 | 12.53 | 0 | 2.89 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1
08:00 - 08:15 | -1.2 | -18 | 0 | 0 | -1.11 | 0 | 10.59 | 0 | 0 | -6 | -1 | -15 | 0 | -2.2 | 0.96 | 6.74 | -5 | 7.7 | 10.59 | 12.54 | 0 | 2.89 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1
08:15 - 08:30 | -1.2 | -4 | 0 | 0 | 0 | 13.69 | 10.59 | 0 | 0 | -6 | -1 | 0 | 0 | -2.5 | 0.96 | 6.74 | -5 | 7.7 | 10.59 | 12.52 | 0 | 2.89 | 0 | 0 | 0 | 5.49 | 0 | 0 | -1
08:30 - 08:45 | -1.2 | -4 | 0 | 0 | 256.97 | 13.19 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0.96 | 5.78 | -5 | 7.7 | 10.59 | 12.52 | 0 | 2.89 | 0 | 0 | 0 | 5.49 | 74.15 | 0 | -1
08:45 - 09:00 | -1.2 | -2.94 | 0 | 0 | 433.48 | 13.1 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0.96 | 5.78 | -3.68 | 7.7 | 10.59 | 12.52 | 0 | 2.89 | 0 | 0 | 0 | 5.49 | 38.52 | 0 | -1
09:00 - 09:15 | -1.2 | 0 | 0 | 0 | 471.97 | 13 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0.96 | 5.78 | 0 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | 0 | 0 | 5.49 | 130.97 | 51.04 | -1
09:15 - 09:30 | -1.2 | -5 | 0 | 0 | 404.57 | 12.13 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0.96 | 5.78 | -5 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | -20 | 0 | 5.49 | 225.34 | 51.04 | -1
09:30 - 09:45 | -1.2 | -11 | 0 | 0 | 606.68 | 0 | 10.59 | 0 | 0 | -6 | -1 | 0 | 0 | 4.14 | 0.96 | 5.78 | -5 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | -40 | 0 | 5.49 | 307.2 | 0 | -1
09:45 - 10:00 | -1.2 | -11 | 0 | 0 | 511.81 | 0 | 10.59 | 0 | 0 | -6 | -1 | 0 | 0 | 4.04 | 0.96 | 5.78 | -5 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | -40 | 0 | 5.49 | 348.61 | 0 | -1
10:00 - 10:15 | -1.2 | -5 | 0 | 0 | 327.64 | 12.71 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.95 | 0.96 | 4.82 | -5 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | 0 | 0 | 10.59 | 442.99 | 0 | -1
10:15 - 10:30 | -1.2 | -4 | 0 | 0 | 587.46 | 11.84 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.85 | 0.96 | 4.82 | -5 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | 0 | 0 | 10.59 | 565.28 | 0 | -1
10:30 - 10:45 | -1.2 | -4 | 0 | 0 | 780.1 | 11.56 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.85 | 0.96 | 4.82 | -5 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | -20 | 0 | 10.59 | 667.36 | 0 | -1
10:45 - 11:00 | -1.2 | -4 | 0 | 0 | 731.94 | 12.13 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.76 | 0.96 | 4.82 | -5 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | 0 | 0 | 10.59 | 668.32 | 0 | -1
11:00 - 11:15 | -1.2 | -4 | 0 | 0 | 731.91 | 11.56 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.76 | 0.96 | 4.82 | -5 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | -20 | 0 | 10.59 | 668.32 | 0 | -1
11:15 - 11:30 | -1.2 | -15 | 0 | 0 | 604.95 | 0 | 10.59 | 0 | 0 | -6 | -1 | 0 | 0 | 3.85 | 0.96 | 4.82 | -5 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | -70 | 0 | 10.59 | 668.33 | 0 | -1
11:30 - 11:45 | -1.2 | -4 | 0 | 0 | 683.77 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.85 | 0.96 | 4.82 | 0 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | -50 | 0 | 10.59 | 668.32 | 0 | -1
11:45 - 12:00 | -1.2 | -4 | 0 | 0 | 683.75 | 10.5 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.66 | 0.96 | 4.82 | 0 | 7.7 | 10.59 | 12.52 | 0 | 3.85 | 0 | 0 | 0 | 10.59 | 668.32 | 0 | -1
12:00 - 12:15 | -1.2 | -5 | 0 | 0 | 635.59 | 10.98 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 4.14 | 0.96 | 4.82 | 0 | 7.7 | 2.89 | 12.52 | 0 | 3.85 | 0 | 0 | 0 | 10.59 | 668.33 | 0 | -1
12:15 - 12:30 | -1.2 | -6 | 0 | 0 | 683.75 | 11.07 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 4.14 | 0.96 | 4.82 | 0 | 7.7 | 2.89 | 12.52 | 0 | 3.85 | 0 | -20 | 0 | 10.59 | 668.32 | 0 | -1
12:30 - 12:45 | -1.2 | -4 | 0 | 0 | 731.9 | 10.69 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 4.14 | 0.96 | 4.82 | 0 | 9.63 | 10.59 | 12.52 | 0 | 3.85 | 0 | 0 | 0 | 10.59 | 668.32 | 0 | -1
12:45 - 13:00 | -1.2 | -4 | 0 | 0 | 720.48 | 9.73 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.85 | 0.96 | 4.82 | 0 | 9.63 | 10.59 | 12.52 | 0 | 3.85 | 0 | -10 | 0 | 10.59 | 668.32 | 0 | -1
13:00 - 13:15 | -1.2 | -10 | -0.4 | 0 | 780.11 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.76 | 0.96 | 4.82 | 0 | 9.63 | 10.59 | 12.52 | 0 | 3.85 | 0 | -50 | 0 | 8.67 | 668.32 | 0 | -1
13:15 - 13:30 | -1.2 | -10 | -0.4 | 0 | 780.12 | 11.07 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.56 | 0.96 | 4.82 | 0 | 9.63 | 10.59 | 12.52 | 0 | 3.85 | 0 | -70 | 0 | 7.7 | 647.14 | 0 | -1
13:30 - 13:45 | -1.2 | -4 | -0.4 | 0 | 780.11 | 12.33 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 3.85 | 0.96 | 4.82 | 0 | 9.63 | 10.59 | 12.52 | 0 | 3.85 | 0 | -20 | 0 | 6.74 | 544.1 | 0 | -1
13:45 - 14:00 | -1.2 | -4 | -0.4 | 0 | 731.94 | 12.81 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 4.14 | 0.96 | 4.82 | 0 | 9.63 | 10.59 | 12.52 | 0 | 3.85 | 0 | 0 | 0 | 5.78 | 441.05 | 0 | -1
14:00 - 14:15 | -1.2 | -2 | -0.4 | 0 | 1068.93 | 12.81 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 4.82 | 0.96 | 4.82 | 0 | 9.63 | 10.59 | 12.52 | 0 | 11.56 | 0 | -70 | 0 | 5.59 | 338.01 | 0 | -1
14:15 - 14:30 | -1.2 | -2 | -0.4 | 0 | 556.75 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 5.1 | 0.96 | 4.82 | 0 | 9.63 | 10.59 | 12.52 | 0 | 11.56 | 0 | -40 | 0 | 5.59 | 234.97 | 0 | -1
14:30 - 14:45 | -1.2 | -2 | -0.4 | 0 | 612.67 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0.19 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 12.52 | 0 | 11.56 | 0 | 0 | 0 | 5.59 | 131.93 | 0 | -1
14:45 - 15:00 | -1.2 | -15 | -0.4 | 0 | 576.33 | 0 | 10.59 | 0 | 0 | 0 | -1 | -15 | 0 | 5.49 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 12.52 | 0 | 11.56 | 0 | -50 | 0 | 5.59 | 28.89 | 0 | -1
15:00 - 15:15 | 0 | -2 | -0.4 | 0 | 143.58 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 5.59 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 11.56 | 0 | -50 | 0 | 5.59 | 0 | 0 | -1
15:15 - 15:30 | 0 | -2 | -0.4 | 0 | -1.75 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 5.68 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 11.56 | 0 | 0 | 0 | 5.59 | 0 | 0 | -1
15:30 - 15:45 | 0 | -2 | -0.4 | 0 | -391.04 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 5.78 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.32 | 0 | 11.56 | 0 | 0 | 0 | 5.59 | 0 | 0 | -1
15:45 - 16:00 | 0 | -2 | -0.4 | 0 | -451.05 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 5.97 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 11.56 | 0 | -50 | 0 | 5.59 | 0 | 0 | -1
16:00 - 16:15 | 0 | -0.57 | -0.4 | 0 | 0 | 10.88 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | 0.96 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 11.56 | 0 | 0 | 0 | 5.59 | 0 | 0 | -1
16:15 - 16:30 | 0 | -2 | -0.4 | 0 | 0 | 12.42 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -1.2 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 11.56 | 0 | -30 | 0 | 5.59 | 0 | 0 | -1
16:30 - 16:45 | 0 | -26 | 0 | 0 | 71.62 | 11.65 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -1.1 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 11.56 | 0 | -50 | 0 | 5.59 | 0 | 0 | -1
16:45 - 17:00 | 0 | -26 | 0 | 0 | 102.16 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -0.9 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 11.56 | 0 | -30 | 0 | 5.59 | 0 | 0 | -1
17:00 - 17:15 | 0 | -26 | 0 | 0 | -101 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -0.7 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 11.56 | 0 | 0 | 0 | 5.59 | 0 | 0 | -1
17:15 - 17:30 | 0 | -26 | 0 | 0 | 0 | 15.99 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -0.5 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.32 | 0 | 11.56 | 0 | 0 | 0 | 5.59 | 0 | 0 | -1
17:30 - 17:45 | 0 | -26 | 0 | 0 | -262.66 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -0.3 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 0 | -20 | -10 | 0 | 5.59 | 0 | 0 | -1
17:45 - 18:00 | 0 | -26 | 0 | 0 | -238 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 9.63 | -0.1 | 0.96 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 0 | 0 | -20 | 0 | 0 | 5.59 | 0 | 0 | -1
18:00 - 18:15 | 0 | -8 | 0 | 0 | -566.04 | 0 | 10.59 | 0 | 9.63 | 0 | -1 | 0 | 0 | 0 | 5.78 | 4.82 | 0 | 9.63 | 2.89 | 17.33 | 67.4 | 0 | -20 | 0 | 0 | 5.59 | 38.52 | 0 | -1
18:15 - 18:30 | 0 | -8 | 0 | 0 | -445.02 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 12.52 | 0 | 0 | 2.89 | 17.33 | 67.41 | 0 | -20 | -10 | 0 | 5.59 | 0 | 0 | -1
18:30 - 18:45 | 0 | -5 | 0 | -1.4 | -525.29 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -1
18:45 - 19:00 | 0 | -5 | 0 | -1.4 | -654.79 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | -15 | 0 | 0 | 0 | 0 | -1
19:00 - 19:15 | 0 | -5 | 0 | -1.4 | -387.63 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -1
19:15 - 19:30 | 0 | -9 | 0 | -1.4 | -403.21 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -1
19:30 - 19:45 | 0 | -8 | 0 | -1.4 | -400.02 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -1
19:45 - 20:00 | 0 | -8 | 0 | -1.4 | -400.01 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1
20:00 - 20:15 | 0 | -7 | 0 | -1.4 | -294.79 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
20:15 - 20:30 | 0 | -7 | 0 | -1.4 | -285 | 0 | 0 | -30 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1
20:30 - 20:45 | 0 | -7 | 0 | -1.4 | -295.42 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1
20:45 - 21:00 | 0 | -9 | 0 | -1.4 | -305.56 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:00 - 21:15 | 0 | -6 | 0 | -1.4 | -325.01 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -1
21:15 - 21:30 | 0 | -6 | 0 | -1.4 | -278.19 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -1
21:30 - 21:45 | 0 | -6 | -0.4 | -1.4 | -281.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1
21:45 - 22:00 | 0 | -6 | -0.4 | -1.4 | -289.92 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:00 - 22:15 | -0.1 | -6 | -0.4 | -1.4 | -350 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:15 - 22:30 | -0.1 | -6 | -0.4 | -1.4 | -350 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | -1
22:30 - 22:45 | -0.1 | -6 | 0 | -1.4 | -300 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48 | 0 | 0 | 0 | 0 | -1
22:45 - 23:00 | -0.1 | -6 | 0 | -1.4 | -300 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48 | 0 | 0 | 0 | 0 | -1
23:00 - 23:15 | -0.1 | -4 | 0 | -1.4 | -350 | 0 | 0 | -40 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48 | 0 | 0 | 0 | 0 | -0.1
23:15 - 23:30 | 0 | -4 | 0 | -1.4 | -335.7 | 0 | 0 | -40 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -0.1
23:30 - 23:45 | 0 | -1.98 | 0 | -1.4 | -275 | 0 | 0 | -40 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -0.1
23:45 - 24:00 | 0 | 0 | 0 | -1.4 | -253.78 | 0 | 0 | -40 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -0.1
Average | -0.75521 | -5.3593 | -0.091667 | -0.57708 | 56.9268 | 4.2583 | 7.6116 | -4.2708 | 2.6081 | -0.3125 | -1 | -0.3125 | 3.4106 | 0.98396 | 0.74104 | 6.0419 | -2.3062 | 3.7509 | 3.37 | 9.5699 | 15.7494 | 2.8492 | -1.25 | -15.4896 | 0.45156 | 6.0516 | 147.7653 | 1.0633 | -1.5167