## POWER STATUS
POWER STATUS ON DT 04.07.2026
[9 empty] | 2026-07-04 | 2026-07-03
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5239.241 | 5827.0867
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 16 | 0.384 | 630/590 ft | 604.43 | 600.73 | 601.23 | 0 | 83.5713
| Chiplima | 72(3x24) | 14.125 | 0.339 | - |  |  |  | 17.0301 | 12.8713
| Balimela | 510(6x60+2x75) | 224.958 | 5.399 | 1516/1440 ft | 1459.2 | 1457 | 1457 | 66.9033 | 368.1459
| Rengali | 250(5x50) | 23.3417 | 0.5602 | 123.5/109.75 mt | 120.47 | 109.9 | 109.97 | 0 | 0
| Upper Kolab | 320(4x80) | 27.54 | 0.66096 | 858/844 mt | 849.56 | 847.13 | 847.23 | 0 | 99.1526
| Upper Indravati | 600(4x150) | 54.687 | 1.3125 | 642/625 mt | 630.91 | 628.49 | 628.51 | 0.28409 | 298.5362
| Machkund | 60(50% of(3x17+3x23)) |  | 0 | 2750/2685 ft | 2730.5 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 360.6517 | 8.6556 |  |  |  |  | 84.2174 | 862.2773
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1579.0894 | 37.8981 | RENEWABLE ENERGY (RE) |  |  |  | 1546.3639 | 1549.9723
[5 empty] | M.Hydl | 42.43
| Total Thermal | 2200 | 1579.0894 | 37.8981 | Solar | 94.52 |  |  | 1546.3639 | 1549.9723
IPP | VEDANTA #2 | 600 (1x600) | 180.5234 | 4.3326 | Total IPPs | Yesterday's Demand Profile |  |  | 0 | 0
| GMR #3 | 350 (1x350) | 305.4527 | 7.3309 | 539.1086 |  | MW | HRS | 257.8914 | 321.0128
| NBVL(IPP) | 60(1x60) | 49.6767 | 1.1922 |  |  |  |  | 34.9654 | 55.0537
| MDTPC |  | 3.4558 | 0.082938 |  |  |  |  | 28.0159 | 25.5562
| CGPs |  | 757.9747 | 18.1914 | IPPs, CGPs & RE | Maximum | 5827 | 23:00 | 1120.1728 | 1259.5402
| Central Sector(Drawl) |  | 1931.1123 | 46.3467 | 1434.0333 | Minimum | 4857 | 06:00 | 2488.4869 | 2155.297
| Central Sector(Sch) |  | 1949.4275 | 46.7863 |  | Average | 5304.8867 |  | 2679.6799 | 2067.4331
| Grand Total |  | 5304.8867 | 127.3173 | Instantaneous Peak demand |  | 6008 | 22:52:00 PM | 5239.241 | 5827.0867
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1572.2832 | 37.7348 | 1498.6839 | 35.9684 | 1481.8127 | 35.5635
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1793.3058 | 43.0393 | 1778.5239 | 42.6846 | 1140.0971 | 27.3623
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1279.4614 | 30.7071 | 1312.8003 | 31.5072 | 1351.3619 | 32.4327
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 565.8646 | 13.5808 | 556.9419 | 13.3666 | 557.2841 | 13.3748
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5210.915 | 125.062 | 5146.95 | 123.5268 | 4530.5559 | 108.7333
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 0 | GMR |  |  |  | 257.8914
| NBVL #3 | 34.9654 | MDTPC |  |  |  | 28.0159
Mini Hydel: | MEENAKSHI | 14.4625 | OPCL |  |  |  | 0
| BTPL | 19.747 | SAPTADHARA |  |  |  | 19.7527
Solar: |  | 163.7043 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 175.793 | JSL(Duburi) |  |  |  | -59.3926
| ICCL | 52.5277 | visa |  |  |  | 12.6493
| NALCO | -152.8212 | VAL (CGP) |  |  |  | -8.898
| RSP | -136.4054 | BSL(MMDL) |  |  |  | 35.3305
| INDAL | -13.5673 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -36.8784 | VAL CPP 400 kV |  |  |  | -401.1614
| NBVL | 35.8354 | Arati |  |  |  | 23.288
| BPSL(JSG) | -79.1649 | BPPL |  |  |  | 104.151
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-26 | 2026-06-27 | 2026-06-28 | 2026-06-29 | 2026-06-30 | 2026-07-01 | 2026-07-02 | 2026-07-03
560.9336 | 521.0913 | 282.727 | 269.2095 | 272.013 | 261.021 | 200.751 | 360.6517
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.03.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.3
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 133.98
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -17.08 | AP41PL_BHDL | ODISHA | 59.83
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ARYAN_ISPAT | WBSEDCL | -5 | AP43PL_BKN | ODISHA | 79.1
JPIPL | NPCL_UP | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.47
MAADURGA_THERMAL | NPCL_UP | 0 | DCBL_Rajgangpur | DALCEMAP | -3.92 | AWEK1L | ODISHA | 10.57
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -2 | AWEK1L | ODISHA | 15.86
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.3
OCL_IRON_STEEL | NPCL_UP | -34.42 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 30.07
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | FACORPOWER | TPL_DIS_AHM | -25 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.04
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | JSPLANGUL | CSEB_Beneficiary | -125 | DADRI_SOLAR | ODISHA | 0.59
VSL | CR_IR_MS | -2.92 | NBVLIPP | BSPHCL | -17.92 | ENERSON_SOLAR_10MW | ODISHA | 1.38
FARIDABAD_SOLAR | ODISHA | 0.94 | OCL_IRON_STEEL | BRPL | -17.71 | GADAG_GreenInfra_W | ODISHA | 0.48
JSWEL_UTKAL | ODISHA | 48.51 | OCL_IRON_STEEL | BRPL | -7.29 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 0 | ODISHA | TANGEDCO | -41.67 | GADAG_Serentica3_S | VLSEZ | 29.02
RAJ_SOLAR | ODISHA | 2.34 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 102.83
RAJ_SOLAR | ODISHA | 2.31 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_Serentica3_W | VLSEZ | 3.28
|  |  | Shri_JSPL | TANGEDCO | -1.12 | GIWEL_SECI_II_RE | ODISHA | 47.95
|  |  | TSBSLA | TANGEDCO | -14.85 | GPCL_SOLAR_10 | ODISHA | 1.56
|  |  | VSL | WBSEDCL | -10 | GSECL_SOLAR | ODISHA | 0.96
|  |  | Darlipali_NTPC | ODISHA | 23.58 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.65
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.54
|  |  | JIPL | ODISHA | 115.56 | KARUR_TPVARDHAMAN_W | TSKPO | 73.17
|  |  | NALCOAP | NACL_Odisha | 35.45 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.63
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 5.64
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.63
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 6.93
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 25.14
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 29.96
[6 empty] | RWE_AP2_SECI_III | ODISHA | 19.68
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 12.11
[6 empty] | SRI9PL_FTG3 | VLSEZ | 46.16
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 76.1
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 2.47
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1
[6 empty] | XXPPL_FTG3 | ODISHA | 35.73

## DAM
DAM TRADING DETAILS FOR DT :03.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | TATA_Steel_Limited_Meramandali | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -2.2 | 0 | -12 | -150 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5
00:15 - 00:30 | -2.2 | 0 | -12 | -150 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5
00:30 - 00:45 | -2.2 | 0 | -12 | -150 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5
00:45 - 01:00 | -2.2 | 0 | -12 | -150 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5
01:00 - 01:15 | -2.2 | 0 | 0 | -250 | 0 | 0 | 0 | -9 | 0 | 0 | 37.51 | 0 | 0 | 0 | -5
01:15 - 01:30 | -2.2 | 0 | 0 | -250 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
01:30 - 01:45 | -2.2 | 0 | 0 | -250 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.42 | 0 | 0 | 22.26 | -5
01:45 - 02:00 | -2.2 | 0 | 0 | -250 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
02:00 - 02:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.41 | 0 | 0 | 172.38 | -5
02:15 - 02:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.41 | 0 | 0 | 172.38 | -5
02:30 - 02:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.41 | 0 | 0 | 172.38 | -5
02:45 - 03:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.41 | 0 | 0 | 172.38 | -5
03:00 - 03:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
03:15 - 03:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
03:30 - 03:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
03:45 - 04:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 0 | 24.62 | 0 | 0 | 0 | -5
04:00 - 04:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -5
04:15 - 04:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -5
04:30 - 04:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -5
04:45 - 05:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -5
05:00 - 05:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -2.2 | 20.22 | 0 | -700 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -2.2 | 20.22 | 0 | -656.24 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -2.2 | 20.23 | 0 | -517.94 | 0 | 0 | 0 | -8 | -43 | 7.7 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | -2.2 | 20.23 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 7.7 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | -2.2 | 20.22 | 0 | -431.22 | 0 | 28.9 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | -2.2 | 20.22 | 0 | 0 | 0 | 28.9 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -2.2 | 20.22 | 0 | 0 | 0 | 28.9 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -2.2 | 20.22 | 0 | 0.89 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -2.2 | 20.22 | 0 | 21.37 | 11.17 | 28.9 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | -2.2 | 20.22 | 0 | 33.37 | 12.9 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -2.2 | 20.22 | 0 | 55.67 | 13.1 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | -2.2 | 20.22 | 0 | 55.97 | 11.75 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
10:00 - 10:15 | -2.2 | 20.22 | 0 | 45.61 | 9.63 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 50.08 | 0
10:15 - 10:30 | -2.2 | 20.22 | 0 | 29.23 | 9.05 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
10:30 - 10:45 | -2.2 | 20.22 | 0 | 26.7 | 9.63 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
10:45 - 11:00 | -2.2 | 20.22 | 0 | 26.78 | 9.82 | 28.88 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
11:00 - 11:15 | -2.2 | 20.22 | 0 | 32.05 | 12.13 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
11:15 - 11:30 | -2.2 | 20.22 | 0 | 32.06 | 14.16 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.89 | 0
11:30 - 11:45 | -2.2 | 20.22 | 0 | 29.18 | 11.65 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
11:45 - 12:00 | -2.2 | 20.22 | 0 | 30.21 | 11.75 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
12:00 - 12:15 | -2.2 | 20.22 | 0 | 29.37 | 12.42 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
12:15 - 12:30 | -2.2 | 20.22 | 0 | 27.27 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
12:30 - 12:45 | -2.2 | 20.22 | 0 | 27.92 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
12:45 - 13:00 | -2.2 | 20.22 | 0 | 27.27 | 0 | 28.88 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
13:00 - 13:15 | -2.2 | 20.22 | 0 | 26.69 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
13:15 - 13:30 | -2.2 | 20.22 | 0 | 26.69 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
13:30 - 13:45 | -2.2 | 20.22 | 0 | 27.08 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
13:45 - 14:00 | -2.2 | 20.22 | 0 | 29.37 | 10.02 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
14:00 - 14:15 | -2.2 | 20.22 | 0 | 19.63 | 10.21 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.89 | 0
14:15 - 14:30 | -2.2 | 20.22 | 0 | 1.04 | 10.3 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
14:30 - 14:45 | -2.2 | 20.22 | 0 | 216.48 | 10.79 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.89 | 0
14:45 - 15:00 | -2.2 | 20.22 | 0 | 194.34 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.89 | 0
15:00 - 15:15 | -2.2 | 20.22 | 0 | 0 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
15:15 - 15:30 | -2.2 | 20.22 | 0 | 0 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
15:30 - 15:45 | -2.2 | 20.22 | 0 | -176.6 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
15:45 - 16:00 | -2.2 | 20.22 | 0 | -421 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 50.08 | 0
16:00 - 16:15 | -2.2 | 20.23 | 0 | -659.5 | 0 | 0 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | -2.2 | 20.22 | 0 | -603.4 | 0 | 28.9 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -2.2 | 20.23 | 0 | -707.8 | 0 | 0 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -2.2 | 20.23 | 0 | -725 | 0 | 0 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -2.2 | 0 | 0 | -550 | 0 | 0 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -2.2 | 0 | 0 | -475.14 | 0 | 20.64 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -2.2 | 0 | 0 | -527.4 | 0 | 0 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -2.2 | 0 | 0 | -550 | 0 | 0 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.2 | 0 | 0 | -50 | 0 | 0 | 0 | -6 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -2.2 | 0 | 0 | -50 | 0 | 0 | 0 | -6 | -18 | 7.7 | 67.41 | 0 | 0 | 0 | 0
18:30 - 18:45 | -2.2 | 0 | 0 | -50 | 0 | 0 | 0 | -6 | -18 | 7.7 | 67.41 | 0 | 0 | 85.71 | 0
18:45 - 19:00 | -2.2 | 0 | 0 | -50 | 0 | 0 | 0 | -6 | -18 | 7.7 | 67.41 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0
20:45 - 21:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0
21:00 - 21:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0
21:15 - 21:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0
21:30 - 21:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
21:45 - 22:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
22:00 - 22:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
22:15 - 22:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
22:30 - 22:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
22:45 - 23:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
23:00 - 23:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
23:15 - 23:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
23:30 - 23:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
23:45 - 24:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
Average | -2.2 | 8.4255 | -3 | -174.7812 | 1.9842 | 10.1462 | 0.50156 | -5.1458 | -13.625 | 4.0906 | 9.7757 | -3.125 | -7.0729 | 27.8897 | -1.0417

## GDAM
GDAM TRADING DETAILS FOR DT:03.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 12.6 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 9.96 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 5.97 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.41 | 107.85
07:15 - 07:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.41 | 70.29
07:30 - 07:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 38.52
07:45 - 08:00 | 0 | -0.5 | 0 | 0 | 14.45 | 0 | 6.26 | 67.41 | 7.7
08:00 - 08:15 | 0 | -1.4 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 11.56
08:15 - 08:30 | 0 | -2 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 22.15
08:30 - 08:45 | 0 | -2.4 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 0
08:45 - 09:00 | 0 | -4.2 | 192.77 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 0
09:00 - 09:15 | 0 | -4.3 | 240.76 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 0
09:15 - 09:30 | 0 | -4.1 | 228.76 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 0
09:30 - 09:45 | 0 | -5.8 | 198.31 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 0
09:45 - 10:00 | 0 | -6.2 | 198.02 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 29.85
10:00 - 10:15 | -1 | -8 | 216.54 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 11.56
10:15 - 10:30 | -3.3 | -9.7 | 244.91 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 8.67
10:30 - 10:45 | -8.4 | -10.4 | 240.74 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 28.89
10:45 - 11:00 | -4.1 | -11 | 240.73 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
11:00 - 11:15 | -3.1 | -11.2 | 240.73 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
11:15 - 11:30 | -8.1 | -8.2 | 240.72 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
11:30 - 11:45 | -7.1 | -8.4 | 245.08 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
11:45 - 12:00 | -9.3 | -8.7 | 243.54 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
12:00 - 12:15 | -8.3 | -8.6 | 244.74 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
12:15 - 12:30 | -6.7 | -7.5 | 247.95 | 13.19 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
12:30 - 12:45 | -5.7 | -10.4 | 246.95 | 13 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
12:45 - 13:00 | -3.5 | -11.3 | 247.95 | 12.9 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
13:00 - 13:15 | -0.4 | -9.8 | 248.78 | 13.58 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
13:15 - 13:30 | -1.9 | -8.8 | 248.78 | 12.71 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
13:30 - 13:45 | -2.3 | -6.2 | 248.25 | 10.5 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
13:45 - 14:00 | 0 | -5.4 | 244.73 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
14:00 - 14:15 | 0 | -6.3 | 244.73 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
14:15 - 14:30 | 0 | -7.3 | 239.59 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
14:30 - 14:45 | 0 | -6.7 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 40.45
14:45 - 15:00 | -2.3 | -4.6 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 45.26
15:00 - 15:15 | -1.1 | -4.7 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 49.11
15:15 - 15:30 | 0 | -3.6 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 41.41
15:30 - 15:45 | 0 | -4.3 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 21.19
15:45 - 16:00 | 0 | -4.4 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 21.19
16:00 - 16:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 22.15
16:15 - 16:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 11.56
17:00 - 17:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.41 | 10.59
17:45 - 18:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 27.93
18:00 - 18:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 50.08
18:15 - 18:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 0 | 65.48
18:30 - 18:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.79792 | -2.2542 | 56.6048 | 0.79042 | 8.7264 | 3.21 | 2.9996 | 31.5968 | 13.7629

## RTM
RTM TRADING DETAILS FOR DT: 03.07.2026
Time Period | Aarti_Steel_Ltd_NPT | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -2 | 0 | 0 | -1.4 | -174.98 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -19.4 | 0 | 0 | -0.5
00:15 - 00:30 | -2 | 0 | 0 | -1.4 | -151.2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0 | -0.5
00:30 - 00:45 | -1 | 0 | 0 | -1.4 | -145.18 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0 | -0.5
00:45 - 01:00 | -1 | 0 | 0 | -1.4 | -229.01 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 11.56 | 0 | 0 | 0 | 0 | 62.59 | 0 | 0 | -35 | 0 | -19.4 | 0 | 0 | -0.5
01:00 - 01:15 | -1 | 0 | 0 | 0 | -163.22 | 0 | 10.59 | 9.63 | -1 | 0 | 0.39 | 6.26 | 11.56 | 0 | 7.7 | 0 | 19.26 | 62.59 | 0 | 0 | 0 | 0 | -19.4 | 5.49 | 0 | -0.5
01:15 - 01:30 | -1 | 0 | 0 | 0 | -163.8 | 0 | 10.59 | 9.63 | -1 | 0 | 0.39 | 6.26 | 11.56 | 0 | 7.7 | 0 | 19.26 | 62.59 | 0 | 0 | 0 | 0 | -19.4 | 5.49 | 0 | -0.5
01:30 - 01:45 | 0 | 0 | 0 | -1.4 | -175.02 | 0 | 10.59 | 0 | -1 | 0 | 0 | 6.26 | 11.56 | 0 | 7.7 | 2.89 | 19.26 | 62.6 | 0 | 0 | -20 | 0 | -19.4 | 5.49 | 127.57 | -0.5
01:45 - 02:00 | 0 | 0 | 0 | -1.4 | -184.1 | 0 | 10.59 | 0 | -1 | 0 | 0 | 6.26 | 11.56 | 0 | 7.7 | 2.89 | 19.26 | 62.6 | 0 | 0 | 0 | 0 | -19.4 | 5.49 | 0 | -0.5
02:00 - 02:15 | 0 | 0 | 0 | -1.4 | -125 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 11.56 | 0 | 3.55 | 1.34 | 0 | 62.6 | 0 | 0 | 0 | 0 | -19.4 | 2.53 | 0 | -0.5
02:15 - 02:30 | 0 | 0 | 0 | -1.4 | -125.01 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 11.56 | 0 | 2.66 | 1 | 0 | 62.59 | 0 | 0 | 0 | 0 | -19.4 | 1.9 | 0 | -0.5
02:30 - 02:45 | 0 | 0 | 0 | -1.4 | -179.18 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.6 | 0 | 0 | -10 | 0 | -19.4 | 0 | 0 | -0.5
02:45 - 03:00 | 0 | 0 | 0 | -1.4 | -229.16 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.6 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0 | -0.5
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 9.63 | -1 | 0 | 0.19 | 6.26 | 11.56 | 0 | 7.7 | 2.89 | 19.26 | 62.6 | 0 | 0 | 0 | 0 | 0 | 5.49 | 159.86 | -0.5
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 9.63 | -1 | 0 | 0.19 | 6.26 | 11.56 | 0 | 7.7 | 2.89 | 19.26 | 62.6 | 0 | 0 | -10 | 0 | 0 | 5.49 | 158.89 | -0.5
03:30 - 03:45 | 0 | 0 | 0 | -1.4 | -99.7 | 0 | 10.59 | 0 | -1 | 0 | 0 | 6.26 | 11.56 | 0 | 7.7 | 2.89 | 19.26 | 62.6 | 0 | 0 | -10 | 43.34 | 0 | 5.49 | 168.52 | -0.5
03:45 - 04:00 | 0 | 0 | 0 | -1.4 | -100.02 | 0 | 10.59 | 0 | -1 | 0 | 0 | 6.26 | 11.56 | 0 | 7.7 | 2.89 | 19.26 | 62.6 | 0 | 0 | 0 | 43.34 | 0 | 5.49 | 86.26 | -0.5
04:00 - 04:15 | 0 | 0 | 0 | -1.4 | 0 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 11.56 | 0 | 6.11 | 2.29 | 0 | 62.59 | 0 | 0 | 0 | 43.34 | 0 | 4.35 | 0 | -0.5
04:15 - 04:30 | 0 | 0 | 0 | -1.4 | 0 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 11.56 | 0 | 1.92 | 0.72 | 0 | 62.59 | 0 | 0 | -25 | 43.34 | 0 | 1.37 | 0 | -0.5
04:30 - 04:45 | 0 | 0 | 0 | -1.4 | 77.63 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.6 | 0 | 0 | 0 | 43.34 | 0 | 0 | 0 | -0.5
04:45 - 05:00 | 0 | 0 | 0 | -1.4 | 77.64 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.6 | 0 | 0 | 0 | 43.34 | 0 | 0 | 0 | -0.5
05:00 - 05:15 | 0 | 0 | 0 | -1.4 | 0 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | 62.59 | 0 | 0 | -12 | 43.34 | 0 | 0 | 0 | -0.5
05:15 - 05:30 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -0.5
05:30 - 05:45 | 0 | 0 | -0.4 | -1.4 | -46.25 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5
05:45 - 06:00 | 0 | 0 | -0.4 | -1.4 | -42.05 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -0.5
06:00 - 06:15 | -10 | 0 | -0.4 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -0.5
06:15 - 06:30 | -10 | 0 | -0.4 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -0.5
06:30 - 06:45 | -10 | 0 | 0 | -1.3 | 44.92 | 0 | 0 | 0 | -1 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5
06:45 - 07:00 | -10 | 0 | 0 | -1.3 | 73.18 | 0 | 6.74 | 0 | -1 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 62.6 | 0 | 0 | -10 | 28.89 | 0 | 0 | 0 | -0.5
07:00 - 07:15 | -10 | 0 | 0 | -1.4 | 288.76 | 0 | 6.74 | 0 | -1 | 0 | -1.3 | 0 | 11.56 | 0 | 0 | 0 | 0 | 28.89 | 0 | 0 | -20 | 11.56 | 0 | 0 | 0 | -0.5
07:15 - 07:30 | -10 | 0 | 0 | -1.4 | 395.42 | 0 | 6.74 | 9.63 | -1 | 0 | -1.4 | 0.96 | 11.56 | 0 | 7.7 | 2.89 | 19.26 | 0 | 0 | 0 | -10 | 11.56 | 0 | 0.67 | 39.48 | -0.5
07:30 - 07:45 | -10 | 0 | 0 | -1.4 | 300.93 | 0 | 6.74 | 0 | -1 | 0 | -1.6 | 0 | 11.56 | 0 | 7.7 | 2.89 | 19.26 | 0 | 0 | 0 | -20 | 11.56 | 0 | 0.67 | 0 | -0.5
07:45 - 08:00 | -10 | 0 | 0 | -1.4 | 166.12 | 0 | 6.74 | 0 | -1 | 0 | -2 | 0.96 | 3.85 | 0 | 7.7 | 2.89 | 19.26 | 0 | 0 | 0 | 0 | 11.56 | 0 | 0.67 | 0 | -0.5
08:00 - 08:15 | -10 | 0 | 0 | 0 | 353.44 | 0 | 7.7 | 0 | -1 | -15 | -2.2 | 0.96 | 3.85 | 0 | 7.7 | 2.89 | 19.26 | 0 | 0 | 0 | -20 | 19.26 | 0 | 0.67 | 0 | -0.5
08:15 - 08:30 | -10 | 0 | 0 | 0 | 349.09 | 0 | 7.7 | 0 | -1 | 0 | -2.5 | 0 | 3.85 | 0 | 7.7 | 2.89 | 19.26 | 0 | 0 | 0 | -20 | 19.26 | 0 | 0.67 | 0 | -0.5
08:30 - 08:45 | -10 | 0 | 0 | 0 | -93.2 | 0 | 7.7 | 0 | -1 | 0 | -2.7 | 0.96 | 3.85 | 0 | 7.7 | 2.89 | 19.26 | 0 | 3.37 | 0 | -30 | 28.91 | 0 | 0.67 | 0 | -0.5
08:45 - 09:00 | -10 | 0 | 0 | 0 | -968.98 | 0 | 7.7 | 0 | -1 | 0 | -2.9 | 0.96 | 3.85 | 0 | 7.7 | 2.89 | 19.26 | 0 | 3.37 | 0 | -30 | 28.91 | 0 | 0.67 | 0 | -0.5
09:00 - 09:15 | -10 | -0.1 | 0 | 0 | -1202.5 | 0 | 7.7 | 0 | -1 | 0 | -3 | 0.96 | 3.85 | 0 | 9.63 | 2.89 | 19.27 | 0 | 3.37 | 0 | -25 | 19.26 | 0 | 0.67 | 0 | -3.3
09:15 - 09:30 | -10 | -1 | 0 | 0 | -1194.8 | 0 | 7.7 | 0 | -1 | 0 | -0.7 | 0.96 | 3.85 | 0 | 9.63 | 2.89 | 19.27 | 0 | 3.37 | 0 | -60 | 19.26 | 0 | 0.67 | 0 | -3.3
09:30 - 09:45 | -10 | -1.9 | 0 | 0 | -860.53 | 0 | 7.7 | 0 | -1 | 0 | 4.33 | 0.96 | 3.85 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.37 | 0 | -50 | 24.09 | 0 | 0.67 | 0 | -3.3
09:45 - 10:00 | -10 | -3.4 | 0 | 0 | -800.01 | 0 | 7.7 | 0 | -1 | 0 | 4.14 | 0.96 | 3.85 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.37 | 0 | -50 | 24.09 | 0 | 0.67 | 0 | -3.3
10:00 - 10:15 | -10 | -3.6 | 0 | 0 | -922.94 | 0 | 9.63 | 0 | -1 | 0 | 3.76 | 0.96 | 2.89 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.37 | 0 | -45 | 24.08 | 0 | 0.67 | 0 | -3.3
10:15 - 10:30 | -10 | -3.7 | 0 | 0 | -887.42 | 0 | 9.63 | 0 | -1 | 0 | 3.95 | 0.96 | 2.89 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.37 | 0 | -45 | 24.08 | 0 | 0.67 | 0 | -3.3
10:30 - 10:45 | -10 | -3.7 | 0 | 0 | -833.08 | 0 | 9.63 | 0 | -1 | 0 | 4.04 | 0.96 | 1.93 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.37 | 0 | 0 | 24.08 | 0 | 0.67 | 0 | -3.3
10:45 - 11:00 | -10 | -3.7 | 0 | 0 | -832.16 | 0 | 9.63 | 0 | -1 | 0 | 3.95 | 0.96 | 1.93 | 0 | 9.63 | 2.89 | 19.26 | 0 | 3.37 | 0 | 0 | 24.08 | 0 | 0.67 | 0 | -3.3
11:00 - 11:15 | -10 | -3.7 | 0 | 0 | -602.59 | 9.24 | 9.63 | 0 | -1 | 0 | 3.95 | 0.96 | 1.93 | 0 | 0 | 2.89 | 19.27 | 0 | 3.37 | 0 | -10 | 0 | 0 | 0.67 | 0 | -3.3
11:15 - 11:30 | -10 | -3.6 | 0 | 0 | -583.03 | 0 | 9.63 | 0 | -1 | 0 | 3.85 | 0.96 | 1.93 | 0 | 0 | 2.89 | 19.26 | 0 | 3.37 | 0 | -45 | 0 | 0 | 0.67 | 0 | -3.3
11:30 - 11:45 | -10 | -3.7 | 0 | 0 | -279.88 | 8.28 | 9.63 | 0 | -1 | 0 | 3.76 | 0.96 | 1.93 | 0 | 0 | 2.89 | 19.26 | 0 | 3.37 | 0 | 0 | 9.63 | 0 | 0.67 | 0 | -3.3
11:45 - 12:00 | -10 | -3.7 | 0 | 0 | -279.98 | 8.57 | 9.63 | 0 | -1 | 0 | 3.76 | 0.96 | 1.93 | 0 | 0 | 2.89 | 19.26 | 0 | 3.37 | 0 | 0 | 9.63 | 0 | 0.67 | 0 | -3.3
12:00 - 12:15 | -10 | -3.7 | 0 | 0 | -45.75 | 0 | 10.59 | 0 | -1 | 0 | 4.04 | 0.96 | 1.93 | 0 | 0 | 2.89 | 19.27 | 0 | 3.37 | 0 | 0 | 0 | 0 | 0.67 | 0 | -3.3
12:15 - 12:30 | -10 | -3.6 | 0 | 0 | 122.42 | 0 | 10.59 | 0 | -1 | 0 | 3.76 | 0.96 | 1.93 | 0 | 0 | 2.89 | 19.26 | 0 | 3.37 | 0 | 0 | 0 | 0 | 0.67 | 0 | -3.3
12:30 - 12:45 | -10 | -3.7 | 0 | 0 | 370.21 | 0 | 10.59 | 0 | -1 | 0 | 3.95 | 0.96 | 1.93 | 0 | 0 | 4.82 | 19.26 | 0 | 3.37 | 0 | -15 | 9.63 | 0 | 0.67 | 0 | -3.3
12:45 - 13:00 | -10 | -3.7 | 0 | 0 | 587.43 | 0 | 10.59 | 0 | -1 | 0 | 3.76 | 0.96 | 1.93 | 0 | 0 | 4.82 | 19.26 | 0 | 3.37 | 0 | 0 | 9.63 | 0 | 0.67 | 0 | -3.3
13:00 - 13:15 | -10 | -3.7 | -0.4 | 0 | 587.46 | 0 | 10.59 | 0 | -1 | 0 | 3.85 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | 0 | 9.63 | 0 | 0.67 | 49.11 | -3.3
13:15 - 13:30 | -10 | -3.6 | -0.4 | 0 | 587.45 | 0 | 10.59 | 0 | -1 | 0 | 3.95 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | -20 | 9.63 | 0 | 0.67 | 49.11 | -3.3
13:30 - 13:45 | -10 | -3.6 | 0 | 0 | 587.43 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | 0 | 9.63 | 0 | 0.67 | 49.11 | -3.3
13:45 - 14:00 | -10 | -3.6 | 0 | 0 | 529.57 | 11.65 | 10.59 | 0 | -1 | 0 | -3.2 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | 0 | 2.43 | 0 | 0.67 | 49.11 | -3.3
14:00 - 14:15 | -6 | -3.7 | 0 | 0 | 466.83 | 0 | 10.59 | 0 | -1 | 0 | -2.9 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | -20 | 24.08 | 0 | 0.67 | 0 | -3.3
14:15 - 14:30 | -6 | -3.7 | 0 | 0 | 433.3 | 0 | 10.59 | 0 | -1 | 0 | -2.6 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | -60 | 24.08 | 0 | 0.67 | 0 | -3.3
14:30 - 14:45 | 0 | -3.3 | 0 | 0 | 48.11 | 0 | 10.59 | 0 | -1 | 0 | -2.4 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | 0 | 24.08 | 0 | 0.67 | 0 | -3.3
14:45 - 15:00 | 0 | -1.7 | 0 | 0 | -21.44 | 0 | 10.59 | 0 | -1 | -15 | -2.2 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | 0 | 24.07 | 0 | 0.67 | 0 | -3.3
15:00 - 15:15 | 0 | -2 | 0 | 0 | -29.07 | 0 | 10.59 | 0 | -1 | 0 | -2 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | -10 | 28.89 | 0 | 0.67 | 0 | -1.5
15:15 - 15:30 | 0 | -3.5 | 0 | 0 | -23.3 | 0 | 10.59 | 0 | -1 | 0 | -1.8 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | 0 | 28.89 | 0 | 0.67 | 64.52 | -1.5
15:30 - 15:45 | 5.78 | -3.7 | -0.8 | 0 | -100.01 | 0 | 10.59 | 0 | -1 | 0 | -1.6 | 0 | 1.93 | 0 | 0.39 | 0.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0 | -1.5
15:45 - 16:00 | 5.78 | -2.9 | -0.8 | 0 | -100.08 | 0 | 10.59 | 0 | -1 | 0 | -1.5 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | -1.5
16:00 - 16:15 | 3.85 | -3.1 | -0.8 | 0 | 43.01 | 0 | 10.59 | 0 | -1 | 0 | -1.3 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | -40 | 19.26 | 0 | 0.67 | 0 | -1.5
16:15 - 16:30 | 3.85 | -2.3 | -0.8 | 0 | 40.29 | 0 | 10.59 | 0 | -1 | 0 | -1.1 | 0.96 | 1.93 | 0 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | 0 | 0 | 19.26 | 0 | 0.67 | 0 | -1.5
16:30 - 16:45 | 3.85 | -0.8 | -0.8 | 0 | 58.71 | 0 | 10.59 | 0 | -1 | 0 | -1 | 0 | 2.89 | -5 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | -4 | 0 | 19.26 | 0 | 0.67 | 0 | -1.5
16:45 - 17:00 | 3.85 | 0 | -0.8 | 0 | 84.57 | 0 | 10.59 | 0 | -1 | 0 | -0.9 | 0 | 2.89 | -5 | 0 | 0 | 0 | 0 | 3.37 | -4 | -40 | 19.26 | 0 | 0 | 0 | -1.5
17:00 - 17:15 | 3.85 | 0 | 0 | 0 | -82.08 | 0 | 10.59 | 0 | -1 | 0 | -0.6 | 0.96 | 2.89 | -5 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | -4 | 0 | 38.52 | 0 | 0.67 | 0 | -1.5
17:15 - 17:30 | 3.85 | 0 | 0 | 0 | -144.51 | 0 | 10.59 | 0 | -1 | 0 | -0.4 | 0 | 2.89 | -5 | 5.78 | 4.82 | 19.26 | 0 | 3.37 | -4 | -45 | 38.52 | 0 | 0.67 | 0 | -1.5
17:30 - 17:45 | 1.93 | 0 | 0 | 0 | -77.53 | 0 | 10.59 | 0 | -1 | 0 | -0.2 | 0 | 2.89 | -5 | 0 | 0 | 0 | 0 | 3.37 | -4 | -30 | 9.63 | 0 | 0 | 0 | -1.5
17:45 - 18:00 | 1.93 | 0 | 0 | 0 | -19.99 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -1.5
18:00 - 18:15 | 0 | 0 | 0 | 0 | -140.02 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 2.89 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 9.63 | 0 | 0 | 0 | -1.5
18:15 - 18:30 | 0 | 0 | 0 | 0 | -73.21 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 2.89 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 9.63 | -9.7 | 0 | 0 | -1.5
18:30 - 18:45 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.59 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 9.63 | -9.7 | 0 | 0 | -2.3
18:45 - 19:00 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -19.4 | 0 | 0 | -2.3
19:00 - 19:15 | 0 | 0 | 0 | -1.3 | 9.55 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | -19.4 | 0 | 0 | -2.3
19:15 - 19:30 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -19.4 | 0 | 0 | -2.3
19:30 - 19:45 | 0 | 0 | 0 | -1.3 | 29.72 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0 | -2.3
19:45 - 20:00 | 0 | 0 | 0 | -1.3 | 43.33 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0 | -2.3
20:00 - 20:15 | 0 | 0 | 0 | -1.4 | 66.68 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 0 | -1
20:15 - 20:30 | 0 | 0 | 0 | -1.4 | 62.19 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -29.1 | 0 | 0 | -1
20:30 - 20:45 | 0 | 0 | 0 | -1.4 | 144.43 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -29.1 | 0 | 0 | -1
20:45 - 21:00 | 0 | 0 | 0 | -1.4 | 99.82 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 0 | -1
21:00 - 21:15 | 0 | 0 | 0 | -1.4 | 100.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 0 | -1
21:15 - 21:30 | 0 | 0 | 0 | -1.4 | 67.14 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 0 | -1
21:30 - 21:45 | 0 | 0 | -0.5 | -1.4 | 144.45 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 0 | -1
21:45 - 22:00 | 0 | 0 | -0.5 | -1.4 | 144.45 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 0 | -1
22:00 - 22:15 | 0 | 0 | -0.5 | -1.3 | 144.45 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -29.1 | 0 | 0 | -1
22:15 - 22:30 | 0 | 0 | -0.5 | -1.3 | 144.45 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -29.1 | 0 | 0 | -1
22:30 - 22:45 | 0 | 0 | 0 | -1.3 | 72.23 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 96.3 | -1
22:45 - 23:00 | 0 | 0 | 0 | -1.3 | 72.23 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 96.3 | -1
23:00 - 23:15 | 0 | 0 | 0 | -1.3 | 120.38 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 96.3 | -1
23:15 - 23:30 | 0 | 0 | 0 | -1.3 | 120.38 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 96.3 | -1
23:30 - 23:45 | 0 | 0 | 0 | -1.3 | 121.27 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -29.1 | 0 | 66.45 | -0.5
23:45 - 24:00 | 0 | 0 | 0 | -1.3 | 73.27 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 9.63 | -29.1 | 0 | 66.45 | -0.5
Average | -3.1404 | -0.99688 | -0.095833 | -0.70833 | -52.8753 | 0.39313 | 6.7593 | 0.50156 | -1 | -0.3125 | 0.15896 | 0.86167 | 3.2417 | -1.375 | 3.0611 | 1.7255 | 9.2292 | 12.6898 | 1.2286 | -0.29167 | -11.9479 | 11.292 | -8.4875 | 0.82896 | 15.8296 | -1.5312