## POWER STATUS
POWER STATUS ON DT 05.07.2026
[9 empty] | 2026-07-05 | 2026-07-04
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5090.7875 | 5458.134
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 11.125 | 0.267 | 630/590 ft | 607.04 | 601.23 | 602.27 | 55.5232 | -4.7184e-16
| Chiplima | 72(3x24) | 15.542 | 0.37301 | - |  |  |  | 13.2609 | 17.5027
| Balimela | 510(6x60+2x75) | 166.75 | 4.002 | 1516/1440 ft | 1460.4 | 1457 | 1457.9 | 67.0246 | 339.2262
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 121.11 | 109.97 | 110.13 | 0 | 0
| Upper Kolab | 320(4x80) | 11.08 | 0.26592 | 858/844 mt | 850.02 | 847.23 | 847.71 | 0 | 46.2781
| Upper Indravati | 600(4x150) | 47.5625 | 1.1415 | 642/625 mt | 631.4 | 628.51 | 628.98 | 0.31518 | 198.4866
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2731.6 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 252.0595 | 6.0494 |  |  |  |  | 136.1238 | 601.4936
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1507.73 | 36.1855 | RENEWABLE ENERGY (RE) |  |  |  | 1360.6965 | 1535.8154
[5 empty] | M.Hydl | 47.89 |  |  |  | 1535.8154
| Total Thermal | 2200 | 1507.73 | 36.1855 | Solar | 72.67 |  |  | 1360.6965 | 1535.8154
IPP | VEDANTA #2 | 600 (1x600) | 0 | 0 | Total IPPs | Yesterday's Demand Profile |  |  | 79.7656 | 0
| GMR #3 | 350 (1x350) | 285.92 | 6.8621 | 362.52 |  | MW | HRS | 180.1821 | 324.6136
| NBVL(IPP) | 60(1x60) | 46.96 | 1.127 |  |  |  |  | 34.4436 | 54.3071
| MDTPC |  | 29.64 | 0.71136 |  |  |  |  | 31.148 | 45.4804
| CGPs |  | 714.42 | 17.1461 | IPPs, CGPs & RE | Maximum | 5496 | 01:00 | 1141.8794 | 1255.5633
| Central Sector(Drawl) |  | 2236.5774 | 53.6779 | 1197.5 | Minimum | 4810 | 07:00 | 2452.0877 | 2065.2618
| Central Sector(Sch) |  | 2311.6084 | 55.4786 |  | Average | 5193.8669 |  | 2564.0701 | 2148.49
| Grand Total |  | 5193.8669 | 124.6528 | Instantaneous Peak demand |  | 5686 | 00:08:00 AM | 5090.7875 | 5458.134
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1509.4364 | 36.2265 | 1415.6205 | 33.9749 | 1466.9088 | 35.2058
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1773.6188 | 42.5669 | 1751.8927 | 42.0454 | 1659.3067 | 39.8234
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1331.6652 | 31.96 | 1276.7213 | 30.6413 | 1307.1855 | 31.3725
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 538.1225 | 12.9149 | 535.3436 | 12.8482 | 510.0849 | 12.242
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5152.8429 | 123.6682 | 4979.578 | 119.5099 | 4943.4858 | 118.6437
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 80 | GMR |  |  |  | 180
| NBVL #3 | 34 | MDTPC |  |  |  | 31
Mini Hydel: | MEENAKSHI | 0 | OPCL
| BTPL | 20 | SAPTADHARA |  |  |  | 20
Solar: |  | 161 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 261.598 | JSL(Duburi) |  |  |  | -71.9513
| ICCL | 39.8191 | visa |  |  |  | 11.3539
| NALCO | -165.9353 | VAL (CGP) |  |  |  | -27.1052
| RSP | -130.9223 | BSL(MMDL) |  |  |  | 11.0743
| INDAL | 5.7723 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -32.4299 | VAL CPP 400 kV |  |  |  | -468.5543
| NBVL | 34.6334 | Arati |  |  |  | 17.3289
| BPSL(JSG) | 0.78677 | BPPL |  |  |  | 105.5338
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-27 | 2026-06-28 | 2026-06-29 | 2026-06-30 | 2026-07-01 | 2026-07-02 | 2026-07-03 | 2026-07-04
521.0913 | 282.727 | 269.2095 | 272.013 | 261.021 | 200.751 | 360.6517 | 252.0595
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.04.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 129.99
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 51.69
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 71.6
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ARYAN_ISPAT | WBSEDCL | -5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.72
JPIPL | NPCL_UP | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 10.86
MAADURGA_THERMAL | NPCL_UP | -6.18 | DCBL_Rajgangpur | DALCEMAP | -2.75 | AWEK1L | ODISHA | 16.3
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -2 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.12
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 40.42
OCL_IRON_STEEL | NPCL_UP | -26.92 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.02
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | FACORPOWER | TPL_DIS_AHM | -25 | DADRI_SOLAR | ODISHA | 0.62
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | JSPLANGUL | CSEB_Beneficiary | -150 | ENERSON_SOLAR_10MW | ODISHA | 1.33
VSL | CR_IR_MS | -2.92 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0.55
FARIDABAD_SOLAR | ODISHA | 0.94 | OCL_IRON_STEEL | BRPL | -17.71 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 55.97 | OCL_IRON_STEEL | BRPL | -7.29 | GADAG_Serentica3_S | VLSEZ | 25.53
MPPMCL | ODISHA | 0 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 126.53
RAJ_SOLAR | ODISHA | 2.31 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GIWEL_SECI_II_RE | ODISHA | 57.45
RAJ_SOLAR | ODISHA | 2.12 | VSL | WBSEDCL | -10 | GPCL_SOLAR_10 | ODISHA | 1.27
|  |  | Darlipali_NTPC | ODISHA | 17.55 | GSECL_SOLAR | ODISHA | 0.79
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.75
|  |  | JIPL | ODISHA | 115.56 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | NALCOAP | NACL_Odisha | 39.26 | KARUR_TPVARDHAMAN_W | TSKPO | 71.05
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.63
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 4.47
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.16
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 8.14
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 28.79
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 31.36
[6 empty] | RWE_AP2_SECI_III | ODISHA | 26.68
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 12.27
[6 empty] | SRI9PL_FTG3 | VLSEZ | 38.49
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 78.14
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 4.99
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 31.1

## DAM
DAM TRADING DETAILS FOR DT :04.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | TATA_Steel_Limited_Meramandali | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -2.2 | 0 | -12 | -150 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5
00:15 - 00:30 | -2.2 | 0 | -12 | -150 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5
00:30 - 00:45 | -2.2 | 0 | -12 | -150 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5
00:45 - 01:00 | -2.2 | 0 | -12 | -150 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5
01:00 - 01:15 | -2.2 | 0 | 0 | -250 | 0 | 0 | 0 | -9 | 0 | 0 | 37.51 | 0 | 0 | 0 | -5
01:15 - 01:30 | -2.2 | 0 | 0 | -250 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
01:30 - 01:45 | -2.2 | 0 | 0 | -250 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.42 | 0 | 0 | 22.26 | -5
01:45 - 02:00 | -2.2 | 0 | 0 | -250 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
02:00 - 02:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.41 | 0 | 0 | 172.38 | -5
02:15 - 02:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.41 | 0 | 0 | 172.38 | -5
02:30 - 02:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.41 | 0 | 0 | 172.38 | -5
02:45 - 03:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 7.7 | 67.41 | 0 | 0 | 172.38 | -5
03:00 - 03:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
03:15 - 03:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
03:30 - 03:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 0 | 67.41 | 0 | 0 | 0 | -5
03:45 - 04:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -9 | 0 | 0 | 24.62 | 0 | 0 | 0 | -5
04:00 - 04:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -5
04:15 - 04:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -5
04:30 - 04:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -5
04:45 - 05:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | -5
05:00 - 05:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -2.2 | 0 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -2.2 | 20.22 | 0 | -700 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -2.2 | 20.22 | 0 | -656.24 | 0 | 0 | 0 | -8 | -43 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -2.2 | 20.23 | 0 | -517.94 | 0 | 0 | 0 | -8 | -43 | 7.7 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | -2.2 | 20.23 | 0 | -350 | 0 | 0 | 0 | -8 | -43 | 7.7 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | -2.2 | 20.22 | 0 | -431.22 | 0 | 28.9 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | -2.2 | 20.22 | 0 | 0 | 0 | 28.9 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -2.2 | 20.22 | 0 | 0 | 0 | 28.9 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -2.2 | 20.22 | 0 | 0.89 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -2.2 | 20.22 | 0 | 21.37 | 11.17 | 28.9 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | -2.2 | 20.22 | 0 | 33.37 | 12.9 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -2.2 | 20.22 | 0 | 55.67 | 13.1 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | -2.2 | 20.22 | 0 | 55.97 | 11.75 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
10:00 - 10:15 | -2.2 | 20.22 | 0 | 45.61 | 9.63 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 50.08 | 0
10:15 - 10:30 | -2.2 | 20.22 | 0 | 29.23 | 9.05 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
10:30 - 10:45 | -2.2 | 20.22 | 0 | 26.7 | 9.63 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
10:45 - 11:00 | -2.2 | 20.22 | 0 | 26.78 | 9.82 | 28.88 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
11:00 - 11:15 | -2.2 | 20.22 | 0 | 32.05 | 12.13 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
11:15 - 11:30 | -2.2 | 20.22 | 0 | 32.06 | 14.16 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.89 | 0
11:30 - 11:45 | -2.2 | 20.22 | 0 | 29.18 | 11.65 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
11:45 - 12:00 | -2.2 | 20.22 | 0 | 30.21 | 11.75 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
12:00 - 12:15 | -2.2 | 20.22 | 0 | 29.37 | 12.42 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
12:15 - 12:30 | -2.2 | 20.22 | 0 | 27.27 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
12:30 - 12:45 | -2.2 | 20.22 | 0 | 27.92 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
12:45 - 13:00 | -2.2 | 20.22 | 0 | 27.27 | 0 | 28.88 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
13:00 - 13:15 | -2.2 | 20.22 | 0 | 26.69 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
13:15 - 13:30 | -2.2 | 20.22 | 0 | 26.69 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
13:30 - 13:45 | -2.2 | 20.22 | 0 | 27.08 | 0 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
13:45 - 14:00 | -2.2 | 20.22 | 0 | 29.37 | 10.02 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
14:00 - 14:15 | -2.2 | 20.22 | 0 | 19.63 | 10.21 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.89 | 0
14:15 - 14:30 | -2.2 | 20.22 | 0 | 1.04 | 10.3 | 28.89 | 0 | 0 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
14:30 - 14:45 | -2.2 | 20.22 | 0 | 216.48 | 10.79 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.89 | 0
14:45 - 15:00 | -2.2 | 20.22 | 0 | 194.34 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.89 | 0
15:00 - 15:15 | -2.2 | 20.22 | 0 | 0 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
15:15 - 15:30 | -2.2 | 20.22 | 0 | 0 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
15:30 - 15:45 | -2.2 | 20.22 | 0 | -176.6 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 80.9 | 0
15:45 - 16:00 | -2.2 | 20.22 | 0 | -421 | 0 | 28.89 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 50.08 | 0
16:00 - 16:15 | -2.2 | 20.23 | 0 | -659.5 | 0 | 0 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | -2.2 | 20.22 | 0 | -603.4 | 0 | 28.9 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -2.2 | 20.23 | 0 | -707.8 | 0 | 0 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -2.2 | 20.23 | 0 | -725 | 0 | 0 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -2.2 | 0 | 0 | -550 | 0 | 0 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -2.2 | 0 | 0 | -475.14 | 0 | 20.64 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -2.2 | 0 | 0 | -527.4 | 0 | 0 | 9.63 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -2.2 | 0 | 0 | -550 | 0 | 0 | 0 | -1 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.2 | 0 | 0 | -50 | 0 | 0 | 0 | -6 | -18 | 7.7 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -2.2 | 0 | 0 | -50 | 0 | 0 | 0 | -6 | -18 | 7.7 | 67.41 | 0 | 0 | 0 | 0
18:30 - 18:45 | -2.2 | 0 | 0 | -50 | 0 | 0 | 0 | -6 | -18 | 7.7 | 67.41 | 0 | 0 | 85.71 | 0
18:45 - 19:00 | -2.2 | 0 | 0 | -50 | 0 | 0 | 0 | -6 | -18 | 7.7 | 67.41 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0
20:45 - 21:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0
21:00 - 21:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0
21:15 - 21:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0
21:30 - 21:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
21:45 - 22:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
22:00 - 22:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
22:15 - 22:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
22:30 - 22:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
22:45 - 23:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
23:00 - 23:15 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
23:15 - 23:30 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
23:30 - 23:45 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
23:45 - 24:00 | -2.2 | 0 | -12 | -50 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | -30 | -48.5 | 0 | 0
Average | -2.2 | 8.4255 | -3 | -174.7812 | 1.9842 | 10.1462 | 0.50156 | -5.1458 | -13.625 | 4.0906 | 9.7757 | -3.125 | -7.0729 | 27.8897 | -1.0417

## GDAM
GDAM TRADING DETAILS FOR DT:04.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 12.6 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 9.96 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 5.97 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.41 | 107.85
07:15 - 07:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.41 | 70.29
07:30 - 07:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 38.52
07:45 - 08:00 | 0 | -0.5 | 0 | 0 | 14.45 | 0 | 6.26 | 67.41 | 7.7
08:00 - 08:15 | 0 | -1.4 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 11.56
08:15 - 08:30 | 0 | -2 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 22.15
08:30 - 08:45 | 0 | -2.4 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 0
08:45 - 09:00 | 0 | -4.2 | 192.77 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 0
09:00 - 09:15 | 0 | -4.3 | 240.76 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 0
09:15 - 09:30 | 0 | -4.1 | 228.76 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 0
09:30 - 09:45 | 0 | -5.8 | 198.31 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 0
09:45 - 10:00 | 0 | -6.2 | 198.02 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 29.85
10:00 - 10:15 | -1 | -8 | 216.54 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 11.56
10:15 - 10:30 | -3.3 | -9.7 | 244.91 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 8.67
10:30 - 10:45 | -8.4 | -10.4 | 240.74 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 28.89
10:45 - 11:00 | -4.1 | -11 | 240.73 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
11:00 - 11:15 | -3.1 | -11.2 | 240.73 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
11:15 - 11:30 | -8.1 | -8.2 | 240.72 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
11:30 - 11:45 | -7.1 | -8.4 | 245.08 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
11:45 - 12:00 | -9.3 | -8.7 | 243.54 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
12:00 - 12:15 | -8.3 | -8.6 | 244.74 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
12:15 - 12:30 | -6.7 | -7.5 | 247.95 | 13.19 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
12:30 - 12:45 | -5.7 | -10.4 | 246.95 | 13 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
12:45 - 13:00 | -3.5 | -11.3 | 247.95 | 12.9 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
13:00 - 13:15 | -0.4 | -9.8 | 248.78 | 13.58 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
13:15 - 13:30 | -1.9 | -8.8 | 248.78 | 12.71 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
13:30 - 13:45 | -2.3 | -6.2 | 248.25 | 10.5 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
13:45 - 14:00 | 0 | -5.4 | 244.73 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
14:00 - 14:15 | 0 | -6.3 | 244.73 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
14:15 - 14:30 | 0 | -7.3 | 239.59 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 38.52
14:30 - 14:45 | 0 | -6.7 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 40.45
14:45 - 15:00 | -2.3 | -4.6 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 45.26
15:00 - 15:15 | -1.1 | -4.7 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.41 | 49.11
15:15 - 15:30 | 0 | -3.6 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 41.41
15:30 - 15:45 | 0 | -4.3 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 21.19
15:45 - 16:00 | 0 | -4.4 | 0 | 0 | 14.45 | 9.63 | 6.26 | 67.4 | 21.19
16:00 - 16:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 22.15
16:15 - 16:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 11.56
17:00 - 17:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.41 | 10.59
17:45 - 18:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 27.93
18:00 - 18:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 67.4 | 50.08
18:15 - 18:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 6.26 | 0 | 65.48
18:30 - 18:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.79792 | -2.2542 | 56.6048 | 0.79042 | 8.7264 | 3.21 | 2.9996 | 31.5968 | 13.7629

## RTM
RTM TRADING DETAILS FOR DT: 04.07.2026
Time Period | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | 0 | -1.2 | -1.3 | 0 | 214.28 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 67.41 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 91.49 | -3 | 0
00:15 - 00:30 | 0 | -1.2 | -1.3 | 0 | 214.32 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 67.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.56 | -3 | 0
00:30 - 00:45 | 0 | -1.2 | -1.3 | 0 | 98.03 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 0 | 2.89 | 0 | 0 | 67.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108.83 | -3 | 0
00:45 - 01:00 | 0 | -1.2 | -1.3 | 0 | 96.31 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 0 | 2.89 | 0 | 0 | 67.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106.9 | -3 | 0
01:00 - 01:15 | 0 | -1.2 | -1.3 | 0 | 168.54 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 0 | 2.89 | 0 | 0 | 29.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104.97 | -3 | 0
01:15 - 01:30 | 0 | -1.2 | -1.3 | 0 | 172.14 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 6.26 | 10.59 | 0 | 0 | 2.89 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 103.04 | -3 | 0
01:30 - 01:45 | 0 | -1.2 | 0 | 0 | 126.88 | 10.59 | 9.63 | 0 | 7.7 | -1 | 0 | 0.39 | 6.26 | 2.89 | 0 | 0 | 2.89 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 9.63 | 0 | 254.23 | -3 | 0
01:45 - 02:00 | 0 | -1.2 | 0 | 0 | 126.88 | 10.59 | 9.63 | 0 | 7.7 | -1 | 0 | 0.39 | 6.26 | 10.59 | 0 | 0 | 2.89 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 274.45 | -3 | 0
02:00 - 02:15 | 0 | -1.2 | -1.3 | 0 | 69.93 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 0 | -3 | 0
02:15 - 02:30 | 0 | -1.2 | -1.3 | 0 | 69.89 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 0 | -3 | 0
02:30 - 02:45 | 0 | -1.2 | -1.3 | 0 | 69.74 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 0 | -3 | 0
02:45 - 03:00 | 0 | -1.2 | -1.3 | 0 | 69.59 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 9.63 | 0 | 0 | -3 | 0
03:00 - 03:15 | 0 | -1.2 | -1.3 | 0 | 121.26 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 0 | 2.89 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 9.63 | 0 | 52 | -3 | 0
03:15 - 03:30 | 0 | -1.2 | -1.3 | 0 | 121.27 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 0 | 2.89 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 52 | -3 | 0
03:30 - 03:45 | 0 | -1.2 | -1.3 | 0 | 72.11 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 52 | -3 | 0
03:45 - 04:00 | 0 | -1.2 | -1.3 | 0 | 68.67 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.34 | 0 | 0 | 0 | 0 | 0 | 7.02 | 0 | 52 | -3 | 0
04:00 - 04:15 | 0 | -1.2 | -1.3 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 5.78 | 2.89 | 19.26 | 0 | 67.42 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 26 | -3 | 0
04:15 - 04:30 | 0 | -1.2 | -1.3 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 6.26 | 10.59 | 0 | 5.78 | 2.89 | 19.26 | 0 | 67.42 | 0 | 0 | 0 | 0 | -30 | 9.63 | 0 | 26 | -3 | 0
04:30 - 04:45 | 0 | -1.2 | -1.3 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 6.26 | 10.59 | 0 | 5.78 | 2.89 | 19.26 | 0 | 67.41 | 0 | 0 | 0 | 0 | -20 | 9.63 | 0 | 221.5 | -3 | 0
04:45 - 05:00 | 0 | -1.2 | -1.3 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 6.26 | 10.59 | 0 | 5.78 | 2.89 | 19.26 | 0 | 67.41 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 221.5 | -3 | 0
05:00 - 05:15 | 0 | -1.2 | -1.3 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 6.26 | 10.59 | 0 | 5.78 | 2.89 | 19.26 | 0 | 67.41 | 0 | 0 | 0 | 0 | -15 | 9.63 | 0 | 221.5 | -0.5 | 0
05:15 - 05:30 | 0 | -1.2 | -1.3 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 6.26 | 10.59 | 0 | 5.78 | 2.89 | 19.26 | 0 | 67.41 | 0 | 0 | 0 | 0 | -15 | 9.63 | 0 | 83.34 | -0.5 | 0
05:30 - 05:45 | 0 | -1.6 | -1.3 | 0 | -77.14 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | -6 | 67.42 | 0 | 0 | 0 | 0 | -25 | 9.63 | 0 | 26 | -0.5 | 0
05:45 - 06:00 | 0 | -1.6 | -1.3 | 0 | -81.24 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 25.04 | -0.5 | 0
06:00 - 06:15 | -10 | -1.6 | -1.3 | 0 | -82.89 | 0 | 0 | 0 | 0 | -1 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 10.59 | -0.5 | 0
06:15 - 06:30 | -10 | -1.6 | -1.3 | 0 | -84.79 | 0 | 0 | 0 | 0 | -1 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 2.89 | -0.5 | 0
06:30 - 06:45 | -10 | -1.2 | -1.3 | 0 | -83.76 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -0.5 | 0
06:45 - 07:00 | -10 | -1.2 | -1.3 | 0 | -83.11 | 0 | 0 | 0 | 0 | -1 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | -0.5 | 0
07:00 - 07:15 | -10 | -1.2 | -1.3 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -1 | 0 | 10.6 | -3 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0
07:15 - 07:30 | -10 | -1.2 | -1.3 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -1.2 | 0 | 10.59 | -3 | 5.78 | 2.89 | 19.27 | -6 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0
07:30 - 07:45 | -11 | -1.2 | 0 | 0 | 48.19 | 10.59 | 9.63 | 0 | 7.7 | -1 | 0 | -1.3 | 0.96 | 2.89 | -3 | 5.78 | 2.89 | 19.26 | -6 | 0 | 1.93 | 3.85 | 0 | -5 | -10 | 0 | 0 | 53.93 | -0.5 | 0
07:45 - 08:00 | -11 | -1.2 | 0 | 0 | 57.28 | 10.59 | 9.63 | 0 | 7.7 | -1 | 0 | -1.5 | 0.96 | 2.89 | -3 | 5.78 | 2.89 | 19.26 | -6 | 0 | 1.93 | 3.85 | 0 | -5 | -30 | 0 | 0 | 53.93 | -0.5 | 0
08:00 - 08:15 | -10 | -1.2 | 0 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | -15 | -1.7 | 0.96 | 2.89 | -3 | 5.78 | 4.82 | 19.26 | -6 | 0 | 1.93 | 3.85 | 0 | -5 | -30 | 0 | 0 | 0 | -0.5 | 0
08:15 - 08:30 | -10 | -1.2 | 0 | 0 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -1.9 | 0.96 | 2.89 | -3 | 5.78 | 4.82 | 19.26 | -6 | 0 | 1.93 | 3.85 | 0 | -5 | -30 | 0 | 0 | 78.97 | -0.5 | 0
08:30 - 08:45 | -10 | -1.2 | 0 | 0 | -45.51 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -2 | 0.96 | 2.89 | -3 | 5.78 | 4.82 | 19.26 | -6 | 0 | 1.93 | 3.85 | 0 | -5 | -25 | 0 | 0 | 74.15 | -0.5 | 0
08:45 - 09:00 | -10 | -1.2 | 0 | 0 | -460.56 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -2.1 | 0.96 | 2.89 | -3 | 5.78 | 4.82 | 14.45 | -6 | 0 | 1.93 | 3.85 | 0 | -5 | 0 | 0 | 0 | 49.11 | -0.5 | 0
09:00 - 09:15 | -10 | -1.2 | 0 | 0 | -486.24 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -2.1 | 0.96 | 2.89 | -3 | 9.63 | 4.82 | 14.45 | -8 | 0 | 1.93 | 3.85 | 0 | 0 | 0 | 0 | 5.49 | 0 | -0.5 | 0
09:15 - 09:30 | -10 | -1.2 | 0 | 0 | -597.85 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -2.2 | 0.96 | 2.89 | -3 | 9.63 | 4.82 | 14.45 | -8 | 0 | 1.93 | 3.85 | 0 | 0 | -40 | 0 | 5.49 | 0 | -0.5 | 0
09:30 - 09:45 | -10 | -1.2 | 0 | 0 | -723.34 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -2.1 | 0.96 | 2.89 | -3 | 9.63 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | 0 | 0 | -50 | 38.52 | 5.49 | 0 | -3 | 0
09:45 - 10:00 | -10 | -1.2 | 0 | 0 | -721.06 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -2 | 0.96 | 2.89 | -3 | 9.63 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | 0 | 0 | -50 | 38.52 | 5.49 | 0 | -3 | 0
10:00 - 10:15 | -10 | -1.2 | 0 | 0 | -546.88 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -1.7 | 0.96 | 2.89 | -3 | 9.63 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | -46 | 38.52 | 5.49 | 0 | -3 | 0
10:15 - 10:30 | -10 | -1.2 | 0 | 0 | -526.04 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -1.9 | 0.96 | 2.89 | -3 | 9.63 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | -46 | 38.52 | 5.49 | 0 | -3 | 0
10:30 - 10:45 | -15 | -1.2 | 0 | 0 | -441.54 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -2 | 0.96 | 2.89 | -3 | 9.63 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | -10 | 38.52 | 10.59 | 0 | -3 | 0
10:45 - 11:00 | -2 | -1.2 | 0 | 0 | -437.83 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -2.3 | 0.96 | 2.89 | -3 | 9.63 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 38.52 | 10.59 | 0 | -3 | 0
11:00 - 11:15 | 0 | -1.2 | 0 | 0 | -239.66 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0.96 | 2.89 | -3 | 0 | 4.82 | 14.45 | 0 | 0 | 1.93 | 3.85 | -5 | 0 | -30 | 38.52 | 5.78 | 0 | -2 | 0
11:15 - 11:30 | -4 | -1.2 | 0 | 0 | -119.75 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0.96 | 2.89 | -3 | 0 | 4.82 | 14.45 | 0 | 0 | 1.93 | 3.85 | -5 | 0 | -45 | 38.52 | 5.78 | 0 | -2 | 0
11:30 - 11:45 | -10 | -1.2 | 0 | 0 | 48.15 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | 0 | 0 | 1.93 | 3.85 | -5 | 0 | -25 | 28.89 | 10.59 | 0 | -2 | -6
11:45 - 12:00 | -7 | -1.2 | 0 | 0 | 365.93 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -2 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 28.89 | 10.59 | 0 | -2 | -6
12:00 - 12:15 | 0 | -1.2 | 0 | 0 | 235.33 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -1.9 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 9.63 | 10.59 | 0 | -2 | -6
12:15 - 12:30 | 0 | -1.2 | 0 | 0 | 192.6 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -2.2 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | -15 | 9.63 | 10.59 | 0 | -2 | -6
12:30 - 12:45 | 0 | -1.2 | 0 | 11.56 | 240.75 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | 0 | 0 | 1.93 | 3.85 | -5 | 0 | -10 | 19.26 | 10.59 | 0 | -2 | -6
12:45 - 13:00 | 0 | -1.2 | 0 | 11.56 | 288.9 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | 0 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 19.26 | 10.59 | 0 | -2 | -6
13:00 - 13:15 | 0 | -1.6 | 0 | 19.26 | 337.05 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0.96 | 2.89 | 0 | 5.78 | 4.82 | 14.45 | 0 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 19.26 | 10.59 | 0 | -2 | -6
13:15 - 13:30 | 0 | -1.6 | 0 | 19.26 | 385.2 | 10.59 | 0 | -0.03 | 7.7 | -1 | 0 | -1.9 | 0.96 | 2.89 | 0 | 5.78 | 4.82 | 14.45 | -0.1 | 0 | 1.93 | 3.85 | -5 | 0 | -10 | 19.26 | 10.59 | 0 | -2 | -6
13:30 - 13:45 | 0 | -1.6 | 0 | 19.26 | 509.94 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -1.8 | 0.96 | 2.89 | 0 | 5.78 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 19.26 | 10.59 | 0 | -2 | -6
13:45 - 14:00 | -5 | -1.6 | 0 | 19.26 | 509.64 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -1.6 | 0.96 | 2.89 | 0 | 5.78 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | -15 | 19.26 | 10.59 | 0 | -2 | -6
14:00 - 14:15 | -9 | -1.6 | 0 | 19.26 | 347.11 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -1.7 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | -48 | 19.26 | 10.59 | 44.3 | -2 | -6
14:15 - 14:30 | 0 | -1.6 | 0 | 19.26 | 154 | 10.59 | 0 | -1 | 7.7 | -1 | 0 | -1.7 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | -30 | 19.26 | 10.59 | 44.3 | -2 | -6
14:30 - 14:45 | 0 | -1.6 | 0 | 19.26 | -336.05 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -1.7 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 19.26 | 10.59 | 44.3 | -2 | -6
14:45 - 15:00 | 0 | -1.6 | 0 | 19.26 | -473.33 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -1.5 | 0.96 | 2.89 | 0 | 0 | 4.82 | 14.45 | -3 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 19.26 | 10.59 | 44.3 | -2 | -6
15:00 - 15:15 | 0 | -1.6 | 0 | 19.26 | -353.81 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -1.3 | 0.96 | 2.89 | -11 | 0 | 4.82 | 14.45 | 0 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 19.26 | 10.59 | 0 | -2 | -6
15:15 - 15:30 | 0 | -1.6 | 0 | 19.26 | -556 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -1.1 | 0.96 | 2.89 | -11 | 0 | 4.82 | 14.45 | 0 | 0 | 1.93 | 3.85 | -5 | 0 | 0 | 19.26 | 10.59 | 0 | -2 | -6
15:30 - 15:45 | 0 | -1.6 | 0 | 19.27 | -525.04 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -0.9 | 0 | 2.89 | -11 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | 0 | -45 | 0 | 0 | 0 | -2 | -6
15:45 - 16:00 | -9 | -1.6 | 0 | 19.27 | -325 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -0.8 | 0 | 2.89 | -11 | 0 | 3.04 | 0 | -3 | 0 | 1.21 | 0 | -5 | 0 | -45 | 0 | 0 | 0 | -2 | -6
16:00 - 16:15 | -9 | -1.6 | 0 | 19.26 | -273.98 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -0.7 | 0.96 | 2.89 | -11 | 0 | 4.82 | 14.45 | -6 | 0 | 0 | 3.85 | -5 | 0 | -50 | 38.52 | 10.59 | 79.93 | -2 | -7
16:15 - 16:30 | -5 | -1.6 | 0 | 19.26 | -165.02 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -0.6 | 0.96 | 2.89 | -11 | 0 | 4.82 | 14.45 | -6 | 0 | 0 | 3.85 | -5 | 0 | -10 | 38.52 | 10.59 | 101.12 | -2 | -7
16:30 - 16:45 | -3 | -1 | 0 | 19.26 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -0.6 | 0.96 | 2.89 | -11 | 0 | 4.82 | 14.45 | -6 | 0 | 0 | 3.85 | -5 | 0 | 0 | 38.52 | 10.59 | 120.38 | -2 | -7
16:45 - 17:00 | 0 | -1 | 0 | 19.26 | 0 | 10.59 | 9.63 | 0 | 7.7 | -1 | 0 | -0.4 | 0.96 | 2.89 | -11 | 0 | 4.82 | 14.45 | -6 | 0 | 0 | 3.85 | -5 | 0 | 0 | 38.52 | 10.59 | 128.08 | -2 | -7
17:00 - 17:15 | 0 | -1 | 0 | 19.26 | 0 | 10.59 | 9.63 | 0 | 7.7 | -1 | 0 | -0.3 | 0.96 | 2.89 | -11 | 0 | 4.82 | 14.45 | -6 | 0 | 0 | 3.85 | 0 | 0 | 0 | 38.52 | 10.59 | 109.79 | -2 | 0
17:15 - 17:30 | 0 | -1 | 0 | 19.26 | 0 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | -0.1 | 0.96 | 2.89 | -11 | 0 | 4.82 | 14.45 | -6 | 0 | 0 | 3.85 | 0 | 0 | 0 | 38.52 | 10.59 | 0 | -2 | 0
17:30 - 17:45 | -9 | -1 | 0 | 19.26 | -75.35 | 10.59 | 0 | 0 | 7.7 | -1 | 0 | 0 | 0 | 2.89 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | 0 | 38.53 | 0 | 0 | -2 | 0
17:45 - 18:00 | -13 | -1 | 0 | 19.26 | 0 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 2.89 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | -45 | 28.89 | 0 | 0 | -2 | 0
18:00 - 18:15 | 0 | -1 | 0 | 19.26 | -275.84 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 2.89 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | 0 | 28.89 | 0 | 0 | -2 | 0
18:15 - 18:30 | 0 | -1 | 0 | 19.26 | -289.3 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | 0 | 28.89 | 0 | 0 | -2 | 0
18:30 - 18:45 | 0 | -1 | 0 | 19.26 | -143.33 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -2 | 0
18:45 - 19:00 | 0 | -1 | 0 | 19.26 | -156.91 | 0 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -2 | 0
19:00 - 19:15 | 0 | -1 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | -2 | 0
19:15 - 19:30 | 0 | -1 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | -2 | 0
19:30 - 19:45 | 0 | -1 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -2 | 0
19:45 - 20:00 | 0 | -1 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -2 | 0
20:00 - 20:15 | 0 | -1 | -1.3 | 0 | -57.46 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -2 | 0
20:15 - 20:30 | 0 | -1 | -1.3 | 0 | -56.7 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -2 | 0
20:30 - 20:45 | 0 | -1 | -1.3 | 0 | -109.44 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | -2 | 0
20:45 - 21:00 | 0 | -1 | -1.3 | 0 | -115.01 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | -2 | 0
21:00 - 21:15 | 0 | -1 | -1.4 | 0 | -109.44 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0
21:15 - 21:30 | 0 | -1 | -1.4 | 0 | -112.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0
21:30 - 21:45 | 0 | -1.4 | -1.4 | 0 | -218.88 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0
21:45 - 22:00 | 0 | -1.4 | -1.4 | 0 | -218.89 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0
22:00 - 22:15 | 0 | -1.4 | -1.4 | 0 | -378.29 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -2 | 0
22:15 - 22:30 | 0 | -1.4 | -1.4 | 0 | -378.53 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -2 | 0
22:30 - 22:45 | 0 | -1.1 | -1.4 | 0 | -378.69 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -2 | 0
22:45 - 23:00 | 0 | -1.1 | -1.4 | 0 | -378.18 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0
23:00 - 23:15 | -4 | -1.1 | -1.4 | 0 | -448.45 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 0 | -2 | 0
23:15 - 23:30 | -4 | -1.1 | -1.4 | 0 | -431.12 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 0 | -2 | 0
23:30 - 23:45 | -4 | -1.1 | -1.3 | 0 | -400.3 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.59 | -11 | 0 | 4.82 | 0 | -8 | 67.41 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 0 | -2 | 0
23:45 - 24:00 | -4 | -1.1 | -1.3 | 0 | -392.11 | 10.59 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.59 | -11 | 0 | 4.82 | 0 | -8 | 67.41 | 0 | 0 | 0 | 0 | -20 | 9.63 | 0 | 0 | -2 | 0
Average | -3.1042 | -1.2354 | -0.66042 | 5.056 | -87.2107 | 7.8322 | 0.60188 | -0.15656 | 5.0531 | -1 | -0.3125 | -0.57 | 0.90167 | 3.7316 | -4.6875 | 1.826 | 2.4514 | 8.3779 | -3.9073 | 9.8911 | 0.65594 | 1.5641 | -2.1875 | -0.3125 | -13.5938 | 12.211 | 3.111 | 33.671 | -1.9896 | -1.4167