## POWER STATUS
POWER STATUS ON DT 06.07.2026
[9 empty] | 2026-07-06 | 2026-07-05
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5222 | 5127
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 26 | 0.624 | 630/590 ft | 609.06 | 602.27 | 603.33 | 86 | 0
| Chiplima | 72(3x24) | 15.04 | 0.36096 | - |  |  |  | 26 | 18
| Balimela | 510(6x60+2x75) | 105.791 | 2.539 | 1516/1440 ft | 1461 | 1457.9 | 1459.61 | 125 | 193
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 121.11 | 110.13 | 110.44 | 0 | 0
| Upper Kolab | 320(4x80) | 0.16 | 0.00384 | 858/844 mt | 850.3 | 847.71 | 848.1 | 0 | 0
| Upper Indravati | 600(4x150) | 20.916 | 0.50198 | 642/625 mt | 632 | 628.98 | 629.18 | 0 | 150
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2732.3 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 167.907 | 4.0298 |  |  |  |  | 237 | 361
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1424.39 | 34.1854 | RENEWABLE ENERGY (RE) |  |  |  | 1560 | 1640
[5 empty] | M.Hydl | 39.78
| Total Thermal | 2200 | 1424.39 | 34.1854 | Solar | 62.68 |  |  | 1560 | 1640
IPP | VEDANTA #2 | 600 (1x600) | 155.15 | 3.7236 | Total IPPs | Yesterday's Demand Profile |  |  | 251 | 246
| GMR #3 | 350 (1x350) | 257.69 | 6.1846 | 498.75 |  | MW | HRS | 249 | 322
| NBVL(IPP) | 60(1x60) | 46.09 | 1.1062 |  |  |  |  | 37 | 55
| MDTPC |  | 39.82 | 0.95568 |  |  |  |  | 31 | 51
| CGPs |  | 684.07 | 16.4177 | IPPs, CGPs & RE | Maximum | 5832 | 12.00 | 1369 | 1304
| Central Sector(Drawl) |  | 2121.91 | 50.9258 | 1285.28 | Minimum | 4309 | 06.00 | 2056 | 1822
| Central Sector(Sch) |  | 2331.17 | 55.9481 |  | Average | 4999.487 |  | 2109 | 1758
| Grand Total |  | 4999.487 | 119.9877 | Instantaneous Peak demand |  | 6201 | 251:17 | 5222 | 5127
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1475 | 35.4 | 1301 | 31.224 | 1363 | 32.712
Balimela | 5,6 | TSTPP St-I | 1 | TPWODL | 1766 | 42.384 | 1807 | 43.368 | 1847 | 44.328
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1269 | 30.456 | 1186 | 28.464 | 1251 | 30.024
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 502 | 12.048 | 494 | 11.856 | 550 | 13.2
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5012 | 120.288 | 4788 | 114.912 | 5011 | 120.264
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 251 | GMR |  |  |  | 249
| NBVL #3 | 37 | MDTPC |  |  |  | 31
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 20
Solar: |  | 197 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 237 | JSL(Duburi) |  |  |  | -74
| ICCL | 51 | visa |  |  |  | 15
| NALCO | -153 | VAL (CGP) |  |  |  | -17
| RSP | -124 | BSL(MMDL) |  |  |  | -52
| INDAL | 1 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -33 | VAL CPP 400 kV |  |  |  | -421
| NBVL | 35 | Arati |  |  |  | 13
| BPSL(JSG) | -72 | BPPL |  |  |  | 94
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-28 | 2026-06-29 | 2026-06-30 | 2026-07-01 | 2026-07-02 | 2026-07-03 | 2026-07-04 | 2026-07-05
282.727 | 269.2095 | 272.013 | 261.021 | 200.751 | 360.6517 | 252.0595 | 167.907
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.05.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 129.99
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 51.69
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 71.6
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ARYAN_ISPAT | WBSEDCL | -5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.72
JPIPL | NPCL_UP | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 10.86
MAADURGA_THERMAL | NPCL_UP | -6.18 | DCBL_Rajgangpur | DALCEMAP | -2.75 | AWEK1L | ODISHA | 16.3
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -2 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.12
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 40.42
OCL_IRON_STEEL | NPCL_UP | -26.92 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.02
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | FACORPOWER | TPL_DIS_AHM | -25 | DADRI_SOLAR | ODISHA | 0.62
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | JSPLANGUL | CSEB_Beneficiary | -150 | ENERSON_SOLAR_10MW | ODISHA | 1.33
VSL | CR_IR_MS | -2.92 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0.55
FARIDABAD_SOLAR | ODISHA | 0.94 | OCL_IRON_STEEL | BRPL | -17.71 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 55.97 | OCL_IRON_STEEL | BRPL | -7.29 | GADAG_Serentica3_S | VLSEZ | 25.53
MPPMCL | ODISHA | 0 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 126.53
RAJ_SOLAR | ODISHA | 2.31 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GIWEL_SECI_II_RE | ODISHA | 57.45
RAJ_SOLAR | ODISHA | 2.12 | VSL | WBSEDCL | -10 | GPCL_SOLAR_10 | ODISHA | 1.27
|  |  | Darlipali_NTPC | ODISHA | 17.55 | GSECL_SOLAR | ODISHA | 0.79
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.75
|  |  | JIPL | ODISHA | 115.56 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | NALCOAP | NACL_Odisha | 39.26 | KARUR_TPVARDHAMAN_W | TSKPO | 71.05
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.63
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 4.47
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.16
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 8.14
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 28.79
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 31.36
[6 empty] | RWE_AP2_SECI_III | ODISHA | 26.68
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 12.27
[6 empty] | SRI9PL_FTG3 | VLSEZ | 38.49
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 78.14
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 4.99
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 31.1

## DAM
DAM TRADING DETAILS FOR DT :05.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -3.4 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | -48.5 | 0
00:15 - 00:30 | -3.4 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | -48.5 | 0
00:30 - 00:45 | -3.4 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
00:45 - 01:00 | -3.4 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
01:00 - 01:15 | -3.4 | 0 | -75 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
01:15 - 01:30 | -3.4 | 0 | -75 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
01:30 - 01:45 | -3.4 | 0 | -74.96 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
01:45 - 02:00 | -3.4 | 0 | -74.73 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
02:00 - 02:15 | -3.4 | 0 | -100 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
02:15 - 02:30 | -3.4 | 0 | -100 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 72.23 | 0 | 0
02:30 - 02:45 | -3.4 | 0 | -100 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
02:45 - 03:00 | -3.4 | 0 | -165.34 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
03:00 - 03:15 | -3.4 | 0 | -236.4 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
03:15 - 03:30 | -3.4 | 0 | -274.43 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
03:30 - 03:45 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
03:45 - 04:00 | -3.4 | 0 | -274.39 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
04:00 - 04:15 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
04:15 - 04:30 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
04:30 - 04:45 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
04:45 - 05:00 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0 | 0 | 0
05:00 - 05:15 | -3.4 | 0 | -150 | 0 | 0 | 0 | -8 | -43 | -20 | 0 | 0 | 0 | 0
05:15 - 05:30 | -3.4 | 0 | -215.33 | 0 | 0 | 0 | -8 | -43 | -20 | 0 | 0 | 0 | 0
05:30 - 05:45 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | -43 | -20 | 0 | 0 | 0 | 0
05:45 - 06:00 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | -43 | -20 | 0 | 0 | 0 | 0
06:00 - 06:15 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | -43 | -20 | 0 | 0 | 0 | 0
06:15 - 06:30 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | -43 | -20 | 0 | 0 | 0 | 0
06:30 - 06:45 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | -43 | -20 | 0 | 0 | 0 | 0
06:45 - 07:00 | -3.4 | 0 | -275 | 0 | 0 | 0 | -8 | -43 | -20 | 0 | 0 | 0 | 0
07:00 - 07:15 | -3.4 | 20.22 | -246.1 | 0 | 0 | 0 | -8 | -43 | -20 | 7.7 | 75.89 | 0 | 0
07:15 - 07:30 | -3.4 | 20.23 | -100 | 0 | 0 | 0 | -8 | -43 | -20 | 7.7 | 0 | 0 | 0
07:30 - 07:45 | -3.4 | 20.23 | -100 | 0 | 0 | 0 | -8 | -43 | -20 | 7.7 | 0 | 0 | 0
07:45 - 08:00 | -3.4 | 20.23 | -100 | 0 | 0 | 0 | -8 | -43 | -20 | 7.7 | 0 | 0 | 0
08:00 - 08:15 | -3.4 | 20.22 | -232.57 | 0 | 28.9 | 0 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
08:15 - 08:30 | -3.4 | 20.22 | -175.1 | 0 | 28.9 | 0 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
08:30 - 08:45 | -3.4 | 20.22 | -100 | 0 | 28.9 | 0 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
08:45 - 09:00 | -3.4 | 20.22 | -64.31 | 0 | 28.9 | 0 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
09:00 - 09:15 | -3.4 | 20.22 | 0 | 0 | 28.89 | 0 | -1 | -18 | -20 | 7.7 | 0 | 0 | 115.57
09:15 - 09:30 | -3.4 | 20.22 | 17.81 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.34
09:30 - 09:45 | -3.4 | 20.22 | 9.3 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
09:45 - 10:00 | -3.4 | 20.22 | 9.34 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
10:00 - 10:15 | -3.4 | 20.22 | 17.83 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
10:15 - 10:30 | -3.4 | 20.22 | 17.83 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
10:30 - 10:45 | -3.4 | 20.22 | 17.84 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
10:45 - 11:00 | -3.4 | 20.22 | 17.84 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
11:00 - 11:15 | -3.4 | 20.22 | 26.67 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.34
11:15 - 11:30 | -3.4 | 20.22 | 26.68 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.34
11:30 - 11:45 | -3.4 | 20.22 | 23.51 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.34
11:45 - 12:00 | -3.4 | 20.22 | 23.5 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.34
12:00 - 12:15 | -3.4 | 20.22 | 25.12 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
12:15 - 12:30 | -3.4 | 20.22 | 24.94 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
12:30 - 12:45 | -3.4 | 20.22 | 24.94 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
12:45 - 13:00 | -3.4 | 20.22 | 23.52 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.34
13:00 - 13:15 | -3.4 | 20.22 | 24.94 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
13:15 - 13:30 | -3.4 | 20.22 | 24.94 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
13:30 - 13:45 | -3.4 | 20.22 | 24.94 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
13:45 - 14:00 | -3.4 | 20.22 | 24.94 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
14:00 - 14:15 | -3.4 | 20.22 | 24.05 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.34
14:15 - 14:30 | -3.4 | 20.22 | 17.83 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
14:30 - 14:45 | -3.4 | 20.22 | 17.83 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
14:45 - 15:00 | -3.4 | 20.22 | 17.83 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.34
15:00 - 15:15 | -3.4 | 20.22 | 0.28 | 0 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 173.35
15:15 - 15:30 | -3.4 | 20.22 | 140.74 | 15.41 | 28.89 | 0 | -0.44 | -18 | -8.89 | 7.7 | 0 | 0 | 115.56
15:30 - 15:45 | -3.4 | 20.22 | 123.51 | 14.35 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 0
15:45 - 16:00 | -3.4 | 20.22 | 241.08 | 14.83 | 28.89 | 0 | 0 | -18 | 0 | 7.7 | 0 | 0 | 0
16:00 - 16:15 | -3.4 | 20.22 | -27.9 | 0 | 28.9 | 9.63 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
16:15 - 16:30 | -3.4 | 20.22 | -51.63 | 0 | 28.9 | 9.63 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
16:30 - 16:45 | -3.4 | 20.22 | -51.49 | 0 | 28.9 | 9.63 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
16:45 - 17:00 | -3.4 | 20.22 | -51.81 | 0 | 28.9 | 9.63 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
17:00 - 17:15 | -3.4 | 0 | 114.35 | 15.22 | 28.89 | 9.63 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
17:15 - 17:30 | -3.4 | 0 | 0 | 16.18 | 28.89 | 9.63 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
17:30 - 17:45 | -3.4 | 0 | 20.15 | 16.37 | 28.89 | 9.63 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
17:45 - 18:00 | -3.4 | 0 | -87.12 | 0 | 28.89 | 9.63 | -1 | -18 | -20 | 7.7 | 0 | 0 | 0
18:00 - 18:15 | -3.4 | 0 | -125 | 0 | 28.89 | 9.63 | -6 | -18 | -20 | 7.7 | 0 | 0 | 0
18:15 - 18:30 | -3.4 | 0 | -125 | 0 | 0 | 0 | -6 | -18 | -20 | 7.7 | 0 | 0 | 0
18:30 - 18:45 | -3.4 | 0 | -125 | 0 | 0 | 0 | -6 | -18 | -20 | 7.7 | 0 | 0 | 0
18:45 - 19:00 | -3.4 | 0 | -125 | 0 | 0 | 0 | -6 | -18 | -20 | 7.7 | 30.82 | 0 | 0
19:00 - 19:15 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 7.7 | 66.84 | 0 | 0
19:15 - 19:30 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 7.7 | 72.23 | 0 | 0
19:30 - 19:45 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 7.7 | 72.23 | 0 | 38.33
19:45 - 20:00 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 7.7 | 72.23 | 0 | 146.38
20:00 - 20:15 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 3.47 | 0 | 0 | 0
20:15 - 20:30 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
20:30 - 20:45 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
20:45 - 21:00 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
21:00 - 21:15 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 7.7 | 0 | 0 | 0
21:15 - 21:30 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
21:30 - 21:45 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
21:45 - 22:00 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
22:00 - 22:15 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
22:15 - 22:30 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
22:30 - 22:45 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
22:45 - 23:00 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
23:00 - 23:15 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
23:15 - 23:30 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
23:30 - 23:45 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
23:45 - 24:00 | -3.4 | 0 | -125 | 0 | 0 | 0 | -9 | 0 | -20 | 0 | 0 | 0 | 0
Average | -3.4 | 8.4253 | -85.4639 | 0.96208 | 12.3393 | 0.90281 | -4.9317 | -13.625 | -14.4676 | 4.2872 | 4.8174 | -1.0104 | 47.6683

## GDAM
GDAM TRADING DETAILS FOR DT:05.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 11.65
01:00 - 01:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 167.56
01:15 - 01:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 164.67
01:30 - 01:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 159.85
01:45 - 02:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 157.93
02:00 - 02:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 155.04
02:15 - 02:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 153.11
02:30 - 02:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 153.11
02:45 - 03:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 153.11
03:00 - 03:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 153.11
03:15 - 03:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 153.11
03:30 - 03:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 153.11
03:45 - 04:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 153.11
04:00 - 04:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 153.11
04:15 - 04:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 85.03
04:30 - 04:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 78.19
04:45 - 05:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 82.62
05:00 - 05:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 90.61
05:15 - 05:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 10.21
05:45 - 06:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 0 | 126.15
07:00 - 07:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 1.12 | 109.76
07:15 - 07:30 | 0 | 0 | 0 | 0 | 14.45 | 38.52 | 0 | 5.78 | 77.04 | 78.96
07:30 - 07:45 | 0 | 0 | 0 | 0 | 14.45 | 38.52 | 0 | 5.78 | 77.03 | 44.3
07:45 - 08:00 | 0 | 0 | 0 | 0 | 14.45 | 38.52 | 0 | 5.78 | 77.03 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 14.45 | 22.15 | 9.63 | 5.78 | 77.03 | 1.93
08:15 - 08:30 | 0 | 0 | 112.86 | 0 | 14.45 | 21.19 | 9.63 | 5.78 | 77.04 | 16.37
08:30 - 08:45 | 0 | 0 | 119.07 | 0 | 14.45 | 19.26 | 9.63 | 5.78 | 77.04 | 0
08:45 - 09:00 | 0 | -1.4 | 248.74 | 13.48 | 14.45 | 17.33 | 9.63 | 5.78 | 77.04 | 0
09:00 - 09:15 | 0 | -3.7 | 252.79 | 13 | 14.45 | 16.37 | 9.63 | 5.78 | 77.04 | 0
09:15 - 09:30 | 0 | -2 | 248.8 | 11.36 | 14.45 | 15.41 | 9.63 | 5.78 | 77.04 | 0
09:30 - 09:45 | 0 | -1 | 248.8 | 7.7 | 14.45 | 14.45 | 9.63 | 5.78 | 77.04 | 0
09:45 - 10:00 | 0 | -2.9 | 248.79 | 7.99 | 14.45 | 13.48 | 9.63 | 5.78 | 77.04 | 4.82
10:00 - 10:15 | -1.7 | -4.7 | 248.79 | 12.52 | 14.45 | 12.52 | 9.63 | 5.78 | 77.04 | 40.45
10:15 - 10:30 | -0.5 | -6 | 248.78 | 14.16 | 14.45 | 11.56 | 9.63 | 5.78 | 77.04 | 69.34
10:30 - 10:45 | -0.5 | -7.6 | 248.8 | 14.16 | 14.45 | 11.56 | 9.63 | 5.78 | 77.04 | 90.52
10:45 - 11:00 | -4.5 | -8 | 248.81 | 12.9 | 14.45 | 10.59 | 9.63 | 5.78 | 77.04 | 100.15
11:00 - 11:15 | -3.7 | -7.3 | 248.81 | 10.21 | 14.45 | 10.59 | 9.63 | 5.78 | 77.04 | 100.15
11:15 - 11:30 | -1.1 | -8.7 | 248.8 | 12.81 | 14.45 | 9.63 | 9.63 | 5.78 | 77.04 | 100.15
11:30 - 11:45 | 0 | -9.5 | 256.76 | 11.27 | 14.45 | 9.63 | 9.63 | 5.78 | 77.04 | 100.15
11:45 - 12:00 | -1.7 | -8.5 | 256.76 | 9.92 | 14.45 | 8.67 | 9.63 | 5.78 | 77.04 | 100.15
12:00 - 12:15 | -3.2 | -9.1 | 254.62 | 9.34 | 14.45 | 7.7 | 9.63 | 5.78 | 77.04 | 100.15
12:15 - 12:30 | -2.7 | -7.4 | 256.77 | 11.46 | 14.45 | 7.7 | 9.63 | 5.78 | 77.04 | 100.15
12:30 - 12:45 | -3.4 | -6.7 | 256.77 | 10.21 | 14.45 | 6.74 | 9.63 | 5.78 | 77.04 | 100.15
12:45 - 13:00 | -2.6 | -6.6 | 256.77 | 10.5 | 14.45 | 7.7 | 9.63 | 5.78 | 77.04 | 100.15
13:00 - 13:15 | -0.4 | -5.2 | 256.76 | 13.29 | 14.45 | 7.7 | 9.63 | 5.78 | 77.04 | 100.15
13:15 - 13:30 | -0.4 | -6.4 | 256.77 | 13.87 | 14.45 | 8.67 | 9.63 | 5.78 | 77.04 | 100.15
13:30 - 13:45 | 0 | -5.7 | 256.76 | 13.1 | 14.45 | 8.67 | 9.63 | 5.78 | 77.04 | 100.15
13:45 - 14:00 | 0 | -4.4 | 256.76 | 14.64 | 14.45 | 8.67 | 9.63 | 5.78 | 62.6 | 100.15
14:00 - 14:15 | 0 | -5.2 | 252.83 | 15.31 | 14.45 | 8.67 | 9.63 | 5.78 | 62.6 | 100.15
14:15 - 14:30 | 0 | -4.8 | 248.8 | 12.9 | 14.45 | 9.63 | 9.63 | 5.78 | 62.6 | 100.15
14:30 - 14:45 | 0 | -3.4 | 248.78 | 12.81 | 14.45 | 9.63 | 9.63 | 5.78 | 62.6 | 100.15
14:45 - 15:00 | 0 | -2.2 | 248.77 | 14.64 | 14.45 | 9.63 | 9.63 | 5.78 | 62.6 | 104.97
15:00 - 15:15 | 0 | -2.2 | 248.73 | 15.5 | 14.45 | 11.56 | 9.63 | 5.78 | 62.6 | 125.19
15:15 - 15:30 | 0 | -2.9 | 76.01 | 0 | 14.45 | 12.52 | 9.63 | 5.78 | 62.6 | 127.1
15:30 - 15:45 | 0 | -3.1 | 117.57 | 0 | 14.45 | 13.48 | 9.63 | 5.78 | 62.6 | 110.75
15:45 - 16:00 | 0 | -2.1 | 0 | 0 | 14.45 | 15.41 | 9.63 | 5.78 | 62.6 | 83.77
16:00 - 16:15 | 0 | -1.7 | 143.76 | 0 | 14.45 | 16.37 | 0 | 5.78 | 62.6 | 31.78
16:15 - 16:30 | 0 | -1.2 | 296.9 | 16.08 | 14.45 | 17.33 | 0 | 5.78 | 62.6 | 0
16:30 - 16:45 | 0 | -1.1 | 0 | 0 | 14.45 | 18.3 | 0 | 5.78 | 62.59 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 14.45 | 20.22 | 0 | 5.78 | 62.59 | 18.3
17:00 - 17:15 | 0 | 0 | 0 | 0 | 14.45 | 38.52 | 0 | 5.78 | 62.59 | 39.48
17:15 - 17:30 | 0 | 0 | 0 | 0 | 14.45 | 38.52 | 0 | 5.78 | 72.22 | 9.63
17:30 - 17:45 | 0 | 0 | 0 | 0 | 14.45 | 38.52 | 0 | 5.78 | 72.22 | 16.37
17:45 - 18:00 | 0 | 0 | 0 | 0 | 14.45 | 38.52 | 0 | 5.78 | 72.22 | 48.15
18:00 - 18:15 | 0 | 0 | 0 | 0 | 14.45 | 38.52 | 0 | 5.78 | 72.23 | 83.77
18:15 - 18:30 | 0 | 0 | 0 | 0 | 14.45 | 38.52 | 0 | 5.78 | 72.23 | 102.07
18:30 - 18:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 72.23 | 127.1
18:45 - 19:00 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 41.34 | 138.67
19:00 - 19:15 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 5.78 | 5.36 | 144.45
19:15 - 19:30 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0.77 | 0 | 145.41
19:30 - 19:45 | 0 | 0 | 0 | 0 | 14.45 | 0 | 0 | 0 | 0 | 108.04
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.275 | -1.5906 | 77.2947 | 3.4909 | 11.891 | 8.3059 | 3.21 | 3.8011 | 35.0057

## RTM
RTM TRADING DETAILS FOR DT: 05.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | 0 | 0 | 0 | -1.3 | -345.7 | 0 | 0 | 0 | -1 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -1.5
00:15 - 00:30 | 0 | 0 | 0 | -1.3 | -430.26 | 0 | 10.59 | 0 | -1 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
00:30 - 00:45 | 0 | 0 | 0 | -1.3 | -423.92 | 0 | 10.59 | 0 | -1 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | -2 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
00:45 - 01:00 | 0 | 0 | 0 | -1.3 | -423.06 | 0 | 10.59 | 0 | -1 | 0 | -7.5 | 0 | 0 | 10.59 | 0 | 0 | -2 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
01:00 - 01:15 | -0.2 | 0 | 0 | -1.3 | -316.65 | 0 | 10.59 | 0 | -1 | 0 | -7.5 | 0 | 0 | 10.59 | 0 | 0 | -2 | 72.23 | 1.93 | 0 | -20 | 0 | 10.59 | 0 | 0 | -1.5
01:15 - 01:30 | -0.2 | 0 | 0 | -1.3 | -400 | 0 | 10.59 | 0 | -1 | 0 | -7.5 | 0 | 0.48 | 10.59 | 0 | 9.63 | -2 | 72.23 | 1.93 | 0 | -20 | 0 | 10.59 | 0 | 0 | -1.5
01:30 - 01:45 | -0.2 | 0 | 0 | 0 | -575 | 0 | 10.59 | 9.63 | -1 | 0 | -7.5 | 0.39 | 0.48 | 10.59 | 0 | 9.63 | -4 | 72.23 | 1.93 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1.5
01:45 - 02:00 | -0.2 | 0 | 0 | 0 | -454.07 | 0 | 10.59 | 9.63 | -1 | 0 | -7.5 | 0.39 | 0.48 | 10.59 | 0 | 9.63 | -4 | 72.23 | 1.93 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1.5
02:00 - 02:15 | -0.2 | 0 | 0 | -1.3 | -416.65 | 0 | 10.59 | 0 | -1 | 0 | -7.5 | 0 | 0 | 10.59 | 0 | 0 | -4 | 72.23 | 1.93 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1.5
02:15 - 02:30 | -0.2 | 0 | 0 | -1.3 | -416.64 | 0 | 10.59 | 0 | -1 | 0 | -7.5 | 0 | 0 | 10.6 | 0 | 0 | -4 | 0 | 1.93 | 0 | -20 | 0 | 10.59 | 0 | 0 | -1.5
02:30 - 02:45 | -0.2 | 0 | 0 | -1.3 | -428.1 | 0 | 10.59 | 0 | -1 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | -4 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
02:45 - 03:00 | -0.2 | 0 | 0 | -1.3 | -430 | 0 | 10.59 | 0 | -1 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0 | -4 | 65.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
03:00 - 03:15 | -0.2 | 0 | 0 | -1.3 | -350 | 0 | 10.59 | 0 | -1 | 0 | -11 | 0 | 0.48 | 10.59 | 0 | 9.63 | -4 | 72.23 | 1.93 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1.5
03:15 - 03:30 | -0.2 | 0 | 0 | -1.3 | -350 | 0 | 10.59 | 0 | -1 | 0 | -11 | 0 | 0.48 | 10.59 | 0 | 9.63 | -4 | 72.23 | 1.93 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1.5
03:30 - 03:45 | -0.2 | 0 | 0 | -1.3 | -350 | 0 | 10.59 | 0 | -1 | 0 | -11 | 0 | 0 | 10.59 | 0 | 9.63 | -4 | 72.23 | 1.93 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1.5
03:45 - 04:00 | -0.2 | 0 | 0 | -1.3 | -350 | 0 | 10.59 | 0 | -1 | 0 | -11 | 0 | 0.48 | 10.59 | 0 | 9.63 | -4 | 72.23 | 1.93 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1.5
04:00 - 04:15 | -0.2 | 0 | 0 | -1.3 | -350 | 0 | 10.59 | 0 | -1 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -4 | 72.23 | 0 | 0 | 0 | 9.63 | 0 | 0 | 0 | -1.5
04:15 - 04:30 | -0.2 | 0 | 0 | -1.3 | -349.99 | 0 | 10.59 | 0 | -1 | 0 | -11 | 0 | 0 | 7.08 | 0 | 0 | -4 | 72.23 | 0 | 0 | 0 | 9.63 | 0 | 0 | 0 | -1.5
04:30 - 04:45 | -0.2 | 0 | 0 | -1.3 | -450 | 0 | 10.59 | 0 | -1 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -4 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
04:45 - 05:00 | -0.2 | 0 | 0 | -1.3 | -425.29 | 0 | 10.59 | 0 | -1 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -4 | 72.23 | 0 | 0 | -20 | 9.63 | 0 | 0 | 0 | -1.5
05:00 - 05:15 | -0.2 | 0 | 0 | 0 | -439.93 | 0 | 10.59 | 9.63 | -1 | 0 | -15 | 0.19 | 6.26 | 10.59 | 0 | 9.63 | -4 | 72.23 | 1.93 | 0 | -10 | 9.63 | 10.59 | 60.67 | 0 | -1.5
05:15 - 05:30 | -0.2 | 0 | 0 | 0 | -394.97 | 0 | 10.59 | 0 | -1 | 0 | -15 | 0 | 6.26 | 10.59 | 0 | 9.63 | -4 | 72.23 | 1.93 | 0 | 0 | 9.63 | 10.59 | 151.19 | 0 | -1.5
05:30 - 05:45 | -0.2 | 0 | -0.3 | -1.3 | -410.02 | 0 | 10.59 | 0 | -1 | 0 | -15 | 0 | 0 | 10.59 | 0 | 9.63 | -4 | 72.23 | 1.93 | 0 | -15 | 9.63 | 10.59 | 0 | 0 | -1.5
05:45 - 06:00 | -0.2 | 0 | -0.3 | -1.3 | -413.02 | 0 | 10.59 | 0 | -1 | 0 | -15 | 0 | 0 | 10.59 | 0 | 9.63 | -4 | 57.79 | 1.93 | 0 | -15 | 9.63 | 10.59 | 0 | 0 | -1.5
06:00 - 06:15 | 0 | -2 | -0.3 | -1.3 | -446.67 | 0 | 0 | 0 | -1 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
06:15 - 06:30 | 0 | -2 | -0.3 | -1.3 | -449.11 | 0 | 0 | 0 | -1 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
06:30 - 06:45 | 0 | 0 | 0 | -1.3 | -429.35 | 0 | 10.59 | 0 | -1 | 0 | -15 | -0.1 | 0 | 0 | 0 | 0 | -3 | 77.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
06:45 - 07:00 | 0 | 0 | 0 | -1.3 | -415.02 | 0 | 10.59 | 0 | -1 | 0 | -15 | -0.2 | 0 | 10.59 | 0 | 0 | -3 | 77.04 | 1.93 | 0 | 0 | 9.63 | 5.49 | 0 | 0 | -1.5
07:00 - 07:15 | 0 | 0 | 0 | 0 | -490.06 | 0 | 10.6 | 4.3 | -1 | 0 | -15 | -0.3 | 0.48 | 2.89 | 0 | 9.63 | -3 | 0 | 1.93 | 0 | 0 | 0 | 10.59 | 0 | 0 | -1.5
07:15 - 07:30 | 0 | 0 | 0 | 0 | -451.21 | 0 | 10.59 | 9.63 | -1 | 0 | -15 | -0.7 | 0.48 | 2.89 | 0 | 9.63 | -3 | 0 | 1.93 | 0 | -20 | 0 | 10.59 | 0 | 0 | -1.5
07:30 - 07:45 | 0 | -5 | 0 | 0 | -450.09 | 15.7 | 10.59 | 9.63 | -1 | 0 | -15 | -0.6 | 0.48 | 2.89 | 0 | 9.63 | -3 | 0 | 1.93 | 0 | -20 | 0 | 10.59 | 0 | 0 | -1.5
07:45 - 08:00 | 0 | -5 | 0 | 0 | -103.8 | 15.22 | 10.59 | 9.63 | -1 | 0 | -15 | 0 | 0.48 | 2.89 | 0 | 9.63 | 0 | 0 | 1.93 | 0 | -10 | 0 | 10.59 | 0 | 0 | -1.5
08:00 - 08:15 | 0 | 0 | -0.3 | 0 | -355.69 | 0 | 10.59 | 0 | -1 | -15 | -15 | -1 | 0.48 | 2.89 | 0 | 9.63 | -3 | 0 | 1.93 | 0.96 | 0 | 19.27 | 10.59 | 0 | 0 | -1.5
08:15 - 08:30 | 0 | 0 | -0.3 | 0 | -411.8 | 0 | 10.59 | 0 | -1 | 0 | -15 | -1.2 | 0.48 | 2.89 | 0 | 9.63 | -3 | 0 | 1.93 | 0.96 | 0 | 19.27 | 10.59 | 0 | 0 | -1.5
08:30 - 08:45 | 0 | 0 | -0.3 | 0 | -552.77 | 0 | 10.59 | 0 | -1 | 0 | -15 | -1.4 | 0.48 | 2.89 | 0 | 9.63 | -3 | 0 | 1.93 | 0.96 | 0 | 19.27 | 10.59 | 0 | 0 | -1.5
08:45 - 09:00 | 0 | 0 | -0.3 | 0 | -69.51 | 0 | 10.59 | 0 | -1 | 0 | -15 | 0 | 0.48 | 2.89 | 0 | 9.63 | 0 | 0 | 1.93 | 0.96 | 0 | 19.27 | 10.59 | 0 | 0 | -1.5
09:00 - 09:15 | 0 | 0 | 0 | 0 | -0.03 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 2.89 | 0 | 9.63 | 0 | 0 | 1.93 | 0.96 | 0 | 33.71 | 5.49 | 0 | 52.96 | -0.17
09:15 - 09:30 | 0 | 0 | 0 | 0 | -0.05 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 2.89 | 0 | 9.63 | 0 | 0 | 1.93 | 0.96 | 0 | 33.71 | 5.49 | 0 | 52.96 | -0.68
09:30 - 09:45 | 0 | 0 | 0 | 0 | 346.73 | 0 | 10.59 | 0 | -1 | 0 | -35 | 0 | 0.48 | 2.89 | 0 | 9.63 | 0 | 0 | 1.93 | 0.96 | -20 | 33.71 | 10.59 | 96.3 | 105.93 | -1
09:45 - 10:00 | 0 | 0 | 0 | 0 | 539.29 | 0 | 10.59 | 0 | -1 | 0 | -35 | 0 | 0.48 | 2.89 | 0 | 9.63 | 0 | 0 | 1.93 | 0.96 | 0 | 33.71 | 10.59 | 144.45 | 149.27 | -1
10:00 - 10:15 | 0 | 0 | 0 | 0 | 635.59 | 0 | 10.59 | 0 | -1 | 0 | -34 | 0 | 0.48 | 2.89 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 33.71 | 10.59 | 104 | 149.27 | -1
10:15 - 10:30 | 0 | 0 | 0 | 0 | 731.88 | 0 | 10.59 | 0 | -1 | 0 | -34 | 0 | 0.48 | 2.89 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 33.71 | 10.59 | 104 | 149.27 | -1
10:30 - 10:45 | 0 | 0 | 0 | 0 | 335.12 | 0 | 10.59 | 0 | -1 | 0 | -34 | 0 | 0.48 | 2.89 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 33.71 | 10.59 | 207.05 | 198.38 | -1
10:45 - 11:00 | 0 | 0 | 0 | 0 | 287 | 0 | 10.59 | 0 | -1 | 0 | -34 | 0 | 0.48 | 2.89 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 33.71 | 10.59 | 207.05 | 247.97 | -1
11:00 - 11:15 | 0 | 0 | 0 | 0 | 336.59 | 0 | 10.59 | 0 | -1 | 0 | -14.41 | 0 | 0.48 | 2.89 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | -8.48 | 33.71 | 9.63 | 207.05 | 258.08 | -1
11:15 - 11:30 | 0 | 0 | 0 | 0 | 336.6 | 0 | 10.59 | 0 | -1 | 0 | -7.51 | 0 | 0.48 | 2.89 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | -11.05 | 33.71 | 9.63 | 207.05 | 258.08 | -1
11:30 - 11:45 | 0 | 0 | 0 | 0 | 288.84 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 2.89 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 6.26 | 207.05 | 258.08 | -0.99
11:45 - 12:00 | 0 | 0 | 0 | 0 | 288.83 | 0 | 10.59 | 0 | -0.13 | 0 | 0 | 0 | 0.48 | 2.89 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 6.26 | 207.05 | 258.08 | -1
12:00 - 12:15 | 0 | 0 | 0 | 0 | 288.86 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 3.85 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 5.49 | 207.05 | 258.08 | -0.7
12:15 - 12:30 | 0 | 0 | 0 | 0 | 288.87 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 3.85 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 5.49 | 207.05 | 258.08 | -0.39
12:30 - 12:45 | 0 | 0 | 0 | 0 | 287.76 | 0 | 10.59 | 0 | -1 | 0 | -34 | 0 | 0.48 | 3.85 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 5.49 | 207.05 | 206.08 | -1
12:45 - 13:00 | 0 | 0 | 0 | 0 | 287.78 | 0 | 10.59 | 0 | -1 | 0 | -34 | 0 | 0.48 | 3.85 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | -40 | 43.34 | 5.49 | 81.86 | 155.04 | -1
13:00 - 13:15 | 0 | 0 | -0.22 | 0 | 240.68 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 5.49 | 0 | 103.04 | -0.72
13:15 - 13:30 | 0 | 0 | -0.25 | 0 | 216.63 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 5.49 | 0 | 52 | -0.83
13:30 - 13:45 | 0 | 0 | -0.11 | 0 | 192.58 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 48.15 | 5.49 | 0 | 0 | -0.36
13:45 - 14:00 | 0 | 0 | -0.28 | 0 | 192.55 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 48.15 | 5.49 | 0 | 0 | -0.95
14:00 - 14:15 | 0 | 0 | -0.25 | 0 | 192.56 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 48.15 | 5.49 | 0 | 0 | -0.82
14:15 - 14:30 | 0 | 0 | -0.3 | 0 | 0 | 0 | 10.59 | 0 | -1 | 0 | -3.14 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | -1.06 | 48.15 | 5.49 | 0 | 0 | -1
14:30 - 14:45 | 0 | 0 | -0.09 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 48.15 | 5.49 | 0 | 0 | -0.28
14:45 - 15:00 | 0 | 0 | -0.27 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 48.15 | 5.49 | 0 | 0 | -0.9
15:00 - 15:15 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 48.15 | 5.49 | 0 | 0 | 0
15:15 - 15:30 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 48.15 | 5.49 | 0 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 48.15 | 5.49 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 48.15 | 5.49 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 15.5 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 5.49 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.33 | 5.49 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 288.89 | 15.41 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 5.49 | 104.97 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 385.19 | 15.12 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 43.34 | 5.49 | 86.67 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 385.2 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 38.52 | 5.49 | 80.89 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 385.2 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0.48 | 0 | 0 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 38.52 | 5.49 | 75.11 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 384.95 | 0 | 10.59 | 0 | -1 | 0 | 0 | 0 | 0.48 | 0 | 1.93 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 38.52 | 5.49 | 64.52 | 0 | -0.7
17:45 - 18:00 | 0 | 0 | 0 | 0 | 575.41 | 16.37 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0.48 | 0 | 1.93 | 14.45 | 0 | 0 | 1.93 | 0.96 | 0 | 28.89 | 5.49 | 55.85 | 0 | -0.7
18:00 - 18:15 | 0 | -1 | 0 | 0 | 382.99 | 16.37 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0.48 | 0 | 1.93 | 9.63 | 0 | 0 | 1.93 | 1.93 | 0 | 28.89 | 5.49 | 33.71 | 0 | -0.7
18:15 - 18:30 | 0 | -1 | 0 | 0 | 349.03 | 0 | 10.59 | 9.63 | -1 | 0 | -14 | 0.19 | 0.48 | 0 | 1.93 | 9.63 | 0 | 0 | 1.93 | 1.93 | 0 | 28.89 | 5.49 | 28.89 | 0 | -0.7
18:30 - 18:45 | 0 | 0 | 0 | 0 | 135.94 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 0 | 1.93 | 9.63 | 0 | 0 | 1.93 | 1.93 | 0 | 28.89 | 5.49 | 0 | 0 | -0.7
18:45 - 19:00 | 0 | 0 | 0 | 0 | 128.7 | 0 | 10.59 | 0 | -1 | -15 | -14 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | 1.93 | 0 | 0 | 28.89 | 5.49 | 0 | 0 | -0.7
19:00 - 19:15 | 0 | 0 | 0 | 0 | 116.33 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
19:15 - 19:30 | 0 | 0 | 0 | 0 | 118.75 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
19:30 - 19:45 | 0 | 0 | 0 | -1.3 | 116.33 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
19:45 - 20:00 | 0 | 0 | 0 | -1.3 | 120.13 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
20:00 - 20:15 | 0 | 0 | 0 | -1.3 | 103.25 | 0 | 0 | 0 | -1 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
20:15 - 20:30 | 0 | 0 | 0 | -1.3 | 135.44 | 0 | 0 | 0 | -1 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
20:30 - 20:45 | 0 | 0 | 0 | -1.3 | -387.67 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
20:45 - 21:00 | 0 | 0 | 0 | -1.3 | -390.77 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
21:00 - 21:15 | 0 | 0 | 0 | -1.3 | -287.62 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 1.93 | 0 | 0 | -5 | 72.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
21:15 - 21:30 | 0 | 0 | 0 | -1.3 | -375.78 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
21:30 - 21:45 | 0 | 0 | -0.3 | -1.4 | -540.01 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
21:45 - 22:00 | 0 | 0 | -0.3 | -1.4 | -540.05 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
22:00 - 22:15 | 0 | -1 | -0.3 | -1.5 | -727.22 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
22:15 - 22:30 | 0 | -1 | -0.3 | -1.5 | -742.14 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
22:30 - 22:45 | 0 | 0 | 0 | -1.5 | -699.92 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
22:45 - 23:00 | 0 | 0 | 0 | -1.5 | -684.25 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
23:00 - 23:15 | 0 | -1 | 0 | -1.5 | -687.65 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
23:15 - 23:30 | 0 | -1 | 0 | -1.5 | -669.16 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
23:30 - 23:45 | 0 | 0 | 0 | -1.5 | -674.37 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
23:45 - 24:00 | 0 | 0 | 0 | -1.5 | -680.51 | 0 | 10.59 | 0 | -1 | 0 | -14 | 0 | 0 | 9.63 | 0 | 0 | -5 | 72.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
Average | -0.041667 | -0.20833 | -0.055937 | -0.5875 | -124.7821 | 1.1426 | 10.0385 | 0.74698 | -0.76177 | -0.3125 | -11.1152 | -0.045208 | 0.39042 | 4.0059 | 0.12062 | 7.4248 | -1.9792 | 26.2102 | 1.2666 | 0.46031 | -2.7666 | 18.2583 | 5.1926 | 32.6722 | 33.0276 | -0.95823