## POWER STATUS
POWER STATUS ON DT 07.07.2026
[9 empty] | 2026-07-07 | 2026-07-06
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5147.6685 | 5625.7356
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 116.625 | 2.799 | 630/590 ft | 609.79 | 603.33 | 605.65 | 111.5014 | 156.1004
| Chiplima | 72(3x24) | 31.458 | 0.75499 | - |  |  |  | 39.458 | 39.9213
| Balimela | 510(6x60+2x75) | 190.54 | 4.573 | 1516/1440 ft | 1461.9 | 1459.61 | 1459.4 | 95.9091 | 369.145
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 121.1 | 110.44 | 110.67 | 0 | 0
| Upper Kolab | 320(4x80) | 35.83 | 0.85992 | 858/844 mt | 850.6 | 848.1 | 848.24 | 0 | 152.8499
| Upper Indravati | 600(4x150) | 96.79 | 2.323 | 642/625 mt | 632.51 | 629.18 | 629.3 | 0 | 436.7189
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2733.2 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 471.243 | 11.3098 |  |  |  |  | 246.8685 | 1154.7356
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1352.35 | 32.4564 | RENEWABLE ENERGY (RE) |  |  |  | 1369.4 | 1373
[5 empty] | M.Hydl | 47.89
| Total Thermal | 2200 | 1352.35 | 32.4564 | Solar | 86.1 |  |  | 1369.4 | 1373
IPP | VEDANTA #2 | 600 (1x600) | 335.43 | 8.0503 | Total IPPs | Yesterday's Demand Profile |  |  | 391 | 490
| GMR #3 | 350 (1x350) | 280.12 | 6.7229 | 700.54 |  | MW | HRS | 329 | 328
| NBVL(IPP) | 60(1x60) | 48.47 | 1.1633 |  |  |  |  | 40 | 54
| MDTPC |  | 36.52 | 0.87648 |  |  |  |  | 33 | 31
| CGPs |  | 765.6 | 18.3744 | IPPs, CGPs & RE | Maximum | 6230 | 12.00 | 1820 | 1959
| Central Sector(Drawl) |  | 1782.02 | 42.7685 | 1600.13 | Minimum | 4355 | 06.00 | 1711.4 | 1139
| Central Sector(Sch) |  | 1849.2 | 44.3808 |  | Average | 5205.743 |  | 2266 | 1049
| Grand Total |  | 5205.743 | 124.9378 | Instantaneous Peak demand |  | 6465 | 276:43 | 5147.6685 | 5625.7356
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | 2 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1374 | 32.976 | 1395 | 33.48 | 1319 | 31.656
Balimela | 5,6 | TSTPP St-I | 1 | TPWODL | 1902 | 45.648 | 1865 | 44.76 | 1456 | 34.944
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1213 | 29.112 | 1193 | 28.632 | 1212 | 29.088
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 535 | 12.84 | 530 | 12.72 | 560 | 13.44
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5024 | 120.576 | 4983 | 119.592 | 4547 | 109.128
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 390.84 | GMR |  |  |  | 328.8451
| NBVL #3 | 39.933 | MDTPC |  |  |  | 33
Mini Hydel: | MEENAKSHI | 36.402 | OPCL |  |  |  | 0
| BTPL | 20.002 | SAPTADHARA |  |  |  | 19.8888
Solar: |  | 248.8532 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 289.061 | JSL(Duburi) |  |  |  | -39.6711
| ICCL | 52.3742 | visa |  |  |  | 12.2459
| NALCO | -158.3189 | VAL (CGP) |  |  |  | -21.666
| RSP | -119.7175 | BSL(MMDL) |  |  |  | -65.318
| INDAL | 7.9689 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -35.8796 | VAL CPP 400 kV |  |  |  | -459.0304
| NBVL | 39.7089 | Arati |  |  |  | 50.279
| BPSL(JSG) | -63.6226 | BPPL |  |  |  | 99.0211
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-29 | 2026-06-30 | 2026-07-01 | 2026-07-02 | 2026-07-03 | 2026-07-04 | 2026-07-05 | 2026-07-06
269.2095 | 272.013 | 261.021 | 200.751 | 360.6517 | 252.0595 | 167.907 | 471.243
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.06.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.39
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 128.57
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP41PL_BHDL | ODISHA | 46.29
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ARYAN_ISPAT | WBSEDCL | -5 | AP43PL_BKN | ODISHA | 54.74
JPIPL | NPCL_UP | 0 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.84
MAADURGA_THERMAL | NPCL_UP | -12.81 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 8.5
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 12.75
NBVL_OTCL | GEB_Beneficiary | -26 | FACORPOWER | TPL_DIS_AHM | -25 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.18
OCL_IRON_STEEL | NPCL_UP | -34.42 | JSPLANGUL | CSEB_Beneficiary | -150 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 31.1
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | NBVLIPP | BSPHCL | -17.92 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.22
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | OCL_IRON_STEEL | BRPL | -17.71 | DADRI_SOLAR | ODISHA | 0.66
VSL | CR_IR_MS | -2.92 | OCL_IRON_STEEL | BRPL | -7.29 | ENERSON_SOLAR_10MW | ODISHA | 1.69
FARIDABAD_SOLAR | ODISHA | 0.94 | ODISHA | TANGEDCO | -20.83 | GADAG_GreenInfra_W | ODISHA | 0.57
JSWEL_UTKAL | ODISHA | 44.44 | ODISHA | TANGEDCO | -20.83 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 0 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_S | VLSEZ | 27.78
RAJ_SOLAR | ODISHA | 2.36 | RSPL_JHARSUGUDA | UPPCL | -2.22 | GADAG_Serentica3_W | VLSEZ | 146.32
RAJ_SOLAR | ODISHA | 2.15 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GIWEL_SECI_II_RE | ODISHA | 43.11
|  |  | Shri_JSPL | UPPCL | -1.46 | GPCL_SOLAR_10 | ODISHA | 1.31
|  |  | TSBSLA | UPPCL | -8.75 | GSECL_SOLAR | ODISHA | 0.99
|  |  | VSL | WBSEDCL | -10 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.81
|  |  | Darlipali_NTPC | ODISHA | 28.04 | KARUR_TPVARDHAMAN_W | TSKPO | 97.99
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.05
|  |  | JIPL | ODISHA | 115.81 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.44
|  |  | NALCOAP | NACL_Odisha | 39.87 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.04
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 1.41
[6 empty] | OKWPL_RE | ODISHA | 20.09
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 28.31
[6 empty] | RWE_AP2_SECI_III | ODISHA | 20.24
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 13.8
[6 empty] | SRI9PL_FTG3 | VLSEZ | 66.15
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 77.11
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 51.86

## DAM
DAM TRADING DETAILS FOR DT :06.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | -3.4 | 0 | 0 | -425 | 0 | -200 | 0 | -8 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -3.4 | 0 | 0 | -425 | 0 | 0 | 0 | -8 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -3.4 | 0 | 0 | -425 | 0 | 0 | 0 | -8 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -3.4 | 0 | 0 | -425 | 0 | 0 | 0 | -8 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -3.4 | 0 | 0 | -600 | 0 | 0 | 0 | -8 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -3.4 | 0 | 0 | -600 | 0 | 0 | 0 | -8 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -3.4 | 0 | 0 | -600 | 0 | 0 | 0 | -8 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -3.4 | 0 | 0 | -600 | 0 | 0 | 0 | -8 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -3.4 | 0 | 0 | -675 | 0 | 0 | 0 | -8 | -0.5 | 0 | 7.72 | 67.56 | 0 | 0 | 0
02:15 - 02:30 | -3.4 | 0 | 0 | -675 | 0 | 0 | 0 | -8 | -0.5 | 0 | 7.72 | 67.56 | 0 | 0 | 0
02:30 - 02:45 | -3.4 | 0 | 0 | -675 | 0 | 0 | 0 | -8 | -0.5 | 0 | 0 | 67.56 | 0 | 0 | 0
02:45 - 03:00 | -3.4 | 0 | 0 | -675 | 0 | 0 | 0 | -8 | -0.5 | 0 | 0 | 67.56 | 0 | 0 | 0
03:00 - 03:15 | -3.4 | 0 | 0 | -750 | 0 | -150 | 0 | -8 | -0.5 | 0 | 0 | 67.56 | 0 | 0 | 0
03:15 - 03:30 | -3.4 | 0 | 0 | -750 | 0 | -150 | 0 | -8 | -0.5 | 0 | 0 | 67.56 | 0 | 0 | 0
03:30 - 03:45 | -3.4 | 0 | 0 | -750 | 0 | -150 | 0 | -8 | -0.5 | 0 | 0 | 67.56 | 0 | 0 | 0
03:45 - 04:00 | -3.4 | 0 | 0 | -825.27 | 0 | -149.99 | 0 | -8 | -0.5 | 0 | 0 | 31.21 | 0 | 0 | 0
04:00 - 04:15 | -3.4 | 0 | 0 | -750 | 0 | -150 | 0 | -8 | -0.5 | 0 | 0 | 67.56 | 0 | 0 | 0
04:15 - 04:30 | -3.4 | 0 | 0 | -826.55 | 0 | -150 | 0 | -8 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -3.4 | 0 | 0 | -825.12 | 0 | -150 | 0 | -8 | -0.5 | 0 | 0 | 51.34 | 0 | 0 | 0
04:45 - 05:00 | -3.4 | 0 | 0 | -825.4 | 0 | -150 | 0 | -8 | -0.5 | 0 | 0 | 12.87 | 0 | 0 | 0
05:00 - 05:15 | -3.4 | 0 | 0 | -750 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 67.56 | 0 | 0 | 0
05:15 - 05:30 | -3.4 | 0 | 0 | -750 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 67.56 | 0 | 0 | 0
05:30 - 05:45 | -3.4 | 0 | 0 | -828.3 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -3.4 | 0 | 0 | -875 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -3.4 | 0 | 0 | -825 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -3.4 | 0 | 0 | -825 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -3.4 | 0 | 0 | -825 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -3.4 | 0 | 0 | -825 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -3.4 | 20.27 | 0 | -825 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -3.4 | 20.27 | 0 | -825 | 0 | -150 | 0 | -8 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -3.4 | 20.27 | 0 | -681.6 | 0 | 0 | 0 | -8 | -0.5 | -43 | 7.72 | 0 | 0 | 0 | 0
07:45 - 08:00 | -3.4 | 20.27 | 0 | -625 | 0 | 0 | 0 | -8 | -0.5 | -43 | 7.72 | 0 | 0 | 0 | 0
08:00 - 08:15 | -3.4 | 20.26 | 0 | -700 | 0 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
08:15 - 08:30 | -3.4 | 20.26 | 0 | -676.54 | 0 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
08:30 - 08:45 | -3.4 | 20.27 | 0 | -531.02 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
08:45 - 09:00 | -3.4 | 20.27 | 0 | -447.6 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
09:00 - 09:15 | -3.4 | 20.27 | 0 | -150 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
09:15 - 09:30 | -3.4 | 20.27 | 0 | -150 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
09:30 - 09:45 | -3.4 | 20.27 | 0 | -107.3 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
09:45 - 10:00 | -3.4 | 20.27 | 0 | -66.6 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
10:00 - 10:15 | -3.4 | 20.27 | 0 | 17.84 | 28.95 | 0 | 0 | -0.91 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
10:15 - 10:30 | -3.4 | 20.27 | 0 | 17.85 | 28.95 | 0 | 0 | -0.77 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
10:30 - 10:45 | -3.4 | 20.27 | 0 | 17.85 | 28.95 | 0 | 0 | -0.68 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
10:45 - 11:00 | -3.4 | 20.27 | 0 | 17.86 | 28.95 | 0 | 0 | -0.55 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
11:00 - 11:15 | -3.4 | 20.27 | 0 | 17.86 | 28.95 | 0 | 0 | -0.44 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
11:15 - 11:30 | -3.4 | 20.27 | 0 | 17.87 | 28.95 | 0 | 0 | -0.27 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
11:30 - 11:45 | -3.4 | 20.27 | 0 | 14.31 | 28.95 | 0 | 0 | -0.08 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
11:45 - 12:00 | -3.4 | 20.27 | 0 | 15.36 | 28.95 | 0 | 0 | -0.75 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
12:00 - 12:15 | -3.4 | 20.27 | 0 | 16.05 | 28.94 | 0 | 0 | -0.83 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
12:15 - 12:30 | -3.4 | 20.27 | 0 | 14.28 | 28.95 | 0 | 0 | -0.88 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
12:30 - 12:45 | -3.4 | 20.27 | 0 | 14.29 | 28.95 | 0 | 0 | -0.6 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
12:45 - 13:00 | -3.4 | 20.27 | 0 | 14.3 | 28.94 | 0 | 0 | -0.52 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
13:00 - 13:15 | -3.4 | 20.27 | 0 | 21.4 | 28.93 | 0 | 0 | 0 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
13:15 - 13:30 | -3.4 | 20.27 | 0 | 21.4 | 28.94 | 0 | 0 | 0 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
13:30 - 13:45 | -3.4 | 20.27 | 0 | 21.4 | 28.94 | 0 | 0 | 0 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
13:45 - 14:00 | -3.4 | 20.27 | 0 | 14.31 | 28.95 | 0 | 0 | -0.23 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
14:00 - 14:15 | -3.4 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 7.72 | 4.83 | 0
14:15 - 14:30 | -3.4 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
14:30 - 14:45 | -3.4 | 20.27 | 0 | -150 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
14:45 - 15:00 | -3.4 | 20.27 | 0 | -402 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
15:00 - 15:15 | -3.4 | 20.27 | 0 | -373.76 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
15:15 - 15:30 | -3.4 | 20.27 | 0 | -331.49 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
15:30 - 15:45 | -3.4 | 20.27 | 0 | -373.67 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
15:45 - 16:00 | -3.4 | 20.27 | 0 | -331.34 | 28.95 | 0 | 0 | -1 | -0.5 | -18 | 7.72 | 0 | 0 | 4.83 | 0
16:00 - 16:15 | -3.4 | 20.27 | 0 | -638.35 | 28.95 | 0 | 9.65 | -1 | -0.5 | -43 | 7.72 | 0 | 0 | 4.83 | 0
16:15 - 16:30 | -3.4 | 20.27 | 0 | -680.87 | 28.95 | 0 | 9.65 | -1 | -0.5 | -43 | 7.72 | 0 | 0 | 4.83 | 0
16:30 - 16:45 | -3.4 | 20.26 | 0 | -850 | 0 | 0 | 0 | -1 | -0.5 | -43 | 7.72 | 0 | 0 | 4.83 | 0
16:45 - 17:00 | -3.4 | 20.26 | 0 | -850 | 0 | 0 | 0 | -1 | -0.5 | -43 | 7.72 | 0 | 0 | 4.83 | 0
17:00 - 17:15 | -3.4 | 0 | 0 | -400 | 0 | 0 | 0 | -1 | -0.5 | -43 | 7.72 | 0 | 0 | 0 | 0
17:15 - 17:30 | -3.4 | 0 | 0 | -400 | 0 | 0 | 0 | -1 | -0.5 | -43 | 7.72 | 0 | 0 | 0 | 0
17:30 - 17:45 | -3.4 | 0 | 0 | -400 | 0 | 0 | 0 | -1 | -0.5 | -43 | 7.72 | 0 | 0 | 0 | 0
17:45 - 18:00 | -3.4 | 0 | 0 | -400 | 0 | 0 | 0 | -1 | -0.5 | -43 | 7.72 | 0 | 0 | 0 | 0
18:00 - 18:15 | -3.4 | 0 | 0 | 0 | 0 | -200 | 0 | -6 | -0.5 | -43 | 7.72 | 0 | 0 | 0 | 0
18:15 - 18:30 | -3.4 | 0 | 0 | 0 | 0 | -200 | 0 | -6 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -3.4 | 0 | 0 | 0 | 0 | -200 | 0 | -6 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -3.4 | 0 | 0 | 0 | 0 | -200 | 0 | -6 | -0.5 | -43 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -3.4 | 0 | 0 | -25.67 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
19:15 - 19:30 | -3.4 | 0 | 0 | -24.98 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
19:30 - 19:45 | -3.4 | 0 | 0 | -37.23 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
19:45 - 20:00 | -3.4 | 0 | 0 | -100 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
20:00 - 20:15 | -3.4 | 0 | -12 | -150 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
20:15 - 20:30 | -3.4 | 0 | -12 | -150 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
20:30 - 20:45 | -3.4 | 0 | -12 | -150 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
20:45 - 21:00 | -3.4 | 0 | -12 | -150 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
21:00 - 21:15 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
21:15 - 21:30 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
21:30 - 21:45 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
21:45 - 22:00 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
22:00 - 22:15 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
22:15 - 22:30 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
22:30 - 22:45 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
22:45 - 23:00 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
23:00 - 23:15 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
23:15 - 23:30 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
23:30 - 23:45 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
23:45 - 24:00 | -3.4 | 0 | -12 | -200 | 0 | -200 | 0 | -9 | -0.5 | 0 | 0 | 0 | 0 | 0 | -48.5
Average | -3.4 | 8.4454 | -2 | -363.4003 | 9.6494 | -80.2082 | 0.20104 | -5.1199 | -0.5 | -16.75 | 3.6188 | 8.0315 | 1.3671 | 1.8113 | -10.1042

## GDAM
GDAM TRADING DETAILS FOR DT:06.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0.4 | 0 | 138
02:15 - 02:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0.43 | 0 | 138.01
02:30 - 02:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0.14 | 0 | 138.01
02:45 - 03:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0.19 | 0 | 138
03:00 - 03:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 1.37 | 0 | 138.01
03:15 - 03:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 1 | 0 | 138
03:30 - 03:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0.34 | 0 | 138
03:45 - 04:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0.56 | 0 | 138.01
04:00 - 04:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | -0.3 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | -0.7 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | -1.2 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | -1.5 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -1.7 | 0 | 0 | 14.48 | 0 | 5.79 | 65.79 | 107.11
07:15 - 07:30 | 0 | -2 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 75.28
07:30 - 07:45 | 0 | -2.2 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 44.39
07:45 - 08:00 | 0 | -2.6 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 26.06
08:00 - 08:15 | 0 | -3.6 | 0 | 0 | 14.48 | 9.65 | 5.79 | 72.38 | 49.22
08:15 - 08:30 | 0 | -4.5 | 0 | 0 | 14.48 | 9.65 | 5.79 | 72.38 | 15.44
08:30 - 08:45 | 0 | -4.6 | 0 | 0 | 14.48 | 9.65 | 5.79 | 72.38 | 0
08:45 - 09:00 | 0 | -5 | 194.11 | 0 | 14.48 | 9.65 | 5.79 | 72.38 | 7.72
09:00 - 09:15 | 0 | -5.4 | 245.47 | 0 | 14.48 | 9.65 | 5.79 | 72.38 | 45.36
09:15 - 09:30 | 0 | -5.5 | 249.36 | 13.51 | 14.48 | 9.65 | 5.79 | 72.38 | 152.49
09:30 - 09:45 | 0 | -7.1 | 245.33 | 0 | 14.48 | 9.65 | 5.79 | 72.38 | 316.55
09:45 - 10:00 | 0 | -8.7 | 245.33 | 0 | 14.48 | 9.65 | 5.79 | 72.38 | 356.12
10:00 - 10:15 | 0 | -10 | 249.35 | 15.15 | 14.48 | 9.65 | 5.79 | 72.38 | 388.94
10:15 - 10:30 | -5.2 | -9.3 | 249.36 | 15.63 | 14.48 | 9.65 | 5.79 | 72.38 | 418.86
10:30 - 10:45 | -3.3 | -10 | 249.35 | 15.63 | 14.48 | 9.65 | 5.79 | 72.38 | 439.13
10:45 - 11:00 | 0 | -10 | 249.35 | 14.28 | 14.48 | 9.65 | 5.79 | 72.38 | 448.78
11:00 - 11:15 | 0 | -12.4 | 249.35 | 10.23 | 14.48 | 9.65 | 5.79 | 72.38 | 448.78
11:15 - 11:30 | 0 | -10 | 249.35 | 6.27 | 14.48 | 9.65 | 5.79 | 72.38 | 448.78
11:30 - 11:45 | -0.8 | -11.9 | 257.32 | 11.29 | 14.48 | 9.65 | 5.79 | 72.38 | 448.78
11:45 - 12:00 | -2.3 | -17.5 | 254.92 | 12.55 | 14.48 | 9.65 | 5.79 | 72.38 | 448.77
12:00 - 12:15 | -1.5 | -13.9 | 253.38 | 12.35 | 14.48 | 9.65 | 5.79 | 72.38 | 448.77
12:15 - 12:30 | -6.5 | -12.2 | 257.32 | 9.26 | 14.48 | 9.65 | 5.79 | 72.38 | 448.78
12:30 - 12:45 | -8.2 | -11.9 | 257.32 | 10.42 | 14.48 | 9.65 | 5.79 | 72.38 | 448.78
12:45 - 13:00 | 0 | -11.2 | 257.32 | 12.84 | 14.48 | 9.65 | 5.79 | 72.38 | 448.76
13:00 - 13:15 | 0 | -11.6 | 257.32 | 11.58 | 14.48 | 9.65 | 5.79 | 72.38 | 448.78
13:15 - 13:30 | 0 | -11.2 | 257.36 | 13.51 | 14.48 | 9.65 | 5.79 | 72.38 | 448.78
13:30 - 13:45 | 0 | -10.6 | 257.32 | 14.57 | 14.48 | 9.65 | 5.79 | 72.38 | 448.78
13:45 - 14:00 | 0 | -10.4 | 257.32 | 14.28 | 14.48 | 9.65 | 5.79 | 62.73 | 454.56
14:00 - 14:15 | 0 | -12.1 | 249.34 | 13.9 | 14.48 | 9.65 | 5.79 | 62.73 | 472.9
14:15 - 14:30 | 0 | -13.5 | 249.3 | 13.41 | 14.48 | 9.65 | 5.79 | 62.73 | 492.21
14:30 - 14:45 | 0 | -11.9 | 243.88 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 500.89
14:45 - 15:00 | 0 | -12.7 | 241.28 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 505.71
15:00 - 15:15 | 0 | -11.3 | 0 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 504.75
15:15 - 15:30 | 0 | -9.1 | 3.48 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 387.01
15:30 - 15:45 | 0 | -7 | 0 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 260.58
15:45 - 16:00 | 0 | -7.5 | 0 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 127.39
16:00 - 16:15 | 0 | -7.8 | 120.67 | 0 | 14.48 | 0 | 5.79 | 62.73 | 0
16:15 - 16:30 | 0 | -6.3 | 43.42 | 0 | 14.48 | 0 | 5.79 | 62.73 | 0
16:30 - 16:45 | 0 | -4.6 | 0 | 0 | 14.48 | 0 | 5.79 | 62.73 | 0
16:45 - 17:00 | 0 | -2.1 | 0 | 0 | 14.48 | 0 | 5.79 | 62.73 | 14.48
17:00 - 17:15 | 0 | -1.1 | 0 | 0 | 14.48 | 0 | 5.79 | 62.73 | 35.71
17:15 - 17:30 | 0 | -0.6 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 7.72
17:30 - 17:45 | 0 | -0.6 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 15.44
17:45 - 18:00 | 0 | -0.5 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 47.29
18:00 - 18:15 | 0 | -0.2 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 83
18:15 - 18:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 103.27
18:30 - 18:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 126.43
18:45 - 19:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 138.01
19:00 - 19:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 11.48 | 140.89
19:15 - 19:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 4.34 | 0 | 141.86
19:30 - 19:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 142.83
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.28958 | -3.6417 | 66.604 | 2.5069 | 10.7092 | 3.2167 | 3.0467 | 34.8336 | 142.0308

## RTM
RTM TRADING DETAILS FOR DT: 06.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -0.2 | 0 | 0 | -1.5 | -37.87 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
00:15 - 00:30 | -0.2 | 0 | 0 | -1.5 | -135.63 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 4.44 | 0 | 0 | 0 | 67.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
00:30 - 00:45 | -0.2 | 0 | 0 | -1.5 | -220.01 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
00:45 - 01:00 | -0.2 | 0 | 0 | -1.5 | -212.33 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0 | 0 | 0 | 0 | 0 | 67.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
01:00 - 01:15 | -0.2 | 0 | 0 | -1.5 | -148.51 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0 | 9.65 | 0 | 0 | 0 | 67.55 | 2.9 | 0 | 0 | 0 | 5.5 | 0 | 0 | -0.7
01:15 - 01:30 | -0.2 | 0 | 0 | -1.5 | -140 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0 | 9.65 | 0 | 0 | 12.06 | 67.56 | 2.9 | 0 | 0 | 0 | 5.5 | 0 | 0 | -0.7
01:30 - 01:45 | -0.2 | 0 | 0 | -1.4 | -279.98 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0 | 9.65 | 0 | 0 | 0 | 67.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
01:45 - 02:00 | -0.2 | 0 | 0 | -1.4 | -280.02 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0 | 9.65 | 0 | 0 | 0 | 67.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7
02:00 - 02:15 | -0.2 | -2 | 0 | -1.4 | -305.97 | 0 | 10.6 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 5.79 | 2.9 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | 0 | 0 | 0.97 | 0 | 0 | -0.7
02:15 - 02:30 | -0.2 | -2 | 0 | -1.4 | -327.87 | 0 | 10.6 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 5.79 | 2.9 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | 0 | 0 | 0.97 | 0 | 0 | -0.7
02:30 - 02:45 | -0.2 | 0 | 0 | -1.4 | -280.95 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 6.08 | 10.6 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | 0 | 0 | 0.97 | 0 | 0 | -0.7
02:45 - 03:00 | -0.2 | 0 | 0 | -1.4 | -302.89 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 6.08 | 10.6 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | 0 | 0 | 0.97 | 0 | 0 | -0.7
03:00 - 03:15 | -0.2 | 0 | 0 | 0 | -87.4 | 16.39 | 10.62 | 0 | 9.65 | -0.5 | 0 | 9.65 | 0.19 | 4.83 | 10.62 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | -35 | 0 | 0.97 | 0 | 0 | -0.7
03:15 - 03:30 | -0.2 | 0 | 0 | 0 | -209.83 | 16.39 | 10.62 | 0 | 9.65 | -0.5 | 0 | 9.65 | 0.19 | 5.31 | 10.62 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | -35 | 0 | 0.97 | 0 | 0 | -0.7
03:30 - 03:45 | -0.2 | 0 | 0 | 0 | -340.8 | 0 | 10.62 | 0 | 9.65 | -0.5 | 0 | 9.65 | 0.19 | 5.89 | 10.6 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | 0 | 9.65 | 0.97 | 0 | 0 | -0.7
03:45 - 04:00 | -0.2 | 0 | 0 | 0 | -300 | 0 | 10.62 | 0 | 9.65 | -0.5 | 0 | 9.65 | 0.19 | 5.69 | 10.62 | 0 | 0 | 4.83 | 35.7 | 2.9 | 0 | 0 | 9.65 | 0.97 | 0 | 0 | -0.7
04:00 - 04:15 | -0.2 | 0 | 0 | 0 | -284.25 | 0 | 10.62 | 0 | 9.65 | -0.5 | 0 | 9.65 | 0.19 | 6.27 | 10.62 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | 0 | 9.65 | 0.97 | 115.8 | 0 | -0.7
04:15 - 04:30 | -0.2 | 0 | 0 | 0 | -300.02 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 6.27 | 10.62 | 0 | 0 | 4.83 | 67.56 | 2.9 | 0 | 0 | 9.65 | 0.97 | 78.05 | 0 | -0.7
04:30 - 04:45 | -0.2 | 0 | 0 | 0 | -375.85 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 6.27 | 10.62 | 0 | 0 | 4.83 | 15.42 | 2.9 | 0 | -20 | 9.65 | 0.97 | 0 | 0 | -0.7
04:45 - 05:00 | -0.2 | 0 | 0 | 0 | -377.21 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 6.27 | 10.62 | 0 | 0 | 4.83 | 54.03 | 2.9 | 0 | -35 | 9.65 | 0.97 | 0 | 0 | -0.7
05:00 - 05:15 | -0.2 | -2 | 0 | 0 | -375 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 6.27 | 10.62 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | -20 | 9.65 | 0.97 | 118.69 | 0 | -0.7
05:15 - 05:30 | -0.2 | -1 | 0 | 0 | -377.85 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 6.27 | 10.6 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | 0 | 9.65 | 0.97 | 0 | 0 | -0.7
05:30 - 05:45 | -0.2 | 0 | -0.3 | 0 | -395.02 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0 | 10.62 | 0 | 0 | 4.83 | 67.54 | 2.9 | 0.57 | 0 | 9.65 | 0.97 | 0 | 0 | -0.7
05:45 - 06:00 | -0.2 | 0 | -0.3 | 0 | -475.01 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0 | 10.62 | 0 | 0 | 0 | 53.08 | 2.45 | 0 | 0 | 9.65 | 0.82 | 0 | 0 | -0.7
06:00 - 06:15 | -0.2 | -3 | -0.3 | -1.4 | -492.01 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -0.1 | 0 | 0 | 0 | 0 | 0 | 53.08 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -0.7
06:15 - 06:30 | -0.2 | -2 | -0.3 | -1.4 | -495.36 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | -0.7
06:30 - 06:45 | -0.2 | 0 | 0 | -1.4 | -484.52 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -0.5 | 0 | 10.62 | 0 | 0 | 0 | 72.38 | 0 | 0 | -20 | 9.65 | 0 | 0 | 0 | -0.7
06:45 - 07:00 | -0.2 | 0 | 0 | -1.4 | -419.54 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -0.7 | 0 | 10.62 | 0 | 0 | 4.83 | 72.36 | 2.9 | 0.97 | -10 | 9.65 | 5.5 | 0 | 0 | -0.7
07:00 - 07:15 | 0 | 0 | 0 | -1.3 | -550.93 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -0.9 | 0.48 | 10.61 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 9.65 | 0.48 | 0 | 0 | -0.7
07:15 - 07:30 | 0 | 0 | 0 | 0 | -617.54 | 0 | 10.62 | 0 | 9.65 | -0.5 | 0 | 9.65 | -1.1 | 0.48 | 10.61 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 9.65 | 0.48 | 0 | 0 | -0.7
07:30 - 07:45 | 0 | -7 | 0 | 0 | -677.25 | 0 | 10.6 | 0 | 0 | -0.5 | 0 | 9.65 | -1.3 | 0.48 | 2.9 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | -30 | 9.65 | 0.48 | 0 | 0 | -0.7
07:45 - 08:00 | 0 | -6 | 0 | 0 | -675.91 | 0 | 10.6 | 0 | 0 | -0.5 | 0 | 9.65 | -1.5 | 0.48 | 2.9 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | -10 | 9.65 | 0.48 | 0 | 0 | -0.7
08:00 - 08:15 | -0.1 | -2.5 | 0 | 0 | -452.21 | 0 | 0 | 0 | 0 | -0.5 | -15 | 9.64 | -1.7 | 0.48 | 0.97 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | -25 | 0 | 0.48 | 0 | 0 | -0.7
08:15 - 08:30 | -0.1 | -1.5 | 0 | 0 | -350.88 | 0 | 0 | 0 | 0 | -0.5 | 0 | 9.64 | -2.1 | 0.48 | 0.97 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | -10 | 0 | 0.48 | 0 | 0 | -0.7
08:30 - 08:45 | -0.1 | 0 | 0 | 0 | -225.54 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -2.1 | 0.48 | 0.97 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 9.65 | 0.48 | 86.84 | 0 | -0.7
08:45 - 09:00 | -0.1 | 0 | 0 | 0 | -477.31 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -2.5 | 0.48 | 0.97 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 9.65 | 0.48 | 101.32 | 0 | -0.7
09:00 - 09:15 | -0.1 | 0 | 0 | 0 | -877.09 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -2.6 | 0.48 | 0.97 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 9.65 | 0.48 | 135.1 | 0 | -3.4
09:15 - 09:30 | -0.1 | -9 | 0 | 0 | -811.4 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -0.6 | 0.48 | 0.97 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 9.65 | 0.48 | 142.82 | 0 | -3.4
09:30 - 09:45 | -0.1 | 0 | 0 | 0 | -354.35 | 0.64 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 3.96 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | -30 | 9.65 | 0.48 | 86.84 | 0 | -3.4
09:45 - 10:00 | -0.1 | 0 | 0 | 0 | -199.88 | 14.57 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 3.76 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | -15 | 9.65 | 0.48 | 128.35 | 0 | -3.4
10:00 - 10:15 | -0.1 | 0 | 0 | 0 | 0 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 3.57 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 14.48 | 0.48 | 180.45 | 52.12 | -3.4
10:15 - 10:30 | -0.1 | 0 | 0 | 0 | 77.24 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 3.38 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 14.48 | 0.48 | 136.05 | 52.12 | -3.4
10:30 - 10:45 | -0.1 | 0 | 0 | 0 | 22.38 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 3.47 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 14.48 | 0.48 | 76.24 | 179.5 | -3.4
10:45 - 11:00 | -0.1 | -1 | 0 | 0 | 22.37 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 3.18 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 14.48 | 0.48 | 93.61 | 196.88 | -3.4
11:00 - 11:15 | -0.2 | -9 | 0 | 0 | 22.35 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -3.8 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | 0 | 14.48 | 0.48 | 314.61 | 257.68 | -3.4
11:15 - 11:30 | -0.2 | 0 | 0 | 0 | 16.63 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -3.8 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0.97 | -8 | 14.48 | 0.48 | 417.87 | 257.68 | -3.4
11:30 - 11:45 | -0.2 | 0 | 0 | 0 | 221.97 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | -10 | 14.48 | 0.48 | 417.88 | 257.68 | -3.4
11:45 - 12:00 | -0.2 | 0 | 0 | 0 | 221.99 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 4.83 | 0 | 2.9 | 0 | 0 | 14.48 | 0.48 | 417.88 | 257.68 | -3.4
12:00 - 12:15 | -0.2 | 0 | 0 | 0 | 395.79 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | -10 | 14.48 | 0.48 | 417.88 | 257.68 | -3.4
12:15 - 12:30 | -0.2 | 0 | 0 | 0 | 405.37 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | -25 | 14.48 | 0.48 | 417.88 | 257.68 | -3.4
12:30 - 12:45 | -0.2 | 0 | 0 | 0 | 429.47 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | -40 | 0 | 0.48 | 417.89 | 206.53 | -3.4
12:45 - 13:00 | -0.2 | 0 | 0 | 0 | 429.47 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | -45 | 0 | 0.48 | 417.89 | 154.42 | -3.4
13:00 - 13:15 | -0.2 | 0 | 0 | 0 | 432.04 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | -25 | 9.65 | 0.48 | 417.89 | 103.27 | -3.4
13:15 - 13:30 | -0.2 | 0 | 0 | 0 | 431.99 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | 0 | 9.65 | 0.48 | 417.89 | 103.27 | -3.4
13:30 - 13:45 | -0.2 | 0 | 0 | 0 | 479.71 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | -10 | 9.65 | 0.48 | 417.89 | 103.27 | -3.4
13:45 - 14:00 | -0.2 | 0 | 0 | 0 | 477.79 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | -20 | 9.65 | 0.48 | 417.89 | 103.27 | -3.4
14:00 - 14:15 | -0.2 | -5.51 | 0 | 0 | 472.94 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 9.65 | 0 | 2.9 | 0 | -30 | 9.65 | 0.48 | 306.9 | 51.15 | -3.4
14:15 - 14:30 | -0.2 | 0 | 0 | 0 | 472.95 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 0 | 9.65 | 0 | 2.9 | 0 | -30 | 9.65 | 0.48 | 183.37 | 0 | -3.4
14:30 - 14:45 | -0.2 | 0 | 0 | 0 | 472.92 | 13.51 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | -30 | 9.65 | 0.48 | 52.12 | 0 | -3.4
14:45 - 15:00 | -0.2 | 0 | 0 | 0 | 472.83 | 15.06 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | 0 | 9.65 | 0.48 | 0 | 0 | -3.4
15:00 - 15:15 | -0.2 | 0 | 0 | 0 | 472.89 | 15.35 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | 0 | 0.48 | 0 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | 0 | 9.65 | 0.48 | 0 | 0 | -3.4
15:15 - 15:30 | -0.2 | 0 | 0 | 0 | 404.73 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -1.8 | 0.48 | 0 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | 0 | 9.65 | 0.48 | 99.41 | 0 | -3.4
15:30 - 15:45 | -0.2 | -9 | 0 | 0 | 241.32 | 0 | 10.62 | 0 | 0 | -0.5 | 0 | 9.65 | -1.5 | 0.48 | 0 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | 0 | 9.65 | 0.48 | 157.31 | 0 | -3.4
15:45 - 16:00 | -0.2 | -1 | 0 | 0 | 288.99 | 0 | 10.62 | 0 | 0 | -0.5 | -15 | 9.65 | -1.3 | 0.48 | 0 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | -10 | 9.65 | 0.48 | 201.71 | 0 | -3.4
16:00 - 16:15 | -0.2 | 0 | -0.5 | 0 | 26.08 | 0 | 0 | 0 | 0 | -0.5 | 0 | 9.65 | -1.2 | 0.48 | 1.93 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | -30 | 14.48 | 0.48 | 239.34 | 0 | -3.4
16:15 - 16:30 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 9.65 | -1 | 0.48 | 1.93 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | -20 | 14.48 | 0.48 | 0 | 0 | -3.4
16:30 - 16:45 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 9.65 | -0.9 | 0 | 1.93 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | 0 | 9.65 | 0.48 | 0 | 0 | -3.4
16:45 - 17:00 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 9.65 | -0.7 | 0 | 1.93 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | -20 | 9.65 | 0.48 | 0 | 0 | -3.4
17:00 - 17:15 | -0.2 | -5 | 0 | 0 | 165.04 | 0 | 0 | 0 | 0 | -2.2 | 0 | 9.65 | -0.6 | 0 | 1.93 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | -20 | 9.65 | 0.48 | 0 | 0 | -3.4
17:15 - 17:30 | -0.2 | -5 | 0 | 0 | 260.41 | 0 | 0 | 0 | 0 | -2.2 | 0 | 9.65 | -0.4 | 0 | 1.93 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | 0 | 9.65 | 0.48 | 0 | 0 | -3.4
17:30 - 17:45 | -0.2 | 0 | 0 | 0 | 325.36 | 0 | 10.62 | 0 | 0 | -2.2 | 0 | 9.65 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 9.65 | 0 | 0 | 0 | -3.4
17:45 - 18:00 | -0.2 | 0 | 0 | 0 | 319.41 | 0 | 10.62 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -3.4
18:00 - 18:15 | -0.2 | 0 | 0 | 0 | 91.94 | 0 | 10.62 | 0 | 0 | -2.2 | 0 | 9.65 | 0 | 0.48 | 1.93 | 0 | 9.65 | 9.65 | 0 | 2.9 | 0 | 0 | 14.48 | 0.48 | 0 | 0 | -3.4
18:15 - 18:30 | -0.2 | 0 | 0 | 0 | 31.74 | 0 | 10.62 | 0 | 0 | -2.2 | 0 | 9.65 | 0 | 0 | 9.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | -3.4
18:30 - 18:45 | -0.2 | 0 | 0 | 0 | -221.36 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -4
18:45 - 19:00 | -0.2 | 0 | 0 | 0 | -255.91 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
19:00 - 19:15 | -0.2 | 0 | 0 | -1.3 | -356.27 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
19:15 - 19:30 | -0.2 | 0 | 0 | -1.3 | -359.15 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
19:30 - 19:45 | -0.2 | 0 | 0 | -1.4 | -100 | 0 | 0 | -50 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
19:45 - 20:00 | -0.2 | 0 | 0 | -1.4 | -100 | 0 | 0 | -50 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
20:00 - 20:15 | -0.2 | 0 | 0 | -1.4 | 0 | 0 | 0 | -50 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -4
20:15 - 20:30 | -0.2 | 0 | 0 | -1.4 | 0 | 0 | 0 | -50 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
20:30 - 20:45 | -0.2 | 0 | 0 | -1.5 | 0 | 0 | 0 | -50 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
20:45 - 21:00 | -0.2 | 0 | 0 | -1.5 | 0 | 0 | 0 | -50 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
21:00 - 21:15 | -0.2 | 0 | 0 | -1.5 | 0 | 0 | 0 | -50 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
21:15 - 21:30 | -0.2 | 0 | 0 | -1.5 | 0 | 0 | 0 | -50 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
21:30 - 21:45 | -0.2 | 0 | 0 | -1.5 | 0 | 0 | 0 | -70 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2
21:45 - 22:00 | -0.2 | 0 | 0 | -1.5 | 0 | 0 | 0 | -70 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2
22:00 - 22:15 | -0.2 | 0 | 0 | -1.5 | -200 | 0 | 0 | -70 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2
22:15 - 22:30 | -0.2 | 0 | 0 | -1.5 | -200 | 0 | 0 | -70 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2
22:30 - 22:45 | -0.2 | 0 | 0 | -1.6 | -200 | 0 | 0 | -70 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2
22:45 - 23:00 | -0.2 | 0 | 0 | -1.6 | -200 | 0 | 0 | -70 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2
23:00 - 23:15 | -0.2 | 0 | 0 | -1.6 | -100 | 0 | 0 | -70 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 2.27 | 0 | 0 | 0 | 0 | -4.2
23:15 - 23:30 | -0.2 | 0 | 0 | -1.6 | -99.99 | 0 | 0 | -70 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 2.4 | 0 | 0 | 0 | 0 | -4.2
23:30 - 23:45 | -0.2 | 0 | 0 | -1.6 | -100 | 0 | 0 | -80 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2
23:45 - 24:00 | -0.2 | 0 | 0 | -1.6 | -200 | 0 | 0 | -80 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2
Average | -0.17917 | -0.76573 | -0.033333 | -0.56354 | -91.86 | 0.9574 | 7.3004 | -11.6667 | 0.60313 | -1.0313 | -0.3125 | 6.9357 | -0.13469 | 1.0604 | 2.8613 | -0.375 | 1.3068 | 3.4447 | 10.5607 | 1.8682 | 0.19792 | -8.1597 | 6.032 | 0.54698 | 79.4965 | 29.7071 | -2.5458