## POWER STATUS
POWER STATUS ON DT 08.07.2026
[9 empty] | 2026-07-08 | 2026-07-07
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 22:00
Demand -> | [8 empty] | 5648.8572 | 5834.7
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 139.042 | 3.337 | 630/590 ft | 608.04 | 605.65 | 610.65 | 182.8884 | 169.2598
| Chiplima | 72(3x24) | 39.333 | 0.94399 | - |  |  |  | 41.7315 | 45.7519
| Balimela | 510(6x60+2x75) | 224.708 | 5.393 | 1516/1440 ft | 1462.8 | 1459.4 | 1459.4 | 67.0315 | 371.037
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 121.02 | 110.67 | 110.96 | 0 | 0
| Upper Kolab | 320(4x80) | 26 | 0.624 | 858/844 mt | 850.82 | 848.24 | 848.32 | 0 | 154.7264
| Upper Indravati | 600(4x150) | 52 | 1.248 | 642/625 mt | 632.8 | 629.3 | 629.39 | 0.28749 | 296.5691
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2734.2 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 481.083 | 11.546 |  |  |  |  | 291.9389 | 1037.3442
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1352.8598 | 32.4686 | RENEWABLE ENERGY (RE) |  |  |  | 1392.4461 | 1414.7308
[5 empty] | M.Hydl | 104.6097
| Total Thermal | 2200 | 1352.8598 | 32.4686 | Solar | 109.5189 |  |  | 1392.4461 | 1414.7308
IPP | VEDANTA #2 | 600 (1x600) | 382.6407 | 9.1834 | Total IPPs | Yesterday's Demand Profile |  |  | 366.6602 | 382.265
| GMR #3 | 350 (1x350) | 282.1581 | 6.7718 | 741.6769 |  | MW | HRS | 178.8531 | 322.359
| NBVL(IPP) | 60(1x60) | 46.3724 | 1.1129 |  |  |  |  | 35.0115 | 54.649
| MDTPC |  | 30.5057 | 0.73214 |  |  |  |  | 31.0746 | 32.2162
| CGPs |  | 770.9373 | 18.5025 | IPPs, CGPs & RE | Maximum | 5834.7 | 22:00 | 1470.6865 | 1877.8314
| Central Sector(Drawl) |  | 1722.8095 | 41.3474 | 1726.7428 | Minimum | 4648.5002 | 05:00 | 2493.7857 | 1504.7936
| Central Sector(Sch) |  | 1796.4301 | 43.1143 |  | Average | 5283.4951 |  | 2714.78 | 1471.1801
| Grand Total |  | 5283.4951 | 126.8039 | Instantaneous Peak demand |  | 6137 | 22:48 | 5648.8572 | 5834.7
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5 | IbTPS / OPGC | 2 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1477.3402 | 35.4562 | 1540.0576 | 36.9614 | 1526.7655 | 36.6424
Balimela | 5,6 | TSTPP St-I | 1 | TPWODL | 1765.4929 | 42.3718 | 1778.1927 | 42.6766 | 1542.1041 | 37.0105
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1161.3836 | 27.8732 | 1169.449 | 28.0668 | 1143.0809 | 27.4339
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 577.312 | 13.8555 | 572.2027 | 13.7329 | 589.5284 | 14.1487
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 4981.5288 | 119.5567 | 5059.902 | 121.4376 | 4801.4788 | 115.2355
Machhkund | ALL | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 367 | GMR |  |  |  | 179
| NBVL #3 | 35 | MDTPC |  |  |  | 31
Mini Hydel: | MEENAKSHI | 67 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 10
Solar: |  | 209 | KAKATIYA |  |  |  | 2
CGPs : | JSPL (Angul) | 192.7009 | JSL(Duburi) |  |  |  | -177.6087
| ICCL | 45.2312 | visa |  |  |  | 13.0884
| NALCO | -150.9296 | VAL (CGP) |  |  |  | -20.793
| RSP | -132.4101 | BSL(MMDL) |  |  |  | -83.8679
| INDAL | 3.1152 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -38.7174 | VAL CPP 400 kV |  |  |  | -812.1561
| NBVL | 35.1226 | Arati |  |  |  | 20.9313
| BPSL(JSG) | -31.9797 | BPPL |  |  |  | 123.7318
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-06-30 | 2026-07-01 | 2026-07-02 | 2026-07-03 | 2026-07-04 | 2026-07-05 | 2026-07-06 | 2026-07-07
272.013 | 261.021 | 200.751 | 360.6517 | 252.0595 | 167.907 | 471.243 | 481.083
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.07.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.26
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 85.47
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP41PL_BHDL | ODISHA | 41.34
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ARYAN_ISPAT | WBSEDCL | -5 | AP43PL_BKN | ODISHA | 61.31
JPIPL | NPCL_UP | 0 | BPPL | TANGEDCO | -9.38 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.54
MAADURGA_THERMAL | NPCL_UP | -12.46 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -2.54 | AWEK1L | ODISHA | 12.64
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 8.43
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.36
OCL_IRON_STEEL | NPCL_UP | 0 | FACORPOWER | TPL_DIS_AHM | -25 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 28.02
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -5.1 | JSPLANGUL | CSEB_Beneficiary | -150 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.17
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | NBVLIPP | BSPHCL | -17.92 | DADRI_SOLAR | ODISHA | 0.4
VSL | CR_IR_MS | -2.92 | OCL_IRON_STEEL | BRPL | -17.71 | ENERSON_SOLAR_10MW | ODISHA | 0.68
FARIDABAD_SOLAR | ODISHA | 0.86 | OCL_IRON_STEEL | BRPL | -7.29 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 32.36 | ODISHA | TANGEDCO | -28.12 | GADAG_GreenInfra_W | ODISHA | 0.57
MPPMCL | ODISHA | 0 | ODISHA | TANGEDCO | -28.12 | GADAG_Serentica3_S | VLSEZ | 23.8
RAJ_SOLAR | ODISHA | 1.97 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 150.6
RAJ_SOLAR | ODISHA | 1.73 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_Serentica3_W | VLSEZ | 1.14
|  |  | VSL | WBSEDCL | -10 | GIWEL_SECI_II_RE | ODISHA | 35.66
|  |  | Darlipali_NTPC | ODISHA | 20.9 | GPCL_SOLAR_10 | ODISHA | 0.81
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | GSECL_SOLAR | ODISHA | 0.53
|  |  | JIPL | ODISHA | 115.81 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.75
|  |  | NALCOAP | NACL_Odisha | 37.72 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
[6 empty] | KARUR_TPVARDHAMAN_W | TSKPO | 73.51
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 10
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.2
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 5.78
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.16
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.06
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 6.77
[6 empty] | OKWPL_RE | ODISHA | 18.34
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 19.14
[6 empty] | RWE_AP2_SECI_III | ODISHA | 15.98
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 10.37
[6 empty] | SRI9PL_FTG3 | VLSEZ | 67.22
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 78.82
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0.9
[6 empty] | XXPPL_FTG3 | ODISHA | 55.8

## DAM
DAM TRADING DETAILS FOR DT :07.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -3.1 | 0 | 0 | -350 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
00:15 - 00:30 | -3.1 | 0 | 0 | -350 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
00:30 - 00:45 | -3.1 | 0 | 0 | -350 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
00:45 - 01:00 | -3.1 | 0 | 0 | -350 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
01:00 - 01:15 | -3.1 | 0 | 0 | -500 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
01:15 - 01:30 | -3.1 | 0 | 0 | -500 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
01:30 - 01:45 | -3.1 | 0 | 0 | -500 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
01:45 - 02:00 | -3.1 | 0 | 0 | -500 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
02:00 - 02:15 | -3.1 | 0 | 0 | -600 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
02:15 - 02:30 | -3.1 | 0 | 0 | -600 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
02:30 - 02:45 | -3.1 | 0 | 0 | -600 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 5.79 | 67.56 | 0 | 138.01
02:45 - 03:00 | -3.1 | 0 | 0 | -600 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 5.79 | 67.56 | 0 | 0
03:00 - 03:15 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
03:15 - 03:30 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
03:30 - 03:45 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
03:45 - 04:00 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
04:00 - 04:15 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
04:15 - 04:30 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
04:30 - 04:45 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
04:45 - 05:00 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | 0 | -25 | 0 | 67.56 | 0 | 0
05:00 - 05:15 | -3.1 | 0 | 0 | -549.99 | 0 | -192.83 | 0 | -7 | -0.5 | -43 | -25 | 5.79 | 67.56 | 0 | 13.41
05:15 - 05:30 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | -43 | -25 | 0 | 67.56 | 0 | 0
05:30 - 05:45 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | -43 | -25 | 0 | 67.56 | 0 | 0
05:45 - 06:00 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | -43 | -25 | 0 | 53.08 | 0 | 0
06:00 - 06:15 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | -43 | -25 | 0 | 0 | 0 | 0
06:15 - 06:30 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | -43 | -25 | 0 | 0 | 0 | 0
06:30 - 06:45 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | -43 | -25 | 0 | 0 | 0 | 0
06:45 - 07:00 | -3.1 | 0 | 0 | -650 | 0 | -200 | 0 | -7 | -0.5 | -43 | -25 | 0 | 0 | 0 | 0
07:00 - 07:15 | -3.1 | 20.27 | 0 | -700 | 0 | -200 | 0 | -7 | -0.5 | -43 | -25 | 0 | 12.05 | 0 | 0
07:15 - 07:30 | -3.1 | 20.27 | 0 | -700 | 0 | -200 | 0 | -7 | -0.5 | -43 | -25 | 5.79 | 39.18 | 0 | 0
07:30 - 07:45 | -3.1 | 20.27 | 0 | -534.9 | 0 | 0 | 0 | -7 | -0.5 | -43 | -25 | 5.79 | 0 | 0 | 0
07:45 - 08:00 | -3.1 | 20.27 | 0 | -350 | 0 | 0 | 0 | -7 | -0.5 | -43 | -25 | 5.79 | 0 | 0 | 0
08:00 - 08:15 | -3.1 | 20.27 | 0 | -600 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
08:15 - 08:30 | -3.1 | 20.27 | 0 | -600 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
08:30 - 08:45 | -3.1 | 20.27 | 0 | -542.22 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
08:45 - 09:00 | -3.1 | 20.27 | 0 | -397.57 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
09:00 - 09:15 | -3.1 | 20.27 | 0 | -200 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
09:15 - 09:30 | -3.1 | 20.27 | 0 | -128.26 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
09:30 - 09:45 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
09:45 - 10:00 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
10:00 - 10:15 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
10:15 - 10:30 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
10:30 - 10:45 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
10:45 - 11:00 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
11:00 - 11:15 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
11:15 - 11:30 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
11:30 - 11:45 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
11:45 - 12:00 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
12:00 - 12:15 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
12:15 - 12:30 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
12:30 - 12:45 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
12:45 - 13:00 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
13:00 - 13:15 | -3.1 | 20.27 | 0 | 24.09 | 0 | 0 | 0 | 0 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
13:15 - 13:30 | -3.1 | 20.27 | 0 | 24.1 | 0 | 0 | 0 | 0 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
13:30 - 13:45 | -3.1 | 20.26 | 0 | 16.12 | 0 | 0 | 0 | -0.4 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
13:45 - 14:00 | -3.1 | 20.27 | 0 | 16.1 | 0 | 0 | 0 | -1.13 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
14:00 - 14:15 | -3.1 | 20.27 | 0 | 21.42 | 14.96 | 0 | 0 | -0.98 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
14:15 - 14:30 | -3.1 | 20.27 | 0 | 19.7 | 14.09 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
14:30 - 14:45 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
14:45 - 15:00 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
15:00 - 15:15 | -3.1 | 20.27 | 0 | 0 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
15:15 - 15:30 | -3.1 | 20.27 | 0 | -100.48 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
15:30 - 15:45 | -3.1 | 20.27 | 0 | -175 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
15:45 - 16:00 | -3.1 | 20.27 | 0 | -175 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
16:00 - 16:15 | -3.1 | 20.27 | 0 | -609.5 | 0 | 0 | 9.65 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
16:15 - 16:30 | -3.1 | 20.27 | 0 | -738 | 0 | 0 | 9.65 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
16:30 - 16:45 | -3.1 | 20.27 | 0 | -750 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
16:45 - 17:00 | -3.1 | 20.27 | 0 | -750 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
17:00 - 17:15 | -3.1 | 0 | 0 | -300 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
17:15 - 17:30 | -3.1 | 0 | 0 | -300 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
17:30 - 17:45 | -3.1 | 0 | 0 | -300 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
17:45 - 18:00 | -3.1 | 0 | 0 | -300 | 0 | 0 | 0 | -2 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
18:00 - 18:15 | -3.1 | 0 | 0 | -125 | 0 | 0 | 0 | -6 | -0.5 | -18 | -25 | 5.79 | 0 | 0 | 0
18:15 - 18:30 | -3.1 | 0 | 0 | -125 | 0 | 0 | 0 | -6 | -0.5 | -18 | -25 | 5.79 | 72.38 | 0 | 0
18:30 - 18:45 | -3.1 | 0 | 0 | -125 | 0 | 0 | 0 | -6 | -0.5 | -18 | -25 | 5.79 | 72.38 | 0 | 100.95
18:45 - 19:00 | -3.1 | 0 | 0 | -168.05 | 0 | -200 | 0 | -6 | -0.5 | -18 | -25 | 5.79 | 72.38 | 0 | 138.01
19:00 - 19:15 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
19:15 - 19:30 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
19:30 - 19:45 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0
19:45 - 20:00 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
20:00 - 20:15 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
20:15 - 20:30 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
20:30 - 20:45 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
20:45 - 21:00 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
21:00 - 21:15 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
21:15 - 21:30 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0
21:30 - 21:45 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0
21:45 - 22:00 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0
22:00 - 22:15 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0
22:15 - 22:30 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0
22:30 - 22:45 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0
22:45 - 23:00 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0
23:00 - 23:15 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0
23:15 - 23:30 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
23:30 - 23:45 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
23:45 - 24:00 | -3.1 | 0 | -12 | 0 | 0 | -200 | 0 | -9 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0
Average | -3.1 | 8.4457 | -2.5 | -268.4629 | 0.3026 | -106.1753 | 0.20104 | -5.2136 | -0.5 | -13.625 | -25 | 3.0156 | 13.9047 | -1.8188 | 4.0665

## GDAM
GDAM TRADING DETAILS FOR DT:07.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 48.93
04:15 - 04:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 49.8
04:30 - 04:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 55.49
04:45 - 05:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 40.63
05:00 - 05:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 124.59
05:15 - 05:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 44.29
05:30 - 05:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 43.62
05:45 - 06:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 36.09
06:00 - 06:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0.15 | 0 | 112.92
07:00 - 07:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 4.98 | 0 | 101.33
07:15 - 07:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 28.34 | 74.31
07:30 - 07:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 67.55 | 45.36
07:45 - 08:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 67.55 | 3.86
08:00 - 08:15 | 0 | -0.8 | 0 | 0 | 14.48 | 9.65 | 5.79 | 67.56 | 13.51
08:15 - 08:30 | 0 | 0 | 0 | 0 | 14.48 | 9.65 | 5.79 | 67.55 | 31.85
08:30 - 08:45 | 0 | 0 | 0 | 0 | 14.48 | 9.65 | 5.79 | 67.56 | 0
08:45 - 09:00 | 0 | -1.5 | 0 | 0 | 14.48 | 9.65 | 5.79 | 67.56 | 0
09:00 - 09:15 | 0 | -4.4 | 36.5 | 0 | 14.48 | 9.65 | 5.79 | 67.56 | 0
09:15 - 09:30 | 0 | -2.8 | 124.34 | 0 | 14.48 | 9.65 | 5.79 | 67.56 | 0
09:30 - 09:45 | 0 | -2.6 | 193.15 | 0 | 14.48 | 9.65 | 5.79 | 67.56 | 0
09:45 - 10:00 | 0 | -3.9 | 237.89 | 0 | 14.48 | 9.65 | 5.79 | 67.56 | 0
10:00 - 10:15 | 0 | -5.2 | 253.33 | 14.28 | 14.48 | 9.65 | 5.79 | 67.56 | 0
10:15 - 10:30 | 0 | -6.7 | 253.31 | 13.9 | 14.48 | 9.65 | 5.79 | 67.56 | 0
10:30 - 10:45 | 0 | -9.8 | 253.3 | 13.13 | 14.48 | 9.65 | 5.79 | 67.56 | 0
10:45 - 11:00 | -0.8 | -13.1 | 253.29 | 12.26 | 14.48 | 9.65 | 5.79 | 67.56 | 0
11:00 - 11:15 | -0.7 | -11.6 | 249.35 | 11.48 | 14.48 | 9.65 | 5.79 | 67.56 | 0
11:15 - 11:30 | 0 | -10.3 | 253.3 | 12.06 | 14.48 | 9.65 | 5.79 | 67.56 | 0
11:30 - 11:45 | 0 | -10 | 253.29 | 11.97 | 14.48 | 9.65 | 5.79 | 67.56 | 0
11:45 - 12:00 | 0 | -9.4 | 253.29 | 10.81 | 14.48 | 9.65 | 5.79 | 67.56 | 0
12:00 - 12:15 | 0 | -9.4 | 253.29 | 11.68 | 14.48 | 9.65 | 5.79 | 67.56 | 0
12:15 - 12:30 | -0.4 | -8.8 | 253.3 | 12.55 | 14.48 | 9.65 | 5.79 | 67.56 | 0
12:30 - 12:45 | -2.3 | -8.1 | 253.3 | 12.74 | 14.48 | 9.65 | 5.79 | 67.56 | 0
12:45 - 13:00 | -3.2 | -7.6 | 253.3 | 13.13 | 14.48 | 9.65 | 5.79 | 67.56 | 0
13:00 - 13:15 | -2 | -6.7 | 253.3 | 13.7 | 14.48 | 9.65 | 5.79 | 67.56 | 0
13:15 - 13:30 | -1.3 | -7 | 253.3 | 13.41 | 14.48 | 9.65 | 5.79 | 67.56 | 0
13:30 - 13:45 | -1.1 | -6.9 | 253.3 | 13.03 | 14.48 | 9.65 | 5.79 | 67.56 | 0
13:45 - 14:00 | -2 | -5.8 | 253.31 | 14.19 | 14.48 | 9.65 | 5.79 | 62.73 | 0
14:00 - 14:15 | -1.6 | -5.7 | 241.31 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 0
14:15 - 14:30 | -0.6 | -5.6 | 217.16 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 0
14:30 - 14:45 | 0 | -5.6 | 0 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 0
14:45 - 15:00 | 0 | -5.7 | 47.19 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 0
15:00 - 15:15 | 0 | -5.3 | 0 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 0
15:15 - 15:30 | 0 | -5 | 0 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 0
15:30 - 15:45 | 0 | -4.6 | 0 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 0
15:45 - 16:00 | 0 | -3.2 | 0 | 0 | 14.48 | 9.65 | 5.79 | 62.73 | 0
16:00 - 16:15 | 0 | -2.6 | 0 | 0 | 14.48 | 0 | 5.79 | 62.73 | 0
16:15 - 16:30 | 0 | -1.9 | 0 | 0 | 14.48 | 0 | 5.79 | 62.73 | 0
16:30 - 16:45 | 0 | -1 | 0 | 0 | 14.48 | 0 | 5.79 | 62.73 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 62.73 | 15.44
17:00 - 17:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 62.73 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 7.72
17:30 - 17:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 15.44
17:45 - 18:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 72.37 | 48.26
18:00 - 18:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 5.79 | 72.38 | 83.96
18:15 - 18:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0.69 | 0 | 102.3
18:30 - 18:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 25.48
18:45 - 19:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.16667 | -2.0687 | 53.6083 | 2.1283 | 11.4633 | 3.2167 | 2.7144 | 30.0525 | 11.7206

## RTM
RTM TRADING DETAILS FOR DT: 07.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -0.2 | 0 | 0 | -1.6 | 0 | 0 | 10.62 | 0 | 0 | 0 | 0 | -2.5 | 0 | 9.65 | -10 | 0 | 0 | 9.65 | 0 | 0 | 0 | 0 | 67.56 | 0 | 0 | 8.69 | 9.65 | 86.85 | 0 | 0 | -3.8 | -4
00:15 - 00:30 | -0.2 | 0 | 0 | 0 | 0 | 0 | 10.62 | 0 | 0 | 9.65 | 0 | -2.5 | 0 | 9.65 | -10 | 0.39 | 5.79 | 9.65 | 0 | 0 | 0 | 19.3 | 67.56 | 0 | 0 | 8.69 | 9.65 | 86.85 | 0 | 0 | -3.8 | -4
00:30 - 00:45 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 0 | -80 | 0 | 0 | 0 | -2.5 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 8.69 | 9.65 | 0 | 0 | 48.25 | -3.8 | -4
00:45 - 01:00 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 0 | -80 | 0 | 0 | 0 | -2.5 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 48.25 | -3.8 | -4
01:00 - 01:15 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 48.25 | -3.8 | 0
01:15 - 01:30 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 48.25 | -3.8 | 0
01:30 - 01:45 | -0.2 | 0 | -0.2 | -1.6 | -212.58 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 9.65 | -3.8 | 0
01:45 - 02:00 | -0.2 | -2 | -0.2 | -1.6 | -209.99 | 0 | 0 | -29.92 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 9.65 | -3.8 | 0
02:00 - 02:15 | -0.2 | -2 | -0.2 | -1.6 | -103.63 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 9.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 86.86 | 0 | 38.6 | -3.8 | 0
02:15 - 02:30 | -0.2 | 0 | -0.2 | -1.6 | -28.62 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 9.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 86.86 | 0 | 38.6 | -3.8 | 0
02:30 - 02:45 | -0.2 | 0 | -0.2 | -1.6 | -24.98 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 86.86 | 0 | 38.6 | -3.8 | 0
02:45 - 03:00 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 86.86 | 0 | 38.6 | -3.8 | 0
03:00 - 03:15 | -0.2 | 0 | -0.2 | -1.6 | 42.45 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 4.55 | 9.65 | 0 | 9.65 | 0 | 19.3 | 0 | 0 | 0 | 8.69 | 9.65 | 77.2 | 0 | 38.6 | -3.8 | 0
03:15 - 03:30 | -0.2 | 0 | -0.2 | -1.6 | 53.98 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 5.79 | 9.65 | 0 | 9.65 | 0 | 19.3 | 0 | 0 | -10 | 8.69 | 9.65 | 77.21 | 0 | 38.6 | -3.8 | 0
03:30 - 03:45 | -0.2 | 0 | -0.2 | -1.6 | 13.85 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 9.65 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 8.69 | 9.65 | 0 | 0 | 38.6 | -3.8 | 0
03:45 - 04:00 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 10.62 | 0 | 0 | 0 | 0 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 38.6 | -3.8 | 0
04:00 - 04:15 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 0 | -3.8 | 0
04:15 - 04:30 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 0 | -3.8 | 0
04:30 - 04:45 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 0 | -3.8 | 0
04:45 - 05:00 | -0.2 | -2 | -0.2 | -1.6 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 0 | -3.8 | 0
05:00 - 05:15 | -0.2 | -1 | -0.2 | -1.6 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 0 | -3.8 | 0
05:15 - 05:30 | -0.2 | 0 | -0.2 | -1.6 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 0 | -3.8 | 0
05:30 - 05:45 | -0.2 | 0 | -0.6 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 0 | -3.8 | 0
05:45 - 06:00 | -0.2 | 0 | -0.6 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 9.65 | 0 | 0 | 0 | -3.8 | 0
06:00 - 06:15 | -0.2 | -2 | -0.6 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12 | 0 | 9.65 | 0 | 0 | 31.95 | -3.8 | 0
06:15 - 06:30 | -0.2 | 0 | -0.6 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.65 | 0 | 0 | 28.09 | -3.8 | 0
06:30 - 06:45 | -0.2 | 0 | -0.6 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 96.51 | -3.8 | 0
06:45 - 07:00 | -0.2 | 0 | -0.6 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
07:00 - 07:15 | -0.2 | 0 | -0.2 | -1.5 | 0 | 0 | 10.62 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -10 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 53.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
07:15 - 07:30 | -0.2 | -11 | -0.2 | -1.5 | 0 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | -1.3 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
07:30 - 07:45 | -0.2 | -2 | -0.2 | -1.5 | -107.03 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | -1.5 | 0 | 3.86 | 0 | 9.65 | 0 | 19.3 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
07:45 - 08:00 | -0.2 | 0 | -0.2 | -1.5 | -207.01 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
08:00 - 08:15 | -0.2 | 0 | -0.2 | 0 | 0 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | -15 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 0 | 19.3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
08:15 - 08:30 | -0.2 | 0 | -0.2 | 0 | 0 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 0 | 19.3 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
08:30 - 08:45 | -0.2 | 0 | -0.2 | 0 | 0 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 0 | 19.3 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
08:45 - 09:00 | -0.2 | 0 | -0.2 | 0 | 17.41 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 0 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
09:00 - 09:15 | -0.2 | -4 | -0.2 | 0 | -407.51 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
09:15 - 09:30 | -0.2 | 0 | -0.2 | 0 | -752.86 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | 0
09:30 - 09:45 | -0.2 | 0 | -0.2 | 0 | -952.89 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | 0 | 0 | 0 | 9.65 | 0 | 0 | -3.8 | 0
09:45 - 10:00 | -0.2 | 0 | -0.2 | 0 | -1002.21 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 9.65 | -10 | 0 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | -12 | 0 | 0 | 9.65 | 0 | 0 | -3.8 | 0
10:00 - 10:15 | -0.2 | 0 | -0.2 | 0 | -1146.02 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 3.96 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | -35 | 0 | 0 | 9.65 | 0 | 57.9 | -3.8 | 0
10:15 - 10:30 | -0.2 | -2 | -0.2 | 0 | -1324.99 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 3.76 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | -25 | 0 | 0 | 9.65 | 0 | 0 | -3.8 | 0
10:30 - 10:45 | -0.2 | -14.5 | -0.2 | 0 | -1009.2 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 3.76 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | -10 | 0 | 0 | 9.65 | 0.48 | 0 | -3.8 | 0
10:45 - 11:00 | -0.2 | -2 | -0.2 | 0 | -716.48 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 0 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.29 | 0 | 0 | 0 | 0 | 0 | 9.65 | 0.48 | 0 | -3.8 | 0
11:00 - 11:15 | -0.2 | 0 | -0.2 | 0 | -719.01 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 0 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | -15 | 0 | 0 | 24.12 | 0.48 | 0 | -3.8 | 0
11:15 - 11:30 | -0.2 | 0 | -0.2 | 0 | -723.34 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 0 | 0 | 3.86 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | 0 | 0 | 0 | 24.12 | 0.48 | 0 | -3.8 | 0
11:30 - 11:45 | 0 | 0 | -0.2 | 0 | -767.06 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 0 | 0 | 2.9 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | -12 | 0 | 0 | 24.11 | 0.48 | 22.2 | -3.8 | 0
11:45 - 12:00 | 0 | 0 | -0.2 | 0 | -961.29 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 3.67 | 0 | 2.9 | 0 | 9.65 | 2.9 | 19.3 | 0 | 0 | -20 | 0 | 0 | 24.11 | 0.48 | 22.2 | -3.8 | 0
12:00 - 12:15 | 0 | -10 | -0.2 | 0 | -749.92 | 0 | 10.62 | 0 | 0 | 0 | 0 | -0.8 | 0 | 6.76 | -9 | 3.76 | 0 | 2.9 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | -10 | 0 | 0 | 24.12 | 0.48 | 22.2 | -3.8 | 0
12:15 - 12:30 | 0 | 0 | -0.2 | 0 | -749.92 | 0 | 10.62 | 0 | 0 | 0 | 0 | -0.8 | 0 | 6.76 | -9 | 3.76 | 0 | 2.9 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 0 | 24.12 | 0.48 | 22.2 | -3.8 | 0
12:30 - 12:45 | 0 | 0 | -0.2 | 0 | -439.79 | 0 | 10.62 | 0 | -2 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 3.76 | 0 | 2.9 | 2.9 | 9.65 | 4.83 | 19.3 | 0 | 0 | -20 | 0 | 0 | 24.11 | 0.48 | 22.2 | -3.8 | 0
12:45 - 13:00 | 0 | 0 | -0.2 | 0 | -279.92 | 0 | 10.62 | 0 | -2 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 3.67 | 0 | 2.9 | 2.9 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 0 | 24.11 | 0.48 | 22.2 | -3.8 | 0
13:00 - 13:15 | 0 | -2 | -0.6 | 0 | -359.33 | 0 | 10.62 | 0 | -2 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 3.67 | 0 | 3.86 | 2.9 | 9.65 | 4.83 | 19.3 | 0 | 0 | -15 | 0 | 0 | 33.78 | 0.48 | 43.41 | -3.8 | 0
13:15 - 13:30 | 0 | 0 | -0.6 | 0 | -239.88 | 0 | 10.62 | 0 | -2 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 3.86 | 0 | 3.86 | 2.9 | 9.65 | 4.83 | 19.3 | 0 | 0 | -20 | 0 | 0 | 33.78 | 0.48 | 43.42 | -3.8 | 0
13:30 - 13:45 | -0.5 | -9 | -0.6 | 0 | -119.9 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 3.96 | 0 | 3.86 | 9.65 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 0 | 33.78 | 0.48 | 43.42 | -3.8 | 0
13:45 - 14:00 | -0.5 | 0 | -0.6 | 0 | -141.63 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 4.05 | 0 | 3.86 | 9.65 | 9.65 | 4.83 | 19.3 | 0 | 0 | -15 | 0 | 0 | 33.78 | 0.48 | 43.43 | -3.8 | 0
14:00 - 14:15 | -0.5 | 0 | -0.6 | 0 | 85.13 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 4.25 | 0 | 3.86 | 9.65 | 9.65 | 4.83 | 19.3 | 0 | 0 | -30 | 0 | 0 | 33.78 | 0.48 | 12.55 | -3.8 | 0
14:15 - 14:30 | -0.5 | 0 | -0.6 | 0 | 171.1 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 4.34 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | -10 | 0 | 0 | 33.78 | 0.48 | 40.53 | -3.8 | 0
14:30 - 14:45 | -0.5 | 0 | -0.6 | 0 | 320.89 | 13.41 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 4.63 | 0 | 3.86 | 6.76 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 0 | 33.78 | 0.48 | 90.72 | -3.8 | 0
14:45 - 15:00 | -0.5 | 0 | -0.6 | 0 | -39.91 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 4.83 | 0 | 3.86 | 6.76 | 9.65 | 4.83 | 19.3 | 0 | 0 | -15 | 0 | 0 | 33.78 | 0.48 | 81.05 | -3.8 | 0
15:00 - 15:15 | -0.5 | -10 | -0.6 | 0 | -24.8 | 13.32 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 5.02 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 7.72 | 38.6 | 0.48 | 182.4 | -3 | 0
15:15 - 15:30 | -0.5 | 0 | -0.6 | 0 | -136.35 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 5.21 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | -8 | 0 | 7.72 | 38.6 | 0.48 | 170.82 | -3 | 0
15:30 - 15:45 | -0.5 | 0 | -0.6 | 0 | -13.02 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 5.5 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | -10 | 0 | 7.72 | 38.6 | 0.48 | 188.19 | -3 | 0
15:45 - 16:00 | -0.5 | 0 | -0.6 | 0 | -49.83 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 5.69 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | -30 | 0 | 7.72 | 38.6 | 0.48 | 171.79 | -3 | 0
16:00 - 16:15 | -0.5 | 0 | -0.6 | 0 | 0 | 14.86 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | 0 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | -10 | 0 | 7.72 | 38.6 | 0.48 | 192.06 | -3 | 0
16:15 - 16:30 | -0.5 | 0 | -0.6 | 0 | 0 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | -1.4 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 7.72 | 38.6 | 0.48 | 216.18 | -3 | 0
16:30 - 16:45 | -0.5 | 0 | -0.6 | 0 | 0 | 0 | 10.62 | 0 | 0 | 9.65 | 7.72 | -0.8 | 0 | 6.76 | -9 | -1.4 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | -10 | 0 | 7.72 | 38.6 | 0.48 | 146.7 | -3 | 0
16:45 - 17:00 | -0.5 | 0 | -0.6 | 0 | 0 | 0 | 10.62 | 0 | -0.1 | 9.65 | 7.72 | -0.8 | 0 | 6.76 | -9 | -1.2 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | -30 | 0 | 7.72 | 38.6 | 0.48 | 104.23 | -3 | 0
17:00 - 17:15 | -0.5 | -10 | -0.2 | 0 | 19.45 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | -0.9 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 7.72 | 38.6 | 0.48 | 131.25 | -3 | 0
17:15 - 17:30 | -0.5 | 0 | -0.2 | 0 | 212.42 | 0 | 10.62 | 0 | 0 | 0 | 7.72 | -0.8 | 0 | 6.76 | -9 | -0.6 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | 38.6 | 0 | 142.83 | -3 | 0
17:30 - 17:45 | -0.5 | 0 | -0.2 | 0 | 303.99 | 0 | 10.62 | 0 | 0 | 0 | 6.41 | -0.8 | 0 | 6.76 | -9 | -0.4 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 7.72 | 38.6 | 0 | 55.98 | -3 | 0
17:45 - 18:00 | -0.5 | 0 | -0.2 | 0 | 299.14 | 0 | 10.62 | 0 | 0 | 0 | 0 | -0.8 | 0 | 6.76 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | 0 | 0 | 0 | -3 | 0
18:00 - 18:15 | -0.2 | 0 | -0.2 | 0 | 251.26 | 0 | 10.62 | 0 | 0 | 9.65 | 0 | -0.8 | 0 | 6.76 | -9 | 0 | 0 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 9.65 | 0 | 7.72 | 38.6 | 0.48 | 105.2 | -3 | 0
18:15 - 18:30 | -0.2 | 0 | -0.2 | 0 | 213.69 | 0 | 10.62 | 0 | 0 | 0 | 0 | -0.8 | 0 | 6.76 | -9 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 7.72 | 38.6 | 0 | 0 | -3 | 0
18:30 - 18:45 | -0.2 | 0 | -0.2 | 0 | 202.38 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -3 | 0
18:45 - 19:00 | -0.2 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | -15 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
19:00 - 19:15 | -0.2 | 0 | -0.2 | -1.5 | 315.08 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 8.69 | 0 | 0 | 0 | -2.5 | -1
19:15 - 19:30 | -0.2 | 0 | -0.2 | -1.5 | 310.33 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 8.69 | 0 | 0 | 0 | -2.5 | -1
19:30 - 19:45 | -0.2 | 0 | -0.2 | -1.3 | 288.33 | 0 | 0 | -30 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
19:45 - 20:00 | -0.2 | 0 | -0.2 | -1.3 | 231.69 | 0 | 0 | -30 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.65 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
20:00 - 20:15 | -0.2 | 0 | -0.2 | -1.3 | 221.24 | 0 | 0 | -30 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
20:15 - 20:30 | -0.2 | 0 | -0.2 | -1.3 | 223.07 | 0 | 0 | -30 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
20:30 - 20:45 | -0.2 | 0 | -0.2 | -1.3 | 217.13 | 0 | 0 | -30 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
20:45 - 21:00 | -0.2 | 0 | -0.2 | -1.3 | 199.05 | 0 | 0 | -30 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
21:00 - 21:15 | -0.2 | 0 | -0.2 | -1.4 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 8.69 | 0 | 0 | 0 | -2.5 | -1
21:15 - 21:30 | -0.2 | 0 | -0.2 | -1.4 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.64 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
21:30 - 21:45 | -0.2 | 0 | -0.6 | -1.2 | 96.41 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.65 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
21:45 - 22:00 | -0.2 | 0 | -0.6 | -1.2 | 92.53 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
22:00 - 22:15 | -0.2 | 0 | -0.6 | -1.3 | 192.98 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
22:15 - 22:30 | -0.2 | 0 | -0.6 | -1.3 | 159.74 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
22:30 - 22:45 | -0.2 | 0 | -0.2 | -1.3 | 332.95 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.65 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
22:45 - 23:00 | -0.2 | 0 | -0.2 | -1.3 | 348.6 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 9.65 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
23:00 - 23:15 | -0.2 | 0 | -0.2 | -1.3 | 294.14 | 0 | 0 | -50 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 9.65 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
23:15 - 23:30 | -0.2 | 0 | -0.2 | -1.3 | 300.25 | 0 | 0 | -22.91 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 9.65 | 8.69 | 8.69 | 0 | 0 | 0 | -2.5 | -1
23:30 - 23:45 | -0.2 | 0 | -0.2 | -1.3 | 303.35 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 9.65 | 8.69 | 8.69 | 9.65 | 0 | 0 | -2.5 | -1
23:45 - 24:00 | -0.2 | 0 | -0.2 | -1.3 | 307.52 | 0 | 10.62 | 0 | 0 | 0 | 0 | -0.8 | 0 | 6.76 | -9 | 0 | 0 | 10.62 | 0 | 0 | 0 | 0 | 67.56 | -4 | -40 | 8.69 | 8.69 | 9.65 | 0 | 0 | -2.5 | -1
Average | -0.23958 | -0.89062 | -0.30417 | -0.78542 | -84.1601 | 0.43323 | 6.9688 | -10.342 | -0.084375 | 0.40208 | 3.7659 | -0.87083 | -0.3125 | 4.9776 | -9.4167 | 0.76875 | 0.16802 | 2.6039 | 0.56323 | 4.3224 | 1.4694 | 8.6446 | 2.6642 | -0.20833 | -7.2204 | 3.8018 | 5.5498