## POWER STATUS
POWER STATUS ON DT 09.07.2026
[9 empty] | 2026-07-09 | 2026-07-08
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 8:00 | 23:00
Demand -> | [8 empty] | 6166.8714 | 6875.8312
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 164.833 | 3.956 | 630/590 ft | 606.23 | 610.65 | 614.65 | 168.6254 | 162.7045
| Chiplima | 72(3x24) | 46.667 | 1.12 | - |  |  |  | 32.9 | 49.4073
| Balimela | 510(6x60+2x75) | 209 | 5.016 | 1516/1440 ft | 1463.4 | 1459.4 | 1459.1 | 67.0341 | 370.1803
| Rengali | 250(5x50) | 16.1 | 0.3864 | 123.5/109.75 mt | 121.01 | 110.96 | 111.33 | 0 | 106.9046
| Upper Kolab | 320(4x80) | 36.38 | 0.87312 | 858/844 mt | 850.93 | 848.32 | 848.37 | 0 | 147.2769
| Upper Indravati | 600(4x150) | 56.1458 | 1.3475 | 642/625 mt | 632.9 | 629.39 | 629.4 | 0.28823 | 298.395
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2734.8 | NA | NA |  | 0
| Total Hydro | 2099.5 | 529.1258 | 12.699 |  |  |  |  | 268.8477 | 1134.8686
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1367.57 | 32.8217 | RENEWABLE ENERGY (RE) |  |  |  | 1471 | 1433
[5 empty] | M.Hydl | 94.93
| Total Thermal | 2200 | 1367.57 | 32.8217 | Solar | 133.23 |  |  | 1471 | 1433
IPP | VEDANTA #2 | 600 (1x600) | 378.6963 | 9.0887 | Total IPPs | Yesterday's Demand Profile |  |  | 398.2419 | 531.015
| GMR #3 | 350 (1x350) | 285.6218 | 6.8549 | 747.5143 |  | MW | HRS | 324.3796 | 324.5218
| NBVL(IPP) | 60(1x60) | 46.4456 | 1.1147 |  |  |  |  | 39.5343 | 54.0809
| MDTPC |  | 36.7507 | 0.88202 |  |  |  |  | 31.0058 | 51.2223
| CGPs |  | 755.9 | 18.1416 | IPPs, CGPs & RE | Maximum | 6876.2021 | 22:00 | 1607.226 | 1949.9272
| Central Sector(Drawl) |  | 2358.0185 | 56.5924 | 1731.5743 | Minimum | 5098.0891 | 06:00 | 2819.7977 | 2358.0354
| Central Sector(Sch) |  | 2399.274 | 57.5826 |  | Average | 5986.2887 |  | 3320.4199 | 2131.6599
| Grand Total |  | 5986.2887 | 143.6709 | Instantaneous Peak demand |  | 7121 | 22:47 | 6166.8714 | 6875.8312
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7 | IbTPS / OPGC | 2 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1659.6406 | 39.8314 | 1682.8312 | 40.3879 | 1566.2046 | 37.5889
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2146.4295 | 51.5143 | 2181.8924 | 52.3654 | 2571.282 | 61.7108
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1234.6954 | 29.6327 | 1264.2261 | 30.3414 | 1255.4366 | 30.1305
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 588.0182 | 14.1124 | 610.2416 | 14.6458 | 600.254 | 14.4061
Indravati | 3 | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5628.7837 | 135.0908 | 5739.1914 | 137.7406 | 5993.1772 | 143.8363
Machhkund | ALL | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 394.5902 | GMR |  |  |  | 323.3306
| NBVL #3 | 40 | MDTPC |  |  |  | 31.0058
Mini Hydel: | MEENAKSHI | 13 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 6
Solar: |  | 159 | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | 158.0542 | JSL(Duburi) |  |  |  | -116.8747
| ICCL | 34.9028 | visa |  |  |  | 14.8843
| NALCO | -212.784 | VAL (CGP) |  |  |  | 74.3178
| RSP | -163.8398 | BSL(MMDL) |  |  |  | -4.2792
| INDAL | 6.5499 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -37.5525 | VAL CPP 400 kV |  |  |  | -968.8572
| NBVL | 40.1819 | Arati |  |  |  | 41.7949
| BPSL(JSG) | -134.8386 | BPPL |  |  |  | 109.9473
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-01 | 2026-07-02 | 2026-07-03 | 2026-07-04 | 2026-07-05 | 2026-07-06 | 2026-07-07 | 2026-07-08
261.021 | 200.751 | 360.6517 | 252.0595 | 167.907 | 471.243 | 481.083 | 529.1258
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.08.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 134.94
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 57.56
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 72.46
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ARYAN_ISPAT | WBSEDCL | -5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.71
JPIPL | NPCL_UP | 0 | DCBL_Rajgangpur | DALCEMAP | -1.5 | AWEK1L | ODISHA | 10.6
MAADURGA_THERMAL | NPCL_UP | -13.94 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 15.9
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.02
NBVL_OTCL | GEB_Beneficiary | -26 | FACORPOWER | TPL_DIS_AHM | -25 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 44.85
OCL_IRON_STEEL | NPCL_UP | -33.92 | JSPLANGUL | CSEB_Beneficiary | -150 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 8.26
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -5 | NBVLIPP | BSPHCL | -17.92 | DADRI_SOLAR | ODISHA | 0.26
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | OCL_IRON_STEEL | BRPL | -17.71 | ENERSON_SOLAR_10MW | ODISHA | 1.43
VSL | CR_IR_MS | -2.92 | OCL_IRON_STEEL | BRPL | -7.29 | GADAG_GreenInfra_W | ODISHA | 0.55
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TANGEDCO | -15.62 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 50.96 | ODISHA | TANGEDCO | -15.62 | GADAG_Serentica3_S | VLSEZ | 24.33
MPPMCL | ODISHA | 0 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 147.98
RAJ_SOLAR | ODISHA | 2.31 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GIWEL_SECI_II_RE | ODISHA | 58.51
RAJ_SOLAR | ODISHA | 2.3 | VSL | WBSEDCL | -10 | GPCL_SOLAR_10 | ODISHA | 1.25
|  |  | ASPPL_BESS_BHDL2 | VLSEZ | 3.22 | GSECL_SOLAR | ODISHA | 0.79
|  |  | ASRYD_BESS_FTG1 | VLSEZ | 6.03 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.6
|  |  | ASURY_BESS_BKN2 | VLSEZ | 4.02 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 5
|  |  | BYPL | VLSEZ | 24.13 | KARUR_TPVARDHAMAN_W | TSKPO | 94.8
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.65
|  |  | JIPL | ODISHA | 115.81 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.27
|  |  | NALCOAP | NACL_Odisha | 37.39 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 9.46
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 4.19
[6 empty] | OKWPL_RE | ODISHA | 34.71
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 20.14
[6 empty] | RWE_AP2_SECI_III | ODISHA | 25.93
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 8.88
[6 empty] | SRI9PL_FTG3 | VLSEZ | 67.15
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.08
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.1
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 76.6
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 4.44
[6 empty] | XXPPL_FTG3 | ODISHA | 61.77

## DAM
DAM TRADING DETAILS FOR DT :08.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | -3.3 | 0 | -275 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
00:15 - 00:30 | -3.3 | 0 | -275 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
00:30 - 00:45 | -3.3 | 0 | -275 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
00:45 - 01:00 | -3.3 | 0 | -275 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
01:00 - 01:15 | -3.3 | 0 | -275 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
01:15 - 01:30 | -3.3 | 0 | -275 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
01:30 - 01:45 | -3.3 | 0 | -275 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
01:45 - 02:00 | -3.3 | 0 | -275 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
02:00 - 02:15 | -3.3 | 0 | -225 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
02:15 - 02:30 | -3.3 | 0 | -225 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
02:30 - 02:45 | -3.3 | 0 | -225 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
02:45 - 03:00 | -3.3 | 0 | -225 | 0 | 0 | -277 | -7 | -0.5 | 0 | 0 | 0 | 0
03:00 - 03:15 | -3.3 | 0 | -175 | 0 | 0 | -180 | -7 | -0.5 | 0 | 0 | 0 | 0
03:15 - 03:30 | -3.3 | 0 | -175 | 0 | 0 | -180 | -7 | -0.5 | 0 | 0 | 0 | 0
03:30 - 03:45 | -3.3 | 0 | -175 | 0 | 0 | -180 | -7 | -0.5 | 0 | 0 | 0 | 0
03:45 - 04:00 | -3.3 | 0 | -175 | 0 | 0 | -180 | -7 | -0.5 | 0 | 0 | 0 | 0
04:00 - 04:15 | -3.3 | 0 | -275 | 0 | 0 | -180 | -7 | -0.5 | 0 | 0 | 0 | 0
04:15 - 04:30 | -3.3 | 0 | -275 | 0 | 0 | -180 | -7 | -0.5 | 0 | 0 | 0 | 0
04:30 - 04:45 | -3.3 | 0 | -275 | 0 | 0 | -180 | -7 | -0.5 | 0 | 0 | 0 | 0
04:45 - 05:00 | -3.3 | 0 | -275 | 0 | 0 | -180 | -7 | -0.5 | 0 | 0 | 0 | 0
05:00 - 05:15 | -3.3 | 0 | -275 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
05:15 - 05:30 | -3.3 | 0 | -275 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
05:30 - 05:45 | -3.3 | 0 | -275 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
05:45 - 06:00 | -3.3 | 0 | -275 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
06:00 - 06:15 | -3.3 | 0 | -300 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
06:15 - 06:30 | -3.3 | 0 | -300 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
06:30 - 06:45 | -3.3 | 0 | -300 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
06:45 - 07:00 | -3.3 | 0 | -300 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
07:00 - 07:15 | -3.3 | 20.27 | -430.66 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
07:15 - 07:30 | -3.3 | 20.27 | -350 | 0 | 0 | -180 | -7 | -0.5 | -43 | 0 | 0 | 0
07:30 - 07:45 | -3.3 | 20.27 | -257.91 | 0 | 0 | 0 | -7 | -0.5 | -43 | 5.79 | 0 | 0
07:45 - 08:00 | -3.3 | 20.27 | -75 | 0 | 0 | 0 | -7 | -0.5 | -43 | 5.79 | 0 | 0
08:00 - 08:15 | -3.3 | 20.27 | -400 | 0 | 0 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
08:15 - 08:30 | -3.3 | 20.27 | -400 | 0 | 0 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
08:30 - 08:45 | -3.3 | 20.27 | -299.98 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
08:45 - 09:00 | -3.3 | 20.27 | -233.2 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
09:00 - 09:15 | -3.3 | 20.27 | 0 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 115.81 | 0
09:15 - 09:30 | -3.3 | 20.27 | 0 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 231.63 | 64.66
09:30 - 09:45 | -3.3 | 20.27 | 0 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 289.53 | 64.66
09:45 - 10:00 | -3.3 | 20.27 | 0 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 289.53 | 64.66
10:00 - 10:15 | -3.3 | 20.27 | 12.15 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 289.53 | 64.66
10:15 - 10:30 | -3.3 | 20.27 | 1.36 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 289.53 | 64.66
10:30 - 10:45 | -3.3 | 20.27 | 14.51 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 289.53 | 64.66
10:45 - 11:00 | -3.3 | 20.27 | 19.17 | 0 | 28.95 | 0 | -0.38 | -0.5 | -18 | 5.79 | 289.53 | 64.66
11:00 - 11:15 | -3.3 | 20.27 | 21.42 | 11.2 | 28.95 | 0 | -1.58 | -0.5 | -18 | 5.79 | 289.52 | 64.66
11:15 - 11:30 | -3.3 | 20.27 | 21.44 | 12.35 | 28.94 | 0 | -0.54 | -0.5 | -18 | 5.79 | 289.54 | 64.66
11:30 - 11:45 | -3.3 | 20.27 | 29.42 | 12.26 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 289.53 | 64.66
11:45 - 12:00 | -3.3 | 20.27 | 19.69 | 12.35 | 28.95 | 0 | -0.24 | -0.5 | -18 | 5.79 | 289.53 | 64.66
12:00 - 12:15 | -3.3 | 20.27 | 26.73 | 0 | 28.94 | 0 | 0 | -0.5 | -18 | 5.79 | 289.54 | 64.66
12:15 - 12:30 | -3.3 | 20.27 | 24.1 | 0 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 289.53 | 64.66
12:30 - 12:45 | -3.3 | 20.27 | 24.11 | 0 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 289.53 | 64.66
12:45 - 13:00 | -3.3 | 20.27 | 24.11 | 0 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 289.53 | 64.66
13:00 - 13:15 | -3.3 | 20.27 | 19.73 | 0 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 289.53 | 64.66
13:15 - 13:30 | -3.3 | 20.27 | 19.73 | 0 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 289.53 | 64.66
13:30 - 13:45 | -3.3 | 20.27 | 18.7 | 0 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 289.54 | 64.66
13:45 - 14:00 | -3.3 | 20.27 | 18.71 | 0 | 28.94 | 0 | 0 | -0.5 | -18 | 5.79 | 289.54 | 64.66
14:00 - 14:15 | -3.3 | 20.27 | 23.53 | 0 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 289.53 | 64.66
14:15 - 14:30 | -3.3 | 20.27 | 26.74 | 0 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 289.54 | 64.66
14:30 - 14:45 | -3.3 | 20.27 | 29.75 | 12.26 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 231.63 | 64.66
14:45 - 15:00 | -3.3 | 20.27 | 63 | 12.16 | 28.95 | 0 | 0 | -0.5 | -18 | 5.79 | 115.82 | 64.66
15:00 - 15:15 | -3.3 | 20.27 | 41.75 | 12.35 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 64.67
15:15 - 15:30 | -3.3 | 20.27 | 33.37 | 12.64 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 64.67
15:30 - 15:45 | -3.3 | 20.27 | 0 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
15:45 - 16:00 | -3.3 | 20.27 | 0 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
16:00 - 16:15 | -3.3 | 20.27 | -364.68 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
16:15 - 16:30 | -3.3 | 20.27 | -364.52 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
16:30 - 16:45 | -3.3 | 20.27 | -457.28 | 0 | 28.95 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
16:45 - 17:00 | -3.3 | 20.27 | -550 | 0 | 0 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
17:00 - 17:15 | -3.3 | 0 | -188.64 | 0 | 0 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
17:15 - 17:30 | -3.3 | 0 | -180.69 | 0 | 0 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
17:30 - 17:45 | -3.3 | 0 | -200 | 0 | 0 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
17:45 - 18:00 | -3.3 | 0 | -200 | 0 | 0 | 0 | -2 | -0.5 | -18 | 5.79 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | 0 | 0 | 0 | -6 | -0.5 | -18 | 5.79 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | 0 | 0 | 0 | 0 | -6 | -0.5 | -18 | 5.79 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | 0 | 0 | 0 | 0 | -6 | -0.5 | -18 | 5.79 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | -175 | 0 | 0 | -80.5 | -6 | -0.5 | -18 | 5.79 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
19:15 - 19:30 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
19:30 - 19:45 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
19:45 - 20:00 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
20:00 - 20:15 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
20:15 - 20:30 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
20:30 - 20:45 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
20:45 - 21:00 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
21:00 - 21:15 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
21:15 - 21:30 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
21:30 - 21:45 | -3.3 | 0 | -81.54 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
21:45 - 22:00 | -3.3 | 0 | -100 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
22:00 - 22:15 | -3.3 | 0 | -100 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
22:15 - 22:30 | -3.3 | 0 | -100 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
22:30 - 22:45 | -3.3 | 0 | -100 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
22:45 - 23:00 | -3.3 | 0 | -100 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
23:00 - 23:15 | -3.3 | 0 | -100 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
23:15 - 23:30 | -3.3 | 0 | -100 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
23:30 - 23:45 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
23:45 - 24:00 | -3.3 | 0 | 0 | 0 | 0 | -277 | -9 | -0.5 | 0 | 0 | 0 | 0
Average | -3.3 | 8.4458 | -130.9988 | 1.0164 | 9.9513 | -126.9219 | -4.966 | -0.5 | -13.625 | 2.7744 | 67.5576 | 16.8388

## GDAM
GDAM TRADING DETAILS FOR DT:08.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112.34
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 67.56 | 0 | 133.18
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 133.18
06:00 - 06:15 | 0 | -0.2 | 0 | 0 | 0 | 0 | 1.44 | 0 | 0 | 132.22
06:15 - 06:30 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76.53
06:30 - 06:45 | 0 | -0.9 | 0 | 0 | 0 | 0 | 5.79 | 0 | 0 | 122.57
06:45 - 07:00 | 0 | -1.4 | 0 | 0 | 0 | 0 | 5.79 | 30.3 | 0 | 111.96
07:00 - 07:15 | 0 | -2.2 | 0 | 0 | 0 | 0 | 5.79 | 45.2 | 0 | 100.37
07:15 - 07:30 | 0 | -2.7 | 0 | 0 | 19.3 | 0 | 5.79 | 62.73 | 0 | 75.28
07:30 - 07:45 | 0 | -3.1 | 0 | 0 | 19.3 | 0 | 5.79 | 62.73 | 0 | 47.29
07:45 - 08:00 | 0 | -3.8 | 0 | 0 | 19.3 | 0 | 5.79 | 62.73 | 0 | 5.79
08:00 - 08:15 | 0 | -4.5 | 0 | 0 | 19.3 | 9.65 | 5.79 | 62.74 | 0 | 13.51
08:15 - 08:30 | 0 | -4.7 | 0 | 0 | 19.3 | 9.65 | 5.79 | 62.74 | 0 | 60.8
08:30 - 08:45 | 0 | -5.4 | 0 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 18.34
08:45 - 09:00 | 0 | -6 | 0 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 0
09:00 - 09:15 | 0 | -6.5 | 97.46 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 0
09:15 - 09:30 | 0 | -7.4 | 194.11 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 0
09:30 - 09:45 | 0 | -10.6 | 210.06 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 0
09:45 - 10:00 | 0 | -13.8 | 238.04 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 0
10:00 - 10:15 | 0 | -11.4 | 253.35 | 12.45 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 0
10:15 - 10:30 | -1.2 | -15 | 249.3 | 11.97 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 48.26
10:30 - 10:45 | -1.2 | -10 | 246.5 | 11.87 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 77.21
10:45 - 11:00 | 0 | -10 | 246.48 | 11.48 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 105.2
11:00 - 11:15 | 0 | -12.1 | 241.3 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
11:15 - 11:30 | 0 | -10 | 241.32 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
11:30 - 11:45 | -0.6 | -11.5 | 245.27 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
11:45 - 12:00 | -1.5 | -18.4 | 245.28 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
12:00 - 12:15 | -7.3 | -13.9 | 249.32 | 11.2 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
12:15 - 12:30 | -2.8 | -12.7 | 253.31 | 10.42 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
12:30 - 12:45 | -4 | -13.7 | 253.31 | 9.84 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
12:45 - 13:00 | -0.2 | -13.9 | 253.32 | 9.26 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
13:00 - 13:15 | 0 | -15.2 | 262.19 | 9.07 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
13:15 - 13:30 | 0 | -15.1 | 262.19 | 9.36 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
13:30 - 13:45 | -2.5 | -13.2 | 261.39 | 10.13 | 19.3 | 9.65 | 5.79 | 62.73 | 2.9 | 119.67
13:45 - 14:00 | -1.8 | -14.2 | 261.39 | 11.1 | 19.3 | 9.65 | 5.79 | 57.91 | 2.9 | 119.67
14:00 - 14:15 | 0 | -15.6 | 254.16 | 11.77 | 19.3 | 9.65 | 5.79 | 57.91 | 2.9 | 111.95
14:15 - 14:30 | 0 | -15.6 | 249.35 | 11.68 | 19.3 | 9.65 | 5.79 | 57.91 | 2.9 | 96.51
14:30 - 14:45 | 0 | -13.4 | 244.8 | 0 | 19.3 | 9.65 | 5.79 | 57.91 | 2.9 | 77.21
14:45 - 15:00 | -0.1 | -13.7 | 210.3 | 0 | 19.3 | 9.65 | 5.79 | 57.91 | 2.9 | 48.26
15:00 - 15:15 | 0 | -12.4 | 210.14 | 0 | 19.3 | 9.65 | 5.79 | 57.91 | 2.9 | 0
15:15 - 15:30 | 0 | -10.9 | 196.51 | 0 | 19.3 | 9.65 | 5.79 | 57.91 | 2.9 | 0
15:30 - 15:45 | 0 | -9 | 0 | 0 | 19.3 | 9.65 | 5.79 | 57.9 | 2.9 | 0
15:45 - 16:00 | 0 | -9.2 | 0 | 0 | 19.3 | 9.65 | 5.79 | 57.9 | 2.9 | 0
16:00 - 16:15 | 0 | -9 | 0 | 0 | 19.3 | 9.65 | 5.79 | 57.9 | 2.9 | 0
16:15 - 16:30 | 0 | -6.2 | 0 | 0 | 19.3 | 9.65 | 5.79 | 57.9 | 2.9 | 2.9
16:30 - 16:45 | 0 | -5.4 | 0 | 0 | 19.3 | 9.65 | 5.79 | 57.9 | 2.9 | 0
16:45 - 17:00 | 0 | -4.1 | 0 | 0 | 19.3 | 9.65 | 5.79 | 57.91 | 0 | 0
17:00 - 17:15 | 0 | -3 | 0 | 0 | 19.3 | 9.65 | 5.79 | 57.9 | 2.9 | 20.27
17:15 - 17:30 | 0 | -2.4 | 0 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 0.38 | 0
17:30 - 17:45 | 0 | -2.2 | 0 | 0 | 19.3 | 9.65 | 5.79 | 62.74 | 0 | 15.44
17:45 - 18:00 | 0 | -1.6 | 0 | 0 | 19.3 | 9.65 | 5.79 | 62.74 | 0 | 47.29
18:00 - 18:15 | 0 | -0.9 | 0 | 0 | 19.3 | 9.65 | 5.79 | 62.73 | 0 | 83
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 5.79 | 62.73 | 0 | 101.34
18:30 - 18:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 5.79 | 62.73 | 0 | 125.47
18:45 - 19:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 5.79 | 62.73 | 0 | 138.01
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.24167 | -4.3594 | 63.8557 | 1.5792 | 9.2479 | 4.1214 | 3.9353 | 31.4986 | 1.031 | 56.3444

## RTM
RTM TRADING DETAILS FOR DT: 08.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8 | 0
00:15 - 00:30 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8 | 0
00:30 - 00:45 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -2.8 | 0
00:45 - 01:00 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 72.27 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8 | 0
01:00 - 01:15 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 144.73 | 7.69 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 6.99 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
01:15 - 01:30 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 171.76 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 0 | 0 | 9.65 | 0 | 0 | 0 | 67.56 | 0 | -20 | 7.72 | 19.3 | 0 | 0 | -2.8 | 0
01:30 - 01:45 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 214.79 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 10.62 | 0 | 9.65 | 0 | 0 | 0 | 67.56 | 0 | -2 | 7.72 | 19.3 | 0 | 0 | -2.8 | 0
01:45 - 02:00 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 144.8 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 10.62 | 0 | 9.65 | 0 | 0 | 0 | 67.56 | 0 | 0 | 7.72 | 19.3 | 0 | 0 | -2.8 | 0
02:00 - 02:15 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 0 | 0 | 9.65 | 0 | 0 | 0 | 67.56 | 0 | -2 | 7.72 | 19.3 | 0 | 0 | -2.8 | 0
02:15 - 02:30 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 10.62 | 0 | 9.65 | 0 | 0 | 0 | 67.55 | 0 | 0 | 7.72 | 19.3 | 0 | 0 | -2.8 | 0
02:30 - 02:45 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -86.01 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 0 | 0 | 9.65 | 0 | 0 | 0 | 67.56 | 0 | -10 | 7.72 | 19.3 | 0 | 0 | -2.8 | 0
02:45 - 03:00 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -109 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 10.62 | 0 | 9.65 | 0 | 0 | 0 | 67.55 | 0 | -20 | 7.72 | 19.3 | 0 | 0 | -2.8 | 0
03:00 - 03:15 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -325.02 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 10.62 | 0 | 9.65 | 2.01 | 0 | 0 | 67.55 | 0 | -4 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
03:15 - 03:30 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -335.52 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 10.62 | 0 | 9.65 | 0 | 0 | 0 | 67.55 | 0 | 0 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
03:30 - 03:45 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -327.52 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 8.69 | 0 | 9.65 | 0 | 0 | 0 | 67.55 | 0 | -2 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
03:45 - 04:00 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -327.51 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 8.69 | 0 | 9.65 | 0 | 0 | 0 | 67.55 | 0 | 0 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
04:00 - 04:15 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -305.97 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 8.69 | 0 | 9.65 | 4.83 | 0 | 0 | 67.55 | 0 | -6 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
04:15 - 04:30 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -317.48 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 8.69 | 0 | 9.65 | 4.83 | 0 | 0 | 67.55 | 0 | -25 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
04:30 - 04:45 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -306.01 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 8.69 | 0 | 9.65 | 4.83 | 0 | 0 | 67.55 | 0 | 0 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
04:45 - 05:00 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -306 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 8.69 | 0 | 9.65 | 4.83 | 0 | 0 | 67.55 | 0 | 0 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
05:00 - 05:15 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -300.65 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 9.65 | 0 | 9.65 | 4.83 | 0 | 0 | 0 | 0 | 0 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
05:15 - 05:30 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -200 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 9.65 | 0 | 9.65 | 4.4 | 0 | 0 | 67.56 | 0 | 0 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
05:30 - 05:45 | -0.2 | 0 | 0 | 0 | -0.4 | -1.3 | 0 | -210.04 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 9.65 | 0 | 9.65 | 0 | 0 | 0 | 67.55 | 0 | 14.48 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
05:45 - 06:00 | -0.2 | 0 | 0 | 0 | -0.4 | -1.3 | 0 | -210.04 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 0 | 9.65 | 0 | 9.65 | 0 | 0 | 0 | 53.08 | 0 | 4.83 | 7.72 | 9.65 | 0 | 0 | -2.8 | 0
06:00 - 06:15 | -0.2 | 0 | 0 | 0 | -0.4 | -1.3 | 0 | -219.94 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 0 | -0.2 | 0 | 0 | 9.65 | 0 | 0 | 0 | 53.08 | 0 | -25 | 0 | 0 | 0 | 0 | -2.8 | 0
06:15 - 06:30 | -0.2 | 0 | 0 | 0 | -0.4 | -1.3 | 0 | -118.82 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 0 | -0.4 | 0 | 0 | 9.65 | 0 | 0 | 0 | 62.72 | 0 | -15 | 0 | 0 | 0 | 57.91 | -2.8 | 0
06:30 - 06:45 | -0.2 | 0 | 0 | 0 | -0.4 | -1.3 | 0 | -215.47 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -0.7 | 0 | 0 | 9.65 | 0 | 0 | 0 | 62.73 | 0 | 0 | 7.72 | 0 | 0 | 11.58 | -2.8 | 0
06:45 - 07:00 | -0.2 | 0 | 0 | 0 | -0.4 | -1.3 | 0 | -180.99 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -0.9 | 9.65 | 0 | 9.65 | 4.83 | 19.3 | 0 | 33.78 | 0 | -8 | 7.72 | 0 | 0 | 11.58 | -2.8 | 0
07:00 - 07:15 | -0.2 | 0 | 0 | 0 | 0 | -1.3 | 0 | -165.01 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -1.2 | 9.65 | 0 | 9.65 | 4.83 | 19.3 | 0 | 19.3 | 0 | 0 | 7.72 | 9.65 | 0 | 27.99 | -2.8 | 0
07:15 - 07:30 | -0.2 | -10 | 0 | 0 | 0 | -1.3 | 0 | -305.51 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -1.4 | 9.65 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 7.72 | 9.65 | 0 | 42.46 | -2.8 | 0
07:30 - 07:45 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -297.78 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -1.5 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | -20 | 7.72 | 9.65 | 3.86 | 52.11 | -2.8 | 0
07:45 - 08:00 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -329.18 | 10.62 | 0 | 9.65 | 0 | -0.9 | 0 | 7.72 | -1.8 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | -20 | 7.72 | 9.65 | 3.86 | 76.24 | -2.8 | 0
08:00 - 08:15 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -27.46 | 10.62 | 0 | 0 | 0 | -0.9 | -15 | 7.72 | -2.1 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 7.72 | 0 | 5.4 | 271.19 | -2.8 | 0
08:15 - 08:30 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -28.58 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2.4 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 7.72 | 0 | 5.4 | 249.96 | -2.8 | 0
08:30 - 08:45 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 14.47 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2.6 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 7.72 | 0 | 5.4 | 372.53 | -2.8 | 0
08:45 - 09:00 | -0.2 | -10 | 0 | 0 | 0 | 0 | 0 | 14.44 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2.8 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 7.72 | 0 | 5.4 | 371.55 | -2.8 | 0
09:00 - 09:15 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -300.05 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -3.1 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | -20 | 7.72 | 24.13 | 2.9 | 512.46 | -2.8 | 0
09:15 - 09:30 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -477.05 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -0.9 | 3.86 | 0 | 9.65 | 4.83 | 19.3 | 0 | 0 | 0 | -30 | 7.72 | 24.13 | 2.9 | 444.9 | -2.8 | 0
09:30 - 09:45 | -0.2 | 0 | 0 | -5.4 | 0 | 0 | 0 | -161.31 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 4.15 | 3.86 | 0 | 0 | 4.83 | 19.3 | 0 | 0 | 0 | -10 | 7.72 | 24.13 | 5.4 | 308.83 | -2.8 | 0
09:45 - 10:00 | -0.2 | 0 | 0 | -3.5 | 0 | 0 | 0 | -54.18 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.76 | 3.86 | 0 | 0 | 4.83 | 19.3 | 0 | 0 | 0 | 0 | 7.72 | 24.13 | 5.4 | 294.36 | -2.8 | 0
10:00 - 10:15 | -0.2 | 0 | -13 | -7 | 0 | 0 | 0 | -99.93 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.67 | 3.86 | 0 | 0 | 4.83 | 19.3 | -5 | 0 | 0 | 0 | 7.72 | 14.48 | 2.41 | 275.05 | -2.8 | 0
10:15 - 10:30 | -0.2 | -7 | -12.7 | -3.8 | 0 | 0 | 0 | -33.45 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.57 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | 0 | 7.72 | 14.48 | 2.41 | 217.14 | -2.8 | 0
10:30 - 10:45 | -0.2 | 0 | -14 | -9.6 | -0.2 | 0 | 0 | 77.22 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.38 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | 0 | 7.72 | 14.48 | 5.6 | 210.38 | -3.5 | 0
10:45 - 11:00 | -0.2 | 0 | -16.3 | -10.1 | -0.2 | 0 | 0 | 77.23 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.38 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | 0 | 7.72 | 14.48 | 5.6 | 209.41 | -3.5 | 0
11:00 - 11:15 | -0.2 | 0 | -15.9 | -8.4 | -0.2 | 0 | 0 | 96.51 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.28 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | -30 | 7.72 | 14.48 | 5.6 | 210.38 | -3.5 | 0
11:15 - 11:30 | -0.2 | 0 | -16.2 | -10.6 | -0.2 | 0 | 0 | 96.51 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.28 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | -10 | 7.72 | 14.48 | 5.6 | 210.38 | -3.5 | 0
11:30 - 11:45 | -0.2 | 0 | -15.7 | -9.7 | -0.2 | 0 | 0 | 96.51 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.47 | 3.86 | 4.83 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | -20 | 7.72 | 14.48 | 5.6 | 199.76 | -3.5 | 0
11:45 - 12:00 | -0.2 | 0 | -15.3 | -2.8 | -0.2 | 0 | 0 | 96.51 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.57 | 3.86 | 4.83 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | -30 | 7.72 | 14.48 | 5.6 | 199.76 | -3.5 | 0
12:00 - 12:15 | -0.2 | -7 | -9.9 | -7.2 | -0.2 | 0 | 0 | 125.48 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.57 | 4.83 | 4.83 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | -30 | 7.72 | 14.48 | 5.6 | 199.76 | -3.5 | 0
12:15 - 12:30 | -0.2 | 0 | -14 | -8.4 | -0.2 | 0 | 0 | 125.48 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.47 | 4.83 | 4.83 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | -10 | 7.72 | 14.48 | 5.6 | 199.76 | -3.5 | 0
12:30 - 12:45 | -0.2 | 0 | -4.5 | -7.3 | -0.2 | 0 | 0 | 183.36 | 10.62 | 0 | 0 | -2 | -0.9 | 0 | 7.72 | 3.38 | 4.83 | 4.83 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | -20 | 7.72 | 0 | 5.6 | 199.76 | -3.5 | 0
12:45 - 13:00 | -0.2 | 0 | -9 | -6.8 | -0.2 | 0 | 0 | 222.86 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.38 | 4.83 | 4.83 | 0 | 4.83 | 9.65 | 0 | 0 | 0 | -30 | 7.72 | 0 | 5.6 | 199.78 | -3.5 | 0
13:00 - 13:15 | -0.2 | 0 | -10.4 | -5 | -0.6 | 0 | 0 | 173.76 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.47 | 4.83 | 4.83 | 9.65 | 4.83 | 9.65 | 0 | 0 | 0 | -10 | 7.72 | 0 | 5.6 | 199.76 | -3.5 | 0
13:15 - 13:30 | -0.2 | 0 | -10.9 | -4.7 | -0.6 | 0 | 0 | 173.77 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.57 | 4.83 | 4.83 | 9.65 | 4.83 | 9.65 | 0 | 0 | 0 | -30 | 7.72 | 0 | 5.6 | 199.76 | -3.5 | 0
13:30 - 13:45 | -0.2 | -6 | -10 | -6.2 | -0.6 | 0 | 0 | 250.98 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.76 | 4.83 | 4.83 | 9.65 | 4.83 | 9.65 | 0 | 0 | 0 | -30 | 7.72 | 0 | 5.6 | 189.16 | -3.5 | 0
13:45 - 14:00 | -0.2 | 0 | -9.5 | -4.4 | -0.6 | 0 | 0 | 250.96 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 3.86 | 4.83 | 4.83 | 9.65 | 4.83 | 9.65 | 0 | 0 | 0 | -30 | 7.72 | 0 | 5.6 | 189.16 | -3.5 | 0
14:00 - 14:15 | -0.2 | 0 | -10.6 | 0 | -0.6 | 0 | 0 | 226.82 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | 4.05 | 4.83 | 4.83 | 9.65 | 4.83 | 9.65 | 0 | 0 | 0.97 | 0 | 7.72 | 0 | 5.6 | 189.16 | -3.5 | 0
14:15 - 14:30 | -0.2 | 0 | -8.8 | 0 | -0.6 | 0 | 0 | 373.09 | 10.62 | 0 | 0 | -6 | -0.9 | 0 | 7.72 | 4.25 | 4.83 | 4.83 | 9.65 | 4.83 | 9.65 | 0 | 0 | 0.97 | 0 | 7.72 | 0 | 5.6 | 184.33 | -3.5 | 0
14:30 - 14:45 | -0.2 | 0 | 0 | 0 | -0.6 | 0 | 0 | 462.29 | 10.62 | 0 | 0 | -6 | -0.9 | 0 | 7.72 | -2.8 | 1.93 | 4.83 | 9.65 | 4.83 | 9.65 | 0 | 0 | 0.97 | 0 | 7.72 | 38.6 | 5.6 | 223.9 | -3.5 | 0
14:45 - 15:00 | -0.2 | 0 | 0 | 0 | -0.6 | 0 | 0 | 476.89 | 10.62 | 0 | 0 | -6 | -0.9 | 0 | 7.72 | -2.6 | 1.93 | 0 | 9.65 | 4.83 | 9.65 | 0 | 0 | 0.97 | 0 | 7.72 | 38.6 | 5.6 | 348.4 | -3.5 | 0
15:00 - 15:15 | -0.2 | -10 | 0 | 0 | -0.6 | 0 | 0 | 356.26 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2.4 | 1.93 | 0 | 4.83 | 4.83 | 9.65 | 0 | 0 | 0.97 | -30 | 7.72 | 57.91 | 5.6 | 493.14 | -3.5 | 0
15:15 - 15:30 | -0.2 | 0 | 0 | 0 | -0.6 | 0 | 0 | 446.38 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2.2 | 1.93 | 0 | 4.83 | 4.83 | 9.65 | 0 | 0 | 0.97 | -30 | 7.72 | 57.91 | 5.6 | 508.58 | -3.5 | 0
15:30 - 15:45 | -0.2 | 0 | 0 | 0 | -0.6 | 0 | 0 | 460.12 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -1.9 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0.97 | 0 | 7.72 | 57.91 | 5.6 | 526.93 | -3.5 | 0
15:45 - 16:00 | -0.2 | 0 | 0 | 0 | -0.6 | 0 | 0 | 289.24 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -1.7 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0.97 | 0 | 7.72 | 57.91 | 5.6 | 487.36 | -3.5 | 0
16:00 - 16:15 | -0.2 | 0 | 0 | 0 | -0.6 | 0 | 0 | 513.46 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -1.4 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0.97 | -25 | 7.72 | 57.91 | 5.6 | 470.97 | -3.5 | 0
16:15 - 16:30 | -0.2 | 0 | 0 | 0 | -0.6 | 0 | 0 | 508.65 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -1.2 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0.97 | -10 | 7.72 | 57.91 | 5.6 | 499.92 | -3.5 | 0
16:30 - 16:45 | -0.2 | -8 | 0 | 0 | -0.6 | 0 | 0 | 736.95 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 11.58 | -1.2 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0.97 | 0 | 7.72 | 48.26 | 5.6 | 518.26 | -3.5 | 0
16:45 - 17:00 | -0.2 | 0 | 0 | 0 | -0.6 | 0 | 0 | 723.74 | 10.62 | 0 | 0 | 0 | -0.9 | 0 | 11.58 | -1 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0.97 | -10 | 7.72 | 48.26 | 5.6 | 391.13 | -3.5 | 0
17:00 - 17:15 | -0.2 | 0 | 0 | 0 | -0.2 | 0 | 0 | 263.89 | 10.62 | 0 | 0 | 0 | -2.2 | 0 | 11.58 | -0.8 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0.97 | 0 | 7.72 | 28.95 | 5.6 | 545.27 | -3.5 | 0
17:15 - 17:30 | -0.2 | 0 | 0 | 0 | -0.2 | 0 | 0 | 260.7 | 10.62 | 0 | 0 | 0 | -2.2 | 0 | 11.58 | -0.5 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0.97 | -10 | 7.72 | 28.95 | 5.6 | 583.88 | -3.5 | 0
17:30 - 17:45 | -0.2 | 0 | 0 | 0 | -0.2 | 0 | 0 | 177.62 | 10.62 | 0 | 0 | 0 | -2.2 | 0 | 11.58 | -0.2 | 3.86 | 0 | 0 | 4.83 | 9.65 | 0 | 0 | 0.97 | 0 | 7.72 | 28.95 | 5.6 | 379.27 | -3.5 | 0
17:45 - 18:00 | -0.2 | 0 | 0 | 0 | -0.2 | 0 | 0 | 243.01 | 10.62 | 0 | 0 | 0 | -2.2 | 0 | 11.58 | 0 | 3.86 | 0 | 0 | 4.83 | 0 | 0 | 0 | 0 | -25 | 7.72 | 28.95 | 0 | 379.28 | -3.5 | 0
18:00 - 18:15 | -0.2 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0 | 10.62 | 0 | 0 | 0 | -2.2 | 0 | 11.58 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 9.65 | 0 | 313.66 | -4 | 0
18:15 - 18:30 | -0.2 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 11.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.65 | 0 | 313.66 | -4 | 0
18:30 - 18:45 | -0.2 | 0 | 0 | 0 | -0.2 | 0 | 0 | 103.38 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 313.66 | -4 | 0
18:45 - 19:00 | -0.2 | 0 | 0 | 0 | -0.2 | 0 | 0 | 244.56 | 0 | -30 | 0 | 0 | -2.2 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 313.65 | -4 | 0
19:00 - 19:15 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 197.75 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 454.56 | -4 | 0
19:15 - 19:30 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 157.26 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 455.53 | -4 | 0
19:30 - 19:45 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 150.8 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 456.49 | -4 | 0
19:45 - 20:00 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 159.37 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 456.49 | -4 | 0
20:00 - 20:15 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 199.03 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 456.49 | -4 | 0
20:15 - 20:30 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 151.84 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 456.49 | -4 | 0
20:30 - 20:45 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 123.43 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 456.49 | -4 | -2
20:45 - 21:00 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 189.79 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 456.49 | -4 | -2
21:00 - 21:15 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | -12 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 427.49 | -4 | -2
21:15 - 21:30 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | -12 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 403.97 | -4 | -2
21:30 - 21:45 | -0.2 | 0 | 0 | 0 | -0.6 | -1.3 | -12 | 285.42 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 285.42 | -4 | -2
21:45 - 22:00 | -0.2 | 0 | 0 | 0 | -0.6 | -1.3 | -12 | 259.29 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 259.3 | -4 | -2
22:00 - 22:15 | -0.2 | 0 | 0 | 0 | -0.6 | -1.3 | -12 | 132.59 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 232.02 | -4 | -2
22:15 - 22:30 | -0.2 | 0 | 0 | 0 | -0.6 | -1.3 | -12 | 128.71 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 225.23 | -4 | -2
22:30 - 22:45 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | -12 | 142.23 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 273.79 | -4 | -2
22:45 - 23:00 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | -12 | 146.18 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 281.42 | -4 | -2
23:00 - 23:15 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | -12 | 234.63 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 347.43 | -4 | -2
23:15 - 23:30 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | -12 | 242.61 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 347.43 | -4 | -2
23:30 - 23:45 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | -12 | 260.58 | 10.62 | 0 | 0 | 0 | -2.2 | 0 | 11.58 | 0 | 9.65 | 0 | 0 | 4.83 | 0 | 0 | 62.73 | 0 | -4 | 7.72 | 28.95 | 5.6 | 456.49 | -4 | -2
23:45 - 24:00 | -0.2 | 0 | 0 | 0 | -0.2 | -1.3 | -12 | 261.36 | 10.62 | 0 | 0 | 0 | -2.2 | 0 | 11.58 | 0 | 9.65 | 0 | 0 | 4.83 | 9.65 | 0 | 62.73 | 0 | 0 | 7.72 | 28.95 | 5.6 | 456.49 | -4 | -2
Average | -0.2 | -0.60417 | -2.2573 | -1.2594 | -0.22083 | -0.67708 | -1.5 | 67.0087 | 7.8239 | -0.3125 | 0.10052 | -0.20833 | -1.2792 | -0.3125 | 5.9508 | 0.31635 | 3.8611 | 0.46656 | 4.2948 | 2.683 | 5.9307 | -0.052083 | 16.235 | 0.15156 | -9.0801 | 5.3879 | 12.9688 | 2.3369 | 229.6326 | -3.3187 | -0.29167