## POWER STATUS
POWER STATUS ON DT 10.07.2026
[9 empty] | 2026-07-10 | 2026-07-09
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5967.7549 | 6587.3317
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 168.58 | 4.0459 | 630/590 ft | 605.39 | 614.65 | 614.47 | 168.7888 | 169.2521
| Chiplima | 72(3x24) | 43.13 | 1.0351 | - |  |  |  | 50.3739 | 49.4839
| Balimela | 510(6x60+2x75) | 181.38 | 4.3531 | 1516/1440 ft | 1463.6 | 1459.1 | 1458.7 | 67.0099 | 373.3846
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 120.85 | 111.33 | 111.76 | 0 | 0
| Upper Kolab | 320(4x80) | 17.71 | 0.42504 | 858/844 mt | 851.02 | 848.37 | 848.41 | 0 | 41.1315
| Upper Indravati | 600(4x150) | 29 | 0.696 | 642/625 mt | 633.08 | 629.4 | 629.56 | 0.58225 | 104.3292
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2735.15 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 439.8 | 10.5552 |  |  |  |  | 286.7549 | 737.5813
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1483.38 | 35.6011 | RENEWABLE ENERGY (RE) |  |  |  | 1689 | 1692.7504
[5 empty] | M.Hydl | 77.91
| Total Thermal | 2200 | 1483.38 | 35.6011 | Solar | 105.31 |  |  | 1689 | 1692.7504
IPP | VEDANTA #2 | 600 (1x600) | 395.333 | 9.488 | Total IPPs | Yesterday's Demand Profile |  |  | 399.6484 | 547.0115
| GMR #3 | 350 (1x350) | 285.1766 | 6.8442 | 769.2468 |  | MW | HRS | 318.7489 | 322.164
| NBVL(IPP) | 60(1x60) | 46.5496 | 1.1172 |  |  |  |  | 34.9541 | 55.0836
| MDTPC |  | 42.1875 | 1.0125 |  |  |  |  | 32.437 | 55.5535
| CGPs |  | 775.1727 | 18.6041 | IPPs, CGPs & RE | Maximum | 6587 | 23:00 | 1623 | 2095
| Central Sector(Drawl) |  | 2599.19 | 62.3806 | 1727.6395 | Minimum | 5761 | 06:00 | 2369 | 2062
| Central Sector(Sch) |  | 2731.5212 | 65.5565 |  | Average | 6250.0095 |  | 2447 | 2190
| Grand Total |  | 6250.0095 | 150.0002 | Instantaneous Peak demand |  | 6844 | 22:24 | 5967.7549 | 6587.3317
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1658 | 39.792 | 1667 | 40.008 | 1721 | 41.304
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2430 | 58.32 | 2436 | 58.464 | 2250 | 54
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1300 | 31.2 | 1283 | 30.792 | 1254 | 30.096
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 613 | 14.712 | 609 | 14.616 | 620 | 14.88
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 6001 | 144.024 | 5995 | 143.88 | 5845 | 140.28
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 400 | GMR |  |  |  | 319
| NBVL #3 | 35 | MDTPC |  |  |  | 32
Mini Hydel: | MEENAKSHI | 17 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 7
Solar: |  | 183 | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | 157.7846 | JSL(Duburi) |  |  |  | -73.5351
| ICCL | 36.1418 | visa |  |  |  | 12.3227
| NALCO | -147.3382 | VAL (CGP) |  |  |  | 78.2388
| RSP | -109.6414 | BSL(MMDL) |  |  |  | 16.5566
| INDAL | -0.095135 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -39.2726 | VAL CPP 400 kV |  |  |  | -989.6539
| NBVL | 34.9538 | Arati |  |  |  | 49.6418
| BPSL(JSG) | -26.9349 | BPPL |  |  |  | 93.6582
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-02 | 2026-07-03 | 2026-07-04 | 2026-07-05 | 2026-07-06 | 2026-07-07 | 2026-07-08 | 2026-07-09
200.751 | 360.6517 | 252.0595 | 167.907 | 471.243 | 481.083 | 529.1258 | 439.8
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.09.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AEG03_S_FTG4 | VLSEZ | 0.73
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AEG10_S_FTG4 | VLSEZ | 14.98
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AEG10_W_FTG4 | VLSEZ | 8.73
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | ARYAN_ISPAT | WBSEDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 134.99
JPIPL | NPCL_UP | 0 | DCBL_Rajgangpur | DALCEMAP | -2.5 | AP41PL_BHDL | ODISHA | 52.05
MAADURGA_THERMAL | NPCL_UP | -13.32 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.75 | AP43PL_BKN | ODISHA | 67.66
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.69
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 16.36
OCL_IRON_STEEL | NPCL_UP | -10.09 | FACORPOWER | TPL_DIS_AHM | -25 | AWEK1L | ODISHA | 24.54
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | JSPLANGUL | CSEB_Beneficiary | -150 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.85
TIMES_STEEL | TPL_DIS_AHM_ISTS | -5.75 | NBVLIPP | BSPHCL | -17.92 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 46.46
VSL | CR_IR_MS | -2.92 | OCL_IRON_STEEL | BRPL | -4.08 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 7.52
FARIDABAD_SOLAR | ODISHA | 0.86 | OCL_IRON_STEEL | BRPL | -13.35 | CPTTNPL | VLSEZ | 5.92
JSWEL_UTKAL | ODISHA | 58.33 | ORSISL | WBSEDCL | -5 | DADRI_SOLAR | ODISHA | 0.11
MPPMCL | ODISHA | 0 | RSPL_JHARSUGUDA | WBSEDCL | -10 | ENERSON_SOLAR_10MW | ODISHA | 1.29
RAJ_SOLAR | ODISHA | 2.26 | VSL | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.21 | BRPL | VLSEZ | 60.32 | GADAG_GreenInfra_W | ODISHA | 0.55
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | GADAG_Serentica3_S | VLSEZ | 25.86
|  |  | JIPL | ODISHA | 115.81 | GADAG_Serentica3_W | VLSEZ | 119.48
|  |  | NALCOAP | NACL_Odisha | 29.51 | GIWEL_SECI_II_RE | ODISHA | 83.59
[6 empty] | GPCL_SOLAR_10 | ODISHA | 1.22
[6 empty] | GSECL_SOLAR | ODISHA | 0.95
[6 empty] | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.55
[6 empty] | JREPL_BKN2 | VLSEZ | 9.89
[6 empty] | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.89
[6 empty] | KARUR_TPVARDHAMAN_W | TSKPO | 109.55
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 8.9
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 4.82
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 12.39
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 9.44
[6 empty] | OKWPL_RE | ODISHA | 43.06
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 15.43
[6 empty] | RWE_AP2_SECI_III | ODISHA | 26.83
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 4.55
[6 empty] | SRI9PL_FTG3 | VLSEZ | 79.76
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 72.02
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 10.58
[6 empty] | XXPPL_FTG3 | ODISHA | 58.24

## DAM
DAM TRADING DETAILS FOR DT :09.07.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | -286 | -7 | -0.5 | 0 | 0 | 0 | 468.07
00:15 - 00:30 | 0 | 0 | 0 | 0 | -286 | -7 | -0.5 | 0 | 0 | 0 | 468.07
00:30 - 00:45 | 0 | 0 | 0 | 0 | -286 | -7 | -0.5 | 0 | 0 | 0 | 468.07
00:45 - 01:00 | 0 | 0 | 0 | 0 | -286 | -7 | -0.5 | 0 | 0 | 0 | 468.07
01:00 - 01:15 | 0 | 0 | 0 | 0 | -286 | -7 | -0.5 | 0 | 0 | 0 | 468.07
01:15 - 01:30 | 0 | 0 | 0 | 0 | -286 | -7 | -0.5 | 0 | 0 | 0 | 468.07
01:30 - 01:45 | 0 | 0 | 0 | 0 | -286 | -7 | -0.5 | 0 | 0 | 0 | 468.07
01:45 - 02:00 | 0 | 0 | 0 | 0 | -286 | -7 | -0.5 | 0 | 0 | 62.73 | 468.08
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | -7 | -0.5 | 0 | 5.79 | 62.73 | 646.62
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | -7 | -0.5 | 0 | 5.79 | 62.73 | 648.55
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | -7 | -0.5 | 0 | 5.79 | 62.73 | 653.37
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | -7 | -0.5 | 0 | 5.79 | 62.73 | 653.37
03:00 - 03:15 | 0 | 0 | 0 | 0 | -40.02 | -7 | -0.5 | 0 | 5.79 | 62.73 | 477.73
03:15 - 03:30 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | 0 | 0 | 62.73 | 477.73
03:30 - 03:45 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | 0 | 0 | 62.73 | 477.73
03:45 - 04:00 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | 0 | 0 | 62.73 | 478.69
04:00 - 04:15 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | 0 | 0 | 62.73 | 478.69
04:15 - 04:30 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | 0 | 0 | 62.73 | 478.69
04:30 - 04:45 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | 0 | 0 | 0 | 478.69
04:45 - 05:00 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | 0 | 0 | 0 | 481.58
05:00 - 05:15 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | -25 | 0 | 62.73 | 414.99
05:15 - 05:30 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | -25 | 0 | 0 | 422.71
05:30 - 05:45 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | -25 | 0 | 0 | 424.64
05:45 - 06:00 | 0 | 0 | 0 | 0 | -150 | -7 | -0.5 | -25 | 0 | 0 | 426.57
06:00 - 06:15 | 0 | 0 | -150 | 0 | -150 | -7 | -0.5 | -25 | 0 | 0 | 220.04
06:15 - 06:30 | 0 | 0 | -150 | 0 | -150 | -7 | -0.5 | -25 | 0 | 0 | 456.49
06:30 - 06:45 | 0 | 0 | -150 | 0 | -150 | -7 | -0.5 | -25 | 0 | 0 | 440.09
06:45 - 07:00 | 0 | 0 | -150 | 0 | -150 | -7 | -0.5 | -25 | 0 | 0 | 414.03
07:00 - 07:15 | 20.27 | 0 | -234.85 | 0 | -150 | -7 | -0.5 | -25 | 0 | 53.08 | 425.61
07:15 - 07:30 | 20.27 | 0 | -175.35 | 0 | 0 | -7 | -0.5 | -25 | 5.79 | 0 | 391.83
07:30 - 07:45 | 20.27 | 0 | 0 | 0 | 0 | -7 | -0.5 | -25 | 5.79 | 0 | 365.77
07:45 - 08:00 | 20.27 | 0 | 0 | 0 | 0 | -7 | -0.5 | -25 | 5.79 | 0 | 311.73
08:00 - 08:15 | 20.27 | 0 | -425 | 0 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 344.54
08:15 - 08:30 | 20.27 | 0 | -212.09 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 306.9
08:30 - 08:45 | 20.27 | 0 | -61.71 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 6.76
08:45 - 09:00 | 20.27 | 0 | -96.82 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 3.86
09:00 - 09:15 | 20.27 | 0 | 0 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 0
09:15 - 09:30 | 20.27 | 0 | 0 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 0
09:30 - 09:45 | 20.27 | 0 | 0.14 | 28.96 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 0
09:45 - 10:00 | 20.27 | 0 | 0.33 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 0
10:00 - 10:15 | 20.27 | 0 | 9.19 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 0
10:15 - 10:30 | 20.27 | 0 | 13.69 | 28.96 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 0
10:30 - 10:45 | 20.27 | 0 | 15.07 | 28.95 | 0 | -0.32 | -0.5 | 0 | 5.79 | 0 | 0.97
10:45 - 11:00 | 20.27 | 0 | 17.55 | 28.94 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 0.97
11:00 - 11:15 | 20.27 | 0 | 15.07 | 28.96 | 0 | -0.08 | -0.5 | 0 | 5.79 | 0 | 19.3
11:15 - 11:30 | 20.27 | 0 | 15.07 | 28.95 | 0 | -0.59 | -0.5 | 0 | 5.79 | 0 | 19.3
11:30 - 11:45 | 20.27 | 0 | 15.03 | 28.95 | 0 | -0.02 | -0.5 | 0 | 5.79 | 0 | 19.3
11:45 - 12:00 | 20.27 | 0 | 15.29 | 28.94 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 19.3
12:00 - 12:15 | 20.27 | 0 | 19.99 | 28.94 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 19.3
12:15 - 12:30 | 20.27 | 0 | 13.96 | 28.95 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 19.3
12:30 - 12:45 | 20.27 | 0 | 12.49 | 28.95 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 19.3
12:45 - 13:00 | 20.27 | 0 | 12.49 | 28.94 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 19.3
13:00 - 13:15 | 20.27 | 0 | 12.49 | 28.95 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 19.3
13:15 - 13:30 | 20.27 | 0 | 12.49 | 28.95 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 19.3
13:30 - 13:45 | 20.27 | 0 | 12.49 | 28.95 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 19.3
13:45 - 14:00 | 20.27 | 0 | 12.49 | 28.94 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 19.3
14:00 - 14:15 | 20.27 | 0 | 16.97 | 28.95 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 9.65
14:15 - 14:30 | 20.27 | 0 | 16.97 | 28.94 | 0 | 0 | -0.5 | 0 | 5.79 | 0 | 18.34
14:30 - 14:45 | 20.27 | 0 | 11.27 | 28.95 | 0 | -0.52 | -0.5 | 0 | 5.79 | 0 | 32.82
14:45 - 15:00 | 20.27 | 0 | 9.37 | 28.95 | 0 | -0.96 | -0.5 | 0 | 5.79 | 0 | 56.94
15:00 - 15:15 | 20.27 | 0 | 9.84 | 28.96 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 28.95
15:15 - 15:30 | 20.27 | 0 | 0 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 29.92
15:30 - 15:45 | 20.27 | 0 | 0 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 67.56
15:45 - 16:00 | 20.27 | 0 | -210.42 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 80.1
16:00 - 16:15 | 20.27 | 0 | -207.42 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 1.93
16:15 - 16:30 | 20.27 | 0 | -199.11 | 28.95 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 4.83
16:30 - 16:45 | 20.26 | 0 | -371.93 | 0 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 4.83
16:45 - 17:00 | 20.27 | 0 | -400 | 0 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 7.72
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 6.76
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 7.72
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 8.69
17:45 - 18:00 | 0 | 0 | -200 | 0 | 0 | -1 | -0.5 | 0 | 5.79 | 0 | 339.72
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | -6 | -0.5 | 0 | 5.79 | 0 | 149.59
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | -6 | -0.5 | 0 | 5.79 | 0 | 184.33
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | -6 | -0.5 | 0 | 5.79 | 53.08 | 218.11
18:45 - 19:00 | 0 | 0 | 0 | 0 | -189 | -6 | -0.5 | 0 | 5.79 | 53.08 | 246.1
19:00 - 19:15 | 0 | 0 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 276.02
19:15 - 19:30 | 0 | 0 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 278.91
19:30 - 19:45 | 0 | 0 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 279.88
19:45 - 20:00 | 0 | 0 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 279.88
20:00 - 20:15 | 0 | 0 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 278.91
20:15 - 20:30 | 0 | 0 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 280.84
20:30 - 20:45 | 0 | 0 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 277.95
20:45 - 21:00 | 0 | 0 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 276.98
21:00 - 21:15 | 0 | -12 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 276.02
21:15 - 21:30 | 0 | -12 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 276.02
21:30 - 21:45 | 0 | -12 | -24.98 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 276.02
21:45 - 22:00 | 0 | -12 | -50 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 247.46
22:00 - 22:15 | 0 | -12 | -50 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 249.23
22:15 - 22:30 | 0 | -12 | -50 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 230.64
22:30 - 22:45 | 0 | -12 | -50 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 207.26
22:45 - 23:00 | 0 | -12 | -50 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 219.53
23:00 - 23:15 | 0 | -12 | -49.98 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 276.98
23:15 - 23:30 | 0 | -12 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 276.98
23:30 - 23:45 | 0 | -12 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 276.98
23:45 - 24:00 | 0 | -12 | 0 | 0 | -286 | -9 | -0.5 | 0 | 0 | 0 | 276.98
Average | 8.4457 | -1.5 | -35.7283 | 9.9514 | -110.8023 | -4.7134 | -0.5 | -3.125 | 3.1363 | 9.5 | 235.5228

## GDAM
GDAM TRADING DETAILS FOR DT:09.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 4.72 | 0 | 0 | 0 | 0 | 48.25
00:15 - 00:30 | 0 | 0 | 0 | 0 | 4.61 | 0 | 0 | 0 | 0 | 48.26
00:30 - 00:45 | 0 | 0 | 0 | 0 | 3.69 | 0 | 0 | 0 | 0 | 48.25
00:45 - 01:00 | 0 | 0 | 0 | 0 | 3.88 | 0 | 0 | 0 | 0 | 48.25
01:00 - 01:15 | 0 | 0 | 0 | 0 | 5.91 | 0 | 0 | 0 | 0 | 48.25
01:15 - 01:30 | 0 | 0 | 0 | 0 | 5.8 | 0 | 0 | 0 | 0 | 48.26
01:30 - 01:45 | 0 | 0 | 0 | 0 | 5.84 | 0 | 0 | 0 | 0 | 48.25
01:45 - 02:00 | 0 | 0 | 0 | 0 | 6.77 | 0 | 0 | 0 | 0 | 48.25
02:00 - 02:15 | 0 | 0 | 0 | 0 | 8.75 | 0 | 0 | 0 | 0 | 48.26
02:15 - 02:30 | 0 | 0 | 0 | 0 | 9.09 | 0 | 0 | 0 | 0 | 48.26
02:30 - 02:45 | 0 | 0 | 0 | 0 | 8.56 | 0 | 0 | 0 | 0 | 48.26
02:45 - 03:00 | 0 | 0 | 0 | 0 | 8.85 | 0 | 0 | 0 | 0 | 48.25
03:00 - 03:15 | 0 | 0 | 0 | 0 | 10.12 | 0 | 0 | 0 | 0 | 48.26
03:15 - 03:30 | 0 | 0 | 0 | 0 | 11.02 | 0 | 0 | 0 | 0 | 48.26
03:30 - 03:45 | 0 | 0 | 0 | 0 | 10.72 | 0 | 0 | 0 | 0 | 48.26
03:45 - 04:00 | 0 | 0 | 0 | 0 | 11.68 | 0 | 0 | 0 | 0 | 48.25
04:00 - 04:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
04:15 - 04:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
04:30 - 04:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
04:45 - 05:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
05:00 - 05:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
05:15 - 05:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
05:30 - 05:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
05:45 - 06:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
06:00 - 06:15 | 0 | -0.1 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
06:15 - 06:30 | 0 | -0.4 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
06:30 - 06:45 | 0 | -0.8 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
06:45 - 07:00 | 0 | -1.1 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 48.25
07:00 - 07:15 | 0 | -1.6 | 0 | 0 | 14.48 | 0 | 0 | 5.79 | 0 | 223.9
07:15 - 07:30 | 0 | -2.4 | 0 | 0 | 14.48 | 0 | 0 | 5.79 | 53.08 | 223.9
07:30 - 07:45 | 0 | -3 | 0 | 0 | 14.48 | 36.67 | 0 | 5.79 | 53.08 | 222.94
07:45 - 08:00 | 0 | -4 | 0 | 0 | 14.48 | 36.67 | 0 | 5.79 | 53.08 | 223.9
08:00 - 08:15 | 0 | -5.4 | 0 | 0 | 14.48 | 29.06 | 9.65 | 5.79 | 53.08 | 0
08:15 - 08:30 | 0 | -7.1 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 0
08:30 - 08:45 | 0 | -7.7 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 0
08:45 - 09:00 | 0 | -16.5 | 195.92 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 0
09:00 - 09:15 | 0 | -16.3 | 238.84 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 29.92
09:15 - 09:30 | 0 | -13.2 | 242.63 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 138.01
09:30 - 09:45 | 0 | -12.1 | 242.64 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 195.92
09:45 - 10:00 | 0 | -13.1 | 242.65 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 253.82
10:00 - 10:15 | -1.3 | -19.3 | 261.96 | 3.86 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 394.73
10:15 - 10:30 | -3.3 | -19.4 | 252.7 | 10.13 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 442.99
10:30 - 10:45 | -3.7 | -18.8 | 261.93 | 11.97 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 491.23
10:45 - 11:00 | -2.7 | -11.7 | 261.93 | 9.55 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.02
11:00 - 11:15 | -2.3 | -17.5 | 261.93 | 9.84 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.02
11:15 - 11:30 | -3.1 | -18.3 | 261.93 | 6.95 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.01
11:30 - 11:45 | -3.7 | -18.3 | 261.94 | 6.66 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.01
11:45 - 12:00 | -4.4 | -18.3 | 261.93 | 5.98 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.02
12:00 - 12:15 | -7.8 | -16.8 | 261.95 | 8.11 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.01
12:15 - 12:30 | -5.1 | -11.7 | 270.32 | 5.6 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.02
12:30 - 12:45 | -5.9 | -14.9 | 272.26 | 6.76 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.02
12:45 - 13:00 | -3.7 | -11.1 | 272.26 | 7.91 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.02
13:00 - 13:15 | -3.1 | -10 | 272.26 | 7.72 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.02
13:15 - 13:30 | -2.9 | -9.3 | 272.26 | 7.05 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.02
13:30 - 13:45 | -4.6 | -10.3 | 272.26 | 5.98 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 525.02
13:45 - 14:00 | -3.8 | -13.1 | 272.26 | 6.76 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 525.02
14:00 - 14:15 | -0.7 | -9.9 | 266.1 | 8.59 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 480.62
14:15 - 14:30 | 0 | -8.6 | 266.12 | 11.58 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 388.93
14:30 - 14:45 | 0 | -8.9 | 268.82 | 13.22 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 282.78
14:45 - 15:00 | -1.2 | -13.4 | 272.27 | 13.7 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 126.43
15:00 - 15:15 | 0 | -13.8 | 258.48 | 10.91 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 96.51
15:15 - 15:30 | 0 | -11 | 255.04 | 10.71 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 96.51
15:30 - 15:45 | 0 | -10.3 | 248.15 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 96.51
15:45 - 16:00 | 0 | -6.2 | 242.65 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 96.51
16:00 - 16:15 | 0 | -5.9 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 174.68
16:15 - 16:30 | 0 | -5.5 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 174.68
16:30 - 16:45 | 0 | -5.1 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 175.65
16:45 - 17:00 | 0 | -4.4 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 174.68
17:00 - 17:15 | 0 | -4.1 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 43.43 | 174.68
17:15 - 17:30 | 0 | -3.2 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 174.69
17:30 - 17:45 | 0 | -2.2 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 175.65
17:45 - 18:00 | 0 | -1.5 | 0 | 0 | 14.48 | 36.67 | 9.65 | 5.79 | 53.08 | 175.65
18:00 - 18:15 | 0 | -0.9 | 0 | 0 | 14.48 | 0 | 0 | 5.79 | 53.08 | 175.65
18:15 - 18:30 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 5.79 | 53.08 | 175.65
18:30 - 18:45 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 5.79 | 0 | 174.68
18:45 - 19:00 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 152.68
19:00 - 19:15 | 0 | 0 | 0 | 0 | 14.48 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.65938 | -4.776 | 78.0457 | 1.9744 | 10.4509 | 15.9639 | 4.0208 | 2.8347 | 23.474 | 153.7645

## RTM
RTM TRADING DETAILS FOR DT: 09.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 5.79 | -3.3
00:15 - 00:30 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 5.79 | -3.3
00:30 - 00:45 | -0.2 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3
00:45 - 01:00 | -0.2 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3.3
01:00 - 01:15 | -0.2 | 0 | 0 | 0 | -1.3 | 78.94 | 10.62 | 0 | 0 | -2.2 | 0 | 11.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.73 | -25 | 7.72 | 11.62 | 0 | 0 | -3.3
01:15 - 01:30 | -0.2 | 0 | 0 | 0 | -1.3 | 173.38 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 0 | 0 | 0 | 0 | 62.73 | -45 | 7.72 | 24.13 | 0 | 0 | -3.3
01:30 - 01:45 | -0.2 | 0 | 0 | 0 | -1.3 | 313.67 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 0 | 4.83 | 0 | 0 | 62.73 | -10 | 7.72 | 24.13 | 5.4 | 0 | -3.3
01:45 - 02:00 | -0.2 | 0 | 0 | 0 | -1.3 | 313.66 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 0 | 4.83 | 0 | 0 | 0 | 0 | 7.72 | 24.13 | 5.4 | 0 | -3.3
02:00 - 02:15 | -0.2 | 0 | 0 | 0 | -1.3 | 289.55 | 10.62 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3.3
02:15 - 02:30 | -0.2 | 0 | 0 | 0 | -1.3 | 294 | 10.62 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3
02:30 - 02:45 | -0.2 | 0 | 0 | 0 | -1.3 | 181.89 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3
02:45 - 03:00 | -0.2 | 0 | 0 | 0 | -1.3 | 173.5 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0 | 0 | -3.3
03:00 - 03:15 | -0.2 | 0 | 0 | 0 | -1.3 | 395.67 | 10.62 | 0 | 0 | -2.2 | 0 | 11.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -25 | 7.72 | 0 | 0 | 0 | -3.3
03:15 - 03:30 | -0.2 | 0 | 0 | 0 | -1.3 | 524.91 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 0 | 4.83 | 9.65 | -10 | 0 | -20 | 7.72 | 24.13 | 5.4 | 0 | -3.3
03:30 - 03:45 | -0.2 | 0 | 0 | 0 | -1.3 | 509.08 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 0 | 4.83 | 0 | -10 | 0 | 0 | 7.72 | 24.13 | 5.4 | 0 | -3.3
03:45 - 04:00 | -0.2 | 0 | 0 | 0 | 0 | 532.72 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 0 | 4.83 | 9.65 | -10 | 0 | -4 | 7.72 | 24.13 | 5.4 | 0 | -3.3
04:00 - 04:15 | -0.2 | 0 | 0 | 0 | -1.3 | 325.12 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 0 | 4.83 | 9.65 | -10 | 0 | -8 | 7.72 | 24.13 | 5.4 | 0 | -3.3
04:15 - 04:30 | -0.2 | 0 | 0 | 0 | -1.3 | 212.27 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 7.72 | 24.13 | 0 | 0 | -3.3
04:30 - 04:45 | -0.2 | 0 | 0 | 0 | -1.3 | 323.29 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 4.83 | 4.83 | 9.65 | -10 | 62.73 | -10 | 7.72 | 24.13 | 0.97 | 23.16 | -3.3
04:45 - 05:00 | -0.2 | 0 | 0 | 0 | -1.3 | 409.68 | 10.62 | 0 | 7.72 | -2.2 | 0 | 11.58 | 0 | 0 | 9.65 | 0 | 0 | 0 | 0 | -10 | 62.73 | -20 | 7.72 | 24.13 | 0 | 20.27 | -3.3
05:00 - 05:15 | -0.2 | 0 | 0 | 0 | -1.3 | 200.62 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -10 | 7.72 | 0 | 0 | 19.3 | -3.3
05:15 - 05:30 | -0.2 | 0 | 0 | 0 | -1.3 | 193.05 | 10.62 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 13.51 | -3.3
05:30 - 05:45 | -0.2 | 0 | 0 | -0.4 | -1.3 | 79.04 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 10.62 | -3.3
05:45 - 06:00 | -0.2 | 0 | 0 | -0.4 | -1.3 | 34.48 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -8 | 0 | 0 | 0 | 7.72 | -3.3
06:00 - 06:15 | -0.2 | 0 | 0 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -25 | 0 | 0 | 0 | 12.55 | -3.3
06:15 - 06:30 | -0.2 | 0 | 0 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 14.48 | -3.3
06:30 - 06:45 | -0.2 | 0 | 0 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -5 | 0 | 0 | 0 | 13.51 | -3.3
06:45 - 07:00 | -0.2 | 0 | 0 | -0.4 | -1.3 | 100.95 | 10.62 | 0 | 0 | -0.9 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 12.55 | -3.3
07:00 - 07:15 | -0.2 | 0 | 0 | 0 | -1.3 | 9.21 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 7.72 | 0 | 0 | 0 | -3.3
07:15 - 07:30 | -0.2 | -10 | 0 | 0 | -1.3 | 13.62 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -12 | 7.72 | 24.12 | 0 | 0 | -3.3
07:30 - 07:45 | -0.2 | 0 | 0 | 0 | -1.3 | 22.14 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -1.6 | 3.86 | 0 | 0 | 0 | 0 | -10 | 0 | -30 | 7.72 | 24.13 | 0 | 0 | -3.3
07:45 - 08:00 | -0.2 | 0 | 0 | 0 | -1.3 | 41.41 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -1.9 | 3.86 | 0 | 0 | 4.83 | 0 | -10 | 0 | -30 | 7.72 | 24.13 | 0.97 | 0 | -3.3
08:00 - 08:15 | -0.3 | 0 | 0 | 0 | 0 | -50 | 10.62 | 0 | 7.72 | -0.9 | -15 | 11.58 | 0 | -2.2 | 3.86 | 0 | 0 | 4.83 | 0 | 0 | 0 | 0 | 7.72 | 43.43 | 5.4 | 0 | -3.3
08:15 - 08:30 | -0.3 | 0 | 0 | 0 | 0 | -300 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -2.5 | 3.86 | 0 | 0 | 4.83 | 0 | 0 | 0 | 0 | 7.72 | 43.43 | 5.4 | 0 | -3.3
08:30 - 08:45 | -0.3 | 0 | 0 | 0 | 0 | -195.51 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -2.7 | 3.86 | 0 | 0 | 4.83 | 0 | 0 | 0 | 0 | 7.72 | 43.43 | 5.4 | 0 | -3.3
08:45 - 09:00 | -0.3 | -10 | 0 | 0 | 0 | -192.46 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -3 | 3.86 | 0 | 0 | 4.83 | 0 | 0 | 0 | 0 | 7.72 | 43.43 | 5.4 | 0 | -3.3
09:00 - 09:15 | -0.3 | 0 | 0 | 0 | 0 | -350 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -3.2 | 3.86 | 0 | 0 | 4.83 | 0 | 0 | 0 | -30 | 0 | 38.6 | 5.4 | 0 | -3.3
09:15 - 09:30 | -0.3 | 0 | 0 | 0 | 0 | -250 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -0.9 | 3.86 | 0 | 0 | 4.83 | 0 | 0 | 0 | -40 | 0 | 38.6 | 5.4 | 0 | -3.3
09:30 - 09:45 | -0.3 | 0 | 0 | 0 | 0 | 48.38 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | 4.34 | 3.86 | 0 | -4 | 7.72 | 0 | 0 | 0 | 0 | 0 | 38.6 | 5.4 | 0 | -3.3
09:45 - 10:00 | -0.3 | 0 | 0 | 0 | 0 | 70.74 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | 3.96 | 3.86 | 0 | -4 | 7.72 | 0 | 0 | 0 | 0 | 0 | 38.6 | 5.4 | 0 | -3.3
10:00 - 10:15 | -0.3 | 0 | 0 | 0 | 0 | 85.15 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | 3.86 | 3.86 | 0 | -4 | 7.72 | 0 | 0 | 0 | 0 | 0 | 43.43 | 5.4 | 0 | -3.3
10:15 - 10:30 | -0.3 | -10 | 0 | 0 | 0 | 92.01 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | 3.76 | 3.86 | 0 | -4 | 7.72 | 0 | 0 | 0 | -20 | 0 | 43.43 | 5.4 | 0 | -3.3
10:30 - 10:45 | -0.3 | 0 | 0 | 0 | 0 | 54.67 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | 3.57 | 3.86 | 0 | 0 | 7.72 | 0 | -3 | 19.3 | 0 | 0 | 43.43 | 5.4 | 0 | -3.3
10:45 - 11:00 | -0.3 | 0 | 0 | 0 | 0 | 247.68 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | 3.47 | 3.86 | 0 | 0 | 7.72 | 0 | -3 | 19.3 | -30 | 0 | 43.43 | 5.4 | 0 | -3.3
11:00 - 11:15 | -0.3 | 0 | 0 | 0 | 0 | 549.27 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | 3.47 | 3.86 | 0 | 0 | 7.72 | 0 | -3 | 19.3 | -40 | 0 | 43.43 | 5.4 | 0 | -3.3
11:15 - 11:30 | -0.3 | 0 | 0 | 0 | 0 | 597.52 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | 3.38 | 3.86 | 0 | 0 | 7.72 | 0 | -3 | 19.3 | -40 | 0 | 43.43 | 5.4 | 0 | -3.3
11:30 - 11:45 | -0.3 | 0 | -7.8 | 0 | 0 | 421.38 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | 3.67 | 3.86 | 0 | 0 | 7.72 | 0 | -3 | 19.3 | -20 | 0 | 43.43 | 5.4 | 0 | -3.3
11:45 - 12:00 | -0.3 | -10 | -7.5 | 0 | 0 | 419.84 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | 3.67 | 3.86 | 0 | 0 | 7.72 | 0 | -3 | 19.3 | -40 | 0 | 43.43 | 5.4 | 0 | -3.3
12:00 - 12:15 | -0.3 | 0 | 0 | 0 | 0 | 472.9 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 3.76 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 19.3 | -20 | 0 | 43.43 | 5.4 | 0 | -3.3
12:15 - 12:30 | -0.3 | 0 | 0 | 0 | 0 | 521.15 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 3.67 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 19.3 | -40 | 0 | 43.43 | 5.4 | 0 | -3.3
12:30 - 12:45 | -0.3 | 0 | 0 | 0 | 0 | 511.52 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 3.57 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 19.3 | -40 | 0 | 43.43 | 5.6 | 0 | -3.3
12:45 - 13:00 | -0.3 | 0 | 0 | 0 | 0 | 511.52 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 3.57 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 19.3 | -10 | 0 | 43.43 | 5.6 | 0 | -3.3
13:00 - 13:15 | -0.3 | 0 | 0 | -0.4 | 0 | 511.53 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 3.57 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 19.3 | -45 | 0 | 38.6 | 5.6 | 0 | -3.6
13:15 - 13:30 | -0.3 | -10 | 0 | -0.4 | 0 | 463.27 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 3.76 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 19.3 | -40 | 0 | 38.6 | 5.6 | 0 | -3.6
13:30 - 13:45 | -0.3 | 0 | 0 | -0.4 | 0 | 463.25 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 3.96 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 19.3 | -20 | 0 | 38.6 | 5.6 | 0 | -3.6
13:45 - 14:00 | -0.3 | 0 | 0 | -0.4 | 0 | 511.5 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 4.15 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 0 | -50 | 0 | 38.6 | 5.6 | 0 | -3.6
14:00 - 14:15 | -0.3 | 0 | 0 | -0.4 | 0 | 704.52 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 4.34 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 0 | -50 | 0 | 38.6 | 5.6 | 0 | -3.6
14:15 - 14:30 | -0.3 | -14 | 0 | -0.4 | 0 | 775.08 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | 4.54 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 0 | -20 | 0 | 38.6 | 5.6 | 0 | -3.6
14:30 - 14:45 | -0.3 | -11 | 0 | -0.4 | 0 | 889.65 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | -0.6 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 0 | -20 | 0 | 38.6 | 5.6 | 0 | -3.6
14:45 - 15:00 | -0.3 | -10 | 0 | -0.4 | 0 | 904.78 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | -2.7 | 4.83 | 0 | 0 | 7.72 | 0 | 0 | 0 | -30 | 0 | 38.6 | 5.6 | 0 | -3.6
15:00 - 15:15 | -0.3 | -2 | 0 | -0.4 | 0 | 735.93 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | -2.5 | 0 | 0 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 38.6 | 5.6 | 0 | -3.6
15:15 - 15:30 | -0.3 | -6 | 0 | -0.4 | 0 | 622.62 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | -2.3 | 0 | 0 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 38.6 | 5.6 | 0 | -3.6
15:30 - 15:45 | -0.3 | -6 | 0 | -0.4 | 0 | 201.46 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | -2 | 0 | -5 | 0 | 7.72 | 0 | 0 | 0 | -45 | 0 | 38.6 | 5.6 | 0 | -3.6
15:45 - 16:00 | -0.3 | 0 | 0 | -0.4 | 0 | 344.38 | 10.62 | 0 | 7.72 | -0.9 | 0 | 17.37 | 0 | -1.8 | 0 | -5 | 0 | 7.72 | 0 | 0 | 0 | -45 | 0 | 38.6 | 5.6 | 0 | -3.6
16:00 - 16:15 | -0.3 | 0 | 0 | -0.4 | 0 | 260.42 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -1.5 | 0 | -10 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 19.3 | 5.6 | 0 | -3.6
16:15 - 16:30 | -0.3 | 0 | 0 | -0.4 | 0 | 190.01 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -1.3 | 0 | -10 | 0 | 7.72 | 0 | 0 | 0 | -15 | 0 | 19.3 | 5.6 | 0 | -3.6
16:30 - 16:45 | -0.3 | 0 | 0 | -0.4 | 0 | 162.16 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -1.3 | 0 | -10 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 19.3 | 5.6 | 0 | -3.6
16:45 - 17:00 | -0.3 | 0 | 0 | -0.4 | 0 | 239.48 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -1 | 0 | -10 | 0 | 7.72 | 0 | 0 | 0 | -15 | 0 | 19.3 | 5.6 | 0 | -3.6
17:00 - 17:15 | -0.3 | -10 | 0 | 0 | 0 | -50.9 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -0.8 | 0 | -10 | 0 | 2.9 | 0 | 0 | 0 | -30 | 7.72 | 19.29 | 5.6 | 0 | -3.6
17:15 - 17:30 | -0.3 | 0 | 0 | 0 | 0 | 0 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -0.5 | 0 | -10 | 0 | 2.9 | 0 | 0 | 0 | -80 | 7.72 | 19.29 | 5.6 | 0 | -3.6
17:30 - 17:45 | -0.3 | 0 | 0 | 0 | 0 | 0 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | -0.3 | 1.93 | -10 | 0 | 2.9 | 0 | 0 | 0 | -50 | 7.72 | 19.29 | 5.6 | 0 | -3.6
17:45 - 18:00 | -0.3 | 0 | 0 | 0 | 0 | -68.12 | 10.62 | 0 | 7.72 | -0.9 | 0 | 11.58 | 0 | 0 | 1.93 | -10 | 0 | 2.9 | 0 | 0 | 0 | -4 | 7.72 | 19.29 | 5.6 | 0 | -3.6
18:00 - 18:15 | -0.3 | 0 | 0 | 0 | 0 | -40.52 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | 0 | 1.93 | -10 | 0 | 2.9 | 0 | 0 | 19.29 | -5 | 7.72 | 14.48 | 5.6 | 0 | -3.6
18:15 - 18:30 | -0.3 | 0 | 0 | 0 | 0 | -5.07 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | 0 | 1.93 | -10 | 0 | 2.9 | 0 | 0 | 19.29 | -50 | 7.72 | 14.48 | 5.6 | 0 | -3.6
18:30 - 18:45 | -0.3 | 0 | 0 | 0 | 0 | -58.55 | 10.62 | 0 | 0 | -0.9 | 0 | 11.58 | 0 | 0 | 3.86 | -10 | 0 | 0 | 0 | 0 | 19.3 | -75 | 7.72 | 14.48 | 0 | 0 | -3.6
18:45 - 19:00 | -0.3 | 0 | 0 | 0 | 0 | -20.02 | 0 | 0 | 0 | -0.9 | -15 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 14.48 | 0 | 0 | -3.6
19:00 - 19:15 | -0.3 | 0 | 0 | 0 | -1.3 | -7.97 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 9.65 | 0 | 0 | -3.6
19:15 - 19:30 | -0.3 | 0 | 0 | 0 | -1.3 | -26.15 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -3.6
19:30 - 19:45 | -0.3 | 0 | 0 | 0 | -1.3 | -8.1 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -3.6
19:45 - 20:00 | -0.3 | 0 | 0 | 0 | -1.3 | -8.13 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -3.6
20:00 - 20:15 | -0.3 | 0 | 0 | 0 | -1.3 | 0 | 0 | -30 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -3.6
20:15 - 20:30 | -0.3 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -80 | 0 | 9.65 | 0 | 0 | -3.6
20:30 - 20:45 | -0.3 | 0 | 0 | 0 | -1.3 | -0.01 | 0 | -30 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -3.6
20:45 - 21:00 | -0.3 | 0 | 0 | 0 | -1.3 | -0.02 | 0 | -30 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -3.6
21:00 - 21:15 | -0.3 | 0 | 0 | 0 | -1.3 | -47.96 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -3.6
21:15 - 21:30 | -0.3 | 0 | 0 | 0 | -1.3 | -52.32 | 0 | -30 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -95 | 0 | 0 | 0 | 0 | -3.6
21:30 - 21:45 | -0.3 | 0 | 0 | -0.4 | -1.3 | -79.37 | 0 | -30 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -4.7
21:45 - 22:00 | -0.3 | 0 | 0 | -0.4 | -1.3 | -30.01 | 0 | -30 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -4.7
22:00 - 22:15 | -0.3 | 0 | 0 | -0.4 | -1.3 | -51.16 | 0 | -50 | 0 | -0.9 | 0 | 0 | -1.5 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | -4.7
22:15 - 22:30 | -0.3 | 0 | 0 | -0.4 | -1.3 | -25.01 | 0 | -50 | 0 | -0.9 | 0 | 0 | -1.5 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 25.09 | -4.7
22:30 - 22:45 | -0.3 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | -1.5 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 49.22 | -4.7
22:45 - 23:00 | -0.3 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | -1.5 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -100 | 0 | 9.65 | 0 | 36.67 | -4.7
23:00 - 23:15 | -0.3 | 0 | 0 | 0 | -1.3 | -47.51 | 0 | 0 | 0 | -0.9 | 0 | 0 | -1.5 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -4.7
23:15 - 23:30 | -0.3 | 0 | 0 | 0 | -1.3 | -80.07 | 0 | 0 | 0 | -0.9 | 0 | 0 | -1.5 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 9.65 | 0 | 0 | -4.7
23:30 - 23:45 | -0.3 | 0 | 0 | 0 | -1.3 | -105 | 10.62 | 0 | 0 | -0.9 | 0 | 14.48 | -1.5 | 0 | 9.65 | -10 | 0 | 0 | 0 | 0 | 67.55 | -50 | 7.72 | 9.65 | 0 | 0 | -4.7
23:45 - 24:00 | -0.3 | 0 | 0 | 0 | -1.3 | -249.98 | 10.62 | 0 | 0 | -0.9 | 0 | 14.48 | -1.5 | 0 | 9.65 | -10 | 0 | 2.9 | 0 | 0 | 67.55 | -40 | 7.72 | 9.65 | 5.6 | 0 | -4.7
Average | -0.2625 | -1.1354 | -0.15938 | -0.10833 | -0.69062 | 165.9344 | 7.3013 | -2.9167 | 3.86 | -1.1708 | -0.3125 | 8.5042 | -0.125 | 0.35875 | 2.6544 | -3.4375 | -0.11635 | 3.3283 | 0.40208 | -2.375 | 7.8909 | -28.2917 | 2.4125 | 19.8746 | 2.8285 | 2.8149 | -3.5521