## POWER STATUS
POWER STATUS ON DT 11.07.2026
[9 empty] | 2026-07-11 | 2026-07-10
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 6169.4384 | 6662.2762
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 167.958 | 4.031 | 630/590 ft | 604.71 | 614.47 | 612.52 | 163.7909 | 164.5902
| Chiplima | 72(3x24) | 47.417 | 1.138 | - |  |  |  | 48.6748 | 47.4043
| Balimela | 510(6x60+2x75) | 124.375 | 2.985 | 1516/1440 ft | 1463.7 | 1458.7 | 1458.5 | 95.6479 | 336.8089
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 120.77 | 111.76 | 112.14 | 0 | 0
| Upper Kolab | 320(4x80) | 11.25 | 0.27 | 858/844 mt | 851.05 | 848.41 | 848.45 | 0 | 41.2069
| Upper Indravati | 600(4x150) | 24.1042 | 0.5785 | 642/625 mt | 633.19 | 629.56 | 629.57 | 0.55975 | 105.2064
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2735.5 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 375.1042 | 9.0025 |  |  |  |  | 308.6734 | 695.2167
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1667.6087 | 40.0226 | RENEWABLE ENERGY (RE) |  |  |  | 1670.9063 | 1669.9387
[5 empty] | M.Hydl | 73.43
| Total Thermal | 2200 | 1667.6087 | 40.0226 | Solar | 113.73 |  |  | 1670.9063 | 1669.9387
IPP | VEDANTA #2 | 600 (1x600) | 405.4207 | 9.7301 | Total IPPs | Yesterday's Demand Profile |  |  | 396.6017 | 524.4531
| GMR #3 | 350 (1x350) | 290.7134 | 6.9771 | 788.0019 |  | MW | HRS | 322.0164 | 324.7401
| NBVL(IPP) | 60(1x60) | 48.5387 | 1.1649 |  |  |  |  | 54.594 | 54.2077
| MDTPC |  | 43.3292 | 1.0399 |  |  |  |  | 55.4855 | 55.8286
| CGPs |  | 813.9727 | 19.5353 | IPPs, CGPs & RE | Maximum | 6662 | 23:00 | 1745.3059 | 2069.7634
| Central Sector(Drawl) |  | 2308.1714 | 55.3961 | 1789.1346 | Minimum | 5773 | 06:00 | 2444.5528 | 2227.3573
| Central Sector(Sch) |  | 2520.4205 | 60.4901 |  | Average | 6140.0189 |  | 2282.48 | 2291.1899
| Grand Total |  | 6140.0189 | 147.3605 | Instantaneous Peak demand |  | 6758.832 | 46213.9694 | 6169.4384 | 6662.2762
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1741 | 41.784 | 1619 | 38.856 | 1652 | 39.648
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2359 | 56.616 | 2400 | 57.6 | 1620 | 38.88
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1311 | 31.464 | 1269 | 30.456 | 1325 | 31.8
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 612 | 14.688 | 606 | 14.544 | 603 | 14.472
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 6023 | 144.552 | 5894 | 141.456 | 5200 | 124.8
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 364.5312 | GMR |  |  |  | 180.5244
| NBVL #3 | 34.9181 | MDTPC |  |  |  | 31.0736
Mini Hydel: | MEENAKSHI | 30.0295 | OPCL |  |  |  | 0
| BTPL | 20.002 | SAPTADHARA |  |  |  | 6.09
Solar: |  | 272.5703 | KAKATIYA |  |  |  | 3.8127
CGPs : | JSPL (Angul) | 118.9902 | JSL(Duburi) |  |  |  | -96.6592
| ICCL | 34.5083 | visa |  |  |  | 13.5356
| NALCO | -153.5973 | VAL (CGP) |  |  |  | 75.4594
| RSP | -124.6411 | BSL(MMDL) |  |  |  | 109.1162
| INDAL | 13.4805 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -38.7811 | VAL CPP 400 kV |  |  |  | -704.7406
| NBVL | 39.6376 | Arati |  |  |  | 50.2097
| BPSL(JSG) | -177.4284 | BPPL |  |  |  | 98.7048
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-03 | 2026-07-04 | 2026-07-05 | 2026-07-06 | 2026-07-07 | 2026-07-08 | 2026-07-09 | 2026-07-10
360.6517 | 252.0595 | 167.907 | 471.243 | 481.083 | 529.1258 | 439.8 | 375.1042
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.10.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.59
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AEG03_S_FTG4 | VLSEZ | 0.93
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AEG10_S_FTG4 | VLSEZ | 14.98
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | STEELCAST2022 | -0.19 | AEG10_W_FTG4 | VLSEZ | 13.5
JPIPL | NPCL_UP | 0 | ARYAN_ISPAT | WBSEDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 132.65
MAADURGA_THERMAL | NPCL_UP | -14.74 | ENVIROCARE_INFRA | TANGEDCO | -4 | AP41PL_BHDL | ODISHA | 60.05
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AP43PL_BKN | ODISHA | 87.72
NBVL_OTCL | GEB_Beneficiary | -26 | FACORPOWER | TPL_DIS_AHM | -25 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.9
OCL_IRON_STEEL | NPCL_UP | 0 | JSPLANGUL | CSEB_Beneficiary | -150 | AWEK1L | ODISHA | 15.55
RML_Dhenkanal | GOA_SR | -1.25 | KCMW_od | DALCEMAP | -1.5 | AWEK1L | ODISHA | 23.33
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | NBVLIPP | BSPHCL | -17.92 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.48
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | OCL_IRON_STEEL | BRPL | -9.92 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 41.14
VSL | CR_IR_MS | -2.92 | OCL_IRON_STEEL | BRPL | -4.08 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.01
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | WBSEDCL | -5 | CPTTNPL | VLSEZ | 2.73
JSWEL_UTKAL | ODISHA | 58.03 | RML_Dhenkanal | GOA_SR | -1.25 | DADRI_SOLAR | ODISHA | 0.58
MPPMCL | ODISHA | 0 | RSPL_JHARSUGUDA | GOA_SR | -2.5 | ENERSON_SOLAR_10MW | ODISHA | 1.32
RAJ_SOLAR | ODISHA | 2.26 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.4 | Shri_JSPL | GOA_SR | -1.25 | GADAG_GreenInfra_W | ODISHA | 0.55
|  |  | VSL | WBSEDCL | -10 | GADAG_Serentica3_S | VLSEZ | 29.35
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | GADAG_Serentica3_W | VLSEZ | 121.17
|  |  | JIPL | ODISHA | 115.81 | GIWEL_SECI_II_RE | ODISHA | 89.23
|  |  | NALCOAP | NACL_Odisha | 24.86 | GPCL_SOLAR_10 | ODISHA | 1.26
[6 empty] | GSECL_SOLAR | ODISHA | 0.92
[6 empty] | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.56
[6 empty] | JREPL_BKN2 | VLSEZ | 16.46
[6 empty] | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.92
[6 empty] | KARUR_TPVARDHAMAN_W | TSKPO | 61.21
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.37
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 7.11
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 12.45
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 7.95
[6 empty] | OKWPL_RE | ODISHA | 45.35
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 9.71
[6 empty] | RWE_AP2_SECI_III | ODISHA | 31.39
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 3.57
[6 empty] | SRI9PL_FTG3 | VLSEZ | 75.83
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 55.58
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 19.67
[6 empty] | XXPPL_FTG3 | ODISHA | 59.4

## DAM
DAM TRADING DETAILS FOR DT :10.07.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 301.11
00:15 - 00:30 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 301.11
00:30 - 00:45 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 301.11
00:45 - 01:00 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 301.11
01:00 - 01:15 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 253.82
01:15 - 01:30 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 259.61
01:30 - 01:45 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 265.4
01:45 - 02:00 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 267.33
02:00 - 02:15 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 325.24
02:15 - 02:30 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 329.1
02:30 - 02:45 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 329.1
02:45 - 03:00 | 0 | 0 | 0 | 0 | -252 | -4 | -0.5 | 0 | 0 | 329.1
03:00 - 03:15 | 0 | 0 | 0 | 0 | -175 | -4 | -0.5 | 0 | 0 | 403.41
03:15 - 03:30 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | 0 | 0 | 403.41
03:30 - 03:45 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | 0 | 0 | 403.41
03:45 - 04:00 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | 0 | 0 | 403.41
04:00 - 04:15 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | 0 | 0 | 379.28
04:15 - 04:30 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | 0 | 0 | 379.28
04:30 - 04:45 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | 0 | 0 | 379.28
04:45 - 05:00 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | 0 | 0 | 379.28
05:00 - 05:15 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 260.58
05:15 - 05:30 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 260.58
05:30 - 05:45 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 260.58
05:45 - 06:00 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 259.61
06:00 - 06:15 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 81.07
06:15 - 06:30 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 70.45
06:30 - 06:45 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 56.94
06:45 - 07:00 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 25.09
07:00 - 07:15 | 20.27 | 0 | -75 | 0 | -136 | -4 | -0.5 | -25 | 0 | 0
07:15 - 07:30 | 20.27 | 0 | -75 | 0 | -136 | -4 | -0.5 | -25 | 0 | 0
07:30 - 07:45 | 20.27 | 0 | -75 | 0 | -136 | -4 | -0.5 | -25 | 0 | 0
07:45 - 08:00 | 20.27 | 0 | -46.69 | 0 | 0 | -4 | -0.5 | -25 | 7.72 | 0
08:00 - 08:15 | 20.27 | 0 | -253.05 | 0 | 0 | 0 | -0.5 | 0 | 7.72 | 0
08:15 - 08:30 | 20.27 | 0 | -175 | 0 | 0 | 0 | -0.5 | 0 | 7.72 | 3.86
08:30 - 08:45 | 20.27 | 0 | -225 | 0 | 0 | 0 | -0.5 | 0 | 7.72 | 0
08:45 - 09:00 | 20.27 | 0 | -275 | 0 | 0 | 0 | -0.5 | 0 | 7.72 | 0
09:00 - 09:15 | 20.27 | 0 | -615.79 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 89.76
09:15 - 09:30 | 20.27 | 0 | -568.19 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 64.66
09:30 - 09:45 | 20.27 | 0 | -63.11 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 29.92
09:45 - 10:00 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 6.76
10:00 - 10:15 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 6.76
10:15 - 10:30 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 26.06
10:30 - 10:45 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 15.44
10:45 - 11:00 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 0
11:00 - 11:15 | 20.27 | 0 | 121.81 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
11:15 - 11:30 | 20.27 | 0 | 154.36 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
11:30 - 11:45 | 20.27 | 0 | 136.58 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
11:45 - 12:00 | 20.27 | 0 | 135.03 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
12:00 - 12:15 | 20.27 | 0 | 0.22 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
12:15 - 12:30 | 20.27 | 0 | 91.12 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
12:30 - 12:45 | 20.27 | 0 | 90.93 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
12:45 - 13:00 | 20.27 | 0 | 93.05 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
13:00 - 13:15 | 20.27 | 0 | 24.45 | 28.94 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
13:15 - 13:30 | 20.27 | 0 | 24.45 | 28.94 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
13:30 - 13:45 | 20.27 | 0 | 24.44 | 28.94 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
13:45 - 14:00 | 20.27 | 0 | 1.17 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 18.34
14:00 - 14:15 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 8.69
14:15 - 14:30 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 40.54
14:30 - 14:45 | 20.27 | 0 | 0 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 62.73
14:45 - 15:00 | 20.27 | 0 | -211.22 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 56.94
15:00 - 15:15 | 20.27 | 0 | -225 | 28.95 | 0 | 0 | -0.5 | 0 | 7.72 | 6.76
15:15 - 15:30 | 20.27 | 0 | -225 | 0 | 0 | 0 | -0.5 | 0 | 7.72 | 0
15:30 - 15:45 | 20.27 | 0 | -256.32 | 0 | 0 | 0 | -0.5 | 0 | 7.72 | 9.65
15:45 - 16:00 | 20.27 | 0 | -261.51 | 0 | 0 | 0 | -0.5 | 0 | 7.72 | 25.09
16:00 - 16:15 | 20.27 | 0 | -364.91 | 0 | 0 | 0 | -0.5 | -25 | 7.72 | 0
16:15 - 16:30 | 20.27 | 0 | -400 | 0 | 0 | 0 | -0.5 | -25 | 7.72 | 0
16:30 - 16:45 | 20.27 | 0 | -400 | 0 | 0 | 0 | -0.5 | -25 | 7.72 | 0
16:45 - 17:00 | 20.27 | 0 | -400 | 0 | 0 | 0 | -0.5 | -25 | 7.72 | 0
17:00 - 17:15 | 0 | 0 | -75.08 | 0 | 0 | 0 | -0.5 | -25 | 7.72 | 0
17:15 - 17:30 | 0 | 0 | -60.9 | 0 | 0 | 0 | -0.5 | -25 | 7.72 | 0
17:30 - 17:45 | 0 | 0 | -89.03 | 0 | -136 | 0 | -0.5 | -25 | 0 | 0
17:45 - 18:00 | 0 | 0 | -100 | 0 | -136 | 0 | -0.5 | -25 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 7.72 | 85.89
18:15 - 18:30 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 124.5
18:30 - 18:45 | 0 | 0 | 0 | 0 | -136 | -4 | -0.5 | -25 | 0 | 117.74
18:45 - 19:00 | 0 | 0 | 0 | 0 | -214 | -4 | -0.5 | -25 | 0 | 127.39
19:00 - 19:15 | 0 | 0 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 131.25
19:15 - 19:30 | 0 | 0 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 109.06
19:30 - 19:45 | 0 | 0 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 69.19
19:45 - 20:00 | 0 | 0 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 52.09
20:00 - 20:15 | 0 | 0 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 50.51
20:15 - 20:30 | 0 | 0 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 44.72
20:30 - 20:45 | 0 | 0 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 40.33
20:45 - 21:00 | 0 | 0 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 37.19
21:00 - 21:15 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 40.97
21:15 - 21:30 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 35.26
21:30 - 21:45 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 33.5
21:45 - 22:00 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 35.55
22:00 - 22:15 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 35.6
22:15 - 22:30 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 31
22:30 - 22:45 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 28.05
22:45 - 23:00 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 33.41
23:00 - 23:15 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 36.88
23:15 - 23:30 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 49.08
23:30 - 23:45 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 77.88
23:45 - 24:00 | 0 | -12 | 0 | 0 | -252 | -8 | -0.5 | 0 | 0 | 96.84
Average | 8.4458 | -1.5 | -48.1061 | 7.5388 | -120.6354 | -3.1667 | -0.5 | -6.25 | 3.2167 | 105.8998

## GDAM
GDAM TRADING DETAILS FOR DT:10.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 77.79
00:15 - 00:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 79.14
00:30 - 00:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 48.26
00:45 - 01:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 71.13
01:00 - 01:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 138.98
01:15 - 01:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 142.55
01:30 - 01:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 156.73
01:45 - 02:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 153.16
02:00 - 02:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 3.98 | 0 | 0 | 244.17
02:15 - 02:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 244.17
02:30 - 02:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 244.17
02:45 - 03:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 244.17
03:00 - 03:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 244.17
03:15 - 03:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 244.17
03:30 - 03:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 188
03:45 - 04:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 200.74
04:00 - 04:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 187.91
04:15 - 04:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 178.16
04:30 - 04:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 177.97
04:45 - 05:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 164.26
05:00 - 05:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 191.28
05:15 - 05:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 151.81
05:30 - 05:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 167.16
05:45 - 06:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 138.11
06:00 - 06:15 | 0 | -0.2 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 48.26
06:15 - 06:30 | 0 | -0.4 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 48.26
06:30 - 06:45 | 0 | -0.9 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 116.97
06:45 - 07:00 | 0 | -1.2 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 234.81
07:00 - 07:15 | 0 | -1.8 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 244.17
07:15 - 07:30 | 0 | -2.7 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 244.17
07:30 - 07:45 | 0 | -3.3 | 0 | 0 | 19.3 | 36.67 | 0 | 5.79 | 67.56 | 0 | 244.17
07:45 - 08:00 | 0 | -4.4 | 0 | 0 | 19.3 | 36.67 | 0 | 5.79 | 67.56 | 0 | 244.17
08:00 - 08:15 | 0 | -5.6 | 0 | 0 | 24.13 | 2.88 | 9.65 | 5.79 | 67.56 | 0 | 139.93
08:15 - 08:30 | 0 | -7.8 | 0 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 138.97
08:30 - 08:45 | 0 | -8.4 | 0 | 0 | 24.13 | 33.51 | 9.65 | 5.79 | 67.56 | 0 | 139.93
08:45 - 09:00 | 0 | -18.1 | 0 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 138.97
09:00 - 09:15 | 0 | -17.9 | 71.9 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 169.86
09:15 - 09:30 | 0 | -14.4 | 115.81 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 170.83
09:30 - 09:45 | 0 | -13.2 | 222.06 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 170.82
09:45 - 10:00 | -0.6 | -14.3 | 222.21 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 170.82
10:00 - 10:15 | -2.8 | -21.1 | 252.31 | 8.49 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 170.82
10:15 - 10:30 | -4.9 | -21.2 | 255.06 | 6.66 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 199.78
10:30 - 10:45 | -5.4 | -20.6 | 168.79 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 248.03
10:45 - 11:00 | -4.3 | -12.8 | 255.06 | 6.85 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.28
11:00 - 11:15 | -3.9 | -19.2 | 73.52 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.29
11:15 - 11:30 | -4.8 | -20 | 86.97 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.29
11:30 - 11:45 | -5.4 | -20 | 105 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.29
11:45 - 12:00 | -6.2 | -20 | 106.55 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.28
12:00 - 12:15 | -9.8 | -18.4 | 255.07 | 10.04 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.28
12:15 - 12:30 | -6.9 | -12.8 | 150.45 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.29
12:30 - 12:45 | -7.8 | -16.4 | 150.65 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.29
12:45 - 13:00 | -5.4 | -12.1 | 148.52 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.29
13:00 - 13:15 | -4.7 | -10.9 | 217.11 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.28
13:15 - 13:30 | -4.5 | -10.1 | 217.12 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.28
13:30 - 13:45 | -6.4 | -11.3 | 217.09 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 67.56 | 3.86 | 296.29
13:45 - 14:00 | -5.5 | -14.3 | 217.09 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 296.29
14:00 - 14:15 | -2.2 | -10.8 | 255.07 | 9.75 | 24.13 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 296.28
14:15 - 14:30 | -1.4 | -9.4 | 255.08 | 8.11 | 24.13 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 248.03
14:30 - 14:45 | -1.4 | -9.7 | 217.01 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 199.78
14:45 - 15:00 | -2.7 | -14.7 | 246.39 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 169.86
15:00 - 15:15 | 0 | -15.1 | 0 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 139.94
15:15 - 15:30 | 0 | -12 | 0 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 126.43
15:30 - 15:45 | 0 | -11.3 | 0 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 139.94
15:45 - 16:00 | 0 | -6.7 | 0 | 0 | 24.13 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 139.94
16:00 - 16:15 | 0 | -6.2 | 0 | 0 | 19.3 | 36.67 | 9.65 | 5.79 | 62.73 | 3.86 | 195.92
16:15 - 16:30 | 0 | -5.7 | 0 | 0 | 19.3 | 36.67 | 9.65 | 5.79 | 62.73 | 3.56 | 195.93
16:30 - 16:45 | 0 | -5.3 | 0 | 0 | 19.3 | 36.67 | 9.65 | 5.79 | 62.73 | 0 | 195.92
16:45 - 17:00 | 0 | -4.5 | 0 | 0 | 19.3 | 36.67 | 7.32 | 5.79 | 62.73 | 0 | 195.92
17:00 - 17:15 | 0 | -4.5 | 0 | 0 | 19.3 | 36.67 | 0 | 5.79 | 62.73 | 0 | 195.92
17:15 - 17:30 | 0 | -3.6 | 0 | 0 | 19.3 | 24.17 | 0 | 5.79 | 67.56 | 0 | 194.95
17:30 - 17:45 | 0 | -2.5 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 67.56 | 0 | 195.91
17:45 - 18:00 | 0 | -1.6 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 67.56 | 0 | 195.91
18:00 - 18:15 | 0 | -1 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 67.56 | 0 | 195.91
18:15 - 18:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 67.56 | 0 | 195.91
18:30 - 18:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 195.92
18:45 - 19:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.0104 | -5.2125 | 46.6864 | 0.51979 | 17.0902 | 14.7641 | 3.5945 | 3.1777 | 30.2606 | 1.2835

## RTM
RTM TRADING DETAILS FOR DT: 10.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maadurga_Thermal_Power_Company_Limited_1 | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -0.4 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
00:15 - 00:30 | -0.4 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -4
00:30 - 00:45 | -0.4 | 0 | 0 | -1.3 | 140.74 | 0 | 10.62 | 0 | 0 | 0 | 0 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 10.62 | -5 | 0 | -2 | 62.73 | 0 | 0 | -45 | 19.3 | 0 | 0 | 0 | -4
00:45 - 01:00 | -0.4 | 0 | 0 | -1.3 | 87.31 | 0 | 10.62 | 0 | 0 | 0 | 0 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 10.62 | -5 | 0 | -2 | 62.73 | 0 | 0 | -10 | 19.3 | 0 | 0 | 0 | -4
01:00 - 01:15 | -0.4 | 0 | 0 | -1.3 | 46.27 | 0 | 10.62 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 17.37 | 0 | 0 | 0 | -5 | 0 | -4 | 62.73 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | -4
01:15 - 01:30 | -0.4 | 0 | 0 | -1.3 | 54.47 | 0 | 10.62 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 17.37 | 0 | 0 | 0 | -5 | 0 | -4 | 62.73 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | -4
01:30 - 01:45 | -0.4 | 0 | 0 | -1.3 | 105.21 | 0 | 10.62 | 0 | 0 | 0 | 0 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -4 | 62.73 | 0 | 0 | 0 | 19.3 | 0 | 5.4 | 0 | -4
01:45 - 02:00 | -0.4 | 0 | 0 | -1.3 | 132.98 | 0 | 10.62 | 0 | 0 | 0 | 0 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -4 | 62.73 | 0 | 0 | 0 | 19.3 | 0 | 5.4 | 0 | -4
02:00 - 02:15 | -0.4 | 0 | 0 | 0 | 152.04 | 0 | 5.79 | 0 | 0 | 0 | -7.3 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -4 | 62.73 | 0 | 0 | 0 | 19.3 | 0 | 5.4 | 22.2 | -4
02:15 - 02:30 | -0.4 | 0 | 0 | 0 | 169.01 | 0 | 5.79 | 0 | 0 | 9.65 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0.19 | 11.58 | -5 | 0 | -4 | 62.73 | 0 | 0 | -20 | 19.3 | 0 | 5.4 | 18.34 | -4
02:30 - 02:45 | -0.4 | 0 | 0 | 0 | 37.63 | 0 | 5.79 | 0 | 0 | 0 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -4 | 62.74 | 0 | 0 | -10 | 19.3 | 0 | 5.4 | 0 | -4
02:45 - 03:00 | -0.4 | 0 | 0 | 0 | 36.43 | 0 | 5.79 | 0 | 0 | 0 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -4 | 62.74 | 0 | 0 | 0 | 19.3 | 0 | 5.4 | 0 | -4
03:00 - 03:15 | -0.4 | 0 | 0 | 0 | 143.84 | 0 | 1.93 | 0 | 0 | 0 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -4 | 62.73 | 0 | 0 | 0 | 19.3 | 0 | 5.4 | 0 | -4
03:15 - 03:30 | -0.4 | 0 | 0 | 0 | 36.48 | 0 | 1.93 | 0 | 0 | 0 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -4 | 62.74 | 0 | 0 | 0 | 19.3 | 0 | 5.4 | 0 | -4
03:30 - 03:45 | -0.4 | 0 | 0 | 0 | 36.47 | 0 | 1.93 | 0 | 0 | 0 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -5 | 62.74 | 1.45 | 0 | 0 | 19.3 | 0 | 5.4 | 0 | -4
03:45 - 04:00 | -0.4 | 0 | 0 | 0 | 143.61 | 0 | 1.93 | 0 | 0 | 0 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -5 | 62.73 | 1.45 | 0 | 0 | 19.3 | 0 | 5.4 | 0 | -4
04:00 - 04:15 | -0.4 | 0 | 0 | 0 | 96.43 | 0 | 1.93 | 0 | 0 | 0 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 1.8 | -5 | 62.73 | 0 | 0 | -5 | 19.3 | 0 | 3.35 | 0 | -4
04:15 - 04:30 | -0.4 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -5 | 62.74 | 0 | 0 | -20 | 19.3 | 0 | 0 | 0 | -4
04:30 - 04:45 | -0.4 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | -11.6 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -5 | 62.74 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | -4
04:45 - 05:00 | -0.4 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | -7.3 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0.49 | -5 | 62.72 | 0 | 0 | 0 | 19.3 | 0 | 0.92 | 0 | -4
05:00 - 05:15 | -0.4 | 0 | 0 | -1.3 | 0 | 0 | 0.97 | 0 | 0 | 0 | 0 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0 | -5 | 62.73 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | -4
05:15 - 05:30 | -0.4 | 0 | 0 | -1.3 | 0 | 0 | 0.97 | 0 | 0 | 0 | 0 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 11.58 | -5 | 0.11 | -5 | 62.73 | 0 | 0 | 0 | 19.3 | 0 | 0.2 | 0 | -4
05:30 - 05:45 | -0.4 | 0 | -0.4 | -1.3 | 0 | 0 | 0.97 | 0 | 0 | 0 | 0 | -4 | 7.72 | -0.9 | 0 | 17.37 | 0 | 0 | 14.48 | -5 | 0 | -5 | 62.73 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | -4
05:45 - 06:00 | -0.4 | 0 | -0.4 | -1.3 | 0 | 0 | 0.97 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 5.67 | 0 | 0 | 0 | -5 | 0 | -5 | 48.25 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -4
06:00 - 06:15 | -0.4 | -2 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | -4
06:15 - 06:30 | -0.4 | 0 | -0.4 | -1.3 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | -4
06:30 - 06:45 | -0.4 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | 0 | -0.2 | 0 | -5 | 0 | -4 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -4
06:45 - 07:00 | -0.4 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | 0 | -0.3 | 0 | -5 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
07:00 - 07:15 | -0.4 | 0 | 0 | -1.4 | -430.1 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 17.37 | 0 | -0.4 | 0 | -5 | 0 | -4 | 67.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
07:15 - 07:30 | -0.4 | -10 | 0 | -1.4 | -399.03 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 17.37 | 0 | -0.5 | 14.48 | -5 | 2.9 | -4 | 67.56 | 0 | 0 | 0 | 91.68 | 0 | 5.4 | 0 | -4
07:30 - 07:45 | -0.4 | 0 | 0 | 0 | -462.25 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 17.37 | 0 | -0.7 | 14.48 | -10 | 2.9 | -4 | 0 | 2.9 | 0 | 0 | 91.68 | 0 | 5.4 | 0 | -4
07:45 - 08:00 | -0.4 | 0 | 0 | 0 | -440.05 | 0 | 0 | 0 | 0 | 3.86 | 0 | -4 | 0 | -0.9 | 0 | 17.37 | 0 | -0.8 | 6.76 | -10 | 2.9 | -4 | 0 | 2.9 | 0 | -10 | 91.68 | 0 | 5.4 | 0 | -4
08:00 - 08:15 | -0.4 | 0 | 0 | 0 | -354 | 0 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | -15 | 7.72 | -2 | -0.8 | 6.76 | -10 | 2.9 | -4 | 0 | 2.9 | 0 | -40 | 48.24 | 0 | 5.4 | 0 | -4
08:15 - 08:30 | -0.4 | 0 | 0 | 0 | -450 | 0 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -1 | 6.76 | -10 | 2.9 | -4 | 0 | 2.9 | 0 | -32 | 48.24 | 0 | 5.4 | 0 | -4
08:30 - 08:45 | -0.4 | 0 | 0 | 0 | -518.9 | 0 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -1.1 | 6.76 | -10 | 2.9 | -4 | 0 | 2.9 | 0 | 0 | 67.54 | 0 | 5.4 | 0 | -4
08:45 - 09:00 | -0.4 | -5 | 0 | 0 | -518.92 | 0 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -1.3 | 6.76 | -10 | 2.9 | -4 | 0 | 2.9 | 0 | 0 | 67.54 | 0 | 5.4 | 0 | -4
09:00 - 09:15 | -0.4 | -5 | 0 | 0 | -397.65 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -1.4 | 6.76 | -10 | 7.72 | -4 | 0 | 2.9 | 0 | 0 | 62.73 | 0 | 5.4 | 0 | -2
09:15 - 09:30 | -0.4 | 0 | 0 | 0 | -480.9 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -1.5 | 6.76 | -10 | 7.72 | -4 | 0 | 2.9 | 0 | -10 | 62.73 | 0 | 5.4 | 0 | -2
09:30 - 09:45 | -0.4 | 0 | 0 | 0 | -605.85 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -1.7 | 13.51 | -10 | 7.72 | -4 | 0 | 2.9 | 0 | -26 | 86.86 | 0 | 5.4 | 0 | -2
09:45 - 10:00 | -0.4 | 0 | 0 | 0 | -502.31 | 0 | 5.79 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -1.8 | 13.51 | -10 | 7.72 | -4 | 0 | 2.9 | 0 | -15 | 86.86 | 0 | 5.4 | 0 | -2
10:00 - 10:15 | -0.4 | 0 | 0 | 0 | -375.05 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2 | 13.51 | -10 | 7.72 | -4 | 0 | 2.9 | 0 | 0 | 86.86 | 0 | 5.4 | 0 | -2
10:15 - 10:30 | -0.4 | 0 | 0 | 0 | -296.86 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2 | 13.51 | -10 | 7.72 | -4 | 0 | 2.9 | 0 | 0 | 86.86 | 0 | 5.4 | 0 | -2
10:30 - 10:45 | -0.4 | -10 | 0 | 0 | -48.17 | 0 | 7.72 | 0 | -1.4 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.2 | 13.51 | -10 | 7.72 | -4 | 0 | 2.9 | 0 | 0 | 57.91 | 0 | 5.4 | 0 | 0
10:45 - 11:00 | -0.4 | 0 | 0 | 0 | -120.45 | 0 | 7.72 | 0 | -1.3 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.1 | 13.51 | -10 | 7.72 | -4 | 0 | 2.9 | 0 | 0 | 57.91 | 0 | 5.4 | 0 | 0
11:00 - 11:15 | -0.4 | 0 | 0 | 0 | 0 | 0 | 10.62 | 0 | -2.1 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.1 | 13.51 | -10 | 7.72 | 0 | 0 | 2.9 | 0 | -25 | 57.9 | 0 | 5.4 | 0 | 0
11:15 - 11:30 | -0.4 | 0 | 0 | 0 | -45.78 | 0 | 10.62 | 0 | -2.2 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.1 | 13.51 | -10 | 7.72 | 0 | 0 | 2.9 | 0 | -30 | 57.9 | 0 | 5.4 | 0 | 0
11:30 - 11:45 | -0.4 | 0 | 0 | 0 | 112.62 | 7.91 | 10.62 | 0 | -0.8 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.4 | 13.51 | -10 | 7.72 | -8 | 0 | 2.9 | 0 | 0 | 77.21 | 0 | 5.4 | 0 | 0
11:45 - 12:00 | -0.4 | 0 | 0 | 0 | 99.71 | 0 | 10.62 | 0 | -0.8 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.4 | 13.51 | -10 | 7.72 | -8 | 0 | 2.9 | 0 | -10 | 77.21 | 0 | 5.4 | 0 | 0
12:00 - 12:15 | -0.4 | -10 | 0 | 0 | 107.7 | 0 | 10.62 | 0 | -0.9 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.4 | 13.51 | -5 | 7.72 | -8 | 0 | 2.9 | 0 | -10 | 91.68 | 0 | 10.62 | 0 | 0
12:15 - 12:30 | -0.4 | 0 | 0 | 0 | 120.58 | 9.94 | 10.62 | 0 | -0.9 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.6 | 13.51 | -5 | 7.72 | -8 | 0 | 2.9 | 0 | 0 | 91.68 | 0 | 10.62 | 0 | 0
12:30 - 12:45 | -0.4 | 0 | 0 | 0 | 180.05 | 0 | 10.62 | 0 | -0.9 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.6 | 13.51 | -5 | 7.72 | -8 | 0 | 2.9 | 0 | 0 | 77.21 | 0 | 10.62 | 0 | 0
12:45 - 13:00 | -0.4 | 0 | 0 | 0 | 228.33 | 0 | 10.62 | 0 | -0.9 | 0 | 0 | 0 | 0 | -0.9 | 0 | 7.72 | -2 | -2.4 | 13.51 | -5 | 7.72 | -8 | 0 | 2.9 | 0 | 0 | 77.21 | 0 | 10.62 | 0 | 0
13:00 - 13:15 | -1.3 | 0 | -0.4 | 0 | 235.91 | 0 | 10.62 | 0 | -1.2 | 0 | 0 | 0 | 0 | -2.5 | 0 | 7.72 | -2 | -1.8 | 13.51 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 77.21 | 0 | 10.62 | 0 | 0
13:15 - 13:30 | -1.3 | 0 | -0.4 | 0 | 260.54 | 9.26 | 10.62 | 0 | -1.3 | 0 | 0 | 0 | 0 | -2.5 | 0 | 7.72 | -2 | -2.1 | 13.51 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 77.21 | 0 | 10.62 | 0 | 0
13:30 - 13:45 | -1.3 | -10 | -0.4 | 0 | 204.18 | 0 | 10.62 | 0 | -1.1 | 0 | 0 | 0 | 0 | -2.5 | 0 | 7.72 | -2 | -2.1 | 13.51 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | -15 | 38.6 | 0 | 10.62 | 0 | 0
13:45 - 14:00 | -1.3 | 0 | -0.4 | 0 | 204.17 | 0 | 10.62 | 0 | -1.1 | 0 | 0 | 0 | 0 | -2.5 | 0 | 7.72 | -2 | -1.7 | 13.51 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | -28 | 38.6 | 0 | 10.62 | 0 | 0
14:00 - 14:15 | -1.3 | 0 | -0.4 | 0 | 204.17 | 0 | 10.62 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 7.72 | -2 | -1.8 | 15.44 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 53.08 | 0 | 10.62 | 0 | 0
14:15 - 14:30 | -1.3 | 0 | -0.4 | 0 | 332.43 | 0 | 10.62 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 7.72 | -2 | -2 | 15.44 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 53.08 | 0 | 10.62 | 0 | 0
14:30 - 14:45 | -1.3 | 0 | -0.4 | 0 | 471.61 | 0 | 10.62 | 0 | -0.1 | 0 | 0 | 0 | 0 | -2.5 | 0 | 7.72 | -2 | -2 | 15.44 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 53.08 | 0 | 10.62 | 0 | 0
14:45 - 15:00 | -1.3 | 0 | -0.4 | 0 | 485.44 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 7.72 | -2 | -1.9 | 15.44 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 53.08 | 0 | 10.62 | 0 | 0
15:00 - 15:15 | -1.3 | -10 | -0.4 | 0 | 149.59 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 5.79 | -2 | -1.8 | 15.44 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 53.08 | 0 | 10.62 | 0 | 0
15:15 - 15:30 | -1.3 | 0 | -0.4 | 0 | -52.09 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 5.79 | -2 | -1.6 | 15.44 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 53.08 | 0 | 10.62 | 0 | 0
15:30 - 15:45 | -1.3 | 0 | -0.4 | 0 | 53.34 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 5.79 | -2 | -1.4 | 15.44 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 53.08 | 0 | 10.62 | 0 | 0
15:45 - 16:00 | -1.3 | 0 | -0.4 | 0 | -95.49 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -15 | 5.79 | -2 | -1.1 | 15.44 | -5 | 7.72 | -8 | 0 | 3.86 | 0 | -45 | 53.08 | 0 | 10.62 | 0 | 0
16:00 - 16:15 | -1.3 | 0 | -0.4 | 0 | 76.27 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 15.44 | 0 | -0.8 | 15.44 | 0 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 57.91 | 0 | 10.62 | 0 | 0
16:15 - 16:30 | -1.3 | 0 | -0.4 | 0 | 89.65 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 15.44 | 0 | -0.5 | 15.44 | 0 | 7.72 | -8 | 0 | 3.86 | 0 | 0 | 57.91 | 0 | 10.62 | 0 | 0
16:30 - 16:45 | -1.3 | -10 | -0.4 | 0 | 51.91 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 15.44 | 0 | -0.4 | 15.44 | -10 | 7.72 | -8 | 0 | 3.86 | -5 | -10 | 48.26 | 0 | 10.62 | 0 | 0
16:45 - 17:00 | -1.3 | 0 | -0.4 | 0 | 43.98 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 15.44 | 0 | -0.3 | 15.44 | -10 | 7.72 | -8 | 0 | 3.86 | -5 | -55 | 48.25 | 0 | 10.62 | 0 | 0
17:00 - 17:15 | -1.3 | 0 | 0 | 0 | -573.26 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 7.72 | -2.5 | 0 | 15.44 | 0 | -0.2 | 15.44 | -10 | 7.72 | -8 | 0 | 3.86 | -5 | -55 | 43.43 | 0 | 10.62 | 0 | 0
17:15 - 17:30 | -1.3 | 0 | 0 | 0 | -503.84 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 7.72 | -2.5 | 0 | 15.44 | 0 | 0 | 15.44 | -10 | 7.72 | -8 | 0 | 3.86 | -5 | -20 | 28.95 | 0 | 10.62 | 0 | 0
17:30 - 17:45 | -1.2 | 0 | 0 | 0 | -475 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 7.72 | -2.5 | 0 | 15.44 | 0 | 0 | 19.3 | -10 | 7.11 | -8 | 0 | 0 | -5 | 0 | 0 | 0 | 9.79 | 0 | 0
17:45 - 18:00 | -1.2 | 0 | 0 | 0 | -484.93 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 7.72 | -2.5 | 0 | 15.44 | 0 | 0 | 19.3 | -10 | 0 | -8 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1.2 | 0 | 0 | 0 | -79.53 | 15.35 | 10.62 | 0 | 0 | 9.65 | 0 | 0 | 7.72 | -2.5 | 0 | 15.44 | 0 | 0 | 15.43 | 0 | 2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.62 | 0 | 0
18:15 - 18:30 | -1.2 | 0 | 0 | 0 | -82.07 | 15.44 | 10.62 | 0 | 0 | 9.65 | 0 | 0 | 7.72 | -2.5 | 0 | 15.44 | 0 | 0.19 | 23.16 | 0 | 2.9 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 10.62 | 0 | 0
18:30 - 18:45 | -1.2 | 0 | 0 | 0 | -110 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 6.98 | -2.5 | 0 | 15.44 | 0 | 0 | 19.3 | 0 | 0 | 0 | 67.55 | 0 | -5 | -45 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -45 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.2 | 0 | 0 | -1.3 | 0 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | 1.48 | -2.5 | 0 | 15.44 | 0 | 0 | 19.3 | 0 | 0 | 0 | 67.55 | 0 | -5 | 0 | 0 | 0 | 0 | 18.34 | 0
19:15 - 19:30 | -1.2 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 47.29 | 0
19:30 - 19:45 | -1.2 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -50 | 0 | -14.5 | 0 | 85.89 | 0
19:45 - 20:00 | -1.2 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | -14.5 | 0 | 94.55 | 0
20:00 - 20:15 | -1.2 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | -19.4 | 0 | 166.61 | 0
20:15 - 20:30 | -1.2 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | -19.4 | 0 | 166.26 | 0
20:30 - 20:45 | -1.2 | 0 | 0 | -1.3 | -82.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -19.4 | 0 | 212.32 | 0
20:45 - 21:00 | -1.2 | 0 | 0 | -1.3 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -19.4 | 0 | 212.18 | 0
21:00 - 21:15 | -1.2 | 0 | 0 | -1.3 | -48.99 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | -19.4 | 0 | 144.77 | 0
21:15 - 21:30 | -1.2 | 0 | 0 | -1.3 | -47.97 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -49.99 | 0 | -19.4 | 0 | 144.77 | 0
21:30 - 21:45 | -1.2 | 0 | -0.4 | -1.3 | -31.26 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 125.46 | 0
21:45 - 22:00 | -1.2 | 0 | -0.4 | -1.3 | -31.26 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | -19.4 | 0 | 127.39 | 0
22:00 - 22:15 | -1.2 | 0 | -0.4 | -1.3 | -56.26 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | -19.4 | 0 | 131.25 | 0
22:15 - 22:30 | -1.2 | 0 | -0.4 | -1.3 | -56.26 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -19.4 | 0 | 135.11 | 0
22:30 - 22:45 | -1.2 | 0 | 0 | -1.3 | -39.88 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 164.07 | 0
22:45 - 23:00 | -1.2 | 0 | 0 | -1.3 | -32.19 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 164.07 | 0
23:00 - 23:15 | -1.2 | 0 | 0 | -1.4 | -108.41 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | -19.4 | 0 | 158.28 | 0
23:15 - 23:30 | -1.2 | 0 | 0 | -1.4 | -107.18 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 158.28 | 0
23:30 - 23:45 | -1.2 | 0 | 0 | -1.4 | -104.17 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 143.8 | 0
23:45 - 24:00 | -1.2 | 0 | 0 | -1.4 | -102.59 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 125.46 | 0
Average | -0.78542 | -0.75 | -0.10833 | -0.52292 | -49.1659 | 0.60313 | 5.2496 | -7.5 | -0.20833 | 0.34177 | -1.3604 | -1.3333 | 2.0985 | -1.6333 | -0.3125 | 9.0054 | -0.66667 | -0.66583 | 9.0876 | -4.8958 | 3.1051 | -4.0208 | 17.0401 | 1.4185 | -0.72917 | -12.5103 | 31.7666