## POWER STATUS
POWER STATUS ON DT 12.07.2026
[9 empty] | 2026-07-12 | 2026-07-11
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 6165.96 | 6740.3524
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 162.542 | 3.901 | 630/590 ft | 606.1 | 612.52 | 611.29 | 161.2857 | 161.1477
| Chiplima | 72(3x24) | 45.708 | 1.097 | - |  |  |  | 52.9794 | 50.2106
| Balimela | 510(6x60+2x75) | 162.333 | 3.896 | 1516/1440 ft | 1463.7 | 1458.5 | 1458.1 | 66.7733 | 368.4208
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 120.73 | 112.14 | 112.38 | 0 | 0
| Upper Kolab | 320(4x80) | 34.5 | 0.828 | 858/844 mt | 851.08 | 848.45 | 848.45 | 0 | 150.1939
| Upper Indravati | 600(4x150) | 119.792 | 2.875 | 642/625 mt | 633.23 | 629.57 | 629.62 | 0.28965 | 583.6107
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2735.65 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 524.875 | 12.597 |  |  |  |  | 281.3281 | 1313.5837
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1583.65 | 38.0076 | RENEWABLE ENERGY (RE) |  |  |  | 1600.0042 | 1679.7827
[5 empty] | M.Hydl | 77.48
| Total Thermal | 2200 | 1583.65 | 38.0076 | Solar | 123.46 |  |  | 1600.0042 | 1679.7827
IPP | VEDANTA #2 | 600 (1x600) | 401.56 | 9.6374 | Total IPPs | Yesterday's Demand Profile |  |  | 402.2266 | 547.3635
| GMR #3 | 350 (1x350) | 270.18 | 6.4843 | 764.83 |  | MW | HRS | 180.3258 | 323.6218
| NBVL(IPP) | 60(1x60) | 48.21 | 1.157 |  |  |  |  | 35.2481 | 54.1766
| MDTPC |  | 44.88 | 1.0771 |  |  |  |  | 31.2172 | 55.6022
| CGPs |  | 801.78 | 19.2427 | IPPs, CGPs & RE | Maximum | 6740 | 23:00 | 1691.843 | 2116.3991
| Central Sector(Drawl) |  | 2181.4827 | 52.3556 | 1767.55 | Minimum | 5477 | 18:00 | 2592.7846 | 1630.5869
| Central Sector(Sch) |  | 2265.6765 | 54.3762 |  | Average | 6057.5577 |  | 2875.72 | 1698.98
| Grand Total |  | 6057.5577 | 145.3814 | Instantaneous Peak demand |  | 6957 | 46213.959 | 6165.96 | 6740.3524
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1694.524 | 40.6686 | 1674.3892 | 40.1853 | 1633.5336 | 39.2048
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2134.0251 | 51.2166 | 2163.4502 | 51.9228 | 1851.8875 | 44.4453
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1349.9752 | 32.3994 | 1313.0905 | 31.5142 | 1256.4895 | 30.1557
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 623.4829 | 14.9636 | 632.6624 | 15.1839 | 622.7521 | 14.9461
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 5802.0072 | 139.2482 | 5783.5922 | 138.8062 | 5364.6627 | 128.7519
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 402 | GMR |  |  |  | 180
| NBVL #3 | 35 | MDTPC |  |  |  | 31
Mini Hydel: | MEENAKSHI | 17 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 5
Solar: |  | 265 | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | 238 | JSL(Duburi) |  |  |  | -75.7705
| ICCL | 47 | visa |  |  |  | 10.3986
| NALCO | -152 | VAL (CGP) |  |  |  | 12.839
| RSP | -125.7915 | BSL(MMDL) |  |  |  | 101.5502
| INDAL | 3.8721 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -44.9069 | VAL CPP 400 kV |  |  |  | -971.3057
| NBVL | 35.2536 | Arati |  |  |  | 48.7266
| BPSL(JSG) | -165.0217 | BPPL |  |  |  | 110.4189
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-04 | 2026-07-05 | 2026-07-06 | 2026-07-07 | 2026-07-08 | 2026-07-09 | 2026-07-10 | 2026-07-11
252.0595 | 167.907 | 471.243 | 481.083 | 529.1258 | 439.8 | 375.1042 | 524.875
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.11.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.65
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 135.89
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP41PL_BHDL | ODISHA | 58.78
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.73 | AP43PL_BKN | ODISHA | 89.26
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.48
MAADURGA_THERMAL | NPCL_UP | -14.2 | ARYAN_ISPAT | WBSEDCL | -5 | ARE55L_PSS3_KPS1_HW | DHAMRAPORT | 1.48
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 15.26
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 22.89
OCL_IRON_STEEL | NPCL_UP | -27.23 | FACORPOWER | TPL_DIS_AHM | -25 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.85
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | JSPLANGUL | CSEB_Beneficiary | -150 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 42.76
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | KCMW_od | DCL_RCW | -1.25 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.49
VSL | CR_IR_MS | -2.92 | NBVLIPP | BSPHCL | -17.92 | DADRI_SOLAR | ODISHA | 0.65
FARIDABAD_SOLAR | ODISHA | 0.86 | OCL_IRON_STEEL | BRPL | -14.58 | ENERSON_SOLAR_10MW | ODISHA | 1.59
JSWEL_UTKAL | ODISHA | 53.6 | OCL_IRON_STEEL | BRPL | -6.2 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 0 | ODISHA | TANGEDCO | -17.97 | GADAG_GreenInfra_W | ODISHA | 0.55
RAJ_SOLAR | ODISHA | 2.43 | ODISHA | TANGEDCO | -17.97 | GADAG_Serentica3_S | VLSEZ | 29.87
RAJ_SOLAR | ODISHA | 2.38 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 114.33
|  |  | RML_Dhenkanal | TANGEDCO | -2.08 | GADAG_Serentica3_W | VLSEZ | 6.09
|  |  | RSPL_JHARSUGUDA | TANGEDCO | -3.96 | GADAG_Serentica3_W | VLSEZ | 1.81
|  |  | RSPL_JHARSUGUDA | WBSEDCL | -10 | GIWEL_SECI_II_RE | ODISHA | 90.89
|  |  | Shri_JSPL | TANGEDCO | -1.04 | GPCL_SOLAR_10 | ODISHA | 1.24
|  |  | VSL | WBSEDCL | -10 | GSECL_SOLAR | ODISHA | 0.84
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.86
|  |  | JIPL | ODISHA | 115.81 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 4
|  |  | NALCOAP | NACL_Odisha | 25.57 | KARUR_TPVARDHAMAN_W | TSKPO | 61.48
|  |  | TSTPP_I | ODISHA | 31.38 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.65
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 5.64
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 13.74
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 7.77
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 1.5
[6 empty] | OKWPL_RE | ODISHA | 46.94
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 10.73
[6 empty] | RWE_AP2_SECI_III | ODISHA | 33.85
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 0.47
[6 empty] | SRI9PL_FTG3 | VLSEZ | 71.61
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 63.4
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 41.33
[6 empty] | XXPPL_FTG3 | ODISHA | 59.56

## DAM
DAM TRADING DETAILS FOR DT :11.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | -3.3 | 0 | 0 | -425 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
00:15 - 00:30 | -3.3 | 0 | 0 | -425 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
00:30 - 00:45 | -3.3 | 0 | 0 | -425 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
00:45 - 01:00 | -3.3 | 0 | 0 | -425 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
01:00 - 01:15 | -3.3 | 0 | 0 | -500 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
01:15 - 01:30 | -3.3 | 0 | 0 | -480.49 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
01:30 - 01:45 | -3.3 | 0 | 0 | -375 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
01:45 - 02:00 | -3.3 | 0 | 0 | -375 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
02:00 - 02:15 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
02:15 - 02:30 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
02:30 - 02:45 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
02:45 - 03:00 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
03:00 - 03:15 | -3.3 | 0 | 0 | -300 | 0 | 0 | 0 | -165 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
03:15 - 03:30 | -3.3 | 0 | 0 | -300 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
03:30 - 03:45 | -3.3 | 0 | 0 | -300 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
03:45 - 04:00 | -3.3 | 0 | 0 | -300 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
04:00 - 04:15 | -3.3 | 0 | 0 | -275 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
04:15 - 04:30 | -3.3 | 0 | 0 | -275 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
04:30 - 04:45 | -3.3 | 0 | 0 | -275 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
04:45 - 05:00 | -3.3 | 0 | 0 | -275 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
05:00 - 05:15 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
05:15 - 05:30 | -3.3 | 0 | 0 | -405.39 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
05:30 - 05:45 | -3.3 | 0 | 0 | -450 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
05:45 - 06:00 | -3.3 | 0 | 0 | -450 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
06:00 - 06:15 | -3.3 | 0 | 0 | -575 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
06:15 - 06:30 | -3.3 | 0 | 0 | -575 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
06:30 - 06:45 | -3.3 | 0 | 0 | -546.22 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
06:45 - 07:00 | -3.3 | 0 | 0 | -450 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
07:00 - 07:15 | -3.3 | 20.27 | 0 | -800 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
07:15 - 07:30 | -3.3 | 20.27 | 0 | -774.63 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
07:30 - 07:45 | -3.3 | 20.27 | 0 | -512.03 | 0 | 0 | 0 | 0 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
07:45 - 08:00 | -3.3 | 20.27 | 0 | -200 | 0 | 0 | 0 | 0 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
08:00 - 08:15 | -3.3 | 20.27 | 0 | -330.18 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
08:15 - 08:30 | -3.3 | 20.27 | 0 | 0 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
08:30 - 08:45 | -3.3 | 20.27 | 0 | 0 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
08:45 - 09:00 | -3.3 | 20.27 | 0 | 15.74 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
09:00 - 09:15 | -3.3 | 20.27 | 0 | 13.79 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
09:15 - 09:30 | -3.3 | 20.27 | 0 | 23.47 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 115.81 | 64.66
09:30 - 09:45 | -3.3 | 20.27 | 0 | 21.33 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
09:45 - 10:00 | -3.3 | 20.27 | 0 | 21.26 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
10:00 - 10:15 | -3.3 | 20.27 | 0 | 18.59 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
10:15 - 10:30 | -3.3 | 20.27 | 0 | 21.35 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
10:30 - 10:45 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
10:45 - 11:00 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
11:00 - 11:15 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
11:15 - 11:30 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
11:30 - 11:45 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
11:45 - 12:00 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
12:00 - 12:15 | -3.3 | 20.27 | 0 | 14.05 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
12:15 - 12:30 | -3.3 | 20.27 | 0 | 14.05 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
12:30 - 12:45 | -3.3 | 20.27 | 0 | 14.06 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
12:45 - 13:00 | -3.3 | 20.27 | 0 | 14.06 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
13:00 - 13:15 | -3.3 | 20.27 | 0 | 12.63 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
13:15 - 13:30 | -3.3 | 20.27 | 0 | 11.53 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
13:30 - 13:45 | -3.3 | 20.27 | 0 | 13.98 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.63 | 129.32
13:45 - 14:00 | -3.3 | 20.27 | 0 | 14.06 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
14:00 - 14:15 | -3.3 | 20.27 | 0 | 22.51 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
14:15 - 14:30 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
14:30 - 14:45 | -3.3 | 20.27 | 0 | 26.57 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 115.81 | 64.66
14:45 - 15:00 | -3.3 | 20.27 | 0 | 26.57 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
15:00 - 15:15 | -3.3 | 20.27 | 0 | 25.01 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
15:15 - 15:30 | -3.3 | 20.27 | 0 | 25 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
15:30 - 15:45 | -3.3 | 20.27 | 0 | 8.43 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
15:45 - 16:00 | -3.3 | 20.27 | 0 | 0.25 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
16:00 - 16:15 | -3.3 | 20.27 | 0 | 0 | 12.84 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
16:15 - 16:30 | -3.3 | 20.27 | 0 | 6.99 | 13.32 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
16:30 - 16:45 | -3.3 | 20.27 | 0 | 93.11 | 13.8 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
16:45 - 17:00 | -3.3 | 20.27 | 0 | 211.52 | 14.48 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
17:00 - 17:15 | -3.3 | 0 | 0 | 37.24 | 14.86 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
17:15 - 17:30 | -3.3 | 0 | 0 | 0 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
17:30 - 17:45 | -3.3 | 0 | 0 | 0 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
17:45 - 18:00 | -3.3 | 0 | 0 | -125 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -0.5 | -18 | -28.7 | 0 | -24.2 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -0.5 | -18 | -28.7 | 0 | -24.2 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -0.5 | -18 | -28.7 | 0 | -24.2 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -0.5 | -18 | -28.7 | 0 | -24.2 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | 0 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 9.65 | -24.2 | 0 | 0
19:15 - 19:30 | -3.3 | 0 | 0 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 9.65 | -24.2 | 0 | 0
19:30 - 19:45 | -3.3 | 0 | 0 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
19:45 - 20:00 | -3.3 | 0 | 0 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
20:00 - 20:15 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
20:15 - 20:30 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
20:30 - 20:45 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
20:45 - 21:00 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
21:00 - 21:15 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
21:15 - 21:30 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
21:30 - 21:45 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
21:45 - 22:00 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
22:00 - 22:15 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
22:15 - 22:30 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
22:30 - 22:45 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
22:45 - 23:00 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
23:00 - 23:15 | -3.3 | 0 | -12 | -200 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
23:15 - 23:30 | -3.3 | 0 | -12 | -200 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
23:30 - 23:45 | -3.3 | 0 | -12 | -200 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
23:45 - 24:00 | -3.3 | 0 | -12 | -200 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
Average | -3.3 | 8.4458 | -2 | -164.9555 | 0.72187 | 14.0739 | 1.2875 | -105.0312 | -4.5 | -0.5 | -13.625 | -28.7 | 0.20104 | -6.05 | 50.667 | 28.2887

## GDAM
GDAM TRADING DETAILS FOR DT:11.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 16.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 46.86 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 128.02 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 145.88 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 134.68 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 136.42 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 90.19 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 93.57 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 136.61 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 124.07 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 162.28 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 160.45 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 159.48 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 170.97 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 175.65 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 175.65 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 17.16 | 175.65 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 17.24 | 175.65 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 3.78 | 0 | 0 | 175.65 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 1.96 | 175.65 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 175.65 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 175.65 | 0
06:00 - 06:15 | 0 | -0.2 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 112.1 | 0
06:15 - 06:30 | 0 | -0.5 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 148.48 | 0
06:30 - 06:45 | 0 | -1 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0.52 | 159.25 | 0
06:45 - 07:00 | 0 | -1.3 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 72.38 | 140.91 | 0
07:00 - 07:15 | 0 | -1.8 | 0 | 0 | 19.3 | 11.58 | 0 | 5.79 | 9.65 | 72.38 | 123.54 | 0
07:15 - 07:30 | 0 | -2.7 | 0 | 0 | 19.3 | 25.09 | 0 | 5.79 | 9.65 | 72.38 | 104.24 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 19.3 | 20.27 | 9.65 | 5.79 | 9.65 | 72.38 | 71.42 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 19.3 | 17.37 | 9.65 | 5.79 | 9.65 | 72.39 | 29.92 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 14.48 | 23.16 | 9.65 | 5.79 | 9.65 | 28.95 | 14.48 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 14.48 | 21.23 | 9.65 | 5.79 | 9.65 | 28.95 | 38.61 | 0
08:30 - 08:45 | 0 | 0 | 55.2 | 0 | 14.48 | 20.27 | 9.65 | 5.79 | 9.65 | 28.95 | 10.62 | 0
08:45 - 09:00 | 0 | -4.9 | 217.23 | 0 | 14.48 | 19.3 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
09:00 - 09:15 | 0 | -5.7 | 255.06 | 15.44 | 14.48 | 12.55 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
09:15 - 09:30 | 0 | -4.2 | 255.07 | 14.19 | 14.48 | 9.65 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
09:30 - 09:45 | 0 | -5.3 | 261.92 | 11.97 | 14.48 | 6.76 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
09:45 - 10:00 | 0 | -6.3 | 261.94 | 9.46 | 14.48 | 6.76 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
10:00 - 10:15 | 0 | -11.1 | 265.42 | 10.71 | 14.48 | 7.72 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
10:15 - 10:30 | 0 | -11.4 | 261.91 | 10.33 | 14.48 | 9.65 | 9.65 | 5.79 | 9.65 | 28.95 | 158.28 | 63.7
10:30 - 10:45 | 0 | -10 | 255.1 | 8.01 | 14.48 | 11.58 | 9.65 | 5.79 | 9.65 | 28.95 | 198.81 | 63.7
10:45 - 11:00 | 0 | -6.8 | 255.09 | 8.01 | 14.48 | 13.51 | 9.65 | 5.79 | 9.65 | 28.95 | 228.73 | 63.7
11:00 - 11:15 | 0 | -10.5 | 255.09 | 6.37 | 14.48 | 11.58 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
11:15 - 11:30 | 0 | -12.1 | 255.12 | 6.27 | 14.48 | 9.65 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
11:30 - 11:45 | 0 | -11.2 | 255.11 | 6.08 | 14.48 | 7.72 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
11:45 - 12:00 | 0 | -10.5 | 255.11 | 7.91 | 14.48 | 5.79 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
12:00 - 12:15 | 0 | -10.7 | 272.29 | 9.65 | 14.48 | 6.76 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
12:15 - 12:30 | 0 | -7.4 | 272.32 | 8.69 | 14.48 | 6.76 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
12:30 - 12:45 | 0 | -7.8 | 272.33 | 6.27 | 14.48 | 7.72 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
12:45 - 13:00 | 0 | -4 | 272.32 | 6.56 | 14.48 | 8.69 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
13:00 - 13:15 | 0 | -2.5 | 274.03 | 8.49 | 14.48 | 8.69 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
13:15 - 13:30 | -4.5 | -2.3 | 275.37 | 8.59 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
13:30 - 13:45 | -6.4 | -2.6 | 272.35 | 8.59 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
13:45 - 14:00 | -5.5 | -7.4 | 272.33 | 10.23 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
14:00 - 14:15 | -2.2 | -0.1 | 261.94 | 11.68 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
14:15 - 14:30 | -1.4 | 0 | 255.12 | 11.87 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 228.73 | 63.7
14:30 - 14:45 | -1.4 | 0 | 255.1 | 12.93 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 198.81 | 63.7
14:45 - 15:00 | -2.7 | -2.4 | 255.09 | 13.51 | 14.48 | 4.83 | 9.65 | 5.79 | 9.65 | 28.95 | 158.28 | 63.7
15:00 - 15:15 | 0 | -3.5 | 255.1 | 13.41 | 14.48 | 8.69 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
15:15 - 15:30 | 0 | -1.2 | 255.09 | 12.84 | 14.48 | 9.65 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
15:30 - 15:45 | 0 | -0.8 | 255.09 | 12.74 | 14.48 | 10.62 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
15:45 - 16:00 | 0 | 0 | 255.09 | 13.22 | 14.48 | 10.62 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
16:00 - 16:15 | 0 | 0 | 291.31 | 0 | 19.3 | 10.62 | 9.65 | 5.79 | 9.65 | 67.56 | 0 | 0
16:15 - 16:30 | 0 | 0 | 265.46 | 0 | 19.3 | 11.58 | 9.65 | 5.79 | 9.65 | 67.56 | 0 | 0
16:30 - 16:45 | 0 | 0 | 165.55 | 0 | 19.3 | 13.51 | 9.65 | 5.79 | 9.65 | 67.56 | 0 | 0
16:45 - 17:00 | 0 | 0 | 47.11 | 0 | 19.3 | 16.41 | 9.65 | 5.79 | 9.65 | 67.55 | 4.83 | 0
17:00 - 17:15 | 0 | 0 | 247.94 | 0 | 19.3 | 21.23 | 9.65 | 5.79 | 9.65 | 67.56 | 24.13 | 0
17:15 - 17:30 | 0 | 0 | 129.72 | 0 | 19.3 | 25.09 | 9.65 | 5.79 | 9.65 | 72.38 | 0 | 0
17:30 - 17:45 | 0 | -2.2 | 7.14 | 0 | 19.3 | 28.95 | 9.65 | 5.79 | 9.65 | 72.39 | 0 | 0
17:45 - 18:00 | 0 | -1.5 | 0 | 0 | 19.3 | 32.81 | 9.65 | 5.79 | 9.65 | 72.39 | 36.67 | 0
18:00 - 18:15 | 0 | -0.9 | 0 | 0 | 19.3 | 25.09 | 9.65 | 5.79 | 9.65 | 72.39 | 65.63 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 9.65 | 72.38 | 90.73 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 9.65 | 72.38 | 109.06 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 9.65 | 13.48 | 128.36 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.25104 | -1.8208 | 91.1413 | 2.9585 | 13.6411 | 5.6199 | 4.3224 | 3.4772 | 4.825 | 21.9872 | 98.1258 | 15.925

## RTM
RTM TRADING DETAILS FOR DT: 11.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maadurga_Thermal_Power_Company_Limited_1 | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.3 | 0 | 0 | 0 | -1.4 | -77.5 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | -10 | 0 | 0 | 0 | 0
00:15 - 00:30 | -1.3 | 0 | 0 | 0 | -1.4 | -101.64 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.3 | 0 | 0 | 0 | -1.4 | -167.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | -10 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1.3 | 0 | 0 | 0 | -1.4 | -157.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0 | 62.73 | 0 | -7 | -15 | 0 | 0 | 0 | 0
01:00 - 01:15 | -1.3 | 0 | 0 | 0 | -1.4 | -94.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0 | 62.74 | 0 | -5 | 0 | 19.3 | 0 | 0 | 0
01:15 - 01:30 | -1.3 | 0 | 0 | 0 | -1.4 | -94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0 | 62.74 | 0 | -5 | 0 | 19.3 | 0 | 0 | 0
01:30 - 01:45 | -1.3 | 0 | 0 | 0 | -1.4 | -66.48 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 19.3 | 0 | 0 | 5.79 | 23.16 | 0 | 0 | 62.74 | 0 | -5 | -35 | 19.3 | 10.62 | 0 | 0
01:45 - 02:00 | -1.3 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 8.2 | 0 | 7.72 | -0.9 | 0 | 19.3 | 0 | 0 | 5.79 | 23.16 | 0 | 0 | 62.73 | 0 | -3.5 | -10 | 28.95 | 10.62 | 199.79 | 0
02:00 - 02:15 | -1.3 | 0 | 0 | 0 | -1.4 | -128.05 | 0 | 0 | 0 | 0 | 0 | -7.3 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 5.79 | 23.16 | 7.72 | 0 | 62.74 | 0 | -3.5 | 0 | 28.95 | 10.62 | 0 | 0
02:15 - 02:30 | -1.3 | 0 | 0 | 0 | -1.4 | -128 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 5.79 | 23.16 | 7.72 | 0 | 62.74 | 0 | -3.5 | -10 | 28.95 | 10.62 | 0 | 0
02:30 - 02:45 | -1.3 | 0 | 0 | 0 | -1.4 | -131.01 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 5.79 | 23.16 | 7.72 | 0 | 62.74 | 0 | -3.5 | 0 | 28.95 | 10.62 | 0 | 0
02:45 - 03:00 | -1.3 | 0 | 0 | 0 | -1.4 | -140.01 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 0 | 19.3 | 7.72 | 0 | 62.74 | 0 | -3.5 | 0 | 28.95 | 10.62 | 0 | 0
03:00 - 03:15 | -1.3 | 0 | 0 | 0 | -1.4 | -125.05 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 5.79 | 23.16 | 7.72 | 0 | 62.74 | 0 | -3.5 | -40 | 28.95 | 10.62 | 5.98 | 0
03:15 - 03:30 | -1.3 | 0 | 0 | 0 | -1.4 | -131.1 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 5.79 | 23.16 | 7.72 | 0 | 62.74 | 0 | -3.5 | -35 | 28.95 | 10.62 | 0 | 0
03:30 - 03:45 | -1.3 | 0 | 0 | 0 | 0 | -255.43 | 0 | 0 | 0 | 0 | 9.65 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0.19 | 5.79 | 23.16 | 7.72 | 0 | 62.73 | 0 | -3.5 | 0 | 28.95 | 10.62 | 201.72 | 0
03:45 - 04:00 | -1.3 | 0 | 0 | 0 | 0 | -328.36 | 0 | 0 | 0 | 0 | 9.65 | -7.3 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0.19 | 5.79 | 23.16 | 7.72 | 0 | 62.73 | 0 | -3.5 | 0 | 28.95 | 10.62 | 201.72 | 0
04:00 - 04:15 | -1.3 | 0 | 0 | 0 | -1.4 | -229.23 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 5.79 | 23.16 | 7.72 | 0 | 62.74 | 0 | -3.5 | -10 | 28.95 | 10.62 | 53.69 | 0
04:15 - 04:30 | -1.3 | 0 | 0 | 0 | -1.4 | -240.42 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 5.79 | 23.16 | 7.72 | 0 | 62.74 | 0 | -3.5 | 0 | 28.95 | 10.62 | 0 | 0
04:30 - 04:45 | -1.3 | 0 | 0 | 0 | -1.4 | -279.53 | 0 | 0 | 0 | 0 | 0 | -7.3 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 5.79 | 23.16 | 7.72 | 0 | 62.74 | 0 | -3.5 | 0 | 28.95 | 10.62 | 0 | 0
04:45 - 05:00 | -1.3 | 0 | 0 | 0 | -1.4 | -283.84 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 5.79 | 23.16 | 7.72 | 0 | 62.74 | 0 | -3.5 | -40 | 28.95 | 10.62 | 0 | 0
05:00 - 05:15 | -1.3 | 0 | 0 | 0 | -1.5 | -224.94 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 0 | 19.3 | 7.72 | 2.9 | 62.73 | 0 | -4.2 | -30 | 28.95 | 10.62 | 0 | 0
05:15 - 05:30 | -1.3 | 0 | 0 | 0 | -1.5 | -215.74 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 0 | 19.3 | 7.72 | 2.9 | 62.73 | 0 | -4.2 | 0 | 28.95 | 10.62 | 0 | 0
05:30 - 05:45 | -1.3 | 0 | 0 | -0.4 | -1.5 | -228.39 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | 0 | 0 | 19.3 | 0 | 0 | 62.74 | 0 | -4.2 | 0 | 28.95 | 0 | 0 | 0
05:45 - 06:00 | -1.3 | 0 | 0 | -0.4 | -1.5 | -233.26 | 0 | 0 | 0 | 0 | 0 | -10.4 | 0 | -0.9 | 0 | 19.3 | -0.2 | 0 | 0 | 0 | 0 | 0 | 48.26 | 0 | -4.5 | -20 | 0 | 0 | 0 | 0
06:00 - 06:15 | -1.3 | 0 | 0 | -0.4 | -1.4 | -232.52 | 0 | 0 | 0 | 0 | 0 | -10.4 | 0 | -0.9 | 0 | 19.3 | -0.2 | -0.1 | 0 | 0 | 0 | 0 | 48.25 | 0 | -4.5 | 0 | 0 | 0 | 14.48 | 0
06:15 - 06:30 | -1.3 | 0 | 0 | -0.4 | -1.4 | -235.18 | 0 | 0 | 0 | 0 | 0 | -10.4 | 0 | -0.9 | 0 | 0 | -0.2 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5 | -10 | 0 | 0 | 43.43 | 0
06:30 - 06:45 | -1.3 | 0 | 0 | -0.4 | -1.4 | -233.57 | 0 | 0 | 0 | 0 | 0 | -10.4 | 0 | -0.9 | 0 | 19.3 | -0.2 | -0.4 | 0 | 0 | 0 | 0 | 62.73 | 0 | -5 | -30 | 0 | 0 | 73.35 | 0
06:45 - 07:00 | -1.3 | 0 | 0 | -0.4 | -1.4 | -227.5 | 0 | 0 | 0 | 0 | 0 | -10.4 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | -0.4 | 0 | 19.3 | 0 | 0 | 62.73 | 0 | -5 | -35 | 28.95 | 0 | 101.34 | 0
07:00 - 07:15 | -1.3 | 0 | 0 | 0 | 0 | -153.2 | 0 | 0 | 0 | 0 | 9.65 | -5 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | -0.5 | 0.48 | 23.16 | 7.72 | 2.9 | 62.73 | 0 | -5.5 | -10 | 28.95 | 10.62 | 119.68 | 0
07:15 - 07:30 | -1.3 | -11 | 0 | 0 | 0 | -164.21 | 0 | 0 | 0 | 0 | 9.65 | 0 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | -0.7 | 0.48 | 23.16 | 7.72 | 2.9 | 0 | 0 | -5.5 | -15 | 28.95 | 10.62 | 124.5 | 0
07:30 - 07:45 | -1.3 | 0 | 0 | 0 | 0 | -95.01 | 0 | 0 | 0 | 0 | 7.6 | 0 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | -1.4 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | -4 | -15 | 28.95 | 10.62 | 124.5 | 0
07:45 - 08:00 | -1.3 | 0 | 0 | 0 | 0 | -76.58 | 0 | 0 | 0 | 0 | 9.65 | 0 | 7.72 | -0.9 | 0 | 19.3 | -0.2 | -1.7 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | -4 | 0 | 28.95 | 10.62 | 123.54 | 0
08:00 - 08:15 | -1.5 | 0 | 0 | 0 | 0 | -67.75 | 0 | 0.97 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | -15 | 4.83 | -0.2 | -1.8 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | -3.5 | 0 | 24.13 | 10.62 | 122.55 | 0
08:15 - 08:30 | -1.5 | 0 | 0 | 0 | 0 | -61.86 | 0 | 0.97 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | -2 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | -3.5 | -10 | 24.13 | 10.62 | 122.55 | 0
08:30 - 08:45 | -1.5 | 0 | 0 | 0 | 0 | -105.87 | 0 | 0.97 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | -2.1 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | -5.5 | -38 | 19.3 | 10.62 | 161.16 | 0
08:45 - 09:00 | -1.5 | 0 | 0 | 0 | 0 | -155.87 | 0 | 0.97 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | -2.4 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | -5.5 | -38 | 19.3 | 10.62 | 152.48 | 0
09:00 - 09:15 | -1.5 | 0 | 0 | 0 | 0 | -5.81 | 9.36 | 1.93 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | 0 | 0 | 19.3 | 10.62 | 87.82 | 0
09:15 - 09:30 | -1.5 | 0 | 0 | 0 | 0 | 0 | 7.72 | 1.93 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | 0 | 0 | 19.3 | 10.62 | 41.49 | 0
09:30 - 09:45 | -1.5 | 0 | 0 | 0 | 0 | 0 | 6.95 | 1.93 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | 0 | 0 | 19.3 | 10.62 | 52.11 | 0
09:45 - 10:00 | 0 | 0 | 0 | 0 | 0 | 0 | 8.01 | 1.93 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.17 | 0 | 0.48 | 13.51 | 7.72 | 2.9 | 0 | 0 | 0 | 0 | 19.3 | 10.62 | 52.11 | 0
10:00 - 10:15 | -1.5 | 0 | 0 | 0 | 0 | 141.89 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 3.86 | 7.72 | 2.9 | 0 | 0 | 0 | -20 | 19.3 | 10.62 | 149.58 | 0
10:15 - 10:30 | -1.5 | 0 | 0 | 0 | 0 | 140.07 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 3.86 | 7.72 | 2.9 | 0 | 0 | 0 | -40 | 19.3 | 10.62 | 247.06 | 0
10:30 - 10:45 | -1.5 | -10 | 0 | 0 | 0 | 106.25 | 0 | 10.62 | 0 | -1.6 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 3.86 | 7.72 | 2.9 | 0 | 0 | -5 | -40 | 19.3 | 10.62 | 289.52 | 0
10:45 - 11:00 | -1.5 | 0 | 0 | 0 | 0 | 106.24 | 0 | 10.62 | 0 | -1.6 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 3.86 | 7.72 | 2.9 | 0 | 0 | -5 | -40 | 19.3 | 10.62 | 289.52 | 0
11:00 - 11:15 | -1.5 | 0 | 0 | 0 | 0 | 154.48 | 0 | 10.62 | 0 | -1.2 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 3.86 | 11.58 | 2.9 | 0 | 9.65 | -4 | -20 | 19.3 | 11.58 | 289.53 | 0
11:15 - 11:30 | -1.5 | 0 | 0 | 0 | 0 | 154.48 | 0 | 10.62 | 0 | -1.2 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 3.86 | 11.58 | 2.9 | 0 | 9.65 | -4 | 0 | 19.3 | 11.58 | 289.53 | 0
11:30 - 11:45 | -1.5 | 0 | 0 | 0 | 0 | 130.36 | 0 | 4.83 | 0 | -1.8 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 3.86 | 11.58 | 2.9 | 0 | 9.65 | -3.5 | 0 | 19.3 | 11.58 | 357.08 | 0
11:45 - 12:00 | -1.5 | 0 | 0 | 0 | 0 | 106.22 | 0 | 4.83 | 0 | -1.8 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0.48 | 3.86 | 11.58 | 2.9 | 0 | 9.65 | -3.5 | 0 | 19.3 | 11.58 | 398.58 | 0
12:00 - 12:15 | -1.5 | -10 | 0 | 0 | 0 | 82.13 | 0 | 4.83 | 0 | -2.2 | 0 | 0 | 0 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 3.86 | 11.58 | 5.79 | 0 | 9.65 | -3 | -30 | 19.3 | 10.62 | 387.96 | 0
12:15 - 12:30 | -1.5 | 0 | 0 | 0 | 0 | 82.12 | 0 | 4.83 | 0 | -2.1 | 0 | 0 | 0 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 3.86 | 11.58 | 5.79 | 0 | 9.65 | -3 | -30 | 19.3 | 10.62 | 387.96 | 0
12:30 - 12:45 | -1.5 | 0 | 0 | 0 | 0 | 135.15 | 0 | 4.83 | 0 | -1.37 | 0 | 0 | 0 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 1.93 | 11.58 | 5.79 | 0 | 9.65 | -1.71 | -25 | 24.13 | 10.62 | 387.96 | 0
12:45 - 13:00 | -1.5 | 0 | 0 | 0 | 0 | 139.94 | 0 | 4.83 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 1.93 | 11.58 | 5.79 | 0 | 9.65 | 0 | 0 | 24.13 | 10.62 | 387.96 | 0
13:00 - 13:15 | -1.5 | 0 | 0 | -0.4 | 0 | 189.14 | 0 | 4.83 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | 0 | 0 | 24.13 | 5.6 | 305.93 | 0
13:15 - 13:30 | -1.5 | 0 | 0 | -0.4 | 0 | 189.13 | 0 | 4.83 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | 0 | 0 | 24.13 | 5.6 | 243.19 | 0
13:30 - 13:45 | -1.5 | -9.22 | 0 | -0.4 | 0 | 429.46 | 0 | 4.83 | 0 | -1.84 | 0 | 0 | 0 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -2.77 | -10 | 24.13 | 5.6 | 161.17 | 0
13:45 - 14:00 | -1.5 | 0 | 0 | -0.4 | 0 | 415.02 | 0 | 4.83 | 0 | -2 | 0 | 0 | 0 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -3 | -10 | 24.13 | 5.6 | 79.14 | 0
14:00 - 14:15 | -1.5 | 0 | 0 | -0.4 | 0 | 415.02 | 0 | 5.79 | 0 | -2 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -3.3 | -18 | 24.13 | 5.6 | 0 | 0
14:15 - 14:30 | -1.5 | 0 | 0 | -0.4 | 0 | 632.14 | 0 | 5.79 | 0 | -1.8 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | 0 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -3.3 | -18 | 24.13 | 5.6 | 0 | 0
14:30 - 14:45 | -1.5 | 0 | -6.4 | -0.4 | 0 | 700.42 | 0 | 5.79 | 0 | -0.1 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | -2.4 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -3.3 | 0 | 24.13 | 5.6 | 0 | 0
14:45 - 15:00 | -1.5 | 0 | -2.6 | -0.4 | 0 | 733.49 | 0 | 5.79 | 0 | -0.1 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | -2.2 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -3.3 | 0 | 24.13 | 5.6 | 0 | 0
15:00 - 15:15 | -1.5 | 0 | 0 | -0.4 | 0 | 410.3 | 0 | 5.79 | 0 | -0.1 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | -2 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -3.3 | -10 | 9.65 | 5.6 | 0 | 0
15:15 - 15:30 | -1.5 | -10 | 0 | -0.4 | 0 | 156.17 | 0 | 5.79 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | -1.8 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -3.3 | 0 | 9.65 | 5.6 | 0 | 0
15:30 - 15:45 | -1.5 | 0 | 0 | -0.4 | 0 | -208.83 | 0 | 5.79 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 4.83 | -0.2 | -1.6 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -3.3 | -20 | 9.65 | 5.6 | 0 | 0
15:45 - 16:00 | -1.5 | 0 | 0 | -0.4 | 0 | -116.04 | 0 | 5.79 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | -15 | 4.83 | -0.2 | -1.4 | 0 | 1.93 | 11.58 | 5.79 | 0 | 0 | -3.3 | -20 | 9.65 | 5.6 | 0 | 0
16:00 - 16:15 | -1.5 | 0 | 0 | -0.4 | 0 | 0 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 19.29 | -0.2 | -1.4 | 0 | 2.9 | 11.58 | 5.79 | 0 | 0 | -3.3 | -15 | 14.48 | 5.6 | 0 | 0
16:15 - 16:30 | -1.5 | 0 | 0 | -0.4 | 0 | -103.47 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 19.29 | -0.2 | -1.2 | 0 | 2.9 | 11.58 | 5.79 | 0 | 0 | -3.3 | 0 | 14.48 | 5.6 | 0 | 0
16:30 - 16:45 | -1.5 | -10 | 0 | -0.4 | 0 | -136.3 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 19.29 | -0.2 | -1.1 | 0 | 2.9 | 11.58 | 5.79 | 0 | 0 | -3.3 | 0 | 14.48 | 5.6 | 0 | 0
16:45 - 17:00 | -1.5 | 0 | 0 | -0.4 | 0 | -150.93 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.9 | 0 | 19.29 | -0.2 | -0.9 | 0 | 2.9 | 11.58 | 5.79 | 0 | 0 | -3.3 | -15 | 14.48 | 5.6 | 0 | 0
17:00 - 17:15 | -1.5 | 0 | 0 | 0 | 0 | -502.86 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 19.29 | -0.2 | -0.5 | 0 | 2.9 | 11.58 | 5.79 | 0 | 0 | -3.3 | -10 | 14.48 | 5.6 | 0 | 0
17:15 - 17:30 | -1.5 | 0 | 0 | 0 | 0 | -652.88 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 19.29 | -0.2 | -0.4 | 0 | 2.9 | 11.58 | 5.79 | 0 | 0 | -3.3 | -20 | 14.48 | 5.6 | 0 | 0
17:30 - 17:45 | -1.5 | 0 | 0 | 0 | 0 | -619.53 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 19.29 | -0.2 | -0.2 | 0 | 2.9 | 11.58 | 5.79 | 0 | 0 | -3.3 | -5 | 14.48 | 5.6 | 0 | 0
17:45 - 18:00 | -1.5 | 0 | 0 | 0 | 0 | -526 | 0 | 10.62 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 19.29 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3 | 0 | 14.48 | 0 | 0 | 0
18:00 - 18:15 | -1.5 | 0 | 0 | 0 | 0 | -556.03 | 0 | 10.62 | 0 | 0 | 9.65 | 0 | 7.72 | -0.4 | 0 | 19.3 | -0.2 | 0 | 0 | 2.9 | 0 | 5.79 | 0 | 0 | -3.3 | 0 | 19.3 | 5.6 | 0 | 0
18:15 - 18:30 | -1.5 | 0 | 0 | 0 | 0 | -168.45 | 0 | 10.62 | 0 | 0 | 0 | 0 | 7.72 | -0.4 | 0 | 19.29 | -0.2 | 0 | 0 | 2.9 | 0 | 5.79 | 0 | 0 | -3.3 | 0 | 19.3 | 5.6 | 0 | 0
18:30 - 18:45 | -1.5 | 0 | 0 | 0 | 0 | -90.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3 | 0 | 19.3 | 0 | 0 | 0
18:45 - 19:00 | -1.5 | 0 | 0 | 0 | 0 | -102.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.5 | 0 | 0 | 0 | -1.4 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.5 | 0 | 0 | 0 | -1.4 | -87.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.5 | 0 | 0 | 0 | -1.4 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.5 | 0 | 0 | 0 | -1.4 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.5 | 0 | 0 | 0 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
20:15 - 20:30 | -1.5 | 0 | 0 | 0 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
20:30 - 20:45 | -1.5 | 0 | 0 | 0 | -1.6 | -50 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -2
20:45 - 21:00 | -1.5 | 0 | 0 | 0 | -1.6 | -50 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
21:00 - 21:15 | -1.5 | 0 | 0 | 0 | -1.7 | 54.53 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
21:15 - 21:30 | -1.5 | 0 | 0 | 0 | -1.7 | 47.73 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
21:30 - 21:45 | -1.5 | 0 | 0 | -0.4 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
21:45 - 22:00 | -1.5 | 0 | 0 | -0.4 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
22:00 - 22:15 | -1.5 | 0 | 0 | -0.4 | -1.7 | 42.43 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -2
22:15 - 22:30 | -1.5 | 0 | 0 | -0.4 | -1.7 | 38.75 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -2
22:30 - 22:45 | -1.5 | 0 | 0 | 0 | -1.7 | 36.05 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
22:45 - 23:00 | -1.5 | 0 | 0 | 0 | -1.7 | 36.35 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:00 - 23:15 | -1.5 | 0 | 0 | 0 | -1.6 | 30.24 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:15 - 23:30 | -1.5 | 0 | 0 | 0 | -1.6 | 31.29 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:30 - 23:45 | -1.5 | 0 | 0 | 0 | -1.6 | 37.2 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | -2
23:45 - 24:00 | -1.5 | 0 | 0 | 0 | -1.6 | 50.23 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2
Average | -1.4177 | -0.62729 | -0.09375 | -0.10833 | -0.69792 | -44.5644 | 0.33375 | 2.8765 | -5.4167 | -0.2376 | 0.76771 | -1.9052 | 4.4229 | -0.75417 | -0.3125 | 9.2486 | -0.18302 | -0.31792 | 0.88406 | 6.9867 | 5.6694 | 2.1724 | 16.0358 | 0.80417 | -2.7717 | -10.5417 | 15.3807