## POWER STATUS
POWER STATUS ON DT 13.07.2026
[9 empty] | 2026-07-13 | 2026-07-12
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 22:00
Demand -> | [8 empty] | 6426.9313 | 7295.7694
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 161.042 | 3.865 | 630/590 ft | 606.67 | 611.29 | 610.75 | 159.5262 | 160.4599 | 0.54
| Chiplima | 72(3x24) | 52.75 | 1.266 | - |  |  |  | 53.5071 | 49.1246 | 0
| Balimela | 510(6x60+2x75) | 194.2083 | 4.661 | 1516/1440 ft | 1463.6 | 1458.1 | 1457.6 | 66.6399 | 367.8791 | 0.5
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 120.66 | 112.38 | 112.59 | 0 | 0 | -0.21
| Upper Kolab | 320(4x80) | 30.25 | 0.726 | 858/844 mt | 851.12 | 848.45 | 848.47 | 0 | 45.8609 | -0.02
| Upper Indravati | 600(4x150) | 66.0417 | 1.585 | 642/625 mt | 633.27 | 629.62 | 629.67 | 0.30716 | 350.9337 | -0.05
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2735.7 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 504.292 | 12.103 |  |  |  |  | 279.9804 | 974.2582
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1579.88 | 37.9171 | RENEWABLE ENERGY (RE) |  |  |  | 1592.2772 | 1675.9997
[5 empty] | M.Hydl | 58.26
| Total Thermal | 2200 | 1579.88 | 37.9171 | Solar | 118.28 |  |  | 1592.2772 | 1675.9997
IPP | VEDANTA #2 | 600 (1x600) | 390.0235 | 9.3606 | Total IPPs | Yesterday's Demand Profile |  |  | 396.6601 | 548.1245
| GMR #3 | 350 (1x350) | 263.5561 | 6.3253 | 744.499 |  | MW | HRS | 324.1506 | 320.9548
| NBVL(IPP) | 60(1x60) | 46.4966 | 1.1159 |  |  |  |  | 47.6176 | 54.6335
| MDTPC |  | 44.4228 | 1.0661 |  |  |  |  | 31.4114 | 55.877
| CGPs |  | 794.8449 | 19.0763 | IPPs, CGPs & RE | Maximum | 7296 | 22:00 | 1964.4586 | 2091.809
| Central Sector(Drawl) |  | 2732.5273 | 65.5807 | 1715.8839 | Minimum | 5860 | 18:00 | 2590.2151 | 2553.7026
| Central Sector(Sch) |  | 2860.4723 | 68.6513 |  | Average | 6532.5832 |  | 2475.0652 | 2672.74
| Grand Total |  | 6532.5832 | 156.782 | Instantaneous Peak demand |  | 7635 | 22:30:00 | 6426.9313 | 7295.7694
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1688.7994 | 40.5312 | 1776.23 | 42.6295 | 1718.9253 | 41.2542
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2475.4744 | 59.4114 | 2477.0935 | 59.4502 | 1955.3743 | 46.929
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1350.9611 | 32.4231 | 1340.2129 | 32.1651 | 1309.7358 | 31.4337
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 649.7916 | 15.595 | 643.0205 | 15.4325 | 640.1004 | 15.3624
Indravati | NIL | TEESTA-V | 1,2,3 | DISCOM TOTAL | 6165.0266 | 147.9606 | 6236.5569 | 149.6774 | 5624.1358 | 134.9793
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 397 | GMR |  |  |  | 324
| NBVL #3 | 48 | MDTPC |  |  |  | 31
Mini Hydel: | MEENAKSHI | 19 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 4
Solar: |  | 317 | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | 229.6426 | JSL(Duburi) |  |  |  | -106.0039
| ICCL | 35.9917 | visa |  |  |  | 9.8089
| NALCO | -155.9284 | VAL (CGP) |  |  |  | 83.8321
| RSP | -193.8183 | BSL(MMDL) |  |  |  | 98.7965
| INDAL | 3.4002 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -39.7719 | VAL CPP 400 kV |  |  |  | -924.8742
| NBVL | 47.3125 | Arati |  |  |  | 33.3016
| BPSL(JSG) | -150.2251 | BPPL |  |  |  | 124.3992
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-05 | 2026-07-06 | 2026-07-07 | 2026-07-08 | 2026-07-09 | 2026-07-10 | 2026-07-11 | 2026-07-12
167.907 | 471.243 | 481.083 | 529.1258 | 439.8 | 375.1042 | 524.875 | 504.292
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.12.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.59
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 132.73
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP41PL_BHDL | ODISHA | 54.95
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.67 | AP43PL_BKN | ODISHA | 91.34
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.74
MAADURGA_THERMAL | NPCL_UP | -16.19 | ARYAN_ISPAT | WBSEDCL | -5 | ARE55L_PSS3_KPS1_HW | DHAMRAPORT | 1.87
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 15.17
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 22.75
OCL_IRON_STEEL | NPCL_UP | 0 | FACORPOWER | TPL_DIS_AHM | -25 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 1
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | JSPLANGUL | CSEB_Beneficiary | -150 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 42.49
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | KCMW_od | DCL_RCW | -1.25 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.07
VSL | CR_IR_MS | -2.92 | KCMW_od | SFLPondyHEX288 | -0.41 | DADRI_SOLAR | ODISHA | 0.72
FARIDABAD_SOLAR | ODISHA | 0.86 | NBVLIPP | BSPHCL | -17.92 | ENERSON_SOLAR_10MW | ODISHA | 1.46
JSWEL_UTKAL | ODISHA | 61.48 | OCL_IRON_STEEL | BRPL | -15.05 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 0 | OCL_IRON_STEEL | BRPL | -6.2 | GADAG_GreenInfra_W | ODISHA | 0.55
RAJ_SOLAR | ODISHA | 2.1 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_S | VLSEZ | 32.09
RAJ_SOLAR | ODISHA | 2.29 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_Serentica3_W | VLSEZ | 122.17
|  |  | VSL | WBSEDCL | -10 | GIWEL_SECI_II_RE | ODISHA | 90.72
|  |  | BALCO | VLSEZ | 6.03 | GPCL_SOLAR_10 | ODISHA | 1.16
|  |  | BALCO | VLSEZ | 8.04 | GSECL_SOLAR | ODISHA | 1.13
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.82
|  |  | JIPL | ODISHA | 115.81 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.75
|  |  | NALCOAP | NACL_Odisha | 28.83 | KARUR_TPVARDHAMAN_W | TSKPO | 66.87
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.05
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 6.41
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 13.64
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 9.93
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.33
[6 empty] | OKWPL_RE | ODISHA | 47.89
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 8.13
[6 empty] | RWE_AP2_SECI_III | ODISHA | 34.87
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 0.15
[6 empty] | SRI9PL_FTG3 | VLSEZ | 72.01
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 70.17
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 1.47
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 40.15
[6 empty] | XXPPL_FTG3 | ODISHA | 53.77

## DAM
DAM TRADING DETAILS FOR DT :12.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | -3.3 | 0 | 0 | -425 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
00:15 - 00:30 | -3.3 | 0 | 0 | -425 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
00:30 - 00:45 | -3.3 | 0 | 0 | -425 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
00:45 - 01:00 | -3.3 | 0 | 0 | -425 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
01:00 - 01:15 | -3.3 | 0 | 0 | -500 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
01:15 - 01:30 | -3.3 | 0 | 0 | -480.49 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
01:30 - 01:45 | -3.3 | 0 | 0 | -375 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
01:45 - 02:00 | -3.3 | 0 | 0 | -375 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
02:00 - 02:15 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
02:15 - 02:30 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
02:30 - 02:45 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
02:45 - 03:00 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
03:00 - 03:15 | -3.3 | 0 | 0 | -300 | 0 | 0 | 0 | -165 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
03:15 - 03:30 | -3.3 | 0 | 0 | -300 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
03:30 - 03:45 | -3.3 | 0 | 0 | -300 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
03:45 - 04:00 | -3.3 | 0 | 0 | -300 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
04:00 - 04:15 | -3.3 | 0 | 0 | -275 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
04:15 - 04:30 | -3.3 | 0 | 0 | -275 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
04:30 - 04:45 | -3.3 | 0 | 0 | -275 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
04:45 - 05:00 | -3.3 | 0 | 0 | -275 | 0 | 0 | 0 | -126 | -8 | -0.5 | 0 | -28.7 | 0 | 0 | 0 | 0
05:00 - 05:15 | -3.3 | 0 | 0 | -325 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
05:15 - 05:30 | -3.3 | 0 | 0 | -405.39 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
05:30 - 05:45 | -3.3 | 0 | 0 | -450 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
05:45 - 06:00 | -3.3 | 0 | 0 | -450 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
06:00 - 06:15 | -3.3 | 0 | 0 | -575 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
06:15 - 06:30 | -3.3 | 0 | 0 | -575 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
06:30 - 06:45 | -3.3 | 0 | 0 | -546.22 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
06:45 - 07:00 | -3.3 | 0 | 0 | -450 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
07:00 - 07:15 | -3.3 | 20.27 | 0 | -800 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
07:15 - 07:30 | -3.3 | 20.27 | 0 | -774.63 | 0 | 0 | 0 | -126 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
07:30 - 07:45 | -3.3 | 20.27 | 0 | -512.03 | 0 | 0 | 0 | 0 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
07:45 - 08:00 | -3.3 | 20.27 | 0 | -200 | 0 | 0 | 0 | 0 | -8 | -0.5 | -43 | -28.7 | 0 | 0 | 0 | 0
08:00 - 08:15 | -3.3 | 20.27 | 0 | -330.18 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
08:15 - 08:30 | -3.3 | 20.27 | 0 | 0 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
08:30 - 08:45 | -3.3 | 20.27 | 0 | 0 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
08:45 - 09:00 | -3.3 | 20.27 | 0 | 15.74 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
09:00 - 09:15 | -3.3 | 20.27 | 0 | 13.79 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
09:15 - 09:30 | -3.3 | 20.27 | 0 | 23.47 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 115.81 | 64.66
09:30 - 09:45 | -3.3 | 20.27 | 0 | 21.33 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
09:45 - 10:00 | -3.3 | 20.27 | 0 | 21.26 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
10:00 - 10:15 | -3.3 | 20.27 | 0 | 18.59 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
10:15 - 10:30 | -3.3 | 20.27 | 0 | 21.35 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
10:30 - 10:45 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
10:45 - 11:00 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
11:00 - 11:15 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
11:15 - 11:30 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
11:30 - 11:45 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
11:45 - 12:00 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
12:00 - 12:15 | -3.3 | 20.27 | 0 | 14.05 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
12:15 - 12:30 | -3.3 | 20.27 | 0 | 14.05 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
12:30 - 12:45 | -3.3 | 20.27 | 0 | 14.06 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
12:45 - 13:00 | -3.3 | 20.27 | 0 | 14.06 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
13:00 - 13:15 | -3.3 | 20.27 | 0 | 12.63 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
13:15 - 13:30 | -3.3 | 20.27 | 0 | 11.53 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
13:30 - 13:45 | -3.3 | 20.27 | 0 | 13.98 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.63 | 129.32
13:45 - 14:00 | -3.3 | 20.27 | 0 | 14.06 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
14:00 - 14:15 | -3.3 | 20.27 | 0 | 22.51 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
14:15 - 14:30 | -3.3 | 20.27 | 0 | 26.58 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 231.62 | 129.32
14:30 - 14:45 | -3.3 | 20.27 | 0 | 26.57 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 115.81 | 64.66
14:45 - 15:00 | -3.3 | 20.27 | 0 | 26.57 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
15:00 - 15:15 | -3.3 | 20.27 | 0 | 25.01 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
15:15 - 15:30 | -3.3 | 20.27 | 0 | 25 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
15:30 - 15:45 | -3.3 | 20.27 | 0 | 8.43 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
15:45 - 16:00 | -3.3 | 20.27 | 0 | 0.25 | 0 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
16:00 - 16:15 | -3.3 | 20.27 | 0 | 0 | 12.84 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
16:15 - 16:30 | -3.3 | 20.27 | 0 | 6.99 | 13.32 | 33.77 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
16:30 - 16:45 | -3.3 | 20.27 | 0 | 93.11 | 13.8 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
16:45 - 17:00 | -3.3 | 20.27 | 0 | 211.52 | 14.48 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
17:00 - 17:15 | -3.3 | 0 | 0 | 37.24 | 14.86 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
17:15 - 17:30 | -3.3 | 0 | 0 | 0 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
17:30 - 17:45 | -3.3 | 0 | 0 | 0 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
17:45 - 18:00 | -3.3 | 0 | 0 | -125 | 0 | 33.78 | 3.09 | 0 | 0 | -0.5 | -18 | -28.7 | 0 | 0 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -0.5 | -18 | -28.7 | 0 | -24.2 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -0.5 | -18 | -28.7 | 0 | -24.2 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -0.5 | -18 | -28.7 | 0 | -24.2 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -0.5 | -18 | -28.7 | 0 | -24.2 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | 0 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 9.65 | -24.2 | 0 | 0
19:15 - 19:30 | -3.3 | 0 | 0 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 9.65 | -24.2 | 0 | 0
19:30 - 19:45 | -3.3 | 0 | 0 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
19:45 - 20:00 | -3.3 | 0 | 0 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
20:00 - 20:15 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
20:15 - 20:30 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
20:30 - 20:45 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
20:45 - 21:00 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
21:00 - 21:15 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
21:15 - 21:30 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
21:30 - 21:45 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
21:45 - 22:00 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
22:00 - 22:15 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
22:15 - 22:30 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
22:30 - 22:45 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
22:45 - 23:00 | -3.3 | 0 | -12 | -150 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
23:00 - 23:15 | -3.3 | 0 | -12 | -200 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
23:15 - 23:30 | -3.3 | 0 | -12 | -200 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
23:30 - 23:45 | -3.3 | 0 | -12 | -200 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
23:45 - 24:00 | -3.3 | 0 | -12 | -200 | 0 | 0 | 0 | -243 | -8 | -0.5 | 0 | -28.7 | 0 | -24.2 | 0 | 0
Average | -3.3 | 8.4458 | -2 | -164.9555 | 0.72187 | 14.0739 | 1.2875 | -105.0312 | -4.5 | -0.5 | -13.625 | -28.7 | 0.20104 | -6.05 | 50.667 | 28.2887

## GDAM
GDAM TRADING DETAILS FOR DT:12.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 16.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 46.86 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 128.02 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 145.88 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 134.68 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 136.42 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 90.19 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 93.57 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 136.61 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 124.07 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 162.28 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 160.45 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 159.48 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 170.97 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 175.65 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 175.65 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 17.16 | 175.65 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 17.24 | 175.65 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 3.78 | 0 | 0 | 175.65 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 1.96 | 175.65 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 175.65 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0 | 175.65 | 0
06:00 - 06:15 | 0 | -0.2 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 112.1 | 0
06:15 - 06:30 | 0 | -0.5 | 0 | 0 | 19.3 | 0 | 0 | 0 | 0 | 0 | 148.48 | 0
06:30 - 06:45 | 0 | -1 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 0.52 | 159.25 | 0
06:45 - 07:00 | 0 | -1.3 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 0 | 72.38 | 140.91 | 0
07:00 - 07:15 | 0 | -1.8 | 0 | 0 | 19.3 | 11.58 | 0 | 5.79 | 9.65 | 72.38 | 123.54 | 0
07:15 - 07:30 | 0 | -2.7 | 0 | 0 | 19.3 | 25.09 | 0 | 5.79 | 9.65 | 72.38 | 104.24 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 19.3 | 20.27 | 9.65 | 5.79 | 9.65 | 72.38 | 71.42 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 19.3 | 17.37 | 9.65 | 5.79 | 9.65 | 72.39 | 29.92 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 14.48 | 23.16 | 9.65 | 5.79 | 9.65 | 28.95 | 14.48 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 14.48 | 21.23 | 9.65 | 5.79 | 9.65 | 28.95 | 38.61 | 0
08:30 - 08:45 | 0 | 0 | 55.2 | 0 | 14.48 | 20.27 | 9.65 | 5.79 | 9.65 | 28.95 | 10.62 | 0
08:45 - 09:00 | 0 | -4.9 | 217.23 | 0 | 14.48 | 19.3 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
09:00 - 09:15 | 0 | -5.7 | 255.06 | 15.44 | 14.48 | 12.55 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
09:15 - 09:30 | 0 | -4.2 | 255.07 | 14.19 | 14.48 | 9.65 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
09:30 - 09:45 | 0 | -5.3 | 261.92 | 11.97 | 14.48 | 6.76 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
09:45 - 10:00 | 0 | -6.3 | 261.94 | 9.46 | 14.48 | 6.76 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
10:00 - 10:15 | 0 | -11.1 | 265.42 | 10.71 | 14.48 | 7.72 | 9.65 | 5.79 | 9.65 | 28.95 | 115.81 | 63.7
10:15 - 10:30 | 0 | -11.4 | 261.91 | 10.33 | 14.48 | 9.65 | 9.65 | 5.79 | 9.65 | 28.95 | 158.28 | 63.7
10:30 - 10:45 | 0 | -10 | 255.1 | 8.01 | 14.48 | 11.58 | 9.65 | 5.79 | 9.65 | 28.95 | 198.81 | 63.7
10:45 - 11:00 | 0 | -6.8 | 255.09 | 8.01 | 14.48 | 13.51 | 9.65 | 5.79 | 9.65 | 28.95 | 228.73 | 63.7
11:00 - 11:15 | 0 | -10.5 | 255.09 | 6.37 | 14.48 | 11.58 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
11:15 - 11:30 | 0 | -12.1 | 255.12 | 6.27 | 14.48 | 9.65 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
11:30 - 11:45 | 0 | -11.2 | 255.11 | 6.08 | 14.48 | 7.72 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
11:45 - 12:00 | 0 | -10.5 | 255.11 | 7.91 | 14.48 | 5.79 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
12:00 - 12:15 | 0 | -10.7 | 272.29 | 9.65 | 14.48 | 6.76 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
12:15 - 12:30 | 0 | -7.4 | 272.32 | 8.69 | 14.48 | 6.76 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
12:30 - 12:45 | 0 | -7.8 | 272.33 | 6.27 | 14.48 | 7.72 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
12:45 - 13:00 | 0 | -4 | 272.32 | 6.56 | 14.48 | 8.69 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
13:00 - 13:15 | 0 | -2.5 | 274.03 | 8.49 | 14.48 | 8.69 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
13:15 - 13:30 | -4.5 | -2.3 | 275.37 | 8.59 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
13:30 - 13:45 | -6.4 | -2.6 | 272.35 | 8.59 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
13:45 - 14:00 | -5.5 | -7.4 | 272.33 | 10.23 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
14:00 - 14:15 | -2.2 | -0.1 | 261.94 | 11.68 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 243.21 | 63.7
14:15 - 14:30 | -1.4 | 0 | 255.12 | 11.87 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 228.73 | 63.7
14:30 - 14:45 | -1.4 | 0 | 255.1 | 12.93 | 14.48 | 0 | 9.65 | 5.79 | 9.65 | 28.95 | 198.81 | 63.7
14:45 - 15:00 | -2.7 | -2.4 | 255.09 | 13.51 | 14.48 | 4.83 | 9.65 | 5.79 | 9.65 | 28.95 | 158.28 | 63.7
15:00 - 15:15 | 0 | -3.5 | 255.1 | 13.41 | 14.48 | 8.69 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
15:15 - 15:30 | 0 | -1.2 | 255.09 | 12.84 | 14.48 | 9.65 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
15:30 - 15:45 | 0 | -0.8 | 255.09 | 12.74 | 14.48 | 10.62 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
15:45 - 16:00 | 0 | 0 | 255.09 | 13.22 | 14.48 | 10.62 | 9.65 | 5.79 | 9.65 | 28.95 | 0 | 0
16:00 - 16:15 | 0 | 0 | 291.31 | 0 | 19.3 | 10.62 | 9.65 | 5.79 | 9.65 | 67.56 | 0 | 0
16:15 - 16:30 | 0 | 0 | 265.46 | 0 | 19.3 | 11.58 | 9.65 | 5.79 | 9.65 | 67.56 | 0 | 0
16:30 - 16:45 | 0 | 0 | 165.55 | 0 | 19.3 | 13.51 | 9.65 | 5.79 | 9.65 | 67.56 | 0 | 0
16:45 - 17:00 | 0 | 0 | 47.11 | 0 | 19.3 | 16.41 | 9.65 | 5.79 | 9.65 | 67.55 | 4.83 | 0
17:00 - 17:15 | 0 | 0 | 247.94 | 0 | 19.3 | 21.23 | 9.65 | 5.79 | 9.65 | 67.56 | 24.13 | 0
17:15 - 17:30 | 0 | 0 | 129.72 | 0 | 19.3 | 25.09 | 9.65 | 5.79 | 9.65 | 72.38 | 0 | 0
17:30 - 17:45 | 0 | -2.2 | 7.14 | 0 | 19.3 | 28.95 | 9.65 | 5.79 | 9.65 | 72.39 | 0 | 0
17:45 - 18:00 | 0 | -1.5 | 0 | 0 | 19.3 | 32.81 | 9.65 | 5.79 | 9.65 | 72.39 | 36.67 | 0
18:00 - 18:15 | 0 | -0.9 | 0 | 0 | 19.3 | 25.09 | 9.65 | 5.79 | 9.65 | 72.39 | 65.63 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 9.65 | 72.38 | 90.73 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 9.65 | 72.38 | 109.06 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 5.79 | 9.65 | 13.48 | 128.36 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.25104 | -1.8208 | 91.1413 | 2.9585 | 13.6411 | 5.6199 | 4.3224 | 3.4772 | 4.825 | 21.9872 | 98.1258 | 15.925

## RTM
RTM TRADING DETAILS FOR DT: 12.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -1.6 | 0 | 0 | 0 | -1.7 | 76.88 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -10 | 0 | 0 | 0 | -1
00:15 - 00:30 | -1.6 | 0 | 0 | 0 | -1.7 | 104 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 0 | -1
00:30 - 00:45 | -1.6 | 0 | 0 | 0 | -1.7 | 167.5 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 29.59 | -1
00:45 - 01:00 | -1.6 | 0 | 0 | 0 | -1.7 | 144.75 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 77.45 | -1
01:00 - 01:15 | -1.6 | 0 | 0 | 0 | -1.7 | 241.27 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 103.27 | -1
01:15 - 01:30 | -1.6 | 0 | 0 | 0 | -1.7 | 164.06 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -50 | 0 | 0 | 103.27 | -1
01:30 - 01:45 | -1.6 | 0 | 0 | 0 | -1.7 | 40.21 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 65.63 | -1
01:45 - 02:00 | -1.6 | 0 | 0 | 0 | -1.7 | 44.82 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 141.88 | -1
02:00 - 02:15 | -1.6 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 324.27 | -1
02:15 - 02:30 | -1.6 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 444.91 | -1
02:30 - 02:45 | -1.6 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 422.71 | -1
02:45 - 03:00 | -1.6 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 432.36 | -1
03:00 - 03:15 | -1.6 | 0 | 0 | 0 | -1.7 | -75.84 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | -50 | 0 | 0 | 388.94 | -1
03:15 - 03:30 | -1.6 | 0 | 0 | 0 | -1.7 | -76.64 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | -10 | 0 | 0 | 387.97 | -1
03:30 - 03:45 | -1.6 | 0 | 0 | 0 | -1.7 | -76.75 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 387.01 | -1
03:45 - 04:00 | -1.6 | 0 | 0 | 0 | -1.7 | -73.77 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -4 | -10 | 0 | 0 | 375.42 | -1
04:00 - 04:15 | -1.6 | 0 | 0 | 0 | -1.7 | -72.04 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -4 | -30 | 0 | 0 | 370.6 | -1
04:15 - 04:30 | -1.6 | 0 | 0 | 0 | -1.7 | -76.78 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -4 | 0 | 0 | 0 | 370.6 | -1
04:30 - 04:45 | -1.6 | 0 | 0 | 0 | -1.7 | -84.92 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -4.5 | 0 | 0 | 0 | 370.6 | -1
04:45 - 05:00 | -1.6 | 0 | 0 | 0 | -1.7 | -82.18 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -4.5 | -10 | 0 | 0 | 370.6 | -1
05:00 - 05:15 | -1.6 | 0 | 0 | 0 | -1.8 | -80.39 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -4 | 0 | 0 | 0 | 378.32 | -1
05:15 - 05:30 | -1.6 | 0 | 0 | 0 | -1.8 | -80.39 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -4 | 0 | 0 | 0 | 378.32 | -1
05:30 - 05:45 | -1.6 | 0 | 0 | -0.4 | -1.7 | -80.39 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 375.42 | 0
05:45 - 06:00 | -1.6 | 0 | 0 | -0.4 | -1.7 | -87.01 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | -35 | 0 | 0 | 370.61 | 0
06:00 - 06:15 | -1.6 | 0 | 0 | -0.4 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | -30 | 0 | 0 | 428.5 | 0
06:15 - 06:30 | -1.6 | 0 | 0 | -0.4 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | -0.4 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 387.01 | 0
06:30 - 06:45 | -1.6 | 0 | 0 | 0 | -1.7 | -174.99 | 0 | 0 | -14.13 | 0 | 0 | -0.4 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | 0 | 0 | 0 | 377.35 | 0
06:45 - 07:00 | -1.6 | 0 | 0 | 0 | -1.7 | -158.59 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 19.3 | -0.9 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -3.2 | -10 | 0 | 0 | 382.18 | 0
07:00 - 07:15 | -1.6 | 0 | 0 | 0 | 0 | -26.96 | 0 | 0 | 0 | -0.1 | 9.65 | -0.4 | 0 | 19.3 | -1.1 | 13.51 | 7.72 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 19.3 | 5.6 | 588.72 | 0
07:15 - 07:30 | -1.6 | -11 | 0 | 0 | 0 | -66.68 | 0 | 0 | 0 | -0.2 | 9.65 | -0.4 | 0 | 19.3 | -1.4 | 13.51 | 7.72 | 0 | 0 | 0 | 0 | 0 | -3.2 | -20 | 19.3 | 5.6 | 588.72 | 0
07:30 - 07:45 | -1.6 | 0 | 0 | 0 | 0 | -255.05 | 0 | 0 | 0 | -0.2 | 0 | -0.4 | 0 | 19.3 | -1.6 | 13.51 | 7.72 | 0 | 0 | 0 | 0 | 0 | -3.2 | -30 | 19.3 | 5.6 | 431.4 | 0
07:45 - 08:00 | -1.6 | 0 | 0 | 0 | 0 | -297.51 | 0 | 0 | 0 | -0.3 | 0 | -0.4 | 0 | 19.3 | -1.9 | 13.51 | 7.72 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 19.3 | 5.6 | 434.3 | 0
08:00 - 08:15 | -1.6 | 0 | 0 | -0.4 | 0 | -34.48 | 0 | 1.93 | 0 | -0.3 | 0 | -0.4 | -15 | 0 | -2.2 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -3.2 | -20 | 9.65 | 5.6 | 622.49 | 0
08:15 - 08:30 | -1.6 | 0 | 0 | -0.4 | 0 | -97.64 | 0 | 1.93 | 0 | -0.3 | 0 | -0.4 | 0 | 0 | -2.5 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -3.2 | -35 | 9.65 | 5.6 | 559.75 | 0
08:30 - 08:45 | -1.7 | 0 | 0 | -0.4 | 0 | 0 | 0 | 1.93 | 0 | -0.1 | 0 | -0.4 | 0 | 0 | -2.7 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -4 | 0 | 9.65 | 5.6 | 569.4 | 0
08:45 - 09:00 | -1.7 | -10 | 0 | -0.4 | 0 | 0 | 0 | 1.93 | 0 | -0.1 | 0 | -0.4 | 0 | 0 | -2.9 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -4 | -10 | 9.65 | 5.6 | 550.1 | 0
09:00 - 09:15 | -1.7 | 0 | 0 | 0 | 0 | -461.8 | 0 | 2.9 | 0 | -0.2 | 0 | -0.4 | 0 | 0 | -3.2 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -4 | -30 | 9.65 | 5.6 | 414.02 | 0
09:15 - 09:30 | -1.7 | 0 | 0 | 0 | 0 | -550.15 | 0 | 2.9 | 0 | -0.2 | 0 | -0.4 | 0 | 0 | -0.8 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -4.5 | 0 | 9.65 | 5.6 | 268.29 | 0
09:30 - 09:45 | -1.7 | 0 | 0 | 0 | 0 | -390.66 | 0 | 2.9 | 0 | -1 | 0 | -0.4 | 0 | 0 | 4.54 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -4.5 | -20 | 9.65 | 5.6 | 120.62 | 0
09:45 - 10:00 | -1.7 | 0 | 0 | 0 | 0 | -293.78 | 0 | 2.9 | 0 | -1 | 0 | -0.4 | 0 | 0 | 4.34 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -4 | 0 | 9.65 | 5.6 | 106.15 | 0
10:00 - 10:15 | -1.7 | 0 | 0 | 0 | 0 | -119.74 | 0 | 2.9 | 0 | -1 | 0 | -0.4 | 0 | 0 | 3.86 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -4 | 0 | 9.65 | 5.6 | 106.15 | 0
10:15 - 10:30 | -1.7 | -3.77 | 0 | 0 | 0 | -19.88 | 0 | 2.9 | 0 | -0.41 | 0 | -0.4 | 0 | 0 | 3.86 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -1.21 | 0 | 9.65 | 5.6 | 105.19 | 0
10:30 - 10:45 | -1.7 | 0 | 0 | 0 | 0 | 91.68 | 0 | 2.9 | 0 | -0.95 | 0 | -0.4 | 0 | 0 | 3.47 | 9.65 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -3.05 | 0 | 9.65 | 5.6 | 167.93 | 0
10:45 - 11:00 | -1.7 | 0 | 0 | 0 | 0 | 139.95 | 0 | 2.9 | 0 | -0.79 | 0 | -0.4 | 0 | 0 | 3.86 | 9.65 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 0.97 | -2.8 | 0 | 9.65 | 5.6 | 167.92 | 0
11:00 - 11:15 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | 0 | 0 | -0.4 | 0 | 0 | 3.86 | 9.65 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 2.9 | 0 | 0 | 14.48 | 5.6 | 250.91 | 0
11:15 - 11:30 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9 | 0 | 0 | 0 | -0.4 | 0 | 0 | 3.76 | 9.65 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 2.9 | 0 | -10 | 14.48 | 5.6 | 250.92 | 0
11:30 - 11:45 | -1.7 | 0 | 0 | 0 | 0 | 47.16 | 0 | 2.9 | 0 | 0 | 0 | -0.4 | 0 | 0 | 3.67 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 2.9 | 0 | -25 | 9.65 | 5.6 | 374.45 | 0
11:45 - 12:00 | -1.7 | 0 | 0 | 0 | 0 | 47.14 | 0 | 2.9 | 0 | 0 | 0 | -0.4 | 0 | 0 | 3.67 | 13.51 | 7.72 | 1.93 | 2.9 | 0 | 38.6 | 2.9 | 0 | 0 | 9.65 | 5.6 | 374.44 | 0
12:00 - 12:15 | 0 | 0 | 0 | 0 | 0 | 192.55 | 0 | 1.93 | 0 | 0 | 0 | -0.4 | 0 | 0 | 3.96 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 38.6 | 2.9 | 0 | 0 | 9.65 | 5.6 | 374.44 | 0
12:15 - 12:30 | -1.7 | 0 | 0 | 0 | 0 | 240.19 | 0 | 1.93 | 0 | 0 | 0 | -0.4 | 0 | 0 | 3.96 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 38.6 | 2.9 | 0 | -25 | 9.65 | 5.6 | 374.45 | 0
12:30 - 12:45 | 0 | 0 | 0 | 0 | 0 | 337.3 | 0 | 1.93 | 0 | 0 | 0 | -0.4 | 0 | 0 | 4.05 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 38.6 | 2.9 | 0 | 0 | 9.65 | 5.6 | 374.46 | 0
12:45 - 13:00 | -1.7 | 0 | 0 | 0 | 0 | 336.72 | 0 | 1.93 | 0 | 0 | 0 | -0.4 | 0 | 0 | 4.05 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 38.6 | 2.9 | 0 | 0 | 9.65 | 5.6 | 374.46 | 0
13:00 - 13:15 | 0 | 0 | 0 | -0.39 | 0 | 579 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 0 | 4.15 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 38.6 | 2.9 | 0 | 0 | 19.3 | 5.6 | 374.46 | 0
13:15 - 13:30 | 0 | 0 | 0 | -0.4 | 0 | 578.62 | 0 | 0.48 | 0 | 0 | 0 | -0.4 | 0 | 0 | 4.25 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 38.6 | 2.9 | 0 | 0 | 19.3 | 5.6 | 374.46 | 0
13:30 - 13:45 | -1.7 | 0 | 0 | -0.4 | 0 | 650.28 | 0 | 0.48 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 38.6 | 2.9 | 0 | -20 | 19.3 | 5.6 | 315.11 | 0
13:45 - 14:00 | -1.7 | 0 | 0 | -0.4 | 0 | 650 | 0 | 0.48 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 28.95 | 2.9 | 0 | 0 | 19.3 | 5.6 | 253.24 | 0
14:00 - 14:15 | -1.7 | 0 | 0 | -0.4 | 0 | 721.44 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 28.95 | 2.9 | 0 | 0 | 9.65 | 5.6 | 187.23 | 0
14:15 - 14:30 | -1.7 | 0 | 0 | -0.4 | 0 | 745.54 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 28.95 | 2.9 | 0 | 0 | 9.65 | 5.6 | 115.43 | 0
14:30 - 14:45 | -1.7 | -8 | -0.79 | -0.4 | 0 | 1018.26 | 0 | 0 | 0 | -0.5 | 0 | -0.4 | 0 | 0 | 0 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 28.95 | 2.9 | -3.2 | 0 | 9.65 | 5.6 | 213.09 | 0
14:45 - 15:00 | -1.7 | -8 | -3.4 | -0.4 | 0 | 1100.17 | 0 | 0 | 0 | -0.5 | 0 | -0.4 | 0 | 0 | -2.8 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 28.95 | 2.9 | -3.2 | -10 | 9.65 | 5.6 | 335.18 | 0
15:00 - 15:15 | -1.7 | -16 | -3.7 | -0.4 | 0 | 1220.89 | 0 | 0 | 0 | -0.5 | 0 | -0.4 | 0 | 0 | -2.8 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 28.95 | 2.9 | -3.2 | -25 | 19.3 | 5.6 | 461.99 | 0
15:15 - 15:30 | -1.7 | -6 | -3.1 | -0.4 | 0 | 1172.23 | 0 | 0 | 0 | -0.3 | 0 | -0.4 | 0 | 0 | -2.4 | 13.51 | 7.72 | 2.9 | 2.9 | 0 | 28.95 | 2.9 | -3.2 | -25 | 19.3 | 5.6 | 418.76 | 0
15:30 - 15:45 | -1.7 | -6 | -3 | -0.4 | 0 | 907.8 | 0 | 0 | 0 | -0.3 | 0 | -0.4 | 0 | 0 | -2.1 | 15.44 | 7.72 | 2.9 | 2.9 | 0 | 28.95 | 2.9 | -3.2 | 0 | 19.3 | 5.6 | 415.77 | 0
15:45 - 16:00 | -1.7 | -6 | -2.1 | -0.4 | 0 | 635.4 | 0 | 0 | 0 | -0.2 | 0 | -0.4 | 0 | 0 | -2 | 15.44 | 7.72 | 2.9 | 2.9 | 0 | 28.95 | 2.9 | -3.2 | 0 | 19.3 | 5.6 | 435.07 | 0
16:00 - 16:15 | -1.7 | -6 | -1.7 | -0.4 | 0 | 794.73 | 0 | 0 | 0 | -0.2 | 0 | -0.4 | 0 | 19.3 | -1.8 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | 0 | 19.3 | 5.6 | 454.56 | 0
16:15 - 16:30 | -1.7 | -6 | -1.2 | -0.4 | 0 | 676.21 | 0 | 0 | 0 | -0.1 | 0 | -0.4 | 0 | 19.3 | -1.6 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | 0 | 19.3 | 5.6 | 475.79 | 0
16:30 - 16:45 | -1.7 | -6 | -1.2 | -0.4 | 0 | 809.15 | 0 | 0 | 0 | -0.1 | 0 | -0.4 | 0 | 19.3 | -1.4 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | -30 | 19.3 | 5.6 | 498.96 | 0
16:45 - 17:00 | -1.7 | -18 | -1 | -0.4 | 0 | 774 | 0 | 0 | 0 | -0.1 | 0 | -0.4 | 0 | 19.3 | -1.1 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | -30 | 19.3 | 5.6 | 515.36 | 0
17:00 - 17:15 | -1.7 | -6 | -0.9 | 0 | 0 | 1187.79 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 19.3 | -0.9 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | 0 | 19.3 | 5.6 | 510.54 | 0
17:15 - 17:30 | -1.7 | -6 | -0.8 | 0 | 0 | 1472.36 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 19.3 | -0.6 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | 0 | 19.3 | 5.6 | 366.47 | 0
17:30 - 17:45 | -1.7 | -6 | -0.5 | 0 | 0 | 1566.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | -0.4 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | 0 | 19.3 | 5.6 | 346.47 | 0
17:45 - 18:00 | -1.7 | -6 | -0.4 | 0 | 0 | 1277.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | 0 | 19.3 | 5.6 | 348.4 | 0
18:00 - 18:15 | -1.7 | 0 | -0.3 | 0 | 0 | 1224.42 | 17.37 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | 0 | 0 | 5.6 | 551.07 | 0
18:15 - 18:30 | -1.7 | -7 | 0 | 0 | 0 | 982.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 9.65 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | 0 | 0 | 5.6 | 324.27 | 0
18:30 - 18:45 | -1.7 | -5 | 0 | 0 | 0 | 698.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 15.44 | 0 | 2.9 | 2.9 | 0 | 0 | 2.9 | -3.2 | -30 | 0 | 5.6 | 324.27 | 0
18:45 - 19:00 | -1.7 | -5 | 0 | 0 | 0 | 789.64 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 19.3 | 0 | 9.65 | 0 | 2.9 | 2.9 | 0 | 57.91 | 2.9 | -3.2 | -10 | 0 | 5.6 | 324.27 | 0
19:00 - 19:15 | -1.7 | -5 | 0 | 0 | 0 | 251.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 465.18 | 0
19:15 - 19:30 | -1.7 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -10 | 0 | 0 | 469.04 | 0
19:30 - 19:45 | -1.7 | -5 | 0 | 0 | 0 | 507.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 19.3 | 0 | 1.31 | 0 | 0 | 72.38 | 0 | -3.2 | 0 | 0 | 2.54 | 470 | 0
19:45 - 20:00 | -1.7 | -5 | 0 | 0 | 0 | 515.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 25.09 | 0 | 2.9 | 2.9 | 0 | 72.38 | 0 | -3.2 | 0 | 0 | 5.6 | 537.2 | 0
20:00 - 20:15 | -1.7 | -5 | 0 | 0 | 0 | 507.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 19.3 | 0 | 1.44 | 0 | 0 | 72.38 | 0 | -3.2 | -20 | 14.48 | 2.79 | 471.93 | 0
20:15 - 20:30 | -1.7 | -5 | 0 | 0 | 0 | 320.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 25.09 | 0 | 2.9 | 2.9 | 0 | 72.38 | 0 | -3.2 | -10 | 14.48 | 5.6 | 470 | 0
20:30 - 20:45 | -1.7 | -5 | 0 | 0 | 0 | 410.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 19.3 | 0 | 0.25 | 0 | 0 | 72.38 | 0 | -3.2 | 0 | 19.3 | 0.48 | 470.02 | 0
20:45 - 21:00 | -1.7 | -5 | 0 | 0 | 0 | 502.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.3 | 0 | 19.3 | 0 | 0 | 0 | 0 | 72.38 | 0 | -3.2 | -15 | 19.3 | 0 | 471.93 | 0
21:00 - 21:15 | -1.7 | -6 | 0 | 0 | 0 | 392.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -10 | 0 | 0 | 471.93 | 0
21:15 - 21:30 | -1.7 | -6 | 0 | 0 | 0 | 380.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 474.82 | 0
21:30 - 21:45 | -1.7 | -6 | 0 | -0.4 | 0 | 139.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 485.45 | 0
21:45 - 22:00 | -1.7 | -6 | 0 | -0.4 | 0 | 209.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -25 | 0 | 0 | 488.34 | 0
22:00 - 22:15 | -1.7 | -7 | 0 | -0.4 | -1.3 | 104.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -10 | 0 | 0 | 492.2 | 0
22:15 - 22:30 | -1.7 | -7 | 0 | -0.4 | -1.3 | 58.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 492.2 | 0
22:30 - 22:45 | -1.7 | -9 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -20 | 0 | 0 | 441.38 | 0
22:45 - 23:00 | -1.7 | -9 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -10 | 0 | 0 | 446.03 | 0
23:00 - 23:15 | -1.7 | -9 | 0 | 0 | -1.5 | 206.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 412.04 | 0
23:15 - 23:30 | -1.7 | -9 | 0 | 0 | -1.5 | 207.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -15 | 0 | 0 | 414.43 | 0
23:30 - 23:45 | -1.7 | -10 | 0 | 0 | -1.5 | 196.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -30 | 0 | 0 | 706 | 0
23:45 - 24:00 | -1.7 | -10 | 0 | 0 | -1.5 | 227.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 817.36 | 0
Average | -1.5937 | -2.9872 | -0.25094 | -0.11656 | -0.61458 | 269.7054 | 0.18094 | 0.54333 | -7.0222 | -0.10573 | 0.20104 | -0.27917 | -0.3125 | 4.624 | 0.22198 | 8.0819 | 2.895 | 1.2592 | 1.3896 | -0.6875 | 17.089 | 1.0879 | -2.8444 | -8.5938 | 7.2377 | 2.9772 | 371.8976 | -0.22917