## POWER STATUS
POWER STATUS ON DT 14.07.2026
[9 empty] | 2026-07-14 | 2026-07-13
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 575:00
Demand -> | [8 empty] | 6142.9321 | 7209.0552
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 142.958 | 3.431 | 630/590 ft | 606.87 | 610.75 | 610.33 | 134.843 | 135.8832
| Chiplima | 72(3x24) | 50.25 | 1.206 | - |  |  |  | 56.4483 | 49.9266
| Balimela | 510(6x60+2x75) | 199.2 | 4.7808 | 1516/1440 ft | 1463.6 | 1457.6 | 1457.1 | 124.8013 | 310.5923
| Rengali | 250(5x50) | 23.58 | 0.56592 | 123.5/109.75 mt | 120.47 | 112.59 | 112.71 | 0 | 110.0643
| Upper Kolab | 320(4x80) | 27.63 | 0.66312 | 858/844 mt | 851.13 | 848.47 | 848.48 | 0 | 152.1294
| Upper Indravati | 600(4x150) | 115.39 | 2.7694 | 642/625 mt | 633.4 | 629.67 | 629.63 | 0.2961 | 491.4035
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2735.75 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 559.008 | 13.4162 |  |  |  |  | 316.3887 | 1249.9993
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1627.74 | 39.0658 | RENEWABLE ENERGY (RE) |  |  |  | 1709 | 1690
[5 empty] | M.Hydl | 65.21
| Total Thermal | 2200 | 1627.74 | 39.0658 | Solar | 129.94 |  |  | 1709 | 1690
IPP | VEDANTA #2 | 600 (1x600) | 387.49 | 9.2998 | Total IPPs | Yesterday's Demand Profile |  |  | 400.625 | 527.0117
| GMR #3 | 350 (1x350) | 324.25 | 7.782 | 809.33 |  | MW | HRS | 326.5861 | 328.2824
| NBVL(IPP) | 60(1x60) | 49.79 | 1.195 |  |  |  |  | 54.5818 | 54.2245
| MDTPC |  | 47.8 | 1.1472 |  |  |  |  | 56.083 | 56.2848
| CGPs |  | 870.55 | 20.8932 | IPPs, CGPs & RE | Maximum | 7209 | 23.00 | 1870.0084 | 2096.0347
| Central Sector(Drawl) |  | 2587.9275 | 62.1103 | 1875.03 | Minimum | 6051 | 07.00 | 2247.535 | 2173.0212
| Central Sector(Sch) |  | 2658.869 | 63.8129 |  | Average | 6649.7055 |  | 2272.9399 | 2335.448
| Grand Total |  | 6649.7055 | 159.5929 | Instantaneous Peak demand |  | 7514 | 550:45 | 6142.9321 | 7209.0552
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7,3 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1873.8724 | 44.9729 | 1887.2649 | 45.2944 | 1885.4435 | 45.2506
Balimela | 5,6,3 | TSTPP St-I | NIL | TPWODL | 2679.6608 | 64.3119 | 2436.9426 | 58.4866 | 2009.4694 | 48.2273
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1368.291 | 32.839 | 1349.1569 | 32.3798 | 1325.5558 | 31.8133
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 656.2749 | 15.7506 | 679.2251 | 16.3014 | 649.9884 | 15.5997
Indravati | NIL | TEESTA-V | 3 | DISCOM TOTAL | 6578.0991 | 157.8744 | 6352.5896 | 152.4621 | 5870.4571 | 140.891
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 396.1521 | GMR |  |  |  | 325.3974
| NBVL #3 | 44.2932 | MDTPC |  |  |  | 30.3889
Mini Hydel: | MEENAKSHI | 10.4731 | OPCL |  |  |  | 0
| BTPL | 20.002 | SAPTADHARA |  |  |  | 4.0069
Solar: |  | 123.434 | KAKATIYA |  |  |  | 3.732
CGPs : | JSPL (Angul) | 253.8596 | JSL(Duburi) |  |  |  | -108.7351
| ICCL | 47.4792 | visa |  |  |  | 11.8231
| NALCO | -147.44 | VAL (CGP) |  |  |  | 71.6264
| RSP | -172.513 | BSL(MMDL) |  |  |  | 82.9085
| INDAL | -3.9775 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -37.4094 | VAL CPP 400 kV |  |  |  | -554.1454
| NBVL | 46.1584 | Arati |  |  |  | 32.2165
| BPSL(JSG) | -86.0303 | BPPL |  |  |  | 124.7473
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-06 | 2026-07-07 | 2026-07-08 | 2026-07-09 | 2026-07-10 | 2026-07-11 | 2026-07-12 | 2026-07-13
471.243 | 481.083 | 529.1258 | 439.8 | 375.1042 | 524.875 | 504.292 | 559.008
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.13.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.28
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AEG03_S_FTG4 | VLSEZ | 1.2
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AEG10_S_FTG4 | VLSEZ | 14.92
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.52 | AEG10_W_FTG4 | VLSEZ | 13.09
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AGE26AL_PSS6_KPS1_S | ODISHA | 132.23
MAADURGA_THERMAL | NPCL_UP | -16.7 | ARYAN_ISPAT | WBSEDCL | -5 | AP41PL_BHDL | ODISHA | 55.33
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AP43PL_BKN | ODISHA | 86.9
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.97
OCL_IRON_STEEL | NPCL_UP | -26 | FACORPOWER | TPL_DIS_AHM | -25 | AWEK1L | ODISHA | 14.9
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | JSPLANGUL | CSEB_Beneficiary | -150 | AWEK1L | ODISHA | 22.35
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | KCMW_od | SFLPondyHEX288 | -0.41 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 0.61
VSL | CR_IR_MS | -2.92 | NBVLIPP | BSPHCL | -17.92 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 42.88
FARIDABAD_SOLAR | ODISHA | 0.86 | OCL_IRON_STEEL | BRPL | -7.29 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.19
JSWEL_UTKAL | ODISHA | 61.25 | OCL_IRON_STEEL | BRPL | -17.71 | CPTTNPL | VLSEZ | 3.9
MPPMCL | ODISHA | 0 | ORSISL | WBSEDCL | -5 | CPTTNPL | VLSEZ | 11.59
RAJ_SOLAR | ODISHA | 2.42 | RML_Dhenkanal | TANGEDCO | -2.4 | DADRI_SOLAR | ODISHA | 0.76
RAJ_SOLAR | ODISHA | 2.31 | RSPL_JHARSUGUDA | TANGEDCO | -2.4 | ENERSON_SOLAR_10MW | ODISHA | 1.53
|  |  | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0.57
|  |  | TSBSLA | TANGEDCO | -8.75 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | VSL | WBSEDCL | -10 | GADAG_Serentica3_S | VLSEZ | 34.5
|  |  | BALCO | VLSEZ | 6.31 | GADAG_Serentica3_W | VLSEZ | 119.69
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | GIWEL_SECI_II_RE | ODISHA | 86.23
|  |  | JIPL | ODISHA | 115.37 | GPCL_SOLAR_10 | ODISHA | 1.4
|  |  | NALCOAP | NACL_Odisha | 31.01 | GSECL_SOLAR | ODISHA | 0.98
|  |  | TATA_POWER_HALDIA | VLSEZ | 78.83 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.87
|  |  | TSTPP_I | ODISHA | 36.25 | JREPL_BKN2 | VLSEZ | 15.24
[6 empty] | KARUR_TPVARDHAMAN_W | TSKPO | 88.62
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 6.95
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 13.8
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 11.08
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.37
[6 empty] | OKWPL_RE | ODISHA | 47.77
[6 empty] | PGLR_SAUPL_W | VLSEZ | 1.67
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 6.17
[6 empty] | RWE_AP2_SECI_III | ODISHA | 34.78
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 0.13
[6 empty] | SAUPL_HJRTPR_RJGR_W | VLSEZ | 2
[6 empty] | SRI9PL_FTG3 | VLSEZ | 67.81
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 59.5
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 1.94
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 41.74
[6 empty] | XXPPL_FTG3 | ODISHA | 48.39

## DAM
DAM TRADING DETAILS FOR DT :13.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 10.37
00:15 - 00:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 10.86
00:30 - 00:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 7.35
00:45 - 01:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 1.53
01:00 - 01:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 13.33
01:15 - 01:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 31.23
01:30 - 01:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 43.12
01:45 - 02:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 55.29
02:00 - 02:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 87.2
02:15 - 02:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 82.64
02:30 - 02:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 58.66
02:45 - 03:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 42.35
03:00 - 03:15 | -3.3 | 0 | 0 | 0 | -214 | -8 | 0 | 0 | 0 | 46.21
03:15 - 03:30 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 40.97
03:30 - 03:45 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 46.86
03:45 - 04:00 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 48.35
04:00 - 04:15 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 47.86
04:15 - 04:30 | -3.3 | 0 | 0 | 0 | -154.99 | -8 | 0 | 0 | 0 | 40.85
04:30 - 04:45 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 35.22
04:45 - 05:00 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 29.45
05:00 - 05:15 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 23.38
05:15 - 05:30 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 13.22
05:30 - 05:45 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 10.36
05:45 - 06:00 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 5.93
06:00 - 06:15 | -3.3 | 0 | -275 | 0 | -155 | -8 | -43 | 0 | 0 | 11.83
06:15 - 06:30 | -3.3 | 0 | -275 | 0 | -155 | -8 | -43 | 0 | 0 | 0
06:30 - 06:45 | -3.3 | 0 | -275 | 0 | -155 | -8 | -43 | 0 | 0 | 0
06:45 - 07:00 | -3.3 | 0 | -275 | 0 | -155 | -8 | -43 | 0 | 0 | 0
07:00 - 07:15 | -3.3 | 20.19 | -525 | 0 | -155 | -8 | -43 | 0 | 0 | 0
07:15 - 07:30 | -3.3 | 20.19 | -525 | 0 | -155 | -8 | -43 | 0 | 0 | 0
07:30 - 07:45 | -3.3 | 20.19 | -525 | 0 | -155 | -8 | -43 | 0 | 0 | 0
07:45 - 08:00 | -3.3 | 20.19 | -475 | 0 | -155 | -8 | -43 | 0 | 0 | 0
08:00 - 08:15 | -3.3 | 20.19 | -375 | 0 | -155 | 0 | -43 | 0 | 0 | 0
08:15 - 08:30 | -3.3 | 20.19 | -349.13 | 0 | 0 | 0 | -43 | 0 | 0 | 0
08:30 - 08:45 | -3.3 | 20.19 | -337.78 | 0 | 0 | 0 | -43 | 0 | 0 | 0
08:45 - 09:00 | -3.3 | 20.19 | -250 | 0 | 0 | 0 | -43 | 0 | 0 | 0
09:00 - 09:15 | -3.3 | 20.19 | -550 | 0 | 0 | 0 | -18 | 0 | 0 | 0
09:15 - 09:30 | -3.3 | 20.19 | -550 | 0 | 0 | 0 | -18 | 0 | 0 | 0
09:30 - 09:45 | -3.3 | 20.19 | -550 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
09:45 - 10:00 | -3.3 | 20.19 | -478.17 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
10:00 - 10:15 | -3.3 | 20.19 | -113.1 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
10:15 - 10:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
10:30 - 10:45 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
10:45 - 11:00 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
11:00 - 11:15 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
11:15 - 11:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
11:30 - 11:45 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
11:45 - 12:00 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
12:00 - 12:15 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
12:15 - 12:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
12:30 - 12:45 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
12:45 - 13:00 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
13:00 - 13:15 | -3.3 | 20.19 | 0.31 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
13:15 - 13:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
13:30 - 13:45 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
13:45 - 14:00 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
14:00 - 14:15 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
14:15 - 14:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
14:30 - 14:45 | -3.3 | 20.19 | -186.93 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
14:45 - 15:00 | -3.3 | 20.19 | -254.14 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
15:00 - 15:15 | -3.3 | 20.19 | -275 | 0 | 0 | 0 | -18 | 0 | 0 | 0
15:15 - 15:30 | -3.3 | 20.19 | -275 | 0 | 0 | 0 | -18 | 0 | 0 | 0
15:30 - 15:45 | -3.3 | 20.19 | -275 | 0 | 0 | 0 | -18 | 0 | 0 | 0
15:45 - 16:00 | -3.3 | 20.19 | -383.82 | 0 | 0 | 0 | -18 | 0 | 0 | 0
16:00 - 16:15 | -3.3 | 20.19 | -469.06 | 0 | 0 | 0 | -43 | 0 | 0 | 0
16:15 - 16:30 | -3.3 | 20.19 | -444.83 | 0 | 0 | 0 | -43 | 0 | 0 | 0
16:30 - 16:45 | -3.3 | 20.19 | -501.16 | 0 | 0 | 0 | -43 | 9.61 | 0 | 0
16:45 - 17:00 | -3.3 | 20.19 | -501.82 | 0 | 0 | 0 | -43 | 9.61 | 10.48 | 0
17:00 - 17:15 | -3.3 | 0 | -350 | 0 | 0 | 0 | -43 | 9.61 | 0 | 0
17:15 - 17:30 | -3.3 | 0 | -350 | 0 | 0 | 0 | -43 | 9.61 | 0 | 0
17:30 - 17:45 | -3.3 | 0 | -391.4 | 0 | -155 | -4 | -43 | 0 | 81.72 | 0
17:45 - 18:00 | -3.3 | 0 | -400 | 0 | -155 | -4 | -43 | 0 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | 0 | -155 | -4 | -43 | 0 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | 0 | 0 | -155 | -4 | -43 | 0 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | -50 | 0 | -214 | -8 | -43 | 0 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | -50 | 0 | -272 | -8 | 0 | 0 | 0 | 0
19:15 - 19:30 | -3.3 | 0 | -50 | 0 | -272 | -8 | 0 | 0 | 0 | 0
19:30 - 19:45 | -3.3 | 0 | -50 | 0 | -272 | -8 | 0 | 0 | 0 | 0
19:45 - 20:00 | -3.3 | 0 | -50 | 0 | -272 | -8 | 0 | 0 | 0 | 0
20:00 - 20:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
20:15 - 20:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
20:30 - 20:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
20:45 - 21:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
21:00 - 21:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
21:15 - 21:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
21:30 - 21:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
21:45 - 22:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
22:00 - 22:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
22:15 - 22:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
22:30 - 22:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
22:45 - 23:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
23:00 - 23:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
23:15 - 23:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
23:30 - 23:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
23:45 - 24:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
Average | -3.3 | 8.4125 | -127.7191 | 7.7115 | -135.4895 | -4.6667 | -17.7917 | 0.40042 | 0.96042 | 8.796

## GDAM
GDAM TRADING DETAILS FOR DT:13.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.04
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.1
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.59
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.43
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -2.2 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -0.4 | 0 | 19.23 | 0 | 1.6 | 0 | 0 | 0 | 118.25
07:45 - 08:00 | 0 | -0.2 | 0 | 19.23 | 0 | 5.77 | 0 | 81.71 | 0 | 79.8
08:00 - 08:15 | 0 | 0 | 0 | 14.42 | 0 | 5.77 | 0 | 81.72 | 0 | 25.96
08:15 - 08:30 | 0 | 0 | 0 | 14.42 | 0 | 5.77 | 9.61 | 81.72 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.73 | 0 | 0
08:45 - 09:00 | 0 | -2.6 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
09:00 - 09:15 | 0 | -4.1 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
09:15 - 09:30 | 0 | -5.3 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
09:30 - 09:45 | -0.9 | -6.2 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
09:45 - 10:00 | -1.3 | -7.1 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
10:00 - 10:15 | -2.3 | -7 | 136.84 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
10:15 - 10:30 | -3.2 | -6.5 | 142.37 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
10:30 - 10:45 | -5.2 | -6.3 | 40.78 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
10:45 - 11:00 | -6.2 | -7.6 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
11:00 - 11:15 | -8.7 | -8.4 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
11:15 - 11:30 | -9.6 | -10.3 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
11:30 - 11:45 | -9.4 | -10.8 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
11:45 - 12:00 | -7.9 | -9.2 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
12:00 - 12:15 | -7.5 | -10.4 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
12:15 - 12:30 | -6.3 | -8.3 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
12:30 - 12:45 | -5.9 | -9.7 | 240.61 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
12:45 - 13:00 | -5.1 | -10.7 | 240.64 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
13:00 - 13:15 | -5.9 | -7.4 | 240.64 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
13:15 - 13:30 | -3.8 | -8.6 | 240.64 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
13:30 - 13:45 | -3.2 | -9.7 | 240.61 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
13:45 - 14:00 | -4.6 | -7.4 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
14:00 - 14:15 | -3.6 | -5.7 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
14:15 - 14:30 | 0 | -5.1 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
14:30 - 14:45 | -1.8 | -5.8 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 72.11 | 3.85 | 0
14:45 - 15:00 | 0 | -3.3 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 72.11 | 3.85 | 0
15:00 - 15:15 | 0 | -3.2 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 72.11 | 0 | 0
15:15 - 15:30 | 0 | -0.6 | 0 | 14.42 | 7.33 | 5.77 | 9.61 | 72.1 | 0 | 0
15:30 - 15:45 | -2.7 | 0 | 0 | 14.42 | 0 | 5.77 | 9.61 | 72.11 | 0 | 0
15:45 - 16:00 | -2 | 0 | 0 | 14.42 | 0 | 5.77 | 9.61 | 72.11 | 0 | 0
16:00 - 16:15 | -0.9 | 0 | 0 | 19.23 | 0 | 5.77 | 9.61 | 72.11 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 9.61 | 72.11 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 0 | 72.1 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 0 | 61.59 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 0 | 72.1 | 0 | 0
17:15 - 17:30 | 0 | -0.1 | 0 | 19.23 | 0 | 5.77 | 0 | 81.72 | 0 | 1.92
17:30 - 17:45 | 0 | -1.5 | 0 | 19.23 | 0 | 2.8 | 0 | 0 | 0 | 29.8
17:45 - 18:00 | 0 | -1 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0 | 51.91
18:00 - 18:15 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.125 | -2.0562 | 28.3972 | 7.0101 | 2.7792 | 2.3899 | 3.3034 | 25.1777 | 1.0026 | 4.3377

## RTM
RTM TRADING DETAILS FOR DT: 13.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.7 | -10 | 0 | 0 | 0 | -1.5 | 0.02 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -24.2 | 0 | 115.36 | 0
00:15 - 00:30 | -1.7 | -10 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.2 | 0 | 76.91 | 0
00:30 - 00:45 | -1.7 | -7 | 0 | 0 | 0 | -1.5 | 96.14 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.2 | 0 | 76.91 | 0
00:45 - 01:00 | -1.7 | -5 | 0 | 0 | 0 | -1.5 | 96.14 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.2 | 0 | 69.22 | 0
01:00 - 01:15 | -1.7 | -5 | 0 | 0 | 0 | -1.5 | 44.29 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.2 | 0 | 31.73 | 0
01:15 - 01:30 | -1.7 | -5 | 0 | 0 | 0 | -1.5 | 76.76 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.2 | 0 | 9.61 | 0
01:30 - 01:45 | -1.7 | -5 | 0 | 0 | 0 | -1.5 | 96.13 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 6.73 | 0 | 25 | 0 | 0 | -2 | 72.11 | 0 | 0 | 0 | 0 | 0 | 0 | -24.2 | 0 | 28.84 | 0
01:45 - 02:00 | -1.7 | -5 | 0 | 0 | 0 | -1.5 | 96.13 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 6.73 | 0 | 25 | 0 | 0 | -2 | 72.11 | 0 | 0 | -20 | 0 | 0 | 0 | -24.2 | 0 | 28.84 | 0
02:00 - 02:15 | -1.7 | -7 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | -24.2 | 0 | 19.23 | 0
02:15 - 02:30 | -1.7 | -7 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.2 | 0 | 19.23 | 0
02:30 - 02:45 | -1.7 | -5 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | -24.2 | 0 | 19.23 | 0
02:45 - 03:00 | -1.7 | -5 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | -24.2 | 0 | 19.23 | 0
03:00 - 03:15 | -1.7 | -5 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 0 | 0 | 19.23 | 0 | 0 | -2 | 72.1 | 0 | 0 | 0 | 0 | 0 | 0 | -24.2 | 0 | 19.23 | 0
03:15 - 03:30 | -1.7 | -5 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 0 | 0 | 19.23 | 0 | 0 | -2 | 72.1 | 0 | 0 | 0 | 0 | 0 | 0 | -24.2 | 0 | 19.23 | 0
03:30 - 03:45 | -1.7 | -5 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 72.1 | 0 | 0 | -10 | 0 | 0 | 0 | -14.5 | 0 | 19.23 | 0
03:45 - 04:00 | -1.7 | -5 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 0 | 0 | 19.23 | 0 | 0 | -2 | 72.1 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 19.23 | 0
04:00 - 04:15 | -1.7 | -3 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0.91 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 72.11 | 0 | 0 | -10 | 0 | 0 | 0 | -14.5 | 0 | 22.11 | 0
04:15 - 04:30 | -1.7 | -3 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -14.5 | 0 | 33.65 | 0
04:30 - 04:45 | -1.7 | -3 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 54.8 | 0
04:45 - 05:00 | -1.7 | -7 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 63.45 | 0
05:00 - 05:15 | -1.7 | -3 | 0 | 0 | 0 | -1.6 | -61.27 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 25.96 | 0
05:15 - 05:30 | -1.7 | -8 | 0 | 0 | 0 | -1.6 | -76.64 | 0 | 0 | -30 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 50.95 | 0
05:30 - 05:45 | -1.7 | 0 | 0 | 0 | 0 | -1.6 | -110.82 | 0 | 0 | -30 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 72.11 | 0
05:45 - 06:00 | -1.7 | 0 | 0 | 0 | 0 | -1.6 | -122.77 | 0 | 0 | -30 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 74.99 | 0
06:00 - 06:15 | -1.7 | -7 | 0 | 0 | 0 | -1.6 | -90.69 | 0 | 0 | -30 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -20 | 0 | 0 | 0 | 0 | 0 | 10.58 | 0
06:15 - 06:30 | -1.7 | -3 | 0 | 0 | 0 | -1.6 | -81.97 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2 | -20 | 0 | 0 | 0 | 0 | 0 | 16.34 | 0
06:30 - 06:45 | -1.7 | -3 | 0 | 0 | 0 | -1.6 | -62.51 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 0 | 0 | 19.23 | 0 | 0 | 0 | 76.91 | 0 | -3.2 | 0 | 0 | 0 | 0 | 0 | 2.14 | 25 | 0
06:45 - 07:00 | -1.7 | -3 | 0 | 0 | 0 | -1.6 | -58.01 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 0 | 0 | 19.23 | 0 | 0 | 0 | 76.9 | 0 | -3.2 | -20 | 0 | 0 | 0 | 0 | 5.58 | 32.69 | 0
07:00 - 07:15 | -1.6 | -3 | 0 | 0 | 0 | 0 | -62.8 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 0 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -1.6 | -16 | 0 | 0 | 0 | 0 | -62.52 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 0 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 0 | 0 | 1.37 | 0 | 0
07:30 - 07:45 | -1.6 | -4 | 0 | 0 | 0 | 0 | -63.75 | 0 | 0 | 0 | 0 | -0.2 | 0 | 19.23 | -6 | 0 | 0 | 0 | 9.61 | 0 | 0 | -2 | 0 | 0 | -3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | -1.6 | -4 | 0 | 0 | 0 | 0 | -43.8 | 0 | 0 | 0 | 9.61 | -0.2 | 0 | 19.23 | -6 | 0 | 0.96 | 0 | 15.38 | 2.88 | 0 | -2 | 0 | 0 | -3.2 | -10 | 0 | 0 | 4.81 | 0 | 5.58 | 38.46 | 0
08:00 - 08:15 | -1.6 | -4 | 0 | -1.5 | 0 | 0 | -96.22 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | 0 | 0 | 0 | 0 | 0 | 5.58 | 62.5 | 0
08:15 - 08:30 | -1.6 | -4 | 0 | -1.7 | 0 | 0 | -102.86 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0 | 0.96 | 0 | 15.39 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | 0 | 0 | 0 | 0 | 0 | 5.58 | 0 | 0
08:30 - 08:45 | -1.6 | -4 | 0 | -2.6 | -3 | 0 | -37.49 | 14.23 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | -1.7 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -25 | 7.69 | 0 | 4.81 | 0 | 5.58 | 72.11 | 0
08:45 - 09:00 | -1.6 | -14 | 0 | -0.9 | -3 | 0 | -120.01 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | -2 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -20 | 0 | 0 | 0 | 0 | 5.58 | 50.96 | 0
09:00 - 09:15 | -1.6 | -4 | -0.6 | -2 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | -15 | 0 | -6 | -2.1 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | 0 | 0 | 0 | 4.81 | 0 | 5.58 | 41.34 | 0
09:15 - 09:30 | -1.6 | -4 | -2.3 | -4.8 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 0.19 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -15 | 0 | 0 | 4.81 | 0 | 5.58 | 31.73 | 0
09:30 - 09:45 | -1.6 | -4 | -4 | -4.9 | -3.3 | 0 | 114.32 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 4.52 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | 0 | 0 | 0 | 4.81 | 0 | 5.58 | 40.38 | 0
09:45 - 10:00 | -1.6 | -4 | -4.5 | -4.9 | -3.3 | 0 | 138.79 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 4.33 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | 0 | 0 | 0 | 4.81 | 0 | 5.58 | 22.11 | 0
10:00 - 10:15 | -1.6 | -4 | -3.3 | -0.2 | -3.3 | 0 | -177.32 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 4.23 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | 0 | 0 | 33.65 | 4.81 | 0 | 5.58 | 0 | 0
10:15 - 10:30 | -1.6 | -14 | -3.5 | 0 | -3.3 | 0 | -371.86 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 4.42 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -25 | 0 | 33.65 | 4.81 | 0 | 5.58 | 0 | 0
10:30 - 10:45 | -1.6 | -4 | -5.8 | -0.5 | -3.3 | 0 | -362.47 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 3.75 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -30 | 0 | 33.65 | 4.81 | 0 | 11.54 | 0 | 0
10:45 - 11:00 | -1.6 | -4 | -4.8 | -5.1 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -6 | 3.94 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -25 | 0 | 33.65 | 4.81 | 0 | 11.54 | 99.03 | 0
11:00 - 11:15 | -1.6 | -4 | -7.6 | -2.5 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 4.33 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -15 | 0 | 19.23 | 4.81 | 0 | 11.54 | 127.86 | 0
11:15 - 11:30 | -1.6 | -4 | -7.8 | -3.2 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 4.42 | 0.96 | 0 | 15.38 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | 0 | 0 | 19.23 | 4.81 | 0 | 11.54 | 127.87 | 0
11:30 - 11:45 | -1.6 | -4 | -7.8 | -4.6 | -3.3 | 0 | 381.01 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 3.65 | 0.96 | -1 | 1.92 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | 0 | 0 | 19.23 | 4.81 | 0 | 11.54 | 127.87 | 0
11:45 - 12:00 | -1.6 | -4 | -7.4 | -3.4 | -3.3 | 0 | 475.04 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 3.65 | 0.96 | -1 | 1.92 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -10 | 0 | 19.23 | 4.81 | 0 | 11.54 | 127.87 | 0
12:00 - 12:15 | -1.3 | -4 | -7.3 | -4.6 | -3.3 | 0 | 491.85 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 3.75 | 0.96 | -1 | 1.92 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -28 | 7.69 | 28.84 | 4.81 | 0 | 11.54 | 127.87 | 0
12:15 - 12:30 | -1.3 | -14 | -8.7 | -5.3 | -3.3 | 0 | 491.84 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 3.85 | 0.96 | -1 | 1.92 | 2.88 | 0.96 | -2 | 0 | 0 | -3.2 | -28 | 7.69 | 28.84 | 4.81 | 0 | 11.54 | 127.87 | 0
12:30 - 12:45 | -1.3 | -4 | -8.5 | -6.5 | -3.3 | 0 | 483.72 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 3.85 | 0.96 | -0.5 | 1.92 | 2.88 | 0.96 | -2 | 76.91 | 0 | -3.2 | -25 | 0 | 28.84 | 4.81 | 0 | 11.54 | 127.87 | 0
12:45 - 13:00 | -1.3 | -4 | -8.3 | -11.3 | -3.3 | 0 | 487.06 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 4.04 | 0.96 | -0.5 | 1.92 | 2.88 | 0.96 | -2 | 76.91 | 0 | -3.2 | -25 | 0 | 28.84 | 4.81 | 0 | 11.54 | 127.87 | 0
13:00 - 13:15 | -1.3 | -4 | -8.5 | -8.8 | -3.7 | 0 | 677.81 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 4.04 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | 0 | 76.91 | -4 | -3.2 | -10 | 7.69 | 24.04 | 4.81 | 0 | 11.54 | 127.87 | 0
13:15 - 13:30 | -1.3 | -4 | -7.7 | -10.5 | -3.7 | 0 | 677.82 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | 4.13 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | 0 | 76.91 | -4 | -3.2 | -10 | 7.69 | 24.04 | 4.81 | 0 | 11.54 | 127.87 | 0
13:30 - 13:45 | -1.3 | -4 | -7.5 | -11.4 | -3.7 | 0 | 620.87 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | -1 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | -2 | 76.91 | -4 | -3.2 | 0 | 0 | 0 | 4.81 | 0 | 11.54 | 127.87 | 0
13:45 - 14:00 | -1.3 | -14 | -8.1 | -4.3 | -3.7 | 0 | 619.49 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | -3.1 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | -2 | 62.49 | -4 | -3.2 | 0 | 0 | 0 | 4.81 | 0 | 11.54 | 127.87 | 0
14:00 - 14:15 | -1.3 | -3 | -7.7 | -9.1 | -3.7 | 0 | 704.27 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | -2.9 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | 0 | 62.49 | -4 | -3.2 | -10 | 0 | 0 | 4.81 | 0 | 11.54 | 126.9 | 0
14:15 - 14:30 | -1.3 | -3 | -5.1 | -9 | -3.7 | 0 | 790.77 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | -2.7 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | 0 | 62.49 | -4 | -3.2 | -10 | 0 | 0 | 4.81 | 0 | 11.54 | 99.02 | 0
14:30 - 14:45 | -1.3 | -3 | -7.4 | -9.8 | -3.7 | 0 | 645.58 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | -2.6 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | 0 | 0 | -4 | -3.2 | -15 | 0 | 0 | 4.81 | 0 | 11.54 | 0 | 0
14:45 - 15:00 | -1.3 | -3 | -3.9 | -4.2 | -3.7 | 0 | 625.87 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | -2.5 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | 0 | 0 | -4 | -3.2 | -15 | 0 | 0 | 0 | 0 | 11.54 | 0 | 0
15:00 - 15:15 | -1.3 | -3 | -2 | -2.9 | -3.7 | 0 | 817.71 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | -2.5 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | 0 | 0 | -4 | -3.2 | -45 | 0 | 0 | 0 | 0 | 11.54 | 0 | 0
15:15 - 15:30 | -1.3 | -8 | -4.6 | -2 | -3.7 | 0 | 543.2 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | -2.2 | 0.96 | 0 | 7.69 | 2.88 | 0.96 | 0 | 0 | -4 | -3.2 | -45 | 0 | 0 | 4.81 | 0 | 11.54 | 0 | 0
15:30 - 15:45 | -1.3 | -7 | -8.7 | -0.9 | -3.7 | 0 | -150 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -7 | -1.9 | 0.96 | -1 | 7.69 | 2.88 | 0.96 | 0 | 0 | -8 | -3.2 | -30 | 0 | 0 | 0 | 0 | 5.58 | 0 | 0
15:45 - 16:00 | -1.3 | -3 | -7.8 | -2.2 | -3.7 | 0 | -150 | 0 | 0 | 0 | 0 | -0.2 | -15 | 0 | -7 | -1.8 | 0 | -1 | 5.77 | 2.88 | 0.96 | 0 | 0 | -8 | -3.2 | -30 | 0 | 0 | 0 | 0 | 5.58 | 0 | 0
16:00 - 16:15 | -1.3 | -2 | -6.4 | -2.5 | -3.7 | 0 | 252.91 | 0 | 0 | 0 | 0 | 0 | 0 | 19.23 | -7 | -1.5 | 0 | -1 | 3.85 | 2.88 | 0.96 | 0 | 0 | -8 | -3.2 | -35 | 0 | 0 | 0 | 0 | 11.54 | 0 | 0
16:15 - 16:30 | -1.3 | -2 | -3.8 | -2.1 | -3.7 | 0 | 238.7 | 0 | 0 | 0 | 0 | 0 | 0 | 19.23 | -7 | -1.3 | 0 | -1 | 3.85 | 0 | 0 | 0 | 0 | -8 | -3.2 | -35 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -1.3 | -2 | -2.7 | -1 | -3.7 | 0 | 115.3 | 0 | 0.96 | 0 | 0 | 0 | 0 | 19.23 | -7 | -1 | 0 | 0 | 9.61 | 2.88 | 0.96 | 0 | 0 | -4 | -7 | -35 | 0 | 19.23 | 0 | 0 | 11.54 | 0 | 0
16:45 - 17:00 | -1.3 | -2 | 0 | -0.9 | -3.7 | 0 | 42.83 | 0 | 0.96 | 0 | 0 | 0 | 0 | 19.23 | -7 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -7 | -35 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -1.3 | -8 | 0 | 0 | -3.3 | 0 | -152.53 | 0 | 0.96 | 0 | 0 | 0 | 0 | 19.23 | -7 | -0.5 | 0 | 0 | 9.61 | 0 | 0 | 0 | 0 | -4 | -6 | 0 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -1.3 | -2 | 0 | 0 | -3.3 | 0 | -107.02 | 0 | 0.96 | 0 | 0 | 0 | 0 | 19.23 | -7 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -6 | 0 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -1.3 | -4 | 0 | 0 | -3.3 | 0 | -125.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -1.3 | -4 | 0 | 0 | -3.3 | 0 | -150.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1.3 | 0 | 0 | 0 | -3.3 | -1.5 | -115.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -1.3 | -1 | 0 | 0 | -3.3 | -1.5 | -133.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -1.3 | -2 | 0 | 0 | -3.3 | -1.5 | -260.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0
18:45 - 19:00 | -1.3 | -2 | 0 | 0 | -3.3 | -1.5 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.64 | 0
19:00 - 19:15 | -1.3 | -2 | 0 | 0 | -3.3 | -1.5 | 31.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 86.89 | 0
19:15 - 19:30 | -1.3 | -2 | 0 | 0 | -3.3 | -1.5 | 26.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 83.44 | 0
19:30 - 19:45 | -1.3 | -2 | 0 | 0 | -3.3 | -1.4 | 14.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -38.8 | 0 | 65.66 | 0
19:45 - 20:00 | -1.3 | -2 | 0 | 0 | -3.3 | -1.4 | 12.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -38.8 | 0 | 56.02 | 0
20:00 - 20:15 | -1.3 | -1 | 0 | 0 | -3.3 | -1.2 | 61.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -38.8 | 0 | 85.54 | 0
20:15 - 20:30 | -1.3 | -1 | 0 | 0 | -3.3 | -1.2 | 55.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -38.8 | 0 | 76.76 | 0
20:30 - 20:45 | -1.3 | -1 | 0 | 0 | -3.3 | -1.3 | 55.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 76.89 | 0
20:45 - 21:00 | -1.3 | -1 | 0 | 0 | -3.3 | -1.3 | 50.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 69.79 | 0
21:00 - 21:15 | -1.3 | 0 | 0 | 0 | -3.3 | -1.3 | 31.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 43.81 | 0
21:15 - 21:30 | -1.3 | 0 | 0 | 0 | -3.3 | -1.3 | 25.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 35.03 | 0
21:30 - 21:45 | -1.3 | 0 | 0 | 0 | -3.3 | -1.3 | 21.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 30.18 | 0
21:45 - 22:00 | -1.3 | 0 | 0 | 0 | -3.3 | -1.3 | 22.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 30.47 | 0
22:00 - 22:15 | -1.3 | 0 | 0 | 0 | -3.7 | -1.4 | 27.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 38.07 | -2
22:15 - 22:30 | -1.3 | 0 | 0 | 0 | -3.7 | -1.4 | 24.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 34.86 | -2
22:30 - 22:45 | -1.3 | -1 | 0 | 0 | -3.3 | -1.3 | 26.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 37.65 | -2
22:45 - 23:00 | -1.3 | -1 | 0 | 0 | -3.3 | -1.3 | 26.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 37.62 | -2
23:00 - 23:15 | -1.3 | -1 | 0 | 0 | -3.3 | -1.3 | 30.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 42.76 | -2
23:15 - 23:30 | -1.3 | -1 | 0 | 0 | -3.3 | -1.3 | 30.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 43.24 | -2
23:30 - 23:45 | -1.3 | -2 | 0 | 0 | -3.3 | -1.3 | 32.82 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -38.8 | 0 | 46.48 | -2
23:45 - 24:00 | -1.3 | -2 | 0 | 0 | -3.3 | -1.3 | 33.22 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 46.96 | -2
Average | -1.4792 | -4.0208 | -1.9177 | -1.5844 | -2.1938 | -0.78958 | 82.0349 | 0.14823 | 0.04 | -1.6667 | 0.1001 | -0.13333 | -0.3125 | 3.6151 | -6.4167 | 0.31969 | 0.46021 | -0.09375 | 5.768 | 1.05 | 0.34 | -0.91667 | 12.8183 | -1 | -1.8479 | -9.0729 | 0.40052 | 4.7071 | 1.3027 | -13.1229 | 3.4949 | 45.4435 | -0.16667