## POWER STATUS
POWER STATUS ON DT 15.07.2026
[9 empty] | 2026-07-15 | 2026-07-14
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 574:00
Demand -> | [8 empty] | 5511.6301 | 5947.7743
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 136.208 | 3.269 | 630/590 ft | 607.5 | 610.33 | 609.95 | 156.669 | 154.6299
| Chiplima | 72(3x24) | 51 | 1.224 | - |  |  |  | 43.6615 | 40.2064
| Balimela | 510(6x60+2x75) | 184.08 | 4.4179 | 1516/1440 ft | 1463.6 | 1457.1 | 1456.8 | 192.4995 | 309.3411
| Rengali | 250(5x50) | 4.933 | 0.11839 | 123.5/109.75 mt | 120.69 | 112.71 | 112.9 | 0 | 0
| Upper Kolab | 320(4x80) | 31.63 | 0.75912 | 858/844 mt | 851.16 | 848.48 | 848.48 | 0 | 152.5103
| Upper Indravati | 600(4x150) | 104.2292 | 2.5015 | 642/625 mt | 633.52 | 629.63 | 629.59 | 0.32847 | 210.8845
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2735.8 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 512.0802 | 12.2899 |  |  |  |  | 393.1584 | 867.5721
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1555.29 | 37.327 | RENEWABLE ENERGY (RE) |  |  |  | 1047 | 1050
[5 empty] | M.Hydl | 43.84
| Total Thermal | 2200 | 1555.29 | 37.327 | Solar | 99.85 |  |  | 1047 | 1050
IPP | VEDANTA #2 | 600 (1x600) | 432.6 | 10.3824 | Total IPPs | Yesterday's Demand Profile |  |  | 389.1403 | 551.8956
| GMR #3 | 350 (1x350) | 305.07 | 7.3217 | 831.38 |  | MW | HRS | 321.5995 | 325.7792
| NBVL(IPP) | 60(1x60) | 48.47 | 1.1633 |  |  |  |  | 53.7022 | 55.2499
| MDTPC |  | 45.24 | 1.0858 |  |  |  |  | 30.791 | 55.8309
| CGPs |  | 872.69 | 20.9446 | IPPs, CGPs & RE | Maximum | 6879 | 01.00 | 1793.0382 | 2153.4691
| Central Sector(Drawl) |  | 1954.51 | 46.9082 | 1847.76 | Minimum | 5445 | 18.00 | 2278.4335 | 1876.7331
| Central Sector(Sch) |  | 2061.8813 | 49.4852 |  | Average | 5869.6402 |  | 2402.1299 | 1825.28
| Grand Total |  | 5869.6402 | 140.8714 | Instantaneous Peak demand |  | 7127 | 0:18 | 5511.6301 | 5947.7743
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7 | IbTPS / OPGC | 3 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1756.0107 | 42.1443 | 1617.8867 | 38.8293 | 1841.0785 | 44.1859
Balimela | 5,6,3 | TSTPP St-I | NIL | TPWODL | 2347.8632 | 56.3487 | 2086.8436 | 50.0842 | 1644.6292 | 39.4711
Rengali | NIL | TSTPP St-II | 6 | TPNODL | 1194.9519 | 28.6788 | 1206.8918 | 28.9654 | 1144.1097 | 27.4586
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 680.3532 | 16.3285 | 681.708 | 16.361 | 665.2723 | 15.9665
Indravati | NIL | TEESTA-V | 3 | DISCOM TOTAL | 5979.179 | 143.5003 | 5593.3301 | 134.2399 | 5295.0897 | 127.0822
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 389.1403 | GMR |  |  |  | 321.5995
| NBVL #3 | 53.7022 | MDTPC |  |  |  | 30.791
Mini Hydel: | MEENAKSHI | 17.7868 | OPCL |  |  |  | 0
| BTPL | 20.002 | SAPTADHARA |  |  |  | 3.4692
Solar: |  | 90.0781 | KAKATIYA |  |  |  | 3.3473
CGPs : | JSPL (Angul) | 263.6841 | JSL(Duburi) |  |  |  | -55.9845
| ICCL | 49.6363 | visa |  |  |  | 14.3678
| NALCO | -149.3434 | VAL (CGP) |  |  |  | 81.6992
| RSP | -121.0715 | BSL(MMDL) |  |  |  | 101.6852
| INDAL | 1.4544 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -33.4467 | VAL CPP 400 kV |  |  |  | -584.9824
| NBVL | 54.4739 | Arati |  |  |  | 37.1311
| BPSL(JSG) | -93.517 | BPPL |  |  |  | 125.6303
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-07 | 2026-07-08 | 2026-07-09 | 2026-07-10 | 2026-07-11 | 2026-07-12 | 2026-07-13 | 2026-07-14
481.083 | 529.1258 | 439.8 | 375.1042 | 524.875 | 504.292 | 559.008 | 512.0802
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.14.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 114.37
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 55.42
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 87.57
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.59 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.64
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 14.45
MAADURGA_THERMAL | NPCL_UP | -17.71 | ARYAN_ISPAT | WBSEDCL | -5 | AWEK1L | ODISHA | 21.68
NBVLIPP | TANGEDCO | -50 | BPPL | CSEB_Beneficiary | -15 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 0
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 40.47
OCL_IRON_STEEL | NPCL_UP | -33 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.11
ODISHA | PCKL | -14.58 | FACORPOWER | TPL_DIS_AHM | -25 | DADRI_SOLAR | ODISHA | 0.62
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | JSPLANGUL | CSEB_Beneficiary | -150 | ENERSON_SOLAR_10MW | ODISHA | 1.34
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | KCMW_od | SFLPondyHEX288 | -0.41 | GADAG_GreenInfra_W | ODISHA | 0
VSL | CR_IR_MS | -2.92 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0.57
FARIDABAD_SOLAR | ODISHA | 0.86 | OCL_IRON_STEEL | BRPL | -7.29 | GADAG_Serentica3_S | VLSEZ | 33.69
JSWEL_UTKAL | ODISHA | 70.85 | OCL_IRON_STEEL | BRPL | -17.71 | GADAG_Serentica3_W | VLSEZ | 110.94
MPPMCL | ODISHA | 0 | ODISHA | CSEB_Beneficiary | -25 | GIWEL_SECI_II_RE | ODISHA | 85.03
RAJ_SOLAR | ODISHA | 2.36 | ORSISL | WBSEDCL | -5 | GPCL_SOLAR_10 | ODISHA | 1.07
RAJ_SOLAR | ODISHA | 2.29 | RML_Dhenkanal | TANGEDCO | -2.6 | GSECL_SOLAR | ODISHA | 0.91
|  |  | RSPL_JHARSUGUDA | TANGEDCO | -13.02 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.69
|  |  | RSPL_JHARSUGUDA | WBSEDCL | -10 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 4
|  |  | Shri_JSPL | TANGEDCO | -2.6 | KARUR_TPVARDHAMAN_W | TSKPO | 57.25
|  |  | TSBSLA | TANGEDCO | -15.62 | KARUR_TPVARDHAMAN_W | TSLFAPG | 10
|  |  | VSL | WBSEDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.92
|  |  | BALCO | VLSEZ | 4.81 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | CESC | VLSEZ | 29.64 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | Darlipali_NTPC | ODISHA | 22.83 | NTPCRE1_SMND_BHJ2_W | ODISHA | 12.72
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 10.33
|  |  | HP | VLSEZ | 25.54 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 2.18
|  |  | JIPL | ODISHA | 115.37 | OKWPL_RE | ODISHA | 44.65
|  |  | NALCOAP | NACL_Odisha | 22.24 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 5.61
|  |  | TSTPP_I | ODISHA | 43.32 | RWE_AP2_SECI_III | ODISHA | 32.99
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 0.76
[6 empty] | SRI9PL_FTG3 | VLSEZ | 71.05
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 35.98
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 2.13
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 30.36
[6 empty] | XXPPL_FTG3 | ODISHA | 57.48

## DAM
DAM TRADING DETAILS FOR DT :14.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 10.37
00:15 - 00:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 10.86
00:30 - 00:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 7.35
00:45 - 01:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 1.53
01:00 - 01:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 13.33
01:15 - 01:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 31.23
01:30 - 01:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 43.12
01:45 - 02:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 55.29
02:00 - 02:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 87.2
02:15 - 02:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 82.64
02:30 - 02:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 58.66
02:45 - 03:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 42.35
03:00 - 03:15 | -3.3 | 0 | 0 | 0 | -214 | -8 | 0 | 0 | 0 | 46.21
03:15 - 03:30 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 40.97
03:30 - 03:45 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 46.86
03:45 - 04:00 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 48.35
04:00 - 04:15 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 47.86
04:15 - 04:30 | -3.3 | 0 | 0 | 0 | -154.99 | -8 | 0 | 0 | 0 | 40.85
04:30 - 04:45 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 35.22
04:45 - 05:00 | -3.3 | 0 | 0 | 0 | -155 | -8 | 0 | 0 | 0 | 29.45
05:00 - 05:15 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 23.38
05:15 - 05:30 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 13.22
05:30 - 05:45 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 10.36
05:45 - 06:00 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 5.93
06:00 - 06:15 | -3.3 | 0 | -275 | 0 | -155 | -8 | -43 | 0 | 0 | 11.83
06:15 - 06:30 | -3.3 | 0 | -275 | 0 | -155 | -8 | -43 | 0 | 0 | 0
06:30 - 06:45 | -3.3 | 0 | -275 | 0 | -155 | -8 | -43 | 0 | 0 | 0
06:45 - 07:00 | -3.3 | 0 | -275 | 0 | -155 | -8 | -43 | 0 | 0 | 0
07:00 - 07:15 | -3.3 | 20.19 | -525 | 0 | -155 | -8 | -43 | 0 | 0 | 0
07:15 - 07:30 | -3.3 | 20.19 | -525 | 0 | -155 | -8 | -43 | 0 | 0 | 0
07:30 - 07:45 | -3.3 | 20.19 | -525 | 0 | -155 | -8 | -43 | 0 | 0 | 0
07:45 - 08:00 | -3.3 | 20.19 | -475 | 0 | -155 | -8 | -43 | 0 | 0 | 0
08:00 - 08:15 | -3.3 | 20.19 | -375 | 0 | -155 | 0 | -43 | 0 | 0 | 0
08:15 - 08:30 | -3.3 | 20.19 | -349.13 | 0 | 0 | 0 | -43 | 0 | 0 | 0
08:30 - 08:45 | -3.3 | 20.19 | -337.78 | 0 | 0 | 0 | -43 | 0 | 0 | 0
08:45 - 09:00 | -3.3 | 20.19 | -250 | 0 | 0 | 0 | -43 | 0 | 0 | 0
09:00 - 09:15 | -3.3 | 20.19 | -550 | 0 | 0 | 0 | -18 | 0 | 0 | 0
09:15 - 09:30 | -3.3 | 20.19 | -550 | 0 | 0 | 0 | -18 | 0 | 0 | 0
09:30 - 09:45 | -3.3 | 20.19 | -550 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
09:45 - 10:00 | -3.3 | 20.19 | -478.17 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
10:00 - 10:15 | -3.3 | 20.19 | -113.1 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
10:15 - 10:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
10:30 - 10:45 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
10:45 - 11:00 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
11:00 - 11:15 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
11:15 - 11:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
11:30 - 11:45 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
11:45 - 12:00 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
12:00 - 12:15 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
12:15 - 12:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
12:30 - 12:45 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
12:45 - 13:00 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
13:00 - 13:15 | -3.3 | 20.19 | 0.31 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
13:15 - 13:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
13:30 - 13:45 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
13:45 - 14:00 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
14:00 - 14:15 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
14:15 - 14:30 | -3.3 | 20.19 | 0 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
14:30 - 14:45 | -3.3 | 20.19 | -186.93 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
14:45 - 15:00 | -3.3 | 20.19 | -254.14 | 33.65 | 0 | 0 | -18 | 0 | 0 | 0
15:00 - 15:15 | -3.3 | 20.19 | -275 | 0 | 0 | 0 | -18 | 0 | 0 | 0
15:15 - 15:30 | -3.3 | 20.19 | -275 | 0 | 0 | 0 | -18 | 0 | 0 | 0
15:30 - 15:45 | -3.3 | 20.19 | -275 | 0 | 0 | 0 | -18 | 0 | 0 | 0
15:45 - 16:00 | -3.3 | 20.19 | -383.82 | 0 | 0 | 0 | -18 | 0 | 0 | 0
16:00 - 16:15 | -3.3 | 20.19 | -469.06 | 0 | 0 | 0 | -43 | 0 | 0 | 0
16:15 - 16:30 | -3.3 | 20.19 | -444.83 | 0 | 0 | 0 | -43 | 0 | 0 | 0
16:30 - 16:45 | -3.3 | 20.19 | -501.16 | 0 | 0 | 0 | -43 | 9.61 | 0 | 0
16:45 - 17:00 | -3.3 | 20.19 | -501.82 | 0 | 0 | 0 | -43 | 9.61 | 10.48 | 0
17:00 - 17:15 | -3.3 | 0 | -350 | 0 | 0 | 0 | -43 | 9.61 | 0 | 0
17:15 - 17:30 | -3.3 | 0 | -350 | 0 | 0 | 0 | -43 | 9.61 | 0 | 0
17:30 - 17:45 | -3.3 | 0 | -391.4 | 0 | -155 | -4 | -43 | 0 | 81.72 | 0
17:45 - 18:00 | -3.3 | 0 | -400 | 0 | -155 | -4 | -43 | 0 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | 0 | -155 | -4 | -43 | 0 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | 0 | 0 | -155 | -4 | -43 | 0 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | -50 | 0 | -155 | -8 | -43 | 0 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | -50 | 0 | -214 | -8 | -43 | 0 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | -50 | 0 | -272 | -8 | 0 | 0 | 0 | 0
19:15 - 19:30 | -3.3 | 0 | -50 | 0 | -272 | -8 | 0 | 0 | 0 | 0
19:30 - 19:45 | -3.3 | 0 | -50 | 0 | -272 | -8 | 0 | 0 | 0 | 0
19:45 - 20:00 | -3.3 | 0 | -50 | 0 | -272 | -8 | 0 | 0 | 0 | 0
20:00 - 20:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
20:15 - 20:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
20:30 - 20:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
20:45 - 21:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
21:00 - 21:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
21:15 - 21:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
21:30 - 21:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
21:45 - 22:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
22:00 - 22:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
22:15 - 22:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
22:30 - 22:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
22:45 - 23:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
23:00 - 23:15 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
23:15 - 23:30 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
23:30 - 23:45 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
23:45 - 24:00 | -3.3 | 0 | 0 | 0 | -272 | -8 | 0 | 0 | 0 | 0
Average | -3.3 | 8.4125 | -127.7191 | 7.7115 | -135.4895 | -4.6667 | -17.7917 | 0.40042 | 0.96042 | 8.796

## GDAM
GDAM TRADING DETAILS FOR DT:14.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.04
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.1
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.59
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.43
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -2.2 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -0.4 | 0 | 19.23 | 0 | 1.6 | 0 | 0 | 0 | 118.25
07:45 - 08:00 | 0 | -0.2 | 0 | 19.23 | 0 | 5.77 | 0 | 81.71 | 0 | 79.8
08:00 - 08:15 | 0 | 0 | 0 | 14.42 | 0 | 5.77 | 0 | 81.72 | 0 | 25.96
08:15 - 08:30 | 0 | 0 | 0 | 14.42 | 0 | 5.77 | 9.61 | 81.72 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.73 | 0 | 0
08:45 - 09:00 | 0 | -2.6 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
09:00 - 09:15 | 0 | -4.1 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
09:15 - 09:30 | 0 | -5.3 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
09:30 - 09:45 | -0.9 | -6.2 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
09:45 - 10:00 | -1.3 | -7.1 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
10:00 - 10:15 | -2.3 | -7 | 136.84 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
10:15 - 10:30 | -3.2 | -6.5 | 142.37 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
10:30 - 10:45 | -5.2 | -6.3 | 40.78 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
10:45 - 11:00 | -6.2 | -7.6 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
11:00 - 11:15 | -8.7 | -8.4 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
11:15 - 11:30 | -9.6 | -10.3 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
11:30 - 11:45 | -9.4 | -10.8 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
11:45 - 12:00 | -7.9 | -9.2 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
12:00 - 12:15 | -7.5 | -10.4 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
12:15 - 12:30 | -6.3 | -8.3 | 240.6 | 14.42 | 9.61 | 5.77 | 9.61 | 81.72 | 3.85 | 0
12:30 - 12:45 | -5.9 | -9.7 | 240.61 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
12:45 - 13:00 | -5.1 | -10.7 | 240.64 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
13:00 - 13:15 | -5.9 | -7.4 | 240.64 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
13:15 - 13:30 | -3.8 | -8.6 | 240.64 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
13:30 - 13:45 | -3.2 | -9.7 | 240.61 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
13:45 - 14:00 | -4.6 | -7.4 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
14:00 - 14:15 | -3.6 | -5.7 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
14:15 - 14:30 | 0 | -5.1 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 0 | 3.85 | 0
14:30 - 14:45 | -1.8 | -5.8 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 72.11 | 3.85 | 0
14:45 - 15:00 | 0 | -3.3 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 72.11 | 3.85 | 0
15:00 - 15:15 | 0 | -3.2 | 0 | 14.42 | 9.61 | 5.77 | 9.61 | 72.11 | 0 | 0
15:15 - 15:30 | 0 | -0.6 | 0 | 14.42 | 7.33 | 5.77 | 9.61 | 72.1 | 0 | 0
15:30 - 15:45 | -2.7 | 0 | 0 | 14.42 | 0 | 5.77 | 9.61 | 72.11 | 0 | 0
15:45 - 16:00 | -2 | 0 | 0 | 14.42 | 0 | 5.77 | 9.61 | 72.11 | 0 | 0
16:00 - 16:15 | -0.9 | 0 | 0 | 19.23 | 0 | 5.77 | 9.61 | 72.11 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 9.61 | 72.11 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 0 | 72.1 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 0 | 61.59 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 0 | 72.1 | 0 | 0
17:15 - 17:30 | 0 | -0.1 | 0 | 19.23 | 0 | 5.77 | 0 | 81.72 | 0 | 1.92
17:30 - 17:45 | 0 | -1.5 | 0 | 19.23 | 0 | 2.8 | 0 | 0 | 0 | 29.8
17:45 - 18:00 | 0 | -1 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0 | 51.91
18:00 - 18:15 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.125 | -2.0562 | 28.3972 | 7.0101 | 2.7792 | 2.3899 | 3.3034 | 25.1777 | 1.0026 | 4.3377

## RTM
RTM TRADING DETAILS FOR DT: 14.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.5 | -3 | 0 | 0 | -1.3 | 4.85 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32 | 0 | 0 | 65.35 | -10
00:15 - 00:30 | -1.5 | -3 | 0 | 0 | -1.3 | 5.07 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -32 | 0 | 0 | 68.44 | -10
00:30 - 00:45 | -1.5 | -3 | 0 | 0 | -1.3 | 17.46 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 117.85 | -10
00:45 - 01:00 | -1.5 | -3 | 0 | 0 | -1.3 | 19.35 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 130.62 | -10
01:00 - 01:15 | -1.5 | -3 | 0 | 0 | -1.3 | 19.86 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1.5 | -25 | 0 | 0 | 268.19 | -10
01:15 - 01:30 | -1.5 | -3 | 0 | 0 | -1.3 | 22 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -25 | 0 | 0 | 296.96 | -10
01:30 - 01:45 | -1.5 | -3 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -25 | 0 | 0 | 733.32 | -10
01:45 - 02:00 | -1.5 | -3 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1.5 | -25 | 0 | 0 | 824.26 | -10
02:00 - 02:15 | -1.5 | -1 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -25 | 0 | 0 | 528.77 | -10
02:15 - 02:30 | -1.5 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -25 | 0 | 0 | 528.77 | -10
02:30 - 02:45 | -1.5 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1.5 | -25 | 0 | 0 | 249 | -10
02:45 - 03:00 | -1.5 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1 | -25 | 0 | 0 | 236.5 | -10
03:00 - 03:15 | -1.5 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -25 | 0 | 0 | 252.85 | -10
03:15 - 03:30 | -1.5 | 0 | 0 | 0 | -1.3 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -25 | 0 | 0 | 233.43 | -10
03:30 - 03:45 | -1.5 | -3 | 0 | 0 | -1.3 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 203.82 | 0
03:45 - 04:00 | -1.5 | -2 | 0 | 0 | -1.3 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 178.63 | 0
04:00 - 04:15 | -1.5 | 0 | 0 | 0 | -1.3 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 155.36 | 0
04:15 - 04:30 | -1.5 | 0 | 0 | 0 | -1.3 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 137.67 | 0
04:30 - 04:45 | -1.5 | -2 | 0 | 0 | -1.3 | -81.55 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -25 | 0 | 0 | 143.25 | 0
04:45 - 05:00 | -1.5 | -3 | 0 | 0 | -1.3 | -84.62 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -25 | 0 | 0 | 125.27 | 0
05:00 - 05:15 | -1.5 | -2.48 | 0 | 0 | -1.3 | -84.61 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 107.68 | 0
05:15 - 05:30 | -1.5 | -3 | 0 | 0 | -1.3 | -85.58 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 83.83 | 0
05:30 - 05:45 | -1.5 | 0 | 0 | -0.4 | -1.3 | -175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | -25 | 0 | 0 | 66.21 | 0
05:45 - 06:00 | -1.5 | 0 | 0 | -0.4 | -1.3 | -175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 64.87 | 0
06:00 - 06:15 | -1.5 | -6 | 0 | -0.4 | -1.3 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | -25 | 0 | 0 | 72.91 | 0
06:15 - 06:30 | -1.5 | -6 | 0 | -0.4 | -1.3 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | -25 | 0 | 0 | 73.71 | 0
06:30 - 06:45 | -1.5 | -6 | 0 | -0.4 | -1.3 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | -20 | 0 | 0 | 120.84 | 0
06:45 - 07:00 | -1.5 | -6 | 0 | -0.4 | -1.3 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | -30 | 0 | 0 | 133.32 | 0
07:00 - 07:15 | -1.5 | -6 | 0 | 0 | -1.3 | -32.87 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | -20 | 0 | 0 | 230.74 | 0
07:15 - 07:30 | -1.5 | -14 | 0 | 0 | -1.3 | -28.23 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8 | -20 | 0 | 0 | 192.28 | 0
07:30 - 07:45 | -1.5 | 0 | 0 | 0 | 0 | -201.04 | 0.96 | 0 | 0 | 0 | 0 | 19.23 | -1 | 0 | 19.23 | 0 | 0 | -3 | 76.91 | -3.8 | -25 | 38.46 | 0 | 0 | 0
07:45 - 08:00 | -1.5 | 0 | 0 | 0 | 0 | -121.2 | 0.96 | 0 | 0 | 0 | 0 | 19.23 | -1.3 | 0.96 | 25 | 0 | 0 | -3 | 0 | -3.8 | -25 | 38.45 | 5.58 | 0 | 0
08:00 - 08:15 | -1.5 | 0 | 0 | 0 | 0 | -200 | 0.96 | 0 | 9.61 | 0 | 0 | 0 | -1.5 | 0.96 | 25 | 0 | 2.88 | -3 | 0 | 0 | -15 | 38.46 | 5.58 | 0 | 0
08:15 - 08:30 | -1.5 | 0 | 0 | 0 | 0 | -77.87 | 0.96 | 0 | 0 | 0 | 0 | 0 | -1.8 | 0.96 | 15.38 | 0 | 2.88 | -3 | 0 | 0 | -15 | 38.46 | 5.58 | 0 | 0
08:30 - 08:45 | -1.5 | 0 | 0 | 0 | 0 | -353.33 | 0.96 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 9.61 | 0 | 2.74 | -3 | 0 | 0 | -15 | 0 | 5.3 | 0 | 0
08:45 - 09:00 | -1.5 | -8 | 0 | 0 | 0 | -575.53 | 0.96 | 0 | 0 | 0 | 0 | 0 | -2.3 | 0.96 | 15.38 | 0 | 2.88 | -3 | 0 | 0 | -15 | 57.69 | 5.58 | 0 | 0
09:00 - 09:15 | -1.5 | -7 | -1 | 0 | 0 | -202.53 | 0 | 0 | 0 | 0 | -15 | 0 | -2.7 | 0.96 | 15.38 | 0 | 2.88 | 0 | 0 | 0 | -5 | 57.69 | 5.58 | 0 | 0
09:15 - 09:30 | -1.5 | 0 | -0.8 | 0 | 0 | -278.46 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0.96 | 15.38 | 0 | 2.88 | 0 | 0 | 0 | -5 | 57.69 | 5.58 | 0 | 0
09:30 - 09:45 | -1.5 | 0 | -0.6 | 0 | 0 | -226.59 | 0 | 0 | 0 | 0 | 0 | 0 | 4.13 | 0.96 | 15.38 | 0 | 2.88 | -3 | 0 | 0 | -5 | 57.68 | 5.58 | 67.31 | 0
09:45 - 10:00 | -1.5 | 0 | -0.4 | 0 | 0 | -49.93 | 0 | 0 | 0 | 0 | 0 | 0 | 4.04 | 0.96 | 15.38 | 0 | 2.88 | -3 | 0 | 0 | -5 | 57.69 | 5.58 | 43.26 | 0
10:00 - 10:15 | -1.5 | 0 | -0.5 | 0 | 0 | -572.51 | 0 | 0 | 0 | 0 | 0 | 0 | 3.85 | 0.96 | 15.38 | 0 | 2.88 | -3 | 0 | 0 | -10 | 57.68 | 5.58 | 19.23 | 0
10:15 - 10:30 | -1.5 | -7 | -0.5 | 0 | 0 | -620.53 | 0 | 0 | 0 | 0 | 0 | 0 | 4.13 | 0.96 | 15.38 | 0 | 2.88 | -3 | 0 | 0 | -10 | 57.69 | 5.58 | 24.04 | 0
10:30 - 10:45 | -1.5 | -7 | -0.6 | 0 | 0 | -705.88 | 0 | 0 | 0 | 0 | 0 | 0 | 3.56 | 0.96 | 15.38 | 4.81 | 2.88 | 0 | 0 | 0 | -10 | 57.68 | 0.96 | 63.46 | 0
10:45 - 11:00 | -1.5 | 0 | -0.4 | 0 | 0 | -703.66 | 0 | 0 | 0 | 0 | 0 | 0 | 3.46 | 0.96 | 15.38 | 4.81 | 2.88 | 0 | 0 | 0 | -10 | 57.68 | 0.96 | 90.38 | 0
11:00 - 11:15 | -1.5 | 0 | -0.2 | 0 | 0 | -305.07 | 0 | 0 | 0 | 0 | 0 | 0 | 3.56 | 0.96 | 15.38 | 4.81 | 2.88 | 0 | 0 | 0 | -5 | 76.91 | 0.96 | 104.8 | -10
11:15 - 11:30 | -1.5 | 0 | 0 | 0 | 0 | -511.29 | 0 | 0 | 0 | 0 | 0 | 0 | 3.94 | 0.96 | 15.38 | 4.81 | 2.88 | 0 | 0 | 0 | -5 | 76.91 | 0.96 | 104.8 | -10
11:30 - 11:45 | -1.5 | 0 | 0 | 0 | 0 | -503.46 | 0 | 0 | 0 | 0 | 0 | 0 | 3.56 | 0.96 | 15.38 | 4.81 | 2.88 | 0 | 0 | 0 | 0 | 76.91 | 0.96 | 104.8 | 0
11:45 - 12:00 | -1.5 | 0 | 0 | 0 | 0 | -402.5 | 0 | 0 | 0 | 0 | 0 | 0 | 3.56 | 0.96 | 15.38 | 4.81 | 2.88 | 0 | 0 | 0 | 0 | 76.91 | 0.96 | 100.95 | 0
12:00 - 12:15 | -1.5 | 0 | 0 | 0 | 0 | -555.05 | 0 | 0 | 0 | 0 | 0 | 0 | 3.85 | 0 | 15.38 | 4.81 | 2.88 | 0 | 0 | 0 | 0 | 28.84 | 0.96 | 0 | 0
12:15 - 12:30 | -1.5 | -11 | 0 | 0 | 0 | -805.02 | 0 | 0 | 0 | 0 | 0 | 0 | 3.75 | 0 | 15.38 | 4.81 | 2.88 | 0 | 0 | 0 | 0 | 28.85 | 0.96 | 0 | 0
12:30 - 12:45 | -1.5 | 0 | -4.9 | 0 | 0 | -1149 | 0 | 0 | 0 | 0 | 0 | 0 | 3.94 | 0 | 15.38 | 4.81 | 2.88 | 0 | 76.92 | 0 | -10 | 0 | 0.96 | 0 | 0
12:45 - 13:00 | -1.5 | 0 | -4.9 | 0 | 0 | -1185.51 | 0 | 0 | 0 | 0 | 0 | 0 | 4.42 | 0 | 15.38 | 4.81 | 2.88 | 0 | 76.92 | 0 | -10 | 0 | 0.96 | 0 | 0
13:00 - 13:15 | -1.5 | 0 | -4.8 | -0.4 | 0 | -1171.88 | 0 | 0 | 0 | 0 | 0 | 0 | 4.42 | 0 | 15.38 | 4.81 | 2.88 | 0 | 76.92 | 0 | -10 | 0 | 0.96 | 0 | 0
13:15 - 13:30 | -1.5 | 0 | -4.8 | -0.4 | 0 | -1027.06 | 0 | 0 | 0 | 0 | 0 | 0 | 4.52 | 0 | 15.38 | 4.81 | 2.88 | 0 | 76.92 | 0 | -10 | 0 | 0.96 | 0 | 0
13:30 - 13:45 | -1.5 | 0 | -4.9 | -0.4 | 0 | -892.77 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 15.38 | 4.81 | 2.88 | 0 | 76.92 | 0 | -5 | 0 | 0.96 | 0 | 0
13:45 - 14:00 | -1.5 | -11 | -4.8 | -0.4 | 0 | -455.05 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 15.38 | 4.81 | 2.88 | 0 | 67.3 | 0 | -5 | 0 | 0.96 | 0 | 0
14:00 - 14:15 | -1.4 | 0 | -4.6 | -0.4 | 0 | -111.3 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9 | 0 | 15.38 | 4.81 | 2.88 | 0 | 67.3 | 0 | 0 | 0 | 0.96 | 0 | 0
14:15 - 14:30 | -1.4 | 0 | -4.6 | -0.4 | 0 | -275.15 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8 | 0 | 15.38 | 4.81 | 2.88 | 0 | 67.3 | 0 | 0 | 0 | 0.96 | 0 | 0
14:30 - 14:45 | -1.4 | 0 | -4.6 | -0.4 | 0 | -625.53 | 0.96 | 0 | 0 | 0 | 0 | 0 | -2.7 | 0 | 15.39 | 4.81 | 2.88 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0
14:45 - 15:00 | -1.4 | 0 | -4.5 | -0.4 | 0 | -775.97 | 0.96 | 0 | 0 | 0 | 0 | 0 | -2.7 | 0 | 9.62 | 4.81 | 2.88 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0
15:00 - 15:15 | -1.4 | 0 | -4.5 | -0.4 | 0 | -755.2 | 0.96 | 0 | 0 | 0 | 0 | 0 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0
15:15 - 15:30 | -1.4 | -10 | -4.3 | -0.4 | 0 | -677.6 | 0.96 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0
15:30 - 15:45 | -1.4 | 0 | -4.3 | -0.4 | 0 | -753.57 | 0.6 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -1.4 | 0 | -4.2 | -0.4 | 0 | -553.84 | 0 | 0 | 0 | 0 | -15 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -1.4 | 0 | 0 | -0.4 | 0 | -556.05 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0
16:15 - 16:30 | -1.4 | 0 | 0 | -0.4 | 0 | -557.14 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0
16:30 - 16:45 | -1.4 | 0 | 0 | -0.4 | 0 | -357.15 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -1.4 | -9 | 0 | -0.4 | 0 | -360.29 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -1.4 | 0 | 0 | 0 | 0 | -360.62 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -1.4 | 0 | 0 | 0 | 0 | -361.77 | 0 | 0 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -1.4 | 0 | 0 | 0 | 0 | -665.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -1.4 | 0 | 0 | 0 | 0 | -571.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1.4 | 0 | 0 | 0 | -1 | -557.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -1.4 | 0 | 0 | 0 | -1 | -571.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0
18:30 - 18:45 | -1.4 | 0 | 0 | 0 | -1 | -600 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1.4 | 0 | 0 | 0 | -1 | -400 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.4 | 0 | 0 | 0 | -1 | -200 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.4 | 0 | 0 | 0 | -1 | -200 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.4 | 0 | 0 | 0 | -1 | -200 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.4 | 0 | 0 | 0 | -1 | -200 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.4 | 0 | 0 | 0 | -0.8 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1.4 | 0 | 0 | 0 | -0.8 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1.4 | 0 | 0 | 0 | -0.8 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.96 | 0
20:45 - 21:00 | -1.4 | 0 | 0 | 0 | -0.8 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.46 | 0
21:00 - 21:15 | -1.4 | 0 | 0 | 0 | -0.5 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.31 | 0
21:15 - 21:30 | -1.4 | 0 | 0 | 0 | -0.5 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.34 | 0
21:30 - 21:45 | -1.4 | 0 | 0 | -0.4 | -0.5 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.53 | 0
21:45 - 22:00 | -1.4 | 0 | 0 | -0.4 | -0.5 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.88 | 0
22:00 - 22:15 | -1.4 | 0 | 0 | -0.4 | -0.2 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 11.56 | 0
22:15 - 22:30 | -1.4 | 0 | 0 | -0.4 | -0.2 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -19.99 | 0 | 0 | 11.22 | 0
22:30 - 22:45 | -1.4 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 13.04 | 0
22:45 - 23:00 | -1.4 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 13.61 | 0
23:00 - 23:15 | -1.4 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 14.86 | 0
23:15 - 23:30 | -1.4 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 14.97 | 0
23:30 - 23:45 | -1.4 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 17.81 | 0
23:45 - 24:00 | -1.4 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 19.55 | 0
Average | -1.4583 | -1.6092 | -0.72604 | -0.10833 | -0.54792 | -301.6522 | 0.10625 | -5.1042 | 0.1001 | -0.15625 | -0.3125 | 0.40063 | 0.1926 | 0.16 | 4.9268 | 0.90188 | 0.83854 | -0.64583 | 6.9105 | -0.4 | -11.7082 | 10.8159 | 0.81646 | 78.1232 | -1.6667 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!