## POWER STATUS
POWER STATUS ON DT 16.07.2026
[9 empty] | 2026-07-16 | 2026-07-15
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 574:00
Demand -> | [8 empty] | 5797 | 5867
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 165.58 | 3.9739 | 630/590 ft | 608.17 | 609.95 | 609.69 | 154 | 187
| Chiplima | 72(3x24) | 41.58 | 0.99792 | - |  |  |  | 44 | 44
| Balimela | 510(6x60+2x75) | 201.79 | 4.843 | 1516/1440 ft | 1463.4 | 1456.8 | 1456.4 | 178 | 366
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 121.41 | 112.9 | 113.1 | 0 | 0
| Upper Kolab | 320(4x80) | 26.71 | 0.64104 | 858/844 mt | 851.14 | 848.48 | 848.48 | 0 | 154
| Upper Indravati | 600(4x150) | 231.95 | 5.5668 | 642/625 mt | 633.62 | 629.59 | 629.51 | 1 | 581
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2735.8 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 667.61 | 16.0226 |  |  |  |  | 377 | 1332
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1033.86 | 24.8126 | RENEWABLE ENERGY (RE) |  |  |  | 1023 | 1046
[5 empty] | M.Hydl | 49.04
| Total Thermal | 2200 | 1033.86 | 24.8126 | Solar | 73.39 |  |  | 1023 | 1046
IPP | VEDANTA #2 | 600 (1x600) | 429 | 10.296 | Total IPPs | Yesterday's Demand Profile |  |  | 388.6328 | 533.6523
| GMR #3 | 350 (1x350) | 322.69 | 7.7446 | 852.04 |  | MW | HRS | 324.2058 | 318.5909
| NBVL(IPP) | 60(1x60) | 51.18 | 1.2283 |  |  |  |  | 52.3118 | 54.3906
| MDTPC |  | 49.17 | 1.1801 |  |  |  |  | 35.1985 | 55.6411
| CGPs |  | 879.69 | 21.1126 | IPPs, CGPs & RE | Maximum | 5867.2 | 22:00 | 1359 | 1968
| Central Sector(Drawl) |  | 1958.45 | 47.0028 | 1854.16 | Minimum | 5141.42 | 07:00 | 3038 | 1521
| Central Sector(Sch) |  | 2090.48 | 50.1715 |  | Average | 5514.08 |  | 2895 | 1625
| Grand Total |  | 5514.08 | 132.3379 | Instantaneous Peak demand |  | 5968.44 | 0:39 | 5797 | 5867
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 5,7 | IbTPS / OPGC | 3 |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1600.011 | 38.4003 | 1506.63 | 36.1591 | 1508.06 | 36.1934
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2233.564 | 53.6055 | 1984.58 | 47.6299 | 1834.95 | 44.0388
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1212.998 | 29.112 | 1191.2 | 28.5888 | 1269.86 | 30.4766
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 639.345 | 15.3443 | 612.19 | 14.6926 | 581.05 | 13.9452
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5685.918 | 136.462 | 5294.6 | 127.0704 | 5193.92 | 124.6541
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 389 | GMR |  |  |  | 324
| NBVL #3 | 52 | MDTPC |  |  |  | 35
Mini Hydel: | MEENAKSHI | 8 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 55
Solar: |  | 66 | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | -149.0334 | JSL(Duburi) |  |  |  | -52
| ICCL | 48.8238 | visa |  |  |  | 19.6616
| NALCO | -155.7315 | VAL (CGP) |  |  |  | 83.552
| RSP | -184.2614 | BSL(MMDL) |  |  |  | -25.1354
| INDAL | 4.3362 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -30.236 | VAL CPP 400 kV |  |  |  | -904.2939
| NBVL | 51.1726 | Arati |  |  |  | 16.7047
| BPSL(JSG) | -115.5689 | BPPL |  |  |  | 122.9278
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-08 | 2026-07-09 | 2026-07-10 | 2026-07-11 | 2026-07-12 | 2026-07-13 | 2026-07-14 | 2026-07-15
529.1258 | 439.8 | 375.1042 | 524.875 | 504.292 | 559.008 | 512.0802 | 667.61
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.15.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 126.75
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 57.66
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 91.16
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.59 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 4.1
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 12.16
JSPLANGUL | GEB_Beneficiary | -70 | ARYAN_ISPAT | WBSEDCL | -5 | AWEK1L | ODISHA | 18.24
MAADURGA_THERMAL | NPCL_UP | -17.82 | BPPL | CSEB_Beneficiary | -17.5 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.58
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 32.31
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.31
OCL_IRON_STEEL | NPCL_UP | -33 | FACORPOWER | TPL_DIS_AHM | -25 | DADRI_SOLAR | ODISHA | 0.73
ODISHA | AMNSIL | -45.83 | JSPLANGUL | CSEB_Beneficiary | -150 | ENERSON_SOLAR_10MW | ODISHA | 1.24
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | KCMW_od | SFLPondyHEX288 | -0.41 | GADAG_GreenInfra_W | ODISHA | 0
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0.55
VSL | CR_IR_MS | -2.92 | OCL_IRON_STEEL | BRPL | -7.29 | GADAG_Serentica3_S | VLSEZ | 34.59
FARIDABAD_SOLAR | ODISHA | 0.86 | OCL_IRON_STEEL | BRPL | -17.71 | GADAG_Serentica3_W | VLSEZ | 110.1
JSWEL_UTKAL | ODISHA | 75.57 | ODISHA | CSEB_Beneficiary | -29.17 | GIWEL_SECI_II_RE | ODISHA | 25.33
MPPMCL | ODISHA | 0 | ODISHA | TANGEDCO | -16.67 | GPCL_SOLAR_10 | ODISHA | 1.26
RAJ_SOLAR | ODISHA | 2.53 | ODISHA | TANGEDCO | -16.67 | GSECL_SOLAR | ODISHA | 0.9
RAJ_SOLAR | ODISHA | 2.4 | ORSISL | WBSEDCL | -5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.49
|  |  | RML_Dhenkanal | TANGEDCO | -3.33 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 4.54
|  |  | RSPL_JHARSUGUDA | TANGEDCO | -16.67 | KARUR_TPVARDHAMAN_W | TSKPO | 73.59
|  |  | RSPL_JHARSUGUDA | WBSEDCL | -10 | KARUR_TPVARDHAMAN_W | TSLFAPG | 7.41
|  |  | Shri_JSPL | TANGEDCO | -3.33 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.06
|  |  | TSBSLA | TANGEDCO | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.34
|  |  | VSL | WBSEDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.13
|  |  | ACBIL | VLSEZ | 5.79 | NTPCRE1_SMND_BHJ2_W | ODISHA | 8.77
|  |  | BALCO | VLSEZ | 5.07 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 7.34
|  |  | BYPL | VLSEZ | 36.05 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 5.35
|  |  | HP | VLSEZ | 18.03 | OKWPL_RE | ODISHA | 24.46
|  |  | JBVNL | VLSEZ | 48.07 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 8.28
|  |  | JIPL | ODISHA | 115.37 | RWE_AP2_SECI_III | ODISHA | 22.39
|  |  | MYTRAHVAYU | VLSEZ | 11.97 | RenewGreen_SLPR_HS | JSL_DUBURI | 2.15
|  |  | NALCOAP | NACL_Odisha | 22.18 | SAUPL_HJRTPR_RJGR_W | VLSEZ | 6.41
|  |  | TSTPP_I | ODISHA | 8.73 | SRI9PL_FTG3 | VLSEZ | 72.83
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 39.85
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 3.85
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.62
[6 empty] | XXPPL_FTG3 | ODISHA | 60.39

## DAM
DAM TRADING DETAILS FOR DT :15.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela
00:00 - 00:15 | -3.3 | 0 | 0.47 | 0 | 0 | -173 | -8 | 0 | 0 | 0
00:15 - 00:30 | -3.3 | 0 | 6.42 | 0 | 0 | -173 | -8 | 0 | 0 | 0
00:30 - 00:45 | -3.3 | 0 | 17.81 | 0 | 0 | -173 | -8 | 0 | 0 | 0
00:45 - 01:00 | -3.3 | 0 | 22.49 | 0 | 0 | -173 | -8 | 0 | 0 | 0
01:00 - 01:15 | -3.3 | 0 | 36.9 | 0 | 0 | -173 | -8 | 0 | 0 | 0
01:15 - 01:30 | -3.3 | 0 | 45.1 | 0 | 0 | -173 | -8 | 0 | 0 | 0
01:30 - 01:45 | -3.3 | 0 | 56.29 | 0 | 0 | -173 | -8 | 0 | 0 | 0
01:45 - 02:00 | -3.3 | 0 | 58.72 | 0 | 0 | -173 | -8 | 0 | 0 | 0
02:00 - 02:15 | -3.3 | 0 | 0 | 0 | 0 | -173 | -8 | 0 | 0 | 0
02:15 - 02:30 | -3.3 | 0 | 0 | 0 | 0 | -173 | -8 | 0 | 0 | 0
02:30 - 02:45 | -3.3 | 0 | 0 | 0 | 0 | -173 | -8 | 0 | 0 | 0
02:45 - 03:00 | -3.3 | 0 | 0 | 0 | 0 | -173 | -8 | 0 | 0 | 0
03:00 - 03:15 | -3.3 | 0 | 0 | 0 | 0 | -115 | -8 | 0 | 0 | 0
03:15 - 03:30 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | 0 | 0 | 0
03:30 - 03:45 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | 0 | 0 | 0
03:45 - 04:00 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | 0 | 0 | 0
04:00 - 04:15 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | 0 | 0 | 0
04:15 - 04:30 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | 0 | 0 | 0
04:30 - 04:45 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | 0 | 0 | 0
04:45 - 05:00 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | 0 | 0 | 0
05:00 - 05:15 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | -43 | 0 | 0
05:15 - 05:30 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | -43 | 0 | 0
05:30 - 05:45 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | -43 | 0 | 0
05:45 - 06:00 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | -43 | 0 | 0
06:00 - 06:15 | -3.3 | 0 | -325 | 0 | 0 | -37 | -8 | -43 | 0 | 0
06:15 - 06:30 | -3.3 | 0 | -325 | 0 | 0 | -37 | -8 | -43 | 0 | 0
06:30 - 06:45 | -3.3 | 0 | -325 | 0 | 0 | -37 | -8 | -43 | 0 | 0
06:45 - 07:00 | -3.3 | 0 | -325 | 0 | 0 | -37 | -8 | -43 | 0 | 0
07:00 - 07:15 | -3.3 | 20.19 | -800 | 0 | 0 | -37 | -8 | -43 | 0 | 0
07:15 - 07:30 | -3.3 | 20.19 | -800 | 0 | 0 | -37 | -8 | -43 | 0 | 0
07:30 - 07:45 | -3.3 | 20.19 | -800 | 0 | 0 | -37 | -8 | -43 | 0 | 0
07:45 - 08:00 | -3.3 | 20.19 | -800 | 0 | 0 | -37 | -8 | -43 | 0 | 0
08:00 - 08:15 | -3.3 | 20.19 | -825 | 0 | 3.08 | -37 | 0 | -43 | 0 | 86.52
08:15 - 08:30 | -3.3 | 20.18 | -825 | 0 | 3.08 | 0 | 0 | -43 | 9.52 | 0
08:30 - 08:45 | -3.3 | 20.19 | -787.77 | 0 | 3.08 | 0 | 0 | -43 | 0 | 0
08:45 - 09:00 | -3.3 | 20.19 | -700 | 0 | 3.08 | 0 | 0 | -43 | 0 | 0
09:00 - 09:15 | -3.3 | 20.19 | -850 | 0 | 3.08 | 0 | 0 | -18 | 0 | 0
09:15 - 09:30 | -3.3 | 20.19 | -850 | 0 | 3.08 | 0 | 0 | -18 | 0 | 0
09:30 - 09:45 | -3.3 | 20.19 | -850 | 0 | 3.08 | 0 | 0 | -18 | 0 | 0
09:45 - 10:00 | -3.3 | 20.19 | -738.26 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
10:00 - 10:15 | -3.3 | 20.19 | -366.6 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
10:15 - 10:30 | -3.3 | 20.19 | -95.7 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
10:30 - 10:45 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
10:45 - 11:00 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
11:00 - 11:15 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
11:15 - 11:30 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
11:30 - 11:45 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
11:45 - 12:00 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
12:00 - 12:15 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
12:15 - 12:30 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
12:30 - 12:45 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
12:45 - 13:00 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
13:00 - 13:15 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
13:15 - 13:30 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
13:30 - 13:45 | -3.3 | 20.19 | 0 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
13:45 - 14:00 | -3.3 | 20.19 | -283.3 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
14:00 - 14:15 | -3.3 | 20.19 | -520.78 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
14:15 - 14:30 | -3.3 | 20.19 | -599.94 | 28.84 | 3.08 | 0 | 0 | -18 | 0 | 0
14:30 - 14:45 | -3.3 | 20.19 | -600 | 0 | 3.08 | 0 | 0 | -18 | 0 | 0
14:45 - 15:00 | -3.3 | 20.19 | -600 | 0 | 3.08 | 0 | 0 | -18 | 0 | 0
15:00 - 15:15 | -3.3 | 20.19 | -497.99 | 0 | 3.08 | 0 | 0 | -43 | 0 | 0
15:15 - 15:30 | -3.3 | 20.19 | -525.69 | 0 | 3.08 | 0 | 0 | -43 | 0 | 0
15:30 - 15:45 | -3.3 | 20.19 | -534.52 | 0 | 3.08 | 0 | 0 | -43 | 0 | 0
15:45 - 16:00 | -3.3 | 20.19 | -553.53 | 0 | 3.08 | 0 | 0 | -43 | 0 | 0
16:00 - 16:15 | -3.3 | 20.19 | -550 | 0 | 0 | 0 | 0 | -43 | 0 | 0
16:15 - 16:30 | -3.3 | 20.19 | -550 | 0 | 0 | 0 | 0 | -43 | 0 | 0
16:30 - 16:45 | -3.3 | 20.19 | -550 | 0 | 0 | -37 | 0 | -43 | 0 | 0
16:45 - 17:00 | -3.3 | 20.19 | -550 | 0 | 0 | -37 | 0 | -43 | 0 | 0
17:00 - 17:15 | -3.3 | 0 | -200 | 0 | 0 | -37 | 0 | -43 | 0 | 0
17:15 - 17:30 | -3.3 | 0 | -200 | 0 | 0 | -37 | 0 | -43 | 0 | 0
17:30 - 17:45 | -3.3 | 0 | -200 | 0 | 0 | -37 | -4 | -43 | 0 | 0
17:45 - 18:00 | -3.3 | 0 | -200 | 0 | 0 | -37 | -4 | -43 | 0 | 0
18:00 - 18:15 | -3.3 | 0 | 0 | 0 | 0 | -37 | -4 | -43 | 0 | 0
18:15 - 18:30 | -3.3 | 0 | 0 | 0 | 0 | -37 | -4 | -43 | 0 | 0
18:30 - 18:45 | -3.3 | 0 | 0 | 0 | 0 | -37 | -8 | -43 | 0 | 0
18:45 - 19:00 | -3.3 | 0 | 0 | 0 | 0 | -115 | -8 | -43 | 0 | 0
19:00 - 19:15 | -3.3 | 0 | 0 | 0 | 0 | -173 | -8 | 0 | 0 | 0
19:15 - 19:30 | -3.3 | 0 | 0 | 0 | 0 | -173 | -8 | 0 | 0 | 0
19:30 - 19:45 | -3.3 | 0 | 0 | 0 | 0 | -173 | -8 | 0 | 0 | 0
19:45 - 20:00 | -3.3 | 0 | 0 | 0 | 0 | -173 | -8 | 0 | 0 | 0
20:00 - 20:15 | -3.3 | 0 | 8.45 | 0 | 0 | -173 | -8 | 0 | 0 | 0
20:15 - 20:30 | -3.3 | 0 | 8.63 | 0 | 0 | -173 | -8 | 0 | 0 | 0
20:30 - 20:45 | -3.3 | 0 | 6.83 | 0 | 0 | -173 | -8 | 0 | 0 | 0
20:45 - 21:00 | -3.3 | 0 | 6.22 | 0 | 0 | -173 | -8 | 0 | 0 | 0
21:00 - 21:15 | -3.3 | 0 | 4.83 | 0 | 0 | -173 | -8 | 0 | 0 | 0
21:15 - 21:30 | -3.3 | 0 | 4.89 | 0 | 0 | -173 | -8 | 0 | 0 | 0
21:30 - 21:45 | -3.3 | 0 | 1.48 | 0 | 0 | -173 | -8 | 0 | 0 | 0
21:45 - 22:00 | -3.3 | 0 | 0.96 | 0 | 0 | -172.99 | -8 | 0 | 0 | 0
22:00 - 22:15 | -3.3 | 0 | 2.51 | 0 | 0 | -173 | -8 | 0 | 0 | 0
22:15 - 22:30 | -3.3 | 0 | 1.53 | 0 | 0 | -173 | -8 | 0 | 0 | 0
22:30 - 22:45 | -3.3 | 0 | 1.03 | 0 | 0 | -173 | -8 | 0 | 0 | 0
22:45 - 23:00 | -3.3 | 0 | 0.37 | 0 | 0 | -172.99 | -8 | 0 | 0 | 0
23:00 - 23:15 | -3.3 | 0 | 0 | 0 | 0 | -173 | -8 | 0 | 0 | 0
23:15 - 23:30 | -3.3 | 0 | 0.15 | 0 | 0 | -173 | -8 | 0 | 0 | 0
23:30 - 23:45 | -3.3 | 0 | 1.56 | 0 | 0 | -173 | -8 | 0 | 0 | 0
23:45 - 24:00 | -3.3 | 0 | 1.49 | 0 | 0 | -172.99 | -8 | 0 | 0 | 0
Average | -3.3 | 8.4124 | -195.9266 | 5.7079 | 1.0267 | -71.2393 | -4.6667 | -18.8333 | 0.099167 | 0.90125

## GDAM
GDAM TRADING DETAILS FOR DT:15.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 56.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 56.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 57.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 68.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 91.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 93.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 92.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 105.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -0.4 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | -0.2 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 24.04 | 0 | 5.23 | 0 | 0 | 0 | 9.61
08:15 - 08:30 | 0 | 0 | 0 | 24.04 | 0 | 5.77 | 0.1 | 86.52 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 24.04 | 0 | 5.77 | 9.61 | 86.52 | 0 | 0
08:45 - 09:00 | 0 | -2.6 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 86.52 | 3.85 | 0
09:00 - 09:15 | 0 | -4.1 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 86.52 | 3.85 | 0
09:15 - 09:30 | 0 | -5.3 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 86.52 | 3.85 | 0
09:30 - 09:45 | -0.9 | -6.2 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 86.52 | 3.85 | 0
09:45 - 10:00 | -1.3 | -7.1 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 86.52 | 3.85 | 0
10:00 - 10:15 | -2.3 | -7 | 240.34 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 0
10:15 - 10:30 | -3.2 | -6.5 | 240.34 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 0
10:30 - 10:45 | -5.2 | -6.3 | 240.34 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 0
10:45 - 11:00 | -6.2 | -7.6 | 237.31 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 0
11:00 - 11:15 | -8.7 | -8.4 | 156.1 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
11:15 - 11:30 | -9.6 | -10.3 | 134.69 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
11:30 - 11:45 | -9.4 | -10.8 | 96.3 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
11:45 - 12:00 | -7.9 | -9.2 | 165.61 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
12:00 - 12:15 | -7.5 | -10.4 | 240.34 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
12:15 - 12:30 | -6.3 | -8.3 | 240.34 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
12:30 - 12:45 | -5.9 | -9.7 | 240.34 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
12:45 - 13:00 | -5.1 | -10.7 | 240.34 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
13:00 - 13:15 | -5.9 | -7.4 | 243.76 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
13:15 - 13:30 | -3.8 | -8.6 | 243.76 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
13:30 - 13:45 | -3.2 | -9.7 | 240.34 | 24.04 | 9.61 | 5.77 | 9.61 | 86.53 | 3.85 | 4.81
13:45 - 14:00 | -4.6 | -7.4 | 240.35 | 24.04 | 9.61 | 5.77 | 9.61 | 76.91 | 3.85 | 4.81
14:00 - 14:15 | -3.6 | -5.7 | 240.35 | 24.04 | 9.61 | 5.77 | 9.61 | 76.91 | 3.85 | 0
14:15 - 14:30 | 0 | -5.1 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 76.91 | 3.85 | 0
14:30 - 14:45 | -1.8 | -5.8 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 76.91 | 3.85 | 0
14:45 - 15:00 | 0 | -3.3 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 76.91 | 3.85 | 0
15:00 - 15:15 | 0 | -3.2 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 76.92 | 1.93 | 0
15:15 - 15:30 | 0 | -0.6 | 0 | 24.04 | 9.61 | 5.77 | 9.61 | 76.91 | 0 | 0
15:30 - 15:45 | -2.7 | 0 | 0 | 24.04 | 0 | 5.77 | 9.61 | 76.91 | 0 | 0
15:45 - 16:00 | -2 | 0 | 0 | 24.04 | 0 | 5.77 | 9.61 | 76.91 | 0 | 0
16:00 - 16:15 | -0.9 | 0 | 0 | 19.23 | 9.61 | 5.77 | 9.61 | 76.92 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 19.23 | 9.61 | 5.77 | 9.61 | 76.92 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 9.61 | 76.91 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 9.61 | 76.91 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 19.23 | 0 | 5.77 | 9.61 | 76.91 | 0 | 0
17:15 - 17:30 | 0 | -0.1 | 0 | 19.23 | 0 | 5.77 | 0 | 86.52 | 0 | 0
17:30 - 17:45 | 0 | -1.5 | 0 | 19.23 | 0 | 4.47 | 0 | 0 | 0 | 27.88
17:45 - 18:00 | 0 | -1 | 0 | 19.23 | 0 | 0 | 0 | 0 | 0 | 50.95
18:00 - 18:15 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 2.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 4.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 3.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 3.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 4.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 4.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 4.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 3.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 1.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 4.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 4.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 4.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 4.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.125 | -2.0562 | 45.4181 | 10.0165 | 2.903 | 2.3249 | 3.5047 | 31.9467 | 1.0227 | 1.5225

## RTM
RTM TRADING DETAILS FOR DT: 15.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -8
00:15 - 00:30 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -8
00:30 - 00:45 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -8
00:45 - 01:00 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -8
01:00 - 01:15 | -1.5 | 0 | 0 | -150 | 0 | 0 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -8
01:15 - 01:30 | -1.5 | 0 | 0 | -150 | 0 | 0 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
01:30 - 01:45 | -1.5 | 0 | 0 | -100 | 0 | 0 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -8
01:45 - 02:00 | -1.5 | 0 | 0 | -100 | 0 | 0 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
02:00 - 02:15 | -1.5 | 0 | 0 | 0 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
02:15 - 02:30 | -1.5 | 0 | 0 | 0 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -8
02:30 - 02:45 | -1.5 | 0 | 0 | -100 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -8
02:45 - 03:00 | -1.5 | 0 | 0 | -100 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
03:00 - 03:15 | -1.5 | 0 | 0 | -150 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -8
03:15 - 03:30 | -1.5 | 0 | 0 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -8
03:30 - 03:45 | -1.5 | 0 | 0 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -8
03:45 - 04:00 | -1.5 | 0 | 0 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
04:00 - 04:15 | -1.5 | 0 | 0 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -8
04:15 - 04:30 | -1.5 | 0 | 0 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -8
04:30 - 04:45 | -1.5 | 0 | 0 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -8
04:45 - 05:00 | -1.5 | 0 | 0 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -8
05:00 - 05:15 | -1.5 | 0 | 0 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -55 | 0 | 0 | 0 | 0 | -8
05:15 - 05:30 | -1.5 | 0 | 0 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -8
05:30 - 05:45 | -1.5 | 0 | -0.4 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
05:45 - 06:00 | -1.5 | 0 | -0.4 | -200 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -8
06:00 - 06:15 | -1.5 | 0 | -0.4 | 0 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
06:15 - 06:30 | -1.5 | 0 | -0.4 | 0 | 0 | -20 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
06:30 - 06:45 | -1.5 | 0 | -0.4 | 0 | 0 | -20 | -1 | -0.5 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | -8
06:45 - 07:00 | -1.5 | 0 | -0.4 | 0 | 0 | -20 | -1 | -0.5 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | -8
07:00 - 07:15 | -1.5 | 0 | 0 | 0 | 0 | -50 | -1 | -0.5 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -1.5 | -12 | 0 | 0 | 0 | -50 | -1 | -0.5 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -1.5 | 0 | 0 | 0 | 0 | -50 | -1 | -0.5 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | -1.5 | 0 | 0 | 336.31 | 0 | 0 | -1 | -0.5 | 0 | 19.23 | -0.7 | 19.23 | 0 | 4.77 | 1.79 | 0 | 86.53 | 0 | 0 | 0 | -20 | 38.46 | 0 | 3.46 | 0 | 0
08:00 - 08:15 | -1.5 | 0 | 0 | 26.23 | 0 | 0 | 0 | -0.5 | 0 | 0 | -0.8 | 19.23 | 0 | 0 | 2.88 | 0 | 0 | 0 | 0 | -3.5 | -40 | 0 | 0 | 5.58 | 0 | 0
08:15 - 08:30 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | -40 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -1.5 | 0 | 0 | 157.51 | 0 | 0 | 0 | -0.5 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -1.5 | -6 | 0 | 184.94 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -1.5 | -6 | 0 | 369.98 | 0 | 0 | 0 | -0.5 | -15 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -1.5 | -1 | 0 | -191.75 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | -1.5 | -2 | 0 | -375.44 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 0 | 13.46 | 0 | 0 | 2.88 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 5.58 | 0 | 0
10:00 - 10:15 | -1.5 | 0 | 0 | -756.97 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 6.54 | 13.46 | -10 | 0 | 2.88 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 5.58 | 33.65 | 0
10:15 - 10:30 | -1.5 | 0 | 0 | -654.95 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 6.44 | 13.46 | -10 | 0 | 2.88 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 5.58 | 71.15 | 0
10:30 - 10:45 | -1.5 | -9 | 0 | -677.74 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 6.44 | 13.46 | -10 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.5 | -40 | 0 | 0 | 11.54 | 110.56 | 0
10:45 - 11:00 | -1.5 | 0 | 0 | -681.51 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 6.44 | 13.46 | -10 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 11.54 | 131.72 | 0
11:00 - 11:15 | -1.5 | 0 | 0 | -671.21 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 0 | 13.46 | -5 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.5 | -20 | 0 | 0 | 11.54 | 132.68 | 0
11:15 - 11:30 | -1.5 | 0 | 0 | -671.06 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 0 | 13.46 | -5 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.5 | -50 | 0 | 0 | 11.54 | 132.68 | 0
11:30 - 11:45 | -1.5 | 0 | -0.4 | -697.77 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 0 | 13.46 | -5 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.5 | -60 | 0 | 0 | 11.54 | 132.68 | 0
11:45 - 12:00 | -1.5 | 0 | -0.4 | -700.01 | 0.96 | 0 | 0 | -0.5 | 0 | 0 | 0 | 13.46 | -5 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.5 | -20 | 0 | 0 | 11.54 | 84.56 | 0
12:00 - 12:15 | -1.5 | -9 | -0.4 | -846.22 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | 0 | 13.46 | 0 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 11.54 | 133.64 | 0
12:15 - 12:30 | -1.5 | -1 | -0.4 | -834.9 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | 5.86 | 13.46 | 0 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.5 | -20 | 0 | 0 | 11.54 | 133.64 | 0
12:30 - 12:45 | -1.5 | -1 | -0.4 | -778.46 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | 5.77 | 13.46 | 0 | 0 | 2.88 | -2 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 11.54 | 134.6 | 0
12:45 - 13:00 | -1.5 | 0 | -0.4 | -777.47 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | 6.06 | 13.46 | 0 | 0 | 2.88 | -2 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 11.54 | 134.59 | 0
13:00 - 13:15 | -1.5 | 0 | -0.4 | -724.83 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | 6.15 | 13.46 | 0 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.8 | -50 | 0 | 0 | 11.54 | 134.6 | 0
13:15 - 13:30 | -1.5 | 0 | -0.4 | -724.83 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | 6.15 | 13.46 | 0 | 0 | 2.88 | -2 | 0 | 0 | 0 | -3.8 | -50 | 0 | 0 | 11.54 | 134.6 | 0
13:30 - 13:45 | -1.5 | -5 | -0.4 | -803.48 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | 0 | 13.46 | 0 | 5.77 | 2.88 | -2 | 0 | 0 | 0 | -3.8 | 0 | 0 | 0 | 11.54 | 135.56 | 0
13:45 - 14:00 | -1.5 | -5 | -0.4 | -425.43 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | -2 | 13.46 | 0 | 5.77 | 2.88 | -2 | 0 | 0 | 0 | -3.8 | 0 | 0 | 0 | 11.54 | 0 | 0
14:00 - 14:15 | -1.5 | 0 | -0.4 | -301.45 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | -1.8 | 13.46 | 0 | 5.77 | 2.88 | 0 | 0 | 0 | 0 | -3.5 | -60 | 0 | 0 | 11.54 | 0 | 0
14:15 - 14:30 | -1.5 | 0 | -0.4 | -209.06 | 0.96 | 0 | -3 | -0.5 | 0 | 0 | -1.7 | 9.61 | 0 | 5.77 | 2.88 | 0 | 0 | 0 | 0 | -3.5 | -20 | 0 | 0 | 11.54 | 0 | 0
14:30 - 14:45 | -1.5 | 0 | -0.4 | -310.85 | 0.96 | 0 | -3 | -0.9 | 0 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.5 | 0 | -0.4 | -320.36 | 0.96 | 0 | -3 | -0.9 | -15 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.5 | -6 | -0.7 | -750.3 | 0 | 0 | -3 | -0.9 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -1.5 | -6 | -0.7 | -700.08 | 0 | 0 | -3 | -0.9 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -40 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -1.5 | 0 | -0.7 | -750.01 | 0.07 | 0 | -3 | -0.9 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -62 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -1.5 | 0 | -0.7 | -701.09 | 0 | 0 | -3 | -0.9 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -40 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -1.5 | 0 | -0.7 | -650.01 | 0 | 0 | -3 | -0.9 | 0 | 19.24 | -0.5 | 9.61 | -7 | 5.42 | 2.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | -1.5 | 0 | -0.7 | -671.72 | 0 | 0 | -3 | -0.9 | 0 | 19.23 | -0.4 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -1.5 | 0 | -0.7 | 0 | 0 | 0 | -3 | -0.9 | 0 | 0 | -0.3 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -1.5 | -9 | -0.7 | 0 | 0 | 0 | -3 | -0.9 | 0 | 0 | -0.2 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -1.5 | 0 | -0.3 | 80.76 | 0 | 0 | -3 | -0.9 | 0 | 19.23 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -1.5 | 0 | -0.3 | 248.03 | 0 | 0 | -3 | -0.9 | 0 | 19.23 | 0 | 19.23 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 23.07 | 0 | 0 | 0 | 0
17:30 - 17:45 | -1.5 | 0 | -0.3 | 0 | 0 | 0 | -3 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -1.5 | 0 | -0.3 | 0 | 0 | 0 | -3 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1.5 | 0 | -0.3 | 0 | 0 | 0 | -3 | -0.9 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -1.5 | 0 | -0.3 | 0 | 0 | 0 | -3 | -0.9 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -1.5 | 0 | -0.3 | 0 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | -7 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
18:45 - 19:00 | -1.5 | 0 | -0.3 | 0 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | -7 | 0 | -10 | 0 | -14.5 | 0 | 0 | 0
19:00 - 19:15 | -1.5 | 0 | -0.1 | 6.99 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | -7 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
19:15 - 19:30 | -1.5 | 0 | 0 | 4.39 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | -7 | 0 | -10 | 0 | -14.5 | 0 | 0 | 0
19:30 - 19:45 | -1.5 | 0 | 0 | 7.91 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | -7 | 0 | 0 | 0 | -14.5 | 0 | 2.63 | 0
19:45 - 20:00 | -1.5 | 0 | 0 | 7.45 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | -7 | 0 | 0 | 0 | -14.5 | 0 | 2.48 | 0
20:00 - 20:15 | -1.5 | 0 | 0 | 18.33 | 0 | -20 | -5 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | -1.5 | -7 | 0 | -25 | 0 | -14.5 | 0 | 3.06 | 0
20:15 - 20:30 | -1.5 | 0 | 0 | 17.1 | 0 | -20 | -5 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | -1.5 | -7 | 0 | 0 | 0 | -14.5 | 0 | 2.86 | 0
20:30 - 20:45 | -1.5 | 0 | 0 | 14.08 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | -0.5 | -7 | 0 | 0 | 0 | -14.5 | 0 | 2.35 | 0
20:45 - 21:00 | -1.5 | 0 | 0 | 13.76 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | -20 | 0 | -14.5 | 0 | 2.29 | 0
21:00 - 21:15 | -1.5 | 0 | 0 | -100 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -14.5 | 0 | 1.67 | -1
21:15 - 21:30 | -1.5 | 0 | 0 | -100 | 0 | 0 | -5 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | -10 | 0 | -14.5 | 0 | 1.61 | -1
21:30 - 21:45 | -1.5 | 0 | -0.4 | -100 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | -20 | 0 | -14.5 | 0 | 1.71 | -1
21:45 - 22:00 | -1.5 | 0 | -0.4 | -200 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -14.5 | 0 | 1.84 | -1
22:00 - 22:15 | -1.5 | 0 | -0.4 | -300 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -14.5 | 0 | 21.95 | -1
22:15 - 22:30 | -1.5 | 0 | -0.4 | -300 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -14.5 | 0 | 21.9 | -1
22:30 - 22:45 | -1.5 | 0 | 0 | -150 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -14.5 | 0 | 19.51 | -1
22:45 - 23:00 | -1.5 | 0 | 0 | -150 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -14.5 | 0 | 19.59 | -1
23:00 - 23:15 | -1.5 | 0 | 0 | -200 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -14.5 | 0 | 20.72 | -1
23:15 - 23:30 | -1.5 | 0 | 0 | -200 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | -10 | 0 | -14.5 | 0 | 23.1 | -1
23:30 - 23:45 | -1.5 | 0 | 0 | -250 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -14.5 | 0 | 21.83 | -1
23:45 - 24:00 | -1.5 | 0 | 0 | -250 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | -10 | 0 | -14.5 | 0 | 25.62 | -1
Average | -1.5 | -0.8125 | -0.18437 | -220.9916 | 0.22073 | -6.1458 | -1.7708 | -0.65833 | -0.3125 | 1.0017 | 0.35365 | 3.3249 | -2.6458 | 0.34656 | 0.64688 | -0.29167 | 0.90135 | -0.20312 | -1.75 | -1.2 | -17.7292 | 0.64094 | -3.3229 | 2.1919 | 20.4961 | -2.4583 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!