## POWER STATUS
POWER STATUS ON DT 17.07.2026
[9 empty] | 2026-07-17 | 2026-07-16
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5862.1778 | 6111.3284
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 171 | 4.104 | 630/590 ft | 609 | 609.69 | 609.75 | 187.3577 | 187.468
| Chiplima | 72(3x24) | 42.7 | 1.0248 | - |  |  |  | 43.561 | 44.555
| Balimela | 510(6x60+2x75) | 240.29 | 5.767 | 1516/1440 ft | 1463.4 | 1456.4 | 1456 | 249.6215 | 368.8574
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 121.64 | 113.1 | 113.32 | 0 | 0
| Upper Kolab | 320(4x80) | 17.04 | 0.40896 | 858/844 mt | 851.11 | 848.48 | 848.48 | 0 | 42.2948
| Upper Indravati | 600(4x150) | 178.06 | 4.2734 | 642/625 mt | 633.64 | 629.51 | 629.57 | 0.30978 | 47.0959
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | NA | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 649.09 | 15.5782 |  |  |  |  | 480.85 | 690.2711
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1236.37 | 29.6729 | RENEWABLE ENERGY (RE) |  |  |  | 1681 | 1671.92
[5 empty] | M.Hydl | 41.41
| Total Thermal | 2200 | 1236.37 | 29.6729 | Solar | 53.25 |  |  | 1681 | 1671.92
IPP | VEDANTA #2 | 600 (1x600) | 420.56 | 10.0934 | Total IPPs | Yesterday's Demand Profile |  |  | 384.6871 | 546.2303
| GMR #3 | 350 (1x350) | 299.05 | 7.1772 | 820.74 |  | MW | HRS | 322.6245 | 316.8754
| NBVL(IPP) | 60(1x60) | 51.2 | 1.2288 |  |  |  |  | 54.5468 | 54.219
| MDTPC |  | 49.93 | 1.1983 |  |  |  |  | 33.4212 | 56.2943
| CGPs |  | 565.02 | 13.5605 | IPPs, CGPs & RE | Maximum | 6111.34 | 23:00 | 1418 | 1584.0941
| Central Sector(Drawl) |  | 2221.7048 | 53.3209 | 1480.42 | Minimum | 4950.93 | 18:00 | 2282.3279 | 2165.0431
| Central Sector(Sch) |  | 2379.0734 | 57.0978 |  | Average | 5587.5848 |  | 2465.4399 | 2215.28
| Grand Total |  | 5587.5848 | 134.102 | Instantaneous Peak demand |  | 6364.06 | 21:21 | 5862.1778 | 6111.3284
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1506.28 | 36.1507 | 1351.99 | 32.4478 | 1585.62 | 38.0549
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2300.83 | 55.2199 | 2260.59 | 54.2542 | 2336.21 | 56.069
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1257.46 | 30.179 | 1213.58 | 29.1259 | 1241.41 | 29.7938
U.Kolab | 2,4 | KAHALGAON | NIL | TPSODL | 535.35 | 12.8484 | 532.14 | 12.7714 | 595.59 | 14.2942
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5599.92 | 134.3981 | 5358.3 | 128.5992 | 5758.83 | 138.2119
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 384.6871 | GMR |  |  |  | 322.6245
| NBVL #3 | 54.5468 | MDTPC |  |  |  | 33.4212
Mini Hydel: | MEENAKSHI | 18.4229 | OPCL |  |  |  | 0
| BTPL | 20.002 | SAPTADHARA |  |  |  | 5
Solar: |  |  | KAKATIYA |  |  |  | 2
CGPs : | JSPL (Angul) | -0.00030981 | JSL(Duburi) |  |  |  | -42.507
| ICCL | 46.5339 | visa |  |  |  | 16.0036
| NALCO | -136.5832 | VAL (CGP) |  |  |  | 73.363
| RSP | -129.8121 | BSL(MMDL) |  |  |  | 34.9932
| INDAL | 6.9795 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -31.8347 | VAL CPP 400 kV |  |  |  | -1105.9969
| NBVL | 54.1984 | Arati |  |  |  | 17.2852
| BPSL(JSG) | -122.9876 | BPPL |  |  |  | 124.0495
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-09 | 2026-07-10 | 2026-07-11 | 2026-07-12 | 2026-07-13 | 2026-07-14 | 2026-07-15 | 2026-07-16
439.8 | 375.1042 | 524.875 | 504.292 | 559.008 | 512.0802 | 667.61 | 649.09
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.16.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AEG03_S_FTG4 | VLSEZ | 1.2
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AEG10_S_FTG4 | VLSEZ | 14.91
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -13.75 | AEG10_W_FTG4 | VLSEZ | 9.78
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.67 | AGE26AL_PSS6_KPS1_S | ODISHA | 135.58
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AP41PL_BHDL | ODISHA | 59.75
JSPLANGUL | GEB_Beneficiary | -32.08 | ARYAN_ISPAT | WBSEDCL | -5 | AP43PL_BKN | ODISHA | 85.14
MAADURGA_THERMAL | NPCL_UP | -17.82 | BPPL | BRPL | -20 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.73
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 8.24
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 12.35
OCL_IRON_STEEL | NPCL_UP | -34.38 | FACORPOWER | TPL_DIS_AHM | -25 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.11
ODISHA | GEB_Beneficiary | -32.29 | JSPLANGUL | CSEB_Beneficiary | -68.75 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 24.29
ODISHA | KPTCL | -48.44 | KCMW_od | SFLPondyHEX288 | -0.41 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.17
RML_Dhenkanal | KPTCL | -5.62 | NBVLIPP | BSPHCL | -17.92 | CPTTNPL | VLSEZ | 1.06
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | OCL_IRON_STEEL | BRPL | -24 | DADRI_SOLAR | ODISHA | 0.76
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | ORSISL | WBSEDCL | -5 | ENERSON_SOLAR_10MW | ODISHA | 1.29
VSL | CR_IR_MS | -2.92 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0.55
FARIDABAD_SOLAR | ODISHA | 0.86 | VSL | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 58.66 | BALCO | VLSEZ | 3.2 | GADAG_Serentica3_S | VLSEZ | 38.07
MPPMCL | ODISHA | 0 | BALCO | VLSEZ | 4.01 | GADAG_Serentica3_W | VLSEZ | 66.98
RAJ_SOLAR | ODISHA | 2.53 | Darlipali_NTPC | ODISHA | 8.78 | GIWEL_SECI_II_RE | ODISHA | 35.19
RAJ_SOLAR | ODISHA | 2.47 | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | GPCL_SOLAR_10 | ODISHA | 1.34
|  |  | HP | VLSEZ | 216.32 | GSECL_SOLAR | ODISHA | 0.88
|  |  | JBVNL | VLSEZ | 36.05 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.7
|  |  | JIPL | ODISHA | 115.37 | JREPL_BKN2 | VLSEZ | 6.24
|  |  | MYTRAHVAYU | VLSEZ | 8.93 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 2.83
|  |  | NALCOAP | NACL_Odisha | 18.12 | KARUR_TPVARDHAMAN_W | TSKPO | 76.94
|  |  | TEAM_FERRO_ALLOY_MH | VLSEZ | 5.48 | KARUR_TPVARDHAMAN_W | TSLFAPG | 4.57
|  |  | TSTPP_I | ODISHA | 46.57 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.91
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.12
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.56
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 9.18
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 4.03
[6 empty] | OKWPL_RE | ODISHA | 17.91
[6 empty] | RGMHP1_Patoda_klm_W | VLSEZ | 34.34
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 9.53
[6 empty] | RWE_AP2_SECI_III | ODISHA | 16.07
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 12.46
[6 empty] | SRI9PL_FTG3 | VLSEZ | 72.13
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 44.98
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 4.12
[6 empty] | XXPPL_FTG3 | ODISHA | 62.02

## DAM
DAM TRADING DETAILS FOR DT :16.07.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0.22 | 0 | -236 | -8 | 0 | 0
00:15 - 00:30 | 0.03 | 0 | -236 | -8 | 0 | 0
00:30 - 00:45 | 0.94 | 0 | -235.99 | -8 | 0 | 0
00:45 - 01:00 | 3.56 | 0 | -236 | -8 | 0 | 0.65
01:00 - 01:15 | 4.46 | 0 | -236 | -8 | 0 | 1.74
01:15 - 01:30 | 6.19 | 0 | -236 | -8 | 0 | 2.54
01:30 - 01:45 | 7.91 | 0 | -236 | -8 | 0 | 3.44
01:45 - 02:00 | 9.89 | 0 | -236 | -8 | 0 | 4.27
02:00 - 02:15 | 0 | 0 | -236 | -8 | 0 | 0.85
02:15 - 02:30 | 0 | 0 | -236 | -8 | 0 | 1.79
02:30 - 02:45 | 0 | 0 | -236 | -8 | 0 | 3.12
02:45 - 03:00 | 0 | 0 | -236 | -8 | 0 | 3.87
03:00 - 03:15 | 0 | 0 | -119 | -8 | 0 | 2.25
03:15 - 03:30 | 0 | 0 | -119 | -8 | 0 | 2.18
03:30 - 03:45 | 0 | 0 | -119 | -8 | 0 | 2.74
03:45 - 04:00 | 0 | 0 | -119 | -8 | 0 | 3.17
04:00 - 04:15 | 0 | 0 | -119 | -8 | 0 | 0.22
04:15 - 04:30 | 0 | 0 | -119 | -8 | 0 | 0.15
04:30 - 04:45 | 0 | 0 | -119 | -8 | 0 | 0.85
04:45 - 05:00 | 0 | 0 | -119 | -8 | 0 | 0.55
05:00 - 05:15 | 0 | 0 | -119 | -8 | -25 | 1.16
05:15 - 05:30 | 0 | 0 | -119 | -8 | -25 | 0.08
05:30 - 05:45 | 0 | 0 | -119 | -8 | -25 | 0.28
05:45 - 06:00 | 0 | 0 | -119 | -8 | -25 | 0.3
06:00 - 06:15 | 0 | 0 | -119 | -8 | -25 | 2.62
06:15 - 06:30 | 0 | 0 | -119 | -8 | -25 | 1.37
06:30 - 06:45 | 0 | 0 | -119 | -8 | -25 | 0.89
06:45 - 07:00 | 0 | 0 | -119 | -8 | -25 | 0
07:00 - 07:15 | -300 | 0 | -119 | -8 | -25 | 0
07:15 - 07:30 | -300 | 0 | -119 | -8 | -25 | 0
07:30 - 07:45 | -300 | 0 | -119 | -8 | -25 | 0
07:45 - 08:00 | -300 | 0 | -119 | -8 | -25 | 0
08:00 - 08:15 | -225 | 0 | -119 | 0 | -25 | 0
08:15 - 08:30 | -225 | 0 | -119 | 0 | -25 | 0
08:30 - 08:45 | -225 | 0 | -119 | 0 | -25 | 0
08:45 - 09:00 | -225 | 0 | -119 | 0 | -25 | 0
09:00 - 09:15 | -100 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | -100 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -100 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | -100 | 0 | 0 | 0 | 0 | 0
10:00 - 10:15 | -250 | 0 | 0 | 0 | 0 | 0
10:15 - 10:30 | -250 | 0 | 0 | 0 | 0 | 0
10:30 - 10:45 | -250 | 0 | 0 | 0 | 0 | 0
10:45 - 11:00 | -250 | 0 | 0 | 0 | 0 | 0
11:00 - 11:15 | -225 | 0 | 0 | 0 | 0 | 0
11:15 - 11:30 | -225 | 0 | 0 | 0 | 0 | 0
11:30 - 11:45 | -225 | 0 | 0 | 0 | 0 | 0
11:45 - 12:00 | -225 | 0 | 0 | 0 | 0 | 0
12:00 - 12:15 | -225 | 0 | 0 | 0 | 0 | 0
12:15 - 12:30 | -225 | 0 | 0 | 0 | 0 | 0
12:30 - 12:45 | -225 | 0 | 0 | 0 | 0 | 0
12:45 - 13:00 | -225 | 0 | 0 | 0 | 0 | 0
13:00 - 13:15 | -216.24 | 28.84 | 0 | 0 | 0 | 0
13:15 - 13:30 | -225 | 28.84 | 0 | 0 | 0 | 0
13:30 - 13:45 | -225 | 0 | 0 | 0 | 0 | 0
13:45 - 14:00 | -225 | 0 | 0 | 0 | 0 | 0
14:00 - 14:15 | -300 | 0 | 0 | 0 | 0 | 0
14:15 - 14:30 | -300 | 0 | 0 | 0 | 0 | 0
14:30 - 14:45 | -300 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -300 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | -650 | 0 | 0 | 0 | -25 | 0
15:15 - 15:30 | -650 | 0 | 0 | 0 | -25 | 0
15:30 - 15:45 | -650 | 0 | -119 | 0 | -25 | 0
15:45 - 16:00 | -650 | 0 | -119 | 0 | -25 | 0
16:00 - 16:15 | -725 | 0 | -119 | 0 | -25 | 0
16:15 - 16:30 | -725 | 0 | -119 | 0 | -25 | 0
16:30 - 16:45 | -725 | 0 | -119 | 0 | -25 | 0
16:45 - 17:00 | -725 | 0 | -119 | 0 | -25 | 0
17:00 - 17:15 | -250 | 0 | -119 | 0 | -25 | 0
17:15 - 17:30 | -250 | 0 | -119 | 0 | -25 | 0
17:30 - 17:45 | -250 | 0 | -119 | -4 | -25 | 0
17:45 - 18:00 | -250 | 0 | -119 | -4 | -25 | 0
18:00 - 18:15 | 0 | 0 | -119 | -4 | -25 | 0
18:15 - 18:30 | 0 | 0 | -119 | -4 | -25 | 0
18:30 - 18:45 | 0 | 0 | -119 | -8 | -25 | 0
18:45 - 19:00 | 0 | 0 | -119 | -8 | -25 | 0
19:00 - 19:15 | 0 | 0 | -236 | -8 | 0 | 7.58
19:15 - 19:30 | 0 | 0 | -236 | -8 | 0 | 2.04
19:30 - 19:45 | 0 | 0 | -236 | -8 | 0 | 0.2
19:45 - 20:00 | 0 | 0 | -236 | -8 | 0 | 0.62
20:00 - 20:15 | 3.14 | 0 | -236 | -8 | 0 | 2.46
20:15 - 20:30 | 4.45 | 0 | -236 | -8 | 0 | 3.56
20:30 - 20:45 | 2.47 | 0 | -236 | -8 | 0 | 2
20:45 - 21:00 | 3.41 | 0 | -235.99 | -8 | 0 | 2.82
21:00 - 21:15 | 6.42 | 0 | -236 | -8 | 0 | 3.2
21:15 - 21:30 | 5.54 | 0 | -236 | -8 | 0 | 2.79
21:30 - 21:45 | 2.4 | 0 | -235.99 | -8 | 0 | 1.21
21:45 - 22:00 | 2.26 | 0 | -236 | -8 | 0 | 1.14
22:00 - 22:15 | 3.94 | 0 | -236 | -8 | 0 | 1.97
22:15 - 22:30 | 0.59 | 0 | -236 | -8 | 0 | 0.3
22:30 - 22:45 | 0 | 0 | -236 | -8 | 0 | 0
22:45 - 23:00 | 0.08 | 0 | -236 | -8 | 0 | 0.05
23:00 - 23:15 | 1 | 0 | -235.99 | -8 | 0 | 0.5
23:15 - 23:30 | 1.09 | 0 | -236 | -8 | 0 | 0.56
23:30 - 23:45 | 3.56 | 0 | -236 | -8 | 0 | 1.78
23:45 - 24:00 | 4.7 | 0 | -236 | -8 | 0 | 2.36
Average | -143.8853 | 0.60083 | -125.7704 | -4.6667 | -8.3333 | 0.81479

## GDAM
GDAM TRADING DETAILS FOR DT:16.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 13.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 12.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 12.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 11.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 11.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 10.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 9.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 8.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | -3.4 | 0 | 15.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | -3.3 | 0 | 35.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | -2.7 | 0 | 38.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | -4.4 | 0 | 38.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | -7.7 | 0 | 38.46 | 23.07 | 9.61 | 5.77 | 5.77 | 86.53 | 0 | 0
09:00 - 09:15 | 0 | -9.3 | 0 | 38.46 | 14.42 | 9.61 | 5.77 | 5.77 | 86.52 | 0 | 0
09:15 - 09:30 | -1.1 | -10.6 | 0 | 38.46 | 12.5 | 9.61 | 5.77 | 5.77 | 86.52 | 0 | 0
09:30 - 09:45 | -2.8 | -11.6 | 0 | 38.46 | 10.58 | 9.61 | 5.77 | 5.77 | 86.51 | 3.85 | 0
09:45 - 10:00 | -3.2 | -12.6 | 0 | 38.46 | 9.61 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
10:00 - 10:15 | -4.3 | -12.5 | 0 | 38.46 | 8.65 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
10:15 - 10:30 | -5.3 | -11.9 | 0 | 38.46 | 6.73 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
10:30 - 10:45 | -7.4 | -11.8 | 0 | 38.46 | 6.73 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
10:45 - 11:00 | -8.6 | -13.2 | 0 | 38.46 | 5.77 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
11:00 - 11:15 | -11.4 | -14 | 0 | 38.46 | 5.77 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
11:15 - 11:30 | -12.4 | -16.1 | 0 | 38.46 | 4.81 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
11:30 - 11:45 | -12.1 | -16.6 | 0 | 38.46 | 4.81 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
11:45 - 12:00 | -10.4 | -14.9 | 0 | 38.46 | 2.88 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
12:00 - 12:15 | -10.1 | -16.2 | 0 | 38.46 | 1.92 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
12:15 - 12:30 | -8.8 | -14 | 0 | 38.46 | 1.92 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
12:30 - 12:45 | -8.2 | -15.5 | 0 | 38.46 | 1.92 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
12:45 - 13:00 | -7.4 | -16.5 | 0 | 38.46 | 1.92 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
13:00 - 13:15 | -8.3 | -13 | 204.58 | 38.46 | 0.96 | 9.61 | 5.77 | 5.77 | 86.53 | 3.85 | 0
13:15 - 13:30 | -6 | -14.2 | 223.52 | 38.46 | 1.92 | 9.61 | 5.77 | 5.77 | 86.53 | 3.85 | 0
13:30 - 13:45 | -5.3 | -15.5 | 0 | 38.46 | 1.92 | 9.61 | 5.77 | 5.77 | 86.52 | 3.85 | 0
13:45 - 14:00 | -6.8 | -12.9 | 0 | 38.46 | 2.88 | 9.61 | 5.77 | 5.77 | 67.29 | 3.85 | 0
14:00 - 14:15 | -5.8 | -11 | 0 | 38.46 | 2.88 | 9.61 | 5.77 | 5.77 | 67.29 | 3.85 | 0
14:15 - 14:30 | -1.8 | -10.4 | 0 | 38.46 | 3.85 | 9.61 | 5.77 | 5.77 | 76.9 | 3.85 | 0
14:30 - 14:45 | -3.7 | -11.1 | 0 | 38.46 | 4.81 | 9.61 | 5.77 | 5.77 | 76.9 | 3.85 | 0
14:45 - 15:00 | -0.8 | -8.4 | 0 | 38.46 | 5.77 | 9.61 | 5.77 | 5.77 | 76.91 | 0 | 0
15:00 - 15:15 | 0 | -8.3 | 0 | 38.46 | 0 | 0 | 5.77 | 5.77 | 76.9 | 0 | 0
15:15 - 15:30 | -1.4 | -5.4 | 0 | 38.46 | 0 | 0 | 5.77 | 5.77 | 76.9 | 0 | 0
15:30 - 15:45 | -4.8 | -3.9 | 0 | 38.46 | 0 | 0 | 5.77 | 5.77 | 76.9 | 0 | 0
15:45 - 16:00 | -4 | -3.5 | 0 | 38.46 | 0 | 0 | 5.77 | 5.77 | 76.9 | 0 | 0
16:00 - 16:15 | -2.8 | -3.4 | 0 | 33.65 | 35.57 | 0 | 5.77 | 5.77 | 76.91 | 0 | 0
16:15 - 16:30 | -0.6 | -3.4 | 0 | 33.65 | 0 | 0 | 5.77 | 0 | 76.91 | 0 | 0
16:30 - 16:45 | 0 | -2.2 | 0 | 33.65 | 0 | 0 | 5.77 | 0 | 76.91 | 0 | 0
16:45 - 17:00 | 0 | -2.2 | 0 | 33.65 | 0 | 0 | 5.77 | 0 | 10.51 | 0 | 1.92
17:00 - 17:15 | 0 | -1.9 | 0 | 33.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | -1.6 | 0 | 33.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | -2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.28
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.08
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01
20:00 - 20:15 | 0 | 0 | 0.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23
20:15 - 20:30 | 0 | 0 | 1.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9
20:30 - 20:45 | 0 | 0 | 1.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97
20:45 - 21:00 | 0 | 0 | 1.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.98
21:00 - 21:15 | 0 | 0 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
21:15 - 21:30 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77
21:30 - 21:45 | 0 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93
21:45 - 22:00 | 0 | 0 | 5.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.02
22:00 - 22:15 | 0 | 0 | 5.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.01
22:15 - 22:30 | 0 | 0 | 5.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
22:30 - 22:45 | 0 | 0 | 3.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.26
22:45 - 23:00 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.12
23:00 - 23:15 | 0 | 0 | 2.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.08
23:15 - 23:30 | 0 | 0 | 2.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.02
23:30 - 23:45 | 0 | 0 | 2.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99
23:45 - 24:00 | 0 | 0 | 2.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.02
Average | -1.725 | -4.0677 | 5.8741 | 15.0595 | 1.9226 | 2.5026 | 1.9834 | 1.8031 | 27.5474 | 0.84219 | 0.29625

## RTM
RTM TRADING DETAILS FOR DT: 16.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.6 | 0 | -0.8 | -300 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | -10
00:15 - 00:30 | -1.6 | 0 | -0.8 | -300 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | 0 | -10
00:30 - 00:45 | -1.6 | 0 | -0.8 | -100 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | -10
00:45 - 01:00 | -1.6 | 0 | -0.8 | -100 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 2.98 | -10
01:00 - 01:15 | -1.6 | 0 | -0.8 | -100 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | 8.55 | -10
01:15 - 01:30 | -1.6 | 0 | -0.8 | -100 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 9.42 | -10
01:30 - 01:45 | -1.6 | 0 | -0.8 | -150 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 19.95 | -10
01:45 - 02:00 | -1.6 | 0 | -0.8 | -150 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | 21.02 | -10
02:00 - 02:15 | -1.6 | 0 | -0.8 | -100 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | 23.36 | -10
02:15 - 02:30 | -1.6 | 0 | -0.8 | -100 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 22.29 | -10
02:30 - 02:45 | -1.6 | 0 | -0.8 | -100 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 21.79 | -10
02:45 - 03:00 | -1.6 | 0 | -0.8 | -150 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 18.91 | -10
03:00 - 03:15 | -1.6 | 0 | -0.8 | -150 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 25.38 | -10
03:15 - 03:30 | -1.6 | 0 | -0.8 | -150 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | 26.06 | -10
03:30 - 03:45 | -1.6 | 0 | -0.8 | -150 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | 32.94 | -10
03:45 - 04:00 | -1.6 | 0 | -0.8 | -100 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 34.55 | -10
04:00 - 04:15 | -1.6 | 0 | -0.8 | -200 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 42.47 | -10
04:15 - 04:30 | -1.6 | 0 | -0.8 | -200 | 0 | -0.9 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 41.23 | -10
04:30 - 04:45 | -1.6 | 0 | -0.8 | -250 | 0 | -0.9 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | -1.5 | 0 | 0 | 0 | 0 | 42.63 | -10
04:45 - 05:00 | -1.6 | 0 | -0.8 | -250 | 0 | -0.9 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | -1.5 | 0 | 0 | 0 | 0 | 44.39 | -10
05:00 - 05:15 | -1.6 | 0 | -0.8 | -250 | 0 | -0.9 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | -1.5 | 0 | 0 | 0 | 0 | 49.33 | -10
05:15 - 05:30 | -1.6 | 0 | -0.8 | -250 | 0 | -0.9 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | -1.5 | 0 | 0 | 0 | 0 | 45.68 | -10
05:30 - 05:45 | -1.6 | 0 | -1.2 | -300 | 0 | -0.9 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | -1.5 | 0 | 0 | 0 | 0 | 36.66 | -10
05:45 - 06:00 | -1.6 | 0 | -1.2 | -300 | 0 | -0.9 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | -1.5 | 0 | 0 | 0 | 0 | 37.19 | -10
06:00 - 06:15 | -1.6 | -7 | -1.2 | -350 | 0 | -0.9 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 25.68 | -10
06:15 - 06:30 | -1.6 | -7 | -1.2 | -350 | 0 | -0.9 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 26.32 | -10
06:30 - 06:45 | -1.6 | -20 | -1.2 | -450 | 0 | -0.9 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 28.44 | -10
06:45 - 07:00 | -1.6 | -20 | -1.2 | -450 | 0 | -0.9 | 0 | -0.1 | 0 | -25 | 0 | 0 | 0 | 0 | -7 | -1 | 0 | 0 | 0 | 0 | 28.67 | -10
07:00 - 07:15 | -1.6 | -20 | -0.8 | -100 | 0 | -0.9 | 0 | -0.3 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 47.18 | -10
07:15 - 07:30 | -1.6 | -20 | -0.8 | -100 | 0 | -0.9 | 0 | -0.5 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -10
07:30 - 07:45 | -1.6 | -20 | -0.8 | -100 | 0 | -0.9 | 0 | -0.4 | 0 | -20 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
07:45 - 08:00 | -1.6 | -20 | -0.8 | -200 | 0 | -0.9 | 0 | -0.6 | 0 | -20 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
08:00 - 08:15 | -1.6 | -20 | -0.8 | -150 | 0 | -0.9 | 0 | -0.7 | 0 | -20 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
08:15 - 08:30 | -1.6 | -20 | -0.8 | 0 | 0 | -0.9 | 0 | -1 | 0 | -20 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
08:30 - 08:45 | -1.6 | 0 | -0.8 | 0 | 0 | -0.9 | 0 | -1.1 | 0 | -20 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
08:45 - 09:00 | -1.6 | 0 | -0.8 | 0 | 0 | -0.9 | 0 | -1.2 | 0 | -20 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
09:00 - 09:15 | -1.6 | -15 | -0.8 | -91.05 | 0 | -0.9 | -15 | -1.6 | 0 | -20 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | -1.6 | -20 | -0.8 | -81.44 | 0 | -0.9 | 0 | 0 | 0 | -20 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -1.6 | -20 | -0.5 | -157.01 | 0 | -0.9 | 0 | 0 | 0 | -20 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | -1.6 | -20 | -0.5 | -244.51 | 0 | -0.9 | 0 | 0 | 2.88 | -20 | 0 | -2 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67 | 0 | 0
10:00 - 10:15 | -1.6 | -20 | -1 | -430.81 | 0 | 0 | 0 | 0 | 1.92 | -20 | 2.88 | -3 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 5.39 | 0 | 0
10:15 - 10:30 | -1.6 | -20 | -1 | -345.01 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10:30 - 10:45 | -1.6 | -20 | -1 | -170.35 | 192.28 | 0 | 0 | 0 | 0 | -20 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10:45 - 11:00 | -1.6 | -20 | -1 | -150.05 | 192.29 | 0 | 0 | 0 | 1.92 | -20 | 0.22 | -3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41 | 0 | 0
11:00 - 11:15 | -1.6 | -20 | -1 | 0 | 288.42 | 0 | 0 | 0 | 1.92 | -20 | 2.88 | -3 | 3.85 | 0 | 0 | 0 | 0 | 18.27 | 0 | 0.67 | 60 | 0
11:15 - 11:30 | -1.6 | -20 | -1 | 44.28 | 288.43 | 0 | 0 | 4.71 | 1.92 | -20 | 2.88 | -3 | 3.85 | 0 | 0 | 0 | 0 | 18.27 | 0 | 0.67 | 69.22 | 0
11:30 - 11:45 | -1.6 | 0 | -1.4 | -109.48 | 288.42 | 0 | 0 | 5.1 | 1.92 | -20 | 2.88 | -3 | 3.85 | 0 | 0 | -1 | 0 | 0 | 0 | 0.67 | 59.61 | 0
11:45 - 12:00 | -1.6 | 0 | -1.4 | -121.7 | 288.43 | 0 | 0 | 0 | 1.92 | -20 | 2.88 | -3 | 3.85 | 0 | 0 | -1 | 0 | 0 | 0 | 0.67 | 49.99 | 0
12:00 - 12:15 | -1.6 | -7 | -1.4 | -184.48 | 288.42 | 0 | 0 | 5.48 | 1.92 | -20 | 2.88 | -3 | 3.85 | 0 | 0 | -1 | 0 | 0 | 0 | 0.67 | 31.73 | 0
12:15 - 12:30 | -1.6 | -12 | -1.4 | -186.51 | 288.42 | 0 | 0 | 5.58 | 1.92 | -20 | 2.88 | -3 | 3.85 | 0 | 0 | -1 | 0 | 0 | 0 | 0.67 | 31.73 | 0
12:30 - 12:45 | -1.6 | -15 | -1.4 | -202.87 | 240.36 | 0 | 0 | 0 | 1.92 | -20 | 2.88 | -3 | 0 | 0 | 0 | -1 | 0 | 23.07 | 0 | 5.38 | 0 | 0
12:45 - 13:00 | -1.6 | -15 | -1.4 | -103.84 | 240.36 | 0 | 0 | 0 | 1.92 | -20 | 2.88 | -3 | 0 | 0 | 0 | -1 | 0 | 23.07 | 0 | 5.38 | 0 | 0
13:00 - 13:15 | -1.6 | -4 | -1.8 | -202.86 | 240.35 | 0 | 0 | 0 | 1.92 | -23 | 2.88 | -3 | 0 | -1 | 0 | -1 | 0 | 23.07 | 0 | 5.38 | 0 | 0
13:15 - 13:30 | -1.6 | -4 | -1.8 | -253.84 | 240.36 | 0 | 0 | 0 | 1.92 | -23 | 2.88 | -3 | 0 | -1 | 0 | -1 | 0 | 23.07 | 0 | 5.38 | 0 | 0
13:30 - 13:45 | -1.6 | 0 | -1.8 | -157.95 | 240.35 | 0 | 0 | 0 | 0.96 | -23 | 0 | -3 | 0 | -1 | 0 | -1 | 0 | 23.07 | 0 | 5.38 | 0 | 0
13:45 - 14:00 | -1.6 | 0 | -1.8 | -218.14 | 240.36 | 0 | 0 | -1.9 | 0.96 | -23 | 0 | -3 | 0 | -1 | 0 | -1 | 0 | 0 | 0 | 5.38 | 0 | 0
14:00 - 14:15 | -1.6 | 0 | -1.8 | -265.03 | 240.35 | 0 | 0 | -1.7 | 0 | -23 | 0 | 0 | 0 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
14:15 - 14:30 | -1.6 | 0 | -1.8 | -175.15 | 240.35 | 0 | 0 | -1.5 | 0 | -23 | 0 | 0 | 0 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
14:30 - 14:45 | -1.6 | 0 | -1.8 | -299.99 | 240.35 | 0 | 0 | -1.4 | 0 | -23 | 0 | 0 | 0 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.6 | 0 | -1.8 | -425.3 | 240.35 | 0 | -15 | -1.2 | 0 | -23 | 0 | 0 | 0 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.6 | -12 | -1.8 | -653.47 | 240.35 | 0 | 0 | -1.3 | 0 | -10 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -1.6 | 0 | -1.8 | -604.19 | 240.35 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -1.6 | -2 | -1.8 | -665.37 | 240.35 | 0 | 0 | -1.2 | 0 | -13 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -1.6 | -2 | -1.8 | -665.39 | 240.35 | 0 | 0 | -0.9 | 0 | -13 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -1.6 | 0 | -1.8 | -646.63 | 240.35 | 0 | 0 | -0.8 | 0 | -13 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7
16:15 - 16:30 | -1.6 | 0 | -1.8 | -405.55 | 240.35 | 0 | 0 | -0.7 | 0 | -13 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7
16:30 - 16:45 | -1.6 | -10 | -1.8 | -468.75 | 240.35 | 0 | 0 | -0.5 | 0 | -13 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7
16:45 - 17:00 | -1.6 | 0 | -1.8 | -475.01 | 240.35 | 0 | 0 | -0.4 | 0 | -13 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7
17:00 - 17:15 | -1.6 | 0 | -1.4 | -975.27 | 240.35 | 0 | 0 | -0.2 | 0 | -13 | 0 | 0 | 0 | -1 | -7 | -2 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -1.6 | 0 | -1.4 | -950 | 231.49 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -7 | -2 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -1.6 | 0 | -1.4 | -1000 | 94.23 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | -2 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -1.6 | 0 | -1.4 | -1000 | 78 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | -2 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1.6 | 0 | -1.4 | -1050 | 109.79 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
18:15 - 18:30 | -1.6 | 0 | -1.4 | -950 | 71.13 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
18:30 - 18:45 | -1.6 | 0 | -1.4 | -850 | 43.06 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
18:45 - 19:00 | -1.6 | 0 | -1.4 | -750 | 25.4 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 21.17 | 0
19:00 - 19:15 | -1.6 | 0 | -1.4 | -800 | 5.19 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 6.49 | 0
19:15 - 19:30 | -1.6 | 0 | -1.4 | -800 | 4.02 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 6.69 | 0
19:30 - 19:45 | -1.6 | 0 | -1.4 | -800 | 3.47 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 14.44 | 0
19:45 - 20:00 | -1.6 | 0 | -1.4 | -900 | 3.27 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 13.61 | 0
20:00 - 20:15 | -1.6 | 0 | -1.4 | -550 | 2.09 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 12.15 | 0
20:15 - 20:30 | -1.6 | 0 | -1.4 | -550 | 1.94 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -14.5 | 0 | 11.32 | 0
20:30 - 20:45 | -1.6 | 0 | -1.4 | -450 | 2.23 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 14.88 | 0
20:45 - 21:00 | -1.6 | 0 | -1.4 | -450 | 1.98 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 13.19 | 0
21:00 - 21:15 | -1.6 | 0 | -1.4 | -150 | 2.18 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
21:15 - 21:30 | -1.6 | 0 | -1.4 | -100 | 1.72 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
21:30 - 21:45 | -1.6 | 0 | -1.8 | 0 | 1.22 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 10.15 | 0
21:45 - 22:00 | -1.6 | 0 | -1.8 | 0 | 1.17 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 9.77 | 0
22:00 - 22:15 | -1.6 | 0 | -1.8 | -50 | 1.5 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
22:15 - 22:30 | -1.6 | 0 | -1.8 | -50 | 1.39 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
22:30 - 22:45 | -1.6 | 0 | -1.8 | -50 | 1.08 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
22:45 - 23:00 | -1.6 | 0 | -1.8 | -50 | 1.09 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
23:00 - 23:15 | -1.6 | 0 | -1.8 | -75 | 1.05 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
23:15 - 23:30 | -1.6 | 0 | -1.8 | -75 | 1.1 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0
23:30 - 23:45 | -1.6 | 0 | -1.8 | -100 | 1.32 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 5.49 | 0
23:45 - 24:00 | -1.6 | 0 | -1.8 | -150 | 1.46 | 0 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | -14.5 | 0 | 6.08 | 0
Average | -1.6 | -4.7083 | -1.2521 | -305.6533 | 76.8268 | -0.375 | -0.3125 | -0.015937 | 0.29 | -17.1458 | 0.33229 | -0.70833 | 0.32396 | -0.75 | -4.8958 | -0.35417 | -0.625 | 1.5822 | -3.625 | 0.44552 | 12.6123 | -4.0417 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!