## POWER STATUS
POWER STATUS ON DT 18.07.2026
[9 empty] | 2026-07-18 | 2026-07-17
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 6074.3528 | 6405.8806
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 182.625 | 4.383 | 630/590 ft | 609.97 | 609.75 | 609.83 | 187.9427 | 187.2568
| Chiplima | 72(3x24) | 43.625 | 1.047 | - |  |  |  | 43.9103 | 42.6843
| Balimela | 510(6x60+2x75) | 257.625 | 6.183 | 1516/1440 ft | 1462.6 | 1456 | 1455.6 | 155.399 | 371.8321
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 121.12 | 113.32 | 113.53 | 0 | 0
| Upper Kolab | 320(4x80) | 29.38 | 0.70512 | 858/844 mt | 851.14 | 848.48 | 848.57 | 0 | 149.4156
| Upper Indravati | 600(4x150) | 77.1875 | 1.8525 | 642/625 mt | 633.64 | 629.57 | 629.92 | 0.29328 | 451.7354
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2735.85 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 590.4425 | 14.1706 |  |  |  |  | 387.5454 | 1202.9241
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1660.726 | 39.8574 | RENEWABLE ENERGY (RE) |  |  |  | 1637.1827 | 1634.6436
[5 empty] | M.Hydl | 58.42
| Total Thermal | 2200 | 1660.726 | 39.8574 | Solar | 72.67 |  |  | 1637.1827 | 1634.6436
IPP | VEDANTA #2 | 600 (1x600) | 489.7645 | 11.7543 | Total IPPs | Yesterday's Demand Profile |  |  | 502.9492 | 551.211
| GMR #3 | 350 (1x350) | 313.8604 | 7.5327 | 903.881 |  | MW | HRS | 322.7304 | 315.5279
| NBVL(IPP) | 60(1x60) | 51.8366 | 1.2441 |  |  |  |  | 53.8506 | 54.699
| MDTPC |  | 48.4196 | 1.1621 |  |  |  |  | 32.7206 | 54.8035
| CGPs |  | 505.6947 | 12.1367 | IPPs, CGPs & RE | Maximum | 6406 | 21:00 | 1871.8255 | 1508.7129
| Central Sector(Drawl) |  | 2076.0923 | 49.8262 | 1540.6657 | Minimum | 5231 | 06:00 | 2177.7993 | 2059.5999
| Central Sector(Sch) |  | 2144.3553 | 51.4645 |  | Average | 5867.9265 |  | 2488.04 | 2140.54
| Grand Total |  | 5867.9265 | 140.8302 | Instantaneous Peak demand |  | 6475 | 21:00 | 6074.3528 | 6405.8806
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | 1 | FARAKKA | NIL | TPCODL | 1514 | 36.336 | 1462 | 35.088 | 1403 | 33.672
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2377 | 57.048 | 2336 | 56.064 | 2379 | 57.096
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1272 | 30.528 | 1256 | 30.144 | 1199 | 28.776
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 567 | 13.608 | 548 | 13.152 | 577 | 13.848
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5730 | 137.52 | 5602 | 134.448 | 5558 | 133.392
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 502.9492 | GMR |  |  |  | 322.7304
| NBVL #3 | 53.8506 | MDTPC |  |  |  | 32.7206
Mini Hydel: | MEENAKSHI | 19.7541 | OPCL |  |  |  | 0
| BTPL | 20.002 | SAPTADHARA |  |  |  | 4.9584
Solar: |  | 176.4235 | KAKATIYA |  |  |  | 2.5048
CGPs : | JSPL (Angul) | 166.0243 | JSL(Duburi) |  |  |  | -112.5428
| ICCL | 46.6179 | visa |  |  |  | 10.0014
| NALCO | -148.2709 | VAL (CGP) |  |  |  | 78.028
| RSP | -221.529 | BSL(MMDL) |  |  |  | 127.2264
| INDAL | 2.8054 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -31.971 | VAL CPP 400 kV |  |  |  | -988.4868
| NBVL | 54.4048 | Arati |  |  |  | 33.1949
| BPSL(JSG) | -61.3518 | BPPL |  |  |  | 109.7475
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-10 | 2026-07-11 | 2026-07-12 | 2026-07-13 | 2026-07-14 | 2026-07-15 | 2026-07-16 | 2026-07-17
375.1042 | 524.875 | 504.292 | 559.008 | 512.0802 | 667.61 | 649.09 | 590.4425
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.17.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.51
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AEG10_W_FTG4 | VLSEZ | 9.78
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AGE26AL_PSS6_KPS1_S | ODISHA | 131.86
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.25 | AP41PL_BHDL | ODISHA | 60.79
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AP43PL_BKN | ODISHA | 89.3
JSPLANGUL | GEB_Beneficiary | 0 | ARYAN_ISPAT | WBSEDCL | -5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.11
MAADURGA_THERMAL | NPCL_UP | -17.82 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -0.9 | AWEK1L | ODISHA | 10.11
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 15.16
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.98
OCL_IRON_STEEL | NPCL_UP | -34.42 | FACORPOWER | TPL_DIS_AHM | -25 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 27.9
ODISHA | AMNSIL | -143.75 | JSPLANGUL | CSEB_Beneficiary | 0 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.05
ODISHA | KPTCL | -14.58 | NBVLIPP | BSPHCL | -17.92 | CPTTNPL | VLSEZ | 1.87
ODISHA | PCKL | -59.38 | OCL_IRON_STEEL | BRPL | -25 | DADRI_SOLAR | ODISHA | 0.65
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | ODISHA | TANGEDCO | -39.58 | ENERSON_SOLAR_10MW | ODISHA | 1
SGML | PCKL | -7.92 | ORSISL | WBSEDCL | -5 | GADAG_GreenInfra_W | ODISHA | 0
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | RML_Dhenkanal | TPLD | -10 | GADAG_GreenInfra_W | ODISHA | 0.52
VSL | CR_IR_MS | -2.92 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_Serentica3_S | VLSEZ | 36.31
FARIDABAD_SOLAR | ODISHA | 0.86 | VSL | WBSEDCL | -10 | GADAG_Serentica3_W | VLSEZ | 2.4
JSWEL_UTKAL | ODISHA | 36.71 | Darlipali_NTPC | ODISHA | 156.12 | GADAG_Serentica3_W | VLSEZ | 61.22
MPPMCL | ODISHA | 0 | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | GIWEL_SECI_II_RE | ODISHA | 42.17
RAJ_SOLAR | ODISHA | 2.53 | HP | VLSEZ | 76.11 | GPCL_SOLAR_10 | ODISHA | 1.37
RAJ_SOLAR | ODISHA | 2.57 | HP | VLSEZ | 76.11 | GSECL_SOLAR | ODISHA | 0.71
|  |  | HP | VLSEZ | 76.11 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.3
|  |  | HP_GOVT | VLSEZ | 76.11 | JREPL_BKN2 | VLSEZ | 6.06
|  |  | JIPL | ODISHA | 115.37 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 4
|  |  | JSPL_DCPP | JSPLBarbil | 9.61 | KARUR_TPVARDHAMAN_W | TSKPO | 100.02
|  |  | MYTRAHVAYU | VLSEZ | 13.98 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.61
|  |  | NALCOAP | NACL_Odisha | 15.37 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 2.42
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.01
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 8.13
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.36
[6 empty] | OKWPL_RE | ODISHA | 23.94
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 5.55
[6 empty] | RWE_AP2_SECI_III | ODISHA | 20.3
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 11.72
[6 empty] | SRI9PL_FTG3 | VLSEZ | 72
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 60.91
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 3.6
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 3.76
[6 empty] | XXPPL_FTG3 | ODISHA | 64.63

## DAM
DAM TRADING DETAILS FOR DT :17.07.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Jindal_Steel_&_Power_Limited_Barbil_Odisha | Nava_Limited_IPP
00:00 - 00:15 | -50 | 0 | 0.74 | 0.09 | 0
00:15 - 00:30 | -50 | 0 | 0 | 0 | 0
00:30 - 00:45 | -50 | 0 | 0 | 0 | 0
00:45 - 01:00 | -50 | 0 | 0.32 | 0.04 | 0
01:00 - 01:15 | -150 | 0 | 1.15 | 0.12 | 0
01:15 - 01:30 | -150 | 0 | 1.95 | 0.22 | 0
01:30 - 01:45 | -150 | 0 | 3.69 | 0.41 | 0
01:45 - 02:00 | -150 | 0 | 4.4 | 0.49 | 0
02:00 - 02:15 | -200 | 0 | 4.67 | 0.52 | 0
02:15 - 02:30 | -200 | 0 | 6.91 | 0.77 | 0
02:30 - 02:45 | -200 | 0 | 8.16 | 0.9 | 0
02:45 - 03:00 | -200 | 0 | 8.74 | 0.97 | 0
03:00 - 03:15 | -325 | 0 | 9.97 | 1.11 | 0
03:15 - 03:30 | -325 | 0 | 8 | 0.88 | 0
03:30 - 03:45 | -325 | 0 | 9.23 | 1.03 | 0
03:45 - 04:00 | -325 | 0 | 9.53 | 1.06 | 0
04:00 - 04:15 | -350 | 0 | 2.16 | 0.24 | 0
04:15 - 04:30 | -350 | 0 | 2.48 | 0.28 | 0
04:30 - 04:45 | -350 | 0 | 0.14 | 0.02 | 0
04:45 - 05:00 | -350 | 0 | 0.63 | 0.07 | 0
05:00 - 05:15 | -425 | 0 | 7.56 | 0.84 | -25
05:15 - 05:30 | -425 | 0 | 6.22 | 0.69 | -25
05:30 - 05:45 | -425 | 0 | 6.39 | 0.71 | -25
05:45 - 06:00 | -425 | 0 | 7.12 | 0.79 | -25
06:00 - 06:15 | -425 | 0 | 11.76 | 1.31 | -25
06:15 - 06:30 | -425 | 0 | 9.68 | 1.08 | -25
06:30 - 06:45 | -425 | 0 | 11 | 1.22 | -25
06:45 - 07:00 | -425 | 0 | 14.22 | 1.58 | -25
07:00 - 07:15 | -725 | 0 | 27.35 | 3.04 | -25
07:15 - 07:30 | -725 | 0 | 38.2 | 4.24 | -25
07:30 - 07:45 | -725 | 0 | 67.11 | 7.46 | -25
07:45 - 08:00 | -725 | 0 | 90.38 | 10.05 | -25
08:00 - 08:15 | -1100 | 0 | 151.11 | 16.79 | -25
08:15 - 08:30 | -1100 | 0 | 173.05 | 19.23 | -25
08:30 - 08:45 | -1100 | 0 | 173.05 | 19.23 | -25
08:45 - 09:00 | -1100 | 0 | 173.05 | 19.23 | -25
09:00 - 09:15 | -1275 | 0 | 173.05 | 19.23 | -25
09:15 - 09:30 | -1275 | 0 | 173.05 | 19.23 | -25
09:30 - 09:45 | -1275 | 0 | 173.05 | 19.23 | -25
09:45 - 10:00 | -1275 | 0 | 173.05 | 19.23 | -25
10:00 - 10:15 | -900 | 0 | 173.05 | 19.23 | 0
10:15 - 10:30 | -900 | 0 | 173.05 | 19.23 | 0
10:30 - 10:45 | -900 | 28.84 | 173.05 | 19.23 | 0
10:45 - 11:00 | -899.57 | 28.84 | 173.05 | 19.23 | 0
11:00 - 11:15 | -749.6 | 28.84 | 173.05 | 19.23 | 0
11:15 - 11:30 | -750 | 28.84 | 173.05 | 19.23 | 0
11:30 - 11:45 | -749.65 | 28.84 | 173.05 | 19.23 | 0
11:45 - 12:00 | -750 | 28.84 | 173.05 | 19.23 | 0
12:00 - 12:15 | -748.96 | 28.84 | 173.05 | 19.23 | 0
12:15 - 12:30 | -749.06 | 28.84 | 173.05 | 19.23 | 0
12:30 - 12:45 | -736.22 | 28.84 | 173.05 | 19.23 | 0
12:45 - 13:00 | -733.04 | 28.84 | 173.05 | 19.23 | 0
13:00 - 13:15 | -538.08 | 28.84 | 173.05 | 19.23 | 0
13:15 - 13:30 | -539.15 | 28.84 | 173.05 | 19.23 | 0
13:30 - 13:45 | -658.27 | 28.84 | 173.05 | 19.23 | 0
13:45 - 14:00 | -732.12 | 28.84 | 173.05 | 19.23 | 0
14:00 - 14:15 | -950 | 28.84 | 173.05 | 19.23 | 0
14:15 - 14:30 | -950 | 0 | 173.05 | 19.23 | 0
14:30 - 14:45 | -950 | 0 | 173.05 | 19.23 | 0
14:45 - 15:00 | -1003.28 | 0 | 173.05 | 19.23 | 0
15:00 - 15:15 | -1175 | 0 | 173.05 | 19.23 | -25
15:15 - 15:30 | -1175 | 0 | 173.05 | 19.23 | -25
15:30 - 15:45 | -1175 | 0 | 173.05 | 19.23 | -25
15:45 - 16:00 | -1175 | 0 | 173.05 | 19.23 | -25
16:00 - 16:15 | -1225 | 0 | 173.05 | 19.23 | -25
16:15 - 16:30 | -1225 | 0 | 173.05 | 19.23 | -25
16:30 - 16:45 | -1225 | 0 | 173.05 | 19.23 | -25
16:45 - 17:00 | -1225 | 0 | 173.05 | 19.23 | -25
17:00 - 17:15 | -700 | 0 | 173.05 | 19.23 | -25
17:15 - 17:30 | -700 | 0 | 173.05 | 19.23 | -25
17:30 - 17:45 | -700 | 0 | 173.05 | 19.23 | -25
17:45 - 18:00 | -700 | 0 | 173.05 | 19.23 | -25
18:00 - 18:15 | -300 | 0 | 102.36 | 11.37 | -25
18:15 - 18:30 | -300 | 0 | 75.41 | 8.37 | -25
18:30 - 18:45 | -300 | 0 | 41.13 | 4.57 | -25
18:45 - 19:00 | -300 | 0 | 27.44 | 3.05 | -25
19:00 - 19:15 | -175 | 0 | 7.04 | 0.78 | 0
19:15 - 19:30 | -175 | 0 | 2.11 | 0.23 | 0
19:30 - 19:45 | -175 | 0 | 0.06 | 0.01 | 0
19:45 - 20:00 | -175 | 0 | 0.33 | 0.04 | 0
20:00 - 20:15 | -150 | 0 | 3.7 | 0.41 | 0
20:15 - 20:30 | -150 | 0 | 3.47 | 0.38 | 0
20:30 - 20:45 | -150 | 0 | 1.31 | 0.14 | 0
20:45 - 21:00 | -150 | 0 | 1.03 | 0.12 | 0
21:00 - 21:15 | -50 | 0 | 2.05 | 0.23 | 0
21:15 - 21:30 | -50 | 0 | 1.91 | 0.21 | 0
21:30 - 21:45 | -50 | 0 | 0.64 | 0.07 | 0
21:45 - 22:00 | -50 | 0 | 0.71 | 0.08 | 0
22:00 - 22:15 | 0 | 0 | 0.02 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0.17 | 0.02 | 0
22:30 - 22:45 | 0 | 0 | 0.1 | 0.01 | 0
22:45 - 23:00 | 0 | 0 | 0.04 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0.13 | 0.02 | 0
23:15 - 23:30 | 0 | 0 | 0.23 | 0.03 | 0
23:30 - 23:45 | 0 | 0 | 1.28 | 0.14 | 0
23:45 - 24:00 | 0 | 0 | 1.69 | 0.18 | 0
Average | -532.1562 | 4.5062 | 78.6904 | 8.7443 | -9.375

## GDAM
GDAM TRADING DETAILS FOR DT:17.07.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -1 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 36.96 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 38.46 | 0 | 5.77 | 0 | 57.68 | 0
09:00 - 09:15 | 0 | 38.46 | 0 | 5.77 | 0 | 57.68 | 0
09:15 - 09:30 | 0 | 38.46 | 0 | 5.77 | 5.77 | 57.68 | 0
09:30 - 09:45 | 0 | 38.46 | 0 | 5.77 | 5.77 | 57.68 | 0
09:45 - 10:00 | -0.8 | 38.46 | 0 | 5.77 | 5.77 | 57.68 | 0
10:00 - 10:15 | -2.3 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
10:15 - 10:30 | -2.6 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
10:30 - 10:45 | -6.1 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
10:45 - 11:00 | -6.4 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
11:00 - 11:15 | -7.5 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
11:15 - 11:30 | -7.4 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
11:30 - 11:45 | -8 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 3.85
11:45 - 12:00 | -6.9 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 3.85
12:00 - 12:15 | -4.5 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 3.85
12:15 - 12:30 | -1.7 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 3.85
12:30 - 12:45 | -1.6 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 3.85
12:45 - 13:00 | -1.9 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 3.85
13:00 - 13:15 | -1.5 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 3.85
13:15 - 13:30 | -2 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 3.85
13:30 - 13:45 | -0.3 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 3.85
13:45 - 14:00 | 0 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
14:00 - 14:15 | -0.4 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
14:15 - 14:30 | 0 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
14:30 - 14:45 | 0 | 38.46 | 9.61 | 5.77 | 5.77 | 57.68 | 0
14:45 - 15:00 | 0 | 38.46 | 0 | 5.77 | 5.77 | 57.68 | 0
15:00 - 15:15 | 0 | 38.46 | 0 | 5.77 | 0 | 57.68 | 0
15:15 - 15:30 | 0 | 38.46 | 0 | 5.77 | 0 | 57.68 | 0
15:30 - 15:45 | 0 | 38.46 | 0 | 5.77 | 0 | 57.68 | 0
15:45 - 16:00 | 0 | 38.46 | 0 | 5.77 | 0 | 57.68 | 0
16:00 - 16:15 | 0 | 33.65 | 0 | 5.77 | 0 | 0 | 0
16:15 - 16:30 | 0 | 33.65 | 0 | 5.77 | 0 | 0 | 0
16:30 - 16:45 | 0 | 33.65 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 33.65 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.71562 | 13.4052 | 1.902 | 1.8632 | 1.3824 | 17.4242 | 0.36094

## RTM
RTM TRADING DETAILS FOR DT: 17.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.6 | 0 | -1.1 | -400 | 0 | 1.73 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -9.7 | 0 | -10
00:15 - 00:30 | -1.6 | -1 | -1.1 | -300 | 0 | 1.63 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -20 | 0 | 0 | -9.7 | 0 | -10
00:30 - 00:45 | -1.6 | -1 | -1.1 | -300 | 0 | 2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -50 | 0 | 0 | -9.7 | 8.34 | -10
00:45 - 01:00 | -1.6 | 0 | -1.1 | -300 | 0 | 2.16 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -20 | 0 | 0 | -9.7 | 9.01 | -10
01:00 - 01:15 | -1.6 | 0 | -1.1 | -300 | 0 | 2.16 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -9.7 | 19.8 | -10
01:15 - 01:30 | -1.6 | 0 | -1.1 | -300 | 0 | 2.38 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -18 | 0 | 0 | -9.7 | 21.89 | -10
01:30 - 01:45 | -1.6 | 0 | -1.1 | -400 | 0 | 2.39 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -9.7 | 21.97 | -10
01:45 - 02:00 | -1.6 | 0 | -1.1 | -400 | 0 | 2.66 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -15 | 0 | 0 | -9.7 | 24.38 | -10
02:00 - 02:15 | -1.6 | 0 | -1.1 | -400 | 0 | 3 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -55 | 0 | 0 | -9.7 | 27.52 | -10
02:15 - 02:30 | -1.6 | 0 | -1.1 | -300 | 0 | 3.11 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -40 | 0 | 0 | -9.7 | 28.55 | -10
02:30 - 02:45 | -1.6 | 0 | -1.1 | -200 | 0 | 3.6 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -15 | 0 | 0 | -9.7 | 32.98 | -10
02:45 - 03:00 | -1.6 | 0 | -1.1 | -200 | 0 | 4.17 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -50 | 0 | 0 | -9.7 | 38.25 | -10
03:00 - 03:15 | -1.6 | 0 | -1.1 | -200 | 0 | 5.26 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -40 | 0 | 0 | -9.7 | 48.19 | -10
03:15 - 03:30 | -1.6 | 0 | -1.1 | -200 | 0 | 5.17 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -15 | 0 | 0 | -9.7 | 47.44 | -10
03:30 - 03:45 | -1.6 | 0 | -1.1 | -200 | 0 | 4.46 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -35 | 0 | 0 | -9.7 | 40.92 | -10
03:45 - 04:00 | -1.6 | 0 | -1.1 | -200 | 0 | 4.65 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -5 | -20 | 0 | 0 | -9.7 | 42.64 | -10
04:00 - 04:15 | -1.6 | 0 | -1.1 | -200 | 0 | 4.4 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -9.7 | 40.41 | -10
04:15 - 04:30 | -1.6 | 0 | -1.1 | -200 | 0 | 4.59 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -3 | -30 | 0 | 0 | -9.7 | 42.03 | -10
04:30 - 04:45 | -1.6 | 0 | -1.1 | -150 | 0 | 5.13 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -3 | -50 | 0 | 0 | -9.7 | 47.03 | -10
04:45 - 05:00 | -1.6 | 0 | -1.1 | -150 | 0 | 5.37 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -3 | -12 | 0 | 0 | -9.7 | 49.3 | -10
05:00 - 05:15 | -1.6 | 0 | -1.1 | -150 | 0 | 5.72 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -3 | -15 | 0 | 0 | -9.7 | 52.47 | -10
05:15 - 05:30 | -1.6 | 0 | -1.1 | -150 | 0 | 5.99 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | -9.7 | 54.88 | -10
05:30 - 05:45 | -1.6 | 0 | -1.5 | -150 | 0 | 5.71 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -3 | -15 | 0 | 0 | -9.7 | 52.34 | -10
05:45 - 06:00 | -1.6 | 0 | -1.5 | -150 | 0 | 5.67 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | -3 | -55 | 0 | 0 | -9.7 | 52.01 | -10
06:00 - 06:15 | -1.6 | 0 | -1.5 | -250 | 0 | 5.08 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | -9.7 | 46.51 | -10
06:15 - 06:30 | -1.6 | -1 | -1.5 | -250 | 0 | 4.6 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | -9.7 | 42.14 | -10
06:30 - 06:45 | -1.6 | 0 | -1.1 | -250 | 0 | 4.97 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | -17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 45.54 | -10
06:45 - 07:00 | -1.6 | 0 | -1.1 | -250 | 0 | 5.35 | 0 | -5.5 | 0 | 0 | 0 | -0.2 | 0 | -17 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | -9.7 | 49.02 | -10
07:00 - 07:15 | -1.6 | 0 | -1.1 | -250 | 0 | 8.96 | 0 | -5.5 | 0 | 0 | 0 | -0.3 | 0 | -17 | 0 | 0 | 0 | 0 | -12 | 0 | 0 | -9.7 | 82.1 | -10
07:15 - 07:30 | -1.6 | -12 | -1.1 | -250 | 0 | 10.4 | 0 | -5.5 | 0 | 0 | 0 | -0.4 | 0 | -17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 95.34 | -10
07:30 - 07:45 | -1.6 | 0 | -1.1 | -250 | 0 | 0 | 0 | -5.5 | 0 | 0 | 0 | -0.6 | 0 | -17 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | -9.7 | 113.71 | -10
07:45 - 08:00 | -1.6 | 0 | -1.1 | -250 | 0 | 0 | 0 | -5.5 | 0 | 0 | 0 | -1 | 0 | -17 | 0 | 0 | 0 | 0 | -75 | 0 | 0 | -9.7 | 97.66 | -10
08:00 - 08:15 | -1.6 | 0 | -1.1 | -240.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | -17 | 0 | 0 | 0 | 0 | -90 | 0 | 0 | 0 | 48.07 | -10
08:15 - 08:30 | -1.6 | 0 | -1.1 | -214.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | -17 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 48.07 | -10
08:30 - 08:45 | -1.6 | 0 | -1.1 | -165.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | -17 | 0 | 57.68 | 0 | 0 | -50 | 0 | 0 | 0 | 48.07 | -10
08:45 - 09:00 | -1.6 | 0 | -1.1 | -175.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 48.07 | -10
09:00 - 09:15 | -1.6 | -10 | -1.1 | -154.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7 | 7.69 | 0 | 4.81 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | -1.6 | 0 | -1.1 | -152.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -1.6 | 0 | -1.1 | -136.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -60 | 0 | 19.23 | 0 | 42.3 | 0
09:45 - 10:00 | -1.6 | 0 | -1.1 | -142.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -20 | 0 | 19.23 | 0 | 49.99 | 0
10:00 - 10:15 | -1.6 | 0 | -1.1 | -224.54 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -2.8 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -30 | 0 | 10.81 | 0 | 96.14 | 0
10:15 - 10:30 | -1.6 | 0 | -1.1 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 1.92 | 0 | 1.62 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 69.22 | 0
10:30 - 10:45 | -1.6 | -10 | -1.1 | -200.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3 | 0 | -17 | 0 | 0 | 0 | 0 | -70 | 0 | 0 | 0 | 43.26 | 0
10:45 - 11:00 | -1.6 | 0 | -1.1 | -75.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4 | 0 | -17 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0
11:00 - 11:15 | -1.6 | 0 | -1.1 | -181.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 1.92 | -17 | 4.81 | 0 | 0 | 0 | -20 | 3.85 | 21.15 | 0 | 0 | 0
11:15 - 11:30 | -1.6 | 0 | -1.1 | -428.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 1.92 | -17 | 4.81 | 0 | 0 | 0 | -20 | 3.85 | 21.15 | 0 | 0 | 0
11:30 - 11:45 | -1.6 | 0 | -1.1 | -775.03 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4 | 1.92 | -17 | 4.81 | 0 | 0 | 0 | -5 | 0 | 21.15 | 0 | 0 | 0
11:45 - 12:00 | -1.6 | 0 | -1.1 | -773.28 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7 | 1.92 | -17 | 4.81 | 0 | 0 | 0 | -30 | 0 | 21.15 | 0 | 0 | 0
12:00 - 12:15 | -1.6 | 0 | -0.9 | -724.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6 | 2.88 | -7 | 4.81 | 0 | 0 | 0 | -20 | 0 | 21.15 | 0 | 0 | 0
12:15 - 12:30 | -1.6 | -10 | -0.9 | -720.49 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | -3.7 | 2.88 | -7 | 4.81 | 0 | 0 | 0 | -60 | 0 | 21.15 | 0 | 0 | 0
12:30 - 12:45 | -1.6 | 0 | -0.9 | -818.39 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3 | 3.85 | -7 | 4.81 | 0 | 0 | 0 | -20 | 0 | 21.14 | 0 | 0 | 0
12:45 - 13:00 | -1.6 | 0 | -0.9 | -609.55 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 3.85 | -7 | 4.81 | 0 | 0 | 0 | -10 | 0 | 21.14 | 0 | 0 | 0
13:00 - 13:15 | -1.6 | 0 | -1.5 | -627.47 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -20 | 0 | 21.15 | 0 | 71.14 | 0
13:15 - 13:30 | -1.6 | 0 | -1.5 | -347.76 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -20 | 0 | 21.15 | 0 | 71.14 | 0
13:30 - 13:45 | -1.6 | 0 | -1.5 | -471.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -15 | 3.85 | 21.15 | 0 | 71.14 | 0
13:45 - 14:00 | -1.6 | 0 | -1.5 | -821.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -35 | 3.85 | 21.15 | 0 | 71.14 | 0
14:00 - 14:15 | -1.6 | -12 | -1.5 | -483.95 | 9.61 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -75 | 3.85 | 0 | 0 | 71.14 | 0
14:15 - 14:30 | -1.6 | -12 | -1.5 | -450.94 | 9.61 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -50 | 3.85 | 0 | 0 | 71.14 | 0
14:30 - 14:45 | -1.6 | -12 | -1.5 | -227.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -15 | 3.85 | 0 | 0 | 95.17 | 0
14:45 - 15:00 | -1.6 | -12 | -1.5 | -214.46 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -2.1 | 1.92 | 0 | 4.81 | 0 | 0 | 0 | -20 | 3.85 | 0 | 0 | 64.41 | 0
15:00 - 15:15 | -1.6 | 0 | -1.3 | -358.98 | 4.81 | 0 | 9.61 | 0 | 0 | 0 | 0 | -2 | 7.69 | 0 | 4.81 | 0 | 0 | 0 | -8 | 3.85 | 0 | 0 | 8.65 | 0
15:15 - 15:30 | -1.6 | 0 | -1.3 | -310.01 | 4.81 | 0 | 9.61 | 0 | 0 | 0 | 0 | -1.7 | 9.61 | 0 | 4.81 | 0 | 0 | 0 | -20 | 3.85 | 0 | 0 | 67.3 | 0
15:30 - 15:45 | -1.6 | -12 | -1.3 | -350.72 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -78 | 3.85 | 0 | 0 | 24.99 | 0
15:45 - 16:00 | -1.6 | -12 | -1.3 | -351.55 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -78 | 3.85 | 0 | 0 | 60.56 | 0
16:00 - 16:15 | -1.6 | 0 | -1.3 | -501.35 | 0.96 | 0 | 0 | 0 | 0 | 0 | 19.23 | -1 | 7.69 | 0 | 0 | 57.68 | 0 | 0 | -30 | 3.85 | 19.23 | 0 | 60.18 | 0
16:15 - 16:30 | -1.6 | 0 | -1.3 | -450.01 | 0.96 | 0 | 0 | 0 | 0 | 0 | 19.23 | -0.7 | 7.69 | 0 | 1.12 | 57.68 | 0 | 0 | -10 | 3.85 | 19.23 | 0 | 59.99 | 0
16:30 - 16:45 | -1.6 | 0 | -1.3 | -502.57 | 0.96 | 0 | 0 | 0 | 0 | 0 | 16.89 | -0.6 | 0 | 0 | 0 | 57.68 | 0 | 0 | -70 | 3.85 | 0 | 0 | 35.09 | 0
16:45 - 17:00 | -1.6 | 0 | -1.3 | -452.58 | 0.96 | 0 | 0 | 0 | 0 | 0 | 8.92 | -0.5 | 0 | 0 | 0 | 57.68 | 0 | 0 | -60 | 3.85 | 0 | 0 | 27.59 | 0
17:00 - 17:15 | -1.6 | 0 | -0.9 | -624.06 | 0 | 0 | 0 | 0 | 0 | 0 | 19.23 | -0.3 | 7.69 | 0 | 4.81 | 57.67 | 0 | 0 | -20 | 3.85 | 19.23 | -19.4 | 51.92 | 0
17:15 - 17:30 | -1.6 | 0 | -0.9 | -551.07 | 0 | 0 | 0 | 0 | 0 | 0 | 19.23 | -0.1 | 7.69 | 0 | 0 | 86.52 | 0 | 0 | -30 | 3.85 | 19.23 | -19.4 | 85.56 | 0
17:30 - 17:45 | -1.6 | 0 | -0.9 | -324 | 0 | 0 | 0 | 0 | -0.9 | 0 | 19.23 | 0 | 7.69 | 0 | 4.81 | 86.52 | -1 | 0 | -10 | 3.85 | 19.23 | -19.4 | 37.78 | 0
17:45 - 18:00 | -1.6 | 0 | -0.9 | -273.1 | 0 | 0 | 0 | 0 | -0.9 | 0 | 19.23 | 0 | 0 | 0 | 0 | 86.52 | -1 | 0 | -20 | 3.85 | 19.23 | -19.4 | 56.82 | 0
18:00 - 18:15 | -1.6 | 0 | -0.9 | -550.13 | 0 | 0 | 0 | 0 | -0.9 | 0 | 19.23 | 0 | 7.69 | 0 | 0 | 86.52 | -1 | 0 | -20 | 3.85 | 19.23 | -19.4 | 61.05 | 0
18:15 - 18:30 | -1.6 | 0 | -0.9 | -558.34 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10 | 3.85 | 0 | -19.4 | 57.1 | 0
18:30 - 18:45 | -1.6 | 0 | -0.9 | -700 | 0 | 0 | 0 | -4.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -30 | 3.1 | 0 | -19.4 | 41.07 | 0
18:45 - 19:00 | -1.6 | 0 | -0.9 | -599.99 | 0 | 0 | 0 | -4.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -60 | 2.08 | 0 | -19.4 | 17.36 | 0
19:00 - 19:15 | -1.6 | 0 | -0.9 | -500 | 0 | 0 | 0 | -3.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -30 | 0.94 | 0 | -19.4 | 0 | 0
19:15 - 19:30 | -1.6 | 0 | -0.9 | -500 | 0 | 0 | 0 | -3.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -6 | 0.75 | 0 | -19.4 | 0 | 0
19:30 - 19:45 | -1.6 | 0 | -0.9 | -200 | 0 | 0 | 0 | -3.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -40 | 0.54 | 0 | -19.4 | 0 | 0
19:45 - 20:00 | -1.6 | 0 | -0.9 | -200 | 0 | 0 | 0 | -3.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -5 | 0.46 | 0 | -19.4 | 0 | 0
20:00 - 20:15 | -1.4 | 0 | -1.1 | -100 | 0 | 0 | 0 | -3.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -15 | 0.37 | 0 | -19.4 | 0 | 0
20:15 - 20:30 | -1.4 | 0 | -1.1 | -100 | 0 | 0 | 0 | -3.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -20 | 0.37 | 0 | -19.4 | 0 | 0
20:30 - 20:45 | -1.4 | 0 | -1.1 | -200 | 0 | 0 | 0 | -3.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0.33 | 0 | -19.4 | 0 | 0
20:45 - 21:00 | -1.4 | 0 | -1.1 | -200 | 0 | 0 | 0 | -3.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -15 | 0.31 | 0 | -19.4 | 0 | 0
21:00 - 21:15 | -1.4 | 0 | -1.1 | -350 | 0 | 0 | 0 | -5.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0.32 | 0 | -19.4 | 0 | 0
21:15 - 21:30 | -1.4 | 0 | -1.1 | -350 | 0 | 0 | 0 | -5.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0.28 | 0 | -19.4 | 0 | 0
21:30 - 21:45 | -1.4 | 0 | -1.5 | -300 | 0 | 0 | 0 | -5.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -40 | 0.25 | 0 | -19.4 | 0 | 0
21:45 - 22:00 | -1.4 | 0 | -1.5 | -300 | 0 | 0 | 0 | -5.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0.23 | 0 | -19.4 | 0 | 0
22:00 - 22:15 | -1.4 | -15 | -1.5 | -300 | 0 | 0 | 0 | -5.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0.17 | 0 | -19.4 | 0 | 0
22:15 - 22:30 | -1.4 | -15 | -1.5 | -299.99 | 0 | 0 | 0 | -5.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -30 | 0.14 | 0 | -19.4 | 0 | 0
22:30 - 22:45 | -1.4 | -15 | -1.1 | -400 | 0 | 0 | 0 | -10 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -40 | 0.14 | 0 | -19.4 | 0 | 0
22:45 - 23:00 | -1.4 | -15 | -1.1 | -400 | 0 | 0 | 0 | -10 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0.15 | 0 | -19.4 | 0 | 0
23:00 - 23:15 | -1.4 | -15 | -1.1 | -400 | 0 | 0 | 0 | -10 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0.17 | 0 | -19.4 | 0 | 0
23:15 - 23:30 | -1.4 | -15 | -1.1 | -400 | 0 | 0 | 0 | -10 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -30 | 0.18 | 0 | -19.4 | 0 | 0
23:30 - 23:45 | -1.4 | -15 | -1.1 | -500 | 0 | 0 | 0 | -10 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -50 | 0.25 | 0 | -19.4 | 0 | 0
23:45 - 24:00 | -1.4 | -15 | -1.1 | -500 | 0 | 0 | 0 | -10 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -30 | 0.29 | 0 | -19.4 | 0 | 0
Average | -1.5667 | -2.4688 | -1.15 | -340.3 | 1.0317 | 1.3799 | 0.20021 | -3.1875 | -0.24375 | -0.3125 | 1.671 | -0.90104 | 1.2211 | -7.5521 | 1.2811 | 7.2099 | -0.4375 | -1.0833 | -27.9896 | 1.0054 | 4.559 | -8.8917 | 33.4061 | -3.75