## POWER STATUS
POWER STATUS ON DT 19.07.2026
[9 empty] | 2026-07-19 | 2026-07-18
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 6509 | 6607
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 189.75 | 4.554 | 630/590 ft | 610.69 | 609.83 | 611.5 | 196 | 192
| Chiplima | 72(3x24) | 43.917 | 1.054 | - |  |  |  | 55 | 46
| Balimela | 510(6x60+2x75) | 240.166 | 5.764 | 1516/1440 ft | 1462.5 | 1455.6 | 1455.3 | 66 | 366
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 120.61 | 113.53 | 113.8 | 0 | 0
| Upper Kolab | 320(4x80) | 18.83 | 0.45192 | 858/844 mt | 851.17 | 848.57 | 848.6 | 0 | 77
| Upper Indravati | 600(4x150) | 86.625 | 2.079 | 642/625 mt | 633.68 | 629.92 | 630.02 | 0 | 248
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2735.9 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 579.288 | 13.9029 |  |  |  |  | 317 | 929
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1641.33 | 39.3919 | RENEWABLE ENERGY (RE) |  |  |  | 1687 | 1654
[5 empty] | M.Hydl | 66.98
| Total Thermal | 2200 | 1641.33 | 39.3919 | Solar | 91.07 |  |  | 1687 | 1654
IPP | VEDANTA #2 | 600 (1x600) | 515.29 | 12.367 | Total IPPs | Yesterday's Demand Profile |  |  | 510 | 526
| GMR #3 | 350 (1x350) | 326.42 | 7.8341 | 938.05 |  | MW | HRS | 329 | 332
| NBVL(IPP) | 60(1x60) | 50.78 | 1.2187 |  |  |  |  | 48 | 55
| MDTPC |  | 45.56 | 1.0934 |  |  |  |  | 4 | 56
| CGPs |  | 786.74 | 18.8818 | IPPs, CGPs & RE | Maximum | 6607 | 21:00 | 2079 | 1831
| Central Sector(Drawl) |  | 1955.3 | 46.9272 | 1882.84 | Minimum | 5534 | 05:00 | 2426 | 2193
| Central Sector(Sch) |  | 2082.6 | 49.9824 |  | Average | 6058.758 |  | 2591 | 2126
| Grand Total |  | 6058.758 | 145.4102 | Instantaneous Peak demand |  | 6745 | 21:01 | 6509 | 6607
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1430.51 | 34.3322 | 1458.05 | 34.9932 | 1409.24 | 33.8218
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2414.78 | 57.9547 | 2363.28 | 56.7187 | 2156.59 | 51.7582
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1243.92 | 29.8541 | 1290.25 | 30.966 | 1244.62 | 29.8709
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 579.92 | 13.9181 | 576.87 | 13.8449 | 546.24 | 13.1098
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5669.13 | 136.0591 | 5688.45 | 136.5228 | 5356.69 | 128.5606
Machhkund | ALL | Darlipali | 2
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 510 | GMR |  |  |  | 329
| NBVL #3 | 48 | MDTPC |  |  |  | 4
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 20.002 | SAPTADHARA |  |  |  | 9
Solar: |  | 208 | KAKATIYA |  |  |  | 2.5048
CGPs : | JSPL (Angul) | 320.1597 | JSL(Duburi) |  |  |  | -157.225
| ICCL | 51.9246 | visa |  |  |  | 10.6147
| NALCO | -177.5152 | VAL (CGP) |  |  |  | 72.413
| RSP | -155.3989 | BSL(MMDL) |  |  |  | 142.0766
| INDAL | 6.3974 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -34.3704 | VAL CPP 400 kV |  |  |  | -1309.0465
| NBVL | 47.9351 | Arati |  |  |  | 30.6199
| BPSL(JSG) | -137.9131 | BPPL |  |  |  | 93.1639
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-11 | 2026-07-12 | 2026-07-13 | 2026-07-14 | 2026-07-15 | 2026-07-16 | 2026-07-17 | 2026-07-18
524.875 | 504.292 | 559.008 | 512.0802 | 667.61 | 649.09 | 590.4425 | 579.288
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.18.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.28
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AEG10_S_FTG4 | VLSEZ | 14.91
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AEG10_W_FTG4 | VLSEZ | 7.4
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -1.7 | AGE26AL_PSS6_KPS1_S | ODISHA | 136.45
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AP41PL_BHDL | ODISHA | 60.11
JSPLANGUL | CR_IR_MS | -33.34 | ARYAN_ISPAT | WBSEDCL | -5 | AP43PL_BKN | ODISHA | 90.04
JSPLANGUL | GEB_Beneficiary | -46.67 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.19
MAADURGA_THERMAL | NPCL_UP | -17.82 | DCBL_Rajgangpur | DCL_RCW | -4.62 | AWEK1L | ODISHA | 11.73
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 17.59
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK4L_DEDYA_BHUJ2_W | VLSEZ | 75.71
OCL_IRON_STEEL | NPCL_UP | -34.42 | FACORPOWER | TPL_DIS_AHM | -25 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.4
ODISHA | AMNSIL | -127.08 | JSPLANGUL | CSEB_Beneficiary | -100 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 29.87
ODISHA | CESC | -33.33 | NBVLIPP | BSPHCL | -17.92 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.63
ODISHA | PCKL | -82.81 | OCL_IRON_STEEL | BRPL | -25 | CPTTNPL | VLSEZ | 13.96
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | ORSISL | WBSEDCL | -5 | DADRI_SOLAR | ODISHA | 0.42
TIMES_STEEL | TPL_DIS_AHM_ISTS | -5.75 | RSPL_JHARSUGUDA | WBSEDCL | -10 | ENERSON_SOLAR_10MW | ODISHA | 1.39
TSBSLA | KSEB | -7.5 | VSL | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0
VSL | CR_IR_MS | -2.92 | Darlipali_NTPC | ODISHA | 127.45 | GADAG_GreenInfra_W | ODISHA | 0.52
FARIDABAD_SOLAR | ODISHA | 0.86 | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | GADAG_Serentica3_S | VLSEZ | 22.68
JSWEL_UTKAL | ODISHA | 40.57 | JIPL | ODISHA | 115.37 | GADAG_Serentica3_W | VLSEZ | 70.34
MPPMCL | ODISHA | 0 | JSPL_DCPP | JSPLBarbil | 9.61 | GIWEL_SECI_II_RE | ODISHA | 59.01
RAJ_SOLAR | ODISHA | 2.53 | KWHEP | VLSEZ | 188.36 | GPCL_SOLAR_10 | ODISHA | 1.2
RAJ_SOLAR | ODISHA | 2.51 | MYTRAHVAYU | VLSEZ | 15.11 | GSECL_SOLAR | ODISHA | 0.8
|  |  | NALCOAP | NACL_Odisha | 24.12 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.72
|  |  | TSTPP_I | ODISHA | 126.81 | JREPL_BKN2 | VLSEZ | 4.98
[6 empty] | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 4
[6 empty] | KARUR_TPVARDHAMAN_W | TSKPO | 88.22
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.61
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.2
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 7.97
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.54
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 8.57
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 3.2
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 3
[6 empty] | OKWPL_RE | ODISHA | 30.77
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 6.91
[6 empty] | RWE_AP2_SECI_III | ODISHA | 24.91
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 9.88
[6 empty] | SRI9PL_FTG3 | VLSEZ | 73.59
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 45.68
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 64.18

## DAM
DAM TRADING DETAILS FOR DT :18.07.2026
Time Period | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Nava_Limited_IPP | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -12 | -75 | 0 | 0 | 0
00:15 - 00:30 | -12 | -75 | 0 | 0 | 0
00:30 - 00:45 | -12 | -75 | 0 | 0 | 0
00:45 - 01:00 | -12 | -75 | 0 | 0 | 0
01:00 - 01:15 | -12 | -150 | 0 | 0 | 0
01:15 - 01:30 | -12 | -150 | 0 | 0 | 0
01:30 - 01:45 | -12 | -150 | 0 | 0 | 0
01:45 - 02:00 | -12 | -150 | 0 | 0 | 0
02:00 - 02:15 | -12 | -25 | 0 | 0 | 0
02:15 - 02:30 | -12 | -25 | 0 | 0 | 0
02:30 - 02:45 | -12 | -25 | 0 | 0 | 0
02:45 - 03:00 | -12 | -25 | 0 | 0 | 0
03:00 - 03:15 | -12 | -50 | 0 | 0 | 0
03:15 - 03:30 | -12 | -50 | 0 | 0 | 0
03:30 - 03:45 | -12 | -50 | 0 | 0 | 0
03:45 - 04:00 | -12 | -50 | 0 | 0 | 0
04:00 - 04:15 | -12 | -50 | 0 | 0 | 0
04:15 - 04:30 | -12 | -50 | 0 | 0 | 0
04:30 - 04:45 | -12 | -50 | 0 | 0 | 0
04:45 - 05:00 | -12 | -50 | 0 | 0 | 0
05:00 - 05:15 | -12 | -75 | 0 | -25 | 0
05:15 - 05:30 | -12 | -75 | 0 | -25 | 0
05:30 - 05:45 | -12 | -75 | 0 | -25 | 0
05:45 - 06:00 | -12 | -75 | 0 | -25 | 0
06:00 - 06:15 | -12 | -125 | 0 | -25 | 0
06:15 - 06:30 | -12 | -125 | 0 | -25 | 0
06:30 - 06:45 | -12 | -125 | 0 | -25 | 0
06:45 - 07:00 | -12 | -125 | 0 | -25 | 0
07:00 - 07:15 | -12 | -125 | 0 | -25 | 0
07:15 - 07:30 | -12 | -125 | 0 | -25 | 0
07:30 - 07:45 | -12 | -125 | 0 | -25 | 0
07:45 - 08:00 | -12 | -125 | 0 | -25 | 0
08:00 - 08:15 | 0 | -650 | 0 | -25 | 0
08:15 - 08:30 | 0 | -650 | 0 | -25 | 0
08:30 - 08:45 | 0 | -650 | 0 | -25 | 0
08:45 - 09:00 | 0 | -650 | 0 | -25 | 0
09:00 - 09:15 | 0 | -1175 | 0 | -25 | 0
09:15 - 09:30 | 0 | -1175 | 0 | -25 | 0
09:30 - 09:45 | 0 | -1175 | 0 | -25 | 0
09:45 - 10:00 | 0 | -1175 | 0 | -25 | 0
10:00 - 10:15 | 0 | -1155.82 | 0 | 0 | 0
10:15 - 10:30 | 0 | -800 | 0 | 0 | 0
10:30 - 10:45 | 0 | -800 | 28.84 | 0 | 0
10:45 - 11:00 | 0 | -701.36 | 28.84 | 0 | 0
11:00 - 11:15 | 0 | -618.21 | 28.84 | 0 | 0
11:15 - 11:30 | 0 | -692.81 | 28.84 | 0 | 0
11:30 - 11:45 | 0 | -615.66 | 28.84 | 0 | 0
11:45 - 12:00 | 0 | -614.77 | 28.84 | 0 | 0
12:00 - 12:15 | 0 | -564.73 | 28.84 | 0 | 0
12:15 - 12:30 | 0 | -615.2 | 28.84 | 0 | 0
12:30 - 12:45 | 0 | -538.08 | 28.84 | 0 | 0
12:45 - 13:00 | 0 | -538.07 | 28.84 | 0 | 0
13:00 - 13:15 | 0 | -455.65 | 28.84 | 0 | 0
13:15 - 13:30 | 0 | -477.22 | 28.84 | 0 | 0
13:30 - 13:45 | 0 | -564.37 | 28.84 | 0 | 0
13:45 - 14:00 | 0 | -633.93 | 28.84 | 0 | 0
14:00 - 14:15 | 0 | -450 | 0 | 0 | 0
14:15 - 14:30 | 0 | -617.16 | 0 | 0 | 0
14:30 - 14:45 | 0 | -832.48 | 0 | 0 | 0
14:45 - 15:00 | 0 | -895.21 | 0 | 0 | 0
15:00 - 15:15 | 0 | -1075 | 0 | -25 | 0
15:15 - 15:30 | 0 | -1075 | 0 | -25 | 0
15:30 - 15:45 | 0 | -1075 | 0 | -25 | 0
15:45 - 16:00 | 0 | -1075 | 0 | -25 | 0
16:00 - 16:15 | 0 | -925 | 0 | -25 | 0
16:15 - 16:30 | 0 | -925 | 0 | -25 | 0
16:30 - 16:45 | 0 | -925 | 0 | -25 | 0
16:45 - 17:00 | 0 | -925 | 0 | -25 | 0
17:00 - 17:15 | 0 | -400 | 0 | -25 | 0
17:15 - 17:30 | 0 | -400 | 0 | -25 | 0
17:30 - 17:45 | 0 | -400 | 0 | -25 | 0
17:45 - 18:00 | 0 | -400 | 0 | -25 | 0
18:00 - 18:15 | -12 | 51.11 | 0 | -25 | 0
18:15 - 18:30 | -12 | 33.41 | 0 | -25 | 0
18:30 - 18:45 | -12 | 13.22 | 0 | -25 | 0
18:45 - 19:00 | -12 | 6.96 | 0 | -25 | 0
19:00 - 19:15 | -12 | 1.39 | 0 | 0 | 0
19:15 - 19:30 | -12 | 0.64 | 0 | 0 | 0
19:30 - 19:45 | -12 | 0.24 | 0 | 0 | 0
19:45 - 20:00 | -12 | 0.01 | 0 | 0 | 0
20:00 - 20:15 | -12 | 1.06 | 0 | 0 | 0
20:15 - 20:30 | -12 | 1 | 0 | 0 | 0
20:30 - 20:45 | -12 | 0.15 | 0 | 0 | 0
20:45 - 21:00 | -12 | 0.07 | 0 | 0 | 0
21:00 - 21:15 | -12 | 0.11 | 0 | 0 | 0.08
21:15 - 21:30 | -12 | 0 | 0 | 0 | 0
21:30 - 21:45 | -12 | 0.49 | 0 | 0 | 0.35
21:45 - 22:00 | -12 | 0.43 | 0 | 0 | 0.35
22:00 - 22:15 | -12 | 0.25 | 0 | 0 | 0.22
22:15 - 22:30 | -12 | 0.18 | 0 | 0 | 0.16
22:30 - 22:45 | -12 | 0.08 | 0 | 0 | 0.07
22:45 - 23:00 | -12 | 0.05 | 0 | 0 | 0.06
23:00 - 23:15 | -12 | 0.03 | 0 | 0 | 0.04
23:15 - 23:30 | -12 | 0.01 | 0 | 0 | 0.01
23:30 - 23:45 | -12 | 0.14 | 0 | 0 | 0.16
23:45 - 24:00 | -12 | 0.27 | 0 | 0 | 0.3
Average | -7 | -340.3066 | 4.2058 | -9.375 | 0.01875

## GDAM
GDAM TRADING DETAILS FOR DT:18.07.2026
Time Period | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 43.26 | 0 | 6.25 | 0 | 86.53 | 0
09:00 - 09:15 | 43.26 | 0 | 6.25 | 0 | 86.53 | 0
09:15 - 09:30 | 43.26 | 0 | 6.25 | 5.77 | 86.53 | 0
09:30 - 09:45 | 43.26 | 0 | 6.25 | 5.77 | 86.53 | 0
09:45 - 10:00 | 43.26 | 0 | 6.25 | 5.77 | 86.53 | 0
10:00 - 10:15 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
10:15 - 10:30 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
10:30 - 10:45 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
10:45 - 11:00 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
11:00 - 11:15 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
11:15 - 11:30 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
11:30 - 11:45 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
11:45 - 12:00 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
12:00 - 12:15 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
12:15 - 12:30 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
12:30 - 12:45 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
12:45 - 13:00 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
13:00 - 13:15 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
13:15 - 13:30 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
13:30 - 13:45 | 43.26 | 9.61 | 6.25 | 5.77 | 86.53 | 0
13:45 - 14:00 | 43.26 | 9.61 | 6.25 | 5.77 | 72.11 | 0
14:00 - 14:15 | 43.26 | 9.61 | 6.25 | 5.77 | 72.11 | 0
14:15 - 14:30 | 43.26 | 9.61 | 6.25 | 5.77 | 76.92 | 0
14:30 - 14:45 | 43.26 | 9.61 | 6.25 | 5.77 | 76.92 | 0
14:45 - 15:00 | 43.26 | 9.61 | 6.25 | 5.77 | 76.92 | 0
15:00 - 15:15 | 43.26 | 0 | 6.25 | 0 | 76.91 | 0
15:15 - 15:30 | 43.26 | 0 | 6.25 | 0 | 76.91 | 0
15:30 - 15:45 | 43.26 | 0 | 6.25 | 0 | 76.91 | 0
15:45 - 16:00 | 43.26 | 0 | 6.25 | 0 | 76.91 | 0
16:00 - 16:15 | 33.65 | 0 | 6.25 | 0 | 0 | 6.73
16:15 - 16:30 | 33.65 | 0 | 6.25 | 0 | 0 | 29.8
16:30 - 16:45 | 33.65 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 33.65 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0.87
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0.41
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0.76
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0.82
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 1.08
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 1.09
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 1.32
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 1.18
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 2.41
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 3.68
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 5.24
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 5.14
Average | 14.4702 | 2.0021 | 2.0182 | 1.3824 | 25.1377 | 0.63052

## RTM
RTM TRADING DETAILS FOR DT: 18.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.6 | -14 | -0.6 | -300 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -29.1 | 0 | 0 | -10
00:15 - 00:30 | -1.6 | -14 | -0.6 | -300 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | -29.1 | 0 | 0 | -10
00:30 - 00:45 | -1.6 | -14 | -0.6 | -300 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | -29.1 | 0 | 0 | -10
00:45 - 01:00 | -1.6 | -14 | -0.6 | -300 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -29.1 | 0 | 13.4 | -10
01:00 - 01:15 | -1.6 | -14 | -0.6 | -300 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -29.1 | 0 | 8.89 | -10
01:15 - 01:30 | -1.6 | -14 | -0.6 | -300 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | -29.1 | 0 | 16.01 | -10
01:30 - 01:45 | -1.6 | -14 | -0.6 | -400 | 0 | -20 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | -29.1 | 0 | 32.4 | -10
01:45 - 02:00 | -1.6 | -14 | -0.6 | -400 | 0 | -20 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | -29.1 | 0 | 39.2 | -10
02:00 - 02:15 | -1.6 | -14 | -0.4 | -300 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | -29.1 | 0 | 39.55 | -10
02:15 - 02:30 | -1.6 | -14 | -0.4 | -300 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | -29.1 | 0 | 36.08 | -10
02:30 - 02:45 | -1.6 | -14 | -0.4 | -400 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -35 | 0 | -29.1 | 0 | 27.92 | -10
02:45 - 03:00 | -1.6 | -14 | -0.4 | -400 | 0 | 0 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -35 | 0 | -29.1 | 0 | 23.46 | -10
03:00 - 03:15 | -1.6 | -14 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -29.1 | 0 | 30.65 | -10
03:15 - 03:30 | -1.6 | -14 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -29.1 | 0 | 30.73 | -10
03:30 - 03:45 | -1.6 | -14 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -29.1 | 0 | 23.55 | -10
03:45 - 04:00 | -1.6 | -14 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -29.1 | 0 | 22.84 | -10
04:00 - 04:15 | -1.6 | -15 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -29.1 | 0 | 26.87 | -10
04:15 - 04:30 | -1.6 | -15 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -29.1 | 0 | 26.39 | -10
04:30 - 04:45 | -1.6 | -12 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -29.1 | 0 | 46.29 | -10
04:45 - 05:00 | -1.6 | -12 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -29.1 | 0 | 46.11 | -10
05:00 - 05:15 | -1.6 | -12 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -9.7 | 0 | 18.1 | -10
05:15 - 05:30 | -1.6 | -12 | -0.4 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -9.7 | 0 | 16.86 | -10
05:30 - 05:45 | -1.6 | -4 | -0.8 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -9.7 | 0 | 18.36 | -10
05:45 - 06:00 | -1.6 | 0 | -0.8 | -300 | 0 | -30 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | -9.7 | 0 | 17.03 | -10
06:00 - 06:15 | -1.6 | -7 | -0.8 | -400 | 0 | -40 | 0 | -10 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -55 | 0 | -9.7 | 0 | 16.14 | -10
06:15 - 06:30 | -1.6 | -7 | -0.8 | -300 | 0 | -40 | 0 | -10 | 0 | -0.9 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -55 | 0 | -9.7 | 0 | 15.45 | -10
06:30 - 06:45 | -1.6 | -5 | -0.4 | -300 | 0 | -40 | 0 | -10 | 0 | -0.9 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -60 | 0 | -9.7 | 0 | 27.94 | -10
06:45 - 07:00 | -1.6 | -5 | -0.4 | -300 | 0 | -40 | 0 | -10 | 0 | -0.9 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -60 | 0 | -9.7 | 0 | 28.09 | -10
07:00 - 07:15 | -1.6 | -4 | -0.4 | -300 | 0 | -40 | 0 | -10 | 0 | -0.9 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -60 | 0 | -9.7 | 0 | 37.81 | -10
07:15 - 07:30 | -1.6 | -15 | -0.4 | -300 | 0 | -40 | 0 | -10 | 0 | -0.9 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -60 | 0 | -9.7 | 0 | 42.59 | -10
07:30 - 07:45 | -1.6 | -3 | -0.4 | -262.5 | 0 | -40 | 0 | -10 | 0 | -0.9 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -75 | 0 | -9.7 | 0 | 17.31 | -10
07:45 - 08:00 | -1.6 | -1 | -0.4 | -211.68 | 0 | 0 | 0 | -10 | 7.69 | -0.9 | 0 | 14.42 | -1.1 | 7.69 | 9.61 | 0 | 0 | 86.54 | 0 | -2 | -75 | 0 | -9.7 | 0 | 28.84 | -10
08:00 - 08:15 | -1.6 | -1 | -0.4 | -207.01 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -1.2 | 7.69 | 9.61 | 0 | 0 | 86.53 | -1 | -2 | -75 | 0 | 0 | 0 | 28.84 | 0
08:15 - 08:30 | -1.6 | -1 | -0.4 | -200.02 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -1.4 | 7.69 | 9.61 | 0 | 0 | 86.53 | -1 | -2 | -75 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -1.6 | -1 | -0.4 | -221.03 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -1.7 | 0 | 9.61 | 0 | 0 | 86.53 | -1 | -2 | -75 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -1.6 | -6 | -0.4 | -226.02 | 0 | 0 | 0 | -2 | 0 | -0.9 | 0 | 0 | -1.9 | 0 | 9.61 | 0 | 0 | 0 | -1 | -2 | -75 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -1.6 | -6 | -0.4 | -149.93 | 0 | 0 | 9.61 | -2 | 7.69 | -0.9 | 0 | 0 | -2.6 | 11.55 | 9.61 | 0 | 0 | 0 | -1 | -2 | -80 | 0 | 0 | 5.38 | 0 | 0
09:15 - 09:30 | -1.6 | -1 | -0.4 | -111.73 | 0 | 0 | 9.61 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 9.62 | 0 | 0 | 0 | -1 | -2 | -75 | 0 | 0 | 5.38 | 0 | 0
09:30 - 09:45 | -1.6 | 0 | -0.4 | -149.89 | 0 | 0 | 9.61 | -2 | 7.69 | -0.9 | 0 | 0 | 5.29 | 8.65 | 14.43 | 0 | 0 | 0 | -1 | -2 | -65 | 0 | 0 | 5.38 | 0 | 0
09:45 - 10:00 | -1.6 | 0 | -0.4 | -131.97 | 0 | 0 | 9.61 | -2 | 7.69 | -0.9 | 0 | 0 | 5.19 | 8.65 | 14.43 | 0 | 0 | 0 | -1 | -2 | -65 | 0 | 0 | 5.38 | 0 | 0
10:00 - 10:15 | -1.6 | 0 | -0.2 | -143.72 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | -15 | 0 | 5.58 | 8.65 | 14.42 | 3.85 | 19.23 | 0 | -1 | -2 | -60 | 0 | 0 | 5.38 | 0 | 0
10:15 - 10:30 | -1.6 | 0 | -0.2 | -187.54 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 5.58 | 3.85 | 14.42 | 3.85 | 19.22 | 0 | -1 | -2 | -60 | 0 | 0 | 5.38 | 0 | 0
10:30 - 10:45 | -2.5 | -10 | -0.2 | -202.54 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 3.85 | 14.42 | 3.85 | 19.23 | 0 | -1 | -2 | -55 | 0 | 0 | 5.38 | 0 | 0
10:45 - 11:00 | -2.5 | 0 | -0.2 | -403.36 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 3.85 | 14.42 | 3.85 | 19.23 | 0 | -1 | -2 | -55 | 0 | 0 | 5.38 | 0 | 0
11:00 - 11:15 | -2.5 | 0 | -0.2 | -351.93 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 3.85 | 14.42 | 3.85 | 19.23 | 0 | -1 | -2 | -30 | 0 | 0 | 5.38 | 0 | 0
11:15 - 11:30 | -2.5 | 0 | -0.2 | -278.36 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 3.85 | 14.42 | 3.85 | 19.23 | 0 | -1 | -2 | -30 | 0 | 0 | 5.38 | 0 | 0
11:30 - 11:45 | -2.5 | 0 | -0.2 | -547.77 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -30 | 0 | 0 | 5.38 | 0 | 0
11:45 - 12:00 | -2.5 | 0 | -0.2 | -792.42 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -30 | 0 | 0 | 5.38 | 0 | 0
12:00 - 12:15 | -2.5 | -12 | -0.2 | -678.45 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 4.23 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -35 | 0 | 0 | 5.38 | 0 | 0
12:15 - 12:30 | -2.5 | 0 | -0.2 | -565.02 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 4.33 | 8.65 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -35 | 0 | 0 | 5.38 | 0 | 0
12:30 - 12:45 | -2.5 | 0 | -0.2 | -557.95 | 13.27 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 4.33 | 8.65 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -50 | 0 | 0 | 5.38 | 0 | 0
12:45 - 13:00 | -2.5 | 0 | -0.2 | -452.52 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 4.23 | 8.65 | 14.43 | 3.85 | 1.92 | 0 | -1 | -2 | -50 | 0 | 0 | 5.38 | 0 | 0
13:00 - 13:15 | -2.5 | 0 | -0.8 | -492.53 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 4.33 | 8.65 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -60 | 21.15 | 0 | 5.38 | 0 | 0
13:15 - 13:30 | -2.5 | 0 | -0.8 | -502 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 4.42 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -60 | 33.65 | 0 | 5.38 | 0 | 0
13:30 - 13:45 | -2.5 | 0 | -0.8 | -522.78 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -0.9 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -55 | 33.65 | 0 | 5.38 | 0 | 0
13:45 - 14:00 | -2.5 | -10 | -0.8 | -451.91 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -3.5 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -55 | 33.65 | 0 | 5.38 | 0 | 0
14:00 - 14:15 | -2.5 | 0 | -0.8 | -762.31 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -0.8 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -60 | 0 | 0 | 5.38 | 0 | 0
14:15 - 14:30 | -2.5 | 0 | -0.8 | -763.01 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -3.1 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -60 | 0 | 0 | 5.38 | 0 | 0
14:30 - 14:45 | -2.5 | 0 | -0.8 | -377.48 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -3 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -60 | 33.65 | 0 | 5.38 | 0 | 0
14:45 - 15:00 | -2.5 | 0 | -0.8 | -274.99 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | -15 | 0 | -2.8 | 3.85 | 14.42 | 3.85 | 1.92 | 0 | -1 | -2 | -40 | 33.65 | 0 | 5.38 | 0 | 0
15:00 - 15:15 | -2.5 | 0 | -0.8 | -250.01 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -2.6 | 11.54 | 14.42 | 3.18 | 0 | 0 | -1 | -2 | -60 | 0 | 0 | 4.46 | 0 | 0
15:15 - 15:30 | -2.5 | 0 | -0.8 | -246.19 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -2.4 | 11.54 | 14.42 | 3.85 | 19.23 | 0 | -1 | -2 | 0 | 0 | 0 | 5.38 | 0 | 0
15:30 - 15:45 | -2.5 | -10 | -0.8 | -325.94 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -2.2 | 11.54 | 14.42 | 3.85 | 19.23 | 0 | -2 | -2 | -10 | 38.45 | 0 | 5.38 | 0 | 0
15:45 - 16:00 | -2.5 | 0 | -0.8 | -212.96 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -1.9 | 11.54 | 14.42 | 3.85 | 19.23 | 0 | -2 | -2 | -30 | 38.45 | 0 | 5.38 | 0 | 0
16:00 - 16:15 | -2.5 | 0 | -0.6 | -265.54 | 0 | 0 | 9.61 | -2 | 7.69 | -0.9 | 0 | 14.42 | -1.7 | 11.54 | 14.42 | 3.85 | 19.23 | 76.91 | -2 | -2 | -30 | 48.07 | 0 | 0.67 | 0 | 0
16:15 - 16:30 | -2.5 | 0 | -0.6 | -282.97 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 14.42 | -1.4 | 11.54 | 14.42 | 3.85 | 19.23 | 76.9 | -2 | -2 | -30 | 38.46 | 0 | 0.67 | 0 | 0
16:30 - 16:45 | -2.5 | 0 | -0.6 | -465.51 | 0 | 0 | 9.61 | -2 | 7.69 | -0.9 | 0 | 14.42 | -1.4 | 13.46 | 14.42 | 3.85 | 19.23 | 76.92 | -2 | -2 | -50 | 28.84 | 0 | 0.67 | 0 | 0
16:45 - 17:00 | -2.5 | 0 | -0.6 | -328.67 | 0 | 0 | 9.61 | -2 | 7.69 | -0.9 | 0 | 14.42 | -1.1 | 17.31 | 14.42 | 3.85 | 19.23 | 76.91 | -2 | -2 | -50 | 19.23 | 0 | 0.67 | 0 | 0
17:00 - 17:15 | -2.5 | -5 | -0.2 | -410.51 | 0 | 0 | 9.61 | -2 | 7.69 | -0.9 | 0 | 14.42 | -0.7 | 13.46 | 14.42 | 3.85 | 19.23 | 76.91 | -2 | -6 | -10 | 0 | 0 | 0.67 | 141.33 | 0
17:15 - 17:30 | -2.5 | -5 | -0.2 | -143.11 | 0 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 14.42 | -0.4 | 13.46 | 14.42 | 3.85 | 19.23 | 86.53 | -2 | -6 | -30 | 0 | 0 | 0.67 | 0 | 0
17:30 - 17:45 | -2.7 | 0 | -0.2 | -299 | 0 | 0 | 0 | -4 | 7.69 | -0.9 | 0 | 14.42 | -0.2 | 13.46 | 14.42 | 3.85 | 0 | 86.53 | -2 | -10 | -20 | 0 | 0 | 0.67 | 0 | 0
17:45 - 18:00 | -2.7 | 0 | -0.2 | -418.53 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | 0 | 0 | 14.42 | 0 | 0 | 86.53 | -2 | -10 | -20 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.7 | 0 | -0.2 | -399.84 | 0 | 0 | 9.61 | -4 | 7.69 | -0.9 | 0 | 14.42 | 0 | 17.31 | 14.42 | 3.85 | 19.23 | 86.52 | -2 | 0 | 0 | 0 | -38.8 | 0.67 | 0 | 0
18:15 - 18:30 | -2.7 | 0 | -0.2 | -133.78 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | 0 | 0 | 14.42 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | -38.8 | 0 | 0 | 0
18:30 - 18:45 | -2.7 | 0 | -0.2 | -133.33 | 0 | 0 | 0 | -15 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -38.8 | 0 | 0 | 0
18:45 - 19:00 | -2.7 | 0 | -0.2 | 0 | 0 | 0 | 0 | -15 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -38.8 | 0 | 0 | 0
19:00 - 19:15 | -2.7 | 0 | -0.2 | -100 | 0 | 0 | 0 | -15 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -38.8 | 0 | 13.15 | 0
19:15 - 19:30 | -2.7 | 0 | -0.2 | -100 | 0 | 0 | 0 | -15 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -38.8 | 0 | 10.31 | 0
19:30 - 19:45 | -2.7 | 0 | -0.2 | -150 | 0 | 0 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -38.8 | 0 | 16.89 | 0
19:45 - 20:00 | -2.7 | 0 | -0.2 | -150 | 0 | 0 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -38.8 | 0 | 16.29 | 0
20:00 - 20:15 | -2.7 | 0 | -0.2 | -100 | 0 | 0 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -15 | 0 | -38.8 | 0 | 0 | 0
20:15 - 20:30 | -2.7 | 0 | -0.2 | -100 | 0 | 0 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | -38.8 | 0 | 0 | 0
20:30 - 20:45 | -1.8 | 0 | -0.2 | -100 | 0 | -40 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -38.8 | 0 | 0 | 0
20:45 - 21:00 | -1.8 | 0 | -0.2 | -100 | 0 | -40 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -38.8 | 0 | 0 | 0
21:00 - 21:15 | -1.8 | 0 | -0.2 | -150 | 0 | -40 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | -38.8 | 0 | 5.5 | 0
21:15 - 21:30 | -1.8 | 0 | -0.2 | -150 | 0 | -40 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | -38.8 | 0 | 3.29 | 0
21:30 - 21:45 | -1.8 | 0 | -0.8 | -150 | 0 | -40 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | -38.8 | 0 | 0 | 0
21:45 - 22:00 | -1.8 | 0 | -0.8 | -150 | 0 | -40 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | -10 | 0 | -38.8 | 0 | 1.02 | 0
22:00 - 22:15 | -1.8 | -1 | -0.8 | -200 | 0 | -40 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | -15 | 0 | -38.8 | 0 | 2.97 | 0
22:15 - 22:30 | -1.8 | -1 | -0.8 | -200 | 0 | -40 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | -10 | 0 | -38.8 | 0 | 7.07 | 0
22:30 - 22:45 | -1.8 | -1 | -0.4 | -150 | 0 | -20 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | -38.8 | 0 | 5.47 | 0
22:45 - 23:00 | -1.8 | -1 | -0.4 | -150 | 0 | -20 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | -10 | 0 | -38.8 | 0 | 8.75 | 0
23:00 - 23:15 | -1.8 | -1 | -0.4 | -200 | 0 | -20 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | -38.8 | 0 | 15.47 | 0
23:15 - 23:30 | -1.8 | -1 | -0.4 | -200 | 0 | -20 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | -10 | 0 | -38.8 | 0 | 17.06 | 0
23:30 - 23:45 | -1.8 | -2 | -0.4 | -250 | 0 | 0 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | -25 | 0 | -38.8 | 0 | 19.52 | 0
23:45 - 24:00 | -1.8 | -2 | -0.4 | -250 | 0 | 0 | 0 | -16 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | -15 | 0 | -38.8 | 0 | 24.51 | 0
Average | -2.0292 | -4.4896 | -0.44583 | -292.6694 | 0.13823 | -11.25 | 0.90094 | -7.9167 | 3.2042 | -0.9 | -0.3125 | 1.3519 | 0.036563 | 3.2957 | 6.1086 | 1.2764 | 3.4849 | 11.2166 | -1.0208 | -3 | -34.7396 | 4.176 | -16.975 | 1.6154 | 11.5865 | -3.3333