## POWER STATUS
POWER STATUS ON DT 20.07.2026
[9 empty] | 2026-07-20 | 2026-07-19
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 8:00 | 21:00
Demand -> | [8 empty] | 5577.561 | 6371.3317
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 195.875 | 4.701 | 630/590 ft | 610.77 | 611.5 | 612.87 | 200.6232 | 200.1303
| Chiplima | 72(3x24) | 54.458 | 1.307 | - |  |  |  | 52.7527 | 56
| Balimela | 510(6x60+2x75) | 35.083 | 0.84199 | 1516/1440 ft | 1462.2 | 1455.3 | 1455.3 | 0 | 0
| Rengali | 250(5x50) | 15.4917 | 0.3718 | 123.5/109.75 mt | 120.35 | 113.8 | 114.18 | 0 | 80.1677
| Upper Kolab | 320(4x80) | 37.25 | 0.894 | 858/844 mt | 851.27 | 848.6 | 848.61 | 20.8056 | 72.1923
| Upper Indravati | 600(4x150) | 190.3125 | 4.5675 | 642/625 mt | 633.7 | 630.02 | 630.1 | 0.29377 | 581.2524
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2736 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 528.4702 | 12.6833 |  |  |  |  | 274.4752 | 989.7427
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1700.4507 | 40.8108 | RENEWABLE ENERGY (RE) |  |  |  | 1706.1911 | 1720.5956
[5 empty] | M.Hydl | 96.87
| Total Thermal | 2200 | 1700.4507 | 40.8108 | Solar | 97.4633 |  |  | 1706.1911 | 1720.5956
IPP | VEDANTA #2 | 600 (1x600) | 494.6329 | 11.8712 | Total IPPs | Yesterday's Demand Profile |  |  | 538.613 | 496.5624
| GMR #3 | 350 (1x350) | 310.3817 | 7.4492 | 893.5333 |  | MW | HRS | 318.2804 | 319.3657
| NBVL(IPP) | 60(1x60) | 49.1236 | 1.179 |  |  |  |  | 54.3646 | 55.5111
| MDTPC |  | 39.395 | 0.94548 |  |  |  |  | 20.9583 | 56.3472
| CGPs |  | 832.1396 | 19.9714 | IPPs, CGPs & RE | Maximum | 6561 | 02:00 | 2053.1565 | 1944.0018
| Central Sector(Drawl) |  | 2093.838 | 50.2521 | 1920.0063 | Minimum | 5849 | 06:00 | 1543.7382 | 1716.9916
| Central Sector(Sch) |  | 2165.9192 | 51.9821 |  | Average | 6242.7652 |  | 1575.7227 | 1817.88
| Grand Total |  | 6242.7652 | 149.8264 | Instantaneous Peak demand |  | 6790 | 10:13 | 5577.561 | 6371.3317
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1478.2974 | 35.4791 | 1563.256 | 37.5181 | 1554.2489 | 37.302
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2466.2166 | 59.1892 | 2428.2759 | 58.2786 | 1826.8538 | 43.8445
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1282.5583 | 30.7814 | 1324.2795 | 31.7827 | 1284.3481 | 30.8244
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 584.2052 | 14.0209 | 596.8774 | 14.3251 | 579.9607 | 13.9191
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5811.2775 | 139.4707 | 5912.6889 | 141.9045 | 5245.4114 | 125.8899
Machhkund | ALL | Darlipali | 2
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 539.9998 | GMR |  |  |  | 321.0748
| NBVL #3 | 54.6039 | MDTPC |  |  |  | 21.1699
Mini Hydel: | MEENAKSHI | 40.3054 | OPCL |  |  |  | 0
| BTPL | 20.002 | SAPTADHARA |  |  |  | 6.0666
Solar: |  | 190.6571 | KAKATIYA |  |  |  | 3.4053
CGPs : | JSPL (Angul) | 346.3512 | JSL(Duburi) |  |  |  | -87.6079
| ICCL | 48.1952 | visa |  |  |  | 11.581
| NALCO | -145.0525 | VAL (CGP) |  |  |  | 80.6399
| RSP | -127.6094 | BSL(MMDL) |  |  |  | 49.5168
| INDAL | 2.4738 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -39.3938 | VAL CPP 400 kV |  |  |  | -434.7862
| NBVL | 54.6177 | Arati |  |  |  | 25.4926
| BPSL(JSG) | -68.7927 | BPPL |  |  |  | 99.3417
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-12 | 2026-07-13 | 2026-07-14 | 2026-07-15 | 2026-07-16 | 2026-07-17 | 2026-07-18 | 2026-07-19
504.292 | 559.008 | 512.0802 | 667.61 | 649.09 | 590.4425 | 579.288 | 528.4702
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.19.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.82
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AEG10_S_FTG4 | VLSEZ | 14.91
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AEG10_W_FTG4 | VLSEZ | 7.4
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -1.84 | AGE26AL_PSS6_KPS1_S | ODISHA | 115.99
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AP41PL_BHDL | ODISHA | 54.48
JSPLANGUL | CR_IR_MS | -50 | ARYAN_ISPAT | WBSEDCL | -5 | AP43PL_BKN | ODISHA | 86.8
JSPLANGUL | GEB_Beneficiary | -70 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.91
MAADURGA_THERMAL | NPCL_UP | -16.37 | DCBL_Rajgangpur | DCBLME | -2 | ASPPL_BESS_BHDL2 | ODISHA | 5
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCL_RCW | -4.62 | ASRYD_BESS_FTG1 | ODISHA | 6.25
NBVL_OTCL | GEB_Beneficiary | -26 | ENVIROCARE_INFRA | TANGEDCO | -4 | ASURY_BESS_BKN2 | ODISHA | 2.08
OCL_IRON_STEEL | NPCL_UP | -34.42 | ENVIROCARE_INFRA | TANGEDCO | -4 | AWEK1L | ODISHA | 14.59
ODISHA | KPTCL | -72.92 | FACORPOWER | TPL_DIS_AHM | -25 | AWEK1L | ODISHA | 9.73
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | JSPLANGUL | CSEB_Beneficiary | -150 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.22
SGML | KPTCL | -2.08 | NBVLIPP | BSPHCL | -17.92 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 27.45
SGML | KPTCL | -2.08 | OCL_IRON_STEEL | BRPL | -25 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 9.64
TIMES_STEEL | TPL_DIS_AHM_ISTS | -4.5 | ODISHA | KSEB | -25 | CPTTNPL | VLSEZ | 17.51
VSL | CR_IR_MS | -2.92 | ODISHA | KSEB | -37.5 | DADRI_SOLAR | ODISHA | 0.43
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | WBSEDCL | -5 | ENERSON_SOLAR_10MW | ODISHA | 1.13
JSWEL_UTKAL | ODISHA | 65.08 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0
MPPMCL | ODISHA | 0 | VSL | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0.5
RAJ_SOLAR | ODISHA | 2.28 | Darlipali_NTPC | ODISHA | 22.88 | GADAG_Serentica3_S | VLSEZ | 24.06
RAJ_SOLAR | ODISHA | 2.27 | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | GADAG_Serentica3_W | VLSEZ | 76.17
|  |  | HP_GOVT | VLSEZ | 100.2 | GIWEL_SECI_II_RE | ODISHA | 47.71
|  |  | JIPL | ODISHA | 115.37 | GPCL_SOLAR_10 | ODISHA | 1.4
|  |  | MYTRAHVAYU | VLSEZ | 15.11 | GSECL_SOLAR | ODISHA | 0.88
|  |  | NALCOAP | NACL_Odisha | 21.64 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.42
|  |  | TSTPP_I | ODISHA | 120.7 | JREPL_BKN2 | VLSEZ | 15.23
[6 empty] | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 4
[6 empty] | KARUR_TPVARDHAMAN_W | TSKPO | 76.63
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 8.73
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 5.94
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.16
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 6.59
[6 empty] | OKWPL_RE | ODISHA | 24.55
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 9.89
[6 empty] | RWE_AP2_SECI_III | ODISHA | 20.99
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 0
[6 empty] | SAUPL_HJRTPR_RJGR_W | VLSEZ | 18.75
[6 empty] | SRI9PL_FTG3 | VLSEZ | 70.57
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 28.61
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.19
[6 empty] | XXPPL_FTG3 | ODISHA | 60.7

## DAM
DAM TRADING DETAILS FOR DT :19.07.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 19.88 | 0 | -10 | 0 | 0 | 0 | -29.1 | 25.98
00:15 - 00:30 | 19.71 | 0 | -10 | 0 | 0 | 0 | -29.1 | 25.9
00:30 - 00:45 | 21.29 | 0 | -10 | 0 | 0 | 0 | -29.1 | 27.95
00:45 - 01:00 | 22.49 | 0 | -10 | 0 | 0 | 0 | -29.1 | 29.55
01:00 - 01:15 | 26.89 | 0 | -10 | 0 | 0 | 0 | -29.1 | 35.34
01:15 - 01:30 | 27.06 | 0 | -10 | 0 | 0 | 0 | -29.1 | 35.61
01:30 - 01:45 | 28.75 | 0 | -10 | 0 | 0 | 0 | -29.1 | 37.8
01:45 - 02:00 | 31.54 | 0 | -10 | 0 | 0 | 0 | -29.1 | 41.4
02:00 - 02:15 | 65.21 | 0 | -10 | 0 | 0 | 0 | -29.1 | 85.71
02:15 - 02:30 | 35.06 | 0 | -10 | 0 | 0 | 0 | -29.1 | 45.99
02:30 - 02:45 | 15.54 | 0 | -10 | 0 | 0 | 0 | -29.1 | 4.68
02:45 - 03:00 | 2.43 | 0 | -10 | 0 | 0 | 0 | -29.1 | 0.57
03:00 - 03:15 | 1.33 | 0 | -10 | 0 | 0 | 0 | -29.1 | 1.07
03:15 - 03:30 | 2.11 | 0 | -10 | 0 | 0 | 0 | -29.1 | 1.81
03:30 - 03:45 | 2.57 | 0 | -10 | 0 | 0 | 0 | -29.1 | 1.43
03:45 - 04:00 | 2.72 | 0 | -10 | 0 | 0 | 0 | -29.1 | 0.74
04:00 - 04:15 | 0.51 | 0 | -10 | 0 | 0 | 0 | -29.1 | 0.17
04:15 - 04:30 | 1.55 | 0 | -10 | 0 | 0 | 0 | -29.1 | 0.51
04:30 - 04:45 | 1.53 | 0 | -10 | 0 | 0 | 0 | -29.1 | 0.5
04:45 - 05:00 | 1.51 | 0 | -10 | 0 | 0 | 0 | -29.1 | 0.57
05:00 - 05:15 | -25 | 0 | -10 | -43 | 0 | 0 | -29.1 | 0.16
05:15 - 05:30 | -25 | 0 | -10 | -43 | 0 | 0 | -29.1 | 0
05:30 - 05:45 | -25 | 0 | -10 | -43 | 0 | 0 | -29.1 | 1.38
05:45 - 06:00 | -25 | 0 | -10 | -43 | 0 | 0 | -29.1 | 2.55
06:00 - 06:15 | -75 | 0 | -10 | -43 | 0 | 0 | -29.1 | 5.71
06:15 - 06:30 | -75 | 0 | -10 | -43 | 0 | 0 | -29.1 | 5.72
06:30 - 06:45 | -75 | 0 | -10 | -43 | 0 | 0 | -29.1 | 6.48
06:45 - 07:00 | -75 | 0 | -10 | -43 | 0 | 0 | -29.1 | 5.09
07:00 - 07:15 | -325 | 0 | -10 | -43 | 0 | 0 | 0 | 1.58
07:15 - 07:30 | -325 | 0 | -10 | -43 | 0 | 0 | 0 | 0
07:30 - 07:45 | -325 | 0 | -10 | -43 | 0 | 0 | 0 | 0
07:45 - 08:00 | -325 | 0 | -10 | -43 | 0 | 0 | 0 | 0
08:00 - 08:15 | -450 | 0 | -1 | -43 | 0 | 0 | 0 | 0
08:15 - 08:30 | -450 | 0 | -1 | -43 | 0 | 0 | 0 | 0
08:30 - 08:45 | -450 | 0 | -1 | -43 | 0 | 0 | 0 | 0
08:45 - 09:00 | -450 | 0 | -1 | -43 | 0 | 0 | 0 | 0
09:00 - 09:15 | -900 | 0 | -1 | -43 | 0 | 0 | 0 | 0
09:15 - 09:30 | -900 | 0 | -1 | -43 | 0 | 0 | 0 | 0
09:30 - 09:45 | -873.45 | 0 | -1 | -43 | 0 | 0 | 0 | 0
09:45 - 10:00 | -817.63 | 0 | -1 | -43 | 0 | 0 | 0 | 0
10:00 - 10:15 | -725 | 0 | -1 | -18 | 0 | 0 | 0 | 0
10:15 - 10:30 | -725 | 0 | -1 | -18 | 0 | 0 | 0 | 0
10:30 - 10:45 | -633.55 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
10:45 - 11:00 | -594.75 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
11:00 - 11:15 | -592.73 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
11:15 - 11:30 | -621.41 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
11:30 - 11:45 | -591.36 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
11:45 - 12:00 | -591.03 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
12:00 - 12:15 | -555.72 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
12:15 - 12:30 | -486.88 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
12:30 - 12:45 | -478.58 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
12:45 - 13:00 | -473.79 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
13:00 - 13:15 | -525.34 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
13:15 - 13:30 | -551.85 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
13:30 - 13:45 | -587.99 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
13:45 - 14:00 | -600.43 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
14:00 - 14:15 | -712.68 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
14:15 - 14:30 | -950 | 28.82 | -1 | -18 | 0 | 0 | 0 | 0
14:30 - 14:45 | -950 | 0 | -1 | -18 | 0 | 0 | 0 | 0
14:45 - 15:00 | -950 | 0 | -1 | -18 | 0 | 0 | 0 | 0
15:00 - 15:15 | -860.38 | 0 | -1 | -43 | 7.68 | 0 | 0 | 0
15:15 - 15:30 | -907.15 | 0 | -1 | -43 | 7.68 | 0 | 0 | 0
15:30 - 15:45 | -925 | 0 | -1 | -43 | 7.68 | 0 | 0 | 0
15:45 - 16:00 | -925 | 0 | -1 | -43 | 7.68 | 0 | 0 | 0
16:00 - 16:15 | -675 | 0 | -1 | -43 | 0 | 76.84 | 0 | 0
16:15 - 16:30 | -675 | 0 | -1 | -43 | 0 | 76.84 | 0 | 0
16:30 - 16:45 | -675 | 0 | -1 | -43 | 0 | 76.84 | 0 | 0
16:45 - 17:00 | -675 | 0 | -1 | -43 | 0 | 0 | 0 | 0
17:00 - 17:15 | -225 | 0 | -1 | -43 | 0 | 0 | 0 | 0
17:15 - 17:30 | -225 | 0 | -1 | -43 | 0 | 0 | 0 | 0
17:30 - 17:45 | -225 | 0 | -4 | -43 | 0 | 0 | 0 | 0
17:45 - 18:00 | -225 | 0 | -4 | -43 | 0 | 0 | 0 | 0
18:00 - 18:15 | -50 | 0 | -4 | -43 | 0 | 0 | 0 | 0
18:15 - 18:30 | -50 | 0 | -4 | -43 | 0 | 0 | -48.5 | 0
18:30 - 18:45 | 39.21 | 0 | -10 | -43 | 0 | 0 | -48.5 | 0
18:45 - 19:00 | 22.39 | 0 | -10 | -43 | 0 | 0 | -48.5 | 0
19:00 - 19:15 | 14.08 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
19:15 - 19:30 | 6.18 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
19:30 - 19:45 | 3.17 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
19:45 - 20:00 | 0 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
20:00 - 20:15 | 1.97 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
20:15 - 20:30 | 2.29 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
20:30 - 20:45 | 0.75 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
20:45 - 21:00 | 0.95 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
21:00 - 21:15 | 0 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
21:15 - 21:30 | 1.2 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
21:30 - 21:45 | 6.3 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
21:45 - 22:00 | 6 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
22:00 - 22:15 | 3.56 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
22:15 - 22:30 | 3.27 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
22:30 - 22:45 | 1.61 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
22:45 - 23:00 | 2.01 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
23:00 - 23:15 | 0.16 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
23:15 - 23:30 | 0.61 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
23:30 - 23:45 | 3.97 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
23:45 - 24:00 | 9.84 | 0 | -10 | 0 | 0 | 0 | -48.5 | 0
Average | -278.6198 | 4.8033 | -6.1875 | -19.875 | 0.32 | 2.4013 | -20.1073 | 4.4995

## GDAM
GDAM TRADING DETAILS FOR DT:19.07.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 13.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 15.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 14.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 14.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 15.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 15.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 14.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 15.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 13.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 12.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 28.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 0 | 86.44 | 0
09:00 - 09:15 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 0 | 86.44 | 0
09:15 - 09:30 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 7.68 | 86.45 | 0
09:30 - 09:45 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 7.68 | 86.45 | 0
09:45 - 10:00 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 7.68 | 86.45 | 0
10:00 - 10:15 | 0 | 0 | 28.82 | 0 | 0 | 9.61 | 6.24 | 7.68 | 86.44 | 0
10:15 - 10:30 | 0 | 0 | 28.82 | 33.62 | 6.72 | 9.61 | 6.24 | 7.68 | 86.44 | 0
10:30 - 10:45 | 0 | 0 | 28.82 | 33.62 | 11.53 | 9.61 | 6.24 | 7.68 | 86.44 | 3.84
10:45 - 11:00 | 0 | 0 | 28.82 | 33.62 | 11.53 | 9.61 | 6.24 | 7.68 | 86.44 | 0
11:00 - 11:15 | -0.8 | 0 | 28.82 | 33.62 | 9.61 | 9.61 | 6.24 | 7.68 | 86.43 | 0
11:15 - 11:30 | -1.1 | 0 | 28.82 | 33.62 | 12.49 | 9.61 | 6.24 | 7.68 | 86.44 | 0
11:30 - 11:45 | -1.6 | 0 | 28.82 | 33.62 | 7.68 | 9.61 | 6.24 | 7.68 | 86.45 | 3.84
11:45 - 12:00 | -1.4 | 0 | 28.82 | 33.62 | 15.37 | 9.61 | 6.24 | 7.68 | 86.44 | 3.84
12:00 - 12:15 | 0 | 0 | 28.82 | 33.62 | 15.37 | 9.61 | 6.24 | 7.68 | 86.44 | 3.84
12:15 - 12:30 | 0 | 0 | 28.82 | 33.62 | 15.37 | 9.61 | 6.24 | 7.68 | 86.44 | 3.84
12:30 - 12:45 | 0 | 0 | 28.82 | 33.62 | 16.33 | 9.61 | 6.24 | 7.68 | 86.44 | 3.84
12:45 - 13:00 | 0 | 0 | 28.82 | 33.62 | 18.25 | 9.61 | 6.24 | 7.68 | 86.44 | 3.84
13:00 - 13:15 | 0 | 0 | 28.82 | 33.62 | 19.21 | 9.61 | 6.24 | 7.68 | 86.44 | 3.84
13:15 - 13:30 | 0 | 0 | 28.82 | 33.62 | 15.37 | 9.61 | 6.24 | 7.68 | 86.44 | 3.84
13:30 - 13:45 | 0 | 0 | 28.82 | 33.62 | 14.41 | 9.61 | 6.24 | 7.68 | 86.44 | 3.84
13:45 - 14:00 | 0 | 0 | 28.82 | 33.62 | 12.49 | 9.61 | 6.24 | 7.68 | 72.03 | 3.84
14:00 - 14:15 | 0 | 0 | 28.82 | 33.62 | 11.53 | 9.61 | 6.24 | 7.68 | 72.03 | 3.84
14:15 - 14:30 | 0 | 0 | 28.82 | 33.62 | 12.49 | 9.61 | 6.24 | 7.68 | 76.83 | 3.84
14:30 - 14:45 | 0 | 0 | 28.82 | 33.62 | 14.41 | 9.61 | 6.24 | 7.68 | 76.83 | 0
14:45 - 15:00 | 0 | 0 | 28.82 | 5.25 | 2.55 | 9.61 | 6.24 | 7.68 | 76.84 | 0
15:00 - 15:15 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 0 | 76.84 | 0
15:15 - 15:30 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 0 | 76.84 | 0
15:30 - 15:45 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 0 | 76.84 | 0
15:45 - 16:00 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 0 | 76.84 | 0
16:00 - 16:15 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 28.82 | 0 | 0 | 0 | 6.24 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 28.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 28.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.095833 | 1.8868 | 10.2071 | 6.3584 | 2.5282 | 2.0021 | 2.015 | 1.84 | 25.112 | 0.52

## RTM
RTM TRADING DETAILS FOR DT: 19.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.6 | -1 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 0 | -10
00:15 - 00:30 | -1.6 | -1 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 0 | -10
00:30 - 00:45 | -1.6 | -1 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 0 | -10
00:45 - 01:00 | -1.6 | -1 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 0 | -10
01:00 - 01:15 | -1.6 | -1 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 154.55 | -10
01:15 - 01:30 | -1.6 | -1 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | -38.8 | 0 | 305.43 | -10
01:30 - 01:45 | -1.6 | -1 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 687.88 | -10
01:45 - 02:00 | -1.6 | -1 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 760.81 | -10
02:00 - 02:15 | -1.6 | -2 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 424.91 | -10
02:15 - 02:30 | -1.6 | -2 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 396.97 | -10
02:30 - 02:45 | -1.6 | -2 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -38.8 | 0 | 334.3 | -10
02:45 - 03:00 | -1.6 | -2 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -20 | 0 | -38.8 | 0 | 309.96 | -10
03:00 - 03:15 | -1.6 | -2 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -20 | 0 | -29.1 | 0 | 271.21 | -10
03:15 - 03:30 | -1.6 | -2 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -20 | 0 | -29.1 | 0 | 211.67 | -10
03:30 - 03:45 | -1.6 | -2 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 242.33 | -10
03:45 - 04:00 | -1.6 | -2 | 0 | 0 | -12 | 0 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 259.61 | -10
04:00 - 04:15 | -1.6 | -2 | 0 | 0 | -12 | 43.83 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 156.54 | -10
04:15 - 04:30 | -1.6 | -2 | 0 | 0 | -12 | 39.75 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 141.99 | -10
04:30 - 04:45 | -1.4 | -2 | 0 | 0 | -12 | 38.59 | 0 | 0 | -40 | 0 | -6 | 0 | -0.9 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -15 | 0 | -29.1 | 0 | 120.6 | -10
04:45 - 05:00 | -1.4 | -2 | 0 | 0 | -12 | 37.84 | 0 | 0 | -40 | 0 | -6 | 0 | -0.9 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -15 | 0 | -29.1 | 0 | 118.25 | -10
05:00 - 05:15 | -1.4 | -2 | 0 | 0 | -12 | 24.62 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | 0 | 0 | -29.1 | 0 | 87.94 | -10
05:15 - 05:30 | -1.4 | -2 | 0 | 0 | -12 | 25.03 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | 0 | 0 | -29.1 | 0 | 89.42 | -10
05:30 - 05:45 | -1.4 | 0 | 0 | -0.4 | -12 | 22.44 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -20 | 0 | -29.1 | 0 | 80.13 | -10
05:45 - 06:00 | -1.4 | 0 | 0 | -0.4 | -12 | 22.81 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -20 | 0 | -29.1 | 0 | 81.5 | -10
06:00 - 06:15 | -1.4 | -2 | 0 | -0.4 | -12 | 20.63 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -20 | 0 | -29.1 | 0 | 94.32 | -10
06:15 - 06:30 | -1.4 | -2 | 0 | -0.4 | -12 | 21.92 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | -29.1 | 0 | 98.97 | -10
06:30 - 06:45 | -1.4 | -2 | 0 | 0 | -12 | 24.15 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | -29.1 | 0 | 108.66 | -10
06:45 - 07:00 | -1.4 | -2 | 0 | 0 | -12 | 26.41 | 0 | 0 | -30 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | -29.1 | 0 | 116.59 | -10
07:00 - 07:15 | -1.4 | -2 | 0 | 0 | -12 | 28.52 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -10 | 0 | 0 | 0 | 220.27 | -10
07:15 - 07:30 | -1.4 | -14 | 0 | 0 | -12 | 56.16 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -5 | 0 | 0 | 0 | 421.23 | -10
07:30 - 07:45 | -1.4 | 0 | 0 | 0 | 0 | 297.55 | 0 | 0 | 0 | 0 | -4 | 0 | -0.9 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 432.63 | -10
07:45 - 08:00 | -1.4 | 0 | 0 | 0 | 0 | 311.01 | 0 | 0 | 0 | 0 | -4 | 7.69 | -0.9 | 0 | 14.42 | -3 | 13.46 | 11.54 | 0 | 0 | 0 | 0 | 0 | -10 | -10 | 11.54 | 0 | 0 | 230.74 | -10
08:00 - 08:15 | -1.4 | 0 | 0 | -0.4 | 0 | 324.5 | 18.94 | 0.96 | 0 | 9.61 | 0 | 7.69 | -0.9 | 0 | 0 | -2 | 17.31 | 11.54 | 3.85 | 0 | 0 | 0 | 0 | 0 | -40 | 43.26 | 0 | 0 | 348.02 | 0
08:15 - 08:30 | -1.4 | 0 | 0 | -0.4 | 0 | 96.14 | 0 | 0.96 | 0 | 9.61 | 0 | 7.69 | -0.9 | 0 | 0 | -2 | 9.61 | 11.54 | 3.85 | 0 | 0 | 0 | 0 | 0 | -10 | 43.26 | 0 | 0 | 348.03 | 0
08:30 - 08:45 | -1.4 | 0 | 0 | -0.4 | 0 | 192.21 | 0 | 0.96 | 0 | 0 | 0 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 11.54 | 3.85 | 0 | 0 | 0 | 0 | 0 | -60 | 43.26 | 0 | 0 | 228.52 | 0
08:45 - 09:00 | -1.4 | 0 | 0 | -0.4 | 0 | 142.58 | 0 | 0.96 | 0 | 0 | 0 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 11.54 | 3.85 | 0 | 0 | 0 | 0 | 0 | -60 | 43.26 | 0 | 0 | 154.78 | 0
09:00 - 09:15 | -1.4 | 0 | 0 | 0 | 0 | 427.06 | 0 | 0.96 | 0 | 0 | 0 | 7.69 | -0.9 | -15 | 0 | 0 | 5.77 | 11.54 | 3.85 | 0 | 0 | 0 | 0 | 0 | -30 | 43.26 | 0 | 0 | 154.79 | 0
09:15 - 09:30 | -1.4 | 0 | 0 | 0 | 0 | 432.56 | 0 | 0.96 | 0 | 0 | 0 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 11.54 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 43.26 | 0 | 0 | 234.53 | 0
09:30 - 09:45 | -1.4 | 0 | 0 | 0 | 0 | 230.69 | 0 | 0.96 | 0 | 0 | 0 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 48.07 | 0 | 0 | 160.55 | 0
09:45 - 10:00 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | 0 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 48.07 | 0 | 0 | 390.32 | 0
10:00 - 10:15 | -1.4 | 0 | 0 | 0 | 0 | -124.99 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 52.88 | 0 | 0 | 391.29 | 0
10:15 - 10:30 | -1.4 | -8 | 0 | 0 | 0 | -67.48 | 15.57 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | -35 | 52.88 | 0 | 0 | 384.56 | 0
10:30 - 10:45 | -1.4 | 0 | 0 | 0 | 0 | -392.48 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | -35 | 52.88 | 0 | 5.38 | 377.83 | 0
10:45 - 11:00 | -1.4 | 0 | 0 | 0 | 0 | -242.42 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 52.88 | 0 | 5.38 | 348.98 | 0
11:00 - 11:15 | -1.4 | 0 | 0 | 0 | 0 | -0.77 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -1 | 5.77 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 52.88 | 0 | 5.38 | 364.37 | 0
11:15 - 11:30 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | -1 | 9.61 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | -10 | 52.88 | 0 | 5.38 | 363.41 | 0
11:30 - 11:45 | -1.4 | 0 | 0 | 0 | 0 | -199.96 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 52.88 | 0 | 5.38 | 369.18 | 0
11:45 - 12:00 | -1.4 | -8 | 0 | 0 | 0 | -299.94 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 43.26 | 0 | 5.38 | 368.22 | 0
12:00 - 12:15 | -1.4 | 0 | 0 | 0 | 0 | -471.06 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | -45 | 43.26 | 0 | 5.38 | 142.29 | 0
12:15 - 12:30 | -1.4 | 0 | 0 | 0 | 0 | -255.61 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 0 | 0 | 0 | -30 | 43.26 | 0 | 5.38 | 145.18 | 0
12:30 - 12:45 | -1.4 | 0 | 0 | 0 | 0 | -203.67 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 86.53 | 0 | 0 | 0 | 14.42 | 0 | 5.38 | 144.21 | 0
12:45 - 13:00 | -1.4 | 0 | 0 | 0 | 0 | -205.65 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 86.53 | 0 | 0 | 0 | 14.42 | 0 | 5.38 | 148.06 | 0
13:00 - 13:15 | -1.4 | -7 | 0 | 0 | 0 | -254.61 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 86.53 | 0 | 0 | 0 | 14.42 | 0 | 5.38 | 0 | 0
13:15 - 13:30 | -1.4 | -7 | 0 | 0 | 0 | -104.2 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 86.53 | 0 | 0 | 0 | 14.42 | 0 | 5.38 | 0 | 0
13:30 - 13:45 | -1.4 | 0 | 0 | 0 | 0 | -127.08 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 86.53 | -2 | 0 | -10 | 14.42 | 0 | 5.38 | 0 | 0
13:45 - 14:00 | -1.4 | 0 | 0 | 0 | 0 | -27.81 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 72.11 | -2 | 0 | -55 | 14.42 | 0 | 5.38 | 0 | 0
14:00 - 14:15 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 9.61 | 17.31 | 3.85 | 0 | 0 | 72.11 | -2 | 0 | -55 | 9.61 | 0 | 5.38 | 0 | 0
14:15 - 14:30 | -1.4 | 0 | 0 | 0 | 0 | 348.48 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 10.58 | 3.85 | 0 | 0 | 72.11 | -2 | 0 | -30 | 9.61 | 0 | 5.38 | 0 | 0
14:30 - 14:45 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 10.58 | 3.85 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 5.38 | 0 | 0
14:45 - 15:00 | -1.4 | -10 | 0 | 0 | 0 | -51.93 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 10.58 | 3.85 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 5.38 | 0 | 0
15:00 - 15:15 | -1.1 | 0 | 0 | 0 | 0 | -50.38 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 10.58 | 3.85 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 5.38 | 0 | 0
15:15 - 15:30 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 10.58 | 3.85 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | 0 | 5.38 | 0 | 0
15:30 - 15:45 | -1.1 | 0 | 0 | 0 | 0 | 125.45 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 0 | 0 | 5.77 | 10.58 | 1.92 | 0 | 0 | 0 | -2 | 0 | -30 | 0 | 0 | 5.38 | 0 | 0
15:45 - 16:00 | -1.1 | 0 | 0 | 0 | 0 | 120.76 | 0 | 2.88 | 0 | 0 | -2 | 7.69 | -0.9 | -15 | 0 | 0 | 5.77 | 10.58 | 1.92 | 0 | 0 | 0 | -2 | 0 | -45 | 0 | 0 | 5.38 | 0 | 0
16:00 - 16:15 | -1.1 | -7 | 0 | 0 | 0 | 122.78 | 0 | 1.92 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 14.42 | 0 | 5.77 | 10.58 | 1.92 | 0 | 0 | 0 | -2 | 0 | -10 | 28.84 | 0 | 0.67 | 0 | 0
16:15 - 16:30 | -1.1 | -7 | 0 | 0 | 0 | 220.43 | 0 | 1.92 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 14.42 | 0 | 5.77 | 10.58 | 1.92 | 0 | 0 | 0 | -2 | 0 | 0 | 28.84 | 0 | 0.67 | 0 | 0
16:30 - 16:45 | -1.1 | 0 | -1.1 | 0 | 0 | 385.75 | 0 | 1.92 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 14.42 | 0 | 5.77 | 10.58 | 1.92 | 0 | 0 | 0 | -2 | 0 | 0 | 43.26 | 0 | 0.58 | 56.72 | 0
16:45 - 17:00 | -1.1 | 0 | -1.1 | 0 | 0 | 474.03 | 0 | 1.92 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 14.42 | 0 | 13.46 | 10.58 | 1.92 | 0 | 0 | 0 | -2 | 0 | 0 | 43.26 | 0 | 0.58 | 51.92 | 0
17:00 - 17:15 | -1.1 | 0 | -0.7 | 0 | 0 | 62.46 | 0 | 1.92 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 14.42 | 0 | 5.77 | 10.58 | 1.92 | 19.23 | 0 | 0 | 0 | 0 | 0 | 19.23 | 0 | 0.58 | 47.11 | 0
17:15 - 17:30 | -1.1 | 0 | -0.5 | 0 | 0 | 177.84 | 0 | 1.92 | 0 | 0 | -2 | 7.69 | -0.9 | 0 | 14.42 | 0 | 13.46 | 10.58 | 1.92 | 19.23 | 0 | 0 | 0 | 0 | 0 | 19.23 | 0 | 0.58 | 39.42 | 0
17:30 - 17:45 | -1.1 | -11 | -0.3 | 0 | 0 | 421.09 | 0 | 1.92 | 0 | 0 | 0 | 7.69 | -0.9 | 0 | 14.42 | 0 | 13.46 | 10.58 | 1.92 | 19.23 | 0 | 10.77 | 0 | 0 | -10 | 9.61 | 0 | 0.58 | 128.83 | 0
17:45 - 18:00 | -1.1 | 0 | -0.3 | 0 | 0 | 657.56 | 0 | 1.92 | 0 | 0 | 0 | 7.69 | -0.9 | 0 | 14.42 | 0 | 13.46 | 10.58 | 1.92 | 19.23 | 0 | 37.01 | 0 | 0 | 0 | 9.61 | 0 | 0.58 | 114.41 | 0
18:00 - 18:15 | -1.1 | 0 | 0 | 0 | 0 | 240.35 | 19.23 | 4.81 | 0 | 9.61 | 0 | 7.69 | -0.9 | 0 | 14.42 | 0 | 15.38 | 10.58 | 1.92 | 19.23 | 0 | 86.53 | 0 | 0 | 0 | 9.61 | 0 | 0.58 | 0 | 0
18:15 - 18:30 | -1.1 | 0 | 0 | 0 | 0 | 224.91 | 0 | 4.81 | 0 | 0 | 0 | 0 | -0.9 | 0 | 14.42 | 0 | 13.46 | 10.58 | 0 | 0 | 0 | 86.53 | 0 | 0 | 0 | 9.61 | 0 | 0 | 0 | 0
18:30 - 18:45 | -1.1 | 0 | 0 | 0 | 0 | 111.84 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1.1 | 0 | 0 | 0 | 0 | 235.52 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.1 | 0 | 0 | 0 | -13 | 96.12 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | 0
19:15 - 19:30 | -1.1 | 0 | 0 | 0 | -13 | 81.72 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -48.5 | 0 | 0 | 0
19:30 - 19:45 | -1.1 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | 0
19:45 - 20:00 | -1.1 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | 0
20:00 - 20:15 | -1.4 | 0 | 0 | 0 | -13 | 38.83 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -48.5 | 0 | 0 | 0
20:15 - 20:30 | -1.4 | 0 | 0 | 0 | -13 | 37.89 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -48.5 | 0 | 0 | 0
20:30 - 20:45 | -1.4 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | 0
20:45 - 21:00 | -1.4 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | 0
21:00 - 21:15 | -1.4 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | -1
21:15 - 21:30 | -1.4 | 0 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | -1
21:30 - 21:45 | -1.4 | 0 | 0 | 0 | -13 | 16.71 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -48.5 | 0 | 0 | -1
21:45 - 22:00 | -1.4 | 0 | 0 | 0 | -13 | 15.75 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -48.5 | 0 | 0 | -1
22:00 - 22:15 | -1.4 | 0 | 0 | 0 | -13 | 19.48 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -48.5 | 0 | 0 | -1
22:15 - 22:30 | -1.4 | 0 | 0 | 0 | -13 | 20.02 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | -1
22:30 - 22:45 | -1.4 | 0 | 0 | 0 | -13 | 52.69 | 0 | 0 | 0 | 0 | -1.5 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | -1
22:45 - 23:00 | -1.4 | 0 | 0 | 0 | -13 | 54.24 | 0 | 0 | 0 | 0 | -1.5 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | -1
23:00 - 23:15 | -1.4 | 0 | 0 | 0 | -13 | 39.08 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | -1
23:15 - 23:30 | -1.4 | 0 | 0 | 0 | -13 | 43.64 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -48.5 | 0 | 0 | -1
23:30 - 23:45 | -1.4 | -1 | 0 | 0 | -13 | 74.83 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -48.5 | 0 | 0 | -1
23:45 - 24:00 | -1.4 | -1 | 0 | 0 | -13 | 81.47 | 0 | 0 | 0 | 0 | -6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -48.5 | 0 | 0 | -1
Average | -1.375 | -1.3229 | -0.041667 | -0.033333 | -6.4583 | 45.9237 | 0.55979 | 1.0602 | -7.0833 | 0.30031 | -2.8229 | 3.3644 | -0.9 | -0.3125 | 1.6523 | -0.32292 | 3.8854 | 6.2511 | 1.4231 | 1.0016 | -0.79167 | 9.0606 | -0.29167 | -1.25 | -9.3229 | 12.4377 | -19.8042 | 1.2892 | 135.0515 | -3.4583