## POWER STATUS
POWER STATUS ON DT 22.07.2026
[9 empty] | 2026-07-22 | 2026-07-21
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5235.6829 | 5680.8607
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 205.25 | 4.926 | 630/590 ft | 610.6 | 613.37 | 613.33 | 205.7775 | 208.644
| Chiplima | 72(3x24) | 40.2 | 0.9648 | - |  |  |  | 47.7618 | 40.4018
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1462.1 | 1455.3 | 1455.6 | 0 | 0
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 120.2 | 114.85 | 115.44 | 0 | 0
| Upper Kolab | 320(4x80) | 22.17 | 0.53208 | 858/844 mt | 851.34 | 848.68 | 848.75 | 21.3045 | 47.7354
| Upper Indravati | 600(4x150) | 40.08 | 0.96192 | 642/625 mt | 633.72 | 630.38 | 630.69 | 0.29933 | 294.2952
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2736.15 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 307.7 | 7.3848 |  |  |  |  | 275.1431 | 591.0764
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1624.1 | 38.9784 | RENEWABLE ENERGY (RE) |  |  |  | 1490.4 | 1666
[5 empty] | M.Hydl | 113.65
| Total Thermal | 2200 | 1624.1 | 38.9784 | Solar | 74.3 |  |  | 1490.4 | 1666
IPP | VEDANTA #2 | 600 (1x600) | 426.89 | 10.2454 | Total IPPs | Yesterday's Demand Profile |  |  | 361.7383 | 381.3867
| GMR #3 | 350 (1x350) | 323.53 | 7.7647 | 810.35 |  | MW | HRS | 332.5181 | 322.1352
| NBVL(IPP) | 60(1x60) | 52 | 1.248 |  |  |  |  | 54.5582 | 55.0584
| MDTPC |  | 7.93 | 0.19032 |  |  |  |  | 0 | 0
| CGPs |  | 879.93 | 21.1183 | IPPs, CGPs & RE | Maximum | 5681 | 20.00 | 1680.0597 | 1861.1271
| Central Sector(Drawl) |  | 1525.8567 | 36.6206 | 1878.23 | Minimum | 5013 | 06.00 | 1790.0801 | 1562.6572
| Central Sector(Sch) |  | 1708.1019 | 40.9944 |  | Average | 5335.8867 |  | 2071.1951 | 1711.79
| Grand Total |  | 5335.8867 | 128.0613 | Instantaneous Peak demand |  | 5901 | 19:26 | 5235.6829 | 5680.8607
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1631.0837 | 39.146 | 1526.0421 | 36.625 | 1599.8285 | 38.3959
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1782.8004 | 42.7872 | 1680.0661 | 40.3216 | 1682.0897 | 40.3702
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1259.4905 | 30.2278 | 1230.9541 | 29.5429 | 1209.6146 | 29.0307
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 597.5219 | 14.3405 | 589.4062 | 14.1457 | 610.8242 | 14.6598
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5270.8966 | 126.5015 | 5026.4684 | 120.6352 | 5102.3569 | 122.4566
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 361.7383 | GMR |  |  |  | 332.5181
| NBVL #3 | 54.5582 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 40.1906 | OPCL |  |  |  | 0
| BTPL | 19.469 | SAPTADHARA |  |  |  | 19.8504
Solar: |  | 109.1822 | KAKATIYA |  |  |  | 3.7791
CGPs : | JSPL (Angul) | 119.1878 | JSL(Duburi) |  |  |  | -1.854
| ICCL | 45.12 | visa |  |  |  | 10.1881
| NALCO | -147.2528 | VAL (CGP) |  |  |  | 80.3326
| RSP | -174.8199 | BSL(MMDL) |  |  |  | 89.018
| INDAL | 8.4325 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -36.1303 | VAL CPP 400 kV |  |  |  | -495.0959
| NBVL | 54.6114 | Arati |  |  |  | 28.4028
| BPSL(JSG) | 26.6819 | BPPL |  |  |  | 124.2383
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-14 | 2026-07-15 | 2026-07-16 | 2026-07-17 | 2026-07-18 | 2026-07-19 | 2026-07-20 | 2026-07-21
512.0802 | 667.61 | 649.09 | 590.4425 | 579.288 | 528.4702 | 349.8483 | 307.7
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.21.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.17
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 85.38
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP41PL_BHDL | ODISHA | 56.7
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.05 | AP43PL_BKN | ODISHA | 70.34
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.29
JSPLANGUL | CR_IR_MS | -49.44 | ARYAN_ISPAT | WBSEDCL | -5 | AWEK1L | ODISHA | 9.93
JSPLANGUL | GEB_Beneficiary | -69.22 | BPPL | TANGEDCO | -26.67 | AWEK1L | ODISHA | 14.9
JSPLANGUL | MSEB_Beneficiary | -29.67 | DCBL_Rajgangpur | JAYPEE_REWA | -3.58 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 0.09
MAADURGA_THERMAL | NPCL_UP | -4.54 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 36.15
NBVLIPP | TANGEDCO | -50 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 8.43
NBVL_OTCL | GEB_Beneficiary | -26 | FACORPOWER | TPL_DIS_AHM | -25 | DADRI_SOLAR | ODISHA | 0.32
OCL_IRON_STEEL | NPCL_UP | -32.92 | JSPLANGUL | CSEB_Beneficiary | -148.33 | ENERSON_SOLAR_10MW | ODISHA | 0.86
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | OCL_IRON_STEEL | BRPL | -23.69 | GADAG_GreenInfra_W | ODISHA | 0.55
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_S | VLSEZ | 22.41
JSWEL_UTKAL | ODISHA | 73.74 | RML_Dhenkanal | DNHDDPDCL | -3.75 | GADAG_Serentica3_W | VLSEZ | 103.87
MPPMCL | ODISHA | 0 | RSPL_JHARSUGUDA | DNHDDPDCL | -26.25 | GIWEL_SECI_II_RE | ODISHA | 42.47
RAJ_SOLAR | ODISHA | 2.29 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GPCL_SOLAR_10 | ODISHA | 0.87
RAJ_SOLAR | ODISHA | 2.25 | TSBSLA | DNHDDPDCL | -22.5 | GSECL_SOLAR | ODISHA | 0.65
|  |  | VSL | CSEB_Beneficiary | -5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.14
|  |  | VSL | WBSEDCL | -10 | KARUR_TPVARDHAMAN_W | TSKPO | 88.86
|  |  | smcunit2 | GOA_Beneficiary | -3 | KARUR_TPVARDHAMAN_W | TSLFAPG | 8.01
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | Kurnool_Greenko_H_Inj | ADITYAAL | 2.61
|  |  | JIPL | ODISHA | 115.26 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | NALCOAP | NACL_Odisha | 19.01 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | TSTPP_I | ODISHA | 24.73 | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.12
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 3.45
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 25.16
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 39.05
[6 empty] | RWE_AP2_SECI_III | ODISHA | 10.32
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 17.63
[6 empty] | SRI9PL_FTG3 | VLSEZ | 64.9
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 30.02
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 3.5
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 55.8

## DAM
DAM TRADING DETAILS FOR DT : 21.07.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | 0 | -13 | -325 | 0 | -10 | 0 | 0 | 0 | -33.9
00:15 - 00:30 | 0 | -13 | -325 | 0 | -10 | 0 | 0 | 0 | -33.9
00:30 - 00:45 | 0 | -13 | -325 | 0 | -10 | 0 | 0 | 0 | -33.9
00:45 - 01:00 | 0 | -13 | -325 | 0 | -10 | 0 | 0 | 0 | -33.9
01:00 - 01:15 | 0 | -13 | -400 | 0 | -10 | 0 | 0 | 0 | -33.9
01:15 - 01:30 | 0 | -13 | -400 | 0 | -10 | 0 | 0 | 0 | -33.9
01:30 - 01:45 | 0 | -13 | -400 | 0 | -10 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | -13 | -400 | 0 | -10 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | -13 | -375 | 0 | -10 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | -13 | -375 | 0 | -10 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | -13 | -375 | 0 | -10 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | -13 | -375 | 0 | -10 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | -13 | -425 | 0 | -10 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | -13 | -425 | 0 | -10 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | -13 | -425 | 0 | -10 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | -13 | -425 | 0 | -10 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | -13 | -400 | 0 | -10 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | -13 | -400 | 0 | -10 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | -13 | -400 | 0 | -10 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | -13 | -400 | 0 | -10 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | -13 | -400 | 0 | -10 | -43 | 0 | 0 | 0
05:15 - 05:30 | 0 | -13 | -400 | 0 | -10 | -43 | 0 | 0 | 0
05:30 - 05:45 | 0 | -13 | -400 | 0 | -10 | -43 | 0 | 0 | 0
05:45 - 06:00 | 0 | -13 | -400 | 0 | -10 | -43 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | -550 | 0 | -10 | -43 | 0 | 0 | -33.9
06:15 - 06:30 | 0 | 0 | -550 | 0 | -10 | -43 | 0 | 0 | -33.9
06:30 - 06:45 | 0 | 0 | -550 | 0 | -10 | -43 | 0 | 0 | -33.9
06:45 - 07:00 | 0 | 0 | -550 | 0 | -10 | -43 | 0 | 0 | -33.9
07:00 - 07:15 | 0 | 0 | -825 | 0 | -10 | -43 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | -825 | 0 | -10 | -43 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | -745.3 | 0 | -10 | -43 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | -725 | 0 | -10 | -43 | 0 | 0 | 0
08:00 - 08:15 | 20.17 | 0 | -908.81 | 0 | 0 | -43 | 0 | 86.45 | 0
08:15 - 08:30 | 20.17 | 0 | -886.04 | 0 | 0 | -43 | 0 | 86.45 | 0
08:30 - 08:45 | 20.17 | 0 | -825 | 0 | 0 | -43 | 7.68 | 53.7 | 0
08:45 - 09:00 | 20.17 | 0 | -825 | 0 | 0 | -43 | 0 | 0 | 0
09:00 - 09:15 | 20.17 | 0 | -1150 | 0 | 0 | -43 | 0 | 0 | 0
09:15 - 09:30 | 20.17 | 0 | -1127.19 | 0 | 0 | -43 | 0 | 0 | 0
09:30 - 09:45 | 20.17 | 0 | -1048.86 | 0 | 0 | -43 | 0 | 0 | 0
09:45 - 10:00 | 20.17 | 0 | -800 | 0 | 0 | -43 | 0 | 0 | 0
10:00 - 10:15 | 20.17 | 0 | -785.3 | 28.82 | 0 | -18 | 0 | 0 | 0
10:15 - 10:30 | 20.17 | 0 | -667.4 | 28.82 | 0 | -18 | 0 | 0 | 0
10:30 - 10:45 | 20.17 | 0 | -571.5 | 28.82 | 0 | -18 | 0 | 0 | 0
10:45 - 11:00 | 20.17 | 0 | -570.93 | 28.82 | 0 | -18 | 0 | 0 | 0
11:00 - 11:15 | 20.17 | 0 | -499.17 | 28.82 | 0 | -18 | 0 | 0 | 0
11:15 - 11:30 | 20.17 | 0 | -240.03 | 28.82 | 0 | -18 | 0 | 0 | 0
11:30 - 11:45 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
11:45 - 12:00 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
12:00 - 12:15 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
12:15 - 12:30 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
12:30 - 12:45 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
12:45 - 13:00 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
13:00 - 13:15 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
13:15 - 13:30 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
13:30 - 13:45 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
13:45 - 14:00 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
14:00 - 14:15 | 20.17 | 0 | -460.11 | 28.82 | 0 | -18 | 0 | 0 | 0
14:15 - 14:30 | 20.17 | 0 | -525.23 | 28.82 | 0 | -18 | 0 | 0 | 0
14:30 - 14:45 | 20.17 | 0 | -527.09 | 28.82 | 0 | -18 | 0 | 0 | 0
14:45 - 15:00 | 20.17 | 0 | -591.06 | 28.82 | 0 | -18 | 0 | 0 | 0
15:00 - 15:15 | 20.17 | 0 | -625 | 28.82 | 0 | -18 | 0 | 0 | 0
15:15 - 15:30 | 20.17 | 0 | -625 | 0 | 0 | -18 | 0 | 0 | 0
15:30 - 15:45 | 20.17 | 0 | -625 | 0 | 0 | -18 | 7.68 | 0 | 0
15:45 - 16:00 | 20.17 | 0 | -692.26 | 0 | 0 | -18 | 7.68 | 0 | 0
16:00 - 16:15 | 20.17 | 0 | -775.56 | 0 | 0 | -43 | 7.68 | 0 | 0
16:15 - 16:30 | 20.17 | 0 | -800 | 0 | 0 | -43 | 7.68 | 0 | 0
16:30 - 16:45 | 20.17 | 0 | -800 | 0 | 0 | -43 | 7.68 | 0 | 0
16:45 - 17:00 | 20.17 | 0 | -878.03 | 0 | 0 | -43 | 7.68 | 0 | 0
17:00 - 17:15 | 0 | 0 | -600 | 0 | 0 | -43 | 0 | 81.64 | 0
17:15 - 17:30 | 0 | 0 | -600 | 0 | 0 | -43 | 0 | 86.45 | 0
17:30 - 17:45 | 0 | 0 | -600 | 0 | 0 | -43 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | -600 | 0 | 0 | -43 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | -225 | 0 | -10 | -43 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | -225 | 0 | -10 | -43 | 0 | 0 | 0
18:30 - 18:45 | 0 | -13 | -225 | 0 | -10 | -43 | 0 | 0 | -33.9
18:45 - 19:00 | 0 | -13 | -225 | 0 | -10 | -43 | 0 | 0 | -33.9
19:00 - 19:15 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
19:15 - 19:30 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
19:30 - 19:45 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
19:45 - 20:00 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
20:00 - 20:15 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
20:15 - 20:30 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
20:30 - 20:45 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
20:45 - 21:00 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
21:00 - 21:15 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
21:15 - 21:30 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
21:30 - 21:45 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
21:45 - 22:00 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
22:00 - 22:15 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
22:15 - 22:30 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
22:30 - 22:45 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
22:45 - 23:00 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
23:00 - 23:15 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
23:15 - 23:30 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
23:30 - 23:45 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
23:45 - 24:00 | 0 | -13 | 0 | 0 | -10 | 0 | 0 | 0 | -33.9
Average | 7.5637 | -6.2292 | -382.8111 | 6.3044 | -5.8333 | -18.8333 | 0.56 | 4.1114

## GDAM
GDAM TRADING DETAILS FOR DT:21.07.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | JSW_Sambalpur_Steel_Limited | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -0.2 | 0 | 0 | 0 | 0
06:30 - 06:45 | -0.4 | 0 | 0 | 0 | 0
06:45 - 07:00 | -0.7 | 0 | 0 | 0 | 0
07:00 - 07:15 | -0.9 | 0 | 0 | 0 | 0
07:15 - 07:30 | -1 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 9.74 | 0 | 0 | 0
08:15 - 08:30 | 0 | 38.42 | 1.27 | 0 | 0
08:30 - 08:45 | 0 | 38.43 | 6.24 | 0 | 32.75
08:45 - 09:00 | 0 | 38.42 | 6.24 | 7.68 | 86.45
09:00 - 09:15 | 0 | 38.42 | 6.24 | 7.68 | 86.45
09:15 - 09:30 | 0 | 38.42 | 6.24 | 7.68 | 86.45
09:30 - 09:45 | 0 | 38.42 | 6.24 | 7.68 | 86.45
09:45 - 10:00 | 0 | 38.42 | 6.24 | 7.68 | 86.45
10:00 - 10:15 | 0 | 38.42 | 6.24 | 7.68 | 86.45
10:15 - 10:30 | 0 | 38.42 | 6.24 | 7.68 | 86.45
10:30 - 10:45 | 0 | 38.42 | 6.24 | 7.68 | 86.45
10:45 - 11:00 | 0 | 38.42 | 6.24 | 7.68 | 86.45
11:00 - 11:15 | -4.1 | 38.42 | 6.24 | 7.68 | 86.45
11:15 - 11:30 | -3.8 | 38.42 | 6.24 | 7.68 | 86.45
11:30 - 11:45 | -6.3 | 38.42 | 6.24 | 7.68 | 86.45
11:45 - 12:00 | -4.9 | 38.42 | 6.24 | 7.68 | 86.45
12:00 - 12:15 | -1.3 | 38.42 | 6.24 | 7.68 | 86.45
12:15 - 12:30 | 0 | 38.42 | 6.24 | 7.68 | 86.45
12:30 - 12:45 | -1.3 | 38.42 | 6.24 | 7.68 | 86.45
12:45 - 13:00 | -5.1 | 38.42 | 6.24 | 7.68 | 86.45
13:00 - 13:15 | -6.2 | 38.42 | 6.24 | 7.68 | 86.45
13:15 - 13:30 | -4.6 | 38.42 | 6.24 | 7.68 | 86.45
13:30 - 13:45 | -2.3 | 38.42 | 6.24 | 7.68 | 86.45
13:45 - 14:00 | -3.4 | 38.42 | 6.24 | 7.68 | 72.04
14:00 - 14:15 | -3.2 | 38.42 | 6.24 | 7.68 | 72.04
14:15 - 14:30 | -1.6 | 38.42 | 6.24 | 7.68 | 81.65
14:30 - 14:45 | -1.2 | 38.42 | 6.24 | 7.68 | 81.65
14:45 - 15:00 | 0 | 38.42 | 6.24 | 7.68 | 81.65
15:00 - 15:15 | 0 | 38.42 | 6.24 | 7.68 | 81.65
15:15 - 15:30 | 0 | 38.42 | 6.24 | 7.68 | 81.65
15:30 - 15:45 | 0 | 38.42 | 6.24 | 0 | 81.65
15:45 - 16:00 | 0 | 38.42 | 6.24 | 0 | 81.65
16:00 - 16:15 | 0 | 33.62 | 6.24 | 0 | 81.64
16:15 - 16:30 | 0 | 33.62 | 6.24 | 0 | 81.64
16:30 - 16:45 | 0 | 33.62 | 6.24 | 0 | 81.64
16:45 - 17:00 | 0 | 33.62 | 6.24 | 0 | 81.64
17:00 - 17:15 | 0 | 33.62 | 6.24 | 0 | 0
17:15 - 17:30 | 0 | 33.62 | 0 | 0 | 0
17:30 - 17:45 | -0.6 | 33.62 | 0 | 0 | 0
17:45 - 18:00 | -0.4 | 33.62 | 0 | 0 | 0
18:00 - 18:15 | -0.4 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0
Average | -0.56146 | 15.3097 | 2.2882 | 2.16 | 29.2077

## RTM
RTM TRADING DETAILS FOR DT: 21.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_Energy_C_&_I_Eleven_Private_Limited | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.55 | 0 | 0 | 0 | -13.4 | 94.6 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 119.29 | -5.15
00:15 - 00:30 | -1.55 | 0 | 0 | 0 | -13.4 | 137.35 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20.62 | 0 | 0 | 121.12 | -5.15
00:30 - 00:45 | -1.55 | 0 | 0 | 0 | -13.4 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74.53 | -10.31
00:45 - 01:00 | -1.55 | 0 | 0 | 0 | -13.4 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74.53 | -10.31
01:00 - 01:15 | -1.55 | 0 | 0 | 0 | -13.4 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 11.18 | 0 | 0 | 0 | 0 | 0 | -30.93 | 0 | 0 | 74.53 | -10.31
01:15 - 01:30 | -1.55 | 0 | 0 | 0 | -13.4 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 11.18 | 0 | 0 | 0 | 0 | 0 | -20.62 | 0 | 0 | 74.53 | -10.31
01:30 - 01:45 | -1.55 | 0 | 0 | 0 | 0 | -120.37 | 1.86 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 11.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 121.11 | -9.28
01:45 - 02:00 | -1.55 | 0 | 0 | 0 | 0 | -120.03 | 1.86 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 11.18 | 0 | 0 | 25.75 | 0 | 0 | 0 | 3.06 | 0 | 121.11 | -9.28
02:00 - 02:15 | -1.55 | 0 | 0 | 0 | 0 | -95.01 | 1.86 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 11.18 | 0 | 0 | 56.83 | 0 | 0 | -10.31 | 6.74 | 0 | 121.12 | -7.22
02:15 - 02:30 | -1.55 | 0 | 0 | 0 | 0 | -90.47 | 1.86 | -4.12 | -0.93 | 0 | 13.98 | 0 | 0 | 0 | 11.18 | 0 | 0 | 74.53 | 0 | 0 | 0 | 8.85 | 0 | 121.11 | -7.22
02:30 - 02:45 | -1.55 | 0 | 0 | 0 | 0 | -75 | 1.86 | -4.12 | -0.93 | 0 | 13.98 | 0 | 0 | 0 | 11.18 | 0 | 0 | 74.53 | 0 | 0 | -10.31 | 8.85 | 0 | 121.11 | -6.19
02:45 - 03:00 | -1.55 | 0 | 0 | 0 | 0 | -75 | 1.86 | -4.12 | -0.93 | 0 | 13.98 | 0 | 13.05 | 0 | 11.18 | 0 | 0 | 74.53 | 0 | 0 | -51.55 | 8.85 | 79.19 | 121.11 | -6.19
03:00 - 03:15 | -1.55 | 0 | 0 | 0 | 0 | -75 | 1.86 | -4.12 | -0.93 | 0 | 13.98 | 0 | 13.05 | 0 | 11.18 | 0 | 0 | 74.53 | 0 | 0 | -10.31 | 8.85 | 79.19 | 121.11 | -5.15
03:15 - 03:30 | -1.55 | 0 | 0 | 0 | 0 | -75 | 1.86 | -4.12 | -0.93 | 0 | 13.98 | 0 | 13.05 | 0 | 11.18 | 0 | 0 | 74.53 | 0 | 0 | 0 | 8.85 | 79.19 | 121.11 | -5.15
03:30 - 03:45 | -1.55 | 0 | 0 | 0 | 0 | -75.04 | 1.86 | -4.12 | -0.93 | 0 | 13.98 | 0 | 13.05 | 0 | 11.18 | 0 | 0 | 74.53 | 0 | 0 | 0 | 8.85 | 79.18 | 65.22 | -3.09
03:45 - 04:00 | -1.55 | 0 | 0 | 0 | 0 | -74.94 | 1.86 | -4.12 | -0.93 | 0 | 13.98 | 0 | 13.05 | 0 | 11.18 | 0 | 0 | 74.53 | 0 | 0 | 0 | 8.85 | 79.18 | 65.22 | -3.09
04:00 - 04:15 | -1.55 | 0 | 0 | 0 | 0 | -70.47 | 0.93 | -4.12 | -0.93 | 0 | 13.98 | 0 | 13.05 | 0 | 11.18 | 0 | 18.63 | 74.53 | 0 | 0 | -10.31 | 8.85 | 69.88 | 65.22 | 0
04:15 - 04:30 | -1.55 | 0 | 0 | 0 | 0 | -74.91 | 0.93 | -4.12 | -0.93 | 0 | 13.98 | 0 | 13.05 | 0 | 11.18 | 0 | 0 | 74.53 | 0 | 0 | -41.24 | 8.85 | 69.88 | 65.22 | 0
04:30 - 04:45 | -1.55 | 0 | 0 | 0 | 0 | -144.67 | 0.93 | -4.12 | -0.93 | 0 | 13.98 | 0 | 13.05 | 0 | 11.18 | 0 | 18.63 | 74.53 | 0 | 0 | -20.62 | 8.85 | 69.88 | 65.22 | 0
04:45 - 05:00 | -1.55 | 0 | 0 | 0 | 0 | -194.7 | 0.93 | -4.12 | -0.93 | 0 | 13.98 | 0 | 13.05 | 0 | 11.18 | 0 | 18.63 | 74.53 | 0 | 0 | 0 | 8.85 | 69.88 | 65.22 | 0
05:00 - 05:15 | -1.55 | 0 | 0 | 0 | 0 | -220.04 | 0.93 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 11.18 | 0 | 0 | 12.86 | 0 | 0 | 0 | 1.53 | 0 | 46.58 | 0
05:15 - 05:30 | -1.55 | 0 | 0 | 0 | 0 | -223.03 | 0.93 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 11.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.58 | 0
05:30 - 05:45 | -1.55 | 0 | 0 | 0 | 0 | -275.61 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 11.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.58 | 0
05:45 - 06:00 | -1.55 | 0 | 0 | 0 | 0 | -276.07 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 11.18 | 0 | 0 | 0 | 0 | 0 | -41.24 | 0 | 0 | 46.58 | 0
06:00 - 06:15 | -1.55 | 0 | 0 | 0 | 0 | -278.08 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -36.08 | 0 | 0 | 46.59 | 0
06:15 - 06:30 | -1.55 | 0 | 0 | 0 | 0 | -230.77 | 0 | -4.12 | -0.93 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46.59 | 0
06:30 - 06:45 | -1.55 | 0 | 0 | 0 | 0 | -230.24 | 0 | -4.12 | -0.93 | 0 | 0 | -0.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.29 | 0
06:45 - 07:00 | -1.55 | 0 | 0 | 0 | 0 | -326.55 | 0 | -4.12 | -0.93 | 0 | 0 | -0.41 | 0 | 0 | 11.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.29 | 0
07:00 - 07:15 | -1.55 | -6.19 | 0 | 0 | 0 | -204.97 | 0.93 | -4.12 | -0.93 | 0 | 13.98 | -0.62 | 13.05 | 0 | 11.18 | 0 | 0 | 83.85 | 0 | 0 | 0 | 8.85 | 18.63 | 0 | 0
07:15 - 07:30 | -1.55 | -6.19 | 0 | 0 | 0 | -201.66 | 0.93 | -4.12 | -0.93 | 0 | 13.98 | -0.82 | 13.05 | 0 | 11.18 | 0 | 0 | 83.85 | 0 | 0 | 0 | 8.85 | 18.63 | 0 | 0
07:30 - 07:45 | -1.55 | 0 | 0 | 0 | 0 | -162.5 | 0.1 | -4.12 | -0.93 | 0 | 13.98 | -1.03 | 13.05 | 0 | 11.18 | 3.72 | 18.63 | 83.85 | 0 | 0 | -30.93 | 8.85 | 18.63 | 0 | 0
07:45 - 08:00 | -1.55 | 0 | 0 | 0 | 0 | -208.9 | 0.1 | -4.12 | -0.93 | 0 | 13.98 | -1.44 | 14.91 | 0 | 11.18 | 3.72 | 18.63 | 83.85 | 0 | 0 | -36.08 | 8.85 | 18.63 | 0 | 0
08:00 - 08:15 | -1.55 | 0 | 0 | 19.56 | 0 | 128.03 | 0 | -3.09 | -0.93 | 0 | 0 | -1.75 | 13.05 | 0 | 11.18 | 3.72 | 18.63 | 0 | 0 | -5.15 | -36.08 | 8.85 | 0 | 0 | 0
08:15 - 08:30 | -1.55 | 0 | 0 | 19.56 | 0 | 58.11 | 0 | -3.09 | -0.93 | 0 | 0 | -1.96 | 13.05 | 0 | 11.18 | 3.72 | 18.63 | 0 | 0 | -5.15 | 0 | 8.85 | 0 | 0 | 0
08:30 - 08:45 | -1.55 | -6.19 | 0 | 19.56 | 0 | -59.97 | 0.93 | -3.09 | -0.93 | 0 | 0 | -2.06 | 0 | 0 | 11.18 | 0 | 0 | 0 | 0 | -5.15 | 0 | 8.85 | 0 | 0 | 0
08:45 - 09:00 | -1.55 | -5.15 | 0 | 19.56 | 0 | -157.5 | 0.93 | -3.09 | -0.93 | 0 | 0 | -2.37 | 0 | 0 | 11.18 | 0 | 0 | 0 | 0 | -5.15 | 0 | 8.85 | 0 | 0 | 0
09:00 - 09:15 | -1.55 | 0 | 0 | 19.56 | 0 | 70.45 | 0.93 | -3.09 | -0.93 | 0 | 0 | -2.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 8.85 | 0 | 0 | 0
09:15 - 09:30 | -1.55 | 0 | 0 | 19.56 | 0 | 59.45 | 0.93 | -3.09 | -0.93 | 0 | 0 | -0.21 | 5.59 | 0 | 0 | 3.72 | 0 | 0 | 0 | -5.15 | 0 | 8.85 | 0 | 0 | 0
09:30 - 09:45 | -1.55 | 0 | 0 | 19.57 | 0 | -125.48 | 0.93 | -3.09 | -0.93 | 0 | 0 | 0 | 5.59 | 0 | 0 | 3.72 | 0 | 0 | 0 | -5.15 | -41.24 | 8.85 | 0 | 0 | 0
09:45 - 10:00 | -1.55 | 0 | 0 | 19.57 | 0 | -509.47 | 0.93 | -3.09 | -0.93 | 0 | 0 | 4.75 | 5.59 | 0 | 0 | 3.72 | 0 | 0 | 0 | -5.15 | -41.24 | 8.85 | 0 | 0 | 0
10:00 - 10:15 | -1.55 | -11.34 | 0 | 19.57 | 0 | -502.53 | 0.93 | -3.09 | -0.93 | -15.46 | 0 | 4.47 | 5.59 | 0 | 0 | 3.72 | 0 | 0 | 0 | -5.15 | 0 | 8.85 | 0 | 0 | 0
10:15 - 10:30 | -1.55 | 0 | 0 | 19.57 | 0 | -304.51 | 0.93 | -3.09 | -0.93 | 0 | 0 | 4.66 | 5.59 | 0 | 0 | 3.72 | 0 | 0 | 0 | -5.15 | 0 | 8.85 | 0 | 0 | 0
10:30 - 10:45 | -1.55 | 0 | 0 | 19.58 | 0 | -234.96 | 0.93 | -3.09 | -0.93 | 0 | 0 | 4.84 | 5.59 | 0 | 0 | 3.72 | 0 | 0 | 0 | -5.15 | -10.31 | 8.85 | 0 | 0 | 0
10:45 - 11:00 | -1.55 | 0 | 0 | 19.57 | 0 | -226.56 | 0.93 | -3.09 | -0.93 | 0 | 0 | 5.5 | 5.59 | 0 | 0 | 3.72 | 0 | 0 | 0 | -5.15 | 0 | 8.85 | 0 | 0 | 0
11:00 - 11:15 | -1.55 | 0 | -2.89 | 19.57 | 0 | -350.17 | 0.93 | -3.09 | -0.93 | 0 | 0 | 5.68 | 7.45 | 0 | 0 | 3.72 | 0 | 0 | 0 | -5.15 | -15.46 | 8.85 | 0 | 0 | 0
11:15 - 11:30 | -1.55 | 0 | -2.16 | 19.57 | 0 | -350 | 0.93 | -3.09 | -0.93 | 0 | 0 | 5.22 | 7.45 | 0 | 0 | 3.72 | 0 | 0 | 0 | -5.15 | -41.24 | 8.85 | 0 | 0 | 0
11:30 - 11:45 | -1.44 | -4.12 | -4.54 | 19.57 | 0 | -238.28 | 0.93 | -3.09 | -0.93 | 0 | 0 | 5.4 | 5.59 | 0 | 0 | 3.72 | 0 | 0 | -1.03 | -5.15 | -20.62 | 8.85 | 0 | 0 | 0
11:45 - 12:00 | -1.44 | 0 | -3.09 | 19.57 | 0 | -188.3 | 0.93 | -3.09 | -0.93 | 0 | 0 | 5.12 | 5.59 | 0 | 0 | 3.72 | 0 | 0 | -1.03 | -5.15 | 0 | 8.85 | 0 | 0 | 0
12:00 - 12:15 | -1.44 | 0 | -1.13 | 19.57 | 0 | -99.88 | 0.93 | -2.06 | -0.93 | 0 | 0 | 4.94 | 7.45 | 4.66 | 0 | 3.72 | 0 | 9.32 | -1.03 | 0 | 0 | 8.85 | 0 | 0 | 0
12:15 - 12:30 | -1.44 | 0 | -1.34 | 19.57 | 0 | -124.85 | 0.93 | -2.06 | -0.93 | 0 | 0 | 5.03 | 7.45 | 4.66 | 0 | 3.72 | 0 | 9.32 | -1.03 | 0 | -10.31 | 8.85 | 0 | 0 | 0
12:30 - 12:45 | -1.44 | 0 | -2.99 | 19.56 | 0 | -147.93 | 0 | -2.06 | -0.93 | 0 | 0 | 4.84 | 7.45 | 4.66 | 0 | 3.72 | 0 | 9.32 | -1.03 | 0 | 0 | 8.85 | 0 | 68.96 | 0
12:45 - 13:00 | -1.44 | 0 | -6.8 | 19.56 | 0 | -224.53 | 0 | -2.06 | -0.93 | 0 | 0 | 5.12 | 7.45 | 4.66 | 0 | 3.72 | 0 | 9.32 | -1.03 | 0 | -15.46 | 8.85 | 0 | 68.03 | 0
13:00 - 13:15 | -1.44 | -10.31 | -8.97 | 19.56 | 0 | -353.66 | 0 | -2.06 | -0.93 | 0 | 0 | 5.03 | 7.45 | 4.66 | 0 | 3.72 | 0 | 9.32 | -1.03 | 0 | -36.08 | 8.85 | 0 | 68.95 | 0
13:15 - 13:30 | -1.44 | 0 | -6.08 | 19.56 | 0 | -384.52 | 0 | -2.06 | -0.93 | 0 | 0 | 5.22 | 7.45 | 4.66 | 0 | 3.72 | 0 | 9.32 | -1.03 | 0 | 0 | 8.85 | 0 | 70.82 | 0
13:30 - 13:45 | -1.44 | 0 | -4.12 | 19.57 | 0 | 0 | 0 | -2.06 | -0.93 | 0 | 0 | 0 | 7.45 | 4.66 | 0 | 3.72 | 0 | 9.32 | -1.03 | 0 | 0 | 8.85 | 4.66 | 0 | 0
13:45 - 14:00 | -1.44 | 0 | -5.26 | 19.57 | 0 | 0 | 0 | -2.06 | -0.93 | 0 | 0 | 0 | 5.59 | 0 | 0 | 3.72 | 0 | 9.32 | -1.03 | 0 | -10.31 | 8.85 | 4.66 | 0 | 0
14:00 - 14:15 | -1.44 | 0 | 0 | 19.56 | 0 | 108.07 | 0.93 | -2.06 | -0.93 | 0 | 0 | -0.82 | 5.59 | 0 | 0 | 3.72 | 0 | 9.32 | -1.03 | 0 | -97.94 | 8.85 | 27.96 | 0 | 0
14:15 - 14:30 | -1.44 | 0 | 0 | 19.56 | 0 | 143.37 | 0.93 | -2.06 | -0.93 | 0 | 0 | -2.06 | 7.45 | 0 | 0 | 3.72 | 0 | 4.66 | -1.03 | 0 | -41.24 | 8.85 | 27.96 | 0 | 0
14:30 - 14:45 | -1.44 | -5.15 | 0 | 19.56 | 0 | 116.09 | 0.93 | -3.09 | -0.93 | 0 | 0 | 0 | 5.59 | 0 | 0 | 3.72 | 0 | 4.66 | -1.03 | 0 | -61.86 | 8.85 | 18.63 | 0 | 0
14:45 - 15:00 | -1.44 | 0 | 0 | 19.56 | 0 | 27.32 | 0.93 | -3.09 | -0.93 | -15.46 | 0 | -1.65 | 5.59 | 0 | 0 | 3.72 | 0 | 4.66 | -1.03 | 0 | -92.78 | 8.85 | 18.63 | 0 | 0
15:00 - 15:15 | -1.44 | 0 | 0 | 19.58 | 0 | -227.5 | 0.93 | -3.09 | -1.24 | 0 | 0 | -1.55 | 5.59 | 0 | 4.66 | 3.72 | 18.63 | 4.66 | -1.03 | 0 | -20.62 | 8.85 | 18.63 | 0 | 0
15:15 - 15:30 | -1.44 | 0 | 0 | 19.58 | 0 | -236.68 | 0.93 | -3.09 | -1.24 | 0 | 0 | -1.34 | 5.59 | 0 | 4.66 | 3.72 | 18.63 | 4.66 | -1.03 | 0 | -10.31 | 8.85 | 18.63 | 0 | 0
15:30 - 15:45 | -1.44 | 0 | 0 | 19.58 | 0 | -121.23 | 0.93 | -3.09 | -1.24 | 0 | 0 | -1.34 | 5.59 | 0 | 4.66 | 3.72 | 18.63 | 4.66 | -1.03 | 0 | -72.16 | 8.85 | 18.63 | 0 | 0
15:45 - 16:00 | -1.44 | -10.31 | -0.52 | 19.58 | 0 | -122.76 | 0.93 | -3.09 | -1.24 | 0 | 0 | -1.13 | 5.59 | 0 | 4.66 | 3.72 | 18.63 | 4.66 | -1.03 | 0 | -30.93 | 8.85 | 18.63 | 0 | 0
16:00 - 16:15 | -1.44 | 0 | -0.41 | 19.56 | 0 | -300.88 | 0.93 | -3.09 | -1.24 | 0 | 13.98 | -0.93 | 13.05 | 0 | 4.66 | 3.72 | 18.63 | 4.66 | 0 | 0 | -20.62 | 8.85 | 13.98 | 0 | 0
16:15 - 16:30 | -1.44 | 0 | 0 | 19.56 | 0 | -307.55 | 0.93 | -3.09 | -1.24 | 0 | 13.98 | -0.82 | 13.05 | 0 | 4.66 | 3.72 | 18.63 | 4.66 | 0 | 0 | -72.16 | 8.85 | 13.98 | 0 | 0
16:30 - 16:45 | -1.44 | 0 | -0.93 | 19.57 | 0 | 0 | 0.93 | -3.09 | -1.24 | 0 | 13.98 | -0.72 | 0 | 0 | 4.66 | 0 | 0 | 4.66 | 0 | 0 | 0 | 8.85 | 13.98 | 0 | 0
16:45 - 17:00 | -1.44 | 0 | 0 | 19.57 | 0 | 0 | 0.93 | -3.09 | -1.24 | 0 | 13.98 | -0.62 | 0 | 0 | 4.66 | 0 | 0 | 4.66 | 0 | 0 | 0 | 8.85 | 13.98 | 0 | 0
17:00 - 17:15 | -1.44 | 0 | 0 | 0 | 0 | -259.48 | 0.93 | -3.09 | -1.24 | 0 | 13.98 | -0.41 | 13.05 | 0 | 4.66 | 3.72 | 18.63 | 4.66 | 0 | 0 | -20.62 | 8.85 | 13.98 | 47.52 | 0
17:15 - 17:30 | -1.44 | -10.31 | 0 | 0 | 0 | -209.5 | 0.93 | -3.09 | -1.24 | 0 | 13.98 | -0.31 | 13.05 | 0 | 4.66 | 3.72 | 18.63 | 0 | 0 | 0 | -41.24 | 8.85 | 13.98 | 71.74 | 0
17:30 - 17:45 | -1.44 | 0 | 0 | 0 | 0 | -235 | 0.93 | -3.09 | -1.24 | 0 | 0 | 0 | 0 | 0 | 4.66 | 0 | 0 | 49.5 | -1.03 | 0 | 0 | 5.23 | 0 | 0 | 0
17:45 - 18:00 | -1.44 | 0 | 0 | 0 | 0 | -211.25 | 0.93 | -3.09 | -1.24 | 0 | 0 | 0 | 0 | 0 | 4.66 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1.44 | 0 | 0 | 0 | 0 | -663 | 0 | 0 | -1.24 | 0 | 13.98 | 0 | 13.05 | 0 | 4.66 | 0 | 0 | 83.86 | -1.03 | 0 | -41.24 | 8.85 | 0 | 0 | 0
18:15 - 18:30 | -1.44 | 0 | 0 | 0 | 0 | -610.54 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 4.66 | 0 | 0 | 0 | -1.03 | 0 | -10.31 | 0 | 0 | 0 | 0
18:30 - 18:45 | -1.44 | 0 | 0 | 0 | -13.4 | -601.55 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1.44 | 0 | 0 | 0 | -13.4 | -562.76 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -41.24 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.44 | 0 | 0 | 0 | -13.4 | -449.99 | 0 | -4.12 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.44 | 0 | 0 | 0 | -13.4 | -450 | 0 | -4.12 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.44 | 0 | 0 | 0 | -13.4 | -375 | 0 | -4.12 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.44 | 0 | 0 | 0 | -13.4 | -375 | 0 | -4.12 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.44 | 0 | 0 | 0 | -13.4 | 0 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1.44 | 0 | 0 | 0 | -13.4 | 0 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1.44 | 0 | 0 | 0 | -13.4 | 0 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -10.31 | 0 | 0 | 0 | 0
20:45 - 21:00 | -1.44 | 0 | 0 | 0 | -13.4 | 0 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -1.44 | 0 | 0 | 0 | -13.4 | -200 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 90.93 | 0
21:15 - 21:30 | -1.44 | 0 | 0 | 0 | -13.4 | -200 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 83.94 | 0
21:30 - 21:45 | -1.44 | 0 | 0 | 0 | -13.4 | -200 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -10.31 | 0 | 0 | 53.47 | 0
21:45 - 22:00 | -1.44 | 0 | 0 | 0 | -13.4 | -200 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -20.62 | 0 | 0 | 54.35 | 0
22:00 - 22:15 | -1.44 | 0 | 0 | 0 | -13.4 | -200 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -30.93 | 0 | 0 | 47.42 | 0
22:15 - 22:30 | -1.44 | 0 | 0 | 0 | -13.4 | -200 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -30.93 | 0 | 0 | 49.44 | 0
22:30 - 22:45 | -1.44 | 0 | 0 | 0 | -13.4 | 0 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -1.44 | 0 | 0 | 0 | -13.4 | 0 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -1.44 | 0 | 0 | 0 | -13.4 | -156.17 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -1.44 | 0 | 0 | 0 | -13.4 | -156.15 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -20.62 | 0 | 0 | 0 | 0
23:30 - 23:45 | -1.44 | 0 | 0 | 0 | -13.4 | -201.6 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 4.66 | 0 | 0 | 0 | -1.03 | 0 | -20.62 | 0 | 41.93 | 0 | 0
23:45 - 24:00 | -1.44 | 0 | 0 | 0 | -13.4 | -199.97 | 0.93 | 0 | -1.24 | 0 | 13.98 | 0 | 13.05 | 0 | 4.66 | 0 | 0 | 0 | -1.03 | 0 | -20.62 | 0 | 41.92 | 0 | 0
Average | -1.4927 | -0.78396 | -0.53365 | 7.3376 | -3.9083 | -167.4255 | 0.59302 | -2.7252 | -1.0462 | -0.32208 | 3.3494 | 0.4851 | 4.64 | 0.33979 | 4.154 | 1.3562 | 2.9109 | 15.8732 | -0.47208 | -0.85833 | -15.518 | 5.1506 | 11.4033 | 31.2541 | -1.1813 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!