## POWER STATUS
POWER STATUS ON DT 23.07.2026
[9 empty] | 2026-07-23 | 2026-07-22
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5352.5204 | 5797.859
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 192.54 | 4.621 | 630/590 ft | 610.19 | 613.33 | 614.23 | 170.9641 | 211.0858
| Chiplima | 72(3x24) | 48.45 | 1.1628 | - |  |  |  | 45.2209 | 45.4472
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1462.2 | 1455.6 | 1455.7 | 0 | 0
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 120.27 | 115.44 | 116.44 | 0 | 0
| Upper Kolab | 320(4x80) | 22.58 | 0.54192 | 858/844 mt | 851.48 | 848.75 | 848.82 | 21.2558 | 0
| Upper Indravati | 600(4x150) | 0 | 0 | 642/625 mt | 633.7 | 630.69 | 630.92 | 0.30088 | 0.29956
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2736.4 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 263.57 | 6.3257 |  |  |  |  | 237.7417 | 256.8326
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1520.92 | 36.5021 | RENEWABLE ENERGY (RE) |  |  |  | 1589 | 1588
[5 empty] | M.Hydl | 112.73
| Total Thermal | 2200 | 1520.92 | 36.5021 | Solar | 76.9 |  |  | 1589 | 1588
IPP | VEDANTA #2 | 600 (1x600) | 414.4034 | 9.9457 | Total IPPs | Yesterday's Demand Profile |  |  | 378.5156 | 523.1641
| GMR #3 | 350 (1x350) | 328.9201 | 7.8941 | 793.4211 |  | MW | HRS | 324.3563 | 328.471
| NBVL(IPP) | 60(1x60) | 50.0976 | 1.2023 |  |  |  |  | 53.9453 | 54.4605
| MDTPC |  | 0 | 0 |  |  |  |  | 0 | 0
| CGPs |  | 760.8857 | 18.2613 | IPPs, CGPs & RE | Maximum | 5798 | 23.00 | 1800.0109 | 1789.92
| Central Sector(Drawl) |  | 1829.693 | 43.9126 | 1743.9368 | Minimum | 4994 | 04.00 | 1725.7678 | 2163.1064
| Central Sector(Sch) |  | 1877.2697 | 45.0545 |  | Average | 5358.1198 |  | 1806.8534 | 2211.4248
| Grand Total |  | 5358.1198 | 128.5949 | Instantaneous Peak demand |  | 5968 | 22:48 | 5352.5204 | 5797.859
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1521.2074 | 36.509 | 1513.6991 | 36.3288 | 1493.8134 | 35.8515
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1788.8791 | 42.9331 | 1784.2982 | 42.8232 | 1494.3321 | 35.864
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1228.1036 | 29.4745 | 1206.4271 | 28.9543 | 1139.795 | 27.3551
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 585.4841 | 14.0516 | 580.4141 | 13.9299 | 586.9869 | 14.0877
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5123.6742 | 122.9682 | 5084.8385 | 122.0361 | 4714.9274 | 113.1583
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 378.5156 | GMR |  |  |  | 324.3563
| NBVL #3 | 53.9453 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 40.655 | OPCL |  |  |  | 0
| BTPL | 19.419 | SAPTADHARA |  |  |  | 19.6997
Solar: |  | 134.7521 | KAKATIYA |  |  |  | 3.8598
CGPs : | JSPL (Angul) | 208.5951 | JSL(Duburi) |  |  |  | -59.4434
| ICCL | 46.2315 | visa |  |  |  | 9.548
| NALCO | -149.9353 | VAL (CGP) |  |  |  | 74.947
| RSP | -153.1511 | BSL(MMDL) |  |  |  | 129.3842
| INDAL | 5.1276 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -47.0762 | VAL CPP 400 kV |  |  |  | -489.8971
| NBVL | 54.0438 | Arati |  |  |  | 15.3123
| BPSL(JSG) | -45.4882 | BPPL |  |  |  | 124.56
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-15 | 2026-07-16 | 2026-07-17 | 2026-07-18 | 2026-07-19 | 2026-07-20 | 2026-07-21 | 2026-07-22
667.61 | 649.09 | 590.4425 | 579.288 | 528.4702 | 349.8483 | 307.7 | 263.57
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.22.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 89.51
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 33.31
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 57.76
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.06 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.14
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 12.51
JSPLANGUL | CR_IR_MS | -31.95 | ARYAN_ISPAT | WBSEDCL | -5 | AWEK1L | ODISHA | 8.34
JSPLANGUL | GEB_Beneficiary | -44.72 | DCBL_Rajgangpur | JAYPEE_REWA | -0.83 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.75
JSPLANGUL | MSEB_Beneficiary | -19.17 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 25.99
MAADURGA_THERMAL | NPCL_UP | 0 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 9.49
NBVLIPP | TANGEDCO | -50 | FACORPOWER | TPL_DIS_AHM | -25 | DADRI_SOLAR | ODISHA | 0.59
NBVL_OTCL | GEB_Beneficiary | -26 | JSPLANGUL | CSEB_Beneficiary | -95.83 | ENERSON_SOLAR_10MW | ODISHA | 0.98
OCL_IRON_STEEL | NPCL_UP | -31.75 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | OCL_IRON_STEEL | BRPL | -22.75 | GADAG_GreenInfra_W | ODISHA | 0.55
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | ODISHA | APL_Raipur_TPP | -12.5 | GADAG_Serentica3_S | VLSEZ | 28.1
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 103.62
JSWEL_UTKAL | ODISHA | 72.17 | RSPL_JHARSUGUDA | TANGEDCO | -10.33 | GIWEL_SECI_II_RE | ODISHA | 26.9
MPPMCL | ODISHA | 0 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GPCL_SOLAR_10 | ODISHA | 0.87
RAJ_SOLAR | ODISHA | 1.67 | TSBSLA | TANGEDCO | -10 | GSECL_SOLAR | ODISHA | 0.58
RAJ_SOLAR | ODISHA | 1.75 | VSL | CSEB_Beneficiary | -5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.2
|  |  | VSL | WBSEDCL | -10 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.7
|  |  | smcunit2 | TANGEDCO | -3 | KARUR_TPVARDHAMAN_W | TSKPO | 74.53
|  |  | HOTELSAPWIND16 | ITC_HOTELS_BBSR | 0.46 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.12
|  |  | JIPL | ODISHA | 115.26 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.05
|  |  | NALCOAP | NACL_Odisha | 26.93 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.67
|  |  | TSTPP_I | ODISHA | 64.21 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.06
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.93
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 4.04
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 20.63
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 36.01
[6 empty] | RWE_AP2_SECI_III | ODISHA | 16.93
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 13.64
[6 empty] | SRI9PL_FTG3 | VLSEZ | 67.54
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 25.95
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 2.76
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 49.53

## DAM
DAM TRADING DETAILS FOR DT : 22.07.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | 0 | -400 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -33.9
00:15 - 00:30 | 0 | -400 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -33.9
00:30 - 00:45 | 0 | -400 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -33.9
00:45 - 01:00 | 0 | -400 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -33.9
01:00 - 01:15 | 0 | -475 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -33.9
01:15 - 01:30 | 0 | -475 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -33.9
01:30 - 01:45 | 0 | -475 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -33.9
01:45 - 02:00 | 0 | -475 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | -475 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | -475 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | -475 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | -475 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | -375 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | -375 | 0 | 0 | -9 | 0 | 0 | -11 | 0 | 0
03:30 - 03:45 | 0 | -375 | 0 | 0 | -9 | 0 | 0 | -11 | 23.41 | 0
03:45 - 04:00 | 0 | -375 | 0 | 0 | -9 | 0 | 0 | -11 | 81.64 | 0
04:00 - 04:15 | 0 | -425 | 0 | 0 | -9 | 0 | 0 | -11 | 0 | 0
04:15 - 04:30 | 0 | -425 | 0 | 0 | -9 | 0 | 0 | -11 | 0 | 0
04:30 - 04:45 | 0 | -425 | 0 | 0 | -9 | 0 | 0 | -11 | 0 | 0
04:45 - 05:00 | 0 | -425 | 0 | 0 | -9 | 0 | 0 | -11 | 0 | 0
05:00 - 05:15 | 0 | -425 | 0 | 0 | -9 | -43 | 0 | -11 | 0 | 0
05:15 - 05:30 | 0 | -425 | 0 | 0 | -9 | -43 | 0 | -11 | 0 | 0
05:30 - 05:45 | 0 | -425 | 0 | 0 | -9 | -43 | 0 | 0 | 0 | -33.9
05:45 - 06:00 | 0 | -425 | 0 | 0 | -9 | -43 | 0 | 0 | 0 | -33.9
06:00 - 06:15 | 0 | -525 | 0 | 0 | -9 | -43 | 0 | 0 | 0 | -33.9
06:15 - 06:30 | 0 | -525 | 0 | 0 | -9 | -43 | 0 | 0 | 0 | -33.9
06:30 - 06:45 | 0 | -525 | 0 | 0 | -9 | -43 | 0 | 0 | 0 | -33.9
06:45 - 07:00 | 0 | -525 | 0 | 0 | -9 | -43 | 0 | 0 | 0 | -33.9
07:00 - 07:15 | 20.17 | -850 | 0 | 0 | -9 | -43 | 0 | 0 | 0 | 0
07:15 - 07:30 | 20.17 | -850 | 0 | 0 | -9 | -43 | 0 | 0 | 0 | 0
07:30 - 07:45 | 20.17 | -850 | 0 | 0 | -9 | -43 | 0 | -6 | 0 | 0
07:45 - 08:00 | 20.17 | -850 | 0 | 0 | -9 | -43 | 0 | -6 | 0 | 0
08:00 - 08:15 | 20.17 | -825 | 0 | 5.28 | 0 | -43 | 0 | -6 | 0 | 0
08:15 - 08:30 | 20.17 | -825 | 0 | 5.28 | 0 | -43 | 0 | -6 | 85.39 | 0
08:30 - 08:45 | 20.17 | -821.17 | 0 | 5.28 | 0 | -43 | 0 | -6 | 73.77 | 0
08:45 - 09:00 | 20.17 | -766.68 | 0 | 5.28 | 0 | -43 | 0 | -6 | 0 | 0
09:00 - 09:15 | 20.18 | -825 | 0 | 5.28 | 0 | -43 | 7.68 | -6 | 0 | 0
09:15 - 09:30 | 20.17 | -825 | 0 | 5.28 | 0 | -43 | 0 | -6 | 0 | 0
09:30 - 09:45 | 20.17 | -825 | 0 | 5.28 | 0 | -43 | 0 | -6 | 0 | 0
09:45 - 10:00 | 20.17 | -779 | 0 | 5.28 | 0 | -43 | 0 | -6 | 0 | 0
10:00 - 10:15 | 20.17 | -750 | 0 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
10:15 - 10:30 | 20.17 | -750 | 0 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
10:30 - 10:45 | 20.17 | -655.83 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
10:45 - 11:00 | 20.17 | -566.24 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
11:00 - 11:15 | 20.17 | -330.78 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
11:15 - 11:30 | 20.17 | -330.58 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
11:30 - 11:45 | 20.17 | -326.4 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
11:45 - 12:00 | 20.17 | -290.02 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
12:00 - 12:15 | 20.17 | 0 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
12:15 - 12:30 | 20.17 | 0 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
12:30 - 12:45 | 20.17 | 0 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
12:45 - 13:00 | 20.17 | 0 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
13:00 - 13:15 | 20.17 | 0 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
13:15 - 13:30 | 20.17 | 0 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
13:30 - 13:45 | 20.17 | 0 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
13:45 - 14:00 | 20.17 | 0 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
14:00 - 14:15 | 20.17 | -480.09 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
14:15 - 14:30 | 20.17 | -481.26 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
14:30 - 14:45 | 20.17 | -656.01 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
14:45 - 15:00 | 20.17 | -798.97 | 28.82 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
15:00 - 15:15 | 20.17 | -550 | 0 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
15:15 - 15:30 | 20.17 | -550 | 0 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
15:30 - 15:45 | 20.17 | -550 | 0 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
15:45 - 16:00 | 20.17 | -762.59 | 0 | 5.28 | 0 | -18 | 0 | -6 | 0 | 0
16:00 - 16:15 | 20.17 | -820.82 | 0 | 0 | 0 | -43 | 0 | -6 | 0 | 0
16:15 - 16:30 | 20.17 | -850 | 0 | 0 | 0 | -43 | 0 | -6 | 0 | 0
16:30 - 16:45 | 20.17 | -1009.95 | 0 | 0 | 0 | -43 | 0 | -6 | 0 | 0
16:45 - 17:00 | 20.17 | -1050 | 0 | 0 | 0 | -43 | 0 | -6 | 0 | 0
17:00 - 17:15 | 0 | -662.9 | 0 | 0 | 0 | -43 | 0 | -6 | 86.45 | 0
17:15 - 17:30 | 0 | -650.07 | 0 | 0 | 0 | -43 | 0 | -6 | 35.83 | 0
17:30 - 17:45 | 0 | -675 | 0 | 0 | 0 | -43 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | -800 | 0 | 0 | 0 | -43 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | -550 | 0 | 0 | -10 | -43 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | -550 | 0 | 0 | -10 | -43 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | -550 | 0 | 0 | -10 | -43 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | -550 | 0 | 0 | -10 | -43 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | -75 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | -75 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | -75 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | -75 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | -75 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | -75 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | -75 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | -75 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | -125 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
Average | 8.4043 | -436.8683 | 5.4037 | 1.76 | -5.5 | -18.8333 | 0.08 | -3.5312 | 4.0259 | -4.5906

## GDAM
GDAM TRADING DETAILS FOR DT:22.07.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 28.98 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 33.62 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 38.42 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 38.42 | 6.24 | 0 | 0.98 | 0
08:30 - 08:45 | 0 | 0 | 38.42 | 6.24 | 0 | 12.68 | 0
08:45 - 09:00 | 0 | 0 | 38.42 | 6.24 | 0 | 86.45 | 0
09:00 - 09:15 | 0 | 0 | 38.42 | 6.24 | 0 | 86.45 | 0
09:15 - 09:30 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 0
09:30 - 09:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 0
09:45 - 10:00 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 0
10:00 - 10:15 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
10:15 - 10:30 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
10:30 - 10:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
10:45 - 11:00 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
11:00 - 11:15 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
11:15 - 11:30 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
11:30 - 11:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
11:45 - 12:00 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
12:00 - 12:15 | -1.8 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
12:15 - 12:30 | -0.6 | 40.46 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
12:30 - 12:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
12:45 - 13:00 | 0 | 6.32 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
13:00 - 13:15 | 0 | 77.69 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
13:15 - 13:30 | -2 | 83.11 | 38.42 | 6.24 | 7.68 | 86.46 | 3.84
13:30 - 13:45 | -3.1 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
13:45 - 14:00 | -4.3 | 0 | 38.42 | 6.24 | 7.68 | 72.05 | 3.84
14:00 - 14:15 | -4.1 | 0 | 38.42 | 6.24 | 7.68 | 72.05 | 3.84
14:15 - 14:30 | -2.2 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
14:30 - 14:45 | -1.5 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
14:45 - 15:00 | -0.4 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
15:00 - 15:15 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
15:15 - 15:30 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
15:30 - 15:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 0
15:45 - 16:00 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 0
16:00 - 16:15 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45 | 0
16:15 - 16:30 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45 | 0
16:30 - 16:45 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45 | 0
16:45 - 17:00 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45 | 0
17:00 - 17:15 | 0 | 0 | 33.62 | 6.24 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 33.62 | 6.24 | 0 | 50.57 | 0
17:30 - 17:45 | -0.1 | 0 | 33.62 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 33.62 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.22604 | 2.1623 | 16.2604 | 2.405 | 2.48 | 30.0864 | 0.88

## RTM
RTM TRADING DETAILS FOR DT: 22.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -1.4 | 0 | 0 | 168.36 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0
00:15 - 00:30 | -1.4 | 0 | 0 | 168.36 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0
00:30 - 00:45 | -1.4 | 0 | 0 | 77.64 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 11.53 | 0 | 0 | 0 | 81.64 | 0 | 0 | 0 | 24.01 | 0
00:45 - 01:00 | -1.4 | 0 | 0 | 80.05 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0.38 | 11.53 | 4.8 | 0 | 0 | 81.64 | 0 | 0 | 0 | 24.01 | 0
01:00 - 01:15 | -1.4 | 0 | 0 | 80.05 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0.38 | 11.53 | 4.8 | 0 | 0 | 81.64 | 0 | 0 | -10 | 14.41 | 0
01:15 - 01:30 | -1.4 | 0 | 0 | 80.04 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0.38 | 11.53 | 1.53 | 0 | 0 | 81.63 | 0 | 0 | 0 | 14.41 | 0
01:30 - 01:45 | -1.4 | 0 | 0 | -109.95 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | 0 | 28.82 | 0
01:45 - 02:00 | -1.4 | 0 | 0 | -109.55 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | -25 | 28.82 | 0
02:00 - 02:15 | -1.4 | 0 | 0 | -150.01 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | 0 | 28.82 | 0
02:15 - 02:30 | -1.4 | 0 | 0 | -125.02 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | 0 | 28.82 | 0
02:30 - 02:45 | -1.4 | 0 | 0 | -177.52 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | -15 | 28.82 | 0
02:45 - 03:00 | -1.4 | 0 | 0 | -175.01 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | -15 | 28.82 | 0
03:00 - 03:15 | -1.4 | 0 | 0 | -134.45 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0.19 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | 0 | 28.82 | 0
03:15 - 03:30 | -1.4 | 0 | 0 | -133.97 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0.19 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | 0 | 28.82 | 0
03:30 - 03:45 | -1.4 | 0 | 0 | -149.94 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0.19 | 11.53 | 4.8 | 0 | 0 | 81.64 | 0 | 0 | 0 | 28.82 | 0
03:45 - 04:00 | -1.4 | 0 | 0 | -135.07 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0.19 | 11.53 | 4.8 | 0 | 0 | 81.64 | 0 | 0 | 0 | 28.82 | 0
04:00 - 04:15 | -1.4 | 0 | 0 | -250.39 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0.19 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | 0 | 28.82 | 0
04:15 - 04:30 | -1.4 | 0 | 0 | -258.96 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0.19 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | 0 | 28.82 | 22.86
04:30 - 04:45 | -1.4 | 0 | -0.8 | -389.06 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | -35 | 28.82 | 22.86
04:45 - 05:00 | -1.4 | 0 | -0.8 | -300.02 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 11.53 | 0 | 0 | 0 | 81.63 | 0 | 0 | 0 | 28.82 | 22.86
05:00 - 05:15 | -1.4 | 0 | -0.8 | -310.65 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 0.14 | 0 | 0 | 0 | 81.64 | 0 | 0 | 0 | 38.42 | 23.15
05:15 - 05:30 | -1.4 | 0 | -0.8 | -427.55 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 13.45 | 0 | 0 | 0 | 81.64 | 0 | 0 | 0 | 38.42 | 23.15
05:30 - 05:45 | -1.4 | 0 | -0.8 | -490.45 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 0 | 0 | 0 | 81.64 | 0 | 0 | 0 | 0 | 23.15
05:45 - 06:00 | -1.4 | 0 | -0.8 | -414.03 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 0 | 0 | 0 | 67.23 | 0 | 0 | 0 | 38.42 | 23.15
06:00 - 06:15 | -1.4 | 0 | -1 | -408.53 | 0 | 0.96 | -1.2 | 0 | 14.41 | 0 | 0 | 13.45 | 0 | 0 | 0 | 67.23 | 0 | 0 | -35 | 57.63 | 43.22
06:15 - 06:30 | -1.4 | 0 | -1 | -375 | 0 | 0 | -1.2 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 43.22
06:30 - 06:45 | -1.4 | 0 | -1.1 | -320.04 | 0 | 0.96 | -1.2 | 0 | 0 | -4 | -0.4 | 0 | 0 | 0 | 0 | 11.32 | 0 | 0 | 0 | 0 | 52.83
06:45 - 07:00 | -1.4 | 0 | -1.1 | -382.85 | 0 | 0.96 | -1.2 | 0 | 14.41 | -4 | -0.6 | 13.45 | 0 | 0 | 0 | 86.44 | 0 | 0 | 0 | 57.63 | 33.62
07:00 - 07:15 | -1.4 | 0 | -1.2 | -150.02 | 0 | 0.96 | -1.2 | 0 | 14.41 | -4 | -0.8 | 13.45 | 0 | 0 | 1.73 | 86.43 | 0 | 0 | 0 | 48.03 | 38.42
07:15 - 07:30 | -1.4 | -12 | -1.2 | -182.85 | 0 | 0.96 | -1.2 | 0 | 14.41 | -4 | -1 | 13.45 | 0 | 0 | 0 | 86.44 | 0 | 0 | 0 | 48.03 | 0
07:30 - 07:45 | -1.4 | 0 | -1.2 | -265.49 | 0 | 0.96 | -1.2 | 0 | 14.41 | -4 | -1.1 | 0 | 0 | 0 | 0 | 86.44 | 0 | 0 | 0 | 0 | 28.82
07:45 - 08:00 | -1.4 | 0 | -1.2 | -187.51 | 0 | 0.96 | -1.2 | 0 | 14.41 | -4 | -1.2 | 13.45 | 0 | 0 | 3.84 | 86.44 | 0 | 0 | -40 | 48.03 | 0
08:00 - 08:15 | -1.4 | 0 | -1.2 | 346.64 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -1.4 | 13.45 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | -1.4 | 0 | -1.2 | 345.75 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -1.5 | 13.45 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -1.4 | 0 | -1.2 | 197.84 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -1.7 | 5.76 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -1.4 | -11 | -1.2 | 150.67 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -1.9 | 5.76 | 0 | 0 | 3.84 | 0 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -1.4 | 0 | 0 | 342.01 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -2.3 | 5.76 | 0 | 0 | 3.84 | 0 | 0 | -8 | 0 | 0 | 0
09:15 - 09:30 | -1.4 | 0 | 0 | 246.83 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -2.6 | 5.76 | 0 | 0 | 3.84 | 0 | 0 | -8 | 0 | 0 | 0
09:30 - 09:45 | -1.4 | 0 | 0 | -56.02 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -2.4 | 0 | 0 | -5 | 0 | 0 | 0 | -8 | 0 | 0 | 0
09:45 - 10:00 | -1.4 | 0 | 0 | -389.08 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -2.5 | 5.77 | 0 | -5 | 3.84 | 0 | 0 | -8 | -40 | 0 | 0
10:00 - 10:15 | -1.4 | 0 | 0 | -334.48 | 0 | 0.96 | -1.2 | -15 | 0 | 0 | -2.5 | 5.76 | 0 | -5 | 0 | 0 | 0 | -8 | 0 | 48.03 | 0
10:15 - 10:30 | -1.4 | -10 | 0 | -459.47 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -2.5 | 5.76 | 0 | -5 | 0 | 0 | 0 | -8 | 0 | 48.03 | 0
10:30 - 10:45 | -1.4 | 0 | 0 | -630.51 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -2.4 | 5.76 | 0 | -5 | 0 | 0 | 0 | -8 | -40 | 48.03 | 0
10:45 - 11:00 | -1.4 | 0 | 0 | -628.47 | 0 | 0.96 | -1.2 | 0 | 0 | 0 | -1.9 | 5.76 | 0 | -5 | 0 | 0 | 0 | -8 | -30 | 33.62 | 0
11:00 - 11:15 | -1.4 | 0 | 0 | -503.48 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.8 | 5.76 | 0 | -5 | 0 | 0 | 0 | -8 | 0 | 33.62 | 0
11:15 - 11:30 | -1.4 | 0 | 0 | -522.8 | 0 | 0 | -1.2 | 0 | 0 | 0 | -2.1 | 5.76 | 0 | -5 | 0 | 0 | 0 | -8 | 0 | 28.82 | 0
11:30 - 11:45 | -1.4 | 0 | 0 | -828.46 | 0 | 0 | -1.2 | 0 | 0 | 0 | -2.2 | 5.76 | 0 | -5 | 0 | 0 | 0 | -8 | -10 | 28.82 | 63.39
11:45 - 12:00 | -1.4 | 0 | 0 | -924.92 | 0 | 0 | -1.2 | 0 | 0 | 0 | -2.8 | 7.68 | 4.8 | -5 | 0 | 0 | 0 | -8 | 0 | 28.82 | 63.39
12:00 - 12:15 | -1.4 | -5 | 0 | -812.26 | 0 | 0 | -1.2 | 0 | 0 | 0 | -3.3 | 7.68 | 4.8 | -5 | 0 | 0 | 0 | -8 | 0 | 0 | 63.4
12:15 - 12:30 | -1.4 | 0 | 0 | -753.62 | 0 | 0 | -1.2 | 0 | 0 | 0 | -3.7 | 7.68 | 4.8 | -5 | 0 | 0 | 0 | -8 | -40 | 0 | 30.74
12:30 - 12:45 | -1.4 | 0 | 0 | -302.78 | 0 | 0 | -1.2 | 0 | 0 | 0 | -3.2 | 7.69 | 4.8 | 0 | 0 | 0 | 0 | -8 | -10 | 0 | 0
12:45 - 13:00 | -1.4 | 0 | 0 | -52.75 | 0 | 0 | -1.2 | 0 | 0 | 0 | -2.9 | 7.69 | 4.8 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0
13:00 - 13:15 | -1.4 | 0 | 0 | -53.66 | 0 | 0 | -1.2 | 0 | 0 | 0 | -2.7 | 7.69 | 4.8 | 0 | 0 | 0 | 0 | -8 | -10 | 0 | 0
13:15 - 13:30 | -1.4 | 0 | 0 | -74.84 | 0 | 0 | -1.2 | 0 | 0 | 0 | -2.4 | 7.69 | 4.8 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0
13:30 - 13:45 | -1.4 | -5 | 0 | -320.81 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.8 | 7.69 | 4.8 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0
13:45 - 14:00 | -1.4 | -5 | 0 | -477.49 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.6 | 5.76 | 0 | 0 | 0 | 0 | 0 | -8 | -10 | 0 | 0
14:00 - 14:15 | -1.4 | 0 | 0 | -227.46 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.9 | 5.76 | 0 | 0 | 0 | 0 | 0 | -8 | -10 | 0 | 0
14:15 - 14:30 | -1.4 | 0 | 0 | -247.59 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.7 | 5.76 | 0 | 0 | 0 | 0 | 0 | -8 | -10 | 0 | 0
14:30 - 14:45 | -1.4 | 0 | 0 | -375.92 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.5 | 5.76 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0
14:45 - 15:00 | -1.4 | 0 | 0 | -502.23 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.4 | 5.76 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 0
15:00 - 15:15 | -1.6 | 0 | 0 | -427.88 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.3 | 5.76 | 0 | 0 | 0 | 0 | -3.5 | -8 | 0 | 14.41 | 0
15:15 - 15:30 | -1.6 | 0 | 0 | -252.22 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.1 | 5.76 | 0 | 0 | 0 | 0 | -3.5 | -8 | 0 | 14.41 | 0
15:30 - 15:45 | -1.6 | 0 | 0 | -543.03 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1 | 5.76 | 0 | 0 | 0 | 0 | -3.5 | -8 | -10 | 0 | 0
15:45 - 16:00 | -1.6 | -10 | 0 | -439.47 | 0 | 0 | -1.2 | -15 | 0 | 0 | -0.9 | 5.76 | 0 | 0 | 0 | 0 | -3.5 | -8 | -10 | 0 | 0
16:00 - 16:15 | -1.6 | 0 | 0 | -287.54 | 0 | 0 | -1.2 | 0 | 14.41 | -6 | -0.8 | 5.76 | 0 | 0 | -1 | 0 | -3.5 | -8 | 0 | 0 | 0
16:15 - 16:30 | -1.6 | 0 | 0 | -302.87 | 0 | 0 | -1.2 | 0 | 14.41 | -6 | -0.7 | 5.76 | 0 | 0 | -1 | 0 | -3.5 | -8 | 0 | 0 | 0
16:30 - 16:45 | -1.6 | 0 | 0 | -218.85 | 0 | 0 | -1.2 | 0 | 0 | -6 | -0.6 | 0 | 0 | 0 | -1 | 0 | -3.5 | -8 | 0 | 0 | 0
16:45 - 17:00 | -1.6 | 0 | 0 | -40.76 | 0 | 0 | -1.2 | 0 | 0 | -6 | -0.4 | 0 | 0 | 0 | -1 | 0 | -3.5 | -8 | 0 | 0 | 0
17:00 - 17:15 | -1.6 | -10 | 0 | -196.09 | 0 | 0 | -1.2 | 0 | 0 | -6 | -0.4 | 0 | 0 | 0 | -1 | 0 | -3.5 | -8 | 0 | 0 | 0
17:15 - 17:30 | -1.6 | 0 | 0 | -143.8 | 0 | 0 | -1.2 | 0 | 0 | -6 | -0.3 | 0 | 0 | 0 | -1 | 0 | -3.5 | -8 | -15 | 0 | 0
17:30 - 17:45 | -1.6 | 0 | -1.1 | 0 | 0 | 0 | -1.2 | 0 | 14.41 | -6 | -0.1 | 13.45 | 0 | 0 | -1 | 86.44 | -3.5 | -8 | -25 | 0 | 0
17:45 - 18:00 | -1.6 | 0 | -1.1 | 0 | 0 | 0 | -1.2 | 0 | 14.41 | -6 | 0 | 13.45 | 0 | 0 | -1 | 86.44 | -3.5 | -8 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 18.63 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 15.37 | 4.8 | 0 | 0 | 86.45 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -1.6 | 0 | 0 | 0 | 19.21 | 0 | -1.2 | 0 | 14.41 | 0 | 0.19 | 15.37 | 4.8 | 0 | 0 | 86.45 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -1.6 | 0 | -1.1 | 47.05 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 13.45 | 0 | 0 | -1 | 86.43 | -3.5 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1.6 | 0 | -1.1 | 0 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 13.45 | 0 | 0 | -1 | 86.44 | -3.5 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -3.5 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -3.5 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -3.5 | 0 | -25 | 0 | 0
19:45 - 20:00 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -3.5 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -3.5 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -3.5 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1.6 | 0 | -1 | -7.75 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -3.5 | 0 | 0 | 0 | 0
20:45 - 21:00 | -1.6 | 0 | -1 | -7.38 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -3.5 | 0 | -30 | 0 | 0
21:00 - 21:15 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | 0 | 0 | 0
21:15 - 21:30 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | 0 | 0 | 0
21:30 - 21:45 | -1.6 | 0 | -1 | -102.5 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | 0 | 0 | 0
21:45 - 22:00 | -1.6 | 0 | -1 | -100.56 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | -30 | 0 | 0
22:00 - 22:15 | -1.6 | 0 | -1 | -274.98 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | 0 | 0 | 24.01
22:15 - 22:30 | -1.6 | 0 | -1 | -275.28 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | 0 | 0 | 24.01
22:30 - 22:45 | -1.6 | 0 | -1 | -215.02 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | 0 | 13.45 | 37.45
22:45 - 23:00 | -1.6 | 0 | -1 | -208.92 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 13.45 | 0 | -5 | -2 | 81.63 | -3.5 | 0 | 0 | 13.45 | 37.46
23:00 - 23:15 | -1.6 | 0 | -1 | -162.76 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 13.45 | 0 | -5 | -2 | 0 | -3.5 | 0 | 0 | 13.45 | 40.33
23:15 - 23:30 | -1.6 | 0 | -1 | -164.99 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | 0 | 13.45 | 40.34
23:30 - 23:45 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | 0 | 13.45 | 61.47
23:45 - 24:00 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | -3.5 | 0 | -20 | 13.45 | 61.47
Average | -1.4583 | -0.70833 | -0.44792 | -187.8578 | 0.39417 | 0.43 | -1.2 | -0.3125 | 6.1543 | -0.75 | -0.75969 | 6.4656 | 0.71594 | -1.25 | -0.18281 | 30.1308 | -1.2396 | -3 | -6.4583 | 13.1483 | 9.883