## POWER STATUS
POWER STATUS ON DT 25.07.2026
[9 empty] | 2026-07-25 | 2026-07-24
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5701.229 | 6340.6884
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 202.91 | 4.8698 | 630/590 ft | 609.08 | 614.47 | 613.71 | 205 | 206
| Chiplima | 72(3x24) | 48.41 | 1.1618 | - |  |  |  | 50 | 43
| Balimela | 510(6x60+2x75) | 42.37 | 1.0169 | 1516/1440 ft | 1463 | 1455.8 | 1455.9 | 60 | 179.6432
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 120.22 | 117.54 | 118.17 | 0 | 0
| Upper Kolab | 320(4x80) | 4 | 0.096 | 858/844 mt | 851.61 | 848.85 | 848.85 | 0 | 77
| Upper Indravati | 600(4x150) | 0 | 0 | 642/625 mt | 633.8 | 631.05 | 631.13 | 0 | 0.29992
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2736.9 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 297.69 | 7.1446 |  |  |  |  | 315 | 505.9431
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1627.98 | 39.0715 | RENEWABLE ENERGY (RE) |  |  |  | 1674 | 1670
[5 empty] | M.Hydl | 103.16
| Total Thermal | 2200 | 1627.98 | 39.0715 | Solar | 107.07 |  |  | 1674 | 1670
IPP | VEDANTA #2 | 600 (1x600) | 393.94 | 9.4546 | Total IPPs | Yesterday's Demand Profile |  |  | 353.4375 | 520.1953
| GMR #3 | 350 (1x350) | 306.79 | 7.363 | 754.43 |  | MW | HRS | 317.6853 | 317.5826
| NBVL(IPP) | 60(1x60) | 49.9 | 1.1976 |  |  |  |  | 54.2014 | 54.0077
| MDTPC |  | 3.8 | 0.0912 |  |  |  |  | 25.05 | 24.0467
| CGPs |  | 851.34 | 20.4322 | IPPs, CGPs & RE | Maximum | 6341.13 | 23:00 | 1893 | 1906
| Central Sector(Drawl) |  | 1812.1775 | 43.4923 | 1816 | Minimum | 5046.69 | 18:00 | 1819.229 | 2258.7452
| Central Sector(Sch) |  | 1890.5257 | 45.3726 |  | Average | 5553.8475 |  | 2020.6801 | 1914.8199
| Grand Total |  | 5553.8475 | 133.2923 | Instantaneous Peak demand |  | 6412 | 22:00 | 5701.229 | 6340.6884
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1641.38 | 39.3931 | 1592.61 | 38.2226 | 1610.54 | 38.653
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1722.67 | 41.3441 | 1680.34 | 40.3282 | 1540.47 | 36.9713
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1155.81 | 27.7394 | 1261.92 | 30.2861 | 1054.68 | 25.3123
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 590.75 | 14.178 | 605.51 | 14.5322 | 612.01 | 14.6882
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5110.61 | 122.6546 | 5140.38 | 123.3691 | 4817.7 | 115.6248
Machhkund | ALL | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 353.4375 | GMR |  |  |  | 318
| NBVL #3 | 54 | MDTPC |  |  |  | 25
Mini Hydel: | MEENAKSHI | 35 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 8
Solar: |  |  | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | 250.0589 | JSL(Duburi) |  |  |  | -114.3701
| ICCL | 53.5994 | visa |  |  |  | 11.2902
| NALCO | -166.9407 | VAL (CGP) |  |  |  | 207.064
| RSP | -189.1172 | BSL(MMDL) |  |  |  | -37.6788
| INDAL | 5.803 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -30.3083 | VAL CPP 400 kV |  |  |  | -591.2516
| NBVL | 54.5472 | Arati |  |  |  | 23.953
| BPSL(JSG) | -86.0154 | BPPL |  |  |  | 124.7135
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-17 | 2026-07-18 | 2026-07-19 | 2026-07-20 | 2026-07-21 | 2026-07-22 | 2026-07-23 | 2026-07-24
590.4425 | 579.288 | 528.4702 | 349.8483 | 307.7 | 263.57 | 2099.5 | 297.69
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.24.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 26.97
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 46.7
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 58.26
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -1.97 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.51
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 3.09
JSPLANGUL | CR_IR_MS | -30 | ARYAN_ISPAT | WBSEDCL | -5 | AWEK1L | ODISHA | 4.63
JSPLANGUL | GEB_Beneficiary | -42 | BPPL | TANGEDCO | -7.5 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 1.76
JSPLANGUL | MSEB_Beneficiary | -18 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 39.27
MAADURGA_THERMAL | NPCL_UP | 0 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 4.7
NBVLIPP | TANGEDCO | -50 | FACORPOWER | TANGEDCO | -10 | DADRI_SOLAR | ODISHA | 0.61
NBVL_OTCL | GEB_Beneficiary | -26 | FACORPOWER | TPL_DIS_AHM | -25 | ENERSON_SOLAR_10MW | ODISHA | 0.31
OCL_IRON_STEEL | NPCL_UP | -33 | JSPLANGUL | CSEB_Beneficiary | -90 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | AMNSIL | -16.67 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0.55
ODISHA | PCKL | -14.58 | OCL_IRON_STEEL | BRPL | -25 | GADAG_Serentica3_S | VLSEZ | 31.45
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 120.39
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | RSPL_JHARSUGUDA | TANGEDCO | -8.07 | GIWEL_SECI_II_RE | ODISHA | 47.51
FARIDABAD_SOLAR | ODISHA | 0.86 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GPCL_SOLAR_10 | ODISHA | 0.31
JSWEL_UTKAL | ODISHA | 64.49 | TSBSLA | TANGEDCO | -9.69 | GSECL_SOLAR | ODISHA | 0.18
MPPMCL | ODISHA | 0 | VSL | CSEB_Beneficiary | -5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.31
RAJ_SOLAR | ODISHA | 1.66 | VSL | WBSEDCL | -10 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.84
RAJ_SOLAR | ODISHA | 2.15 | JIPL | ODISHA | 115.26 | KARUR_TPVARDHAMAN_W | TSKPO | 67.7
|  |  | NALCOAP | NACL_Odisha | 27.84 | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.61
|  |  | TSTPP_I | ODISHA | 19.33 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 1.6
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.15
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 30.48
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 46.6
[6 empty] | RWE_AP2_SECI_III | ODISHA | 15.72
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 15.78
[6 empty] | SRI9PL_FTG3 | VLSEZ | 60.44
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.08
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.1
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 25.22
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 9.09
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 43.46

## DAM
DAM TRADING DETAILS FOR DT : 24.07.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela
00:00 - 00:15 | 0 | -3 | -100 | 0 | -5 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | -3 | -100 | 0 | -5 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | -3 | -100 | 0 | -5 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | -3 | -100 | 0 | -5 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | -100 | 0 | -5 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | -100 | 0 | -5 | 0 | 0 | 0 | 27.29
01:30 - 01:45 | 0 | 0 | -100 | 0 | -5 | 0 | 0 | -5 | 81.64
01:45 - 02:00 | 0 | 0 | -100 | 0 | -5 | 0 | 0 | -5 | 81.64
02:00 - 02:15 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
02:15 - 02:30 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
02:30 - 02:45 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
02:45 - 03:00 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
03:00 - 03:15 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
03:15 - 03:30 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
03:30 - 03:45 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
03:45 - 04:00 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
04:00 - 04:15 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
04:15 - 04:30 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
04:30 - 04:45 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
04:45 - 05:00 | 0 | 0 | -275 | 0 | -5 | 0 | 7.68 | -5 | 81.65
05:00 - 05:15 | 0 | 0 | -275 | 0 | -5 | -43 | 7.68 | -5 | 81.65
05:15 - 05:30 | 0 | 0 | -275 | 0 | -5 | -43 | 7.68 | -5 | 81.65
05:30 - 05:45 | 0 | 0 | -275 | 0 | -5 | -43 | 0 | -5 | 81.64
05:45 - 06:00 | 0 | 0 | -275 | 0 | -5 | -43 | 0 | -5 | 0
06:00 - 06:15 | 0 | 0 | -325 | 0 | -5 | -43 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | -325 | 0 | -5 | -43 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | -325 | 0 | -5 | -43 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | -325 | 0 | -5 | -43 | 0 | -5 | 0
07:00 - 07:15 | 0 | 0 | -750 | 0 | -5 | -43 | 0 | -5 | 0
07:15 - 07:30 | 0 | 0 | -750 | 0 | -5 | -43 | 0 | -5 | 0
07:30 - 07:45 | 0 | 0 | -712.63 | 0 | -5 | -43 | 0 | -5 | 0
07:45 - 08:00 | 0 | 0 | -625 | 0 | -5 | -43 | 0 | -5 | 0
08:00 - 08:15 | 20.17 | 0 | -600.29 | 0 | 0 | -43 | 0 | 0 | 86.45
08:15 - 08:30 | 20.17 | 0 | -550 | 0 | 0 | -43 | 7.68 | 0 | 86.45
08:30 - 08:45 | 20.17 | 0 | -550 | 0 | 0 | -43 | 7.68 | 0 | 86.45
08:45 - 09:00 | 20.17 | 0 | -538.33 | 0 | 0 | -43 | 7.68 | 0 | 0
09:00 - 09:15 | 20.17 | 0 | -676.75 | 0 | 0 | -18 | 7.68 | 0 | 0
09:15 - 09:30 | 20.17 | 0 | -356.7 | 0 | 0 | -18 | 7.68 | 0 | 0
09:30 - 09:45 | 20.17 | 0 | -350 | 0 | 0 | -18 | 0 | 0 | 0
09:45 - 10:00 | 20.17 | 0 | -350 | 0 | 0 | -18 | 0 | 0 | 0
10:00 - 10:15 | 20.17 | 0 | -372.57 | 28.82 | 0 | -18 | 0 | 0 | 0
10:15 - 10:30 | 20.17 | 0 | -330.94 | 28.82 | 0 | -18 | 0 | 0 | 0
10:30 - 10:45 | 20.17 | 0 | -265.69 | 28.82 | 0 | -18 | 0 | 0 | 0
10:45 - 11:00 | 20.17 | 0 | -150.55 | 28.82 | 0 | -18 | 0 | 0 | 0
11:00 - 11:15 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
11:15 - 11:30 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
11:30 - 11:45 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
11:45 - 12:00 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
12:00 - 12:15 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
12:15 - 12:30 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
12:30 - 12:45 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
12:45 - 13:00 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
13:00 - 13:15 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
13:15 - 13:30 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
13:30 - 13:45 | 20.17 | 0 | 0 | 28.82 | 0 | -18 | 0 | 0 | 0
13:45 - 14:00 | 20.17 | 0 | -200.3 | 28.82 | 0 | -18 | 0 | 0 | 0
14:00 - 14:15 | 20.17 | 0 | -420.42 | 28.82 | 0 | -18 | 0 | 0 | 0
14:15 - 14:30 | 20.17 | 0 | -480.92 | 28.82 | 0 | -18 | 0 | 0 | 0
14:30 - 14:45 | 20.17 | 0 | -581.95 | 28.82 | 0 | -18 | 0 | 0 | 0
14:45 - 15:00 | 20.17 | 0 | -800 | 28.82 | 0 | -18 | 0 | 0 | 0
15:00 - 15:15 | 20.17 | 0 | -550 | 0 | 0 | -18 | 0 | 0 | 0
15:15 - 15:30 | 20.17 | 0 | -550 | 0 | 0 | -18 | 0 | 0 | 0
15:30 - 15:45 | 20.17 | 0 | -667.68 | 0 | 0 | -18 | 0 | 0 | 0
15:45 - 16:00 | 20.17 | 0 | -741.75 | 0 | 0 | -18 | 0 | 0 | 0
16:00 - 16:15 | 20.17 | 0 | -800 | 0 | 0 | -43 | 0 | 0 | 0
16:15 - 16:30 | 20.17 | 0 | -800 | 0 | 0 | -43 | 0 | 0 | 0
16:30 - 16:45 | 20.17 | 0 | -821.41 | 0 | 0 | -43 | 0 | 0 | 0
16:45 - 17:00 | 20.17 | 0 | -824.44 | 0 | 0 | -43 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | -545.55 | 0 | 0 | -43 | 7.68 | 0 | 0
17:15 - 17:30 | 0 | 0 | -575 | 0 | 0 | -43 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | -575 | 0 | 0 | -43 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | -575 | 0 | 0 | -43 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | -200 | 0 | -6 | -43 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | -200 | 0 | -6 | -43 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | -200 | 0 | -6 | -43 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | -200 | 0 | -6 | -43 | 0 | 0 | 0
19:00 - 19:15 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | -3 | 0 | 0 | -6 | 0 | 0 | 0 | 0
Average | 7.5637 | -0.75 | -268.1132 | 6.0042 | -3.1667 | -17.7917 | 1.6 | -1.1979 | 17.4444

## GDAM
GDAM TRADING DETAILS FOR DT:24.07.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -0.2 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -0.5 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -0.9 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -1.3 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -1.6 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 16.08 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 38.42 | 6.24 | 0 | 86.45
09:00 - 09:15 | 0 | 0 | 38.42 | 6.24 | 0 | 86.45
09:15 - 09:30 | 0 | 0 | 38.42 | 6.24 | 0 | 86.45
09:30 - 09:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
09:45 - 10:00 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
10:00 - 10:15 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
10:15 - 10:30 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
10:30 - 10:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
10:45 - 11:00 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
11:00 - 11:15 | -3.6 | 0 | 38.42 | 6.24 | 7.68 | 86.45
11:15 - 11:30 | -3.5 | 0 | 38.42 | 6.24 | 7.68 | 86.45
11:30 - 11:45 | -5.9 | 0 | 38.42 | 6.24 | 7.68 | 86.45
11:45 - 12:00 | -2.2 | 0 | 38.42 | 6.24 | 7.68 | 86.45
12:00 - 12:15 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
12:15 - 12:30 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
12:30 - 12:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
12:45 - 13:00 | -0.3 | 0 | 38.42 | 6.24 | 7.68 | 86.45
13:00 - 13:15 | -3.1 | 70.89 | 38.42 | 6.24 | 7.68 | 86.46
13:15 - 13:30 | -3.1 | 114.06 | 38.42 | 6.24 | 7.68 | 86.45
13:30 - 13:45 | -0.8 | 0 | 38.42 | 6.24 | 7.68 | 86.45
13:45 - 14:00 | 0 | 0 | 38.42 | 6.24 | 7.68 | 72.04
14:00 - 14:15 | 0 | 0 | 38.42 | 6.24 | 7.68 | 72.04
14:15 - 14:30 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
14:30 - 14:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
14:45 - 15:00 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
15:00 - 15:15 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
15:15 - 15:30 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
15:30 - 15:45 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
15:45 - 16:00 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45
16:00 - 16:15 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45
16:15 - 16:30 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45
16:30 - 16:45 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45
16:45 - 17:00 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45
17:00 - 17:15 | 0 | 0 | 33.62 | 6.24 | 0 | 86.45
17:15 - 17:30 | 0 | 0 | 33.62 | 6.24 | 0 | 86.45
17:30 - 17:45 | -0.9 | 0 | 33.62 | 5.76 | 0 | 0
17:45 - 18:00 | -0.8 | 0 | 33.62 | 0 | 0 | 0
18:00 - 18:15 | -0.6 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.30521 | 1.9266 | 14.5752 | 2.335 | 2.4 | 31.2181

## RTM
RTM TRADING DETAILS FOR DT: 24.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0
00:15 - 00:30 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 50.2 | 0 | 0 | -3 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 0 | 0 | 0 | 81.64 | 0 | 0 | -3 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 13.45 | 0 | 0 | 81.64 | 0 | 0 | -3 | 0 | 19.21 | 0 | 0
01:00 - 01:15 | -1.6 | 0 | 0 | 0 | -1 | -175.11 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 6.24 | 0 | 13.45 | 0 | 0 | 81.64 | 0 | 0 | -3 | 0 | 19.21 | 0 | 0
01:15 - 01:30 | -1.6 | 0 | 0 | 0 | 0 | -59.6 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0.38 | 6.24 | 0 | 13.45 | 4.8 | 0 | 52.83 | 0 | 0 | -3 | 0 | 19.21 | 0 | 0
01:30 - 01:45 | -1.6 | 0 | 0 | 0 | -1 | -161.36 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 13.45 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 19.21 | 0 | 0
01:45 - 02:00 | -1.6 | 0 | 0 | 0 | -1 | -161.35 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 13.45 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 19.21 | 0 | 0
02:00 - 02:15 | -1.6 | 0 | 0 | 0 | -1 | -88.52 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0
02:15 - 02:30 | -1.6 | 0 | 0 | 0 | -1 | -88.53 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0
02:30 - 02:45 | -1.6 | 0 | 0 | 0 | -1 | -27.25 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 6.24 | 0 | 5.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.6 | 0 | 0 | 0 | -1 | -50.05 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.6 | 0 | 0 | 0 | 0 | -14.02 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.42 | 0 | 6.24 | 0 | 5.76 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -1.6 | 0 | 0 | 0 | -1 | -20.37 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 6.24 | 0 | 5.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 19.22 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0.19 | 6.24 | 0 | 7.68 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 19.22 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0.19 | 6.24 | 0 | 7.68 | 4.8 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0
04:00 - 04:15 | -1.6 | 0 | 0 | 0 | -1 | -75 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 6.24 | 0 | 5.76 | 4.78 | 0 | 0 | 0 | 0 | 0 | -30 | 9.61 | 0 | 147.2
04:15 - 04:30 | -1.6 | 0 | 0 | 0 | -1 | -79.52 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 6.24 | 0 | 5.76 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 9.61 | 0 | 0
04:30 - 04:45 | -1.6 | 0 | 0 | 0 | 0 | -52.04 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0.19 | 6.24 | 0 | 5.76 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 9.61 | 0 | 147.92
04:45 - 05:00 | -1.6 | 0 | 0 | 0 | 0 | -49.98 | 0 | 0.96 | 0 | 0 | -1.2 | 0 | 14.41 | 0.19 | 6.24 | 0 | 7.68 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 9.61 | 0 | 147.92
05:00 - 05:15 | -1.6 | 0 | 0 | 0 | -1 | -77.86 | 0 | 0 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 6.24 | 0 | 5.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.61 | 0 | 0
05:15 - 05:30 | -1.6 | 0 | 0 | 0 | -1 | -82.51 | 0 | 0 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 6.24 | 0 | 5.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.61 | 0 | 0
05:30 - 05:45 | -1.6 | 0 | 0 | 0 | -1 | -206.26 | 0 | 0 | 0 | 0 | -1.2 | 0 | 14.4 | 0 | 0 | 0 | 13.45 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 9.61 | 0 | 0
05:45 - 06:00 | -1.6 | 0 | 0 | 0 | -1 | -212.53 | 0 | 0 | 0 | 0 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 13.45 | 0 | 0 | 67.22 | 0 | 0 | 0 | -25 | 9.61 | 0 | 0
06:00 - 06:15 | -1.6 | 0 | 0 | 0 | -1 | -222.68 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0
06:15 - 06:30 | -1.6 | 0 | 0 | 0 | -1 | -226.63 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -1.6 | -11 | 0 | 0 | -1 | -221.2 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -1.6 | 0 | 0 | 0 | -1 | -216.01 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -0.2 | 0 | -1.2 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -1.6 | 0 | 0 | 0 | -1 | -82.1 | 0 | 0 | -0.3 | 0 | -1.2 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -1.6 | 0 | 0 | 0 | -1 | -152.04 | 0 | 0 | -0.3 | 0 | -1.2 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0
07:45 - 08:00 | -1.6 | 0 | 0 | 0 | -1 | -250.09 | 0 | 0 | -0.4 | 0 | -1.2 | 0 | 14.41 | -1.3 | 0 | 0 | 13.45 | 0 | -5 | 86.44 | 0 | 0 | 0 | -30 | 24.01 | 0 | 0
08:00 - 08:15 | -1.6 | -10 | 0 | -1 | 0 | -21.51 | 0 | 0 | -0.5 | -3 | -1.2 | 0 | 0 | -1.5 | 0 | 0 | 13.45 | 0 | -5 | 0 | 0 | 0 | -10 | -20 | 0 | 0 | 0
08:15 - 08:30 | -1.6 | 0 | 0 | -1.4 | 0 | -68.02 | 0 | 0 | -0.6 | -3 | -1.2 | 0 | 0 | -1.8 | 0 | 0 | 5.76 | 0 | -5 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0
08:30 - 08:45 | -1.4 | 0 | 0 | -1.9 | 0 | 0 | 0 | 0 | -0.5 | -3 | -1.2 | 0 | 0 | -2.1 | 0 | 0 | 5.76 | 0 | -5 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0
08:45 - 09:00 | -1.4 | 0 | 0 | -3.6 | 0 | 0 | 0 | 0 | -0.5 | -3 | -1.2 | 0 | 0 | -2.3 | 0 | 0 | 5.76 | 0 | -5 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0
09:00 - 09:15 | -1.4 | 0 | 0 | -6.3 | 0 | 0 | 0 | 0.96 | -0.5 | -3 | -1.2 | -15 | 0 | -2.5 | 0 | 0 | 5.76 | 0 | -5 | 0 | 0 | 0 | -10 | 0 | 1.73 | 0 | 0
09:15 - 09:30 | -1.4 | 0 | 0 | -6.2 | 0 | -352.49 | 0 | 0.96 | -0.5 | -3 | -1.2 | 0 | 0 | -2.8 | 0 | 0 | 5.76 | 4.8 | -5 | 0 | 0 | 0 | -10 | -40 | 62.44 | 0 | 0
09:30 - 09:45 | -1.4 | 0 | 0 | 0 | 0 | -9.97 | 13.45 | 0.96 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | 0 | -10 | -40 | 62.44 | 0 | 0
09:45 - 10:00 | -1.4 | 0 | 0 | 0 | 0 | -12.05 | 13.16 | 0.96 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | 0 | -10 | 0 | 62.44 | 0 | 0
10:00 - 10:15 | -1.4 | 0 | -0.2 | -3.8 | 0 | 172.93 | 12.77 | 0.96 | -0.6 | 0 | -1.2 | 0 | 0 | 0 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | 0 | 62.43 | 11.53 | 0
10:15 - 10:30 | -1.4 | 0 | -2 | -4.1 | 0 | 246.1 | 0 | 0.96 | -0.6 | -3 | -1.2 | 0 | 0 | -3.7 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | 0 | 62.43 | 11.53 | 0
10:30 - 10:45 | -1.4 | 0 | -4.2 | -12.7 | 0 | 205.46 | 0 | 7.68 | -0.1 | -3 | -1.2 | 0 | 0 | -3.8 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | -1 | -3 | -10 | 0 | 57.63 | 11.53 | 0
10:45 - 11:00 | -1.4 | 0 | -3.6 | -11.8 | 0 | 263.63 | 0 | 7.68 | -0.1 | -3 | -1.2 | 0 | 0 | -4.1 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | -1 | -3 | -10 | -10 | 57.63 | 11.53 | 0
11:00 - 11:15 | -1.4 | -10 | -15.4 | -7.6 | 0 | 501.16 | 0 | 7.68 | -0.3 | -5 | -1.2 | 0 | 0 | -4.1 | 0.48 | 0 | 4.8 | 4.8 | 0 | 0 | -1 | -3 | -10 | -42 | 67.24 | 11.53 | 0
11:15 - 11:30 | -1.4 | 0 | -15.8 | -9.6 | 0 | 577.77 | 0 | 7.68 | -0.3 | -5 | -1.2 | 0 | 0 | -3.9 | 0.48 | 0 | 4.8 | 4.8 | 0 | 0 | -1 | -3 | -10 | -15 | 67.24 | 11.53 | 0
11:30 - 11:45 | -1.4 | 0 | -15.9 | -10 | 0 | 621.94 | 0 | 7.68 | -1 | -5 | -1.2 | 0 | 0 | -3.9 | 0.48 | 0 | 4.8 | 4.8 | 0 | 0 | -1 | -3 | -10 | 0 | 67.24 | 11.53 | 0
11:45 - 12:00 | -1.4 | 0 | -16.4 | -13.7 | 0 | 375.05 | 0 | 7.68 | -1 | -5 | -1.2 | 0 | 0 | -4.1 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | -1 | -3 | -10 | 0 | 67.24 | 11.53 | 0
12:00 - 12:15 | -1.4 | 0 | -16.8 | -16.5 | 0 | 306.72 | 0 | 7.68 | -1.5 | -5 | -1.2 | 0 | 0 | -4.3 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | 0 | 52.83 | 11.53 | 0
12:15 - 12:30 | -1.4 | -5 | -16.3 | -17.7 | 0 | 450.8 | 0 | 7.68 | -1.5 | -5 | -1.2 | 0 | 0 | -4.1 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | 0 | 52.83 | 11.53 | 0
12:30 - 12:45 | -1.4 | -5 | -16.6 | -16.9 | 0 | 660.86 | 0 | 7.68 | -1.7 | -5 | -1.2 | 0 | 0 | -4.2 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | -25 | 52.83 | 11.53 | 0
12:45 - 13:00 | -1.4 | 0 | -16.5 | -15.1 | 0 | 660.74 | 0 | 7.68 | -1.5 | -5 | -1.2 | 0 | 0 | -4.1 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | -42 | 52.83 | 11.53 | 0
13:00 - 13:15 | -1.4 | 0 | -6 | -5.8 | 0 | 465.84 | 15.27 | 7.68 | -1 | -5 | -1.2 | 0 | 0 | -3.9 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | -43 | 9.61 | 11.53 | 0
13:15 - 13:30 | -1.4 | 0 | -6.3 | -4.3 | 0 | 435.23 | 0 | 7.68 | -0.8 | -5 | -1.2 | 0 | 0 | -3.9 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | -10 | 9.61 | 11.53 | 0
13:30 - 13:45 | -1.4 | -13 | -7.3 | -6.1 | 0 | 429.36 | 0 | 7.68 | -0.3 | -5 | -1.2 | 0 | 0 | -3.6 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | -10 | 9.61 | 11.53 | 0
13:45 - 14:00 | -1.4 | -13 | -6.8 | -6.7 | 0 | 429.07 | 0 | 7.68 | -0.2 | -5 | -1.2 | 0 | 0 | -3.2 | 0.48 | 0 | 6.72 | 4.8 | 0 | 0 | 0 | -3 | -10 | -10 | 9.61 | 11.53 | 0
14:00 - 14:15 | -1.4 | 0 | -6.6 | -6 | 0 | 650.78 | 0 | 7.68 | -0.5 | -5 | -1.2 | 0 | 0 | -2.8 | 0.48 | 0 | 7.68 | 0 | 0 | 0 | 0 | -3 | -10 | 0 | 9.61 | 11.53 | 0
14:15 - 14:30 | -1.4 | 0 | -5.3 | -6.1 | 0 | 645.96 | 0 | 7.68 | -0.3 | -5 | -1.2 | 0 | 0 | -2.7 | 0.48 | 0 | 5.76 | 0 | 0 | 0 | 0 | -3 | -10 | 0 | 9.61 | 11.53 | 0
14:30 - 14:45 | -1.4 | 0 | -5 | -5.3 | 0 | 364.48 | 0 | 7.68 | -0.1 | -5 | -1.2 | 0 | 0 | -2.6 | 0.48 | 0 | 5.76 | 0 | 0 | 0 | 0 | -3 | -10 | -42 | 38.42 | 11.53 | 0
14:45 - 15:00 | -1.4 | 0 | -3.9 | -5.5 | 0 | 315.79 | 0 | 7.68 | -0.1 | -5 | -1.2 | 0 | 0 | -2.6 | 0.48 | 0 | 5.76 | 0 | 0 | 0 | 0 | -3 | -10 | -42 | 38.42 | 11.53 | 0
15:00 - 15:15 | -1.4 | -10 | -1.6 | -4.9 | 0 | -147.03 | 0 | 7.68 | -0.3 | -5 | -1.2 | 0 | 0 | -2.7 | 0.48 | 0 | 5.76 | 0 | 0 | 0 | 0 | -3 | -10 | -45 | 38.42 | 11.53 | 0
15:15 - 15:30 | -1.4 | 0 | 0 | -3.8 | 0 | -350.88 | 0 | 7.68 | -0.2 | -5 | -1.2 | 0 | 0 | -2.5 | 0.48 | 0 | 5.76 | 0 | 0 | 0 | 0 | -3 | -10 | -45 | 38.42 | 11.53 | 0
15:30 - 15:45 | -1.4 | -5 | 0 | -2.8 | 0 | -225.93 | 0 | 7.68 | -0.2 | -5 | -1.2 | 0 | 0 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -10 | -30 | 0 | 0 | 0
15:45 - 16:00 | -1.4 | -5 | 0 | -2.6 | 0 | -176.43 | 0 | 7.68 | -0.2 | -5 | -1.2 | -15 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 0
16:00 - 16:15 | -1.4 | 0 | 0 | -1.9 | 0 | -50.77 | 0 | 0 | -0.1 | -5 | -1.2 | 0 | 0 | -1.8 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 0
16:15 - 16:30 | -1.4 | 0 | 0 | -1.8 | 0 | -49.98 | 0 | 4.8 | 0 | -5 | -1.2 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -10 | -40 | 0 | 0 | 0
16:30 - 16:45 | -1.4 | 0 | 0 | -2.1 | 0 | 0 | 0 | 4.8 | 0 | -5 | -1.2 | 0 | 14.41 | -1.2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -10 | -35 | 0 | 0 | 0
16:45 - 17:00 | -1.4 | 0 | 0 | -1.6 | 0 | 0 | 0 | 4.8 | 0 | -5 | -1.2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -10 | -35 | 0 | 0 | 0
17:00 - 17:15 | -1.4 | 0 | 0 | -1.4 | 0 | -337.88 | 0 | 4.8 | 0 | -5 | -1.2 | 0 | 14.41 | -0.8 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -10 | -35 | 28.82 | 0 | 0
17:15 - 17:30 | -1.4 | 0 | 0 | -1.1 | 0 | -236.55 | 0 | 4.8 | 0 | -5 | -1.2 | 0 | 14.41 | -0.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -10 | -35 | 28.82 | 0 | 0
17:30 - 17:45 | -1.4 | 0 | 0 | -0.5 | 0 | -202.04 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -10 | -25 | 0 | 0 | 0
17:45 - 18:00 | -1.4 | -10 | 0 | -0.2 | 0 | -151.99 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1.4 | 0 | 0 | -0.2 | 0 | -522.35 | 0 | 4.8 | 0 | -5 | -1.2 | 0 | 14.41 | 0 | 6.24 | 0 | 15.37 | 0 | -1 | 86.44 | 0 | -3 | 0 | -10 | 9.61 | 11.53 | 0
18:15 - 18:30 | -1.4 | 0 | 0 | -0.1 | 0 | -440.89 | 0 | 4.8 | 0 | -5 | -1.2 | 0 | 14.41 | 0 | 6.24 | 0 | 13.45 | 0 | -1 | 86.44 | 0 | -3 | 0 | -35 | 9.61 | 11.53 | 0
18:30 - 18:45 | -1.4 | 0 | 0 | 0 | 0 | -359.47 | 0 | 4.8 | 0 | -5 | -1.2 | 0 | 14.41 | 0 | 0 | 0 | 13.45 | 0 | -1 | 86.44 | 0 | -3 | 0 | -37 | 9.61 | 0 | 0
18:45 - 19:00 | -1.4 | 0 | 0 | 0 | 0 | -397.51 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -3 | 0 | -37 | 0 | 0 | 0
19:00 - 19:15 | -1.4 | 0 | 0 | 0 | 0 | -299.21 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -3 | 0 | -35 | 0 | 0 | 0
19:15 - 19:30 | -1.4 | 0 | 0 | 0 | 0 | -305.84 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -3 | 0 | -35 | 0 | 0 | 0
19:30 - 19:45 | -1.4 | 0 | 0 | 0 | 0 | -124.06 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.4 | 0 | 0 | 0 | 0 | -133.33 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.4 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | -48 | 0 | 0 | 0
20:15 - 20:30 | -1.4 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | -48 | 0 | 0 | 0
20:30 - 20:45 | -1.6 | 0 | 0 | 0 | 0 | 135.07 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | -40 | 0 | 0 | 0
20:45 - 21:00 | -1.6 | 0 | 0 | 0 | 0 | 124.7 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | -40 | 0 | 0 | 0
21:00 - 21:15 | -1.6 | 0 | 0 | 0 | -1 | 281.68 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | -35 | 0 | 0 | 0
21:15 - 21:30 | -1.6 | 0 | 0 | 0 | -1 | 252.96 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -1.6 | 0 | 0 | 0 | -1 | 143.2 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -1.6 | 0 | 0 | 0 | -1 | 143.29 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | -20 | 0 | 0 | 0
22:00 - 22:15 | -1.6 | 0 | 0 | 0 | -1 | 196.7 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | -35 | 0 | 0 | 0
22:15 - 22:30 | -1.6 | 0 | 0 | 0 | -1 | 203.8 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | 0 | -35 | 0 | 0 | 0
22:30 - 22:45 | -1.6 | 0 | 0 | 0 | -1 | 137.53 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -3 | -1 | -30 | 0 | 0 | 0
22:45 - 23:00 | -1.6 | 0 | 0 | 0 | -1 | 96.05 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | -0.49 | -3 | -1 | -30 | 0 | 0 | 0
23:00 - 23:15 | -1.6 | 0 | 0 | 0 | -1 | 120.06 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | -3 | -1.4 | 0 | 0 | 0 | 0
23:15 - 23:30 | -1.6 | 0 | 0 | 0 | -1 | 121.26 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | -3 | -1.4 | 0 | 0 | 0 | 0
23:30 - 23:45 | -1.6 | 0 | 0 | 0 | -1 | 125.11 | 0 | 0 | 0 | -9 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | -3 | -1.4 | -6 | 0 | 0 | 0
23:45 - 24:00 | -1.6 | 0 | 0 | 0 | -1 | 127.74 | 0 | 6.72 | 0 | -9 | -1.2 | 0 | 14.41 | 0 | 0 | -1 | 13.45 | 0 | -1 | 48.76 | 0 | -3 | -1.4 | -20 | 9.61 | 0 | 0
Average | -1.5 | -1.0104 | -1.9635 | -2.4031 | -0.39583 | 30.3128 | 0.96969 | 2.49 | -0.19583 | -3.8229 | -1.2 | -0.3125 | 4.5031 | -1.0725 | 1.085 | -0.1875 | 4.6214 | 1.2998 | -1.1042 | 8.4343 | -0.18219 | -1.75 | -4.4958 | -15.3854 | 14.7272 | 2.8825 | 4.615