## POWER STATUS
POWER STATUS ON DT 26.07.2026
[9 empty] | 2026-07-26 | 2026-07-25
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5363.372 | 5868.3493
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 199.25 | 4.782 | 630/590 ft | 610 | 613.71 | 612.56 | 176.2279 | 204.8162
| Chiplima | 72(3x24) | 50.96 | 1.223 | - |  |  |  | 47.9928 | 54.0801
| Balimela | 510(6x60+2x75) | 91.58 | 2.1979 | 1516/1440 ft | 1464.1 | 1455.9 | 1456 | 57.8593 | 178.9373
| Rengali | 250(5x50) | 0 | 0 | 123.5/109.75 mt | 120.22 | 118.17 | 118.92 | 0 | 0
| Upper Kolab | 320(4x80) | 7.08 | 0.16992 | 858/844 mt | 851.74 | 848.85 | 848.92 | 0 | 0
| Upper Indravati | 600(4x150) | 13.54 | 0.32496 | 642/625 mt | 633.9 | 631.13 | 631.18 | 0.29202 | 291.5156
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2737.5 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 362.41 | 8.6978 |  |  |  |  | 282.372 | 729.3493
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1673.79 | 40.171 | RENEWABLE ENERGY (RE) |  |  |  | 1641 | 1678
[5 empty] | M.Hydl | 92.59
| Total Thermal | 2200 | 1673.79 | 40.171 | Solar | 108.87 |  |  | 1641 | 1678
IPP | VEDANTA #2 | 600 (1x600) | 404.4449 | 9.7067 | Total IPPs | Yesterday's Demand Profile |  |  | 374.9023 | 384.3164
| GMR #3 | 350 (1x350) | 321.2906 | 7.711 | 811.7287 |  | MW | HRS | 324.5683 | 322.0341
| NBVL(IPP) | 60(1x60) | 51.5264 | 1.2366 |  |  |  |  | 37.98 | 54.6742
| MDTPC |  | 34.4669 | 0.8272 |  |  |  |  | 34.8394 | 51.9124
| CGPs |  | 881.06 | 21.1454 | IPPs, CGPs & RE | Maximum | 5868 | 20:00 | 1577 | 1764
| Central Sector(Drawl) |  | 1661.69 | 39.8806 | 1894.2487 | Minimum | 5188 | 08:00 | 1863 | 1697
| Central Sector(Sch) |  | 1760.217 | 42.2452 |  | Average | 5592.1387 |  | 1869 | 1835
| Grand Total |  | 5592.1387 | 134.2113 | Instantaneous Peak demand |  | 6155 | 0:13 | 5363.372 | 5868.3493
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 3,7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1579 | 37.896 | 1510 | 36.24 | 1562 | 37.488
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1750 | 42 | 1794 | 43.056 | 1331 | 31.944
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1139 | 27.336 | 1245 | 29.88 | 1078 | 25.872
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 621 | 14.904 | 613 | 14.712 | 588 | 14.112
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5089 | 122.136 | 5162 | 123.888 | 4559 | 109.416
Machhkund | ALL | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 375 | GMR |  |  |  | 325
| NBVL #3 | 38 | MDTPC |  |  |  | 35
Mini Hydel: | MEENAKSHI | 27 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 6
Solar: |  | 86 | KAKATIYA |  |  |  | 3
CGPs : | JSPL (Angul) | 139.0831 | JSL(Duburi) |  |  |  | -61.7855
| ICCL | 51.4432 | visa |  |  |  | 13.313
| NALCO | -156.9969 | VAL (CGP) |  |  |  | 141.445
| RSP | -132.4235 | BSL(MMDL) |  |  |  | -7.27
| INDAL | 2.0624 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -36.0516 | VAL CPP 400 kV |  |  |  | -663.9597
| NBVL | 38.3285 | Arati |  |  |  | 13.4581
| BPSL(JSG) | -123.4026 | BPPL |  |  |  | 105.8412
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-18 | 2026-07-19 | 2026-07-20 | 2026-07-21 | 2026-07-22 | 2026-07-23 | 2026-07-24 | 2026-07-25
579.288 | 528.4702 | 349.8483 | 307.7 | 263.57 | 2099.5 | 297.69 | 362.41
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.25.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 40.64
GMRKEL_STU | GEB_Beneficiary | -61.9 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 45.25
GMRKEL_STU | TNEB | -18 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 73.43
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -2.53 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.54
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 2.22
JSPLANGUL | CR_IR_MS | -30 | ARYAN_ISPAT | WBSEDCL | -5 | AWEK1L | ODISHA | 3.32
JSPLANGUL | GEB_Beneficiary | -42 | BPPL | TANGEDCO | -6.25 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.17
JSPLANGUL | MSEB_Beneficiary | -18 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 44.21
MAADURGA_THERMAL | NPCL_UP | -8.45 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 2.92
NBVLIPP | TANGEDCO | -50 | FACORPOWER | TANGEDCO | -10 | DADRI_SOLAR | ODISHA | 0.56
NBVL_OTCL | GEB_Beneficiary | -26 | FACORPOWER | TPL_DIS_AHM | -21.35 | ENERSON_SOLAR_10MW | ODISHA | 0.26
OCL_IRON_STEEL | NPCL_UP | -34 | JSPLANGUL | CSEB_Beneficiary | -90 | GADAG_GreenInfra_W | ODISHA | 0.19
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0.46
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | OCL_IRON_STEEL | BRPL | -24.5 | GADAG_GreenInfra_W | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TANGEDCO | -21.88 | GADAG_Serentica3_S | VLSEZ | 27.35
JSWEL_UTKAL | ODISHA | 75.5 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 109.25
MPPMCL | ODISHA | 0 | RSPL_JHARSUGUDA | TANGEDCO | -5.83 | GIWEL_SECI_II_RE | ODISHA | 41.92
RAJ_SOLAR | ODISHA | 1.95 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GPCL_SOLAR_10 | ODISHA | 0.11
RAJ_SOLAR | ODISHA | 1.99 | TSBSLA | TANGEDCO | -8.75 | GSECL_SOLAR | ODISHA | 0.38
|  |  | VSL | CSEB_Beneficiary | -5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.42
|  |  | VSL | WBSEDCL | -10 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.52
|  |  | JIPL | ODISHA | 115.26 | KARUR_TPVARDHAMAN_W | TSKPO | 56.93
|  |  | NALCOAP | NACL_Odisha | 26.19 | KARUR_TPVARDHAMAN_W | TSLFAPG | 8.11
|  |  | TSTPP_I | ODISHA | 21.59 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 6.5
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.46
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 6.07
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 32.65
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 32.48
[6 empty] | RWE_AP2_SECI_III | ODISHA | 17.5
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 21.93
[6 empty] | SRI9PL_FTG3 | VLSEZ | 53.97
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 2.92
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 2.84
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 34.78

## DAM
DAM TRADING DETAILS FOR DT : 25.07.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela
00:00 - 00:15 | 0 | -475 | 0 | -9 | 0 | 0 | 0
00:15 - 00:30 | 0 | -475 | 0 | -9 | 0 | 0 | 0
00:30 - 00:45 | 0 | -418.3 | 0 | -9 | 0 | 0 | 0
00:45 - 01:00 | 0 | -400 | 0 | -9 | 0 | 0 | 0
01:00 - 01:15 | 0 | -425 | 0 | -9 | 0 | 0 | 0
01:15 - 01:30 | 0 | -425 | 0 | -9 | 0 | 0 | 81.64
01:30 - 01:45 | 0 | -337.7 | 0 | -9 | 0 | 7.68 | 81.65
01:45 - 02:00 | 0 | -372.4 | 0 | -9 | 0 | 0 | 77.99
02:00 - 02:15 | 0 | -297 | 0 | -9 | 0 | 7.68 | 63.78
02:15 - 02:30 | 0 | -250.5 | 0 | -9 | 0 | 7.68 | 63.3
02:30 - 02:45 | 0 | -150 | 0 | -9 | 0 | 7.68 | 58.88
02:45 - 03:00 | 0 | -150 | 0 | -9 | 0 | 7.68 | 63.11
03:00 - 03:15 | 0 | -50 | 0 | -9 | 0 | 7.68 | 58.11
03:15 - 03:30 | 0 | -50 | 0 | -9 | 0 | 7.68 | 57.92
03:30 - 03:45 | 0 | -50 | 0 | -9 | 0 | 7.68 | 59.56
03:45 - 04:00 | 0 | -50 | 0 | -9 | 0 | 7.68 | 54.37
04:00 - 04:15 | 0 | -75 | 0 | -9 | 0 | 7.68 | 81.65
04:15 - 04:30 | 0 | -75 | 0 | -9 | 0 | 7.68 | 81.65
04:30 - 04:45 | 0 | -75 | 0 | -9 | 0 | 7.68 | 81.65
04:45 - 05:00 | 0 | -75 | 0 | -9 | 0 | 7.68 | 81.65
05:00 - 05:15 | 0 | -75 | 0 | -9 | -43 | 7.68 | 81.65
05:15 - 05:30 | 0 | -350 | 0 | -9 | -43 | 0 | 0
05:30 - 05:45 | 0 | -350 | 0 | -9 | -43 | 0 | 0
05:45 - 06:00 | 0 | -425 | 0 | -9 | -43 | 0 | 0
06:00 - 06:15 | 0 | -525 | 0 | -9 | -43 | 0 | 0
06:15 - 06:30 | 0 | -525 | 0 | -9 | -43 | 0 | 0
06:30 - 06:45 | 0 | -525 | 0 | -9 | -43 | 0 | 0
06:45 - 07:00 | 0 | -525 | 0 | -9 | -43 | 0 | 0
07:00 - 07:15 | 0 | -825 | 0 | -9 | -43 | 0 | 0
07:15 - 07:30 | 0 | -825 | 0 | -9 | -43 | 0 | 0
07:30 - 07:45 | 0 | -700 | 0 | -9 | -43 | 0 | 0
07:45 - 08:00 | 0 | -700 | 0 | -9 | -43 | 0 | 32.6
08:00 - 08:15 | 22.09 | -608.84 | 0 | -4 | -43 | 0 | 58.78
08:15 - 08:30 | 22.09 | -600.06 | 0 | -4 | -43 | 0 | 43.51
08:30 - 08:45 | 22.09 | -575 | 0 | -4 | -43 | 7.68 | 20.75
08:45 - 09:00 | 22.09 | -575 | 0 | -4 | -43 | 0 | 0
09:00 - 09:15 | 22.09 | -617.57 | 0 | -4 | -18 | 0 | 0
09:15 - 09:30 | 22.09 | -527.42 | 0 | -4 | -18 | 0 | 0
09:30 - 09:45 | 22.09 | -350 | 0 | -4 | -18 | 0 | 0
09:45 - 10:00 | 22.1 | -350 | 3.8 | -4 | -18 | 0 | 0
10:00 - 10:15 | 22.09 | -391.47 | 28.82 | -4 | -18 | 0 | 0
10:15 - 10:30 | 22.09 | -391.28 | 28.82 | -4 | -18 | 0 | 0
10:30 - 10:45 | 22.09 | -342.9 | 28.82 | -4 | -18 | 0 | 0
10:45 - 11:00 | 22.09 | -244.14 | 28.82 | -4 | -18 | 0 | 0
11:00 - 11:15 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
11:15 - 11:30 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
11:30 - 11:45 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
11:45 - 12:00 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
12:00 - 12:15 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
12:15 - 12:30 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
12:30 - 12:45 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
12:45 - 13:00 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
13:00 - 13:15 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
13:15 - 13:30 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
13:30 - 13:45 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
13:45 - 14:00 | 22.09 | 0 | 28.82 | -4 | -18 | 0 | 0
14:00 - 14:15 | 22.09 | -570.25 | 28.82 | -4 | -18 | 0 | 0
14:15 - 14:30 | 22.09 | -571.98 | 28.82 | -4 | -18 | 0 | 0
14:30 - 14:45 | 22.09 | -948.1 | 28.82 | -4 | -18 | 0 | 0
14:45 - 15:00 | 22.09 | -950 | 28.82 | -4 | -18 | 0 | 0
15:00 - 15:15 | 22.09 | -725 | 0 | -4 | -43 | 0 | 0
15:15 - 15:30 | 22.09 | -902.54 | 0 | -4 | -43 | 0 | 0
15:30 - 15:45 | 22.09 | -950 | 0 | -4 | -43 | 0 | 0
15:45 - 16:00 | 22.09 | -950 | 0 | -4 | -43 | 0 | 0
16:00 - 16:15 | 22.09 | -817.04 | 0 | -4 | -43 | 0 | 0
16:15 - 16:30 | 22.09 | -822.74 | 0 | -4 | -43 | 0 | 0
16:30 - 16:45 | 22.09 | -825 | 0 | -4 | -43 | 0 | 0
16:45 - 17:00 | 22.09 | -825 | 0 | -4 | -43 | 0 | 0
17:00 - 17:15 | 0 | -525 | 0 | -5 | -43 | 0 | 0
17:15 - 17:30 | 0 | -525 | 0 | -5 | -43 | 0 | 0
17:30 - 17:45 | 0 | -525 | 0 | -5 | -43 | 0 | 0
17:45 - 18:00 | 0 | -525 | 0 | -5 | -43 | 0 | 0
18:00 - 18:15 | 0 | -361.45 | 0 | -10 | -43 | 0 | 0
18:15 - 18:30 | 0 | -375 | 0 | -10 | -43 | 0 | 0
18:30 - 18:45 | 0 | -375 | 0 | -10 | -43 | 0 | 0
18:45 - 19:00 | 0 | -375 | 0 | -10 | -43 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | -10 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | -10 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | -10 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | -10 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | -10 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | -10 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | -10 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | -10 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | -10 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | -10 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | -10 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | -10 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | -10 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | -10 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | -10 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | -10 | 0 | 0 | 0
23:00 - 23:15 | 0 | -50 | 0 | -10 | 0 | 0 | 0
23:15 - 23:30 | 0 | -50 | 0 | -10 | 0 | 0 | 0
23:30 - 23:45 | 0 | -50 | 0 | -10 | 0 | 0 | 0
23:45 - 24:00 | 0 | -50 | 0 | -10 | 0 | 0 | 0
Average | 8.2839 | -315.0383 | 6.0438 | -7.2083 | -18.8333 | 1.2 | 13.3771

## GDAM
GDAM TRADING DETAILS FOR DT:25.07.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 0 | 0 | 33.62 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 33.62 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 33.62 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 33.62 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 33.62 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 33.62 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 33.62 | 5.25 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 3.64 | 0
02:00 - 02:15 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 17.87 | 0
02:15 - 02:30 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 18.27 | 0
02:30 - 02:45 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 22.69 | 0
02:45 - 03:00 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 18.53 | 0
03:00 - 03:15 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 23.53 | 0
03:15 - 03:30 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 23.7 | 0
03:30 - 03:45 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 22.09 | 0
03:45 - 04:00 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 27.25 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -2 | 0 | 33.62 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -2.6 | 0 | 33.62 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -0.8 | 0 | 33.62 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 9.01 | 0
08:00 - 08:15 | 0 | 0 | 0 | 38.42 | 6.24 | 0 | 18.06 | 0
08:15 - 08:30 | 0 | 0 | 0 | 38.42 | 6.24 | 0 | 33.32 | 0
08:30 - 08:45 | 0 | 0 | 0 | 38.42 | 6.24 | 0 | 56.06 | 0
08:45 - 09:00 | -0.1 | -1.3 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 0
09:00 - 09:15 | -0.2 | -3.1 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 0
09:15 - 09:30 | 0 | -2.5 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
09:30 - 09:45 | 0 | -0.6 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
09:45 - 10:00 | 0 | -1.8 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
10:00 - 10:15 | 0 | -2.2 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
10:15 - 10:30 | -0.1 | -1.5 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
10:30 - 10:45 | -2.7 | -2.8 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
10:45 - 11:00 | -1.6 | -4.1 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
11:00 - 11:15 | 0 | -5.8 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
11:15 - 11:30 | 0 | -7.3 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
11:30 - 11:45 | 0 | -10.1 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
11:45 - 12:00 | 0 | -9.1 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
12:00 - 12:15 | -4.7 | -5 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
12:15 - 12:30 | -9.3 | -5.1 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
12:30 - 12:45 | -6.8 | -7.2 | 16.46 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
12:45 - 13:00 | -5.9 | -8.5 | 24.18 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
13:00 - 13:15 | -5.3 | -6 | 112.3 | 38.42 | 6.24 | 7.68 | 76.84 | 3.84
13:15 - 13:30 | 0 | -3.1 | 125.88 | 38.42 | 6.24 | 7.68 | 76.84 | 3.84
13:30 - 13:45 | -3 | -2.4 | 40.71 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
13:45 - 14:00 | -3 | -0.9 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
14:00 - 14:15 | -3.4 | -0.1 | 0 | 38.42 | 6.24 | 7.68 | 76.85 | 3.84
14:15 - 14:30 | -2.8 | -1.7 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
14:30 - 14:45 | -2.9 | -1.8 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
14:45 - 15:00 | -1.9 | -1 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
15:00 - 15:15 | 0 | -1.2 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 3.84
15:15 - 15:30 | 0 | -0.1 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 0
15:30 - 15:45 | 0 | -0.7 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 0
15:45 - 16:00 | 0 | 0 | 0 | 38.42 | 6.24 | 7.68 | 86.45 | 0
16:00 - 16:15 | 0 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45 | 0
16:15 - 16:30 | 0 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45 | 0
16:30 - 16:45 | 0 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45 | 0
16:45 - 17:00 | 0 | 0 | 0 | 33.62 | 6.24 | 7.68 | 86.45 | 0
17:00 - 17:15 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 86.45 | 0
17:15 - 17:30 | 0 | 0 | 0 | 33.62 | 6.24 | 0 | 86.45 | 0
17:30 - 17:45 | 0 | -1.1 | 0 | 33.62 | 6.24 | 0 | 0 | 0
17:45 - 18:00 | 0 | -0.9 | 0 | 33.62 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.55937 | -1.125 | 3.3284 | 22.6125 | 3.2397 | 2.64 | 32.3807 | 0.96

## RTM
RTM TRADING DETAILS FOR DT: 25.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -1.6 | 0 | 0 | 0 | -1 | 391.5 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | -1 | 0 | -25 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -1.6 | 0 | 0 | 0 | -1 | 386.57 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | -1 | 0 | -25 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.6 | 0 | 0 | 0 | -1 | 353.36 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | -0.4 | 0 | -10 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1.6 | 0 | 0 | 0 | -1 | 355.83 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -1.6 | 0 | 0 | 0 | -1.1 | 386.55 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -1.6 | 0 | 0 | 0 | -1.1 | 401.44 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -1.6 | 0 | 0 | 0 | -1 | 216.15 | 7.68 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -1.6 | 0 | 0 | 0 | -1 | 220.56 | 7.68 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | -0.4 | 0 | -15 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -1.6 | 0 | 0 | 0 | -1 | 216.15 | 6.72 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | -25 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -1.6 | 0 | 0 | 0 | -1 | 220.55 | 6.72 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.6 | 0 | 0 | 0 | -1 | -75.01 | 5.9 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.6 | 0 | 0 | 0 | -1 | -75.04 | 1.07 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | -10 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.6 | 0 | 0 | 0 | -1 | -69.11 | 6.73 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 5.76 | 0 | 0 | 0 | 0
03:15 - 03:30 | -1.6 | 0 | 0 | 0 | -1 | -65.47 | 6.72 | 0 | -1 | 0 | 14.41 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | -5 | 5.76 | 0 | 0 | 0 | 0
03:30 - 03:45 | -1.6 | 0 | 0 | 0 | -1 | -120.36 | 6.72 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | -30 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -1.6 | 0 | 0 | 0 | -1 | -115.03 | 6.72 | 0 | -1 | 0 | 14.41 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | -6 | 5.76 | 0 | 0 | 0 | 0
04:00 - 04:15 | -1.6 | 0 | 0 | 0 | -1 | -107.5 | 6.72 | 0 | -1 | 0 | 14.41 | 0 | -1 | 4.8 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 5.76 | 57.64 | 0 | 0 | 24.97
04:15 - 04:30 | -1.6 | 0 | 0 | 0 | -1 | -100.04 | 6.72 | 0 | -1 | 0 | 14.41 | 0 | -1 | 4.8 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | -10 | 5.76 | 57.64 | 0 | 1.45 | 20.17
04:30 - 04:45 | -1.6 | 0 | 0 | 0 | -1 | -120.01 | 6.72 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | -40 | 4.25 | 0 | 0 | 0 | 14.41
04:45 - 05:00 | -1.6 | 0 | 0 | 0 | -1 | -125.01 | 5.03 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | -10 | 0 | 0 | 0 | 0 | 14.41
05:00 - 05:15 | -1.6 | 0 | 0 | 0 | -1 | -161.38 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 18.25
05:15 - 05:30 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 16.33
05:30 - 05:45 | -1.6 | 0 | 0 | 0 | -1 | -50 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 14.41
05:45 - 06:00 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | -20 | 0 | 0 | 0 | 0 | 13.45
06:00 - 06:15 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | -30 | 0 | 0 | 0 | 0 | 55.71
06:15 - 06:30 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | -10 | 0 | 0 | 0 | 0 | 46.23
06:30 - 06:45 | -1.6 | -13 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | -0.3 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 41.1
06:45 - 07:00 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | -0.5 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | 0 | -10 | 0 | 0 | 0 | 0 | 40.21
07:00 - 07:15 | -1.6 | 0 | 0 | 0 | -1 | 86.65 | 0 | 0 | -1 | 0 | 0 | -0.7 | -1 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | -2 | 0 | 0 | 0 | 0 | 0 | 15.37
07:15 - 07:30 | -1.6 | 0 | 0 | 0 | -1 | 239.63 | 0 | 0 | -1 | 0 | 0 | -0.9 | -1 | 0 | 0 | -4 | 0 | 0 | 0 | -0.4 | -2 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -1.6 | 0 | 0 | 0 | -1 | 154.73 | 0 | 0 | -1 | 0 | 0 | -1.1 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -0.4 | -2 | -42 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | -1.6 | 0 | 0 | 0 | -1 | 83.7 | 6.72 | 0 | -1 | 0 | 14.41 | -1.3 | 0 | 0 | 0 | -6 | 35.54 | 0 | 0 | -0.4 | -2 | -45 | 5.76 | 76.84 | 0 | 0 | 0
08:00 - 08:15 | -1.6 | -11 | 0 | -0.8 | -1.1 | 102.74 | 6.72 | 0 | -1 | 0 | 0 | -1.4 | 0 | 13.45 | 0 | -6 | 0 | 0 | 0 | -0.4 | -2 | -10 | 1.92 | 0 | 0 | 5.57 | 0
08:15 - 08:30 | -1.6 | 0 | 0 | -1.1 | -1.1 | 59.67 | 6.72 | 0 | -1 | 0 | 0 | -1.7 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -0.4 | -2 | 0 | 1.92 | 0 | 0 | 0 | 0
08:30 - 08:45 | -1.4 | 0 | 0 | -3.3 | -1.2 | 254.02 | 6.72 | 0 | -1 | 0 | 0 | -1.9 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -0.4 | -2 | 0 | 1.92 | 0 | 0 | 0 | 0
08:45 - 09:00 | -1.4 | 0 | 0 | -3.3 | -1.2 | 249.24 | 6.72 | 0 | -1 | 0 | 0 | -2.2 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -0.4 | -2 | 0 | 1.92 | 0 | 0 | 0 | 0
09:00 - 09:15 | -1.4 | 0 | -1.1 | -3.1 | -1.2 | 0 | 6.72 | 0 | -1 | -15 | 0 | -2.4 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -0.4 | 0 | 0 | 1.92 | 0 | 0 | 0 | 0
09:15 - 09:30 | -1.4 | -5 | -3 | -4.2 | -1.2 | 0 | 6.72 | 0 | -1 | 0 | 0 | -2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | -20 | 1.92 | 0 | 0 | 0 | 0
09:30 - 09:45 | -1.4 | -5 | -3 | -6 | -1.2 | -168.14 | 6.73 | 0 | -1 | 0 | 0 | -2.6 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -45 | 1.92 | 0 | 0 | 5.57 | 0
09:45 - 10:00 | -1.4 | 0 | -5.2 | -5.7 | 0 | -195.52 | 6.72 | 0 | -1 | 0 | 0 | -0.2 | 0 | 5.76 | 4.8 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -20 | 1.92 | 48.04 | 0 | 5.57 | 0
10:00 - 10:15 | -1.4 | 0 | -6.5 | -5.3 | 0 | -154.01 | 6.72 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 1.92 | 48.03 | 0 | 5.57 | 0
10:15 - 10:30 | -1.4 | 0 | -7.8 | -6.3 | 0 | -250.52 | 6.72 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -45 | 1.92 | 48.03 | 0 | 5.57 | 0
10:30 - 10:45 | -1.4 | 0 | -6.2 | -4.8 | 0 | -508.02 | 6.72 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -45 | 1.92 | 57.64 | 0 | 5.57 | 0
10:45 - 11:00 | -1.4 | 0 | -7 | -3.1 | 0 | -612.27 | 6.72 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -30 | 1.92 | 33.71 | 0 | 5.57 | 0
11:00 - 11:15 | -1.4 | -10 | -6.4 | 0 | 0 | -817.43 | 6.73 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 1.92 | 0 | 0 | 5.57 | 0
11:15 - 11:30 | -1.4 | 0 | -5.1 | 0 | 0 | -852.24 | 6.72 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -10 | 1.92 | 76.85 | 0 | 5.57 | 0
11:30 - 11:45 | -1.4 | 0 | -5.6 | 0 | 0 | -790.5 | 6.72 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | -3 | -0.4 | 0 | 0 | 1.92 | 76.85 | 0 | 5.57 | 0
11:45 - 12:00 | -1.4 | 0 | -5.4 | 0 | 0 | -778.45 | 6.72 | 0 | -1 | 0 | 0 | 5.19 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | -3 | -0.4 | 0 | 0 | 1.92 | 76.85 | 0 | 5.57 | 0
12:00 - 12:15 | -1.4 | 0 | 0 | 0 | 0 | -660.51 | 7.68 | 0 | -1 | 0 | 0 | 5.09 | 0 | 7.68 | 0 | 0 | 0 | -0.7 | -3 | -0.4 | 0 | -50 | 1.92 | 76.85 | 0 | 5.57 | 0
12:15 - 12:30 | -1.4 | 0 | 0 | 0 | 0 | -385.51 | 7.68 | 0 | -1 | 0 | 0 | 5.38 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | -3 | -0.4 | 0 | -50 | 1.92 | 76.85 | 0 | 5.57 | 0
12:30 - 12:45 | -1.4 | -5 | 0 | 0 | 0 | -453.48 | 7.68 | 0 | -1 | 0 | 0 | 5.19 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | -3 | -0.4 | 0 | 0 | 1.92 | 76.85 | 0 | 5.57 | 0
12:45 - 13:00 | -1.4 | -5 | 0 | 0 | 0 | -512.51 | 7.68 | 0 | -1 | 0 | 0 | 4.71 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | -3 | -0.4 | 0 | 0 | 1.92 | 76.85 | 0 | 5.57 | 0
13:00 - 13:15 | -1.4 | 0 | 0 | 0 | 0 | -728.47 | 7.68 | 0 | -1 | 0 | 0 | 4.71 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | -3 | -0.4 | 0 | -20 | 1.92 | 76.85 | 0 | 5.57 | 0
13:15 - 13:30 | -1.4 | 0 | 0 | 0 | 0 | -590.02 | 7.68 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | -3 | -0.4 | 0 | 0 | 1.92 | 76.85 | 0 | 5.57 | 0
13:30 - 13:45 | -1.4 | 0 | 0 | 0 | 0 | -496.23 | 7.68 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -35 | 1.92 | 76.85 | 0 | 5.57 | 0
13:45 - 14:00 | -1.4 | 0 | 0 | 0 | 0 | -502.53 | 7.68 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -55 | 1.92 | 76.85 | 0 | 5.57 | 0
14:00 - 14:15 | -1.4 | -5 | 0 | 0 | 0 | 0 | 7.68 | 0 | -1 | 0 | 0 | 0 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -50 | 1.92 | 76.85 | 0 | 5.57 | 0
14:15 - 14:30 | -1.4 | -5 | 0 | 0 | 0 | 0 | 7.69 | 0 | -1 | 0 | 0 | -1.9 | 0 | 5.76 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 1.92 | 0 | 0 | 5.57 | 0
14:30 - 14:45 | -1.4 | 0 | 0 | 0 | 0 | 114.19 | 7.68 | 0 | -1 | 0 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 1.92 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.4 | 0 | 0 | 0 | 0 | 113.54 | 7.68 | 0 | -1 | -15 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 1.92 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.4 | 0 | 0 | 0 | 0 | -55.82 | 0 | 0 | -1 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -1.4 | 0 | 0 | 0 | 0 | 42.75 | 0 | 0 | -1 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -1.4 | 0 | 0 | 0 | 0 | -50.02 | 0 | 0 | -1 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -45 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -1.4 | -10 | 0 | 0 | 0 | -50.37 | 0 | 0 | -1 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -55 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -1.4 | 0 | 0 | 0 | 0 | 0 | 7.2 | 0 | -1 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | -1.4 | 0 | 0 | 0 | 0 | 0 | 7.2 | 0 | -1 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 1.29 | 0 | 0 | 0 | 0
16:30 - 16:45 | -1.4 | 0 | 0 | 0 | 0 | -47.51 | 0 | 0 | -1 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -10 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -1.4 | 0 | 0 | 0 | 0 | -52.92 | 0 | 0 | -1 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -1.4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 108.54
17:15 - 17:30 | -1.4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -10 | 0 | 0 | 0 | 0 | 221.88
17:30 - 17:45 | -1.4 | -10 | 0 | 0 | -1.1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 231.48
17:45 - 18:00 | -1.4 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -25 | 0 | 0 | 0 | 0 | 241.09
18:00 - 18:15 | -1.4 | 0 | 0 | 0 | -1.1 | 95.67 | 9.61 | 0 | -1 | 0 | 14.41 | 0 | 0 | 13.45 | 0 | 0 | 86.45 | -0.7 | 0 | -0.4 | 0 | -25 | 7.68 | 43.22 | 0 | 0 | 218.98
18:15 - 18:30 | -1.4 | 0 | 0 | 0 | -1.1 | 155.52 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -20 | 0 | 0 | 0 | 0 | 202.67
18:30 - 18:45 | -1.4 | 0 | 0 | 0 | -1.2 | 221.1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -40 | 0 | 0 | 0 | 0 | 186.34
18:45 - 19:00 | -1.4 | 0 | 0 | 0 | -1.2 | 96.59 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | -40 | 0 | 0 | 0 | 0 | 110.76
19:00 - 19:15 | -1.4 | 0 | 0 | 0 | -1.2 | 292.52 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.4 | 0 | 0 | 0 | -1.2 | 217.54 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.4 | 0 | 0 | 0 | -1.2 | 144.46 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | -40 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.4 | 0 | 0 | 0 | -1.2 | 136.44 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | -40 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.4 | 0 | 0 | 0 | -1.2 | 93.05 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1.4 | 0 | 0 | 0 | -1.2 | 93.27 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1.4 | 0 | 0 | 0 | -1.2 | 55.41 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | -42 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -1.4 | 0 | 0 | 0 | -1.2 | 51.45 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | -42 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -1.4 | 0 | 0 | 0 | -1.2 | 28.72 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0
21:15 - 21:30 | -1.4 | 0 | 0 | 0 | -1.2 | 21.5 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | -25 | 0 | 0 | -19.4 | 0 | 0
21:30 - 21:45 | -1.4 | 0 | 0 | 0 | -1.2 | 0 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0
21:45 - 22:00 | -1.4 | 0 | 0 | 0 | -1.2 | 0 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0
22:00 - 22:15 | -1.4 | 0 | 0 | 0 | -1.2 | 16.06 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | -10 | 0 | 0 | -19.4 | 0 | 0
22:15 - 22:30 | -1.4 | 0 | 0 | 0 | -1.2 | 16.66 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | -10 | 0 | 0 | -19.4 | 0 | 0
22:30 - 22:45 | -1.4 | 0 | 0 | 0 | -1.2 | 13.68 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -1.4 | 0 | 0 | 0 | -1.2 | 14.62 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -1.4 | 0 | 0 | 0 | -1.2 | 18.05 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 19.25
23:15 - 23:30 | -1.4 | 0 | 0 | 0 | -1.2 | 18.72 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 19.97
23:30 - 23:45 | -1.4 | 0 | 0 | 0 | -1.2 | 67.97 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 72.51
23:45 - 24:00 | -1.4 | 0 | 0 | 0 | -1.2 | 85.1 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | -0.5 | 0 | -25 | 0 | 0 | 0 | 0 | 90.77
Average | -1.4708 | -0.875 | -0.64896 | -0.48958 | -0.7625 | -44.7223 | 3.3155 | -1.25 | -1 | -0.3125 | 0.90062 | -0.0055208 | -0.27083 | 1.6002 | 0.05 | -0.9375 | 1.2707 | -0.42292 | -0.5 | -0.43125 | -0.16667 | -14.3958 | 1.0577 | 14.5103 | -1.2125 | 1.2335 | 21.4506