## POWER STATUS
POWER STATUS ON DT 30.07.2026
[9 empty] | 2026-07-30 | 2026-07-29
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5590.5423 | 5848.243
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 214.042 | 5.137 | 630/590 ft | 612.85 | 615.95 | 619.54 | 225.9559 | 217.8741
| Chiplima | 72(3x24) | 45.54 | 1.093 | - |  |  |  | 45.899 | 51.1802
| Balimela | 510(6x60+2x75) | 103.916 | 2.494 | 1516/1440 ft | 1466.7 | 1456.3 | 1457.2 | 30.5395 | 237.778
| Rengali | 250(5x50) | 236.15 | 5.6676 | 123.5/109.75 mt | 121.17 | 121.18 | 122.15 | 171.4184 | 246.285
| Upper Kolab | 320(4x80) | 42.75 | 1.026 | 858/844 mt | 852.11 | 849.26 | 849.46 | 0 | 150.3672
| Upper Indravati | 600(4x150) | 0 | 0 | 642/625 mt | 634.12 | 632.18 | 632.68 | 0.29026 | 0.28983
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2739.4 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 642.398 | 15.4176 |  |  |  |  | 474.1031 | 903.7744
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1347.31 | 32.3354 | RENEWABLE ENERGY (RE) |  |  |  | 992 | 964
[5 empty] | M.Hydl | 90.39
| Total Thermal | 2200 | 1347.31 | 32.3354 | Solar | 59.99 |  |  | 992 | 964
IPP | VEDANTA #2 | 600 (1x600) | 436.87 | 10.4849 | Total IPPs | Yesterday's Demand Profile |  |  | 396 | 477
| GMR #3 | 350 (1x350) | 0 | 0 | 535.4 |  | MW | HRS | 0 | 0
| NBVL(IPP) | 60(1x60) | 49.79 | 1.195 |  |  |  |  | 40 | 55
| MDTPC |  | 48.74 | 1.1698 |  |  |  |  | 32 | 56
| CGPs |  | 839.93 | 20.1583 | IPPs, CGPs & RE | Maximum | 5848 | 21:00 | 1804 | 1581
| Central Sector(Drawl) |  | 1877.7183 | 45.0652 | 1525.71 | Minimum | 4668 | 06:00 | 2320.4392 | 2399.4686
| Central Sector(Sch) |  | 1934.673 | 46.4322 |  | Average | 5393.1363 |  | 2727.6399 | 2275.1101
| Grand Total |  | 5393.1363 | 129.4353 | Instantaneous Peak demand |  | 6140 | 21:31 | 5590.5423 | 5848.243
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | 3 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1520.7 | 36.4968 | 1527.8 | 36.6672 | 1445.43 | 34.6903
Balimela | 5,6,7 | TSTPP St-I | NIL | TPWODL | 1660.8 | 39.8592 | 1666 | 39.984 | 1455.82 | 34.9397
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1175.15 | 28.2036 | 1189 | 28.536 | 1047.27 | 25.1345
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 562.5 | 13.5 | 551 | 13.224 | 573.4 | 13.7616
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 4919.15 | 118.0596 | 4933.8 | 118.4112 | 4521.92 | 108.5261
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 396 | GMR |  |  |  | 0
| NBVL #3 | 40 | MDTPC |  |  |  | 32
Mini Hydel: | MEENAKSHI | 31 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 20
Solar: |  | 329 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 389.3306 | JSL(Duburi) |  |  |  | -105.2691
| ICCL | -8.1434 | visa |  |  |  | 10.0536
| NALCO | -189.0735 | VAL (CGP) |  |  |  | 205.9353
| RSP | -115.4862 | BSL(MMDL) |  |  |  | -58.3788
| INDAL | -2.3353 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -35.8 | VAL CPP 400 kV |  |  |  | -637.8817
| NBVL | 39.7068 | Arati |  |  |  | 21.4864
| BPSL(JSG) | -105.9542 | BPPL |  |  |  | 109.1922
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-22 | 2026-07-23 | 2026-07-24 | 2026-07-25 | 2026-07-26 | 2026-07-27 | 2026-07-28 | 2026-07-29
263.57 | 2099.5 | 297.69 | 362.41 | 384.4713 | 592.3136 | 607.4213 | 642.398
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.29.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 107.75
GMRKEL_STU | GEB_Beneficiary | -1.29 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 53.78
GMRKEL_STU | TNEB | -0.38 | AARTISTEEL | WBSEDCL | -20 | AP43PL_BKN | ODISHA | 82.98
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -1.87 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 4
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ASRYD_BESS_FTG1 | ODISHA | 2.5
JSPLANGUL | CR_IR_MS | -50 | ARYAN_ISPAT | WBSEDCL | -5 | AWEK1L | ODISHA | 6.83
JSPLANGUL | GEB_Beneficiary | -70 | BPPL | TANGEDCO | -10 | AWEK1L | ODISHA | 10.24
JSPLANGUL | MSEB_Beneficiary | -30 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.33
MAADURGA_THERMAL | NPCL_UP | -17 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 30.38
NBVLIPP | TANGEDCO | -50 | FACORPOWER | TANGEDCO | -10 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.61
NBVL_OTCL | GEB_Beneficiary | -26 | FACORPOWER | TPL_DIS_AHM | -25 | DADRI_SOLAR | ODISHA | 0.77
OCL_IRON_STEEL | NPCL_UP | -32.17 | JSPLANGUL | CSEB_Beneficiary | -150 | ENERSON_SOLAR_10MW | ODISHA | 0.84
ODISHA | AMNSIL | -16.67 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 1.1
ODISHA | BALCO_LOAD | -8.33 | OCL_IRON_STEEL | BRPL | -22.83 | GADAG_GreenInfra_W | ODISHA | 0
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | ODISHA | TANGEDCO | -16.67 | GADAG_GreenInfra_W | ODISHA | 0
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | ODISHA | TANGEDCO | -16.67 | GADAG_Serentica3_S | VLSEZ | 33.75
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | WBSEDCL | -5 | GADAG_Serentica3_W | VLSEZ | 4.33
JSWEL_UTKAL | ODISHA | 70.9 | RSPL_JHARSUGUDA | TANGEDCO | -8.85 | GADAG_Serentica3_W | VLSEZ | 95.44
MPPMCL | ODISHA | 0 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_Serentica3_W | VLSEZ | 4.98
RAJ_SOLAR | ODISHA | 2.27 | TSBSLA | TANGEDCO | -12.4 | GIWEL_SECI_II_RE | ODISHA | 43.61
RAJ_SOLAR | ODISHA | 2.28 | VSL | CSEB_Beneficiary | -5 | GPCL_SOLAR_10 | ODISHA | 0.36
|  |  | VSL | WBSEDCL | -10 | GSECL_SOLAR | ODISHA | 0.42
|  |  | JIPL | ODISHA | 115.45 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.93
|  |  | NALCOAP | NACL_Odisha | 36.47 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.85
|  |  | TSTPP_I | ODISHA | 46.45 | KARUR_TPVARDHAMAN_W | TSKPO | 90.18
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 8.82
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 7.83
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.76
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 5.06
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 22.27
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 43.77
[6 empty] | RWE_AP2_SECI_III | ODISHA | 22.34
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 16.13
[6 empty] | SRI4PL_TDLWD_KLM_W | KCMW_od | 1.8
[6 empty] | SRI9PL_FTG3 | VLSEZ | 75.16
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 58.13
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 2.85
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 55.4

## DAM
DAM TRADING DETAILS FOR DT : 29.07.2026
Time Period | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | -3 | -500 | 0 | -1.2 | -10 | 0 | 0 | 0
00:15 - 00:30 | -3 | -500 | 0 | -1.2 | -10 | 0 | 0 | 0
00:30 - 00:45 | -3 | -500 | 0 | -1.2 | -10 | 0 | 0 | 0
00:45 - 01:00 | -3 | -500 | 0 | -1.2 | -10 | 0 | 0 | 0
01:00 - 01:15 | -3 | -600 | 0 | -1.2 | -10 | 0 | 0 | 0
01:15 - 01:30 | -3 | -600 | 0 | -1.2 | -10 | 0 | 0 | 0
01:30 - 01:45 | 0 | -600 | 0 | -1.2 | -10 | 0 | 0 | 0
01:45 - 02:00 | 0 | -600 | 0 | -1.2 | -10 | 0 | 0 | 0
02:00 - 02:15 | 0 | -625 | 0 | -1.2 | -10 | 0 | 0 | 0
02:15 - 02:30 | 0 | -625 | 0 | -1.2 | -10 | 0 | 0 | 0
02:30 - 02:45 | 0 | -625 | 0 | -1.2 | -10 | 0 | 0 | 0
02:45 - 03:00 | 0 | -625 | 0 | -1.2 | -10 | 0 | 0 | 0
03:00 - 03:15 | 0 | -595 | 0 | -1.2 | -10 | 0 | 0 | 0
03:15 - 03:30 | 0 | -569.88 | 0 | -1.2 | -10 | 0 | 5.77 | 0
03:30 - 03:45 | 0 | -575.7 | 0 | -1.2 | -10 | 0 | 5.77 | 0
03:45 - 04:00 | 0 | -527.36 | 0 | -1.2 | -10 | 0 | 5.77 | 0
04:00 - 04:15 | 0 | -630.4 | 0 | -1.2 | -10 | 0 | 5.77 | 0
04:15 - 04:30 | 0 | -627.25 | 0 | -1.2 | -10 | 0 | 5.77 | 0
04:30 - 04:45 | 0 | -667.4 | 0 | -1.2 | -10 | 0 | 5.77 | 0
04:45 - 05:00 | 0 | -725 | 0 | -1.2 | -10 | 0 | 0 | 0
05:00 - 05:15 | 0 | -725 | 0 | -1.2 | -10 | -43 | 0 | 0
05:15 - 05:30 | 0 | -725 | 0 | -1.2 | -10 | -43 | 0 | 0
05:30 - 05:45 | -3 | -775 | 0 | -1.2 | -10 | -43 | 0 | 0
05:45 - 06:00 | -3 | -775 | 0 | -1.2 | -10 | -43 | 0 | 0
06:00 - 06:15 | -3 | -825 | 0 | -1.2 | -10 | -43 | 0 | -29.1
06:15 - 06:30 | -3 | -825 | 0 | -1.2 | -10 | -43 | 0 | -29.1
06:30 - 06:45 | -3 | -825 | 0 | -1.2 | -10 | -43 | 0 | -29.1
06:45 - 07:00 | -3 | -825 | 0 | -1.2 | -10 | -43 | 0 | -29.1
07:00 - 07:15 | -3 | -975 | 0 | -1.2 | -10 | -43 | 0 | 0
07:15 - 07:30 | -3 | -975 | 0 | -1.2 | -10 | -43 | 0 | 0
07:30 - 07:45 | 0 | -925 | 0 | -1.2 | -10 | -43 | 0 | 0
07:45 - 08:00 | 0 | -862.5 | 0 | -1.2 | -10 | -43 | 5.77 | 0
08:00 - 08:15 | 0 | -875 | 0 | -1.2 | -4 | -18 | 5.77 | 0
08:15 - 08:30 | 0 | -599.72 | 0 | -1.2 | -4 | -18 | 5.77 | 0
08:30 - 08:45 | 0 | -525 | 0 | -1.2 | -4 | -18 | 5.77 | 0
08:45 - 09:00 | 0 | -525 | 7.98 | -1.2 | -4 | -18 | 0 | 0
09:00 - 09:15 | 0 | -950 | 28.86 | -1.2 | -4 | -18 | 0 | 0
09:15 - 09:30 | 0 | -950 | 28.86 | -1.2 | -4 | -18 | 0 | 0
09:30 - 09:45 | 0 | -780.25 | 28.86 | -1.2 | -4 | -18 | 0 | 0
09:45 - 10:00 | 0 | -572.25 | 28.86 | -1.2 | -4 | -18 | 0 | 0
10:00 - 10:15 | 0 | -573.53 | 28.86 | -1.2 | -4 | -18 | 0 | 0
10:15 - 10:30 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
10:30 - 10:45 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
10:45 - 11:00 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
11:00 - 11:15 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
11:15 - 11:30 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
11:30 - 11:45 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
11:45 - 12:00 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
12:00 - 12:15 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
12:15 - 12:30 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
12:30 - 12:45 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
12:45 - 13:00 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
13:00 - 13:15 | 0 | 1.5 | 28.86 | -1.2 | -4 | -18 | 0 | 0
13:15 - 13:30 | 0 | 1.48 | 28.86 | -1.2 | -4 | -18 | 0 | 0
13:30 - 13:45 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
13:45 - 14:00 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
14:00 - 14:15 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
14:15 - 14:30 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
14:30 - 14:45 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
14:45 - 15:00 | 0 | 0 | 28.86 | -1.2 | -4 | -18 | 0 | 0
15:00 - 15:15 | 0 | -541.95 | 28.86 | -1.2 | -4 | -18 | 0 | 0
15:15 - 15:30 | 0 | -602.36 | 28.86 | -1.2 | -4 | -18 | 0 | 0
15:30 - 15:45 | 0 | -826.11 | 28.86 | -1.2 | -4 | -18 | 0 | 0
15:45 - 16:00 | 0 | -1000 | 28.86 | -1.2 | -4 | -18 | 0 | 0
16:00 - 16:15 | 0 | -750 | 0 | -1.2 | -4 | -43 | 0 | 0
16:15 - 16:30 | 0 | -924.88 | 0 | -1.2 | -4 | -43 | 0 | 0
16:30 - 16:45 | 0 | -1147.04 | 0 | -1.2 | -4 | -43 | 0 | 0
16:45 - 17:00 | 0 | -1175 | 0 | -1.2 | -4 | -43 | 0 | 0
17:00 - 17:15 | 0 | -725 | 0 | -1 | -5 | -43 | 0 | 0
17:15 - 17:30 | 0 | -725 | 0 | -1 | -5 | -43 | 0 | 0
17:30 - 17:45 | 0 | -725 | 0 | -1 | -5 | -43 | 0 | 0
17:45 - 18:00 | 0 | -725 | 0 | -1 | -5 | -43 | 0 | 0
18:00 - 18:15 | 0 | -250 | 0 | -1 | -10 | -43 | 0 | 0
18:15 - 18:30 | 0 | -250 | 0 | -1 | -10 | -43 | 0 | 0
18:30 - 18:45 | 0 | -250 | 0 | -1 | -10 | -43 | 0 | 0
18:45 - 19:00 | 0 | -250 | 0 | -1 | -10 | -43 | 0 | 0
19:00 - 19:15 | -3 | -50 | 0 | -1 | -10 | 0 | 0 | 0
19:15 - 19:30 | -3 | -50 | 0 | -1 | -10 | 0 | 0 | 0
19:30 - 19:45 | -3 | -50 | 0 | -1 | -10 | 0 | 0 | 0
19:45 - 20:00 | -3 | -50 | 0 | -1 | -10 | 0 | 0 | 0
20:00 - 20:15 | -3 | 0 | 0 | -1 | -10 | 0 | 0 | 0
20:15 - 20:30 | -3 | 0 | 0 | -1 | -10 | 0 | 0 | 0
20:30 - 20:45 | -3 | 0 | 0 | -1 | -10 | 0 | 0 | 0
20:45 - 21:00 | -3 | 0 | 0 | -1 | -10 | 0 | 0 | 0
21:00 - 21:15 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
21:15 - 21:30 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
21:30 - 21:45 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
21:45 - 22:00 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
22:00 - 22:15 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
22:15 - 22:30 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
22:30 - 22:45 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
22:45 - 23:00 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
23:00 - 23:15 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
23:15 - 23:30 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
23:30 - 23:45 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
23:45 - 24:00 | -3 | -100 | 0 | -1 | -10 | 0 | 0 | 0
Average | -1.0625 | -421.5687 | 8.5006 | -1.1417 | -7.5417 | -16.75 | 0.60104 | -1.2125

## GDAM
GDAM TRADING DETAILS FOR DT:29.07.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -0.1 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -0.2 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -0.7 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -0.7 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -0.7 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -0.7 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 33.67 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 38.48 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 38.49 | 0 | 6.25 | 0
08:30 - 08:45 | 0 | 0 | 38.49 | 0 | 6.25 | 0
08:45 - 09:00 | 0 | 0 | 38.49 | 16.95 | 6.25 | 5.77
09:00 - 09:15 | 0 | 0 | 38.48 | 38.49 | 6.25 | 5.77
09:15 - 09:30 | 0 | 0 | 38.48 | 38.49 | 6.25 | 5.77
09:30 - 09:45 | 0 | 0 | 38.48 | 38.49 | 6.25 | 5.77
09:45 - 10:00 | 0 | 0 | 38.48 | 38.49 | 6.25 | 5.77
10:00 - 10:15 | 0 | 0 | 38.49 | 0 | 6.25 | 5.77
10:15 - 10:30 | 0 | 0 | 38.49 | 0 | 6.25 | 5.77
10:30 - 10:45 | 0 | 0 | 38.49 | 0 | 6.25 | 5.77
10:45 - 11:00 | -0.7 | 229.39 | 38.48 | 0 | 6.25 | 5.77
11:00 - 11:15 | -2.1 | 240.66 | 38.48 | 0 | 6.25 | 5.77
11:15 - 11:30 | -2.4 | 119.85 | 38.48 | 0 | 6.25 | 5.77
11:30 - 11:45 | -2.4 | 123.98 | 38.48 | 0 | 6.25 | 5.77
11:45 - 12:00 | 0 | 153.31 | 38.48 | 0 | 6.25 | 5.77
12:00 - 12:15 | 0 | 240.56 | 38.48 | 0 | 6.25 | 5.77
12:15 - 12:30 | 0 | 262.07 | 38.48 | 0 | 6.25 | 5.77
12:30 - 12:45 | 0 | 262.08 | 38.48 | 0 | 6.25 | 5.77
12:45 - 13:00 | -1.8 | 262.08 | 38.48 | 0 | 6.25 | 5.77
13:00 - 13:15 | 0 | 264.49 | 38.48 | 0 | 6.25 | 5.77
13:15 - 13:30 | 0 | 264.5 | 38.48 | 0 | 6.25 | 5.77
13:30 - 13:45 | 0 | 262.08 | 38.48 | 0 | 6.25 | 5.77
13:45 - 14:00 | 0 | 262.08 | 38.48 | 0 | 6.25 | 5.77
14:00 - 14:15 | 0 | 261.98 | 38.48 | 0 | 6.25 | 5.77
14:15 - 14:30 | -0.2 | 0 | 38.49 | 0 | 6.25 | 5.77
14:30 - 14:45 | 0 | 0 | 38.49 | 0 | 6.25 | 5.77
14:45 - 15:00 | -0.4 | 0 | 38.49 | 0 | 6.25 | 5.77
15:00 - 15:15 | -2.1 | 0 | 38.49 | 37.52 | 6.25 | 5.77
15:15 - 15:30 | -1.9 | 0 | 38.49 | 37.52 | 6.25 | 5.77
15:30 - 15:45 | 0 | 0 | 38.49 | 37.52 | 6.25 | 5.77
15:45 - 16:00 | 0 | 0 | 38.48 | 25.79 | 6.25 | 5.77
16:00 - 16:15 | 0 | 0 | 33.67 | 38.49 | 6.25 | 5.77
16:15 - 16:30 | 0 | 0 | 33.67 | 38.49 | 6.25 | 5.77
16:30 - 16:45 | 0 | 0 | 33.67 | 38.49 | 6.25 | 5.77
16:45 - 17:00 | 0 | 0 | 33.67 | 38.49 | 6.25 | 5.77
17:00 - 17:15 | 0 | 0 | 33.67 | 38.49 | 6.25 | 5.77
17:15 - 17:30 | 0 | 0 | 33.67 | 38.49 | 6.25 | 5.77
17:30 - 17:45 | -1.6 | 0 | 33.67 | 38.49 | 6.25 | 5.77
17:45 - 18:00 | -1.5 | 0 | 33.68 | 23.88 | 6.25 | 0
18:00 - 18:15 | -1.1 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.22188 | 33.4282 | 15.9846 | 6.2768 | 2.5391 | 2.1638

## RTM
RTM TRADING DETAILS FOR DT: 29.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jagannath_Power_And_Infra_Private_Limited | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2.1 | 0 | -1 | -1 | 0 | -80.69 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | -10 | 0 | 0 | -19.4 | 0
00:15 - 00:30 | -2.1 | 0 | -1 | -1 | 0 | -70.04 | 0 | 3.85 | 0 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 0.91 | 0 | -19.4 | 0
00:30 - 00:45 | -2.1 | -1 | -1 | -1 | 0 | -97.62 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 0 | 0 | -19.4 | 0
00:45 - 01:00 | -2.1 | -2 | -1 | -1 | 0 | -85.51 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 0 | 0 | -19.4 | 0
01:00 - 01:15 | -2.1 | 0 | -1 | -1 | 0 | -79.96 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | -25 | 0 | 0 | 0 | 0
01:15 - 01:30 | -2.1 | 0 | -1 | -1 | 0 | -66.41 | 0 | 3.85 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | -30 | 3.37 | 0 | 0 | 0
01:30 - 01:45 | -2.1 | 0 | -1 | -1.1 | 0 | 0 | 0 | 3.85 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | -10 | 3.37 | 4.71 | 0 | 0
01:45 - 02:00 | -2.1 | 0 | -1 | -1.1 | 0 | 0 | 0 | 3.85 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 14.14 | 0 | 0
02:00 - 02:15 | -2.1 | 0 | -1 | -1.1 | 0 | 0 | 0 | 4.81 | 0 | -5 | 7.7 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 4.81 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 19.24 | 0 | 31.75
02:15 - 02:30 | -2.1 | 0 | -1 | -1.1 | 0 | 0 | 0 | 4.81 | 0 | -5 | 7.7 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 19.24 | 0 | 31.75
02:30 - 02:45 | -2.1 | 0 | -1 | -1.1 | 0 | -60.04 | 0 | 4.81 | 0 | -5 | 1.05 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 38.48 | 0 | 31.75
02:45 - 03:00 | -2.1 | 0 | -1 | -1.1 | 0 | -62.88 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | -20 | 3.37 | 38.48 | 0 | 31.75
03:00 - 03:15 | -2.1 | 0 | -1 | -1.2 | 0 | 96.17 | 0 | 4.81 | 0 | -5 | 7.7 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 4.81 | 0 | 0 | -0.5 | -5 | -20 | 3.37 | 48.11 | 0 | 31.75
03:15 - 03:30 | -2.1 | 0 | -1 | -1.2 | 0 | 78.85 | 0 | 4.81 | 0 | -5 | 7.7 | -1.2 | 0 | 14.43 | 0 | 1.92 | 0 | 0 | 0 | 4.81 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 48.11 | 0 | 31.75
03:30 - 03:45 | -2.1 | 0 | -1 | -1.2 | 0 | 0 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 0 | 0 | 31.75
03:45 - 04:00 | -2.1 | 0 | -1 | -1.2 | 0 | 0 | 0 | 4.81 | 0 | -5 | 7.7 | -1.2 | 0 | 14.43 | 0 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 43.29 | 0 | 31.75
04:00 - 04:15 | -2.1 | 0 | -1 | -1.2 | 0 | 0 | 0 | 4.81 | 0 | -5 | 3.3 | -1.2 | 0 | 14.43 | 0 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 43.3 | 0 | 42.33
04:15 - 04:30 | -2.1 | 0 | -1 | -1.2 | 0 | 0 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 43.3 | 0 | 42.33
04:30 - 04:45 | -2.1 | 0 | -1 | 0 | 0 | 0 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 1.92 | 0 | 0 | 0 | 4.81 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 43.3 | 0 | 42.33
04:45 - 05:00 | -2.1 | 0 | -1 | -1.2 | 0 | 0 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 7.7 | 0 | 0 | 0 | 4.81 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 43.29 | 0 | 42.33
05:00 - 05:15 | -2.1 | 0 | -1 | -1.2 | 0 | 0 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 33.67 | 0 | 42.33
05:15 - 05:30 | -2.1 | 0 | -1 | -1.2 | 0 | 0 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 33.67 | 0 | 42.33
05:30 - 05:45 | -2.1 | 0 | -1 | -1.2 | 0 | -75.68 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 3.37 | 48.1 | 0 | 31.75
05:45 - 06:00 | -2.1 | 0 | -1 | -1.2 | 0 | -152.86 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 0.75 | 0 | 0 | 31.75
06:00 - 06:15 | -2.1 | 0 | -1 | -1.2 | 0 | -159.79 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 0 | 0 | -19.4 | 31.75
06:15 - 06:30 | -2.1 | 0 | -1 | -1.2 | 0 | -162.5 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 0 | 0 | -19.4 | 31.75
06:30 - 06:45 | -2.1 | -12 | -1 | -1.1 | 0 | -114.29 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 0 | 0 | -24.2 | 0
06:45 - 07:00 | -2.1 | 0 | -1 | -1.1 | 0 | -109.47 | 0 | 0 | 0 | -5 | 0 | -1.2 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 0 | 0 | -24.2 | 0
07:00 - 07:15 | -2.1 | 0 | -1 | -1.1 | 10.58 | -102.14 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | 0 | 4.33 | 0 | 0 | 0
07:15 - 07:30 | -2.1 | 0 | -1 | -1.1 | 10.58 | -77.2 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | -1.3 | 7.7 | 0 | 0 | 0 | 4.81 | 0 | 0 | -0.5 | -5 | -25 | 4.33 | 52.92 | 0 | 0
07:30 - 07:45 | -2.1 | 0 | -1 | 0 | 10.58 | -102.47 | 0 | 4.81 | 0 | -5 | 0 | -1.2 | 0 | 14.43 | -1.5 | 7.7 | 0 | 0 | 0 | 4.81 | 0 | 0 | -0.5 | -5 | -10 | 4.33 | 52.92 | 0 | 0
07:45 - 08:00 | -2.1 | 0 | -1 | 0 | 10.58 | -19.99 | 19.24 | 4.81 | 0 | 0 | 0 | -1.2 | 0 | 14.43 | 0 | 2.89 | 0 | 0 | 0 | 4.81 | 0 | 0 | 0 | -5 | 0 | 4.33 | 52.92 | 0 | 0
08:00 - 08:15 | -2.1 | -10 | -1 | 0 | 10.58 | -0.87 | 0 | 4.81 | 0 | 0 | 0 | -1.2 | -15 | 0 | -2.1 | 1.92 | 0 | 0 | 0 | 4.81 | 0 | 0 | -0.5 | -5 | 0 | 4.33 | 29.83 | 0 | 0
08:15 - 08:30 | -2.1 | 0 | -1 | 0 | 10.58 | -252.85 | 0 | 4.81 | 0 | 0 | 0 | -1.2 | 0 | 0 | -2.4 | 1.92 | 0 | 0 | 0 | 4.81 | 0 | 0 | -0.5 | -5 | 0 | 4.33 | 29.83 | 0 | 0
08:30 - 08:45 | -2.1 | 0 | -1 | 0 | 10.59 | -252.4 | 0 | 4.81 | 0 | 0 | 0 | -1.2 | 0 | 0 | -2.6 | 1.92 | 0 | 0 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5 | 0 | 4.33 | 0 | 0 | 0
08:45 - 09:00 | -2.1 | 0 | -1 | 0 | 10.59 | -152 | 0 | 4.81 | 0 | 0 | 0 | -1.2 | 0 | 0 | -2.8 | 1.92 | 0 | 0 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5 | 0 | 4.33 | 0 | 0 | 0
09:00 - 09:15 | -2.1 | 0 | -1.4 | 0 | 10.58 | -101.84 | 0 | 4.81 | 0 | 0 | 0 | -1.2 | 0 | 0 | -3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5 | -20 | 4.33 | 0 | 0 | 0
09:15 - 09:30 | -2.1 | 0 | -1.4 | 0 | 10.58 | -85.04 | 0 | 4.81 | 0 | 0 | 0 | -1.2 | 0 | 0 | -0.7 | 1.92 | 0 | 4.81 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5 | 0 | 4.33 | 14.44 | 0 | 0
09:30 - 09:45 | -2.1 | -10 | -1.8 | 0 | 10.58 | -275.63 | 0 | 4.81 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 1.92 | 0 | 4.81 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5.5 | 0 | 4.33 | 24.06 | 0 | 0
09:45 - 10:00 | -2.1 | 0 | -1.8 | 0 | 10.58 | -495.55 | 0 | 4.81 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 1.92 | 0 | 4.81 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5.5 | 0 | 4.33 | 24.06 | 0 | 0
10:00 - 10:15 | -2.1 | 0 | -1.8 | 0 | 10.58 | -588.48 | 0 | 3.85 | 0 | 0 | 0 | -1.2 | 0 | 0 | 4.23 | 1.92 | 0 | 4.81 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5.5 | 0 | 4.33 | 24.06 | 0 | 0
10:15 - 10:30 | -2.1 | 0 | -1.8 | 0 | 10.58 | -1226.6 | 0 | 3.85 | 0 | 0 | 0 | -1.2 | 0 | 0 | 4.23 | 1.92 | 0 | 4.81 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5.5 | 0 | 4.33 | 24.06 | 0 | 0
10:30 - 10:45 | -2.1 | 0 | -1.8 | 0 | 10.58 | -1249.89 | 0 | 3.85 | 0 | 0 | 0 | -1.2 | 0 | 0 | 4.04 | 3.85 | 0 | 4.81 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 67.35
10:45 - 11:00 | -2.1 | 0 | -1.8 | 0 | 10.58 | -1245.85 | 0 | 3.85 | 0 | 0 | 0 | -1.2 | 0 | 0 | 4.23 | 3.85 | 0 | 4.81 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 73.12
11:00 - 11:15 | -2.1 | -11 | -1.8 | 0 | 10.58 | -1052.32 | 0 | 3.85 | 0 | 0 | 0 | -1.2 | 0 | 0 | 4.23 | 3.85 | 0 | 4.81 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 65.43
11:15 - 11:30 | -2.1 | 0 | -1.8 | 0 | 10.58 | -797.29 | 0 | 3.85 | 0 | 0 | 0 | -1.2 | 0 | 0 | 3.66 | 3.85 | 0 | 4.81 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 65.42
11:30 - 11:45 | -2.1 | 0 | -1.8 | 0 | 10.58 | -849.82 | 0 | 3.85 | 0 | 0 | 0 | -1.4 | 0 | 0 | 3.75 | 3.85 | 0 | 4.81 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 50.99
11:45 - 12:00 | -2.1 | 0 | -1.8 | 0 | 10.58 | -852.5 | 0 | 3.85 | 0 | 0 | 0 | -1.4 | 0 | 0 | 3.85 | 1.92 | 0 | 4.81 | 3.85 | 4.81 | 0 | 86.6 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 46.18
12:00 - 12:15 | -2.1 | 0 | -1.8 | 0 | 10.58 | -1247.92 | 0 | 3.85 | 0 | 0 | 0 | -1.4 | 0 | 0 | 3.85 | 6.73 | 0 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 175.11
12:15 - 12:30 | -2.1 | 0 | -1.8 | 0 | 10.58 | -1400.07 | 0 | 3.85 | 0 | 0 | 0 | -1.4 | 0 | 0 | 4.04 | 6.73 | 0 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | -20 | 4.33 | 24.05 | 0 | 222.25
12:30 - 12:45 | -2.1 | -10 | -1.8 | 0 | 10.58 | -1609.96 | 0 | 3.85 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.04 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | -20 | 4.33 | 24.05 | 0 | 273.24
12:45 - 13:00 | -2.1 | 0 | -1.8 | 0 | 10.58 | -1603.67 | 0 | 3.85 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.14 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | -10 | 4.33 | 24.05 | 0 | 273.24
13:00 - 13:15 | -2.1 | 0 | -1.8 | 0 | 10.58 | -1152.09 | 0 | 3.85 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.14 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 270.35
13:15 - 13:30 | -2.1 | 0 | -1.8 | 0 | 10.58 | -855.89 | 0 | 3.85 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.81 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 270.35
13:30 - 13:45 | -2.1 | 0 | -1.8 | 0 | 10.58 | -384.53 | 0 | 3.85 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.43 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 291.52
13:45 - 14:00 | -2.1 | 0 | -1.8 | 0 | 10.58 | -392.47 | 0 | 3.85 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.71 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 72.16 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 291.52
14:00 - 14:15 | -2.1 | -10 | -1.8 | 0 | 10.58 | -652.34 | 0 | 5.77 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.81 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 0 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 301.15
14:15 - 14:30 | -2.1 | 0 | -1.8 | 0 | 10.58 | -459.95 | 0 | 5.77 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.91 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 278.05
14:30 - 14:45 | -2.1 | 0 | -1.8 | 0 | 10.58 | -402.84 | 0 | 5.77 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 5.1 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 252.08
14:45 - 15:00 | -2.1 | 0 | -1.8 | 0 | 10.58 | -404.97 | 0 | 5.77 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 5.29 | 6.73 | 4.81 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 213.6
15:00 - 15:15 | -2.1 | 0 | -2.2 | 0 | 10.58 | 25.66 | 0 | 5.77 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 0 | 3.85 | 4.81 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 203.97
15:15 - 15:30 | -2.1 | 0 | -2.2 | 0 | 10.58 | 0 | 0 | 5.77 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 0 | 3.85 | 0 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 24.05 | 0 | 0
15:30 - 15:45 | -2.1 | -10 | -2.2 | 0 | 10.58 | 537.28 | 0 | 5.77 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 0 | 3.85 | 0 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 0 | 0 | 0
15:45 - 16:00 | -2.1 | 0 | -2.2 | 0 | 10.58 | 418.99 | 0 | 5.77 | 0 | 0 | 7.7 | -1.4 | -15 | 0 | 0 | 3.85 | 0 | 0 | 3.85 | 4.81 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 0 | 0 | 0
16:00 - 16:15 | -2.1 | 0 | -2.2 | 0 | 10.58 | 441.88 | 0 | 6.73 | 0 | 0 | 0 | -1.4 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86.59 | -0.5 | -5.5 | 0 | 4.33 | 0 | 0 | 0
16:15 - 16:30 | -2.1 | 0 | -2.2 | 0 | 10.58 | 433 | 0 | 6.73 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -5.5 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -2.1 | 0 | -2 | 0 | 10.58 | 582.04 | 0 | 6.73 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.06 | -0.5 | -4 | 0 | 1 | 0 | 0 | 0
16:45 - 17:00 | -2.1 | 0 | -2 | 0 | 10.58 | 581.69 | 0 | 6.73 | 0 | 0 | 0 | -1.4 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -2.1 | 0 | -1.6 | 0 | 0 | 621.84 | 0 | 6.73 | 0 | 0 | 0 | -1.4 | 0 | 14.43 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 86.59 | -0.5 | -4 | 0 | 4.33 | 0 | 0 | 0
17:15 - 17:30 | -2.1 | 0 | -1.6 | 0 | 0 | 621.09 | 0 | 6.73 | 0 | 0 | 0 | -1.4 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 39.61 | -0.5 | -4 | 0 | 1.98 | 0 | 0 | 0
17:30 - 17:45 | -2.1 | -6 | -1.6 | 0 | 0 | 814.48 | 0 | 6.73 | -5 | 0 | 0 | -1.4 | 0 | 14.43 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 86.59 | -0.5 | -4 | 0 | 8.18 | 0 | 0 | 0
17:45 - 18:00 | -2.1 | 0 | -1.6 | 0 | 0 | 716.23 | 0 | 6.73 | -7 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.1 | 0 | -1.6 | -1.1 | 0 | 625.35 | 0 | 10.58 | -8.5 | 0 | 7.7 | -1.4 | 0 | 14.43 | 0 | 9.62 | 0 | 0 | 0 | 0 | 0 | 86.59 | -0.5 | -4 | 0 | 8.18 | 19.24 | 0 | 0
18:15 - 18:30 | -2.1 | 0 | -1.6 | -1.1 | 0 | 614.2 | 0 | 0 | -10 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -2.1 | 0 | -1.6 | -1.1 | 0 | 593.31 | 0 | 0 | -11 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | -9.7 | 0
18:45 - 19:00 | -2.1 | 0 | -1.6 | -1.1 | 0 | 582.6 | 0 | 0 | -11.5 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
19:00 - 19:15 | -2.1 | 0 | -1.6 | -1.2 | 0 | 540.5 | 0 | 0 | -12 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
19:15 - 19:30 | -2.1 | 0 | -1.6 | -1.2 | 0 | 413.49 | 0 | 0 | -12.5 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
19:30 - 19:45 | -2.1 | 0 | -1.6 | -1 | 0 | 412.35 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
19:45 - 20:00 | -2.1 | 0 | -1.6 | -1 | 0 | 331.11 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
20:00 - 20:15 | -1.9 | 0 | -1.6 | -0.9 | 0 | 343.01 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
20:15 - 20:30 | -1.9 | 0 | -1.6 | -0.9 | 0 | 332.84 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
20:30 - 20:45 | -1.9 | 0 | -1.6 | -1 | 0 | 293.25 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
20:45 - 21:00 | -1.9 | 0 | -1.6 | -1 | 0 | 285.27 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
21:00 - 21:15 | -1.9 | 0 | -1.6 | -1 | 0 | 315.4 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
21:15 - 21:30 | -1.9 | 0 | -1.6 | -1 | 0 | 297.26 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
21:30 - 21:45 | -1.4 | 0 | -1.6 | -1 | 0 | 304.5 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
21:45 - 22:00 | -1.4 | 0 | -1.6 | -1 | 0 | 305.55 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
22:00 - 22:15 | -1.4 | 0 | -1.6 | -1 | 0 | 277.67 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
22:15 - 22:30 | -1.4 | 0 | -1.6 | -1 | 0 | 276.66 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
22:30 - 22:45 | -1.4 | 0 | -1.6 | -1 | 0 | 307.61 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
22:45 - 23:00 | -1.4 | 0 | -1.6 | -1 | 0 | 336.32 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
23:00 - 23:15 | -1.4 | 0 | -1.6 | -1 | 0 | 461.23 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
23:15 - 23:30 | -1.4 | 0 | -1.6 | -1 | 0 | 540.5 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -2 | 0 | -0.5 | -4 | 0 | 0 | 0 | -14.5 | 0
23:30 - 23:45 | -1.4 | 0 | -1.6 | -1 | 0 | 622.08 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -2 | 0 | -0.5 | -2.5 | 0 | 0 | 0 | -14.5 | 0
23:45 - 24:00 | -1.4 | 0 | -1.6 | -1 | 0 | 826.32 | 0 | 0 | -14 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -2 | 0 | -0.5 | -2.5 | 0 | 0 | 0 | -14.5 | 0
Average | -2.0146 | -0.85417 | -1.4625 | -0.59583 | 4.4085 | -57.4749 | 0.20042 | 3.3569 | -3.4323 | -3.0729 | 1.6495 | -1.3042 | -0.3125 | 3.9081 | 0.67802 | 2.0937 | -0.073854 | 0.55115 | 1.163 | 1.9541 | -0.29167 | 19.4129 | -0.49479 | -4.8021 | -2.2917 | 2.5646 | 14.4976 | -4.9896 | 44.999