## POWER STATUS
POWER STATUS ON DT 31.07.2026
[9 empty] | 2026-07-31 | 2026-07-30
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5461.6804 | 5998.5098
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 223.2 | 5.3568 | 630/590 ft | 610.79 | 619.54 | 623.52 | 237.3271 | 227.1322
| Chiplima | 72(3x24) | 47.33 | 1.1359 | - |  |  |  | 50.896 | 51.642
| Balimela | 510(6x60+2x75) | 10.4166 | 0.25 | 1516/1440 ft | 1467 | 1457.2 | 1458.2 | 0 | 0
| Rengali | 250(5x50) | 235 | 5.64 | 123.5/109.75 mt | 120.71 | 122.15 | 122.28 | 242.1334 | 240.5597
| Upper Kolab | 320(4x80) | 23.42 | 0.56208 | 858/844 mt | 852.18 | 849.46 | 849.63 | 0 | 151.9688
| Upper Indravati | 600(4x150) | 0 | 0 | 642/625 mt | 634.2 | 632.68 | 632.92 | 0.29237 | 0.29162
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2739.75 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 539.3666 | 12.9448 |  |  |  |  | 530.6488 | 671.5943
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 983.83 | 23.6119 | RENEWABLE ENERGY (RE) |  |  |  | 1011 | 1010
[5 empty] | M.Hydl | 111.03
| Total Thermal | 2200 | 983.83 | 23.6119 | Solar | 121.58 |  |  | 1011 | 1010
IPP | VEDANTA #2 | 600 (1x600) | 421.503 | 10.1161 | Total IPPs | Yesterday's Demand Profile |  |  | 395.2926 | 412.793
| GMR #3 | 350 (1x350) | 0 | 0 | 512.4745 |  | MW | HRS | 0 | 0
| NBVL(IPP) | 60(1x60) | 50.0335 | 1.2008 |  |  |  |  | 46.7974 | 53.4543
| MDTPC |  | 40.938 | 0.98251 |  |  |  |  | 32.4555 | 27.1461
| CGPs |  | 900.1488 | 21.6036 | IPPs, CGPs & RE | Maximum | 5998 | 20.00 | 1589.9289 | 1484.4874
| Central Sector(Drawl) |  | 2327.5125 | 55.8603 | 1645.2333 | Minimum | 5146 | 06.00 | 2330.1027 | 2832.428
| Central Sector(Sch) |  | 2411.8628 | 57.8847 |  | Average | 5495.9424 |  | 2415.4858 | 2549.0901
| Grand Total |  | 5495.9424 | 131.9026 | Instantaneous Peak demand |  | 6163 | 475:58 | 5461.6804 | 5998.5098
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | 3 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1523.1207 | 36.5549 | 1543.1721 | 37.0361 | 1533.0382 | 36.7929
Balimela | 5,6,7 | TSTPP St-I | NIL | TPWODL | 1652.7214 | 39.6653 | 1675.9702 | 40.2233 | 1403.5447 | 33.6851
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1256.3371 | 30.1521 | 1271.124 | 30.507 | 883.9165 | 21.214
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 567.1594 | 13.6118 | 569.0157 | 13.6564 | 574.0819 | 13.778
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 4999.3387 | 119.9841 | 5059.2819 | 121.4228 | 4394.5813 | 105.47
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 395.2926 | GMR |  |  |  | 0
| NBVL #3 | 46.7974 | MDTPC |  |  |  | 32.4555
Mini Hydel: | MEENAKSHI | 39.1408 | OPCL |  |  |  | 0
| BTPL | 19.875 | SAPTADHARA |  |  |  | 19.874
Solar: |  | 325.5346 | KAKATIYA |  |  |  | 0
CGPs : | JSPL (Angul) | 133.3772 | JSL(Duburi) |  |  |  | -116.5083
| ICCL | 19.0434 | visa |  |  |  | 12.4929
| NALCO | -153.9471 | VAL (CGP) |  |  |  | 205.0444
| RSP | -102.2936 | BSL(MMDL) |  |  |  | -18.6205
| INDAL | -0.35821 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -31.4257 | VAL CPP 400 kV |  |  |  | -605.53
| NBVL | 47.2561 | Arati |  |  |  | 24.041
| BPSL(JSG) | -104.6435 | BPPL |  |  |  | 106.1314
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-23 | 2026-07-24 | 2026-07-25 | 2026-07-26 | 2026-07-27 | 2026-07-28 | 2026-07-29 | 2026-07-30
2099.5 | 297.69 | 362.41 | 384.4713 | 592.3136 | 607.4213 | 642.398 | 539.3666
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.30.07.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | TANGEDCO | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 67.33
GMRKEL_STU | GEB_Beneficiary | 0 | AARTISTEEL | TANGEDCO | -5 | AP41PL_BHDL | ODISHA | 56.14
GMRKEL_STU | TNEB | 0 | AARTISTEEL | WBSEDCL | -19.17 | AP43PL_BKN | ODISHA | 70.83
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AECI11PL | Grasim_Industries_Ltd_GJ | -1.06 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.82
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | ASRYD_BESS_FTG1 | ODISHA | 2.5
JSPLANGUL | CR_IR_MS | -50 | ARYAN_ISPAT | WBSEDCL | -5 | AWEK1L | ODISHA | 3.38
JSPLANGUL | GEB_Beneficiary | -70 | BPPL | TANGEDCO | -7.5 | AWEK1L | ODISHA | 5.07
JSPLANGUL | MSEB_Beneficiary | -30 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.01
MAADURGA_THERMAL | NPCL_UP | -17.26 | ENVIROCARE_INFRA | TANGEDCO | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 19.35
NBVLIPP | TANGEDCO | -50 | FACORPOWER | TANGEDCO | -10 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 16.47
NBVL_OTCL | GEB_Beneficiary | -26 | FACORPOWER | TPL_DIS_AHM | -25 | DADRI_SOLAR | ODISHA | 0.64
OCL_IRON_STEEL | NPCL_UP | -34 | JSPLANGUL | CSEB_Beneficiary | -150 | ENERSON_SOLAR_10MW | ODISHA | 0.88
RSPL_JHARSUGUDA | TPL_DIS_AHM_ISTS | -10 | NBVLIPP | BSPHCL | -17.92 | GADAG_GreenInfra_W | ODISHA | 0
TIMES_STEEL | TPL_DIS_AHM_ISTS | -6 | OCL_IRON_STEEL | BRPL | -24 | GADAG_GreenInfra_W | ODISHA | 0
TSBSLA | TPL_DIS_AHM_ISTS | -11.67 | ORSISL | WBSEDCL | -5 | GADAG_GreenInfra_W | ODISHA | 1.15
APCPDCL | ODISHA | 24.05 | RSPL_JHARSUGUDA | TPL_DIS_AHM | -8.33 | GADAG_Serentica3_S | VLSEZ | 24.28
APCPDCL | ODISHA | 24.05 | RSPL_JHARSUGUDA | WBSEDCL | -10 | GADAG_Serentica3_W | VLSEZ | 136.25
FARIDABAD_SOLAR | ODISHA | 0.86 | VSL | CSEB_Beneficiary | -5 | GIWEL_SECI_II_RE | ODISHA | 19.88
JSWEL_UTKAL | ODISHA | 74.05 | VSL | WBSEDCL | -10 | GPCL_SOLAR_10 | ODISHA | 0.27
MPPMCL | ODISHA | 0 | JIPL | ODISHA | 115.45 | GSECL_SOLAR | ODISHA | 0.62
RAJ_SOLAR | ODISHA | 2.44 | NALCOAP | NACL_Odisha | 38.21 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.18
RAJ_SOLAR | ODISHA | 2.34 | TSTPP_I | ODISHA | 32.42 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 0.9
[6 empty] | KARUR_TPVARDHAMAN_W | TSKPO | 93.35
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 9.22
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 4.79
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 3.31
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 8.16
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 9.94
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 57.52
[6 empty] | RWE_AP2_SECI_III | ODISHA | 10.39
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 9.33
[6 empty] | SRI9PL_FTG3 | VLSEZ | 76.79
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 70.71
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 2.64
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 65.15

## DAM
DAM TRADING DETAILS FOR DT : 30.07.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | -1.5 | 0 | -3 | -750 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | -29.1
00:15 - 00:30 | -1.5 | 0 | -3 | -750 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | -29.1
00:30 - 00:45 | -1.5 | 0 | -3 | -750 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | -29.1
00:45 - 01:00 | -1.5 | 0 | -3 | -750 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | -29.1
01:00 - 01:15 | -1.5 | 0 | 0 | -700 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
01:15 - 01:30 | -1.5 | 0 | 0 | -700 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
01:30 - 01:45 | -1.5 | 0 | 0 | -700 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
01:45 - 02:00 | -1.5 | 0 | 0 | -700 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
02:00 - 02:15 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
02:15 - 02:30 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
02:30 - 02:45 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
02:45 - 03:00 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
03:00 - 03:15 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
03:15 - 03:30 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
03:30 - 03:45 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
03:45 - 04:00 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
04:00 - 04:15 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
04:15 - 04:30 | -1.5 | 0 | 0 | -572.73 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
04:30 - 04:45 | -1.5 | 0 | 0 | -572.8 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
04:45 - 05:00 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | 0 | 0 | 0
05:00 - 05:15 | -1.5 | 0 | 0 | -600 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | 0
05:15 - 05:30 | -1.5 | 0 | 0 | -700 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | 0
05:30 - 05:45 | -1.5 | 0 | 0 | -700 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | 0
05:45 - 06:00 | -1.5 | 0 | 0 | -700 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | -29.1
06:00 - 06:15 | -1.5 | 0 | -3 | -750 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | -29.1
06:15 - 06:30 | -1.5 | 0 | -3 | -750 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | -29.1
06:30 - 06:45 | -1.5 | 0 | -3 | -750 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | -29.1
06:45 - 07:00 | -1.5 | 0 | -3 | -750 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | -29.1
07:00 - 07:15 | -1.5 | 0 | 0 | -875 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | 0
07:15 - 07:30 | -1.5 | 0 | 0 | -875 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | 0
07:30 - 07:45 | -1.5 | 0 | 0 | -775 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | 0
07:45 - 08:00 | -1.5 | 0 | 0 | -775 | 0 | 0 | -1.4 | 0 | -10 | -43 | 0 | 0
08:00 - 08:15 | -1.5 | 20.21 | 0 | -910.51 | 0 | 3.17 | -1.4 | 0 | -4 | -18 | 7.7 | 0
08:15 - 08:30 | -1.5 | 20.21 | 0 | -657 | 0 | 3.17 | -1.4 | 4.81 | -4 | -18 | 7.7 | 0
08:30 - 08:45 | -1.5 | 20.2 | 0 | -657 | 28.87 | 3.17 | -1.4 | 4.81 | -4 | -18 | 7.7 | 0
08:45 - 09:00 | -1.5 | 20.2 | 0 | -657 | 28.87 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
09:00 - 09:15 | -1.5 | 20.2 | 0 | -818.53 | 28.87 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
09:15 - 09:30 | -1.5 | 20.2 | 0 | -588.71 | 28.87 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
09:30 - 09:45 | -1.5 | 20.2 | 0 | -343.59 | 28.87 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
09:45 - 10:00 | -1.5 | 20.2 | 0 | 41.38 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
10:00 - 10:15 | -1.5 | 20.2 | 0 | 41.38 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
10:15 - 10:30 | -1.5 | 20.2 | 0 | 41.38 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
10:30 - 10:45 | -1.5 | 20.2 | 0 | 284.9 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
10:45 - 11:00 | -1.5 | 20.2 | 0 | 201.49 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
11:00 - 11:15 | -1.5 | 20.2 | 0 | 326.24 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
11:15 - 11:30 | -1.5 | 20.2 | 0 | 326.26 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
11:30 - 11:45 | -1.5 | 20.2 | 0 | 326.25 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
11:45 - 12:00 | -1.5 | 20.2 | 0 | 326.24 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
12:00 - 12:15 | -1.5 | 20.2 | 0 | 304.4 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
12:15 - 12:30 | -1.5 | 20.2 | 0 | 65.77 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
12:30 - 12:45 | -1.5 | 20.2 | 0 | 65.68 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
12:45 - 13:00 | -1.5 | 20.2 | 0 | 65.68 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
13:00 - 13:15 | -1.5 | 20.2 | 0 | 63.68 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
13:15 - 13:30 | -1.5 | 20.2 | 0 | 63.68 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
13:30 - 13:45 | -1.5 | 20.2 | 0 | 65.69 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
13:45 - 14:00 | -1.5 | 20.2 | 0 | 65.68 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
14:00 - 14:15 | -1.5 | 20.2 | 0 | 65.93 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
14:15 - 14:30 | -1.5 | 20.2 | 0 | 286.41 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
14:30 - 14:45 | -1.5 | 20.2 | 0 | 230.29 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
14:45 - 15:00 | -1.5 | 20.2 | 0 | 55.43 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
15:00 - 15:15 | -1.5 | 20.2 | 0 | 41.38 | 28.86 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
15:15 - 15:30 | -1.5 | 20.2 | 0 | -113.48 | 28.87 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
15:30 - 15:45 | -1.5 | 20.2 | 0 | -476.53 | 28.87 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
15:45 - 16:00 | -1.5 | 20.2 | 0 | -528.83 | 28.87 | 3.17 | -1.4 | 0 | -4 | -18 | 0 | 0
16:00 - 16:15 | -1.5 | 20.2 | 0 | -825 | 28.87 | 3.17 | -1.4 | 4.81 | -4 | -43 | 0 | 0
16:15 - 16:30 | -1.5 | 20.21 | 0 | -825 | 0 | 3.17 | -1.4 | 0 | -4 | -43 | 0 | 0
16:30 - 16:45 | -1.5 | 20.21 | 0 | -825 | 0 | 3.17 | -1.4 | 4.81 | -4 | -43 | 0 | 0
16:45 - 17:00 | -1.5 | 20.21 | 0 | -864.31 | 0 | 3.17 | -1.4 | 0 | -4 | -43 | 0 | 0
17:00 - 17:15 | -1.5 | 0 | 0 | -467.17 | 0 | 3.17 | -1.2 | 0 | -5 | -43 | 0 | 0
17:15 - 17:30 | -1.5 | 0 | 0 | -640.09 | 0 | 3.17 | -1.2 | 0 | -5 | -43 | 0 | 0
17:30 - 17:45 | -1.5 | 0 | 0 | -750 | 0 | 3.17 | -1.2 | 0 | -5 | -43 | 7.7 | 0
17:45 - 18:00 | -1.5 | 0 | 0 | -750 | 0 | 3.17 | -1.2 | 0 | -5 | -43 | 7.7 | 0
18:00 - 18:15 | -1.5 | 0 | 0 | -100 | 0 | 0 | -1.2 | 0 | -10 | -43 | 7.7 | 0
18:15 - 18:30 | -1.5 | 0 | 0 | -100 | 0 | 0 | -1.2 | 0 | -10 | -43 | 0 | 0
18:30 - 18:45 | -1.5 | 0 | 0 | -200 | 0 | 0 | -1.2 | 0 | -10 | -43 | 0 | 0
18:45 - 19:00 | -1.5 | 0 | 0 | -200 | 0 | 0 | -1.2 | 0 | -10 | -43 | 0 | 0
19:00 - 19:15 | -1.5 | 0 | -3 | 11.35 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
19:15 - 19:30 | -1.5 | 0 | -3 | 6.48 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
19:30 - 19:45 | -1.5 | 0 | -3 | 3.34 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
19:45 - 20:00 | -1.5 | 0 | -3 | 0.03 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
20:00 - 20:15 | -1.5 | 0 | -3 | 1.82 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
20:15 - 20:30 | -1.5 | 0 | -3 | 2.03 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
20:30 - 20:45 | -1.5 | 0 | -3 | 2.56 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
20:45 - 21:00 | -1.5 | 0 | -3 | 3.43 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
21:00 - 21:15 | -1.5 | 0 | -3 | 0 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
21:15 - 21:30 | -1.5 | 0 | -3 | 0.02 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
21:30 - 21:45 | -1.5 | 0 | -3 | 1.23 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
21:45 - 22:00 | -1.5 | 0 | -3 | 2.43 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
22:00 - 22:15 | -1.5 | 0 | -3 | 2.67 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
22:15 - 22:30 | -1.5 | 0 | -3 | 2.75 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
22:30 - 22:45 | -1.5 | 0 | -3 | 3.09 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
22:45 - 23:00 | -1.5 | 0 | -3 | 3.72 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
23:00 - 23:15 | -1.5 | 0 | -3 | 6.01 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
23:15 - 23:30 | -1.5 | 0 | -3 | 7.86 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
23:30 - 23:45 | -1.5 | 0 | -3 | 11.89 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
23:45 - 24:00 | -1.5 | 0 | -3 | 13.31 | 0 | 0 | -1.2 | 0 | -10 | 0 | 0 | 0
Average | -1.5 | 7.5755 | -0.875 | -320.8546 | 9.3203 | 1.3208 | -1.3417 | 0.20042 | -7.5417 | -16.75 | 0.48125 | -2.7281

## GDAM
GDAM TRADING DETAILS FOR DT:30.07.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -0.1 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -0.2 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -0.7 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -0.7 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -0.7 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -0.7 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 33.68 | 0 | 2.97 | 0
07:45 - 08:00 | 0 | 0 | 33.68 | 0 | 6.25 | 0
08:00 - 08:15 | 0 | 0 | 38.49 | 0 | 6.25 | 0
08:15 - 08:30 | 0 | 0 | 38.49 | 0 | 6.25 | 0
08:30 - 08:45 | 0 | 0 | 38.49 | 0 | 6.25 | 0
08:45 - 09:00 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
09:00 - 09:15 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
09:15 - 09:30 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
09:30 - 09:45 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
09:45 - 10:00 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
10:00 - 10:15 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
10:15 - 10:30 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
10:30 - 10:45 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
10:45 - 11:00 | 0 | 124.64 | 38.48 | 4.81 | 6.25 | 7.7
11:00 - 11:15 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
11:15 - 11:30 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
11:30 - 11:45 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
11:45 - 12:00 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
12:00 - 12:15 | 0 | 21.81 | 38.49 | 4.81 | 6.25 | 7.7
12:15 - 12:30 | 0 | 262.18 | 38.48 | 4.81 | 6.25 | 7.7
12:30 - 12:45 | 0 | 262.19 | 38.48 | 4.81 | 6.25 | 7.7
12:45 - 13:00 | 0 | 262.2 | 38.48 | 4.81 | 6.25 | 7.7
13:00 - 13:15 | 0 | 264.42 | 38.48 | 4.81 | 6.25 | 7.7
13:15 - 13:30 | 0 | 264.42 | 38.48 | 4.81 | 6.25 | 7.7
13:30 - 13:45 | 0 | 262.19 | 38.48 | 4.81 | 6.25 | 7.7
13:45 - 14:00 | 0 | 262.2 | 38.48 | 4.81 | 6.25 | 7.7
14:00 - 14:15 | 0 | 261.95 | 38.48 | 4.81 | 6.25 | 7.7
14:15 - 14:30 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
14:30 - 14:45 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
14:45 - 15:00 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
15:00 - 15:15 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
15:15 - 15:30 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
15:30 - 15:45 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
15:45 - 16:00 | 0 | 0 | 38.48 | 4.81 | 6.25 | 7.7
16:00 - 16:15 | 0 | 0 | 33.67 | 0 | 6.25 | 7.7
16:15 - 16:30 | 0 | 0 | 33.67 | 4.81 | 6.25 | 7.7
16:30 - 16:45 | 0 | 0 | 33.67 | 0 | 6.25 | 7.7
16:45 - 17:00 | 0 | 0 | 33.67 | 0 | 6.25 | 7.7
17:00 - 17:15 | 0 | 0 | 33.67 | 0 | 6.25 | 7.7
17:15 - 17:30 | 0 | 0 | 33.67 | 0 | 6.25 | 7.7
17:30 - 17:45 | -1.1 | 0 | 33.68 | 0 | 6.25 | 0
17:45 - 18:00 | -0.9 | 0 | 33.66 | 0 | 3.53 | 0
18:00 - 18:15 | -0.4 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.057292 | 23.4188 | 16.3346 | 1.5031 | 2.6719 | 2.8073

## RTM
RTM TRADING DETAILS FOR DT: 30.07.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 839.43 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0
00:15 - 00:30 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 952.38 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0
00:30 - 00:45 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 1234.04 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0
00:45 - 01:00 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 1346.94 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0
01:00 - 01:15 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 914 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 914 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 1152.36 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 1152.38 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 720.86 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 723.79 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 714.36 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 711.15 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 721.57 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 731.84 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 724.21 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 728.42 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 712.92 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 712.91 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 720.87 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 714.84 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 716.25 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -2.1 | 0 | 0 | 0 | -0.3 | -1 | 714.82 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -2.1 | 0 | 0 | 0 | -0.7 | -1 | 716.25 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -2.1 | 0 | 0 | 0 | -0.7 | -1 | 709.54 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0
06:00 - 06:15 | -2.1 | 0 | 0 | 0 | -0.7 | -1 | 701.52 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0
06:15 - 06:30 | -2.1 | 0 | 0 | 0 | -0.7 | -1 | 689.52 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0
06:30 - 06:45 | -2.1 | -12 | 0 | 0 | -0.3 | -1.2 | 712.44 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0
06:45 - 07:00 | -2.1 | 0 | 0 | 0 | -0.3 | -1.2 | 720.09 | 0 | 0 | 0 | -5 | 0 | -1.4 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0
07:00 - 07:15 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 801.77 | 18.76 | 10.58 | 4.81 | -5 | 7.7 | -1.4 | 0 | 14.43 | -1.3 | 15.39 | 0 | 0 | 4.81 | 0 | 0 | -0.88 | -1 | 0 | 0 | 3.27 | 38.48 | 0 | 0 | 0 | 0
07:15 - 07:30 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 817 | 18.38 | 10.58 | 4.81 | 0 | 7.7 | -1.4 | 0 | 14.43 | 0 | 15.39 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | 3.27 | 38.48 | 0 | 0 | 0 | 0
07:30 - 07:45 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 617.36 | 17.61 | 10.58 | 4.81 | -2.12 | 7.7 | -1.4 | 0 | 14.43 | -1.7 | 15.39 | 0 | 0 | 4.81 | 0 | 0 | 0 | -1 | 0 | 0 | 3.27 | 38.48 | 0 | 0 | 0 | 59.65
07:45 - 08:00 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 623.77 | 17.51 | 10.58 | 4.81 | 0 | 7.7 | -1.4 | 0 | 14.43 | 0 | 15.39 | 0 | 0 | 4.81 | 0 | 0 | 0 | -1 | 0 | 0 | 3.27 | 38.48 | 0 | 0 | 0 | 41.37
08:00 - 08:15 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 679.27 | 0 | 10.58 | 0 | 0 | 0 | -1.4 | -15 | 0 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 3.27 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | -2.1 | -10 | 0 | 0 | -0.3 | 0 | 529.18 | 0 | 10.58 | 0 | 0 | 0 | -1.4 | 0 | 0 | -2.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 567.5 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -2.9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 473.71 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 459.77 | 0 | 10.58 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 255.35 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | -1.2 | 5.77 | 0 | 0 | 4.81 | 0 | 28.86 | -1 | -1 | 0 | 0 | 3.27 | 24.05 | 0 | 0 | 5.39 | 0
09:30 - 09:45 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | 69.42 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 0 | 5.77 | 0 | 0 | 4.81 | 0 | 28.86 | -1 | -1 | 0 | 0 | 3.27 | 24.05 | 0 | 0 | 5.39 | 0
09:45 - 10:00 | -2.1 | -10 | 0 | 0 | -0.3 | 0 | -384.47 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.94 | 5.77 | 0 | 0 | 4.81 | 0 | 28.86 | -1 | -1 | 0 | 0 | 3.27 | 24.05 | 0 | 0 | 5.39 | 28.88
10:00 - 10:15 | -2.1 | 0 | -11.1 | -10.9 | -0.3 | 0 | -597.77 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 0 | 5.77 | 0 | 2.89 | 4.81 | 0 | 28.86 | -1 | -2.5 | 0 | 0 | 3.27 | 24.05 | 0 | 0 | 5.39 | 96.21
10:15 - 10:30 | -2.1 | 0 | -11.9 | -10.5 | -0.3 | 0 | -350.04 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 0 | 5.77 | 0 | 2.89 | 4.81 | 0 | 28.87 | -1 | -2.5 | 0 | 0 | 3.27 | 24.05 | 0 | 0 | 5.39 | 28.56
10:30 - 10:45 | -2.1 | 0 | -13.2 | -12.3 | -0.3 | 0 | -788.02 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.66 | 5.77 | 0 | 2.89 | 4.81 | 0 | 28.86 | -1 | -2.5 | 0 | 0 | 3.27 | 24.05 | 0 | 0 | 5.39 | 127.96
10:45 - 11:00 | -2.1 | 0 | -14.2 | -13.6 | -0.3 | 0 | -1038 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.66 | 5.77 | 0 | 2.89 | 4.81 | 0 | 28.86 | -1 | -2.5 | 0 | 0 | 3.27 | 24.05 | 0 | 0 | 5.39 | 128.92
11:00 - 11:15 | -2.1 | 0 | -13.8 | -14.1 | -0.3 | 0 | -1076.58 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.27 | 5.77 | 0 | 2.89 | 4.81 | 0 | 28.86 | -1 | -2.5 | 0 | 0 | 3.27 | 0 | 2.89 | 0 | 5.39 | 109.68
11:15 - 11:30 | -2.1 | -8 | -14.2 | -13.9 | -0.3 | 0 | -1077.49 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 2.98 | 5.77 | 0 | 2.89 | 4.81 | 0 | 28.86 | -1 | -2.5 | 0 | 0 | 3.27 | 0 | 2.89 | 0 | 5.39 | 88.51
11:30 - 11:45 | -2.1 | 0 | 0 | -12.4 | -0.3 | 0 | -1031.09 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.08 | 7.7 | 0 | 4.81 | 4.81 | 0 | 28.86 | -1 | -2.5 | 0 | -5 | 3.27 | 0 | 2.89 | 0 | 5.39 | 57.72
11:45 - 12:00 | -2.1 | 0 | 0 | -11.9 | -0.3 | 0 | -853.46 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.46 | 5.77 | 0 | 4.81 | 4.81 | 0 | 28.86 | -1 | -2.5 | 0 | 0 | 3.27 | 0 | 2.89 | 0 | 5.39 | 57.73
12:00 - 12:15 | -2.1 | 0 | 0 | -12.1 | -0.3 | 0 | -845.83 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.37 | 7.7 | 0 | 4.81 | 4.81 | 0 | 28.86 | -1 | -2.5 | 0 | 0 | 3.27 | 0 | 2.89 | 0 | 5.39 | 57.72
12:15 - 12:30 | -2.1 | 0 | 0 | -11.6 | -0.3 | 0 | -850.03 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.27 | 7.7 | 0 | 4.81 | 4.81 | 0 | 28.86 | -1 | -2.5 | 0 | 0 | 3.27 | 0 | 2.89 | 0 | 5.39 | 57.72
12:30 - 12:45 | -2.1 | 0 | 0 | -12.4 | -0.3 | 0 | -980.89 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.46 | 7.7 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | 0 | 0 | -5 | 3.27 | 0 | 2.89 | 0 | 5.39 | 57.72
12:45 - 13:00 | -2.1 | 0 | 0 | -11.8 | -0.3 | 0 | -984.52 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.56 | 7.7 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | 0 | 0 | -5 | 3.27 | 0 | 2.89 | 0 | 5.39 | 57.72
13:00 - 13:15 | -2.1 | -4 | 0 | -11.3 | -0.3 | 0 | -840.55 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 3.75 | 7.7 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | 0 | 0 | -5 | 3.27 | 0 | 2.89 | 0 | 5.39 | 0
13:15 - 13:30 | -2.1 | 0 | 0 | -9.9 | -0.3 | 0 | -854.24 | 0 | 10.57 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.14 | 7.7 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | 0 | 0 | -5 | 3.27 | 0 | 2.89 | 0 | 5.39 | 0
13:30 - 13:45 | -2.1 | 0 | 0 | -10.4 | -0.3 | 0 | -847.9 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.23 | 7.7 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -2.5 | 0 | 0 | 3.27 | 0 | 2.89 | 0 | 5.39 | 0
13:45 - 14:00 | -2.1 | 0 | 0 | -10.2 | -0.3 | 0 | -553.48 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.33 | 5.77 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -2.5 | 0 | 0 | 3.27 | 0 | 2.89 | 0 | 5.39 | 0
14:00 - 14:15 | -2.1 | 0 | 0 | -9 | -0.3 | 0 | -808.01 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.33 | 7.7 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -2.5 | 0 | 0 | 3.27 | 24.04 | 2.89 | 0 | 5.39 | 0
14:15 - 14:30 | -2.1 | -5 | 0 | -9.8 | -0.3 | 0 | -824.98 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.33 | 7.7 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -2.5 | 0 | 0 | 3.27 | 24.04 | 2.89 | 0 | 5.39 | 0
14:30 - 14:45 | -2.1 | -5 | 0 | -3 | -0.3 | 0 | -1180.86 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.62 | 7.7 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -2.5 | 0 | 0 | 3.27 | 24.04 | 2.89 | 0 | 5.39 | 0
14:45 - 15:00 | -2.1 | 0 | 0 | -2.3 | -0.3 | 0 | -898.99 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 4.91 | 7.7 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -2.5 | 0 | 0 | 3.27 | 24.04 | 2.89 | 0 | 5.39 | 0
15:00 - 15:15 | -2.1 | 0 | 0 | -3.5 | -0.3 | 0 | -851.85 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 5.1 | 5.77 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -2.5 | 0 | 0 | 3.27 | 24.05 | 2.89 | 0 | 5.39 | 0
15:15 - 15:30 | -2.1 | 0 | 0 | -4.2 | -0.3 | 0 | -655.03 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 5.29 | 5.77 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -2.5 | 0 | 0 | 3.27 | 24.05 | 2.89 | 0 | 5.39 | 0
15:30 - 15:45 | -2.1 | 0 | 0 | -3.4 | -0.3 | 0 | -55.13 | 0 | 0 | 0 | 0 | 7.7 | -1.4 | 0 | 0 | 0 | 5.77 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -1 | 0 | 0 | 3.27 | 24.05 | 0 | 0 | 5.39 | 0
15:45 - 16:00 | -2.1 | 0 | 0 | -2.1 | -0.3 | 0 | -39.48 | 0 | 0 | 0 | 0 | 7.7 | -1.4 | -15 | 0 | -2.1 | 5.77 | 0 | 4.81 | 4.81 | 0 | 0 | -1 | -1 | 0 | 0 | 3.27 | 0 | 0 | 0 | 5.39 | 0
16:00 - 16:15 | -2.1 | 0 | 0 | 0 | -0.3 | 0 | -42.96 | 0 | 10.58 | 0 | 0 | 7.7 | -1.4 | 0 | 14.44 | -1.8 | 5.77 | 0 | 4.81 | 1.79 | 0 | 0 | -1 | -1 | 0 | 0 | 9.04 | 9.62 | 0 | 0 | 5.39 | 0
16:15 - 16:30 | -2.1 | -10 | 0 | 0 | -0.3 | 0 | -52.14 | 0 | 10.58 | 0 | 0 | 0 | -1.4 | 0 | 14.44 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 9.04 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -1.3 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -1.3 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -1.3 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -1.3 | 0 | 0 | 0 | -0.3 | 0 | 192.42 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -1.3 | -5 | 0 | 0 | -0.3 | 0 | 417.94 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -1.3 | -5 | 0 | 0 | -0.3 | 0 | 498.88 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1.3 | 0 | 0 | 0 | -0.3 | 0 | 144.32 | 19.24 | 10.58 | 4.81 | 0 | 7.7 | -1.4 | 0 | 14.43 | 0 | 7.7 | 0 | 4.81 | 19.24 | 0 | 0 | -1 | -1 | 0 | 0 | 9.04 | 9.62 | 2.89 | 0 | 5.39 | 0
18:15 - 18:30 | -1.3 | 0 | 0 | 0 | -0.3 | -1 | 261.33 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -1.3 | 0 | 0 | 0 | -0.3 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1.3 | 0 | 0 | 0 | -0.3 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 135.15 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
19:15 - 19:30 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 147.49 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
19:30 - 19:45 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 163.06 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
19:45 - 20:00 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 154.73 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
20:00 - 20:15 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 106.88 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
20:15 - 20:30 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 166.63 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | -10 | 0 | 0 | 0 | -9.7 | 0 | 0
20:30 - 20:45 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 186.48 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
20:45 - 21:00 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 181.6 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
21:00 - 21:15 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 143.28 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | -20 | 0 | 0 | 0 | -9.7 | 0 | 0
21:15 - 21:30 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 131.85 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
21:30 - 21:45 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 153.99 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
21:45 - 22:00 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 151.86 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -30 | 0 | 0 | 0 | -9.7 | 0 | 0
22:00 - 22:15 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 146.18 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -30 | 0 | 0 | 0 | -9.7 | 0 | 0
22:15 - 22:30 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 149.81 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
22:30 - 22:45 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 163.62 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -5 | -20 | 0 | 0 | 0 | -9.7 | 0 | 0
22:45 - 23:00 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 177.33 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -5 | -20 | 0 | 0 | 0 | -9.7 | 0 | 0
23:00 - 23:15 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 189.86 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -5 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
23:15 - 23:30 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 227.98 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -5 | -10 | 0 | 0 | 0 | -9.7 | 0 | 0
23:30 - 23:45 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 116.5 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -15 | 0 | 0 | 0 | -9.7 | 0 | 0
23:45 - 24:00 | -1.3 | 0 | 0 | 0 | -0.3 | -1.1 | 142.81 | 0 | 0 | 0 | -7 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0
Average | -1.85 | -0.77083 | -0.81667 | -2.3604 | -0.31667 | -0.55625 | 145.8957 | 0.95312 | 3.8572 | 0.25052 | -2.9908 | 2.6469 | -1.4 | -0.3125 | 1.0524 | 0.54104 | 2.6456 | -0.83333 | 1.1827 | 1.7723 | -0.0625 | 3.9082 | -0.9675 | -1.0521 | -0.20833 | -1.875 | 1.3725 | 5.3106 | 0.57198 | -3.3802 | 1.6282 | 11.0007