## POWER STATUS
POWER STATUS ON DT 02.08.2026
[9 empty] | 2026-08-02 | 2026-08-01
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 6228.0471 | 6393.1836
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 217.37 | 5.2169 | 630/590 ft | 610.17 | 625.47 | 624.27 | 233.1851 | 171.0329
| Chiplima | 72(3x24) | 45.95 | 1.1028 | - |  |  |  | 50.0873 | 38.6721
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1467.2 | 1458.9 | 1459.4 | 0 | 0
| Rengali | 250(5x50) | 239.05 | 5.7372 | 123.5/109.75 mt | 120.61 | 122.09 | 121.86 | 241.4852 | 242.2156
| Upper Kolab | 320(4x80) | 33.79 | 0.81096 | 858/844 mt | 852.22 | 849.72 | 849.79 | 0 | 151.7971
| Upper Indravati | 600(4x150) | 0 | 0 | 642/625 mt | 634.27 | 633 | 633.19 | 0.2895 | 0.29129
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2740 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 536.16 | 12.8678 |  |  |  |  | 525.0471 | 604.009
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1651.21 | 39.629 | RENEWABLE ENERGY (RE) |  |  |  | 1703 | 1669
[5 empty] | M.Hydl | 117.28
| Total Thermal | 2200 | 1651.21 | 39.629 | Solar | 124.71 |  |  | 1703 | 1669
IPP | VEDANTA #2 | 600 (1x600) | 409.427 | 9.8262 | Total IPPs | Yesterday's Demand Profile |  |  | 395.7227 | 404.4727
| GMR #3 | 350 (1x350) | 148.7091 | 3.569 | 654.4672 |  | MW | HRS | 308.3542 | 326.3058
| NBVL(IPP) | 60(1x60) | 49.4701 | 1.1873 |  |  |  |  | 34 | 55
| MDTPC |  | 46.861 | 1.1247 |  |  |  |  | 30 | 55
| CGPs |  | 809.18 | 19.4203 | IPPs, CGPs & RE | Maximum | 6571 | 23:00 | 1821 | 1805.0721
| Central Sector(Drawl) |  | 1900.964 | 45.6231 | 1705.6372 | Minimum | 5173 | 06:00 | 2179 | 2315.1025
| Central Sector(Sch) |  | 1902.0395 | 45.6489 |  | Average | 5793.9712 |  | 2693 | 2014.1914
| Grand Total |  | 5793.9712 | 139.0553 | Instantaneous Peak demand |  | 6764 | 23:24 | 6228.0471 | 6393.1836
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1667.64 | 40.0234 | 1701.11 | 40.8266 | 1669.58 | 40.0699
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1754.98 | 42.1195 | 1839.38 | 44.1451 | 1721.44 | 41.3146
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1274.35 | 30.5844 | 1271.06 | 30.5054 | 1209.27 | 29.0225
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 610.44 | 14.6506 | 618.78 | 14.8507 | 606.36 | 14.5526
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5307.41 | 127.3778 | 5430.33 | 130.3279 | 5206.65 | 124.9596
Machhkund | ALL | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 396 | GMR |  |  |  | 308
| NBVL #3 | 34 | MDTPC |  |  |  | 30
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 20
Solar: |  |  | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | -129.1656 | JSL(Duburi) |  |  |  | -22.992
| ICCL | 48.9945 | visa |  |  |  | 11.9014
| NALCO | -144.8516 | VAL (CGP) |  |  |  | 201.8584
| RSP | -62.5194 | BSL(MMDL) |  |  |  | 30.7358
| INDAL | -1.0831 | ADITYA ALUMINIUM |  |  |  | 55
| NINL | -46.321 | VAL CPP 400 kV |  |  |  | -999.1481
| NBVL | 35.6233 | Arati |  |  |  | 23.4479
| BPSL(JSG) | -99.5391 | BPPL |  |  |  | 109.1727
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-25 | 2026-07-26 | 2026-07-27 | 2026-07-28 | 2026-07-29 | 2026-07-30 | 2026-07-31 | 2026-08-01
362.41 | 384.4713 | 592.3136 | 607.4213 | 642.398 | 539.3666 | 546.2796 | 536.16
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.01.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | FACORPOWER | PSPCL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 86.29
GMRKEL_STU | MSEB_Beneficiary | -24.5 | JSPLANGUL | RUVITSL | -106.25 | AP41PL_BHDL | ODISHA | 55.46
GMRKEL_STU | TNEB | -3.38 | KCMW_od | JAYPEE_REWA | -0.38 | AP43PL_BKN | ODISHA | 73.48
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.77
JPIPL | NPCL_UP | -14 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | AWEK1L | ODISHA | 8.8
JSPLANGUL | GEB_Beneficiary | -52 | NBVLIPP | BSPHCL | -14.38 | AWEK1L | ODISHA | 13.2
JSPLANGUL | RUVITSL | -43.75 | NBVLIPP | BSPHCL | -3.54 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 0.17
MAADURGA_THERMAL | NPCL_UP | -17.26 | OCL_IRON_STEEL | BRPL | -1.88 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 0
NBVLIPP | TANGEDCO | -50 | OCL_IRON_STEEL | BRPL | -5.42 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.43
ODISHA | TPL_DIS_AHM_ISTS | -33.33 | OCL_IRON_STEEL | CSEB_Beneficiary | -6.19 | DADRI_SOLAR | ODISHA | 0.58
VSL | CR_IR_MS | -10 | ODISHA | MEENAKSHI | -22.92 | ENERSON_SOLAR_10MW | ODISHA | 0.28
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | PSPCL | -2.83 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 67.75 | ORSISL | PSPCL | -1.17 | GADAG_GreenInfra_W | ODISHA | 0.95
RAJ_SOLAR | ODISHA | 2.32 | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.33 | TIMES_STEEL | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_S | VLSEZ | 22.85
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_W | VLSEZ | 116.07
|  |  | VSL | WBSEDCL | -4.17 | GIWEL_SECI_II_RE | ODISHA | 56.4
|  |  | Darlipali_NTPC | ODISHA | 6.68 | GPCL_SOLAR_10 | ODISHA | 0.19
|  |  | JIPL | ODISHA | 115.45 | GSECL_SOLAR | ODISHA | 0.51
|  |  | NALCOAP | NACL_Odisha | 36.53 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.28
|  |  | TSTPP_I | ODISHA | 42.13 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.05
[6 empty] | KARUR_TPVARDHAMAN_W | TSKPO | 84.15
[6 empty] | KARUR_TPVARDHAMAN_W | TSLFAPG | 8.62
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0.14
[6 empty] | Kurnool_Greenko_H_Inj | ADITYAAL | 0
[6 empty] | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.05
[6 empty] | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 5.62
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 33.89
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 31.16
[6 empty] | RWE_AP2_SECI_III | ODISHA | 20.55
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 14.94
[6 empty] | SRI9PL_FTG3 | VLSEZ | 73.67
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.13
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.16
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 53.09
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 7.33
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 63.9

## DAM
DAM TRADING DETAILS FOR DT : 01.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2 | 0 | -13 | -150 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
00:15 - 00:30 | -2 | 0 | -13 | -150 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
00:30 - 00:45 | -2 | 0 | -13 | -150 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
00:45 - 01:00 | -2 | 0 | -13 | -150 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
01:00 - 01:15 | -2 | 0 | -13 | -175 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
01:15 - 01:30 | -2 | 0 | -13 | -175 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
01:30 - 01:45 | -2 | 0 | -13 | -175 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
01:45 - 02:00 | -2 | 0 | -13 | -175 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
02:00 - 02:15 | -2 | 0 | 0 | -300 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
02:15 - 02:30 | -2 | 0 | 0 | -300 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
02:30 - 02:45 | -2 | 0 | 0 | -291.15 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
02:45 - 03:00 | -2 | 0 | 0 | -300 | 0 | -1 | -4 | -25.5 | 0 | 0 | 0
03:00 - 03:15 | -2 | 0 | 0 | -250 | 0 | -1 | -4 | -25.5 | 0 | 7.7 | 0
03:15 - 03:30 | -2 | 0 | 0 | -250 | 0 | -1 | -4 | -25.5 | 0 | 7.7 | 0
03:30 - 03:45 | -2 | 0 | 0 | -250 | 0 | -1 | -4 | -25.5 | 0 | 7.7 | 0
03:45 - 04:00 | -2 | 0 | 0 | -250 | 0 | -1 | -4 | -25.5 | 0 | 7.7 | 0
04:00 - 04:15 | -2 | 0 | 0 | -325 | 0 | -1 | -4 | -25.5 | 0 | 7.7 | 0
04:15 - 04:30 | -2 | 0 | 0 | -325 | 0 | -1 | -4 | -25.5 | 0 | 7.7 | 0
04:30 - 04:45 | -2 | 0 | 0 | -325 | 0 | -1 | -4 | -25.5 | 0 | 7.7 | 0
04:45 - 05:00 | -2 | 0 | 0 | -325 | 0 | -1 | -4 | -25.5 | 0 | 7.7 | 0
05:00 - 05:15 | -2 | 0 | 0 | -325 | 0 | -1.2 | -4 | -25.5 | -43 | 7.7 | 0
05:15 - 05:30 | -2 | 0 | 0 | -325 | 0 | -1.2 | -4 | -25.5 | -43 | 7.7 | 0
05:30 - 05:45 | -2 | 0 | 0 | -325 | 0 | -1.2 | -4 | -11 | -43 | 7.7 | 0
05:45 - 06:00 | -2 | 0 | 0 | -425 | 0 | -1.2 | -4 | -11 | -43 | 0 | 0
06:00 - 06:15 | -2 | 0 | 0 | -500 | 0 | -1.2 | -10 | -11 | -43 | 0 | -6
06:15 - 06:30 | -2 | 0 | 0 | -500 | 0 | -1.2 | -10 | -11 | -43 | 0 | -6
06:30 - 06:45 | -2 | 0 | 0 | -500 | 0 | -1.2 | -10 | -11 | -43 | 0 | -6
06:45 - 07:00 | -2 | 0 | 0 | -500 | 0 | -1.2 | -10 | -11 | -43 | 0 | -6
07:00 - 07:15 | -2 | 22.13 | 0 | -675 | 0 | -1.2 | -10 | -11 | -43 | 0 | -6
07:15 - 07:30 | -2 | 22.13 | 0 | -675 | 0 | -1.2 | -10 | -11 | -43 | 0 | -6
07:30 - 07:45 | -2 | 22.13 | 0 | -675 | 0 | -1.2 | -10 | -11 | -43 | 0 | -6
07:45 - 08:00 | -2 | 22.13 | 0 | -675 | 0 | -1.2 | -10 | -11 | -43 | 0 | -6
08:00 - 08:15 | -2 | 22.13 | 0 | -625 | 0 | -1.2 | -2 | -11 | -43 | 7.7 | -6
08:15 - 08:30 | -2 | 22.13 | 0 | -625 | 0 | -1.2 | -2 | -11 | -43 | 7.7 | -6
08:30 - 08:45 | -2 | 22.13 | 0 | -609.61 | 0 | -1.2 | -2 | -8 | -43 | 7.7 | -6
08:45 - 09:00 | -2 | 22.13 | 0 | -550 | 0 | -1.2 | -2 | -8 | -43 | 0 | -6
09:00 - 09:15 | -2 | 22.13 | 0 | -975 | 0 | -1.2 | -2 | -8 | -18 | 0 | -6
09:15 - 09:30 | -2 | 22.13 | 0 | -975 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | -6
09:30 - 09:45 | -2 | 22.13 | 0 | -859.65 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | -6
09:45 - 10:00 | -2 | 22.13 | 0 | -674.49 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | -6
10:00 - 10:15 | -2 | 22.13 | 0 | -592.04 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | -6
10:15 - 10:30 | -2 | 22.13 | 0 | -476.3 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
10:30 - 10:45 | -2 | 22.13 | 0 | -102.27 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
10:45 - 11:00 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
11:00 - 11:15 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
11:15 - 11:30 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
11:30 - 11:45 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
11:45 - 12:00 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
12:00 - 12:15 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
12:15 - 12:30 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
12:30 - 12:45 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
12:45 - 13:00 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
13:00 - 13:15 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
13:15 - 13:30 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
13:30 - 13:45 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
13:45 - 14:00 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
14:00 - 14:15 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
14:15 - 14:30 | -2 | 22.13 | 0 | 0 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
14:30 - 14:45 | -2 | 22.13 | 0 | -392.78 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | 0
14:45 - 15:00 | -2 | 22.13 | 0 | -542.34 | 28.86 | -1.2 | -2 | -8 | -18 | 0 | -6
15:00 - 15:15 | -2 | 22.13 | 0 | -632.53 | 28.86 | -1.2 | -2 | -15 | -18 | 0 | -6
15:15 - 15:30 | -2 | 22.13 | 0 | -1049.15 | 28.86 | -1.2 | -2 | -15 | -18 | 0 | -6
15:30 - 15:45 | -2 | 22.13 | 0 | -1050 | 0 | -1.2 | -2 | -15 | -18 | 0 | -6
15:45 - 16:00 | -2 | 22.13 | 0 | -1050 | 0 | -1.2 | -2 | -15 | -18 | 0 | -6
16:00 - 16:15 | -2 | 22.13 | 0 | -1080.71 | 0 | -1.2 | -2 | -15 | -43 | 0 | -6
16:15 - 16:30 | -2 | 22.13 | 0 | -1125 | 0 | -1.2 | -2 | -15 | -43 | 0 | -6
16:30 - 16:45 | -2 | 22.13 | 0 | -1125 | 0 | -1.2 | -2 | -15 | -43 | 0 | -6
16:45 - 17:00 | -2 | 22.13 | 0 | -1125 | 0 | -1.2 | -2 | -15 | -43 | 0 | -6
17:00 - 17:15 | -2 | 0 | 0 | -681.08 | 0 | -1 | -4 | -20.8 | -43 | 0 | -6
17:15 - 17:30 | -2 | 0 | 0 | -725.54 | 0 | -1 | -4 | -20.8 | -43 | 2.87 | -6
17:30 - 17:45 | -2 | 0 | 0 | -750 | 0 | -1 | -4 | -20.8 | -43 | 0 | -6
17:45 - 18:00 | -2 | 0 | 0 | -750 | 0 | -1 | -4 | -20.8 | -43 | 0 | -6
18:00 - 18:15 | -2 | 0 | 0 | -245.6 | 0 | -1 | -4 | -20.8 | -43 | 0 | 0
18:15 - 18:30 | -2 | 0 | 0 | -275 | 0 | -1 | -4 | -20.8 | -43 | 0 | 0
18:30 - 18:45 | -2 | 0 | 0 | -275 | 0 | -1 | -4 | -20.8 | -43 | 0 | 0
18:45 - 19:00 | -2 | 0 | 0 | -275 | 0 | -1 | -4 | -20.8 | -43 | 0 | 0
19:00 - 19:15 | -2 | 0 | -13 | 0 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
19:15 - 19:30 | -2 | 0 | -13 | 0 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
19:30 - 19:45 | -2 | 0 | -13 | 0 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
19:45 - 20:00 | -2 | 0 | -13 | 0 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
20:00 - 20:15 | -2 | 0 | -13 | 0 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
20:15 - 20:30 | -2 | 0 | -13 | 0 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
20:30 - 20:45 | -2 | 0 | -13 | 0 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
20:45 - 21:00 | -2 | 0 | -13 | 0 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
21:00 - 21:15 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
21:15 - 21:30 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
21:30 - 21:45 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
21:45 - 22:00 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
22:00 - 22:15 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
22:15 - 22:30 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
22:30 - 22:45 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
22:45 - 23:00 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
23:00 - 23:15 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
23:15 - 23:30 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
23:30 - 23:45 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
23:45 - 24:00 | -2 | 0 | -13 | -50 | 0 | -1 | -4 | -20.8 | 0 | 0 | 0
Average | -2 | 9.2208 | -3.7917 | -330.2629 | 7.5156 | -1.1 | -3.75 | -16.7021 | -17.7917 | 1.1528

## GDAM
GDAM TRADING DETAILS FOR DT:01.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 6.57 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 33.67 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 33.67 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 33.67 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 33.67 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 33.67 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 33.67 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 33.67 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 33.67 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 33.67 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 33.67 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0.7 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 30.41 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 33.67 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 33.67 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 33.67 | 0 | 0
07:30 - 07:45 | 0 | -0.3 | 0 | 33.67 | 0 | 0
07:45 - 08:00 | 0 | -1.3 | 0 | 33.67 | 0 | 7.7
08:00 - 08:15 | 0 | -2.3 | 0 | 43.29 | 0 | 0
08:15 - 08:30 | 0 | -3.8 | 0 | 43.29 | 0 | 0
08:30 - 08:45 | 0 | -5 | 0 | 43.29 | 0 | 0
08:45 - 09:00 | 0 | -6.2 | 0 | 43.29 | 9.62 | 7.7
09:00 - 09:15 | 0 | -7.3 | 0 | 43.29 | 9.62 | 7.7
09:15 - 09:30 | -0.7 | -8.3 | 0 | 43.29 | 9.62 | 7.7
09:30 - 09:45 | -2.2 | -9.1 | 0 | 43.29 | 9.62 | 7.7
09:45 - 10:00 | -3.3 | -10.1 | 0 | 43.29 | 9.62 | 7.7
10:00 - 10:15 | -4.1 | -10.9 | 126.95 | 43.29 | 9.62 | 7.7
10:15 - 10:30 | -4.7 | -11.2 | 240.58 | 43.29 | 9.62 | 7.7
10:30 - 10:45 | -5.6 | -11.9 | 240.64 | 43.29 | 9.62 | 7.7
10:45 - 11:00 | -6.4 | -12.2 | 264.38 | 43.29 | 9.62 | 7.7
11:00 - 11:15 | -6.1 | -12.5 | 264.45 | 43.29 | 9.62 | 7.7
11:15 - 11:30 | -6.4 | -12.6 | 264.47 | 43.29 | 9.62 | 7.7
11:30 - 11:45 | -6.5 | -13 | 264.54 | 43.29 | 9.62 | 7.7
11:45 - 12:00 | -6.8 | -13.1 | 282.28 | 43.29 | 9.62 | 7.7
12:00 - 12:15 | -7.1 | -12.9 | 288.47 | 43.29 | 9.62 | 7.7
12:15 - 12:30 | -6.8 | -12.9 | 293.77 | 43.29 | 9.62 | 7.7
12:30 - 12:45 | -7 | -12.9 | 293.77 | 43.29 | 9.62 | 7.7
12:45 - 13:00 | -6.9 | -12.7 | 295.47 | 43.29 | 9.62 | 7.7
13:00 - 13:15 | -6.8 | -12.3 | 295.5 | 43.29 | 9.62 | 7.7
13:15 - 13:30 | -6.4 | -12 | 295.49 | 43.29 | 9.62 | 7.7
13:30 - 13:45 | -6 | -11.7 | 292.1 | 43.29 | 9.62 | 7.7
13:45 - 14:00 | -5.1 | -11 | 292.1 | 43.29 | 9.62 | 7.7
14:00 - 14:15 | -4.6 | -10.3 | 288.66 | 43.29 | 9.62 | 7.7
14:15 - 14:30 | -3.1 | -9.8 | 274.78 | 43.29 | 9.62 | 7.7
14:30 - 14:45 | -2.6 | -9 | 240.59 | 43.29 | 9.62 | 7.7
14:45 - 15:00 | -1.6 | -8.6 | 240.68 | 43.29 | 9.62 | 7.7
15:00 - 15:15 | -0.4 | -7.8 | 0 | 43.29 | 9.62 | 7.7
15:15 - 15:30 | 0 | -6.5 | 0 | 43.29 | 9.62 | 7.7
15:30 - 15:45 | 0 | -5.6 | 0 | 43.29 | 9.62 | 7.7
15:45 - 16:00 | 0 | -4.2 | 0 | 43.29 | 9.62 | 7.7
16:00 - 16:15 | 0 | -2.5 | 0 | 33.67 | 9.62 | 7.7
16:15 - 16:30 | 0 | -1.5 | 0 | 33.67 | 0 | 7.7
16:30 - 16:45 | 0 | -0.3 | 0 | 33.67 | 0 | 7.7
16:45 - 17:00 | 0 | 0 | 0 | 33.67 | 0 | 7.7
17:00 - 17:15 | 0 | 0 | 0 | 33.67 | 0 | 7.7
17:15 - 17:30 | 0 | 0 | 0 | 33.67 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 33.67 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.2208 | -3.2875 | 55.6216 | 22.5385 | 3.0063 | 2.8073

## RTM
RTM TRADING DETAILS FOR DT: 01.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -0.7 | -1 | 0 | 0 | 0 | -1.2 | -100 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | -14.5 | 0 | 0 | 0 | -1
00:15 - 00:30 | -0.7 | -1 | 0 | 0 | 0 | -1.2 | -100 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0 | -1
00:30 - 00:45 | -0.7 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | -14.5 | 0 | 0 | 0 | -1
00:45 - 01:00 | -0.7 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -20 | 0 | 0 | -14.5 | 0 | 0 | 0 | -1
01:00 - 01:15 | -0.7 | -1 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -1
01:15 - 01:30 | -0.7 | -0.17 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
01:30 - 01:45 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
01:45 - 02:00 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
02:00 - 02:15 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
02:15 - 02:30 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
02:30 - 02:45 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
02:45 - 03:00 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
03:00 - 03:15 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -0.7 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -0.5 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -0.5 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -0.5 | 0 | 0 | 0 | 0 | -1.2 | 35.86 | 0 | 10.58 | 0 | 0 | -5 | 0 | 14.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 9.24 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -0.5 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -0.5 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -0.5 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -0.5 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -0.5 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -0.5 | -2 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -0.5 | -2 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -0.5 | -12 | 0 | 0 | 0 | -1.2 | -2.72 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -0.5 | 0 | 0 | 0 | 0 | -1.2 | -135.71 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -0.5 | -3 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -0.5 | -3 | 0 | 0 | 0 | -1.2 | 0 | 0 | 10.58 | 0 | 0 | -5 | 0 | 14.43 | -1.3 | 0 | 15.39 | 0 | 0 | 0 | 0 | -1 | 0 | -0.5 | 0 | 9.24 | 38.49 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -0.5 | -3 | 0 | 0 | 0 | 0 | -254.01 | 0 | 10.58 | 0 | 0 | -5 | 0 | 14.43 | -1.6 | 0 | 15.39 | 0 | 5.77 | 0 | 19.25 | -1 | 0 | -0.5 | 0 | 9.24 | 19.24 | 0 | 11.55 | 0 | 0 | 0
07:45 - 08:00 | -0.5 | -3 | 0 | 0 | 0 | 0 | -361.78 | 0 | 10.58 | 0 | 9.62 | -5 | 0 | 14.43 | -1.9 | 0 | 9.62 | 4.81 | 5.77 | 0 | 19.25 | -1 | 0 | -0.5 | 0 | 9.24 | 19.24 | 0 | 11.55 | 0 | 0 | 0
08:00 - 08:15 | -0.5 | -13 | 0 | -1.6 | -0.4 | 0 | -218.98 | 0 | 10.58 | 0 | 9.62 | 0 | 0 | 0 | -2.2 | 0 | 7.7 | 4.81 | 5.77 | 3.85 | 19.24 | -1 | 0 | -0.5 | 0 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
08:15 - 08:30 | -0.5 | -3 | 0 | -0.8 | -0.4 | 0 | -100 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 7.7 | 0 | 5.77 | 3.85 | 19.23 | -1 | 0 | -0.5 | 0 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
08:30 - 08:45 | -0.5 | -4 | -2 | 0 | -0.4 | 0 | -662.96 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | -2.7 | 0 | 7.7 | 0 | 5.77 | 3.85 | 19.23 | -1 | 0 | -0.5 | 0 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
08:45 - 09:00 | -0.5 | -4 | -2.3 | 0 | -0.4 | 0 | -860.01 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 7.7 | 4.81 | 5.77 | 3.85 | 19.24 | -1 | 0 | -0.5 | 0 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
09:00 - 09:15 | -0.5 | -4 | -4.7 | 0 | -0.4 | 0 | -264.42 | 0 | 10.58 | 0 | 0 | 0 | -15 | 0 | -3.2 | 0 | 7.7 | 0 | 5.77 | 3.85 | 19.23 | -1 | 0 | -0.5 | 0 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
09:15 - 09:30 | -0.5 | -6 | 0 | 0 | -0.4 | 0 | -259 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | -3.4 | 0 | 7.7 | 4.81 | 5.77 | 3.85 | 19.23 | -1 | 0 | -0.5 | -32 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
09:30 - 09:45 | -0.5 | -15 | -5.6 | 0 | -0.4 | 0 | -99.78 | 8.37 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.62 | 4.81 | 5.77 | 3.85 | 19.24 | 0 | 0 | -0.5 | -30 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
09:45 - 10:00 | -0.5 | -4 | -4 | 0 | -0.4 | 0 | -219.46 | 12.22 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.62 | 4.81 | 5.77 | 3.85 | 19.24 | 0 | 0 | -0.5 | 0 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
10:00 - 10:15 | -0.5 | -5 | -0.6 | -0.3 | 0 | 0 | -491.04 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -4 | 4.33 | 9.62 | 4.81 | 9.62 | 3.85 | 19.24 | -1 | 0 | 0 | 0 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
10:15 - 10:30 | -0.5 | -5 | -0.3 | 0 | 0 | 0 | -204.7 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -4.2 | 4.33 | 9.62 | 4.81 | 9.62 | 3.85 | 19.24 | -1 | 0 | 0 | 0 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
10:30 - 10:45 | -0.5 | -5 | -2.6 | -0.1 | 0 | 0 | -239.94 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -4.2 | 4.33 | 9.62 | 4.81 | 9.62 | 3.85 | 19.24 | -2.5 | 0 | 0 | 0 | 4.43 | 9.62 | 0 | 11.55 | -6 | 0 | 0
10:45 - 11:00 | -0.5 | -5 | -3.8 | -1.6 | 0 | 0 | -445.86 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -4.1 | 4.33 | 9.62 | 4.81 | 9.62 | 3.85 | 19.24 | -2.5 | 0 | 0 | -10 | 4.43 | 9.62 | 0 | 11.55 | -6 | 0 | 0
11:00 - 11:15 | -0.5 | -10 | 0 | 0 | 0 | 0 | -603.66 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -4.3 | 4.33 | 9.62 | 4.81 | 9.62 | 3.85 | 19.24 | -2.5 | 0 | 0 | -28 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
11:15 - 11:30 | -0.5 | -10 | 0 | -0.2 | 0 | 0 | -613.02 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -4 | 4.33 | 9.62 | 4.81 | 9.62 | 3.85 | 19.24 | -2.5 | 0 | 0 | -28 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
11:30 - 11:45 | -0.5 | -5 | 0 | 0 | 0 | 0 | -427.77 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.8 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | 0 | 0 | -10 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
11:45 - 12:00 | -0.5 | -5 | 0 | 0 | 0 | 0 | -328.7 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.6 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | 0 | 0 | -10 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
12:00 - 12:15 | -0.5 | -8 | 0 | -1.8 | 0 | 0 | -127.93 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.5 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | 0 | 0 | 4.43 | 9.62 | 0 | 11.55 | 0 | 0 | 0
12:15 - 12:30 | -0.5 | -6 | 0 | 0 | 0 | 0 | -134.99 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.9 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | 0 | 0 | 4.43 | 9.62 | 0 | 11.55 | -6 | 0 | 0
12:30 - 12:45 | -0.5 | -9 | -1.9 | 0 | 0 | 0 | -478.7 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.6 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | -25 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
12:45 - 13:00 | -0.5 | -14 | -3.4 | 0 | 0 | 0 | -577.31 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -4.2 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | -25 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
13:00 - 13:15 | -0.6 | -4 | -5.1 | 0 | -0.4 | 0 | -622.6 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -4 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | -24 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
13:15 - 13:30 | -0.6 | -4 | -6 | -1.9 | -0.4 | 0 | -524.99 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.6 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | -24 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
13:30 - 13:45 | -0.6 | -4 | -3.9 | 0 | -0.4 | 0 | -280.87 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.5 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | 0 | 4.43 | 0 | 0 | 11.55 | 0 | 0 | 0
13:45 - 14:00 | -0.6 | -4 | -6.2 | 0 | -0.4 | 0 | -269.97 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.4 | 4.33 | 9.62 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | 0 | 4.43 | 0 | 0 | 11.55 | -6 | 0 | 0
14:00 - 14:15 | -0.6 | -7 | -5.4 | -0.9 | -0.4 | 0 | -601.56 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.6 | 4.33 | 11.55 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | 0 | 4.43 | 0 | 0 | 5.58 | -6 | 0 | 0
14:15 - 14:30 | -0.6 | -7 | -6.4 | -3.5 | -0.4 | 0 | -525 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -3.3 | 4.33 | 15.39 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | -20 | 4.43 | 0 | 0 | 5.58 | -6 | 0 | 0
14:30 - 14:45 | -0.6 | -3 | -4 | -2.1 | -0.4 | 0 | -77.42 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -2.9 | 4.33 | 11.55 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | -25 | 4.43 | 0 | 0 | 5.58 | -6 | 0 | 0
14:45 - 15:00 | -0.6 | -4 | -5.1 | -2.8 | -0.4 | 0 | -112.94 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -2.7 | 4.33 | 11.55 | 0 | 9.62 | 3.85 | 19.23 | -2.5 | -4 | -1.2 | -25 | 4.43 | 0 | 0 | 5.58 | 0 | 0 | 0
15:00 - 15:15 | -0.6 | -2 | -8.1 | -1.9 | -0.4 | 0 | -476.16 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -2.5 | 4.33 | 11.55 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | -22 | 4.43 | 0 | 0 | 5.58 | 0 | 0 | 0
15:15 - 15:30 | -0.6 | -2 | -6.8 | -2 | -0.4 | 0 | -351.16 | 0 | 10.58 | 0 | 0 | -2 | 0 | 0 | -2.3 | 4.33 | 11.55 | 9.62 | 9.62 | 3.85 | 19.24 | -2.5 | -4 | -1.2 | -22 | 4.43 | 0 | 0 | 5.58 | 0 | 0 | 0
15:30 - 15:45 | -0.6 | -16 | -3.7 | -2.2 | -0.4 | 0 | -333.63 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1.9 | 4.33 | 11.55 | 0 | 9.62 | 3.85 | 19.23 | -2.5 | -4 | -1.2 | 0 | 4.43 | 0 | 0 | 5.58 | 0 | 0 | 0
15:45 - 16:00 | -0.6 | -16 | -4.2 | -2.4 | -0.4 | 0 | -238.16 | 0 | 0 | 0 | 0 | -2 | -15 | 0 | -1.7 | 0 | 11.55 | 0 | 9.62 | 3.85 | 19.23 | -2.5 | -4 | -1.2 | -10 | 4.43 | 0 | 0 | 5.58 | 0 | 0 | 0
16:00 - 16:15 | -0.6 | -16 | -2 | -2.2 | -0.4 | 0 | -175 | 0 | 8.55 | 0 | 0 | -2 | 0 | 0 | -1.4 | 0 | 0 | 0 | 9.62 | 0 | 0 | -2.5 | 0 | -1.2 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | -0.6 | -16 | 0 | -2 | -0.4 | 0 | -75.38 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1.1 | 0 | 0 | 0 | 9.62 | 0 | 0 | -2.5 | 0 | -1.2 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -0.6 | 0 | 0 | -1.9 | -0.4 | 0 | -76.27 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | 0 | 0 | 9.62 | 0 | 0 | -2.5 | -4 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -0.6 | 0 | 0 | -1.1 | -0.4 | 0 | -76.26 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -0.7 | 0 | 0 | 0 | 9.62 | 0 | 0 | -2.5 | -4 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -0.6 | 0 | 0 | -0.1 | 0 | -1.2 | -325.8 | 0 | 10.58 | 0 | 0 | 0 | 0 | 14.43 | -0.5 | 0 | 0 | 0 | 9.62 | 0 | 0 | -2.5 | -4 | -1.2 | 0 | 9.24 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | -340.73 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 9.62 | 0 | 0 | -2.5 | -4 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | -125.01 | 0 | 7.89 | 0 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 9.62 | 0 | 0 | -2.5 | -4 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -0.6 | -2 | 0 | 0 | 0 | -1.2 | -135.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.62 | 0 | 0 | -2.5 | -4 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | -188.31 | 0 | 10.58 | 0 | 0 | 0 | 0 | 14.43 | 0 | 0 | 15.39 | 0 | 9.62 | 3.85 | 19.25 | -2.5 | -4.5 | -1.2 | -25 | 9.24 | 0 | 0 | 5.58 | 0 | 0 | 0
18:15 - 18:30 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | -132.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.62 | 0 | 0 | -2.5 | -4.5 | -1.2 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
19:15 - 19:30 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
19:30 - 19:45 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | -75 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
19:45 - 20:00 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | -75 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
20:00 - 20:15 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | -20 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
20:15 - 20:30 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
20:30 - 20:45 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | -25 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | 0 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
20:45 - 21:00 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | -50 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -4.5 | -1.2 | -20 | 0 | 0 | -9.7 | 0 | 0 | 0 | 0
21:00 - 21:15 | -0.6 | -2 | 0 | 0 | 0 | -1.2 | -50 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -3.5 | 0 | -30 | 0 | 0 | -9.7 | 0 | 0 | 1.98 | 0
21:15 - 21:30 | -0.6 | 0 | 0 | 0 | 0 | -1.2 | -50 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -3.5 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 1.91 | 0
21:30 - 21:45 | -0.6 | 0 | 0 | 0 | -0.6 | -1.2 | -25 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -3.5 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 44.22 | 0
21:45 - 22:00 | -0.6 | 0 | 0 | 0 | -0.6 | -1.2 | -25 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | -3.5 | 0 | -25 | 0 | 0 | -9.7 | 0 | 0 | 45.7 | 0
22:00 - 22:15 | -0.6 | 0 | 0 | 0 | -0.6 | -1.2 | 0 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 40.66 | 0
22:15 - 22:30 | -0.6 | 0 | 0 | 0 | -0.6 | -1.2 | 0 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 40.52 | 0
22:30 - 22:45 | -0.6 | 0 | 0 | 0 | -0.2 | -1.3 | 18.93 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | -15 | 0 | 0 | -9.7 | 0 | 0 | 47.35 | 0
22:45 - 23:00 | -0.6 | 0 | 0 | 0 | -0.2 | -1.3 | 19.91 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | -15 | 0 | 0 | -9.7 | 0 | 0 | 157.22 | 0
23:00 - 23:15 | -0.6 | 0 | 0 | 0 | -0.2 | -1.3 | 25.72 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 257.17 | 0
23:15 - 23:30 | -0.6 | 0 | 0 | 0 | -0.2 | -1.3 | 27.53 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | -10 | 0 | 0 | -9.7 | 0 | 0 | 412.9 | 0
23:30 - 23:45 | -0.6 | 0 | 0 | 0 | -0.2 | -1.2 | 39.07 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 312.57 | 0
23:45 - 24:00 | -0.6 | 0 | 0 | 0 | -0.2 | -1.2 | 41.42 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0 | 0 | 372.74 | 0
Average | -0.57917 | -2.9393 | -1.0219 | -0.34792 | -0.1375 | -0.72917 | -151.4979 | 0.21448 | 4.249 | -6.6667 | 0.20042 | -3.7083 | -0.3125 | 0.90188 | -1.1677 | 1.0374 | 3.8686 | 2.1044 | 4.0081 | 1.3234 | 7.0142 | -1.7812 | -1.625 | -0.62292 | -7.3958 | 2.0542 | 2.1045 | -2.625 | 3.6512